## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2284-26_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2284-26_0_2_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_2284-26_0_2_node_1 | 0.4 | n |  | TRUE
3 | bus_LV_2284-26_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2284-26_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2284-26_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2284-26_0_2_node_13 | 0.4 | n |  | TRUE
7 | bus_LV_2284-26_0_2_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_2284-26_0_2_node_14 | 0.4 | n |  | TRUE
9 | bus_LV_2284-26_0_2_node_11 | 0.4 | n |  | TRUE
10 | bus_LV_2284-26_0_2_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_2284-26_0_2_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_2284-26_0_2_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_2284-26_0_2_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_2284-26_0_2_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_2284-26_0_2_node_19 | 0.4 | n |  | TRUE
16 | bus_LV_2284-26_0_2_node_17 | 0.4 | n |  | TRUE
17 | bus_LV_2284-26_0_2_node_27 | 0.4 | n |  | TRUE
18 | bus_LV_2284-26_0_2_node_18 | 0.4 | n |  | TRUE
19 | bus_LV_2284-26_0_2_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_2284-26_0_2_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_2284-26_0_2_node_23 | 0.4 | n |  | TRUE
22 | bus_LV_2284-26_0_2_node_22 | 0.4 | n |  | TRUE
23 | bus_LV_2284-26_0_2_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_2284-26_0_2_node_33 | 0.4 | n |  | TRUE
25 | bus_LV_2284-26_0_2_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_2284-26_0_2_node_32 | 0.4 | n |  | TRUE
27 | bus_LV_2284-26_0_2_node_26 | 0.4 | n |  | TRUE
28 | bus_LV_2284-26_0_2_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_2284-26_0_2_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_2284-26_0_2_node_30 | 0.4 | n |  | TRUE
31 | bus_LV_2284-26_0_2_node_31 | 0.4 | n |  | TRUE
32 | bus_LV_2284-26_0_2_node_34 | 0.4 | n |  | TRUE
33 | bus_LV_2284-26_0_2_node_29 | 0.4 | n |  | TRUE
34 | bus_MV_379_0_node_52 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2284-26_0_2_load_0 | 0 | 0.0046946 | 0.0011766 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2284-26_0_2_load_1 | 2 | 0.0017123 | 0.00042915 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2284-26_0_2_load_3 | 3 | 0.012279 | 0.0030775 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2284-26_0_2_load_4 | 4 | 0.0016341 | 0.00040954 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2284-26_0_2_load_5 | 5 | 0.025583 | 0.0064117 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2284-26_0_2_load_12 | 7 | 0.0047485 | 0.0011901 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2284-26_0_2_load_14 | 8 | 0.0035428 | 0.0008879 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2284-26_0_2_load_11 | 9 | 0.0018434 | 0.00046201 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2284-26_0_2_load_10 | 10 | 0.0049465 | 0.0012397 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2284-26_0_2_load_6 | 11 | 0.0078397 | 0.0019648 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2284-26_0_2_load_7 | 12 | 0.0017721 | 0.00044412 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2284-26_0_2_load_19 | 15 | 0.007966 | 0.0019965 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2284-26_0_2_load_17 | 16 | 0.0013598 | 0.00034079 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2284-26_0_2_load_27 | 17 | 0.0016062 | 0.00040254 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2284-26_0_2_load_15 | 19 | 0.020721 | 0.0051931 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2284-26_0_2_load_16 | 20 | 0.013614 | 0.0034119 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2284-26_0_2_load_23 | 21 | 0.0058458 | 0.0014651 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2284-26_0_2_load_22 | 22 | 0.0062157 | 0.0015578 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2284-26_0_2_load_20 | 23 | 0.0016557 | 0.00041495 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2284-26_0_2_load_21 | 25 | 0.0011915 | 0.00029861 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2284-26_0_2_load_32 | 26 | 0.00084687 | 0.00021225 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2284-26_0_2_load_26 | 27 | 0.0033035 | 0.00082793 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2284-26_0_2_load_24 | 28 | 0.0050398 | 0.0012631 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2284-26_0_2_load_31 | 31 | 0.0044297 | 0.0011102 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2284-26_0_2_load_34 | 32 | 0.0021655 | 0.00054273 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2284-26_0_2_load_29 | 33 | 0.0031896 | 0.00079939 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 9 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2284-26_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.02567 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2284-26_0_2_line_1 | NAYY 4x150 SE | 1 | 4 | 0.015869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2284-26_0_2_line_2 | NAYY 4x150 SE | 1 | 5 | 0.035507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2284-26_0_2_line_3 | NAYY 4x150 SE | 2 | 3 | 0.014562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2284-26_0_2_line_4 | NAYY 4x150 SE | 3 | 6 | 0.0075655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2284-26_0_2_line_5 | NAYY 4x150 SE | 4 | 7 | 0.016335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2284-26_0_2_line_6 | NAYY 4x150 SE | 6 | 8 | 0.0092827 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2284-26_0_2_line_7 | NAYY 4x150 SE | 6 | 9 | 0.015183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2284-26_0_2_line_8 | NAYY 4x150 SE | 7 | 10 | 0.014521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2284-26_0_2_line_9 | NAYY 4x150 SE | 8 | 19 | 0.031121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2284-26_0_2_line_10 | NAYY 4x150 SE | 9 | 13 | 0.030201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2284-26_0_2_line_11 | NAYY 4x150 SE | 10 | 13 | 0.023803 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2284-26_0_2_line_12 | NAYY 4x150 SE | 11 | 12 | 0.032623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2284-26_0_2_line_13 | NAYY 4x150 SE | 11 | 13 | 0.0048453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2284-26_0_2_line_14 | NAYY 4x150 SE | 12 | 14 | 0.012146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2284-26_0_2_line_15 | NAYY 4x150 SE | 14 | 15 | 0.023693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2284-26_0_2_line_16 | NAYY 4x150 SE | 14 | 16 | 0.041101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2284-26_0_2_line_17 | NAYY 4x150 SE | 15 | 17 | 0.0034285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2284-26_0_2_line_18 | NAYY 4x150 SE | 16 | 18 | 0.029882 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2284-26_0_2_line_19 | NAYY 4x150 SE | 17 | 27 | 0.030423 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2284-26_0_2_line_20 | NAYY 4x150 SE | 18 | 23 | 0.023523 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2284-26_0_2_line_21 | NAYY 4x150 SE | 18 | 24 | 0.12713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2284-26_0_2_line_22 | NAYY 4x150 SE | 19 | 20 | 0.013521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2284-26_0_2_line_23 | NAYY 4x150 SE | 20 | 21 | 0.027133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2284-26_0_2_line_24 | NAYY 4x150 SE | 21 | 22 | 0.019761 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2284-26_0_2_line_25 | NAYY 4x150 SE | 22 | 28 | 0.027309 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2284-26_0_2_line_26 | NAYY 4x150 SE | 23 | 25 | 0.052413 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2284-26_0_2_line_27 | NAYY 4x150 SE | 24 | 26 | 0.050594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2284-26_0_2_line_28 | NAYY 4x150 SE | 28 | 29 | 0.0065175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2284-26_0_2_line_29 | NAYY 4x150 SE | 29 | 30 | 0.020713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2284-26_0_2_line_30 | NAYY 4x150 SE | 29 | 31 | 0.049359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2284-26_0_2_line_31 | NAYY 4x150 SE | 30 | 32 | 0.03711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2284-26_0_2_line_32 | NAYY 4x150 SE | 30 | 33 | 0.018098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2284-26_0_2_trafo_11 | 0.25 MVA 20/0.4 kV | 34 | 9 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2575174.2383 | 1201514.7247 | 2575177.5712 | 1201518.2127 | 2575178.765 | 1201523.4439 | 2575180.4275 | 1201538.8343
1 | 2575174.2383 | 1201514.7247 | 2575171.8187 | 1201518.5257 | 2575165.7141 | 1201528.1093
2 | 2575174.2383 | 1201514.7247 | 2575182.8951 | 1201500.9143 | 2575186.9921 | 1201492.3593 | 2575190.1807 | 1201483.1743
3 | 2575174.4016 | 1201592.6807 | 2575176.7698 | 1201578.3123
4 | 2575173.4761 | 1201600.1858 | 2575173.9583 | 1201595.37 | 2575174.4016 | 1201592.6807
5 | 2575156.9381 | 1201541.8867 | 2575165.7141 | 1201528.1093
6 | 2575173.4761 | 1201600.1858 | 2575173.8441 | 1201602.6411 | 2575175.2096 | 1201609.3025
7 | 2575173.4761 | 1201600.1858 | 2575161.0352 | 1201591.4828
8 | 2575149.1366 | 1201554.1343 | 2575156.9381 | 1201541.8867
9 | 2575180.5595 | 1201639.8001 | 2575180.5595 | 1201639.8001 | 2575180.8275 | 1201634.7185 | 2575177.8606 | 1201622.2351 | 2575175.2096 | 1201609.3025
10 | 2575136.2881 | 1201574.1712 | 2575161.0352 | 1201591.4828
11 | 2575136.2881 | 1201574.1712 | 2575138.9653 | 1201570.1022 | 2575149.1366 | 1201554.1343
12 | 2575133.5267 | 1201578.1526 | 2575118.8733 | 1201599.2799 | 2575114.9031 | 1201604.9369
13 | 2575136.2881 | 1201574.1712 | 2575133.5267 | 1201578.1526
14 | 2575107.9258 | 1201614.8787 | 2575114.9031 | 1201604.9369
15 | 2575107.9258 | 1201614.8787 | 2575097.9624 | 1201629.1615 | 2575093.9808 | 1201634.0157
16 | 2575107.9258 | 1201614.8787 | 2575083.5805 | 1201609.7221 | 2575067.4031 | 1201608.6077
17 | 2575091.8064 | 1201636.6665 | 2575093.9808 | 1201634.0157
18 | 2575037.5839 | 1201610.2596 | 2575049.6808 | 1201609.2972 | 2575065.6294 | 1201608.4855 | 2575067.4031 | 1201608.6077
19 | 2575071.4402 | 1201659.2477 | 2575086.0213 | 1201643.7194 | 2575091.8064 | 1201636.6665
20 | 2575037.5839 | 1201610.2596 | 2575036.868 | 1201599.2677 | 2575039.0117 | 1201586.9453
21 | 2575037.5839 | 1201610.2596 | 2574923.9762 | 1201667.3128
22 | 2575172.4457 | 1201650.5295 | 2575178.1949 | 1201644.0123 | 2575180.5595 | 1201639.8001
23 | 2575154.6965 | 1201671.0502 | 2575164.0301 | 1201660.0691 | 2575172.4457 | 1201650.5295
24 | 2575154.6965 | 1201671.0502 | 2575141.8982 | 1201686.1074
25 | 2575124.212 | 1201706.9153 | 2575141.8982 | 1201686.1074
26 | 2575047.995 | 1201535.3083 | 2575039.0117 | 1201586.9453
27 | 2574923.9762 | 1201667.3128 | 2574880.9422 | 1201693.9174
28 | 2575119.991 | 1201711.8814 | 2575124.212 | 1201706.9153
29 | 2575119.991 | 1201711.8814 | 2575105.6928 | 1201726.9049
30 | 2575119.991 | 1201711.8814 | 2575159.5528 | 1201741.5435
31 | 2575105.6928 | 1201726.9049 | 2575134.0019 | 1201750.8993
32 | 2575105.6928 | 1201726.9049 | 2575091.9339 | 1201715.1472

## bus_geodata
| x | y | coords
0 | 2575180.4275 | 1201538.8343
1 | 2575174.2383 | 1201514.7247
2 | 2575176.7698 | 1201578.3123
3 | 2575174.4016 | 1201592.6807
4 | 2575165.7141 | 1201528.1093
5 | 2575190.1807 | 1201483.1743
6 | 2575173.4761 | 1201600.1858
7 | 2575156.9381 | 1201541.8867
8 | 2575175.2096 | 1201609.3025
9 | 2575161.0352 | 1201591.4828
10 | 2575149.1366 | 1201554.1343
11 | 2575133.5267 | 1201578.1526
12 | 2575114.9031 | 1201604.9369
13 | 2575136.2881 | 1201574.1712
14 | 2575107.9258 | 1201614.8787
15 | 2575093.9808 | 1201634.0157
16 | 2575067.4031 | 1201608.6077
17 | 2575091.8064 | 1201636.6665
18 | 2575037.5839 | 1201610.2596
19 | 2575180.5595 | 1201639.8001
20 | 2575172.4457 | 1201650.5295
21 | 2575154.6964 | 1201671.0502
22 | 2575141.8982 | 1201686.1074
23 | 2575039.0117 | 1201586.9453
24 | 2574923.9762 | 1201667.3128
25 | 2575047.995 | 1201535.3083
26 | 2574880.9422 | 1201693.9174
27 | 2575071.4402 | 1201659.2477
28 | 2575124.212 | 1201706.9153
29 | 2575119.991 | 1201711.8814
30 | 2575105.6928 | 1201726.9049
31 | 2575159.5528 | 1201741.5435
32 | 2575134.0019 | 1201750.8993
33 | 2575091.9339 | 1201715.1472
34 | 2575173.4761 | 1201600.1858

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99321 | -0.047587 | 0.0046946 | 0.0011766
1 | 0.99338 | -0.046367 | 0 | 0
2 | 0.9981 | -0.013269 | 0.0017123 | 0.00042915
3 | 0.99813 | -0.013019 | 0.012279 | 0.0030775
4 | 0.99407 | -0.04151 | 0.0016341 | 0.00040954
5 | 0.99208 | -0.055567 | 0.025583 | 0.0064117
6 | 0.99829 | -0.011958 | 0 | 0
7 | 0.99482 | -0.036248 | 0.0047485 | 0.0011901
8 | 0.99742 | -0.017986 | 0.0035428 | 0.0008879
9 | 1 | 0 | -0.14954 | -0.037378
10 | 0.99558 | -0.030882 | 0.0049465 | 0.0012397
11 | 0.99681 | -0.022264 | 0.0078397 | 0.0019648
12 | 0.99589 | -0.028739 | 0.0017721 | 0.00044412
13 | 0.99701 | -0.020922 | 0 | 0
14 | 0.99558 | -0.030935 | 0 | 0
15 | 0.99515 | -0.034009 | 0.007966 | 0.0019965
16 | 0.99528 | -0.03304 | 0.0013598 | 0.00034079
17 | 0.99512 | -0.034179 | 0.0016062 | 0.00040254
18 | 0.99513 | -0.03416 | 0 | 0
19 | 0.99469 | -0.03716 | 0.020721 | 0.0051931
20 | 0.9939 | -0.042691 | 0.013614 | 0.0034119
21 | 0.99285 | -0.050074 | 0.0058458 | 0.0014651
22 | 0.99226 | -0.054289 | 0.0062157 | 0.0015578
23 | 0.99503 | -0.034836 | 0.0016557 | 0.00041495
24 | 0.99497 | -0.035259 | 0 | 0
25 | 0.99494 | -0.035467 | 0.0011915 | 0.00029861
26 | 0.99491 | -0.035692 | 0.00084687 | 0.00021225
27 | 0.99498 | -0.035193 | 0.0033035 | 0.00082793
28 | 0.99168 | -0.058399 | 0.0050398 | 0.0012631
29 | 0.99158 | -0.059047 | 0 | 0
30 | 0.99142 | -0.060175 | 0 | 0
31 | 0.99127 | -0.061268 | 0.0044297 | 0.0011102
32 | 0.99131 | -0.060991 | 0.0021655 | 0.00054273
33 | 0.99134 | -0.060761 | 0.0031896 | 0.00079939
34 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0046946 | -0.0011766 | 0.0046954 | 0.0011766 | 7.924e-07 | -2.7501e-08 | 0.0070335 | 0.0070334 | 0.0070335 | 0.99321 | -0.047587 | 0.99338 | -0.046367 | 2.605
1 | -0.030311 | -0.0076003 | 0.030331 | 0.007608 | 2.0414e-05 | 7.646e-06 | 0.045405 | 0.045405 | 0.045405 | 0.99338 | -0.046367 | 0.99407 | -0.04151 | 16.8167
2 | 0.025616 | 0.0064238 | -0.025583 | -0.0064117 | 3.2623e-05 | 1.2088e-05 | 0.038372 | 0.038372 | 0.038372 | 0.99338 | -0.046367 | 0.99208 | -0.055567 | 14.2118
3 | -0.0017123 | -0.00042915 | 0.0017124 | 0.00042898 | 5.9216e-08 | -1.6755e-07 | 0.0025528 | 0.0025528 | 0.0025528 | 0.9981 | -0.013269 | 0.99813 | -0.013019 | 0.94549
4 | -0.013992 | -0.0035065 | 0.013994 | 0.0035072 | 2.054e-06 | 6.9111e-07 | 0.020859 | 0.020859 | 0.020859 | 0.99813 | -0.013019 | 0.99829 | -0.011958 | 7.7255
5 | -0.031966 | -0.0080175 | 0.031989 | 0.0080263 | 2.3339e-05 | 8.7648e-06 | 0.047851 | 0.047851 | 0.047851 | 0.99407 | -0.04151 | 0.99482 | -0.036248 | 17.7226
6 | 0.065064 | 0.016344 | -0.065009 | -0.016323 | 5.4495e-05 | 2.0839e-05 | 0.096995 | 0.096996 | 0.096996 | 0.99829 | -0.011958 | 0.99742 | -0.017986 | 35.9243
7 | -0.079058 | -0.019851 | 0.079189 | 0.019901 | 0.00013159 | 5.0413e-05 | 0.11785 | 0.11785 | 0.11785 | 0.99829 | -0.011958 | 1 | 0 | 43.6498
8 | -0.036737 | -0.0092164 | 0.036765 | 0.0092267 | 2.7364e-05 | 1.0336e-05 | 0.054954 | 0.054954 | 0.054954 | 0.99482 | -0.036248 | 0.99558 | -0.030882 | 20.3532
9 | 0.061467 | 0.015435 | -0.061303 | -0.015372 | 0.00016333 | 6.2416e-05 | 0.09171 | 0.09171 | 0.09171 | 0.99742 | -0.017986 | 0.99469 | -0.03716 | 33.9668
10 | 0.069549 | 0.017477 | -0.069347 | -0.017399 | 0.0002019 | 7.7259e-05 | 0.10351 | 0.10351 | 0.10351 | 1 | 0 | 0.99701 | -0.020922 | 38.3356
11 | -0.041711 | -0.010466 | 0.041769 | 0.010488 | 5.7735e-05 | 2.1896e-05 | 0.062347 | 0.062347 | 0.062347 | 0.99558 | -0.030882 | 0.99701 | -0.020922 | 23.0914
12 | 0.019733 | 0.0049443 | -0.019716 | -0.0049379 | 1.7663e-05 | 6.3688e-06 | 0.029457 | 0.029457 | 0.029457 | 0.99681 | -0.022264 | 0.99589 | -0.028739 | 10.9099
13 | -0.027573 | -0.0069091 | 0.027578 | 0.006911 | 5.1221e-06 | 1.9069e-06 | 0.04116 | 0.041159 | 0.04116 | 0.99681 | -0.022264 | 0.99701 | -0.020922 | 15.2443
14 | 0.017943 | 0.0044938 | -0.017938 | -0.0044919 | 5.4473e-06 | 1.9371e-06 | 0.026809 | 0.026809 | 0.026809 | 0.99589 | -0.028739 | 0.99558 | -0.030935 | 9.9293
15 | 0.012882 | 0.0032285 | -0.012876 | -0.0032267 | 5.4804e-06 | 1.7999e-06 | 0.019253 | 0.019253 | 0.019253 | 0.99558 | -0.030935 | 0.99515 | -0.034009 | 7.1309
16 | 0.0050563 | 0.0012634 | -0.0050548 | -0.0012633 | 1.4643e-06 | 2.8876e-08 | 0.0075559 | 0.0075561 | 0.0075561 | 0.99558 | -0.030935 | 0.99528 | -0.03304 | 2.7985
17 | 0.0049102 | 0.0012303 | -0.0049101 | -0.0012303 | 1.1532e-07 | -1.8774e-10 | 0.007342 | 0.007342 | 0.007342 | 0.99515 | -0.034009 | 0.99512 | -0.034179 | 2.7193
18 | 0.0036951 | 0.00092254 | -0.0036945 | -0.00092271 | 5.6883e-07 | -1.695e-07 | 0.0055232 | 0.0055233 | 0.0055233 | 0.99528 | -0.03304 | 0.99513 | -0.03416 | 2.0457
19 | 0.0033039 | 0.00082771 | -0.0033035 | -0.00082793 | 4.6335e-07 | -2.1698e-07 | 0.0049403 | 0.0049404 | 0.0049404 | 0.99512 | -0.034179 | 0.99498 | -0.035193 | 1.8298
20 | 0.0028475 | 0.00071271 | -0.0028472 | -0.00071291 | 2.6607e-07 | -2.0324e-07 | 0.0042575 | 0.0042576 | 0.0042576 | 0.99513 | -0.03416 | 0.99503 | -0.034836 | 1.5769
21 | 0.00084705 | 0.00021001 | -0.00084692 | -0.00021161 | 1.2716e-07 | -1.6025e-06 | 0.0012658 | 0.0012664 | 0.0012664 | 0.99513 | -0.03416 | 0.99497 | -0.035259 | 0.46903
22 | 0.040583 | 0.010179 | -0.040552 | -0.010167 | 3.11e-05 | 1.1786e-05 | 0.060713 | 0.060713 | 0.060713 | 0.99469 | -0.03716 | 0.9939 | -0.042691 | 22.4864
23 | 0.026938 | 0.0067556 | -0.02691 | -0.0067453 | 2.7541e-05 | 1.0241e-05 | 0.040332 | 0.040332 | 0.040332 | 0.9939 | -0.042691 | 0.99285 | -0.050074 | 14.9377
24 | 0.021065 | 0.0052802 | -0.021052 | -0.0052758 | 1.229e-05 | 4.4716e-06 | 0.03157 | 0.03157 | 0.03157 | 0.99285 | -0.050074 | 0.99226 | -0.054289 | 11.6928
25 | 0.014837 | 0.003718 | -0.014828 | -0.0037151 | 8.4357e-06 | 2.892e-06 | 0.022249 | 0.022249 | 0.022249 | 0.99226 | -0.054289 | 0.99168 | -0.058399 | 8.2405
26 | 0.0011916 | 0.00029796 | -0.0011915 | -0.00029861 | 1.0383e-07 | -6.408e-07 | 0.0017817 | 0.0017819 | 0.0017819 | 0.99503 | -0.034836 | 0.99494 | -0.035467 | 0.65997
27 | 0.00084692 | 0.00021161 | -0.00084687 | -0.00021225 | 5.0639e-08 | -6.3758e-07 | 0.0012664 | 0.0012666 | 0.0012666 | 0.99497 | -0.035259 | 0.99491 | -0.035692 | 0.46911
28 | 0.0097884 | 0.002452 | -0.0097875 | -0.0024517 | 8.7728e-07 | 2.5334e-07 | 0.014687 | 0.014687 | 0.014687 | 0.99168 | -0.058399 | 0.99158 | -0.059047 | 5.4397
29 | 0.0053565 | 0.0013417 | -0.0053556 | -0.0013416 | 8.3506e-07 | 5.4035e-08 | 0.0080379 | 0.008038 | 0.008038 | 0.99158 | -0.059047 | 0.99142 | -0.060175 | 2.977
30 | 0.004431 | 0.0011101 | -0.0044297 | -0.0011102 | 1.3618e-06 | -1.1274e-07 | 0.0066492 | 0.0066494 | 0.0066494 | 0.99158 | -0.059047 | 0.99127 | -0.061268 | 2.4628
31 | 0.0021658 | 0.00054235 | -0.0021655 | -0.00054273 | 2.4467e-07 | -3.8438e-07 | 0.0032504 | 0.0032506 | 0.0032506 | 0.99142 | -0.060175 | 0.99131 | -0.060991 | 1.2039
32 | 0.0031899 | 0.00079926 | -0.0031896 | -0.00079939 | 2.5886e-07 | -1.338e-07 | 0.0047876 | 0.0047876 | 0.0047876 | 0.99142 | -0.060175 | 0.99134 | -0.060761 | 1.7732

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.15138 | 0.03784

## res_load
| p_mw | q_mvar
0 | 0.0046946 | 0.0011766
1 | 0.0017123 | 0.00042915
2 | 0.012279 | 0.0030775
3 | 0.0016341 | 0.00040954
4 | 0.025583 | 0.0064117
5 | 0.0047485 | 0.0011901
6 | 0.0035428 | 0.0008879
7 | 0.0018434 | 0.00046201
8 | 0.0049465 | 0.0012397
9 | 0.0078397 | 0.0019648
10 | 0.0017721 | 0.00044412
11 | 0.007966 | 0.0019965
12 | 0.0013598 | 0.00034079
13 | 0.0016062 | 0.00040254
14 | 0.020721 | 0.0051931
15 | 0.013614 | 0.0034119
16 | 0.0058458 | 0.0014651
17 | 0.0062157 | 0.0015578
18 | 0.0016557 | 0.00041495
19 | 0.0011915 | 0.00029861
20 | 0.00084687 | 0.00021225
21 | 0.0033035 | 0.00082793
22 | 0.0050398 | 0.0012631
23 | 0.0044297 | 0.0011102
24 | 0.0021655 | 0.00054273
25 | 0.0031896 | 0.00079939

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1