## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2284-2_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2284-2_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2284-2_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2284-2_0_3_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_2284-2_0_3_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_2284-2_0_3_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_2284-2_0_3_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_2284-2_0_3_node_15 | 0.4 | n |  | TRUE
8 | bus_LV_2284-2_0_3_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_2284-2_0_3_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_2284-2_0_3_node_13 | 0.4 | n |  | TRUE
11 | bus_LV_2284-2_0_3_node_16 | 0.4 | n |  | TRUE
12 | bus_LV_2284-2_0_3_node_14 | 0.4 | n |  | TRUE
13 | bus_LV_2284-2_0_3_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_2284-2_0_3_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_2284-2_0_3_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_2284-2_0_3_node_92 | 0.4 | n |  | TRUE
17 | bus_LV_2284-2_0_3_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_2284-2_0_3_node_58 | 0.4 | n |  | TRUE
19 | bus_LV_2284-2_0_3_node_55 | 0.4 | n |  | TRUE
20 | bus_LV_2284-2_0_3_node_63 | 0.4 | n |  | TRUE
21 | bus_LV_2284-2_0_3_node_85 | 0.4 | n |  | TRUE
22 | bus_LV_2284-2_0_3_node_54 | 0.4 | n |  | TRUE
23 | bus_LV_2284-2_0_3_node_36 | 0.4 | n |  | TRUE
24 | bus_LV_2284-2_0_3_node_34 | 0.4 | n |  | TRUE
25 | bus_LV_2284-2_0_3_node_59 | 0.4 | n |  | TRUE
26 | bus_LV_2284-2_0_3_node_60 | 0.4 | n |  | TRUE
27 | bus_LV_2284-2_0_3_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_2284-2_0_3_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_2284-2_0_3_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_2284-2_0_3_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_2284-2_0_3_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_2284-2_0_3_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_2284-2_0_3_node_45 | 0.4 | n |  | TRUE
34 | bus_LV_2284-2_0_3_node_40 | 0.4 | n |  | TRUE
35 | bus_LV_2284-2_0_3_node_43 | 0.4 | n |  | TRUE
36 | bus_LV_2284-2_0_3_node_46 | 0.4 | n |  | TRUE
37 | bus_LV_2284-2_0_3_node_39 | 0.4 | n |  | TRUE
38 | bus_LV_2284-2_0_3_node_42 | 0.4 | n |  | TRUE
39 | bus_LV_2284-2_0_3_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_2284-2_0_3_node_26 | 0.4 | n |  | TRUE
41 | bus_LV_2284-2_0_3_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_2284-2_0_3_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_2284-2_0_3_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_2284-2_0_3_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_2284-2_0_3_node_31 | 0.4 | n |  | TRUE
46 | bus_LV_2284-2_0_3_node_66 | 0.4 | n |  | TRUE
47 | bus_LV_2284-2_0_3_node_67 | 0.4 | n |  | TRUE
48 | bus_LV_2284-2_0_3_node_37 | 0.4 | n |  | TRUE
49 | bus_LV_2284-2_0_3_node_87 | 0.4 | n |  | TRUE
50 | bus_LV_2284-2_0_3_node_50 | 0.4 | n |  | TRUE
51 | bus_LV_2284-2_0_3_node_71 | 0.4 | n |  | TRUE
52 | bus_LV_2284-2_0_3_node_74 | 0.4 | n |  | TRUE
53 | bus_LV_2284-2_0_3_node_86 | 0.4 | n |  | TRUE
54 | bus_LV_2284-2_0_3_node_51 | 0.4 | n |  | TRUE
55 | bus_LV_2284-2_0_3_node_72 | 0.4 | n |  | TRUE
56 | bus_LV_2284-2_0_3_node_32 | 0.4 | n |  | TRUE
57 | bus_LV_2284-2_0_3_node_33 | 0.4 | n |  | TRUE
58 | bus_LV_2284-2_0_3_node_35 | 0.4 | n |  | TRUE
59 | bus_LV_2284-2_0_3_node_38 | 0.4 | n |  | TRUE
60 | bus_LV_2284-2_0_3_node_89 | 0.4 | n |  | TRUE
61 | bus_LV_2284-2_0_3_node_90 | 0.4 | n |  | TRUE
62 | bus_LV_2284-2_0_3_node_41 | 0.4 | n |  | TRUE
63 | bus_LV_2284-2_0_3_node_44 | 0.4 | n |  | TRUE
64 | bus_LV_2284-2_0_3_node_47 | 0.4 | n |  | TRUE
65 | bus_LV_2284-2_0_3_node_48 | 0.4 | n |  | TRUE
66 | bus_LV_2284-2_0_3_node_49 | 0.4 | n |  | TRUE
67 | bus_LV_2284-2_0_3_node_62 | 0.4 | n |  | TRUE
68 | bus_LV_2284-2_0_3_node_52 | 0.4 | n |  | TRUE
69 | bus_LV_2284-2_0_3_node_53 | 0.4 | n |  | TRUE
70 | bus_LV_2284-2_0_3_node_68 | 0.4 | n |  | TRUE
71 | bus_LV_2284-2_0_3_node_83 | 0.4 | n |  | TRUE
72 | bus_LV_2284-2_0_3_node_69 | 0.4 | n |  | TRUE
73 | bus_LV_2284-2_0_3_node_82 | 0.4 | n |  | TRUE
74 | bus_LV_2284-2_0_3_node_84 | 0.4 | n |  | TRUE
75 | bus_LV_2284-2_0_3_node_56 | 0.4 | n |  | TRUE
76 | bus_LV_2284-2_0_3_node_57 | 0.4 | n |  | TRUE
77 | bus_LV_2284-2_0_3_node_61 | 0.4 | n |  | TRUE
78 | bus_LV_2284-2_0_3_node_75 | 0.4 | n |  | TRUE
79 | bus_LV_2284-2_0_3_node_70 | 0.4 | n |  | TRUE
80 | bus_LV_2284-2_0_3_node_73 | 0.4 | n |  | TRUE
81 | bus_LV_2284-2_0_3_node_77 | 0.4 | n |  | TRUE
82 | bus_LV_2284-2_0_3_node_76 | 0.4 | n |  | TRUE
83 | bus_LV_2284-2_0_3_node_78 | 0.4 | n |  | TRUE
84 | bus_LV_2284-2_0_3_node_79 | 0.4 | n |  | TRUE
85 | bus_LV_2284-2_0_3_node_80 | 0.4 | n |  | TRUE
86 | bus_LV_2284-2_0_3_node_81 | 0.4 | n |  | TRUE
87 | bus_LV_2284-2_0_3_node_88 | 0.4 | n |  | TRUE
88 | bus_LV_2284-2_0_3_node_91 | 0.4 | n |  | TRUE
89 | bus_MV_379_0_node_65 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2284-2_0_3_load_0 | 0 | 0.0034072 | 0.00085391 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2284-2_0_3_load_1 | 1 | 0.0030299 | 0.00075936 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2284-2_0_3_load_4 | 3 | 0.0030782 | 0.00077146 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2284-2_0_3_load_5 | 4 | 0.0049266 | 0.0012347 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2284-2_0_3_load_9 | 6 | 0.00083642 | 0.00020963 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2284-2_0_3_load_6 | 8 | 0.0040538 | 0.001016 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2284-2_0_3_load_10 | 9 | 0.0022824 | 0.00057201 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2284-2_0_3_load_14 | 12 | 0.0034491 | 0.00086444 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2284-2_0_3_load_7 | 13 | 0.0043686 | 0.0010949 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2284-2_0_3_load_11 | 14 | 0.0033116 | 0.00082996 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2284-2_0_3_load_8 | 15 | 0.0040017 | 0.0010029 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2284-2_0_3_load_92 | 16 | 0.0020804 | 0.00052139 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2284-2_0_3_load_12 | 17 | 0.006653 | 0.0016674 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2284-2_0_3_load_55 | 19 | 0.0028355 | 0.00071064 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2284-2_0_3_load_63 | 20 | 0.0025441 | 0.00063761 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2284-2_0_3_load_54 | 22 | 0.0024501 | 0.00061405 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2284-2_0_3_load_36 | 23 | 0.0047416 | 0.0011884 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2284-2_0_3_load_59 | 25 | 0.0052395 | 0.0013131 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2284-2_0_3_load_60 | 26 | 0.0073313 | 0.0018374 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2284-2_0_3_load_19 | 27 | 0.0013955 | 0.00034974 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2284-2_0_3_load_20 | 28 | 0.0021766 | 0.00054552 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2284-2_0_3_load_22 | 30 | 0.0038043 | 0.00095344 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2284-2_0_3_load_24 | 32 | 0.00155 | 0.00038847 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2284-2_0_3_load_45 | 33 | 0.0029279 | 0.00073381 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2284-2_0_3_load_40 | 34 | 0.002182 | 0.00054687 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2284-2_0_3_load_43 | 35 | 0.0040234 | 0.0010084 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2284-2_0_3_load_46 | 36 | 0.0021148 | 0.00053001 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2284-2_0_3_load_39 | 37 | 0.0021583 | 0.00054092 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2284-2_0_3_load_42 | 38 | 0.0014105 | 0.00035351 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2284-2_0_3_load_25 | 39 | 0.0022564 | 0.00056552 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2284-2_0_3_load_29 | 43 | 0.0024916 | 0.00062446 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2284-2_0_3_load_30 | 44 | 0.0010482 | 0.00026269 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2284-2_0_3_load_31 | 45 | 0.0010212 | 0.00025592 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2284-2_0_3_load_66 | 46 | 0.00038835 | 9.7329e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2284-2_0_3_load_67 | 47 | 0.0038565 | 0.00096652 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2284-2_0_3_load_37 | 48 | 0.010557 | 0.0026457 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2284-2_0_3_load_87 | 49 | 0.0022317 | 0.00055931 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2284-2_0_3_load_50 | 50 | 0.0021648 | 0.00054254 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2284-2_0_3_load_71 | 51 | 0.0017288 | 0.00043327 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2284-2_0_3_load_74 | 52 | 0.00032163 | 8.0609e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2284-2_0_3_load_86 | 53 | 0.00095991 | 0.00024058 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2284-2_0_3_load_72 | 55 | 0.0010672 | 0.00026746 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2284-2_0_3_load_32 | 56 | 0.0004708 | 0.00011799 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2284-2_0_3_load_33 | 57 | 0.00088776 | 0.00022249 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2284-2_0_3_load_35 | 58 | 0.00067836 | 0.00017001 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2284-2_0_3_load_38 | 59 | 0.0011867 | 0.00029741 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2284-2_0_3_load_89 | 60 | 0.00075352 | 0.00018885 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2284-2_0_3_load_41 | 62 | 0.0019169 | 0.00048043 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2284-2_0_3_load_44 | 63 | 0.0046168 | 0.0011571 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2284-2_0_3_load_48 | 65 | 0.0016933 | 0.00042438 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2284-2_0_3_load_49 | 66 | 0.0053095 | 0.0013307 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2284-2_0_3_load_62 | 67 | 0.0019566 | 0.00049036 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2284-2_0_3_load_52 | 68 | 0.0025266 | 0.00063323 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2284-2_0_3_load_68 | 70 | 0.004106 | 0.0010291 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2284-2_0_3_load_83 | 71 | 0.0010026 | 0.00025129 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2284-2_0_3_load_69 | 72 | 0.0015054 | 0.00037728 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2284-2_0_3_load_82 | 73 | 0.0022615 | 0.00056678 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2284-2_0_3_load_84 | 74 | 0.0020008 | 0.00050145 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2284-2_0_3_load_56 | 75 | 0.011399 | 0.0028568 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2284-2_0_3_load_57 | 76 | 0.0012638 | 0.00031673 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2284-2_0_3_load_61 | 77 | 0.0071064 | 0.001781 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2284-2_0_3_load_75 | 78 | 0.0037641 | 0.00094337 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2284-2_0_3_load_70 | 79 | 0.0040488 | 0.0010147 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2284-2_0_3_load_73 | 80 | 0.0019626 | 0.00049187 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2284-2_0_3_load_77 | 81 | 0.0034734 | 0.00087051 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2284-2_0_3_load_76 | 82 | 0.002913 | 0.00073006 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2284-2_0_3_load_78 | 83 | 0.0017665 | 0.00044271 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2284-2_0_3_load_79 | 84 | 0.0018299 | 0.00045861 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2284-2_0_3_load_80 | 85 | 0.0029616 | 0.00074226 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2284-2_0_3_load_81 | 86 | 0.00072678 | 0.00018215 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_2284-2_0_3_load_88 | 87 | 0.0040021 | 0.001003 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_2284-2_0_3_load_91 | 88 | 0.0041557 | 0.0010415 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 12 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2284-2_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.030886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2284-2_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.028812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2284-2_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.0092124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2284-2_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.058658 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2284-2_0_3_line_4 | NAYY 4x150 SE | 3 | 8 | 0.048971 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2284-2_0_3_line_5 | NAYY 4x150 SE | 4 | 9 | 0.012197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2284-2_0_3_line_6 | NAYY 4x150 SE | 5 | 6 | 0.061137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_2284-2_0_3_line_7 | NAYY 4x150 SE | 5 | 7 | 0.48173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_2284-2_0_3_line_8 | NAYY 4x150 SE | 6 | 10 | 0.036211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2284-2_0_3_line_9 | NAYY 4x150 SE | 7 | 11 | 0.0993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
10 | LV_2284-2_0_3_line_10 | NAYY 4x150 SE | 7 | 12 | 0.022868 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
11 | LV_2284-2_0_3_line_11 | NAYY 4x150 SE | 8 | 13 | 0.015682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2284-2_0_3_line_12 | NAYY 4x150 SE | 9 | 14 | 0.016154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2284-2_0_3_line_13 | NAYY 4x150 SE | 10 | 16 | 0.37005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2284-2_0_3_line_14 | NAYY 4x150 SE | 10 | 17 | 0.032506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2284-2_0_3_line_15 | NAYY 4x150 SE | 11 | 18 | 0.038643 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
16 | LV_2284-2_0_3_line_16 | NAYY 4x150 SE | 11 | 19 | 0.015532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2284-2_0_3_line_17 | NAYY 4x150 SE | 13 | 15 | 0.046949 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2284-2_0_3_line_18 | NAYY 4x150 SE | 14 | 17 | 0.020108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2284-2_0_3_line_19 | NAYY 4x150 SE | 18 | 20 | 0.018376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2284-2_0_3_line_20 | NAYY 4x150 SE | 18 | 21 | 0.015963 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
21 | LV_2284-2_0_3_line_21 | NAYY 4x150 SE | 19 | 22 | 0.061294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2284-2_0_3_line_22 | NAYY 4x150 SE | 20 | 30 | 0.014158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2284-2_0_3_line_23 | NAYY 4x150 SE | 21 | 74 | 0.074919 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2284-2_0_3_line_24 | NAYY 4x150 SE | 21 | 69 | 0.017878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
25 | LV_2284-2_0_3_line_25 | NAYY 4x150 SE | 22 | 75 | 0.040244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2284-2_0_3_line_26 | NAYY 4x150 SE | 23 | 24 | 0.034581 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2284-2_0_3_line_27 | NAYY 4x150 SE | 24 | 59 | 0.034068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2284-2_0_3_line_28 | NAYY 4x150 SE | 24 | 48 | 0.03756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2284-2_0_3_line_29 | NAYY 4x150 SE | 24 | 56 | 0.025637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2284-2_0_3_line_30 | NAYY 4x150 SE | 25 | 26 | 0.022875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2284-2_0_3_line_31 | NAYY 4x150 SE | 26 | 77 | 0.011374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2284-2_0_3_line_32 | NAYY 4x150 SE | 27 | 28 | 0.013688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2284-2_0_3_line_33 | NAYY 4x150 SE | 27 | 29 | 0.020877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2284-2_0_3_line_34 | NAYY 4x150 SE | 28 | 30 | 0.0065441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2284-2_0_3_line_35 | NAYY 4x150 SE | 29 | 31 | 0.040062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2284-2_0_3_line_36 | NAYY 4x150 SE | 29 | 32 | 0.014533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2284-2_0_3_line_37 | NAYY 4x150 SE | 31 | 33 | 0.0050527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2284-2_0_3_line_38 | NAYY 4x150 SE | 31 | 34 | 0.015854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2284-2_0_3_line_39 | NAYY 4x150 SE | 32 | 35 | 0.010598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2284-2_0_3_line_40 | NAYY 4x150 SE | 33 | 36 | 0.011099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2284-2_0_3_line_41 | NAYY 4x150 SE | 34 | 37 | 0.041878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2284-2_0_3_line_42 | NAYY 4x150 SE | 35 | 38 | 0.029291 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2284-2_0_3_line_43 | NAYY 4x150 SE | 36 | 64 | 0.012218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2284-2_0_3_line_44 | NAYY 4x150 SE | 37 | 62 | 0.011288 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2284-2_0_3_line_45 | NAYY 4x150 SE | 38 | 63 | 0.029082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_2284-2_0_3_line_46 | NAYY 4x150 SE | 39 | 40 | 0.027703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_2284-2_0_3_line_47 | NAYY 4x150 SE | 39 | 41 | 0.051922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_2284-2_0_3_line_48 | NAYY 4x150 SE | 40 | 42 | 0.042059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_2284-2_0_3_line_49 | NAYY 4x150 SE | 40 | 43 | 0.032914 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_2284-2_0_3_line_50 | NAYY 4x150 SE | 41 | 44 | 0.022853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_2284-2_0_3_line_51 | NAYY 4x150 SE | 41 | 45 | 0.017632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_2284-2_0_3_line_52 | NAYY 4x150 SE | 42 | 46 | 0.041211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_2284-2_0_3_line_53 | NAYY 4x150 SE | 42 | 47 | 0.046398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_2284-2_0_3_line_54 | NAYY 4x150 SE | 42 | 48 | 0.0039042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_2284-2_0_3_line_55 | NAYY 4x150 SE | 43 | 49 | 0.00068133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_2284-2_0_3_line_56 | NAYY 4x150 SE | 44 | 50 | 0.016992 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_2284-2_0_3_line_57 | NAYY 4x150 SE | 45 | 51 | 0.0043656 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_2284-2_0_3_line_58 | NAYY 4x150 SE | 47 | 52 | 0.018039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_2284-2_0_3_line_59 | NAYY 4x150 SE | 49 | 53 | 0.036404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_2284-2_0_3_line_60 | NAYY 4x150 SE | 50 | 54 | 0.01722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_2284-2_0_3_line_61 | NAYY 4x150 SE | 51 | 55 | 0.0023375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_2284-2_0_3_line_62 | NAYY 4x150 SE | 52 | 78 | 0.01381 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_2284-2_0_3_line_63 | NAYY 4x150 SE | 53 | 87 | 0.012872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_2284-2_0_3_line_64 | NAYY 4x150 SE | 54 | 68 | 0.017955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_2284-2_0_3_line_65 | NAYY 4x150 SE | 54 | 69 | 0.027193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
66 | LV_2284-2_0_3_line_66 | NAYY 4x150 SE | 55 | 80 | 0.036688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_2284-2_0_3_line_67 | NAYY 4x150 SE | 56 | 57 | 0.008406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_2284-2_0_3_line_68 | NAYY 4x150 SE | 57 | 58 | 0.0022638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_2284-2_0_3_line_69 | NAYY 4x150 SE | 59 | 60 | 0.0050708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_2284-2_0_3_line_70 | NAYY 4x150 SE | 60 | 61 | 0.04298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_2284-2_0_3_line_71 | NAYY 4x150 SE | 61 | 88 | 0.052924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_2284-2_0_3_line_72 | NAYY 4x150 SE | 64 | 65 | 0.081603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_2284-2_0_3_line_73 | NAYY 4x150 SE | 64 | 66 | 0.072394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_2284-2_0_3_line_74 | NAYY 4x150 SE | 65 | 67 | 0.01744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_2284-2_0_3_line_75 | NAYY 4x150 SE | 68 | 70 | 0.0038782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_2284-2_0_3_line_76 | NAYY 4x150 SE | 69 | 71 | 0.027018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_2284-2_0_3_line_77 | NAYY 4x150 SE | 70 | 72 | 0.014234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_2284-2_0_3_line_78 | NAYY 4x150 SE | 71 | 73 | 0.015112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_2284-2_0_3_line_79 | NAYY 4x150 SE | 72 | 79 | 0.020933 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_2284-2_0_3_line_80 | NAYY 4x150 SE | 74 | 86 | 0.015431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_2284-2_0_3_line_81 | NAYY 4x150 SE | 75 | 76 | 0.040409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_2284-2_0_3_line_82 | NAYY 4x150 SE | 76 | 77 | 0.01532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_2284-2_0_3_line_83 | NAYY 4x150 SE | 78 | 82 | 0.0034658 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_2284-2_0_3_line_84 | NAYY 4x150 SE | 80 | 81 | 0.0047844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_2284-2_0_3_line_85 | NAYY 4x150 SE | 83 | 84 | 0.010268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_2284-2_0_3_line_86 | NAYY 4x150 SE | 83 | 85 | 0.0026697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_2284-2_0_3_line_87 | NAYY 4x150 SE | 84 | 86 | 0.0060918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2284-2_0_3_trafo_14 | 0.25 MVA 20/0.4 kV | 89 | 12 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2573084.0786 | 1200508.4322 | 2573113.8709 | 1200516.5787
1 | 2573056.2864 | 1200500.8326 | 2573084.0786 | 1200508.4322
2 | 2573056.2864 | 1200500.8326 | 2573048.4388 | 1200496.0073
3 | 2573056.2864 | 1200500.8326 | 2573062.4949 | 1200505.2069 | 2573095.4259 | 1200544.2332
4 | 2573006.7231 | 1200470.3569 | 2573048.4388 | 1200496.0073
5 | 2573103.2914 | 1200553.5546 | 2573095.4259 | 1200544.2332
6 | 2573179.5912 | 1200545.5783 | 2573185.1014 | 1200548.7552 | 2573188.9832 | 1200552.0618 | 2573191.7576 | 1200556.2405 | 2573191.2353 | 1200558.5885 | 2573188.7474 | 1200560.5453 | 2573182.8127 | 1200561.1501 | 2573173.7452 | 1200559.1009 | 2573167.8197 | 1200560.0504 | 2573166.1837 | 1200563.5708 | 2573167.6476 | 1200567.4663 | 2573166.609 | 1200570.1058 | 2573162.9757 | 1200572.9459 | 2573160.9099 | 1200574.0369
7 | 2573441.5221 | 1200141.2832 | 2573179.5912 | 1200545.5783
8 | 2573147.1722 | 1200606.4911 | 2573156.8255 | 1200591.5838 | 2573159.8546 | 1200574.5942 | 2573160.9099 | 1200574.0369
9 | 2573485.9415 | 1200052.4256 | 2573441.5221 | 1200141.2832
10 | 2573441.5221 | 1200141.2832 | 2573424.7037 | 1200125.7888
11 | 2573006.7231 | 1200470.3569 | 2572993.3642 | 1200462.1427
12 | 2573103.2914 | 1200553.5546 | 2573113.7094 | 1200565.9009
13 | 2573147.1722 | 1200606.4911 | 2573327.6362 | 1200929.55
14 | 2573147.1722 | 1200606.4911 | 2573126.7212 | 1200581.2248
15 | 2573485.9415 | 1200052.4256 | 2573509.7171 | 1200021.9143
16 | 2573485.9415 | 1200052.4256 | 2573472.434 | 1200044.7589
17 | 2572993.3642 | 1200462.1427 | 2572973.2958 | 1200449.803 | 2572952.4233 | 1200439.2469
18 | 2573113.7094 | 1200565.9009 | 2573116.4261 | 1200569.1204 | 2573124.7066 | 1200578.9218 | 2573125.4482 | 1200579.6521 | 2573126.7212 | 1200581.2248
19 | 2573509.7171 | 1200021.9143 | 2573523.7416 | 1200033.7889
20 | 2573509.7171 | 1200021.9143 | 2573497.5136 | 1200011.5852
21 | 2573419.1283 | 1200014.5028 | 2573472.434 | 1200044.7589
22 | 2573534.5464 | 1200042.9374 | 2573523.7416 | 1200033.7889
23 | 2573497.5136 | 1200011.5852 | 2573514.343 | 1199985.396 | 2573533.0326 | 1199956.3415 | 2573541.2839 | 1199960.5036
24 | 2573483.1918 | 1200000.8319 | 2573497.5136 | 1200011.5852
25 | 2573419.1283 | 1200014.5028 | 2573384.1291 | 1199994.6375
26 | 2573268.3916 | 1199879.0256 | 2573253.748 | 1199910.3536
27 | 2573268.3916 | 1199879.0256 | 2573238.6975 | 1199862.3254
28 | 2573268.3916 | 1199879.0256 | 2573301.8384 | 1199896.1161
29 | 2573268.3916 | 1199879.0256 | 2573258.3077 | 1199886.5194 | 2573248.4498 | 1199888.3869 | 2573245.6318 | 1199887.2457
30 | 2573300.1942 | 1199963.2499 | 2573321.9942 | 1199970.1799
31 | 2573332.8341 | 1199973.6259 | 2573321.9942 | 1199970.1799
32 | 2573549.987 | 1200056.0111 | 2573539.5407 | 1200047.1661
33 | 2573565.92 | 1200069.5017 | 2573549.987 | 1200056.0111
34 | 2573534.5464 | 1200042.9374 | 2573539.5407 | 1200047.1661
35 | 2573565.92 | 1200069.5017 | 2573596.539 | 1200095.4356
36 | 2573565.92 | 1200069.5017 | 2573575.1351 | 1200058.2642
37 | 2573596.539 | 1200095.4356 | 2573600.3945 | 1200098.7013
38 | 2573596.539 | 1200095.4356 | 2573606.3653 | 1200082.9942
39 | 2573575.1351 | 1200058.2642 | 2573581.8553 | 1200050.0691
40 | 2573608.8637 | 1200105.875 | 2573600.3945 | 1200098.7013
41 | 2573632.3215 | 1200050.1305 | 2573606.3653 | 1200082.9942
42 | 2573600.4287 | 1200027.4192 | 2573581.8553 | 1200050.0691
43 | 2573618.1868 | 1200113.7719 | 2573608.8637 | 1200105.875
44 | 2573639.3181 | 1200041.272 | 2573632.3215 | 1200050.1305
45 | 2573618.8692 | 1200004.9316 | 2573600.4287 | 1200027.4192
46 | 2573342.8488 | 1199917.0793 | 2573367.5153 | 1199929.6897
47 | 2573413.4851 | 1199953.8281 | 2573368.0059 | 1199929.9405 | 2573367.5153 | 1199929.6897
48 | 2573342.8488 | 1199917.0793 | 2573305.3151 | 1199897.8925
49 | 2573342.8488 | 1199917.0793 | 2573359.3307 | 1199888.5896
50 | 2573413.4851 | 1199953.8281 | 2573433.7161 | 1199964.4576
51 | 2573413.4851 | 1199953.8281 | 2573415.4928 | 1199936.3106
52 | 2573305.3151 | 1199897.8925 | 2573311.9609 | 1199889.3581 | 2573317.3427 | 1199882.4413 | 2573328.4045 | 1199863.8149
53 | 2573305.3151 | 1199897.8925 | 2573304.9487 | 1199890.8792 | 2573293.4897 | 1199885.4387 | 2573289.7514 | 1199883.6657 | 2573289.2404 | 1199881.7669 | 2573287.8933 | 1199876.748 | 2573297.3675 | 1199864.6196
54 | 2573305.3151 | 1199897.8925 | 2573301.8384 | 1199896.1161
55 | 2573359.6719 | 1199887.9999 | 2573359.3307 | 1199888.5896
56 | 2573447.6342 | 1199974.139 | 2573437.1098 | 1199966.2406 | 2573433.7161 | 1199964.4576
57 | 2573415.9898 | 1199931.9735 | 2573415.4928 | 1199936.3106
58 | 2573307.9022 | 1199849.9913 | 2573302.6083 | 1199857.9162 | 2573297.7411 | 1199864.1414 | 2573297.3675 | 1199864.6196
59 | 2573377.9014 | 1199856.4895 | 2573359.6719 | 1199887.9999
60 | 2573461.4073 | 1199984.4756 | 2573447.6342 | 1199974.139
61 | 2573415.9898 | 1199931.9735 | 2573416.256 | 1199929.6512
62 | 2573307.9022 | 1199849.9913 | 2573315.5731 | 1199838.5081
63 | 2573390.6974 | 1199857.8886 | 2573377.9014 | 1199856.4895
64 | 2573461.4073 | 1199984.4756 | 2573470.1766 | 1199968.8075
65 | 2573461.4073 | 1199984.4756 | 2573483.1918 | 1200000.8319
66 | 2573416.256 | 1199929.6512 | 2573416.9436 | 1199923.6518 | 2573419.7182 | 1199909.1092 | 2573423.4331 | 1199903.9565 | 2573432.4796 | 1199901.0812
67 | 2573245.6318 | 1199887.2457 | 2573237.8404 | 1199884.0905
68 | 2573235.7421 | 1199883.2407 | 2573237.8404 | 1199884.0905
69 | 2573238.6975 | 1199862.3254 | 2573234.2778 | 1199859.8397
70 | 2573196.3182 | 1199839.6947 | 2573222.4838 | 1199853.2066 | 2573234.2778 | 1199859.8397
71 | 2573196.3182 | 1199839.6947 | 2573223.9251 | 1199794.5014
72 | 2573618.1868 | 1200113.7719 | 2573667.946 | 1200049.0957
73 | 2573618.1868 | 1200113.7719 | 2573673.4383 | 1200160.5503
74 | 2573678.5806 | 1200035.2729 | 2573667.946 | 1200049.0957
75 | 2573472.0708 | 1199965.4233 | 2573470.1766 | 1199968.8075
76 | 2573483.1918 | 1200000.8319 | 2573495.963 | 1199977.0232
77 | 2573472.0708 | 1199965.4233 | 2573479.0229 | 1199953.002
78 | 2573503.1065 | 1199963.7058 | 2573495.963 | 1199977.0232
79 | 2573489.2465 | 1199934.7355 | 2573479.0229 | 1199953.002
80 | 2573541.2839 | 1199960.5036 | 2573555.0617 | 1199967.4533
81 | 2573347.4339 | 1199978.2671 | 2573365.7207 | 1199984.0803 | 2573382.3211 | 1199993.6113 | 2573384.1291 | 1199994.6375
82 | 2573347.4339 | 1199978.2671 | 2573332.8341 | 1199973.6259
83 | 2573317.4982 | 1199835.6261 | 2573315.5731 | 1199838.5081
84 | 2573436.9334 | 1199902.829 | 2573432.4796 | 1199901.0812
85 | 2573569.6682 | 1199974.821 | 2573560.5007 | 1199970.1968
86 | 2573572.0519 | 1199976.0234 | 2573569.6682 | 1199974.821
87 | 2573560.5007 | 1199970.1968 | 2573555.0617 | 1199967.4533

## bus_geodata
| x | y | coords
0 | 2573084.0786 | 1200508.4322
1 | 2573113.8709 | 1200516.5787
2 | 2573056.2864 | 1200500.8326
3 | 2573048.4388 | 1200496.0073
4 | 2573095.4259 | 1200544.2332
5 | 2573179.5912 | 1200545.5783
6 | 2573160.9099 | 1200574.0369
7 | 2573441.5221 | 1200141.2832
8 | 2573006.7231 | 1200470.3569
9 | 2573103.2914 | 1200553.5546
10 | 2573147.1722 | 1200606.4911
11 | 2573485.9415 | 1200052.4256
12 | 2573424.7037 | 1200125.7888
13 | 2572993.3642 | 1200462.1427
14 | 2573113.7094 | 1200565.9009
15 | 2572952.4233 | 1200439.2469
16 | 2573327.6362 | 1200929.55
17 | 2573126.7212 | 1200581.2248
18 | 2573509.7171 | 1200021.9143
19 | 2573472.434 | 1200044.7589
20 | 2573523.7416 | 1200033.7889
21 | 2573497.5136 | 1200011.5852
22 | 2573419.1283 | 1200014.5028
23 | 2573253.748 | 1199910.3536
24 | 2573268.3916 | 1199879.0256
25 | 2573300.1942 | 1199963.2499
26 | 2573321.9942 | 1199970.1799
27 | 2573549.987 | 1200056.0111
28 | 2573539.5407 | 1200047.1661
29 | 2573565.92 | 1200069.5017
30 | 2573534.5464 | 1200042.9374
31 | 2573596.539 | 1200095.4356
32 | 2573575.1351 | 1200058.2642
33 | 2573600.3945 | 1200098.7013
34 | 2573606.3653 | 1200082.9942
35 | 2573581.8553 | 1200050.0691
36 | 2573608.8637 | 1200105.875
37 | 2573632.3215 | 1200050.1305
38 | 2573600.4287 | 1200027.4192
39 | 2573367.5153 | 1199929.6897
40 | 2573342.8488 | 1199917.0793
41 | 2573413.4851 | 1199953.8281
42 | 2573305.3151 | 1199897.8925
43 | 2573359.3307 | 1199888.5896
44 | 2573433.7161 | 1199964.4576
45 | 2573415.4928 | 1199936.3106
46 | 2573328.4045 | 1199863.8149
47 | 2573297.3675 | 1199864.6196
48 | 2573301.8384 | 1199896.1161
49 | 2573359.6719 | 1199887.9999
50 | 2573447.6342 | 1199974.139
51 | 2573415.9898 | 1199931.9735
52 | 2573307.9022 | 1199849.9913
53 | 2573377.9014 | 1199856.4895
54 | 2573461.4073 | 1199984.4756
55 | 2573416.256 | 1199929.6512
56 | 2573245.6318 | 1199887.2457
57 | 2573237.8404 | 1199884.0905
58 | 2573235.7421 | 1199883.2407
59 | 2573238.6975 | 1199862.3254
60 | 2573234.2778 | 1199859.8397
61 | 2573196.3182 | 1199839.6947
62 | 2573639.3181 | 1200041.272
63 | 2573618.8692 | 1200004.9316
64 | 2573618.1868 | 1200113.7719
65 | 2573667.946 | 1200049.0957
66 | 2573673.4383 | 1200160.5503
67 | 2573678.5806 | 1200035.2729
68 | 2573470.1766 | 1199968.8075
69 | 2573483.1918 | 1200000.8319
70 | 2573472.0708 | 1199965.4233
71 | 2573495.963 | 1199977.0232
72 | 2573479.0229 | 1199953.002
73 | 2573503.1065 | 1199963.7058
74 | 2573541.2839 | 1199960.5036
75 | 2573384.1291 | 1199994.6375
76 | 2573347.4339 | 1199978.2671
77 | 2573332.8341 | 1199973.6259
78 | 2573315.5731 | 1199838.5081
79 | 2573489.2465 | 1199934.7355
80 | 2573432.4796 | 1199901.0812
81 | 2573436.9334 | 1199902.829
82 | 2573317.4982 | 1199835.6261
83 | 2573569.6682 | 1199974.821
84 | 2573560.5007 | 1199970.1968
85 | 2573572.0519 | 1199976.0234
86 | 2573555.0617 | 1199967.4533
87 | 2573390.6974 | 1199857.8886
88 | 2573223.9251 | 1199794.5014
89 | 2573441.5221 | 1200141.2832

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9727 | -0.19187 | 0.0034072 | 0.00085391
1 | 0.97256 | -0.19286 | 0.0030299 | 0.00075936
2 | 0.97297 | -0.18991 | 0 | 0
3 | 0.97276 | -0.19142 | 0.0030782 | 0.00077146
4 | 0.97486 | -0.17636 | 0.0049266 | 0.0012347
5 | 0.98291 | -0.11901 | 0 | 0
6 | 0.98103 | -0.13233 | 0.00083642 | 0.00020963
7 | 0.99772 | -0.015679 | 0 | 0
8 | 0.97187 | -0.19785 | 0.0040538 | 0.001016
9 | 0.97534 | -0.17292 | 0.0022824 | 0.00057201
10 | 0.97885 | -0.14786 | 0 | 0
11 | 0.98986 | -0.07034 | 0 | 0
12 | 1 | 0 | -0.21033 | -0.053035
13 | 0.97168 | -0.19923 | 0.0043686 | 0.0010949
14 | 0.97603 | -0.16798 | 0.0033116 | 0.00082996
15 | 0.9714 | -0.20122 | 0.0040017 | 0.0010029
16 | 0.97772 | -0.15596 | 0.0020804 | 0.00052139
17 | 0.97698 | -0.16114 | 0.006653 | 0.0016674
18 | 0.98751 | -0.086878 | 0 | 0
19 | 0.98902 | -0.076301 | 0.0028355 | 0.00071064
20 | 0.9864 | -0.094753 | 0.0025441 | 0.00063761
21 | 0.98686 | -0.091451 | 0 | 0
22 | 0.98593 | -0.098136 | 0.0024501 | 0.00061405
23 | 0.97145 | -0.2011 | 0.0047416 | 0.0011884
24 | 0.97169 | -0.19937 | 0 | 0
25 | 0.98199 | -0.1261 | 0.0052395 | 0.0013131
26 | 0.98217 | -0.12486 | 0.0073313 | 0.0018374
27 | 0.98459 | -0.10754 | 0.0013955 | 0.00034974
28 | 0.98525 | -0.10285 | 0.0021766 | 0.00054552
29 | 0.98363 | -0.1144 | 0 | 0
30 | 0.98559 | -0.10046 | 0.0038043 | 0.00095344
31 | 0.98245 | -0.12279 | 0 | 0
32 | 0.98338 | -0.11614 | 0.00155 | 0.00038847
33 | 0.98235 | -0.12352 | 0.0029279 | 0.00073381
34 | 0.98231 | -0.12382 | 0.002182 | 0.00054687
35 | 0.98323 | -0.11724 | 0.0040234 | 0.0010084
36 | 0.98217 | -0.1248 | 0.0021148 | 0.00053001
37 | 0.98206 | -0.12559 | 0.0021583 | 0.00054092
38 | 0.98297 | -0.11906 | 0.0014105 | 0.00035351
39 | 0.97647 | -0.16501 | 0.0022564 | 0.00056552
40 | 0.97467 | -0.17791 | 0 | 0
41 | 0.98002 | -0.13974 | 0 | 0
42 | 0.97253 | -0.19328 | 0 | 0
43 | 0.9742 | -0.18126 | 0.0024916 | 0.00062446
44 | 0.98189 | -0.12648 | 0.0010482 | 0.00026269
45 | 0.97978 | -0.14144 | 0.0010212 | 0.00025592
46 | 0.97251 | -0.19345 | 0.00038835 | 9.7329e-05
47 | 0.97179 | -0.1986 | 0.0038565 | 0.00096652
48 | 0.9724 | -0.19425 | 0.010557 | 0.0026457
49 | 0.9742 | -0.18132 | 0.0022317 | 0.00055931
50 | 0.98331 | -0.11648 | 0.0021648 | 0.00054254
51 | 0.97973 | -0.14181 | 0.0017288 | 0.00043327
52 | 0.97161 | -0.19994 | 0.00032163 | 8.0609e-05
53 | 0.97393 | -0.18322 | 0.00095991 | 0.00024058
54 | 0.98479 | -0.10598 | 0 | 0
55 | 0.97971 | -0.14197 | 0.0010672 | 0.00026746
56 | 0.97161 | -0.19992 | 0.0004708 | 0.00011799
57 | 0.97159 | -0.20006 | 0.00088776 | 0.00022249
58 | 0.97159 | -0.20007 | 0.00067836 | 0.00017001
59 | 0.97138 | -0.20156 | 0.0011867 | 0.00029741
60 | 0.97135 | -0.20183 | 0.00075352 | 0.00018885
61 | 0.97108 | -0.20372 | 0 | 0
62 | 0.98203 | -0.12581 | 0.0019169 | 0.00048043
63 | 0.98278 | -0.12045 | 0.0046168 | 0.0011571
64 | 0.98201 | -0.12593 | 0 | 0
65 | 0.98158 | -0.12902 | 0.0016933 | 0.00042438
66 | 0.98145 | -0.12992 | 0.0053095 | 0.0013307
67 | 0.98153 | -0.12938 | 0.0019566 | 0.00049036
68 | 0.98448 | -0.10823 | 0.0025266 | 0.00063323
69 | 0.98621 | -0.096011 | 0 | 0
70 | 0.98442 | -0.10862 | 0.004106 | 0.0010291
71 | 0.98608 | -0.096916 | 0.0010026 | 0.00025129
72 | 0.98431 | -0.10943 | 0.0015054 | 0.00037728
73 | 0.98603 | -0.097267 | 0.0022615 | 0.00056678
74 | 0.98585 | -0.098592 | 0.0020008 | 0.00050145
75 | 0.98404 | -0.11153 | 0.011399 | 0.0028568
76 | 0.98281 | -0.12026 | 0.0012638 | 0.00031673
77 | 0.98237 | -0.12338 | 0.0071064 | 0.001781
78 | 0.97147 | -0.20091 | 0.0037641 | 0.00094337
79 | 0.98419 | -0.11031 | 0.0040488 | 0.0010147
80 | 0.97942 | -0.14404 | 0.0019626 | 0.00049187
81 | 0.97939 | -0.14422 | 0.0034734 | 0.00087051
82 | 0.97146 | -0.20102 | 0.002913 | 0.00073006
83 | 0.98556 | -0.10066 | 0.0017665 | 0.00044271
84 | 0.98563 | -0.10016 | 0.0018299 | 0.00045861
85 | 0.98555 | -0.10074 | 0.0029616 | 0.00074226
86 | 0.98569 | -0.099747 | 0.00072678 | 0.00018215
87 | 0.97386 | -0.18376 | 0.0040021 | 0.001003
88 | 0.97076 | -0.20605 | 0.0041557 | 0.0010415
89 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0030303 | 0.00075913 | -0.0030299 | -0.00075936 | 4.1415e-07 | -2.2404e-07 | 0.0046355 | 0.0046357 | 0.0046357 | 0.9727 | -0.19187 | 0.97256 | -0.19286 | 1.7169
1 | -0.0064374 | -0.001613 | 0.0064392 | 0.0016134 | 1.7435e-06 | 3.1285e-07 | 0.0098477 | 0.0098476 | 0.0098477 | 0.9727 | -0.19187 | 0.97297 | -0.18991 | 3.6473
2 | 0.015519 | 0.0038903 | -0.015516 | -0.0038892 | 3.2384e-06 | 1.1311e-06 | 0.023735 | 0.023735 | 0.023735 | 0.97297 | -0.18991 | 0.97276 | -0.19142 | 8.7907
3 | -0.021958 | -0.0055036 | 0.022 | 0.0055188 | 4.128e-05 | 1.5147e-05 | 0.033582 | 0.033582 | 0.033582 | 0.97297 | -0.18991 | 0.97486 | -0.17636 | 12.4379
4 | 0.012438 | 0.0031177 | -0.012427 | -0.003114 | 1.1062e-05 | 3.6472e-06 | 0.019026 | 0.019026 | 0.019026 | 0.97276 | -0.19142 | 0.97187 | -0.19785 | 7.0468
5 | -0.026926 | -0.0067535 | 0.026939 | 0.0067583 | 1.2857e-05 | 4.7929e-06 | 0.041102 | 0.041102 | 0.041102 | 0.97486 | -0.17636 | 0.97534 | -0.17292 | 15.223
6 | 0.042397 | 0.010664 | -0.042318 | -0.010635 | 7.8614e-05 | 2.8689e-05 | 0.064198 | 0.064198 | 0.064198 | 0.98291 | -0.11901 | 0.98103 | -0.13233 | 11.8886
7 | -0.042397 | -0.010664 | 0.043016 | 0.01089 | 0.0006194 | 0.00022583 | 0.064198 | 0.064193 | 0.064198 | 0.98291 | -0.11901 | 0.99772 | -0.015679 | 11.8885
8 | 0.041482 | 0.010426 | -0.041392 | -0.010392 | 8.9482e-05 | 3.396e-05 | 0.06293 | 0.06293 | 0.06293 | 0.98103 | -0.13233 | 0.97885 | -0.14786 | 23.3074
9 | 0.16605 | 0.041968 | -0.16478 | -0.041484 | 0.001268 | 0.00048385 | 0.24778 | 0.24778 | 0.24778 | 0.99772 | -0.015679 | 0.98986 | -0.07034 | 30.5897
10 | -0.20907 | -0.052858 | 0.20953 | 0.053035 | 0.00046292 | 0.00017715 | 0.31197 | 0.31197 | 0.31197 | 0.99772 | -0.015679 | 1 | 0 | 38.5147
11 | 0.0083731 | 0.0020981 | -0.0083714 | -0.0020976 | 1.6082e-06 | 4.2427e-07 | 0.01282 | 0.01282 | 0.01282 | 0.97187 | -0.19785 | 0.97168 | -0.19923 | 4.7481
12 | -0.029222 | -0.0073303 | 0.029242 | 0.0073378 | 2.0037e-05 | 7.5048e-06 | 0.044584 | 0.044584 | 0.044584 | 0.97534 | -0.17292 | 0.97603 | -0.16798 | 16.5126
13 | 0.0020827 | 0.00051763 | -0.0020804 | -0.00052139 | 2.3135e-06 | -3.7564e-06 | 0.0031645 | 0.0031661 | 0.0031661 | 0.97885 | -0.14786 | 0.97772 | -0.15596 | 1.1726
14 | 0.03931 | 0.0098743 | -0.039237 | -0.0098468 | 7.2451e-05 | 2.7458e-05 | 0.059765 | 0.059766 | 0.059766 | 0.97885 | -0.14786 | 0.97698 | -0.16114 | 22.1354
15 | 0.12692 | 0.031966 | -0.12663 | -0.031855 | 0.00029277 | 0.00011112 | 0.19085 | 0.19085 | 0.19085 | 0.98986 | -0.07034 | 0.98751 | -0.086878 | 23.5621
16 | 0.03786 | 0.0095176 | -0.037829 | -0.0095057 | 3.1405e-05 | 1.1879e-05 | 0.056924 | 0.056924 | 0.056924 | 0.98986 | -0.07034 | 0.98902 | -0.076301 | 21.083
17 | 0.0040028 | 0.0010028 | -0.0040017 | -0.0010029 | 1.1008e-06 | -1.58e-07 | 0.0061297 | 0.0061299 | 0.0061299 | 0.97168 | -0.19923 | 0.9714 | -0.20122 | 2.2703
18 | -0.032553 | -0.0081678 | 0.032584 | 0.0081794 | 3.0909e-05 | 1.1636e-05 | 0.049633 | 0.049633 | 0.049633 | 0.97603 | -0.16798 | 0.97698 | -0.16114 | 18.3825
19 | 0.041963 | 0.010535 | -0.041917 | -0.010518 | 4.5857e-05 | 1.7402e-05 | 0.063238 | 0.063238 | 0.063238 | 0.98751 | -0.086878 | 0.9864 | -0.094753 | 23.4215
20 | 0.084667 | 0.02132 | -0.084613 | -0.0213 | 5.4073e-05 | 2.0185e-05 | 0.12762 | 0.12762 | 0.12762 | 0.98751 | -0.086878 | 0.98686 | -0.091451 | 15.755
21 | 0.034994 | 0.008795 | -0.034887 | -0.008755 | 0.00010605 | 4.0006e-05 | 0.052658 | 0.052658 | 0.052658 | 0.98902 | -0.076301 | 0.98593 | -0.098136 | 19.503
22 | 0.039373 | 0.0098804 | -0.039342 | -0.0098686 | 3.1171e-05 | 1.1808e-05 | 0.0594 | 0.0594 | 0.0594 | 0.9864 | -0.094753 | 0.98559 | -0.10046 | 22.0001
23 | 0.0092967 | 0.00233 | -0.0092875 | -0.0023275 | 9.1864e-06 | 2.577e-06 | 0.014018 | 0.014018 | 0.014018 | 0.98686 | -0.091451 | 0.98585 | -0.098592 | 5.1919
24 | 0.075316 | 0.01897 | -0.075268 | -0.018952 | 4.7987e-05 | 1.7772e-05 | 0.1136 | 0.1136 | 0.1136 | 0.98686 | -0.091451 | 0.98621 | -0.096011 | 14.0244
25 | 0.032437 | 0.008141 | -0.032377 | -0.0081183 | 6.0197e-05 | 2.2641e-05 | 0.04896 | 0.048961 | 0.048961 | 0.98593 | -0.098136 | 0.98404 | -0.11153 | 18.1336
26 | -0.0047416 | -0.0011884 | 0.0047427 | 0.0011884 | 1.1383e-06 | 9.5418e-09 | 0.0072629 | 0.0072628 | 0.0072629 | 0.97145 | -0.2011 | 0.97169 | -0.19937 | 2.69
27 | 0.0061004 | 0.0015278 | -0.0060985 | -0.0015275 | 1.8551e-06 | 2.9164e-07 | 0.0093415 | 0.0093417 | 0.0093417 | 0.97169 | -0.19937 | 0.97138 | -0.20156 | 3.4599
28 | -0.01288 | -0.0032263 | 0.012889 | 0.0032294 | 9.1177e-06 | 3.0412e-06 | 0.019724 | 0.019724 | 0.019724 | 0.97169 | -0.19937 | 0.9724 | -0.19425 | 7.3051
29 | 0.0020371 | 0.00051012 | -0.002037 | -0.00051038 | 1.5568e-07 | -2.5767e-07 | 0.0031194 | 0.0031195 | 0.0031195 | 0.97169 | -0.19937 | 0.97161 | -0.19992 | 1.1554
30 | -0.0052395 | -0.0013131 | 0.0052404 | 0.0013132 | 8.9976e-07 | 5.6616e-08 | 0.0079395 | 0.0079394 | 0.0079395 | 0.98199 | -0.1261 | 0.98217 | -0.12486 | 2.9405
31 | -0.012572 | -0.0031506 | 0.012574 | 0.0031514 | 2.5748e-06 | 8.4633e-07 | 0.019047 | 0.019046 | 0.019047 | 0.98217 | -0.12486 | 0.98237 | -0.12338 | 7.0543
32 | -0.033328 | -0.0083571 | 0.033349 | 0.0083652 | 2.167e-05 | 8.1603e-06 | 0.050369 | 0.050369 | 0.050369 | 0.98459 | -0.10754 | 0.98525 | -0.10285 | 18.6553
33 | 0.031932 | 0.0080073 | -0.031902 | -0.0079959 | 3.0342e-05 | 1.1405e-05 | 0.04826 | 0.048261 | 0.048261 | 0.98459 | -0.10754 | 0.98363 | -0.1144 | 17.8743
34 | -0.035526 | -0.0089107 | 0.035538 | 0.0089152 | 1.1757e-05 | 4.4384e-06 | 0.053657 | 0.053657 | 0.053657 | 0.98525 | -0.10285 | 0.98559 | -0.10046 | 19.8728
35 | 0.020294 | 0.005087 | -0.020271 | -0.0050784 | 2.3563e-05 | 8.5547e-06 | 0.030701 | 0.030701 | 0.030701 | 0.98363 | -0.1144 | 0.98245 | -0.12279 | 11.3708
36 | 0.011607 | 0.002909 | -0.011605 | -0.0029081 | 2.7961e-06 | 8.9102e-07 | 0.01756 | 0.01756 | 0.01756 | 0.98363 | -0.1144 | 0.98338 | -0.11614 | 6.5036
37 | 0.014011 | 0.0035103 | -0.01401 | -0.0035098 | 1.4199e-06 | 4.8213e-07 | 0.021221 | 0.021221 | 0.021221 | 0.98245 | -0.12279 | 0.98235 | -0.12352 | 7.8597
38 | 0.0062592 | 0.0015681 | -0.0062583 | -0.001568 | 8.8907e-07 | 1.4123e-07 | 0.00948 | 0.0094801 | 0.0094801 | 0.98245 | -0.12279 | 0.98231 | -0.12382 | 3.5111
39 | 0.010055 | 0.0025196 | -0.010053 | -0.0025191 | 1.5308e-06 | 4.5433e-07 | 0.015214 | 0.015214 | 0.015214 | 0.98338 | -0.11614 | 0.98323 | -0.11724 | 5.6349
40 | 0.011082 | 0.002776 | -0.01108 | -0.0027754 | 1.9515e-06 | 6.1009e-07 | 0.016786 | 0.016786 | 0.016786 | 0.98235 | -0.12352 | 0.98217 | -0.1248 | 6.2171
41 | 0.0040763 | 0.0010211 | -0.0040753 | -0.0010212 | 9.9634e-07 | -1.468e-07 | 0.0061747 | 0.0061748 | 0.0061748 | 0.98231 | -0.12382 | 0.98206 | -0.12559 | 2.287
42 | 0.0060297 | 0.0015108 | -0.0060282 | -0.0015106 | 1.522e-06 | 2.1399e-07 | 0.0091252 | 0.0091254 | 0.0091254 | 0.98323 | -0.11724 | 0.98297 | -0.11906 | 3.3798
43 | 0.0089653 | 0.0022454 | -0.0089639 | -0.002245 | 1.4065e-06 | 3.8635e-07 | 0.013582 | 0.013582 | 0.013582 | 0.98217 | -0.1248 | 0.98201 | -0.12593 | 5.0305
44 | 0.001917 | 0.00048031 | -0.0019169 | -0.00048043 | 5.9427e-08 | -1.1997e-07 | 0.0029046 | 0.0029046 | 0.0029046 | 0.98206 | -0.12559 | 0.98203 | -0.12581 | 1.0758
45 | 0.0046177 | 0.0011571 | -0.0046168 | -0.0011571 | 8.8671e-07 | -2.7532e-08 | 0.0069901 | 0.0069903 | 0.0069903 | 0.98297 | -0.11906 | 0.98278 | -0.12045 | 2.589
46 | 0.044548 | 0.011183 | -0.044468 | -0.011153 | 7.968e-05 | 3.03e-05 | 0.067892 | 0.067892 | 0.067892 | 0.97647 | -0.16501 | 0.97467 | -0.17791 | 25.1452
47 | -0.046804 | -0.011749 | 0.046969 | 0.011812 | 0.00016485 | 6.2751e-05 | 0.07133 | 0.07133 | 0.07133 | 0.97647 | -0.16501 | 0.98002 | -0.13974 | 26.4187
48 | 0.034777 | 0.0087245 | -0.034703 | -0.0086966 | 7.399e-05 | 2.7935e-05 | 0.053096 | 0.053097 | 0.053097 | 0.97467 | -0.17791 | 0.97253 | -0.19328 | 19.6654
49 | 0.0096914 | 0.0024287 | -0.0096869 | -0.0024274 | 4.4961e-06 | 1.3193e-06 | 0.014796 | 0.014796 | 0.014796 | 0.97467 | -0.17791 | 0.9742 | -0.18126 | 5.4799
50 | -0.056227 | -0.014132 | 0.056331 | 0.014171 | 0.00010397 | 3.97e-05 | 0.085386 | 0.085386 | 0.085386 | 0.98002 | -0.13974 | 0.98189 | -0.12648 | 31.6245
51 | 0.0092574 | 0.0023199 | -0.0092552 | -0.0023193 | 2.1738e-06 | 6.1394e-07 | 0.014056 | 0.014056 | 0.014056 | 0.98002 | -0.13974 | 0.97978 | -0.14144 | 5.2059
52 | 0.00038836 | 9.6821e-05 | -0.00038835 | -9.7329e-05 | 9.0768e-09 | -5.0786e-07 | 0.00059402 | 0.0005942 | 0.0005942 | 0.97253 | -0.19328 | 0.97251 | -0.19345 | 0.22007
53 | 0.010865 | 0.0027235 | -0.010857 | -0.002721 | 8.002e-06 | 2.5024e-06 | 0.016625 | 0.016625 | 0.016625 | 0.97253 | -0.19328 | 0.97179 | -0.1986 | 6.1574
54 | 0.023449 | 0.0058763 | -0.023446 | -0.0058751 | 3.136e-06 | 1.1577e-06 | 0.035878 | 0.035878 | 0.035878 | 0.97253 | -0.19328 | 0.9724 | -0.19425 | 13.2881
55 | 0.0071953 | 0.0018029 | -0.0071953 | -0.0018029 | 5.135e-08 | 1.1267e-08 | 0.01099 | 0.01099 | 0.01099 | 0.9742 | -0.18126 | 0.9742 | -0.18132 | 4.0704
56 | -0.057379 | -0.014434 | 0.057459 | 0.014465 | 8.0208e-05 | 3.0634e-05 | 0.086975 | 0.086974 | 0.086975 | 0.98189 | -0.12648 | 0.98331 | -0.11648 | 32.2128
57 | 0.0082341 | 0.0020633 | -0.0082337 | -0.0020632 | 4.2599e-07 | 1.0887e-07 | 0.012505 | 0.012505 | 0.012505 | 0.97978 | -0.14144 | 0.97973 | -0.14181 | 4.6315
58 | 0.0070009 | 0.0017545 | -0.0069996 | -0.0017542 | 1.2936e-06 | 2.7406e-07 | 0.01072 | 0.01072 | 0.01072 | 0.97179 | -0.1986 | 0.97161 | -0.19994 | 3.9703
59 | 0.0049636 | 0.0012436 | -0.0049623 | -0.0012435 | 1.3057e-06 | 4.904e-08 | 0.0075814 | 0.0075815 | 0.0075815 | 0.9742 | -0.18132 | 0.97393 | -0.18322 | 2.808
60 | -0.059624 | -0.015007 | 0.059711 | 0.015041 | 8.7524e-05 | 3.3444e-05 | 0.09025 | 0.09025 | 0.09025 | 0.98331 | -0.11648 | 0.98479 | -0.10598 | 33.426
61 | 0.0065049 | 0.00163 | -0.0065048 | -0.0016299 | 1.4237e-07 | 2.5321e-08 | 0.0098795 | 0.0098795 | 0.0098795 | 0.97973 | -0.14181 | 0.97971 | -0.14197 | 3.6591
62 | 0.006678 | 0.0016736 | -0.0066771 | -0.0016734 | 9.0136e-07 | 1.7567e-07 | 0.010227 | 0.010227 | 0.010227 | 0.97161 | -0.19994 | 0.97147 | -0.20091 | 3.7879
63 | 0.0040024 | 0.001003 | -0.0040021 | -0.001003 | 3.0035e-07 | -4.4655e-08 | 0.0061149 | 0.006115 | 0.006115 | 0.97393 | -0.18322 | 0.97386 | -0.18376 | 2.2648
64 | 0.012192 | 0.0030557 | -0.012188 | -0.0030544 | 3.8025e-06 | 1.2341e-06 | 0.018422 | 0.018422 | 0.018422 | 0.98479 | -0.10598 | 0.98448 | -0.10823 | 6.8231
65 | -0.071904 | -0.018096 | 0.072004 | 0.018134 | 0.0001002 | 3.7844e-05 | 0.10867 | 0.10867 | 0.10867 | 0.98479 | -0.10598 | 0.98621 | -0.096011 | 20.1246
66 | 0.0054376 | 0.0013625 | -0.005436 | -0.0013623 | 1.5615e-06 | 1.3873e-07 | 0.0082587 | 0.0082589 | 0.0082589 | 0.97971 | -0.14197 | 0.97942 | -0.14404 | 3.0588
67 | 0.0015662 | 0.00039239 | -0.0015661 | -0.00039248 | 3.0176e-08 | -9.25e-08 | 0.0023985 | 0.0023986 | 0.0023986 | 0.97161 | -0.19992 | 0.97159 | -0.20006 | 0.88835
68 | 0.00067837 | 0.00016999 | -0.00067836 | -0.00017001 | 1.5248e-09 | -2.745e-08 | 0.0010389 | 0.0010389 | 0.0010389 | 0.97159 | -0.20006 | 0.97159 | -0.20007 | 0.38479
69 | 0.0049118 | 0.0012301 | -0.0049116 | -0.0012301 | 1.7912e-07 | 6.1217e-09 | 0.0075238 | 0.0075239 | 0.0075239 | 0.97138 | -0.20156 | 0.97135 | -0.20183 | 2.7866
70 | 0.0041581 | 0.0010413 | -0.004157 | -0.0010414 | 1.0881e-06 | -1.1336e-07 | 0.0063695 | 0.0063697 | 0.0063697 | 0.97135 | -0.20183 | 0.97108 | -0.20372 | 2.3592
71 | 0.004157 | 0.0010414 | -0.0041557 | -0.0010415 | 1.34e-06 | -1.3916e-07 | 0.0063697 | 0.00637 | 0.00637 | 0.97108 | -0.20372 | 0.97076 | -0.20605 | 2.3592
72 | 0.0036515 | 0.00091413 | -0.00365 | -0.00091456 | 1.5588e-06 | -4.324e-07 | 0.0055327 | 0.0055331 | 0.0055331 | 0.98201 | -0.12593 | 0.98158 | -0.12902 | 2.0493
73 | 0.0053124 | 0.0013309 | -0.0053095 | -0.0013307 | 2.9272e-06 | 2.1046e-07 | 0.0080495 | 0.0080499 | 0.0080499 | 0.98201 | -0.12593 | 0.98145 | -0.12992 | 2.9814
74 | 0.0019567 | 0.00049018 | -0.0019566 | -0.00049036 | 9.5748e-08 | -1.8362e-07 | 0.0029661 | 0.0029662 | 0.0029662 | 0.98158 | -0.12902 | 0.98153 | -0.12938 | 1.0986
75 | 0.0096618 | 0.0024212 | -0.0096613 | -0.0024211 | 5.161e-07 | 1.4919e-07 | 0.014604 | 0.014604 | 0.014604 | 0.98448 | -0.10823 | 0.98442 | -0.10862 | 5.4087
76 | 0.0032646 | 0.00081773 | -0.0032642 | -0.00081792 | 4.0904e-07 | -1.8738e-07 | 0.0049256 | 0.0049257 | 0.0049257 | 0.98621 | -0.096011 | 0.98608 | -0.096916 | 1.8243
77 | 0.0055553 | 0.001392 | -0.0055547 | -0.0013919 | 6.2631e-07 | 5.9935e-08 | 0.0083971 | 0.0083972 | 0.0083972 | 0.98442 | -0.10862 | 0.98431 | -0.10943 | 3.1101
78 | 0.0022616 | 0.00056663 | -0.0022615 | -0.00056678 | 1.0983e-07 | -1.5053e-07 | 0.0034127 | 0.0034128 | 0.0034128 | 0.98608 | -0.096916 | 0.98603 | -0.097267 | 1.264
79 | 0.0040493 | 0.0010147 | -0.0040488 | -0.0010147 | 4.8947e-07 | -7.7783e-08 | 0.0061214 | 0.0061215 | 0.0061215 | 0.98431 | -0.10943 | 0.98419 | -0.11031 | 2.2672
80 | 0.0072867 | 0.001826 | -0.0072855 | -0.0018258 | 1.1648e-06 | 2.5125e-07 | 0.010998 | 0.010998 | 0.010998 | 0.98585 | -0.098592 | 0.98569 | -0.099747 | 4.0734
81 | 0.020978 | 0.0052615 | -0.020953 | -0.0052523 | 2.5377e-05 | 9.2477e-06 | 0.031724 | 0.031724 | 0.031724 | 0.98404 | -0.11153 | 0.98281 | -0.12026 | 11.7496
82 | 0.019689 | 0.0049355 | -0.019681 | -0.0049325 | 8.4953e-06 | 3.0734e-06 | 0.029811 | 0.029811 | 0.029811 | 0.98281 | -0.12026 | 0.98237 | -0.12338 | 11.041
83 | 0.002913 | 0.00073003 | -0.002913 | -0.00073006 | 4.3055e-08 | -2.6351e-08 | 0.0044619 | 0.0044619 | 0.0044619 | 0.97147 | -0.20091 | 0.97146 | -0.20102 | 1.6525
84 | 0.0034734 | 0.00087048 | -0.0034734 | -0.00087051 | 8.314e-08 | -2.8232e-08 | 0.0052771 | 0.0052772 | 0.0052772 | 0.97942 | -0.14404 | 0.97939 | -0.14422 | 1.9545
85 | -0.0047281 | -0.001185 | 0.0047285 | 0.0011849 | 3.265e-07 | -5.2766e-09 | 0.0071386 | 0.0071385 | 0.0071386 | 0.98556 | -0.10066 | 0.98563 | -0.10016 | 2.6439
86 | 0.0029617 | 0.00074224 | -0.0029616 | -0.00074226 | 3.331e-08 | -2.1209e-08 | 0.0044716 | 0.0044716 | 0.0044716 | 0.98556 | -0.10066 | 0.98555 | -0.10074 | 1.6561
87 | -0.0065584 | -0.0016436 | 0.0065587 | 0.0016436 | 3.7265e-07 | 6.5682e-08 | 0.0099011 | 0.0099011 | 0.0099011 | 0.98563 | -0.10016 | 0.98569 | -0.099747 | 3.6671

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.21378 | 0.0539

## res_load
| p_mw | q_mvar
0 | 0.0034072 | 0.00085391
1 | 0.0030299 | 0.00075936
2 | 0.0030782 | 0.00077146
3 | 0.0049266 | 0.0012347
4 | 0.00083642 | 0.00020963
5 | 0.0040538 | 0.001016
6 | 0.0022824 | 0.00057201
7 | 0.0034491 | 0.00086444
8 | 0.0043686 | 0.0010949
9 | 0.0033116 | 0.00082996
10 | 0.0040017 | 0.0010029
11 | 0.0020804 | 0.00052139
12 | 0.006653 | 0.0016674
13 | 0.0028355 | 0.00071064
14 | 0.0025441 | 0.00063761
15 | 0.0024501 | 0.00061405
16 | 0.0047416 | 0.0011884
17 | 0.0052395 | 0.0013131
18 | 0.0073313 | 0.0018374
19 | 0.0013955 | 0.00034974
20 | 0.0021766 | 0.00054552
21 | 0.0038043 | 0.00095344
22 | 0.00155 | 0.00038847
23 | 0.0029279 | 0.00073381
24 | 0.002182 | 0.00054687
25 | 0.0040234 | 0.0010084
26 | 0.0021148 | 0.00053001
27 | 0.0021583 | 0.00054092
28 | 0.0014105 | 0.00035351
29 | 0.0022564 | 0.00056552
30 | 0.0024916 | 0.00062446
31 | 0.0010482 | 0.00026269
32 | 0.0010212 | 0.00025592
33 | 0.00038835 | 9.7329e-05
34 | 0.0038565 | 0.00096652
35 | 0.010557 | 0.0026457
36 | 0.0022317 | 0.00055931
37 | 0.0021648 | 0.00054254
38 | 0.0017288 | 0.00043327
39 | 0.00032163 | 8.0609e-05
40 | 0.00095991 | 0.00024058
41 | 0.0010672 | 0.00026746
42 | 0.0004708 | 0.00011799
43 | 0.00088776 | 0.00022249
44 | 0.00067836 | 0.00017001
45 | 0.0011867 | 0.00029741
46 | 0.00075352 | 0.00018885
47 | 0.0019169 | 0.00048043
48 | 0.0046168 | 0.0011571
49 | 0.0016933 | 0.00042438
50 | 0.0053095 | 0.0013307
51 | 0.0019566 | 0.00049036
52 | 0.0025266 | 0.00063323
53 | 0.004106 | 0.0010291
54 | 0.0010026 | 0.00025129
55 | 0.0015054 | 0.00037728
56 | 0.0022615 | 0.00056678
57 | 0.0020008 | 0.00050145
58 | 0.011399 | 0.0028568
59 | 0.0012638 | 0.00031673
60 | 0.0071064 | 0.001781
61 | 0.0037641 | 0.00094337
62 | 0.0040488 | 0.0010147
63 | 0.0019626 | 0.00049187
64 | 0.0034734 | 0.00087051
65 | 0.002913 | 0.00073006
66 | 0.0017665 | 0.00044271
67 | 0.0018299 | 0.00045861
68 | 0.0029616 | 0.00074226
69 | 0.00072678 | 0.00018215
70 | 0.0040021 | 0.001003
71 | 0.0041557 | 0.0010415

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1