## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2284-3_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2284-3_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2284-3_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2284-3_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2284-3_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2284-3_0_3_node_13 | 0.4 | n |  | TRUE
6 | bus_LV_2284-3_0_3_node_12 | 0.4 | n |  | TRUE
7 | bus_LV_2284-3_0_3_node_11 | 0.4 | n |  | TRUE
8 | bus_LV_2284-3_0_3_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_2284-3_0_3_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_2284-3_0_3_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_2284-3_0_3_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_2284-3_0_3_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_2284-3_0_3_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_2284-3_0_3_node_22 | 0.4 | n |  | TRUE
15 | bus_LV_2284-3_0_3_node_26 | 0.4 | n |  | TRUE
16 | bus_LV_2284-3_0_3_node_62 | 0.4 | n |  | TRUE
17 | bus_LV_2284-3_0_3_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_2284-3_0_3_node_21 | 0.4 | n |  | TRUE
19 | bus_LV_2284-3_0_3_node_18 | 0.4 | n |  | TRUE
20 | bus_LV_2284-3_0_3_node_55 | 0.4 | n |  | TRUE
21 | bus_LV_2284-3_0_3_node_54 | 0.4 | n |  | TRUE
22 | bus_LV_2284-3_0_3_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_2284-3_0_3_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_2284-3_0_3_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_2284-3_0_3_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_2284-3_0_3_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_2284-3_0_3_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_2284-3_0_3_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_2284-3_0_3_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_2284-3_0_3_node_36 | 0.4 | n |  | TRUE
31 | bus_LV_2284-3_0_3_node_68 | 0.4 | n |  | TRUE
32 | bus_LV_2284-3_0_3_node_37 | 0.4 | n |  | TRUE
33 | bus_LV_2284-3_0_3_node_61 | 0.4 | n |  | TRUE
34 | bus_LV_2284-3_0_3_node_66 | 0.4 | n |  | TRUE
35 | bus_LV_2284-3_0_3_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_2284-3_0_3_node_28 | 0.4 | n |  | TRUE
37 | bus_LV_2284-3_0_3_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_2284-3_0_3_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_2284-3_0_3_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_2284-3_0_3_node_33 | 0.4 | n |  | TRUE
41 | bus_LV_2284-3_0_3_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_2284-3_0_3_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_2284-3_0_3_node_34 | 0.4 | n |  | TRUE
44 | bus_LV_2284-3_0_3_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_2284-3_0_3_node_39 | 0.4 | n |  | TRUE
46 | bus_LV_2284-3_0_3_node_42 | 0.4 | n |  | TRUE
47 | bus_LV_2284-3_0_3_node_41 | 0.4 | n |  | TRUE
48 | bus_LV_2284-3_0_3_node_77 | 0.4 | n |  | TRUE
49 | bus_LV_2284-3_0_3_node_40 | 0.4 | n |  | TRUE
50 | bus_LV_2284-3_0_3_node_76 | 0.4 | n |  | TRUE
51 | bus_LV_2284-3_0_3_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_2284-3_0_3_node_45 | 0.4 | n |  | TRUE
53 | bus_LV_2284-3_0_3_node_46 | 0.4 | n |  | TRUE
54 | bus_LV_2284-3_0_3_node_52 | 0.4 | n |  | TRUE
55 | bus_LV_2284-3_0_3_node_79 | 0.4 | n |  | TRUE
56 | bus_LV_2284-3_0_3_node_50 | 0.4 | n |  | TRUE
57 | bus_LV_2284-3_0_3_node_47 | 0.4 | n |  | TRUE
58 | bus_LV_2284-3_0_3_node_48 | 0.4 | n |  | TRUE
59 | bus_LV_2284-3_0_3_node_56 | 0.4 | n |  | TRUE
60 | bus_LV_2284-3_0_3_node_57 | 0.4 | n |  | TRUE
61 | bus_LV_2284-3_0_3_node_49 | 0.4 | n |  | TRUE
62 | bus_LV_2284-3_0_3_node_51 | 0.4 | n |  | TRUE
63 | bus_LV_2284-3_0_3_node_53 | 0.4 | n |  | TRUE
64 | bus_LV_2284-3_0_3_node_70 | 0.4 | n |  | TRUE
65 | bus_LV_2284-3_0_3_node_69 | 0.4 | n |  | TRUE
66 | bus_LV_2284-3_0_3_node_58 | 0.4 | n |  | TRUE
67 | bus_LV_2284-3_0_3_node_59 | 0.4 | n |  | TRUE
68 | bus_LV_2284-3_0_3_node_60 | 0.4 | n |  | TRUE
69 | bus_LV_2284-3_0_3_node_63 | 0.4 | n |  | TRUE
70 | bus_LV_2284-3_0_3_node_64 | 0.4 | n |  | TRUE
71 | bus_LV_2284-3_0_3_node_65 | 0.4 | n |  | TRUE
72 | bus_LV_2284-3_0_3_node_67 | 0.4 | n |  | TRUE
73 | bus_LV_2284-3_0_3_node_71 | 0.4 | n |  | TRUE
74 | bus_LV_2284-3_0_3_node_72 | 0.4 | n |  | TRUE
75 | bus_LV_2284-3_0_3_node_73 | 0.4 | n |  | TRUE
76 | bus_LV_2284-3_0_3_node_74 | 0.4 | n |  | TRUE
77 | bus_LV_2284-3_0_3_node_75 | 0.4 | n |  | TRUE
78 | bus_LV_2284-3_0_3_node_78 | 0.4 | n |  | TRUE
79 | bus_MV_379_0_node_66 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2284-3_0_3_load_0 | 0 | 0.0034912 | 0.00087497 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2284-3_0_3_load_1 | 1 | 0.0026242 | 0.00065768 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2284-3_0_3_load_2 | 2 | 0.003304 | 0.00082805 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2284-3_0_3_load_13 | 5 | 0.0029233 | 0.00073264 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2284-3_0_3_load_12 | 6 | 0.0015752 | 0.00039479 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2284-3_0_3_load_5 | 8 | 0.0079375 | 0.0019893 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2284-3_0_3_load_6 | 9 | 0.0061823 | 0.0015494 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2284-3_0_3_load_8 | 11 | 0.0014927 | 0.00037412 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2284-3_0_3_load_10 | 13 | 0.0049434 | 0.0012389 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2284-3_0_3_load_22 | 14 | 0.0037865 | 0.00094899 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2284-3_0_3_load_26 | 15 | 0.0068428 | 0.001715 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2284-3_0_3_load_62 | 16 | 0.0019964 | 0.00050034 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2284-3_0_3_load_14 | 17 | 0.0041376 | 0.001037 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2284-3_0_3_load_21 | 18 | 0.0031868 | 0.0007987 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2284-3_0_3_load_18 | 19 | 0.007259 | 0.0018193 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2284-3_0_3_load_55 | 20 | 0.0036418 | 0.00091273 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2284-3_0_3_load_54 | 21 | 0.0065442 | 0.0016401 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2284-3_0_3_load_15 | 22 | 0.0034759 | 0.00087113 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2284-3_0_3_load_16 | 23 | 0.0036695 | 0.00091965 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2284-3_0_3_load_17 | 24 | 0.0037231 | 0.00093309 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2284-3_0_3_load_19 | 25 | 0.0018273 | 0.00045797 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2284-3_0_3_load_20 | 26 | 0.0038381 | 0.00096191 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2284-3_0_3_load_24 | 28 | 0.0054105 | 0.001356 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2284-3_0_3_load_25 | 29 | 0.0035421 | 0.00088772 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2284-3_0_3_load_36 | 30 | 0.003741 | 0.00093757 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2284-3_0_3_load_61 | 33 | 0.0022188 | 0.00055607 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2284-3_0_3_load_66 | 34 | 0.0045237 | 0.0011337 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2284-3_0_3_load_27 | 35 | 0.0044333 | 0.0011111 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2284-3_0_3_load_28 | 36 | 0.0035579 | 0.00089169 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2284-3_0_3_load_29 | 37 | 0.0047035 | 0.0011788 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2284-3_0_3_load_30 | 38 | 0.0015861 | 0.0003975 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2284-3_0_3_load_35 | 39 | 0.00169 | 0.00042355 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2284-3_0_3_load_33 | 40 | 0.00077868 | 0.00019515 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2284-3_0_3_load_31 | 41 | 0.0012522 | 0.00031383 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2284-3_0_3_load_32 | 42 | 0.0019775 | 0.00049562 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2284-3_0_3_load_34 | 43 | 0.0018448 | 0.00046235 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2284-3_0_3_load_38 | 44 | 0.0046499 | 0.0011654 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2284-3_0_3_load_39 | 45 | 0.0038257 | 0.00095882 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2284-3_0_3_load_42 | 46 | 0.0050956 | 0.0012771 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2284-3_0_3_load_41 | 47 | 0.0068304 | 0.0017119 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2284-3_0_3_load_77 | 48 | 0.0083373 | 0.0020895 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2284-3_0_3_load_76 | 50 | 0.0037449 | 0.00093855 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2284-3_0_3_load_43 | 51 | 0.0052822 | 0.0013238 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2284-3_0_3_load_45 | 52 | 0.0028966 | 0.00072596 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2284-3_0_3_load_46 | 53 | 0.0059485 | 0.0014908 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2284-3_0_3_load_79 | 55 | 0.0044953 | 0.0011266 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2284-3_0_3_load_50 | 56 | 0.004767 | 0.0011947 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2284-3_0_3_load_47 | 57 | 0.004962 | 0.0012436 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2284-3_0_3_load_48 | 58 | 0.0053348 | 0.001337 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2284-3_0_3_load_56 | 59 | 0.0018071 | 0.0004529 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2284-3_0_3_load_57 | 60 | 0.00092198 | 0.00023107 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2284-3_0_3_load_49 | 61 | 0.0011499 | 0.00028819 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2284-3_0_3_load_51 | 62 | 0.0048181 | 0.0012075 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2284-3_0_3_load_53 | 63 | 0.003773 | 0.0009456 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2284-3_0_3_load_70 | 64 | 0.0049194 | 0.0012329 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2284-3_0_3_load_69 | 65 | 0.0045536 | 0.0011413 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2284-3_0_3_load_59 | 67 | 0.00071924 | 0.00018026 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2284-3_0_3_load_60 | 68 | 0.0032116 | 0.00080491 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2284-3_0_3_load_63 | 69 | 0.0028568 | 0.00071598 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2284-3_0_3_load_64 | 70 | 0.0044868 | 0.0011245 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2284-3_0_3_load_65 | 71 | 0.0013541 | 0.00033936 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2284-3_0_3_load_67 | 72 | 0.002004 | 0.00050226 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2284-3_0_3_load_71 | 73 | 0.0023136 | 0.00057984 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2284-3_0_3_load_72 | 74 | 0.0012168 | 0.00030495 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2284-3_0_3_load_73 | 75 | 0.0021805 | 0.00054648 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2284-3_0_3_load_74 | 76 | 0.0015204 | 0.00038106 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2284-3_0_3_load_75 | 77 | 0.0013873 | 0.00034768 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 18 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2284-3_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.03158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2284-3_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.010264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2284-3_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2284-3_0_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.036057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2284-3_0_3_line_4 | NAYY 4x150 SE | 4 | 5 | 0.037831 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2284-3_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.0097758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2284-3_0_3_line_6 | NAYY 4x150 SE | 6 | 7 | 0.01973 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2284-3_0_3_line_7 | NAYY 4x150 SE | 7 | 17 | 0.040295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2284-3_0_3_line_8 | NAYY 4x150 SE | 7 | 11 | 0.029659 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2284-3_0_3_line_9 | NAYY 4x150 SE | 8 | 9 | 0.031621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2284-3_0_3_line_10 | NAYY 4x150 SE | 8 | 10 | 0.029318 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2284-3_0_3_line_11 | NAYY 4x150 SE | 9 | 11 | 0.0022437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2284-3_0_3_line_12 | NAYY 4x150 SE | 10 | 12 | 0.007005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2284-3_0_3_line_13 | NAYY 4x150 SE | 10 | 13 | 0.018925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2284-3_0_3_line_14 | NAYY 4x150 SE | 12 | 14 | 0.032979 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2284-3_0_3_line_15 | NAYY 4x150 SE | 12 | 15 | 0.032712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2284-3_0_3_line_16 | NAYY 4x150 SE | 13 | 16 | 0.019864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2284-3_0_3_line_17 | NAYY 4x150 SE | 14 | 18 | 0.04003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2284-3_0_3_line_18 | NAYY 4x150 SE | 15 | 19 | 0.016898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2284-3_0_3_line_19 | NAYY 4x150 SE | 17 | 20 | 0.020926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2284-3_0_3_line_20 | NAYY 4x150 SE | 18 | 27 | 0.043804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
21 | LV_2284-3_0_3_line_21 | NAYY 4x150 SE | 19 | 23 | 0.032772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2284-3_0_3_line_22 | NAYY 4x150 SE | 20 | 21 | 0.02076 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2284-3_0_3_line_23 | NAYY 4x150 SE | 22 | 23 | 0.013055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2284-3_0_3_line_24 | NAYY 4x150 SE | 22 | 24 | 0.024744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2284-3_0_3_line_25 | NAYY 4x150 SE | 24 | 25 | 0.024324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2284-3_0_3_line_26 | NAYY 4x150 SE | 25 | 26 | 0.0084699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2284-3_0_3_line_27 | NAYY 4x150 SE | 27 | 28 | 0.005693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2284-3_0_3_line_28 | NAYY 4x150 SE | 27 | 29 | 0.019542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2284-3_0_3_line_29 | NAYY 4x150 SE | 28 | 30 | 0.020739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2284-3_0_3_line_30 | NAYY 4x150 SE | 29 | 31 | 0.025838 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2284-3_0_3_line_31 | NAYY 4x150 SE | 30 | 32 | 0.00057027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2284-3_0_3_line_32 | NAYY 4x150 SE | 31 | 33 | 0.011996 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2284-3_0_3_line_33 | NAYY 4x150 SE | 31 | 34 | 0.012809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2284-3_0_3_line_34 | NAYY 4x150 SE | 32 | 46 | 0.019113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2284-3_0_3_line_35 | NAYY 4x150 SE | 32 | 47 | 0.027599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2284-3_0_3_line_36 | NAYY 4x150 SE | 33 | 68 | 0.034271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2284-3_0_3_line_37 | NAYY 4x150 SE | 34 | 70 | 0.01171 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2284-3_0_3_line_38 | NAYY 4x150 SE | 35 | 36 | 0.022244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2284-3_0_3_line_39 | NAYY 4x150 SE | 35 | 37 | 0.0084687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2284-3_0_3_line_40 | NAYY 4x150 SE | 37 | 38 | 0.025563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2284-3_0_3_line_41 | NAYY 4x150 SE | 38 | 39 | 0.0011017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2284-3_0_3_line_42 | NAYY 4x150 SE | 39 | 40 | 0.02584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2284-3_0_3_line_43 | NAYY 4x150 SE | 40 | 41 | 0.016702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2284-3_0_3_line_44 | NAYY 4x150 SE | 41 | 42 | 0.01392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2284-3_0_3_line_45 | NAYY 4x150 SE | 42 | 43 | 0.01497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_2284-3_0_3_line_46 | NAYY 4x150 SE | 43 | 44 | 0.0050051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_2284-3_0_3_line_47 | NAYY 4x150 SE | 44 | 45 | 0.012516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_2284-3_0_3_line_48 | NAYY 4x150 SE | 45 | 49 | 0.0074281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_2284-3_0_3_line_49 | NAYY 4x150 SE | 46 | 48 | 0.016686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_2284-3_0_3_line_50 | NAYY 4x150 SE | 47 | 49 | 0.024033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_2284-3_0_3_line_51 | NAYY 4x150 SE | 48 | 50 | 0.017114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_2284-3_0_3_line_52 | NAYY 4x150 SE | 50 | 78 | 0.029369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_2284-3_0_3_line_53 | NAYY 4x150 SE | 51 | 52 | 0.055201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_2284-3_0_3_line_54 | NAYY 4x150 SE | 52 | 53 | 0.026864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_2284-3_0_3_line_55 | NAYY 4x150 SE | 53 | 57 | 0.02723 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_2284-3_0_3_line_56 | NAYY 4x150 SE | 54 | 55 | 0.021656 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_2284-3_0_3_line_57 | NAYY 4x150 SE | 54 | 56 | 0.037299 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_2284-3_0_3_line_58 | NAYY 4x150 SE | 56 | 61 | 0.021725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_2284-3_0_3_line_59 | NAYY 4x150 SE | 57 | 58 | 0.026832 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_2284-3_0_3_line_60 | NAYY 4x150 SE | 58 | 59 | 0.020794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_2284-3_0_3_line_61 | NAYY 4x150 SE | 59 | 60 | 0.013123 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_2284-3_0_3_line_62 | NAYY 4x150 SE | 60 | 66 | 0.031386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_2284-3_0_3_line_63 | NAYY 4x150 SE | 61 | 62 | 0.023521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_2284-3_0_3_line_64 | NAYY 4x150 SE | 62 | 63 | 0.0028601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_2284-3_0_3_line_65 | NAYY 4x150 SE | 63 | 64 | 0.02511 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_2284-3_0_3_line_66 | NAYY 4x150 SE | 64 | 65 | 0.047712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_2284-3_0_3_line_67 | NAYY 4x150 SE | 65 | 73 | 0.0016593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_2284-3_0_3_line_68 | NAYY 4x150 SE | 66 | 67 | 0.0062956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_2284-3_0_3_line_69 | NAYY 4x150 SE | 67 | 68 | 0.039294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_2284-3_0_3_line_70 | NAYY 4x150 SE | 69 | 70 | 0.0091263 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_2284-3_0_3_line_71 | NAYY 4x150 SE | 69 | 71 | 0.001479 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_2284-3_0_3_line_72 | NAYY 4x150 SE | 71 | 72 | 0.021895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_2284-3_0_3_line_73 | NAYY 4x150 SE | 72 | 73 | 0.017154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_2284-3_0_3_line_74 | NAYY 4x150 SE | 74 | 75 | 0.01732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_2284-3_0_3_line_75 | NAYY 4x150 SE | 74 | 76 | 0.0067136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_2284-3_0_3_line_76 | NAYY 4x150 SE | 75 | 77 | 0.027907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_2284-3_0_3_line_77 | NAYY 4x150 SE | 77 | 78 | 0.05748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2284-3_0_3_trafo_21 | 0.25 MVA 20/0.4 kV | 79 | 18 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2572583.7971 | 1200290.4752 | 2572615.1846 | 1200286.9912
1 | 2572583.7971 | 1200290.4752 | 2572573.5959 | 1200291.6076
2 | 2572642.2183 | 1200283.9905 | 2572615.1846 | 1200286.9912
3 | 2572642.2183 | 1200283.9905 | 2572638.644 | 1200273.1677 | 2572629.6623 | 1200250.1964
4 | 2572629.6623 | 1200250.1964 | 2572641.0424 | 1200248.432 | 2572666.9371 | 1200253.1153
5 | 2572629.6623 | 1200250.1964 | 2572620.6932 | 1200246.3075
6 | 2572602.5917 | 1200238.4588 | 2572620.6932 | 1200246.3075
7 | 2572602.5917 | 1200238.4588 | 2572562.5732 | 1200243.1741
8 | 2572602.5917 | 1200238.4588 | 2572578.3188 | 1200221.4157
9 | 2572552.1272 | 1200200.5873 | 2572554.3324 | 1200204.5736 | 2572576.4826 | 1200220.1263
10 | 2572537.9353 | 1200174.933 | 2572552.1272 | 1200200.5873
11 | 2572576.4826 | 1200220.1263 | 2572578.3188 | 1200221.4157
12 | 2572534.5423 | 1200168.8008 | 2572537.9353 | 1200174.933
13 | 2572537.9353 | 1200174.933 | 2572519.1488 | 1200177.2164
14 | 2572534.5423 | 1200168.8008 | 2572517.3922 | 1200140.9758 | 2572517.2109 | 1200140.7458
15 | 2572534.5423 | 1200168.8008 | 2572564.1206 | 1200154.8288
16 | 2572499.4299 | 1200179.6132 | 2572519.1488 | 1200177.2164
17 | 2572517.2109 | 1200140.7458 | 2572492.4361 | 1200109.3034
18 | 2572564.1206 | 1200154.8288 | 2572569.9549 | 1200152.0729 | 2572580.3461 | 1200153.1403
19 | 2572541.7912 | 1200245.6228 | 2572562.5732 | 1200243.1741
20 | 2572465.7231 | 1200074.6003 | 2572477.3632 | 1200089.488 | 2572480.4951 | 1200093.4646 | 2572484.4879 | 1200099.216 | 2572492.4361 | 1200109.3034
21 | 2572612.9463 | 1200156.4892 | 2572580.3461 | 1200153.1403
22 | 2572521.1739 | 1200248.052 | 2572541.7912 | 1200245.6228
23 | 2572612.9463 | 1200156.4892 | 2572621.2269 | 1200157.3399 | 2572625.9422 | 1200157.7259
24 | 2572650.6035 | 1200159.745 | 2572625.9422 | 1200157.7259
25 | 2572650.6035 | 1200159.745 | 2572674.8463 | 1200161.7299
26 | 2572674.8463 | 1200161.7299 | 2572683.2879 | 1200162.421
27 | 2572465.7231 | 1200074.6003 | 2572462.5858 | 1200069.8497
28 | 2572465.7231 | 1200074.6003 | 2572457.5927 | 1200079.5184 | 2572449.3127 | 1200085.1971
29 | 2572462.5858 | 1200069.8497 | 2572451.1569 | 1200052.5438
30 | 2572428.0049 | 1200099.8108 | 2572449.3127 | 1200085.1971
31 | 2572451.1569 | 1200052.5438 | 2572450.8426 | 1200052.0679
32 | 2572428.0049 | 1200099.8108 | 2572428.9669 | 1200111.768
33 | 2572428.0049 | 1200099.8108 | 2572415.2184 | 1200100.5748
34 | 2572450.8426 | 1200052.0679 | 2572439.9148 | 1200036.3875
35 | 2572450.8426 | 1200052.0679 | 2572456.2185 | 1200049.0636 | 2572471.6227 | 1200038.3421 | 2572474.1928 | 1200037.6107
36 | 2572431.7154 | 1200145.9289 | 2572428.9669 | 1200111.768
37 | 2572415.2184 | 1200100.5748 | 2572403.529 | 1200101.2733
38 | 2572627.9181 | 1200053.285 | 2572649.9491 | 1200056.3591
39 | 2572627.9181 | 1200053.285 | 2572619.5306 | 1200052.1147
40 | 2572619.5306 | 1200052.1147 | 2572594.2128 | 1200048.5819
41 | 2572593.1216 | 1200048.4297 | 2572594.2128 | 1200048.5819
42 | 2572593.1216 | 1200048.4297 | 2572567.53 | 1200044.8587
43 | 2572550.9881 | 1200042.5506 | 2572567.53 | 1200044.8587
44 | 2572550.9881 | 1200042.5506 | 2572537.2017 | 1200040.6269
45 | 2572522.3749 | 1200038.558 | 2572537.2017 | 1200040.6269
46 | 2572522.3749 | 1200038.558 | 2572517.4178 | 1200037.8663
47 | 2572505.0187 | 1200036.1648 | 2572506.5254 | 1200036.3465 | 2572517.4178 | 1200037.8663
48 | 2572497.644 | 1200035.2758 | 2572505.0187 | 1200036.1648
49 | 2572430.361 | 1200022.7067 | 2572431.8292 | 1200024.7854 | 2572439.9148 | 1200036.3875
50 | 2572497.644 | 1200035.2758 | 2572486.9117 | 1200033.9913 | 2572474.1928 | 1200037.6107
51 | 2572420.4879 | 1200008.7277 | 2572430.361 | 1200022.7067
52 | 2572403.5449 | 1199984.7389 | 2572420.4879 | 1200008.7277
53 | 2572289.2741 | 1200197.5652 | 2572234.1225 | 1200199.9034
54 | 2572316.1145 | 1200196.4273 | 2572289.2741 | 1200197.5652
55 | 2572316.1145 | 1200196.4273 | 2572343.3198 | 1200195.2739
56 | 2572194.3622 | 1200113.7713 | 2572194.4746 | 1200092.1157
57 | 2572194.3622 | 1200113.7713 | 2572231.5944 | 1200111.5466
58 | 2572253.2808 | 1200110.2508 | 2572231.5944 | 1200111.5466
59 | 2572343.3198 | 1200195.2739 | 2572370.1278 | 1200194.1374
60 | 2572390.9027 | 1200193.2566 | 2572370.1278 | 1200194.1374
61 | 2572390.9027 | 1200193.2566 | 2572404.0141 | 1200192.7007
62 | 2572435.3716 | 1200191.3713 | 2572404.0141 | 1200192.7007
63 | 2572253.2808 | 1200110.2508 | 2572276.7601 | 1200108.8479
64 | 2572279.6151 | 1200108.6773 | 2572276.7601 | 1200108.8479
65 | 2572279.6151 | 1200108.6773 | 2572304.6801 | 1200107.1797
66 | 2572352.3072 | 1200104.3339 | 2572304.6801 | 1200107.1797
67 | 2572352.3072 | 1200104.3339 | 2572353.9635 | 1200104.2349
68 | 2572435.3716 | 1200191.3713 | 2572434.8667 | 1200185.096
69 | 2572434.8667 | 1200185.096 | 2572431.7154 | 1200145.9289
70 | 2572394.4189 | 1200101.8176 | 2572403.529 | 1200101.2733
71 | 2572394.4189 | 1200101.8176 | 2572392.9425 | 1200101.9059
72 | 2572392.9425 | 1200101.9059 | 2572371.0869 | 1200103.2118
73 | 2572353.9635 | 1200104.2349 | 2572371.0869 | 1200103.2118
74 | 2572306.9255 | 1200016.9682 | 2572322.2489 | 1200016.0333 | 2572324.1494 | 1200015.5218
75 | 2572306.9255 | 1200016.9682 | 2572300.2244 | 1200017.377
76 | 2572324.1494 | 1200015.5218 | 2572350.7914 | 1200008.3521 | 2572351.0781 | 1200008.2159
77 | 2572403.5449 | 1199984.7389 | 2572351.0781 | 1200008.2159

## bus_geodata
| x | y | coords
0 | 2572583.7971 | 1200290.4752
1 | 2572615.1846 | 1200286.9912
2 | 2572573.5959 | 1200291.6076
3 | 2572642.2183 | 1200283.9905
4 | 2572629.6623 | 1200250.1964
5 | 2572666.9371 | 1200253.1153
6 | 2572620.6932 | 1200246.3075
7 | 2572602.5917 | 1200238.4588
8 | 2572552.1272 | 1200200.5873
9 | 2572576.4826 | 1200220.1263
10 | 2572537.9353 | 1200174.933
11 | 2572578.3188 | 1200221.4157
12 | 2572534.5423 | 1200168.8008
13 | 2572519.1488 | 1200177.2164
14 | 2572517.2109 | 1200140.7458
15 | 2572564.1206 | 1200154.8288
16 | 2572499.4299 | 1200179.6132
17 | 2572562.5732 | 1200243.1741
18 | 2572492.4361 | 1200109.3034
19 | 2572580.3461 | 1200153.1403
20 | 2572541.7912 | 1200245.6228
21 | 2572521.1739 | 1200248.052
22 | 2572625.9422 | 1200157.7259
23 | 2572612.9463 | 1200156.4892
24 | 2572650.6035 | 1200159.745
25 | 2572674.8463 | 1200161.7299
26 | 2572683.2879 | 1200162.421
27 | 2572465.7231 | 1200074.6003
28 | 2572462.5858 | 1200069.8497
29 | 2572449.3127 | 1200085.1971
30 | 2572451.1569 | 1200052.5438
31 | 2572428.0049 | 1200099.8108
32 | 2572450.8426 | 1200052.0679
33 | 2572428.9669 | 1200111.768
34 | 2572415.2184 | 1200100.5749
35 | 2572627.9181 | 1200053.285
36 | 2572649.9491 | 1200056.3591
37 | 2572619.5306 | 1200052.1147
38 | 2572594.2128 | 1200048.5819
39 | 2572593.1216 | 1200048.4297
40 | 2572567.53 | 1200044.8587
41 | 2572550.9881 | 1200042.5506
42 | 2572537.2017 | 1200040.6269
43 | 2572522.3749 | 1200038.558
44 | 2572517.4178 | 1200037.8663
45 | 2572505.0187 | 1200036.1648
46 | 2572439.9148 | 1200036.3875
47 | 2572474.1928 | 1200037.6107
48 | 2572430.361 | 1200022.7067
49 | 2572497.644 | 1200035.2758
50 | 2572420.4879 | 1200008.7277
51 | 2572234.1225 | 1200199.9034
52 | 2572289.2741 | 1200197.5652
53 | 2572316.1145 | 1200196.4273
54 | 2572194.3622 | 1200113.7713
55 | 2572194.4746 | 1200092.1157
56 | 2572231.5944 | 1200111.5466
57 | 2572343.3198 | 1200195.2739
58 | 2572370.1278 | 1200194.1374
59 | 2572390.9027 | 1200193.2566
60 | 2572404.0141 | 1200192.7007
61 | 2572253.2808 | 1200110.2508
62 | 2572276.7601 | 1200108.8479
63 | 2572279.6151 | 1200108.6773
64 | 2572304.6801 | 1200107.1797
65 | 2572352.3072 | 1200104.3339
66 | 2572435.3716 | 1200191.3713
67 | 2572434.8667 | 1200185.096
68 | 2572431.7154 | 1200145.9289
69 | 2572394.4189 | 1200101.8176
70 | 2572403.529 | 1200101.2733
71 | 2572392.9425 | 1200101.9059
72 | 2572371.0869 | 1200103.2118
73 | 2572353.9635 | 1200104.2349
74 | 2572306.9255 | 1200016.9682
75 | 2572324.1494 | 1200015.5218
76 | 2572300.2244 | 1200017.377
77 | 2572351.0781 | 1200008.2159
78 | 2572403.5449 | 1199984.7389
79 | 2572465.7231 | 1200074.6003

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98413 | -0.11147 | 0.0034912 | 0.00087497
1 | 0.98444 | -0.10926 | 0.0026242 | 0.00065768
2 | 0.98408 | -0.11182 | 0.003304 | 0.00082805
3 | 0.98481 | -0.10662 | 0 | 0
4 | 0.9853 | -0.10312 | 0 | 0
5 | 0.98514 | -0.10426 | 0.0029233 | 0.00073264
6 | 0.98548 | -0.10188 | 0.0015752 | 0.00039479
7 | 0.98587 | -0.099057 | 0 | 0
8 | 0.98883 | -0.078155 | 0.0079375 | 0.0019893
9 | 0.98718 | -0.089776 | 0.0061823 | 0.0015494
10 | 0.99069 | -0.065046 | 0 | 0
11 | 0.98709 | -0.090459 | 0.0014927 | 0.00037412
12 | 0.9912 | -0.061427 | 0 | 0
13 | 0.9905 | -0.066383 | 0.0049434 | 0.0012389
14 | 0.99508 | -0.034236 | 0.0037865 | 0.00094899
15 | 0.98975 | -0.071627 | 0.0068428 | 0.001715
16 | 0.99044 | -0.066786 | 0.0019964 | 0.00050034
17 | 0.98504 | -0.10499 | 0.0041376 | 0.001037
18 | 1 | 0 | -0.24158 | -0.060716
19 | 0.98917 | -0.075727 | 0.007259 | 0.0018193
20 | 0.98473 | -0.10719 | 0.0036418 | 0.00091273
21 | 0.98453 | -0.10858 | 0.0065442 | 0.0016401
22 | 0.98815 | -0.082978 | 0.0034759 | 0.00087113
23 | 0.98839 | -0.081261 | 0.0036695 | 0.00091965
24 | 0.98782 | -0.085355 | 0.0037231 | 0.00093309
25 | 0.98762 | -0.086765 | 0.0018273 | 0.00045797
26 | 0.98757 | -0.087097 | 0.0038381 | 0.00096191
27 | 0.99517 | -0.033546 | 0 | 0
28 | 0.9946 | -0.037553 | 0.0054105 | 0.001356
29 | 0.99283 | -0.049913 | 0.0035421 | 0.00088772
30 | 0.99268 | -0.051052 | 0.003741 | 0.00093757
31 | 0.98986 | -0.07074 | 0 | 0
32 | 0.99263 | -0.051403 | 0 | 0
33 | 0.98928 | -0.074815 | 0.0022188 | 0.00055607
34 | 0.98901 | -0.076752 | 0.0045237 | 0.0011337
35 | 0.98676 | -0.092879 | 0.0044333 | 0.0011111
36 | 0.98664 | -0.093691 | 0.0035579 | 0.00089169
37 | 0.98686 | -0.092185 | 0.0047035 | 0.0011788
38 | 0.98733 | -0.08886 | 0.0015861 | 0.0003975
39 | 0.98735 | -0.088699 | 0.00169 | 0.00042355
40 | 0.98794 | -0.084475 | 0.00077868 | 0.00019515
41 | 0.98835 | -0.081614 | 0.0012522 | 0.00031383
42 | 0.98871 | -0.079053 | 0.0019775 | 0.00049562
43 | 0.98914 | -0.075999 | 0.0018448 | 0.00046235
44 | 0.9893 | -0.074885 | 0.0046499 | 0.0011654
45 | 0.98978 | -0.071506 | 0.0038257 | 0.00095882
46 | 0.99198 | -0.055955 | 0.0050956 | 0.0012771
47 | 0.99115 | -0.061803 | 0.0068304 | 0.0017119
48 | 0.99154 | -0.059071 | 0.0083373 | 0.0020895
49 | 0.9901 | -0.069212 | 0 | 0
50 | 0.9913 | -0.06082 | 0.0037449 | 0.00093855
51 | 0.98139 | -0.13082 | 0.0052822 | 0.0013238
52 | 0.98181 | -0.12779 | 0.0028966 | 0.00072596
53 | 0.98213 | -0.12552 | 0.0059485 | 0.0014908
54 | 0.98257 | -0.12242 | 0 | 0
55 | 0.98243 | -0.12342 | 0.0044953 | 0.0011266
56 | 0.98281 | -0.12068 | 0.004767 | 0.0011947
57 | 0.98269 | -0.12154 | 0.004962 | 0.0012436
58 | 0.98343 | -0.11624 | 0.0053348 | 0.001337
59 | 0.98417 | -0.111 | 0.0018071 | 0.0004529
60 | 0.98467 | -0.10746 | 0.00092198 | 0.00023107
61 | 0.98311 | -0.1186 | 0.0011499 | 0.00028819
62 | 0.98346 | -0.11607 | 0.0048181 | 0.0012075
63 | 0.98353 | -0.11562 | 0.003773 | 0.0009456
64 | 0.98422 | -0.1107 | 0.0049194 | 0.0012329
65 | 0.98587 | -0.098951 | 0.0045536 | 0.0011413
66 | 0.9859 | -0.09869 | 0 | 0
67 | 0.98615 | -0.096934 | 0.00071924 | 0.00018026
68 | 0.98774 | -0.085704 | 0.0032116 | 0.00080491
69 | 0.98782 | -0.08517 | 0.0028568 | 0.00071598
70 | 0.98831 | -0.081716 | 0.0044868 | 0.0011245
71 | 0.98775 | -0.085687 | 0.0013541 | 0.00033936
72 | 0.98671 | -0.093044 | 0.002004 | 0.00050226
73 | 0.98594 | -0.098466 | 0.0023136 | 0.00057984
74 | 0.99024 | -0.068274 | 0.0012168 | 0.00030495
75 | 0.99031 | -0.067791 | 0.0021805 | 0.00054648
76 | 0.99023 | -0.068378 | 0.0015204 | 0.00038106
77 | 0.99051 | -0.066394 | 0.0013873 | 0.00034768
78 | 0.99103 | -0.062705 | 0 | 0
79 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0067953 | -0.001703 | 0.0067974 | 0.0017034 | 2.0803e-06 | 3.9871e-07 | 0.010275 | 0.010274 | 0.010275 | 0.98413 | -0.11147 | 0.98444 | -0.10926 | 3.8054
1 | 0.0033041 | 0.00082798 | -0.003304 | -0.00082805 | 1.5985e-07 | -6.8926e-08 | 0.0049958 | 0.0049959 | 0.0049959 | 0.98413 | -0.11147 | 0.98408 | -0.11182 | 1.8503
2 | -0.0094216 | -0.002361 | 0.009425 | 0.002362 | 3.4421e-06 | 9.7793e-07 | 0.014241 | 0.014241 | 0.014241 | 0.98444 | -0.10926 | 0.98481 | -0.10662 | 5.2744
3 | -0.009425 | -0.002362 | 0.0094296 | 0.0023633 | 4.5629e-06 | 1.2959e-06 | 0.014241 | 0.014241 | 0.014241 | 0.98481 | -0.10662 | 0.9853 | -0.10312 | 5.2744
4 | 0.0029237 | 0.00073233 | -0.0029233 | -0.00073264 | 4.6022e-07 | -3.0475e-07 | 0.0044153 | 0.0044155 | 0.0044155 | 0.9853 | -0.10312 | 0.98514 | -0.10426 | 1.6354
5 | -0.012353 | -0.0030956 | 0.012355 | 0.0030963 | 2.1231e-06 | 6.9205e-07 | 0.018656 | 0.018656 | 0.018656 | 0.9853 | -0.10312 | 0.98548 | -0.10188 | 6.9096
6 | -0.013931 | -0.0034911 | 0.013936 | 0.003493 | 5.4471e-06 | 1.8436e-06 | 0.021034 | 0.021034 | 0.021034 | 0.98548 | -0.10188 | 0.98587 | -0.099057 | 7.7905
7 | 0.01434 | 0.003595 | -0.014328 | -0.003591 | 1.1779e-05 | 4.017e-06 | 0.021644 | 0.021644 | 0.021644 | 0.98587 | -0.099057 | 0.98504 | -0.10499 | 8.0163
8 | -0.028276 | -0.007088 | 0.028309 | 0.0071005 | 3.3709e-05 | 1.2586e-05 | 0.042678 | 0.042678 | 0.042678 | 0.98587 | -0.099057 | 0.98709 | -0.090459 | 15.8067
9 | 0.036045 | 0.0090471 | -0.035987 | -0.0090252 | 5.8064e-05 | 2.1927e-05 | 0.054247 | 0.054247 | 0.054247 | 0.98883 | -0.078155 | 0.98718 | -0.089776 | 20.0915
10 | -0.043983 | -0.011036 | 0.044063 | 0.011067 | 8.0154e-05 | 3.0452e-05 | 0.066192 | 0.066192 | 0.066192 | 0.98883 | -0.078155 | 0.99069 | -0.065046 | 24.5154
11 | 0.029805 | 0.0074757 | -0.029802 | -0.0074747 | 2.8261e-06 | 1.0583e-06 | 0.044928 | 0.044928 | 0.044928 | 0.98718 | -0.089776 | 0.98709 | -0.090459 | 16.6401
12 | -0.051004 | -0.012806 | 0.05103 | 0.012816 | 2.5659e-05 | 9.7787e-06 | 0.076617 | 0.076617 | 0.076617 | 0.99069 | -0.065046 | 0.9912 | -0.061427 | 28.3767
13 | 0.0069412 | 0.0017393 | -0.0069399 | -0.0017391 | 1.2836e-06 | 2.5005e-07 | 0.010426 | 0.010426 | 0.010426 | 0.99069 | -0.065046 | 0.9905 | -0.066383 | 3.8614
14 | -0.081743 | -0.020522 | 0.082053 | 0.02064 | 0.00030995 | 0.00011879 | 0.12273 | 0.12273 | 0.12273 | 0.9912 | -0.061427 | 0.99508 | -0.034236 | 45.4544
15 | 0.030713 | 0.0077057 | -0.030669 | -0.0076894 | 4.3399e-05 | 1.6271e-05 | 0.04611 | 0.04611 | 0.04611 | 0.9912 | -0.061427 | 0.98975 | -0.071627 | 17.0777
16 | 0.0019965 | 0.00050013 | -0.0019964 | -0.00050034 | 1.115e-07 | -2.1277e-07 | 0.0029992 | 0.0029993 | 0.0029993 | 0.9905 | -0.066383 | 0.99044 | -0.066786 | 1.1109
17 | -0.085839 | -0.021589 | 0.086251 | 0.021747 | 0.00041174 | 0.00015784 | 0.12839 | 0.12839 | 0.12839 | 0.99508 | -0.034236 | 1 | 0 | 47.5514
18 | 0.023826 | 0.0059744 | -0.023813 | -0.0059694 | 1.3531e-05 | 4.9872e-06 | 0.035822 | 0.035822 | 0.035822 | 0.98975 | -0.071627 | 0.98917 | -0.075727 | 13.2675
19 | 0.01019 | 0.002554 | -0.010187 | -0.0025531 | 3.0943e-06 | 9.2381e-07 | 0.015394 | 0.015394 | 0.015394 | 0.98504 | -0.10499 | 0.98473 | -0.10719 | 5.7014
20 | 0.15453 | 0.038969 | -0.1538 | -0.038692 | 0.00072313 | 0.00027698 | 0.23002 | 0.23002 | 0.23002 | 1 | 0 | 0.99517 | -0.033546 | 42.5971
21 | 0.016554 | 0.0041502 | -0.016541 | -0.0041457 | 1.2682e-05 | 4.4572e-06 | 0.024903 | 0.024903 | 0.024903 | 0.98917 | -0.075727 | 0.98839 | -0.081261 | 9.2232
22 | 0.0065454 | 0.0016403 | -0.0065442 | -0.0016401 | 1.2673e-06 | 2.2336e-07 | 0.0098907 | 0.0098908 | 0.0098908 | 0.98473 | -0.10719 | 0.98453 | -0.10858 | 3.6633
23 | -0.012869 | -0.0032251 | 0.012872 | 0.0032261 | 3.0592e-06 | 1.0093e-06 | 0.019378 | 0.019378 | 0.019378 | 0.98815 | -0.082978 | 0.98839 | -0.081261 | 7.1772
24 | 0.0093929 | 0.0023539 | -0.0093898 | -0.002353 | 3.089e-06 | 8.712e-07 | 0.014144 | 0.014144 | 0.014144 | 0.98815 | -0.082978 | 0.98782 | -0.085355 | 5.2387
25 | 0.0056667 | 0.00142 | -0.0056656 | -0.0014198 | 1.1059e-06 | 1.1404e-07 | 0.008536 | 0.0085361 | 0.0085361 | 0.98782 | -0.085355 | 0.98762 | -0.086765 | 3.1615
26 | 0.0038382 | 0.00096187 | -0.0038381 | -0.00096191 | 1.7675e-07 | -4.0398e-08 | 0.0057829 | 0.005783 | 0.005783 | 0.98762 | -0.086765 | 0.98757 | -0.087097 | 2.1418
27 | 0.070107 | 0.017611 | -0.070068 | -0.017596 | 3.9047e-05 | 1.4944e-05 | 0.10484 | 0.10484 | 0.10484 | 0.99517 | -0.033546 | 0.9946 | -0.037553 | 38.8299
28 | 0.083697 | 0.021081 | -0.083506 | -0.021008 | 0.0001911 | 7.3246e-05 | 0.12518 | 0.12518 | 0.12518 | 0.99517 | -0.033546 | 0.99283 | -0.049913 | 46.3644
29 | 0.064658 | 0.01624 | -0.064536 | -0.016194 | 0.00012113 | 4.6319e-05 | 0.096746 | 0.096746 | 0.096746 | 0.9946 | -0.037553 | 0.99268 | -0.051052 | 35.832
30 | 0.079964 | 0.02012 | -0.079732 | -0.020031 | 0.00023168 | 8.8776e-05 | 0.11988 | 0.11988 | 0.11988 | 0.99283 | -0.049913 | 0.98986 | -0.07074 | 44.3983
31 | 0.060795 | 0.015256 | -0.060793 | -0.015255 | 2.9557e-06 | 1.1295e-06 | 0.091139 | 0.091139 | 0.091139 | 0.99268 | -0.051052 | 0.99263 | -0.051403 | 33.755
32 | 0.03351 | 0.0084224 | -0.033491 | -0.0084152 | 1.9001e-05 | 7.1539e-06 | 0.050382 | 0.050383 | 0.050383 | 0.98986 | -0.07074 | 0.98928 | -0.074815 | 18.6602
33 | 0.046223 | 0.011609 | -0.046184 | -0.011594 | 3.86e-05 | 1.4682e-05 | 0.069493 | 0.069493 | 0.069493 | 0.98986 | -0.07074 | 0.98901 | -0.076752 | 25.7381
34 | 0.023514 | 0.0058948 | -0.023499 | -0.0058894 | 1.4819e-05 | 5.4526e-06 | 0.035249 | 0.035249 | 0.035249 | 0.99263 | -0.051403 | 0.99198 | -0.055955 | 13.0554
35 | 0.037279 | 0.0093602 | -0.037225 | -0.0093399 | 5.3794e-05 | 2.0334e-05 | 0.055889 | 0.055889 | 0.055889 | 0.99263 | -0.051403 | 0.99115 | -0.061803 | 20.6998
36 | 0.031272 | 0.0078592 | -0.031225 | -0.0078414 | 4.7331e-05 | 1.7765e-05 | 0.047045 | 0.047045 | 0.047045 | 0.98928 | -0.074815 | 0.98774 | -0.085704 | 17.4242
37 | 0.04166 | 0.010461 | -0.041631 | -0.01045 | 2.8715e-05 | 1.0894e-05 | 0.062687 | 0.062687 | 0.062687 | 0.98901 | -0.076752 | 0.98831 | -0.081716 | 23.2174
38 | 0.0035583 | 0.00089155 | -0.0035579 | -0.00089169 | 3.9964e-07 | -1.3041e-07 | 0.0053657 | 0.0053658 | 0.0053658 | 0.98676 | -0.092879 | 0.98664 | -0.093691 | 1.9873
39 | -0.0079916 | -0.0020027 | 0.0079924 | 0.0020028 | 7.6746e-07 | 1.8699e-07 | 0.012051 | 0.012051 | 0.012051 | 0.98676 | -0.092879 | 0.98686 | -0.092185 | 4.4634
40 | -0.012696 | -0.0031817 | 0.012702 | 0.0031836 | 5.8456e-06 | 1.9215e-06 | 0.019143 | 0.019143 | 0.019143 | 0.98686 | -0.092185 | 0.98733 | -0.08886 | 7.0901
41 | -0.014288 | -0.0035811 | 0.014288 | 0.0035812 | 3.1878e-07 | 1.0852e-07 | 0.021533 | 0.021533 | 0.021533 | 0.98733 | -0.08886 | 0.98735 | -0.088699 | 7.9754
42 | -0.015978 | -0.0040047 | 0.015987 | 0.004008 | 9.3497e-06 | 3.2654e-06 | 0.02408 | 0.02408 | 0.02408 | 0.98735 | -0.088699 | 0.98794 | -0.084475 | 8.9187
43 | -0.016766 | -0.0042032 | 0.016773 | 0.0042055 | 6.6464e-06 | 2.3424e-06 | 0.025253 | 0.025253 | 0.025253 | 0.98794 | -0.084475 | 0.98835 | -0.081614 | 9.353
44 | -0.018025 | -0.0045193 | 0.018031 | 0.0045216 | 6.3972e-06 | 2.282e-06 | 0.027138 | 0.027138 | 0.027138 | 0.98835 | -0.081614 | 0.98871 | -0.079053 | 10.0512
45 | -0.020009 | -0.0050172 | 0.020017 | 0.0050203 | 8.4717e-06 | 3.0663e-06 | 0.030114 | 0.030114 | 0.030114 | 0.98871 | -0.079053 | 0.98914 | -0.075999 | 11.1535
46 | -0.021862 | -0.0054826 | 0.021866 | 0.0054839 | 3.3785e-06 | 1.2351e-06 | 0.03289 | 0.03289 | 0.03289 | 0.98914 | -0.075999 | 0.9893 | -0.074885 | 12.1813
47 | -0.026515 | -0.0066493 | 0.026528 | 0.0066539 | 1.2423e-05 | 4.6172e-06 | 0.039884 | 0.039884 | 0.039884 | 0.9893 | -0.074885 | 0.98978 | -0.071506 | 14.7717
48 | -0.030354 | -0.0076127 | 0.030363 | 0.0076163 | 9.653e-06 | 3.6172e-06 | 0.045635 | 0.045635 | 0.045635 | 0.98978 | -0.071506 | 0.9901 | -0.069212 | 16.9019
49 | 0.018403 | 0.0046123 | -0.018396 | -0.0046095 | 7.9351e-06 | 2.8367e-06 | 0.027606 | 0.027606 | 0.027606 | 0.99198 | -0.055955 | 0.99154 | -0.059071 | 10.2244
50 | 0.030395 | 0.007628 | -0.030363 | -0.0076163 | 3.1231e-05 | 1.1702e-05 | 0.045635 | 0.045635 | 0.045635 | 0.99115 | -0.061803 | 0.9901 | -0.069212 | 16.9019
51 | 0.010058 | 0.00252 | -0.010056 | -0.0025192 | 2.4331e-06 | 7.1512e-07 | 0.015094 | 0.015094 | 0.015094 | 0.99154 | -0.059071 | 0.9913 | -0.06082 | 5.5905
52 | 0.006311 | 0.0015807 | -0.0063093 | -0.0015804 | 1.6445e-06 | 2.54e-07 | 0.0094729 | 0.0094731 | 0.0094731 | 0.9913 | -0.06082 | 0.99103 | -0.062705 | 3.5085
53 | -0.0052822 | -0.0013238 | 0.0052844 | 0.001324 | 2.2095e-06 | 1.52e-07 | 0.0080091 | 0.0080089 | 0.0080091 | 0.98139 | -0.13082 | 0.98181 | -0.12779 | 2.9663
54 | -0.008181 | -0.00205 | 0.0081836 | 0.0020506 | 2.5771e-06 | 6.5134e-07 | 0.012399 | 0.012399 | 0.012399 | 0.98181 | -0.12779 | 0.98213 | -0.12552 | 4.5922
55 | -0.014132 | -0.0035415 | 0.01414 | 0.0035441 | 7.7896e-06 | 2.6512e-06 | 0.021411 | 0.021411 | 0.021411 | 0.98213 | -0.12552 | 0.98269 | -0.12154 | 7.9301
56 | 0.0044959 | 0.0011266 | -0.0044953 | -0.0011266 | 6.2644e-07 | -3.3316e-08 | 0.0068086 | 0.0068087 | 0.0068087 | 0.98257 | -0.12242 | 0.98243 | -0.12342 | 2.5217
57 | -0.0044959 | -0.0011266 | 0.004497 | 0.0011265 | 1.0789e-06 | -5.7582e-08 | 0.0068086 | 0.0068084 | 0.0068086 | 0.98257 | -0.12242 | 0.98281 | -0.12068 | 2.5217
58 | -0.009264 | -0.0023213 | 0.0092666 | 0.002322 | 2.6668e-06 | 7.5032e-07 | 0.014026 | 0.014026 | 0.014026 | 0.98281 | -0.12068 | 0.98311 | -0.1186 | 5.1947
59 | -0.019102 | -0.0047877 | 0.019116 | 0.0047927 | 1.4008e-05 | 5.0476e-06 | 0.028925 | 0.028925 | 0.028925 | 0.98269 | -0.12154 | 0.98343 | -0.11624 | 10.7129
60 | -0.024451 | -0.0061298 | 0.024469 | 0.0061363 | 1.776e-05 | 6.5667e-06 | 0.036997 | 0.036997 | 0.036997 | 0.98343 | -0.11624 | 0.98417 | -0.111 | 13.7025
61 | -0.026276 | -0.0065892 | 0.026289 | 0.006594 | 1.2925e-05 | 4.8044e-06 | 0.039729 | 0.039729 | 0.039729 | 0.98417 | -0.111 | 0.98467 | -0.10746 | 14.7144
62 | -0.027211 | -0.0068251 | 0.027244 | 0.0068375 | 3.3118e-05 | 1.2338e-05 | 0.041122 | 0.041122 | 0.041122 | 0.98467 | -0.10746 | 0.9859 | -0.09869 | 15.2304
63 | -0.010417 | -0.0026102 | 0.01042 | 0.0026113 | 3.6483e-06 | 1.1049e-06 | 0.015766 | 0.015766 | 0.015766 | 0.98311 | -0.1186 | 0.98346 | -0.11607 | 5.8393
64 | -0.015238 | -0.0038188 | 0.015239 | 0.0038192 | 9.4871e-07 | 3.286e-07 | 0.023056 | 0.023056 | 0.023056 | 0.98346 | -0.11607 | 0.98353 | -0.11562 | 8.5393
65 | -0.019012 | -0.0047648 | 0.019025 | 0.0047694 | 1.2964e-05 | 4.6672e-06 | 0.028764 | 0.028764 | 0.028764 | 0.98353 | -0.11562 | 0.98422 | -0.1107 | 10.6535
66 | -0.023945 | -0.0060023 | 0.023984 | 0.0060167 | 3.9018e-05 | 1.44e-05 | 0.036202 | 0.036202 | 0.036202 | 0.98422 | -0.1107 | 0.98587 | -0.098951 | 13.4081
67 | -0.028537 | -0.007158 | 0.028539 | 0.0071587 | 1.9211e-06 | 7.1771e-07 | 0.043075 | 0.043075 | 0.043075 | 0.98587 | -0.098951 | 0.98594 | -0.098466 | 15.9535
68 | -0.027244 | -0.0068375 | 0.02725 | 0.0068399 | 6.6431e-06 | 2.4747e-06 | 0.041122 | 0.041122 | 0.041122 | 0.9859 | -0.09869 | 0.98615 | -0.096934 | 15.2304
69 | -0.02797 | -0.0070202 | 0.028013 | 0.0070365 | 4.368e-05 | 1.6298e-05 | 0.042207 | 0.042207 | 0.042207 | 0.98615 | -0.096934 | 0.98774 | -0.085704 | 15.6323
70 | -0.037127 | -0.0093184 | 0.037145 | 0.0093252 | 1.7815e-05 | 6.7351e-06 | 0.055932 | 0.055932 | 0.055932 | 0.98782 | -0.08517 | 0.98831 | -0.081716 | 20.7154
71 | 0.03427 | 0.0086024 | -0.034268 | -0.0086015 | 2.46e-06 | 9.2723e-07 | 0.051628 | 0.051628 | 0.051628 | 0.98782 | -0.08517 | 0.98775 | -0.085687 | 19.1216
72 | 0.032914 | 0.0082622 | -0.03288 | -0.0082495 | 3.3596e-05 | 1.2641e-05 | 0.049588 | 0.049588 | 0.049588 | 0.98775 | -0.085687 | 0.98671 | -0.093044 | 18.3661
73 | 0.030876 | 0.0077473 | -0.030853 | -0.0077386 | 2.3211e-05 | 8.7083e-06 | 0.046566 | 0.046566 | 0.046566 | 0.98671 | -0.093044 | 0.98594 | -0.098466 | 17.2468
74 | -0.0027372 | -0.00068593 | 0.0027374 | 0.00068578 | 1.8284e-07 | -1.525e-07 | 0.0041132 | 0.0041131 | 0.0041132 | 0.99024 | -0.068274 | 0.99031 | -0.067791 | 1.5234
75 | 0.0015205 | 0.00038098 | -0.0015204 | -0.00038106 | 2.1869e-08 | -7.7955e-08 | 0.0022847 | 0.0022848 | 0.0022848 | 0.99024 | -0.068274 | 0.99023 | -0.068378 | 0.84621
76 | -0.0049179 | -0.0012323 | 0.0049189 | 0.0012323 | 9.5086e-07 | 6.5791e-09 | 0.0073894 | 0.0073893 | 0.0073894 | 0.99031 | -0.067791 | 0.99051 | -0.066394 | 2.7368
77 | -0.0063061 | -0.0015799 | 0.0063093 | 0.0015804 | 3.2188e-06 | 4.9776e-07 | 0.0094733 | 0.0094731 | 0.0094733 | 0.99051 | -0.066394 | 0.99103 | -0.062705 | 3.5086

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.24477 | 0.061515

## res_load
| p_mw | q_mvar
0 | 0.0034912 | 0.00087497
1 | 0.0026242 | 0.00065768
2 | 0.003304 | 0.00082805
3 | 0.0029233 | 0.00073264
4 | 0.0015752 | 0.00039479
5 | 0.0079375 | 0.0019893
6 | 0.0061823 | 0.0015494
7 | 0.0014927 | 0.00037412
8 | 0.0049434 | 0.0012389
9 | 0.0037865 | 0.00094899
10 | 0.0068428 | 0.001715
11 | 0.0019964 | 0.00050034
12 | 0.0041376 | 0.001037
13 | 0.0031868 | 0.0007987
14 | 0.007259 | 0.0018193
15 | 0.0036418 | 0.00091273
16 | 0.0065442 | 0.0016401
17 | 0.0034759 | 0.00087113
18 | 0.0036695 | 0.00091965
19 | 0.0037231 | 0.00093309
20 | 0.0018273 | 0.00045797
21 | 0.0038381 | 0.00096191
22 | 0.0054105 | 0.001356
23 | 0.0035421 | 0.00088772
24 | 0.003741 | 0.00093757
25 | 0.0022188 | 0.00055607
26 | 0.0045237 | 0.0011337
27 | 0.0044333 | 0.0011111
28 | 0.0035579 | 0.00089169
29 | 0.0047035 | 0.0011788
30 | 0.0015861 | 0.0003975
31 | 0.00169 | 0.00042355
32 | 0.00077868 | 0.00019515
33 | 0.0012522 | 0.00031383
34 | 0.0019775 | 0.00049562
35 | 0.0018448 | 0.00046235
36 | 0.0046499 | 0.0011654
37 | 0.0038257 | 0.00095882
38 | 0.0050956 | 0.0012771
39 | 0.0068304 | 0.0017119
40 | 0.0083373 | 0.0020895
41 | 0.0037449 | 0.00093855
42 | 0.0052822 | 0.0013238
43 | 0.0028966 | 0.00072596
44 | 0.0059485 | 0.0014908
45 | 0.0044953 | 0.0011266
46 | 0.004767 | 0.0011947
47 | 0.004962 | 0.0012436
48 | 0.0053348 | 0.001337
49 | 0.0018071 | 0.0004529
50 | 0.00092198 | 0.00023107
51 | 0.0011499 | 0.00028819
52 | 0.0048181 | 0.0012075
53 | 0.003773 | 0.0009456
54 | 0.0049194 | 0.0012329
55 | 0.0045536 | 0.0011413
56 | 0.00071924 | 0.00018026
57 | 0.0032116 | 0.00080491
58 | 0.0028568 | 0.00071598
59 | 0.0044868 | 0.0011245
60 | 0.0013541 | 0.00033936
61 | 0.002004 | 0.00050226
62 | 0.0023136 | 0.00057984
63 | 0.0012168 | 0.00030495
64 | 0.0021805 | 0.00054648
65 | 0.0015204 | 0.00038106
66 | 0.0013873 | 0.00034768

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1