## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2284-7_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2284-7_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2284-7_0_2_node_40 | 0.4 | n |  | TRUE
3 | bus_LV_2284-7_0_2_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_2284-7_0_2_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_2284-7_0_2_node_44 | 0.4 | n |  | TRUE
6 | bus_LV_2284-7_0_2_node_36 | 0.4 | n |  | TRUE
7 | bus_LV_2284-7_0_2_node_38 | 0.4 | n |  | TRUE
8 | bus_LV_2284-7_0_2_node_12 | 0.4 | n |  | TRUE
9 | bus_LV_2284-7_0_2_node_13 | 0.4 | n |  | TRUE
10 | bus_LV_2284-7_0_2_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_2284-7_0_2_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_2284-7_0_2_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_2284-7_0_2_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_2284-7_0_2_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_2284-7_0_2_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_2284-7_0_2_node_48 | 0.4 | n |  | TRUE
17 | bus_LV_2284-7_0_2_node_50 | 0.4 | n |  | TRUE
18 | bus_LV_2284-7_0_2_node_46 | 0.4 | n |  | TRUE
19 | bus_LV_2284-7_0_2_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_2284-7_0_2_node_19 | 0.4 | n |  | TRUE
21 | bus_LV_2284-7_0_2_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_2284-7_0_2_node_57 | 0.4 | n |  | TRUE
23 | bus_LV_2284-7_0_2_node_56 | 0.4 | n |  | TRUE
24 | bus_LV_2284-7_0_2_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_2284-7_0_2_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_2284-7_0_2_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_2284-7_0_2_node_30 | 0.4 | n |  | TRUE
28 | bus_LV_2284-7_0_2_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_2284-7_0_2_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_2284-7_0_2_node_58 | 0.4 | n |  | TRUE
31 | bus_LV_2284-7_0_2_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_2284-7_0_2_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_2284-7_0_2_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_2284-7_0_2_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_2284-7_0_2_node_49 | 0.4 | n |  | TRUE
36 | bus_LV_2284-7_0_2_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_2284-7_0_2_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_2284-7_0_2_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_2284-7_0_2_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_2284-7_0_2_node_31 | 0.4 | n |  | TRUE
41 | bus_LV_2284-7_0_2_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_2284-7_0_2_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_2284-7_0_2_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_2284-7_0_2_node_43 | 0.4 | n |  | TRUE
45 | bus_LV_2284-7_0_2_node_42 | 0.4 | n |  | TRUE
46 | bus_LV_2284-7_0_2_node_47 | 0.4 | n |  | TRUE
47 | bus_LV_2284-7_0_2_node_53 | 0.4 | n |  | TRUE
48 | bus_LV_2284-7_0_2_node_51 | 0.4 | n |  | TRUE
49 | bus_LV_2284-7_0_2_node_52 | 0.4 | n |  | TRUE
50 | bus_LV_2284-7_0_2_node_54 | 0.4 | n |  | TRUE
51 | bus_LV_2284-7_0_2_node_55 | 0.4 | n |  | TRUE
52 | bus_MV_379_0_node_70 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2284-7_0_2_load_0 | 0 | 0.0020165 | 0.00050538 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2284-7_0_2_load_2 | 3 | 0.0019681 | 0.00049325 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2284-7_0_2_load_3 | 4 | 0.0025224 | 0.00063217 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2284-7_0_2_load_44 | 5 | 0.0020467 | 0.00051294 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2284-7_0_2_load_36 | 6 | 0.010038 | 0.0025157 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2284-7_0_2_load_38 | 7 | 0.0014641 | 0.00036694 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2284-7_0_2_load_12 | 8 | 0.0030331 | 0.00076016 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2284-7_0_2_load_13 | 9 | 0.0020069 | 0.00050298 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2284-7_0_2_load_10 | 10 | 0.0038029 | 0.00095311 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2284-7_0_2_load_11 | 11 | 0.0047448 | 0.0011892 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2284-7_0_2_load_9 | 12 | 0.0068756 | 0.0017232 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2284-7_0_2_load_7 | 13 | 0.0026631 | 0.00066745 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2284-7_0_2_load_8 | 14 | 0.00098488 | 0.00024684 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2284-7_0_2_load_14 | 15 | 0.0062635 | 0.0015698 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2284-7_0_2_load_50 | 17 | 0.0052974 | 0.0013276 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2284-7_0_2_load_46 | 18 | 0.0027739 | 0.0006952 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2284-7_0_2_load_19 | 20 | 0.00074536 | 0.00018681 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2284-7_0_2_load_16 | 21 | 0.0035392 | 0.000887 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2284-7_0_2_load_57 | 22 | 0.0016405 | 0.00041116 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2284-7_0_2_load_56 | 23 | 0.0034808 | 0.00087237 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2284-7_0_2_load_20 | 25 | 0.0051731 | 0.0012965 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2284-7_0_2_load_30 | 27 | 0.00047002 | 0.0001178 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2284-7_0_2_load_25 | 28 | 0.003339 | 0.00083684 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2284-7_0_2_load_22 | 29 | 0.0060426 | 0.0015144 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2284-7_0_2_load_58 | 30 | 0.0041195 | 0.0010324 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2284-7_0_2_load_23 | 31 | 0.0033218 | 0.00083252 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2284-7_0_2_load_24 | 32 | 0.0023953 | 0.00060032 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2284-7_0_2_load_28 | 33 | 0.0029429 | 0.00073756 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2284-7_0_2_load_26 | 34 | 0.0073024 | 0.0018301 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2284-7_0_2_load_49 | 35 | 0.0057972 | 0.0014529 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2284-7_0_2_load_27 | 36 | 0.0021793 | 0.0005462 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2284-7_0_2_load_29 | 37 | 0.0034597 | 0.00086708 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2284-7_0_2_load_34 | 38 | 0.0024986 | 0.00062621 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2284-7_0_2_load_32 | 39 | 0.0069075 | 0.0017312 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2284-7_0_2_load_31 | 40 | 0.0016893 | 0.00042338 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2284-7_0_2_load_35 | 42 | 0.00097239 | 0.00024371 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2284-7_0_2_load_37 | 43 | 0.0019248 | 0.0004824 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2284-7_0_2_load_43 | 44 | 0.0019681 | 0.00049324 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2284-7_0_2_load_42 | 45 | 0.0021702 | 0.00054391 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2284-7_0_2_load_47 | 46 | 0.0046281 | 0.0011599 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2284-7_0_2_load_53 | 47 | 0.0015148 | 0.00037964 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2284-7_0_2_load_51 | 48 | 0.0016073 | 0.00040282 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2284-7_0_2_load_52 | 49 | 0.0022425 | 0.00056204 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2284-7_0_2_load_54 | 50 | 0.0029388 | 0.00073654 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2284-7_0_2_load_55 | 51 | 0.0024274 | 0.00060836 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 35 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2284-7_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.023162 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2284-7_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.18434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2284-7_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0056996 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2284-7_0_2_line_3 | NAYY 4x150 SE | 1 | 4 | 0.016811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2284-7_0_2_line_4 | NAYY 4x150 SE | 2 | 5 | 0.0050946 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2284-7_0_2_line_5 | NAYY 4x150 SE | 2 | 6 | 0.0089695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2284-7_0_2_line_6 | NAYY 4x150 SE | 2 | 7 | 0.010963 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2284-7_0_2_line_7 | NAYY 4x150 SE | 5 | 44 | 0.0082442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2284-7_0_2_line_8 | NAYY 4x150 SE | 6 | 41 | 0.0015542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2284-7_0_2_line_9 | NAYY 4x150 SE | 7 | 43 | 0.080778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2284-7_0_2_line_10 | NAYY 4x150 SE | 8 | 9 | 0.022292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2284-7_0_2_line_11 | NAYY 4x150 SE | 8 | 10 | 0.0097781 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2284-7_0_2_line_12 | NAYY 4x150 SE | 9 | 15 | 4.0178e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2284-7_0_2_line_13 | NAYY 4x150 SE | 10 | 14 | 0.0018903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2284-7_0_2_line_14 | NAYY 4x150 SE | 11 | 12 | 0.0073366 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2284-7_0_2_line_15 | NAYY 4x150 SE | 12 | 13 | 0.016725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2284-7_0_2_line_16 | NAYY 4x150 SE | 13 | 14 | 0.040615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2284-7_0_2_line_17 | NAYY 4x150 SE | 15 | 16 | 0.012565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2284-7_0_2_line_18 | NAYY 4x150 SE | 16 | 17 | 0.0077808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2284-7_0_2_line_19 | NAYY 4x150 SE | 16 | 18 | 0.01405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2284-7_0_2_line_20 | NAYY 4x150 SE | 17 | 47 | 0.015037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2284-7_0_2_line_21 | NAYY 4x150 SE | 18 | 46 | 0.012322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2284-7_0_2_line_22 | NAYY 4x150 SE | 19 | 20 | 0.018922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2284-7_0_2_line_23 | NAYY 4x150 SE | 19 | 21 | 0.034519 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2284-7_0_2_line_24 | NAYY 4x150 SE | 20 | 27 | 0.034036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2284-7_0_2_line_25 | NAYY 4x150 SE | 21 | 24 | 0.051412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2284-7_0_2_line_26 | NAYY 4x150 SE | 22 | 23 | 0.019626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2284-7_0_2_line_27 | NAYY 4x150 SE | 23 | 51 | 0.0019055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2284-7_0_2_line_28 | NAYY 4x150 SE | 24 | 25 | 0.035387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2284-7_0_2_line_29 | NAYY 4x150 SE | 24 | 26 | 0.016262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2284-7_0_2_line_30 | NAYY 4x150 SE | 26 | 28 | 0.0093805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2284-7_0_2_line_31 | NAYY 4x150 SE | 26 | 29 | 0.0019704 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2284-7_0_2_line_32 | NAYY 4x150 SE | 28 | 30 | 0.0054738 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2284-7_0_2_line_33 | NAYY 4x150 SE | 29 | 31 | 0.0025004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2284-7_0_2_line_34 | NAYY 4x150 SE | 30 | 35 | 0.0045988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2284-7_0_2_line_35 | NAYY 4x150 SE | 31 | 32 | 0.004717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2284-7_0_2_line_36 | NAYY 4x150 SE | 32 | 33 | 0.0047879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2284-7_0_2_line_37 | NAYY 4x150 SE | 33 | 34 | 4.3302e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2284-7_0_2_line_38 | NAYY 4x150 SE | 34 | 36 | 0.014446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2284-7_0_2_line_39 | NAYY 4x150 SE | 35 | 46 | 0.014607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2284-7_0_2_line_40 | NAYY 4x150 SE | 36 | 37 | 0.0022684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2284-7_0_2_line_41 | NAYY 4x150 SE | 37 | 38 | 0.00796 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2284-7_0_2_line_42 | NAYY 4x150 SE | 38 | 39 | 0.0012281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2284-7_0_2_line_43 | NAYY 4x150 SE | 39 | 40 | 0.0068393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2284-7_0_2_line_44 | NAYY 4x150 SE | 40 | 41 | 0.0086866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2284-7_0_2_line_45 | NAYY 4x150 SE | 41 | 42 | 0.037792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_2284-7_0_2_line_46 | NAYY 4x150 SE | 44 | 45 | 0.0046993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_2284-7_0_2_line_47 | NAYY 4x150 SE | 47 | 48 | 0.0061671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_2284-7_0_2_line_48 | NAYY 4x150 SE | 48 | 49 | 0.0074398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_2284-7_0_2_line_49 | NAYY 4x150 SE | 49 | 50 | 0.00059697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_2284-7_0_2_line_50 | NAYY 4x150 SE | 50 | 51 | 0.010698 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2284-7_0_2_trafo_49 | 0.25 MVA 20/0.4 kV | 52 | 35 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2572967.9873 | 1199973.1329 | 2572951.3736 | 1199956.9939
1 | 2573035.9233 | 1199793.1822 | 2572951.3736 | 1199956.9939
2 | 2572967.9873 | 1199973.1329 | 2572973.1989 | 1199975.4405
3 | 2572967.9873 | 1199973.1329 | 2572977.7637 | 1199986.809
4 | 2573035.9233 | 1199793.1822 | 2573031.8032 | 1199790.1856
5 | 2573035.9233 | 1199793.1822 | 2573044.1669 | 1199796.717
6 | 2573035.9233 | 1199793.1822 | 2573039.7562 | 1199782.9112
7 | 2573031.8032 | 1199790.1856 | 2573025.136 | 1199785.3364
8 | 2573045.5954 | 1199797.3296 | 2573044.1669 | 1199796.717
9 | 2573068.972 | 1199707.6155 | 2573058.0524 | 1199733.883 | 2573039.7562 | 1199782.9112
10 | 2573143.6221 | 1199856.5003 | 2573133.4407 | 1199876.3314
11 | 2573133.4407 | 1199876.3314 | 2573133.4407 | 1199876.3314 | 2573139.3226 | 1199884.1424
12 | 2573143.6405 | 1199856.4645 | 2573143.6221 | 1199856.5003
13 | 2573140.9162 | 1199885.1592 | 2573139.3226 | 1199884.1424 | 2573139.3226 | 1199884.1424
14 | 2573189.3883 | 1199915.7797 | 2573195.7659 | 1199919.4061
15 | 2573175.155 | 1199907.0053 | 2573184.9637 | 1199913.2638 | 2573189.3883 | 1199915.7797
16 | 2573175.155 | 1199907.0053 | 2573140.9162 | 1199885.1592
17 | 2573149.3791 | 1199845.287 | 2573143.6405 | 1199856.4645
18 | 2573149.3791 | 1199845.287 | 2573156.3235 | 1199848.7965
19 | 2573149.3791 | 1199845.287 | 2573136.6767 | 1199839.2818
20 | 2573156.3235 | 1199848.7965 | 2573169.7438 | 1199855.5788
21 | 2573136.6767 | 1199839.2818 | 2573125.5371 | 1199834.0155
22 | 2573196.3182 | 1199839.6947 | 2573206.1821 | 1199823.5473
23 | 2573196.3182 | 1199839.6947 | 2573173.0598 | 1199827.6929 | 2573164.8321 | 1199826.2906
24 | 2573223.9251 | 1199794.5014 | 2573206.1821 | 1199823.5473
25 | 2573114.151 | 1199817.653 | 2573164.8321 | 1199826.2906
26 | 2573212.4235 | 1199873.7975 | 2573194.2322 | 1199866.4306
27 | 2573192.466 | 1199865.7153 | 2573194.2322 | 1199866.4306
28 | 2573114.151 | 1199817.653 | 2573115.2343 | 1199814.791 | 2573120.6359 | 1199812.2986 | 2573125.4313 | 1199812.1213 | 2573126.9732 | 1199809.6463 | 2573128.3287 | 1199801.3135 | 2573129.8651 | 1199799.2943 | 2573137.599 | 1199799.1038
29 | 2573098.0752 | 1199814.913 | 2573114.151 | 1199817.653
30 | 2573098.0752 | 1199814.913 | 2573104.4523 | 1199821.7924
31 | 2573098.0752 | 1199814.913 | 2573096.1809 | 1199814.3706
32 | 2573104.4523 | 1199821.7924 | 2573108.1736 | 1199825.8067
33 | 2573093.7772 | 1199813.6824 | 2573096.1809 | 1199814.3706
34 | 2573108.1736 | 1199825.8067 | 2573108.1736 | 1199825.8067 | 2573112.3312 | 1199827.7722
35 | 2573089.2424 | 1199812.384 | 2573093.7772 | 1199813.6824
36 | 2573089.2424 | 1199812.384 | 2573084.6394 | 1199811.0661
37 | 2573084.5978 | 1199811.0542 | 2573084.6394 | 1199811.0661
38 | 2573084.5978 | 1199811.0542 | 2573070.7095 | 1199807.0776
39 | 2573112.3312 | 1199827.7722 | 2573125.5371 | 1199834.0155
40 | 2573070.7095 | 1199807.0776 | 2573068.5287 | 1199806.4533
41 | 2573060.9941 | 1199803.9308 | 2573063.5589 | 1199805.0303 | 2573068.5287 | 1199806.4533
42 | 2573060.9941 | 1199803.9308 | 2573059.8654 | 1199803.4469
43 | 2573053.5793 | 1199800.7522 | 2573059.8654 | 1199803.4469
44 | 2573045.5954 | 1199797.3296 | 2573053.5793 | 1199800.7522
45 | 2573045.5954 | 1199797.3296 | 2573058.1272 | 1199761.6756
46 | 2573021.3355 | 1199782.5723 | 2573025.136 | 1199785.3364
47 | 2573175.2479 | 1199858.3605 | 2573169.7438 | 1199855.5788
48 | 2573175.2479 | 1199858.3605 | 2573179.0534 | 1199860.2837 | 2573181.9971 | 1199861.4758
49 | 2573181.9971 | 1199861.4758 | 2573182.5504 | 1199861.6999
50 | 2573192.466 | 1199865.7153 | 2573182.5504 | 1199861.6999

## bus_geodata
| x | y | coords
0 | 2572951.3736 | 1199956.9939
1 | 2572967.9873 | 1199973.1329
2 | 2573035.9233 | 1199793.1822
3 | 2572973.1989 | 1199975.4405
4 | 2572977.7637 | 1199986.809
5 | 2573031.8032 | 1199790.1856
6 | 2573044.1669 | 1199796.717
7 | 2573039.7562 | 1199782.9112
8 | 2573133.4407 | 1199876.3314
9 | 2573143.6221 | 1199856.5003
10 | 2573139.3226 | 1199884.1424
11 | 2573195.7659 | 1199919.4061
12 | 2573189.3883 | 1199915.7797
13 | 2573175.155 | 1199907.0053
14 | 2573140.9162 | 1199885.1592
15 | 2573143.6405 | 1199856.4645
16 | 2573149.3791 | 1199845.287
17 | 2573156.3235 | 1199848.7965
18 | 2573136.6767 | 1199839.2818
19 | 2573196.3182 | 1199839.6947
20 | 2573206.1821 | 1199823.5473
21 | 2573164.8321 | 1199826.2906
22 | 2573212.4235 | 1199873.7975
23 | 2573194.2322 | 1199866.4306
24 | 2573114.151 | 1199817.653
25 | 2573137.599 | 1199799.1038
26 | 2573098.0752 | 1199814.913
27 | 2573223.9251 | 1199794.5014
28 | 2573104.4523 | 1199821.7924
29 | 2573096.1809 | 1199814.3706
30 | 2573108.1736 | 1199825.8067
31 | 2573093.7772 | 1199813.6824
32 | 2573089.2424 | 1199812.384
33 | 2573084.6394 | 1199811.0661
34 | 2573084.5978 | 1199811.0542
35 | 2573112.3312 | 1199827.7722
36 | 2573070.7095 | 1199807.0776
37 | 2573068.5287 | 1199806.4533
38 | 2573060.9941 | 1199803.9308
39 | 2573059.8654 | 1199803.4469
40 | 2573053.5793 | 1199800.7522
41 | 2573045.5954 | 1199797.3296
42 | 2573058.1272 | 1199761.6756
43 | 2573068.972 | 1199707.6155
44 | 2573025.136 | 1199785.3364
45 | 2573021.3355 | 1199782.5723
46 | 2573125.5371 | 1199834.0155
47 | 2573169.7438 | 1199855.5788
48 | 2573175.2479 | 1199858.3605
49 | 2573181.9971 | 1199861.4758
50 | 2573182.5504 | 1199861.6999
51 | 2573192.466 | 1199865.7153
52 | 2573098.0752 | 1199814.913

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99251 | -0.052602 | 0.0020165 | 0.00050538
1 | 0.99236 | -0.053656 | 0 | 0
2 | 0.99423 | -0.040445 | 0 | 0
3 | 0.99234 | -0.05377 | 0.0019681 | 0.00049325
4 | 0.9923 | -0.054086 | 0.0025224 | 0.00063217
5 | 0.99419 | -0.040763 | 0.0020467 | 0.00051294
6 | 0.99444 | -0.038986 | 0.010038 | 0.0025157
7 | 0.99418 | -0.040821 | 0.0014641 | 0.00036694
8 | 0.99552 | -0.031381 | 0.0030331 | 0.00076016
9 | 0.99623 | -0.026421 | 0.0020069 | 0.00050298
10 | 0.99525 | -0.03326 | 0.0038029 | 0.00095311
11 | 0.99405 | -0.041718 | 0.0047448 | 0.0011892
12 | 0.9941 | -0.041366 | 0.0068756 | 0.0017232
13 | 0.99438 | -0.039404 | 0.0026631 | 0.00066745
14 | 0.99521 | -0.033551 | 0.00098488 | 0.00024684
15 | 0.99623 | -0.026411 | 0.0062635 | 0.0015698
16 | 0.99677 | -0.022574 | 0 | 0
17 | 0.99654 | -0.024228 | 0.0052974 | 0.0013276
18 | 0.99781 | -0.015307 | 0.0027739 | 0.0006952
19 | 0.99718 | -0.019781 | 0 | 0
20 | 0.99714 | -0.020013 | 0.00074536 | 0.00018681
21 | 0.99723 | -0.019358 | 0.0035392 | 0.000887
22 | 0.99575 | -0.029766 | 0.0016405 | 0.00041116
23 | 0.9958 | -0.029442 | 0.0034808 | 0.00087237
24 | 0.99758 | -0.0169 | 0 | 0
25 | 0.99732 | -0.018737 | 0.0051731 | 0.0012965
26 | 0.99782 | -0.015278 | 0 | 0
27 | 0.99712 | -0.020174 | 0.00047002 | 0.0001178
28 | 0.99883 | -0.0081563 | 0.003339 | 0.00083684
29 | 0.99763 | -0.01658 | 0.0060426 | 0.0015144
30 | 0.99945 | -0.0038244 | 0.0041195 | 0.0010324
31 | 0.99742 | -0.01808 | 0.0033218 | 0.00083252
32 | 0.99703 | -0.020755 | 0.0023953 | 0.00060032
33 | 0.99666 | -0.023357 | 0.0029429 | 0.00073756
34 | 0.99666 | -0.02338 | 0.0073024 | 0.0018301
35 | 1 | 0 | -0.14352 | -0.035834
36 | 0.99575 | -0.029753 | 0.0021793 | 0.0005462
37 | 0.99562 | -0.030704 | 0.0034597 | 0.00086708
38 | 0.99518 | -0.033769 | 0.0024986 | 0.00062621
39 | 0.99512 | -0.034212 | 0.0069075 | 0.0017312
40 | 0.99484 | -0.036199 | 0.0016893 | 0.00042338
41 | 0.9945 | -0.038576 | 0 | 0
42 | 0.99445 | -0.038947 | 0.00097239 | 0.00024371
43 | 0.99396 | -0.042395 | 0.0019248 | 0.0004824
44 | 0.99414 | -0.041108 | 0.0019681 | 0.00049324
45 | 0.99412 | -0.041211 | 0.0021702 | 0.00054391
46 | 0.99877 | -0.0086043 | 0.0046281 | 0.0011599
47 | 0.9962 | -0.026625 | 0.0015148 | 0.00037964
48 | 0.99607 | -0.027514 | 0.0016073 | 0.00040282
49 | 0.99593 | -0.028468 | 0.0022425 | 0.00056204
50 | 0.99593 | -0.028531 | 0.0029388 | 0.00073654
51 | 0.99581 | -0.029344 | 0.0024274 | 0.00060836
52 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0044913 | 0.0011252 | -0.0044907 | -0.0011252 | 6.553e-07 | -4.7252e-08 | 0.0067334 | 0.0067335 | 0.0067335 | 0.99251 | -0.052602 | 0.99236 | -0.053656 | 2.4939
1 | -0.0065078 | -0.0016305 | 0.0065187 | 0.0016324 | 1.0949e-05 | 1.8246e-06 | 0.0097566 | 0.0097558 | 0.0097566 | 0.99251 | -0.052602 | 0.99423 | -0.040445 | 3.6136
2 | 0.0019681 | 0.00049318 | -0.0019681 | -0.00049325 | 3.0974e-08 | -6.1722e-08 | 0.0029511 | 0.0029511 | 0.0029511 | 0.99236 | -0.053656 | 0.99234 | -0.05377 | 1.093
3 | 0.0025226 | 0.00063201 | -0.0025224 | -0.00063217 | 1.5008e-07 | -1.5946e-07 | 0.0037824 | 0.0037825 | 0.0037825 | 0.99236 | -0.053656 | 0.9923 | -0.054086 | 1.4009
4 | 0.0061854 | 0.00155 | -0.0061852 | -0.00155 | 2.7244e-07 | 3.8718e-08 | 0.0092573 | 0.0092574 | 0.0092574 | 0.99423 | -0.040445 | 0.99419 | -0.040763 | 3.4287
5 | -0.016094 | -0.0040308 | 0.016097 | 0.0040319 | 3.2469e-06 | 1.1325e-06 | 0.024086 | 0.024086 | 0.024086 | 0.99423 | -0.040445 | 0.99444 | -0.038986 | 8.9206
6 | 0.0033895 | 0.00084838 | -0.0033893 | -0.00084845 | 1.7602e-07 | -7.4465e-08 | 0.0050725 | 0.0050725 | 0.0050725 | 0.99423 | -0.040445 | 0.99418 | -0.040821 | 1.8787
7 | 0.0041385 | 0.0010371 | -0.0041383 | -0.0010371 | 1.9738e-07 | -3.0986e-08 | 0.0061941 | 0.0061941 | 0.0061941 | 0.99419 | -0.040763 | 0.99414 | -0.041108 | 2.2941
8 | -0.026134 | -0.0065476 | 0.026136 | 0.0065481 | 1.4831e-06 | 5.5026e-07 | 0.039105 | 0.039105 | 0.039105 | 0.99444 | -0.038986 | 0.9945 | -0.038576 | 14.4834
9 | 0.0019252 | 0.00048151 | -0.0019248 | -0.0004824 | 4.1847e-07 | -8.8626e-07 | 0.0028811 | 0.0028815 | 0.0028815 | 0.99418 | -0.040821 | 0.99396 | -0.042395 | 1.0672
10 | -0.022125 | -0.0055468 | 0.02214 | 0.0055524 | 1.5214e-05 | 5.5613e-06 | 0.033071 | 0.033071 | 0.033071 | 0.99552 | -0.031381 | 0.99623 | -0.026421 | 12.2485
11 | 0.019092 | 0.0047866 | -0.019087 | -0.0047849 | 4.969e-06 | 1.7841e-06 | 0.028538 | 0.028538 | 0.028538 | 0.99552 | -0.031381 | 0.99525 | -0.03326 | 10.5695
12 | -0.024147 | -0.0060553 | 0.024147 | 0.0060554 | 3.2616e-08 | 1.2021e-08 | 0.036069 | 0.036069 | 0.036069 | 0.99623 | -0.026421 | 0.99623 | -0.026411 | 13.3587
13 | 0.015284 | 0.0038318 | -0.015283 | -0.0038315 | 6.1595e-07 | 2.1234e-07 | 0.022852 | 0.022852 | 0.022852 | 0.99525 | -0.03326 | 0.99521 | -0.033551 | 8.4636
14 | -0.0047448 | -0.0011892 | 0.004745 | 0.0011892 | 2.3095e-07 | -6.2882e-09 | 0.0071026 | 0.0071026 | 0.0071026 | 0.99405 | -0.041718 | 0.9941 | -0.041366 | 2.6306
15 | -0.011621 | -0.0029123 | 0.011624 | 0.0029133 | 3.1576e-06 | 9.9757e-07 | 0.017394 | 0.017394 | 0.017394 | 0.9941 | -0.041366 | 0.99438 | -0.039404 | 6.4423
16 | -0.014287 | -0.0035808 | 0.014298 | 0.0035847 | 1.1584e-05 | 3.928e-06 | 0.021379 | 0.021379 | 0.021379 | 0.99438 | -0.039404 | 0.99521 | -0.033551 | 7.9183
17 | -0.030411 | -0.0076251 | 0.030427 | 0.0076312 | 1.6177e-05 | 6.0583e-06 | 0.045424 | 0.045424 | 0.045424 | 0.99623 | -0.026411 | 0.99677 | -0.022574 | 16.8237
18 | 0.021164 | 0.0053053 | -0.021159 | -0.0053035 | 4.8467e-06 | 1.7627e-06 | 0.031595 | 0.031595 | 0.031595 | 0.99677 | -0.022574 | 0.99654 | -0.024228 | 11.7019
19 | -0.051591 | -0.012936 | 0.051643 | 0.012956 | 5.2008e-05 | 1.982e-05 | 0.077019 | 0.077019 | 0.077019 | 0.99677 | -0.022574 | 0.99781 | -0.015307 | 28.5256
20 | 0.015862 | 0.0039759 | -0.015857 | -0.0039741 | 5.2637e-06 | 1.8286e-06 | 0.023685 | 0.023685 | 0.023685 | 0.99654 | -0.024228 | 0.9962 | -0.026625 | 8.7723
21 | -0.054417 | -0.013652 | 0.054467 | 0.013671 | 5.064e-05 | 1.9316e-05 | 0.081156 | 0.081156 | 0.081156 | 0.99781 | -0.015307 | 0.99877 | -0.0086043 | 30.0576
22 | 0.0012154 | 0.00030393 | -0.0012154 | -0.00030416 | 3.8832e-08 | -2.319e-07 | 0.0018135 | 0.0018135 | 0.0018135 | 0.99718 | -0.019781 | 0.99714 | -0.020013 | 0.67168
23 | -0.0012154 | -0.00030393 | 0.0012155 | 0.00030351 | 7.083e-08 | -4.2309e-07 | 0.0018135 | 0.0018133 | 0.0018135 | 0.99718 | -0.019781 | 0.99723 | -0.019358 | 0.67165
24 | 0.00047003 | 0.00011736 | -0.00047002 | -0.0001178 | 1.0447e-08 | -4.3996e-07 | 0.00070126 | 0.00070141 | 0.00070141 | 0.99714 | -0.020013 | 0.99712 | -0.020174 | 0.25978
25 | -0.0047547 | -0.0011905 | 0.0047563 | 0.0011905 | 1.6145e-06 | -5.002e-08 | 0.0070943 | 0.007094 | 0.0070943 | 0.99723 | -0.019358 | 0.99758 | -0.0169 | 2.6275
26 | -0.0016405 | -0.00041116 | 0.0016406 | 0.00041093 | 7.3603e-08 | -2.27e-07 | 0.0024516 | 0.0024515 | 0.0024516 | 0.99575 | -0.029766 | 0.9958 | -0.029442 | 0.90799
27 | -0.0051214 | -0.0012833 | 0.0051215 | 0.0012833 | 6.9636e-08 | 1.9938e-09 | 0.0076528 | 0.0076528 | 0.0076528 | 0.9958 | -0.029442 | 0.99581 | -0.029344 | 2.8344
28 | 0.0051744 | 0.0012965 | -0.0051731 | -0.0012965 | 1.3154e-06 | 4.4042e-08 | 0.0077182 | 0.0077183 | 0.0077183 | 0.99758 | -0.0169 | 0.99732 | -0.018737 | 2.8586
29 | -0.0099307 | -0.002487 | 0.009933 | 0.0024877 | 2.2264e-06 | 6.4393e-07 | 0.014812 | 0.014812 | 0.014812 | 0.99758 | -0.0169 | 0.99782 | -0.015278 | 5.486
30 | -0.075925 | -0.019043 | 0.076 | 0.019072 | 7.5047e-05 | 2.8742e-05 | 0.11323 | 0.11323 | 0.11323 | 0.99782 | -0.015278 | 0.99883 | -0.0081563 | 41.9372
31 | 0.065992 | 0.016555 | -0.06598 | -0.016551 | 1.1909e-05 | 4.5548e-06 | 0.098418 | 0.098418 | 0.098418 | 0.99782 | -0.015278 | 0.99763 | -0.01658 | 36.4513
32 | -0.079339 | -0.019908 | 0.079387 | 0.019927 | 4.7725e-05 | 1.8284e-05 | 0.1182 | 0.1182 | 0.1182 | 0.99883 | -0.0081563 | 0.99945 | -0.0038244 | 43.7796
33 | 0.059938 | 0.015036 | -0.059925 | -0.015032 | 1.2471e-05 | 4.7641e-06 | 0.089406 | 0.089406 | 0.089406 | 0.99763 | -0.01658 | 0.99742 | -0.01808 | 33.1132
34 | -0.083507 | -0.020959 | 0.083551 | 0.020976 | 4.4365e-05 | 1.7003e-05 | 0.12434 | 0.12434 | 0.12434 | 0.99945 | -0.0038244 | 1 | 0 | 46.0511
35 | 0.056604 | 0.014199 | -0.056583 | -0.014191 | 2.0992e-05 | 8.0122e-06 | 0.08445 | 0.08445 | 0.08445 | 0.99742 | -0.01808 | 0.99703 | -0.020755 | 31.2778
36 | 0.054187 | 0.013591 | -0.054168 | -0.013583 | 1.9542e-05 | 7.4536e-06 | 0.080875 | 0.080875 | 0.080875 | 0.99703 | -0.020755 | 0.99666 | -0.023357 | 29.9537
37 | 0.051225 | 0.012846 | -0.051225 | -0.012846 | 1.5805e-07 | 6.0226e-08 | 0.076481 | 0.076481 | 0.076481 | 0.99666 | -0.023357 | 0.99666 | -0.02338 | 28.3264
38 | 0.043922 | 0.011015 | -0.043884 | -0.011001 | 3.8768e-05 | 1.4723e-05 | 0.065579 | 0.065579 | 0.065579 | 0.99666 | -0.02338 | 0.99575 | -0.029753 | 24.2885
39 | 0.059166 | 0.014858 | -0.059096 | -0.014831 | 7.0668e-05 | 2.6989e-05 | 0.088051 | 0.088051 | 0.088051 | 1 | 0 | 0.99877 | -0.0086043 | 32.6114
40 | 0.041704 | 0.010455 | -0.041699 | -0.010452 | 5.4977e-06 | 2.085e-06 | 0.062322 | 0.062322 | 0.062322 | 0.99575 | -0.029753 | 0.99562 | -0.030704 | 23.0823
41 | 0.038239 | 0.0095854 | -0.038223 | -0.0095792 | 1.6224e-05 | 6.1365e-06 | 0.057151 | 0.057152 | 0.057152 | 0.99562 | -0.030704 | 0.99518 | -0.033769 | 21.1672
42 | 0.035724 | 0.008953 | -0.035722 | -0.0089522 | 2.1866e-06 | 8.2504e-07 | 0.053416 | 0.053416 | 0.053416 | 0.99518 | -0.033769 | 0.99512 | -0.034212 | 19.7835
43 | 0.028815 | 0.007221 | -0.028807 | -0.007218 | 7.9229e-06 | 2.9584e-06 | 0.043087 | 0.043087 | 0.043087 | 0.99512 | -0.034212 | 0.99484 | -0.036199 | 15.958
44 | 0.027117 | 0.0067947 | -0.027108 | -0.0067913 | 8.9172e-06 | 3.317e-06 | 0.04056 | 0.04056 | 0.04056 | 0.99484 | -0.036199 | 0.9945 | -0.038576 | 15.0222
45 | 0.00097244 | 0.00024323 | -0.00097239 | -0.0002437 | 4.992e-08 | -4.7114e-07 | 0.0014548 | 0.001455 | 0.001455 | 0.9945 | -0.038576 | 0.99445 | -0.038947 | 0.5389
46 | 0.0021702 | 0.00054386 | -0.0021702 | -0.00054391 | 3.0943e-08 | -4.903e-08 | 0.0032484 | 0.0032484 | 0.0032484 | 0.99414 | -0.041108 | 0.99412 | -0.041211 | 1.2031
47 | 0.014342 | 0.0035944 | -0.01434 | -0.0035938 | 1.766e-06 | 5.9897e-07 | 0.021422 | 0.021422 | 0.021422 | 0.9962 | -0.026625 | 0.99607 | -0.027514 | 7.9343
48 | 0.012733 | 0.003191 | -0.012731 | -0.0031905 | 1.6797e-06 | 5.4921e-07 | 0.019021 | 0.019021 | 0.019021 | 0.99607 | -0.027514 | 0.99593 | -0.028468 | 7.045
49 | 0.010489 | 0.0026284 | -0.010489 | -0.0026284 | 9.1479e-08 | 2.7416e-08 | 0.015671 | 0.015671 | 0.015671 | 0.99593 | -0.028468 | 0.99593 | -0.028531 | 5.804
50 | 0.0075497 | 0.0018918 | -0.0075488 | -0.0018917 | 8.4936e-07 | 1.8749e-07 | 0.01128 | 0.01128 | 0.01128 | 0.99593 | -0.028531 | 0.99581 | -0.029344 | 4.1778

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -4.4415e-16 | -7.6913e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.564e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.14931 | 0.037287

## res_load
| p_mw | q_mvar
0 | 0.0020165 | 0.00050538
1 | 0.0019681 | 0.00049325
2 | 0.0025224 | 0.00063217
3 | 0.0020467 | 0.00051294
4 | 0.010038 | 0.0025157
5 | 0.0014641 | 0.00036694
6 | 0.0030331 | 0.00076016
7 | 0.0020069 | 0.00050298
8 | 0.0038029 | 0.00095311
9 | 0.0047448 | 0.0011892
10 | 0.0068756 | 0.0017232
11 | 0.0026631 | 0.00066745
12 | 0.00098488 | 0.00024684
13 | 0.0062635 | 0.0015698
14 | 0.0052974 | 0.0013276
15 | 0.0027739 | 0.0006952
16 | 0.00074536 | 0.00018681
17 | 0.0035392 | 0.000887
18 | 0.0016405 | 0.00041116
19 | 0.0034808 | 0.00087237
20 | 0.0051731 | 0.0012965
21 | 0.00047002 | 0.0001178
22 | 0.003339 | 0.00083684
23 | 0.0060426 | 0.0015144
24 | 0.0041195 | 0.0010324
25 | 0.0033218 | 0.00083252
26 | 0.0023953 | 0.00060032
27 | 0.0029429 | 0.00073756
28 | 0.0073024 | 0.0018301
29 | 0.0057972 | 0.0014529
30 | 0.0021793 | 0.0005462
31 | 0.0034597 | 0.00086708
32 | 0.0024986 | 0.00062621
33 | 0.0069075 | 0.0017312
34 | 0.0016893 | 0.00042338
35 | 0.00097239 | 0.00024371
36 | 0.0019248 | 0.0004824
37 | 0.0019681 | 0.00049324
38 | 0.0021702 | 0.00054391
39 | 0.0046281 | 0.0011599
40 | 0.0015148 | 0.00037964
41 | 0.0016073 | 0.00040282
42 | 0.0022425 | 0.00056204
43 | 0.0029388 | 0.00073654
44 | 0.0024274 | 0.00060836

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1