## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2306-13_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2306-13_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2306-13_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_2306-13_0_3_node_19 | 0.4 | n |  | TRUE
4 | bus_LV_2306-13_0_3_node_22 | 0.4 | n |  | TRUE
5 | bus_LV_2306-13_0_3_node_17 | 0.4 | n |  | TRUE
6 | bus_LV_2306-13_0_3_node_23 | 0.4 | n |  | TRUE
7 | bus_LV_2306-13_0_3_node_24 | 0.4 | n |  | TRUE
8 | bus_LV_2306-13_0_3_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_2306-13_0_3_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_2306-13_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_2306-13_0_3_node_16 | 0.4 | n |  | TRUE
12 | bus_LV_2306-13_0_3_node_14 | 0.4 | n |  | TRUE
13 | bus_LV_2306-13_0_3_node_28 | 0.4 | n |  | TRUE
14 | bus_LV_2306-13_0_3_node_25 | 0.4 | n |  | TRUE
15 | bus_LV_2306-13_0_3_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_2306-13_0_3_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_2306-13_0_3_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_2306-13_0_3_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_2306-13_0_3_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_2306-13_0_3_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_2306-13_0_3_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_2306-13_0_3_node_42 | 0.4 | n |  | TRUE
23 | bus_LV_2306-13_0_3_node_46 | 0.4 | n |  | TRUE
24 | bus_LV_2306-13_0_3_node_36 | 0.4 | n |  | TRUE
25 | bus_LV_2306-13_0_3_node_43 | 0.4 | n |  | TRUE
26 | bus_LV_2306-13_0_3_node_47 | 0.4 | n |  | TRUE
27 | bus_LV_2306-13_0_3_node_37 | 0.4 | n |  | TRUE
28 | bus_LV_2306-13_0_3_node_34 | 0.4 | n |  | TRUE
29 | bus_LV_2306-13_0_3_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_2306-13_0_3_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_2306-13_0_3_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_2306-13_0_3_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_2306-13_0_3_node_33 | 0.4 | n |  | TRUE
34 | bus_LV_2306-13_0_3_node_41 | 0.4 | n |  | TRUE
35 | bus_LV_2306-13_0_3_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_2306-13_0_3_node_40 | 0.4 | n |  | TRUE
37 | bus_LV_2306-13_0_3_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_2306-13_0_3_node_44 | 0.4 | n |  | TRUE
39 | bus_LV_2306-13_0_3_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_2306-13_0_3_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_2306-13_0_3_node_32 | 0.4 | n |  | TRUE
42 | bus_LV_2306-13_0_3_node_45 | 0.4 | n |  | TRUE
43 | bus_LV_2306-13_0_3_node_35 | 0.4 | n |  | TRUE
44 | bus_LV_2306-13_0_3_node_38 | 0.4 | n |  | TRUE
45 | bus_MV_119_1_node_240 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2306-13_0_3_load_0 | 0 | 0.012344 | 0.0030936 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2306-13_0_3_load_1 | 1 | 0.0079016 | 0.0019803 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2306-13_0_3_load_22 | 4 | 0.0067725 | 0.0016974 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2306-13_0_3_load_17 | 5 | 0.015035 | 0.0037682 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2306-13_0_3_load_4 | 8 | 0.0038238 | 0.00095833 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2306-13_0_3_load_14 | 12 | 0.0067377 | 0.0016886 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2306-13_0_3_load_25 | 14 | 0.0029393 | 0.00073665 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2306-13_0_3_load_7 | 15 | 0.0029935 | 0.00075025 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2306-13_0_3_load_8 | 16 | 0.0029675 | 0.00074372 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2306-13_0_3_load_10 | 18 | 0.0030011 | 0.00075215 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2306-13_0_3_load_11 | 19 | 0.0051738 | 0.0012967 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2306-13_0_3_load_12 | 20 | 0.0056347 | 0.0014122 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2306-13_0_3_load_13 | 21 | 0.005714 | 0.0014321 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2306-13_0_3_load_42 | 22 | 0.013685 | 0.0034297 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2306-13_0_3_load_46 | 23 | 0.0010525 | 0.00026379 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2306-13_0_3_load_43 | 25 | 0.0087993 | 0.0022053 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2306-13_0_3_load_47 | 26 | 0.0024488 | 0.00061374 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2306-13_0_3_load_37 | 27 | 0.003555 | 0.00089096 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2306-13_0_3_load_34 | 28 | 0.0031796 | 0.00079689 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2306-13_0_3_load_20 | 29 | 0.0029342 | 0.00073538 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2306-13_0_3_load_26 | 30 | 0.0025626 | 0.00064226 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2306-13_0_3_load_21 | 32 | 0.0046046 | 0.001154 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2306-13_0_3_load_33 | 33 | 0.0030184 | 0.00075647 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2306-13_0_3_load_41 | 34 | 0.0040358 | 0.0010115 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2306-13_0_3_load_31 | 35 | 0.019947 | 0.0049991 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2306-13_0_3_load_44 | 38 | 0.0024269 | 0.00060823 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2306-13_0_3_load_29 | 39 | 0.0024868 | 0.00062324 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2306-13_0_3_load_32 | 41 | 0.0019004 | 0.0004763 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2306-13_0_3_load_45 | 42 | 0.01369 | 0.0034309 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2306-13_0_3_load_35 | 43 | 0.002983 | 0.00074761 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2306-13_0_3_load_38 | 44 | 0.0075176 | 0.0018841 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 2 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2306-13_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.043587 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2306-13_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.034367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2306-13_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.005903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
3 | LV_2306-13_0_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.017196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_2306-13_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.011899 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2306-13_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.016578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
6 | LV_2306-13_0_3_line_6 | NAYY 4x150 SE | 5 | 31 | 0.011987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2306-13_0_3_line_7 | NAYY 4x150 SE | 6 | 7 | 0.018645 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_2306-13_0_3_line_8 | NAYY 4x150 SE | 7 | 33 | 0.031662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2306-13_0_3_line_9 | NAYY 4x150 SE | 7 | 34 | 0.010057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2306-13_0_3_line_10 | NAYY 4x150 SE | 8 | 9 | 0.0306 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2306-13_0_3_line_11 | NAYY 4x150 SE | 9 | 10 | 0.041692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2306-13_0_3_line_12 | NAYY 4x150 SE | 10 | 11 | 0.058405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2306-13_0_3_line_13 | NAYY 4x150 SE | 10 | 12 | 0.019362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2306-13_0_3_line_14 | NAYY 4x150 SE | 11 | 13 | 0.018112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2306-13_0_3_line_15 | NAYY 4x150 SE | 11 | 14 | 0.065835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2306-13_0_3_line_16 | NAYY 4x150 SE | 13 | 29 | 0.010294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2306-13_0_3_line_17 | NAYY 4x150 SE | 14 | 30 | 0.025886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2306-13_0_3_line_18 | NAYY 4x150 SE | 15 | 16 | 0.0016666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2306-13_0_3_line_19 | NAYY 4x150 SE | 15 | 17 | 0.014497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2306-13_0_3_line_20 | NAYY 4x150 SE | 16 | 18 | 0.018253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2306-13_0_3_line_21 | NAYY 4x150 SE | 17 | 19 | 0.014266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2306-13_0_3_line_22 | NAYY 4x150 SE | 17 | 20 | 0.031501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2306-13_0_3_line_23 | NAYY 4x150 SE | 17 | 21 | 0.013009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2306-13_0_3_line_24 | NAYY 4x150 SE | 19 | 22 | 0.020036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2306-13_0_3_line_25 | NAYY 4x150 SE | 20 | 23 | 0.0012422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2306-13_0_3_line_26 | NAYY 4x150 SE | 21 | 24 | 0.017384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2306-13_0_3_line_27 | NAYY 4x150 SE | 22 | 25 | 0.010296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2306-13_0_3_line_28 | NAYY 4x150 SE | 23 | 26 | 0.0060857 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2306-13_0_3_line_29 | NAYY 4x150 SE | 24 | 27 | 0.0010829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2306-13_0_3_line_30 | NAYY 4x150 SE | 24 | 28 | 0.029019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2306-13_0_3_line_31 | NAYY 4x150 SE | 25 | 42 | 0.0098407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2306-13_0_3_line_32 | NAYY 4x150 SE | 28 | 43 | 0.0007261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2306-13_0_3_line_33 | NAYY 4x150 SE | 29 | 31 | 0.011576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2306-13_0_3_line_34 | NAYY 4x150 SE | 30 | 37 | 0.032517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2306-13_0_3_line_35 | NAYY 4x150 SE | 31 | 32 | 0.012544 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2306-13_0_3_line_36 | NAYY 4x150 SE | 33 | 35 | 0.0039917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2306-13_0_3_line_37 | NAYY 4x150 SE | 34 | 36 | 0.019121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2306-13_0_3_line_38 | NAYY 4x150 SE | 35 | 40 | 0.0041407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2306-13_0_3_line_39 | NAYY 4x150 SE | 36 | 44 | 0.019599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2306-13_0_3_line_40 | NAYY 4x150 SE | 37 | 38 | 0.017913 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2306-13_0_3_line_41 | NAYY 4x150 SE | 39 | 40 | 0.046884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2306-13_0_3_line_42 | NAYY 4x150 SE | 40 | 41 | 0.042679 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2306-13_0_3_line_43 | NAYY 4x150 SE | 41 | 42 | 0.0067652 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2306-13_0_3_trafo_3 | 0.25 MVA 20/0.4 kV | 45 | 2 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2582776.8835 | 1185373.2854 | 2582793.4803 | 1185355.1842 | 2582806.9311 | 1185341.7239
1 | 2582831.5907 | 1185317.8994 | 2582829.6554 | 1185318.9833 | 2582806.9311 | 1185341.7239
2 | 2582831.5907 | 1185317.8994 | 2582829.9897 | 1185315.8141 | 2582832.5939 | 1185313.8166
3 | 2582832.5939 | 1185313.8166 | 2582846.8791 | 1185304.2435
4 | 2582832.5939 | 1185313.8166 | 2582825.0758 | 1185304.5932
5 | 2582861.3127 | 1185301.2163 | 2582860.3855 | 1185299.885 | 2582853.9359 | 1185299.5144 | 2582846.8791 | 1185304.2435
6 | 2582830.2386 | 1185296.2698 | 2582831.2423 | 1185297.6454 | 2582824.3763 | 1185303.7351 | 2582825.0758 | 1185304.5932
7 | 2582877.61 | 1185292.0758 | 2582861.3127 | 1185301.2163
8 | 2582877.61 | 1185292.0758 | 2582889.1079 | 1185315.0437 | 2582891.4513 | 1185320.5422
9 | 2582877.61 | 1185292.0758 | 2582886.1543 | 1185286.7715
10 | 2582731.17 | 1185304.9939 | 2582716.4424 | 1185297.4437 | 2582704.5354 | 1185294.1543 | 2582702.8492 | 1185293.9681
11 | 2582731.17 | 1185304.9939 | 2582745.9277 | 1185315.0453 | 2582763.8386 | 1185330.8795
12 | 2582763.8386 | 1185330.8795 | 2582799.9243 | 1185284.8846
13 | 2582763.8386 | 1185330.8795 | 2582754.326 | 1185342.7242 | 2582751.7539 | 1185346.0072
14 | 2582814.3717 | 1185295.8598 | 2582799.9243 | 1185284.8846
15 | 2582799.9243 | 1185284.8846 | 2582835.0753 | 1185240.0822 | 2582840.5351 | 1185233.0677
16 | 2582814.3717 | 1185295.8598 | 2582821.6157 | 1185288.5462
17 | 2582856.4347 | 1185212.6405 | 2582840.5351 | 1185233.0677
18 | 2582848.1363 | 1185415.9104 | 2582846.7894 | 1185414.9288
19 | 2582835.0737 | 1185406.391 | 2582846.7894 | 1185414.9288
20 | 2582848.1363 | 1185415.9104 | 2582862.8881 | 1185426.6608
21 | 2582835.0737 | 1185406.391 | 2582845.604 | 1185396.7659
22 | 2582835.0737 | 1185406.391 | 2582810.6557 | 1185386.4891
23 | 2582835.0737 | 1185406.391 | 2582827.8759 | 1185417.2275
24 | 2582845.604 | 1185396.7659 | 2582857.8161 | 1185385.6036 | 2582860.5733 | 1185383.462
25 | 2582810.6557 | 1185386.4891 | 2582809.6928 | 1185385.7043
26 | 2582821.071 | 1185433.0896 | 2582824.9603 | 1185421.6169 | 2582827.8759 | 1185417.2275
27 | 2582868.7046 | 1185377.1459 | 2582860.5733 | 1185383.462
28 | 2582804.9754 | 1185381.8594 | 2582809.6928 | 1185385.7043
29 | 2582821.071 | 1185433.0896 | 2582820.7236 | 1185434.1153
30 | 2582821.071 | 1185433.0896 | 2582848.5917 | 1185442.2941
31 | 2582868.7046 | 1185377.1459 | 2582876.4761 | 1185371.1093
32 | 2582849.2803 | 1185442.5244 | 2582848.5917 | 1185442.2941
33 | 2582830.2386 | 1185296.2698 | 2582828.7007 | 1185294.8958 | 2582825.2501 | 1185291.8041 | 2582821.6157 | 1185288.5462
34 | 2582876.4075 | 1185186.9802 | 2582856.4347 | 1185212.6405
35 | 2582839.6318 | 1185287.9273 | 2582830.2386 | 1185296.2698
36 | 2582893.0163 | 1185324.2142 | 2582891.4513 | 1185320.5422
37 | 2582901.0501 | 1185274.844 | 2582889.6995 | 1185284.5706 | 2582886.1543 | 1185286.7715
38 | 2582894.6397 | 1185328.0234 | 2582893.0163 | 1185324.2142
39 | 2582901.0501 | 1185274.844 | 2582912.4661 | 1185258.9136
40 | 2582876.4075 | 1185186.9802 | 2582890.4953 | 1185198.044
41 | 2582894.6397 | 1185328.0234 | 2582909.4109 | 1185334.8846 | 2582916.5341 | 1185341.3231 | 2582928.2375 | 1185353.5404 | 2582930.1397 | 1185357.1469
42 | 2582894.6397 | 1185328.0234 | 2582894.8185 | 1185342.4415 | 2582890.319 | 1185356.773 | 2582881.6364 | 1185366.7665
43 | 2582881.6364 | 1185366.7665 | 2582880.7428 | 1185367.7951 | 2582876.4761 | 1185371.1093

## bus_geodata
| x | y | coords
0 | 2582776.8835 | 1185373.2854
1 | 2582806.9311 | 1185341.7239
2 | 2582831.5907 | 1185317.8994
3 | 2582832.5939 | 1185313.8166
4 | 2582846.8791 | 1185304.2435
5 | 2582825.0758 | 1185304.5932
6 | 2582861.3127 | 1185301.2163
7 | 2582877.61 | 1185292.0758
8 | 2582702.8492 | 1185293.9681
9 | 2582731.17 | 1185304.9939
10 | 2582763.8386 | 1185330.8795
11 | 2582799.9243 | 1185284.8846
12 | 2582751.7539 | 1185346.0072
13 | 2582814.3717 | 1185295.8598
14 | 2582840.5351 | 1185233.0677
15 | 2582846.7894 | 1185414.9288
16 | 2582848.1363 | 1185415.9104
17 | 2582835.0737 | 1185406.391
18 | 2582862.8881 | 1185426.6608
19 | 2582845.604 | 1185396.7659
20 | 2582810.6557 | 1185386.4891
21 | 2582827.8759 | 1185417.2275
22 | 2582860.5733 | 1185383.462
23 | 2582809.6928 | 1185385.7043
24 | 2582821.071 | 1185433.0896
25 | 2582868.7046 | 1185377.1459
26 | 2582804.9754 | 1185381.8594
27 | 2582820.7236 | 1185434.1153
28 | 2582848.5917 | 1185442.2941
29 | 2582821.6157 | 1185288.5462
30 | 2582856.4347 | 1185212.6405
31 | 2582830.2386 | 1185296.2698
32 | 2582839.6318 | 1185287.9273
33 | 2582891.4513 | 1185320.5422
34 | 2582886.1543 | 1185286.7715
35 | 2582893.0163 | 1185324.2142
36 | 2582901.0501 | 1185274.844
37 | 2582876.4075 | 1185186.9802
38 | 2582890.4953 | 1185198.044
39 | 2582930.1397 | 1185357.1469
40 | 2582894.6397 | 1185328.0234
41 | 2582881.6364 | 1185366.7665
42 | 2582876.4761 | 1185371.1093
43 | 2582849.2803 | 1185442.5244
44 | 2582912.4661 | 1185258.9136
45 | 2582832.5939 | 1185313.8166

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99824 | -0.012338 | 0.012344 | 0.0030936
1 | 0.99901 | -0.0069528 | 0.0079016 | 0.0019803
2 | 1 | 0 | -0.18455 | -0.046291
3 | 0.99931 | -0.0047665 | 0 | 0
4 | 0.99781 | -0.015145 | 0.0067725 | 0.0016974
5 | 0.99861 | -0.0096576 | 0.015035 | 0.0037682
6 | 0.99645 | -0.024615 | 0 | 0
7 | 0.99491 | -0.035298 | 0 | 0
8 | 0.99578 | -0.029541 | 0.0038238 | 0.00095833
9 | 0.99595 | -0.028363 | 0 | 0
10 | 0.99618 | -0.026757 | 0 | 0
11 | 0.99706 | -0.020552 | 0 | 0
12 | 0.99599 | -0.02807 | 0.0067377 | 0.0016886
13 | 0.99754 | -0.017186 | 0 | 0
14 | 0.99631 | -0.025804 | 0.0029393 | 0.00073665
15 | 0.98 | -0.14045 | 0.0029935 | 0.00075025
16 | 0.97999 | -0.14055 | 0.0029675 | 0.00074372
17 | 0.98019 | -0.1391 | 0 | 0
18 | 0.97991 | -0.14112 | 0.0030011 | 0.00075215
19 | 0.98089 | -0.13413 | 0.0051738 | 0.0012967
20 | 0.97977 | -0.14209 | 0.0056347 | 0.0014122
21 | 0.9799 | -0.14118 | 0.005714 | 0.0014321
22 | 0.98201 | -0.12609 | 0.013685 | 0.0034297
23 | 0.97977 | -0.14213 | 0.0010525 | 0.00026379
24 | 0.97965 | -0.14294 | 0 | 0
25 | 0.9828 | -0.12051 | 0.0087993 | 0.0022053
26 | 0.97974 | -0.14229 | 0.0024488 | 0.00061374
27 | 0.97965 | -0.14298 | 0.003555 | 0.00089096
28 | 0.97939 | -0.1448 | 0.0031796 | 0.00079689
29 | 0.99781 | -0.015275 | 0.0029342 | 0.00073538
30 | 0.99613 | -0.027104 | 0.0025626 | 0.00064226
31 | 0.99817 | -0.012786 | 0 | 0
32 | 0.99808 | -0.013364 | 0.0046046 | 0.001154
33 | 0.99022 | -0.068097 | 0.0030184 | 0.00075647
34 | 0.99474 | -0.03647 | 0.0040358 | 0.0010115
35 | 0.98964 | -0.072131 | 0.019947 | 0.0049991
36 | 0.99454 | -0.03792 | 0 | 0
37 | 0.99602 | -0.027899 | 0 | 0
38 | 0.99595 | -0.028336 | 0.0024269 | 0.00060823
39 | 0.989 | -0.076669 | 0.0024868 | 0.00062324
40 | 0.98917 | -0.075479 | 0 | 0
41 | 0.98441 | -0.10907 | 0.0019004 | 0.0004763
42 | 0.98367 | -0.11429 | 0.01369 | 0.0034309
43 | 0.97939 | -0.14482 | 0.002983 | 0.00074761
44 | 0.99433 | -0.039408 | 0.0075176 | 0.0018841
45 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.012344 | -0.0030936 | 0.012353 | 0.0030965 | 9.208e-06 | 2.9713e-06 | 0.0184 | 0.0184 | 0.0184 | 0.99824 | -0.012338 | 0.99901 | -0.0069528 | 6.8147
1 | -0.020254 | -0.0050769 | 0.020274 | 0.0050839 | 1.9518e-05 | 7.0566e-06 | 0.030169 | 0.030169 | 0.030169 | 0.99901 | -0.0069528 | 1 | 0 | 11.1737
2 | 0.16347 | 0.041207 | -0.16336 | -0.041165 | 0.00010905 | 4.1788e-05 | 0.24333 | 0.24333 | 0.24333 | 1 | 0 | 0.99931 | -0.0047665 | 45.0615
3 | 0.12222 | 0.030848 | -0.12204 | -0.03078 | 0.00017785 | 6.7952e-05 | 0.18207 | 0.18207 | 0.18207 | 0.99931 | -0.0047665 | 0.99781 | -0.015145 | 33.7158
4 | 0.041144 | 0.010317 | -0.041116 | -0.010307 | 2.7871e-05 | 1.0564e-05 | 0.061267 | 0.061267 | 0.061267 | 0.99931 | -0.0047665 | 0.99861 | -0.0096576 | 22.6913
5 | 0.11527 | 0.029082 | -0.11512 | -0.029024 | 0.00015295 | 5.8396e-05 | 0.17197 | 0.17197 | 0.17197 | 0.99781 | -0.015145 | 0.99645 | -0.024615 | 31.8456
6 | 0.02608 | 0.0065386 | -0.026069 | -0.0065344 | 1.1297e-05 | 4.1884e-06 | 0.038863 | 0.038863 | 0.038863 | 0.99861 | -0.0096576 | 0.99817 | -0.012786 | 14.3937
7 | 0.11512 | 0.029024 | -0.11494 | -0.028958 | 0.00017203 | 6.568e-05 | 0.17197 | 0.17197 | 0.17197 | 0.99645 | -0.024615 | 0.99491 | -0.035298 | 31.8456
8 | 0.10339 | 0.026062 | -0.10291 | -0.02588 | 0.0004727 | 0.0001814 | 0.15468 | 0.15468 | 0.15468 | 0.99491 | -0.035298 | 0.99022 | -0.068097 | 57.2887
9 | 0.011558 | 0.0028968 | -0.011556 | -0.0028962 | 1.8754e-06 | 5.9071e-07 | 0.017287 | 0.017287 | 0.017287 | 0.99491 | -0.035298 | 0.99474 | -0.03647 | 6.4026
10 | -0.0038238 | -0.00095833 | 0.0038244 | 0.00095818 | 6.234e-07 | -1.5836e-07 | 0.005714 | 0.0057138 | 0.005714 | 0.99578 | -0.029541 | 0.99595 | -0.028363 | 2.1163
11 | -0.0038244 | -0.00095818 | 0.0038253 | 0.00095796 | 8.4933e-07 | -2.1601e-07 | 0.0057138 | 0.0057136 | 0.0057138 | 0.99595 | -0.028363 | 0.99618 | -0.026757 | 2.1162
12 | -0.010564 | -0.0026468 | 0.010573 | 0.0026495 | 9.0745e-06 | 2.7291e-06 | 0.01578 | 0.015779 | 0.01578 | 0.99618 | -0.026757 | 0.99706 | -0.020552 | 5.8443
13 | 0.0067389 | 0.0016888 | -0.0067377 | -0.0016886 | 1.2242e-06 | 2.1882e-07 | 0.010066 | 0.010066 | 0.010066 | 0.99618 | -0.026757 | 0.99599 | -0.02807 | 3.7282
14 | -0.018509 | -0.0046375 | 0.018518 | 0.0046406 | 8.6234e-06 | 3.0804e-06 | 0.027623 | 0.027623 | 0.027623 | 0.99706 | -0.020552 | 0.99754 | -0.017186 | 10.2306
15 | 0.0079359 | 0.001988 | -0.0079301 | -0.0019867 | 5.7622e-06 | 1.3582e-06 | 0.011843 | 0.011844 | 0.011844 | 0.99706 | -0.020552 | 0.99631 | -0.025804 | 4.3865
16 | -0.018518 | -0.0046406 | 0.018523 | 0.0046424 | 4.9011e-06 | 1.7506e-06 | 0.027623 | 0.027622 | 0.027623 | 0.99754 | -0.017186 | 0.99781 | -0.015275 | 10.2306
17 | 0.0049908 | 0.00125 | -0.0049899 | -0.00125 | 8.974e-07 | 8.1136e-09 | 0.0074536 | 0.0074537 | 0.0074537 | 0.99631 | -0.025804 | 0.99613 | -0.027104 | 2.7606
18 | 0.0059689 | 0.0014957 | -0.0059688 | -0.0014957 | 8.5418e-08 | 1.1855e-08 | 0.009063 | 0.009063 | 0.009063 | 0.98 | -0.14045 | 0.97999 | -0.14055 | 3.3567
19 | -0.0089625 | -0.002246 | 0.0089641 | 0.0022465 | 1.6752e-06 | 4.6161e-07 | 0.013608 | 0.013608 | 0.013608 | 0.98 | -0.14045 | 0.98019 | -0.1391 | 5.0401
20 | 0.0030014 | 0.00075201 | -0.0030011 | -0.00075215 | 2.3656e-07 | -1.3898e-07 | 0.0045572 | 0.0045573 | 0.0045573 | 0.97999 | -0.14055 | 0.97991 | -0.14112 | 1.6879
21 | -0.033544 | -0.0084072 | 0.033567 | 0.0084159 | 2.3085e-05 | 8.6988e-06 | 0.050923 | 0.050923 | 0.050923 | 0.98019 | -0.1391 | 0.98089 | -0.13413 | 18.8604
22 | 0.0091399 | 0.0022907 | -0.0091361 | -0.0022896 | 3.7844e-06 | 1.0586e-06 | 0.013875 | 0.013875 | 0.013875 | 0.98019 | -0.1391 | 0.97977 | -0.14209 | 5.139
23 | 0.01544 | 0.00387 | -0.015436 | -0.0038685 | 4.46e-06 | 1.5514e-06 | 0.02344 | 0.02344 | 0.02344 | 0.98019 | -0.1391 | 0.9799 | -0.14118 | 8.6813
24 | -0.038741 | -0.0097125 | 0.038784 | 0.0097289 | 4.3185e-05 | 1.6356e-05 | 0.058772 | 0.058772 | 0.058772 | 0.98089 | -0.13413 | 0.98201 | -0.12609 | 21.7673
25 | 0.0035015 | 0.00087746 | -0.0035014 | -0.00087747 | 2.192e-08 | -7.2135e-09 | 0.0053178 | 0.0053178 | 0.0053178 | 0.97977 | -0.14209 | 0.97977 | -0.14213 | 1.9695
26 | 0.0097216 | 0.0024364 | -0.0097192 | -0.0024357 | 2.364e-06 | 6.9031e-07 | 0.014763 | 0.014763 | 0.014763 | 0.9799 | -0.14118 | 0.97965 | -0.14294 | 5.4677
27 | -0.052469 | -0.013159 | 0.052509 | 0.013174 | 4.0614e-05 | 1.549e-05 | 0.079507 | 0.079507 | 0.079507 | 0.98201 | -0.12609 | 0.9828 | -0.12051 | 29.4472
28 | 0.0024489 | 0.00061368 | -0.0024488 | -0.00061374 | 5.2529e-08 | -5.6437e-08 | 0.0037192 | 0.0037192 | 0.0037192 | 0.97977 | -0.14213 | 0.97974 | -0.14229 | 1.3775
29 | 0.003555 | 0.00089096 | -0.003555 | -0.00089096 | 1.9703e-08 | -6.0568e-09 | 0.0053998 | 0.0053998 | 0.0053998 | 0.97965 | -0.14294 | 0.97965 | -0.14298 | 1.9999
30 | 0.0061642 | 0.0015447 | -0.0061626 | -0.0015445 | 1.5874e-06 | 2.4528e-07 | 0.0093629 | 0.009363 | 0.009363 | 0.97965 | -0.14294 | 0.97939 | -0.1448 | 3.4678
31 | -0.061309 | -0.015379 | 0.061362 | 0.0154 | 5.2916e-05 | 2.0227e-05 | 0.09283 | 0.09283 | 0.09283 | 0.9828 | -0.12051 | 0.98367 | -0.11429 | 34.3815
32 | 0.002983 | 0.0007476 | -0.002983 | -0.00074761 | 9.3065e-09 | -5.5578e-09 | 0.0045321 | 0.0045321 | 0.0045321 | 0.97939 | -0.1448 | 0.97939 | -0.14482 | 1.6786
33 | -0.021457 | -0.0053778 | 0.021464 | 0.0053805 | 7.3961e-06 | 2.6934e-06 | 0.031998 | 0.031998 | 0.031998 | 0.99781 | -0.015275 | 0.99817 | -0.012786 | 11.8512
34 | 0.0024273 | 0.00060774 | -0.002427 | -0.00060806 | 2.6674e-07 | -3.2066e-07 | 0.0036257 | 0.0036258 | 0.0036258 | 0.99613 | -0.027104 | 0.99602 | -0.027899 | 1.3429
35 | 0.0046049 | 0.001154 | -0.0046046 | -0.001154 | 3.6887e-07 | -2.2078e-08 | 0.0068648 | 0.0068648 | 0.0068648 | 0.99817 | -0.012786 | 0.99808 | -0.013364 | 2.5425
36 | 0.099894 | 0.025124 | -0.099838 | -0.025102 | 5.615e-05 | 2.1545e-05 | 0.15014 | 0.15014 | 0.15014 | 0.99022 | -0.068097 | 0.98964 | -0.072131 | 55.6088
37 | 0.0075207 | 0.0018848 | -0.0075192 | -0.0018844 | 1.5101e-06 | 3.3263e-07 | 0.01125 | 0.01125 | 0.01125 | 0.99474 | -0.03647 | 0.99454 | -0.03792 | 4.1667
38 | 0.079891 | 0.020103 | -0.079854 | -0.020089 | 3.7301e-05 | 1.4293e-05 | 0.12015 | 0.12015 | 0.12015 | 0.98964 | -0.072131 | 0.98917 | -0.075479 | 44.5008
39 | 0.0075192 | 0.0018844 | -0.0075176 | -0.0018841 | 1.5478e-06 | 3.4106e-07 | 0.01125 | 0.01125 | 0.01125 | 0.99454 | -0.03792 | 0.99433 | -0.039408 | 4.1667
40 | 0.002427 | 0.00060806 | -0.0024269 | -0.00060823 | 1.4695e-07 | -1.766e-07 | 0.0036258 | 0.0036259 | 0.0036259 | 0.99602 | -0.027899 | 0.99595 | -0.028336 | 1.3429
41 | -0.0024868 | -0.00062324 | 0.0024872 | 0.0006228 | 4.0953e-07 | -4.4423e-07 | 0.0037415 | 0.0037413 | 0.0037415 | 0.989 | -0.076669 | 0.98917 | -0.075479 | 1.3857
42 | 0.077367 | 0.019466 | -0.077006 | -0.019328 | 0.0003609 | 0.00013826 | 0.11641 | 0.11641 | 0.11641 | 0.98917 | -0.075479 | 0.98441 | -0.10907 | 43.1152
43 | 0.075106 | 0.018851 | -0.075051 | -0.018831 | 5.4419e-05 | 2.0844e-05 | 0.11354 | 0.11354 | 0.11354 | 0.98441 | -0.10907 | 0.98367 | -0.11429 | 42.0513

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.18455 | 0.046291

## res_load
| p_mw | q_mvar
0 | 0.012344 | 0.0030936
1 | 0.0079016 | 0.0019803
2 | 0.0067725 | 0.0016974
3 | 0.015035 | 0.0037682
4 | 0.0038238 | 0.00095833
5 | 0.0067377 | 0.0016886
6 | 0.0029393 | 0.00073665
7 | 0.0029935 | 0.00075025
8 | 0.0029675 | 0.00074372
9 | 0.0030011 | 0.00075215
10 | 0.0051738 | 0.0012967
11 | 0.0056347 | 0.0014122
12 | 0.005714 | 0.0014321
13 | 0.013685 | 0.0034297
14 | 0.0010525 | 0.00026379
15 | 0.0087993 | 0.0022053
16 | 0.0024488 | 0.00061374
17 | 0.003555 | 0.00089096
18 | 0.0031796 | 0.00079689
19 | 0.0029342 | 0.00073538
20 | 0.0025626 | 0.00064226
21 | 0.0046046 | 0.001154
22 | 0.0030184 | 0.00075647
23 | 0.0040358 | 0.0010115
24 | 0.019947 | 0.0049991
25 | 0.0024269 | 0.00060823
26 | 0.0024868 | 0.00062324
27 | 0.0019004 | 0.0004763
28 | 0.01369 | 0.0034309
29 | 0.002983 | 0.00074761
30 | 0.0075176 | 0.0018841

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1