## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2306-21_1_2_node_132 | 0.4 | n |  | TRUE
1 | bus_LV_2306-21_1_2_node_133 | 0.4 | n |  | TRUE
2 | bus_LV_2306-21_1_2_node_134 | 0.4 | n |  | TRUE
3 | bus_LV_2306-21_1_2_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_2306-21_1_2_node_111 | 0.4 | n |  | TRUE
5 | bus_LV_2306-21_1_2_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_2306-21_1_2_node_109 | 0.4 | n |  | TRUE
7 | bus_LV_2306-21_1_2_node_237 | 0.4 | n |  | TRUE
8 | bus_LV_2306-21_1_2_node_108 | 0.4 | n |  | TRUE
9 | bus_LV_2306-21_1_2_node_135 | 0.4 | n |  | TRUE
10 | bus_LV_2306-21_1_2_node_97 | 0.4 | n |  | TRUE
11 | bus_LV_2306-21_1_2_node_136 | 0.4 | n |  | TRUE
12 | bus_LV_2306-21_1_2_node_137 | 0.4 | n |  | TRUE
13 | bus_LV_2306-21_1_2_node_138 | 0.4 | n |  | TRUE
14 | bus_LV_2306-21_1_2_node_139 | 0.4 | n |  | TRUE
15 | bus_LV_2306-21_1_2_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_2306-21_1_2_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_2306-21_1_2_node_17 | 0.4 | n |  | TRUE
18 | bus_LV_2306-21_1_2_node_150 | 0.4 | n |  | TRUE
19 | bus_LV_2306-21_1_2_node_180 | 0.4 | n |  | TRUE
20 | bus_LV_2306-21_1_2_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_2306-21_1_2_node_148 | 0.4 | n |  | TRUE
22 | bus_LV_2306-21_1_2_node_144 | 0.4 | n |  | TRUE
23 | bus_LV_2306-21_1_2_node_173 | 0.4 | n |  | TRUE
24 | bus_LV_2306-21_1_2_node_147 | 0.4 | n |  | TRUE
25 | bus_LV_2306-21_1_2_node_103 | 0.4 | n |  | TRUE
26 | bus_LV_2306-21_1_2_node_104 | 0.4 | n |  | TRUE
27 | bus_LV_2306-21_1_2_node_149 | 0.4 | n |  | TRUE
28 | bus_LV_2306-21_1_2_node_112 | 0.4 | n |  | TRUE
29 | bus_LV_2306-21_1_2_node_151 | 0.4 | n |  | TRUE
30 | bus_LV_2306-21_1_2_node_198 | 0.4 | n |  | TRUE
31 | bus_LV_2306-21_1_2_node_196 | 0.4 | n |  | TRUE
32 | bus_LV_2306-21_1_2_node_156 | 0.4 | n |  | TRUE
33 | bus_LV_2306-21_1_2_node_102 | 0.4 | n |  | TRUE
34 | bus_LV_2306-21_1_2_node_160 | 0.4 | n |  | TRUE
35 | bus_LV_2306-21_1_2_node_90 | 0.4 | n |  | TRUE
36 | bus_LV_2306-21_1_2_node_107 | 0.4 | n |  | TRUE
37 | bus_LV_2306-21_1_2_node_170 | 0.4 | n |  | TRUE
38 | bus_LV_2306-21_1_2_node_171 | 0.4 | n |  | TRUE
39 | bus_LV_2306-21_1_2_node_172 | 0.4 | n |  | TRUE
40 | bus_LV_2306-21_1_2_node_174 | 0.4 | n |  | TRUE
41 | bus_LV_2306-21_1_2_node_175 | 0.4 | n |  | TRUE
42 | bus_LV_2306-21_1_2_node_176 | 0.4 | n |  | TRUE
43 | bus_LV_2306-21_1_2_node_177 | 0.4 | n |  | TRUE
44 | bus_LV_2306-21_1_2_node_197 | 0.4 | n |  | TRUE
45 | bus_LV_2306-21_1_2_node_91 | 0.4 | n |  | TRUE
46 | bus_LV_2306-21_1_2_node_95 | 0.4 | n |  | TRUE
47 | bus_LV_2306-21_1_2_node_96 | 0.4 | n |  | TRUE
48 | bus_LV_2306-21_1_2_node_98 | 0.4 | n |  | TRUE
49 | bus_LV_2306-21_1_2_node_99 | 0.4 | n |  | TRUE
50 | bus_LV_2306-21_1_2_node_100 | 0.4 | n |  | TRUE
51 | bus_LV_2306-21_1_2_node_101 | 0.4 | n |  | TRUE
52 | bus_LV_2306-21_1_2_node_105 | 0.4 | n |  | TRUE
53 | bus_LV_2306-21_1_2_node_125 | 0.4 | n |  | TRUE
54 | bus_LV_2306-21_1_2_node_106 | 0.4 | n |  | TRUE
55 | bus_LV_2306-21_1_2_node_110 | 0.4 | n |  | TRUE
56 | bus_LV_2306-21_1_2_node_114 | 0.4 | n |  | TRUE
57 | bus_MV_119_1_node_139 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2306-21_1_2_load_132 | 0 | 0.001573 | 0.00039424 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2306-21_1_2_load_133 | 1 | 0.0013671 | 0.00034264 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2306-21_1_2_load_109 | 6 | 0.00039317 | 9.8536e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2306-21_1_2_load_237 | 7 | 0.0011939 | 0.00029923 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2306-21_1_2_load_108 | 8 | 0.00063569 | 0.00015932 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2306-21_1_2_load_135 | 9 | 0.0014761 | 0.00036995 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2306-21_1_2_load_136 | 11 | 0.00081337 | 0.00020385 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2306-21_1_2_load_137 | 12 | 0.00029698 | 7.4429e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2306-21_1_2_load_138 | 13 | 0.0011252 | 0.000282 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2306-21_1_2_load_139 | 14 | 0.00057789 | 0.00014483 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2306-21_1_2_load_13 | 15 | 0.00064711 | 0.00016218 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2306-21_1_2_load_18 | 20 | 0.0007575 | 0.00018985 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2306-21_1_2_load_148 | 21 | 0.0014867 | 0.00037259 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2306-21_1_2_load_144 | 22 | 0.0028324 | 0.00070987 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2306-21_1_2_load_147 | 24 | 0.0028169 | 0.00070597 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2306-21_1_2_load_104 | 26 | 0.0015485 | 0.00038809 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2306-21_1_2_load_149 | 27 | 0.0036109 | 0.00090497 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2306-21_1_2_load_198 | 30 | 0.00061473 | 0.00015407 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2306-21_1_2_load_196 | 31 | 0.00084193 | 0.00021101 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2306-21_1_2_load_156 | 32 | 0.00062811 | 0.00015742 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2306-21_1_2_load_102 | 33 | 0.0047613 | 0.0011933 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2306-21_1_2_load_160 | 34 | 0.0031848 | 0.00079819 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2306-21_1_2_load_90 | 35 | 0.0010549 | 0.00026439 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2306-21_1_2_load_107 | 36 | 0.00019183 | 4.8077e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2306-21_1_2_load_170 | 37 | 0.0049533 | 0.0012414 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2306-21_1_2_load_171 | 38 | 0.0048242 | 0.0012091 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2306-21_1_2_load_172 | 39 | 0.0082429 | 0.0020659 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2306-21_1_2_load_174 | 40 | 0.00028133 | 7.0508e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2306-21_1_2_load_175 | 41 | 0.0017038 | 0.00042702 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2306-21_1_2_load_176 | 42 | 0.0023154 | 0.0005803 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2306-21_1_2_load_177 | 43 | 0.0038972 | 0.00097673 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2306-21_1_2_load_197 | 44 | 0.0014422 | 0.00036146 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2306-21_1_2_load_91 | 45 | 0.00030843 | 7.73e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2306-21_1_2_load_95 | 46 | 0.0042855 | 0.0010741 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2306-21_1_2_load_98 | 48 | 0.0025217 | 0.000632 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2306-21_1_2_load_105 | 52 | 0.0023989 | 0.00060123 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2306-21_1_2_load_125 | 53 | 0.00087435 | 0.00021913 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2306-21_1_2_load_106 | 54 | 0.00026038 | 6.5257e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2306-21_1_2_load_114 | 56 | 0.00089076 | 0.00022325 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 22 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2306-21_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.015612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2306-21_1_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.012201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2306-21_1_2_line_2 | NAYY 4x150 SE | 1 | 8 | 0.010425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2306-21_1_2_line_3 | NAYY 4x150 SE | 2 | 9 | 0.031871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2306-21_1_2_line_4 | NAYY 4x150 SE | 3 | 4 | 0.009349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2306-21_1_2_line_5 | NAYY 4x150 SE | 3 | 5 | 0.045075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2306-21_1_2_line_6 | NAYY 4x150 SE | 3 | 6 | 0.026084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2306-21_1_2_line_7 | NAYY 4x150 SE | 4 | 12 | 0.025878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2306-21_1_2_line_8 | NAYY 4x150 SE | 5 | 7 | 0.019645 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2306-21_1_2_line_9 | NAYY 4x150 SE | 6 | 55 | 0.24749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2306-21_1_2_line_10 | NAYY 4x150 SE | 8 | 51 | 0.0097421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2306-21_1_2_line_11 | NAYY 4x150 SE | 9 | 10 | 0.061325 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2306-21_1_2_line_12 | NAYY 4x150 SE | 10 | 22 | 0.016697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2306-21_1_2_line_13 | NAYY 4x150 SE | 10 | 47 | 0.0553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2306-21_1_2_line_14 | NAYY 4x150 SE | 11 | 12 | 0.010889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2306-21_1_2_line_15 | NAYY 4x150 SE | 11 | 13 | 0.05816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2306-21_1_2_line_16 | NAYY 4x150 SE | 13 | 14 | 0.032965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2306-21_1_2_line_17 | NAYY 4x150 SE | 14 | 18 | 0.0069196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2306-21_1_2_line_18 | NAYY 4x150 SE | 15 | 16 | 0.016994 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2306-21_1_2_line_19 | NAYY 4x150 SE | 16 | 17 | 0.025347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2306-21_1_2_line_20 | NAYY 4x150 SE | 17 | 19 | 0.011754 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2306-21_1_2_line_21 | NAYY 4x150 SE | 18 | 28 | 0.11241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2306-21_1_2_line_22 | NAYY 4x150 SE | 18 | 27 | 0.026017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2306-21_1_2_line_23 | NAYY 4x150 SE | 19 | 30 | 0.012433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2306-21_1_2_line_24 | NAYY 4x150 SE | 20 | 21 | 0.0050089 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2306-21_1_2_line_25 | NAYY 4x150 SE | 21 | 27 | 0.037675 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2306-21_1_2_line_26 | NAYY 4x150 SE | 22 | 23 | 0.039746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2306-21_1_2_line_27 | NAYY 4x150 SE | 23 | 28 | 0.067586 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2306-21_1_2_line_28 | NAYY 4x150 SE | 23 | 38 | 0.030042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2306-21_1_2_line_29 | NAYY 4x150 SE | 24 | 25 | 0.029291 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2306-21_1_2_line_30 | NAYY 4x150 SE | 24 | 26 | 0.0079912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2306-21_1_2_line_31 | NAYY 4x150 SE | 25 | 53 | 0.015391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2306-21_1_2_line_32 | NAYY 4x150 SE | 25 | 50 | 0.020319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2306-21_1_2_line_33 | NAYY 4x150 SE | 28 | 29 | 0.07607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2306-21_1_2_line_34 | NAYY 4x150 SE | 28 | 41 | 0.028916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2306-21_1_2_line_35 | NAYY 4x150 SE | 29 | 30 | 0.048626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2306-21_1_2_line_36 | NAYY 4x150 SE | 29 | 31 | 0.012517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2306-21_1_2_line_37 | NAYY 4x150 SE | 31 | 44 | 0.0095977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2306-21_1_2_line_38 | NAYY 4x150 SE | 32 | 33 | 0.0036798 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2306-21_1_2_line_39 | NAYY 4x150 SE | 33 | 49 | 0.011885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2306-21_1_2_line_40 | NAYY 4x150 SE | 34 | 35 | 0.21979 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2306-21_1_2_line_41 | NAYY 4x150 SE | 34 | 36 | 0.0020569 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2306-21_1_2_line_42 | NAYY 4x150 SE | 35 | 45 | 0.028365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2306-21_1_2_line_43 | NAYY 4x150 SE | 36 | 54 | 0.019466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2306-21_1_2_line_44 | NAYY 4x150 SE | 37 | 38 | 0.039056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2306-21_1_2_line_45 | NAYY 4x150 SE | 37 | 39 | 0.069986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_2306-21_1_2_line_46 | NAYY 4x150 SE | 40 | 41 | 0.023741 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_2306-21_1_2_line_47 | NAYY 4x150 SE | 40 | 42 | 0.039514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_2306-21_1_2_line_48 | NAYY 4x150 SE | 42 | 43 | 0.039451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_2306-21_1_2_line_49 | NAYY 4x150 SE | 46 | 47 | 0.015231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_2306-21_1_2_line_50 | NAYY 4x150 SE | 48 | 49 | 0.010389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_2306-21_1_2_line_51 | NAYY 4x150 SE | 48 | 50 | 0.018257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_2306-21_1_2_line_52 | NAYY 4x150 SE | 49 | 51 | 0.025348 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_2306-21_1_2_line_53 | NAYY 4x150 SE | 51 | 52 | 0.0017713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_2306-21_1_2_line_54 | NAYY 4x150 SE | 52 | 54 | 0.026682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_2306-21_1_2_line_55 | NAYY 4x150 SE | 55 | 56 | 0.018037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2306-21_1_2_trafo_144 | 0.25 MVA 20/0.4 kV | 57 | 22 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2585678.3251 | 1183091.689 | 2585680.4162 | 1183100.1025 | 2585682.4272 | 1183106.7471
1 | 2585675.3823 | 1183079.8485 | 2585678.3251 | 1183091.689
2 | 2585686.8446 | 1183116.162 | 2585684.6904 | 1183112.3985 | 2585682.4939 | 1183106.9677 | 2585682.4272 | 1183106.7471
3 | 2585675.3823 | 1183079.8485 | 2585674.6216 | 1183074.6032 | 2585673.6663 | 1183067.8465 | 2585672.7583 | 1183048.1208
4 | 2585411.6825 | 1182880.9745 | 2585402.3319 | 1182881.6644
5 | 2585406.6114 | 1182911.4026 | 2585393.4904 | 1182887.5669 | 2585390.4166 | 1182882.5052 | 2585402.3319 | 1182881.6644
6 | 2585402.3319 | 1182881.6644 | 2585401.4987 | 1182871.9059 | 2585395.9049 | 1182856.6061
7 | 2585411.6825 | 1182880.9745 | 2585411.3642 | 1182875.717 | 2585413.7661 | 1182871.3978 | 2585428.8029 | 1182866.9921
8 | 2585388.1529 | 1182915.1832 | 2585394.3623 | 1182916.224 | 2585398.3694 | 1182915.8362 | 2585402.2891 | 1182914.0257 | 2585406.6114 | 1182911.4026
9 | 2585417.1824 | 1182614.09 | 2585415.2461 | 1182618.397 | 2585409.7404 | 1182630.4611 | 2585405.4664 | 1182643.5005 | 2585388.2728 | 1182767.9624 | 2585385.5988 | 1182798.3402 | 2585387.0354 | 1182826.8514 | 2585390.7536 | 1182842.5171 | 2585395.9049 | 1182856.6061
10 | 2585693.092 | 1183123.6286 | 2585689.4637 | 1183119.5685 | 2585686.8446 | 1183116.162
11 | 2585678.3125 | 1182987.2159 | 2585678.7813 | 1182994.852 | 2585678.5574 | 1183000.1776 | 2585677.9696 | 1183006.5378 | 2585677.1067 | 1183012.7764 | 2585673.6562 | 1183035.0963 | 2585673.0345 | 1183040.0336 | 2585672.6916 | 1183046.6712 | 2585672.7583 | 1183048.1208
12 | 2585678.3125 | 1182987.2159 | 2585677.4955 | 1182980.8257 | 2585676.0984 | 1182974.4368 | 2585675.0462 | 1182970.8739
13 | 2585640.5893 | 1183021.2354 | 2585674.2217 | 1183000.3992 | 2585674.4383 | 1182988.8816 | 2585678.3125 | 1182987.2159
14 | 2585439.6866 | 1182867.332 | 2585428.8029 | 1182866.9921
15 | 2585439.6866 | 1182867.332 | 2585453.8918 | 1182867.7756 | 2585473.9921 | 1182864.1025 | 2585496.2231 | 1182856.4405
16 | 2585528.6567 | 1182850.9549 | 2585500.4997 | 1182854.9666 | 2585496.2231 | 1182856.4405
17 | 2585535.5071 | 1182849.9789 | 2585528.6567 | 1182850.9549
18 | 2585795.3021 | 1182830.7774 | 2585794.8202 | 1182823.9861 | 2585792.1508 | 1182814.156
19 | 2585776.6003 | 1182847.9419 | 2585795.3021 | 1182830.7774
20 | 2585776.6003 | 1182847.9419 | 2585767.7858 | 1182855.7448
21 | 2585535.5071 | 1182849.9789 | 2585551.2375 | 1182860.7685 | 2585562.7738 | 1182867.2773 | 2585565.9652 | 1182870.5268 | 2585615.7561 | 1182866.8267 | 2585636.1595 | 1182865.3434 | 2585637.6143 | 1182870.2868
22 | 2585535.5071 | 1182849.9789 | 2585536.0571 | 1182843.7966 | 2585531.0645 | 1182824.626
23 | 2585767.7858 | 1182855.7448 | 2585755.3854 | 1182856.6483
24 | 2585545.7171 | 1182797.6979 | 2585550.1743 | 1182795.4127
25 | 2585545.7171 | 1182797.6979 | 2585541.76 | 1182799.7267 | 2585527.1253 | 1182809.5006 | 2585531.0645 | 1182824.626
26 | 2585661.8378 | 1182933.3944 | 2585673.7431 | 1182966.4606 | 2585675.0462 | 1182970.8739
27 | 2585661.8378 | 1182933.3944 | 2585637.6143 | 1182870.2868
28 | 2585661.8378 | 1182933.3944 | 2585691.2207 | 1182927.1357
29 | 2585759.5349 | 1183099.2235 | 2585756.8159 | 1183073.161 | 2585756.262 | 1183071.3947 | 2585755.5191 | 1183070.4071
30 | 2585749.2257 | 1183072.4387 | 2585749.437 | 1183071.4111 | 2585750.4189 | 1183070.1747 | 2585752.3185 | 1183069.6255 | 2585754.1661 | 1183069.6766 | 2585755.5191 | 1183070.4071
31 | 2585759.5349 | 1183099.2235 | 2585765.4505 | 1183098.8647 | 2585774.9092 | 1183098.536
32 | 2585739.1756 | 1183099.6724 | 2585750.0165 | 1183099.8132 | 2585759.5349 | 1183099.2235
33 | 2585637.6143 | 1182870.2868 | 2585636.1595 | 1182865.3434 | 2585706.8883 | 1182860.1817
34 | 2585637.6143 | 1182870.2868 | 2585666.4591 | 1182868.2596
35 | 2585706.8883 | 1182860.1817 | 2585755.3854 | 1182856.6483
36 | 2585706.8883 | 1182860.1817 | 2585706.1254 | 1182847.6882
37 | 2585706.1254 | 1182847.6882 | 2585706.1254 | 1182847.6882 | 2585696.5605 | 1182848.4803
38 | 2585703.4366 | 1183094.1763 | 2585705.5118 | 1183097.2151
39 | 2585712.214 | 1183107.0297 | 2585705.5118 | 1183097.2151
40 | 2585717.1666 | 1183166.7042 | 2585683.1427 | 1183383.8469
41 | 2585717.1666 | 1183166.7042 | 2585716.6365 | 1183164.7168
42 | 2585683.1427 | 1183383.8469 | 2585685.3828 | 1183384.5708 | 2585700.5958 | 1183387.269 | 2585711.0914 | 1183388.4409
43 | 2585709.0523 | 1183146.9112 | 2585714.8017 | 1183157.8386 | 2585716.6365 | 1183164.7168
44 | 2585729.4198 | 1182918.9992 | 2585691.2207 | 1182927.1357
45 | 2585797.7007 | 1182911.391 | 2585763.348 | 1182918.699 | 2585760.0574 | 1182918.6513 | 2585755.0597 | 1182916.6511 | 2585751.0945 | 1182915.4377 | 2585745.8727 | 1182915.4947 | 2585729.4198 | 1182918.9992
46 | 2585690.1413 | 1182866.5953 | 2585666.4591 | 1182868.2596
47 | 2585690.1413 | 1182866.5953 | 2585729.558 | 1182863.8251
48 | 2585768.9123 | 1182861.0592 | 2585729.558 | 1182863.8251
49 | 2585640.5893 | 1183021.2354 | 2585625.7685 | 1183024.7447
50 | 2585712.214 | 1183107.0297 | 2585717.4423 | 1183103.4042 | 2585721.2457 | 1183102.081
51 | 2585739.1756 | 1183099.6724 | 2585732.0908 | 1183099.5782 | 2585728.397 | 1183100.0429 | 2585724.8108 | 1183100.8408 | 2585721.2457 | 1183102.081
52 | 2585693.092 | 1183123.6286 | 2585697.9929 | 1183120.3374 | 2585705.5576 | 1183113.638 | 2585712.214 | 1183107.0297
53 | 2585693.092 | 1183123.6286 | 2585694.2969 | 1183124.9271
54 | 2585709.0523 | 1183146.9112 | 2585702.9606 | 1183135.3332 | 2585702.1782 | 1183133.8009 | 2585700.6465 | 1183131.7702 | 2585694.2969 | 1183124.9271
55 | 2585417.1824 | 1182614.09 | 2585434.6007 | 1182618.7746

## bus_geodata
| x | y | coords
0 | 2585678.3251 | 1183091.689
1 | 2585682.4272 | 1183106.7471
2 | 2585675.3823 | 1183079.8485
3 | 2585402.3319 | 1182881.6644
4 | 2585411.6825 | 1182880.9745
5 | 2585406.6114 | 1182911.4026
6 | 2585395.9049 | 1182856.6061
7 | 2585388.1529 | 1182915.1832
8 | 2585686.8446 | 1183116.162
9 | 2585672.7583 | 1183048.1208
10 | 2585678.3125 | 1182987.2159
11 | 2585439.6866 | 1182867.332
12 | 2585428.8029 | 1182866.9921
13 | 2585496.2231 | 1182856.4405
14 | 2585528.6567 | 1182850.9549
15 | 2585792.1508 | 1182814.156
16 | 2585795.3021 | 1182830.7774
17 | 2585776.6003 | 1182847.9419
18 | 2585535.5071 | 1182849.9789
19 | 2585767.7858 | 1182855.7448
20 | 2585550.1743 | 1182795.4127
21 | 2585545.7171 | 1182797.6979
22 | 2585675.0462 | 1182970.8739
23 | 2585661.8378 | 1182933.3944
24 | 2585755.5191 | 1183070.4071
25 | 2585759.5349 | 1183099.2235
26 | 2585749.2257 | 1183072.4387
27 | 2585531.0645 | 1182824.626
28 | 2585637.6143 | 1182870.2868
29 | 2585706.8883 | 1182860.1817
30 | 2585755.3854 | 1182856.6483
31 | 2585706.1254 | 1182847.6882
32 | 2585703.4366 | 1183094.1763
33 | 2585705.5118 | 1183097.2151
34 | 2585717.1666 | 1183166.7042
35 | 2585683.1427 | 1183383.8469
36 | 2585716.6365 | 1183164.7168
37 | 2585729.4198 | 1182918.9992
38 | 2585691.2207 | 1182927.1357
39 | 2585797.7007 | 1182911.391
40 | 2585690.1413 | 1182866.5953
41 | 2585666.4591 | 1182868.2596
42 | 2585729.558 | 1182863.8251
43 | 2585768.9123 | 1182861.0592
44 | 2585696.5605 | 1182848.4803
45 | 2585711.0914 | 1183388.4409
46 | 2585625.7685 | 1183024.7447
47 | 2585640.5893 | 1183021.2354
48 | 2585721.2457 | 1183102.081
49 | 2585712.214 | 1183107.0297
50 | 2585739.1756 | 1183099.6724
51 | 2585693.092 | 1183123.6286
52 | 2585694.2969 | 1183124.9271
53 | 2585774.9092 | 1183098.536
54 | 2585709.0523 | 1183146.9112
55 | 2585417.1824 | 1182614.09
56 | 2585434.6007 | 1182618.7746
57 | 2585678.3125 | 1182987.2159

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99551 | -0.031468 | 0.001573 | 0.00039424
1 | 0.995 | -0.035022 | 0.0013671 | 0.00034264
2 | 0.99593 | -0.028499 | 0 | 0
3 | 0.99291 | -0.049944 | 0 | 0
4 | 0.99294 | -0.049706 | 0 | 0
5 | 0.99283 | -0.050491 | 0 | 0
6 | 0.99286 | -0.05029 | 0.00039317 | 9.8536e-05
7 | 0.9928 | -0.050728 | 0.0011939 | 0.00029923
8 | 0.99469 | -0.037254 | 0.00063569 | 0.00015932
9 | 0.99703 | -0.020755 | 0.0014761 | 0.00036995
10 | 0.99929 | -0.0049948 | 0 | 0
11 | 0.99308 | -0.048738 | 0.00081337 | 0.00020385
12 | 0.99304 | -0.049048 | 0.00029698 | 7.4429e-05
13 | 0.99338 | -0.046602 | 0.0011252 | 0.000282
14 | 0.9936 | -0.045015 | 0.00057789 | 0.00014483
15 | 0.99492 | -0.035721 | 0.00064711 | 0.00016218
16 | 0.99493 | -0.03561 | 0 | 0
17 | 0.99496 | -0.035443 | 0 | 0
18 | 0.99365 | -0.044642 | 0 | 0
19 | 0.99497 | -0.035366 | 0 | 0
20 | 0.99331 | -0.047078 | 0.0007575 | 0.00018985
21 | 0.99332 | -0.047039 | 0.0014867 | 0.00037259
22 | 1 | 0 | -0.071953 | -0.017855
23 | 0.99767 | -0.016314 | 0 | 0
24 | 0.99333 | -0.046803 | 0.0028169 | 0.00070597
25 | 0.99352 | -0.045509 | 0 | 0
26 | 0.99332 | -0.046928 | 0.0015485 | 0.00038809
27 | 0.99344 | -0.046183 | 0.0036109 | 0.00090497
28 | 0.99545 | -0.031931 | 0 | 0
29 | 0.99507 | -0.034662 | 0 | 0
30 | 0.99498 | -0.035284 | 0.00061473 | 0.00015407
31 | 0.99503 | -0.03495 | 0.00084193 | 0.00021101
32 | 0.99383 | -0.043318 | 0.00062811 | 0.00015742
33 | 0.99383 | -0.043295 | 0.0047613 | 0.0011933
34 | 0.99405 | -0.041797 | 0.0031848 | 0.00079819
35 | 0.99362 | -0.044855 | 0.0010549 | 0.00026439
36 | 0.99406 | -0.041702 | 0.00019183 | 4.8077e-05
37 | 0.99616 | -0.026934 | 0.0049533 | 0.0012414
38 | 0.9969 | -0.02175 | 0.0048242 | 0.0012091
39 | 0.99533 | -0.032743 | 0.0082429 | 0.0020659
40 | 0.99489 | -0.035879 | 0.00028133 | 7.0508e-05
41 | 0.99511 | -0.034322 | 0.0017038 | 0.00042702
42 | 0.99454 | -0.038357 | 0.0023154 | 0.0005803
43 | 0.99432 | -0.039909 | 0.0038972 | 0.00097673
44 | 0.99501 | -0.03509 | 0.0014422 | 0.00036146
45 | 0.9936 | -0.044944 | 0.00030843 | 7.73e-05
46 | 0.99885 | -0.0080195 | 0.0042855 | 0.0010741
47 | 0.99895 | -0.0073665 | 0 | 0
48 | 0.99381 | -0.043464 | 0.0025217 | 0.000632
49 | 0.99392 | -0.042648 | 0 | 0
50 | 0.99367 | -0.044432 | 0 | 0
51 | 0.9944 | -0.039278 | 0 | 0
52 | 0.99438 | -0.039411 | 0.0023989 | 0.00060123
53 | 0.9935 | -0.045646 | 0.00087435 | 0.00021913
54 | 0.99419 | -0.040766 | 0.00026038 | 6.5257e-05
55 | 0.99255 | -0.052557 | 0 | 0
56 | 0.99252 | -0.05272 | 0.00089076 | 0.00022325
57 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.022588 | 0.0056598 | -0.022577 | -0.0056557 | 1.1105e-05 | 4.0683e-06 | 0.033763 | 0.033763 | 0.033763 | 0.99551 | -0.031468 | 0.995 | -0.035022 | 12.5049
1 | -0.024162 | -0.006054 | 0.024171 | 0.0060577 | 9.9296e-06 | 3.6604e-06 | 0.036114 | 0.036114 | 0.036114 | 0.99551 | -0.031468 | 0.99593 | -0.028499 | 13.3757
2 | 0.02121 | 0.0053131 | -0.021204 | -0.0053107 | 6.5448e-06 | 2.3819e-06 | 0.031719 | 0.031719 | 0.031719 | 0.995 | -0.035022 | 0.99469 | -0.037254 | 11.7477
3 | -0.024171 | -0.0060577 | 0.024197 | 0.0060673 | 2.5938e-05 | 9.5609e-06 | 0.036114 | 0.036114 | 0.036114 | 0.99593 | -0.028499 | 0.99703 | -0.020755 | 13.3757
4 | -0.0024783 | -0.00061659 | 0.0024784 | 0.0006165 | 8.0406e-08 | -8.9998e-08 | 0.0037125 | 0.0037125 | 0.0037125 | 0.99291 | -0.049944 | 0.99294 | -0.049706 | 1.375
5 | 0.0011941 | 0.00029844 | -0.001194 | -0.00029899 | 9.0049e-08 | -5.4832e-07 | 0.0017892 | 0.0017894 | 0.0017894 | 0.99291 | -0.049944 | 0.99283 | -0.050491 | 0.66273
6 | 0.0012843 | 0.00031815 | -0.0012842 | -0.00031846 | 6.0217e-08 | -3.142e-07 | 0.0019234 | 0.0019235 | 0.0019235 | 0.99291 | -0.049944 | 0.99286 | -0.05029 | 0.7124
7 | -0.0024784 | -0.0006165 | 0.0024786 | 0.00061625 | 2.2256e-07 | -2.4916e-07 | 0.0037125 | 0.0037124 | 0.0037125 | 0.99294 | -0.049706 | 0.99304 | -0.049048 | 1.375
8 | 0.001194 | 0.00029899 | -0.0011939 | -0.00029923 | 3.9252e-08 | -2.3894e-07 | 0.0017894 | 0.0017895 | 0.0017895 | 0.99283 | -0.050491 | 0.9928 | -0.050728 | 0.66277
9 | 0.00089106 | 0.00021993 | -0.00089078 | -0.00022302 | 2.7516e-07 | -3.0939e-06 | 0.0013342 | 0.0013354 | 0.0013354 | 0.99286 | -0.05029 | 0.99255 | -0.052557 | 0.49458
10 | 0.020568 | 0.0051514 | -0.020562 | -0.0051493 | 5.7548e-06 | 2.087e-06 | 0.030768 | 0.030768 | 0.030768 | 0.99469 | -0.037254 | 0.9944 | -0.039278 | 11.3955
11 | -0.025674 | -0.0064372 | 0.02573 | 0.006458 | 5.6183e-05 | 2.0807e-05 | 0.038317 | 0.038317 | 0.038317 | 0.99703 | -0.020755 | 0.99929 | -0.0049948 | 14.1916
12 | -0.030017 | -0.0075318 | 0.030038 | 0.0075396 | 2.0819e-05 | 7.7884e-06 | 0.044701 | 0.044701 | 0.044701 | 0.99929 | -0.0049948 | 1 | 0 | 16.5559
13 | 0.0042873 | 0.0010738 | -0.0042859 | -0.001074 | 1.4064e-06 | -1.833e-07 | 0.0063839 | 0.0063842 | 0.0063842 | 0.99929 | -0.0049948 | 0.99895 | -0.0073665 | 2.3645
14 | 0.0027757 | 0.00069058 | -0.0027756 | -0.00069068 | 1.1744e-07 | -9.5711e-08 | 0.0041573 | 0.0041574 | 0.0041574 | 0.99308 | -0.048738 | 0.99304 | -0.049048 | 1.5398
15 | -0.0035891 | -0.00089443 | 0.0035902 | 0.00089408 | 1.0489e-06 | -3.4931e-07 | 0.0053761 | 0.0053758 | 0.0053761 | 0.99308 | -0.048738 | 0.99338 | -0.046602 | 1.9911
16 | -0.0047153 | -0.0011761 | 0.0047164 | 0.001176 | 1.0256e-06 | -3.239e-08 | 0.0070613 | 0.0070611 | 0.0070613 | 0.99338 | -0.046602 | 0.9936 | -0.045015 | 2.6153
17 | -0.0052943 | -0.0013209 | 0.0052945 | 0.0013209 | 2.7129e-07 | 1.4715e-08 | 0.0079266 | 0.0079265 | 0.0079266 | 0.9936 | -0.045015 | 0.99365 | -0.044642 | 2.9358
18 | -0.00064711 | -0.00016218 | 0.00064712 | 0.00016196 | 9.9325e-09 | -2.1688e-07 | 0.00096783 | 0.00096776 | 0.00096783 | 0.99492 | -0.035721 | 0.99493 | -0.03561 | 0.35846
19 | -0.00064712 | -0.00016196 | 0.00064714 | 0.00016164 | 1.4811e-08 | -3.2348e-07 | 0.00096776 | 0.00096764 | 0.00096776 | 0.99493 | -0.03561 | 0.99496 | -0.035443 | 0.35843
20 | -0.00064714 | -0.00016164 | 0.00064714 | 0.00016149 | 6.8671e-09 | -1.5001e-07 | 0.00096764 | 0.00096759 | 0.00096764 | 0.99496 | -0.035443 | 0.99497 | -0.035366 | 0.35839
21 | -0.011151 | -0.002788 | 0.011171 | 0.0027941 | 1.9554e-05 | 6.0622e-06 | 0.016697 | 0.016696 | 0.016697 | 0.99365 | -0.044642 | 0.99545 | -0.031931 | 6.1839
22 | 0.0058565 | 0.0014671 | -0.0058553 | -0.001467 | 1.2487e-06 | 1.4332e-07 | 0.00877 | 0.0087701 | 0.0087701 | 0.99365 | -0.044642 | 0.99344 | -0.046183 | 3.2482
23 | -0.00064714 | -0.00016149 | 0.00064715 | 0.00016133 | 7.2631e-09 | -1.5869e-07 | 0.00096759 | 0.00096753 | 0.00096759 | 0.99497 | -0.035366 | 0.99498 | -0.035284 | 0.35837
24 | -0.0007575 | -0.00018985 | 0.0007575 | 0.00018978 | 4.0246e-09 | -6.3289e-08 | 0.0011348 | 0.0011347 | 0.0011348 | 0.99331 | -0.047078 | 0.99332 | -0.047039 | 0.42028
25 | -0.0022442 | -0.00056237 | 0.0022444 | 0.00056199 | 2.6568e-07 | -3.8556e-07 | 0.0033618 | 0.0033616 | 0.0033618 | 0.99332 | -0.047039 | 0.99344 | -0.046183 | 1.2451
26 | 0.041115 | 0.010315 | -0.041023 | -0.01028 | 9.2845e-05 | 3.5189e-05 | 0.061184 | 0.061185 | 0.061185 | 1 | 0 | 0.99767 | -0.016314 | 22.6609
27 | 0.022973 | 0.0057543 | -0.022923 | -0.0057362 | 4.9508e-05 | 1.8161e-05 | 0.034262 | 0.034263 | 0.034263 | 0.99767 | -0.016314 | 0.99545 | -0.031931 | 12.6898
28 | 0.01805 | 0.0045259 | -0.018036 | -0.0045211 | 1.3588e-05 | 4.834e-06 | 0.026922 | 0.026922 | 0.026922 | 0.99767 | -0.016314 | 0.9969 | -0.02175 | 9.9713
29 | -0.0043654 | -0.001094 | 0.0043662 | 0.0010939 | 7.8159e-07 | -7.8629e-08 | 0.0065394 | 0.0065392 | 0.0065394 | 0.99333 | -0.046803 | 0.99352 | -0.045509 | 2.422
30 | 0.0015485 | 0.000388 | -0.0015485 | -0.00038809 | 2.6832e-08 | -9.3124e-08 | 0.0023197 | 0.0023197 | 0.0023197 | 0.99333 | -0.046803 | 0.99332 | -0.046928 | 0.85915
31 | 0.00087436 | 0.00021894 | -0.00087435 | -0.00021913 | 1.6469e-08 | -1.9297e-07 | 0.0013095 | 0.0013096 | 0.0013096 | 0.99352 | -0.045509 | 0.9935 | -0.045646 | 0.48502
32 | -0.0052406 | -0.0013128 | 0.0052413 | 0.0013129 | 7.8105e-07 | 3.7237e-08 | 0.0078487 | 0.0078486 | 0.0078487 | 0.99352 | -0.045509 | 0.99367 | -0.044432 | 2.9069
33 | 0.0035476 | 0.00088656 | -0.0035463 | -0.00088703 | 1.3345e-06 | -4.7527e-07 | 0.0053021 | 0.0053025 | 0.0053025 | 0.99545 | -0.031931 | 0.99507 | -0.034662 | 1.9639
34 | 0.0082048 | 0.0020556 | -0.0082021 | -0.0020549 | 2.7141e-06 | 6.6809e-07 | 0.012264 | 0.012265 | 0.012265 | 0.99545 | -0.031931 | 0.99511 | -0.034322 | 4.5424
35 | 0.001262 | 0.00031481 | -0.0012619 | -0.0003154 | 1.0802e-07 | -5.9005e-07 | 0.0018867 | 0.0018869 | 0.0018869 | 0.99507 | -0.034662 | 0.99498 | -0.035284 | 0.69884
36 | 0.0022843 | 0.00057222 | -0.0022842 | -0.00057235 | 9.1132e-08 | -1.2754e-07 | 0.0034158 | 0.0034159 | 0.0034159 | 0.99507 | -0.034662 | 0.99503 | -0.03495 | 1.2651
37 | 0.0014423 | 0.00036134 | -0.0014422 | -0.00036146 | 2.786e-08 | -1.1395e-07 | 0.0021568 | 0.0021568 | 0.0021568 | 0.99503 | -0.03495 | 0.99501 | -0.03509 | 0.79883
38 | -0.00062811 | -0.00015742 | 0.00062811 | 0.00015737 | 2.0308e-09 | -4.6901e-08 | 0.00094044 | 0.00094042 | 0.00094044 | 0.99383 | -0.043318 | 0.99383 | -0.043295 | 0.34831
39 | -0.0053894 | -0.0013507 | 0.0053899 | 0.0013507 | 4.8288e-07 | 3.1709e-08 | 0.0080693 | 0.0080693 | 0.0080693 | 0.99383 | -0.043295 | 0.99392 | -0.042648 | 2.9886
40 | 0.0013639 | 0.00033869 | -0.0013633 | -0.00034132 | 5.7137e-07 | -2.6283e-06 | 0.0020406 | 0.0020416 | 0.0020416 | 0.99405 | -0.041797 | 0.99362 | -0.044855 | 0.75614
41 | -0.0045487 | -0.0011369 | 0.0045488 | 0.0011369 | 5.949e-08 | -3.7846e-09 | 0.006808 | 0.006808 | 0.006808 | 0.99405 | -0.041797 | 0.99406 | -0.041702 | 2.5215
42 | 0.00030844 | 7.6934e-05 | -0.00030843 | -7.73e-05 | 3.7754e-09 | -3.6594e-07 | 0.00046178 | 0.00046191 | 0.00046191 | 0.99362 | -0.044855 | 0.9936 | -0.044944 | 0.17108
43 | -0.0047406 | -0.001185 | 0.0047412 | 0.0011849 | 6.1149e-07 | -1.7206e-08 | 0.0070951 | 0.0070951 | 0.0070951 | 0.99406 | -0.041702 | 0.99419 | -0.040766 | 2.6278
44 | -0.013203 | -0.0033089 | 0.013212 | 0.0033121 | 9.4789e-06 | 3.1369e-06 | 0.019722 | 0.019722 | 0.019722 | 0.99616 | -0.026934 | 0.9969 | -0.02175 | 7.3044
45 | 0.0082495 | 0.0020675 | -0.0082429 | -0.0020659 | 6.6317e-06 | 1.6403e-06 | 0.012323 | 0.012323 | 0.012323 | 0.99616 | -0.026934 | 0.99533 | -0.032743 | 4.5641
46 | -0.0064969 | -0.0016276 | 0.0064983 | 0.0016279 | 1.3987e-06 | 2.2961e-07 | 0.0097169 | 0.0097168 | 0.0097169 | 0.99489 | -0.035879 | 0.99511 | -0.034322 | 3.5989
47 | 0.0062156 | 0.0015571 | -0.0062134 | -0.0015568 | 2.1308e-06 | 3.0662e-07 | 0.0092961 | 0.0092963 | 0.0092963 | 0.99489 | -0.035879 | 0.99454 | -0.038357 | 3.4431
48 | 0.003898 | 0.00097654 | -0.0038972 | -0.00097673 | 8.3733e-07 | -1.8977e-07 | 0.005832 | 0.0058322 | 0.0058322 | 0.99454 | -0.038357 | 0.99432 | -0.039909 | 2.1601
49 | -0.0042855 | -0.0010741 | 0.0042859 | 0.001074 | 3.8736e-07 | -5.0391e-08 | 0.0063842 | 0.0063842 | 0.0063842 | 0.99885 | -0.0080195 | 0.99895 | -0.0073665 | 2.3645
50 | -0.0077638 | -0.0019449 | 0.0077646 | 0.0019451 | 8.76e-07 | 2.0229e-07 | 0.011624 | 0.011624 | 0.011624 | 0.99381 | -0.043464 | 0.99392 | -0.042648 | 4.3053
51 | 0.005242 | 0.0013129 | -0.0052413 | -0.0013129 | 7.0177e-07 | 3.3383e-08 | 0.0078485 | 0.0078486 | 0.0078486 | 0.99381 | -0.043464 | 0.99367 | -0.044432 | 2.9069
52 | -0.013155 | -0.0032958 | 0.013161 | 0.0032978 | 6.1344e-06 | 2.0307e-06 | 0.019693 | 0.019693 | 0.019693 | 0.99392 | -0.042648 | 0.9944 | -0.039278 | 7.2939
53 | 0.0074016 | 0.0018515 | -0.0074015 | -0.0018514 | 1.3556e-07 | 2.9159e-08 | 0.011074 | 0.011074 | 0.011074 | 0.9944 | -0.039278 | 0.99438 | -0.039411 | 4.1016
54 | 0.0050025 | 0.0012502 | -0.0050016 | -0.0012502 | 9.3272e-07 | 1.2679e-08 | 0.0074846 | 0.0074848 | 0.0074848 | 0.99438 | -0.039411 | 0.99419 | -0.040766 | 2.7721
55 | 0.00089078 | 0.00022302 | -0.00089076 | -0.00022325 | 2.0072e-08 | -2.254e-07 | 0.0013354 | 0.0013355 | 0.0013355 | 0.99255 | -0.052557 | 0.99252 | -0.05272 | 0.49461

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -4.4415e-16 | -7.6913e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.564e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.074786 | 0.018565

## res_load
| p_mw | q_mvar
0 | 0.001573 | 0.00039424
1 | 0.0013671 | 0.00034264
2 | 0.00039317 | 9.8536e-05
3 | 0.0011939 | 0.00029923
4 | 0.00063569 | 0.00015932
5 | 0.0014761 | 0.00036995
6 | 0.00081337 | 0.00020385
7 | 0.00029698 | 7.4429e-05
8 | 0.0011252 | 0.000282
9 | 0.00057789 | 0.00014483
10 | 0.00064711 | 0.00016218
11 | 0.0007575 | 0.00018985
12 | 0.0014867 | 0.00037259
13 | 0.0028324 | 0.00070987
14 | 0.0028169 | 0.00070597
15 | 0.0015485 | 0.00038809
16 | 0.0036109 | 0.00090497
17 | 0.00061473 | 0.00015407
18 | 0.00084193 | 0.00021101
19 | 0.00062811 | 0.00015742
20 | 0.0047613 | 0.0011933
21 | 0.0031848 | 0.00079819
22 | 0.0010549 | 0.00026439
23 | 0.00019183 | 4.8077e-05
24 | 0.0049533 | 0.0012414
25 | 0.0048242 | 0.0012091
26 | 0.0082429 | 0.0020659
27 | 0.00028133 | 7.0508e-05
28 | 0.0017038 | 0.00042702
29 | 0.0023154 | 0.0005803
30 | 0.0038972 | 0.00097673
31 | 0.0014422 | 0.00036146
32 | 0.00030843 | 7.73e-05
33 | 0.0042855 | 0.0010741
34 | 0.0025217 | 0.000632
35 | 0.0023989 | 0.00060123
36 | 0.00087435 | 0.00021913
37 | 0.00026038 | 6.5257e-05
38 | 0.00089076 | 0.00022325

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1