## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2306-24_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2306-24_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2306-24_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2306-24_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2306-24_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2306-24_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2306-24_0_2_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_2306-24_0_2_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_2306-24_0_2_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_2306-24_0_2_node_15 | 0.4 | n |  | TRUE
10 | bus_LV_2306-24_0_2_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_2306-24_0_2_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_2306-24_0_2_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_2306-24_0_2_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_2306-24_0_2_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_2306-24_0_2_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_2306-24_0_2_node_44 | 0.4 | n |  | TRUE
17 | bus_LV_2306-24_0_2_node_42 | 0.4 | n |  | TRUE
18 | bus_LV_2306-24_0_2_node_38 | 0.4 | n |  | TRUE
19 | bus_LV_2306-24_0_2_node_45 | 0.4 | n |  | TRUE
20 | bus_LV_2306-24_0_2_node_43 | 0.4 | n |  | TRUE
21 | bus_LV_2306-24_0_2_node_28 | 0.4 | n |  | TRUE
22 | bus_LV_2306-24_0_2_node_30 | 0.4 | n |  | TRUE
23 | bus_LV_2306-24_0_2_node_26 | 0.4 | n |  | TRUE
24 | bus_LV_2306-24_0_2_node_36 | 0.4 | n |  | TRUE
25 | bus_LV_2306-24_0_2_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_2306-24_0_2_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_2306-24_0_2_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_2306-24_0_2_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_2306-24_0_2_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_2306-24_0_2_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_2306-24_0_2_node_41 | 0.4 | n |  | TRUE
32 | bus_LV_2306-24_0_2_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_2306-24_0_2_node_31 | 0.4 | n |  | TRUE
34 | bus_LV_2306-24_0_2_node_32 | 0.4 | n |  | TRUE
35 | bus_LV_2306-24_0_2_node_33 | 0.4 | n |  | TRUE
36 | bus_LV_2306-24_0_2_node_34 | 0.4 | n |  | TRUE
37 | bus_LV_2306-24_0_2_node_22 | 0.4 | n |  | TRUE
38 | bus_LV_2306-24_0_2_node_37 | 0.4 | n |  | TRUE
39 | bus_LV_2306-24_0_2_node_40 | 0.4 | n |  | TRUE
40 | bus_LV_2306-24_0_2_node_39 | 0.4 | n |  | TRUE
41 | bus_LV_2306-24_0_2_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_2306-24_0_2_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_2306-24_0_2_node_35 | 0.4 | n |  | TRUE
44 | bus_MV_0_node_28 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2306-24_0_2_load_0 | 0 | 0.00080037 | 0.00020059 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2306-24_0_2_load_1 | 1 | 0.00059766 | 0.00014979 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2306-24_0_2_load_3 | 3 | 0.00082423 | 0.00020657 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2306-24_0_2_load_5 | 5 | 0.0014217 | 0.00035631 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2306-24_0_2_load_7 | 7 | 0.00056359 | 0.00014125 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2306-24_0_2_load_6 | 8 | 0.0017941 | 0.00044963 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2306-24_0_2_load_15 | 9 | 0.0013801 | 0.00034589 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2306-24_0_2_load_10 | 11 | 0.0025954 | 0.00065047 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2306-24_0_2_load_11 | 12 | 0.00035236 | 8.831e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2306-24_0_2_load_13 | 14 | 0.0012159 | 0.00030475 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2306-24_0_2_load_44 | 16 | 0.001777 | 0.00044535 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2306-24_0_2_load_42 | 17 | 0.0015442 | 0.00038702 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2306-24_0_2_load_38 | 18 | 0.00088838 | 0.00022265 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2306-24_0_2_load_45 | 19 | 0.000736 | 0.00018446 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2306-24_0_2_load_43 | 20 | 0.0043685 | 0.0010949 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2306-24_0_2_load_26 | 23 | 0.0013388 | 0.00033553 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2306-24_0_2_load_36 | 24 | 0.00034779 | 8.7164e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2306-24_0_2_load_16 | 25 | 0.0011683 | 0.0002928 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2306-24_0_2_load_17 | 26 | 0.00067255 | 0.00016856 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2306-24_0_2_load_24 | 27 | 0.0013756 | 0.00034475 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2306-24_0_2_load_23 | 28 | 0.0013557 | 0.00033977 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2306-24_0_2_load_19 | 29 | 0.00093863 | 0.00023524 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2306-24_0_2_load_20 | 30 | 0.001623 | 0.00040677 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2306-24_0_2_load_41 | 31 | 0.00010239 | 2.5662e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2306-24_0_2_load_21 | 32 | 0.00026548 | 6.6535e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2306-24_0_2_load_31 | 33 | 0.00016126 | 4.0417e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2306-24_0_2_load_32 | 34 | 0.00032931 | 8.2532e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2306-24_0_2_load_33 | 35 | 0.00034049 | 8.5335e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2306-24_0_2_load_34 | 36 | 0.0026496 | 0.00066404 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2306-24_0_2_load_22 | 37 | 0.00024545 | 6.1515e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2306-24_0_2_load_37 | 38 | 0.00038277 | 9.5931e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2306-24_0_2_load_40 | 39 | 0.0011148 | 0.00027941 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2306-24_0_2_load_39 | 40 | 0.00028362 | 7.1082e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2306-24_0_2_load_27 | 41 | 0.00020555 | 5.1516e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2306-24_0_2_load_29 | 42 | 0.00017244 | 4.3217e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 21 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2306-24_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.029391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2306-24_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.02583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2306-24_0_2_line_2 | NAYY 4x150 SE | 2 | 3 | 0.014479 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2306-24_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.01149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2306-24_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.021983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2306-24_0_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.080575 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2306-24_0_2_line_6 | NAYY 4x150 SE | 4 | 7 | 0.016469 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2306-24_0_2_line_7 | NAYY 4x150 SE | 5 | 8 | 0.046261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2306-24_0_2_line_8 | NAYY 4x150 SE | 6 | 9 | 0.0772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2306-24_0_2_line_9 | NAYY 4x150 SE | 7 | 10 | 0.12723 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2306-24_0_2_line_10 | NAYY 4x150 SE | 10 | 11 | 0.02363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2306-24_0_2_line_11 | NAYY 4x150 SE | 10 | 12 | 0.063042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2306-24_0_2_line_12 | NAYY 4x150 SE | 12 | 13 | 0.026566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2306-24_0_2_line_13 | NAYY 4x150 SE | 13 | 14 | 0.19453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2306-24_0_2_line_14 | NAYY 4x150 SE | 13 | 15 | 0.054996 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2306-24_0_2_line_15 | NAYY 4x150 SE | 14 | 16 | 0.017147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2306-24_0_2_line_16 | NAYY 4x150 SE | 14 | 17 | 0.032728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2306-24_0_2_line_17 | NAYY 4x150 SE | 15 | 18 | 0.043813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2306-24_0_2_line_18 | NAYY 4x150 SE | 16 | 19 | 0.024012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2306-24_0_2_line_19 | NAYY 4x150 SE | 17 | 20 | 0.036829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2306-24_0_2_line_20 | NAYY 4x150 SE | 18 | 24 | 0.032155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2306-24_0_2_line_21 | NAYY 4x150 SE | 21 | 22 | 0.016494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2306-24_0_2_line_22 | NAYY 4x150 SE | 21 | 23 | 0.085042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2306-24_0_2_line_23 | NAYY 4x150 SE | 22 | 40 | 0.011036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2306-24_0_2_line_24 | NAYY 4x150 SE | 23 | 41 | 0.009932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2306-24_0_2_line_25 | NAYY 4x150 SE | 23 | 31 | 0.44302 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2306-24_0_2_line_26 | NAYY 4x150 SE | 24 | 43 | 0.05683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2306-24_0_2_line_27 | NAYY 4x150 SE | 25 | 26 | 0.026587 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2306-24_0_2_line_28 | NAYY 4x150 SE | 26 | 27 | 0.36659 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2306-24_0_2_line_29 | NAYY 4x150 SE | 27 | 28 | 0.052032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2306-24_0_2_line_30 | NAYY 4x150 SE | 28 | 39 | 0.18352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2306-24_0_2_line_31 | NAYY 4x150 SE | 29 | 30 | 0.016593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2306-24_0_2_line_32 | NAYY 4x150 SE | 29 | 31 | 0.4408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2306-24_0_2_line_33 | NAYY 4x150 SE | 30 | 32 | 0.016035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2306-24_0_2_line_34 | NAYY 4x150 SE | 31 | 36 | 0.02736 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2306-24_0_2_line_35 | NAYY 4x150 SE | 32 | 37 | 0.0021051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2306-24_0_2_line_36 | NAYY 4x150 SE | 33 | 34 | 0.019132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2306-24_0_2_line_37 | NAYY 4x150 SE | 33 | 35 | 0.017716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2306-24_0_2_line_38 | NAYY 4x150 SE | 35 | 36 | 0.010659 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2306-24_0_2_line_39 | NAYY 4x150 SE | 37 | 38 | 0.0017622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2306-24_0_2_line_40 | NAYY 4x150 SE | 39 | 40 | 0.067958 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2306-24_0_2_line_41 | NAYY 4x150 SE | 41 | 42 | 0.029196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2306-24_0_2_line_42 | NAYY 4x150 SE | 42 | 43 | 0.074236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2306-24_0_2_trafo_28 | 0.25 MVA 20/0.4 kV | 44 | 21 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2588500.742 | 1179786.7324 | 2588504.8613 | 1179815.8334
1 | 2588514.6184 | 1179766.3615 | 2588502.108 | 1179778.9254 | 2588500.8455 | 1179781.7848 | 2588500.5469 | 1179785.3539 | 2588500.742 | 1179786.7324
2 | 2588514.6184 | 1179766.3615 | 2588523.622 | 1179777.7004
3 | 2588512.2135 | 1179755.127 | 2588514.6184 | 1179766.3615
4 | 2588530.9456 | 1179798.1642 | 2588530.2196 | 1179791.9556 | 2588524.1284 | 1179778.3382 | 2588523.622 | 1179777.7004
5 | 2588512.2135 | 1179755.127 | 2588514.8802 | 1179755.5777 | 2588517.4764 | 1179755.1391 | 2588520.1305 | 1179753.0107 | 2588523.9717 | 1179748.5788 | 2588526.4612 | 1179744.2829 | 2588527.3959 | 1179741.7798 | 2588527.8556 | 1179738.5551 | 2588527.9092 | 1179734.6196 | 2588527.1735 | 1179729.4184 | 2588521.295 | 1179707.2851 | 2588521.1706 | 1179698.214 | 2588521.3528 | 1179689.7315 | 2588523.1761 | 1179684.5921
6 | 2588512.2135 | 1179755.127 | 2588498.622 | 1179745.8263
7 | 2588530.9456 | 1179798.1642 | 2588534.5687 | 1179829.144 | 2588535.9513 | 1179844.1503
8 | 2588523.1761 | 1179684.5921 | 2588525.8673 | 1179681.8855 | 2588529.1354 | 1179681.2566 | 2588533.0014 | 1179681.7161 | 2588538.2992 | 1179683.9293 | 2588561.7242 | 1179698.5806 | 2588585.6275 | 1179711.7859 | 2588590.6191 | 1179714.0542
9 | 2588390.4153 | 1179679.1133 | 2588430.0422 | 1179705.6497 | 2588456.0299 | 1179722.1633 | 2588469.2215 | 1179730.0195 | 2588486.9449 | 1179739.0009 | 2588498.622 | 1179745.8263
10 | 2588390.4153 | 1179679.1133 | 2588401.3724 | 1179673.0221 | 2588405.1162 | 1179669.602 | 2588408.3724 | 1179664.5358
11 | 2588390.4153 | 1179679.1133 | 2588376.925 | 1179670.9799 | 2588367.41 | 1179664.5285 | 2588354.4354 | 1179654.4932 | 2588345.5055 | 1179646.4843 | 2588340.3799 | 1179641.1534
12 | 2588323.6312 | 1179620.5472 | 2588338.2723 | 1179638.9613 | 2588340.3799 | 1179641.1534
13 | 2588323.6312 | 1179620.5472 | 2588349.3583 | 1179581.6325 | 2588392.2309 | 1179517.327 | 2588405.7504 | 1179493.2439 | 2588422.6732 | 1179463.2734 | 2588426.7221 | 1179455.595
14 | 2588323.6312 | 1179620.5472 | 2588293.2739 | 1179666.4525
15 | 2588426.7221 | 1179455.595 | 2588431.165 | 1179446.2705 | 2588433.5036 | 1179439.8664
16 | 2588426.7221 | 1179455.595 | 2588419.021 | 1179454.9985 | 2588414.62 | 1179458.42 | 2588410.9619 | 1179466.7313 | 2588406.0712 | 1179469.6646 | 2588401.6607 | 1179468.2057
17 | 2588293.2739 | 1179666.4525 | 2588251.5701 | 1179660.0981 | 2588249.9419 | 1179660.1124
18 | 2588433.5036 | 1179439.8664 | 2588436.1496 | 1179432.6205 | 2588439.6837 | 1179419.4513 | 2588440.237 | 1179416.8468
19 | 2588401.6607 | 1179468.2057 | 2588399.4408 | 1179461.8735 | 2588404.5498 | 1179445.4996 | 2588404.0448 | 1179437.2075 | 2588400.1153 | 1179434.7052
20 | 2588217.7883 | 1179660.3947 | 2588249.9419 | 1179660.1124
21 | 2588244.7878 | 1179861.6146 | 2588244.5994 | 1179851.2763 | 2588244.7324 | 1179845.1285
22 | 2588244.7324 | 1179845.1285 | 2588239.8501 | 1179840.5691 | 2588235.7079 | 1179835.5858 | 2588215.3752 | 1179801.164 | 2588207.9853 | 1179787.794 | 2588202.4467 | 1179772.1167
23 | 2588244.7878 | 1179861.6146 | 2588253.7823 | 1179863.7201 | 2588255.4632 | 1179864.3586
24 | 2588202.4467 | 1179772.1167 | 2588199.1382 | 1179762.752
25 | 2588202.4467 | 1179772.1167 | 2587790.283 | 1179934.5579
26 | 2588161.3713 | 1179666.4688 | 2588204.1889 | 1179660.5142 | 2588217.7883 | 1179660.3947
27 | 2588253.3648 | 1180495.8446 | 2588246.6767 | 1180521.5762
28 | 2588233.8996 | 1180129.7729 | 2588253.3648 | 1180495.8446
29 | 2588261.3502 | 1180091.355 | 2588254.5831 | 1180118.5712 | 2588246.1727 | 1180125.7915 | 2588233.8996 | 1180129.7729
30 | 2588297.7548 | 1179911.4823 | 2588261.3502 | 1180091.355
31 | 2587520.7838 | 1180283.3748 | 2587505.5036 | 1180289.8438
32 | 2587520.7838 | 1180283.3748 | 2587790.283 | 1179934.5579
33 | 2587505.5036 | 1180289.8438 | 2587490.7373 | 1180296.0952 | 2587490.7373 | 1180296.0952
34 | 2587772.7321 | 1179914.2048 | 2587784.211 | 1179924.0623 | 2587788.9452 | 1179930.756 | 2587790.283 | 1179934.5579
35 | 2587489.0831 | 1180297.3973 | 2587490.7373 | 1180296.0952
36 | 2587753.1083 | 1179893.8162 | 2587747.0659 | 1179886.775 | 2587740.4267 | 1179879.4944
37 | 2587753.1083 | 1179893.8162 | 2587764.6455 | 1179907.2605
38 | 2587772.7321 | 1179914.2048 | 2587764.6455 | 1179907.2605 | 2587764.6455 | 1179907.2605
39 | 2587487.6985 | 1180298.4873 | 2587489.0831 | 1180297.3973
40 | 2588255.4632 | 1179864.3586 | 2588258.3534 | 1179865.4564 | 2588262.9497 | 1179868.3044 | 2588267.4479 | 1179871.7862 | 2588272.9532 | 1179878.5788 | 2588277.6493 | 1179885.6176 | 2588280.4176 | 1179891.1261 | 2588282.9837 | 1179898.7249 | 2588285.4673 | 1179907.091 | 2588286.9761 | 1179909.1335 | 2588289.9422 | 1179910.4061 | 2588297.7548 | 1179911.4823
41 | 2588188.7196 | 1179735.4834 | 2588195.9561 | 1179753.7448 | 2588199.1382 | 1179762.752
42 | 2588161.3713 | 1179666.4688 | 2588188.7196 | 1179735.4834

## bus_geodata
| x | y | coords
0 | 2588500.742 | 1179786.7324
1 | 2588504.8613 | 1179815.8334
2 | 2588514.6184 | 1179766.3615
3 | 2588523.622 | 1179777.7004
4 | 2588512.2135 | 1179755.127
5 | 2588530.9456 | 1179798.1642
6 | 2588523.1761 | 1179684.5921
7 | 2588498.622 | 1179745.8263
8 | 2588535.9513 | 1179844.1503
9 | 2588590.6191 | 1179714.0542
10 | 2588390.4153 | 1179679.1133
11 | 2588408.3724 | 1179664.5358
12 | 2588340.3799 | 1179641.1534
13 | 2588323.6312 | 1179620.5472
14 | 2588426.7221 | 1179455.595
15 | 2588293.2739 | 1179666.4525
16 | 2588433.5036 | 1179439.8664
17 | 2588401.6607 | 1179468.2057
18 | 2588249.9419 | 1179660.1124
19 | 2588440.237 | 1179416.8468
20 | 2588400.1153 | 1179434.7052
21 | 2588244.7324 | 1179845.1285
22 | 2588244.7878 | 1179861.6146
23 | 2588202.4467 | 1179772.1167
24 | 2588217.7883 | 1179660.3947
25 | 2588246.6767 | 1180521.5762
26 | 2588253.3648 | 1180495.8446
27 | 2588233.8996 | 1180129.7729
28 | 2588261.3502 | 1180091.355
29 | 2587520.7838 | 1180283.3748
30 | 2587505.5036 | 1180289.8438
31 | 2587790.283 | 1179934.5579
32 | 2587490.7373 | 1180296.0952
33 | 2587753.1083 | 1179893.8162
34 | 2587740.4267 | 1179879.4944
35 | 2587764.6455 | 1179907.2605
36 | 2587772.7321 | 1179914.2048
37 | 2587489.0831 | 1180297.3973
38 | 2587487.6985 | 1180298.4873
39 | 2588297.7548 | 1179911.4823
40 | 2588255.4632 | 1179864.3586
41 | 2588199.1382 | 1179762.752
42 | 2588188.7196 | 1179735.4834
43 | 2588161.3713 | 1179666.4688
44 | 2588244.7324 | 1179845.1285

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98428 | -0.11073 | 0.00080037 | 0.00020059
1 | 0.98426 | -0.11091 | 0.00059766 | 0.00014979
2 | 0.98434 | -0.11036 | 0 | 0
3 | 0.98425 | -0.11096 | 0.00082423 | 0.00020657
4 | 0.98443 | -0.10971 | 0 | 0
5 | 0.98415 | -0.11169 | 0.0014217 | 0.00035631
6 | 0.98427 | -0.11087 | 0 | 0
7 | 0.98459 | -0.10855 | 0.00056359 | 0.00014125
8 | 0.98403 | -0.11255 | 0.0017941 | 0.00044963
9 | 0.98411 | -0.11197 | 0.0013801 | 0.00034589
10 | 0.98595 | -0.098848 | 0 | 0
11 | 0.98586 | -0.099478 | 0.0025954 | 0.00065047
12 | 0.98686 | -0.092365 | 0.00035236 | 8.831e-05
13 | 0.98726 | -0.08954 | 0 | 0
14 | 0.98454 | -0.10884 | 0.0012159 | 0.00030475
15 | 0.98885 | -0.078264 | 0 | 0
16 | 0.98448 | -0.10928 | 0.001777 | 0.00044535
17 | 0.98426 | -0.11083 | 0.0015442 | 0.00038702
18 | 0.99011 | -0.069304 | 0.00088838 | 0.00022265
19 | 0.98445 | -0.10946 | 0.000736 | 0.00018446
20 | 0.98403 | -0.11249 | 0.0043685 | 0.0010949
21 | 1 | 0 | -0.037133 | -0.0091211
22 | 0.99986 | -0.00099448 | 0 | 0
23 | 0.99632 | -0.025705 | 0.0013388 | 0.00033553
24 | 0.99108 | -0.062452 | 0.00034779 | 8.7164e-05
25 | 0.99677 | -0.022916 | 0.0011683 | 0.0002928
26 | 0.99681 | -0.022604 | 0.00067255 | 0.00016856
27 | 0.99778 | -0.015757 | 0.0013756 | 0.00034475
28 | 0.99802 | -0.014058 | 0.0013557 | 0.00033977
29 | 0.98964 | -0.073127 | 0.00093863 | 0.00023524
30 | 0.98958 | -0.073553 | 0.001623 | 0.00040677
31 | 0.99184 | -0.05753 | 0.00010239 | 2.5662e-05
32 | 0.98956 | -0.073699 | 0.00026548 | 6.6535e-05
33 | 0.99167 | -0.058677 | 0.00016126 | 4.0417e-05
34 | 0.99167 | -0.058741 | 0.00032931 | 8.2532e-05
35 | 0.99169 | -0.058588 | 0.00034049 | 8.5335e-05
36 | 0.9917 | -0.058498 | 0.0026496 | 0.00066404
37 | 0.98956 | -0.073713 | 0.00024545 | 6.1515e-05
38 | 0.98956 | -0.073719 | 0.00038277 | 9.5931e-05
39 | 0.99921 | -0.0055648 | 0.0011148 | 0.00027941
40 | 0.99977 | -0.0016599 | 0.00028362 | 7.1082e-05
41 | 0.99601 | -0.027872 | 0.00020555 | 5.1516e-05
42 | 0.99511 | -0.034189 | 0.00017244 | 4.3217e-05
43 | 0.99283 | -0.050171 | 0 | 0
44 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.00059767 | 0.00014942 | -0.00059766 | -0.00014979 | 1.4971e-08 | -3.678e-07 | 0.00090341 | 0.00090355 | 0.00090355 | 0.98428 | -0.11073 | 0.98426 | -0.11091 | 0.33465
1 | -0.001398 | -0.00035001 | 0.0013981 | 0.00034971 | 7.1985e-08 | -3.0063e-07 | 0.0021134 | 0.0021133 | 0.0021134 | 0.98428 | -0.11073 | 0.98434 | -0.11036 | 0.78274
2 | 0.0040408 | 0.0010118 | -0.0040405 | -0.0010119 | 3.3709e-07 | -5.4382e-08 | 0.0061082 | 0.0061083 | 0.0061083 | 0.98434 | -0.11036 | 0.98425 | -0.11096 | 2.2623
3 | -0.005439 | -0.0013615 | 0.0054394 | 0.0013615 | 4.8462e-07 | 4.0323e-08 | 0.0082215 | 0.0082214 | 0.0082215 | 0.98434 | -0.11036 | 0.98443 | -0.10971 | 3.045
4 | 0.0032163 | 0.00080528 | -0.003216 | -0.00080543 | 3.2429e-07 | -1.5463e-07 | 0.0048622 | 0.0048623 | 0.0048623 | 0.98425 | -0.11096 | 0.98415 | -0.11169 | 1.8008
5 | 0.0013806 | 0.00034405 | -0.0013803 | -0.00034499 | 2.1884e-07 | -9.4008e-07 | 0.0020861 | 0.0020865 | 0.0020865 | 0.98443 | -0.10971 | 0.98427 | -0.11087 | 0.77276
6 | -0.00682 | -0.0017056 | 0.0068211 | 0.0017058 | 1.0918e-06 | 2.1052e-07 | 0.010308 | 0.010307 | 0.010308 | 0.98443 | -0.10971 | 0.98459 | -0.10855 | 3.8176
7 | 0.0017943 | 0.00044913 | -0.0017941 | -0.00044963 | 2.1244e-07 | -5.0604e-07 | 0.0027127 | 0.0027129 | 0.0027129 | 0.98415 | -0.11169 | 0.98403 | -0.11255 | 1.0048
8 | 0.0013803 | 0.00034499 | -0.0013801 | -0.00034589 | 2.0975e-07 | -9.0037e-07 | 0.0020865 | 0.0020868 | 0.0020868 | 0.98427 | -0.11087 | 0.98411 | -0.11197 | 0.77289
9 | -0.0073847 | -0.0018471 | 0.0073946 | 0.0018492 | 9.8859e-06 | 2.1819e-06 | 0.011159 | 0.011159 | 0.011159 | 0.98459 | -0.10855 | 0.98595 | -0.098848 | 4.133
10 | 0.0025956 | 0.00065025 | -0.0025954 | -0.00065047 | 2.2627e-07 | -2.143e-07 | 0.0039173 | 0.0039174 | 0.0039174 | 0.98595 | -0.098848 | 0.98586 | -0.099478 | 1.4509
11 | -0.0099902 | -0.0024995 | 0.0099991 | 0.0025021 | 8.9406e-06 | 2.634e-06 | 0.015076 | 0.015076 | 0.015076 | 0.98595 | -0.098848 | 0.98686 | -0.092365 | 5.5837
12 | -0.010351 | -0.0025904 | 0.010356 | 0.0025917 | 4.0378e-06 | 1.2134e-06 | 0.015607 | 0.015607 | 0.015607 | 0.98686 | -0.092365 | 0.98726 | -0.08954 | 5.7803
13 | 0.0096702 | 0.0024235 | -0.0096445 | -0.0024161 | 2.5788e-05 | 7.438e-06 | 0.014575 | 0.014576 | 0.014576 | 0.98726 | -0.08954 | 0.98454 | -0.10884 | 5.3985
14 | -0.020026 | -0.0050152 | 0.020057 | 0.0050265 | 3.1261e-05 | 1.1319e-05 | 0.030182 | 0.030182 | 0.030182 | 0.98726 | -0.08954 | 0.98885 | -0.078264 | 11.1785
15 | 0.0025131 | 0.00062935 | -0.002513 | -0.00062951 | 1.5435e-07 | -1.5867e-07 | 0.0037981 | 0.0037982 | 0.0037982 | 0.98454 | -0.10884 | 0.98448 | -0.10928 | 1.4067
16 | 0.0059154 | 0.001482 | -0.0059137 | -0.0014818 | 1.6323e-06 | 2.1173e-07 | 0.0089402 | 0.0089403 | 0.0089403 | 0.98454 | -0.10884 | 0.98426 | -0.11083 | 3.3112
17 | -0.020057 | -0.0050265 | 0.020082 | 0.0050355 | 2.4904e-05 | 9.0159e-06 | 0.030182 | 0.030182 | 0.030182 | 0.98885 | -0.078264 | 0.99011 | -0.069304 | 11.1784
18 | 0.00073601 | 0.00018416 | -0.000736 | -0.00018446 | 1.8541e-08 | -2.9817e-07 | 0.0011124 | 0.0011125 | 0.0011125 | 0.98448 | -0.10928 | 0.98445 | -0.10946 | 0.41203
19 | 0.0043695 | 0.0010948 | -0.0043685 | -0.0010949 | 1.0028e-06 | -8.2263e-08 | 0.0066058 | 0.0066059 | 0.0066059 | 0.98426 | -0.11083 | 0.98403 | -0.11249 | 2.4466
20 | -0.02097 | -0.0052582 | 0.02099 | 0.0052654 | 1.993e-05 | 7.2514e-06 | 0.031517 | 0.031516 | 0.031517 | 0.99011 | -0.069304 | 0.99108 | -0.062452 | 11.6728
21 | 0.0059829 | 0.0014916 | -0.005982 | -0.0014915 | 8.1523e-07 | 9.7191e-08 | 0.0088999 | 0.0088999 | 0.0088999 | 1 | 0 | 0.99986 | -0.00099448 | 3.2963
22 | 0.03035 | 0.0076294 | -0.030242 | -0.0075889 | 0.00010827 | 4.0531e-05 | 0.045169 | 0.04517 | 0.04517 | 1 | 0 | 0.99632 | -0.025705 | 16.7295
23 | 0.005982 | 0.0014915 | -0.0059815 | -0.0014915 | 5.4546e-07 | 6.5065e-08 | 0.0088999 | 0.0089 | 0.0089 | 0.99986 | -0.00099448 | 0.99977 | -0.0016599 | 3.2963
24 | 0.021826 | 0.0054872 | -0.021819 | -0.0054848 | 6.5877e-06 | 2.4044e-06 | 0.032603 | 0.032603 | 0.032603 | 0.99632 | -0.025705 | 0.99601 | -0.027872 | 12.0751
25 | 0.0070773 | 0.0017661 | -0.0070465 | -0.00176 | 3.0876e-05 | 6.132e-06 | 0.010567 | 0.010569 | 0.010569 | 0.99632 | -0.025705 | 0.99184 | -0.05753 | 3.9146
26 | -0.021338 | -0.0053526 | 0.021374 | 0.0053659 | 3.64e-05 | 1.3266e-05 | 0.032039 | 0.032038 | 0.032039 | 0.99108 | -0.062452 | 0.99283 | -0.050171 | 11.8662
27 | -0.0011683 | -0.0002928 | 0.0011683 | 0.00029248 | 5.046e-08 | -3.2715e-07 | 0.0017441 | 0.001744 | 0.0017441 | 0.99677 | -0.022916 | 0.99681 | -0.022604 | 0.64596
28 | -0.0018409 | -0.00046103 | 0.0018426 | 0.00045691 | 1.7263e-06 | -4.1194e-06 | 0.0027479 | 0.0027462 | 0.0027479 | 0.99681 | -0.022604 | 0.99778 | -0.015757 | 1.0177
29 | -0.0032182 | -0.00080167 | 0.003219 | 0.00080127 | 7.4731e-07 | -3.9233e-07 | 0.0047977 | 0.0047975 | 0.0047977 | 0.99778 | -0.015757 | 0.99802 | -0.014058 | 1.7769
30 | -0.0045747 | -0.001141 | 0.00458 | 0.0011407 | 5.3239e-06 | -3.5333e-07 | 0.0068188 | 0.006818 | 0.0068188 | 0.99802 | -0.014058 | 0.99921 | -0.0055648 | 2.5255
31 | 0.0025169 | 0.00063035 | -0.0025168 | -0.00063051 | 1.4828e-07 | -1.5616e-07 | 0.0037842 | 0.0037843 | 0.0037843 | 0.98964 | -0.073127 | 0.98958 | -0.073553 | 1.4016
32 | -0.0034555 | -0.00086559 | 0.003463 | 0.00086277 | 7.422e-06 | -2.8218e-06 | 0.0051955 | 0.0051935 | 0.0051955 | 0.98964 | -0.073127 | 0.99184 | -0.05753 | 1.9243
33 | 0.00089372 | 0.00022373 | -0.0008937 | -0.00022393 | 1.8069e-08 | -1.9906e-07 | 0.0013438 | 0.0013439 | 0.0013439 | 0.98958 | -0.073553 | 0.98956 | -0.073699 | 0.49772
34 | 0.0034811 | 0.00087155 | -0.0034806 | -0.00087172 | 4.6561e-07 | -1.7397e-07 | 0.0052223 | 0.0052224 | 0.0052224 | 0.99184 | -0.05753 | 0.9917 | -0.058498 | 1.9342
35 | 0.00062822 | 0.0001574 | -0.00062822 | -0.00015742 | 1.1722e-09 | -2.6593e-08 | 0.00094465 | 0.00094466 | 0.00094466 | 0.98956 | -0.073699 | 0.98956 | -0.073713 | 0.34987
36 | 0.00032931 | 8.2286e-05 | -0.00032931 | -8.2532e-05 | 2.9144e-09 | -2.4571e-07 | 0.00049404 | 0.00049413 | 0.00049413 | 0.99167 | -0.058677 | 0.99167 | -0.058741 | 0.18301
37 | -0.00049057 | -0.0001227 | 0.00049058 | 0.00012248 | 5.9881e-09 | -2.2627e-07 | 0.00073602 | 0.00073594 | 0.00073602 | 0.99167 | -0.058677 | 0.99169 | -0.058588 | 0.2726
38 | -0.00083107 | -0.00020781 | 0.00083108 | 0.00020768 | 1.034e-08 | -1.3355e-07 | 0.0012468 | 0.0012468 | 0.0012468 | 0.99169 | -0.058588 | 0.9917 | -0.058498 | 0.4618
39 | 0.00038277 | 9.5909e-05 | -0.00038277 | -9.5931e-05 | 3.6429e-10 | -2.2498e-08 | 0.00057557 | 0.00057558 | 0.00057558 | 0.98956 | -0.073713 | 0.98956 | -0.073719 | 0.21318
40 | -0.0056948 | -0.0014201 | 0.0056979 | 0.0014204 | 3.048e-06 | 2.8165e-07 | 0.0084782 | 0.0084779 | 0.0084782 | 0.99921 | -0.0055648 | 0.99977 | -0.0016599 | 3.1401
41 | 0.021613 | 0.0054333 | -0.021594 | -0.0054264 | 1.9002e-05 | 6.9288e-06 | 0.032296 | 0.032296 | 0.032296 | 0.99601 | -0.027872 | 0.99511 | -0.034189 | 11.9614
42 | 0.021422 | 0.0053832 | -0.021374 | -0.0053659 | 4.7548e-05 | 1.7326e-05 | 0.032038 | 0.032038 | 0.032038 | 0.99511 | -0.034189 | 0.99283 | -0.050171 | 11.8661

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.037133 | 0.0091211

## res_load
| p_mw | q_mvar
0 | 0.00080037 | 0.00020059
1 | 0.00059766 | 0.00014979
2 | 0.00082423 | 0.00020657
3 | 0.0014217 | 0.00035631
4 | 0.00056359 | 0.00014125
5 | 0.0017941 | 0.00044963
6 | 0.0013801 | 0.00034589
7 | 0.0025954 | 0.00065047
8 | 0.00035236 | 8.831e-05
9 | 0.0012159 | 0.00030475
10 | 0.001777 | 0.00044535
11 | 0.0015442 | 0.00038702
12 | 0.00088838 | 0.00022265
13 | 0.000736 | 0.00018446
14 | 0.0043685 | 0.0010949
15 | 0.0013388 | 0.00033553
16 | 0.00034779 | 8.7164e-05
17 | 0.0011683 | 0.0002928
18 | 0.00067255 | 0.00016856
19 | 0.0013756 | 0.00034475
20 | 0.0013557 | 0.00033977
21 | 0.00093863 | 0.00023524
22 | 0.001623 | 0.00040677
23 | 0.00010239 | 2.5662e-05
24 | 0.00026548 | 6.6535e-05
25 | 0.00016126 | 4.0417e-05
26 | 0.00032931 | 8.2532e-05
27 | 0.00034049 | 8.5335e-05
28 | 0.0026496 | 0.00066404
29 | 0.00024545 | 6.1515e-05
30 | 0.00038277 | 9.5931e-05
31 | 0.0011148 | 0.00027941
32 | 0.00028362 | 7.1082e-05
33 | 0.00020555 | 5.1516e-05
34 | 0.00017244 | 4.3217e-05

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1