## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2306-30_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2306-30_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2306-30_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2306-30_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2306-30_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2306-30_0_3_node_18 | 0.4 | n |  | TRUE
6 | bus_LV_2306-30_0_3_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_2306-30_0_3_node_26 | 0.4 | n |  | TRUE
8 | bus_LV_2306-30_0_3_node_17 | 0.4 | n |  | TRUE
9 | bus_LV_2306-30_0_3_node_23 | 0.4 | n |  | TRUE
10 | bus_LV_2306-30_0_3_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_2306-30_0_3_node_28 | 0.4 | n |  | TRUE
12 | bus_LV_2306-30_0_3_node_24 | 0.4 | n |  | TRUE
13 | bus_LV_2306-30_0_3_node_5 | 0.4 | n |  | TRUE
14 | bus_LV_2306-30_0_3_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_2306-30_0_3_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_2306-30_0_3_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_2306-30_0_3_node_35 | 0.4 | n |  | TRUE
18 | bus_LV_2306-30_0_3_node_37 | 0.4 | n |  | TRUE
19 | bus_LV_2306-30_0_3_node_22 | 0.4 | n |  | TRUE
20 | bus_LV_2306-30_0_3_node_21 | 0.4 | n |  | TRUE
21 | bus_LV_2306-30_0_3_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_2306-30_0_3_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_2306-30_0_3_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_2306-30_0_3_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_2306-30_0_3_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_2306-30_0_3_node_29 | 0.4 | n |  | TRUE
27 | bus_LV_2306-30_0_3_node_32 | 0.4 | n |  | TRUE
28 | bus_LV_2306-30_0_3_node_30 | 0.4 | n |  | TRUE
29 | bus_LV_2306-30_0_3_node_36 | 0.4 | n |  | TRUE
30 | bus_LV_2306-30_0_3_node_31 | 0.4 | n |  | TRUE
31 | bus_LV_2306-30_0_3_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_2306-30_0_3_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_2306-30_0_3_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_2306-30_0_3_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_2306-30_0_3_node_34 | 0.4 | n |  | TRUE
36 | bus_LV_2306-30_0_3_node_33 | 0.4 | n |  | TRUE
37 | bus_MV_119_1_node_223 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2306-30_0_3_load_0 | 0 | 0.03136 | 0.0078594 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2306-30_0_3_load_1 | 1 | 0.0096226 | 0.0024117 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2306-30_0_3_load_2 | 2 | 0.019316 | 0.0048411 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2306-30_0_3_load_3 | 3 | 0.0082262 | 0.0020617 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2306-30_0_3_load_18 | 5 | 0.0021083 | 0.00052838 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2306-30_0_3_load_17 | 8 | 0.0010755 | 0.00026953 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2306-30_0_3_load_23 | 9 | 0.015371 | 0.0038523 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2306-30_0_3_load_28 | 11 | 0.00042538 | 0.00010661 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2306-30_0_3_load_24 | 12 | 0.0034225 | 0.00085776 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2306-30_0_3_load_5 | 13 | 0.0078802 | 0.001975 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2306-30_0_3_load_6 | 14 | 0.017572 | 0.004404 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2306-30_0_3_load_35 | 17 | 0.0059182 | 0.0014832 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2306-30_0_3_load_37 | 18 | 0.0046777 | 0.0011723 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2306-30_0_3_load_22 | 19 | 0.0029639 | 0.00074282 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2306-30_0_3_load_21 | 20 | 0.0023255 | 0.00058283 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2306-30_0_3_load_12 | 21 | 0.0027147 | 0.00068036 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2306-30_0_3_load_13 | 22 | 0.0035772 | 0.00089652 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2306-30_0_3_load_14 | 23 | 0.0037578 | 0.00094179 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2306-30_0_3_load_29 | 26 | 0.0096295 | 0.0024134 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2306-30_0_3_load_32 | 27 | 0.0052821 | 0.0013238 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2306-30_0_3_load_30 | 28 | 0.0030581 | 0.00076642 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2306-30_0_3_load_36 | 29 | 0.0032995 | 0.00082693 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2306-30_0_3_load_19 | 31 | 0.0023941 | 0.00060001 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2306-30_0_3_load_20 | 32 | 0.0025803 | 0.00064669 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2306-30_0_3_load_25 | 33 | 0.00079805 | 0.00020001 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2306-30_0_3_load_27 | 34 | 0.0062823 | 0.0015745 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2306-30_0_3_load_34 | 35 | 0.0012995 | 0.00032569 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2306-30_0_3_load_33 | 36 | 0.0066237 | 0.0016601 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 4 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2306-30_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.022089 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2306-30_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.00083947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2306-30_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.011582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2306-30_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.028219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2306-30_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.019399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2306-30_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.008949 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2306-30_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.023263 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2306-30_0_3_line_7 | NAYY 4x150 SE | 5 | 8 | 0.010487 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2306-30_0_3_line_8 | NAYY 4x150 SE | 6 | 9 | 0.010275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2306-30_0_3_line_9 | NAYY 4x150 SE | 6 | 10 | 0.05426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2306-30_0_3_line_10 | NAYY 4x150 SE | 7 | 11 | 0.016861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2306-30_0_3_line_11 | NAYY 4x150 SE | 7 | 12 | 0.064755 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2306-30_0_3_line_12 | NAYY 4x150 SE | 8 | 31 | 0.0088445 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2306-30_0_3_line_13 | NAYY 4x150 SE | 9 | 20 | 0.018186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2306-30_0_3_line_14 | NAYY 4x150 SE | 10 | 17 | 0.006312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2306-30_0_3_line_15 | NAYY 4x150 SE | 10 | 14 | 0.01214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2306-30_0_3_line_16 | NAYY 4x150 SE | 11 | 35 | 0.033538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2306-30_0_3_line_17 | NAYY 4x150 SE | 12 | 33 | 0.0087773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2306-30_0_3_line_18 | NAYY 4x150 SE | 13 | 14 | 0.041772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2306-30_0_3_line_19 | NAYY 4x150 SE | 13 | 15 | 0.016237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2306-30_0_3_line_20 | NAYY 4x150 SE | 15 | 16 | 0.024518 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2306-30_0_3_line_21 | NAYY 4x150 SE | 16 | 18 | 0.028016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2306-30_0_3_line_22 | NAYY 4x150 SE | 19 | 20 | 0.019494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2306-30_0_3_line_23 | NAYY 4x150 SE | 21 | 22 | 0.019814 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2306-30_0_3_line_24 | NAYY 4x150 SE | 21 | 23 | 0.0075354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2306-30_0_3_line_25 | NAYY 4x150 SE | 22 | 24 | 0.012603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2306-30_0_3_line_26 | NAYY 4x150 SE | 23 | 25 | 0.014871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2306-30_0_3_line_27 | NAYY 4x150 SE | 24 | 26 | 0.031466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2306-30_0_3_line_28 | NAYY 4x150 SE | 25 | 27 | 0.016077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2306-30_0_3_line_29 | NAYY 4x150 SE | 25 | 28 | 0.0046437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2306-30_0_3_line_30 | NAYY 4x150 SE | 27 | 29 | 0.024997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2306-30_0_3_line_31 | NAYY 4x150 SE | 28 | 30 | 0.0098424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2306-30_0_3_line_32 | NAYY 4x150 SE | 30 | 36 | 0.031927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2306-30_0_3_line_33 | NAYY 4x150 SE | 30 | 35 | 0.034609 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2306-30_0_3_line_34 | NAYY 4x150 SE | 31 | 32 | 0.0053146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2306-30_0_3_line_35 | NAYY 4x150 SE | 33 | 34 | 0.039293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2306-30_0_3_trafo_4 | 0.25 MVA 20/0.4 kV | 37 | 4 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2583270.1321 | 1185051.9033 | 2583269.709 | 1185057.1848 | 2583270.5502 | 1185065.9537 | 2583272.8446 | 1185073.598
1 | 2583270.1321 | 1185051.9033 | 2583270.1991 | 1185051.0665
2 | 2583272.8446 | 1185073.598 | 2583274.3174 | 1185078.5052 | 2583275.0948 | 1185084.9169
3 | 2583275.6357 | 1185023.4173 | 2583270.6086 | 1185045.9542 | 2583270.1991 | 1185051.0665
4 | 2583275.0948 | 1185084.9169 | 2583277.4299 | 1185104.175
5 | 2583275.6357 | 1185023.4173 | 2583267.2849 | 1185020.139
6 | 2583275.6357 | 1185023.4173 | 2583297.4853 | 1185031.5714
7 | 2583278.6922 | 1185114.5854 | 2583277.4299 | 1185104.175
8 | 2583267.2849 | 1185020.139 | 2583265.8826 | 1185009.9599
9 | 2583237.9164 | 1185041.2992 | 2583242.9802 | 1185012.8591 | 2583250.8777 | 1185015.1047 | 2583267.2849 | 1185020.139
10 | 2583297.4853 | 1185031.5714 | 2583303.6355 | 1185015.8725
11 | 2583297.4853 | 1185031.5714 | 2583343.9419 | 1185051.4406 | 2583356.9203 | 1185057.2715
12 | 2583279.7297 | 1185123.3688 | 2583279.3018 | 1185119.6125 | 2583278.6922 | 1185114.5854
13 | 2583265.8826 | 1185009.9599 | 2583265.8826 | 1185009.9599 | 2583256.1357 | 1184994.607
14 | 2583237.9164 | 1185041.2992 | 2583236.8107 | 1185047.5136
15 | 2583237.9164 | 1185041.2992 | 2583225.9769 | 1185039.1039
16 | 2583303.6355 | 1185015.8725 | 2583315.869 | 1184984.6452
17 | 2583364.9267 | 1185060.8686 | 2583356.9203 | 1185057.2715
18 | 2583188.7992 | 1185023.252 | 2583196.375 | 1185027.131 | 2583204.6574 | 1185027.808 | 2583210.3137 | 1185030.9159 | 2583216.8953 | 1185037.4341 | 2583225.9769 | 1185039.1039
19 | 2583174.2953 | 1185015.9542 | 2583178.5826 | 1185018.0209 | 2583188.7992 | 1185023.252
20 | 2583150.0604 | 1185011.8093 | 2583174.2953 | 1185015.9542
21 | 2583150.0604 | 1185011.8093 | 2583144.4294 | 1185039.2506
22 | 2583240.2144 | 1184983.4011 | 2583255.9632 | 1184994.3352 | 2583256.1357 | 1184994.607
23 | 2583337.5939 | 1184917.5485 | 2583345.8129 | 1184899.5192
24 | 2583334.4683 | 1184924.4051 | 2583337.5939 | 1184917.5485
25 | 2583353.2203 | 1184889.6417 | 2583348.2569 | 1184894.1579 | 2583345.8129 | 1184899.5192
26 | 2583328.2998 | 1184937.9365 | 2583334.4683 | 1184924.4051
27 | 2583353.2203 | 1184889.6417 | 2583360.5448 | 1184888.8653 | 2583384.6233 | 1184887.8426
28 | 2583328.2998 | 1184937.9365 | 2583313.555 | 1184931.5292
29 | 2583328.2998 | 1184937.9365 | 2583328.3617 | 1184942.5797
30 | 2583290.6288 | 1184921.5668 | 2583313.555 | 1184931.5292
31 | 2583328.493 | 1184952.4212 | 2583328.3617 | 1184942.5797
32 | 2583328.493 | 1184952.4212 | 2583357.8198 | 1184965.2348
33 | 2583328.493 | 1184952.4212 | 2583315.869 | 1184984.6452
34 | 2583279.7297 | 1185123.3688 | 2583280.3313 | 1185128.6492
35 | 2583364.9267 | 1185060.8686 | 2583387.7877 | 1185071.1396 | 2583400.778 | 1185076.9506

## bus_geodata
| x | y | coords
0 | 2583270.1321 | 1185051.9033
1 | 2583272.8446 | 1185073.598
2 | 2583270.1991 | 1185051.0665
3 | 2583275.0948 | 1185084.9169
4 | 2583275.6357 | 1185023.4173
5 | 2583277.4299 | 1185104.175
6 | 2583267.2849 | 1185020.139
7 | 2583297.4853 | 1185031.5714
8 | 2583278.6922 | 1185114.5854
9 | 2583265.8826 | 1185009.9599
10 | 2583237.9164 | 1185041.2992
11 | 2583303.6355 | 1185015.8725
12 | 2583356.9203 | 1185057.2715
13 | 2583188.7992 | 1185023.252
14 | 2583225.9769 | 1185039.1039
15 | 2583174.2953 | 1185015.9542
16 | 2583150.0604 | 1185011.8093
17 | 2583236.8107 | 1185047.5136
18 | 2583144.4294 | 1185039.2506
19 | 2583240.2144 | 1184983.4011
20 | 2583256.1357 | 1184994.607
21 | 2583337.5939 | 1184917.5485
22 | 2583345.8129 | 1184899.5192
23 | 2583334.4683 | 1184924.4051
24 | 2583353.2203 | 1184889.6417
25 | 2583328.2998 | 1184937.9365
26 | 2583384.6233 | 1184887.8426
27 | 2583313.555 | 1184931.5292
28 | 2583328.3617 | 1184942.5797
29 | 2583290.6288 | 1184921.5668
30 | 2583328.493 | 1184952.4212
31 | 2583279.7297 | 1185123.3688
32 | 2583280.3313 | 1185128.6492
33 | 2583364.9267 | 1185060.8686
34 | 2583400.778 | 1185076.9506
35 | 2583315.869 | 1184984.6452
36 | 2583357.8198 | 1184965.2348
37 | 2583267.2849 | 1185020.139

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99684 | -0.02215 | 0.03136 | 0.0078594
1 | 0.99601 | -0.027926 | 0.0096226 | 0.0024117
2 | 0.9969 | -0.021666 | 0.019316 | 0.0048411
3 | 0.99574 | -0.029836 | 0.0082262 | 0.0020617
4 | 1 | 0 | -0.18511 | -0.046285
5 | 0.99552 | -0.03143 | 0.0021083 | 0.00052838
6 | 0.99927 | -0.0050706 | 0 | 0
7 | 0.99833 | -0.011676 | 0 | 0
8 | 0.99542 | -0.032069 | 0.0010755 | 0.00026953
9 | 0.99897 | -0.0071935 | 0.015371 | 0.0038523
10 | 0.99647 | -0.024683 | 0 | 0
11 | 0.99737 | -0.018384 | 0.00042538 | 0.00010661
12 | 0.99735 | -0.018499 | 0.0034225 | 0.00085776
13 | 0.9952 | -0.033649 | 0.0078802 | 0.001975
14 | 0.99595 | -0.028363 | 0.017572 | 0.004404
15 | 0.99509 | -0.034415 | 0 | 0
16 | 0.99493 | -0.035572 | 0 | 0
17 | 0.99642 | -0.025059 | 0.0059182 | 0.0014832
18 | 0.99474 | -0.036894 | 0.0046777 | 0.0011723
19 | 0.99875 | -0.0087343 | 0.0029639 | 0.00074282
20 | 0.99883 | -0.0081561 | 0.0023255 | 0.00058283
21 | 0.99236 | -0.053506 | 0.0027147 | 0.00068036
22 | 0.99199 | -0.05616 | 0.0035772 | 0.00089652
23 | 0.99254 | -0.05229 | 0.0037578 | 0.00094179
24 | 0.99181 | -0.057392 | 0 | 0
25 | 0.99296 | -0.049325 | 0 | 0
26 | 0.99138 | -0.060468 | 0.0096295 | 0.0024134
27 | 0.99276 | -0.050723 | 0.0052821 | 0.0013238
28 | 0.99315 | -0.047997 | 0.0030581 | 0.00076642
29 | 0.99264 | -0.051558 | 0.0032995 | 0.00082693
30 | 0.99359 | -0.044878 | 0 | 0
31 | 0.99536 | -0.032513 | 0.0023941 | 0.00060001
32 | 0.99534 | -0.032651 | 0.0025803 | 0.00064669
33 | 0.99726 | -0.019123 | 0.00079805 | 0.00020001
34 | 0.99691 | -0.021601 | 0.0062823 | 0.0015745
35 | 0.99547 | -0.031621 | 0.0012995 | 0.00032569
36 | 0.99329 | -0.047017 | 0.0066237 | 0.0016601
37 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.026035 | 0.0065276 | -0.026014 | -0.0065199 | 2.0819e-05 | 7.7195e-06 | 0.038864 | 0.038864 | 0.038864 | 0.99684 | -0.02215 | 0.99601 | -0.027926 | 14.3941
1 | -0.057394 | -0.014387 | 0.057398 | 0.014389 | 3.8451e-06 | 1.4679e-06 | 0.085676 | 0.085676 | 0.085676 | 0.99684 | -0.02215 | 0.9969 | -0.021666 | 31.7317
2 | 0.016391 | 0.0041083 | -0.016387 | -0.0041068 | 4.334e-06 | 1.5162e-06 | 0.024488 | 0.024488 | 0.024488 | 0.99601 | -0.027926 | 0.99574 | -0.029836 | 9.0697
3 | -0.076714 | -0.01923 | 0.076945 | 0.019318 | 0.00023089 | 8.8434e-05 | 0.11451 | 0.11451 | 0.11451 | 0.9969 | -0.021666 | 1 | 0 | 42.4102
4 | 0.0081608 | 0.0020451 | -0.008159 | -0.0020446 | 1.8003e-06 | 4.4015e-07 | 0.012195 | 0.012195 | 0.012195 | 0.99574 | -0.029836 | 0.99552 | -0.03143 | 4.5168
5 | 0.056881 | 0.014276 | -0.056841 | -0.01426 | 4.0011e-05 | 1.5271e-05 | 0.084646 | 0.084646 | 0.084646 | 1 | 0 | 0.99927 | -0.0050706 | 31.3505
6 | 0.050488 | 0.012691 | -0.050407 | -0.01266 | 8.196e-05 | 3.1219e-05 | 0.075141 | 0.075141 | 0.075141 | 1 | 0 | 0.99833 | -0.011676 | 27.83
7 | 0.0060507 | 0.0015163 | -0.0060502 | -0.0015162 | 5.3525e-07 | 6.953e-08 | 0.0090441 | 0.0090441 | 0.0090441 | 0.99552 | -0.03143 | 0.99542 | -0.032069 | 3.3497
8 | 0.020667 | 0.00518 | -0.020661 | -0.0051778 | 6.0729e-06 | 2.2012e-06 | 0.030776 | 0.030776 | 0.030776 | 0.99927 | -0.0050706 | 0.99897 | -0.0071935 | 11.3985
9 | 0.036173 | 0.0090803 | -0.036075 | -0.0090432 | 9.8259e-05 | 3.7083e-05 | 0.053871 | 0.053871 | 0.053871 | 0.99927 | -0.0050706 | 0.99647 | -0.024683 | 19.9522
10 | 0.039891 | 0.010024 | -0.039854 | -0.01001 | 3.7206e-05 | 1.409e-05 | 0.059467 | 0.059467 | 0.059467 | 0.99833 | -0.011676 | 0.99737 | -0.018384 | 22.025
11 | 0.010516 | 0.0026357 | -0.010506 | -0.0026327 | 9.9267e-06 | 2.9721e-06 | 0.015674 | 0.015674 | 0.015674 | 0.99833 | -0.011676 | 0.99735 | -0.018499 | 5.8051
12 | 0.0049748 | 0.0012467 | -0.0049745 | -0.0012467 | 3.0521e-07 | 2.4212e-09 | 0.0074365 | 0.0074365 | 0.0074365 | 0.99542 | -0.032069 | 0.99536 | -0.032513 | 2.7543
13 | 0.0052904 | 0.0013255 | -0.0052896 | -0.0013255 | 7.0466e-07 | 3.2965e-08 | 0.0078801 | 0.0078802 | 0.0078802 | 0.99897 | -0.0071935 | 0.99883 | -0.0081561 | 2.9186
14 | 0.0059185 | 0.0014833 | -0.0059182 | -0.0014832 | 3.0765e-07 | 3.6106e-08 | 0.008838 | 0.008838 | 0.008838 | 0.99647 | -0.024683 | 0.99642 | -0.025059 | 3.2733
15 | 0.030157 | 0.0075599 | -0.030141 | -0.0075542 | 1.5362e-05 | 5.7504e-06 | 0.045033 | 0.045033 | 0.045033 | 0.99647 | -0.024683 | 0.99595 | -0.028363 | 16.6789
16 | 0.039428 | 0.0099035 | -0.039356 | -0.0098761 | 7.2438e-05 | 2.7424e-05 | 0.058833 | 0.058833 | 0.058833 | 0.99737 | -0.018384 | 0.99547 | -0.031621 | 21.79
17 | 0.0070831 | 0.0017749 | -0.0070825 | -0.0017748 | 6.1165e-07 | 1.2072e-07 | 0.010568 | 0.010568 | 0.010568 | 0.99735 | -0.018499 | 0.99726 | -0.019123 | 3.9139
18 | -0.01256 | -0.0031472 | 0.012569 | 0.0031502 | 9.1923e-06 | 2.9923e-06 | 0.018779 | 0.018779 | 0.018779 | 0.9952 | -0.033649 | 0.99595 | -0.028363 | 6.9553
19 | 0.0046798 | 0.0011722 | -0.0046793 | -0.0011723 | 4.9605e-07 | -2.0172e-08 | 0.0069969 | 0.006997 | 0.006997 | 0.9952 | -0.033649 | 0.99509 | -0.034415 | 2.5915
20 | 0.0046793 | 0.0011723 | -0.0046785 | -0.0011723 | 7.4904e-07 | -3.0365e-08 | 0.006997 | 0.0069971 | 0.0069971 | 0.99509 | -0.034415 | 0.99493 | -0.035572 | 2.5915
21 | 0.0046785 | 0.0011723 | -0.0046777 | -0.0011723 | 8.5593e-07 | -3.4557e-08 | 0.0069971 | 0.0069973 | 0.0069973 | 0.99493 | -0.035572 | 0.99474 | -0.036894 | 2.5916
22 | -0.0029639 | -0.00074282 | 0.0029641 | 0.00074265 | 2.3719e-07 | -1.6391e-07 | 0.0044158 | 0.0044157 | 0.0044158 | 0.99875 | -0.0087343 | 0.99883 | -0.0081561 | 1.6355
23 | 0.013217 | 0.0033132 | -0.013212 | -0.0033115 | 4.8566e-06 | 1.612e-06 | 0.019819 | 0.019819 | 0.019819 | 0.99236 | -0.053506 | 0.99199 | -0.05616 | 7.3404
24 | -0.015932 | -0.0039935 | 0.015935 | 0.0039945 | 2.6836e-06 | 9.3477e-07 | 0.02389 | 0.02389 | 0.02389 | 0.99236 | -0.053506 | 0.99254 | -0.05229 | 8.848
25 | 0.0096353 | 0.002415 | -0.0096336 | -0.0024146 | 1.6428e-06 | 4.6917e-07 | 0.014453 | 0.014453 | 0.014453 | 0.99199 | -0.05616 | 0.99181 | -0.057392 | 5.3531
26 | -0.019692 | -0.0049362 | 0.019701 | 0.0049392 | 8.0883e-06 | 2.9186e-06 | 0.029523 | 0.029523 | 0.029523 | 0.99254 | -0.05229 | 0.99296 | -0.049325 | 10.9346
27 | 0.0096336 | 0.0024146 | -0.0096295 | -0.0024134 | 4.1017e-06 | 1.1717e-06 | 0.014453 | 0.014454 | 0.014454 | 0.99181 | -0.057392 | 0.99138 | -0.060468 | 5.3532
28 | 0.0085836 | 0.002151 | -0.0085819 | -0.0021506 | 1.6599e-06 | 4.3049e-07 | 0.012863 | 0.012863 | 0.012863 | 0.99296 | -0.049325 | 0.99276 | -0.050723 | 4.7641
29 | -0.028284 | -0.0070902 | 0.028289 | 0.0070921 | 5.2059e-06 | 1.9422e-06 | 0.042386 | 0.042386 | 0.042386 | 0.99296 | -0.049325 | 0.99315 | -0.047997 | 15.6986
30 | 0.0032999 | 0.00082675 | -0.0032995 | -0.00082693 | 3.8158e-07 | -1.7641e-07 | 0.004946 | 0.0049461 | 0.0049461 | 0.99276 | -0.050723 | 0.99264 | -0.051558 | 1.8319
31 | -0.031347 | -0.0078585 | 0.031361 | 0.0078636 | 1.3548e-05 | 5.0835e-06 | 0.046968 | 0.046968 | 0.046968 | 0.99315 | -0.047997 | 0.99359 | -0.044878 | 17.3956
32 | 0.0066256 | 0.0016604 | -0.0066237 | -0.00166 | 1.9616e-06 | 3.4107e-07 | 0.0099226 | 0.0099228 | 0.0099228 | 0.99359 | -0.044878 | 0.99329 | -0.047017 | 3.6751
33 | -0.037987 | -0.009524 | 0.038056 | 0.0095504 | 6.9895e-05 | 2.6434e-05 | 0.056891 | 0.05689 | 0.056891 | 0.99359 | -0.044878 | 0.99547 | -0.031621 | 21.0706
34 | 0.0025804 | 0.00064664 | -0.0025803 | -0.00064669 | 4.9348e-08 | -5.0097e-08 | 0.0038575 | 0.0038575 | 0.0038575 | 0.99536 | -0.032513 | 0.99534 | -0.032651 | 1.4287
35 | 0.0062844 | 0.0015748 | -0.0062823 | -0.0015745 | 2.1559e-06 | 3.1669e-07 | 0.0093769 | 0.0093771 | 0.0093771 | 0.99726 | -0.019123 | 0.99691 | -0.021601 | 3.473

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -4.4415e-16 | -7.6913e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.564e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.18511 | 0.046285

## res_load
| p_mw | q_mvar
0 | 0.03136 | 0.0078594
1 | 0.0096226 | 0.0024117
2 | 0.019316 | 0.0048411
3 | 0.0082262 | 0.0020617
4 | 0.0021083 | 0.00052838
5 | 0.0010755 | 0.00026953
6 | 0.015371 | 0.0038523
7 | 0.00042538 | 0.00010661
8 | 0.0034225 | 0.00085776
9 | 0.0078802 | 0.001975
10 | 0.017572 | 0.004404
11 | 0.0059182 | 0.0014832
12 | 0.0046777 | 0.0011723
13 | 0.0029639 | 0.00074282
14 | 0.0023255 | 0.00058283
15 | 0.0027147 | 0.00068036
16 | 0.0035772 | 0.00089652
17 | 0.0037578 | 0.00094179
18 | 0.0096295 | 0.0024134
19 | 0.0052821 | 0.0013238
20 | 0.0030581 | 0.00076642
21 | 0.0032995 | 0.00082693
22 | 0.0023941 | 0.00060001
23 | 0.0025803 | 0.00064669
24 | 0.00079805 | 0.00020001
25 | 0.0062823 | 0.0015745
26 | 0.0012995 | 0.00032569
27 | 0.0066237 | 0.0016601

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1