## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2306-31_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2306-31_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2306-31_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2306-31_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2306-31_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2306-31_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2306-31_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_2306-31_0_3_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_2306-31_0_3_node_12 | 0.4 | n |  | TRUE
9 | bus_LV_2306-31_0_3_node_33 | 0.4 | n |  | TRUE
10 | bus_LV_2306-31_0_3_node_26 | 0.4 | n |  | TRUE
11 | bus_LV_2306-31_0_3_node_35 | 0.4 | n |  | TRUE
12 | bus_LV_2306-31_0_3_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_2306-31_0_3_node_34 | 0.4 | n |  | TRUE
14 | bus_LV_2306-31_0_3_node_25 | 0.4 | n |  | TRUE
15 | bus_LV_2306-31_0_3_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_2306-31_0_3_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_2306-31_0_3_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_2306-31_0_3_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_2306-31_0_3_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_2306-31_0_3_node_21 | 0.4 | n |  | TRUE
21 | bus_LV_2306-31_0_3_node_23 | 0.4 | n |  | TRUE
22 | bus_LV_2306-31_0_3_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_2306-31_0_3_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_2306-31_0_3_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_2306-31_0_3_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_2306-31_0_3_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_2306-31_0_3_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_2306-31_0_3_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_2306-31_0_3_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_2306-31_0_3_node_27 | 0.4 | n |  | TRUE
31 | bus_LV_2306-31_0_3_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_2306-31_0_3_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_2306-31_0_3_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_2306-31_0_3_node_31 | 0.4 | n |  | TRUE
35 | bus_LV_2306-31_0_3_node_32 | 0.4 | n |  | TRUE
36 | bus_LV_2306-31_0_3_node_36 | 0.4 | n |  | TRUE
37 | bus_LV_2306-31_0_3_node_39 | 0.4 | n |  | TRUE
38 | bus_LV_2306-31_0_3_node_37 | 0.4 | n |  | TRUE
39 | bus_LV_2306-31_0_3_node_38 | 0.4 | n |  | TRUE
40 | bus_MV_119_1_node_156 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2306-31_0_3_load_0 | 0 | 0.0031045 | 0.00077806 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2306-31_0_3_load_1 | 1 | 0.0013934 | 0.00034922 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2306-31_0_3_load_2 | 2 | 0.0031983 | 0.00080157 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2306-31_0_3_load_3 | 3 | 0.0026872 | 0.00067347 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2306-31_0_3_load_5 | 5 | 0.0037503 | 0.00093991 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2306-31_0_3_load_7 | 7 | 0.0026152 | 0.00065542 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2306-31_0_3_load_12 | 8 | 0.0035169 | 0.00088142 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2306-31_0_3_load_33 | 9 | 0.0013586 | 0.00034051 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2306-31_0_3_load_26 | 10 | 0.0080082 | 0.002007 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2306-31_0_3_load_35 | 11 | 0.0018003 | 0.00045119 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2306-31_0_3_load_34 | 13 | 0.0021864 | 0.00054795 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2306-31_0_3_load_25 | 14 | 0.0023086 | 0.00057859 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2306-31_0_3_load_8 | 15 | 0.015534 | 0.0038933 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2306-31_0_3_load_9 | 16 | 0.0019985 | 0.00050087 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2306-31_0_3_load_13 | 17 | 0.0044812 | 0.0011231 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2306-31_0_3_load_11 | 18 | 0.0037475 | 0.00093921 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2306-31_0_3_load_14 | 19 | 0.0068289 | 0.0017115 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2306-31_0_3_load_23 | 21 | 0.0070958 | 0.0017784 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2306-31_0_3_load_15 | 23 | 0.0015514 | 0.00038883 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2306-31_0_3_load_16 | 24 | 0.005043 | 0.0012639 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2306-31_0_3_load_18 | 26 | 0.001913 | 0.00047943 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2306-31_0_3_load_20 | 27 | 0.0072948 | 0.0018283 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2306-31_0_3_load_22 | 28 | 0.0072944 | 0.0018282 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2306-31_0_3_load_24 | 29 | 0.0089194 | 0.0022354 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2306-31_0_3_load_27 | 30 | 0.0018392 | 0.00046096 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2306-31_0_3_load_29 | 32 | 0.0052294 | 0.0013106 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2306-31_0_3_load_30 | 33 | 0.0064267 | 0.0016107 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2306-31_0_3_load_31 | 34 | 0.0018065 | 0.00045275 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2306-31_0_3_load_36 | 36 | 0.002517 | 0.00063083 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2306-31_0_3_load_39 | 37 | 0.04703 | 0.011787 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2306-31_0_3_load_37 | 38 | 0.0041088 | 0.0010298 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2306-31_0_3_load_38 | 39 | 0.0027916 | 0.00069963 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 10 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2306-31_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.02372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2306-31_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0055212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2306-31_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.00036892 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2306-31_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.019507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2306-31_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.015859 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2306-31_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.050594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2306-31_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.0072505 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2306-31_0_3_line_7 | NAYY 4x150 SE | 5 | 8 | 0.013505 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2306-31_0_3_line_8 | NAYY 4x150 SE | 6 | 9 | 0.0073296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2306-31_0_3_line_9 | NAYY 4x150 SE | 6 | 10 | 0.016237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
10 | LV_2306-31_0_3_line_10 | NAYY 4x150 SE | 7 | 11 | 0.013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2306-31_0_3_line_11 | NAYY 4x150 SE | 8 | 12 | 0.04922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2306-31_0_3_line_12 | NAYY 4x150 SE | 9 | 13 | 0.014565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2306-31_0_3_line_13 | NAYY 4x150 SE | 10 | 14 | 0.0029923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2306-31_0_3_line_14 | NAYY 4x150 SE | 12 | 17 | 0.018103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2306-31_0_3_line_15 | NAYY 4x150 SE | 12 | 15 | 0.055327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2306-31_0_3_line_16 | NAYY 4x150 SE | 13 | 39 | 0.0027987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2306-31_0_3_line_17 | NAYY 4x150 SE | 14 | 29 | 0.031826 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2306-31_0_3_line_18 | NAYY 4x150 SE | 15 | 16 | 0.002197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2306-31_0_3_line_19 | NAYY 4x150 SE | 18 | 19 | 0.058578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2306-31_0_3_line_20 | NAYY 4x150 SE | 19 | 20 | 0.036109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2306-31_0_3_line_21 | NAYY 4x150 SE | 20 | 21 | 0.015987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2306-31_0_3_line_22 | NAYY 4x150 SE | 20 | 22 | 0.093468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2306-31_0_3_line_23 | NAYY 4x150 SE | 21 | 29 | 1.883e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2306-31_0_3_line_24 | NAYY 4x150 SE | 22 | 27 | 0.035012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2306-31_0_3_line_25 | NAYY 4x150 SE | 22 | 26 | 0.011974 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2306-31_0_3_line_26 | NAYY 4x150 SE | 23 | 24 | 0.063528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2306-31_0_3_line_27 | NAYY 4x150 SE | 23 | 25 | 0.028253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2306-31_0_3_line_28 | NAYY 4x150 SE | 25 | 26 | 0.050365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2306-31_0_3_line_29 | NAYY 4x150 SE | 27 | 28 | 0.021249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2306-31_0_3_line_30 | NAYY 4x150 SE | 30 | 31 | 0.019891 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2306-31_0_3_line_31 | NAYY 4x150 SE | 31 | 32 | 0.11808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2306-31_0_3_line_32 | NAYY 4x150 SE | 31 | 33 | 0.013308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2306-31_0_3_line_33 | NAYY 4x150 SE | 32 | 34 | 0.0057119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2306-31_0_3_line_34 | NAYY 4x150 SE | 33 | 35 | 0.073304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2306-31_0_3_line_35 | NAYY 4x150 SE | 34 | 36 | 0.029284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2306-31_0_3_line_36 | NAYY 4x150 SE | 35 | 37 | 0.026342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2306-31_0_3_line_37 | NAYY 4x150 SE | 36 | 38 | 0.0036069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2306-31_0_3_line_38 | NAYY 4x150 SE | 38 | 39 | 0.024926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2306-31_0_3_trafo_26 | 0.25 MVA 20/0.4 kV | 40 | 10 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2583356.2355 | 1184743.1813 | 2583376.9201 | 1184751.0814 | 2583378.4714 | 1184751.3697
1 | 2583356.2355 | 1184743.1813 | 2583351.0778 | 1184741.2114
2 | 2583378.8341 | 1184751.4371 | 2583378.4714 | 1184751.3697
3 | 2583332.5714 | 1184735.2526 | 2583338.3444 | 1184736.3481 | 2583351.0778 | 1184741.2114
4 | 2583378.8341 | 1184751.4371 | 2583385.5259 | 1184752.6805 | 2583394.1117 | 1184749.8106 | 2583394.1117 | 1184749.8106
5 | 2583332.5714 | 1184735.2526 | 2583329.7694 | 1184740.352 | 2583316.258 | 1184783.0453
6 | 2583332.5714 | 1184735.2526 | 2583325.8411 | 1184732.556
7 | 2583398.5689 | 1184737.062 | 2583394.1117 | 1184749.8106
8 | 2583316.258 | 1184783.0453 | 2583323.1731 | 1184785.475
9 | 2583316.258 | 1184783.0453 | 2583301.2643 | 1184776.8134
10 | 2583325.8411 | 1184732.556 | 2583313.7739 | 1184727.7212
11 | 2583414.813 | 1184690.6 | 2583398.5689 | 1184737.062
12 | 2583336.915 | 1184790.3033 | 2583323.1731 | 1184785.475
13 | 2583298.5011 | 1184775.665 | 2583301.2643 | 1184776.8134
14 | 2583414.813 | 1184690.6 | 2583423.0965 | 1184686.0413 | 2583431.7406 | 1184686.3149
15 | 2583414.813 | 1184690.6 | 2583413.8188 | 1184684.3884 | 2583384.2212 | 1184673.4652 | 2583366.7915 | 1184672.0514
16 | 2583336.915 | 1184790.3033 | 2583339.5555 | 1184791.2311
17 | 2583268.764 | 1184764.4346 | 2583278.1066 | 1184767.1884 | 2583298.5011 | 1184775.665
18 | 2583366.7915 | 1184672.0514 | 2583364.6017 | 1184671.8738
19 | 2583308.2634 | 1184688.3624 | 2583304.6805 | 1184687.8394 | 2583300.05 | 1184688.6305 | 2583295.6215 | 1184690.7107 | 2583292.0797 | 1184693.2775 | 2583288.6421 | 1184697.6116 | 2583271.1865 | 1184728.4783
20 | 2583253.4116 | 1184759.9095 | 2583271.1865 | 1184728.4783
21 | 2583253.4116 | 1184759.9095 | 2583268.746 | 1184764.4293
22 | 2583188.9939 | 1184712.9331 | 2583247.8761 | 1184769.9747 | 2583253.4116 | 1184759.9095
23 | 2583268.746 | 1184764.4293 | 2583268.764 | 1184764.4346
24 | 2583188.9939 | 1184712.9331 | 2583198.0229 | 1184679.1051
25 | 2583188.9939 | 1184712.9331 | 2583185.9069 | 1184724.5027
26 | 2583128.8389 | 1184701.2933 | 2583140.8088 | 1184752.2451 | 2583148.1932 | 1184760.6518
27 | 2583172.9228 | 1184773.1652 | 2583152.1179 | 1184765.1198 | 2583148.1932 | 1184760.6518
28 | 2583172.9228 | 1184773.1652 | 2583185.9069 | 1184724.5027
29 | 2583198.0229 | 1184679.1051 | 2583203.5026 | 1184658.5747
30 | 2583353.2203 | 1184889.6417 | 2583348.2569 | 1184894.1579 | 2583342.7898 | 1184906.1507
31 | 2583353.2203 | 1184889.6417 | 2583360.5448 | 1184888.8653 | 2583387.7189 | 1184887.7111 | 2583397.1229 | 1184882.7824 | 2583402.4162 | 1184873.385 | 2583407.4231 | 1184832.4053 | 2583403.493 | 1184818.8426 | 2583398.1522 | 1184814.7774
32 | 2583353.2203 | 1184889.6417 | 2583347.6211 | 1184879.6522 | 2583345.8162 | 1184879.219
33 | 2583393.6071 | 1184811.3179 | 2583398.1522 | 1184814.7774
34 | 2583273.6544 | 1184869.5429 | 2583292.9391 | 1184874.547 | 2583315.1277 | 1184878.1534 | 2583338.6475 | 1184877.4984 | 2583345.8162 | 1184879.219
35 | 2583393.6071 | 1184811.3179 | 2583390.9346 | 1184809.2837 | 2583366.4747 | 1184800.6894
36 | 2583279.7262 | 1184843.9126 | 2583273.6544 | 1184869.5429
37 | 2583366.4747 | 1184800.6894 | 2583363.0717 | 1184799.4938
38 | 2583339.5555 | 1184791.2311 | 2583363.0717 | 1184799.4938

## bus_geodata
| x | y | coords
0 | 2583356.2355 | 1184743.1813
1 | 2583378.4714 | 1184751.3697
2 | 2583351.0778 | 1184741.2114
3 | 2583378.8341 | 1184751.4371
4 | 2583332.5714 | 1184735.2526
5 | 2583394.1117 | 1184749.8106
6 | 2583316.258 | 1184783.0453
7 | 2583325.8411 | 1184732.556
8 | 2583398.5689 | 1184737.062
9 | 2583323.1731 | 1184785.475
10 | 2583301.2643 | 1184776.8134
11 | 2583313.7739 | 1184727.7212
12 | 2583414.813 | 1184690.6
13 | 2583336.915 | 1184790.3033
14 | 2583298.5011 | 1184775.665
15 | 2583366.7915 | 1184672.0514
16 | 2583364.6017 | 1184671.8738
17 | 2583431.7406 | 1184686.3149
18 | 2583308.2634 | 1184688.3624
19 | 2583271.1865 | 1184728.4783
20 | 2583253.4116 | 1184759.9095
21 | 2583268.746 | 1184764.4293
22 | 2583188.9939 | 1184712.9331
23 | 2583148.1932 | 1184760.6518
24 | 2583128.8389 | 1184701.2933
25 | 2583172.9228 | 1184773.1652
26 | 2583185.9069 | 1184724.5028
27 | 2583198.0229 | 1184679.1051
28 | 2583203.5026 | 1184658.5747
29 | 2583268.764 | 1184764.4346
30 | 2583342.7898 | 1184906.1507
31 | 2583353.2203 | 1184889.6417
32 | 2583398.1522 | 1184814.7774
33 | 2583345.8162 | 1184879.219
34 | 2583393.6071 | 1184811.3179
35 | 2583273.6544 | 1184869.5429
36 | 2583366.4747 | 1184800.6894
37 | 2583279.7262 | 1184843.9126
38 | 2583363.0717 | 1184799.4938
39 | 2583339.5555 | 1184791.2311
40 | 2583316.258 | 1184783.0453

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99398 | -0.041936 | 0.0031045 | 0.00077806
1 | 0.99285 | -0.049943 | 0.0013934 | 0.00034922
2 | 0.99427 | -0.039902 | 0.0031983 | 0.00080157
3 | 0.99283 | -0.050062 | 0.0026872 | 0.00067347
4 | 0.99539 | -0.032096 | 0 | 0
5 | 0.99216 | -0.054769 | 0.0037503 | 0.00093991
6 | 0.99859 | -0.009691 | 0 | 0
7 | 0.99534 | -0.032418 | 0.0026152 | 0.00065542
8 | 0.99166 | -0.058269 | 0.0035169 | 0.00088142
9 | 0.99779 | -0.015221 | 0.0013586 | 0.00034051
10 | 1 | 0 | -0.17439 | -0.043789
11 | 0.99531 | -0.032654 | 0.0018003 | 0.00045119
12 | 0.9901 | -0.069288 | 0 | 0
13 | 0.99622 | -0.026038 | 0.0021864 | 0.00054795
14 | 0.99978 | -0.0015545 | 0.0023086 | 0.00057859
15 | 0.9887 | -0.079179 | 0.015534 | 0.0038933
16 | 0.9887 | -0.079224 | 0.0019985 | 0.00050087
17 | 0.98998 | -0.070114 | 0.0044812 | 0.0011231
18 | 0.99588 | -0.028862 | 0.0037475 | 0.00093921
19 | 0.99619 | -0.026652 | 0.0068289 | 0.0017115
20 | 0.99674 | -0.022811 | 0 | 0
21 | 0.99751 | -0.017401 | 0.0070958 | 0.0017784
22 | 0.99364 | -0.044589 | 0 | 0
23 | 0.99275 | -0.050874 | 0.0015514 | 0.00038883
24 | 0.99229 | -0.054122 | 0.005043 | 0.0012639
25 | 0.99302 | -0.048986 | 0 | 0
26 | 0.99349 | -0.04562 | 0.001913 | 0.00047943
27 | 0.99291 | -0.049757 | 0.0072948 | 0.0018283
28 | 0.99268 | -0.051327 | 0.0072944 | 0.0018282
29 | 0.99751 | -0.017393 | 0.0089194 | 0.0022354
30 | 0.98029 | -0.13738 | 0.0018392 | 0.00046096
31 | 0.98034 | -0.137 | 0 | 0
32 | 0.98991 | -0.069823 | 0.0052294 | 0.0013106
33 | 0.9793 | -0.14439 | 0.0064267 | 0.0016107
34 | 0.99041 | -0.066302 | 0.0018065 | 0.00045275
35 | 0.97425 | -0.18046 | 0 | 0
36 | 0.99308 | -0.047772 | 0.002517 | 0.00063083
37 | 0.97243 | -0.19351 | 0.04703 | 0.011787
38 | 0.99342 | -0.045405 | 0.0041088 | 0.0010298
39 | 0.99593 | -0.028059 | 0.0027916 | 0.00069963
40 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.03349 | 0.0084081 | -0.033452 | -0.0083941 | 3.721e-05 | 1.4004e-05 | 0.05014 | 0.05014 | 0.05014 | 0.99398 | -0.041936 | 0.99285 | -0.049943 | 18.5703
1 | -0.036594 | -0.0091861 | 0.036604 | 0.00919 | 1.0341e-05 | 3.9058e-06 | 0.054787 | 0.054787 | 0.054787 | 0.99398 | -0.041936 | 0.99427 | -0.039902 | 20.2916
2 | 0.032059 | 0.0080448 | -0.032058 | -0.0080446 | 5.3154e-07 | 1.9967e-07 | 0.048052 | 0.048052 | 0.048052 | 0.99285 | -0.049943 | 0.99283 | -0.050062 | 17.7969
3 | -0.039803 | -0.0099916 | 0.039846 | 0.010008 | 4.3199e-05 | 1.6362e-05 | 0.059574 | 0.059574 | 0.059574 | 0.99427 | -0.039902 | 0.99539 | -0.032096 | 22.0644
4 | 0.029371 | 0.0073712 | -0.029352 | -0.007364 | 1.918e-05 | 7.1719e-06 | 0.044024 | 0.044024 | 0.044024 | 0.99283 | -0.050062 | 0.99216 | -0.054769 | 16.3053
5 | -0.044262 | -0.011114 | 0.0444 | 0.011167 | 0.00013825 | 5.2513e-05 | 0.066175 | 0.066174 | 0.066175 | 0.99539 | -0.032096 | 0.99859 | -0.009691 | 24.5091
6 | 0.0044157 | 0.0011064 | -0.0044155 | -0.0011065 | 1.9714e-07 | -1.8419e-08 | 0.006601 | 0.006601 | 0.006601 | 0.99539 | -0.032096 | 0.99534 | -0.032418 | 2.4448
7 | 0.025602 | 0.0064241 | -0.025589 | -0.0064195 | 1.2426e-05 | 4.605e-06 | 0.0384 | 0.0384 | 0.0384 | 0.99216 | -0.054769 | 0.99166 | -0.058269 | 14.2221
8 | 0.076784 | 0.019439 | -0.076724 | -0.019416 | 5.9946e-05 | 2.296e-05 | 0.11448 | 0.11448 | 0.11448 | 0.99859 | -0.009691 | 0.99779 | -0.015221 | 42.4019
9 | -0.12118 | -0.030606 | 0.12135 | 0.030669 | 0.00016534 | 6.3168e-05 | 0.18066 | 0.18066 | 0.18066 | 0.99859 | -0.009691 | 1 | 0 | 33.4554
10 | 0.0018003 | 0.00045104 | -0.0018003 | -0.00045119 | 5.876e-08 | -1.4636e-07 | 0.0026914 | 0.0026915 | 0.0026915 | 0.99534 | -0.032418 | 0.99531 | -0.032654 | 0.99683
11 | 0.022072 | 0.0055381 | -0.022039 | -0.0055258 | 3.3696e-05 | 1.2326e-05 | 0.033122 | 0.033123 | 0.033123 | 0.99166 | -0.058269 | 0.9901 | -0.069288 | 12.2677
12 | 0.075365 | 0.019076 | -0.07525 | -0.019031 | 0.00011495 | 4.402e-05 | 0.11246 | 0.11246 | 0.11246 | 0.99779 | -0.015221 | 0.99622 | -0.026038 | 41.6515
13 | 0.05224 | 0.013119 | -0.052229 | -0.013115 | 1.1285e-05 | 4.3013e-06 | 0.077744 | 0.077744 | 0.077744 | 1 | 0 | 0.99978 | -0.0015545 | 28.7939
14 | 0.0044817 | 0.0011231 | -0.0044812 | -0.0011231 | 5.1249e-07 | -3.5686e-08 | 0.0067355 | 0.0067356 | 0.0067356 | 0.9901 | -0.069288 | 0.98998 | -0.070114 | 2.4946
15 | 0.017557 | 0.0044027 | -0.017533 | -0.0043942 | 2.4039e-05 | 8.5351e-06 | 0.026387 | 0.026387 | 0.026387 | 0.9901 | -0.069288 | 0.9887 | -0.079179 | 9.7731
16 | 0.073064 | 0.018484 | -0.073043 | -0.018476 | 2.0823e-05 | 7.9723e-06 | 0.10919 | 0.10919 | 0.10919 | 0.99622 | -0.026038 | 0.99593 | -0.028059 | 40.4419
17 | 0.04992 | 0.012536 | -0.049811 | -0.012495 | 0.00010966 | 4.1759e-05 | 0.074308 | 0.074308 | 0.074308 | 0.99978 | -0.0015545 | 0.99751 | -0.017393 | 27.5214
18 | 0.0019985 | 0.00050085 | -0.0019985 | -0.00050087 | 1.2403e-08 | -2.3405e-08 | 0.0030078 | 0.0030078 | 0.0030078 | 0.9887 | -0.079179 | 0.9887 | -0.079224 | 1.114
19 | -0.0037475 | -0.00093921 | 0.0037486 | 0.00093888 | 1.146e-06 | -3.2165e-07 | 0.0055994 | 0.0055991 | 0.0055994 | 0.99588 | -0.028862 | 0.99619 | -0.026652 | 2.0738
20 | -0.010577 | -0.0026504 | 0.010583 | 0.002652 | 5.6244e-06 | 1.6929e-06 | 0.015799 | 0.015799 | 0.015799 | 0.99619 | -0.026652 | 0.99674 | -0.022811 | 5.8516
21 | -0.03377 | -0.0084714 | 0.033795 | 0.0084809 | 2.5357e-05 | 9.5443e-06 | 0.050417 | 0.050417 | 0.050417 | 0.99674 | -0.022811 | 0.99751 | -0.017401 | 18.6731
22 | 0.023187 | 0.0058193 | -0.023117 | -0.0057937 | 6.9897e-05 | 2.5669e-05 | 0.034618 | 0.034619 | 0.034619 | 0.99674 | -0.022811 | 0.99364 | -0.044589 | 12.8217
23 | -0.040891 | -0.010259 | 0.040891 | 0.010259 | 4.3725e-08 | 1.6571e-08 | 0.061002 | 0.061002 | 0.061002 | 0.99751 | -0.017401 | 0.99751 | -0.017393 | 22.5935
24 | 0.014601 | 0.0036603 | -0.014591 | -0.0036567 | 1.0446e-05 | 3.5646e-06 | 0.021866 | 0.021867 | 0.021867 | 0.99364 | -0.044589 | 0.99291 | -0.049757 | 8.0987
25 | 0.0085157 | 0.0021333 | -0.0085144 | -0.002133 | 1.2151e-06 | 3.1227e-07 | 0.012752 | 0.012752 | 0.012752 | 0.99364 | -0.044589 | 0.99349 | -0.04562 | 4.7231
26 | 0.0050452 | 0.0012639 | -0.005043 | -0.0012639 | 2.267e-06 | 5.0897e-08 | 0.0075621 | 0.0075624 | 0.0075624 | 0.99275 | -0.050874 | 0.99229 | -0.054122 | 2.8009
27 | -0.0065967 | -0.0016528 | 0.0065984 | 0.0016531 | 1.7235e-06 | 2.975e-07 | 0.0098875 | 0.0098874 | 0.0098875 | 0.99275 | -0.050874 | 0.99302 | -0.048986 | 3.662
28 | -0.0065984 | -0.0016531 | 0.0066015 | 0.0016536 | 3.0723e-06 | 5.2979e-07 | 0.0098874 | 0.0098871 | 0.0098874 | 0.99302 | -0.048986 | 0.99349 | -0.04562 | 3.662
29 | 0.007296 | 0.0018285 | -0.0072944 | -0.0018282 | 1.5852e-06 | 3.3494e-07 | 0.010934 | 0.010934 | 0.010934 | 0.99291 | -0.049757 | 0.99268 | -0.051327 | 4.0497
30 | -0.0018392 | -0.00046096 | 0.0018393 | 0.00046075 | 9.674e-08 | -2.1357e-07 | 0.0027919 | 0.0027918 | 0.0027919 | 0.98029 | -0.13738 | 0.98034 | -0.137 | 1.034
31 | -0.055674 | -0.014002 | 0.0562 | 0.014203 | 0.0005264 | 0.00020096 | 0.084522 | 0.084522 | 0.084522 | 0.98034 | -0.137 | 0.98991 | -0.069823 | 31.3046
32 | 0.053835 | 0.013541 | -0.053779 | -0.01352 | 5.5471e-05 | 2.1167e-05 | 0.081731 | 0.081731 | 0.081731 | 0.98034 | -0.137 | 0.9793 | -0.14439 | 30.2706
33 | -0.06143 | -0.015514 | 0.06146 | 0.015525 | 3.0419e-05 | 1.1626e-05 | 0.092383 | 0.092383 | 0.092383 | 0.98991 | -0.069823 | 0.99041 | -0.066302 | 34.2158
34 | 0.047353 | 0.01191 | -0.047116 | -0.011819 | 0.0002369 | 9.0198e-05 | 0.071966 | 0.071966 | 0.071966 | 0.9793 | -0.14439 | 0.97425 | -0.18046 | 26.6541
35 | -0.063267 | -0.015978 | 0.063432 | 0.016041 | 0.00016525 | 6.3181e-05 | 0.095097 | 0.095097 | 0.095097 | 0.99041 | -0.066302 | 0.99308 | -0.047772 | 35.221
36 | 0.047116 | 0.011819 | -0.04703 | -0.011787 | 8.5131e-05 | 3.2415e-05 | 0.071966 | 0.071966 | 0.071966 | 0.97425 | -0.18046 | 0.97243 | -0.19351 | 26.6541
37 | -0.065949 | -0.016672 | 0.065971 | 0.016681 | 2.2e-05 | 8.415e-06 | 0.098868 | 0.098868 | 0.098868 | 0.99308 | -0.047772 | 0.99342 | -0.045405 | 36.6178
38 | -0.07008 | -0.01771 | 0.070251 | 0.017776 | 0.00017155 | 6.5658e-05 | 0.10502 | 0.10502 | 0.10502 | 0.99342 | -0.045405 | 0.99593 | -0.028059 | 38.8972

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.1824 | 0.045796

## res_load
| p_mw | q_mvar
0 | 0.0031045 | 0.00077806
1 | 0.0013934 | 0.00034922
2 | 0.0031983 | 0.00080157
3 | 0.0026872 | 0.00067347
4 | 0.0037503 | 0.00093991
5 | 0.0026152 | 0.00065542
6 | 0.0035169 | 0.00088142
7 | 0.0013586 | 0.00034051
8 | 0.0080082 | 0.002007
9 | 0.0018003 | 0.00045119
10 | 0.0021864 | 0.00054795
11 | 0.0023086 | 0.00057859
12 | 0.015534 | 0.0038933
13 | 0.0019985 | 0.00050087
14 | 0.0044812 | 0.0011231
15 | 0.0037475 | 0.00093921
16 | 0.0068289 | 0.0017115
17 | 0.0070958 | 0.0017784
18 | 0.0015514 | 0.00038883
19 | 0.005043 | 0.0012639
20 | 0.001913 | 0.00047943
21 | 0.0072948 | 0.0018283
22 | 0.0072944 | 0.0018282
23 | 0.0089194 | 0.0022354
24 | 0.0018392 | 0.00046096
25 | 0.0052294 | 0.0013106
26 | 0.0064267 | 0.0016107
27 | 0.0018065 | 0.00045275
28 | 0.002517 | 0.00063083
29 | 0.04703 | 0.011787
30 | 0.0041088 | 0.0010298
31 | 0.0027916 | 0.00069963

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1