## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2306-34_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2306-34_0_2_node_8 | 0.4 | n |  | TRUE
2 | bus_LV_2306-34_0_2_node_10 | 0.4 | n |  | TRUE
3 | bus_LV_2306-34_0_2_node_6 | 0.4 | n |  | TRUE
4 | bus_LV_2306-34_0_2_node_1 | 0.4 | n |  | TRUE
5 | bus_LV_2306-34_0_2_node_2 | 0.4 | n |  | TRUE
6 | bus_LV_2306-34_0_2_node_3 | 0.4 | n |  | TRUE
7 | bus_LV_2306-34_0_2_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_2306-34_0_2_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_2306-34_0_2_node_40 | 0.4 | n |  | TRUE
10 | bus_LV_2306-34_0_2_node_36 | 0.4 | n |  | TRUE
11 | bus_LV_2306-34_0_2_node_41 | 0.4 | n |  | TRUE
12 | bus_LV_2306-34_0_2_node_35 | 0.4 | n |  | TRUE
13 | bus_LV_2306-34_0_2_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_2306-34_0_2_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_2306-34_0_2_node_42 | 0.4 | n |  | TRUE
16 | bus_LV_2306-34_0_2_node_43 | 0.4 | n |  | TRUE
17 | bus_LV_2306-34_0_2_node_60 | 0.4 | n |  | TRUE
18 | bus_LV_2306-34_0_2_node_59 | 0.4 | n |  | TRUE
19 | bus_LV_2306-34_0_2_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_2306-34_0_2_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_2306-34_0_2_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_2306-34_0_2_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_2306-34_0_2_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_2306-34_0_2_node_26 | 0.4 | n |  | TRUE
25 | bus_LV_2306-34_0_2_node_39 | 0.4 | n |  | TRUE
26 | bus_LV_2306-34_0_2_node_24 | 0.4 | n |  | TRUE
27 | bus_LV_2306-34_0_2_node_37 | 0.4 | n |  | TRUE
28 | bus_LV_2306-34_0_2_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_2306-34_0_2_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_2306-34_0_2_node_69 | 0.4 | n |  | TRUE
31 | bus_LV_2306-34_0_2_node_61 | 0.4 | n |  | TRUE
32 | bus_LV_2306-34_0_2_node_52 | 0.4 | n |  | TRUE
33 | bus_LV_2306-34_0_2_node_67 | 0.4 | n |  | TRUE
34 | bus_LV_2306-34_0_2_node_51 | 0.4 | n |  | TRUE
35 | bus_LV_2306-34_0_2_node_18 | 0.4 | n |  | TRUE
36 | bus_LV_2306-34_0_2_node_19 | 0.4 | n |  | TRUE
37 | bus_LV_2306-34_0_2_node_20 | 0.4 | n |  | TRUE
38 | bus_LV_2306-34_0_2_node_21 | 0.4 | n |  | TRUE
39 | bus_LV_2306-34_0_2_node_22 | 0.4 | n |  | TRUE
40 | bus_LV_2306-34_0_2_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_2306-34_0_2_node_53 | 0.4 | n |  | TRUE
42 | bus_LV_2306-34_0_2_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_2306-34_0_2_node_54 | 0.4 | n |  | TRUE
44 | bus_LV_2306-34_0_2_node_23 | 0.4 | n |  | TRUE
45 | bus_LV_2306-34_0_2_node_25 | 0.4 | n |  | TRUE
46 | bus_LV_2306-34_0_2_node_27 | 0.4 | n |  | TRUE
47 | bus_LV_2306-34_0_2_node_50 | 0.4 | n |  | TRUE
48 | bus_LV_2306-34_0_2_node_49 | 0.4 | n |  | TRUE
49 | bus_LV_2306-34_0_2_node_30 | 0.4 | n |  | TRUE
50 | bus_LV_2306-34_0_2_node_38 | 0.4 | n |  | TRUE
51 | bus_LV_2306-34_0_2_node_31 | 0.4 | n |  | TRUE
52 | bus_LV_2306-34_0_2_node_32 | 0.4 | n |  | TRUE
53 | bus_LV_2306-34_0_2_node_33 | 0.4 | n |  | TRUE
54 | bus_LV_2306-34_0_2_node_34 | 0.4 | n |  | TRUE
55 | bus_LV_2306-34_0_2_node_45 | 0.4 | n |  | TRUE
56 | bus_LV_2306-34_0_2_node_44 | 0.4 | n |  | TRUE
57 | bus_LV_2306-34_0_2_node_62 | 0.4 | n |  | TRUE
58 | bus_LV_2306-34_0_2_node_63 | 0.4 | n |  | TRUE
59 | bus_LV_2306-34_0_2_node_57 | 0.4 | n |  | TRUE
60 | bus_LV_2306-34_0_2_node_47 | 0.4 | n |  | TRUE
61 | bus_LV_2306-34_0_2_node_58 | 0.4 | n |  | TRUE
62 | bus_LV_2306-34_0_2_node_46 | 0.4 | n |  | TRUE
63 | bus_LV_2306-34_0_2_node_48 | 0.4 | n |  | TRUE
64 | bus_LV_2306-34_0_2_node_70 | 0.4 | n |  | TRUE
65 | bus_LV_2306-34_0_2_node_68 | 0.4 | n |  | TRUE
66 | bus_LV_2306-34_0_2_node_55 | 0.4 | n |  | TRUE
67 | bus_LV_2306-34_0_2_node_56 | 0.4 | n |  | TRUE
68 | bus_LV_2306-34_0_2_node_64 | 0.4 | n |  | TRUE
69 | bus_LV_2306-34_0_2_node_65 | 0.4 | n |  | TRUE
70 | bus_LV_2306-34_0_2_node_66 | 0.4 | n |  | TRUE
71 | bus_MV_382_0_node_8 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2306-34_0_2_load_0 | 0 | 0.00055361 | 0.00013875 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2306-34_0_2_load_10 | 2 | 0.0036401 | 0.00091231 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2306-34_0_2_load_6 | 3 | 0.0034191 | 0.0008569 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2306-34_0_2_load_1 | 4 | 0.0049059 | 0.0012295 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2306-34_0_2_load_2 | 5 | 0.0029875 | 0.00074873 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2306-34_0_2_load_3 | 6 | 0.0043944 | 0.0011013 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2306-34_0_2_load_4 | 7 | 0.0019371 | 0.00048547 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2306-34_0_2_load_5 | 8 | 0.0026568 | 0.00066586 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2306-34_0_2_load_40 | 9 | 0.0036959 | 0.00092628 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2306-34_0_2_load_36 | 10 | 0.0037135 | 0.00093068 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2306-34_0_2_load_41 | 11 | 0.0019084 | 0.00047828 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2306-34_0_2_load_35 | 12 | 0.0037815 | 0.00094774 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2306-34_0_2_load_7 | 13 | 0.002737 | 0.00068597 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2306-34_0_2_load_42 | 15 | 0.0033978 | 0.00085156 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2306-34_0_2_load_43 | 16 | 0.0034596 | 0.00086705 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2306-34_0_2_load_60 | 17 | 0.0040799 | 0.0010225 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2306-34_0_2_load_11 | 19 | 0.0062495 | 0.0015663 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2306-34_0_2_load_12 | 20 | 0.0066111 | 0.0016569 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2306-34_0_2_load_13 | 21 | 0.002232 | 0.00055938 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2306-34_0_2_load_15 | 23 | 0.0027451 | 0.00068799 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2306-34_0_2_load_26 | 24 | 0.0037646 | 0.0009435 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2306-34_0_2_load_39 | 25 | 0.0033969 | 0.00085136 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2306-34_0_2_load_24 | 26 | 0.0022214 | 0.00055673 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2306-34_0_2_load_69 | 30 | 0.00059897 | 0.00015012 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2306-34_0_2_load_61 | 31 | 0.0020431 | 0.00051204 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2306-34_0_2_load_52 | 32 | 0.001448 | 0.0003629 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2306-34_0_2_load_67 | 33 | 0.0015054 | 0.00037728 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2306-34_0_2_load_51 | 34 | 0.002243 | 0.00056215 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2306-34_0_2_load_18 | 35 | 0.0030937 | 0.00077534 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2306-34_0_2_load_19 | 36 | 0.0025752 | 0.0006454 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2306-34_0_2_load_20 | 37 | 0.0036295 | 0.00090963 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2306-34_0_2_load_21 | 38 | 0.0036787 | 0.00092196 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2306-34_0_2_load_22 | 39 | 0.0050603 | 0.0012682 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2306-34_0_2_load_28 | 40 | 0.002094 | 0.0005248 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2306-34_0_2_load_29 | 42 | 0.0030871 | 0.00077369 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2306-34_0_2_load_54 | 43 | 0.0014072 | 0.00035267 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2306-34_0_2_load_23 | 44 | 0.0034659 | 0.00086863 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2306-34_0_2_load_25 | 45 | 0.0031039 | 0.00077791 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2306-34_0_2_load_27 | 46 | 0.0029721 | 0.00074488 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2306-34_0_2_load_50 | 47 | 0.0052951 | 0.0013271 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2306-34_0_2_load_49 | 48 | 0.0020238 | 0.00050722 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2306-34_0_2_load_30 | 49 | 0.0019615 | 0.00049161 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2306-34_0_2_load_38 | 50 | 0.0022728 | 0.00056962 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2306-34_0_2_load_31 | 51 | 0.0022333 | 0.00055972 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2306-34_0_2_load_32 | 52 | 0.0022357 | 0.00056031 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2306-34_0_2_load_33 | 53 | 0.0033659 | 0.00084358 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2306-34_0_2_load_34 | 54 | 0.0030095 | 0.00075425 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2306-34_0_2_load_45 | 55 | 0.0025998 | 0.00065158 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2306-34_0_2_load_44 | 56 | 0.0035053 | 0.00087851 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2306-34_0_2_load_62 | 57 | 0.0010565 | 0.00026479 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2306-34_0_2_load_63 | 58 | 0.001687 | 0.0004228 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2306-34_0_2_load_57 | 59 | 0.0034387 | 0.00086181 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2306-34_0_2_load_47 | 60 | 0.0029816 | 0.00074725 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2306-34_0_2_load_58 | 61 | 0.0020869 | 0.00052301 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2306-34_0_2_load_46 | 62 | 0.0050876 | 0.0012751 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2306-34_0_2_load_48 | 63 | 0.0023878 | 0.00059845 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2306-34_0_2_load_70 | 64 | 0.001465 | 0.00036718 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2306-34_0_2_load_55 | 66 | 0.0025219 | 0.00063205 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2306-34_0_2_load_56 | 67 | 0.0045169 | 0.0011321 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2306-34_0_2_load_64 | 68 | 0.0014452 | 0.0003622 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2306-34_0_2_load_65 | 69 | 0.00066051 | 0.00016554 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 42 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2306-34_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.28108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2306-34_0_2_line_1 | NAYY 4x150 SE | 1 | 2 | 0.061387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2306-34_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.017034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2306-34_0_2_line_3 | NAYY 4x150 SE | 3 | 13 | 0.0050416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2306-34_0_2_line_4 | NAYY 4x150 SE | 4 | 5 | 0.0045224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2306-34_0_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.039528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2306-34_0_2_line_6 | NAYY 4x150 SE | 5 | 7 | 0.036734 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2306-34_0_2_line_7 | NAYY 4x150 SE | 6 | 8 | 0.0090787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2306-34_0_2_line_8 | NAYY 4x150 SE | 7 | 9 | 0.028234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2306-34_0_2_line_9 | NAYY 4x150 SE | 8 | 10 | 0.015844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2306-34_0_2_line_10 | NAYY 4x150 SE | 9 | 11 | 0.015144 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2306-34_0_2_line_11 | NAYY 4x150 SE | 10 | 12 | 0.0038492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2306-34_0_2_line_12 | NAYY 4x150 SE | 12 | 27 | 0.04462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2306-34_0_2_line_13 | NAYY 4x150 SE | 13 | 14 | 0.023274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2306-34_0_2_line_14 | NAYY 4x150 SE | 14 | 15 | 0.023492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2306-34_0_2_line_15 | NAYY 4x150 SE | 14 | 16 | 0.029843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2306-34_0_2_line_16 | NAYY 4x150 SE | 15 | 17 | 0.0086794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2306-34_0_2_line_17 | NAYY 4x150 SE | 16 | 18 | 0.02791 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2306-34_0_2_line_18 | NAYY 4x150 SE | 17 | 59 | 0.024626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2306-34_0_2_line_19 | NAYY 4x150 SE | 18 | 60 | 0.021423 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2306-34_0_2_line_20 | NAYY 4x150 SE | 18 | 61 | 0.014863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2306-34_0_2_line_21 | NAYY 4x150 SE | 19 | 20 | 0.029579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2306-34_0_2_line_22 | NAYY 4x150 SE | 19 | 21 | 0.0011878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2306-34_0_2_line_23 | NAYY 4x150 SE | 20 | 22 | 0.048014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2306-34_0_2_line_24 | NAYY 4x150 SE | 21 | 23 | 0.029374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2306-34_0_2_line_25 | NAYY 4x150 SE | 22 | 24 | 0.01884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2306-34_0_2_line_26 | NAYY 4x150 SE | 23 | 25 | 0.0013155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2306-34_0_2_line_27 | NAYY 4x150 SE | 24 | 26 | 0.042689 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2306-34_0_2_line_28 | NAYY 4x150 SE | 25 | 27 | 0.015906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2306-34_0_2_line_29 | NAYY 4x150 SE | 26 | 44 | 0.0062933 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2306-34_0_2_line_30 | NAYY 4x150 SE | 27 | 50 | 0.015866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2306-34_0_2_line_31 | NAYY 4x150 SE | 28 | 29 | 0.012592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2306-34_0_2_line_32 | NAYY 4x150 SE | 28 | 30 | 0.09735 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2306-34_0_2_line_33 | NAYY 4x150 SE | 29 | 31 | 0.014634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2306-34_0_2_line_34 | NAYY 4x150 SE | 29 | 32 | 0.006238 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2306-34_0_2_line_35 | NAYY 4x150 SE | 30 | 33 | 0.16165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2306-34_0_2_line_36 | NAYY 4x150 SE | 32 | 34 | 0.036944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2306-34_0_2_line_37 | NAYY 4x150 SE | 33 | 70 | 0.002904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2306-34_0_2_line_38 | NAYY 4x150 SE | 34 | 64 | 0.12148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2306-34_0_2_line_39 | NAYY 4x150 SE | 34 | 41 | 0.043624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2306-34_0_2_line_40 | NAYY 4x150 SE | 35 | 36 | 0.01868 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2306-34_0_2_line_41 | NAYY 4x150 SE | 35 | 37 | 0.022966 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2306-34_0_2_line_42 | NAYY 4x150 SE | 36 | 38 | 0.0019708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2306-34_0_2_line_43 | NAYY 4x150 SE | 37 | 39 | 0.0030113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2306-34_0_2_line_44 | NAYY 4x150 SE | 38 | 40 | 0.020622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2306-34_0_2_line_45 | NAYY 4x150 SE | 39 | 41 | 0.014966 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_2306-34_0_2_line_46 | NAYY 4x150 SE | 40 | 42 | 0.003737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_2306-34_0_2_line_47 | NAYY 4x150 SE | 41 | 43 | 0.018189 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_2306-34_0_2_line_48 | NAYY 4x150 SE | 42 | 49 | 0.019828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_2306-34_0_2_line_49 | NAYY 4x150 SE | 43 | 61 | 0.017873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_2306-34_0_2_line_50 | NAYY 4x150 SE | 44 | 45 | 0.024234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_2306-34_0_2_line_51 | NAYY 4x150 SE | 45 | 46 | 0.028792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_2306-34_0_2_line_52 | NAYY 4x150 SE | 46 | 47 | 0.016475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_2306-34_0_2_line_53 | NAYY 4x150 SE | 47 | 48 | 0.011437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_2306-34_0_2_line_54 | NAYY 4x150 SE | 48 | 63 | 0.065354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_2306-34_0_2_line_55 | NAYY 4x150 SE | 49 | 50 | 0.00073029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_2306-34_0_2_line_56 | NAYY 4x150 SE | 51 | 52 | 0.032162 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_2306-34_0_2_line_57 | NAYY 4x150 SE | 51 | 53 | 0.0042985 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_2306-34_0_2_line_58 | NAYY 4x150 SE | 53 | 54 | 0.03916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_2306-34_0_2_line_59 | NAYY 4x150 SE | 54 | 55 | 0.016716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_2306-34_0_2_line_60 | NAYY 4x150 SE | 55 | 56 | 0.016929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_2306-34_0_2_line_61 | NAYY 4x150 SE | 56 | 62 | 0.005252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_2306-34_0_2_line_62 | NAYY 4x150 SE | 57 | 58 | 0.013821 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_2306-34_0_2_line_63 | NAYY 4x150 SE | 58 | 68 | 0.0030768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_2306-34_0_2_line_64 | NAYY 4x150 SE | 59 | 67 | 0.0068242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_2306-34_0_2_line_65 | NAYY 4x150 SE | 60 | 62 | 0.030025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_2306-34_0_2_line_66 | NAYY 4x150 SE | 64 | 65 | 0.12354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_2306-34_0_2_line_67 | NAYY 4x150 SE | 65 | 68 | 0.034134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_2306-34_0_2_line_68 | NAYY 4x150 SE | 66 | 67 | 0.020939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_2306-34_0_2_line_69 | NAYY 4x150 SE | 69 | 70 | 0.10889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2306-34_0_2_trafo_29 | 0.25 MVA 20/0.4 kV | 71 | 42 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2580769.3667 | 1184002.5649 | 2580889.5149 | 1184256.6708
1 | 2580769.3667 | 1184002.5649 | 2580773.6661 | 1184003.1625 | 2580781.6356 | 1183998.6011 | 2580796.2096 | 1183982.7904 | 2580810.2497 | 1183960.4799
2 | 2580769.3667 | 1184002.5649 | 2580770.7998 | 1183997.2242 | 2580770.7303 | 1183992.244 | 2580768.9306 | 1183985.974
3 | 2580767.5398 | 1183981.1281 | 2580768.9306 | 1183985.974
4 | 2580664.9654 | 1183724.15 | 2580664.2702 | 1183719.6813
5 | 2580664.9654 | 1183724.15 | 2580666.3858 | 1183733.2801 | 2580670.2608 | 1183737.1251 | 2580693.7066 | 1183745.2979
6 | 2580664.2702 | 1183719.6813 | 2580662.0902 | 1183705.6686 | 2580664.0426 | 1183700.4151 | 2580669.6136 | 1183697.5956 | 2580679.9 | 1183700.5569
7 | 2580698.4249 | 1183752.8184 | 2580698.3062 | 1183751.3306 | 2580693.7066 | 1183745.2979 | 2580693.7066 | 1183745.2979
8 | 2580707.0317 | 1183708.3677 | 2580679.9 | 1183700.5569
9 | 2580698.4249 | 1183752.8184 | 2580698.7915 | 1183757.4099 | 2580695.9727 | 1183766.2125 | 2580695.2536 | 1183768.0735
10 | 2580721.5848 | 1183712.5574 | 2580707.0317 | 1183708.3677
11 | 2580693.8661 | 1183771.6639 | 2580695.2536 | 1183768.0735
12 | 2580677.7822 | 1183813.2847 | 2580693.8661 | 1183771.6639
13 | 2580761.119 | 1183958.7576 | 2580767.5398 | 1183981.1281
14 | 2580761.119 | 1183958.7576 | 2580755.3156 | 1183958.0538 | 2580745.9996 | 1183961.6746 | 2580738.4139 | 1183962.6731
15 | 2580761.119 | 1183958.7576 | 2580764.2224 | 1183953.0002 | 2580771.5297 | 1183946.64 | 2580779.2516 | 1183935.4268
16 | 2580738.4139 | 1183962.6731 | 2580735.7831 | 1183963.0194 | 2580729.8088 | 1183962.2328
17 | 2580792.6732 | 1183911.0089 | 2580783.1768 | 1183929.727 | 2580779.2516 | 1183935.4268
18 | 2580705.3931 | 1183959.018 | 2580729.8088 | 1183962.2328
19 | 2580792.6732 | 1183911.0089 | 2580771.6061 | 1183907.1198
20 | 2580792.6732 | 1183911.0089 | 2580796.5734 | 1183896.6667
21 | 2580631.5762 | 1183801.109 | 2580625.1054 | 1183799.4039 | 2580602.6529 | 1183794.9626
22 | 2580632.7248 | 1183801.4117 | 2580631.5762 | 1183801.109
23 | 2580555.5513 | 1183785.6453 | 2580602.6529 | 1183794.9626
24 | 2580632.7248 | 1183801.4117 | 2580661.1289 | 1183808.8964
25 | 2580555.5513 | 1183785.6453 | 2580558.6568 | 1183767.0629
26 | 2580661.1289 | 1183808.8964 | 2580662.401 | 1183809.2317
27 | 2580567.4339 | 1183725.4666 | 2580564.4313 | 1183732.511 | 2580558.6568 | 1183767.0629
28 | 2580677.7822 | 1183813.2847 | 2580662.401 | 1183809.2317
29 | 2580567.4339 | 1183725.4666 | 2580569.9016 | 1183719.6773
30 | 2580677.7822 | 1183813.2847 | 2580692.8476 | 1183818.2623
31 | 2580858.3755 | 1183857.3476 | 2580868.634 | 1183861.9393 | 2580869.9483 | 1183862.3687
32 | 2580869.9483 | 1183862.3687 | 2580965.1982 | 1183882.4804
33 | 2580858.3755 | 1183857.3476 | 2580855.3529 | 1183871.6648
34 | 2580858.3755 | 1183857.3476 | 2580853.1313 | 1183853.9696
35 | 2580965.1982 | 1183882.4804 | 2581048.7632 | 1183744.1082
36 | 2580822.0728 | 1183833.9632 | 2580853.1313 | 1183853.9696
37 | 2581051.4233 | 1183745.2731 | 2581048.7632 | 1183744.1082
38 | 2580822.0728 | 1183833.9632 | 2580868.1378 | 1183721.5569
39 | 2580788.8281 | 1183861.8624 | 2580795.3435 | 1183858.4508 | 2580810.7808 | 1183845.1053 | 2580822.0728 | 1183833.9632
40 | 2580754.4876 | 1183840.3615 | 2580743.1245 | 1183834.8736 | 2580737.3694 | 1183832.9721
41 | 2580775.168 | 1183850.3494 | 2580754.4876 | 1183840.3615
42 | 2580735.4981 | 1183832.3538 | 2580737.3694 | 1183832.9721
43 | 2580775.168 | 1183850.3494 | 2580777.8796 | 1183851.6591
44 | 2580735.4981 | 1183832.3538 | 2580715.9169 | 1183825.8843
45 | 2580788.8281 | 1183861.8624 | 2580777.8796 | 1183851.6591 | 2580777.8796 | 1183851.6591
46 | 2580712.3685 | 1183824.7119 | 2580715.9169 | 1183825.8843
47 | 2580788.8281 | 1183861.8624 | 2580791.5828 | 1183868.7016 | 2580795.0402 | 1183878.9499
48 | 2580693.5411 | 1183818.4914 | 2580712.3685 | 1183824.7119
49 | 2580795.0402 | 1183878.9499 | 2580795.8986 | 1183881.4943 | 2580796.5734 | 1183896.6667 | 2580796.5734 | 1183896.6667
50 | 2580580.5725 | 1183698.0688 | 2580577.3097 | 1183702.2978 | 2580569.9016 | 1183719.6773
51 | 2580580.5725 | 1183698.0688 | 2580587.009 | 1183689.7264 | 2580595.9114 | 1183683.2274 | 2580603.1166 | 1183682.9593 | 2580603.1378 | 1183682.9683
52 | 2580617.797 | 1183690.3822 | 2580611.3338 | 1183686.4122 | 2580603.1378 | 1183682.9683
53 | 2580617.797 | 1183690.3822 | 2580617.797 | 1183690.3822 | 2580625.3415 | 1183681.7865
54 | 2580653.9463 | 1183652.2831 | 2580641.5355 | 1183640.5125 | 2580638.3901 | 1183640.3782 | 2580636.2211 | 1183642.3974 | 2580635.8577 | 1183645.6892 | 2580636.3394 | 1183655.3148 | 2580634.5819 | 1183666.5264 | 2580625.3415 | 1183681.7865 | 2580625.3415 | 1183681.7865
55 | 2580692.8476 | 1183818.2623 | 2580693.5411 | 1183818.4914
56 | 2580661.0932 | 1183886.7184 | 2580629.4652 | 1183880.8797
57 | 2580661.0932 | 1183886.7184 | 2580665.3203 | 1183887.4988
58 | 2580703.8291 | 1183894.6077 | 2580665.3203 | 1183887.4988
59 | 2580703.8291 | 1183894.6077 | 2580720.2676 | 1183897.6424
60 | 2580736.9157 | 1183900.7157 | 2580720.2676 | 1183897.6424
61 | 2580736.9157 | 1183900.7157 | 2580742.0804 | 1183901.6692
62 | 2580803.8544 | 1183563.698 | 2580810.3332 | 1183568.4631 | 2580814.4774 | 1183572.4896
63 | 2580816.6842 | 1183574.6336 | 2580814.4774 | 1183572.4896
64 | 2580705.3931 | 1183959.018 | 2580698.6273 | 1183958.1271
65 | 2580771.6061 | 1183907.1198 | 2580742.0804 | 1183901.6692
66 | 2580868.1378 | 1183721.5569 | 2580836.0908 | 1183602.2423
67 | 2580836.0908 | 1183602.2423 | 2580829.8038 | 1183588.9556 | 2580820.4259 | 1183578.269 | 2580816.6842 | 1183574.6336
68 | 2580677.8676 | 1183955.3938 | 2580698.6273 | 1183958.1271
69 | 2581051.4233 | 1183745.2731 | 2581130.2244 | 1183820.4275

## bus_geodata
| x | y | coords
0 | 2580889.5149 | 1184256.6708
1 | 2580769.3667 | 1184002.5649
2 | 2580810.2497 | 1183960.4799
3 | 2580768.9306 | 1183985.974
4 | 2580664.9654 | 1183724.15
5 | 2580664.2702 | 1183719.6813
6 | 2580693.7066 | 1183745.2979
7 | 2580679.9 | 1183700.5569
8 | 2580698.4249 | 1183752.8184
9 | 2580707.0317 | 1183708.3677
10 | 2580695.2536 | 1183768.0735
11 | 2580721.5848 | 1183712.5574
12 | 2580693.8661 | 1183771.6639
13 | 2580767.5398 | 1183981.1281
14 | 2580761.119 | 1183958.7576
15 | 2580738.4139 | 1183962.6731
16 | 2580779.2516 | 1183935.4268
17 | 2580729.8088 | 1183962.2328
18 | 2580792.6732 | 1183911.0089
19 | 2580631.5762 | 1183801.109
20 | 2580602.6529 | 1183794.9626
21 | 2580632.7248 | 1183801.4117
22 | 2580555.5513 | 1183785.6453
23 | 2580661.1289 | 1183808.8964
24 | 2580558.6568 | 1183767.0629
25 | 2580662.401 | 1183809.2317
26 | 2580567.4339 | 1183725.4666
27 | 2580677.7822 | 1183813.2847
28 | 2580869.9483 | 1183862.3687
29 | 2580858.3755 | 1183857.3476
30 | 2580965.1982 | 1183882.4804
31 | 2580855.3529 | 1183871.6648
32 | 2580853.1313 | 1183853.9696
33 | 2581048.7632 | 1183744.1082
34 | 2580822.0728 | 1183833.9632
35 | 2580754.4876 | 1183840.3615
36 | 2580737.3694 | 1183832.9721
37 | 2580775.168 | 1183850.3494
38 | 2580735.4981 | 1183832.3538
39 | 2580777.8796 | 1183851.6591
40 | 2580715.9169 | 1183825.8843
41 | 2580788.8281 | 1183861.8624
42 | 2580712.3685 | 1183824.7119
43 | 2580795.0402 | 1183878.9499
44 | 2580569.9016 | 1183719.6773
45 | 2580580.5725 | 1183698.0688
46 | 2580603.1378 | 1183682.9683
47 | 2580617.797 | 1183690.3822
48 | 2580625.3415 | 1183681.7865
49 | 2580693.5411 | 1183818.4914
50 | 2580692.8476 | 1183818.2623
51 | 2580661.0932 | 1183886.7184
52 | 2580629.4652 | 1183880.8797
53 | 2580665.3203 | 1183887.4988
54 | 2580703.8291 | 1183894.6078
55 | 2580720.2676 | 1183897.6424
56 | 2580736.9157 | 1183900.7157
57 | 2580803.8544 | 1183563.698
58 | 2580814.4774 | 1183572.4896
59 | 2580705.3931 | 1183959.018
60 | 2580771.6061 | 1183907.1198
61 | 2580796.5734 | 1183896.6667
62 | 2580742.0804 | 1183901.6692
63 | 2580653.9463 | 1183652.2831
64 | 2580868.1378 | 1183721.5569
65 | 2580836.0908 | 1183602.2423
66 | 2580677.8676 | 1183955.3938
67 | 2580698.6273 | 1183958.1271
68 | 2580816.6842 | 1183574.6336
69 | 2581130.2244 | 1183820.4275
70 | 2581051.4233 | 1183745.2731
71 | 2580677.7822 | 1183813.2847

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98183 | -0.12769 | 0.00055361 | 0.00013875
1 | 0.98206 | -0.12605 | 0 | 0
2 | 0.98173 | -0.12836 | 0.0036401 | 0.00091231
3 | 0.98216 | -0.1253 | 0.0034191 | 0.0008569
4 | 0.99216 | -0.054911 | 0.0049059 | 0.0012295
5 | 0.99209 | -0.055394 | 0.0029875 | 0.00074873
6 | 0.99304 | -0.048727 | 0.0043944 | 0.0011013
7 | 0.99169 | -0.058207 | 0.0019371 | 0.00048547
8 | 0.99329 | -0.046904 | 0.0026568 | 0.00066586
9 | 0.99147 | -0.059814 | 0.0036959 | 0.00092628
10 | 0.99381 | -0.0433 | 0.0037135 | 0.00093068
11 | 0.99142 | -0.060107 | 0.0019084 | 0.00047828
12 | 0.99395 | -0.042281 | 0.0037815 | 0.00094774
13 | 0.98222 | -0.1249 | 0.002737 | 0.00068597
14 | 0.98257 | -0.1224 | 0 | 0
15 | 0.98195 | -0.12677 | 0.0033978 | 0.00085156
16 | 0.98379 | -0.11367 | 0.0034596 | 0.00086705
17 | 0.98177 | -0.12808 | 0.0040799 | 0.0010225
18 | 0.98508 | -0.10452 | 0 | 0
19 | 0.99295 | -0.049244 | 0.0062495 | 0.0015663
20 | 0.99159 | -0.0588 | 0.0066111 | 0.0016569
21 | 0.99302 | -0.048785 | 0.002232 | 0.00055938
22 | 0.98985 | -0.071131 | 0 | 0
23 | 0.99473 | -0.036808 | 0.0027451 | 0.00068799
24 | 0.98916 | -0.075981 | 0.0037646 | 0.0009435
25 | 0.99481 | -0.036236 | 0.0033969 | 0.00085136
26 | 0.98784 | -0.085349 | 0.0022214 | 0.00055673
27 | 0.99587 | -0.028785 | 0 | 0
28 | 0.9881 | -0.083223 | 0 | 0
29 | 0.98815 | -0.082862 | 0 | 0
30 | 0.98771 | -0.086006 | 0.00059897 | 0.00015012
31 | 0.98811 | -0.083168 | 0.0020431 | 0.00051204
32 | 0.9882 | -0.082553 | 0.001448 | 0.0003629
33 | 0.98721 | -0.08962 | 0.0015054 | 0.00037728
34 | 0.98853 | -0.080177 | 0.002243 | 0.00056215
35 | 0.99415 | -0.040684 | 0.0030937 | 0.00077534
36 | 0.99648 | -0.024431 | 0.0025752 | 0.0006454
37 | 0.99138 | -0.060048 | 0.0036295 | 0.00090963
38 | 0.99673 | -0.022669 | 0.0036787 | 0.00092196
39 | 0.99104 | -0.062484 | 0.0050603 | 0.0012682
40 | 0.99949 | -0.0035343 | 0.002094 | 0.0005248
41 | 0.98942 | -0.073844 | 0 | 0
42 | 1 | 0 | -0.17805 | -0.044665
43 | 0.98783 | -0.085053 | 0.0014072 | 0.00035267
44 | 0.98766 | -0.086589 | 0.0034659 | 0.00086863
45 | 0.98711 | -0.090508 | 0.0031039 | 0.00077791
46 | 0.98658 | -0.094252 | 0.0029721 | 0.00074488
47 | 0.98635 | -0.095894 | 0.0052951 | 0.0013271
48 | 0.98628 | -0.096412 | 0.0020238 | 0.00050722
49 | 0.9977 | -0.016015 | 0.0019615 | 0.00049161
50 | 0.99762 | -0.016591 | 0.0022728 | 0.00056962
51 | 0.98215 | -0.12539 | 0.0022333 | 0.00055972
52 | 0.98204 | -0.12613 | 0.0022357 | 0.00056031
53 | 0.98218 | -0.12519 | 0.0033659 | 0.00084358
54 | 0.98262 | -0.12202 | 0.0030095 | 0.00075425
55 | 0.98288 | -0.12014 | 0.0025998 | 0.00065158
56 | 0.98321 | -0.11779 | 0.0035053 | 0.00087851
57 | 0.98655 | -0.094243 | 0.0010565 | 0.00026479
58 | 0.98657 | -0.094093 | 0.001687 | 0.0004228
59 | 0.9814 | -0.13075 | 0.0034387 | 0.00086181
60 | 0.9843 | -0.11004 | 0.0029816 | 0.00074725
61 | 0.9863 | -0.095843 | 0.0020869 | 0.00052301
62 | 0.98334 | -0.11687 | 0.0050876 | 0.0012751
63 | 0.98605 | -0.098016 | 0.0023878 | 0.00059845
64 | 0.98754 | -0.087226 | 0.001465 | 0.00036718
65 | 0.98679 | -0.09254 | 0 | 0
66 | 0.98125 | -0.13179 | 0.0025219 | 0.00063205
67 | 0.98133 | -0.13125 | 0.0045169 | 0.0011321
68 | 0.98658 | -0.094006 | 0.0014452 | 0.0003622
69 | 0.9871 | -0.090382 | 0.00066051 | 0.00016554
70 | 0.98721 | -0.08964 | 0 | 0
71 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.00055361 | -0.00013875 | 0.00055373 | 0.00013524 | 1.2328e-07 | -3.5082e-06 | 0.00083902 | 0.00083777 | 0.00083902 | 0.98183 | -0.12769 | 0.98206 | -0.12605 | 0.31075
1 | 0.0036413 | 0.00091198 | -0.0036401 | -0.00091231 | 1.166e-06 | -3.2799e-07 | 0.0055171 | 0.0055174 | 0.0055174 | 0.98206 | -0.12605 | 0.98173 | -0.12836 | 2.0435
2 | -0.004195 | -0.0010472 | 0.0041955 | 0.0010472 | 4.2924e-07 | -5.0453e-08 | 0.0063549 | 0.0063548 | 0.0063549 | 0.98206 | -0.12605 | 0.98216 | -0.1253 | 2.3537
3 | -0.0076145 | -0.0019041 | 0.007615 | 0.0019042 | 4.1857e-07 | 9.7182e-08 | 0.011535 | 0.011535 | 0.011535 | 0.98216 | -0.1253 | 0.98222 | -0.1249 | 4.2721
4 | 0.010534 | 0.0026396 | -0.010533 | -0.0026394 | 7.0431e-07 | 2.1249e-07 | 0.015798 | 0.015798 | 0.015798 | 0.99216 | -0.054911 | 0.99209 | -0.055394 | 5.8512
5 | -0.01544 | -0.0038691 | 0.015453 | 0.0038737 | 1.3226e-05 | 4.5758e-06 | 0.023156 | 0.023156 | 0.023156 | 0.99216 | -0.054911 | 0.99304 | -0.048727 | 8.5763
6 | 0.0075456 | 0.0018906 | -0.0075426 | -0.00189 | 2.9359e-06 | 6.5506e-07 | 0.011317 | 0.011317 | 0.011317 | 0.99209 | -0.055394 | 0.99169 | -0.058207 | 4.1917
7 | -0.019847 | -0.004975 | 0.019852 | 0.0049768 | 5.0107e-06 | 1.8097e-06 | 0.02974 | 0.02974 | 0.02974 | 0.99304 | -0.048727 | 0.99329 | -0.046904 | 11.015
8 | 0.0056056 | 0.0014045 | -0.0056043 | -0.0014044 | 1.2464e-06 | 1.1518e-07 | 0.0084109 | 0.0084111 | 0.0084111 | 0.99169 | -0.058207 | 0.99147 | -0.059814 | 3.1152
9 | -0.022509 | -0.0056427 | 0.02252 | 0.0056468 | 1.1242e-05 | 4.1186e-06 | 0.033721 | 0.03372 | 0.033721 | 0.99329 | -0.046904 | 0.99381 | -0.0433 | 12.4891
10 | 0.0019084 | 0.00047811 | -0.0019084 | -0.00047828 | 7.7524e-08 | -1.6548e-07 | 0.0028642 | 0.0028642 | 0.0028642 | 0.99147 | -0.059814 | 0.99142 | -0.060107 | 1.0608
11 | -0.026234 | -0.0065775 | 0.026238 | 0.0065789 | 3.7061e-06 | 1.3755e-06 | 0.039281 | 0.039281 | 0.039281 | 0.99381 | -0.0433 | 0.99395 | -0.042281 | 14.5484
12 | -0.030019 | -0.0075266 | 0.030075 | 0.0075477 | 5.6236e-05 | 2.105e-05 | 0.044942 | 0.044942 | 0.044942 | 0.99395 | -0.042281 | 0.99587 | -0.028785 | 16.6451
13 | -0.010352 | -0.0025901 | 0.010356 | 0.0025912 | 3.5712e-06 | 1.0788e-06 | 0.015681 | 0.015681 | 0.015681 | 0.98222 | -0.1249 | 0.98257 | -0.1224 | 5.8079
14 | 0.017973 | 0.0045059 | -0.017962 | -0.004502 | 1.0861e-05 | 3.8799e-06 | 0.02722 | 0.02722 | 0.02722 | 0.98257 | -0.1224 | 0.98195 | -0.12677 | 10.0814
15 | -0.028329 | -0.0070971 | 0.028363 | 0.0071099 | 3.4273e-05 | 1.2804e-05 | 0.042901 | 0.042901 | 0.042901 | 0.98257 | -0.1224 | 0.98379 | -0.11367 | 15.8892
16 | 0.014565 | 0.0036504 | -0.014562 | -0.0036495 | 2.6382e-06 | 9.0492e-07 | 0.022071 | 0.022071 | 0.022071 | 0.98195 | -0.12677 | 0.98177 | -0.12808 | 8.1744
17 | -0.031823 | -0.0079769 | 0.031863 | 0.0079921 | 4.0349e-05 | 1.5164e-05 | 0.048133 | 0.048133 | 0.048133 | 0.98379 | -0.11367 | 0.98508 | -0.10452 | 17.8271
18 | 0.010482 | 0.002627 | -0.010478 | -0.0026258 | 3.8786e-06 | 1.1805e-06 | 0.015887 | 0.015887 | 0.015887 | 0.98177 | -0.12808 | 0.9814 | -0.13075 | 5.8842
19 | 0.025072 | 0.0062886 | -0.025053 | -0.0062815 | 1.9176e-05 | 7.1028e-06 | 0.037874 | 0.037874 | 0.037874 | 0.98508 | -0.10452 | 0.9843 | -0.11004 | 14.0275
20 | -0.056935 | -0.014281 | 0.057003 | 0.014307 | 6.8606e-05 | 2.6198e-05 | 0.086007 | 0.086007 | 0.086007 | 0.98508 | -0.10452 | 0.9863 | -0.095843 | 31.8545
21 | 0.031998 | 0.0080361 | -0.031956 | -0.0080202 | 4.245e-05 | 1.5945e-05 | 0.047957 | 0.047957 | 0.047957 | 0.99295 | -0.049244 | 0.99159 | -0.0588 | 17.762
22 | -0.038247 | -0.0096024 | 0.03825 | 0.0096033 | 2.4355e-06 | 9.2138e-07 | 0.057323 | 0.057323 | 0.057323 | 0.99295 | -0.049244 | 0.99302 | -0.048785 | 21.2306
23 | 0.025344 | 0.0063633 | -0.025301 | -0.0063472 | 4.3347e-05 | 1.6054e-05 | 0.038037 | 0.038037 | 0.038037 | 0.99159 | -0.0588 | 0.98985 | -0.071131 | 14.0877
24 | -0.040482 | -0.010163 | 0.040549 | 0.010188 | 6.7461e-05 | 2.5566e-05 | 0.060667 | 0.060667 | 0.060667 | 0.99302 | -0.048785 | 0.99473 | -0.036808 | 22.4693
25 | 0.025301 | 0.0063472 | -0.025284 | -0.0063409 | 1.7009e-05 | 6.2999e-06 | 0.038037 | 0.038037 | 0.038037 | 0.98985 | -0.071131 | 0.98916 | -0.075981 | 14.0878
26 | -0.043294 | -0.010876 | 0.043298 | 0.010878 | 3.4441e-06 | 1.3076e-06 | 0.064773 | 0.064773 | 0.064773 | 0.99473 | -0.036808 | 0.99481 | -0.036236 | 23.9902
27 | 0.021519 | 0.0053974 | -0.021492 | -0.0053872 | 2.7918e-05 | 1.0191e-05 | 0.032374 | 0.032374 | 0.032374 | 0.98916 | -0.075981 | 0.98784 | -0.085349 | 11.9904
28 | -0.046695 | -0.011729 | 0.046743 | 0.011747 | 4.8433e-05 | 1.8421e-05 | 0.069855 | 0.069854 | 0.069855 | 0.99481 | -0.036236 | 0.99587 | -0.028785 | 25.8721
29 | 0.01927 | 0.0048305 | -0.019267 | -0.0048293 | 3.3089e-06 | 1.1921e-06 | 0.029028 | 0.029028 | 0.029028 | 0.98784 | -0.085349 | 0.98766 | -0.086589 | 10.7511
30 | -0.076819 | -0.019295 | 0.076949 | 0.019345 | 0.00013047 | 4.9975e-05 | 0.1148 | 0.1148 | 0.1148 | 0.99587 | -0.028785 | 0.99762 | -0.016591 | 42.517
31 | -0.0027671 | -0.00068904 | 0.0027672 | 0.00068893 | 1.3633e-07 | -1.0886e-07 | 0.0041654 | 0.0041654 | 0.0041654 | 0.9881 | -0.083223 | 0.98815 | -0.082862 | 1.5428
32 | 0.0027671 | 0.00068904 | -0.002766 | -0.00068988 | 1.0541e-06 | -8.4104e-07 | 0.0041654 | 0.0041659 | 0.0041659 | 0.9881 | -0.083223 | 0.98771 | -0.086006 | 1.5429
33 | 0.0020431 | 0.00051188 | -0.0020431 | -0.00051204 | 8.6437e-08 | -1.5421e-07 | 0.0030766 | 0.0030767 | 0.0030767 | 0.98815 | -0.082862 | 0.98811 | -0.083168 | 1.1395
34 | -0.0048103 | -0.0012008 | 0.0048105 | 0.0012008 | 2.0415e-07 | -1.396e-09 | 0.007242 | 0.007242 | 0.007242 | 0.98815 | -0.082862 | 0.9882 | -0.082553 | 2.6822
35 | 0.002167 | 0.00053977 | -0.002166 | -0.00054142 | 1.0745e-06 | -1.6546e-06 | 0.0032635 | 0.0032642 | 0.0032642 | 0.98771 | -0.086006 | 0.98721 | -0.08962 | 1.209
36 | -0.0062585 | -0.0015637 | 0.0062606 | 0.001564 | 2.0466e-06 | 3.137e-07 | 0.0094223 | 0.0094221 | 0.0094223 | 0.9882 | -0.082553 | 0.98853 | -0.080177 | 3.4897
37 | 0.00066058 | 0.00016414 | -0.00066058 | -0.00016417 | 1.7947e-09 | -3.644e-08 | 0.00099519 | 0.00099521 | 0.00099521 | 0.98721 | -0.08962 | 0.98721 | -0.08964 | 0.36859
38 | 0.0056632 | 0.0014168 | -0.0056577 | -0.0014163 | 5.5079e-06 | 5.6261e-07 | 0.0085239 | 0.0085244 | 0.0085244 | 0.98853 | -0.080177 | 0.98754 | -0.087226 | 3.1572
39 | -0.014167 | -0.003543 | 0.014179 | 0.0035472 | 1.2376e-05 | 4.2002e-06 | 0.021322 | 0.021322 | 0.021322 | 0.98853 | -0.080177 | 0.98942 | -0.073844 | 7.8972
40 | -0.087015 | -0.021895 | 0.087213 | 0.021971 | 0.00019782 | 7.5842e-05 | 0.13027 | 0.13027 | 0.13027 | 0.99415 | -0.040684 | 0.99648 | -0.024431 | 48.2493
41 | 0.083921 | 0.02112 | -0.083695 | -0.021033 | 0.00022623 | 8.6713e-05 | 0.12564 | 0.12564 | 0.12564 | 0.99415 | -0.040684 | 0.99138 | -0.060048 | 46.5343
42 | -0.089788 | -0.022617 | 0.08981 | 0.022625 | 2.2121e-05 | 8.4824e-06 | 0.13412 | 0.13412 | 0.13412 | 0.99648 | -0.024431 | 0.99673 | -0.022669 | 49.6735
43 | 0.080066 | 0.020124 | -0.080039 | -0.020113 | 2.7147e-05 | 1.0402e-05 | 0.1202 | 0.1202 | 0.1202 | 0.99138 | -0.060048 | 0.99104 | -0.062484 | 44.5167
44 | -0.093489 | -0.023547 | 0.09374 | 0.023643 | 0.00025082 | 9.6198e-05 | 0.13961 | 0.13961 | 0.13961 | 0.99673 | -0.022669 | 0.99949 | -0.0035343 | 51.7075
45 | 0.074978 | 0.018845 | -0.07486 | -0.0188 | 0.0001184 | 4.5345e-05 | 0.1126 | 0.1126 | 0.1126 | 0.99104 | -0.062484 | 0.98942 | -0.073844 | 41.7027
46 | -0.095834 | -0.024168 | 0.095881 | 0.024186 | 4.7504e-05 | 1.8222e-05 | 0.14273 | 0.14273 | 0.14273 | 0.99949 | -0.0035343 | 1 | 0 | 52.8621
47 | 0.060681 | 0.015253 | -0.060586 | -0.015216 | 9.4557e-05 | 3.6135e-05 | 0.091275 | 0.091275 | 0.091275 | 0.98942 | -0.073844 | 0.98783 | -0.085053 | 33.8056
48 | 0.081371 | 0.020478 | -0.08119 | -0.020409 | 0.00018149 | 6.9543e-05 | 0.12111 | 0.12111 | 0.12111 | 1 | 0 | 0.9977 | -0.016015 | 44.8561
49 | 0.059179 | 0.014864 | -0.05909 | -0.01483 | 8.8649e-05 | 3.3867e-05 | 0.089156 | 0.089156 | 0.089156 | 0.98783 | -0.085053 | 0.9863 | -0.095843 | 33.0206
50 | 0.015801 | 0.0039607 | -0.015792 | -0.0039577 | 8.5702e-06 | 2.9863e-06 | 0.023806 | 0.023806 | 0.023806 | 0.98766 | -0.086589 | 0.98711 | -0.090508 | 8.8171
51 | 0.012689 | 0.0031798 | -0.012682 | -0.0031776 | 6.5731e-06 | 2.1603e-06 | 0.019127 | 0.019127 | 0.019127 | 0.98711 | -0.090508 | 0.98658 | -0.094252 | 7.0842
52 | 0.0097099 | 0.0024327 | -0.0097077 | -0.0024321 | 2.2049e-06 | 6.3769e-07 | 0.014645 | 0.014645 | 0.014645 | 0.98658 | -0.094252 | 0.98635 | -0.095894 | 5.424
53 | 0.0044125 | 0.001105 | -0.0044122 | -0.001105 | 3.1622e-07 | -2.4343e-08 | 0.0066565 | 0.0066565 | 0.0066565 | 0.98635 | -0.095894 | 0.98628 | -0.096412 | 2.4654
54 | 0.0023884 | 0.00059782 | -0.0023878 | -0.00059845 | 5.2948e-07 | -6.3019e-07 | 0.0036031 | 0.0036034 | 0.0036034 | 0.98628 | -0.096412 | 0.98605 | -0.098016 | 1.3346
55 | 0.079228 | 0.019917 | -0.079222 | -0.019915 | 6.3652e-06 | 2.4386e-06 | 0.11819 | 0.11819 | 0.11819 | 0.9977 | -0.016015 | 0.99762 | -0.016591 | 43.7726
56 | 0.0022359 | 0.00055999 | -0.0022357 | -0.00056031 | 2.3029e-07 | -3.184e-07 | 0.0033874 | 0.0033875 | 0.0033875 | 0.98215 | -0.12539 | 0.98204 | -0.12613 | 1.2546
57 | -0.0044692 | -0.0011197 | 0.0044693 | 0.0011197 | 1.2297e-07 | -7.1024e-09 | 0.006771 | 0.006771 | 0.006771 | 0.98215 | -0.12539 | 0.98218 | -0.12519 | 2.5078
58 | -0.0078352 | -0.0019633 | 0.0078387 | 0.0019641 | 3.4431e-06 | 8.2844e-07 | 0.01187 | 0.01187 | 0.01187 | 0.98218 | -0.12519 | 0.98262 | -0.12202 | 4.3964
59 | -0.010848 | -0.0027184 | 0.010851 | 0.0027192 | 2.8149e-06 | 8.7086e-07 | 0.016428 | 0.016428 | 0.016428 | 0.98262 | -0.12202 | 0.98288 | -0.12014 | 6.0843
60 | -0.013451 | -0.0033708 | 0.013455 | 0.0033723 | 4.3805e-06 | 1.4702e-06 | 0.020363 | 0.020363 | 0.020363 | 0.98288 | -0.12014 | 0.98321 | -0.11779 | 7.542
61 | -0.01696 | -0.0042508 | 0.016963 | 0.0042515 | 2.1593e-06 | 7.6387e-07 | 0.025668 | 0.025668 | 0.025668 | 0.98321 | -0.11779 | 0.98334 | -0.11687 | 9.5068
62 | -0.0010565 | -0.00026479 | 0.0010565 | 0.00026462 | 2.1899e-08 | -1.6805e-07 | 0.0015935 | 0.0015935 | 0.0015935 | 0.98655 | -0.094243 | 0.98657 | -0.094093 | 0.5902
63 | -0.0027435 | -0.00068742 | 0.0027435 | 0.00068739 | 3.2873e-08 | -2.6646e-08 | 0.0041379 | 0.0041379 | 0.0041379 | 0.98657 | -0.094093 | 0.98658 | -0.094006 | 1.5326
64 | 0.0070395 | 0.001764 | -0.0070391 | -0.0017639 | 4.8512e-07 | 1.0036e-07 | 0.010673 | 0.010673 | 0.010673 | 0.9814 | -0.13075 | 0.98133 | -0.13125 | 3.9531
65 | 0.022071 | 0.0055343 | -0.02205 | -0.0055266 | 2.0859e-05 | 7.6414e-06 | 0.033367 | 0.033367 | 0.033367 | 0.9843 | -0.11004 | 0.98334 | -0.11687 | 12.3581
66 | 0.0041927 | 0.0010491 | -0.0041896 | -0.0010495 | 3.0764e-06 | -3.9622e-07 | 0.0063169 | 0.0063174 | 0.0063174 | 0.98754 | -0.087226 | 0.98679 | -0.09254 | 2.3398
67 | 0.0041896 | 0.0010495 | -0.0041887 | -0.0010496 | 8.5009e-07 | -1.0901e-07 | 0.0063174 | 0.0063176 | 0.0063176 | 0.98679 | -0.09254 | 0.98658 | -0.094006 | 2.3399
68 | -0.0025219 | -0.00063205 | 0.0025221 | 0.00063186 | 1.9109e-07 | -1.9102e-07 | 0.0038244 | 0.0038243 | 0.0038244 | 0.98125 | -0.13179 | 0.98133 | -0.13125 | 1.4164
69 | -0.00066051 | -0.00016554 | 0.00066058 | 0.00016417 | 6.7333e-08 | -1.3662e-06 | 0.0009957 | 0.00099521 | 0.0009957 | 0.9871 | -0.090382 | 0.98721 | -0.08964 | 0.36878

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.18114 | 0.045438

## res_load
| p_mw | q_mvar
0 | 0.00055361 | 0.00013875
1 | 0.0036401 | 0.00091231
2 | 0.0034191 | 0.0008569
3 | 0.0049059 | 0.0012295
4 | 0.0029875 | 0.00074873
5 | 0.0043944 | 0.0011013
6 | 0.0019371 | 0.00048547
7 | 0.0026568 | 0.00066586
8 | 0.0036959 | 0.00092628
9 | 0.0037135 | 0.00093068
10 | 0.0019084 | 0.00047828
11 | 0.0037815 | 0.00094774
12 | 0.002737 | 0.00068597
13 | 0.0033978 | 0.00085156
14 | 0.0034596 | 0.00086705
15 | 0.0040799 | 0.0010225
16 | 0.0062495 | 0.0015663
17 | 0.0066111 | 0.0016569
18 | 0.002232 | 0.00055938
19 | 0.0027451 | 0.00068799
20 | 0.0037646 | 0.0009435
21 | 0.0033969 | 0.00085136
22 | 0.0022214 | 0.00055673
23 | 0.00059897 | 0.00015012
24 | 0.0020431 | 0.00051204
25 | 0.001448 | 0.0003629
26 | 0.0015054 | 0.00037728
27 | 0.002243 | 0.00056215
28 | 0.0030937 | 0.00077534
29 | 0.0025752 | 0.0006454
30 | 0.0036295 | 0.00090963
31 | 0.0036787 | 0.00092196
32 | 0.0050603 | 0.0012682
33 | 0.002094 | 0.0005248
34 | 0.0030871 | 0.00077369
35 | 0.0014072 | 0.00035267
36 | 0.0034659 | 0.00086863
37 | 0.0031039 | 0.00077791
38 | 0.0029721 | 0.00074488
39 | 0.0052951 | 0.0013271
40 | 0.0020238 | 0.00050722
41 | 0.0019615 | 0.00049161
42 | 0.0022728 | 0.00056962
43 | 0.0022333 | 0.00055972
44 | 0.0022357 | 0.00056031
45 | 0.0033659 | 0.00084358
46 | 0.0030095 | 0.00075425
47 | 0.0025998 | 0.00065158
48 | 0.0035053 | 0.00087851
49 | 0.0010565 | 0.00026479
50 | 0.001687 | 0.0004228
51 | 0.0034387 | 0.00086181
52 | 0.0029816 | 0.00074725
53 | 0.0020869 | 0.00052301
54 | 0.0050876 | 0.0012751
55 | 0.0023878 | 0.00059845
56 | 0.001465 | 0.00036718
57 | 0.0025219 | 0.00063205
58 | 0.0045169 | 0.0011321
59 | 0.0014452 | 0.0003622
60 | 0.00066051 | 0.00016554

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1