## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2306-35_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2306-35_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2306-35_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2306-35_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2306-35_0_3_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_2306-35_0_3_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_2306-35_0_3_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_2306-35_0_3_node_61 | 0.4 | n |  | TRUE
8 | bus_LV_2306-35_0_3_node_62 | 0.4 | n |  | TRUE
9 | bus_LV_2306-35_0_3_node_60 | 0.4 | n |  | TRUE
10 | bus_LV_2306-35_0_3_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_2306-35_0_3_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_2306-35_0_3_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_2306-35_0_3_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_2306-35_0_3_node_67 | 0.4 | n |  | TRUE
15 | bus_LV_2306-35_0_3_node_92 | 0.4 | n |  | TRUE
16 | bus_LV_2306-35_0_3_node_93 | 0.4 | n |  | TRUE
17 | bus_LV_2306-35_0_3_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_2306-35_0_3_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_2306-35_0_3_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_2306-35_0_3_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_2306-35_0_3_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_2306-35_0_3_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_2306-35_0_3_node_73 | 0.4 | n |  | TRUE
24 | bus_LV_2306-35_0_3_node_43 | 0.4 | n |  | TRUE
25 | bus_LV_2306-35_0_3_node_42 | 0.4 | n |  | TRUE
26 | bus_LV_2306-35_0_3_node_77 | 0.4 | n |  | TRUE
27 | bus_LV_2306-35_0_3_node_85 | 0.4 | n |  | TRUE
28 | bus_LV_2306-35_0_3_node_82 | 0.4 | n |  | TRUE
29 | bus_LV_2306-35_0_3_node_38 | 0.4 | n |  | TRUE
30 | bus_LV_2306-35_0_3_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_2306-35_0_3_node_75 | 0.4 | n |  | TRUE
32 | bus_LV_2306-35_0_3_node_17 | 0.4 | n |  | TRUE
33 | bus_LV_2306-35_0_3_node_18 | 0.4 | n |  | TRUE
34 | bus_LV_2306-35_0_3_node_30 | 0.4 | n |  | TRUE
35 | bus_LV_2306-35_0_3_node_19 | 0.4 | n |  | TRUE
36 | bus_LV_2306-35_0_3_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_2306-35_0_3_node_44 | 0.4 | n |  | TRUE
38 | bus_LV_2306-35_0_3_node_84 | 0.4 | n |  | TRUE
39 | bus_LV_2306-35_0_3_node_22 | 0.4 | n |  | TRUE
40 | bus_LV_2306-35_0_3_node_23 | 0.4 | n |  | TRUE
41 | bus_LV_2306-35_0_3_node_24 | 0.4 | n |  | TRUE
42 | bus_LV_2306-35_0_3_node_25 | 0.4 | n |  | TRUE
43 | bus_LV_2306-35_0_3_node_26 | 0.4 | n |  | TRUE
44 | bus_LV_2306-35_0_3_node_27 | 0.4 | n |  | TRUE
45 | bus_LV_2306-35_0_3_node_56 | 0.4 | n |  | TRUE
46 | bus_LV_2306-35_0_3_node_32 | 0.4 | n |  | TRUE
47 | bus_LV_2306-35_0_3_node_31 | 0.4 | n |  | TRUE
48 | bus_LV_2306-35_0_3_node_55 | 0.4 | n |  | TRUE
49 | bus_LV_2306-35_0_3_node_33 | 0.4 | n |  | TRUE
50 | bus_LV_2306-35_0_3_node_28 | 0.4 | n |  | TRUE
51 | bus_LV_2306-35_0_3_node_34 | 0.4 | n |  | TRUE
52 | bus_LV_2306-35_0_3_node_35 | 0.4 | n |  | TRUE
53 | bus_LV_2306-35_0_3_node_36 | 0.4 | n |  | TRUE
54 | bus_LV_2306-35_0_3_node_37 | 0.4 | n |  | TRUE
55 | bus_LV_2306-35_0_3_node_39 | 0.4 | n |  | TRUE
56 | bus_LV_2306-35_0_3_node_59 | 0.4 | n |  | TRUE
57 | bus_LV_2306-35_0_3_node_63 | 0.4 | n |  | TRUE
58 | bus_LV_2306-35_0_3_node_40 | 0.4 | n |  | TRUE
59 | bus_LV_2306-35_0_3_node_57 | 0.4 | n |  | TRUE
60 | bus_LV_2306-35_0_3_node_87 | 0.4 | n |  | TRUE
61 | bus_LV_2306-35_0_3_node_41 | 0.4 | n |  | TRUE
62 | bus_LV_2306-35_0_3_node_70 | 0.4 | n |  | TRUE
63 | bus_LV_2306-35_0_3_node_69 | 0.4 | n |  | TRUE
64 | bus_LV_2306-35_0_3_node_83 | 0.4 | n |  | TRUE
65 | bus_LV_2306-35_0_3_node_45 | 0.4 | n |  | TRUE
66 | bus_LV_2306-35_0_3_node_46 | 0.4 | n |  | TRUE
67 | bus_LV_2306-35_0_3_node_47 | 0.4 | n |  | TRUE
68 | bus_LV_2306-35_0_3_node_48 | 0.4 | n |  | TRUE
69 | bus_LV_2306-35_0_3_node_49 | 0.4 | n |  | TRUE
70 | bus_LV_2306-35_0_3_node_68 | 0.4 | n |  | TRUE
71 | bus_LV_2306-35_0_3_node_54 | 0.4 | n |  | TRUE
72 | bus_LV_2306-35_0_3_node_66 | 0.4 | n |  | TRUE
73 | bus_LV_2306-35_0_3_node_53 | 0.4 | n |  | TRUE
74 | bus_LV_2306-35_0_3_node_50 | 0.4 | n |  | TRUE
75 | bus_LV_2306-35_0_3_node_51 | 0.4 | n |  | TRUE
76 | bus_LV_2306-35_0_3_node_52 | 0.4 | n |  | TRUE
77 | bus_LV_2306-35_0_3_node_58 | 0.4 | n |  | TRUE
78 | bus_LV_2306-35_0_3_node_65 | 0.4 | n |  | TRUE
79 | bus_LV_2306-35_0_3_node_64 | 0.4 | n |  | TRUE
80 | bus_LV_2306-35_0_3_node_71 | 0.4 | n |  | TRUE
81 | bus_LV_2306-35_0_3_node_72 | 0.4 | n |  | TRUE
82 | bus_LV_2306-35_0_3_node_90 | 0.4 | n |  | TRUE
83 | bus_LV_2306-35_0_3_node_89 | 0.4 | n |  | TRUE
84 | bus_LV_2306-35_0_3_node_91 | 0.4 | n |  | TRUE
85 | bus_LV_2306-35_0_3_node_80 | 0.4 | n |  | TRUE
86 | bus_LV_2306-35_0_3_node_74 | 0.4 | n |  | TRUE
87 | bus_LV_2306-35_0_3_node_76 | 0.4 | n |  | TRUE
88 | bus_LV_2306-35_0_3_node_78 | 0.4 | n |  | TRUE
89 | bus_LV_2306-35_0_3_node_79 | 0.4 | n |  | TRUE
90 | bus_LV_2306-35_0_3_node_81 | 0.4 | n |  | TRUE
91 | bus_LV_2306-35_0_3_node_86 | 0.4 | n |  | TRUE
92 | bus_LV_2306-35_0_3_node_88 | 0.4 | n |  | TRUE
93 | bus_MV_119_1_node_165 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2306-35_0_3_load_0 | 0 | 0.0015733 | 0.0003943 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2306-35_0_3_load_1 | 1 | 0.00017462 | 4.3765e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2306-35_0_3_load_6 | 4 | 0.0018606 | 0.00046632 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2306-35_0_3_load_7 | 6 | 0.00085527 | 0.00021435 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2306-35_0_3_load_62 | 8 | 0.00020558 | 5.1523e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2306-35_0_3_load_60 | 9 | 0.00035982 | 9.018e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2306-35_0_3_load_5 | 10 | 0.00016688 | 4.1824e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2306-35_0_3_load_9 | 11 | 0.00086345 | 0.0002164 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2306-35_0_3_load_8 | 13 | 0.00034108 | 8.5483e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2306-35_0_3_load_67 | 14 | 0.00020558 | 5.1523e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2306-35_0_3_load_93 | 16 | 0.0033311 | 0.00083486 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2306-35_0_3_load_11 | 17 | 0.0016424 | 0.00041163 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2306-35_0_3_load_12 | 18 | 0.0015879 | 0.00039798 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2306-35_0_3_load_14 | 20 | 0.0016008 | 0.0004012 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2306-35_0_3_load_16 | 22 | 0.0018958 | 0.00047512 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2306-35_0_3_load_43 | 24 | 0.006583 | 0.0016498 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2306-35_0_3_load_42 | 25 | 0.0037748 | 0.00094605 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2306-35_0_3_load_77 | 26 | 0.0013669 | 0.00034257 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2306-35_0_3_load_85 | 27 | 0.0009209 | 0.0002308 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2306-35_0_3_load_82 | 28 | 0.0024786 | 0.0006212 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2306-35_0_3_load_75 | 31 | 0.0018674 | 0.00046802 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2306-35_0_3_load_17 | 32 | 0.0030057 | 0.0007533 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2306-35_0_3_load_18 | 33 | 0.00062513 | 0.00015667 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2306-35_0_3_load_30 | 34 | 0.00065706 | 0.00016467 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2306-35_0_3_load_19 | 35 | 0.0023455 | 0.00058784 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2306-35_0_3_load_44 | 37 | 0.0074458 | 0.0018661 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2306-35_0_3_load_22 | 39 | 0.0035682 | 0.00089427 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2306-35_0_3_load_23 | 40 | 0.0024389 | 0.00061125 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2306-35_0_3_load_25 | 42 | 0.0027085 | 0.00067881 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2306-35_0_3_load_26 | 43 | 0.0027333 | 0.00068502 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2306-35_0_3_load_27 | 44 | 0.0028639 | 0.00071777 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2306-35_0_3_load_56 | 45 | 0.0014322 | 0.00035894 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2306-35_0_3_load_32 | 46 | 0.0023426 | 0.0005871 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2306-35_0_3_load_31 | 47 | 0.0029262 | 0.00073338 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2306-35_0_3_load_55 | 48 | 0.001881 | 0.00047141 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2306-35_0_3_load_33 | 49 | 0.0031059 | 0.0007784 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2306-35_0_3_load_28 | 50 | 0.0042147 | 0.0010563 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2306-35_0_3_load_34 | 51 | 0.0058168 | 0.0014578 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2306-35_0_3_load_35 | 52 | 0.0040549 | 0.0010162 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2306-35_0_3_load_39 | 55 | 0.0044297 | 0.0011102 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2306-35_0_3_load_59 | 56 | 0.0091239 | 0.0022867 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2306-35_0_3_load_63 | 57 | 0.0025043 | 0.00062763 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2306-35_0_3_load_40 | 58 | 0.0015269 | 0.00038269 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2306-35_0_3_load_87 | 60 | 0.0030055 | 0.00075326 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2306-35_0_3_load_41 | 61 | 0.0032291 | 0.0008093 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2306-35_0_3_load_70 | 62 | 0.003231 | 0.00080977 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2306-35_0_3_load_69 | 63 | 0.001604 | 0.00040199 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2306-35_0_3_load_83 | 64 | 0.0018392 | 0.00046096 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2306-35_0_3_load_45 | 65 | 0.0012138 | 0.00030422 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2306-35_0_3_load_46 | 66 | 0.0012141 | 0.00030428 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2306-35_0_3_load_47 | 67 | 0.0012776 | 0.00032019 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2306-35_0_3_load_48 | 68 | 0.0012138 | 0.00030422 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2306-35_0_3_load_49 | 69 | 0.0012763 | 0.00031987 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2306-35_0_3_load_68 | 70 | 0.0012135 | 0.00030414 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2306-35_0_3_load_54 | 71 | 0.0012776 | 0.00032019 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2306-35_0_3_load_53 | 73 | 0.0012776 | 0.00032019 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2306-35_0_3_load_50 | 74 | 0.0011404 | 0.0002858 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2306-35_0_3_load_52 | 76 | 0.0016101 | 0.00040353 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2306-35_0_3_load_58 | 77 | 0.0021491 | 0.00053861 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2306-35_0_3_load_65 | 78 | 0.00020579 | 5.1576e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2306-35_0_3_load_64 | 79 | 0.00020545 | 5.149e-05 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2306-35_0_3_load_71 | 80 | 0.0018823 | 0.00047176 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2306-35_0_3_load_72 | 81 | 0.0019047 | 0.00047736 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2306-35_0_3_load_90 | 82 | 0.001777 | 0.00044535 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2306-35_0_3_load_89 | 83 | 0.0012039 | 0.00030173 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2306-35_0_3_load_91 | 84 | 0.00093874 | 0.00023527 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2306-35_0_3_load_80 | 85 | 0.0017055 | 0.00042743 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2306-35_0_3_load_74 | 86 | 0.0011069 | 0.00027742 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2306-35_0_3_load_76 | 87 | 0.0011069 | 0.00027742 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2306-35_0_3_load_78 | 88 | 0.001556 | 0.00038996 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_2306-35_0_3_load_79 | 89 | 0.0011988 | 0.00030044 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_2306-35_0_3_load_81 | 90 | 0.00094775 | 0.00023753 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_2306-35_0_3_load_86 | 91 | 0.0010008 | 0.00025083 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_2306-35_0_3_load_88 | 92 | 0.0082133 | 0.0020584 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 48 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2306-35_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.026384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2306-35_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.013448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2306-35_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0084918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2306-35_0_3_line_3 | NAYY 4x150 SE | 1 | 4 | 0.065431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2306-35_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.051911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2306-35_0_3_line_5 | NAYY 4x150 SE | 3 | 7 | 0.21179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2306-35_0_3_line_6 | NAYY 4x150 SE | 4 | 6 | 0.047693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2306-35_0_3_line_7 | NAYY 4x150 SE | 5 | 10 | 0.04303 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2306-35_0_3_line_8 | NAYY 4x150 SE | 6 | 13 | 0.0038209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2306-35_0_3_line_9 | NAYY 4x150 SE | 7 | 8 | 0.060044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2306-35_0_3_line_10 | NAYY 4x150 SE | 7 | 9 | 0.025972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2306-35_0_3_line_11 | NAYY 4x150 SE | 8 | 14 | 0.0074932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2306-35_0_3_line_12 | NAYY 4x150 SE | 9 | 54 | 0.011479 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2306-35_0_3_line_13 | NAYY 4x150 SE | 11 | 12 | 0.06305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2306-35_0_3_line_14 | NAYY 4x150 SE | 11 | 13 | 0.0041671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2306-35_0_3_line_15 | NAYY 4x150 SE | 12 | 15 | 0.25394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2306-35_0_3_line_16 | NAYY 4x150 SE | 14 | 78 | 0.0074942 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2306-35_0_3_line_17 | NAYY 4x150 SE | 15 | 16 | 0.014413 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2306-35_0_3_line_18 | NAYY 4x150 SE | 17 | 18 | 0.030729 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2306-35_0_3_line_19 | NAYY 4x150 SE | 17 | 19 | 0.030072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2306-35_0_3_line_20 | NAYY 4x150 SE | 18 | 20 | 0.011476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2306-35_0_3_line_21 | NAYY 4x150 SE | 19 | 21 | 0.032273 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2306-35_0_3_line_22 | NAYY 4x150 SE | 19 | 22 | 0.028975 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2306-35_0_3_line_23 | NAYY 4x150 SE | 20 | 23 | 0.021437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2306-35_0_3_line_24 | NAYY 4x150 SE | 21 | 24 | 0.021359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2306-35_0_3_line_25 | NAYY 4x150 SE | 21 | 25 | 0.031553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2306-35_0_3_line_26 | NAYY 4x150 SE | 22 | 26 | 0.017037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2306-35_0_3_line_27 | NAYY 4x150 SE | 23 | 27 | 0.012623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2306-35_0_3_line_28 | NAYY 4x150 SE | 23 | 28 | 0.021975 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2306-35_0_3_line_29 | NAYY 4x150 SE | 24 | 29 | 0.018438 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2306-35_0_3_line_30 | NAYY 4x150 SE | 25 | 30 | 0.016486 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2306-35_0_3_line_31 | NAYY 4x150 SE | 26 | 31 | 0.0052481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2306-35_0_3_line_32 | NAYY 4x150 SE | 27 | 84 | 0.021355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2306-35_0_3_line_33 | NAYY 4x150 SE | 28 | 85 | 0.015017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2306-35_0_3_line_34 | NAYY 4x150 SE | 29 | 56 | 0.015587 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
35 | LV_2306-35_0_3_line_35 | NAYY 4x150 SE | 29 | 57 | 0.033316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2306-35_0_3_line_36 | NAYY 4x150 SE | 29 | 53 | 0.038641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2306-35_0_3_line_37 | NAYY 4x150 SE | 30 | 37 | 0.018618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2306-35_0_3_line_38 | NAYY 4x150 SE | 31 | 86 | 0.01889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2306-35_0_3_line_39 | NAYY 4x150 SE | 32 | 33 | 0.019412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2306-35_0_3_line_40 | NAYY 4x150 SE | 33 | 34 | 0.015805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2306-35_0_3_line_41 | NAYY 4x150 SE | 34 | 35 | 0.020647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2306-35_0_3_line_42 | NAYY 4x150 SE | 34 | 36 | 0.030997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2306-35_0_3_line_43 | NAYY 4x150 SE | 36 | 47 | 0.0030817 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2306-35_0_3_line_44 | NAYY 4x150 SE | 36 | 50 | 0.022265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2306-35_0_3_line_45 | NAYY 4x150 SE | 37 | 38 | 0.052803 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_2306-35_0_3_line_46 | NAYY 4x150 SE | 38 | 64 | 0.035044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_2306-35_0_3_line_47 | NAYY 4x150 SE | 39 | 40 | 0.038215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_2306-35_0_3_line_48 | NAYY 4x150 SE | 39 | 41 | 0.0041403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_2306-35_0_3_line_49 | NAYY 4x150 SE | 40 | 42 | 0.010659 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_2306-35_0_3_line_50 | NAYY 4x150 SE | 41 | 43 | 0.050941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_2306-35_0_3_line_51 | NAYY 4x150 SE | 41 | 44 | 0.057275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_2306-35_0_3_line_52 | NAYY 4x150 SE | 42 | 45 | 0.0076608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_2306-35_0_3_line_53 | NAYY 4x150 SE | 43 | 46 | 0.030902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_2306-35_0_3_line_54 | NAYY 4x150 SE | 44 | 47 | 0.0067983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_2306-35_0_3_line_55 | NAYY 4x150 SE | 45 | 48 | 0.016965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_2306-35_0_3_line_56 | NAYY 4x150 SE | 46 | 49 | 0.029718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_2306-35_0_3_line_57 | NAYY 4x150 SE | 48 | 59 | 0.0032746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
58 | LV_2306-35_0_3_line_58 | NAYY 4x150 SE | 51 | 52 | 0.012228 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_2306-35_0_3_line_59 | NAYY 4x150 SE | 51 | 53 | 0.021342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_2306-35_0_3_line_60 | NAYY 4x150 SE | 52 | 54 | 0.010661 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_2306-35_0_3_line_61 | NAYY 4x150 SE | 53 | 55 | 0.023986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_2306-35_0_3_line_62 | NAYY 4x150 SE | 55 | 58 | 0.010523 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_2306-35_0_3_line_63 | NAYY 4x150 SE | 56 | 59 | 0.023352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
64 | LV_2306-35_0_3_line_64 | NAYY 4x150 SE | 57 | 60 | 0.025193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_2306-35_0_3_line_65 | NAYY 4x150 SE | 58 | 61 | 0.011448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_2306-35_0_3_line_66 | NAYY 4x150 SE | 59 | 77 | 0.049187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_2306-35_0_3_line_67 | NAYY 4x150 SE | 61 | 62 | 0.012856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_2306-35_0_3_line_68 | NAYY 4x150 SE | 62 | 63 | 0.013286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_2306-35_0_3_line_69 | NAYY 4x150 SE | 63 | 80 | 0.021745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_2306-35_0_3_line_70 | NAYY 4x150 SE | 65 | 66 | 0.0074969 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_2306-35_0_3_line_71 | NAYY 4x150 SE | 65 | 67 | 0.016232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_2306-35_0_3_line_72 | NAYY 4x150 SE | 66 | 68 | 0.0074972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_2306-35_0_3_line_73 | NAYY 4x150 SE | 67 | 69 | 0.0076681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_2306-35_0_3_line_74 | NAYY 4x150 SE | 68 | 70 | 0.0074951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_2306-35_0_3_line_75 | NAYY 4x150 SE | 69 | 71 | 0.0076681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_2306-35_0_3_line_76 | NAYY 4x150 SE | 70 | 72 | 0.015065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_2306-35_0_3_line_77 | NAYY 4x150 SE | 71 | 73 | 0.0076719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_2306-35_0_3_line_78 | NAYY 4x150 SE | 72 | 79 | 0.0020808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_2306-35_0_3_line_79 | NAYY 4x150 SE | 73 | 76 | 0.018291 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_2306-35_0_3_line_80 | NAYY 4x150 SE | 74 | 75 | 0.020027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_2306-35_0_3_line_81 | NAYY 4x150 SE | 75 | 76 | 0.024166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_2306-35_0_3_line_82 | NAYY 4x150 SE | 78 | 79 | 0.007496 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_2306-35_0_3_line_83 | NAYY 4x150 SE | 80 | 81 | 0.022983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_2306-35_0_3_line_84 | NAYY 4x150 SE | 81 | 82 | 0.020403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_2306-35_0_3_line_85 | NAYY 4x150 SE | 82 | 83 | 0.0020683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_2306-35_0_3_line_86 | NAYY 4x150 SE | 83 | 92 | 0.037214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_2306-35_0_3_line_87 | NAYY 4x150 SE | 84 | 91 | 0.033633 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_2306-35_0_3_line_88 | NAYY 4x150 SE | 85 | 89 | 0.012525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_2306-35_0_3_line_89 | NAYY 4x150 SE | 86 | 87 | 0.0061855 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_2306-35_0_3_line_90 | NAYY 4x150 SE | 87 | 88 | 0.0039101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_2306-35_0_3_line_91 | NAYY 4x150 SE | 89 | 90 | 0.0071085 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2306-35_0_3_trafo_55 | 0.25 MVA 20/0.4 kV | 93 | 48 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2586633.2148 | 1184822.8068 | 2586628.8821 | 1184830.2481 | 2586627.321 | 1184847.9523
1 | 2586638.8743 | 1184810.6711 | 2586636.6597 | 1184816.8904 | 2586633.2148 | 1184822.8068
2 | 2586626.575 | 1184856.4113 | 2586627.321 | 1184847.9523
3 | 2586563.1904 | 1184834.9701 | 2586627.321 | 1184847.9523
4 | 2586669.6827 | 1184789.3465 | 2586671.7433 | 1184802.949 | 2586669.7465 | 1184807.6225 | 2586664.3979 | 1184811.6366 | 2586658.1473 | 1184811.6506 | 2586650.3328 | 1184808.5554 | 2586641.8552 | 1184809.2414 | 2586638.8743 | 1184810.6711
5 | 2586592.7175 | 1185065.4735 | 2586626.575 | 1184856.4113
6 | 2586563.1904 | 1184834.9701 | 2586554.3002 | 1184829.2933 | 2586548.9406 | 1184825.0365 | 2586546.9575 | 1184815.436 | 2586552.7972 | 1184795.7884
7 | 2586669.6827 | 1184789.3465 | 2586668.575 | 1184782.0452 | 2586657.1376 | 1184759.5926 | 2586651.6912 | 1184750.6779
8 | 2586553.8858 | 1184792.1259 | 2586552.7972 | 1184795.7884
9 | 2586592.7175 | 1185065.4735 | 2586587.0215 | 1185060.8617 | 2586578.3594 | 1185057.4128 | 2586535.259 | 1185062.4294
10 | 2586592.7175 | 1185065.4735 | 2586587.4378 | 1185072.867 | 2586580.926 | 1185088.4474
11 | 2586535.259 | 1185062.4294 | 2586527.8161 | 1185063.2957
12 | 2586576.4995 | 1185099.0385 | 2586580.926 | 1185088.4474
13 | 2586507.0671 | 1184755.7954 | 2586528.7431 | 1184766.2851 | 2586553.6462 | 1184776.2673 | 2586555.6302 | 1184786.2569 | 2586555.073 | 1184788.1315
14 | 2586555.073 | 1184788.1315 | 2586553.8858 | 1184792.1259
15 | 2586507.0671 | 1184755.7954 | 2586253.1232 | 1184755.0758
16 | 2586527.8161 | 1185063.2957 | 2586520.3721 | 1185064.1622
17 | 2586240.3551 | 1184761.831 | 2586253.1232 | 1184755.0758
18 | 2586633.6861 | 1185172.9977 | 2586605.6383 | 1185185.5515
19 | 2586578.3257 | 1185198.1302 | 2586589.7377 | 1185192.6684 | 2586605.6383 | 1185185.5515
20 | 2586633.6861 | 1185172.9977 | 2586644.161 | 1185168.3093
21 | 2586578.3257 | 1185198.1302 | 2586559.7733 | 1185208.2106 | 2586550.0482 | 1185213.8244
22 | 2586578.3257 | 1185198.1302 | 2586579.5969 | 1185210.2336 | 2586575.8566 | 1185226.6176
23 | 2586663.7274 | 1185159.5517 | 2586644.161 | 1185168.3093
24 | 2586550.0482 | 1185213.8244 | 2586545.0027 | 1185193.0695
25 | 2586550.0482 | 1185213.8244 | 2586541.8137 | 1185220.5131 | 2586534.468 | 1185228.8007 | 2586528.6676 | 1185236.7861
26 | 2586572.0647 | 1185243.2274 | 2586575.8566 | 1185226.6176
27 | 2586663.7274 | 1185159.5517 | 2586675.3783 | 1185154.6929
28 | 2586663.7274 | 1185159.5517 | 2586672.7668 | 1185179.581
29 | 2586543.3204 | 1185174.7082 | 2586545.0027 | 1185193.0695
30 | 2586518.9787 | 1185250.1246 | 2586528.6676 | 1185236.7861
31 | 2586572.0647 | 1185243.2274 | 2586570.8967 | 1185248.3439
32 | 2586675.3783 | 1185154.6929 | 2586695.0883 | 1185146.4733
33 | 2586678.9439 | 1185193.2684 | 2586678.9439 | 1185193.2684 | 2586672.7668 | 1185179.581
34 | 2586543.3204 | 1185174.7082 | 2586527.8398 | 1185172.8941
35 | 2586543.3204 | 1185174.7082 | 2586573.9817 | 1185161.675
36 | 2586555.8451 | 1185138.1499 | 2586543.3204 | 1185174.7082
37 | 2586518.9787 | 1185250.1246 | 2586520.9005 | 1185256.3123 | 2586520.0063 | 1185268.4175
38 | 2586566.6925 | 1185266.7599 | 2586570.8967 | 1185248.3439
39 | 2586436.6423 | 1185264.4632 | 2586450.8706 | 1185251.2575
40 | 2586422.6096 | 1185257.1917 | 2586436.6423 | 1185264.4632
41 | 2586422.6096 | 1185257.1917 | 2586417.1069 | 1185277.0923
42 | 2586394.8754 | 1185243.1921 | 2586422.6096 | 1185257.1917
43 | 2586394.8754 | 1185243.1921 | 2586396.7299 | 1185240.7309
44 | 2586394.8754 | 1185243.1921 | 2586384.2973 | 1185262.7839
45 | 2586494.6025 | 1185313.4349 | 2586509.4763 | 1185296.7258 | 2586516.8986 | 1185281.9125 | 2586519.9158 | 1185269.6437 | 2586520.0063 | 1185268.4175
46 | 2586494.6025 | 1185313.4349 | 2586501.1781 | 1185315.6545 | 2586519.4702 | 1185318.8702 | 2586528.5145 | 1185321.8767
47 | 2586428.5101 | 1185183.2131 | 2586466.4161 | 1185178.3648
48 | 2586424.4033 | 1185183.7384 | 2586428.5101 | 1185183.2131
49 | 2586466.4161 | 1185178.3648 | 2586476.9885 | 1185177.0126
50 | 2586424.4033 | 1185183.7384 | 2586391.0514 | 1185182.8029 | 2586374.1362 | 1185178.0272
51 | 2586424.4033 | 1185183.7384 | 2586411.1955 | 1185221.5325 | 2586400.821 | 1185235.3014
52 | 2586484.5874 | 1185176.0407 | 2586476.9885 | 1185177.0126
53 | 2586344.3969 | 1185169.6309 | 2586374.1362 | 1185178.0272
54 | 2586400.821 | 1185235.3014 | 2586396.7299 | 1185240.7309
55 | 2586501.4156 | 1185173.8883 | 2586484.5874 | 1185176.0407
56 | 2586315.6929 | 1185167.501 | 2586326.1112 | 1185164.7201 | 2586336.565 | 1185167.4197 | 2586344.3969 | 1185169.6309
57 | 2586504.6638 | 1185173.4728 | 2586501.4156 | 1185173.8883
58 | 2586565.8112 | 1185119.278 | 2586571.5212 | 1185108.4656
59 | 2586555.8451 | 1185138.1499 | 2586565.8112 | 1185119.278
60 | 2586576.4995 | 1185099.0385 | 2586571.5212 | 1185108.4656
61 | 2586555.8451 | 1185138.1499 | 2586546.214 | 1185127.9997 | 2586536.6753 | 1185125.0197
62 | 2586536.6753 | 1185125.0197 | 2586526.2659 | 1185126.5594
63 | 2586504.6638 | 1185173.4728 | 2586518.099 | 1185171.7526 | 2586527.8398 | 1185172.8941
64 | 2586573.9817 | 1185161.675 | 2586597.167 | 1185151.8197
65 | 2586514.9411 | 1185128.2346 | 2586526.2659 | 1185126.5594
66 | 2586504.6638 | 1185173.4728 | 2586493.4372 | 1185196.7659 | 2586480.7447 | 1185216.3716
67 | 2586502.2234 | 1185130.1158 | 2586514.9411 | 1185128.2346
68 | 2586489.0805 | 1185132.0598 | 2586502.2234 | 1185130.1158
69 | 2586489.0805 | 1185132.0598 | 2586467.5694 | 1185135.2417
70 | 2586473.6208 | 1185070.1294 | 2586481.0547 | 1185069.1592
71 | 2586473.6208 | 1185070.1294 | 2586457.5258 | 1185072.23
72 | 2586488.4888 | 1185068.189 | 2586481.0547 | 1185069.1592
73 | 2586457.5258 | 1185072.23 | 2586449.9222 | 1185073.2223
74 | 2586495.9208 | 1185067.219 | 2586488.4888 | 1185068.189
75 | 2586449.9222 | 1185073.2223 | 2586442.3186 | 1185074.2147
76 | 2586510.8596 | 1185065.2694 | 2586495.9208 | 1185067.219
77 | 2586434.7113 | 1185075.2075 | 2586442.3186 | 1185074.2147
78 | 2586510.8596 | 1185065.2694 | 2586512.9264 | 1185065.0288
79 | 2586416.5744 | 1185077.5745 | 2586434.7113 | 1185075.2075
80 | 2586392.6113 | 1185080.702 | 2586373.027 | 1185084.89
81 | 2586392.6113 | 1185080.702 | 2586416.5744 | 1185077.5745
82 | 2586512.9264 | 1185065.0288 | 2586520.3721 | 1185064.1622
83 | 2586444.8338 | 1185138.6047 | 2586467.5694 | 1185135.2417
84 | 2586444.8338 | 1185138.6047 | 2586424.6503 | 1185141.5902
85 | 2586424.6503 | 1185141.5902 | 2586422.6043 | 1185141.8928
86 | 2586385.6923 | 1185139.7213 | 2586414.0157 | 1185143.1633 | 2586422.6043 | 1185141.8928
87 | 2586695.0883 | 1185146.4733 | 2586685.7728 | 1185114.1561
88 | 2586690.5553 | 1185188.5722 | 2586678.9439 | 1185193.2684
89 | 2586566.6925 | 1185266.7599 | 2586565.3158 | 1185272.7902
90 | 2586564.4456 | 1185276.6022 | 2586565.3158 | 1185272.7902
91 | 2586690.5553 | 1185188.5722 | 2586697.1453 | 1185185.9069

## bus_geodata
| x | y | coords
0 | 2586633.2148 | 1184822.8068
1 | 2586627.321 | 1184847.9522
2 | 2586638.8743 | 1184810.6711
3 | 2586626.575 | 1184856.4113
4 | 2586563.1904 | 1184834.9701
5 | 2586669.6827 | 1184789.3465
6 | 2586552.7972 | 1184795.7884
7 | 2586592.7175 | 1185065.4735
8 | 2586535.259 | 1185062.4294
9 | 2586580.926 | 1185088.4474
10 | 2586651.6912 | 1184750.6779
11 | 2586555.073 | 1184788.1315
12 | 2586507.0671 | 1184755.7954
13 | 2586553.8858 | 1184792.1259
14 | 2586527.8161 | 1185063.2957
15 | 2586253.1232 | 1184755.0758
16 | 2586240.3551 | 1184761.831
17 | 2586605.6383 | 1185185.5515
18 | 2586633.6861 | 1185172.9977
19 | 2586578.3257 | 1185198.1302
20 | 2586644.161 | 1185168.3093
21 | 2586550.0482 | 1185213.8244
22 | 2586575.8566 | 1185226.6176
23 | 2586663.7274 | 1185159.5517
24 | 2586545.0027 | 1185193.0695
25 | 2586528.6676 | 1185236.7861
26 | 2586572.0647 | 1185243.2274
27 | 2586675.3783 | 1185154.6929
28 | 2586672.7668 | 1185179.581
29 | 2586543.3204 | 1185174.7082
30 | 2586518.9787 | 1185250.1246
31 | 2586570.8967 | 1185248.3439
32 | 2586450.8706 | 1185251.2575
33 | 2586436.6423 | 1185264.4632
34 | 2586422.6096 | 1185257.1917
35 | 2586417.1069 | 1185277.0923
36 | 2586394.8754 | 1185243.1921
37 | 2586520.0063 | 1185268.4175
38 | 2586494.6025 | 1185313.4349
39 | 2586428.5101 | 1185183.2131
40 | 2586466.4161 | 1185178.3648
41 | 2586424.4033 | 1185183.7384
42 | 2586476.9885 | 1185177.0126
43 | 2586374.1362 | 1185178.0272
44 | 2586400.821 | 1185235.3014
45 | 2586484.5874 | 1185176.0407
46 | 2586344.3969 | 1185169.6309
47 | 2586396.7299 | 1185240.7309
48 | 2586501.4156 | 1185173.8883
49 | 2586315.6929 | 1185167.501
50 | 2586384.2973 | 1185262.7839
51 | 2586565.8112 | 1185119.278
52 | 2586571.5212 | 1185108.4656
53 | 2586555.8451 | 1185138.1499
54 | 2586576.4995 | 1185099.0385
55 | 2586536.6753 | 1185125.0197
56 | 2586527.8398 | 1185172.8941
57 | 2586573.9817 | 1185161.675
58 | 2586526.2659 | 1185126.5594
59 | 2586504.6638 | 1185173.4728
60 | 2586597.167 | 1185151.8197
61 | 2586514.9411 | 1185128.2346
62 | 2586502.2234 | 1185130.1158
63 | 2586489.0805 | 1185132.0598
64 | 2586528.5145 | 1185321.8767
65 | 2586473.6208 | 1185070.1294
66 | 2586481.0547 | 1185069.1592
67 | 2586457.5258 | 1185072.23
68 | 2586488.4888 | 1185068.189
69 | 2586449.9222 | 1185073.2223
70 | 2586495.9208 | 1185067.219
71 | 2586442.3186 | 1185074.2147
72 | 2586510.8596 | 1185065.2694
73 | 2586434.7113 | 1185075.2075
74 | 2586373.027 | 1185084.89
75 | 2586392.6113 | 1185080.702
76 | 2586416.5744 | 1185077.5745
77 | 2586480.7447 | 1185216.3716
78 | 2586520.3721 | 1185064.1622
79 | 2586512.9264 | 1185065.0288
80 | 2586467.5694 | 1185135.2417
81 | 2586444.8338 | 1185138.6047
82 | 2586424.6503 | 1185141.5902
83 | 2586422.6043 | 1185141.8928
84 | 2586695.0883 | 1185146.4733
85 | 2586678.9439 | 1185193.2684
86 | 2586566.6925 | 1185266.7599
87 | 2586565.3158 | 1185272.7902
88 | 2586564.4456 | 1185276.6022
89 | 2586690.5553 | 1185188.5722
90 | 2586697.1453 | 1185185.9069
91 | 2586685.7728 | 1185114.1561
92 | 2586385.6923 | 1185139.7213
93 | 2586504.6638 | 1185173.4728

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98697 | -0.091739 | 0.0015733 | 0.0003943
1 | 0.98703 | -0.091265 | 0.00017462 | 4.3765e-05
2 | 0.98696 | -0.091763 | 0 | 0
3 | 0.98715 | -0.090463 | 0 | 0
4 | 0.98635 | -0.096156 | 0.0018606 | 0.00046632
5 | 0.98695 | -0.091855 | 0 | 0
6 | 0.98598 | -0.098811 | 0.00085527 | 0.00021435
7 | 0.98995 | -0.070492 | 0 | 0
8 | 0.98878 | -0.078791 | 0.00020558 | 5.1523e-05
9 | 0.9908 | -0.064466 | 0.00035982 | 9.018e-05
10 | 0.98694 | -0.09193 | 0.00016688 | 4.1824e-05
11 | 0.98593 | -0.099171 | 0.00086345 | 0.0002164
12 | 0.98562 | -0.10135 | 0 | 0
13 | 0.98595 | -0.098991 | 0.00034108 | 8.5483e-05
14 | 0.98864 | -0.079812 | 0.00020558 | 5.1523e-05
15 | 0.9844 | -0.11008 | 0 | 0
16 | 0.98433 | -0.11058 | 0.0033311 | 0.00083486
17 | 0.99258 | -0.051977 | 0.0016424 | 0.00041163
18 | 0.99204 | -0.055838 | 0.0015879 | 0.00039798
19 | 0.99319 | -0.047702 | 0 | 0
20 | 0.99186 | -0.057095 | 0.0016008 | 0.0004012
21 | 0.99425 | -0.040215 | 0 | 0
22 | 0.99282 | -0.050313 | 0.0018958 | 0.00047512
23 | 0.99157 | -0.059098 | 0 | 0
24 | 0.99536 | -0.032454 | 0.006583 | 0.0016498
25 | 0.99366 | -0.044382 | 0.0037748 | 0.00094605
26 | 0.99265 | -0.051523 | 0.0013669 | 0.00034257
27 | 0.99152 | -0.059465 | 0.0009209 | 0.0002308
28 | 0.99137 | -0.060511 | 0.0024786 | 0.0006212
29 | 0.99648 | -0.024548 | 0 | 0
30 | 0.99344 | -0.045931 | 0 | 0
31 | 0.9926 | -0.051822 | 0.0018674 | 0.00046802
32 | 0.9946 | -0.037844 | 0.0030057 | 0.0007533
33 | 0.99469 | -0.037255 | 0.00062513 | 0.00015667
34 | 0.99477 | -0.036676 | 0.00065706 | 0.00016467
35 | 0.9947 | -0.037164 | 0.0023455 | 0.00058784
36 | 0.99507 | -0.0346 | 0 | 0
37 | 0.99319 | -0.047682 | 0.0074458 | 0.0018661
38 | 0.99305 | -0.048668 | 0 | 0
39 | 0.99676 | -0.022688 | 0.0035682 | 0.00089427
40 | 0.99831 | -0.011796 | 0.0024389 | 0.00061125
41 | 0.99661 | -0.023722 | 0 | 0
42 | 0.99878 | -0.0085035 | 0.0027085 | 0.00067881
43 | 0.99602 | -0.027916 | 0.0027333 | 0.00068502
44 | 0.99525 | -0.033319 | 0.0028639 | 0.00071777
45 | 0.99915 | -0.0059316 | 0.0014322 | 0.00035894
46 | 0.99577 | -0.029612 | 0.0023426 | 0.0005871
47 | 0.99511 | -0.034263 | 0.0029262 | 0.00073338
48 | 1 | 0 | -0.15818 | -0.039562
49 | 0.99564 | -0.030542 | 0.0031059 | 0.0007784
50 | 0.99493 | -0.035547 | 0.0042147 | 0.0010563
51 | 0.99202 | -0.055879 | 0.0058168 | 0.0014578
52 | 0.99154 | -0.059256 | 0.0040549 | 0.0010162
53 | 0.99303 | -0.048735 | 0 | 0
54 | 0.99119 | -0.061764 | 0 | 0
55 | 0.99203 | -0.055786 | 0.0044297 | 0.0011102
56 | 0.99771 | -0.015927 | 0.0091239 | 0.0022867
57 | 0.99622 | -0.026394 | 0.0025043 | 0.00062763
58 | 0.99166 | -0.058411 | 0.0015269 | 0.00038269
59 | 0.99971 | -0.0019857 | 0 | 0
60 | 0.99611 | -0.027156 | 0.0030055 | 0.00075326
61 | 0.99128 | -0.061091 | 0.0032291 | 0.0008093
62 | 0.99091 | -0.063681 | 0.003231 | 0.00080977
63 | 0.9906 | -0.065923 | 0.001604 | 0.00040199
64 | 0.99296 | -0.049321 | 0.0018392 | 0.00046096
65 | 0.98771 | -0.086407 | 0.0012138 | 0.00030422
66 | 0.9878 | -0.08571 | 0.0012141 | 0.00030428
67 | 0.98752 | -0.087714 | 0.0012776 | 0.00032019
68 | 0.98791 | -0.084921 | 0.0012138 | 0.00030422
69 | 0.98745 | -0.088231 | 0.0012763 | 0.00031987
70 | 0.98804 | -0.084038 | 0.0012135 | 0.00030414
71 | 0.98739 | -0.088648 | 0.0012776 | 0.00032019
72 | 0.98832 | -0.082079 | 0 | 0
73 | 0.98734 | -0.088965 | 0.0012776 | 0.00032019
74 | 0.9872 | -0.089998 | 0.0011404 | 0.0002858
75 | 0.98723 | -0.089764 | 0 | 0
76 | 0.98727 | -0.089481 | 0.0016101 | 0.00040353
77 | 0.99956 | -0.0030426 | 0.0021491 | 0.00053861
78 | 0.98849 | -0.080818 | 0.00020579 | 5.1576e-05
79 | 0.98835 | -0.081808 | 0.00020545 | 5.149e-05
80 | 0.99013 | -0.069239 | 0.0018823 | 0.00047176
81 | 0.98969 | -0.072307 | 0.0019047 | 0.00047736
82 | 0.98936 | -0.074636 | 0.001777 | 0.00044535
83 | 0.98934 | -0.074835 | 0.0012039 | 0.00030173
84 | 0.99146 | -0.059886 | 0.00093874 | 0.00023527
85 | 0.99129 | -0.061099 | 0.0017055 | 0.00042743
86 | 0.9925 | -0.052544 | 0.0011069 | 0.00027742
87 | 0.99248 | -0.052711 | 0.0011069 | 0.00027742
88 | 0.99247 | -0.052773 | 0.001556 | 0.00038996
89 | 0.99125 | -0.061372 | 0.0011988 | 0.00030044
90 | 0.99124 | -0.061441 | 0.00094775 | 0.00023753
91 | 0.99141 | -0.060229 | 0.0010008 | 0.00025083
92 | 0.98889 | -0.077954 | 0.0082133 | 0.0020584
93 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0017401 | -0.00043474 | 0.0017403 | 0.00043444 | 1.1327e-07 | -2.9363e-07 | 0.0026231 | 0.0026229 | 0.0026231 | 0.98697 | -0.091739 | 0.98703 | -0.091265 | 0.9715
1 | 0.00016688 | 4.0441e-05 | -0.00016688 | -4.0612e-05 | 5.2932e-10 | -1.7166e-07 | 0.00025112 | 0.00025118 | 0.00025118 | 0.98697 | -0.091739 | 0.98696 | -0.091763 | 0.09303
2 | -0.0091788 | -0.0022946 | 0.0091798 | 0.0022949 | 1.0143e-06 | 2.8158e-07 | 0.013836 | 0.013836 | 0.013836 | 0.98703 | -0.091265 | 0.98715 | -0.090463 | 5.1243
3 | 0.0072639 | 0.0018164 | -0.007259 | -0.0018153 | 4.8951e-06 | 1.047e-06 | 0.010949 | 0.01095 | 0.01095 | 0.98703 | -0.091265 | 0.98635 | -0.096156 | 4.0554
4 | 0.00016688 | 4.0612e-05 | -0.00016688 | -4.1275e-05 | 2.0456e-09 | -6.626e-07 | 0.00025118 | 0.00025141 | 0.00025141 | 0.98696 | -0.091763 | 0.98695 | -0.091855 | 0.093116
5 | -0.0091798 | -0.0022949 | 0.0092051 | 0.0023019 | 2.5295e-05 | 7.0138e-06 | 0.013836 | 0.013835 | 0.013836 | 0.98715 | -0.090463 | 0.98995 | -0.070492 | 5.1243
6 | 0.0053984 | 0.001349 | -0.0053964 | -0.0013489 | 1.9732e-06 | 1.5044e-07 | 0.0081427 | 0.0081429 | 0.0081429 | 0.98635 | -0.096156 | 0.98598 | -0.098811 | 3.0159
7 | 0.00016688 | 4.1275e-05 | -0.00016688 | -4.1824e-05 | 1.6985e-09 | -5.4922e-07 | 0.00025141 | 0.00025161 | 0.00025161 | 0.98695 | -0.091855 | 0.98694 | -0.09193 | 0.093188
8 | 0.0045411 | 0.0011345 | -0.004541 | -0.0011345 | 1.1194e-07 | -5.6746e-09 | 0.0068521 | 0.0068521 | 0.0068521 | 0.98598 | -0.098811 | 0.98595 | -0.098991 | 2.5378
9 | 0.013568 | 0.0034018 | -0.013553 | -0.0033966 | 1.5585e-05 | 5.2232e-06 | 0.020395 | 0.020395 | 0.020395 | 0.98995 | -0.070492 | 0.98878 | -0.078791 | 7.5538
10 | -0.022773 | -0.0057037 | 0.022792 | 0.0057107 | 1.8988e-05 | 6.969e-06 | 0.03423 | 0.034229 | 0.03423 | 0.98995 | -0.070492 | 0.9908 | -0.064466 | 12.6776
11 | 0.013347 | 0.0033451 | -0.013345 | -0.0033444 | 1.8864e-06 | 6.2945e-07 | 0.020086 | 0.020086 | 0.020086 | 0.98878 | -0.078791 | 0.98864 | -0.079812 | 7.4393
12 | -0.023152 | -0.0058008 | 0.023161 | 0.005804 | 8.6595e-06 | 3.1827e-06 | 0.03477 | 0.03477 | 0.03477 | 0.9908 | -0.064466 | 0.99119 | -0.061764 | 12.8777
13 | 0.0033364 | 0.00083266 | -0.0033354 | -0.00083308 | 9.9715e-07 | -4.2029e-07 | 0.0050342 | 0.0050345 | 0.0050345 | 0.98593 | -0.099171 | 0.98562 | -0.10135 | 1.8646
14 | -0.0041998 | -0.0010491 | 0.0041999 | 0.001049 | 1.0443e-07 | -1.2976e-08 | 0.0063374 | 0.0063374 | 0.0063374 | 0.98593 | -0.099171 | 0.98595 | -0.098991 | 2.3472
15 | 0.0033354 | 0.00083308 | -0.0033314 | -0.00083477 | 4.0173e-06 | -1.6873e-06 | 0.0050345 | 0.0050357 | 0.0050357 | 0.98562 | -0.10135 | 0.9844 | -0.11008 | 1.8651
16 | 0.01314 | 0.0032929 | -0.013138 | -0.0032923 | 1.829e-06 | 6.0738e-07 | 0.019777 | 0.019777 | 0.019777 | 0.98864 | -0.079812 | 0.98849 | -0.080818 | 7.3247
17 | 0.0033314 | 0.00083477 | -0.0033311 | -0.00083486 | 2.2806e-07 | -9.5503e-08 | 0.0050357 | 0.0050357 | 0.0050357 | 0.9844 | -0.11008 | 0.98433 | -0.11058 | 1.8651
18 | 0.012393 | 0.0031053 | -0.012386 | -0.0031031 | 6.6184e-06 | 2.1486e-06 | 0.018578 | 0.018578 | 0.018578 | 0.99258 | -0.051977 | 0.99204 | -0.055838 | 6.8809
19 | -0.014035 | -0.0035169 | 0.014044 | 0.0035197 | 8.3074e-06 | 2.8062e-06 | 0.021041 | 0.02104 | 0.021041 | 0.99258 | -0.051977 | 0.99319 | -0.047702 | 7.7928
20 | 0.010798 | 0.0027051 | -0.010796 | -0.0027046 | 1.8786e-06 | 5.7439e-07 | 0.016197 | 0.016197 | 0.016197 | 0.99204 | -0.055838 | 0.99186 | -0.057095 | 5.9988
21 | -0.022949 | -0.0057511 | 0.022972 | 0.0057599 | 2.3806e-05 | 8.738e-06 | 0.034382 | 0.034382 | 0.034382 | 0.99319 | -0.047702 | 0.99425 | -0.040215 | 12.734
22 | 0.008905 | 0.0022314 | -0.0089018 | -0.0022306 | 3.2183e-06 | 8.6298e-07 | 0.013341 | 0.013342 | 0.013342 | 0.99319 | -0.047702 | 0.99282 | -0.050313 | 4.9413
23 | 0.0091956 | 0.0023034 | -0.009193 | -0.0023027 | 2.5456e-06 | 7.025e-07 | 0.013795 | 0.013795 | 0.013795 | 0.99186 | -0.057095 | 0.99157 | -0.059098 | 5.1093
24 | -0.036044 | -0.0090357 | 0.036083 | 0.0090503 | 3.8787e-05 | 1.4641e-05 | 0.053945 | 0.053945 | 0.053945 | 0.99425 | -0.040215 | 0.99536 | -0.032454 | 19.9798
25 | 0.013072 | 0.0032758 | -0.013065 | -0.0032733 | 7.5358e-06 | 2.4894e-06 | 0.019564 | 0.019564 | 0.019564 | 0.99425 | -0.040215 | 0.99366 | -0.044382 | 7.2459
26 | 0.007006 | 0.0017555 | -0.0070048 | -0.0017552 | 1.1722e-06 | 2.3055e-07 | 0.0105 | 0.0105 | 0.0105 | 0.99282 | -0.050313 | 0.99265 | -0.051523 | 3.889
27 | 0.0028608 | 0.00071615 | -0.0028606 | -0.00071626 | 1.4516e-07 | -1.0699e-07 | 0.0042928 | 0.0042928 | 0.0042928 | 0.99157 | -0.059098 | 0.99152 | -0.059465 | 1.5899
28 | 0.0063323 | 0.0015865 | -0.006331 | -0.0015863 | 1.2382e-06 | 1.9282e-07 | 0.0095024 | 0.0095025 | 0.0095025 | 0.99157 | -0.059098 | 0.99137 | -0.060511 | 3.5194
29 | -0.042666 | -0.0107 | 0.042713 | 0.010718 | 4.6812e-05 | 1.7765e-05 | 0.063787 | 0.063787 | 0.063787 | 0.99536 | -0.032454 | 0.99648 | -0.024548 | 23.6247
30 | 0.0092897 | 0.0023273 | -0.0092877 | -0.0023267 | 1.9908e-06 | 5.5218e-07 | 0.013911 | 0.013911 | 0.013911 | 0.99366 | -0.044382 | 0.99344 | -0.045931 | 5.1523
31 | 0.005638 | 0.0014127 | -0.0056377 | -0.0014126 | 2.3391e-07 | 2.2125e-08 | 0.0084514 | 0.0084514 | 0.0084514 | 0.99265 | -0.051523 | 0.9926 | -0.051822 | 3.1302
32 | 0.0019397 | 0.00048546 | -0.0019396 | -0.00048569 | 1.1291e-07 | -2.3199e-07 | 0.0029108 | 0.0029109 | 0.0029109 | 0.99152 | -0.059465 | 0.99146 | -0.059886 | 1.0781
33 | 0.0038524 | 0.00096511 | -0.0038521 | -0.00096519 | 3.1329e-07 | -7.3112e-08 | 0.0057822 | 0.0057823 | 0.0057823 | 0.99137 | -0.060511 | 0.99129 | -0.061099 | 2.1416
34 | -0.1106 | -0.027773 | 0.11073 | 0.027824 | 0.00013268 | 5.0622e-05 | 0.16517 | 0.16517 | 0.16517 | 0.99648 | -0.024548 | 0.99771 | -0.015927 | 30.5879
35 | 0.0055116 | 0.0013808 | -0.0055101 | -0.0013807 | 1.4082e-06 | 1.077e-07 | 0.0082301 | 0.0082302 | 0.0082302 | 0.99648 | -0.024548 | 0.99622 | -0.026394 | 3.0482
36 | 0.062375 | 0.015674 | -0.062166 | -0.015594 | 0.00020925 | 7.9981e-05 | 0.093158 | 0.093158 | 0.093158 | 0.99648 | -0.024548 | 0.99303 | -0.048735 | 34.503
37 | 0.0092877 | 0.0023267 | -0.0092855 | -0.0023261 | 2.2482e-06 | 6.237e-07 | 0.013911 | 0.013911 | 0.013911 | 0.99344 | -0.045931 | 0.99319 | -0.047682 | 5.1523
38 | 0.0037703 | 0.00094461 | -0.0037699 | -0.00094471 | 3.7654e-07 | -9.9319e-08 | 0.0056519 | 0.005652 | 0.005652 | 0.9926 | -0.051822 | 0.9925 | -0.052544 | 2.0933
39 | -0.0030057 | -0.0007533 | 0.0030059 | 0.00075314 | 2.4494e-07 | -1.5775e-07 | 0.0044968 | 0.0044967 | 0.0044968 | 0.9946 | -0.037844 | 0.99469 | -0.037255 | 1.6655
40 | -0.0036311 | -0.00090981 | 0.0036313 | 0.00090972 | 2.9098e-07 | -9.3253e-08 | 0.0054318 | 0.0054318 | 0.0054318 | 0.99469 | -0.037255 | 0.99477 | -0.036676 | 2.0118
41 | 0.0023457 | 0.00058763 | -0.0023455 | -0.00058784 | 1.5862e-07 | -2.0703e-07 | 0.0035087 | 0.0035088 | 0.0035088 | 0.99477 | -0.036676 | 0.9947 | -0.037164 | 1.2995
42 | -0.0066341 | -0.001662 | 0.006636 | 0.0016624 | 1.9046e-06 | 3.3001e-07 | 0.0099233 | 0.0099231 | 0.0099233 | 0.99477 | -0.036676 | 0.99507 | -0.0346 | 3.6753
43 | -0.010851 | -0.0027186 | 0.010852 | 0.0027187 | 5.0632e-07 | 1.5471e-07 | 0.016227 | 0.016227 | 0.016227 | 0.99507 | -0.0346 | 0.99511 | -0.034263 | 6.0099
44 | 0.0042153 | 0.0010562 | -0.0042147 | -0.0010563 | 5.5204e-07 | -7.6862e-08 | 0.0063035 | 0.0063036 | 0.0063036 | 0.99507 | -0.0346 | 0.99493 | -0.035547 | 2.3347
45 | 0.0018396 | 0.00045998 | -0.0018394 | -0.00046057 | 2.5025e-07 | -5.8699e-07 | 0.0027558 | 0.0027561 | 0.0027561 | 0.99319 | -0.047682 | 0.99305 | -0.048668 | 1.0208
46 | 0.0018394 | 0.00046057 | -0.0018392 | -0.00046096 | 1.6611e-07 | -3.8945e-07 | 0.0027561 | 0.0027562 | 0.0027562 | 0.99305 | -0.048668 | 0.99296 | -0.049321 | 1.0208
47 | -0.028426 | -0.0071254 | 0.028469 | 0.0071414 | 4.2942e-05 | 1.6017e-05 | 0.042436 | 0.042436 | 0.042436 | 0.99676 | -0.022688 | 0.99831 | -0.011796 | 15.717
48 | 0.024858 | 0.0062311 | -0.024854 | -0.0062298 | 3.5577e-06 | 1.3144e-06 | 0.037109 | 0.037109 | 0.037109 | 0.99676 | -0.022688 | 0.99661 | -0.023722 | 13.7441
49 | -0.030908 | -0.0077527 | 0.030922 | 0.007758 | 1.4117e-05 | 5.2901e-06 | 0.046071 | 0.046071 | 0.046071 | 0.99831 | -0.011796 | 0.99878 | -0.0085035 | 17.0633
50 | 0.0081881 | 0.0020515 | -0.0081834 | -0.0020504 | 4.751e-06 | 1.1639e-06 | 0.012225 | 0.012226 | 0.012226 | 0.99661 | -0.023722 | 0.99602 | -0.027916 | 4.528
51 | 0.016666 | 0.0041783 | -0.016644 | -0.0041705 | 2.2131e-05 | 7.7665e-06 | 0.024884 | 0.024884 | 0.024884 | 0.99661 | -0.023722 | 0.99525 | -0.033319 | 9.2164
52 | -0.03363 | -0.0084368 | 0.033642 | 0.0084413 | 1.2002e-05 | 4.5157e-06 | 0.050106 | 0.050106 | 0.050106 | 0.99878 | -0.0085035 | 0.99915 | -0.0059316 | 18.5578
53 | 0.0054501 | 0.0013654 | -0.0054488 | -0.0013653 | 1.2783e-06 | 8.9582e-08 | 0.0081421 | 0.0081422 | 0.0081422 | 0.99602 | -0.027916 | 0.99577 | -0.029612 | 3.0156
54 | 0.01378 | 0.0034527 | -0.013778 | -0.0034521 | 1.8006e-06 | 6.042e-07 | 0.020602 | 0.020602 | 0.020602 | 0.99525 | -0.033319 | 0.99511 | -0.034263 | 7.6305
55 | -0.035074 | -0.0088002 | 0.035103 | 0.0088111 | 2.8889e-05 | 1.0889e-05 | 0.052239 | 0.052239 | 0.052239 | 0.99915 | -0.0059316 | 1 | 0 | 19.3478
56 | 0.0031063 | 0.00077817 | -0.0031059 | -0.0007784 | 3.9954e-07 | -2.3287e-07 | 0.0046417 | 0.0046418 | 0.0046418 | 0.99577 | -0.029612 | 0.99564 | -0.030542 | 1.7192
57 | 0.12227 | 0.03075 | -0.12224 | -0.030738 | 3.3835e-05 | 1.2928e-05 | 0.18198 | 0.18198 | 0.18198 | 1 | 0 | 0.99971 | -0.0019857 | 33.7002
58 | 0.027236 | 0.006828 | -0.027224 | -0.0068232 | 1.2735e-05 | 4.7404e-06 | 0.040855 | 0.040855 | 0.040855 | 0.99202 | -0.055879 | 0.99154 | -0.059256 | 15.1315
59 | -0.033053 | -0.0082858 | 0.033086 | 0.0082981 | 3.2736e-05 | 1.2315e-05 | 0.04958 | 0.04958 | 0.04958 | 0.99202 | -0.055879 | 0.99303 | -0.048735 | 18.363
60 | 0.023169 | 0.005807 | -0.023161 | -0.005804 | 8.0423e-06 | 2.9557e-06 | 0.03477 | 0.03477 | 0.03477 | 0.99154 | -0.059256 | 0.99119 | -0.061764 | 12.8777
61 | 0.02908 | 0.0072964 | -0.029052 | -0.0072857 | 2.8423e-05 | 1.0622e-05 | 0.043578 | 0.043578 | 0.043578 | 0.99303 | -0.048735 | 0.99203 | -0.055786 | 16.1401
62 | 0.024622 | 0.0061755 | -0.024613 | -0.0061722 | 8.957e-06 | 3.3092e-06 | 0.036934 | 0.036934 | 0.036934 | 0.99203 | -0.055786 | 0.99166 | -0.058411 | 13.6792
63 | -0.11986 | -0.03011 | 0.12009 | 0.030199 | 0.00023288 | 8.8958e-05 | 0.17878 | 0.17878 | 0.17878 | 0.99771 | -0.015927 | 0.99971 | -0.0019857 | 33.1078
64 | 0.0030059 | 0.00075305 | -0.0030055 | -0.00075326 | 3.1688e-07 | -2.0611e-07 | 0.0044896 | 0.0044898 | 0.0044898 | 0.99622 | -0.026394 | 0.99611 | -0.027156 | 1.6629
65 | 0.023086 | 0.0057896 | -0.023078 | -0.0057864 | 8.5731e-06 | 3.1497e-06 | 0.034643 | 0.034643 | 0.034643 | 0.99166 | -0.058411 | 0.99128 | -0.061091 | 12.8306
66 | 0.0021494 | 0.00053809 | -0.0021491 | -0.00053861 | 3.1413e-07 | -5.2401e-07 | 0.003199 | 0.0031993 | 0.0031993 | 0.99971 | -0.0019857 | 0.99956 | -0.0030426 | 1.1849
67 | 0.019848 | 0.0049771 | -0.019841 | -0.0049745 | 7.1219e-06 | 2.5735e-06 | 0.029795 | 0.029796 | 0.029796 | 0.99128 | -0.061091 | 0.99091 | -0.063681 | 11.0354
68 | 0.01661 | 0.0041648 | -0.016605 | -0.0041629 | 5.1581e-06 | 1.8128e-06 | 0.024944 | 0.024944 | 0.024944 | 0.99091 | -0.063681 | 0.9906 | -0.065923 | 9.2384
69 | 0.015001 | 0.003761 | -0.014994 | -0.0037586 | 6.8903e-06 | 2.3703e-06 | 0.022534 | 0.022534 | 0.022534 | 0.9906 | -0.065923 | 0.99013 | -0.069239 | 8.3461
70 | -0.0090759 | -0.0022737 | 0.0090768 | 0.0022739 | 8.7455e-07 | 2.4041e-07 | 0.013673 | 0.013673 | 0.013673 | 0.98771 | -0.086407 | 0.9878 | -0.08571 | 5.064
71 | 0.0078621 | 0.0019695 | -0.0078607 | -0.0019691 | 1.4209e-06 | 3.3879e-07 | 0.011844 | 0.011844 | 0.011844 | 0.98771 | -0.086407 | 0.98752 | -0.087714 | 4.3868
72 | -0.010291 | -0.0025782 | 0.010292 | 0.0025786 | 1.1242e-06 | 3.364e-07 | 0.015502 | 0.015502 | 0.015502 | 0.9878 | -0.08571 | 0.98791 | -0.084921 | 5.7414
73 | 0.0065831 | 0.001649 | -0.0065827 | -0.0016489 | 4.7079e-07 | 8.2977e-08 | 0.0099192 | 0.0099193 | 0.0099193 | 0.98752 | -0.087714 | 0.98745 | -0.088231 | 3.6738
74 | -0.011506 | -0.0028828 | 0.011507 | 0.0028832 | 1.4046e-06 | 4.4426e-07 | 0.01733 | 0.01733 | 0.01733 | 0.98791 | -0.084921 | 0.98804 | -0.084038 | 6.4185
75 | 0.0053063 | 0.001329 | -0.005306 | -0.001329 | 3.0593e-07 | 1.958e-08 | 0.007996 | 0.007996 | 0.007996 | 0.98745 | -0.088231 | 0.98739 | -0.088648 | 2.9615
76 | -0.012721 | -0.0031874 | 0.012724 | 0.0031885 | 3.4502e-06 | 1.134e-06 | 0.019158 | 0.019158 | 0.019158 | 0.98804 | -0.084038 | 0.98832 | -0.082079 | 7.0954
77 | 0.0040285 | 0.0010088 | -0.0040283 | -0.0010088 | 1.7643e-07 | -3.0266e-08 | 0.0060707 | 0.0060707 | 0.0060707 | 0.98739 | -0.088648 | 0.98734 | -0.088965 | 2.2484
78 | -0.012724 | -0.0031885 | 0.012725 | 0.0031886 | 4.7653e-07 | 1.5662e-07 | 0.019158 | 0.019158 | 0.019158 | 0.98832 | -0.082079 | 0.98835 | -0.081808 | 7.0954
79 | 0.0027507 | 0.00068864 | -0.0027505 | -0.0006888 | 1.9613e-07 | -1.5847e-07 | 0.0041453 | 0.0041454 | 0.0041454 | 0.98734 | -0.088965 | 0.98727 | -0.089481 | 1.5353
80 | -0.0011404 | -0.0002858 | 0.0011404 | 0.00028556 | 3.6921e-08 | -2.4187e-07 | 0.0017189 | 0.0017188 | 0.0017189 | 0.9872 | -0.089998 | 0.98723 | -0.089764 | 0.63662
81 | -0.0011404 | -0.00028556 | 0.0011404 | 0.00028527 | 4.4546e-08 | -2.9188e-07 | 0.0017188 | 0.0017187 | 0.0017188 | 0.98723 | -0.089764 | 0.98727 | -0.089481 | 0.63659
82 | 0.012932 | 0.0032407 | -0.01293 | -0.0032401 | 1.7726e-06 | 5.8568e-07 | 0.019467 | 0.019467 | 0.019467 | 0.98849 | -0.080818 | 0.98835 | -0.081808 | 7.2099
83 | 0.013112 | 0.0032868 | -0.013106 | -0.003285 | 5.5689e-06 | 1.8464e-06 | 0.019705 | 0.019706 | 0.019706 | 0.99013 | -0.069239 | 0.98969 | -0.072307 | 7.2984
84 | 0.011202 | 0.0028076 | -0.011198 | -0.0028065 | 3.6113e-06 | 1.1269e-06 | 0.016842 | 0.016842 | 0.016842 | 0.98969 | -0.072307 | 0.98936 | -0.074636 | 6.2378
85 | 0.009421 | 0.0023611 | -0.0094208 | -0.0023611 | 2.5912e-07 | 7.3101e-08 | 0.014169 | 0.014169 | 0.014169 | 0.98936 | -0.074636 | 0.98934 | -0.074835 | 5.2479
86 | 0.0082169 | 0.0020593 | -0.0082133 | -0.0020584 | 3.5468e-06 | 8.865e-07 | 0.012359 | 0.012359 | 0.012359 | 0.98934 | -0.074835 | 0.98889 | -0.077954 | 4.5773
87 | 0.0010009 | 0.00025042 | -0.0010008 | -0.00025083 | 4.7352e-08 | -4.1551e-07 | 0.001502 | 0.0015022 | 0.0015022 | 0.99146 | -0.059886 | 0.99141 | -0.060229 | 0.55635
88 | 0.0021466 | 0.00053775 | -0.0021465 | -0.00053788 | 8.1147e-08 | -1.3025e-07 | 0.0032222 | 0.0032222 | 0.0032222 | 0.99129 | -0.061099 | 0.99125 | -0.061372 | 1.1934
89 | 0.002663 | 0.00066729 | -0.0026629 | -0.00066734 | 6.1524e-08 | -5.6272e-08 | 0.0039925 | 0.0039925 | 0.0039925 | 0.9925 | -0.052544 | 0.99248 | -0.052711 | 1.4787
90 | 0.001556 | 0.00038992 | -0.001556 | -0.00038996 | 1.3279e-08 | -4.5421e-08 | 0.0023329 | 0.0023329 | 0.0023329 | 0.99248 | -0.052711 | 0.99247 | -0.052773 | 0.86403
91 | 0.00094775 | 0.00023744 | -0.00094775 | -0.00023753 | 8.9783e-09 | -8.818e-08 | 0.0014227 | 0.0014227 | 0.0014227 | 0.99125 | -0.061372 | 0.99124 | -0.061441 | 0.52693

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.16006 | 0.040033

## res_load
| p_mw | q_mvar
0 | 0.0015733 | 0.0003943
1 | 0.00017462 | 4.3765e-05
2 | 0.0018606 | 0.00046632
3 | 0.00085527 | 0.00021435
4 | 0.00020558 | 5.1523e-05
5 | 0.00035982 | 9.018e-05
6 | 0.00016688 | 4.1824e-05
7 | 0.00086345 | 0.0002164
8 | 0.00034108 | 8.5483e-05
9 | 0.00020558 | 5.1523e-05
10 | 0.0033311 | 0.00083486
11 | 0.0016424 | 0.00041163
12 | 0.0015879 | 0.00039798
13 | 0.0016008 | 0.0004012
14 | 0.0018958 | 0.00047512
15 | 0.006583 | 0.0016498
16 | 0.0037748 | 0.00094605
17 | 0.0013669 | 0.00034257
18 | 0.0009209 | 0.0002308
19 | 0.0024786 | 0.0006212
20 | 0.0018674 | 0.00046802
21 | 0.0030057 | 0.0007533
22 | 0.00062513 | 0.00015667
23 | 0.00065706 | 0.00016467
24 | 0.0023455 | 0.00058784
25 | 0.0074458 | 0.0018661
26 | 0.0035682 | 0.00089427
27 | 0.0024389 | 0.00061125
28 | 0.0027085 | 0.00067881
29 | 0.0027333 | 0.00068502
30 | 0.0028639 | 0.00071777
31 | 0.0014322 | 0.00035894
32 | 0.0023426 | 0.0005871
33 | 0.0029262 | 0.00073338
34 | 0.001881 | 0.00047141
35 | 0.0031059 | 0.0007784
36 | 0.0042147 | 0.0010563
37 | 0.0058168 | 0.0014578
38 | 0.0040549 | 0.0010162
39 | 0.0044297 | 0.0011102
40 | 0.0091239 | 0.0022867
41 | 0.0025043 | 0.00062763
42 | 0.0015269 | 0.00038269
43 | 0.0030055 | 0.00075326
44 | 0.0032291 | 0.0008093
45 | 0.003231 | 0.00080977
46 | 0.001604 | 0.00040199
47 | 0.0018392 | 0.00046096
48 | 0.0012138 | 0.00030422
49 | 0.0012141 | 0.00030428
50 | 0.0012776 | 0.00032019
51 | 0.0012138 | 0.00030422
52 | 0.0012763 | 0.00031987
53 | 0.0012135 | 0.00030414
54 | 0.0012776 | 0.00032019
55 | 0.0012776 | 0.00032019
56 | 0.0011404 | 0.0002858
57 | 0.0016101 | 0.00040353
58 | 0.0021491 | 0.00053861
59 | 0.00020579 | 5.1576e-05
60 | 0.00020545 | 5.149e-05
61 | 0.0018823 | 0.00047176
62 | 0.0019047 | 0.00047736
63 | 0.001777 | 0.00044535
64 | 0.0012039 | 0.00030173
65 | 0.00093874 | 0.00023527
66 | 0.0017055 | 0.00042743
67 | 0.0011069 | 0.00027742
68 | 0.0011069 | 0.00027742
69 | 0.001556 | 0.00038996
70 | 0.0011988 | 0.00030044
71 | 0.00094775 | 0.00023753
72 | 0.0010008 | 0.00025083
73 | 0.0082133 | 0.0020584

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1