## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2306-39_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2306-39_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2306-39_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2306-39_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2306-39_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2306-39_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2306-39_0_2_node_14 | 0.4 | n |  | TRUE
7 | bus_LV_2306-39_0_2_node_19 | 0.4 | n |  | TRUE
8 | bus_LV_2306-39_0_2_node_18 | 0.4 | n |  | TRUE
9 | bus_LV_2306-39_0_2_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_2306-39_0_2_node_16 | 0.4 | n |  | TRUE
11 | bus_LV_2306-39_0_2_node_17 | 0.4 | n |  | TRUE
12 | bus_LV_2306-39_0_2_node_20 | 0.4 | n |  | TRUE
13 | bus_LV_2306-39_0_2_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_2306-39_0_2_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_2306-39_0_2_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_2306-39_0_2_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_2306-39_0_2_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_2306-39_0_2_node_24 | 0.4 | n |  | TRUE
19 | bus_LV_2306-39_0_2_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_2306-39_0_2_node_32 | 0.4 | n |  | TRUE
21 | bus_LV_2306-39_0_2_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_2306-39_0_2_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_2306-39_0_2_node_30 | 0.4 | n |  | TRUE
24 | bus_LV_2306-39_0_2_node_31 | 0.4 | n |  | TRUE
25 | bus_LV_2306-39_0_2_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_2306-39_0_2_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_2306-39_0_2_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_2306-39_0_2_node_28 | 0.4 | n |  | TRUE
29 | bus_LV_2306-39_0_2_node_39 | 0.4 | n |  | TRUE
30 | bus_LV_2306-39_0_2_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_2306-39_0_2_node_37 | 0.4 | n |  | TRUE
32 | bus_LV_2306-39_0_2_node_33 | 0.4 | n |  | TRUE
33 | bus_LV_2306-39_0_2_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_2306-39_0_2_node_42 | 0.4 | n |  | TRUE
35 | bus_LV_2306-39_0_2_node_41 | 0.4 | n |  | TRUE
36 | bus_LV_2306-39_0_2_node_35 | 0.4 | n |  | TRUE
37 | bus_LV_2306-39_0_2_node_36 | 0.4 | n |  | TRUE
38 | bus_LV_2306-39_0_2_node_40 | 0.4 | n |  | TRUE
39 | bus_LV_2306-39_0_2_node_38 | 0.4 | n |  | TRUE
40 | bus_MV_119_1_node_171 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2306-39_0_2_load_0 | 0 | 0.01198 | 0.0030025 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2306-39_0_2_load_1 | 1 | 0.0034874 | 0.00087403 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2306-39_0_2_load_4 | 4 | 0.0072304 | 0.0018121 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2306-39_0_2_load_5 | 5 | 0.0029877 | 0.00074879 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2306-39_0_2_load_19 | 7 | 0.005183 | 0.001299 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2306-39_0_2_load_12 | 9 | 0.0048565 | 0.0012172 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2306-39_0_2_load_16 | 10 | 0.021146 | 0.0052996 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2306-39_0_2_load_17 | 11 | 0.0068702 | 0.0017218 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2306-39_0_2_load_20 | 12 | 0.0030648 | 0.00076811 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2306-39_0_2_load_6 | 13 | 0.0045258 | 0.0011343 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2306-39_0_2_load_7 | 14 | 0.0022064 | 0.00055298 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2306-39_0_2_load_8 | 15 | 0.010079 | 0.002526 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2306-39_0_2_load_9 | 16 | 0.003525 | 0.00088345 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2306-39_0_2_load_32 | 20 | 0.0086824 | 0.002176 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2306-39_0_2_load_15 | 21 | 0.011954 | 0.0029961 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2306-39_0_2_load_11 | 22 | 0.0038473 | 0.00096422 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2306-39_0_2_load_31 | 24 | 0.0026409 | 0.00066187 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2306-39_0_2_load_21 | 25 | 0.0077361 | 0.0019388 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2306-39_0_2_load_22 | 26 | 0.0028954 | 0.00072565 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2306-39_0_2_load_39 | 29 | 0.0024806 | 0.00062169 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2306-39_0_2_load_26 | 30 | 0.0036664 | 0.00091888 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2306-39_0_2_load_33 | 32 | 0.013242 | 0.0033188 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2306-39_0_2_load_25 | 33 | 0.011251 | 0.0028197 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2306-39_0_2_load_42 | 34 | 0.0046685 | 0.00117 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2306-39_0_2_load_41 | 35 | 0.0022281 | 0.00055842 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2306-39_0_2_load_35 | 36 | 0.0038183 | 0.00095696 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2306-39_0_2_load_40 | 38 | 0.0023493 | 0.00058879 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2306-39_0_2_load_38 | 39 | 0.0013232 | 0.00033162 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 22 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2306-39_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0082808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
1 | LV_2306-39_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.016126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
2 | LV_2306-39_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0048157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
3 | LV_2306-39_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0084804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_2306-39_0_2_line_4 | NAYY 4x150 SE | 2 | 5 | 0.0089493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2306-39_0_2_line_5 | NAYY 4x150 SE | 3 | 6 | 0.035493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
6 | LV_2306-39_0_2_line_6 | NAYY 4x150 SE | 4 | 7 | 0.03154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_2306-39_0_2_line_7 | NAYY 4x150 SE | 6 | 8 | 0.014458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2306-39_0_2_line_8 | NAYY 4x150 SE | 6 | 9 | 0.036354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_2306-39_0_2_line_9 | NAYY 4x150 SE | 7 | 12 | 0.021427 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
10 | LV_2306-39_0_2_line_10 | NAYY 4x150 SE | 8 | 11 | 0.021453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2306-39_0_2_line_11 | NAYY 4x150 SE | 9 | 22 | 0.004547 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
12 | LV_2306-39_0_2_line_12 | NAYY 4x150 SE | 10 | 11 | 0.030835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2306-39_0_2_line_13 | NAYY 4x150 SE | 12 | 16 | 0.01064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
14 | LV_2306-39_0_2_line_14 | NAYY 4x150 SE | 13 | 14 | 0.014404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_2306-39_0_2_line_15 | NAYY 4x150 SE | 13 | 15 | 0.025164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
16 | LV_2306-39_0_2_line_16 | NAYY 4x150 SE | 14 | 16 | 0.01686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_2306-39_0_2_line_17 | NAYY 4x150 SE | 15 | 17 | 0.018158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
18 | LV_2306-39_0_2_line_18 | NAYY 4x150 SE | 17 | 18 | 0.008623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2306-39_0_2_line_19 | NAYY 4x150 SE | 17 | 19 | 0.048145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
20 | LV_2306-39_0_2_line_20 | NAYY 4x150 SE | 18 | 20 | 0.012938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2306-39_0_2_line_21 | NAYY 4x150 SE | 19 | 21 | 0.014736 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2306-39_0_2_line_22 | NAYY 4x150 SE | 20 | 32 | 0.011538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2306-39_0_2_line_23 | NAYY 4x150 SE | 21 | 23 | 0.020852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2306-39_0_2_line_24 | NAYY 4x150 SE | 23 | 24 | 0.028027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2306-39_0_2_line_25 | NAYY 4x150 SE | 24 | 28 | 0.011833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2306-39_0_2_line_26 | NAYY 4x150 SE | 25 | 26 | 0.034797 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2306-39_0_2_line_27 | NAYY 4x150 SE | 26 | 27 | 0.014446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2306-39_0_2_line_28 | NAYY 4x150 SE | 27 | 28 | 0.000739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2306-39_0_2_line_29 | NAYY 4x150 SE | 27 | 29 | 0.0177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2306-39_0_2_line_30 | NAYY 4x150 SE | 28 | 30 | 0.02112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2306-39_0_2_line_31 | NAYY 4x150 SE | 29 | 31 | 0.010718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2306-39_0_2_line_32 | NAYY 4x150 SE | 30 | 33 | 0.039093 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2306-39_0_2_line_33 | NAYY 4x150 SE | 31 | 38 | 0.012747 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2306-39_0_2_line_34 | NAYY 4x150 SE | 31 | 39 | 0.018856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2306-39_0_2_line_35 | NAYY 4x150 SE | 31 | 37 | 0.03808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2306-39_0_2_line_36 | NAYY 4x150 SE | 34 | 35 | 0.01906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2306-39_0_2_line_37 | NAYY 4x150 SE | 35 | 38 | 0.0073828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2306-39_0_2_line_38 | NAYY 4x150 SE | 36 | 37 | 0.026538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2306-39_0_2_trafo_11 | 0.25 MVA 20/0.4 kV | 40 | 22 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2586657.4067 | 1182511.9366 | 2586657.2859 | 1182513.3875 | 2586656.2874 | 1182517.5363 | 2586655.3446 | 1182519.9139
1 | 2586652.7362 | 1182496.6669 | 2586654.0714 | 1182499.6877 | 2586657.0751 | 1182507.9074 | 2586657.5238 | 1182510.53 | 2586657.4067 | 1182511.9366
2 | 2586653.5695 | 1182524.3904 | 2586655.3446 | 1182519.9139
3 | 2586652.7362 | 1182496.6669 | 2586645.1902 | 1182500.5366
4 | 2586652.7362 | 1182496.6669 | 2586660.5345 | 1182492.2765
5 | 2586627.1718 | 1182546.5499 | 2586633.4476 | 1182543.1118 | 2586642.7747 | 1182538.4441 | 2586645.5339 | 1182536.3813 | 2586647.9485 | 1182533.8523 | 2586650.0718 | 1182530.8127 | 2586652.1099 | 1182527.2285 | 2586653.5695 | 1182524.3904
6 | 2586616.6689 | 1182513.9762 | 2586629.4682 | 1182508.3807 | 2586639.3675 | 1182503.5226 | 2586645.1902 | 1182500.5366
7 | 2586627.1718 | 1182546.5499 | 2586626.768 | 1182553.699 | 2586627.049 | 1182556.4331 | 2586627.5963 | 1182558.7886 | 2586628.3261 | 1182560.788
8 | 2586627.1718 | 1182546.5499 | 2586622.6849 | 1182547.605 | 2586619.3432 | 1182548.6575 | 2586616.8792 | 1182549.6079 | 2586600.6944 | 1182556.9036 | 2586593.6227 | 1182560.3051
9 | 2586596.8652 | 1182522.1573 | 2586615.9981 | 1182514.2695 | 2586616.6689 | 1182513.9762
10 | 2586628.3261 | 1182560.788 | 2586629.1843 | 1182562.1534 | 2586630.6534 | 1182563.562 | 2586632.4809 | 1182564.7919 | 2586636.2196 | 1182567.1402 | 2586646.2447 | 1182572.1063
11 | 2586593.6227 | 1182560.3051 | 2586589.5251 | 1182562.2761
12 | 2586646.2447 | 1182572.1063 | 2586654.7624 | 1182576.3256 | 2586656.6646 | 1182576.8327 | 2586658.7339 | 1182576.9504 | 2586661.6646 | 1182576.4769 | 2586664.8837 | 1182575.2135 | 2586670.6854 | 1182571.4208 | 2586673.6618 | 1182568.8539
13 | 2586596.8652 | 1182522.1573 | 2586589.6439 | 1182525.1344 | 2586587.0295 | 1182526.2161
14 | 2586558.136 | 1182538.1595 | 2586561.2227 | 1182536.8934 | 2586571.4499 | 1182532.6619
15 | 2586558.136 | 1182538.1595 | 2586539.4223 | 1182545.8361 | 2586534.914 | 1182547.8496
16 | 2586571.4499 | 1182532.6619 | 2586587.0295 | 1182526.2161
17 | 2586518.4943 | 1182555.5995 | 2586530.4909 | 1182549.825 | 2586534.914 | 1182547.8496
18 | 2586518.4943 | 1182555.5995 | 2586510.7919 | 1182559.519
19 | 2586529.6444 | 1182587.3685 | 2586523.8405 | 1182590.1164 | 2586513.095 | 1182568.474 | 2586521.7345 | 1182560.3169 | 2586518.4943 | 1182555.5995
20 | 2586510.7919 | 1182559.519 | 2586508.1075 | 1182560.8813 | 2586499.3723 | 1182565.5999
21 | 2586529.6444 | 1182587.3685 | 2586536.1835 | 1182600.574
22 | 2586499.3723 | 1182565.5999 | 2586495.1289 | 1182567.8921 | 2586489.2913 | 1182571.2105
23 | 2586545.4366 | 1182619.2603 | 2586536.1835 | 1182600.574
24 | 2586545.4366 | 1182619.2603 | 2586557.197 | 1182644.7005
25 | 2586562.1621 | 1182655.4412 | 2586557.197 | 1182644.7005
26 | 2586548.3865 | 1182661.8334 | 2586516.8211 | 1182676.4771
27 | 2586561.491 | 1182655.754 | 2586548.3865 | 1182661.8334
28 | 2586561.491 | 1182655.754 | 2586562.1621 | 1182655.4412
29 | 2586561.491 | 1182655.754 | 2586569.0783 | 1182671.7451
30 | 2586562.1621 | 1182655.4412 | 2586581.2132 | 1182646.3237
31 | 2586573.6729 | 1182681.4287 | 2586569.0783 | 1182671.7451
32 | 2586581.2132 | 1182646.3237 | 2586616.4756 | 1182629.4476
33 | 2586573.6729 | 1182681.4287 | 2586585.1751 | 1182675.9338
34 | 2586573.6729 | 1182681.4287 | 2586556.7999 | 1182689.8455
35 | 2586573.6729 | 1182681.4287 | 2586586.7819 | 1182708.6131 | 2586589.0745 | 1182712.9991 | 2586590.8511 | 1182715.3741
36 | 2586609.0354 | 1182664.5353 | 2586591.8368 | 1182672.7514
37 | 2586585.1751 | 1182675.9338 | 2586591.8368 | 1182672.7514
38 | 2586590.8511 | 1182715.3741 | 2586586.6974 | 1182715.1834 | 2586582.5502 | 1182714.4924 | 2586564.955 | 1182709.9356

## bus_geodata
| x | y | coords
0 | 2586657.4067 | 1182511.9366
1 | 2586655.3446 | 1182519.9139
2 | 2586652.7362 | 1182496.6669
3 | 2586653.5695 | 1182524.3904
4 | 2586645.1902 | 1182500.5366
5 | 2586660.5345 | 1182492.2765
6 | 2586627.1718 | 1182546.5499
7 | 2586616.6689 | 1182513.9762
8 | 2586628.3261 | 1182560.788
9 | 2586593.6227 | 1182560.3051
10 | 2586673.6618 | 1182568.8539
11 | 2586646.2447 | 1182572.1063
12 | 2586596.8652 | 1182522.1573
13 | 2586558.136 | 1182538.1595
14 | 2586571.4499 | 1182532.6619
15 | 2586534.914 | 1182547.8496
16 | 2586587.0295 | 1182526.2161
17 | 2586518.4943 | 1182555.5995
18 | 2586510.7919 | 1182559.519
19 | 2586529.6444 | 1182587.3685
20 | 2586499.3723 | 1182565.5999
21 | 2586536.1835 | 1182600.574
22 | 2586589.5251 | 1182562.2761
23 | 2586545.4366 | 1182619.2603
24 | 2586557.197 | 1182644.7005
25 | 2586516.8211 | 1182676.4771
26 | 2586548.3865 | 1182661.8334
27 | 2586561.491 | 1182655.754
28 | 2586562.1621 | 1182655.4412
29 | 2586569.0783 | 1182671.7451
30 | 2586581.2132 | 1182646.3237
31 | 2586573.6729 | 1182681.4287
32 | 2586489.2913 | 1182571.2105
33 | 2586616.4756 | 1182629.4476
34 | 2586609.0354 | 1182664.5353
35 | 2586591.8368 | 1182672.7514
36 | 2586564.955 | 1182709.9356
37 | 2586590.8511 | 1182715.3741
38 | 2586585.1751 | 1182675.9338
39 | 2586556.7999 | 1182689.8455
40 | 2586627.1718 | 1182546.5499

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9905 | -0.065834 | 0.01198 | 0.0030025
1 | 0.99128 | -0.060372 | 0.0034874 | 0.00087403
2 | 0.98911 | -0.075511 | 0 | 0
3 | 0.99175 | -0.057114 | 0 | 0
4 | 0.9884 | -0.080481 | 0.0072304 | 0.0018121
5 | 0.98907 | -0.075784 | 0.0029877 | 0.00074879
6 | 0.99519 | -0.033195 | 0 | 0
7 | 0.98593 | -0.097857 | 0.005183 | 0.001299
8 | 0.99461 | -0.03728 | 0 | 0
9 | 0.99945 | -0.0037727 | 0.0048565 | 0.0012172
10 | 0.99281 | -0.049946 | 0.021146 | 0.0052996
11 | 0.99375 | -0.04335 | 0.0068702 | 0.0017218
12 | 0.98432 | -0.10914 | 0.0030648 | 0.00076811
13 | 0.98138 | -0.12991 | 0.0045258 | 0.0011343
14 | 0.98237 | -0.12293 | 0.0022064 | 0.00055298
15 | 0.97975 | -0.14154 | 0.010079 | 0.002526
16 | 0.98355 | -0.11459 | 0.003525 | 0.00088345
17 | 0.9787 | -0.149 | 0 | 0
18 | 0.97842 | -0.15097 | 0 | 0
19 | 0.97668 | -0.16334 | 0 | 0
20 | 0.97801 | -0.15393 | 0.0086824 | 0.002176
21 | 0.97545 | -0.17215 | 0.011954 | 0.0029961
22 | 1 | 0 | -0.16992 | -0.042778
23 | 0.97407 | -0.18202 | 0 | 0
24 | 0.97222 | -0.19534 | 0.0026409 | 0.00066187
25 | 0.97083 | -0.20534 | 0.0077361 | 0.0019388
26 | 0.97123 | -0.20249 | 0.0028954 | 0.00072565
27 | 0.97145 | -0.20086 | 0 | 0
28 | 0.97148 | -0.20065 | 0 | 0
29 | 0.97101 | -0.20402 | 0.0024806 | 0.00062169
30 | 0.97102 | -0.20398 | 0.0036664 | 0.00091888
31 | 0.97079 | -0.20566 | 0 | 0
32 | 0.97778 | -0.15553 | 0.013242 | 0.0033188
33 | 0.97037 | -0.20864 | 0.011251 | 0.0028197
34 | 0.97041 | -0.20839 | 0.0046685 | 0.00117
35 | 0.97054 | -0.20744 | 0.0022281 | 0.00055842
36 | 0.97042 | -0.20827 | 0.0038183 | 0.00095696
37 | 0.97057 | -0.2072 | 0 | 0
38 | 0.97061 | -0.2069 | 0.0023493 | 0.00058879
39 | 0.97075 | -0.20592 | 0.0013232 | 0.00033162
40 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.13131 | -0.033113 | 0.13141 | 0.033152 | 0.00010061 | 3.8484e-05 | 0.19734 | 0.19734 | 0.19734 | 0.9905 | -0.065834 | 0.99128 | -0.060372 | 36.5445
1 | 0.11933 | 0.030111 | -0.11917 | -0.030049 | 0.00016183 | 6.1827e-05 | 0.17934 | 0.17934 | 0.17934 | 0.9905 | -0.065834 | 0.98911 | -0.075511 | 33.2115
2 | -0.1349 | -0.034026 | 0.13496 | 0.034049 | 6.1657e-05 | 2.359e-05 | 0.20257 | 0.20257 | 0.20257 | 0.99128 | -0.060372 | 0.99175 | -0.057114 | 37.5139
3 | 0.11618 | 0.0293 | -0.1161 | -0.029269 | 8.0889e-05 | 3.0894e-05 | 0.17485 | 0.17485 | 0.17485 | 0.98911 | -0.075511 | 0.9884 | -0.080481 | 32.3792
4 | 0.0029878 | 0.00074872 | -0.0029877 | -0.00074879 | 1.1283e-07 | -7.1467e-08 | 0.0044948 | 0.0044949 | 0.0044949 | 0.98911 | -0.075511 | 0.98907 | -0.075784 | 1.6648
5 | -0.13496 | -0.034049 | 0.13542 | 0.034223 | 0.00045443 | 0.00017386 | 0.20257 | 0.20257 | 0.20257 | 0.99175 | -0.057114 | 0.99519 | -0.033195 | 37.5139
6 | 0.10887 | 0.027457 | -0.10861 | -0.027356 | 0.00026455 | 0.00010094 | 0.16396 | 0.16396 | 0.16396 | 0.9884 | -0.080481 | 0.98593 | -0.097857 | 30.3635
7 | 0.028075 | 0.0070432 | -0.028059 | -0.0070373 | 1.5899e-05 | 5.9274e-06 | 0.04198 | 0.04198 | 0.04198 | 0.99519 | -0.033195 | 0.99461 | -0.03728 | 15.5482
8 | -0.16349 | -0.041266 | 0.16417 | 0.041526 | 0.00067836 | 0.00025996 | 0.24455 | 0.24455 | 0.24455 | 0.99519 | -0.033195 | 0.99945 | -0.0037727 | 45.2879
9 | 0.10342 | 0.026057 | -0.10326 | -0.025995 | 0.00016299 | 6.2141e-05 | 0.15614 | 0.15614 | 0.15614 | 0.98593 | -0.097857 | 0.98432 | -0.10914 | 28.9149
10 | 0.028059 | 0.0070373 | -0.028035 | -0.0070285 | 2.3592e-05 | 8.7958e-06 | 0.04198 | 0.04198 | 0.04198 | 0.99461 | -0.03728 | 0.99375 | -0.04335 | 15.5482
11 | -0.16903 | -0.042743 | 0.16912 | 0.042778 | 8.9937e-05 | 3.4472e-05 | 0.25178 | 0.25178 | 0.25178 | 0.99945 | -0.0037727 | 1 | 0 | 46.6268
12 | -0.021146 | -0.0052996 | 0.021165 | 0.0053067 | 1.9327e-05 | 7.0343e-06 | 0.031693 | 0.031693 | 0.031693 | 0.99281 | -0.049946 | 0.99375 | -0.04335 | 11.7382
13 | 0.10019 | 0.025227 | -0.10012 | -0.025198 | 7.6204e-05 | 2.9039e-05 | 0.15151 | 0.15151 | 0.15151 | 0.98432 | -0.10914 | 0.98355 | -0.11459 | 28.0569
14 | -0.094183 | -0.023684 | 0.094275 | 0.023719 | 9.1686e-05 | 3.4899e-05 | 0.14283 | 0.14283 | 0.14283 | 0.98138 | -0.12991 | 0.98237 | -0.12293 | 26.4505
15 | 0.089657 | 0.022549 | -0.089512 | -0.022494 | 0.00014515 | 5.5194e-05 | 0.13597 | 0.13597 | 0.13597 | 0.98138 | -0.12991 | 0.97975 | -0.14154 | 25.1797
16 | -0.096481 | -0.024272 | 0.096594 | 0.024314 | 0.0001124 | 4.2803e-05 | 0.14617 | 0.14617 | 0.14617 | 0.98237 | -0.12293 | 0.98355 | -0.11459 | 27.0694
17 | 0.079433 | 0.019968 | -0.079351 | -0.019937 | 8.2486e-05 | 3.1268e-05 | 0.12066 | 0.12066 | 0.12066 | 0.97975 | -0.14154 | 0.9787 | -0.149 | 22.345
18 | 0.021942 | 0.0055013 | -0.021936 | -0.0054991 | 5.989e-06 | 2.1951e-06 | 0.033362 | 0.033362 | 0.033362 | 0.9787 | -0.149 | 0.97842 | -0.15097 | 12.3564
19 | 0.057408 | 0.014436 | -0.057294 | -0.014393 | 0.00011448 | 4.2825e-05 | 0.087301 | 0.087301 | 0.087301 | 0.9787 | -0.149 | 0.97668 | -0.16334 | 16.1669
20 | 0.021936 | 0.0054991 | -0.021928 | -0.0054958 | 8.9863e-06 | 3.2938e-06 | 0.033362 | 0.033362 | 0.033362 | 0.97842 | -0.15097 | 0.97801 | -0.15393 | 12.3564
21 | 0.057294 | 0.014393 | -0.057224 | -0.014366 | 7.0082e-05 | 2.677e-05 | 0.087301 | 0.087301 | 0.087301 | 0.97668 | -0.16334 | 0.97545 | -0.17215 | 32.3339
22 | 0.013245 | 0.0033198 | -0.013242 | -0.0033188 | 2.9238e-06 | 9.798e-07 | 0.020152 | 0.020152 | 0.020152 | 0.97801 | -0.15393 | 0.97778 | -0.15553 | 7.4638
23 | 0.045269 | 0.01137 | -0.045207 | -0.011346 | 6.2065e-05 | 2.3611e-05 | 0.069065 | 0.069066 | 0.069066 | 0.97545 | -0.17215 | 0.97407 | -0.18202 | 25.5798
24 | 0.045207 | 0.011346 | -0.045124 | -0.011315 | 8.3422e-05 | 3.1737e-05 | 0.069066 | 0.069066 | 0.069066 | 0.97407 | -0.18202 | 0.97222 | -0.19534 | 25.5799
25 | 0.042483 | 0.010653 | -0.042452 | -0.010641 | 3.1219e-05 | 1.1861e-05 | 0.065024 | 0.065024 | 0.065024 | 0.97222 | -0.19534 | 0.97148 | -0.20065 | 24.0829
26 | -0.0077361 | -0.0019388 | 0.0077391 | 0.0019396 | 3.0527e-06 | 7.4368e-07 | 0.011857 | 0.011857 | 0.011857 | 0.97083 | -0.20534 | 0.97123 | -0.20249 | 4.3916
27 | -0.010634 | -0.0026652 | 0.010637 | 0.002666 | 2.393e-06 | 7.4156e-07 | 0.016293 | 0.016293 | 0.016293 | 0.97123 | -0.20249 | 0.97145 | -0.20086 | 6.0345
28 | -0.02752 | -0.0068973 | 0.027521 | 0.0068976 | 8.1939e-07 | 3.06e-07 | 0.042153 | 0.042153 | 0.042153 | 0.97145 | -0.20086 | 0.97148 | -0.20065 | 15.6123
29 | 0.016883 | 0.0042314 | -0.016875 | -0.0042287 | 7.3862e-06 | 2.6218e-06 | 0.02586 | 0.02586 | 0.02586 | 0.97145 | -0.20086 | 0.97101 | -0.20402 | 9.5779
30 | 0.014931 | 0.0037432 | -0.014924 | -0.0037409 | 6.8935e-06 | 2.39e-06 | 0.02287 | 0.022871 | 0.022871 | 0.97148 | -0.20065 | 0.97102 | -0.20398 | 8.4706
31 | 0.014395 | 0.003607 | -0.014392 | -0.0036059 | 3.2545e-06 | 1.1192e-06 | 0.022059 | 0.022059 | 0.022059 | 0.97101 | -0.20402 | 0.97079 | -0.20566 | 8.17
32 | 0.011258 | 0.002822 | -0.011251 | -0.0028197 | 7.2605e-06 | 2.3092e-06 | 0.017252 | 0.017252 | 0.017252 | 0.97102 | -0.20398 | 0.97037 | -0.20864 | 6.3897
33 | 0.0092487 | 0.0023178 | -0.0092471 | -0.0023174 | 1.5986e-06 | 4.5726e-07 | 0.014176 | 0.014176 | 0.014176 | 0.97079 | -0.20566 | 0.97061 | -0.2069 | 5.2505
34 | 0.0013232 | 0.0003314 | -0.0013232 | -0.00033162 | 4.84e-08 | -2.1451e-07 | 0.0020281 | 0.0020282 | 0.0020282 | 0.97079 | -0.20566 | 0.97075 | -0.20592 | 0.75119
35 | 0.0038197 | 0.00095669 | -0.0038189 | -0.00095685 | 8.145e-07 | -1.5745e-07 | 0.0058546 | 0.0058548 | 0.0058548 | 0.97079 | -0.20566 | 0.97057 | -0.2072 | 2.1684
36 | -0.0046685 | -0.00117 | 0.0046692 | 0.00117 | 6.0951e-07 | -1.0817e-09 | 0.0071587 | 0.0071586 | 0.0071587 | 0.97041 | -0.20839 | 0.97054 | -0.20744 | 2.6514
37 | -0.0068973 | -0.0017285 | 0.0068978 | 0.0017286 | 5.1516e-07 | 1.069e-07 | 0.010575 | 0.010575 | 0.010575 | 0.97054 | -0.20744 | 0.97061 | -0.2069 | 3.9166
38 | -0.0038183 | -0.00095696 | 0.0038189 | 0.00095685 | 5.6765e-07 | -1.0959e-07 | 0.0058549 | 0.0058548 | 0.0058549 | 0.97042 | -0.20827 | 0.97057 | -0.2072 | 2.1685

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.17376 | 0.043742

## res_load
| p_mw | q_mvar
0 | 0.01198 | 0.0030025
1 | 0.0034874 | 0.00087403
2 | 0.0072304 | 0.0018121
3 | 0.0029877 | 0.00074879
4 | 0.005183 | 0.001299
5 | 0.0048565 | 0.0012172
6 | 0.021146 | 0.0052996
7 | 0.0068702 | 0.0017218
8 | 0.0030648 | 0.00076811
9 | 0.0045258 | 0.0011343
10 | 0.0022064 | 0.00055298
11 | 0.010079 | 0.002526
12 | 0.003525 | 0.00088345
13 | 0.0086824 | 0.002176
14 | 0.011954 | 0.0029961
15 | 0.0038473 | 0.00096422
16 | 0.0026409 | 0.00066187
17 | 0.0077361 | 0.0019388
18 | 0.0028954 | 0.00072565
19 | 0.0024806 | 0.00062169
20 | 0.0036664 | 0.00091888
21 | 0.013242 | 0.0033188
22 | 0.011251 | 0.0028197
23 | 0.0046685 | 0.00117
24 | 0.0022281 | 0.00055842
25 | 0.0038183 | 0.00095696
26 | 0.0023493 | 0.00058879
27 | 0.0013232 | 0.00033162

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1