## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2306-41_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2306-41_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2306-41_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2306-41_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2306-41_0_2_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_2306-41_0_2_node_19 | 0.4 | n |  | TRUE
6 | bus_LV_2306-41_0_2_node_20 | 0.4 | n |  | TRUE
7 | bus_LV_2306-41_0_2_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_2306-41_0_2_node_18 | 0.4 | n |  | TRUE
9 | bus_LV_2306-41_0_2_node_15 | 0.4 | n |  | TRUE
10 | bus_LV_2306-41_0_2_node_21 | 0.4 | n |  | TRUE
11 | bus_LV_2306-41_0_2_node_31 | 0.4 | n |  | TRUE
12 | bus_LV_2306-41_0_2_node_26 | 0.4 | n |  | TRUE
13 | bus_LV_2306-41_0_2_node_14 | 0.4 | n |  | TRUE
14 | bus_LV_2306-41_0_2_node_17 | 0.4 | n |  | TRUE
15 | bus_LV_2306-41_0_2_node_6 | 0.4 | n |  | TRUE
16 | bus_LV_2306-41_0_2_node_7 | 0.4 | n |  | TRUE
17 | bus_LV_2306-41_0_2_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_2306-41_0_2_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_2306-41_0_2_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_2306-41_0_2_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_2306-41_0_2_node_10 | 0.4 | n |  | TRUE
22 | bus_LV_2306-41_0_2_node_25 | 0.4 | n |  | TRUE
23 | bus_LV_2306-41_0_2_node_29 | 0.4 | n |  | TRUE
24 | bus_LV_2306-41_0_2_node_50 | 0.4 | n |  | TRUE
25 | bus_LV_2306-41_0_2_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_2306-41_0_2_node_27 | 0.4 | n |  | TRUE
27 | bus_LV_2306-41_0_2_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_2306-41_0_2_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_2306-41_0_2_node_33 | 0.4 | n |  | TRUE
30 | bus_LV_2306-41_0_2_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_2306-41_0_2_node_46 | 0.4 | n |  | TRUE
32 | bus_LV_2306-41_0_2_node_30 | 0.4 | n |  | TRUE
33 | bus_LV_2306-41_0_2_node_48 | 0.4 | n |  | TRUE
34 | bus_LV_2306-41_0_2_node_43 | 0.4 | n |  | TRUE
35 | bus_LV_2306-41_0_2_node_45 | 0.4 | n |  | TRUE
36 | bus_LV_2306-41_0_2_node_42 | 0.4 | n |  | TRUE
37 | bus_LV_2306-41_0_2_node_44 | 0.4 | n |  | TRUE
38 | bus_LV_2306-41_0_2_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_2306-41_0_2_node_37 | 0.4 | n |  | TRUE
40 | bus_LV_2306-41_0_2_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_2306-41_0_2_node_35 | 0.4 | n |  | TRUE
42 | bus_LV_2306-41_0_2_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_2306-41_0_2_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_2306-41_0_2_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_2306-41_0_2_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_2306-41_0_2_node_41 | 0.4 | n |  | TRUE
47 | bus_LV_2306-41_0_2_node_49 | 0.4 | n |  | TRUE
48 | bus_MV_119_1_node_175 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2306-41_0_2_load_0 | 0 | 0.0050652 | 0.0012694 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2306-41_0_2_load_1 | 1 | 0.0057859 | 0.0014501 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2306-41_0_2_load_19 | 5 | 0.0061944 | 0.0015525 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2306-41_0_2_load_20 | 6 | 0.0013998 | 0.00035082 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2306-41_0_2_load_15 | 9 | 0.0073303 | 0.0018371 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2306-41_0_2_load_21 | 10 | 0.0071351 | 0.0017882 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2306-41_0_2_load_31 | 11 | 0.0034999 | 0.00087717 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2306-41_0_2_load_26 | 12 | 0.002979 | 0.00074662 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2306-41_0_2_load_14 | 13 | 0.0010751 | 0.00026943 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2306-41_0_2_load_17 | 14 | 0.0019305 | 0.00048382 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2306-41_0_2_load_6 | 15 | 0.0083778 | 0.0020997 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2306-41_0_2_load_7 | 16 | 0.0014422 | 0.00036145 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2306-41_0_2_load_9 | 18 | 0.0018203 | 0.00045621 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2306-41_0_2_load_12 | 20 | 0.0012945 | 0.00032444 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2306-41_0_2_load_29 | 23 | 0.0057723 | 0.0014467 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2306-41_0_2_load_50 | 24 | 0.0016115 | 0.00040387 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2306-41_0_2_load_13 | 25 | 0.00033263 | 8.3364e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2306-41_0_2_load_27 | 26 | 0.033864 | 0.008487 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2306-41_0_2_load_23 | 27 | 0.0044122 | 0.0011058 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2306-41_0_2_load_24 | 28 | 0.0025555 | 0.00064047 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2306-41_0_2_load_22 | 30 | 0.0057803 | 0.0014487 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2306-41_0_2_load_48 | 33 | 0.0094668 | 0.0023726 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2306-41_0_2_load_42 | 36 | 0.003005 | 0.00075312 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2306-41_0_2_load_44 | 37 | 0.0020191 | 0.00050602 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2306-41_0_2_load_37 | 39 | 0.0069779 | 0.0017488 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2306-41_0_2_load_34 | 40 | 0.003746 | 0.00093884 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2306-41_0_2_load_36 | 42 | 0.0051226 | 0.0012839 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2306-41_0_2_load_38 | 43 | 0.0015554 | 0.00038983 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2306-41_0_2_load_49 | 47 | 0.00084528 | 0.00021185 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 27 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2306-41_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.04487 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2306-41_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.028585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2306-41_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0035316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2306-41_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.094459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2306-41_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.025477 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2306-41_0_2_line_5 | NAYY 4x150 SE | 3 | 6 | 0.025448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2306-41_0_2_line_6 | NAYY 4x150 SE | 4 | 10 | 0.012966 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2306-41_0_2_line_7 | NAYY 4x150 SE | 6 | 11 | 0.024247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2306-41_0_2_line_8 | NAYY 4x150 SE | 7 | 8 | 0.010563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2306-41_0_2_line_9 | NAYY 4x150 SE | 7 | 9 | 0.019314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2306-41_0_2_line_10 | NAYY 4x150 SE | 8 | 12 | 0.011207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2306-41_0_2_line_11 | NAYY 4x150 SE | 8 | 13 | 0.03233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2306-41_0_2_line_12 | NAYY 4x150 SE | 10 | 14 | 0.052384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2306-41_0_2_line_13 | NAYY 4x150 SE | 11 | 29 | 0.022601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2306-41_0_2_line_14 | NAYY 4x150 SE | 12 | 28 | 0.019775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2306-41_0_2_line_15 | NAYY 4x150 SE | 13 | 25 | 0.013597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2306-41_0_2_line_16 | NAYY 4x150 SE | 15 | 16 | 0.0070394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2306-41_0_2_line_17 | NAYY 4x150 SE | 15 | 17 | 0.093375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2306-41_0_2_line_18 | NAYY 4x150 SE | 16 | 18 | 0.045315 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2306-41_0_2_line_19 | NAYY 4x150 SE | 17 | 19 | 0.047331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2306-41_0_2_line_20 | NAYY 4x150 SE | 18 | 20 | 0.019727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2306-41_0_2_line_21 | NAYY 4x150 SE | 19 | 24 | 0.015374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2306-41_0_2_line_22 | NAYY 4x150 SE | 20 | 25 | 0.045417 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2306-41_0_2_line_23 | NAYY 4x150 SE | 21 | 22 | 0.026128 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2306-41_0_2_line_24 | NAYY 4x150 SE | 21 | 23 | 0.010823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2306-41_0_2_line_25 | NAYY 4x150 SE | 22 | 26 | 0.018514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2306-41_0_2_line_26 | NAYY 4x150 SE | 22 | 27 | 0.021535 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2306-41_0_2_line_27 | NAYY 4x150 SE | 26 | 31 | 0.013359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2306-41_0_2_line_28 | NAYY 4x150 SE | 27 | 30 | 0.021533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2306-41_0_2_line_29 | NAYY 4x150 SE | 28 | 30 | 0.047335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2306-41_0_2_line_30 | NAYY 4x150 SE | 29 | 34 | 0.0198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2306-41_0_2_line_31 | NAYY 4x150 SE | 29 | 31 | 0.051416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2306-41_0_2_line_32 | NAYY 4x150 SE | 31 | 32 | 0.026811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2306-41_0_2_line_33 | NAYY 4x150 SE | 32 | 33 | 0.023792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2306-41_0_2_line_34 | NAYY 4x150 SE | 34 | 35 | 0.012088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2306-41_0_2_line_35 | NAYY 4x150 SE | 34 | 36 | 0.0052093 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2306-41_0_2_line_36 | NAYY 4x150 SE | 35 | 37 | 0.018413 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2306-41_0_2_line_37 | NAYY 4x150 SE | 36 | 39 | 0.0067005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2306-41_0_2_line_38 | NAYY 4x150 SE | 37 | 46 | 0.015832 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2306-41_0_2_line_39 | NAYY 4x150 SE | 38 | 39 | 0.014943 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2306-41_0_2_line_40 | NAYY 4x150 SE | 38 | 40 | 0.0036832 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2306-41_0_2_line_41 | NAYY 4x150 SE | 40 | 41 | 0.036075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2306-41_0_2_line_42 | NAYY 4x150 SE | 41 | 42 | 0.019355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2306-41_0_2_line_43 | NAYY 4x150 SE | 43 | 44 | 0.028289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2306-41_0_2_line_44 | NAYY 4x150 SE | 44 | 45 | 0.03808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2306-41_0_2_line_45 | NAYY 4x150 SE | 44 | 46 | 0.099526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_2306-41_0_2_line_46 | NAYY 4x150 SE | 45 | 47 | 0.030602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2306-41_0_2_trafo_23 | 0.25 MVA 20/0.4 kV | 48 | 27 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16
0 | 2586380.0494 | 1182734.7009 | 2586383.7867 | 1182736.9216 | 2586388.9145 | 1182739.0999 | 2586393.3378 | 1182740.3349 | 2586397.7602 | 1182741.1808 | 2586408.5367 | 1182742.9237 | 2586423.2879 | 1182745.2908
1 | 2586357.7524 | 1182716.8486 | 2586366.297 | 1182724.1328 | 2586372.5387 | 1182729.299 | 2586379.4443 | 1182734.3413 | 2586380.0494 | 1182734.7009
2 | 2586426.7749 | 1182745.8503 | 2586423.2879 | 1182745.2908
3 | 2586305.3304 | 1182719.2034 | 2586308.4513 | 1182711.8369 | 2586312.5831 | 1182702.4781 | 2586313.7472 | 1182700.7635 | 2586315.0435 | 1182700.0268 | 2586316.7988 | 1182699.7337 | 2586318.8989 | 1182700.0068 | 2586321.9937 | 1182701.167 | 2586329.5205 | 1182704.0734 | 2586330.5079 | 1182701.8589 | 2586334.9507 | 1182691.6212 | 2586341.6689 | 1182694.7741 | 2586353.2876 | 1182700.8617 | 2586358.5222 | 1182702.973 | 2586362.7178 | 1182704.7643 | 2586357.7524 | 1182716.8486
4 | 2586426.7749 | 1182745.8503 | 2586422.9819 | 1182753.185 | 2586418.3427 | 1182754.3406 | 2586406.097 | 1182752.1603
5 | 2586426.7749 | 1182745.8503 | 2586440.3161 | 1182748.0206 | 2586449.6861 | 1182749.0331 | 2586451.9947 | 1182749.0817
6 | 2586305.3304 | 1182719.2034 | 2586299.7019 | 1182730.884
7 | 2586471.3848 | 1182739.4233 | 2586470.9823 | 1182740.3803 | 2586469.5308 | 1182743.3073 | 2586468.5042 | 1182745.1106 | 2586467.0729 | 1182746.8703 | 2586465.0449 | 1182748.1311 | 2586463.0082 | 1182748.8806 | 2586460.1842 | 1182749.2538 | 2586451.9947 | 1182749.0817
8 | 2586338.0007 | 1182773.0784 | 2586330.6311 | 1182765.4914
9 | 2586330.6311 | 1182765.4914 | 2586322.2398 | 1182775.0823 | 2586317.5299 | 1182779.6636
10 | 2586338.0007 | 1182773.0784 | 2586348.1455 | 1182777.8414
11 | 2586338.0007 | 1182773.0784 | 2586337.5806 | 1182799.6375 | 2586337.2429 | 1182805.3952
12 | 2586272.0908 | 1182775.0663 | 2586281.7127 | 1182764.0253 | 2586283.9482 | 1182760.0848 | 2586290.5197 | 1182749.2752 | 2586295.2321 | 1182740.1597 | 2586299.7019 | 1182730.884
13 | 2586471.3848 | 1182739.4233 | 2586492.9001 | 1182746.5337
14 | 2586366.0456 | 1182786.2455 | 2586348.1455 | 1182777.8414
15 | 2586336.4468 | 1182818.9694 | 2586337.2429 | 1182805.3952
16 | 2586351.9451 | 1182927.4989 | 2586346.3171 | 1182923.2707
17 | 2586439.189 | 1182943.6908 | 2586436.6752 | 1182939.4054 | 2586433.6688 | 1182936.7664 | 2586429.3596 | 1182935.2755 | 2586422.8762 | 1182934.4787 | 2586389.7949 | 1182933.8316 | 2586376.5379 | 1182935.5962 | 2586365.5596 | 1182935.588 | 2586355.6839 | 1182930.3079 | 2586351.9451 | 1182927.4989
18 | 2586332.6327 | 1182884.0019 | 2586332.2687 | 1182890.2075 | 2586331.0724 | 1182904.4954 | 2586337.6126 | 1182916.7312 | 2586346.3171 | 1182923.2707
19 | 2586439.189 | 1182943.6908 | 2586435.2459 | 1182975.5606 | 2586435.0989 | 1182984.7323 | 2586435.7386 | 1182990.734
20 | 2586332.6327 | 1182884.0019 | 2586333.7877 | 1182864.309
21 | 2586450.9326 | 1182988.1203 | 2586435.7386 | 1182990.734
22 | 2586336.4468 | 1182818.9694 | 2586333.7877 | 1182864.309
23 | 2586447.9741 | 1182808.59 | 2586452.495 | 1182819.2185 | 2586450.4589 | 1182826.9271 | 2586449.4271 | 1182829.7976 | 2586448.2361 | 1182833.1465
24 | 2586448.2361 | 1182833.1465 | 2586456.4807 | 1182836.2071 | 2586458.4845 | 1182836.5266
25 | 2586447.9741 | 1182808.59 | 2586449.4967 | 1182806.6966 | 2586463.9904 | 1182799.7224
26 | 2586447.9741 | 1182808.59 | 2586437.4932 | 1182809.1919 | 2586437.1374 | 1182807.1806 | 2586428.1438 | 1182807.1233
27 | 2586476.0283 | 1182793.9298 | 2586463.9904 | 1182799.7224
28 | 2586408.8647 | 1182806.4222 | 2586418.4185 | 1182810.9696 | 2586420.1061 | 1182811.1659 | 2586421.5258 | 1182811.0181 | 2586422.8614 | 1182810.7927 | 2586424.4706 | 1182810.0554 | 2586425.8882 | 1182808.9849 | 2586428.1438 | 1182807.1233
29 | 2586366.0456 | 1182786.2455 | 2586397.5916 | 1182801.0565 | 2586408.8647 | 1182806.4222
30 | 2586492.9001 | 1182746.5337 | 2586497.6673 | 1182744.5441 | 2586503.6531 | 1182731.1903
31 | 2586492.9001 | 1182746.5337 | 2586474.6396 | 1182787.5296 | 2586476.0283 | 1182793.9298
32 | 2586476.0283 | 1182793.9298 | 2586481.6353 | 1182791.9605 | 2586490.9895 | 1182789.4157 | 2586501.9015 | 1182787.012
33 | 2586501.9015 | 1182787.012 | 2586525.4889 | 1182790.1269
34 | 2586503.6531 | 1182731.1903 | 2586509.5154 | 1182734.0563 | 2586514.6888 | 1182736.179
35 | 2586503.6531 | 1182731.1903 | 2586499.1123 | 1182728.6372
36 | 2586514.6888 | 1182736.179 | 2586517.8509 | 1182736.761 | 2586524.2652 | 1182737.3024 | 2586529.4415 | 1182737.2907 | 2586533.0212 | 1182737.1124
37 | 2586493.2717 | 1182725.3533 | 2586499.1123 | 1182728.6372
38 | 2586548.8233 | 1182736.1463 | 2586535.7547 | 1182736.9762 | 2586533.0212 | 1182737.1124
39 | 2586480.5805 | 1182717.4689 | 2586491.4832 | 1182724.3477 | 2586493.2717 | 1182725.3533
40 | 2586480.5805 | 1182717.4689 | 2586477.578 | 1182715.3355
41 | 2586451.4161 | 1182690.6658 | 2586458.4658 | 1182698.6094 | 2586463.2487 | 1182703.5678 | 2586468.1911 | 1182708.1367 | 2586473.8588 | 1182712.6928 | 2586477.578 | 1182715.3355
42 | 2586451.4161 | 1182690.6658 | 2586442.8273 | 1182697.4666 | 2586437.6753 | 1182704.1005
43 | 2586590.8511 | 1182715.3741 | 2586586.6974 | 1182715.1834 | 2586582.5502 | 1182714.4924 | 2586563.2605 | 1182709.4968
44 | 2586573.6729 | 1182681.4287 | 2586586.7819 | 1182708.6131 | 2586589.0745 | 1182712.9991 | 2586590.8511 | 1182715.3741
45 | 2586548.8233 | 1182736.1463 | 2586557.3897 | 1182736.2714 | 2586563.781 | 1182736.7684 | 2586570.1502 | 1182737.5878 | 2586577.1005 | 1182738.8394 | 2586585.2361 | 1182740.9333 | 2586591.5772 | 1182742.8645 | 2586599.0732 | 1182745.7046 | 2586605.2942 | 1182748.5143 | 2586606.403 | 1182745.9216 | 2586607.6397 | 1182742.4837 | 2586608.0026 | 1182740.8932 | 2586608.0377 | 1182739.5591 | 2586607.8596 | 1182738.4367 | 2586602.1508 | 1182725.7096 | 2586597.0077 | 1182716.7054 | 2586590.8511 | 1182715.3741
46 | 2586546.2264 | 1182695.1199 | 2586573.6729 | 1182681.4287

## bus_geodata
| x | y | coords
0 | 2586380.0494 | 1182734.7009
1 | 2586423.2879 | 1182745.2908
2 | 2586357.7524 | 1182716.8486
3 | 2586426.7749 | 1182745.8503
4 | 2586305.3304 | 1182719.2034
5 | 2586406.097 | 1182752.1603
6 | 2586451.9947 | 1182749.0817
7 | 2586330.6311 | 1182765.4914
8 | 2586338.0007 | 1182773.0784
9 | 2586317.5299 | 1182779.6636
10 | 2586299.7019 | 1182730.884
11 | 2586471.3848 | 1182739.4233
12 | 2586348.1455 | 1182777.8414
13 | 2586337.2429 | 1182805.3952
14 | 2586272.0908 | 1182775.0663
15 | 2586351.9451 | 1182927.4989
16 | 2586346.3171 | 1182923.2707
17 | 2586439.189 | 1182943.6908
18 | 2586332.6327 | 1182884.0019
19 | 2586435.7386 | 1182990.734
20 | 2586333.7877 | 1182864.309
21 | 2586448.2361 | 1182833.1465
22 | 2586447.9741 | 1182808.59
23 | 2586458.4845 | 1182836.5266
24 | 2586450.9326 | 1182988.1203
25 | 2586336.4468 | 1182818.9694
26 | 2586463.9904 | 1182799.7224
27 | 2586428.1438 | 1182807.1233
28 | 2586366.0456 | 1182786.2455
29 | 2586492.9001 | 1182746.5337
30 | 2586408.8647 | 1182806.4222
31 | 2586476.0283 | 1182793.9298
32 | 2586501.9015 | 1182787.012
33 | 2586525.4889 | 1182790.1269
34 | 2586503.6531 | 1182731.1903
35 | 2586514.6888 | 1182736.179
36 | 2586499.1123 | 1182728.6372
37 | 2586533.0212 | 1182737.1124
38 | 2586480.5805 | 1182717.4689
39 | 2586493.2717 | 1182725.3533
40 | 2586477.578 | 1182715.3355
41 | 2586451.4161 | 1182690.6658
42 | 2586437.6753 | 1182704.1005
43 | 2586563.2605 | 1182709.4968
44 | 2586590.8511 | 1182715.3741
45 | 2586573.6729 | 1182681.4287
46 | 2586548.8233 | 1182736.1463
47 | 2586546.2264 | 1182695.1199
48 | 2586447.9741 | 1182808.59

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98497 | -0.10562 | 0.0050652 | 0.0012694
1 | 0.98589 | -0.099091 | 0.0057859 | 0.0014501
2 | 0.98459 | -0.10829 | 0 | 0
3 | 0.98599 | -0.098368 | 0 | 0
4 | 0.98335 | -0.11713 | 0 | 0
5 | 0.98576 | -0.099989 | 0.0061944 | 0.0015525
6 | 0.98695 | -0.091547 | 0.0013998 | 0.00035082
7 | 0.99575 | -0.029776 | 0 | 0
8 | 0.99586 | -0.028996 | 0 | 0
9 | 0.99555 | -0.031201 | 0.0073303 | 0.0018371
10 | 0.98318 | -0.11834 | 0.0071351 | 0.0017882
11 | 0.98791 | -0.084712 | 0.0034999 | 0.00087717
12 | 0.99623 | -0.026367 | 0.002979 | 0.00074662
13 | 0.99512 | -0.0342 | 0.0010751 | 0.00026943
14 | 0.98303 | -0.11939 | 0.0019305 | 0.00048382
15 | 0.99266 | -0.051533 | 0.0083778 | 0.0020997
16 | 0.99276 | -0.05082 | 0.0014422 | 0.00036145
17 | 0.99244 | -0.053067 | 0 | 0
18 | 0.9935 | -0.04557 | 0.0018203 | 0.00045621
19 | 0.99233 | -0.053842 | 0 | 0
20 | 0.99388 | -0.042923 | 0.0012945 | 0.00032444
21 | 0.99658 | -0.023825 | 0 | 0
22 | 0.99679 | -0.022309 | 0 | 0
23 | 0.99649 | -0.024453 | 0.0057723 | 0.0014467
24 | 0.9923 | -0.054093 | 0.0016115 | 0.00040387
25 | 0.99483 | -0.036244 | 0.00033263 | 8.3364e-05
26 | 0.99419 | -0.040523 | 0.033864 | 0.008487
27 | 1 | 0 | -0.13996 | -0.035018
28 | 0.99698 | -0.021141 | 0.0025555 | 0.00064047
29 | 0.98893 | -0.077545 | 0 | 0
30 | 0.99893 | -0.0074526 | 0.0057803 | 0.0014487
31 | 0.99296 | -0.049143 | 0 | 0
32 | 0.9926 | -0.051714 | 0 | 0
33 | 0.99227 | -0.053997 | 0.0094668 | 0.0023726
34 | 0.98826 | -0.082257 | 0 | 0
35 | 0.98819 | -0.082805 | 0 | 0
36 | 0.98812 | -0.083261 | 0.003005 | 0.00075312
37 | 0.98807 | -0.083641 | 0.0020191 | 0.00050602
38 | 0.98778 | -0.085703 | 0 | 0
39 | 0.98797 | -0.084347 | 0.0069779 | 0.0017488
40 | 0.98773 | -0.086037 | 0.003746 | 0.00093884
41 | 0.98746 | -0.08793 | 0 | 0
42 | 0.98732 | -0.088945 | 0.0051226 | 0.0012839
43 | 0.98761 | -0.086942 | 0.0015554 | 0.00038983
44 | 0.98767 | -0.086491 | 0 | 0
45 | 0.98762 | -0.086822 | 0 | 0
46 | 0.98801 | -0.084033 | 0 | 0
47 | 0.98759 | -0.087087 | 0.00084528 | 0.00021185
48 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.014147 | -0.0035453 | 0.01416 | 0.0035497 | 1.2789e-05 | 4.3472e-06 | 0.021372 | 0.021372 | 0.021372 | 0.98497 | -0.10562 | 0.98589 | -0.099091 | 7.9156
1 | 0.0090818 | 0.0022759 | -0.0090784 | -0.002275 | 3.3577e-06 | 9.2772e-07 | 0.01372 | 0.01372 | 0.01372 | 0.98497 | -0.10562 | 0.98459 | -0.10829 | 5.0815
2 | -0.019946 | -0.0049998 | 0.019948 | 0.0050005 | 1.9972e-06 | 7.2312e-07 | 0.030105 | 0.030105 | 0.030105 | 0.98589 | -0.099091 | 0.98599 | -0.098368 | 11.1499
3 | 0.0090784 | 0.002275 | -0.0090673 | -0.0022719 | 1.1096e-05 | 3.0678e-06 | 0.01372 | 0.013721 | 0.013721 | 0.98459 | -0.10829 | 0.98335 | -0.11713 | 5.0817
4 | 0.0061958 | 0.0015527 | -0.0061944 | -0.0015525 | 1.39e-06 | 2.0974e-07 | 0.0093505 | 0.0093506 | 0.0093506 | 0.98599 | -0.098368 | 0.98576 | -0.099989 | 3.4632
5 | -0.026143 | -0.0065532 | 0.026168 | 0.0065624 | 2.4719e-05 | 9.1826e-06 | 0.039455 | 0.039455 | 0.039455 | 0.98599 | -0.098368 | 0.98695 | -0.091547 | 14.613
6 | 0.0090673 | 0.0022719 | -0.0090658 | -0.0022715 | 1.5231e-06 | 4.2136e-07 | 0.013721 | 0.013721 | 0.013721 | 0.98335 | -0.11713 | 0.98318 | -0.11834 | 5.0817
7 | -0.027568 | -0.0069132 | 0.027594 | 0.0069229 | 2.614e-05 | 9.7436e-06 | 0.041565 | 0.041565 | 0.041565 | 0.98695 | -0.091547 | 0.98791 | -0.084712 | 15.3946
8 | -0.0073317 | -0.0018375 | 0.0073325 | 0.0018376 | 7.9122e-07 | 1.669e-07 | 0.010956 | 0.010956 | 0.010956 | 0.99575 | -0.029776 | 0.99586 | -0.028996 | 4.0579
9 | 0.0073317 | 0.0018375 | -0.0073303 | -0.0018371 | 1.4467e-06 | 3.0525e-07 | 0.010956 | 0.010956 | 0.010956 | 0.99575 | -0.029776 | 0.99555 | -0.031201 | 4.0579
10 | -0.02333 | -0.0058488 | 0.023339 | 0.0058519 | 8.499e-06 | 3.123e-06 | 0.034861 | 0.034861 | 0.034861 | 0.99586 | -0.028996 | 0.99623 | -0.026367 | 12.9115
11 | 0.015998 | 0.0040112 | -0.015986 | -0.0040072 | 1.1528e-05 | 4.0136e-06 | 0.023905 | 0.023905 | 0.023905 | 0.99586 | -0.028996 | 0.99512 | -0.0342 | 8.8537
12 | 0.0019308 | 0.00048327 | -0.0019305 | -0.00048382 | 2.791e-07 | -5.5687e-07 | 0.0029219 | 0.0029222 | 0.0029222 | 0.98318 | -0.11834 | 0.98303 | -0.11939 | 1.0823
13 | -0.031094 | -0.0078001 | 0.031125 | 0.0078117 | 3.0938e-05 | 1.1609e-05 | 0.046837 | 0.046837 | 0.046837 | 0.98791 | -0.084712 | 0.98893 | -0.077545 | 17.347
14 | -0.026318 | -0.0065986 | 0.026337 | 0.0066056 | 1.9068e-05 | 7.0763e-06 | 0.039311 | 0.03931 | 0.039311 | 0.99623 | -0.026367 | 0.99698 | -0.021141 | 14.5595
15 | 0.014911 | 0.0037378 | -0.014907 | -0.0037363 | 4.2184e-06 | 1.4459e-06 | 0.022297 | 0.022297 | 0.022297 | 0.99512 | -0.0342 | 0.99483 | -0.036244 | 8.2583
16 | -0.0099898 | -0.0025017 | 0.0099908 | 0.002502 | 9.8494e-07 | 2.8781e-07 | 0.014974 | 0.014974 | 0.014974 | 0.99266 | -0.051533 | 0.99276 | -0.05082 | 5.546
17 | 0.001612 | 0.00040207 | -0.0016117 | -0.00040315 | 3.4011e-07 | -1.076e-06 | 0.0024158 | 0.0024162 | 0.0024162 | 0.99266 | -0.051533 | 0.99244 | -0.053067 | 0.8949
18 | -0.011433 | -0.0028635 | 0.011441 | 0.0028661 | 8.3031e-06 | 2.6071e-06 | 0.017136 | 0.017136 | 0.017136 | 0.99276 | -0.05082 | 0.9935 | -0.04557 | 6.3466
19 | 0.0016117 | 0.00040315 | -0.0016115 | -0.0004037 | 1.7244e-07 | -5.4521e-07 | 0.0024162 | 0.0024164 | 0.0024164 | 0.99244 | -0.053067 | 0.99233 | -0.053842 | 0.89498
20 | -0.013262 | -0.0033223 | 0.013266 | 0.0033239 | 4.8561e-06 | 1.6122e-06 | 0.019862 | 0.019862 | 0.019862 | 0.9935 | -0.04557 | 0.99388 | -0.042923 | 7.3563
21 | 0.0016115 | 0.0004037 | -0.0016115 | -0.00040387 | 5.6019e-08 | -1.7706e-07 | 0.0024164 | 0.0024165 | 0.0024165 | 0.99233 | -0.053842 | 0.9923 | -0.054093 | 0.895
22 | -0.014561 | -0.0036484 | 0.014574 | 0.0036529 | 1.3469e-05 | 4.5911e-06 | 0.0218 | 0.0218 | 0.0218 | 0.99388 | -0.042923 | 0.99483 | -0.036244 | 8.0741
23 | -0.0057728 | -0.0014467 | 0.0057741 | 0.0014469 | 1.2113e-06 | 1.2537e-07 | 0.0086195 | 0.0086194 | 0.0086195 | 0.99658 | -0.023825 | 0.99679 | -0.022309 | 3.1924
24 | 0.0057728 | 0.0014467 | -0.0057723 | -0.0014467 | 5.0179e-07 | 5.1983e-08 | 0.0086195 | 0.0086196 | 0.0086196 | 0.99658 | -0.023825 | 0.99649 | -0.024453 | 3.1924
25 | 0.0983 | 0.024718 | -0.098051 | -0.024623 | 0.00024887 | 9.5478e-05 | 0.14677 | 0.14677 | 0.14677 | 0.99679 | -0.022309 | 0.99419 | -0.040523 | 54.3599
26 | -0.10407 | -0.026165 | 0.1044 | 0.026289 | 0.00032447 | 0.00012451 | 0.15539 | 0.15539 | 0.15539 | 0.99679 | -0.022309 | 1 | 0 | 57.5522
27 | 0.064188 | 0.016136 | -0.064111 | -0.016106 | 7.6966e-05 | 2.9429e-05 | 0.096088 | 0.096088 | 0.096088 | 0.99419 | -0.040523 | 0.99296 | -0.049143 | 35.5881
28 | 0.034764 | 0.0087289 | -0.034728 | -0.0087153 | 3.5963e-05 | 1.355e-05 | 0.051735 | 0.051735 | 0.051735 | 1 | 0 | 0.99893 | -0.0074526 | 19.1611
29 | -0.028893 | -0.0072461 | 0.028947 | 0.0072666 | 5.4931e-05 | 2.0509e-05 | 0.043125 | 0.043124 | 0.043125 | 0.99698 | -0.021141 | 0.99893 | -0.0074526 | 15.9721
30 | 0.023298 | 0.005838 | -0.023282 | -0.0058324 | 1.5182e-05 | 5.5855e-06 | 0.035055 | 0.035055 | 0.035055 | 0.98893 | -0.077545 | 0.98826 | -0.082257 | 12.9833
31 | -0.054423 | -0.01365 | 0.054638 | 0.013732 | 0.00021516 | 8.2092e-05 | 0.081892 | 0.081892 | 0.081892 | 0.98893 | -0.077545 | 0.99296 | -0.049143 | 30.3303
32 | 0.0094732 | 0.0023744 | -0.0094698 | -0.0023735 | 3.3716e-06 | 9.5011e-07 | 0.014196 | 0.014196 | 0.014196 | 0.99296 | -0.049143 | 0.9926 | -0.051714 | 5.2579
33 | 0.0094698 | 0.0023735 | -0.0094668 | -0.0023726 | 2.9921e-06 | 8.4338e-07 | 0.014196 | 0.014196 | 0.014196 | 0.9926 | -0.051714 | 0.99227 | -0.053997 | 5.258
34 | 0.0044217 | 0.0011053 | -0.0044214 | -0.0011054 | 3.3424e-07 | -2.6318e-08 | 0.0066567 | 0.0066568 | 0.0066568 | 0.98826 | -0.082257 | 0.98819 | -0.082805 | 2.4655
35 | 0.018861 | 0.004727 | -0.018858 | -0.0047261 | 2.6215e-06 | 9.4154e-07 | 0.028398 | 0.028398 | 0.028398 | 0.98826 | -0.082257 | 0.98812 | -0.083261 | 10.5179
36 | 0.0044214 | 0.0011054 | -0.0044209 | -0.0011054 | 5.0914e-07 | -4.0037e-08 | 0.0066568 | 0.0066569 | 0.0066569 | 0.98819 | -0.082805 | 0.98807 | -0.083641 | 2.4655
37 | 0.015853 | 0.003973 | -0.015851 | -0.0039722 | 2.3829e-06 | 8.3069e-07 | 0.023873 | 0.023873 | 0.023873 | 0.98812 | -0.083261 | 0.98797 | -0.084347 | 8.8419
38 | 0.0024018 | 0.00059938 | -0.0024017 | -0.00059954 | 1.2919e-07 | -1.5308e-07 | 0.0036162 | 0.0036163 | 0.0036163 | 0.98807 | -0.083641 | 0.98801 | -0.084033 | 1.3394
39 | -0.0088711 | -0.0022229 | 0.0088728 | 0.0022233 | 1.6652e-06 | 4.4915e-07 | 0.013364 | 0.013364 | 0.013364 | 0.98778 | -0.085703 | 0.98797 | -0.084347 | 4.9495
40 | 0.0088711 | 0.0022229 | -0.0088707 | -0.0022228 | 4.1045e-07 | 1.1072e-07 | 0.013364 | 0.013364 | 0.013364 | 0.98778 | -0.085703 | 0.98773 | -0.086037 | 4.9495
41 | 0.0051247 | 0.0012839 | -0.0051234 | -0.0012839 | 1.3417e-06 | 5.4433e-08 | 0.0077202 | 0.0077204 | 0.0077204 | 0.98773 | -0.086037 | 0.98746 | -0.08793 | 2.8594
42 | 0.0051234 | 0.0012839 | -0.0051226 | -0.0012839 | 7.1987e-07 | 2.9316e-08 | 0.0077204 | 0.0077205 | 0.0077205 | 0.98746 | -0.08793 | 0.98732 | -0.088945 | 2.8594
43 | -0.0015554 | -0.00038983 | 0.0015555 | 0.0003895 | 9.6944e-08 | -3.2472e-07 | 0.0023436 | 0.0023434 | 0.0023436 | 0.98761 | -0.086942 | 0.98767 | -0.086491 | 0.86798
44 | 0.00084535 | 0.00021099 | -0.00084531 | -0.00021147 | 3.8529e-08 | -4.725e-07 | 0.0012733 | 0.0012735 | 0.0012735 | 0.98767 | -0.086491 | 0.98762 | -0.086822 | 0.47165
45 | -0.0024009 | -0.0006005 | 0.0024017 | 0.00059954 | 8.1226e-07 | -9.6175e-07 | 0.0036167 | 0.0036163 | 0.0036167 | 0.98767 | -0.086491 | 0.98801 | -0.084033 | 1.3395
46 | 0.00084531 | 0.00021147 | -0.00084528 | -0.00021185 | 3.0971e-08 | -3.7967e-07 | 0.0012735 | 0.0012736 | 0.0012736 | 0.98762 | -0.086822 | 0.98759 | -0.087087 | 0.4717

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.14437 | 0.036124

## res_load
| p_mw | q_mvar
0 | 0.0050652 | 0.0012694
1 | 0.0057859 | 0.0014501
2 | 0.0061944 | 0.0015525
3 | 0.0013998 | 0.00035082
4 | 0.0073303 | 0.0018371
5 | 0.0071351 | 0.0017882
6 | 0.0034999 | 0.00087717
7 | 0.002979 | 0.00074662
8 | 0.0010751 | 0.00026943
9 | 0.0019305 | 0.00048382
10 | 0.0083778 | 0.0020997
11 | 0.0014422 | 0.00036145
12 | 0.0018203 | 0.00045621
13 | 0.0012945 | 0.00032444
14 | 0.0057723 | 0.0014467
15 | 0.0016115 | 0.00040387
16 | 0.00033263 | 8.3364e-05
17 | 0.033864 | 0.008487
18 | 0.0044122 | 0.0011058
19 | 0.0025555 | 0.00064047
20 | 0.0057803 | 0.0014487
21 | 0.0094668 | 0.0023726
22 | 0.003005 | 0.00075312
23 | 0.0020191 | 0.00050602
24 | 0.0069779 | 0.0017488
25 | 0.003746 | 0.00093884
26 | 0.0051226 | 0.0012839
27 | 0.0015554 | 0.00038983
28 | 0.00084528 | 0.00021185

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1