## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2306-43_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2306-43_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2306-43_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2306-43_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2306-43_0_3_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_2306-43_0_3_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_2306-43_0_3_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_2306-43_0_3_node_59 | 0.4 | n |  | TRUE
8 | bus_LV_2306-43_0_3_node_47 | 0.4 | n |  | TRUE
9 | bus_LV_2306-43_0_3_node_55 | 0.4 | n |  | TRUE
10 | bus_LV_2306-43_0_3_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_2306-43_0_3_node_64 | 0.4 | n |  | TRUE
12 | bus_LV_2306-43_0_3_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_2306-43_0_3_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_2306-43_0_3_node_35 | 0.4 | n |  | TRUE
15 | bus_LV_2306-43_0_3_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_2306-43_0_3_node_32 | 0.4 | n |  | TRUE
17 | bus_LV_2306-43_0_3_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_2306-43_0_3_node_42 | 0.4 | n |  | TRUE
19 | bus_LV_2306-43_0_3_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_2306-43_0_3_node_40 | 0.4 | n |  | TRUE
21 | bus_LV_2306-43_0_3_node_39 | 0.4 | n |  | TRUE
22 | bus_LV_2306-43_0_3_node_60 | 0.4 | n |  | TRUE
23 | bus_LV_2306-43_0_3_node_56 | 0.4 | n |  | TRUE
24 | bus_LV_2306-43_0_3_node_33 | 0.4 | n |  | TRUE
25 | bus_LV_2306-43_0_3_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_2306-43_0_3_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_2306-43_0_3_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_2306-43_0_3_node_38 | 0.4 | n |  | TRUE
29 | bus_LV_2306-43_0_3_node_37 | 0.4 | n |  | TRUE
30 | bus_LV_2306-43_0_3_node_15 | 0.4 | n |  | TRUE
31 | bus_LV_2306-43_0_3_node_16 | 0.4 | n |  | TRUE
32 | bus_LV_2306-43_0_3_node_17 | 0.4 | n |  | TRUE
33 | bus_LV_2306-43_0_3_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_2306-43_0_3_node_41 | 0.4 | n |  | TRUE
35 | bus_LV_2306-43_0_3_node_45 | 0.4 | n |  | TRUE
36 | bus_LV_2306-43_0_3_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_2306-43_0_3_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_2306-43_0_3_node_20 | 0.4 | n |  | TRUE
39 | bus_LV_2306-43_0_3_node_21 | 0.4 | n |  | TRUE
40 | bus_LV_2306-43_0_3_node_23 | 0.4 | n |  | TRUE
41 | bus_LV_2306-43_0_3_node_43 | 0.4 | n |  | TRUE
42 | bus_LV_2306-43_0_3_node_26 | 0.4 | n |  | TRUE
43 | bus_LV_2306-43_0_3_node_44 | 0.4 | n |  | TRUE
44 | bus_LV_2306-43_0_3_node_46 | 0.4 | n |  | TRUE
45 | bus_LV_2306-43_0_3_node_28 | 0.4 | n |  | TRUE
46 | bus_LV_2306-43_0_3_node_29 | 0.4 | n |  | TRUE
47 | bus_LV_2306-43_0_3_node_30 | 0.4 | n |  | TRUE
48 | bus_LV_2306-43_0_3_node_36 | 0.4 | n |  | TRUE
49 | bus_LV_2306-43_0_3_node_34 | 0.4 | n |  | TRUE
50 | bus_LV_2306-43_0_3_node_63 | 0.4 | n |  | TRUE
51 | bus_LV_2306-43_0_3_node_54 | 0.4 | n |  | TRUE
52 | bus_LV_2306-43_0_3_node_53 | 0.4 | n |  | TRUE
53 | bus_LV_2306-43_0_3_node_48 | 0.4 | n |  | TRUE
54 | bus_LV_2306-43_0_3_node_49 | 0.4 | n |  | TRUE
55 | bus_LV_2306-43_0_3_node_50 | 0.4 | n |  | TRUE
56 | bus_LV_2306-43_0_3_node_52 | 0.4 | n |  | TRUE
57 | bus_LV_2306-43_0_3_node_57 | 0.4 | n |  | TRUE
58 | bus_LV_2306-43_0_3_node_58 | 0.4 | n |  | TRUE
59 | bus_LV_2306-43_0_3_node_61 | 0.4 | n |  | TRUE
60 | bus_LV_2306-43_0_3_node_62 | 0.4 | n |  | TRUE
61 | bus_MV_119_1_node_227 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2306-43_0_3_load_0 | 0 | 0.0060893 | 0.0015261 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2306-43_0_3_load_59 | 7 | 0.016799 | 0.0042101 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2306-43_0_3_load_47 | 8 | 0.0019542 | 0.00048977 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2306-43_0_3_load_55 | 9 | 0.0091093 | 0.002283 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2306-43_0_3_load_64 | 11 | 0.014377 | 0.0036033 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2306-43_0_3_load_35 | 14 | 0.0098237 | 0.0024621 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2306-43_0_3_load_32 | 16 | 0.0092153 | 0.0023096 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2306-43_0_3_load_12 | 17 | 0.013939 | 0.0034933 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2306-43_0_3_load_42 | 18 | 0.00060641 | 0.00015198 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2306-43_0_3_load_40 | 20 | 0.0020656 | 0.00051768 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2306-43_0_3_load_39 | 21 | 0.0049395 | 0.0012379 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2306-43_0_3_load_60 | 22 | 0.0084545 | 0.0021189 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2306-43_0_3_load_56 | 23 | 0.0045038 | 0.0011288 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2306-43_0_3_load_33 | 24 | 0.0088149 | 0.0022092 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2306-43_0_3_load_13 | 25 | 0.0020749 | 0.00052001 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2306-43_0_3_load_14 | 27 | 0.0018741 | 0.00046971 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2306-43_0_3_load_38 | 28 | 0.0025485 | 0.00063871 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2306-43_0_3_load_37 | 29 | 0.0028087 | 0.00070392 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2306-43_0_3_load_15 | 30 | 0.0094846 | 0.0023771 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2306-43_0_3_load_16 | 31 | 0.00075785 | 0.00018993 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2306-43_0_3_load_17 | 32 | 0.0019659 | 0.00049271 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2306-43_0_3_load_19 | 33 | 0.00076934 | 0.00019281 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2306-43_0_3_load_41 | 34 | 0.0058709 | 0.0014714 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2306-43_0_3_load_45 | 35 | 0.0014371 | 0.00036018 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2306-43_0_3_load_25 | 37 | 0.00096044 | 0.00024071 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2306-43_0_3_load_20 | 38 | 0.00094682 | 0.0002373 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2306-43_0_3_load_43 | 41 | 0.0030281 | 0.00075891 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2306-43_0_3_load_26 | 42 | 0.0015175 | 0.00038033 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2306-43_0_3_load_46 | 44 | 0.0013684 | 0.00034295 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2306-43_0_3_load_28 | 45 | 0.0061884 | 0.001551 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2306-43_0_3_load_29 | 46 | 0.0029186 | 0.00073146 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2306-43_0_3_load_36 | 48 | 0.0035106 | 0.00087983 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2306-43_0_3_load_63 | 50 | 0.010089 | 0.0025286 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2306-43_0_3_load_54 | 51 | 0.0020611 | 0.00051657 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2306-43_0_3_load_48 | 53 | 0.0012982 | 0.00032535 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2306-43_0_3_load_49 | 54 | 0.0012994 | 0.00032565 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2306-43_0_3_load_52 | 56 | 0.0017204 | 0.00043116 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2306-43_0_3_load_57 | 57 | 0.0024524 | 0.00061464 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2306-43_0_3_load_58 | 58 | 0.0020675 | 0.00051817 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2306-43_0_3_load_61 | 59 | 0.0046247 | 0.0011591 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2306-43_0_3_load_62 | 60 | 0.002194 | 0.00054987 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 19 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2306-43_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.018444 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2306-43_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.019273 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2306-43_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.030229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2306-43_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.026188 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2306-43_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.059188 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2306-43_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.036123 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2306-43_0_3_line_6 | NAYY 4x150 SE | 3 | 7 | 0.027661 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2306-43_0_3_line_7 | NAYY 4x150 SE | 4 | 10 | 0.029332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2306-43_0_3_line_8 | NAYY 4x150 SE | 4 | 11 | 0.010132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2306-43_0_3_line_9 | NAYY 4x150 SE | 5 | 8 | 0.037203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2306-43_0_3_line_10 | NAYY 4x150 SE | 6 | 9 | 0.028256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2306-43_0_3_line_11 | NAYY 4x150 SE | 7 | 22 | 0.02486 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2306-43_0_3_line_12 | NAYY 4x150 SE | 9 | 23 | 0.028509 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2306-43_0_3_line_13 | NAYY 4x150 SE | 10 | 18 | 0.038851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
14 | LV_2306-43_0_3_line_14 | NAYY 4x150 SE | 10 | 15 | 0.025917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2306-43_0_3_line_15 | NAYY 4x150 SE | 12 | 13 | 0.087485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2306-43_0_3_line_16 | NAYY 4x150 SE | 12 | 14 | 0.12667 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2306-43_0_3_line_17 | NAYY 4x150 SE | 13 | 15 | 0.022684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2306-43_0_3_line_18 | NAYY 4x150 SE | 13 | 16 | 0.05241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2306-43_0_3_line_19 | NAYY 4x150 SE | 15 | 17 | 0.033939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2306-43_0_3_line_20 | NAYY 4x150 SE | 16 | 24 | 0.030402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2306-43_0_3_line_21 | NAYY 4x150 SE | 17 | 25 | 0.02576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2306-43_0_3_line_22 | NAYY 4x150 SE | 18 | 20 | 8.7607e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
23 | LV_2306-43_0_3_line_23 | NAYY 4x150 SE | 19 | 20 | 0.00071584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
24 | LV_2306-43_0_3_line_24 | NAYY 4x150 SE | 19 | 21 | 0.017952 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2306-43_0_3_line_25 | NAYY 4x150 SE | 21 | 26 | 0.022667 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2306-43_0_3_line_26 | NAYY 4x150 SE | 22 | 59 | 0.031331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2306-43_0_3_line_27 | NAYY 4x150 SE | 23 | 57 | 0.019086 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2306-43_0_3_line_28 | NAYY 4x150 SE | 24 | 49 | 0.022992 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2306-43_0_3_line_29 | NAYY 4x150 SE | 25 | 27 | 0.014913 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2306-43_0_3_line_30 | NAYY 4x150 SE | 26 | 34 | 0.017764 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2306-43_0_3_line_31 | NAYY 4x150 SE | 26 | 31 | 0.029504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2306-43_0_3_line_32 | NAYY 4x150 SE | 27 | 28 | 0.033588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2306-43_0_3_line_33 | NAYY 4x150 SE | 28 | 29 | 0.040216 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2306-43_0_3_line_34 | NAYY 4x150 SE | 29 | 48 | 0.029138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2306-43_0_3_line_35 | NAYY 4x150 SE | 30 | 31 | 0.017317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2306-43_0_3_line_36 | NAYY 4x150 SE | 30 | 32 | 0.019056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2306-43_0_3_line_37 | NAYY 4x150 SE | 32 | 33 | 0.010899 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2306-43_0_3_line_38 | NAYY 4x150 SE | 34 | 35 | 0.024035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2306-43_0_3_line_39 | NAYY 4x150 SE | 35 | 40 | 0.014414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2306-43_0_3_line_40 | NAYY 4x150 SE | 36 | 37 | 0.0066816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2306-43_0_3_line_41 | NAYY 4x150 SE | 36 | 38 | 0.014977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2306-43_0_3_line_42 | NAYY 4x150 SE | 37 | 42 | 0.038205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2306-43_0_3_line_43 | NAYY 4x150 SE | 38 | 39 | 0.037574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2306-43_0_3_line_44 | NAYY 4x150 SE | 39 | 40 | 0.029407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2306-43_0_3_line_45 | NAYY 4x150 SE | 40 | 41 | 0.053585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_2306-43_0_3_line_46 | NAYY 4x150 SE | 41 | 43 | 0.021837 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_2306-43_0_3_line_47 | NAYY 4x150 SE | 43 | 44 | 0.0034333 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_2306-43_0_3_line_48 | NAYY 4x150 SE | 44 | 51 | 0.017595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_2306-43_0_3_line_49 | NAYY 4x150 SE | 45 | 46 | 0.063213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_2306-43_0_3_line_50 | NAYY 4x150 SE | 46 | 47 | 0.011534 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_2306-43_0_3_line_51 | NAYY 4x150 SE | 47 | 48 | 0.036227 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_2306-43_0_3_line_52 | NAYY 4x150 SE | 49 | 50 | 0.016755 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_2306-43_0_3_line_53 | NAYY 4x150 SE | 51 | 52 | 0.017843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_2306-43_0_3_line_54 | NAYY 4x150 SE | 52 | 56 | 0.021671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_2306-43_0_3_line_55 | NAYY 4x150 SE | 53 | 54 | 0.0026243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_2306-43_0_3_line_56 | NAYY 4x150 SE | 53 | 55 | 0.0042612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_2306-43_0_3_line_57 | NAYY 4x150 SE | 55 | 56 | 0.017053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_2306-43_0_3_line_58 | NAYY 4x150 SE | 57 | 58 | 0.0047421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_2306-43_0_3_line_59 | NAYY 4x150 SE | 59 | 60 | 0.0002624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2306-43_0_3_trafo_11 | 0.25 MVA 20/0.4 kV | 61 | 19 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2586413.2171 | 1185615.6435 | 2586416.5028 | 1185633.7928
1 | 2586419.9331 | 1185652.7585 | 2586416.9267 | 1185636.1345 | 2586416.5028 | 1185633.7928
2 | 2586413.2171 | 1185615.6435 | 2586409.8165 | 1185596.8526 | 2586399.1109 | 1185593.7977
3 | 2586419.9331 | 1185652.7585 | 2586428.6668 | 1185654.4951 | 2586445.6152 | 1185657.8805
4 | 2586345.4993 | 1185568.9186 | 2586367.7027 | 1185580.9517 | 2586389.1965 | 1185589.7405 | 2586399.1109 | 1185593.7977
5 | 2586399.1109 | 1185593.7977 | 2586409.8165 | 1185596.8526 | 2586434.5191 | 1185600.6316
6 | 2586399.1109 | 1185593.7977 | 2586404.3032 | 1185566.628
7 | 2586445.6152 | 1185657.8805 | 2586450.8906 | 1185658.9357 | 2586453.8988 | 1185656.3052 | 2586460.4546 | 1185656.6461 | 2586464.931 | 1185655.3685 | 2586466.659 | 1185646.8046
8 | 2586447.6148 | 1185647.9485 | 2586445.6152 | 1185657.8805
9 | 2586345.4993 | 1185568.9186 | 2586343.2263 | 1185576.0275 | 2586340.2315 | 1185605.6154
10 | 2586434.5191 | 1185600.6316 | 2586439.6302 | 1185572.8414
11 | 2586404.3032 | 1185566.628 | 2586408.9697 | 1185542.2095
12 | 2586439.6302 | 1185572.8414 | 2586444.7869 | 1185544.8032
13 | 2586466.659 | 1185646.8046 | 2586474.3404 | 1185608.7209
14 | 2586466.659 | 1185646.8046 | 2586464.931 | 1185655.3685 | 2586467.9532 | 1185672.2816
15 | 2586449.882 | 1185745.5051 | 2586451.949 | 1185731.6599 | 2586451.1196 | 1185719.322 | 2586451.0088 | 1185710.8401 | 2586448.7207 | 1185694.5924 | 2586470.3319 | 1185691.5084 | 2586471.7348 | 1185687.592 | 2586477.8284 | 1185679.3628
16 | 2586449.882 | 1185745.5051 | 2586530.5797 | 1185739.5523 | 2586543.7779 | 1185741.5457 | 2586576.111 | 1185739.4189
17 | 2586467.9532 | 1185672.2816 | 2586462.7687 | 1185674.2944 | 2586466.0434 | 1185678.0889 | 2586468.1598 | 1185679.2403 | 2586470.427 | 1185679.602 | 2586477.8284 | 1185679.3628
18 | 2586477.8284 | 1185679.3628 | 2586530.2112 | 1185677.6693
19 | 2586467.9532 | 1185672.2816 | 2586481.2498 | 1185667.1376 | 2586499.8018 | 1185660.5658
20 | 2586560.5975 | 1185676.6869 | 2586530.2112 | 1185677.6693
21 | 2586499.8018 | 1185660.5658 | 2586503.4227 | 1185659.2832 | 2586514.4185 | 1185655.7453 | 2586524.4247 | 1185653.0297
22 | 2586474.3404 | 1185608.7209 | 2586474.3577 | 1185608.635
23 | 2586474.3577 | 1185608.635 | 2586474.4992 | 1185607.9333
24 | 2586474.4992 | 1185607.9333 | 2586477.4808 | 1185590.2306
25 | 2586481.4517 | 1185567.919 | 2586480.5905 | 1185571.7674 | 2586477.4808 | 1185590.2306
26 | 2586414.851 | 1185511.435 | 2586408.9697 | 1185542.2095
27 | 2586444.7869 | 1185544.8032 | 2586448.2392 | 1185526.0322
28 | 2586583.5774 | 1185675.944 | 2586560.5975 | 1185676.6869
29 | 2586539.0034 | 1185649.9045 | 2586537.1537 | 1185650.2021 | 2586525.0342 | 1185652.8643 | 2586524.4247 | 1185653.0297
30 | 2586481.4517 | 1185567.919 | 2586485.1357 | 1185550.5414
31 | 2586481.4517 | 1185567.919 | 2586508.6698 | 1185579.3063
32 | 2586572.4184 | 1185647.1929 | 2586561.1158 | 1185647.2353 | 2586548.0162 | 1185648.4544 | 2586539.0034 | 1185649.9045
33 | 2586572.4184 | 1185647.1929 | 2586575.935 | 1185647.1797 | 2586587.6422 | 1185647.7647 | 2586600.5803 | 1185649.4031 | 2586612.2767 | 1185651.7853
34 | 2586640.1488 | 1185660.15 | 2586635.5576 | 1185658.2735 | 2586625.1418 | 1185655.0619 | 2586614.1849 | 1185652.1739 | 2586612.2767 | 1185651.7853
35 | 2586524.8286 | 1185585.5027 | 2586518.1079 | 1185583.2549 | 2586508.6698 | 1185579.3063
36 | 2586542.9006 | 1185591.5468 | 2586524.8286 | 1185585.5027
37 | 2586542.9006 | 1185591.5468 | 2586553.2371 | 1185595.0038
38 | 2586485.1357 | 1185550.5414 | 2586490.1203 | 1185527.0286
39 | 2586491.5597 | 1185512.7229 | 2586491.3017 | 1185520.1051 | 2586490.6781 | 1185524.3977 | 2586490.1203 | 1185527.0286
40 | 2586565.4477 | 1185548.0852 | 2586571.8262 | 1185550.0746
41 | 2586565.4477 | 1185548.0852 | 2586551.5269 | 1185542.5608
42 | 2586571.8262 | 1185550.0746 | 2586584.5922 | 1185554.0563 | 2586607.7011 | 1185563.1467
43 | 2586517.8257 | 1185526.0926 | 2586538.7073 | 1185537.4734 | 2586551.5269 | 1185542.5608
44 | 2586491.5597 | 1185512.7229 | 2586497.7788 | 1185515.9772 | 2586517.8257 | 1185526.0926
45 | 2586491.5597 | 1185512.7229 | 2586474.4681 | 1185503.5792 | 2586445.7314 | 1185485.0338
46 | 2586427.3834 | 1185473.1928 | 2586445.7314 | 1185485.0338
47 | 2586427.3834 | 1185473.1928 | 2586424.6072 | 1185471.173
48 | 2586410.3791 | 1185460.8213 | 2586424.6072 | 1185471.173
49 | 2586715.0754 | 1185616.7502 | 2586710.5843 | 1185630.7024 | 2586679.5345 | 1185668.0336
50 | 2586672.1591 | 1185676.9011 | 2586679.5345 | 1185668.0336
51 | 2586672.1591 | 1185676.9011 | 2586659.8557 | 1185669.0246 | 2586645.9452 | 1185662.5191 | 2586640.1488 | 1185660.15
52 | 2586583.5774 | 1185675.944 | 2586600.3718 | 1185675.3948
53 | 2586396.0355 | 1185450.208 | 2586408.5413 | 1185459.4842 | 2586410.3791 | 1185460.8213
54 | 2586396.0355 | 1185450.208 | 2586409.124 | 1185432.936
55 | 2586418.4648 | 1185413.9602 | 2586418.4157 | 1185411.3364
56 | 2586416.8942 | 1185417.9214 | 2586418.4648 | 1185413.9602
57 | 2586416.8942 | 1185417.9214 | 2586412.9639 | 1185427.8689 | 2586409.124 | 1185432.936
58 | 2586449.0969 | 1185521.3684 | 2586448.2392 | 1185526.0322
59 | 2586414.9002 | 1185511.1772 | 2586414.851 | 1185511.435

## bus_geodata
| x | y | coords
0 | 2586416.5028 | 1185633.7928
1 | 2586413.2171 | 1185615.6435
2 | 2586419.9331 | 1185652.7585
3 | 2586399.1109 | 1185593.7977
4 | 2586445.6152 | 1185657.8805
5 | 2586345.4993 | 1185568.9186
6 | 2586434.5191 | 1185600.6316
7 | 2586404.3032 | 1185566.628
8 | 2586340.2315 | 1185605.6154
9 | 2586439.6302 | 1185572.8414
10 | 2586466.659 | 1185646.8046
11 | 2586447.6148 | 1185647.9485
12 | 2586449.882 | 1185745.5051
13 | 2586477.8284 | 1185679.3628
14 | 2586576.111 | 1185739.4189
15 | 2586467.9532 | 1185672.2816
16 | 2586530.2112 | 1185677.6693
17 | 2586499.8018 | 1185660.5658
18 | 2586474.3404 | 1185608.7209
19 | 2586474.4992 | 1185607.9333
20 | 2586474.3577 | 1185608.635
21 | 2586477.4808 | 1185590.2306
22 | 2586408.9697 | 1185542.2095
23 | 2586444.7869 | 1185544.8032
24 | 2586560.5975 | 1185676.6869
25 | 2586524.4247 | 1185653.0297
26 | 2586481.4517 | 1185567.919
27 | 2586539.0034 | 1185649.9045
28 | 2586572.4184 | 1185647.1929
29 | 2586612.2767 | 1185651.7853
30 | 2586524.8286 | 1185585.5027
31 | 2586508.6698 | 1185579.3063
32 | 2586542.9006 | 1185591.5468
33 | 2586553.2371 | 1185595.0038
34 | 2586485.1357 | 1185550.5414
35 | 2586490.1203 | 1185527.0286
36 | 2586565.4477 | 1185548.0852
37 | 2586571.8262 | 1185550.0746
38 | 2586551.5269 | 1185542.5608
39 | 2586517.8257 | 1185526.0926
40 | 2586491.5597 | 1185512.7229
41 | 2586445.7314 | 1185485.0338
42 | 2586607.7011 | 1185563.1467
43 | 2586427.3834 | 1185473.1928
44 | 2586424.6072 | 1185471.173
45 | 2586715.0754 | 1185616.7502
46 | 2586679.5345 | 1185668.0336
47 | 2586672.1591 | 1185676.9011
48 | 2586640.1488 | 1185660.15
49 | 2586583.5774 | 1185675.944
50 | 2586600.3718 | 1185675.3948
51 | 2586410.3791 | 1185460.8213
52 | 2586396.0355 | 1185450.208
53 | 2586418.4648 | 1185413.9602
54 | 2586418.4157 | 1185411.3364
55 | 2586416.8942 | 1185417.9214
56 | 2586409.124 | 1185432.936
57 | 2586448.2392 | 1185526.0322
58 | 2586449.0969 | 1185521.3684
59 | 2586414.851 | 1185511.435
60 | 2586414.9002 | 1185511.1772
61 | 2586452.5586 | 1185603.9255

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98889 | -0.077585 | 0.0060893 | 0.0015261
1 | 0.9875 | -0.087423 | 0 | 0
2 | 0.99052 | -0.06614 | 0 | 0
3 | 0.98521 | -0.10361 | 0 | 0
4 | 0.99273 | -0.050648 | 0 | 0
5 | 0.98504 | -0.1048 | 0 | 0
6 | 0.98426 | -0.11035 | 0 | 0
7 | 0.98393 | -0.11274 | 0.016799 | 0.0042101
8 | 0.98494 | -0.10555 | 0.0019542 | 0.00048977
9 | 0.98352 | -0.11564 | 0.0091093 | 0.002283
10 | 0.99581 | -0.029129 | 0 | 0
11 | 0.99252 | -0.052123 | 0.014377 | 0.0036033
12 | 0.99057 | -0.065926 | 0 | 0
13 | 0.99181 | -0.057181 | 0 | 0
14 | 0.98878 | -0.078613 | 0.0098237 | 0.0024621
15 | 0.99305 | -0.048451 | 0 | 0
16 | 0.98969 | -0.07217 | 0.0092153 | 0.0023096
17 | 0.9913 | -0.0608 | 0.013939 | 0.0034933
18 | 0.99991 | -0.0005974 | 0.00060641 | 0.00015198
19 | 1 | 0 | -0.19126 | -0.047972
20 | 0.99992 | -0.00053306 | 0.0020656 | 0.00051768
21 | 0.99899 | -0.0070788 | 0.0049395 | 0.0012379
22 | 0.98338 | -0.11666 | 0.0084545 | 0.0021189
23 | 0.98315 | -0.11829 | 0.0045038 | 0.0011288
24 | 0.98886 | -0.078032 | 0.0088149 | 0.0022092
25 | 0.99048 | -0.066546 | 0.0020749 | 0.00052001
26 | 0.99787 | -0.014914 | 0 | 0
27 | 0.99006 | -0.069562 | 0.0018741 | 0.00046971
28 | 0.98918 | -0.075721 | 0.0025485 | 0.00063871
29 | 0.98829 | -0.082061 | 0.0028087 | 0.00070392
30 | 0.99702 | -0.020881 | 0.0094846 | 0.0023771
31 | 0.99732 | -0.018756 | 0.00075785 | 0.00018993
32 | 0.99695 | -0.021404 | 0.0019659 | 0.00049271
33 | 0.99693 | -0.021489 | 0.00076934 | 0.00019281
34 | 0.99732 | -0.018752 | 0.0058709 | 0.0014714
35 | 0.99679 | -0.022532 | 0.0014371 | 0.00036018
36 | 0.99611 | -0.02728 | 0 | 0
37 | 0.99609 | -0.027446 | 0.00096044 | 0.00024071
38 | 0.99616 | -0.026906 | 0.00094682 | 0.0002373
39 | 0.99635 | -0.025609 | 0 | 0
40 | 0.99649 | -0.024593 | 0 | 0
41 | 0.99567 | -0.030408 | 0.0030281 | 0.00075891
42 | 0.996 | -0.02803 | 0.0015175 | 0.00038033
43 | 0.99542 | -0.032114 | 0 | 0
44 | 0.99538 | -0.032382 | 0.0013684 | 0.00034295
45 | 0.98656 | -0.09429 | 0.0061884 | 0.001551
46 | 0.98713 | -0.09028 | 0.0029186 | 0.00073146
47 | 0.98728 | -0.089203 | 0 | 0
48 | 0.98776 | -0.085823 | 0.0035106 | 0.00087983
49 | 0.98852 | -0.080401 | 0 | 0
50 | 0.98828 | -0.082128 | 0.010089 | 0.0025286
51 | 0.99522 | -0.033514 | 0.0020611 | 0.00051657
52 | 0.99511 | -0.034291 | 0 | 0
53 | 0.9949 | -0.035794 | 0.0012982 | 0.00032535
54 | 0.9949 | -0.035828 | 0.0012994 | 0.00032565
55 | 0.99492 | -0.035682 | 0 | 0
56 | 0.99498 | -0.035235 | 0.0017204 | 0.00043116
57 | 0.98302 | -0.11918 | 0.0024524 | 0.00061464
58 | 0.98301 | -0.11929 | 0.0020675 | 0.00051817
59 | 0.98307 | -0.11887 | 0.0046247 | 0.0011591
60 | 0.98307 | -0.11887 | 0.002194 | 0.00054987
61 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.052434 | 0.013174 | -0.052362 | -0.013146 | 7.1667e-05 | 2.7328e-05 | 0.078911 | 0.078911 | 0.078911 | 0.98889 | -0.077585 | 0.9875 | -0.087423 | 29.2262
1 | -0.058523 | -0.0147 | 0.058617 | 0.014735 | 9.3289e-05 | 3.5633e-05 | 0.088073 | 0.088073 | 0.088073 | 0.98889 | -0.077585 | 0.99052 | -0.06614 | 32.6197
2 | 0.052362 | 0.013146 | -0.052245 | -0.013101 | 0.00011746 | 4.479e-05 | 0.078911 | 0.078911 | 0.078911 | 0.9875 | -0.087423 | 0.98521 | -0.10361 | 29.2262
3 | -0.058617 | -0.014735 | 0.058743 | 0.014784 | 0.00012676 | 4.8415e-05 | 0.088073 | 0.088073 | 0.088073 | 0.99052 | -0.06614 | 0.99273 | -0.050648 | 32.6197
4 | 0.0019547 | 0.00048875 | -0.0019544 | -0.00048938 | 3.2186e-07 | -6.2979e-07 | 0.0029519 | 0.0029522 | 0.0029522 | 0.98521 | -0.10361 | 0.98504 | -0.1048 | 1.0934
5 | 0.018167 | 0.0045562 | -0.01815 | -0.0045502 | 1.6972e-05 | 6.0682e-06 | 0.02744 | 0.02744 | 0.02744 | 0.98521 | -0.10361 | 0.98426 | -0.11035 | 10.163
6 | 0.032123 | 0.0080565 | -0.032082 | -0.0080412 | 4.0633e-05 | 1.5276e-05 | 0.048519 | 0.048519 | 0.048519 | 0.98521 | -0.10361 | 0.98393 | -0.11274 | 17.97
7 | -0.073123 | -0.018388 | 0.073343 | 0.018472 | 0.00021997 | 8.4225e-05 | 0.10963 | 0.10963 | 0.10963 | 0.99273 | -0.050648 | 0.99581 | -0.029129 | 40.6029
8 | 0.01438 | 0.0036043 | -0.014377 | -0.0036033 | 2.9374e-06 | 9.988e-07 | 0.021555 | 0.021555 | 0.021555 | 0.99273 | -0.050648 | 0.99252 | -0.052123 | 7.9832
9 | 0.0019544 | 0.00048938 | -0.0019542 | -0.00048977 | 2.0234e-07 | -3.9571e-07 | 0.0029522 | 0.0029524 | 0.0029524 | 0.98504 | -0.1048 | 0.98494 | -0.10555 | 1.0935
10 | 0.01815 | 0.0045502 | -0.018137 | -0.0045454 | 1.3276e-05 | 4.7474e-06 | 0.02744 | 0.02744 | 0.02744 | 0.98426 | -0.11035 | 0.98352 | -0.11564 | 10.1631
11 | 0.015284 | 0.0038311 | -0.015275 | -0.0038282 | 8.288e-06 | 2.8721e-06 | 0.023114 | 0.023114 | 0.023114 | 0.98393 | -0.11274 | 0.98338 | -0.11666 | 8.5608
12 | 0.0090277 | 0.0022624 | -0.0090244 | -0.0022615 | 3.3187e-06 | 9.1476e-07 | 0.013658 | 0.013659 | 0.013659 | 0.98352 | -0.11564 | 0.98315 | -0.11829 | 5.0587
13 | -0.14763 | -0.037148 | 0.14823 | 0.037374 | 0.0005902 | 0.00022599 | 0.22066 | 0.22066 | 0.22066 | 0.99581 | -0.029129 | 0.99991 | -0.0005974 | 40.863
14 | 0.074292 | 0.018676 | -0.074092 | -0.018599 | 0.00019938 | 7.6348e-05 | 0.11103 | 0.11103 | 0.11103 | 0.99581 | -0.029129 | 0.99305 | -0.048451 | 41.1232
15 | -0.009841 | -0.0024671 | 0.0098529 | 0.0024705 | 1.193e-05 | 3.4609e-06 | 0.014783 | 0.014783 | 0.014783 | 0.99057 | -0.065926 | 0.99181 | -0.057181 | 5.4753
16 | 0.009841 | 0.0024671 | -0.0098237 | -0.0024621 | 1.7275e-05 | 5.0164e-06 | 0.014783 | 0.014784 | 0.014784 | 0.99057 | -0.065926 | 0.98878 | -0.078613 | 5.4755
17 | -0.038052 | -0.0095469 | 0.038098 | 0.0095644 | 4.6139e-05 | 1.7453e-05 | 0.057093 | 0.057093 | 0.057093 | 0.99181 | -0.057181 | 0.99305 | -0.048451 | 21.1455
18 | 0.028199 | 0.0070764 | -0.02814 | -0.0070545 | 5.8545e-05 | 2.1842e-05 | 0.04231 | 0.04231 | 0.04231 | 0.99181 | -0.057181 | 0.98969 | -0.07217 | 15.6705
19 | 0.035994 | 0.009035 | -0.035933 | -0.0090117 | 6.1617e-05 | 2.326e-05 | 0.05394 | 0.05394 | 0.05394 | 0.99305 | -0.048451 | 0.9913 | -0.0608 | 19.9778
20 | 0.018925 | 0.004745 | -0.01891 | -0.0047395 | 1.536e-05 | 5.5175e-06 | 0.028455 | 0.028455 | 0.028455 | 0.98969 | -0.07217 | 0.98886 | -0.078032 | 10.5389
21 | 0.021994 | 0.0055184 | -0.021977 | -0.005512 | 1.7523e-05 | 6.408e-06 | 0.033017 | 0.033017 | 0.033017 | 0.9913 | -0.0608 | 0.99048 | -0.066546 | 12.2286
22 | -0.14883 | -0.037526 | 0.14883 | 0.037526 | 1.3418e-06 | 5.1377e-07 | 0.22156 | 0.22156 | 0.22156 | 0.99991 | -0.0005974 | 0.99992 | -0.00053306 | 41.03
23 | 0.15091 | 0.038048 | -0.1509 | -0.038044 | 1.127e-05 | 4.3159e-06 | 0.22464 | 0.22464 | 0.22464 | 1 | 0 | 0.99992 | -0.00053306 | 41.5993
24 | 0.039551 | 0.0099231 | -0.039512 | -0.0099084 | 3.8804e-05 | 1.4689e-05 | 0.058856 | 0.058856 | 0.058856 | 1 | 0 | 0.99899 | -0.0070788 | 21.7985
25 | 0.034572 | 0.0086705 | -0.034535 | -0.0086563 | 3.7511e-05 | 1.4131e-05 | 0.051498 | 0.051499 | 0.051499 | 0.99899 | -0.0070788 | 0.99787 | -0.014914 | 19.0735
26 | 0.0068208 | 0.0017093 | -0.0068187 | -0.0017089 | 2.0827e-06 | 4.0365e-07 | 0.010321 | 0.010321 | 0.010321 | 0.98338 | -0.11666 | 0.98307 | -0.11887 | 3.8227
27 | 0.0045205 | 0.0011327 | -0.00452 | -0.0011328 | 5.575e-07 | -2.7568e-08 | 0.0068419 | 0.0068419 | 0.0068419 | 0.98315 | -0.11829 | 0.98302 | -0.11918 | 2.5341
28 | 0.010095 | 0.0025303 | -0.010091 | -0.0025293 | 3.3106e-06 | 9.7846e-07 | 0.015191 | 0.015191 | 0.015191 | 0.98886 | -0.078032 | 0.98852 | -0.080401 | 5.6262
29 | 0.019902 | 0.004992 | -0.019893 | -0.004989 | 8.3197e-06 | 3.008e-06 | 0.0299 | 0.0299 | 0.0299 | 0.99048 | -0.066546 | 0.99006 | -0.069562 | 11.0742
30 | 0.021546 | 0.0054007 | -0.021535 | -0.0053965 | 1.1443e-05 | 4.1693e-06 | 0.03213 | 0.03213 | 0.03213 | 0.99787 | -0.014914 | 0.99732 | -0.018752 | 11.9001
31 | 0.012988 | 0.0032556 | -0.012982 | -0.0032534 | 6.9065e-06 | 2.2711e-06 | 0.019368 | 0.019369 | 0.019369 | 0.99787 | -0.014914 | 0.99732 | -0.018756 | 7.1735
32 | 0.018019 | 0.0045193 | -0.018004 | -0.0045138 | 1.5374e-05 | 5.4814e-06 | 0.027083 | 0.027084 | 0.027084 | 0.99006 | -0.069562 | 0.98918 | -0.075721 | 10.031
33 | 0.015455 | 0.0038751 | -0.015442 | -0.0038704 | 1.3565e-05 | 4.7017e-06 | 0.02325 | 0.02325 | 0.02325 | 0.98918 | -0.075721 | 0.98829 | -0.082061 | 8.6112
34 | 0.012633 | 0.0031665 | -0.012627 | -0.0031643 | 6.5785e-06 | 2.157e-06 | 0.019021 | 0.019021 | 0.019021 | 0.98829 | -0.082061 | 0.98776 | -0.085823 | 7.045
35 | -0.01222 | -0.0030623 | 0.012224 | 0.0030634 | 3.5943e-06 | 1.1565e-06 | 0.018238 | 0.018238 | 0.018238 | 0.99702 | -0.020881 | 0.99732 | -0.018756 | 6.7548
36 | 0.0027355 | 0.00068521 | -0.0027353 | -0.00068538 | 1.9819e-07 | -1.7227e-07 | 0.0040825 | 0.0040826 | 0.0040826 | 0.99702 | -0.020881 | 0.99695 | -0.021404 | 1.5121
37 | 0.00076935 | 0.00019268 | -0.00076934 | -0.00019281 | 8.9677e-09 | -1.3867e-07 | 0.0011483 | 0.0011483 | 0.0011483 | 0.99695 | -0.021404 | 0.99693 | -0.021489 | 0.4253
38 | 0.015664 | 0.0039251 | -0.015656 | -0.0039223 | 8.1919e-06 | 2.8373e-06 | 0.023371 | 0.023371 | 0.023371 | 0.99732 | -0.018752 | 0.99679 | -0.022532 | 8.6559
39 | 0.014219 | 0.0035621 | -0.014215 | -0.0035608 | 4.0521e-06 | 1.3707e-06 | 0.021226 | 0.021226 | 0.021226 | 0.99679 | -0.022532 | 0.99649 | -0.024593 | 7.8613
40 | 0.0024782 | 0.00062052 | -0.0024781 | -0.00062059 | 5.7132e-08 | -6.5001e-08 | 0.0037017 | 0.0037018 | 0.0037018 | 0.99611 | -0.02728 | 0.99609 | -0.027446 | 1.371
41 | -0.0024782 | -0.00062052 | 0.0024783 | 0.00062038 | 1.2806e-07 | -1.4572e-07 | 0.0037017 | 0.0037017 | 0.0037017 | 0.99611 | -0.02728 | 0.99616 | -0.026906 | 1.371
42 | 0.0015177 | 0.00037988 | -0.0015175 | -0.00038033 | 1.2253e-07 | -4.5014e-07 | 0.002267 | 0.0022672 | 0.0022672 | 0.99609 | -0.027446 | 0.996 | -0.02803 | 0.83969
43 | -0.0034251 | -0.00085768 | 0.0034257 | 0.00085742 | 6.1364e-07 | -2.5324e-07 | 0.005116 | 0.0051158 | 0.005116 | 0.99616 | -0.026906 | 0.99635 | -0.025609 | 1.8948
44 | -0.0034257 | -0.00085742 | 0.0034262 | 0.00085722 | 4.8023e-07 | -1.9834e-07 | 0.0051158 | 0.0051157 | 0.0051158 | 0.99635 | -0.025609 | 0.99649 | -0.024593 | 1.8947
45 | 0.010789 | 0.0027035 | -0.01078 | -0.0027009 | 8.678e-06 | 2.6402e-06 | 0.01611 | 0.01611 | 0.01611 | 0.99649 | -0.024593 | 0.99567 | -0.030408 | 5.9667
46 | 0.0077518 | 0.001942 | -0.0077499 | -0.0019416 | 1.8287e-06 | 4.1942e-07 | 0.011585 | 0.011585 | 0.011585 | 0.99567 | -0.030408 | 0.99542 | -0.032114 | 4.2907
47 | 0.0077499 | 0.0019416 | -0.0077496 | -0.0019415 | 2.8752e-07 | 6.5956e-08 | 0.011585 | 0.011585 | 0.011585 | 0.99542 | -0.032114 | 0.99538 | -0.032382 | 4.2907
48 | 0.0063813 | 0.0015985 | -0.0063803 | -0.0015984 | 9.991e-07 | 1.5559e-07 | 0.0095392 | 0.0095393 | 0.0095393 | 0.99538 | -0.032382 | 0.99522 | -0.033514 | 3.5331
49 | -0.0061884 | -0.001551 | 0.0061918 | 0.0015515 | 3.4364e-06 | 5.1405e-07 | 0.0093339 | 0.0093336 | 0.0093339 | 0.98656 | -0.09429 | 0.98713 | -0.09028 | 3.457
50 | -0.0091104 | -0.0022829 | 0.0091118 | 0.0022833 | 1.3574e-06 | 3.7459e-07 | 0.013733 | 0.013733 | 0.013733 | 0.98713 | -0.09028 | 0.98728 | -0.089203 | 5.0863
51 | -0.0091118 | -0.0022833 | 0.009116 | 0.0022845 | 4.2633e-06 | 1.1762e-06 | 0.013733 | 0.013733 | 0.013733 | 0.98728 | -0.089203 | 0.98776 | -0.085823 | 5.0863
52 | 0.010091 | 0.0025293 | -0.010089 | -0.0025286 | 2.4126e-06 | 7.1318e-07 | 0.015191 | 0.015191 | 0.015191 | 0.98852 | -0.080401 | 0.98828 | -0.082128 | 5.6262
53 | 0.0043191 | 0.0010818 | -0.0043187 | -0.0010819 | 4.643e-07 | -5.3257e-08 | 0.0064576 | 0.0064576 | 0.0064576 | 0.99522 | -0.033514 | 0.99511 | -0.034291 | 2.3917
54 | 0.0043187 | 0.0010819 | -0.0043181 | -0.0010819 | 5.6392e-07 | -6.4606e-08 | 0.0064576 | 0.0064577 | 0.0064577 | 0.99511 | -0.034291 | 0.99498 | -0.035235 | 2.3918
55 | 0.0012994 | 0.00032562 | -0.0012994 | -0.00032565 | 6.1846e-09 | -3.17e-08 | 0.0019434 | 0.0019434 | 0.0019434 | 0.9949 | -0.035794 | 0.9949 | -0.035828 | 0.71977
56 | -0.0025975 | -0.00065097 | 0.0025976 | 0.00065093 | 4.0133e-08 | -3.9901e-08 | 0.003885 | 0.003885 | 0.003885 | 0.9949 | -0.035794 | 0.99492 | -0.035682 | 1.4389
57 | -0.0025976 | -0.00065093 | 0.0025977 | 0.00065077 | 1.6061e-07 | -1.597e-07 | 0.003885 | 0.0038849 | 0.003885 | 0.99492 | -0.035682 | 0.99498 | -0.035235 | 1.4389
58 | 0.0020675 | 0.00051812 | -0.0020675 | -0.00051817 | 2.8983e-08 | -4.897e-08 | 0.0031296 | 0.0031297 | 0.0031297 | 0.98302 | -0.11918 | 0.98301 | -0.11929 | 1.1591
59 | 0.002194 | 0.00054987 | -0.002194 | -0.00054987 | 1.8056e-09 | -2.6323e-09 | 0.0033209 | 0.0033209 | 0.0033209 | 0.98307 | -0.11887 | 0.98307 | -0.11887 | 1.23

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.19126 | 0.047972

## res_load
| p_mw | q_mvar
0 | 0.0060893 | 0.0015261
1 | 0.016799 | 0.0042101
2 | 0.0019542 | 0.00048977
3 | 0.0091093 | 0.002283
4 | 0.014377 | 0.0036033
5 | 0.0098237 | 0.0024621
6 | 0.0092153 | 0.0023096
7 | 0.013939 | 0.0034933
8 | 0.00060641 | 0.00015198
9 | 0.0020656 | 0.00051768
10 | 0.0049395 | 0.0012379
11 | 0.0084545 | 0.0021189
12 | 0.0045038 | 0.0011288
13 | 0.0088149 | 0.0022092
14 | 0.0020749 | 0.00052001
15 | 0.0018741 | 0.00046971
16 | 0.0025485 | 0.00063871
17 | 0.0028087 | 0.00070392
18 | 0.0094846 | 0.0023771
19 | 0.00075785 | 0.00018993
20 | 0.0019659 | 0.00049271
21 | 0.00076934 | 0.00019281
22 | 0.0058709 | 0.0014714
23 | 0.0014371 | 0.00036018
24 | 0.00096044 | 0.00024071
25 | 0.00094682 | 0.0002373
26 | 0.0030281 | 0.00075891
27 | 0.0015175 | 0.00038033
28 | 0.0013684 | 0.00034295
29 | 0.0061884 | 0.001551
30 | 0.0029186 | 0.00073146
31 | 0.0035106 | 0.00087983
32 | 0.010089 | 0.0025286
33 | 0.0020611 | 0.00051657
34 | 0.0012982 | 0.00032535
35 | 0.0012994 | 0.00032565
36 | 0.0017204 | 0.00043116
37 | 0.0024524 | 0.00061464
38 | 0.0020675 | 0.00051817
39 | 0.0046247 | 0.0011591
40 | 0.002194 | 0.00054987

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1