## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2306-5_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2306-5_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2306-5_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2306-5_0_2_node_62 | 0.4 | n |  | TRUE
4 | bus_LV_2306-5_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2306-5_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2306-5_0_2_node_61 | 0.4 | n |  | TRUE
7 | bus_LV_2306-5_0_2_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_2306-5_0_2_node_25 | 0.4 | n |  | TRUE
9 | bus_LV_2306-5_0_2_node_27 | 0.4 | n |  | TRUE
10 | bus_LV_2306-5_0_2_node_24 | 0.4 | n |  | TRUE
11 | bus_LV_2306-5_0_2_node_59 | 0.4 | n |  | TRUE
12 | bus_LV_2306-5_0_2_node_58 | 0.4 | n |  | TRUE
13 | bus_LV_2306-5_0_2_node_26 | 0.4 | n |  | TRUE
14 | bus_LV_2306-5_0_2_node_28 | 0.4 | n |  | TRUE
15 | bus_LV_2306-5_0_2_node_36 | 0.4 | n |  | TRUE
16 | bus_LV_2306-5_0_2_node_44 | 0.4 | n |  | TRUE
17 | bus_LV_2306-5_0_2_node_42 | 0.4 | n |  | TRUE
18 | bus_LV_2306-5_0_2_node_37 | 0.4 | n |  | TRUE
19 | bus_LV_2306-5_0_2_node_54 | 0.4 | n |  | TRUE
20 | bus_LV_2306-5_0_2_node_43 | 0.4 | n |  | TRUE
21 | bus_LV_2306-5_0_2_node_38 | 0.4 | n |  | TRUE
22 | bus_LV_2306-5_0_2_node_39 | 0.4 | n |  | TRUE
23 | bus_LV_2306-5_0_2_node_40 | 0.4 | n |  | TRUE
24 | bus_LV_2306-5_0_2_node_41 | 0.4 | n |  | TRUE
25 | bus_LV_2306-5_0_2_node_51 | 0.4 | n |  | TRUE
26 | bus_LV_2306-5_0_2_node_64 | 0.4 | n |  | TRUE
27 | bus_LV_2306-5_0_2_node_49 | 0.4 | n |  | TRUE
28 | bus_LV_2306-5_0_2_node_45 | 0.4 | n |  | TRUE
29 | bus_LV_2306-5_0_2_node_46 | 0.4 | n |  | TRUE
30 | bus_LV_2306-5_0_2_node_56 | 0.4 | n |  | TRUE
31 | bus_LV_2306-5_0_2_node_52 | 0.4 | n |  | TRUE
32 | bus_LV_2306-5_0_2_node_47 | 0.4 | n |  | TRUE
33 | bus_LV_2306-5_0_2_node_48 | 0.4 | n |  | TRUE
34 | bus_LV_2306-5_0_2_node_50 | 0.4 | n |  | TRUE
35 | bus_LV_2306-5_0_2_node_57 | 0.4 | n |  | TRUE
36 | bus_LV_2306-5_0_2_node_55 | 0.4 | n |  | TRUE
37 | bus_LV_2306-5_0_2_node_53 | 0.4 | n |  | TRUE
38 | bus_LV_2306-5_0_2_node_60 | 0.4 | n |  | TRUE
39 | bus_MV_119_1_node_183 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2306-5_0_2_load_0 | 0 | 0.0020784 | 0.0005209 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2306-5_0_2_load_62 | 3 | 0.0019925 | 0.00049938 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2306-5_0_2_load_4 | 4 | 0.0013855 | 0.00034724 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2306-5_0_2_load_5 | 5 | 0.00080405 | 0.00020151 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2306-5_0_2_load_61 | 6 | 0.0078228 | 0.0019606 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2306-5_0_2_load_6 | 7 | 0.0056342 | 0.0014121 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2306-5_0_2_load_27 | 9 | 0.0029579 | 0.00074131 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2306-5_0_2_load_24 | 10 | 0.0032514 | 0.00081489 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2306-5_0_2_load_59 | 11 | 0.00097165 | 0.00024352 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2306-5_0_2_load_58 | 12 | 0.0044377 | 0.0011122 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2306-5_0_2_load_36 | 15 | 0.00031883 | 7.9906e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2306-5_0_2_load_44 | 16 | 0.0053633 | 0.0013442 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2306-5_0_2_load_42 | 17 | 0.0008335 | 0.0002089 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2306-5_0_2_load_37 | 18 | 0.00060891 | 0.00015261 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2306-5_0_2_load_38 | 21 | 0.0081291 | 0.0020373 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2306-5_0_2_load_39 | 22 | 0.0057699 | 0.0014461 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2306-5_0_2_load_51 | 25 | 0.010847 | 0.0027185 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2306-5_0_2_load_64 | 26 | 0.0041739 | 0.0010461 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2306-5_0_2_load_45 | 28 | 0.0011877 | 0.00029768 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2306-5_0_2_load_46 | 29 | 0.0012822 | 0.00032135 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2306-5_0_2_load_52 | 31 | 0.0066138 | 0.0016576 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2306-5_0_2_load_47 | 32 | 0.0076795 | 0.0019247 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2306-5_0_2_load_48 | 33 | 0.0052661 | 0.0013198 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2306-5_0_2_load_50 | 34 | 0.0048557 | 0.001217 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2306-5_0_2_load_57 | 35 | 0.0035987 | 0.00090191 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2306-5_0_2_load_55 | 36 | 0.0076883 | 0.0019269 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2306-5_0_2_load_53 | 37 | 0.0035921 | 0.00090027 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2306-5_0_2_load_60 | 38 | 0.0030973 | 0.00077624 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 38 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2306-5_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.084299 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2306-5_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 6.7676e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2306-5_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.22846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2306-5_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.036922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2306-5_0_2_line_4 | NAYY 4x150 SE | 2 | 5 | 0.03521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2306-5_0_2_line_5 | NAYY 4x150 SE | 3 | 6 | 0.0014597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2306-5_0_2_line_6 | NAYY 4x150 SE | 4 | 7 | 0.035762 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2306-5_0_2_line_7 | NAYY 4x150 SE | 6 | 38 | 0.026066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2306-5_0_2_line_8 | NAYY 4x150 SE | 8 | 9 | 0.049545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2306-5_0_2_line_9 | NAYY 4x150 SE | 8 | 10 | 0.082122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2306-5_0_2_line_10 | NAYY 4x150 SE | 9 | 15 | 0.030143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2306-5_0_2_line_11 | NAYY 4x150 SE | 10 | 13 | 0.065381 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2306-5_0_2_line_12 | NAYY 4x150 SE | 11 | 12 | 0.013585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2306-5_0_2_line_13 | NAYY 4x150 SE | 12 | 30 | 0.020972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2306-5_0_2_line_14 | NAYY 4x150 SE | 13 | 14 | 0.075184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2306-5_0_2_line_15 | NAYY 4x150 SE | 14 | 16 | 0.016103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2306-5_0_2_line_16 | NAYY 4x150 SE | 14 | 17 | 0.017909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2306-5_0_2_line_17 | NAYY 4x150 SE | 15 | 18 | 0.0045999 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2306-5_0_2_line_18 | NAYY 4x150 SE | 16 | 19 | 0.0092424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2306-5_0_2_line_19 | NAYY 4x150 SE | 17 | 20 | 0.030789 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2306-5_0_2_line_20 | NAYY 4x150 SE | 19 | 30 | 0.022447 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2306-5_0_2_line_21 | NAYY 4x150 SE | 19 | 31 | 0.016958 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2306-5_0_2_line_22 | NAYY 4x150 SE | 20 | 28 | 0.006902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2306-5_0_2_line_23 | NAYY 4x150 SE | 20 | 29 | 0.011623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2306-5_0_2_line_24 | NAYY 4x150 SE | 21 | 22 | 0.023268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2306-5_0_2_line_25 | NAYY 4x150 SE | 21 | 23 | 0.018645 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2306-5_0_2_line_26 | NAYY 4x150 SE | 23 | 24 | 0.038419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2306-5_0_2_line_27 | NAYY 4x150 SE | 24 | 26 | 0.055526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2306-5_0_2_line_28 | NAYY 4x150 SE | 25 | 26 | 0.059176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2306-5_0_2_line_29 | NAYY 4x150 SE | 25 | 27 | 0.02273 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2306-5_0_2_line_30 | NAYY 4x150 SE | 27 | 32 | 0.010068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2306-5_0_2_line_31 | NAYY 4x150 SE | 30 | 38 | 0.016201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2306-5_0_2_line_32 | NAYY 4x150 SE | 31 | 37 | 0.0054321 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2306-5_0_2_line_33 | NAYY 4x150 SE | 32 | 33 | 0.021592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2306-5_0_2_line_34 | NAYY 4x150 SE | 33 | 34 | 0.010485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2306-5_0_2_line_35 | NAYY 4x150 SE | 34 | 35 | 0.015855 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2306-5_0_2_line_36 | NAYY 4x150 SE | 35 | 36 | 0.010532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2306-5_0_2_line_37 | NAYY 4x150 SE | 36 | 37 | 0.02513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2306-5_0_2_trafo_60 | 0.25 MVA 20/0.4 kV | 39 | 38 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2581544.6416 | 1184867.3096 | 2581552.2187 | 1184876.7022 | 2581566.3642 | 1184895.1014 | 2581574.5716 | 1184903.5026 | 2581585.166 | 1184908.8615 | 2581596.2263 | 1184911.8734 | 2581605.1632 | 1184911.8458 | 2581610.0698 | 1184910.8545
1 | 2581610.1361 | 1184910.8411 | 2581610.0698 | 1184910.8545
2 | 2581462.21 | 1184654.2434 | 2581544.6416 | 1184867.3096
3 | 2581610.1361 | 1184910.8411 | 2581626.1273 | 1184923.9653 | 2581638.8476 | 1184930.7296 | 2581640.6302 | 1184931.1343
4 | 2581610.1361 | 1184910.8411 | 2581615.7344 | 1184909.701 | 2581623.949 | 1184903.1167 | 2581628.8687 | 1184897.2429 | 2581632.3686 | 1184888.7944 | 2581633.3739 | 1184886.8803
5 | 2581462.21 | 1184654.2434 | 2581461.2353 | 1184653.1568
6 | 2581640.6302 | 1184931.1343 | 2581648.0275 | 1184932.8136 | 2581653.4294 | 1184932.3189 | 2581659.3638 | 1184921.3505 | 2581662.9368 | 1184914.3247 | 2581664.0191 | 1184912.184
7 | 2581456.6988 | 1184629.481 | 2581456.6988 | 1184629.481 | 2581454.9843 | 1184640.1696 | 2581455.3783 | 1184646.6273 | 2581461.2353 | 1184653.1568
8 | 2581657.1494 | 1184566.3393 | 2581660.2977 | 1184532.8456 | 2581662.2564 | 1184517.0626
9 | 2581657.1494 | 1184566.3393 | 2581599.1572 | 1184541.1271 | 2581581.9178 | 1184533.4141
10 | 2581662.2564 | 1184517.0626 | 2581665.7271 | 1184489.095 | 2581665.985 | 1184487.1516
11 | 2581522.0033 | 1184507.2592 | 2581540.0311 | 1184514.6739 | 2581581.9178 | 1184533.4141
12 | 2581495.3473 | 1184631.5175 | 2581483.0786 | 1184625.6836
13 | 2581464.7912 | 1184615.4708 | 2581476.1849 | 1184622.4056 | 2581483.0786 | 1184625.6836
14 | 2581522.0033 | 1184507.2592 | 2581490.8083 | 1184575.6915
15 | 2581490.8083 | 1184575.6915 | 2581483.4762 | 1184590.0286
16 | 2581490.8083 | 1184575.6915 | 2581507.2393 | 1184582.8156
17 | 2581666.5899 | 1184482.5917 | 2581665.985 | 1184487.1516
18 | 2581477.9079 | 1184597.2316 | 2581481.5151 | 1184593.8631 | 2581483.4762 | 1184590.0286
19 | 2581535.487 | 1184595.0631 | 2581507.2393 | 1184582.8156
20 | 2581477.9079 | 1184597.2316 | 2581464.7912 | 1184615.4708
21 | 2581477.9079 | 1184597.2316 | 2581473.5522 | 1184597.99 | 2581470.5584 | 1184597.3768 | 2581461.937 | 1184593.4334
22 | 2581535.487 | 1184595.0631 | 2581532.7667 | 1184601.4081
23 | 2581540.316 | 1184584.4871 | 2581535.487 | 1184595.0631
24 | 2581283.2486 | 1184628.19 | 2581270.7345 | 1184647.8057
25 | 2581293.2765 | 1184612.4714 | 2581283.2486 | 1184628.19
26 | 2581265.0312 | 1184586.3465 | 2581293.2765 | 1184612.4714
27 | 2581302.6238 | 1184580.103 | 2581282.1307 | 1184563.0251 | 2581265.0312 | 1184586.3465
28 | 2581361.2923 | 1184572.3709 | 2581302.6238 | 1184580.103
29 | 2581371.823 | 1184552.2164 | 2581361.2923 | 1184572.3709
30 | 2581371.823 | 1184552.2164 | 2581380.9785 | 1184556.404
31 | 2581464.7912 | 1184615.4708 | 2581462.7698 | 1184618.2785 | 2581456.6988 | 1184629.481
32 | 2581461.937 | 1184593.4334 | 2581456.9971 | 1184591.174
33 | 2581380.9785 | 1184556.404 | 2581400.6138 | 1184565.385
34 | 2581410.1485 | 1184569.746 | 2581400.6138 | 1184565.385
35 | 2581424.5666 | 1184576.3407 | 2581410.1485 | 1184569.746
36 | 2581424.5666 | 1184576.3407 | 2581434.1442 | 1184580.7213
37 | 2581434.1442 | 1184580.7213 | 2581456.9971 | 1184591.174

## bus_geodata
| x | y | coords
0 | 2581610.0698 | 1184910.8545
1 | 2581544.6416 | 1184867.3096
2 | 2581610.1361 | 1184910.8411
3 | 2581462.21 | 1184654.2434
4 | 2581640.6302 | 1184931.1343
5 | 2581633.3739 | 1184886.8803
6 | 2581461.2353 | 1184653.1568
7 | 2581664.0191 | 1184912.184
8 | 2581657.1494 | 1184566.3393
9 | 2581662.2564 | 1184517.0626
10 | 2581581.9178 | 1184533.4141
11 | 2581495.3473 | 1184631.5175
12 | 2581483.0786 | 1184625.6836
13 | 2581522.0033 | 1184507.2592
14 | 2581490.8083 | 1184575.6915
15 | 2581665.985 | 1184487.1516
16 | 2581483.4762 | 1184590.0286
17 | 2581507.2393 | 1184582.8156
18 | 2581666.5899 | 1184482.5917
19 | 2581477.9079 | 1184597.2316
20 | 2581535.487 | 1184595.0631
21 | 2581283.2486 | 1184628.19
22 | 2581270.7345 | 1184647.8057
23 | 2581293.2765 | 1184612.4714
24 | 2581265.0312 | 1184586.3465
25 | 2581361.2923 | 1184572.3709
26 | 2581302.6238 | 1184580.103
27 | 2581371.823 | 1184552.2164
28 | 2581532.7667 | 1184601.4081
29 | 2581540.316 | 1184584.4871
30 | 2581464.7912 | 1184615.4708
31 | 2581461.937 | 1184593.4334
32 | 2581380.9785 | 1184556.404
33 | 2581400.6138 | 1184565.385
34 | 2581410.1485 | 1184569.746
35 | 2581424.5666 | 1184576.3407
36 | 2581434.1442 | 1184580.7213
37 | 2581456.9971 | 1184591.174
38 | 2581456.6988 | 1184629.481
39 | 2581464.7912 | 1184615.4708

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9948 | -0.036493 | 0.0020784 | 0.0005209
1 | 0.996 | -0.028072 | 0 | 0
2 | 0.9948 | -0.036498 | 0 | 0
3 | 0.99924 | -0.0053185 | 0.0019925 | 0.00049938
4 | 0.99443 | -0.039115 | 0.0013855 | 0.00034724
5 | 0.99476 | -0.036784 | 0.00080405 | 0.00020151
6 | 0.99927 | -0.0051443 | 0.0078228 | 0.0019606
7 | 0.99414 | -0.04115 | 0.0056342 | 0.0014121
8 | 0.99284 | -0.050054 | 0 | 0
9 | 0.99257 | -0.052006 | 0.0029579 | 0.00074131
10 | 0.9933 | -0.046814 | 0.0032514 | 0.00081489
11 | 0.99773 | -0.015773 | 0.00097165 | 0.00024352
12 | 0.99775 | -0.01564 | 0.0044377 | 0.0011122
13 | 0.99397 | -0.042085 | 0 | 0
14 | 0.99474 | -0.036649 | 0 | 0
15 | 0.99253 | -0.05229 | 0.00031883 | 7.9906e-05
16 | 0.99498 | -0.034947 | 0.0053633 | 0.0013442
17 | 0.99466 | -0.037247 | 0.0008335 | 0.0002089
18 | 0.99252 | -0.052319 | 0.00060891 | 0.00015261
19 | 0.99519 | -0.033472 | 0 | 0
20 | 0.99455 | -0.038015 | 0 | 0
21 | 0.98212 | -0.12575 | 0.0081291 | 0.0020373
22 | 0.98193 | -0.12714 | 0.0057699 | 0.0014461
23 | 0.9825 | -0.12307 | 0 | 0
24 | 0.98327 | -0.11755 | 0 | 0
25 | 0.98594 | -0.098579 | 0.010847 | 0.0027185
26 | 0.98439 | -0.10959 | 0.0041739 | 0.0010461
27 | 0.9869 | -0.091832 | 0 | 0
28 | 0.99454 | -0.038098 | 0.0011877 | 0.00029768
29 | 0.99453 | -0.038165 | 0.0012822 | 0.00032135
30 | 0.99791 | -0.014503 | 0 | 0
31 | 0.99352 | -0.045153 | 0.0066138 | 0.0016576
32 | 0.98732 | -0.088848 | 0.0076795 | 0.0019247
33 | 0.98846 | -0.080761 | 0.0052661 | 0.0013198
34 | 0.9891 | -0.076278 | 0.0048557 | 0.001217
35 | 0.99017 | -0.068725 | 0.0035987 | 0.00090191
36 | 0.99093 | -0.063332 | 0.0076883 | 0.0019269
37 | 0.99304 | -0.04854 | 0.0035921 | 0.00090027
38 | 1 | 0 | -0.11095 | -0.027724
39 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0099064 | -0.0024819 | 0.0099179 | 0.0024853 | 1.1549e-05 | 3.3462e-06 | 0.014818 | 0.014817 | 0.014818 | 0.9948 | -0.036493 | 0.996 | -0.028072 | 5.488
1 | 0.007828 | 0.001961 | -0.007828 | -0.001961 | 5.7907e-09 | 1.3486e-09 | 0.011709 | 0.011709 | 0.011709 | 0.9948 | -0.036493 | 0.9948 | -0.036498 | 4.3366
2 | -0.0099179 | -0.0024853 | 0.0099492 | 0.0024943 | 3.1296e-05 | 9.054e-06 | 0.014817 | 0.014816 | 0.014817 | 0.996 | -0.028072 | 0.99924 | -0.0053185 | 5.4878
3 | 0.0070239 | 0.00176 | -0.0070213 | -0.0017595 | 2.5431e-06 | 4.9893e-07 | 0.010506 | 0.010506 | 0.010506 | 0.9948 | -0.036498 | 0.99443 | -0.039115 | 3.8912
4 | 0.00080408 | 0.00020107 | -0.00080405 | -0.00020151 | 3.1778e-08 | -4.4489e-07 | 0.0012026 | 0.0012027 | 0.0012027 | 0.9948 | -0.036498 | 0.99476 | -0.036784 | 0.44546
5 | -0.011942 | -0.0029937 | 0.011942 | 0.0029938 | 2.8805e-07 | 9.1668e-08 | 0.017783 | 0.017783 | 0.017783 | 0.99924 | -0.0053185 | 0.99927 | -0.0051443 | 6.5864
6 | 0.0056358 | 0.0014122 | -0.0056342 | -0.0014121 | 1.587e-06 | 1.4658e-07 | 0.0084331 | 0.0084333 | 0.0084333 | 0.99443 | -0.039115 | 0.99414 | -0.04115 | 3.1234
7 | -0.019765 | -0.0049544 | 0.019779 | 0.0049595 | 1.409e-05 | 5.0776e-06 | 0.029432 | 0.029432 | 0.029432 | 0.99927 | -0.0051443 | 1 | 0 | 10.9009
8 | 0.0038867 | 0.00097315 | -0.0038856 | -0.00097339 | 1.049e-06 | -2.371e-07 | 0.0058248 | 0.005825 | 0.005825 | 0.99284 | -0.050054 | 0.99257 | -0.052006 | 2.1574
9 | -0.0038867 | -0.00097315 | 0.0038884 | 0.00097276 | 1.7385e-06 | -3.9385e-07 | 0.0058248 | 0.0058244 | 0.0058248 | 0.99284 | -0.050054 | 0.9933 | -0.046814 | 2.1573
10 | 0.00092778 | 0.00023208 | -0.00092774 | -0.00023246 | 3.6383e-08 | -3.7558e-07 | 0.0013907 | 0.0013909 | 0.0013909 | 0.99257 | -0.052006 | 0.99253 | -0.05229 | 0.51514
11 | -0.0071399 | -0.0017876 | 0.0071445 | 0.0017886 | 4.6666e-06 | 9.4799e-07 | 0.010695 | 0.010695 | 0.010695 | 0.9933 | -0.046814 | 0.99397 | -0.042085 | 3.9612
12 | -0.00097165 | -0.00024352 | 0.00097167 | 0.00024335 | 1.7801e-08 | -1.7058e-07 | 0.0014491 | 0.0014491 | 0.0014491 | 0.99773 | -0.015773 | 0.99775 | -0.01564 | 0.53671
13 | -0.0054094 | -0.0013555 | 0.0054102 | 0.0013556 | 8.5167e-07 | 5.3624e-08 | 0.0080673 | 0.0080672 | 0.0080673 | 0.99775 | -0.01564 | 0.99791 | -0.014503 | 2.9879
14 | -0.0071445 | -0.0017886 | 0.0071499 | 0.0017897 | 5.366e-06 | 1.0886e-06 | 0.010695 | 0.010695 | 0.010695 | 0.99397 | -0.042085 | 0.99474 | -0.036649 | 3.9611
15 | -0.010454 | -0.002617 | 0.010456 | 0.0026177 | 2.4569e-06 | 7.3586e-07 | 0.015637 | 0.015637 | 0.015637 | 0.99474 | -0.036649 | 0.99498 | -0.034947 | 5.7914
16 | 0.003304 | 0.00082727 | -0.0033037 | -0.0008274 | 2.7295e-07 | -1.2749e-07 | 0.0049421 | 0.0049422 | 0.0049422 | 0.99474 | -0.036649 | 0.99466 | -0.037247 | 1.8304
17 | 0.00060891 | 0.00015255 | -0.00060891 | -0.00015261 | 2.392e-09 | -5.8528e-08 | 0.00091287 | 0.00091289 | 0.00091289 | 0.99253 | -0.05229 | 0.99252 | -0.052319 | 0.33811
18 | -0.01582 | -0.0039619 | 0.015823 | 0.003963 | 3.2278e-06 | 1.1214e-06 | 0.023658 | 0.023658 | 0.023658 | 0.99498 | -0.034947 | 0.99519 | -0.033472 | 8.7621
19 | 0.0024702 | 0.0006185 | -0.00247 | -0.0006188 | 2.6235e-07 | -2.9867e-07 | 0.0036953 | 0.0036954 | 0.0036954 | 0.99466 | -0.037247 | 0.99455 | -0.038015 | 1.3687
20 | -0.084552 | -0.021253 | 0.084776 | 0.021339 | 0.00022394 | 8.584e-05 | 0.12644 | 0.12644 | 0.12644 | 0.99519 | -0.033472 | 0.99791 | -0.014503 | 46.8311
21 | 0.068729 | 0.01729 | -0.068617 | -0.017247 | 0.00011179 | 4.2778e-05 | 0.10279 | 0.10279 | 0.10279 | 0.99519 | -0.033472 | 0.99352 | -0.045153 | 38.0691
22 | 0.0011878 | 0.00029759 | -0.0011877 | -0.00029768 | 1.3601e-08 | -8.4333e-08 | 0.001777 | 0.0017771 | 0.0017771 | 0.99455 | -0.038015 | 0.99454 | -0.038098 | 0.65818
23 | 0.0012822 | 0.00032121 | -0.0012822 | -0.00032135 | 2.6692e-08 | -1.4056e-07 | 0.0019184 | 0.0019184 | 0.0019184 | 0.99455 | -0.038015 | 0.99453 | -0.038165 | 0.71053
24 | 0.005771 | 0.0014462 | -0.0057699 | -0.0014461 | 1.11e-06 | 1.3254e-07 | 0.0087436 | 0.0087437 | 0.0087437 | 0.98212 | -0.12575 | 0.98193 | -0.12714 | 3.2384
25 | -0.0139 | -0.0034835 | 0.013905 | 0.0034853 | 5.1602e-06 | 1.7486e-06 | 0.02106 | 0.02106 | 0.02106 | 0.98212 | -0.12575 | 0.9825 | -0.12307 | 7.8
26 | -0.013905 | -0.0034853 | 0.013916 | 0.0034889 | 1.0633e-05 | 3.6026e-06 | 0.02106 | 0.02106 | 0.02106 | 0.9825 | -0.12307 | 0.98327 | -0.11755 | 7.8
27 | -0.013916 | -0.0034889 | 0.013931 | 0.0034941 | 1.5367e-05 | 5.2052e-06 | 0.02106 | 0.02106 | 0.02106 | 0.98327 | -0.11755 | 0.98439 | -0.10959 | 7.7999
28 | 0.018133 | 0.0045501 | -0.018105 | -0.0045402 | 2.7659e-05 | 9.8846e-06 | 0.027369 | 0.027369 | 0.027369 | 0.98594 | -0.098579 | 0.98439 | -0.10959 | 10.1366
29 | -0.02898 | -0.0072686 | 0.029007 | 0.0072787 | 2.7135e-05 | 1.0146e-05 | 0.043739 | 0.043739 | 0.043739 | 0.98594 | -0.098579 | 0.9869 | -0.091832 | 16.1998
30 | -0.029007 | -0.0072787 | 0.029019 | 0.0072832 | 1.2019e-05 | 4.4939e-06 | 0.043739 | 0.043739 | 0.043739 | 0.9869 | -0.091832 | 0.98732 | -0.088848 | 16.1997
31 | -0.090186 | -0.022694 | 0.090369 | 0.022764 | 0.00018292 | 7.0141e-05 | 0.13451 | 0.13451 | 0.13451 | 0.99791 | -0.014503 | 1 | 0 | 49.819
32 | 0.062003 | 0.015589 | -0.061974 | -0.015578 | 2.9242e-05 | 1.1177e-05 | 0.092881 | 0.092881 | 0.092881 | 0.99352 | -0.045153 | 0.99304 | -0.04854 | 34.4004
33 | -0.036699 | -0.0092079 | 0.03674 | 0.0092235 | 4.1222e-05 | 1.5578e-05 | 0.055313 | 0.055313 | 0.055313 | 0.98732 | -0.088848 | 0.98846 | -0.080761 | 20.4864
34 | -0.042006 | -0.010543 | 0.042032 | 0.010553 | 2.6166e-05 | 9.9292e-06 | 0.063241 | 0.063241 | 0.063241 | 0.98846 | -0.080761 | 0.9891 | -0.076278 | 23.4225
35 | -0.046888 | -0.01177 | 0.046937 | 0.011789 | 4.9236e-05 | 1.8733e-05 | 0.070546 | 0.070546 | 0.070546 | 0.9891 | -0.076278 | 0.99017 | -0.068725 | 26.128
36 | -0.050536 | -0.012691 | 0.050574 | 0.012705 | 3.7913e-05 | 1.4446e-05 | 0.075954 | 0.075954 | 0.075954 | 0.99017 | -0.068725 | 0.99093 | -0.063332 | 28.131
37 | -0.058262 | -0.014632 | 0.058382 | 0.014678 | 0.00012005 | 4.585e-05 | 0.087499 | 0.087498 | 0.087499 | 0.99093 | -0.063332 | 0.99304 | -0.04854 | 32.4069

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.11405 | 0.0285

## res_load
| p_mw | q_mvar
0 | 0.0020784 | 0.0005209
1 | 0.0019925 | 0.00049938
2 | 0.0013855 | 0.00034724
3 | 0.00080405 | 0.00020151
4 | 0.0078228 | 0.0019606
5 | 0.0056342 | 0.0014121
6 | 0.0029579 | 0.00074131
7 | 0.0032514 | 0.00081489
8 | 0.00097165 | 0.00024352
9 | 0.0044377 | 0.0011122
10 | 0.00031883 | 7.9906e-05
11 | 0.0053633 | 0.0013442
12 | 0.0008335 | 0.0002089
13 | 0.00060891 | 0.00015261
14 | 0.0081291 | 0.0020373
15 | 0.0057699 | 0.0014461
16 | 0.010847 | 0.0027185
17 | 0.0041739 | 0.0010461
18 | 0.0011877 | 0.00029768
19 | 0.0012822 | 0.00032135
20 | 0.0066138 | 0.0016576
21 | 0.0076795 | 0.0019247
22 | 0.0052661 | 0.0013198
23 | 0.0048557 | 0.001217
24 | 0.0035987 | 0.00090191
25 | 0.0076883 | 0.0019269
26 | 0.0035921 | 0.00090027
27 | 0.0030973 | 0.00077624

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1