## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2306-7_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2306-7_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2306-7_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2306-7_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2306-7_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2306-7_0_3_node_13 | 0.4 | n |  | TRUE
6 | bus_LV_2306-7_0_3_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_2306-7_0_3_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_2306-7_0_3_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_2306-7_0_3_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_2306-7_0_3_node_56 | 0.4 | n |  | TRUE
11 | bus_LV_2306-7_0_3_node_60 | 0.4 | n |  | TRUE
12 | bus_LV_2306-7_0_3_node_55 | 0.4 | n |  | TRUE
13 | bus_LV_2306-7_0_3_node_117 | 0.4 | n |  | TRUE
14 | bus_LV_2306-7_0_3_node_100 | 0.4 | n |  | TRUE
15 | bus_LV_2306-7_0_3_node_75 | 0.4 | n |  | TRUE
16 | bus_LV_2306-7_0_3_node_76 | 0.4 | n |  | TRUE
17 | bus_LV_2306-7_0_3_node_77 | 0.4 | n |  | TRUE
18 | bus_LV_2306-7_0_3_node_106 | 0.4 | n |  | TRUE
19 | bus_LV_2306-7_0_3_node_78 | 0.4 | n |  | TRUE
20 | bus_LV_2306-7_0_3_node_119 | 0.4 | n |  | TRUE
21 | bus_LV_2306-7_0_3_node_79 | 0.4 | n |  | TRUE
22 | bus_LV_2306-7_0_3_node_80 | 0.4 | n |  | TRUE
23 | bus_LV_2306-7_0_3_node_81 | 0.4 | n |  | TRUE
24 | bus_LV_2306-7_0_3_node_82 | 0.4 | n |  | TRUE
25 | bus_LV_2306-7_0_3_node_83 | 0.4 | n |  | TRUE
26 | bus_LV_2306-7_0_3_node_85 | 0.4 | n |  | TRUE
27 | bus_LV_2306-7_0_3_node_84 | 0.4 | n |  | TRUE
28 | bus_LV_2306-7_0_3_node_107 | 0.4 | n |  | TRUE
29 | bus_LV_2306-7_0_3_node_86 | 0.4 | n |  | TRUE
30 | bus_LV_2306-7_0_3_node_87 | 0.4 | n |  | TRUE
31 | bus_LV_2306-7_0_3_node_104 | 0.4 | n |  | TRUE
32 | bus_LV_2306-7_0_3_node_88 | 0.4 | n |  | TRUE
33 | bus_LV_2306-7_0_3_node_89 | 0.4 | n |  | TRUE
34 | bus_LV_2306-7_0_3_node_90 | 0.4 | n |  | TRUE
35 | bus_LV_2306-7_0_3_node_91 | 0.4 | n |  | TRUE
36 | bus_LV_2306-7_0_3_node_92 | 0.4 | n |  | TRUE
37 | bus_LV_2306-7_0_3_node_97 | 0.4 | n |  | TRUE
38 | bus_LV_2306-7_0_3_node_93 | 0.4 | n |  | TRUE
39 | bus_LV_2306-7_0_3_node_94 | 0.4 | n |  | TRUE
40 | bus_LV_2306-7_0_3_node_95 | 0.4 | n |  | TRUE
41 | bus_LV_2306-7_0_3_node_96 | 0.4 | n |  | TRUE
42 | bus_LV_2306-7_0_3_node_99 | 0.4 | n |  | TRUE
43 | bus_LV_2306-7_0_3_node_98 | 0.4 | n |  | TRUE
44 | bus_LV_2306-7_0_3_node_101 | 0.4 | n |  | TRUE
45 | bus_LV_2306-7_0_3_node_102 | 0.4 | n |  | TRUE
46 | bus_LV_2306-7_0_3_node_105 | 0.4 | n |  | TRUE
47 | bus_LV_2306-7_0_3_node_103 | 0.4 | n |  | TRUE
48 | bus_LV_2306-7_0_3_node_111 | 0.4 | n |  | TRUE
49 | bus_MV_119_1_node_184 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2306-7_0_3_load_0 | 0 | 0.00091902 | 0.00023033 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2306-7_0_3_load_1 | 1 | 0.00094163 | 0.00023599 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2306-7_0_3_load_2 | 2 | 0.00025115 | 6.2944e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2306-7_0_3_load_3 | 3 | 0.00031306 | 7.846e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2306-7_0_3_load_4 | 4 | 0.00092656 | 0.00023222 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2306-7_0_3_load_5 | 6 | 0.00090944 | 0.00022793 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2306-7_0_3_load_6 | 7 | 0.00032339 | 8.105e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2306-7_0_3_load_56 | 10 | 0.0010875 | 0.00027255 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2306-7_0_3_load_55 | 12 | 0.0022193 | 0.00055621 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2306-7_0_3_load_117 | 13 | 0.006103 | 0.0015296 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2306-7_0_3_load_75 | 15 | 0.017211 | 0.0043135 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2306-7_0_3_load_106 | 18 | 0.0027828 | 0.00069745 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2306-7_0_3_load_119 | 20 | 0.0042003 | 0.0010527 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2306-7_0_3_load_79 | 21 | 0.0035419 | 0.00088767 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2306-7_0_3_load_80 | 22 | 0.092752 | 0.023246 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2306-7_0_3_load_81 | 23 | 0.0011018 | 0.00027615 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2306-7_0_3_load_82 | 24 | 0.00066028 | 0.00016548 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2306-7_0_3_load_83 | 25 | 0.0028534 | 0.00071513 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2306-7_0_3_load_85 | 26 | 0.0012943 | 0.00032439 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2306-7_0_3_load_104 | 31 | 0.0021962 | 0.00055043 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2306-7_0_3_load_88 | 32 | 0.00078342 | 0.00019634 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2306-7_0_3_load_89 | 33 | 0.0021123 | 0.0005294 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2306-7_0_3_load_90 | 34 | 0.0029915 | 0.00074973 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2306-7_0_3_load_91 | 35 | 0.0018794 | 0.00047102 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2306-7_0_3_load_92 | 36 | 0.00079325 | 0.00019881 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2306-7_0_3_load_97 | 37 | 0.0018198 | 0.00045609 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2306-7_0_3_load_93 | 38 | 0.00067898 | 0.00017017 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2306-7_0_3_load_94 | 39 | 0.0017547 | 0.00043977 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2306-7_0_3_load_95 | 40 | 0.0020734 | 0.00051963 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2306-7_0_3_load_96 | 41 | 0.0031205 | 0.00078206 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2306-7_0_3_load_98 | 43 | 0.00069075 | 0.00017312 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2306-7_0_3_load_101 | 44 | 0.0022377 | 0.00056083 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2306-7_0_3_load_102 | 45 | 0.0072692 | 0.0018218 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2306-7_0_3_load_105 | 46 | 0.0008331 | 0.0002088 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2306-7_0_3_load_103 | 47 | 0.0017979 | 0.0004506 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2306-7_0_3_load_111 | 48 | 0.0005367 | 0.00013451 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 22 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2306-7_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.017217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2306-7_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0056499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2306-7_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.09386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2306-7_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.037666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2306-7_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.025668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2306-7_0_3_line_5 | NAYY 4x150 SE | 5 | 11 | 0.2636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2306-7_0_3_line_6 | NAYY 4x150 SE | 5 | 9 | 0.27732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2306-7_0_3_line_7 | NAYY 4x150 SE | 6 | 7 | 0.010743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2306-7_0_3_line_8 | NAYY 4x150 SE | 6 | 8 | 0.012694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2306-7_0_3_line_9 | NAYY 4x150 SE | 8 | 9 | 0.36176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2306-7_0_3_line_10 | NAYY 4x150 SE | 9 | 10 | 0.1732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2306-7_0_3_line_11 | NAYY 4x150 SE | 10 | 12 | 0.0093925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2306-7_0_3_line_12 | NAYY 4x150 SE | 11 | 13 | 0.015513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2306-7_0_3_line_13 | NAYY 4x150 SE | 11 | 14 | 0.10017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2306-7_0_3_line_14 | NAYY 4x150 SE | 14 | 45 | 0.049656 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2306-7_0_3_line_15 | NAYY 4x150 SE | 14 | 43 | 0.016045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2306-7_0_3_line_16 | NAYY 4x150 SE | 15 | 16 | 0.045925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2306-7_0_3_line_17 | NAYY 4x150 SE | 15 | 17 | 0.019113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2306-7_0_3_line_18 | NAYY 4x150 SE | 16 | 18 | 0.1101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2306-7_0_3_line_19 | NAYY 4x150 SE | 17 | 19 | 0.013351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2306-7_0_3_line_20 | NAYY 4x150 SE | 18 | 27 | 0.096759 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2306-7_0_3_line_21 | NAYY 4x150 SE | 19 | 20 | 0.043578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2306-7_0_3_line_22 | NAYY 4x150 SE | 20 | 23 | 0.060153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2306-7_0_3_line_23 | NAYY 4x150 SE | 21 | 22 | 0.050821 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
24 | LV_2306-7_0_3_line_24 | NAYY 4x150 SE | 21 | 23 | 0.012826 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
25 | LV_2306-7_0_3_line_25 | NAYY 4x150 SE | 22 | 24 | 0.0068178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2306-7_0_3_line_26 | NAYY 4x150 SE | 23 | 25 | 0.058068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_2306-7_0_3_line_27 | NAYY 4x150 SE | 25 | 26 | 0.033192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
28 | LV_2306-7_0_3_line_28 | NAYY 4x150 SE | 26 | 29 | 0.048497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
29 | LV_2306-7_0_3_line_29 | NAYY 4x150 SE | 27 | 28 | 0.3041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2306-7_0_3_line_30 | NAYY 4x150 SE | 28 | 48 | 0.043602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2306-7_0_3_line_31 | NAYY 4x150 SE | 29 | 30 | 0.037266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2306-7_0_3_line_32 | NAYY 4x150 SE | 30 | 31 | 0.027472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2306-7_0_3_line_33 | NAYY 4x150 SE | 31 | 47 | 0.012709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2306-7_0_3_line_34 | NAYY 4x150 SE | 32 | 33 | 0.0094878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2306-7_0_3_line_35 | NAYY 4x150 SE | 32 | 34 | 0.017046 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2306-7_0_3_line_36 | NAYY 4x150 SE | 33 | 35 | 0.021185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2306-7_0_3_line_37 | NAYY 4x150 SE | 34 | 36 | 0.00024813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2306-7_0_3_line_38 | NAYY 4x150 SE | 35 | 37 | 0.0050902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2306-7_0_3_line_39 | NAYY 4x150 SE | 37 | 40 | 0.01706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2306-7_0_3_line_40 | NAYY 4x150 SE | 38 | 39 | 0.007554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2306-7_0_3_line_41 | NAYY 4x150 SE | 38 | 40 | 0.012977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2306-7_0_3_line_42 | NAYY 4x150 SE | 39 | 41 | 0.008367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2306-7_0_3_line_43 | NAYY 4x150 SE | 41 | 42 | 0.044067 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2306-7_0_3_line_44 | NAYY 4x150 SE | 42 | 44 | 0.012957 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2306-7_0_3_line_45 | NAYY 4x150 SE | 42 | 43 | 0.12514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_2306-7_0_3_line_46 | NAYY 4x150 SE | 44 | 46 | 0.0069792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_2306-7_0_3_line_47 | NAYY 4x150 SE | 46 | 47 | 0.019188 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2306-7_0_3_trafo_80 | 0.25 MVA 20/0.4 kV | 49 | 22 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23
0 | 2585812.9653 | 1185729.3893 | 2585812.6669 | 1185718.4307 | 2585815.8687 | 1185713.0586
1 | 2585812.9653 | 1185729.3893 | 2585813.0014 | 1185730.714 | 2585812.4568 | 1185735.0043
2 | 2585815.8687 | 1185713.0586 | 2585827.2446 | 1185693.9722 | 2585833.9072 | 1185675.0798 | 2585836.0988 | 1185646.8711 | 2585838.7755 | 1185630.0782 | 2585842.1286 | 1185624.7339
3 | 2585807.7133 | 1185772.3705 | 2585812.4568 | 1185735.0043
4 | 2585862.4076 | 1185610.3896 | 2585858.594 | 1185611.1546 | 2585845.4046 | 1185619.5125 | 2585842.1286 | 1185624.7339
5 | 2585862.4076 | 1185610.3896 | 2585868.09 | 1185609.2533 | 2585898.7114 | 1185608.4915 | 2585904.3574 | 1185608.089 | 2585922.71 | 1185601.6534 | 2585936.5569 | 1185593.7721 | 2585944.418 | 1185591.0077 | 2585956.7795 | 1185587.4767 | 2585968.3609 | 1185586.4377 | 2585979.4009 | 1185588.7574 | 2585987.8299 | 1185593.8513 | 2585993.56 | 1185600.0299 | 2585997.7757 | 1185614.4275 | 2586001.2031 | 1185640.8331 | 2586001.3066 | 1185678.3524 | 2586004.8524 | 1185693.4852 | 2586013.0367 | 1185708.1625 | 2586020.0197 | 1185718.2402
6 | 2585862.4076 | 1185610.3896 | 2585868.09 | 1185609.2533 | 2585898.7114 | 1185608.4915 | 2585904.3574 | 1185608.089 | 2585922.71 | 1185601.6534 | 2585936.5569 | 1185593.7721 | 2585944.418 | 1185591.0077 | 2585927.7983 | 1185549.3253 | 2585925.0691 | 1185514.9806 | 2585921.2311 | 1185499.0369 | 2585916.6983 | 1185486.1965 | 2585913.0893 | 1185476.7668 | 2585904.1578 | 1185462.5584 | 2585895.9432 | 1185451.4609 | 2585880.1135 | 1185431.0768 | 2585870.6364 | 1185418.5816
7 | 2585709.5642 | 1185350.4342 | 2585699.9786 | 1185348.5304 | 2585699.8076 | 1185349.4854
8 | 2585717.9689 | 1185346.6751 | 2585716.7908 | 1185351.8695 | 2585709.5642 | 1185350.4342
9 | 2585717.9689 | 1185346.6751 | 2585718.0897 | 1185346.1523 | 2585720.0936 | 1185338.4769 | 2585720.1288 | 1185337.2651 | 2585719.3377 | 1185331.9642 | 2585717.0461 | 1185324.6659 | 2585692.795 | 1185271.2631 | 2585690.2199 | 1185266.6891 | 2585695.3002 | 1185265.7653 | 2585706.5643 | 1185265.805 | 2585752.263 | 1185276.0675 | 2585763.4185 | 1185278.5754 | 2585771.9098 | 1185280.7563 | 2585779.7995 | 1185286.6627 | 2585784.1123 | 1185293.4893 | 2585792.4502 | 1185311.3231 | 2585795.635 | 1185318.7638 | 2585800.5046 | 1185341.4973 | 2585807.314 | 1185364.8488 | 2585812.6564 | 1185374.63 | 2585821.8955 | 1185386.4475 | 2585844.7802 | 1185411.4838 | 2585860.9929 | 1185429.1989 | 2585870.6364 | 1185418.5816
10 | 2585870.6364 | 1185418.5816 | 2585850.863 | 1185392.5151 | 2585828.1652 | 1185362.6869 | 2585815.8961 | 1185344.2954 | 2585807.4968 | 1185329.4744 | 2585799.311 | 1185314.5751 | 2585794.1159 | 1185302.5701 | 2585788.7766 | 1185290.9213 | 2585783.5155 | 1185283.2521 | 2585777.7895 | 1185279.008 | 2585773.7247 | 1185276.9944 | 2585773.7247 | 1185276.9944
11 | 2585764.6073 | 1185274.7379 | 2585773.7247 | 1185276.9944
12 | 2586020.0197 | 1185718.2402 | 2586018.9455 | 1185702.768
13 | 2586020.0197 | 1185718.2402 | 2586064.1422 | 1185770.7863 | 2586090.3346 | 1185788.6232
14 | 2586061.8162 | 1185748.5691 | 2586067.9038 | 1185760.8279 | 2586087.0904 | 1185781.616 | 2586090.3346 | 1185788.6232
15 | 2586090.3346 | 1185788.6232 | 2586103.4599 | 1185797.8514
16 | 2586152.283 | 1185527.0097 | 2586155.822 | 1185572.7981
17 | 2586157.2948 | 1185591.8539 | 2586155.822 | 1185572.7981
18 | 2586059.6471 | 1185467.506 | 2586152.283 | 1185527.0097
19 | 2586170.6467 | 1185590.8446 | 2586157.2948 | 1185591.8539
20 | 2586059.6471 | 1185467.506 | 2586071.6235 | 1185459.0514 | 2586083.3069 | 1185446.0396 | 2586089.7873 | 1185433.6069 | 2586097.7573 | 1185421.8155 | 2586100.1633 | 1185416.2403 | 2586102.2841 | 1185409.3762 | 2586101.8931 | 1185398.8161 | 2586100.5665 | 1185386.2905
21 | 2586170.6467 | 1185590.8446 | 2586171.1753 | 1185598.3028 | 2586181.6284 | 1185604.2705 | 2586187.3113 | 1185609.9158 | 2586190.4196 | 1185617.557 | 2586188.7662 | 1185625.2204
22 | 2586167.6863 | 1185681.5592 | 2586188.7662 | 1185625.2204
23 | 2586155.9727 | 1185676.3342 | 2586142.4634 | 1185668.6505 | 2586130.408 | 1185659.4738 | 2586121.3908 | 1185650.7125 | 2586116.5382 | 1185644.9208
24 | 2586155.9727 | 1185676.3342 | 2586155.9727 | 1185676.3342 | 2586167.6863 | 1185681.5592
25 | 2586116.5382 | 1185644.9208 | 2586115.246 | 1185643.3786 | 2586112.6373 | 1185639.3424
26 | 2586167.6863 | 1185681.5592 | 2586220.7172 | 1185705.2145
27 | 2586251.0297 | 1185718.736 | 2586220.7172 | 1185705.2145
28 | 2586298.3552 | 1185728.2207 | 2586283.0527 | 1185727.0442 | 2586268.273 | 1185724.2879 | 2586251.0297 | 1185718.736
29 | 2585837.5691 | 1185235.2651 | 2585853.679 | 1185241.6079 | 2585894.5245 | 1185258.5197 | 2585936.4473 | 1185276.0742 | 2585956.0635 | 1185287.2114 | 2585975.3018 | 1185300.0061 | 2586010.8525 | 1185324.2684 | 2586071.521 | 1185366.348 | 2586100.5665 | 1185386.2905
30 | 2585837.5691 | 1185235.2651 | 2585840.4076 | 1185241.506 | 2585846.8952 | 1185248.283 | 2585866.9188 | 1185267.0118
31 | 2586298.3552 | 1185728.2207 | 2586298.3645 | 1185755.457 | 2586293.9976 | 1185764.4829
32 | 2586293.9976 | 1185764.4829 | 2586284.5965 | 1185767.8062 | 2586267.9649 | 1185773.2515
33 | 2586255.8869 | 1185777.2059 | 2586267.9649 | 1185773.2515
34 | 2586130.883 | 1185718.2985 | 2586136.1899 | 1185726.1633
35 | 2586130.883 | 1185718.2985 | 2586121.3485 | 1185704.1685
36 | 2586148.1149 | 1185743.673 | 2586142.4051 | 1185735.3742 | 2586136.1899 | 1185726.1633
37 | 2586121.2097 | 1185703.9628 | 2586121.3485 | 1185704.1685
38 | 2586151.0002 | 1185747.8665 | 2586148.1149 | 1185743.673
39 | 2586151.0002 | 1185747.8665 | 2586159.8088 | 1185760.669 | 2586160.8115 | 1185761.8113
40 | 2586169.3721 | 1185771.5637 | 2586174.3555 | 1185777.2408
41 | 2586169.3721 | 1185771.5637 | 2586160.8115 | 1185761.8113
42 | 2586174.3555 | 1185777.2408 | 2586179.8751 | 1185783.5289
43 | 2586219.0393 | 1185790.4249 | 2586213.551 | 1185786.3577 | 2586193.5472 | 1185791.3956 | 2586188.6628 | 1185791.0956 | 2586183.7948 | 1185787.9942 | 2586179.8751 | 1185783.5289
44 | 2586219.0393 | 1185790.4249 | 2586231.1844 | 1185785.8166
45 | 2586219.0393 | 1185790.4249 | 2586177.0558 | 1185810.5771 | 2586159.2649 | 1185815.5544 | 2586147.2528 | 1185814.9598 | 2586131.5278 | 1185812.5507 | 2586120.1511 | 1185809.5868 | 2586103.4599 | 1185797.8514
46 | 2586231.1844 | 1185785.8166 | 2586237.7085 | 1185783.3377
47 | 2586255.8869 | 1185777.2059 | 2586241.1338 | 1185782.0361 | 2586237.7085 | 1185783.3377

## bus_geodata
| x | y | coords
0 | 2585812.9653 | 1185729.3893
1 | 2585815.8687 | 1185713.0586
2 | 2585812.4568 | 1185735.0043
3 | 2585842.1286 | 1185624.7339
4 | 2585807.7133 | 1185772.3705
5 | 2585862.4076 | 1185610.3896
6 | 2585709.5642 | 1185350.4342
7 | 2585699.8076 | 1185349.4854
8 | 2585717.9689 | 1185346.6751
9 | 2585870.6364 | 1185418.5816
10 | 2585773.7247 | 1185276.9944
11 | 2586020.0197 | 1185718.2402
12 | 2585764.6073 | 1185274.7379
13 | 2586018.9455 | 1185702.768
14 | 2586090.3346 | 1185788.6232
15 | 2586155.822 | 1185572.7981
16 | 2586152.283 | 1185527.0097
17 | 2586157.2948 | 1185591.8539
18 | 2586059.6471 | 1185467.5061
19 | 2586170.6467 | 1185590.8446
20 | 2586188.7662 | 1185625.2204
21 | 2586155.9727 | 1185676.3342
22 | 2586116.5382 | 1185644.9208
23 | 2586167.6863 | 1185681.5592
24 | 2586112.6373 | 1185639.3424
25 | 2586220.7172 | 1185705.2145
26 | 2586251.0297 | 1185718.736
27 | 2586100.5665 | 1185386.2905
28 | 2585837.5691 | 1185235.2651
29 | 2586298.3552 | 1185728.2207
30 | 2586293.9976 | 1185764.4829
31 | 2586267.9649 | 1185773.2515
32 | 2586130.883 | 1185718.2985
33 | 2586136.1899 | 1185726.1633
34 | 2586121.3485 | 1185704.1685
35 | 2586148.1149 | 1185743.673
36 | 2586121.2097 | 1185703.9628
37 | 2586151.0002 | 1185747.8665
38 | 2586169.3721 | 1185771.5637
39 | 2586174.3555 | 1185777.2408
40 | 2586160.8115 | 1185761.8113
41 | 2586179.8751 | 1185783.5289
42 | 2586219.0393 | 1185790.4249
43 | 2586103.4599 | 1185797.8514
44 | 2586231.1844 | 1185785.8166
45 | 2586061.8162 | 1185748.5691
46 | 2586237.7085 | 1185783.3377
47 | 2586255.8869 | 1185777.2059
48 | 2585866.9188 | 1185267.0118
49 | 2586298.3552 | 1185728.2207

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97349 | -0.18763 | 0.00091902 | 0.00023033
1 | 0.97355 | -0.18725 | 0.00094163 | 0.00023599
2 | 0.97348 | -0.1877 | 0.00025115 | 6.2944e-05
3 | 0.97396 | -0.18424 | 0.00031306 | 7.846e-05
4 | 0.97343 | -0.18807 | 0.00092656 | 0.00023222
5 | 0.97409 | -0.18333 | 0 | 0
6 | 0.97157 | -0.20174 | 0.00090944 | 0.00022793
7 | 0.97156 | -0.20177 | 0.00032339 | 8.105e-05
8 | 0.97159 | -0.20157 | 0 | 0
9 | 0.97224 | -0.19679 | 0 | 0
10 | 0.9714 | -0.20285 | 0.0010875 | 0.00027255
11 | 0.97714 | -0.16122 | 0 | 0
12 | 0.97137 | -0.20307 | 0.0022193 | 0.00055621
13 | 0.977 | -0.16221 | 0.006103 | 0.0015296
14 | 0.97919 | -0.14647 | 0 | 0
15 | 0.99194 | -0.056415 | 0.017211 | 0.0043135
16 | 0.99172 | -0.057988 | 0 | 0
17 | 0.99251 | -0.052426 | 0 | 0
18 | 0.9912 | -0.061752 | 0.0027828 | 0.00069745
19 | 0.9929 | -0.049642 | 0 | 0
20 | 0.99419 | -0.040568 | 0.0042003 | 0.0010527
21 | 0.99704 | -0.020559 | 0.0035419 | 0.00088767
22 | 1 | 0 | -0.083183 | -0.020766
23 | 0.99632 | -0.025538 | 0.0011018 | 0.00027615
24 | 0.99999 | -4.4951e-05 | 0.00066028 | 0.00016548
25 | 0.99416 | -0.040565 | 0.0028534 | 0.00071513
26 | 0.993 | -0.048704 | 0.0012943 | 0.00032439
27 | 0.99113 | -0.062317 | 0 | 0
28 | 0.99089 | -0.064034 | 0 | 0
29 | 0.99134 | -0.060308 | 0 | 0
30 | 0.98879 | -0.078216 | 0 | 0
31 | 0.98691 | -0.091476 | 0.0021962 | 0.00055043
32 | 0.9814 | -0.13065 | 0.00078342 | 0.00019634
33 | 0.98146 | -0.1302 | 0.0021123 | 0.0005294
34 | 0.9813 | -0.13132 | 0.0029915 | 0.00074973
35 | 0.98166 | -0.12873 | 0.0018794 | 0.00047102
36 | 0.9813 | -0.13132 | 0.00079325 | 0.00019881
37 | 0.98173 | -0.12828 | 0.0018198 | 0.00045609
38 | 0.98222 | -0.12477 | 0.00067898 | 0.00017017
39 | 0.98236 | -0.12375 | 0.0017547 | 0.00043977
40 | 0.98198 | -0.12645 | 0.0020734 | 0.00051963
41 | 0.98254 | -0.12246 | 0.0031205 | 0.00078206
42 | 0.9837 | -0.11426 | 0 | 0
43 | 0.97968 | -0.1429 | 0.00069075 | 0.00017312
44 | 0.98445 | -0.1089 | 0.0022377 | 0.00056083
45 | 0.97866 | -0.15023 | 0.0072692 | 0.0018218
46 | 0.98488 | -0.10586 | 0.0008331 | 0.0002088
47 | 0.98608 | -0.097341 | 0.0017979 | 0.0004506
48 | 0.99086 | -0.064273 | 0.0005367 | 0.00013451
49 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0020968 | -0.00052497 | 0.0020969 | 0.0005248 | 1.1034e-07 | -1.7163e-07 | 0.0032048 | 0.0032047 | 0.0032048 | 0.97349 | -0.18763 | 0.97355 | -0.18725 | 1.187
1 | 0.0011778 | 0.00029465 | -0.0011778 | -0.00029471 | 1.1424e-08 | -6.5851e-08 | 0.0018001 | 0.0018001 | 0.0018001 | 0.97349 | -0.18763 | 0.97348 | -0.1877 | 0.6667
2 | -0.0030385 | -0.0007608 | 0.0030398 | 0.00076012 | 1.263e-06 | -6.8182e-07 | 0.004644 | 0.0046436 | 0.004644 | 0.97355 | -0.18725 | 0.97396 | -0.18424 | 1.72
3 | 0.00092661 | 0.00023177 | -0.00092656 | -0.00023222 | 4.7145e-08 | -4.5014e-07 | 0.0014162 | 0.0014164 | 0.0014164 | 0.97348 | -0.1877 | 0.97343 | -0.18807 | 0.52458
4 | -0.0033528 | -0.00083857 | 0.0033533 | 0.00083842 | 4.2017e-07 | -1.5788e-07 | 0.0051218 | 0.0051217 | 0.0051218 | 0.97396 | -0.18424 | 0.97409 | -0.18333 | 1.897
5 | -0.0079049 | -0.0019703 | 0.0079289 | 0.0019762 | 2.3967e-05 | 5.9265e-06 | 0.012072 | 0.01207 | 0.012072 | 0.97409 | -0.18333 | 0.97714 | -0.16122 | 4.471
6 | 0.0045516 | 0.0011319 | -0.0045433 | -0.0011321 | 8.3599e-06 | -2.3027e-07 | 0.0069499 | 0.0069511 | 0.0069511 | 0.97409 | -0.18333 | 0.97224 | -0.19679 | 2.5745
7 | 0.00032339 | 8.0917e-05 | -0.00032339 | -8.105e-05 | 1.6444e-09 | -1.3241e-07 | 0.00049525 | 0.0004953 | 0.0004953 | 0.97157 | -0.20174 | 0.97156 | -0.20177 | 0.18344
8 | -0.0012328 | -0.00030884 | 0.0012329 | 0.0003087 | 2.8238e-08 | -1.4634e-07 | 0.0018881 | 0.0018881 | 0.0018881 | 0.97157 | -0.20174 | 0.97159 | -0.20157 | 0.6993
9 | -0.0012329 | -0.0003087 | 0.0012337 | 0.00030452 | 8.0402e-07 | -4.174e-06 | 0.0018881 | 0.0018865 | 0.0018881 | 0.97159 | -0.20157 | 0.97224 | -0.19679 | 0.69928
10 | 0.0033096 | 0.00082759 | -0.0033068 | -0.00082867 | 2.7727e-06 | -1.0796e-06 | 0.0050647 | 0.0050655 | 0.0050655 | 0.97224 | -0.19679 | 0.9714 | -0.20285 | 1.8761
11 | 0.0022194 | 0.00055612 | -0.0022193 | -0.00055621 | 6.7739e-08 | -9.0219e-08 | 0.0033996 | 0.0033997 | 0.0033997 | 0.9714 | -0.20285 | 0.97137 | -0.20307 | 1.2591
12 | 0.0061039 | 0.0015297 | -0.006103 | -0.0015296 | 8.3637e-07 | 1.2739e-07 | 0.0092952 | 0.0092952 | 0.0092952 | 0.97714 | -0.16122 | 0.977 | -0.16221 | 3.4427
13 | -0.014033 | -0.0035059 | 0.014061 | 0.0035156 | 2.8533e-05 | 9.7168e-06 | 0.021366 | 0.021365 | 0.021366 | 0.97714 | -0.16122 | 0.97919 | -0.14647 | 7.9132
14 | 0.007273 | 0.0018227 | -0.0072692 | -0.0018218 | 3.785e-06 | 8.3149e-07 | 0.011052 | 0.011052 | 0.011052 | 0.97919 | -0.14647 | 0.97866 | -0.15023 | 4.0935
15 | -0.021334 | -0.0053383 | 0.021345 | 0.0053421 | 1.0521e-05 | 3.8447e-06 | 0.032417 | 0.032417 | 0.032417 | 0.97919 | -0.14647 | 0.97968 | -0.1429 | 12.0064
16 | 0.0033221 | 0.00082522 | -0.0033214 | -0.00082554 | 7.1101e-07 | -3.1924e-07 | 0.004981 | 0.0049812 | 0.0049812 | 0.99194 | -0.056415 | 0.99172 | -0.057988 | 1.8449
17 | -0.020533 | -0.0051387 | 0.020545 | 0.0051428 | 1.1313e-05 | 4.1044e-06 | 0.030799 | 0.030799 | 0.030799 | 0.99194 | -0.056415 | 0.99251 | -0.052426 | 11.4071
18 | 0.0033214 | 0.00082554 | -0.0033197 | -0.0008263 | 1.7048e-06 | -7.6418e-07 | 0.0049812 | 0.0049817 | 0.0049817 | 0.99172 | -0.057988 | 0.9912 | -0.061752 | 1.8451
19 | -0.020545 | -0.0051428 | 0.020552 | 0.0051457 | 7.9027e-06 | 2.8669e-06 | 0.030799 | 0.030799 | 0.030799 | 0.99251 | -0.052426 | 0.9929 | -0.049642 | 11.4071
20 | 0.00053688 | 0.00012885 | -0.00053684 | -0.00013008 | 3.905e-08 | -1.2321e-06 | 0.00080401 | 0.00080443 | 0.00080443 | 0.9912 | -0.061752 | 0.99113 | -0.062317 | 0.29794
21 | -0.020552 | -0.0051457 | 0.020578 | 0.005155 | 2.5794e-05 | 9.3566e-06 | 0.030799 | 0.030799 | 0.030799 | 0.9929 | -0.049642 | 0.99419 | -0.040568 | 11.4071
22 | -0.024779 | -0.0062077 | 0.02483 | 0.0062268 | 5.1624e-05 | 1.9074e-05 | 0.037086 | 0.037085 | 0.037086 | 0.99419 | -0.040568 | 0.99632 | -0.025538 | 13.7354
23 | -0.081488 | -0.020512 | 0.081723 | 0.020601 | 0.00023464 | 8.8915e-05 | 0.12165 | 0.12165 | 0.12165 | 0.99704 | -0.020559 | 1 | 0 | 22.5272
24 | 0.077946 | 0.019624 | -0.077892 | -0.019604 | 5.4183e-05 | 2.0505e-05 | 0.11636 | 0.11636 | 0.11636 | 0.99704 | -0.020559 | 0.99632 | -0.025538 | 21.5483
25 | 0.00066029 | 0.00016539 | -0.00066028 | -0.00016548 | 4.1067e-09 | -8.7865e-08 | 0.00098249 | 0.00098252 | 0.00098252 | 1 | 0 | 0.99999 | -4.4951e-05 | 0.3639
26 | 0.05196 | 0.013101 | -0.051851 | -0.01306 | 0.00010918 | 4.0484e-05 | 0.07763 | 0.077631 | 0.077631 | 0.99632 | -0.025538 | 0.99416 | -0.040565 | 14.376
27 | 0.048997 | 0.012345 | -0.048942 | -0.012325 | 5.5731e-05 | 2.0575e-05 | 0.07336 | 0.07336 | 0.07336 | 0.99416 | -0.040565 | 0.993 | -0.048704 | 13.5852
28 | 0.047647 | 0.012 | -0.04757 | -0.011972 | 7.7183e-05 | 2.8433e-05 | 0.071421 | 0.071421 | 0.071421 | 0.993 | -0.048704 | 0.99134 | -0.060308 | 13.2261
29 | 0.00053684 | 0.00013008 | -0.00053672 | -0.00013396 | 1.23e-07 | -3.8708e-06 | 0.00080443 | 0.00080579 | 0.00080579 | 0.99113 | -0.062317 | 0.99089 | -0.064034 | 0.29844
30 | 0.00053672 | 0.00013396 | -0.0005367 | -0.00013451 | 1.767e-08 | -5.5484e-07 | 0.00080579 | 0.00080599 | 0.00080599 | 0.99089 | -0.064034 | 0.99086 | -0.064273 | 0.29852
31 | 0.04757 | 0.011972 | -0.047451 | -0.011927 | 0.00011862 | 4.5143e-05 | 0.071421 | 0.071421 | 0.071421 | 0.99134 | -0.060308 | 0.98879 | -0.078216 | 26.4523
32 | 0.047451 | 0.011927 | -0.047364 | -0.011893 | 8.7442e-05 | 3.328e-05 | 0.071421 | 0.071421 | 0.071421 | 0.98879 | -0.078216 | 0.98691 | -0.091476 | 26.4523
33 | 0.045168 | 0.011343 | -0.045131 | -0.011329 | 3.6789e-05 | 1.3987e-05 | 0.06811 | 0.06811 | 0.06811 | 0.98691 | -0.091476 | 0.98608 | -0.097341 | 25.2259
34 | -0.0045685 | -0.0011448 | 0.0045688 | 0.0011448 | 2.8406e-07 | -1.0638e-08 | 0.0069268 | 0.0069268 | 0.0069268 | 0.9814 | -0.13065 | 0.98146 | -0.1302 | 2.5655
35 | 0.0037851 | 0.00094846 | -0.0037847 | -0.00094854 | 3.5033e-07 | -8.0625e-08 | 0.0057389 | 0.005739 | 0.005739 | 0.9814 | -0.13065 | 0.9813 | -0.13132 | 2.1256
36 | -0.0066811 | -0.0016742 | 0.0066825 | 0.0016744 | 1.3563e-06 | 2.5389e-07 | 0.010129 | 0.010129 | 0.010129 | 0.98146 | -0.1302 | 0.98166 | -0.12873 | 3.7516
37 | 0.00079325 | 0.0001988 | -0.00079325 | -0.00019881 | 2.2398e-10 | -3.0489e-09 | 0.0012029 | 0.0012029 | 0.0012029 | 0.9813 | -0.13132 | 0.9813 | -0.13132 | 0.4455
38 | -0.0085619 | -0.0021455 | 0.0085624 | 0.0021456 | 5.3498e-07 | 1.414e-07 | 0.012978 | 0.012978 | 0.012978 | 0.98166 | -0.12873 | 0.98173 | -0.12828 | 4.8067
39 | -0.010382 | -0.0026017 | 0.010385 | 0.0026025 | 2.6362e-06 | 7.9814e-07 | 0.015736 | 0.015736 | 0.015736 | 0.98173 | -0.12828 | 0.98198 | -0.12645 | 5.8283
40 | -0.01314 | -0.0032932 | 0.013142 | 0.0032939 | 1.8679e-06 | 6.228e-07 | 0.019907 | 0.019907 | 0.019907 | 0.98222 | -0.12477 | 0.98236 | -0.12375 | 7.3728
41 | 0.012461 | 0.0031231 | -0.012458 | -0.0031221 | 2.8857e-06 | 9.457e-07 | 0.018878 | 0.018878 | 0.018878 | 0.98222 | -0.12477 | 0.98198 | -0.12645 | 6.9919
42 | -0.014897 | -0.0037336 | 0.014899 | 0.0037345 | 2.6583e-06 | 9.1647e-07 | 0.022564 | 0.022564 | 0.022564 | 0.98236 | -0.12375 | 0.98254 | -0.12246 | 8.3572
43 | -0.01802 | -0.0045166 | 0.01804 | 0.0045239 | 2.0479e-05 | 7.3177e-06 | 0.02729 | 0.02729 | 0.02729 | 0.98254 | -0.12246 | 0.9837 | -0.11426 | 10.1075
44 | -0.040163 | -0.010071 | 0.040193 | 0.010083 | 2.9845e-05 | 1.1314e-05 | 0.060756 | 0.060756 | 0.060756 | 0.9837 | -0.11426 | 0.98445 | -0.1089 | 22.5022
45 | 0.022123 | 0.0055473 | -0.022036 | -0.0055153 | 8.7456e-05 | 3.2055e-05 | 0.033466 | 0.033467 | 0.033467 | 0.9837 | -0.11426 | 0.97968 | -0.1429 | 12.395
46 | -0.042431 | -0.010643 | 0.042449 | 0.01065 | 1.7915e-05 | 6.8017e-06 | 0.064138 | 0.064138 | 0.064138 | 0.98445 | -0.1089 | 0.98488 | -0.10586 | 23.7549
47 | -0.043282 | -0.010859 | 0.043333 | 0.010878 | 5.1207e-05 | 1.945e-05 | 0.065397 | 0.065397 | 0.065397 | 0.98488 | -0.10586 | 0.98608 | -0.097341 | 24.2211

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.17593 | 0.044012

## res_load
| p_mw | q_mvar
0 | 0.00091902 | 0.00023033
1 | 0.00094163 | 0.00023599
2 | 0.00025115 | 6.2944e-05
3 | 0.00031306 | 7.846e-05
4 | 0.00092656 | 0.00023222
5 | 0.00090944 | 0.00022793
6 | 0.00032339 | 8.105e-05
7 | 0.0010875 | 0.00027255
8 | 0.0022193 | 0.00055621
9 | 0.006103 | 0.0015296
10 | 0.017211 | 0.0043135
11 | 0.0027828 | 0.00069745
12 | 0.0042003 | 0.0010527
13 | 0.0035419 | 0.00088767
14 | 0.092752 | 0.023246
15 | 0.0011018 | 0.00027615
16 | 0.00066028 | 0.00016548
17 | 0.0028534 | 0.00071513
18 | 0.0012943 | 0.00032439
19 | 0.0021962 | 0.00055043
20 | 0.00078342 | 0.00019634
21 | 0.0021123 | 0.0005294
22 | 0.0029915 | 0.00074973
23 | 0.0018794 | 0.00047102
24 | 0.00079325 | 0.00019881
25 | 0.0018198 | 0.00045609
26 | 0.00067898 | 0.00017017
27 | 0.0017547 | 0.00043977
28 | 0.0020734 | 0.00051963
29 | 0.0031205 | 0.00078206
30 | 0.00069075 | 0.00017312
31 | 0.0022377 | 0.00056083
32 | 0.0072692 | 0.0018218
33 | 0.0008331 | 0.0002088
34 | 0.0017979 | 0.0004506
35 | 0.0005367 | 0.00013451

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1