## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2337-1_1_2_node_20 | 0.4 | n |  | TRUE
1 | bus_LV_2337-1_1_2_node_21 | 0.4 | n |  | TRUE
2 | bus_LV_2337-1_1_2_node_22 | 0.4 | n |  | TRUE
3 | bus_LV_2337-1_1_2_node_23 | 0.4 | n |  | TRUE
4 | bus_LV_2337-1_1_2_node_72 | 0.4 | n |  | TRUE
5 | bus_LV_2337-1_1_2_node_82 | 0.4 | n |  | TRUE
6 | bus_LV_2337-1_1_2_node_24 | 0.4 | n |  | TRUE
7 | bus_LV_2337-1_1_2_node_25 | 0.4 | n |  | TRUE
8 | bus_LV_2337-1_1_2_node_26 | 0.4 | n |  | TRUE
9 | bus_LV_2337-1_1_2_node_66 | 0.4 | n |  | TRUE
10 | bus_LV_2337-1_1_2_node_67 | 0.4 | n |  | TRUE
11 | bus_LV_2337-1_1_2_node_35 | 0.4 | n |  | TRUE
12 | bus_LV_2337-1_1_2_node_36 | 0.4 | n |  | TRUE
13 | bus_LV_2337-1_1_2_node_38 | 0.4 | n |  | TRUE
14 | bus_LV_2337-1_1_2_node_37 | 0.4 | n |  | TRUE
15 | bus_LV_2337-1_1_2_node_104 | 0.4 | n |  | TRUE
16 | bus_LV_2337-1_1_2_node_39 | 0.4 | n |  | TRUE
17 | bus_LV_2337-1_1_2_node_99 | 0.4 | n |  | TRUE
18 | bus_LV_2337-1_1_2_node_68 | 0.4 | n |  | TRUE
19 | bus_LV_2337-1_1_2_node_69 | 0.4 | n |  | TRUE
20 | bus_LV_2337-1_1_2_node_70 | 0.4 | n |  | TRUE
21 | bus_LV_2337-1_1_2_node_106 | 0.4 | n |  | TRUE
22 | bus_LV_2337-1_1_2_node_71 | 0.4 | n |  | TRUE
23 | bus_LV_2337-1_1_2_node_78 | 0.4 | n |  | TRUE
24 | bus_LV_2337-1_1_2_node_73 | 0.4 | n |  | TRUE
25 | bus_LV_2337-1_1_2_node_74 | 0.4 | n |  | TRUE
26 | bus_LV_2337-1_1_2_node_75 | 0.4 | n |  | TRUE
27 | bus_LV_2337-1_1_2_node_76 | 0.4 | n |  | TRUE
28 | bus_LV_2337-1_1_2_node_79 | 0.4 | n |  | TRUE
29 | bus_LV_2337-1_1_2_node_112 | 0.4 | n |  | TRUE
30 | bus_LV_2337-1_1_2_node_103 | 0.4 | n |  | TRUE
31 | bus_LV_2337-1_1_2_node_105 | 0.4 | n |  | TRUE
32 | bus_LV_2337-1_1_2_node_111 | 0.4 | n |  | TRUE
33 | bus_LV_2337-1_1_2_node_113 | 0.4 | n |  | TRUE
34 | bus_MV_0_node_38 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2337-1_1_2_load_20 | 0 | 0.0031697 | 0.00079441 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2337-1_1_2_load_22 | 2 | 0.00047623 | 0.00011935 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2337-1_1_2_load_23 | 3 | 0.0016261 | 0.00040753 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2337-1_1_2_load_72 | 4 | 0.002105 | 0.00052756 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2337-1_1_2_load_82 | 5 | 0.00040185 | 0.00010071 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2337-1_1_2_load_24 | 6 | 0.00064967 | 0.00016282 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2337-1_1_2_load_25 | 7 | 0.00021286 | 5.3348e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2337-1_1_2_load_66 | 9 | 0.00064294 | 0.00016114 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2337-1_1_2_load_67 | 10 | 0.0014751 | 0.0003697 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2337-1_1_2_load_35 | 11 | 0.0018335 | 0.00045952 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2337-1_1_2_load_36 | 12 | 0.0028972 | 0.0007261 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2337-1_1_2_load_38 | 13 | 0.0014658 | 0.00036737 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2337-1_1_2_load_37 | 14 | 0.0014225 | 0.00035652 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2337-1_1_2_load_39 | 16 | 0.0029949 | 0.00075058 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2337-1_1_2_load_99 | 17 | 0.00037761 | 9.4637e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2337-1_1_2_load_68 | 18 | 0.00073893 | 0.00018519 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2337-1_1_2_load_69 | 19 | 0.00072186 | 0.00018092 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2337-1_1_2_load_70 | 20 | 0.00072762 | 0.00018236 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2337-1_1_2_load_106 | 21 | 0.0022033 | 0.00055221 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2337-1_1_2_load_71 | 22 | 0.00088662 | 0.00022221 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2337-1_1_2_load_78 | 23 | 0.0011489 | 0.00028793 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2337-1_1_2_load_73 | 24 | 0.00036979 | 9.2678e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2337-1_1_2_load_74 | 25 | 0.0011452 | 0.00028702 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2337-1_1_2_load_75 | 26 | 0.0020165 | 0.00050538 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2337-1_1_2_load_76 | 27 | 0.0012602 | 0.00031584 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2337-1_1_2_load_79 | 28 | 0.00072669 | 0.00018213 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2337-1_1_2_load_112 | 29 | 0.001262 | 0.0003163 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2337-1_1_2_load_103 | 30 | 0.00026474 | 6.635e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2337-1_1_2_load_105 | 31 | 0.0012095 | 0.00030314 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2337-1_1_2_load_111 | 32 | 0.0010311 | 0.00025842 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2337-1_1_2_load_113 | 33 | 0.00089646 | 0.00022467 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 13 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2337-1_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.088754 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2337-1_1_2_line_1 | NAYY 4x150 SE | 1 | 2 | 0.051012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2337-1_1_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.019448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2337-1_1_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.2253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2337-1_1_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.026167 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2337-1_1_2_line_5 | NAYY 4x150 SE | 4 | 24 | 0.044702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2337-1_1_2_line_6 | NAYY 4x150 SE | 4 | 25 | 0.025012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2337-1_1_2_line_7 | NAYY 4x150 SE | 5 | 16 | 0.022409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2337-1_1_2_line_8 | NAYY 4x150 SE | 6 | 7 | 0.02698 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2337-1_1_2_line_9 | NAYY 4x150 SE | 7 | 8 | 0.013851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2337-1_1_2_line_10 | NAYY 4x150 SE | 8 | 9 | 0.0099969 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2337-1_1_2_line_11 | NAYY 4x150 SE | 8 | 10 | 0.013462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2337-1_1_2_line_12 | NAYY 4x150 SE | 9 | 17 | 0.036772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2337-1_1_2_line_13 | NAYY 4x150 SE | 11 | 12 | 0.053391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2337-1_1_2_line_14 | NAYY 4x150 SE | 11 | 13 | 0.25896 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2337-1_1_2_line_15 | NAYY 4x150 SE | 12 | 14 | 0.021981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2337-1_1_2_line_16 | NAYY 4x150 SE | 13 | 16 | 0.025281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2337-1_1_2_line_17 | NAYY 4x150 SE | 14 | 15 | 0.015562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2337-1_1_2_line_18 | NAYY 4x150 SE | 15 | 31 | 0.026521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2337-1_1_2_line_19 | NAYY 4x150 SE | 15 | 30 | 0.029637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2337-1_1_2_line_20 | NAYY 4x150 SE | 17 | 27 | 0.081468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2337-1_1_2_line_21 | NAYY 4x150 SE | 18 | 19 | 0.037742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2337-1_1_2_line_22 | NAYY 4x150 SE | 18 | 20 | 0.038652 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2337-1_1_2_line_23 | NAYY 4x150 SE | 19 | 21 | 0.1871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2337-1_1_2_line_24 | NAYY 4x150 SE | 20 | 22 | 0.03407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2337-1_1_2_line_25 | NAYY 4x150 SE | 21 | 30 | 0.13344 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2337-1_1_2_line_26 | NAYY 4x150 SE | 22 | 23 | 0.052491 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2337-1_1_2_line_27 | NAYY 4x150 SE | 23 | 28 | 0.021407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2337-1_1_2_line_28 | NAYY 4x150 SE | 24 | 26 | 0.0058649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2337-1_1_2_line_29 | NAYY 4x150 SE | 25 | 27 | 0.031527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2337-1_1_2_line_30 | NAYY 4x150 SE | 28 | 29 | 0.029607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2337-1_1_2_line_31 | NAYY 4x150 SE | 29 | 33 | 0.030054 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2337-1_1_2_line_32 | NAYY 4x150 SE | 32 | 33 | 0.2155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2337-1_1_2_trafo_38 | 0.25 MVA 20/0.4 kV | 34 | 13 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2556895.0761 | 1161340.4513 | 2556923.6357 | 1161396.2308 | 2556938.0894 | 1161417.9494
1 | 2556895.0761 | 1161340.4513 | 2556888.9661 | 1161347.4655 | 2556884.2784 | 1161353.0243 | 2556880.2038 | 1161358.5898 | 2556875.7304 | 1161365.181 | 2556872.6797 | 1161369.2939 | 2556871.2585 | 1161371.9722 | 2556869.6351 | 1161374.2406 | 2556868.001 | 1161376.0866 | 2556865.754 | 1161377.9482 | 2556863.0933 | 1161379.8128 | 2556863.0933 | 1161379.8128
2 | 2556895.0761 | 1161340.4513 | 2556902.0005 | 1161331.597 | 2556906.8877 | 1161325.0029 | 2556906.8877 | 1161325.0029
3 | 2556863.0933 | 1161379.8128 | 2556700.5984 | 1161535.871
4 | 2556922.5351 | 1161304.0361 | 2556916.8627 | 1161312.0245 | 2556912.3849 | 1161318.0042 | 2556906.8877 | 1161325.0029
5 | 2556700.5984 | 1161535.871 | 2556731.6828 | 1161567.9962
6 | 2556700.5984 | 1161535.871 | 2556690.1556 | 1161525.0785 | 2556682.4716 | 1161518.6876
7 | 2556922.5351 | 1161304.0361 | 2556922.5595 | 1161304.0017 | 2556928.2459 | 1161294.5337 | 2556933.5292 | 1161285.48 | 2556933.9761 | 1161284.7686
8 | 2556560.4534 | 1161424.7492 | 2556561.1034 | 1161424.6036 | 2556566.0376 | 1161424.5679 | 2556572.4046 | 1161424.5218 | 2556577.3388 | 1161424.486 | 2556585.7668 | 1161424.425 | 2556587.3919 | 1161424.1431
9 | 2556548.9501 | 1161431.8621 | 2556556.3835 | 1161425.6606 | 2556560.4534 | 1161424.7492
10 | 2556548.9501 | 1161431.8621 | 2556557.607 | 1161436.8618
11 | 2556548.9501 | 1161431.8621 | 2556541.4266 | 1161427.7366 | 2556537.1475 | 1161425.3883
12 | 2556557.607 | 1161436.8618 | 2556589.45 | 1161455.2526
13 | 2557174.7732 | 1161052.8842 | 2557168.1909 | 1161053.969 | 2557159.2684 | 1161056.7341 | 2557150.8861 | 1161061.1185 | 2557142.5289 | 1161067.9372 | 2557134.7176 | 1161075.0189 | 2557130.2872 | 1161079.8972
14 | 2556947.7256 | 1161263.5552 | 2557130.2872 | 1161079.8972
15 | 2557174.7732 | 1161052.8842 | 2557178.4851 | 1161052.2724 | 2557188.7851 | 1161051.3873 | 2557196.656 | 1161050.9798
16 | 2556947.7256 | 1161263.5552 | 2556947.1478 | 1161264.4825 | 2556942.872 | 1161270.8609 | 2556937.7944 | 1161278.6903 | 2556933.9761 | 1161284.7686
17 | 2557212.1935 | 1161050.1642 | 2557209.3908 | 1161050.4288 | 2557200.9872 | 1161050.7555 | 2557196.656 | 1161050.9798
18 | 2557212.1935 | 1161050.1642 | 2557218.8786 | 1161049.5495 | 2557237.5764 | 1161047.5263 | 2557238.5588 | 1161047.3365
19 | 2557212.1935 | 1161050.1642 | 2557219.3861 | 1161078.8055 | 2557219.4381 | 1161078.8988
20 | 2556658.2328 | 1161498.5276 | 2556644.2674 | 1161486.9123 | 2556589.45 | 1161455.2526
21 | 2557504.6417 | 1161152.4909 | 2557475.3936 | 1161128.6376
22 | 2557504.6417 | 1161152.4909 | 2557507.403 | 1161154.7428 | 2557534.7946 | 1161175.0372 | 2557535.4785 | 1161175.7652
23 | 2557475.3936 | 1161128.6376 | 2557297.6412 | 1161187.0265
24 | 2557558.8065 | 1161200.5954 | 2557535.4785 | 1161175.7652
25 | 2557219.4381 | 1161078.8988 | 2557297.6412 | 1161187.0265
26 | 2557558.8065 | 1161200.5954 | 2557561.8015 | 1161203.7833 | 2557569.0925 | 1161209.7681 | 2557599.0004 | 1161234.3031
27 | 2557599.0004 | 1161234.3031 | 2557613.4702 | 1161246.1734 | 2557615.5973 | 1161247.8227
28 | 2556731.6828 | 1161567.9962 | 2556735.761 | 1161572.2111
29 | 2556658.2328 | 1161498.5276 | 2556682.4716 | 1161518.6876
30 | 2557638.9943 | 1161265.965 | 2557615.5973 | 1161247.8227
31 | 2557638.9943 | 1161265.965 | 2557641.8848 | 1161268.2063 | 2557656.146 | 1161279.267 | 2557661.8849 | 1161285.3309
32 | 2557661.8849 | 1161285.3309 | 2557654.5366 | 1161500.7075

## bus_geodata
| x | y | coords
0 | 2556938.0894 | 1161417.9494
1 | 2556895.0761 | 1161340.4513
2 | 2556863.0933 | 1161379.8128
3 | 2556906.8877 | 1161325.0029
4 | 2556700.5984 | 1161535.871
5 | 2556922.5351 | 1161304.0361
6 | 2556587.3919 | 1161424.1431
7 | 2556560.4534 | 1161424.7492
8 | 2556548.9501 | 1161431.8621
9 | 2556557.607 | 1161436.8618
10 | 2556537.1475 | 1161425.3883
11 | 2557130.2872 | 1161079.8972
12 | 2557174.7732 | 1161052.8842
13 | 2556947.7256 | 1161263.5552
14 | 2557196.656 | 1161050.9798
15 | 2557212.1935 | 1161050.1642
16 | 2556933.9761 | 1161284.7686
17 | 2556589.45 | 1161455.2526
18 | 2557504.6417 | 1161152.4909
19 | 2557475.3936 | 1161128.6376
20 | 2557535.4785 | 1161175.7652
21 | 2557297.6412 | 1161187.0265
22 | 2557558.8065 | 1161200.5954
23 | 2557599.0004 | 1161234.3031
24 | 2556731.6828 | 1161567.9962
25 | 2556682.4716 | 1161518.6876
26 | 2556735.761 | 1161572.2111
27 | 2556658.2328 | 1161498.5276
28 | 2557615.5973 | 1161247.8227
29 | 2557638.9943 | 1161265.965
30 | 2557219.4381 | 1161078.8988
31 | 2557238.5588 | 1161047.3365
32 | 2557654.5366 | 1161500.7075
33 | 2557661.8849 | 1161285.3309
34 | 2556947.7256 | 1161263.5552

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99743 | -0.018011 | 0.0031697 | 0.00079441
1 | 0.99783 | -0.015187 | 0 | 0
2 | 0.99705 | -0.020705 | 0.00047623 | 0.00011935
3 | 0.99822 | -0.012465 | 0.0016261 | 0.00040753
4 | 0.99373 | -0.044066 | 0.002105 | 0.00052756
5 | 0.9988 | -0.0083807 | 0.00040185 | 0.00010071
6 | 0.99269 | -0.051436 | 0.00064967 | 0.00016282
7 | 0.99272 | -0.051258 | 0.00021286 | 5.3348e-05
8 | 0.99273 | -0.051137 | 0 | 0
9 | 0.99277 | -0.050899 | 0.00064294 | 0.00016114
10 | 0.99271 | -0.051338 | 0.0014751 | 0.0003697
11 | 0.99329 | -0.047022 | 0.0018335 | 0.00045952
12 | 0.99205 | -0.055795 | 0.0028972 | 0.0007261
13 | 1 | 0 | -0.037976 | -0.0093299
14 | 0.99163 | -0.058766 | 0.0014225 | 0.00035652
15 | 0.99136 | -0.060646 | 0 | 0
16 | 0.99932 | -0.004796 | 0.0029949 | 0.00075058
17 | 0.99293 | -0.049787 | 0.00037761 | 9.4637e-05
18 | 0.98631 | -0.096579 | 0.00073893 | 0.00018519
19 | 0.98671 | -0.093692 | 0.00072186 | 0.00018092
20 | 0.98593 | -0.099244 | 0.00072762 | 0.00018236
21 | 0.98892 | -0.078014 | 0.0022033 | 0.00055221
22 | 0.98564 | -0.10134 | 0.00088662 | 0.00022221
23 | 0.98526 | -0.10409 | 0.0011489 | 0.00028793
24 | 0.99358 | -0.045145 | 0.00036979 | 9.2678e-05
25 | 0.99353 | -0.045528 | 0.0011452 | 0.00028702
26 | 0.99356 | -0.045265 | 0.0020165 | 0.00050538
27 | 0.99332 | -0.047007 | 0.0012602 | 0.00031584
28 | 0.98514 | -0.10496 | 0.00072669 | 0.00018213
29 | 0.985 | -0.10593 | 0.001262 | 0.0003163
30 | 0.99091 | -0.063863 | 0.00026474 | 6.635e-05
31 | 0.99132 | -0.060972 | 0.0012095 | 0.00030314
32 | 0.98459 | -0.10885 | 0.0010311 | 0.00025842
33 | 0.98491 | -0.10654 | 0.00089646 | 0.00022467
34 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0031697 | -0.00079441 | 0.003171 | 0.00079373 | 1.2383e-06 | -6.8261e-07 | 0.0047288 | 0.0047284 | 0.0047288 | 0.99743 | -0.018011 | 0.99783 | -0.015187 | 1.7514
1 | 0.010777 | 0.0026997 | -0.010769 | -0.0026972 | 8.221e-06 | 2.4961e-06 | 0.016071 | 0.016071 | 0.016071 | 0.99783 | -0.015187 | 0.99705 | -0.020705 | 5.9522
2 | -0.013948 | -0.0034935 | 0.013953 | 0.0034952 | 5.2498e-06 | 1.765e-06 | 0.020799 | 0.020799 | 0.020799 | 0.99783 | -0.015187 | 0.99822 | -0.012465 | 7.7033
3 | 0.010292 | 0.0025779 | -0.010259 | -0.0025681 | 3.3171e-05 | 9.8295e-06 | 0.01536 | 0.015361 | 0.015361 | 0.99705 | -0.020705 | 0.99373 | -0.044066 | 5.6893
4 | -0.015579 | -0.0039028 | 0.015588 | 0.0039058 | 8.8059e-06 | 3.0446e-06 | 0.023223 | 0.023223 | 0.023223 | 0.99822 | -0.012465 | 0.9988 | -0.0083807 | 8.601
5 | 0.0023867 | 0.00059755 | -0.0023863 | -0.00059799 | 3.5624e-07 | -4.4203e-07 | 0.0035736 | 0.0035738 | 0.0035738 | 0.99373 | -0.044066 | 0.99358 | -0.045145 | 1.3236
6 | 0.0057677 | 0.001443 | -0.0057665 | -0.0014428 | 1.1639e-06 | 1.2369e-07 | 0.0086356 | 0.0086357 | 0.0086357 | 0.99373 | -0.044066 | 0.99353 | -0.045528 | 3.1984
7 | -0.01599 | -0.0040065 | 0.015998 | 0.0040093 | 7.9349e-06 | 2.7584e-06 | 0.023821 | 0.023821 | 0.023821 | 0.9988 | -0.0083807 | 0.99932 | -0.004796 | 8.8227
8 | -0.00064967 | -0.00016282 | 0.00064969 | 0.00016248 | 1.5964e-08 | -3.4267e-07 | 0.00097384 | 0.00097371 | 0.00097384 | 0.99269 | -0.051436 | 0.99272 | -0.051258 | 0.36068
9 | -0.00086255 | -0.00021583 | 0.00086256 | 0.00021565 | 1.4444e-08 | -1.7353e-07 | 0.0012928 | 0.0012927 | 0.0012928 | 0.99272 | -0.051258 | 0.99273 | -0.051137 | 0.47881
10 | -0.0023377 | -0.0005852 | 0.0023378 | 0.0005851 | 7.6581e-08 | -9.9803e-08 | 0.0035038 | 0.0035038 | 0.0035038 | 0.99273 | -0.051137 | 0.99277 | -0.050899 | 1.2977
11 | 0.0014752 | 0.00036954 | -0.0014751 | -0.0003697 | 4.1068e-08 | -1.5825e-07 | 0.0022111 | 0.0022111 | 0.0022111 | 0.99273 | -0.051137 | 0.99271 | -0.051338 | 0.81894
12 | -0.0029808 | -0.00074624 | 0.0029812 | 0.00074594 | 4.5794e-07 | -2.9942e-07 | 0.0044674 | 0.0044673 | 0.0044674 | 0.99277 | -0.050899 | 0.99293 | -0.049787 | 1.6546
13 | 0.016219 | 0.0040638 | -0.016199 | -0.004057 | 1.9667e-05 | 6.8742e-06 | 0.024297 | 0.024297 | 0.024297 | 0.99329 | -0.047022 | 0.99205 | -0.055795 | 8.9988
14 | -0.018052 | -0.0045234 | 0.018171 | 0.0045655 | 0.00011817 | 4.2076e-05 | 0.027043 | 0.027042 | 0.027043 | 0.99329 | -0.047022 | 1 | 0 | 10.016
15 | 0.013302 | 0.0033309 | -0.013297 | -0.0033291 | 5.4598e-06 | 1.8162e-06 | 0.019951 | 0.019951 | 0.019951 | 0.99205 | -0.055795 | 0.99163 | -0.058766 | 7.3894
16 | 0.019005 | 0.0047644 | -0.018993 | -0.0047599 | 1.2617e-05 | 4.5213e-06 | 0.028281 | 0.028281 | 0.028281 | 1 | 0 | 0.99932 | -0.004796 | 10.4743
17 | 0.011874 | 0.0029725 | -0.011871 | -0.0029715 | 3.0825e-06 | 9.8488e-07 | 0.017817 | 0.017817 | 0.017817 | 0.99163 | -0.058766 | 0.99136 | -0.060646 | 6.5988
18 | 0.0012096 | 0.00030281 | -0.0012095 | -0.00030313 | 5.4546e-08 | -3.2096e-07 | 0.0018154 | 0.0018156 | 0.0018156 | 0.99136 | -0.060646 | 0.99132 | -0.060972 | 0.67243
19 | 0.010661 | 0.0026687 | -0.010657 | -0.0026673 | 4.7352e-06 | 1.4393e-06 | 0.016001 | 0.016001 | 0.016001 | 0.99136 | -0.060646 | 0.99091 | -0.063863 | 5.9265
20 | -0.0033588 | -0.00084057 | 0.0033601 | 0.00084001 | 1.2877e-06 | -5.5887e-07 | 0.0050332 | 0.0050328 | 0.0050332 | 0.99293 | -0.049787 | 0.99332 | -0.047007 | 1.8641
21 | -0.0074258 | -0.0018567 | 0.0074287 | 0.0018573 | 2.955e-06 | 6.5465e-07 | 0.011202 | 0.011201 | 0.011202 | 0.98631 | -0.096579 | 0.98671 | -0.093692 | 4.1487
22 | 0.0066869 | 0.0016715 | -0.0066844 | -0.001671 | 2.454e-06 | 4.5072e-07 | 0.010087 | 0.010087 | 0.010087 | 0.98631 | -0.096579 | 0.98593 | -0.099244 | 3.7359
23 | -0.0081506 | -0.0020383 | 0.0081682 | 0.0020426 | 1.7633e-05 | 4.3867e-06 | 0.01229 | 0.012289 | 0.01229 | 0.98671 | -0.093692 | 0.98892 | -0.078014 | 4.5518
24 | 0.0059568 | 0.0014887 | -0.0059551 | -0.0014885 | 1.7177e-06 | 2.2631e-07 | 0.0089887 | 0.0089889 | 0.0089889 | 0.98593 | -0.099244 | 0.98564 | -0.10134 | 3.3292
25 | -0.010372 | -0.0025949 | 0.010392 | 0.0026009 | 2.0275e-05 | 6.0826e-06 | 0.015604 | 0.015604 | 0.015604 | 0.98892 | -0.078014 | 0.99091 | -0.063863 | 5.7794
26 | 0.0050684 | 0.0012663 | -0.0050665 | -0.0012662 | 1.9171e-06 | 6.8602e-08 | 0.0076504 | 0.0076506 | 0.0076506 | 0.98564 | -0.10134 | 0.98526 | -0.10409 | 2.8336
27 | 0.0039177 | 0.00097826 | -0.0039172 | -0.00097835 | 4.6746e-07 | -9.2805e-08 | 0.0059155 | 0.0059156 | 0.0059156 | 0.98526 | -0.10409 | 0.98514 | -0.10496 | 2.191
28 | 0.0020165 | 0.00050531 | -0.0020165 | -0.00050538 | 3.3377e-08 | -6.312e-08 | 0.00302 | 0.00302 | 0.00302 | 0.99358 | -0.045145 | 0.99356 | -0.045265 | 1.1185
29 | 0.0046213 | 0.0011558 | -0.0046203 | -0.0011559 | 9.4221e-07 | -4.5799e-08 | 0.0069205 | 0.0069206 | 0.0069206 | 0.99353 | -0.045528 | 0.99332 | -0.047007 | 2.5632
30 | 0.0031905 | 0.00079623 | -0.0031901 | -0.00079644 | 4.2886e-07 | -2.1196e-07 | 0.004818 | 0.0048181 | 0.0048181 | 0.98514 | -0.10496 | 0.985 | -0.10593 | 1.7845
31 | 0.0019281 | 0.00048015 | -0.0019279 | -0.00048047 | 1.5899e-07 | -3.2137e-07 | 0.0029116 | 0.0029117 | 0.0029117 | 0.985 | -0.10593 | 0.98491 | -0.10654 | 1.0784
32 | -0.0010311 | -0.00025842 | 0.0010314 | 0.0002558 | 3.2634e-07 | -2.6162e-06 | 0.0015583 | 0.0015573 | 0.0015583 | 0.98459 | -0.10885 | 0.98491 | -0.10654 | 0.57715

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -4.4415e-16 | -7.6913e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.564e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.039442 | 0.0096973

## res_load
| p_mw | q_mvar
0 | 0.0031697 | 0.00079441
1 | 0.00047623 | 0.00011935
2 | 0.0016261 | 0.00040753
3 | 0.002105 | 0.00052756
4 | 0.00040185 | 0.00010071
5 | 0.00064967 | 0.00016282
6 | 0.00021286 | 5.3348e-05
7 | 0.00064294 | 0.00016114
8 | 0.0014751 | 0.0003697
9 | 0.0018335 | 0.00045952
10 | 0.0028972 | 0.0007261
11 | 0.0014658 | 0.00036737
12 | 0.0014225 | 0.00035652
13 | 0.0029949 | 0.00075058
14 | 0.00037761 | 9.4637e-05
15 | 0.00073893 | 0.00018519
16 | 0.00072186 | 0.00018092
17 | 0.00072762 | 0.00018236
18 | 0.0022033 | 0.00055221
19 | 0.00088662 | 0.00022221
20 | 0.0011489 | 0.00028793
21 | 0.00036979 | 9.2678e-05
22 | 0.0011452 | 0.00028702
23 | 0.0020165 | 0.00050538
24 | 0.0012602 | 0.00031584
25 | 0.00072669 | 0.00018213
26 | 0.001262 | 0.0003163
27 | 0.00026474 | 6.635e-05
28 | 0.0012095 | 0.00030314
29 | 0.0010311 | 0.00025842
30 | 0.00089646 | 0.00022467

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1