## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2337-2_1_3_node_6 | 0.4 | n |  | TRUE
1 | bus_LV_2337-2_1_3_node_8 | 0.4 | n |  | TRUE
2 | bus_LV_2337-2_1_3_node_20 | 0.4 | n |  | TRUE
3 | bus_LV_2337-2_1_3_node_11 | 0.4 | n |  | TRUE
4 | bus_LV_2337-2_1_3_node_12 | 0.4 | n |  | TRUE
5 | bus_LV_2337-2_1_3_node_13 | 0.4 | n |  | TRUE
6 | bus_LV_2337-2_1_3_node_14 | 0.4 | n |  | TRUE
7 | bus_LV_2337-2_1_3_node_15 | 0.4 | n |  | TRUE
8 | bus_LV_2337-2_1_3_node_57 | 0.4 | n |  | TRUE
9 | bus_LV_2337-2_1_3_node_30 | 0.4 | n |  | TRUE
10 | bus_LV_2337-2_1_3_node_28 | 0.4 | n |  | TRUE
11 | bus_LV_2337-2_1_3_node_21 | 0.4 | n |  | TRUE
12 | bus_LV_2337-2_1_3_node_22 | 0.4 | n |  | TRUE
13 | bus_LV_2337-2_1_3_node_29 | 0.4 | n |  | TRUE
14 | bus_LV_2337-2_1_3_node_50 | 0.4 | n |  | TRUE
15 | bus_LV_2337-2_1_3_node_51 | 0.4 | n |  | TRUE
16 | bus_LV_2337-2_1_3_node_31 | 0.4 | n |  | TRUE
17 | bus_LV_2337-2_1_3_node_48 | 0.4 | n |  | TRUE
18 | bus_LV_2337-2_1_3_node_52 | 0.4 | n |  | TRUE
19 | bus_LV_2337-2_1_3_node_38 | 0.4 | n |  | TRUE
20 | bus_LV_2337-2_1_3_node_39 | 0.4 | n |  | TRUE
21 | bus_LV_2337-2_1_3_node_40 | 0.4 | n |  | TRUE
22 | bus_LV_2337-2_1_3_node_53 | 0.4 | n |  | TRUE
23 | bus_LV_2337-2_1_3_node_47 | 0.4 | n |  | TRUE
24 | bus_LV_2337-2_1_3_node_49 | 0.4 | n |  | TRUE
25 | bus_LV_2337-2_1_3_node_59 | 0.4 | n |  | TRUE
26 | bus_LV_2337-2_1_3_node_90 | 0.4 | n |  | TRUE
27 | bus_LV_2337-2_1_3_node_58 | 0.4 | n |  | TRUE
28 | bus_LV_2337-2_1_3_node_67 | 0.4 | n |  | TRUE
29 | bus_LV_2337-2_1_3_node_68 | 0.4 | n |  | TRUE
30 | bus_LV_2337-2_1_3_node_91 | 0.4 | n |  | TRUE
31 | bus_LV_2337-2_1_3_node_92 | 0.4 | n |  | TRUE
32 | bus_LV_2337-2_1_3_node_95 | 0.4 | n |  | TRUE
33 | bus_MV_366_0_node_226 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2337-2_1_3_load_6 | 0 | 0.0010037 | 0.00025155 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2337-2_1_3_load_8 | 1 | 0.0018362 | 0.00046021 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2337-2_1_3_load_20 | 2 | 0.0066099 | 0.0016566 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2337-2_1_3_load_11 | 3 | 0.0088697 | 0.002223 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2337-2_1_3_load_12 | 4 | 0.0061779 | 0.0015483 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2337-2_1_3_load_13 | 5 | 0.0018911 | 0.00047395 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2337-2_1_3_load_14 | 6 | 0.0024255 | 0.0006079 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2337-2_1_3_load_15 | 7 | 0.002568 | 0.00064359 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2337-2_1_3_load_57 | 8 | 0.0014646 | 0.00036707 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2337-2_1_3_load_28 | 10 | 0.003316 | 0.00083106 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2337-2_1_3_load_21 | 11 | 0.0014214 | 0.00035623 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2337-2_1_3_load_50 | 14 | 0.0015772 | 0.00039528 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2337-2_1_3_load_51 | 15 | 0.00088336 | 0.00022139 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2337-2_1_3_load_31 | 16 | 0.0014169 | 0.0003551 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2337-2_1_3_load_48 | 17 | 0.0032696 | 0.00081944 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2337-2_1_3_load_52 | 18 | 0.0030737 | 0.00077033 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2337-2_1_3_load_38 | 19 | 0.0099943 | 0.0025048 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2337-2_1_3_load_40 | 21 | 0.0034856 | 0.00087358 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2337-2_1_3_load_53 | 22 | 0.0013629 | 0.00034157 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2337-2_1_3_load_47 | 23 | 0.0016777 | 0.00042047 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2337-2_1_3_load_49 | 24 | 0.0015717 | 0.00039391 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2337-2_1_3_load_59 | 25 | 0.0015554 | 0.00038982 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2337-2_1_3_load_90 | 26 | 0.003344 | 0.00083809 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2337-2_1_3_load_58 | 27 | 0.0029992 | 0.00075167 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2337-2_1_3_load_67 | 28 | 0.0019164 | 0.0004803 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2337-2_1_3_load_68 | 29 | 0.00095287 | 0.00023881 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2337-2_1_3_load_91 | 30 | 0.00087476 | 0.00021924 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2337-2_1_3_load_92 | 31 | 0.00086723 | 0.00021735 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2337-2_1_3_load_95 | 32 | 0.00066911 | 0.0001677 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 13 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2337-2_1_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.078564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2337-2_1_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.0093575 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2337-2_1_3_line_2 | NAYY 4x150 SE | 2 | 11 | 0.0088019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2337-2_1_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.01613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2337-2_1_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.031487 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2337-2_1_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.018989 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2337-2_1_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.025915 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2337-2_1_3_line_7 | NAYY 4x150 SE | 6 | 8 | 0.056209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2337-2_1_3_line_8 | NAYY 4x150 SE | 7 | 9 | 0.048194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2337-2_1_3_line_9 | NAYY 4x150 SE | 7 | 10 | 0.028658 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2337-2_1_3_line_10 | NAYY 4x150 SE | 9 | 17 | 0.052244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2337-2_1_3_line_11 | NAYY 4x150 SE | 10 | 13 | 0.0081255 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2337-2_1_3_line_12 | NAYY 4x150 SE | 11 | 12 | 0.054397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2337-2_1_3_line_13 | NAYY 4x150 SE | 11 | 13 | 0.081714 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2337-2_1_3_line_14 | NAYY 4x150 SE | 12 | 14 | 0.02169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2337-2_1_3_line_15 | NAYY 4x150 SE | 12 | 15 | 0.021551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2337-2_1_3_line_16 | NAYY 4x150 SE | 13 | 16 | 0.023224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2337-2_1_3_line_17 | NAYY 4x150 SE | 14 | 25 | 0.025902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2337-2_1_3_line_18 | NAYY 4x150 SE | 15 | 26 | 0.006852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2337-2_1_3_line_19 | NAYY 4x150 SE | 16 | 18 | 0.00070661 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2337-2_1_3_line_20 | NAYY 4x150 SE | 17 | 23 | 0.051756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2337-2_1_3_line_21 | NAYY 4x150 SE | 18 | 22 | 0.02769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2337-2_1_3_line_22 | NAYY 4x150 SE | 19 | 20 | 0.027864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2337-2_1_3_line_23 | NAYY 4x150 SE | 20 | 21 | 0.055687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2337-2_1_3_line_24 | NAYY 4x150 SE | 21 | 22 | 0.0056296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2337-2_1_3_line_25 | NAYY 4x150 SE | 23 | 24 | 0.036007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2337-2_1_3_line_26 | NAYY 4x150 SE | 25 | 27 | 0.0362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2337-2_1_3_line_27 | NAYY 4x150 SE | 26 | 30 | 0.013051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2337-2_1_3_line_28 | NAYY 4x150 SE | 27 | 28 | 0.039262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2337-2_1_3_line_29 | NAYY 4x150 SE | 28 | 29 | 0.027556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2337-2_1_3_line_30 | NAYY 4x150 SE | 30 | 31 | 0.020114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2337-2_1_3_line_31 | NAYY 4x150 SE | 31 | 32 | 0.01069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2337-2_1_3_trafo_29 | 0.25 MVA 20/0.4 kV | 33 | 13 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2555951.2721 | 1161386.3588 | 2555947.2364 | 1161382.6462 | 2555941.9275 | 1161375.4925 | 2555938.8059 | 1161369.8569 | 2555936.6743 | 1161363.4026 | 2555935.111 | 1161353.9869 | 2555934.4546 | 1161344.9537 | 2555933.4807 | 1161321.9044 | 2555932.5228 | 1161312.6934
1 | 2555951.2721 | 1161386.3588 | 2555953.4465 | 1161388.3591 | 2555958.2566 | 1161392.5854
2 | 2555964.8688 | 1161398.395 | 2555958.2566 | 1161392.5854
3 | 2555863.1003 | 1161442.3908 | 2555853.7755 | 1161429.2297
4 | 2555883.1296 | 1161466.592 | 2555871.2762 | 1161453.9303 | 2555863.1003 | 1161442.3908
5 | 2555842.7977 | 1161413.7355 | 2555853.7755 | 1161429.2297
6 | 2555899.2312 | 1161486.6974 | 2555898.1108 | 1161484.3822 | 2555897.1775 | 1161482.4992 | 2555895.0415 | 1161479.6023 | 2555891.7417 | 1161475.7912 | 2555883.1296 | 1161466.592
7 | 2555842.7977 | 1161413.7355 | 2555834.7154 | 1161402.328 | 2555804.5541 | 1161372.7719
8 | 2555899.2312 | 1161486.6974 | 2555884.5865 | 1161490.5404 | 2555874.5451 | 1161493.1267 | 2555865.2923 | 1161495.6183 | 2555860.1175 | 1161497.3128 | 2555855.7997 | 1161498.8453 | 2555852.828 | 1161500.0456
9 | 2555899.2312 | 1161486.6974 | 2555917.895 | 1161480.2903 | 2555925.6424 | 1161477.2874 | 2555926.2115 | 1161477.0512
10 | 2555852.828 | 1161500.0456 | 2555851.1625 | 1161497.5899 | 2555850.0122 | 1161496.4089 | 2555847.9617 | 1161494.7342 | 2555846.3916 | 1161493.7675 | 2555844.8694 | 1161493.0783 | 2555843.3262 | 1161492.6561 | 2555821.3121 | 1161488.3826 | 2555812.2305 | 1161482.9244 | 2555807.0395 | 1161478.4619
11 | 2555933.7167 | 1161473.9374 | 2555926.2115 | 1161477.0512
12 | 2556005.7336 | 1161434.2994 | 2555964.8688 | 1161398.395
13 | 2555964.8688 | 1161398.395 | 2555933.7167 | 1161473.9374
14 | 2556005.7336 | 1161434.2994 | 2556011.3952 | 1161430.0224 | 2556019.516 | 1161423.5928 | 2556022.6852 | 1161420.7807
15 | 2556005.7336 | 1161434.2994 | 2556019.9312 | 1161450.513
16 | 2555933.7167 | 1161473.9374 | 2555936.3159 | 1161484.6128 | 2555938.7558 | 1161496.6035
17 | 2556041.9346 | 1161403.4506 | 2556032.9067 | 1161411.7107 | 2556022.6852 | 1161420.7807
18 | 2556024.5573 | 1161455.5614 | 2556023.2118 | 1161454.2595 | 2556019.9312 | 1161450.513
19 | 2555938.7558 | 1161496.6035 | 2555938.8967 | 1161497.2959
20 | 2555765.9509 | 1161447.5819 | 2555780.6343 | 1161461.4349 | 2555798.9984 | 1161471.5493 | 2555807.0395 | 1161478.4619
21 | 2555938.8967 | 1161497.2959 | 2555940.0044 | 1161502.7396 | 2555942.3924 | 1161512.8273 | 2555944.6713 | 1161520.5702 | 2555945.9901 | 1161524.0236
22 | 2555979.0254 | 1161575.5244 | 2556002.8411 | 1161561.0598
23 | 2555979.0254 | 1161575.5244 | 2555975.0727 | 1161569.3835 | 2555954.2119 | 1161539.5211 | 2555950.4053 | 1161533.4681 | 2555948.2456 | 1161529.1738
24 | 2555948.2456 | 1161529.1738 | 2555947.0463 | 1161526.7893 | 2555945.9901 | 1161524.0236
25 | 2555765.9509 | 1161447.5819 | 2555743.5826 | 1161426.4787 | 2555740.2907 | 1161422.3824
26 | 2556066.4554 | 1161376.8423 | 2556061.9422 | 1161381.8269 | 2556052.8318 | 1161392.288 | 2556043.5015 | 1161402.0169 | 2556041.9346 | 1161403.4506
27 | 2556024.5573 | 1161455.5614 | 2556033.9363 | 1161464.6367
28 | 2556066.4554 | 1161376.8423 | 2556093.4423 | 1161405.3597
29 | 2556093.4423 | 1161405.3597 | 2556091.5916 | 1161407.5121 | 2556082.2434 | 1161422.1215 | 2556080.5022 | 1161429.2862
30 | 2556033.9363 | 1161464.6367 | 2556048.3908 | 1161478.6233
31 | 2556056.0738 | 1161486.0565 | 2556052.482 | 1161482.582 | 2556048.3908 | 1161478.6233

## bus_geodata
| x | y | coords
0 | 2555932.5228 | 1161312.6934
1 | 2555951.2721 | 1161386.3588
2 | 2555958.2566 | 1161392.5854
3 | 2555863.1003 | 1161442.3908
4 | 2555853.7755 | 1161429.2297
5 | 2555883.1296 | 1161466.5919
6 | 2555842.7977 | 1161413.7355
7 | 2555899.2312 | 1161486.6974
8 | 2555804.5541 | 1161372.7719
9 | 2555852.828 | 1161500.0456
10 | 2555926.2115 | 1161477.0512
11 | 2555964.8688 | 1161398.395
12 | 2556005.7336 | 1161434.2994
13 | 2555933.7167 | 1161473.9374
14 | 2556022.6852 | 1161420.7807
15 | 2556019.9312 | 1161450.513
16 | 2555938.7558 | 1161496.6035
17 | 2555807.0395 | 1161478.4619
18 | 2555938.8967 | 1161497.2959
19 | 2556002.8411 | 1161561.0598
20 | 2555979.0254 | 1161575.5244
21 | 2555948.2456 | 1161529.1738
22 | 2555945.9901 | 1161524.0236
23 | 2555765.9509 | 1161447.5819
24 | 2555740.2907 | 1161422.3824
25 | 2556041.9346 | 1161403.4506
26 | 2556024.5573 | 1161455.5614
27 | 2556066.4554 | 1161376.8423
28 | 2556093.4423 | 1161405.3597
29 | 2556080.5022 | 1161429.2862
30 | 2556033.9363 | 1161464.6367
31 | 2556048.3908 | 1161478.6233
32 | 2556056.0738 | 1161486.0565
33 | 2555899.2312 | 1161486.6974

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99663 | -0.02362 | 0.0010037 | 0.00025155
1 | 0.99674 | -0.022824 | 0.0018362 | 0.00046021
2 | 0.99678 | -0.022557 | 0.0066099 | 0.0016566
3 | 0.99676 | -0.022683 | 0.0088697 | 0.002223
4 | 0.99653 | -0.024316 | 0.0061779 | 0.0015483
5 | 0.99762 | -0.016695 | 0.0018911 | 0.00047395
6 | 0.99643 | -0.025059 | 0.0024255 | 0.0006079
7 | 0.99839 | -0.011282 | 0.002568 | 0.00064359
8 | 0.99631 | -0.025888 | 0.0014646 | 0.00036707
9 | 0.99794 | -0.014437 | 0 | 0
10 | 0.99961 | -0.0026989 | 0.003316 | 0.00083106
11 | 0.9969 | -0.02172 | 0.0014214 | 0.00035623
12 | 0.99568 | -0.030288 | 0 | 0
13 | 1 | 0 | -0.080107 | -0.019895
14 | 0.9954 | -0.032257 | 0.0015772 | 0.00039528
15 | 0.99548 | -0.03173 | 0.00088336 | 0.00022139
16 | 0.99936 | -0.0044869 | 0.0014169 | 0.0003551
17 | 0.99745 | -0.017858 | 0.0032696 | 0.00081944
18 | 0.99934 | -0.0046135 | 0.0030737 | 0.00077033
19 | 0.99745 | -0.017856 | 0.0099943 | 0.0025048
20 | 0.99785 | -0.015063 | 0 | 0
21 | 0.99865 | -0.0094857 | 0.0034856 | 0.00087358
22 | 0.99875 | -0.0087259 | 0.0013629 | 0.00034157
23 | 0.99721 | -0.019548 | 0.0016777 | 0.00042047
24 | 0.99713 | -0.020117 | 0.0015717 | 0.00039391
25 | 0.99513 | -0.034197 | 0.0015554 | 0.00038982
26 | 0.99542 | -0.032127 | 0.003344 | 0.00083809
27 | 0.99482 | -0.036342 | 0.0029992 | 0.00075167
28 | 0.99466 | -0.03748 | 0.0019164 | 0.0004803
29 | 0.99462 | -0.037745 | 0.00095287 | 0.00023881
30 | 0.99537 | -0.032445 | 0.00087476 | 0.00021924
31 | 0.99533 | -0.032756 | 0.00086723 | 0.00021735
32 | 0.99532 | -0.032828 | 0.00066911 | 0.0001677
33 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0010037 | -0.00025155 | 0.0010038 | 0.00025057 | 1.1007e-07 | -9.8155e-07 | 0.0014986 | 0.0014982 | 0.0014986 | 0.99663 | -0.02362 | 0.99674 | -0.022824 | 0.55503
1 | -0.0028401 | -0.00071078 | 0.0028402 | 0.0007107 | 1.0495e-07 | -8.1605e-08 | 0.0042395 | 0.0042395 | 0.0042395 | 0.99674 | -0.022824 | 0.99678 | -0.022557 | 1.5702
2 | -0.00945 | -0.0023673 | 0.0094511 | 0.0023676 | 1.093e-06 | 3.0564e-07 | 0.014107 | 0.014107 | 0.014107 | 0.99678 | -0.022557 | 0.9969 | -0.02172 | 5.2248
3 | 0.010071 | 0.0025232 | -0.010069 | -0.0025225 | 2.2749e-06 | 6.6477e-07 | 0.015034 | 0.015034 | 0.015034 | 0.99676 | -0.022683 | 0.99653 | -0.024316 | 5.5682
4 | -0.018941 | -0.0047462 | 0.018956 | 0.0047518 | 1.5708e-05 | 5.6308e-06 | 0.028275 | 0.028275 | 0.028275 | 0.99676 | -0.022683 | 0.99762 | -0.016695 | 10.4723
5 | 0.0038907 | 0.00097421 | -0.0038903 | -0.0009743 | 3.999e-07 | -9.3566e-08 | 0.0058093 | 0.0058094 | 0.0058094 | 0.99653 | -0.024316 | 0.99643 | -0.025059 | 2.1516
6 | -0.020847 | -0.0052258 | 0.020863 | 0.0052314 | 1.5637e-05 | 5.6755e-06 | 0.031096 | 0.031096 | 0.031096 | 0.99762 | -0.016695 | 0.99839 | -0.011282 | 11.517
7 | 0.0014648 | 0.0003664 | -0.0014646 | -0.00036707 | 1.6781e-07 | -6.6753e-07 | 0.0021872 | 0.0021875 | 0.0021875 | 0.99643 | -0.025059 | 0.99631 | -0.025888 | 0.81018
8 | 0.0065258 | 0.001634 | -0.006523 | -0.0016335 | 2.8446e-06 | 4.6414e-07 | 0.0097257 | 0.0097259 | 0.0097259 | 0.99839 | -0.011282 | 0.99794 | -0.014437 | 3.6022
9 | -0.029957 | -0.007509 | 0.029993 | 0.0075223 | 3.5649e-05 | 1.3336e-05 | 0.044649 | 0.044649 | 0.044649 | 0.99839 | -0.011282 | 0.99961 | -0.0026989 | 16.5365
10 | 0.006523 | 0.0016335 | -0.0065199 | -0.001633 | 3.0838e-06 | 5.0384e-07 | 0.0097259 | 0.0097261 | 0.0097261 | 0.99794 | -0.014437 | 0.99745 | -0.017858 | 3.6023
11 | -0.033308 | -0.0083534 | 0.033321 | 0.0083581 | 1.2466e-05 | 4.6881e-06 | 0.049585 | 0.049585 | 0.049585 | 0.99961 | -0.0026989 | 1 | 0 | 18.3647
12 | 0.015667 | 0.0039264 | -0.015648 | -0.00392 | 1.8562e-05 | 6.4309e-06 | 0.023385 | 0.023385 | 0.023385 | 0.9969 | -0.02172 | 0.99568 | -0.030288 | 8.6611
13 | -0.026539 | -0.0066503 | 0.026619 | 0.00668 | 8.0011e-05 | 2.9705e-05 | 0.039613 | 0.039613 | 0.039613 | 0.9969 | -0.02172 | 1 | 0 | 14.6715
14 | 0.0090077 | 0.0022565 | -0.0090053 | -0.0022558 | 2.4527e-06 | 6.613e-07 | 0.013461 | 0.013462 | 0.013462 | 0.99568 | -0.030288 | 0.9954 | -0.032257 | 4.9858
15 | 0.0066403 | 0.0016635 | -0.006639 | -0.0016633 | 1.3243e-06 | 2.291e-07 | 0.0099235 | 0.0099236 | 0.0099236 | 0.99568 | -0.030288 | 0.99548 | -0.03173 | 3.6754
16 | 0.019367 | 0.0048566 | -0.019355 | -0.0048522 | 1.2036e-05 | 4.3249e-06 | 0.02882 | 0.02882 | 0.02882 | 1 | 0 | 0.99936 | -0.0044869 | 10.674
17 | 0.0074281 | 0.0018606 | -0.0074261 | -0.0018601 | 1.9928e-06 | 4.2986e-07 | 0.011104 | 0.011104 | 0.011104 | 0.9954 | -0.032257 | 0.99513 | -0.034197 | 4.1126
18 | 0.0057556 | 0.0014419 | -0.0057553 | -0.0014419 | 3.1646e-07 | 3.2638e-08 | 0.0086031 | 0.0086032 | 0.0086032 | 0.99548 | -0.03173 | 0.99542 | -0.032127 | 3.1864
19 | 0.017938 | 0.0044971 | -0.017938 | -0.004497 | 3.1457e-07 | 1.1173e-07 | 0.02671 | 0.02671 | 0.02671 | 0.99936 | -0.0044869 | 0.99934 | -0.0046135 | 9.8926
20 | 0.0032503 | 0.00081357 | -0.0032495 | -0.00081396 | 7.5924e-07 | -3.8337e-07 | 0.0048485 | 0.0048487 | 0.0048487 | 0.99745 | -0.017858 | 0.99721 | -0.019548 | 1.7958
21 | 0.014864 | 0.0037267 | -0.014856 | -0.0037238 | 8.4645e-06 | 2.893e-06 | 0.022133 | 0.022133 | 0.022133 | 0.99934 | -0.0046135 | 0.99875 | -0.0087259 | 8.1976
22 | -0.0099943 | -0.0025048 | 0.0099981 | 0.0025059 | 3.8651e-06 | 1.1227e-06 | 0.01491 | 0.01491 | 0.01491 | 0.99745 | -0.017856 | 0.99785 | -0.015063 | 5.5221
23 | -0.0099981 | -0.0025059 | 0.010006 | 0.0025082 | 7.7243e-06 | 2.2429e-06 | 0.01491 | 0.014909 | 0.01491 | 0.99785 | -0.015063 | 0.99865 | -0.0094857 | 5.522
24 | -0.013491 | -0.0033817 | 0.013493 | 0.0033822 | 1.4197e-06 | 4.7236e-07 | 0.020103 | 0.020103 | 0.020103 | 0.99865 | -0.0094857 | 0.99875 | -0.0087259 | 7.4455
25 | 0.0015718 | 0.00039348 | -0.0015717 | -0.00039391 | 1.2359e-07 | -4.2218e-07 | 0.0023453 | 0.0023454 | 0.0023454 | 0.99721 | -0.019548 | 0.99713 | -0.020117 | 0.86869
26 | 0.0058707 | 0.0014703 | -0.005869 | -0.0014701 | 1.7406e-06 | 1.9931e-07 | 0.0087781 | 0.0087783 | 0.0087783 | 0.99513 | -0.034197 | 0.99482 | -0.036342 | 3.2512
27 | 0.0024113 | 0.00060378 | -0.0024112 | -0.00060391 | 1.058e-07 | -1.2895e-07 | 0.0036043 | 0.0036044 | 0.0036044 | 0.99542 | -0.032127 | 0.99537 | -0.032445 | 1.335
28 | 0.0028698 | 0.00071843 | -0.0028693 | -0.00071877 | 4.5138e-07 | -3.3608e-07 | 0.0042922 | 0.0042924 | 0.0042924 | 0.99482 | -0.036342 | 0.99466 | -0.03748 | 1.5898
29 | 0.0009529 | 0.00023847 | -0.00095287 | -0.00023881 | 3.4941e-08 | -3.4422e-07 | 0.0014254 | 0.0014255 | 0.0014255 | 0.99466 | -0.03748 | 0.99462 | -0.037745 | 0.52798
30 | 0.0015364 | 0.00038467 | -0.0015363 | -0.00038491 | 6.6206e-08 | -2.3596e-07 | 0.0022967 | 0.0022968 | 0.0022968 | 0.99537 | -0.032445 | 0.99533 | -0.032756 | 0.85066
31 | 0.00066912 | 0.00016756 | -0.00066911 | -0.0001677 | 6.6748e-09 | -1.3637e-07 | 0.0010003 | 0.0010003 | 0.0010003 | 0.99533 | -0.032756 | 0.99532 | -0.032828 | 0.37049

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -4.4415e-16 | -7.6913e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.564e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.080107 | 0.019895

## res_load
| p_mw | q_mvar
0 | 0.0010037 | 0.00025155
1 | 0.0018362 | 0.00046021
2 | 0.0066099 | 0.0016566
3 | 0.0088697 | 0.002223
4 | 0.0061779 | 0.0015483
5 | 0.0018911 | 0.00047395
6 | 0.0024255 | 0.0006079
7 | 0.002568 | 0.00064359
8 | 0.0014646 | 0.00036707
9 | 0.003316 | 0.00083106
10 | 0.0014214 | 0.00035623
11 | 0.0015772 | 0.00039528
12 | 0.00088336 | 0.00022139
13 | 0.0014169 | 0.0003551
14 | 0.0032696 | 0.00081944
15 | 0.0030737 | 0.00077033
16 | 0.0099943 | 0.0025048
17 | 0.0034856 | 0.00087358
18 | 0.0013629 | 0.00034157
19 | 0.0016777 | 0.00042047
20 | 0.0015717 | 0.00039391
21 | 0.0015554 | 0.00038982
22 | 0.003344 | 0.00083809
23 | 0.0029992 | 0.00075167
24 | 0.0019164 | 0.0004803
25 | 0.00095287 | 0.00023881
26 | 0.00087476 | 0.00021924
27 | 0.00086723 | 0.00021735
28 | 0.00066911 | 0.0001677

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1