## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2337-4_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2337-4_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2337-4_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2337-4_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2337-4_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2337-4_0_3_node_29 | 0.4 | n |  | TRUE
6 | bus_LV_2337-4_0_3_node_69 | 0.4 | n |  | TRUE
7 | bus_LV_2337-4_0_3_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_2337-4_0_3_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_2337-4_0_3_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_2337-4_0_3_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_2337-4_0_3_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_2337-4_0_3_node_22 | 0.4 | n |  | TRUE
13 | bus_LV_2337-4_0_3_node_20 | 0.4 | n |  | TRUE
14 | bus_LV_2337-4_0_3_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_2337-4_0_3_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_2337-4_0_3_node_70 | 0.4 | n |  | TRUE
17 | bus_LV_2337-4_0_3_node_35 | 0.4 | n |  | TRUE
18 | bus_LV_2337-4_0_3_node_25 | 0.4 | n |  | TRUE
19 | bus_LV_2337-4_0_3_node_34 | 0.4 | n |  | TRUE
20 | bus_LV_2337-4_0_3_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_2337-4_0_3_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_2337-4_0_3_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_2337-4_0_3_node_28 | 0.4 | n |  | TRUE
24 | bus_LV_2337-4_0_3_node_27 | 0.4 | n |  | TRUE
25 | bus_LV_2337-4_0_3_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_2337-4_0_3_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_2337-4_0_3_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_2337-4_0_3_node_68 | 0.4 | n |  | TRUE
29 | bus_LV_2337-4_0_3_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_2337-4_0_3_node_67 | 0.4 | n |  | TRUE
31 | bus_LV_2337-4_0_3_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_2337-4_0_3_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_2337-4_0_3_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_2337-4_0_3_node_30 | 0.4 | n |  | TRUE
35 | bus_LV_2337-4_0_3_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_2337-4_0_3_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_2337-4_0_3_node_47 | 0.4 | n |  | TRUE
38 | bus_LV_2337-4_0_3_node_50 | 0.4 | n |  | TRUE
39 | bus_LV_2337-4_0_3_node_46 | 0.4 | n |  | TRUE
40 | bus_LV_2337-4_0_3_node_51 | 0.4 | n |  | TRUE
41 | bus_LV_2337-4_0_3_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_2337-4_0_3_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_2337-4_0_3_node_33 | 0.4 | n |  | TRUE
44 | bus_LV_2337-4_0_3_node_66 | 0.4 | n |  | TRUE
45 | bus_LV_2337-4_0_3_node_55 | 0.4 | n |  | TRUE
46 | bus_LV_2337-4_0_3_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_2337-4_0_3_node_37 | 0.4 | n |  | TRUE
48 | bus_LV_2337-4_0_3_node_38 | 0.4 | n |  | TRUE
49 | bus_LV_2337-4_0_3_node_39 | 0.4 | n |  | TRUE
50 | bus_LV_2337-4_0_3_node_40 | 0.4 | n |  | TRUE
51 | bus_LV_2337-4_0_3_node_41 | 0.4 | n |  | TRUE
52 | bus_LV_2337-4_0_3_node_49 | 0.4 | n |  | TRUE
53 | bus_LV_2337-4_0_3_node_48 | 0.4 | n |  | TRUE
54 | bus_LV_2337-4_0_3_node_42 | 0.4 | n |  | TRUE
55 | bus_LV_2337-4_0_3_node_43 | 0.4 | n |  | TRUE
56 | bus_LV_2337-4_0_3_node_44 | 0.4 | n |  | TRUE
57 | bus_LV_2337-4_0_3_node_45 | 0.4 | n |  | TRUE
58 | bus_LV_2337-4_0_3_node_52 | 0.4 | n |  | TRUE
59 | bus_LV_2337-4_0_3_node_53 | 0.4 | n |  | TRUE
60 | bus_LV_2337-4_0_3_node_54 | 0.4 | n |  | TRUE
61 | bus_LV_2337-4_0_3_node_56 | 0.4 | n |  | TRUE
62 | bus_LV_2337-4_0_3_node_57 | 0.4 | n |  | TRUE
63 | bus_LV_2337-4_0_3_node_58 | 0.4 | n |  | TRUE
64 | bus_LV_2337-4_0_3_node_62 | 0.4 | n |  | TRUE
65 | bus_LV_2337-4_0_3_node_64 | 0.4 | n |  | TRUE
66 | bus_LV_2337-4_0_3_node_60 | 0.4 | n |  | TRUE
67 | bus_LV_2337-4_0_3_node_63 | 0.4 | n |  | TRUE
68 | bus_LV_2337-4_0_3_node_59 | 0.4 | n |  | TRUE
69 | bus_LV_2337-4_0_3_node_61 | 0.4 | n |  | TRUE
70 | bus_LV_2337-4_0_3_node_65 | 0.4 | n |  | TRUE
71 | bus_MV_366_0_node_231 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2337-4_0_3_load_0 | 0 | 0.00090421 | 0.00022662 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2337-4_0_3_load_1 | 1 | 0.0017135 | 0.00042945 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2337-4_0_3_load_2 | 2 | 0.0010243 | 0.00025672 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2337-4_0_3_load_3 | 3 | 0.0013929 | 0.00034911 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2337-4_0_3_load_4 | 4 | 0.0009337 | 0.00023401 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2337-4_0_3_load_29 | 5 | 0.0040862 | 0.0010241 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2337-4_0_3_load_69 | 6 | 0.0021733 | 0.00054469 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2337-4_0_3_load_5 | 8 | 0.0018037 | 0.00045206 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2337-4_0_3_load_6 | 9 | 0.0011508 | 0.00028842 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2337-4_0_3_load_7 | 10 | 0.0012948 | 0.0003245 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2337-4_0_3_load_8 | 11 | 0.0011529 | 0.00028894 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2337-4_0_3_load_22 | 12 | 0.0011002 | 0.00027574 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2337-4_0_3_load_20 | 13 | 0.00078259 | 0.00019614 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2337-4_0_3_load_10 | 14 | 0.0075518 | 0.0018927 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2337-4_0_3_load_11 | 15 | 0.0007727 | 0.00019366 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2337-4_0_3_load_70 | 16 | 0.01098 | 0.0027518 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2337-4_0_3_load_35 | 17 | 0.00051817 | 0.00012987 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2337-4_0_3_load_25 | 18 | 0.00096266 | 0.00024126 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2337-4_0_3_load_34 | 19 | 0.0025773 | 0.00064593 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2337-4_0_3_load_12 | 20 | 0.001789 | 0.00044837 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2337-4_0_3_load_13 | 21 | 0.003898 | 0.00097694 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2337-4_0_3_load_14 | 22 | 0.00046098 | 0.00011553 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2337-4_0_3_load_28 | 23 | 0.0033312 | 0.00083487 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2337-4_0_3_load_27 | 24 | 0.00072738 | 0.0001823 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2337-4_0_3_load_15 | 25 | 0.0019973 | 0.00050058 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2337-4_0_3_load_68 | 28 | 0.0072617 | 0.00182 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2337-4_0_3_load_67 | 30 | 0.0013386 | 0.00033548 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2337-4_0_3_load_19 | 31 | 0.0018542 | 0.0004647 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2337-4_0_3_load_23 | 32 | 0.0003762 | 9.4285e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2337-4_0_3_load_21 | 33 | 0.0027271 | 0.00068348 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2337-4_0_3_load_30 | 34 | 0.00098444 | 0.00024672 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2337-4_0_3_load_47 | 37 | 0.0014274 | 0.00035775 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2337-4_0_3_load_50 | 38 | 0.0011159 | 0.00027968 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2337-4_0_3_load_46 | 39 | 0.0013446 | 0.00033699 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2337-4_0_3_load_51 | 40 | 0.0013769 | 0.00034509 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2337-4_0_3_load_31 | 41 | 0.0019579 | 0.0004907 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2337-4_0_3_load_32 | 42 | 0.0012377 | 0.0003102 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2337-4_0_3_load_33 | 43 | 0.0017763 | 0.00044517 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2337-4_0_3_load_55 | 45 | 0.0013063 | 0.00032739 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2337-4_0_3_load_36 | 46 | 0.0035295 | 0.00088457 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2337-4_0_3_load_37 | 47 | 0.00071186 | 0.00017841 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2337-4_0_3_load_38 | 48 | 0.0072529 | 0.0018177 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2337-4_0_3_load_39 | 49 | 0.0090054 | 0.002257 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2337-4_0_3_load_40 | 50 | 0.001855 | 0.00046492 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2337-4_0_3_load_41 | 51 | 0.0019041 | 0.00047722 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2337-4_0_3_load_49 | 52 | 0.0018483 | 0.00046323 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2337-4_0_3_load_48 | 53 | 0.001924 | 0.0004822 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2337-4_0_3_load_42 | 54 | 0.0013162 | 0.00032987 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2337-4_0_3_load_43 | 55 | 0.0014676 | 0.00036781 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2337-4_0_3_load_45 | 57 | 0.0016148 | 0.0004047 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2337-4_0_3_load_52 | 58 | 0.0026944 | 0.00067527 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2337-4_0_3_load_54 | 60 | 0.00071072 | 0.00017812 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2337-4_0_3_load_56 | 61 | 0.0022038 | 0.00055233 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2337-4_0_3_load_57 | 62 | 0.0019055 | 0.00047756 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2337-4_0_3_load_58 | 63 | 0.0026397 | 0.00066157 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2337-4_0_3_load_64 | 65 | 0.0027139 | 0.00068018 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2337-4_0_3_load_60 | 66 | 0.0026819 | 0.00067214 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2337-4_0_3_load_63 | 67 | 0.0012767 | 0.00031997 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2337-4_0_3_load_59 | 68 | 0.0020778 | 0.00052074 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2337-4_0_3_load_61 | 69 | 0.0027359 | 0.00068568 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2337-4_0_3_load_65 | 70 | 0.0029211 | 0.00073209 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 35 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2337-4_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.026037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2337-4_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.010984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2337-4_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.02974 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2337-4_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.01959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2337-4_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.037777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2337-4_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.14961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2337-4_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.029026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2337-4_0_3_line_7 | NAYY 4x150 SE | 7 | 10 | 0.022798 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2337-4_0_3_line_8 | NAYY 4x150 SE | 8 | 9 | 0.034637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2337-4_0_3_line_9 | NAYY 4x150 SE | 8 | 10 | 0.024516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2337-4_0_3_line_10 | NAYY 4x150 SE | 9 | 11 | 0.023619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2337-4_0_3_line_11 | NAYY 4x150 SE | 11 | 12 | 0.026349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2337-4_0_3_line_12 | NAYY 4x150 SE | 12 | 13 | 0.035655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2337-4_0_3_line_13 | NAYY 4x150 SE | 13 | 33 | 0.03881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2337-4_0_3_line_14 | NAYY 4x150 SE | 13 | 34 | 0.067115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2337-4_0_3_line_15 | NAYY 4x150 SE | 14 | 15 | 0.015924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2337-4_0_3_line_16 | NAYY 4x150 SE | 14 | 16 | 0.37732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2337-4_0_3_line_17 | NAYY 4x150 SE | 15 | 17 | 0.12069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2337-4_0_3_line_18 | NAYY 4x150 SE | 16 | 20 | 0.072284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2337-4_0_3_line_19 | NAYY 4x150 SE | 17 | 18 | 0.011075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2337-4_0_3_line_20 | NAYY 4x150 SE | 17 | 19 | 0.033164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2337-4_0_3_line_21 | NAYY 4x150 SE | 18 | 35 | 0.023158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2337-4_0_3_line_22 | NAYY 4x150 SE | 20 | 21 | 0.015641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2337-4_0_3_line_23 | NAYY 4x150 SE | 21 | 22 | 0.018481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2337-4_0_3_line_24 | NAYY 4x150 SE | 22 | 23 | 0.031918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2337-4_0_3_line_25 | NAYY 4x150 SE | 23 | 24 | 0.035631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2337-4_0_3_line_26 | NAYY 4x150 SE | 25 | 26 | 0.01196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2337-4_0_3_line_27 | NAYY 4x150 SE | 25 | 27 | 0.078742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2337-4_0_3_line_28 | NAYY 4x150 SE | 26 | 28 | 0.10518 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
29 | LV_2337-4_0_3_line_29 | NAYY 4x150 SE | 27 | 29 | 0.010424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2337-4_0_3_line_30 | NAYY 4x150 SE | 28 | 30 | 0.12397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
31 | LV_2337-4_0_3_line_31 | NAYY 4x150 SE | 29 | 31 | 0.028734 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2337-4_0_3_line_32 | NAYY 4x150 SE | 30 | 44 | 0.026054 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
33 | LV_2337-4_0_3_line_33 | NAYY 4x150 SE | 31 | 32 | 0.016725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2337-4_0_3_line_34 | NAYY 4x150 SE | 32 | 33 | 0.010522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2337-4_0_3_line_35 | NAYY 4x150 SE | 35 | 36 | 0.042676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
36 | LV_2337-4_0_3_line_36 | NAYY 4x150 SE | 36 | 37 | 0.032323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2337-4_0_3_line_37 | NAYY 4x150 SE | 36 | 38 | 0.038905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
38 | LV_2337-4_0_3_line_38 | NAYY 4x150 SE | 37 | 39 | 0.0048996 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2337-4_0_3_line_39 | NAYY 4x150 SE | 38 | 40 | 0.030711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
40 | LV_2337-4_0_3_line_40 | NAYY 4x150 SE | 39 | 56 | 0.01418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2337-4_0_3_line_41 | NAYY 4x150 SE | 40 | 58 | 0.025701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
42 | LV_2337-4_0_3_line_42 | NAYY 4x150 SE | 41 | 42 | 0.0038915 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2337-4_0_3_line_43 | NAYY 4x150 SE | 42 | 43 | 0.021777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2337-4_0_3_line_44 | NAYY 4x150 SE | 43 | 44 | 0.019065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2337-4_0_3_line_45 | NAYY 4x150 SE | 44 | 45 | 0.031774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
46 | LV_2337-4_0_3_line_46 | NAYY 4x150 SE | 45 | 59 | 0.015713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
47 | LV_2337-4_0_3_line_47 | NAYY 4x150 SE | 46 | 47 | 0.020149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_2337-4_0_3_line_48 | NAYY 4x150 SE | 46 | 48 | 0.00065158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_2337-4_0_3_line_49 | NAYY 4x150 SE | 47 | 49 | 0.0073793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_2337-4_0_3_line_50 | NAYY 4x150 SE | 48 | 50 | 0.026878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_2337-4_0_3_line_51 | NAYY 4x150 SE | 49 | 51 | 0.00057615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_2337-4_0_3_line_52 | NAYY 4x150 SE | 51 | 52 | 0.028072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_2337-4_0_3_line_53 | NAYY 4x150 SE | 52 | 53 | 0.014011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_2337-4_0_3_line_54 | NAYY 4x150 SE | 53 | 57 | 0.018348 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_2337-4_0_3_line_55 | NAYY 4x150 SE | 54 | 55 | 0.01885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_2337-4_0_3_line_56 | NAYY 4x150 SE | 54 | 56 | 0.0073751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_2337-4_0_3_line_57 | NAYY 4x150 SE | 55 | 57 | 0.016426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_2337-4_0_3_line_58 | NAYY 4x150 SE | 58 | 59 | 0.04615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
59 | LV_2337-4_0_3_line_59 | NAYY 4x150 SE | 59 | 60 | 0.01772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_2337-4_0_3_line_60 | NAYY 4x150 SE | 60 | 61 | 0.022867 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_2337-4_0_3_line_61 | NAYY 4x150 SE | 61 | 62 | 0.022967 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_2337-4_0_3_line_62 | NAYY 4x150 SE | 61 | 63 | 0.028485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_2337-4_0_3_line_63 | NAYY 4x150 SE | 62 | 64 | 0.027741 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_2337-4_0_3_line_64 | NAYY 4x150 SE | 63 | 65 | 0.0031259 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_2337-4_0_3_line_65 | NAYY 4x150 SE | 64 | 66 | 0.023839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_2337-4_0_3_line_66 | NAYY 4x150 SE | 65 | 67 | 0.030934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_2337-4_0_3_line_67 | NAYY 4x150 SE | 66 | 68 | 0.0024233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_2337-4_0_3_line_68 | NAYY 4x150 SE | 67 | 70 | 0.0063454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_2337-4_0_3_line_69 | NAYY 4x150 SE | 68 | 69 | 0.013162 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2337-4_0_3_trafo_24 | 0.25 MVA 20/0.4 kV | 71 | 35 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2557299.8788 | 1162163.8896 | 2557297.5798 | 1162149.9826 | 2557294.2078 | 1162138.5275
1 | 2557299.8788 | 1162163.8896 | 2557301.6703 | 1162174.7263
2 | 2557280.3544 | 1162112.681 | 2557290.8591 | 1162127.1519 | 2557294.2078 | 1162138.5275
3 | 2557304.8653 | 1162194.0537 | 2557301.6703 | 1162174.7263
4 | 2557280.3544 | 1162112.681 | 2557276.994 | 1162108.0518 | 2557263.8144 | 1162099.1522 | 2557248.0653 | 1162102.744 | 2557248.0653 | 1162102.744
5 | 2557280.3544 | 1162112.681 | 2557329.9582 | 1161971.5373
6 | 2557221.2768 | 1162113.9186 | 2557248.0653 | 1162102.744
7 | 2557221.2768 | 1162113.9186 | 2557229.456 | 1162135.1984
8 | 2557237.7182 | 1162158.2791 | 2557249.3083 | 1162190.92
9 | 2557237.7182 | 1162158.2791 | 2557230.332 | 1162137.4774 | 2557229.456 | 1162135.1984
10 | 2557249.3083 | 1162190.92 | 2557257.2114 | 1162213.1773
11 | 2557266.028 | 1162238.0071 | 2557257.2114 | 1162213.1773
12 | 2557266.028 | 1162238.0071 | 2557273.8088 | 1162259.9201 | 2557279.0132 | 1162271.1768
13 | 2557299.6802 | 1162303.3797 | 2557288.7561 | 1162292.2416 | 2557283.076 | 1162279.9645 | 2557279.0132 | 1162271.1768
14 | 2557279.0132 | 1162271.1768 | 2557343.475 | 1162252.4929
15 | 2556840.0918 | 1162378.8231 | 2556853.0756 | 1162388.0425
16 | 2556840.0918 | 1162378.8231 | 2556551.2482 | 1162136.0451
17 | 2556934.6669 | 1162476.9777 | 2556853.0756 | 1162388.0425
18 | 2556596.0779 | 1162079.3413 | 2556551.2482 | 1162136.0451
19 | 2556934.6669 | 1162476.9777 | 2556938.0222 | 1162474.4103 | 2556943.5597 | 1162470.3779
20 | 2556908.3281 | 1162497.1307 | 2556934.6669 | 1162476.9777
21 | 2556962.6671 | 1162457.3135 | 2556953.3938 | 1162463.2164 | 2556943.5597 | 1162470.3779
22 | 2556582.9916 | 1162070.8147 | 2556589.9001 | 1162075.8118 | 2556596.0779 | 1162079.3413
23 | 2556568.9877 | 1162058.7597 | 2556571.2128 | 1162060.8392 | 2556582.9916 | 1162070.8147 | 2556582.9916 | 1162070.8147
24 | 2556568.9877 | 1162058.7597 | 2556560.2826 | 1162050.6241 | 2556547.596 | 1162036.9756 | 2556546.763 | 1162035.8892
25 | 2556535.0957 | 1162002.9039 | 2556536.5 | 1162014.4665 | 2556538.0244 | 1162019.7137 | 2556540.3372 | 1162025.9224 | 2556543.3575 | 1162031.4478 | 2556546.763 | 1162035.8892
26 | 2557325.7557 | 1162438.1541 | 2557330.1367 | 1162427.0252
27 | 2557346.7634 | 1162350.0589 | 2557330.1367 | 1162427.0252
28 | 2557325.7557 | 1162438.1541 | 2557234.5666 | 1162490.5752
29 | 2557338.7483 | 1162343.368 | 2557346.7634 | 1162350.0589
30 | 2557165.828 | 1162593.742 | 2557234.5666 | 1162490.5752
31 | 2557338.7483 | 1162343.368 | 2557332.3396 | 1162335.2538 | 2557319.0458 | 1162322.5406
32 | 2557139.8462 | 1162592.1262 | 2557164.5493 | 1162593.8951 | 2557165.828 | 1162593.742
33 | 2557307.0476 | 1162310.8913 | 2557309.816 | 1162313.714 | 2557319.0458 | 1162322.5406
34 | 2557307.0476 | 1162310.8913 | 2557299.6802 | 1162303.3797
35 | 2556999.0715 | 1162479.7419 | 2556967.7749 | 1162460.245 | 2556962.6671 | 1162457.3135
36 | 2556999.0715 | 1162479.7419 | 2556974.6798 | 1162500.9513
37 | 2556999.0715 | 1162479.7419 | 2557024.4227 | 1162509.253
38 | 2556970.9824 | 1162504.1662 | 2556974.6798 | 1162500.9513
39 | 2557024.4227 | 1162509.253 | 2557044.4344 | 1162532.5485
40 | 2556960.2816 | 1162513.4709 | 2556970.9824 | 1162504.1662
41 | 2557061.1814 | 1162552.0435 | 2557044.4344 | 1162532.5485
42 | 2557147.9391 | 1162636.1208 | 2557147.2351 | 1162632.2936
43 | 2557147.2351 | 1162632.2936 | 2557143.2953 | 1162610.8763
44 | 2557139.8462 | 1162592.1262 | 2557143.2953 | 1162610.8763
45 | 2557139.8462 | 1162592.1262 | 2557108.153 | 1162589.8627
46 | 2557093.6916 | 1162583.7185 | 2557108.153 | 1162589.8627
47 | 2556990.0392 | 1162615.4853 | 2556977.0339 | 1162600.0954
48 | 2556990.0392 | 1162615.4853 | 2556990.4598 | 1162615.983
49 | 2556977.0339 | 1162600.0954 | 2556972.2709 | 1162594.4591
50 | 2556995.6111 | 1162637.0707 | 2557001.2265 | 1162630.6827 | 2556999.613 | 1162626.8145 | 2556990.4598 | 1162615.983
51 | 2556971.899 | 1162594.019 | 2556972.2709 | 1162594.4591
52 | 2556971.899 | 1162594.019 | 2556953.78 | 1162572.5778
53 | 2556944.7368 | 1162561.8766 | 2556953.78 | 1162572.5778
54 | 2556944.7368 | 1162561.8766 | 2556937.6943 | 1162553.5427 | 2556935.8805 | 1162546.3298 | 2556935.8805 | 1162546.3298
55 | 2556954.7141 | 1162518.3078 | 2556942.8243 | 1162528.6374 | 2556941.0692 | 1162531.1923
56 | 2556960.2816 | 1162513.4709 | 2556954.7141 | 1162518.3078
57 | 2556941.0692 | 1162531.1923 | 2556937.2216 | 1162536.793 | 2556935.8805 | 1162546.3298
58 | 2557093.6916 | 1162583.7185 | 2557085.339 | 1162580.1652 | 2557061.1814 | 1162552.0435
59 | 2557093.6916 | 1162583.7185 | 2557080.2451 | 1162595.2596
60 | 2557062.8933 | 1162610.1526 | 2557080.2451 | 1162595.2596
61 | 2557062.8933 | 1162610.1526 | 2557045.4613 | 1162625.1057
62 | 2557062.8933 | 1162610.1526 | 2557076.0029 | 1162635.4415
63 | 2557024.4052 | 1162643.1676 | 2557045.4613 | 1162625.1057
64 | 2557076.0029 | 1162635.4415 | 2557077.4416 | 1162638.2167
65 | 2557024.4052 | 1162643.1676 | 2557034.736 | 1162664.6513
66 | 2557089.2379 | 1162666.7307 | 2557083.121 | 1162649.1726 | 2557077.4416 | 1162638.2167
67 | 2557035.7862 | 1162666.8352 | 2557034.736 | 1162664.6513
68 | 2557089.2379 | 1162666.7307 | 2557091.3255 | 1162672.7229
69 | 2557041.4902 | 1162678.697 | 2557035.7862 | 1162666.8352

## bus_geodata
| x | y | coords
0 | 2557299.8788 | 1162163.8896
1 | 2557294.2078 | 1162138.5275
2 | 2557301.6703 | 1162174.7263
3 | 2557280.3544 | 1162112.681
4 | 2557304.8653 | 1162194.0537
5 | 2557248.0653 | 1162102.744
6 | 2557329.9582 | 1161971.5373
7 | 2557221.2768 | 1162113.9186
8 | 2557237.7182 | 1162158.2791
9 | 2557249.3083 | 1162190.92
10 | 2557229.456 | 1162135.1984
11 | 2557257.2114 | 1162213.1773
12 | 2557266.028 | 1162238.0071
13 | 2557279.0132 | 1162271.1768
14 | 2556840.0918 | 1162378.8231
15 | 2556853.0756 | 1162388.0425
16 | 2556551.2482 | 1162136.0451
17 | 2556934.6669 | 1162476.9777
18 | 2556943.5597 | 1162470.3779
19 | 2556908.3281 | 1162497.1307
20 | 2556596.0779 | 1162079.3413
21 | 2556582.9916 | 1162070.8147
22 | 2556568.9877 | 1162058.7597
23 | 2556546.763 | 1162035.8892
24 | 2556535.0957 | 1162002.9039
25 | 2557330.1367 | 1162427.0252
26 | 2557325.7557 | 1162438.1541
27 | 2557346.7634 | 1162350.0589
28 | 2557234.5666 | 1162490.5752
29 | 2557338.7483 | 1162343.368
30 | 2557165.828 | 1162593.742
31 | 2557319.0458 | 1162322.5406
32 | 2557307.0476 | 1162310.8913
33 | 2557299.6802 | 1162303.3797
34 | 2557343.475 | 1162252.4929
35 | 2556962.6671 | 1162457.3135
36 | 2556999.0715 | 1162479.7419
37 | 2556974.6798 | 1162500.9513
38 | 2557024.4227 | 1162509.253
39 | 2556970.9824 | 1162504.1662
40 | 2557044.4344 | 1162532.5485
41 | 2557147.9391 | 1162636.1208
42 | 2557147.2351 | 1162632.2936
43 | 2557143.2953 | 1162610.8763
44 | 2557139.8462 | 1162592.1262
45 | 2557108.153 | 1162589.8627
46 | 2556990.0392 | 1162615.4853
47 | 2556977.0339 | 1162600.0954
48 | 2556990.4598 | 1162615.983
49 | 2556972.2709 | 1162594.4591
50 | 2556995.6111 | 1162637.0707
51 | 2556971.899 | 1162594.019
52 | 2556953.78 | 1162572.5778
53 | 2556944.7368 | 1162561.8766
54 | 2556954.7141 | 1162518.3078
55 | 2556941.0692 | 1162531.1923
56 | 2556960.2816 | 1162513.4709
57 | 2556935.8805 | 1162546.3298
58 | 2557061.1814 | 1162552.0435
59 | 2557093.6916 | 1162583.7185
60 | 2557080.2451 | 1162595.2596
61 | 2557062.8933 | 1162610.1526
62 | 2557045.4613 | 1162625.1057
63 | 2557076.0029 | 1162635.4415
64 | 2557024.4052 | 1162643.1676
65 | 2557077.4416 | 1162638.2167
66 | 2557034.736 | 1162664.6513
67 | 2557089.2379 | 1162666.7307
68 | 2557035.7862 | 1162666.8352
69 | 2557041.4902 | 1162678.697
70 | 2557091.3255 | 1162672.7229
71 | 2556999.0715 | 1162479.7419

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97034 | -0.2095 | 0.00090421 | 0.00022662
1 | 0.97045 | -0.2087 | 0.0017135 | 0.00042945
2 | 0.97031 | -0.20972 | 0.0010243 | 0.00025672
3 | 0.97065 | -0.20726 | 0.0013929 | 0.00034911
4 | 0.97028 | -0.20992 | 0.0009337 | 0.00023401
5 | 0.9711 | -0.20399 | 0.0040862 | 0.0010241
6 | 0.97017 | -0.21072 | 0.0021733 | 0.00054469
7 | 0.97163 | -0.20023 | 0 | 0
8 | 0.97252 | -0.19377 | 0.0018037 | 0.00045206
9 | 0.9733 | -0.18816 | 0.0011508 | 0.00028842
10 | 0.97203 | -0.19728 | 0.0012948 | 0.0003245
11 | 0.97387 | -0.18405 | 0.0011529 | 0.00028894
12 | 0.97455 | -0.17916 | 0.0011002 | 0.00027574
13 | 0.97553 | -0.17213 | 0.00078259 | 0.00019614
14 | 0.99253 | -0.05197 | 0.0075518 | 0.0018927
15 | 0.99319 | -0.047328 | 0.0007727 | 0.00019366
16 | 0.9809 | -0.13405 | 0.01098 | 0.0027518
17 | 0.99835 | -0.011406 | 0.00051817 | 0.00012987
18 | 0.99888 | -0.0077838 | 0.00096266 | 0.00024126
19 | 0.99823 | -0.012262 | 0.0025773 | 0.00064593
20 | 0.97983 | -0.14172 | 0.001789 | 0.00044837
21 | 0.97964 | -0.14309 | 0.003898 | 0.00097694
22 | 0.97952 | -0.14396 | 0.00046098 | 0.00011553
23 | 0.97933 | -0.14531 | 0.0033312 | 0.00083487
24 | 0.97929 | -0.14558 | 0.00072738 | 0.0001823
25 | 0.98203 | -0.12581 | 0.0019973 | 0.00050058
26 | 0.98251 | -0.12241 | 0 | 0
27 | 0.9791 | -0.14667 | 0 | 0
28 | 0.98463 | -0.10747 | 0.0072617 | 0.00182
29 | 0.97871 | -0.14944 | 0 | 0
30 | 0.98777 | -0.085325 | 0.0013386 | 0.00033548
31 | 0.97764 | -0.15708 | 0.0018542 | 0.0004647
32 | 0.97706 | -0.16122 | 0.0003762 | 9.4285e-05
33 | 0.9767 | -0.16378 | 0.0027271 | 0.00068348
34 | 0.97544 | -0.17283 | 0.00098444 | 0.00024672
35 | 1 | 0 | -0.14097 | -0.035361
36 | 0.99677 | -0.022388 | 0 | 0
37 | 0.99513 | -0.033842 | 0.0014274 | 0.00035775
38 | 0.99481 | -0.036006 | 0.0011159 | 0.00027968
39 | 0.9949 | -0.035511 | 0.0013446 | 0.00033699
40 | 0.99329 | -0.04662 | 0.0013769 | 0.00034509
41 | 0.98821 | -0.082267 | 0.0019579 | 0.0004907
42 | 0.98822 | -0.082189 | 0.0012377 | 0.0003102
43 | 0.98832 | -0.081478 | 0.0017763 | 0.00044517
44 | 0.98846 | -0.080509 | 0 | 0
45 | 0.98941 | -0.073837 | 0.0013063 | 0.00032739
46 | 0.98957 | -0.073029 | 0.0035295 | 0.00088457
47 | 0.98994 | -0.070434 | 0.00071186 | 0.00017841
48 | 0.98956 | -0.07309 | 0.0072529 | 0.0018177
49 | 0.99008 | -0.069431 | 0.0090054 | 0.002257
50 | 0.98949 | -0.073598 | 0.001855 | 0.00046492
51 | 0.9901 | -0.0693 | 0.0019041 | 0.00047722
52 | 0.99108 | -0.062371 | 0.0018483 | 0.00046323
53 | 0.9916 | -0.058656 | 0.001924 | 0.0004822
54 | 0.99389 | -0.04257 | 0.0013162 | 0.00032987
55 | 0.99305 | -0.048503 | 0.0014676 | 0.00036781
56 | 0.99423 | -0.040154 | 0 | 0
57 | 0.99234 | -0.053437 | 0.0016148 | 0.0004047
58 | 0.99204 | -0.055347 | 0.0026944 | 0.00067527
59 | 0.98989 | -0.070438 | 0 | 0
60 | 0.98933 | -0.07439 | 0.00071072 | 0.00017812
61 | 0.98863 | -0.079331 | 0.0022038 | 0.00055233
62 | 0.98832 | -0.081538 | 0.0019055 | 0.00047756
63 | 0.98824 | -0.082111 | 0.0026397 | 0.00066157
64 | 0.98802 | -0.083664 | 0 | 0
65 | 0.98821 | -0.082332 | 0.0027139 | 0.00068018
66 | 0.98777 | -0.085492 | 0.0026819 | 0.00067214
67 | 0.98802 | -0.08366 | 0.0012767 | 0.00031997
68 | 0.98775 | -0.085612 | 0.0020778 | 0.00052074
69 | 0.9877 | -0.08598 | 0.0027359 | 0.00068568
70 | 0.988 | -0.08385 | 0.0029211 | 0.00073209
71 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0028623 | -0.000717 | 0.0028626 | 0.0007168 | 3.1299e-07 | -2.0128e-07 | 0.0043892 | 0.0043891 | 0.0043892 | 0.97034 | -0.2095 | 0.97045 | -0.2087 | 1.6256
1 | 0.0019581 | 0.00049038 | -0.0019581 | -0.0004905 | 6.1793e-08 | -1.1191e-07 | 0.0030026 | 0.0030027 | 0.0030027 | 0.97034 | -0.2095 | 0.97031 | -0.20972 | 1.1121
2 | -0.0045761 | -0.0011462 | 0.0045771 | 0.0011462 | 9.136e-07 | -1.6144e-08 | 0.0070165 | 0.0070163 | 0.0070165 | 0.97045 | -0.2087 | 0.97065 | -0.20726 | 2.5987
3 | 0.00093372 | 0.00023377 | -0.0009337 | -0.00023401 | 2.5062e-08 | -2.3232e-07 | 0.0014318 | 0.0014319 | 0.0014319 | 0.97031 | -0.20972 | 0.97028 | -0.20992 | 0.53033
4 | -0.0081444 | -0.0020386 | 0.0081481 | 0.0020395 | 3.674e-06 | 9.4592e-07 | 0.012484 | 0.012484 | 0.012484 | 0.97065 | -0.20726 | 0.9711 | -0.20399 | 4.6239
5 | 0.0021744 | 0.00054324 | -0.0021733 | -0.00054469 | 1.0371e-06 | -1.4494e-06 | 0.0033327 | 0.0033334 | 0.0033334 | 0.97065 | -0.20726 | 0.97017 | -0.21072 | 1.2346
6 | -0.012234 | -0.0030636 | 0.012241 | 0.0030657 | 6.3644e-06 | 2.0885e-06 | 0.018745 | 0.018745 | 0.018745 | 0.9711 | -0.20399 | 0.97163 | -0.20023 | 6.9428
7 | -0.012241 | -0.0030657 | 0.012246 | 0.0030673 | 4.9987e-06 | 1.6401e-06 | 0.018745 | 0.018745 | 0.018745 | 0.97163 | -0.20023 | 0.97203 | -0.19728 | 6.9427
8 | -0.015351 | -0.0038461 | 0.015363 | 0.0038503 | 1.1923e-05 | 4.1556e-06 | 0.023487 | 0.023487 | 0.023487 | 0.97252 | -0.19377 | 0.9733 | -0.18816 | 8.6989
9 | 0.013547 | 0.0033941 | -0.01354 | -0.0033918 | 6.5722e-06 | 2.2237e-06 | 0.020727 | 0.020727 | 0.020727 | 0.97252 | -0.19377 | 0.97203 | -0.19728 | 7.6768
10 | -0.016513 | -0.0041387 | 0.016523 | 0.004142 | 9.3937e-06 | 3.3192e-06 | 0.025246 | 0.025246 | 0.025246 | 0.9733 | -0.18816 | 0.97387 | -0.18405 | 9.3505
11 | -0.017676 | -0.004431 | 0.017688 | 0.0044352 | 1.1993e-05 | 4.2845e-06 | 0.027008 | 0.027008 | 0.027008 | 0.97387 | -0.18405 | 0.97455 | -0.17916 | 10.0029
12 | -0.018788 | -0.004711 | 0.018806 | 0.0047176 | 1.831e-05 | 6.5976e-06 | 0.028687 | 0.028687 | 0.028687 | 0.97455 | -0.17916 | 0.97553 | -0.17213 | 10.625
13 | -0.020573 | -0.0051596 | 0.020597 | 0.0051683 | 2.3851e-05 | 8.6882e-06 | 0.031382 | 0.031382 | 0.031382 | 0.97553 | -0.17213 | 0.9767 | -0.16378 | 11.6231
14 | 0.00098454 | 0.00024592 | -0.00098444 | -0.00024672 | 9.4431e-08 | -8.0154e-07 | 0.0015015 | 0.0015018 | 0.0015018 | 0.97553 | -0.17213 | 0.97544 | -0.17283 | 0.5562
15 | -0.028996 | -0.0072944 | 0.029014 | 0.0073014 | 1.8786e-05 | 7.0193e-06 | 0.04348 | 0.04348 | 0.04348 | 0.99253 | -0.05197 | 0.99319 | -0.047328 | 16.1038
16 | 0.021444 | 0.0054018 | -0.0212 | -0.0053129 | 0.00024351 | 8.8837e-05 | 0.032159 | 0.03216 | 0.03216 | 0.99253 | -0.05197 | 0.9809 | -0.13405 | 11.9112
17 | -0.029787 | -0.0074951 | 0.029937 | 0.0075512 | 0.00015006 | 5.6145e-05 | 0.044638 | 0.044637 | 0.044638 | 0.99319 | -0.047328 | 0.99835 | -0.011406 | 16.5326
18 | 0.01022 | 0.0025611 | -0.010209 | -0.0025578 | 1.0842e-05 | 3.2587e-06 | 0.015504 | 0.015504 | 0.015504 | 0.9809 | -0.13405 | 0.97983 | -0.14172 | 5.7423
19 | -0.033033 | -0.0083267 | 0.03305 | 0.008333 | 1.6763e-05 | 6.3026e-06 | 0.049251 | 0.049251 | 0.049251 | 0.99835 | -0.011406 | 0.99888 | -0.0077838 | 18.2412
20 | 0.0025776 | 0.00064561 | -0.0025773 | -0.00064593 | 3.0544e-07 | -3.1613e-07 | 0.0038417 | 0.0038418 | 0.0038418 | 0.99835 | -0.011406 | 0.99823 | -0.012262 | 1.4229
21 | -0.034012 | -0.0085743 | 0.034049 | 0.0085883 | 3.7124e-05 | 1.3975e-05 | 0.050685 | 0.050685 | 0.050685 | 0.99888 | -0.0077838 | 1 | 0 | 18.7724
22 | 0.0084205 | 0.0021095 | -0.0084189 | -0.0021091 | 1.596e-06 | 4.1686e-07 | 0.012787 | 0.012787 | 0.012787 | 0.97983 | -0.14172 | 0.97964 | -0.14309 | 4.7361
23 | 0.0045208 | 0.0011321 | -0.0045203 | -0.0011321 | 5.4375e-07 | -2.3523e-08 | 0.0068666 | 0.0068667 | 0.0068667 | 0.97964 | -0.14309 | 0.97952 | -0.14396 | 2.5432
24 | 0.0040593 | 0.0010166 | -0.0040586 | -0.0010167 | 7.5734e-07 | -1.104e-07 | 0.0061664 | 0.0061665 | 0.0061665 | 0.97952 | -0.14396 | 0.97933 | -0.14531 | 2.2839
25 | 0.0007274 | 0.00018186 | -0.00072738 | -0.0001823 | 2.7156e-08 | -4.3787e-07 | 0.0011051 | 0.0011052 | 0.0011052 | 0.97933 | -0.14531 | 0.97929 | -0.14558 | 0.40935
26 | -0.027685 | -0.0069609 | 0.027699 | 0.0069658 | 1.3139e-05 | 4.9019e-06 | 0.041958 | 0.041958 | 0.041958 | 0.98203 | -0.12581 | 0.98251 | -0.12241 | 15.54
27 | 0.025688 | 0.0064603 | -0.025614 | -0.0064326 | 7.4473e-05 | 2.765e-05 | 0.038932 | 0.038932 | 0.038932 | 0.98203 | -0.12581 | 0.9791 | -0.14667 | 14.4192
28 | -0.027699 | -0.0069658 | 0.027756 | 0.0069853 | 5.7772e-05 | 1.955e-05 | 0.041958 | 0.041957 | 0.041958 | 0.98251 | -0.12241 | 0.98463 | -0.10747 | 7.77
29 | 0.025614 | 0.0064326 | -0.025604 | -0.006429 | 9.8589e-06 | 3.6609e-06 | 0.038932 | 0.038932 | 0.038932 | 0.9791 | -0.14667 | 0.97871 | -0.14944 | 14.4192
30 | -0.035018 | -0.0088053 | 0.035126 | 0.0088438 | 0.00010836 | 3.8515e-05 | 0.052931 | 0.05293 | 0.052931 | 0.98463 | -0.10747 | 0.98777 | -0.085325 | 9.8021
31 | 0.025604 | 0.006429 | -0.025577 | -0.0064189 | 2.7177e-05 | 1.0092e-05 | 0.038932 | 0.038932 | 0.038932 | 0.97871 | -0.14944 | 0.97764 | -0.15708 | 14.4193
32 | -0.036465 | -0.0091793 | 0.036489 | 0.009188 | 2.4542e-05 | 8.7718e-06 | 0.054947 | 0.054946 | 0.054947 | 0.98777 | -0.085325 | 0.98846 | -0.080509 | 10.1753
33 | 0.023722 | 0.0059542 | -0.023709 | -0.0059491 | 1.3608e-05 | 5.0243e-06 | 0.03611 | 0.03611 | 0.03611 | 0.97764 | -0.15708 | 0.97706 | -0.16122 | 13.3741
34 | 0.023333 | 0.0058549 | -0.023324 | -0.0058518 | 8.2914e-06 | 3.0573e-06 | 0.035537 | 0.035537 | 0.035537 | 0.97706 | -0.16122 | 0.9767 | -0.16378 | 13.1619
35 | 0.10612 | 0.026773 | -0.10578 | -0.026646 | 0.00033225 | 0.00012667 | 0.15796 | 0.15797 | 0.15797 | 1 | 0 | 0.99677 | -0.022388 | 29.2528
36 | 0.035408 | 0.008899 | -0.035352 | -0.0088778 | 5.6373e-05 | 2.1261e-05 | 0.052867 | 0.052867 | 0.052867 | 0.99677 | -0.022388 | 0.99513 | -0.033842 | 19.5805
37 | 0.070376 | 0.017747 | -0.070242 | -0.017696 | 0.00013407 | 5.0555e-05 | 0.1051 | 0.1051 | 0.1051 | 0.99677 | -0.022388 | 0.99481 | -0.036006 | 19.4626
38 | 0.033924 | 0.00852 | -0.033916 | -0.0085171 | 7.8692e-06 | 2.963e-06 | 0.050733 | 0.050733 | 0.050733 | 0.99513 | -0.033842 | 0.9949 | -0.035511 | 18.79
39 | 0.069126 | 0.017417 | -0.069023 | -0.017378 | 0.0001025 | 3.8627e-05 | 0.10343 | 0.10343 | 0.10343 | 0.99481 | -0.036006 | 0.99329 | -0.04662 | 19.1536
40 | 0.032572 | 0.0081801 | -0.032551 | -0.0081722 | 2.1005e-05 | 7.8948e-06 | 0.048722 | 0.048722 | 0.048722 | 0.9949 | -0.035511 | 0.99423 | -0.040154 | 18.0452
41 | 0.067646 | 0.017033 | -0.067564 | -0.017002 | 8.2392e-05 | 3.1025e-05 | 0.10137 | 0.10137 | 0.10137 | 0.99329 | -0.04662 | 0.99204 | -0.055347 | 18.7716
42 | -0.0019579 | -0.0004907 | 0.0019579 | 0.00049066 | 2.1106e-08 | -4.1739e-08 | 0.0029482 | 0.0029482 | 0.0029482 | 0.98821 | -0.082267 | 0.98822 | -0.082189 | 1.0919
43 | -0.0031956 | -0.00080085 | 0.0031959 | 0.0008007 | 3.1462e-07 | -1.5802e-07 | 0.0048118 | 0.0048117 | 0.0048118 | 0.98822 | -0.082189 | 0.98832 | -0.081478 | 1.7822
44 | -0.0049722 | -0.0012459 | 0.0049729 | 0.0012459 | 6.6668e-07 | 1.2074e-08 | 0.0074861 | 0.007486 | 0.0074861 | 0.98832 | -0.081478 | 0.98846 | -0.080509 | 2.7726
45 | -0.041462 | -0.010434 | 0.041501 | 0.010448 | 3.864e-05 | 1.4046e-05 | 0.062432 | 0.062432 | 0.062432 | 0.98846 | -0.080509 | 0.98941 | -0.073837 | 11.5615
46 | -0.042807 | -0.010775 | 0.042828 | 0.010783 | 2.0329e-05 | 7.4152e-06 | 0.064397 | 0.064396 | 0.064397 | 0.98941 | -0.073837 | 0.98989 | -0.070438 | 11.9253
47 | -0.012638 | -0.003167 | 0.012642 | 0.0031684 | 4.5403e-06 | 1.4873e-06 | 0.019003 | 0.019003 | 0.019003 | 0.98957 | -0.073029 | 0.98994 | -0.070434 | 7.0382
48 | 0.0091081 | 0.0022824 | -0.009108 | -0.0022824 | 7.6265e-08 | 2.0962e-08 | 0.013696 | 0.013696 | 0.013696 | 0.98957 | -0.073029 | 0.98956 | -0.07309 | 5.0725
49 | -0.013354 | -0.0033469 | 0.013356 | 0.0033475 | 1.8553e-06 | 6.1871e-07 | 0.020073 | 0.020073 | 0.020073 | 0.98994 | -0.070434 | 0.99008 | -0.069431 | 7.4344
50 | 0.0018552 | 0.00046462 | -0.001855 | -0.00046492 | 1.3051e-07 | -2.9507e-07 | 0.0027895 | 0.0027896 | 0.0027896 | 0.98956 | -0.07309 | 0.98949 | -0.073598 | 1.0332
51 | -0.022361 | -0.0056045 | 0.022362 | 0.0056046 | 4.0606e-07 | 1.4877e-07 | 0.033607 | 0.033607 | 0.033607 | 0.99008 | -0.069431 | 0.9901 | -0.0693 | 12.4472
52 | -0.024266 | -0.0060818 | 0.024289 | 0.0060904 | 2.3297e-05 | 8.5991e-06 | 0.036469 | 0.036469 | 0.036469 | 0.9901 | -0.0693 | 0.99108 | -0.062371 | 13.5071
53 | -0.026137 | -0.0065536 | 0.026151 | 0.0065586 | 1.3464e-05 | 4.998e-06 | 0.039244 | 0.039244 | 0.039244 | 0.99108 | -0.062371 | 0.9916 | -0.058656 | 14.5349
54 | -0.028075 | -0.0070408 | 0.028095 | 0.0070484 | 2.0323e-05 | 7.5798e-06 | 0.042131 | 0.042131 | 0.042131 | 0.9916 | -0.058656 | 0.99234 | -0.053437 | 15.6042
55 | 0.031224 | 0.0078382 | -0.031198 | -0.0078285 | 2.5709e-05 | 9.644e-06 | 0.046751 | 0.046752 | 0.046752 | 0.99389 | -0.04257 | 0.99305 | -0.048503 | 17.3154
56 | -0.03254 | -0.0081681 | 0.032551 | 0.0081722 | 1.0925e-05 | 4.1061e-06 | 0.048722 | 0.048722 | 0.048722 | 0.99389 | -0.04257 | 0.99423 | -0.040154 | 18.0452
57 | 0.02973 | 0.0074607 | -0.02971 | -0.0074531 | 2.0345e-05 | 7.6125e-06 | 0.044552 | 0.044553 | 0.044553 | 0.99305 | -0.048503 | 0.99234 | -0.053437 | 16.5009
58 | 0.064869 | 0.016327 | -0.064733 | -0.016275 | 0.00013639 | 5.1268e-05 | 0.097325 | 0.097326 | 0.097326 | 0.99204 | -0.055347 | 0.98989 | -0.070438 | 18.0233
59 | 0.021905 | 0.0054926 | -0.021893 | -0.0054882 | 1.199e-05 | 4.3839e-06 | 0.032929 | 0.032929 | 0.032929 | 0.98989 | -0.070438 | 0.98933 | -0.07439 | 12.1961
60 | 0.021183 | 0.0053101 | -0.021168 | -0.0053048 | 1.4484e-05 | 5.2774e-06 | 0.03186 | 0.031861 | 0.031861 | 0.98933 | -0.07439 | 0.98863 | -0.079331 | 11.8002
61 | 0.0094082 | 0.0023577 | -0.0094053 | -0.0023569 | 2.8737e-06 | 8.1086e-07 | 0.01416 | 0.014161 | 0.014161 | 0.98863 | -0.079331 | 0.98832 | -0.081538 | 5.2446
62 | 0.0095562 | 0.0023947 | -0.0095525 | -0.0023937 | 3.6771e-06 | 1.0492e-06 | 0.014383 | 0.014383 | 0.014383 | 0.98863 | -0.079331 | 0.98824 | -0.082111 | 5.3271
63 | 0.0074998 | 0.0018794 | -0.0074976 | -0.0018789 | 2.2072e-06 | 4.9351e-07 | 0.011292 | 0.011292 | 0.011292 | 0.98832 | -0.081538 | 0.98802 | -0.083664 | 4.1821
64 | 0.0069128 | 0.0017321 | -0.0069126 | -0.0017321 | 2.1132e-07 | 4.1228e-08 | 0.010409 | 0.010409 | 0.010409 | 0.98824 | -0.082111 | 0.98821 | -0.082332 | 3.855
65 | 0.0074976 | 0.0018789 | -0.0074957 | -0.0018784 | 1.8967e-06 | 4.2427e-07 | 0.011292 | 0.011292 | 0.011292 | 0.98802 | -0.083664 | 0.98777 | -0.085492 | 4.1822
66 | 0.0041986 | 0.0010519 | -0.0041979 | -0.001052 | 7.7151e-07 | -9.9507e-08 | 0.006322 | 0.0063222 | 0.0063222 | 0.98821 | -0.082332 | 0.98802 | -0.08366 | 2.3415
67 | 0.0048139 | 0.0012063 | -0.0048138 | -0.0012063 | 7.9522e-08 | -4.3316e-10 | 0.0072518 | 0.0072518 | 0.0072518 | 0.98777 | -0.085492 | 0.98775 | -0.085612 | 2.6859
68 | 0.0029212 | 0.00073204 | -0.0029211 | -0.00073209 | 7.6636e-08 | -5.1787e-08 | 0.0043994 | 0.0043994 | 0.0043994 | 0.98802 | -0.08366 | 0.988 | -0.08385 | 1.6294
69 | 0.002736 | 0.00068557 | -0.0027359 | -0.00068568 | 1.3953e-07 | -1.148e-07 | 0.0041217 | 0.0041218 | 0.0041218 | 0.98775 | -0.085612 | 0.9877 | -0.08598 | 1.5266

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.14097 | 0.035361

## res_load
| p_mw | q_mvar
0 | 0.00090421 | 0.00022662
1 | 0.0017135 | 0.00042945
2 | 0.0010243 | 0.00025672
3 | 0.0013929 | 0.00034911
4 | 0.0009337 | 0.00023401
5 | 0.0040862 | 0.0010241
6 | 0.0021733 | 0.00054469
7 | 0.0018037 | 0.00045206
8 | 0.0011508 | 0.00028842
9 | 0.0012948 | 0.0003245
10 | 0.0011529 | 0.00028894
11 | 0.0011002 | 0.00027574
12 | 0.00078259 | 0.00019614
13 | 0.0075518 | 0.0018927
14 | 0.0007727 | 0.00019366
15 | 0.01098 | 0.0027518
16 | 0.00051817 | 0.00012987
17 | 0.00096266 | 0.00024126
18 | 0.0025773 | 0.00064593
19 | 0.001789 | 0.00044837
20 | 0.003898 | 0.00097694
21 | 0.00046098 | 0.00011553
22 | 0.0033312 | 0.00083487
23 | 0.00072738 | 0.0001823
24 | 0.0019973 | 0.00050058
25 | 0.0072617 | 0.00182
26 | 0.0013386 | 0.00033548
27 | 0.0018542 | 0.0004647
28 | 0.0003762 | 9.4285e-05
29 | 0.0027271 | 0.00068348
30 | 0.00098444 | 0.00024672
31 | 0.0014274 | 0.00035775
32 | 0.0011159 | 0.00027968
33 | 0.0013446 | 0.00033699
34 | 0.0013769 | 0.00034509
35 | 0.0019579 | 0.0004907
36 | 0.0012377 | 0.0003102
37 | 0.0017763 | 0.00044517
38 | 0.0013063 | 0.00032739
39 | 0.0035295 | 0.00088457
40 | 0.00071186 | 0.00017841
41 | 0.0072529 | 0.0018177
42 | 0.0090054 | 0.002257
43 | 0.001855 | 0.00046492
44 | 0.0019041 | 0.00047722
45 | 0.0018483 | 0.00046323
46 | 0.001924 | 0.0004822
47 | 0.0013162 | 0.00032987
48 | 0.0014676 | 0.00036781
49 | 0.0016148 | 0.0004047
50 | 0.0026944 | 0.00067527
51 | 0.00071072 | 0.00017812
52 | 0.0022038 | 0.00055233
53 | 0.0019055 | 0.00047756
54 | 0.0026397 | 0.00066157
55 | 0.0027139 | 0.00068018
56 | 0.0026819 | 0.00067214
57 | 0.0012767 | 0.00031997
58 | 0.0020778 | 0.00052074
59 | 0.0027359 | 0.00068568
60 | 0.0029211 | 0.00073209

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1