## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2401-10_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2401-10_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2401-10_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2401-10_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2401-10_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2401-10_0_3_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_2401-10_0_3_node_57 | 0.4 | n |  | TRUE
7 | bus_LV_2401-10_0_3_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_2401-10_0_3_node_36 | 0.4 | n |  | TRUE
9 | bus_LV_2401-10_0_3_node_11 | 0.4 | n |  | TRUE
10 | bus_LV_2401-10_0_3_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_2401-10_0_3_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_2401-10_0_3_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_2401-10_0_3_node_42 | 0.4 | n |  | TRUE
14 | bus_LV_2401-10_0_3_node_20 | 0.4 | n |  | TRUE
15 | bus_LV_2401-10_0_3_node_43 | 0.4 | n |  | TRUE
16 | bus_LV_2401-10_0_3_node_48 | 0.4 | n |  | TRUE
17 | bus_LV_2401-10_0_3_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_2401-10_0_3_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_2401-10_0_3_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_2401-10_0_3_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_2401-10_0_3_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_2401-10_0_3_node_54 | 0.4 | n |  | TRUE
23 | bus_LV_2401-10_0_3_node_39 | 0.4 | n |  | TRUE
24 | bus_LV_2401-10_0_3_node_67 | 0.4 | n |  | TRUE
25 | bus_LV_2401-10_0_3_node_55 | 0.4 | n |  | TRUE
26 | bus_LV_2401-10_0_3_node_61 | 0.4 | n |  | TRUE
27 | bus_LV_2401-10_0_3_node_38 | 0.4 | n |  | TRUE
28 | bus_LV_2401-10_0_3_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_2401-10_0_3_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_2401-10_0_3_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_2401-10_0_3_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_2401-10_0_3_node_44 | 0.4 | n |  | TRUE
33 | bus_LV_2401-10_0_3_node_66 | 0.4 | n |  | TRUE
34 | bus_LV_2401-10_0_3_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_2401-10_0_3_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_2401-10_0_3_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_2401-10_0_3_node_45 | 0.4 | n |  | TRUE
38 | bus_LV_2401-10_0_3_node_53 | 0.4 | n |  | TRUE
39 | bus_LV_2401-10_0_3_node_52 | 0.4 | n |  | TRUE
40 | bus_LV_2401-10_0_3_node_64 | 0.4 | n |  | TRUE
41 | bus_LV_2401-10_0_3_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_2401-10_0_3_node_33 | 0.4 | n |  | TRUE
43 | bus_LV_2401-10_0_3_node_35 | 0.4 | n |  | TRUE
44 | bus_LV_2401-10_0_3_node_31 | 0.4 | n |  | TRUE
45 | bus_LV_2401-10_0_3_node_46 | 0.4 | n |  | TRUE
46 | bus_LV_2401-10_0_3_node_68 | 0.4 | n |  | TRUE
47 | bus_LV_2401-10_0_3_node_26 | 0.4 | n |  | TRUE
48 | bus_LV_2401-10_0_3_node_27 | 0.4 | n |  | TRUE
49 | bus_LV_2401-10_0_3_node_29 | 0.4 | n |  | TRUE
50 | bus_LV_2401-10_0_3_node_41 | 0.4 | n |  | TRUE
51 | bus_LV_2401-10_0_3_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_2401-10_0_3_node_32 | 0.4 | n |  | TRUE
53 | bus_LV_2401-10_0_3_node_34 | 0.4 | n |  | TRUE
54 | bus_LV_2401-10_0_3_node_62 | 0.4 | n |  | TRUE
55 | bus_LV_2401-10_0_3_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_2401-10_0_3_node_58 | 0.4 | n |  | TRUE
57 | bus_LV_2401-10_0_3_node_59 | 0.4 | n |  | TRUE
58 | bus_LV_2401-10_0_3_node_60 | 0.4 | n |  | TRUE
59 | bus_LV_2401-10_0_3_node_63 | 0.4 | n |  | TRUE
60 | bus_LV_2401-10_0_3_node_65 | 0.4 | n |  | TRUE
61 | bus_MV_334_0_node_21 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2401-10_0_3_load_0 | 0 | 0.00053382 | 0.00013379 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2401-10_0_3_load_1 | 1 | 0.00090617 | 0.00022711 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2401-10_0_3_load_3 | 3 | 0.00090271 | 0.00022624 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2401-10_0_3_load_4 | 4 | 0.00036379 | 9.1173e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2401-10_0_3_load_57 | 6 | 0.0014127 | 0.00035405 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2401-10_0_3_load_36 | 8 | 0.00038388 | 9.621e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2401-10_0_3_load_5 | 10 | 0.0011762 | 0.00029479 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2401-10_0_3_load_10 | 12 | 0.0016476 | 0.00041292 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2401-10_0_3_load_42 | 13 | 0.0014035 | 0.00035174 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2401-10_0_3_load_43 | 15 | 0.0019532 | 0.00048951 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2401-10_0_3_load_48 | 16 | 0.0057014 | 0.0014289 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2401-10_0_3_load_12 | 17 | 0.009056 | 0.0022696 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2401-10_0_3_load_13 | 18 | 0.002119 | 0.00053107 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2401-10_0_3_load_39 | 23 | 0.002169 | 0.0005436 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2401-10_0_3_load_67 | 24 | 0.0069378 | 0.0017388 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2401-10_0_3_load_61 | 26 | 0.0075918 | 0.0019027 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2401-10_0_3_load_38 | 27 | 0.0025915 | 0.0006495 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2401-10_0_3_load_17 | 28 | 0.0077692 | 0.0019471 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2401-10_0_3_load_44 | 32 | 0.0013062 | 0.00032736 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2401-10_0_3_load_30 | 36 | 0.018025 | 0.0045176 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2401-10_0_3_load_45 | 37 | 0.0051177 | 0.0012826 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2401-10_0_3_load_52 | 39 | 0.0035359 | 0.00088619 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2401-10_0_3_load_64 | 40 | 0.003151 | 0.00078972 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2401-10_0_3_load_28 | 41 | 0.0034197 | 0.00085706 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2401-10_0_3_load_31 | 44 | 0.0086825 | 0.002176 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2401-10_0_3_load_46 | 45 | 0.0069152 | 0.0017331 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2401-10_0_3_load_68 | 46 | 0.0038676 | 0.00096932 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2401-10_0_3_load_26 | 47 | 0.0064133 | 0.0016073 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2401-10_0_3_load_27 | 48 | 0.0093847 | 0.002352 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2401-10_0_3_load_29 | 49 | 0.0046514 | 0.0011658 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2401-10_0_3_load_40 | 51 | 0.00060691 | 0.00015211 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2401-10_0_3_load_32 | 52 | 0.0024221 | 0.00060705 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2401-10_0_3_load_34 | 53 | 0.0044331 | 0.0011111 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2401-10_0_3_load_62 | 54 | 0.0035289 | 0.00088442 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2401-10_0_3_load_59 | 57 | 0.0048339 | 0.0012115 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2401-10_0_3_load_60 | 58 | 0.037645 | 0.0094346 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2401-10_0_3_load_63 | 59 | 0.0022882 | 0.00057347 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2401-10_0_3_load_65 | 60 | 0.0018105 | 0.00045375 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 41 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2401-10_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.016995 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2401-10_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.012429 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2401-10_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.00020294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2401-10_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.024892 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2401-10_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.1735 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2401-10_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.0077102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2401-10_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.035683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2401-10_0_3_line_7 | NAYY 4x150 SE | 6 | 9 | 0.036629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2401-10_0_3_line_8 | NAYY 4x150 SE | 7 | 8 | 0.013607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2401-10_0_3_line_9 | NAYY 4x150 SE | 9 | 14 | 0.014136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2401-10_0_3_line_10 | NAYY 4x150 SE | 9 | 11 | 0.01397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2401-10_0_3_line_11 | NAYY 4x150 SE | 10 | 11 | 0.032119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2401-10_0_3_line_12 | NAYY 4x150 SE | 11 | 12 | 0.010418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2401-10_0_3_line_13 | NAYY 4x150 SE | 12 | 13 | 0.028513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2401-10_0_3_line_14 | NAYY 4x150 SE | 13 | 15 | 0.0087779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2401-10_0_3_line_15 | NAYY 4x150 SE | 14 | 16 | 0.014482 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2401-10_0_3_line_16 | NAYY 4x150 SE | 15 | 32 | 0.0071642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2401-10_0_3_line_17 | NAYY 4x150 SE | 16 | 35 | 0.020572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2401-10_0_3_line_18 | NAYY 4x150 SE | 17 | 18 | 0.023806 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2401-10_0_3_line_19 | NAYY 4x150 SE | 17 | 19 | 0.041604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2401-10_0_3_line_20 | NAYY 4x150 SE | 18 | 20 | 0.022628 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2401-10_0_3_line_21 | NAYY 4x150 SE | 19 | 21 | 0.034409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2401-10_0_3_line_22 | NAYY 4x150 SE | 20 | 22 | 0.008668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2401-10_0_3_line_23 | NAYY 4x150 SE | 20 | 23 | 0.014848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2401-10_0_3_line_24 | NAYY 4x150 SE | 21 | 24 | 0.033021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2401-10_0_3_line_25 | NAYY 4x150 SE | 22 | 25 | 0.011786 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2401-10_0_3_line_26 | NAYY 4x150 SE | 23 | 27 | 0.01889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2401-10_0_3_line_27 | NAYY 4x150 SE | 25 | 26 | 0.031602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2401-10_0_3_line_28 | NAYY 4x150 SE | 27 | 51 | 0.010313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2401-10_0_3_line_29 | NAYY 4x150 SE | 28 | 29 | 0.0097405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2401-10_0_3_line_30 | NAYY 4x150 SE | 29 | 30 | 0.011177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2401-10_0_3_line_31 | NAYY 4x150 SE | 30 | 38 | 0.020017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2401-10_0_3_line_32 | NAYY 4x150 SE | 30 | 39 | 0.002649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2401-10_0_3_line_33 | NAYY 4x150 SE | 31 | 32 | 0.003725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2401-10_0_3_line_34 | NAYY 4x150 SE | 31 | 33 | 0.013102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2401-10_0_3_line_35 | NAYY 4x150 SE | 33 | 38 | 0.004909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2401-10_0_3_line_36 | NAYY 4x150 SE | 33 | 40 | 0.013319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2401-10_0_3_line_37 | NAYY 4x150 SE | 34 | 35 | 0.023641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2401-10_0_3_line_38 | NAYY 4x150 SE | 34 | 36 | 0.0086488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2401-10_0_3_line_39 | NAYY 4x150 SE | 35 | 37 | 0.013868 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2401-10_0_3_line_40 | NAYY 4x150 SE | 36 | 41 | 0.014603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
41 | LV_2401-10_0_3_line_41 | NAYY 4x150 SE | 37 | 45 | 0.022773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2401-10_0_3_line_42 | NAYY 4x150 SE | 38 | 46 | 0.033599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2401-10_0_3_line_43 | NAYY 4x150 SE | 40 | 59 | 0.01959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2401-10_0_3_line_44 | NAYY 4x150 SE | 41 | 47 | 0.01401 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2401-10_0_3_line_45 | NAYY 4x150 SE | 42 | 43 | 0.011754 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_2401-10_0_3_line_46 | NAYY 4x150 SE | 42 | 44 | 0.025289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_2401-10_0_3_line_47 | NAYY 4x150 SE | 43 | 54 | 0.0090807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_2401-10_0_3_line_48 | NAYY 4x150 SE | 43 | 50 | 0.008254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_2401-10_0_3_line_49 | NAYY 4x150 SE | 44 | 52 | 0.0037066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_2401-10_0_3_line_50 | NAYY 4x150 SE | 45 | 55 | 0.0054004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_2401-10_0_3_line_51 | NAYY 4x150 SE | 47 | 48 | 0.0059311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_2401-10_0_3_line_52 | NAYY 4x150 SE | 48 | 49 | 0.0041311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_2401-10_0_3_line_53 | NAYY 4x150 SE | 49 | 50 | 0.0059198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_2401-10_0_3_line_54 | NAYY 4x150 SE | 50 | 51 | 0.014473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_2401-10_0_3_line_55 | NAYY 4x150 SE | 52 | 53 | 0.04142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_2401-10_0_3_line_56 | NAYY 4x150 SE | 55 | 56 | 0.020938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_2401-10_0_3_line_57 | NAYY 4x150 SE | 56 | 57 | 0.035215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_2401-10_0_3_line_58 | NAYY 4x150 SE | 57 | 58 | 0.007637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_2401-10_0_3_line_59 | NAYY 4x150 SE | 59 | 60 | 0.010266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2401-10_0_3_trafo_28 | 0.25 MVA 20/0.4 kV | 61 | 41 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2626681.2487 | 1241552.4293 | 2626682.0037 | 1241544.8163 | 2626683.5186 | 1241535.5953
1 | 2626678.9286 | 1241564.6373 | 2626681.1881 | 1241553.0401 | 2626681.2487 | 1241552.4293
2 | 2626683.5186 | 1241535.5953 | 2626683.5515 | 1241535.3951
3 | 2626678.9286 | 1241564.6373 | 2626683.2502 | 1241565.2015 | 2626685.9638 | 1241565.2915 | 2626689.8207 | 1241566.6541 | 2626702.1182 | 1241560.5526
4 | 2626678.9286 | 1241564.6373 | 2626595.0239 | 1241716.5021
5 | 2626684.8014 | 1241527.7869 | 2626683.5515 | 1241535.3951
6 | 2626567.9546 | 1241739.8403 | 2626583.8841 | 1241725.9805 | 2626595.0239 | 1241716.5021
7 | 2626684.5034 | 1241491.5049 | 2626683.3886 | 1241500.6946 | 2626686.0374 | 1241520.2633 | 2626684.8014 | 1241527.7869
8 | 2626567.9546 | 1241739.8403 | 2626578.2791 | 1241748.7032
9 | 2626684.5034 | 1241491.5049 | 2626686.4016 | 1241486.299 | 2626688.8027 | 1241481.8959 | 2626690.5782 | 1241478.7797
10 | 2626684.5034 | 1241491.5049 | 2626670.5137 | 1241490.7194
11 | 2626670.5137 | 1241490.7194 | 2626662.6316 | 1241518.7351 | 2626662.9871 | 1241521.73
12 | 2626670.5137 | 1241490.7194 | 2626668.0402 | 1241489.3408 | 2626668.8464 | 1241481.7971
13 | 2626668.8464 | 1241481.7971 | 2626669.5948 | 1241474.7941 | 2626673.292 | 1241459.5455 | 2626668.7977 | 1241455.9118
14 | 2626661.9717 | 1241450.3929 | 2626668.7977 | 1241455.9118
15 | 2626690.5782 | 1241478.7797 | 2626692.1022 | 1241476.0959 | 2626698.2758 | 1241466.5176
16 | 2626656.4006 | 1241445.8886 | 2626661.9717 | 1241450.3929
17 | 2626714.2259 | 1241455.1264 | 2626708.9662 | 1241456.3591 | 2626705.3995 | 1241457.6995 | 2626702.3981 | 1241461.0993 | 2626699.8978 | 1241464.001 | 2626698.2758 | 1241466.5176
18 | 2626822.3758 | 1241374.6734 | 2626803.4305 | 1241360.2579
19 | 2626855.2923 | 1241400.1159 | 2626839.1033 | 1241387.4014 | 2626822.3758 | 1241374.6734
20 | 2626785.4227 | 1241346.5558 | 2626803.4305 | 1241360.2579
21 | 2626872.0073 | 1241370.0168 | 2626855.2923 | 1241400.1159
22 | 2626778.9319 | 1241340.7896 | 2626785.4227 | 1241346.5558
23 | 2626785.4227 | 1241346.5558 | 2626780.5934 | 1241351.2481 | 2626774.8876 | 1241357.0182
24 | 2626872.0073 | 1241370.0168 | 2626844.8161 | 1241351.2812
25 | 2626787.2554 | 1241332.4218 | 2626778.9319 | 1241340.7896
26 | 2626774.8876 | 1241357.0182 | 2626761.6051 | 1241370.4503
27 | 2626787.2554 | 1241332.4218 | 2626784.3417 | 1241329.7625 | 2626783.029 | 1241330.8351 | 2626762.431 | 1241315.0323
28 | 2626754.3536 | 1241377.7834 | 2626761.6051 | 1241370.4503
29 | 2626675.5965 | 1241429.5035 | 2626684.0779 | 1241434.2935
30 | 2626675.5965 | 1241429.5035 | 2626673.1151 | 1241428.2138 | 2626670.6261 | 1241426.9129 | 2626665.6634 | 1241424.3223
31 | 2626647.7968 | 1241433.3035 | 2626662.5977 | 1241425.198 | 2626665.6634 | 1241424.3223
32 | 2626665.6634 | 1241424.3223 | 2626668.2108 | 1241423.5959
33 | 2626653.504 | 1241443.5467 | 2626656.4006 | 1241445.8886
34 | 2626643.2973 | 1241435.2957 | 2626653.504 | 1241443.5467
35 | 2626647.7968 | 1241433.3035 | 2626643.2973 | 1241435.2957
36 | 2626643.2973 | 1241435.2957 | 2626634.7999 | 1241437.0032 | 2626630.5992 | 1241436.4062 | 2626630.2161 | 1241436.2629
37 | 2626714.2259 | 1241455.1264 | 2626713.9643 | 1241440.9941 | 2626714.4757 | 1241431.5015
38 | 2626714.4757 | 1241431.5015 | 2626721.5214 | 1241426.4855 | 2626721.5214 | 1241426.4855
39 | 2626714.2259 | 1241455.1264 | 2626717.1113 | 1241460.7207 | 2626722.1813 | 1241466.3471
40 | 2626728.9402 | 1241413.9075 | 2626721.5214 | 1241426.4855
41 | 2626722.1813 | 1241466.3471 | 2626731.1852 | 1241471.3685 | 2626742.3793 | 1241476.8488
42 | 2626647.7968 | 1241433.3035 | 2626627.2702 | 1241421.8154 | 2626631.8313 | 1241412.8301
43 | 2626613.0255 | 1241426.9748 | 2626616.9028 | 1241429.1959 | 2626626.2973 | 1241434.797 | 2626630.2161 | 1241436.2629
44 | 2626728.9402 | 1241413.9075 | 2626736.0579 | 1241401.8401
45 | 2626729.7633 | 1241392.5122 | 2626737.3109 | 1241383.4849
46 | 2626729.7633 | 1241392.5122 | 2626707.927 | 1241379.7563
47 | 2626737.3109 | 1241383.4849 | 2626743.2638 | 1241376.6276
48 | 2626737.3109 | 1241383.4849 | 2626740.1461 | 1241385.132 | 2626742.1959 | 1241386.5754 | 2626744.1774 | 1241388.0742
49 | 2626707.927 | 1241379.7563 | 2626704.7265 | 1241377.8867
50 | 2626747.2297 | 1241479.2234 | 2626742.3793 | 1241476.8488
51 | 2626739.0712 | 1241396.7314 | 2626736.0579 | 1241401.8401
52 | 2626741.1699 | 1241393.1731 | 2626739.0712 | 1241396.7314
53 | 2626744.1774 | 1241388.0742 | 2626741.1699 | 1241393.1731
54 | 2626744.1774 | 1241388.0742 | 2626754.3536 | 1241377.7834
55 | 2626678.3075 | 1241351.9892 | 2626687.097 | 1241356.6868 | 2626690.886 | 1241359.7391 | 2626690.0794 | 1241369.3304 | 2626704.7265 | 1241377.8867
56 | 2626765.402 | 1241489.6451 | 2626755.6328 | 1241483.3416 | 2626747.2297 | 1241479.2234
57 | 2626765.402 | 1241489.6451 | 2626773.4429 | 1241471.7811 | 2626772.5854 | 1241460.7702 | 2626774.5031 | 1241456.6106
58 | 2626777.7005 | 1241449.6751 | 2626774.5031 | 1241456.6106
59 | 2626613.0255 | 1241426.9748 | 2626604.1175 | 1241421.8718

## bus_geodata
| x | y | coords
0 | 2626681.2487 | 1241552.4293
1 | 2626683.5186 | 1241535.5953
2 | 2626678.9286 | 1241564.6373
3 | 2626683.5515 | 1241535.3951
4 | 2626702.1182 | 1241560.5526
5 | 2626595.0239 | 1241716.5021
6 | 2626684.8014 | 1241527.7869
7 | 2626567.9546 | 1241739.8403
8 | 2626578.2791 | 1241748.7032
9 | 2626684.5034 | 1241491.5049
10 | 2626662.9871 | 1241521.73
11 | 2626670.5137 | 1241490.7194
12 | 2626668.8464 | 1241481.7971
13 | 2626668.7977 | 1241455.9118
14 | 2626690.5782 | 1241478.7797
15 | 2626661.9717 | 1241450.3929
16 | 2626698.2758 | 1241466.5176
17 | 2626822.3758 | 1241374.6734
18 | 2626803.4305 | 1241360.2579
19 | 2626855.2923 | 1241400.1159
20 | 2626785.4227 | 1241346.5558
21 | 2626872.0073 | 1241370.0168
22 | 2626778.9319 | 1241340.7896
23 | 2626774.8876 | 1241357.0182
24 | 2626844.8161 | 1241351.2812
25 | 2626787.2554 | 1241332.4218
26 | 2626762.431 | 1241315.0323
27 | 2626761.6051 | 1241370.4503
28 | 2626684.0779 | 1241434.2935
29 | 2626675.5965 | 1241429.5035
30 | 2626665.6633 | 1241424.3223
31 | 2626653.504 | 1241443.5467
32 | 2626656.4006 | 1241445.8886
33 | 2626643.2973 | 1241435.2957
34 | 2626714.4757 | 1241431.5015
35 | 2626714.2259 | 1241455.1264
36 | 2626721.5214 | 1241426.4855
37 | 2626722.1813 | 1241466.3471
38 | 2626647.7968 | 1241433.3035
39 | 2626668.2108 | 1241423.5959
40 | 2626630.2161 | 1241436.2629
41 | 2626728.9402 | 1241413.9075
42 | 2626729.7633 | 1241392.5122
43 | 2626737.3109 | 1241383.4849
44 | 2626707.927 | 1241379.7563
45 | 2626742.3793 | 1241476.8488
46 | 2626631.8313 | 1241412.8301
47 | 2626736.0579 | 1241401.8401
48 | 2626739.0712 | 1241396.7314
49 | 2626741.1699 | 1241393.1731
50 | 2626744.1774 | 1241388.0742
51 | 2626754.3536 | 1241377.7834
52 | 2626704.7265 | 1241377.8867
53 | 2626678.3075 | 1241351.9892
54 | 2626743.2638 | 1241376.6276
55 | 2626747.2297 | 1241479.2234
56 | 2626765.402 | 1241489.6451
57 | 2626774.5031 | 1241456.6106
58 | 2626777.7005 | 1241449.6751
59 | 2626613.0255 | 1241426.9748
60 | 2626604.1175 | 1241421.8718
61 | 2626714.4757 | 1241431.5015

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9915 | -0.059452 | 0.00053382 | 0.00013379
1 | 0.99153 | -0.059226 | 0.00090617 | 0.00022711
2 | 0.99149 | -0.059549 | 0 | 0
3 | 0.99153 | -0.059222 | 0.00090271 | 0.00022624
4 | 0.99148 | -0.059641 | 0.00036379 | 9.1173e-05
5 | 0.99139 | -0.060249 | 0 | 0
6 | 0.99157 | -0.058978 | 0.0014127 | 0.00035405
7 | 0.99137 | -0.060389 | 0 | 0
8 | 0.99137 | -0.060442 | 0.00038388 | 9.621e-05
9 | 0.9918 | -0.057293 | 0 | 0
10 | 0.99115 | -0.061922 | 0.0011762 | 0.00029479
11 | 0.9912 | -0.061538 | 0 | 0
12 | 0.99077 | -0.064582 | 0.0016476 | 0.00041292
13 | 0.98966 | -0.072448 | 0.0014035 | 0.00035174
14 | 0.99251 | -0.052353 | 0 | 0
15 | 0.98933 | -0.074747 | 0.0019532 | 0.00048951
16 | 0.99322 | -0.047299 | 0.0057014 | 0.0014289
17 | 0.99376 | -0.043772 | 0.009056 | 0.0022696
18 | 0.9943 | -0.039923 | 0.002119 | 0.00053107
19 | 0.99334 | -0.046694 | 0 | 0
20 | 0.99489 | -0.035785 | 0 | 0
21 | 0.993 | -0.049111 | 0 | 0
22 | 0.9948 | -0.036449 | 0 | 0
23 | 0.99544 | -0.031936 | 0.002169 | 0.0005436
24 | 0.99267 | -0.051431 | 0.0069378 | 0.0017388
25 | 0.99467 | -0.037352 | 0 | 0
26 | 0.99433 | -0.039774 | 0.0075918 | 0.0019027
27 | 0.99619 | -0.026632 | 0.0025915 | 0.0006495
28 | 0.98787 | -0.085071 | 0.0077692 | 0.0019471
29 | 0.98798 | -0.084297 | 0 | 0
30 | 0.98811 | -0.083409 | 0 | 0
31 | 0.98897 | -0.077334 | 0 | 0
32 | 0.98909 | -0.076482 | 0.0013062 | 0.00032736
33 | 0.98854 | -0.080335 | 0 | 0
34 | 0.99764 | -0.016427 | 0 | 0
35 | 0.99441 | -0.038949 | 0 | 0
36 | 0.99882 | -0.008224 | 0.018025 | 0.0045176
37 | 0.99332 | -0.046588 | 0.0051177 | 0.0012826
38 | 0.98844 | -0.081096 | 0 | 0
39 | 0.9881 | -0.083505 | 0.0035359 | 0.00088619
40 | 0.9884 | -0.081322 | 0.003151 | 0.00078972
41 | 1 | 0 | -0.18536 | -0.046418
42 | 0.9968 | -0.022368 | 0 | 0
43 | 0.99707 | -0.020533 | 0 | 0
44 | 0.99624 | -0.026318 | 0.0086825 | 0.002176
45 | 0.9917 | -0.057987 | 0.0069152 | 0.0017331
46 | 0.98825 | -0.082425 | 0.0038676 | 0.00096932
47 | 0.99858 | -0.0098893 | 0.0064133 | 0.0016073
48 | 0.99804 | -0.013703 | 0.0093847 | 0.002352
49 | 0.99772 | -0.015973 | 0.0046514 | 0.0011658
50 | 0.99729 | -0.018952 | 0 | 0
51 | 0.99665 | -0.023472 | 0.00060691 | 0.00015211
52 | 0.99621 | -0.026574 | 0.0024221 | 0.00060705
53 | 0.99594 | -0.028422 | 0.0044331 | 0.0011111
54 | 0.99702 | -0.020855 | 0.0035289 | 0.00088442
55 | 0.99137 | -0.060316 | 0 | 0
56 | 0.99009 | -0.06936 | 0 | 0
57 | 0.98793 | -0.084624 | 0.0048339 | 0.0012115
58 | 0.98751 | -0.087565 | 0.037645 | 0.0094346
59 | 0.98829 | -0.082143 | 0.0022882 | 0.00057347
60 | 0.98826 | -0.082333 | 0.0018105 | 0.00045375
61 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0012815 | -0.00031784 | 0.0012816 | 0.00031764 | 3.9179e-08 | -2.0413e-07 | 0.0019221 | 0.0019221 | 0.0019221 | 0.9915 | -0.059452 | 0.99153 | -0.059226 | 0.7119
1 | 0.00074773 | 0.00018405 | -0.00074772 | -0.00018421 | 9.7466e-09 | -1.5655e-07 | 0.001121 | 0.001121 | 0.001121 | 0.9915 | -0.059452 | 0.99149 | -0.059549 | 0.4152
2 | -0.0021878 | -0.00054474 | 0.0021878 | 0.00054474 | 1.364e-09 | -2.0931e-09 | 0.003282 | 0.003282 | 0.003282 | 0.99153 | -0.059226 | 0.99153 | -0.059222 | 1.2155
3 | 0.00036379 | 9.0854e-05 | -0.00036379 | -9.1173e-05 | 4.6291e-09 | -3.1924e-07 | 0.00054586 | 0.00054597 | 0.00054597 | 0.99149 | -0.059549 | 0.99148 | -0.059641 | 0.20221
4 | 0.00038393 | 9.3355e-05 | -0.00038389 | -9.5578e-05 | 3.5868e-08 | -2.2236e-06 | 0.0005752 | 0.00057597 | 0.00057597 | 0.99149 | -0.059549 | 0.99139 | -0.060249 | 0.21332
5 | -0.0030905 | -0.00077098 | 0.0030906 | 0.00077092 | 1.0343e-07 | -5.9668e-08 | 0.0046367 | 0.0046366 | 0.0046367 | 0.99153 | -0.059222 | 0.99157 | -0.058978 | 1.7173
6 | 0.00038389 | 9.5578e-05 | -0.00038388 | -9.6036e-05 | 7.3888e-09 | -4.5726e-07 | 0.00057597 | 0.00057614 | 0.00057614 | 0.99139 | -0.060249 | 0.99137 | -0.060389 | 0.21338
7 | -0.0045033 | -0.001125 | 0.0045043 | 0.0011249 | 1.0434e-06 | -7.1275e-08 | 0.0067566 | 0.0067565 | 0.0067566 | 0.99157 | -0.058978 | 0.9918 | -0.057293 | 2.5025
8 | 0.00038388 | 9.6036e-05 | -0.00038388 | -9.621e-05 | 2.8186e-09 | -1.7436e-07 | 0.00057614 | 0.0005762 | 0.0005762 | 0.99137 | -0.060389 | 0.99137 | -0.060442 | 0.21341
9 | -0.034508 | -0.0086541 | 0.034532 | 0.008663 | 2.3645e-05 | 8.9118e-06 | 0.051775 | 0.051774 | 0.051775 | 0.9918 | -0.057293 | 0.99251 | -0.052353 | 19.1758
10 | 0.030004 | 0.0075292 | -0.029986 | -0.0075225 | 1.7667e-05 | 6.6147e-06 | 0.045018 | 0.045018 | 0.045018 | 0.9918 | -0.057293 | 0.9912 | -0.061538 | 16.6734
11 | -0.0011762 | -0.00029479 | 0.0011763 | 0.0002944 | 6.2493e-08 | -3.8994e-07 | 0.0017659 | 0.0017657 | 0.0017659 | 0.99115 | -0.061922 | 0.9912 | -0.061538 | 0.65402
12 | 0.02881 | 0.0072282 | -0.028797 | -0.0072236 | 1.2162e-05 | 4.5434e-06 | 0.043252 | 0.043252 | 0.043252 | 0.9912 | -0.061538 | 0.99077 | -0.064582 | 16.0194
13 | 0.02715 | 0.0068107 | -0.02712 | -0.0067997 | 2.9586e-05 | 1.1012e-05 | 0.040778 | 0.040778 | 0.040778 | 0.99077 | -0.064582 | 0.98966 | -0.072448 | 15.103
14 | 0.025717 | 0.0064479 | -0.025709 | -0.0064449 | 8.1899e-06 | 3.0372e-06 | 0.038668 | 0.038668 | 0.038668 | 0.98966 | -0.072448 | 0.98933 | -0.074747 | 14.3215
15 | -0.034532 | -0.008663 | 0.034556 | 0.0086721 | 2.4224e-05 | 9.1295e-06 | 0.051774 | 0.051774 | 0.051774 | 0.99251 | -0.052353 | 0.99322 | -0.047299 | 19.1757
16 | 0.023756 | 0.0059554 | -0.02375 | -0.0059533 | 5.7072e-06 | 2.1031e-06 | 0.03573 | 0.03573 | 0.03573 | 0.98933 | -0.074747 | 0.98909 | -0.076482 | 13.2335
17 | -0.040257 | -0.010101 | 0.040304 | 0.010119 | 4.6701e-05 | 1.7695e-05 | 0.060316 | 0.060316 | 0.060316 | 0.99322 | -0.047299 | 0.99441 | -0.038949 | 22.3393
18 | -0.016001 | -0.0040098 | 0.01601 | 0.0040128 | 8.5275e-06 | 2.9712e-06 | 0.023959 | 0.023959 | 0.023959 | 0.99376 | -0.043772 | 0.9943 | -0.039923 | 8.8739
19 | 0.0069452 | 0.0017402 | -0.0069424 | -0.0017397 | 2.8076e-06 | 5.4105e-07 | 0.010399 | 0.010399 | 0.010399 | 0.99376 | -0.043772 | 0.99334 | -0.046694 | 3.8517
20 | -0.018129 | -0.0045439 | 0.018139 | 0.0045476 | 1.0393e-05 | 3.7037e-06 | 0.02713 | 0.02713 | 0.02713 | 0.9943 | -0.039923 | 0.99489 | -0.035785 | 10.0483
21 | 0.0069424 | 0.0017397 | -0.00694 | -0.0017392 | 2.3221e-06 | 4.4785e-07 | 0.010399 | 0.0104 | 0.0104 | 0.99334 | -0.046694 | 0.993 | -0.049111 | 3.8517
22 | 0.007596 | 0.0019036 | -0.0075953 | -0.0019035 | 6.9812e-07 | 1.5596e-07 | 0.011361 | 0.011361 | 0.011361 | 0.99489 | -0.035785 | 0.9948 | -0.036449 | 4.2078
23 | -0.025735 | -0.0064512 | 0.025749 | 0.0064563 | 1.3727e-05 | 5.0868e-06 | 0.038491 | 0.038491 | 0.038491 | 0.99489 | -0.035785 | 0.99544 | -0.031936 | 14.256
24 | 0.00694 | 0.0017392 | -0.0069378 | -0.0017388 | 2.2285e-06 | 4.301e-07 | 0.0104 | 0.0104 | 0.0104 | 0.993 | -0.049111 | 0.99267 | -0.051431 | 3.8518
25 | 0.0075953 | 0.0019035 | -0.0075943 | -0.0019032 | 9.4925e-07 | 2.121e-07 | 0.011361 | 0.011361 | 0.011361 | 0.9948 | -0.036449 | 0.99467 | -0.037352 | 4.2078
26 | -0.027918 | -0.0069999 | 0.027938 | 0.0070075 | 2.053e-05 | 7.6505e-06 | 0.041733 | 0.041733 | 0.041733 | 0.99544 | -0.031936 | 0.99619 | -0.026632 | 15.4568
27 | 0.0075943 | 0.0019032 | -0.0075918 | -0.0019027 | 2.5452e-06 | 5.689e-07 | 0.011361 | 0.011361 | 0.011361 | 0.99467 | -0.037352 | 0.99433 | -0.039774 | 4.2078
28 | -0.03053 | -0.007657 | 0.030543 | 0.0076621 | 1.3384e-05 | 5.0133e-06 | 0.045604 | 0.045604 | 0.045604 | 0.99619 | -0.026632 | 0.99665 | -0.023472 | 16.8905
29 | -0.0077692 | -0.0019471 | 0.00777 | 0.0019473 | 8.3239e-07 | 1.9543e-07 | 0.011703 | 0.011702 | 0.011703 | 0.98787 | -0.085071 | 0.98798 | -0.084297 | 4.3343
30 | -0.00777 | -0.0019473 | 0.0077709 | 0.0019476 | 9.5513e-07 | 2.2421e-07 | 0.011702 | 0.011702 | 0.011702 | 0.98798 | -0.084297 | 0.98811 | -0.083409 | 4.3343
31 | -0.011307 | -0.0028337 | 0.011311 | 0.0028349 | 3.6214e-06 | 1.1364e-06 | 0.017027 | 0.017027 | 0.017027 | 0.98811 | -0.083409 | 0.98844 | -0.081096 | 6.3064
32 | 0.003536 | 0.00088617 | -0.0035359 | -0.00088619 | 4.687e-08 | -1.5904e-08 | 0.0053249 | 0.0053249 | 0.0053249 | 0.98811 | -0.083409 | 0.9881 | -0.083505 | 1.9722
33 | -0.022441 | -0.005625 | 0.022444 | 0.0056259 | 2.65e-06 | 9.7145e-07 | 0.033765 | 0.033765 | 0.033765 | 0.98897 | -0.077334 | 0.98909 | -0.076482 | 12.5057
34 | 0.022441 | 0.005625 | -0.022432 | -0.0056215 | 9.3211e-06 | 3.417e-06 | 0.033765 | 0.033765 | 0.033765 | 0.98897 | -0.077334 | 0.98854 | -0.080335 | 12.5057
35 | 0.015181 | 0.0038046 | -0.015179 | -0.003804 | 1.5995e-06 | 5.5225e-07 | 0.022851 | 0.022851 | 0.022851 | 0.98854 | -0.080335 | 0.98844 | -0.081096 | 8.4632
36 | 0.0072512 | 0.001817 | -0.0072502 | -0.0018167 | 9.9013e-07 | 2.1009e-07 | 0.010915 | 0.010915 | 0.010915 | 0.98854 | -0.080335 | 0.9884 | -0.081322 | 4.0425
37 | 0.095424 | 0.024013 | -0.095125 | -0.023898 | 0.00029898 | 0.00011469 | 0.14236 | 0.14236 | 0.14236 | 0.99764 | -0.016427 | 0.99441 | -0.038949 | 52.7271
38 | -0.095424 | -0.024013 | 0.095533 | 0.024055 | 0.00010938 | 4.1956e-05 | 0.14236 | 0.14236 | 0.14236 | 0.99764 | -0.016427 | 0.99882 | -0.008224 | 52.727
39 | 0.054821 | 0.01378 | -0.054763 | -0.013757 | 5.8255e-05 | 2.2226e-05 | 0.082047 | 0.082047 | 0.082047 | 0.99441 | -0.038949 | 0.99332 | -0.046588 | 30.3878
40 | -0.11356 | -0.028572 | 0.11369 | 0.028622 | 0.00013046 | 4.9795e-05 | 0.16922 | 0.16922 | 0.16922 | 0.99882 | -0.008224 | 1 | 0 | 31.3364
41 | 0.049645 | 0.012475 | -0.049566 | -0.012445 | 7.8619e-05 | 2.9944e-05 | 0.074381 | 0.074381 | 0.074381 | 0.99332 | -0.046588 | 0.9917 | -0.057987 | 27.5485
42 | 0.0038684 | 0.00096917 | -0.0038676 | -0.00096932 | 7.1102e-07 | -1.5711e-07 | 0.0058234 | 0.0058236 | 0.0058236 | 0.98844 | -0.081096 | 0.98825 | -0.082425 | 2.1569
43 | 0.0040992 | 0.001027 | -0.0040987 | -0.0010271 | 4.6552e-07 | -7.2002e-08 | 0.0061711 | 0.0061711 | 0.0061711 | 0.9884 | -0.081322 | 0.98829 | -0.082143 | 2.2856
44 | 0.070873 | 0.017796 | -0.070776 | -0.017758 | 9.7253e-05 | 3.7222e-05 | 0.10547 | 0.10547 | 0.10547 | 1 | 0 | 0.99858 | -0.0098893 | 39.0638
45 | -0.015548 | -0.003897 | 0.015552 | 0.0038984 | 3.951e-06 | 1.3663e-06 | 0.02321 | 0.023209 | 0.02321 | 0.9968 | -0.022368 | 0.99707 | -0.020533 | 8.5961
46 | 0.015548 | 0.003897 | -0.015539 | -0.0038941 | 8.5006e-06 | 2.94e-06 | 0.02321 | 0.02321 | 0.02321 | 0.9968 | -0.022368 | 0.99624 | -0.026318 | 8.5962
47 | 0.003529 | 0.00088436 | -0.0035289 | -0.00088442 | 1.5717e-07 | -5.7977e-08 | 0.0052667 | 0.0052667 | 0.0052667 | 0.99707 | -0.020533 | 0.99702 | -0.020855 | 1.9506
48 | -0.019081 | -0.0047827 | 0.019085 | 0.0047842 | 4.1765e-06 | 1.4987e-06 | 0.028476 | 0.028476 | 0.028476 | 0.99707 | -0.020533 | 0.99729 | -0.018952 | 10.5467
49 | 0.0068567 | 0.001718 | -0.0068564 | -0.001718 | 2.4259e-07 | 4.5041e-08 | 0.010241 | 0.010241 | 0.010241 | 0.99624 | -0.026318 | 0.99621 | -0.026574 | 3.793
50 | 0.042651 | 0.010712 | -0.042637 | -0.010706 | 1.3805e-05 | 5.2399e-06 | 0.064005 | 0.064005 | 0.064005 | 0.9917 | -0.057987 | 0.99137 | -0.060316 | 23.7055
51 | 0.064363 | 0.016151 | -0.064329 | -0.016138 | 3.4049e-05 | 1.3018e-05 | 0.095916 | 0.095916 | 0.095916 | 0.99858 | -0.0098893 | 0.99804 | -0.013703 | 35.5243
52 | 0.054944 | 0.013786 | -0.054927 | -0.013779 | 1.7301e-05 | 6.6003e-06 | 0.081924 | 0.081924 | 0.081924 | 0.99804 | -0.013703 | 0.99772 | -0.015973 | 30.3421
53 | 0.050275 | 0.012614 | -0.050254 | -0.012606 | 2.0771e-05 | 7.9116e-06 | 0.074986 | 0.074986 | 0.074986 | 0.99772 | -0.015973 | 0.99729 | -0.018952 | 27.7728
54 | 0.03117 | 0.0078215 | -0.03115 | -0.0078142 | 1.9536e-05 | 7.3251e-06 | 0.04651 | 0.04651 | 0.04651 | 0.99729 | -0.018952 | 0.99665 | -0.023472 | 17.2261
55 | 0.0044343 | 0.0011109 | -0.0044331 | -0.0011111 | 1.1338e-06 | -1.0305e-07 | 0.0066233 | 0.0066235 | 0.0066235 | 0.99621 | -0.026574 | 0.99594 | -0.028422 | 2.4531
56 | 0.042637 | 0.010706 | -0.042584 | -0.010686 | 5.3524e-05 | 2.0316e-05 | 0.064005 | 0.064005 | 0.064005 | 0.99137 | -0.060316 | 0.99009 | -0.06936 | 23.7055
57 | 0.042584 | 0.010686 | -0.042494 | -0.010652 | 9.002e-05 | 3.4171e-05 | 0.064005 | 0.064005 | 0.064005 | 0.99009 | -0.06936 | 0.98793 | -0.084624 | 23.7056
58 | 0.03766 | 0.0094404 | -0.037645 | -0.0094346 | 1.5334e-05 | 5.7998e-06 | 0.056724 | 0.056724 | 0.056724 | 0.98793 | -0.084624 | 0.98751 | -0.087565 | 21.009
59 | 0.0018105 | 0.00045363 | -0.0018105 | -0.00045375 | 4.7604e-08 | -1.1323e-07 | 0.002726 | 0.002726 | 0.002726 | 0.98829 | -0.082143 | 0.98826 | -0.082333 | 1.0096

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.18878 | 0.047275

## res_load
| p_mw | q_mvar
0 | 0.00053382 | 0.00013379
1 | 0.00090617 | 0.00022711
2 | 0.00090271 | 0.00022624
3 | 0.00036379 | 9.1173e-05
4 | 0.0014127 | 0.00035405
5 | 0.00038388 | 9.621e-05
6 | 0.0011762 | 0.00029479
7 | 0.0016476 | 0.00041292
8 | 0.0014035 | 0.00035174
9 | 0.0019532 | 0.00048951
10 | 0.0057014 | 0.0014289
11 | 0.009056 | 0.0022696
12 | 0.002119 | 0.00053107
13 | 0.002169 | 0.0005436
14 | 0.0069378 | 0.0017388
15 | 0.0075918 | 0.0019027
16 | 0.0025915 | 0.0006495
17 | 0.0077692 | 0.0019471
18 | 0.0013062 | 0.00032736
19 | 0.018025 | 0.0045176
20 | 0.0051177 | 0.0012826
21 | 0.0035359 | 0.00088619
22 | 0.003151 | 0.00078972
23 | 0.0034197 | 0.00085706
24 | 0.0086825 | 0.002176
25 | 0.0069152 | 0.0017331
26 | 0.0038676 | 0.00096932
27 | 0.0064133 | 0.0016073
28 | 0.0093847 | 0.002352
29 | 0.0046514 | 0.0011658
30 | 0.00060691 | 0.00015211
31 | 0.0024221 | 0.00060705
32 | 0.0044331 | 0.0011111
33 | 0.0035289 | 0.00088442
34 | 0.0048339 | 0.0012115
35 | 0.037645 | 0.0094346
36 | 0.0022882 | 0.00057347
37 | 0.0018105 | 0.00045375

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1