## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2401-13_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2401-13_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2401-13_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2401-13_0_3_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_2401-13_0_3_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_2401-13_0_3_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_2401-13_0_3_node_51 | 0.4 | n |  | TRUE
7 | bus_LV_2401-13_0_3_node_16 | 0.4 | n |  | TRUE
8 | bus_LV_2401-13_0_3_node_52 | 0.4 | n |  | TRUE
9 | bus_LV_2401-13_0_3_node_13 | 0.4 | n |  | TRUE
10 | bus_LV_2401-13_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_2401-13_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_2401-13_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_2401-13_0_3_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_2401-13_0_3_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_2401-13_0_3_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_2401-13_0_3_node_26 | 0.4 | n |  | TRUE
17 | bus_LV_2401-13_0_3_node_40 | 0.4 | n |  | TRUE
18 | bus_LV_2401-13_0_3_node_38 | 0.4 | n |  | TRUE
19 | bus_LV_2401-13_0_3_node_60 | 0.4 | n |  | TRUE
20 | bus_LV_2401-13_0_3_node_57 | 0.4 | n |  | TRUE
21 | bus_LV_2401-13_0_3_node_46 | 0.4 | n |  | TRUE
22 | bus_LV_2401-13_0_3_node_64 | 0.4 | n |  | TRUE
23 | bus_LV_2401-13_0_3_node_36 | 0.4 | n |  | TRUE
24 | bus_LV_2401-13_0_3_node_54 | 0.4 | n |  | TRUE
25 | bus_LV_2401-13_0_3_node_12 | 0.4 | n |  | TRUE
26 | bus_LV_2401-13_0_3_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_2401-13_0_3_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_2401-13_0_3_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_2401-13_0_3_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_2401-13_0_3_node_61 | 0.4 | n |  | TRUE
31 | bus_LV_2401-13_0_3_node_53 | 0.4 | n |  | TRUE
32 | bus_LV_2401-13_0_3_node_62 | 0.4 | n |  | TRUE
33 | bus_LV_2401-13_0_3_node_59 | 0.4 | n |  | TRUE
34 | bus_LV_2401-13_0_3_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_2401-13_0_3_node_20 | 0.4 | n |  | TRUE
36 | bus_LV_2401-13_0_3_node_21 | 0.4 | n |  | TRUE
37 | bus_LV_2401-13_0_3_node_73 | 0.4 | n |  | TRUE
38 | bus_LV_2401-13_0_3_node_74 | 0.4 | n |  | TRUE
39 | bus_LV_2401-13_0_3_node_22 | 0.4 | n |  | TRUE
40 | bus_LV_2401-13_0_3_node_23 | 0.4 | n |  | TRUE
41 | bus_LV_2401-13_0_3_node_24 | 0.4 | n |  | TRUE
42 | bus_LV_2401-13_0_3_node_25 | 0.4 | n |  | TRUE
43 | bus_LV_2401-13_0_3_node_27 | 0.4 | n |  | TRUE
44 | bus_LV_2401-13_0_3_node_58 | 0.4 | n |  | TRUE
45 | bus_LV_2401-13_0_3_node_49 | 0.4 | n |  | TRUE
46 | bus_LV_2401-13_0_3_node_48 | 0.4 | n |  | TRUE
47 | bus_LV_2401-13_0_3_node_50 | 0.4 | n |  | TRUE
48 | bus_LV_2401-13_0_3_node_47 | 0.4 | n |  | TRUE
49 | bus_LV_2401-13_0_3_node_69 | 0.4 | n |  | TRUE
50 | bus_LV_2401-13_0_3_node_28 | 0.4 | n |  | TRUE
51 | bus_LV_2401-13_0_3_node_29 | 0.4 | n |  | TRUE
52 | bus_LV_2401-13_0_3_node_30 | 0.4 | n |  | TRUE
53 | bus_LV_2401-13_0_3_node_31 | 0.4 | n |  | TRUE
54 | bus_LV_2401-13_0_3_node_41 | 0.4 | n |  | TRUE
55 | bus_LV_2401-13_0_3_node_55 | 0.4 | n |  | TRUE
56 | bus_LV_2401-13_0_3_node_33 | 0.4 | n |  | TRUE
57 | bus_LV_2401-13_0_3_node_63 | 0.4 | n |  | TRUE
58 | bus_LV_2401-13_0_3_node_34 | 0.4 | n |  | TRUE
59 | bus_LV_2401-13_0_3_node_45 | 0.4 | n |  | TRUE
60 | bus_LV_2401-13_0_3_node_67 | 0.4 | n |  | TRUE
61 | bus_LV_2401-13_0_3_node_71 | 0.4 | n |  | TRUE
62 | bus_LV_2401-13_0_3_node_43 | 0.4 | n |  | TRUE
63 | bus_LV_2401-13_0_3_node_68 | 0.4 | n |  | TRUE
64 | bus_LV_2401-13_0_3_node_35 | 0.4 | n |  | TRUE
65 | bus_LV_2401-13_0_3_node_37 | 0.4 | n |  | TRUE
66 | bus_LV_2401-13_0_3_node_39 | 0.4 | n |  | TRUE
67 | bus_LV_2401-13_0_3_node_44 | 0.4 | n |  | TRUE
68 | bus_LV_2401-13_0_3_node_65 | 0.4 | n |  | TRUE
69 | bus_LV_2401-13_0_3_node_56 | 0.4 | n |  | TRUE
70 | bus_LV_2401-13_0_3_node_42 | 0.4 | n |  | TRUE
71 | bus_LV_2401-13_0_3_node_72 | 0.4 | n |  | TRUE
72 | bus_MV_334_0_node_36 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2401-13_0_3_load_0 | 0 | 0.0070841 | 0.0017754 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2401-13_0_3_load_1 | 1 | 0.0058501 | 0.0014662 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2401-13_0_3_load_4 | 3 | 0.0033391 | 0.00083686 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2401-13_0_3_load_5 | 4 | 0.0055842 | 0.0013995 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2401-13_0_3_load_3 | 5 | 0.0070708 | 0.0017721 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2401-13_0_3_load_52 | 8 | 0.0063212 | 0.0015843 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2401-13_0_3_load_6 | 10 | 0.0041154 | 0.0010314 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2401-13_0_3_load_7 | 11 | 0.0047126 | 0.0011811 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2401-13_0_3_load_26 | 16 | 0.021648 | 0.0054256 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2401-13_0_3_load_38 | 18 | 0.0015759 | 0.00039496 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2401-13_0_3_load_60 | 19 | 0.0039749 | 0.00099621 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2401-13_0_3_load_57 | 20 | 0.0046953 | 0.0011768 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2401-13_0_3_load_64 | 22 | 0.0036302 | 0.00090982 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2401-13_0_3_load_36 | 23 | 0.0019607 | 0.0004914 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2401-13_0_3_load_12 | 25 | 0.0032066 | 0.00080366 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2401-13_0_3_load_15 | 27 | 0.0032173 | 0.00080634 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2401-13_0_3_load_17 | 28 | 0.0028416 | 0.00071217 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2401-13_0_3_load_18 | 29 | 0.0018425 | 0.00046176 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2401-13_0_3_load_61 | 30 | 0.0051938 | 0.0013017 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2401-13_0_3_load_53 | 31 | 0.0034027 | 0.00085279 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2401-13_0_3_load_59 | 33 | 0.0039384 | 0.00098705 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2401-13_0_3_load_19 | 34 | 0.015454 | 0.0038732 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2401-13_0_3_load_73 | 37 | 0.0019278 | 0.00048315 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2401-13_0_3_load_22 | 39 | 0.0047 | 0.0011779 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2401-13_0_3_load_23 | 40 | 0.0033127 | 0.00083024 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2401-13_0_3_load_27 | 43 | 0.0075665 | 0.0018963 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2401-13_0_3_load_47 | 48 | 0.0021161 | 0.00053034 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2401-13_0_3_load_69 | 49 | 0.0032602 | 0.00081709 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2401-13_0_3_load_28 | 50 | 0.0017073 | 0.00042789 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2401-13_0_3_load_29 | 51 | 0.0051522 | 0.0012913 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2401-13_0_3_load_30 | 52 | 0.0021491 | 0.00053861 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2401-13_0_3_load_31 | 53 | 0.0017417 | 0.0004365 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2401-13_0_3_load_41 | 54 | 0.0016731 | 0.00041932 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2401-13_0_3_load_55 | 55 | 0.0048591 | 0.0012178 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2401-13_0_3_load_45 | 59 | 0.0014475 | 0.00036279 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2401-13_0_3_load_67 | 60 | 0.0020113 | 0.00050408 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2401-13_0_3_load_71 | 61 | 0.0021846 | 0.00054751 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2401-13_0_3_load_43 | 62 | 0.0010308 | 0.00025834 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2401-13_0_3_load_68 | 63 | 0.0024074 | 0.00060336 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2401-13_0_3_load_35 | 64 | 0.0018492 | 0.00046346 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2401-13_0_3_load_37 | 65 | 0.0019879 | 0.00049822 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2401-13_0_3_load_39 | 66 | 0.0024967 | 0.00062572 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2401-13_0_3_load_44 | 67 | 0.0011947 | 0.00029942 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2401-13_0_3_load_65 | 68 | 0.0018755 | 0.00047004 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2401-13_0_3_load_56 | 69 | 0.0017415 | 0.00043645 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2401-13_0_3_load_42 | 70 | 0.0017527 | 0.00043928 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2401-13_0_3_load_72 | 71 | 0.0011987 | 0.00030042 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 29 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2401-13_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.022714 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2401-13_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.018946 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2401-13_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.036432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2401-13_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0013667 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2401-13_0_3_line_4 | NAYY 4x150 SE | 3 | 7 | 0.0057002 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2401-13_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.018439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2401-13_0_3_line_6 | NAYY 4x150 SE | 5 | 6 | 0.018013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2401-13_0_3_line_7 | NAYY 4x150 SE | 6 | 8 | 0.011759 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2401-13_0_3_line_8 | NAYY 4x150 SE | 7 | 9 | 0.029205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2401-13_0_3_line_9 | NAYY 4x150 SE | 8 | 56 | 0.067023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2401-13_0_3_line_10 | NAYY 4x150 SE | 9 | 27 | 0.013902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2401-13_0_3_line_11 | NAYY 4x150 SE | 9 | 25 | 0.014538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2401-13_0_3_line_12 | NAYY 4x150 SE | 10 | 11 | 0.0017614 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2401-13_0_3_line_13 | NAYY 4x150 SE | 10 | 12 | 0.016658 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2401-13_0_3_line_14 | NAYY 4x150 SE | 11 | 13 | 0.022711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2401-13_0_3_line_15 | NAYY 4x150 SE | 12 | 14 | 0.03031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2401-13_0_3_line_16 | NAYY 4x150 SE | 12 | 15 | 0.019365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2401-13_0_3_line_17 | NAYY 4x150 SE | 13 | 16 | 0.043095 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2401-13_0_3_line_18 | NAYY 4x150 SE | 14 | 17 | 0.009562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2401-13_0_3_line_19 | NAYY 4x150 SE | 14 | 18 | 0.01238 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2401-13_0_3_line_20 | NAYY 4x150 SE | 15 | 19 | 0.02458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2401-13_0_3_line_21 | NAYY 4x150 SE | 15 | 20 | 0.027007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2401-13_0_3_line_22 | NAYY 4x150 SE | 17 | 21 | 0.023125 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2401-13_0_3_line_23 | NAYY 4x150 SE | 17 | 22 | 0.021746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2401-13_0_3_line_24 | NAYY 4x150 SE | 18 | 23 | 0.0027068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2401-13_0_3_line_25 | NAYY 4x150 SE | 19 | 24 | 0.004304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2401-13_0_3_line_26 | NAYY 4x150 SE | 21 | 67 | 0.023649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2401-13_0_3_line_27 | NAYY 4x150 SE | 22 | 68 | 0.03712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2401-13_0_3_line_28 | NAYY 4x150 SE | 23 | 64 | 0.0085069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2401-13_0_3_line_29 | NAYY 4x150 SE | 24 | 69 | 0.017858 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2401-13_0_3_line_30 | NAYY 4x150 SE | 24 | 31 | 0.015957 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2401-13_0_3_line_31 | NAYY 4x150 SE | 25 | 26 | 0.015453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2401-13_0_3_line_32 | NAYY 4x150 SE | 26 | 28 | 0.018003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2401-13_0_3_line_33 | NAYY 4x150 SE | 26 | 29 | 0.0077164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
34 | LV_2401-13_0_3_line_34 | NAYY 4x150 SE | 27 | 30 | 0.0033503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2401-13_0_3_line_35 | NAYY 4x150 SE | 28 | 31 | 0.016709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2401-13_0_3_line_36 | NAYY 4x150 SE | 29 | 32 | 0.01779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2401-13_0_3_line_37 | NAYY 4x150 SE | 32 | 33 | 0.0081497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2401-13_0_3_line_38 | NAYY 4x150 SE | 33 | 44 | 0.025521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2401-13_0_3_line_39 | NAYY 4x150 SE | 34 | 35 | 0.027101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2401-13_0_3_line_40 | NAYY 4x150 SE | 35 | 36 | 0.029302 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2401-13_0_3_line_41 | NAYY 4x150 SE | 36 | 37 | 0.14875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2401-13_0_3_line_42 | NAYY 4x150 SE | 37 | 38 | 0.0085674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2401-13_0_3_line_43 | NAYY 4x150 SE | 38 | 47 | 0.014202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2401-13_0_3_line_44 | NAYY 4x150 SE | 39 | 40 | 0.0029155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2401-13_0_3_line_45 | NAYY 4x150 SE | 39 | 41 | 0.025222 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_2401-13_0_3_line_46 | NAYY 4x150 SE | 40 | 42 | 0.016095 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_2401-13_0_3_line_47 | NAYY 4x150 SE | 41 | 43 | 0.019134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_2401-13_0_3_line_48 | NAYY 4x150 SE | 42 | 44 | 0.003716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_2401-13_0_3_line_49 | NAYY 4x150 SE | 43 | 45 | 0.019166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_2401-13_0_3_line_50 | NAYY 4x150 SE | 45 | 49 | 0.288 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_2401-13_0_3_line_51 | NAYY 4x150 SE | 45 | 48 | 0.021377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_2401-13_0_3_line_52 | NAYY 4x150 SE | 46 | 47 | 0.014574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_2401-13_0_3_line_53 | NAYY 4x150 SE | 46 | 48 | 0.020208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_2401-13_0_3_line_54 | NAYY 4x150 SE | 47 | 71 | 0.025827 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_2401-13_0_3_line_55 | NAYY 4x150 SE | 50 | 51 | 0.028989 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_2401-13_0_3_line_56 | NAYY 4x150 SE | 50 | 52 | 0.0065672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_2401-13_0_3_line_57 | NAYY 4x150 SE | 52 | 53 | 0.021943 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_2401-13_0_3_line_58 | NAYY 4x150 SE | 53 | 54 | 0.0056131 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_2401-13_0_3_line_59 | NAYY 4x150 SE | 54 | 55 | 0.0011922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_2401-13_0_3_line_60 | NAYY 4x150 SE | 55 | 69 | 0.0044213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_2401-13_0_3_line_61 | NAYY 4x150 SE | 56 | 57 | 0.064207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_2401-13_0_3_line_62 | NAYY 4x150 SE | 57 | 61 | 0.037039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_2401-13_0_3_line_63 | NAYY 4x150 SE | 58 | 59 | 0.073635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_2401-13_0_3_line_64 | NAYY 4x150 SE | 58 | 60 | 0.066915 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_2401-13_0_3_line_65 | NAYY 4x150 SE | 59 | 62 | 0.019224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_2401-13_0_3_line_66 | NAYY 4x150 SE | 60 | 63 | 0.01824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_2401-13_0_3_line_67 | NAYY 4x150 SE | 62 | 70 | 0.017195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_2401-13_0_3_line_68 | NAYY 4x150 SE | 64 | 65 | 0.019169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_2401-13_0_3_line_69 | NAYY 4x150 SE | 65 | 66 | 0.006441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_2401-13_0_3_line_70 | NAYY 4x150 SE | 67 | 70 | 0.023407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2401-13_0_3_trafo_18 | 0.25 MVA 20/0.4 kV | 72 | 29 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2626511.2397 | 1241069.1051 | 2626517.8859 | 1241055.7842 | 2626524.9531 | 1241059.1492
1 | 2626502.7814 | 1241086.0582 | 2626511.2397 | 1241069.1051
2 | 2626502.7814 | 1241086.0582 | 2626468.9446 | 1241072.5537
3 | 2626502.7814 | 1241086.0582 | 2626504.0426 | 1241086.5847
4 | 2626463.6505 | 1241070.4407 | 2626468.9446 | 1241072.5537
5 | 2626521.0585 | 1241093.6889 | 2626504.0426 | 1241086.5847
6 | 2626521.0585 | 1241093.6889 | 2626528.9841 | 1241077.5129
7 | 2626521.0585 | 1241093.6889 | 2626531.3332 | 1241099.4068
8 | 2626463.6505 | 1241070.4407 | 2626449.8893 | 1241096.218
9 | 2626589.8978 | 1241131.9983 | 2626531.3332 | 1241099.4068
10 | 2626449.8893 | 1241096.218 | 2626462.1087 | 1241102.8478
11 | 2626449.8893 | 1241096.218 | 2626437.1115 | 1241089.2842
12 | 2626346.8203 | 1241117.5156 | 2626345.2575 | 1241116.703
13 | 2626361.5998 | 1241125.1999 | 2626346.8203 | 1241117.5156
14 | 2626325.1071 | 1241106.2263 | 2626345.2575 | 1241116.703
15 | 2626347.4037 | 1241151.9984 | 2626361.5998 | 1241125.1999
16 | 2626370.7027 | 1241108.0961 | 2626364.8017 | 1241119.1992 | 2626361.5998 | 1241125.1999
17 | 2626325.1071 | 1241106.2263 | 2626345.3016 | 1241068.1562
18 | 2626347.4037 | 1241151.9984 | 2626342.6946 | 1241160.3272
19 | 2626347.4037 | 1241151.9984 | 2626358.1949 | 1241158.0664
20 | 2626370.7027 | 1241108.0961 | 2626381.8986 | 1241113.4047 | 2626392.5161 | 1241119.3926
21 | 2626370.7027 | 1241108.0961 | 2626383.4284 | 1241084.2748
22 | 2626341.3608 | 1241178.0992 | 2626335.0594 | 1241173.8353 | 2626342.6946 | 1241160.3272
23 | 2626342.6946 | 1241160.3272 | 2626323.3844 | 1241150.327
24 | 2626360.5543 | 1241159.3931 | 2626358.1949 | 1241158.0664
25 | 2626396.265 | 1241121.5069 | 2626392.5161 | 1241119.3926
26 | 2626341.3608 | 1241178.0992 | 2626361.5778 | 1241190.3683
27 | 2626323.3844 | 1241150.327 | 2626290.4218 | 1241133.2566
28 | 2626360.5543 | 1241159.3931 | 2626367.9693 | 1241163.5626
29 | 2626396.265 | 1241121.5069 | 2626411.8162 | 1241130.2848
30 | 2626396.265 | 1241121.5069 | 2626403.9114 | 1241107.5017
31 | 2626423.5296 | 1241081.914 | 2626437.1115 | 1241089.2842
32 | 2626423.5296 | 1241081.914 | 2626417.7982 | 1241082.0665 | 2626411.9184 | 1241092.836
33 | 2626423.5296 | 1241081.914 | 2626427.4239 | 1241075.2524
34 | 2626462.1087 | 1241102.8478 | 2626465.0535 | 1241104.4455
35 | 2626411.9184 | 1241092.836 | 2626403.9114 | 1241107.5017
36 | 2626434.7899 | 1241059.1386 | 2626431.445 | 1241068.374 | 2626427.4239 | 1241075.2524
37 | 2626434.7899 | 1241059.1386 | 2626427.2165 | 1241056.1286
38 | 2626403.4999 | 1241046.7029 | 2626427.2165 | 1241056.1286
39 | 2626495.7117 | 1240830.1207 | 2626473.4782 | 1240814.6238
40 | 2626519.8007 | 1240846.9053 | 2626495.7117 | 1240830.1207
41 | 2626446.1033 | 1240976.1113 | 2626519.8007 | 1240846.9053
42 | 2626441.5986 | 1240983.3988 | 2626446.1033 | 1240976.1113
43 | 2626433.0802 | 1240994.7792 | 2626441.5986 | 1240983.3988
44 | 2626390.9174 | 1241035.9791 | 2626388.3301 | 1241034.6353
45 | 2626365.9466 | 1241023.0102 | 2626388.3301 | 1241034.6353
46 | 2626405.2005 | 1241043.3972 | 2626390.9174 | 1241035.9791
47 | 2626365.9466 | 1241023.0102 | 2626372.9114 | 1241015.8365 | 2626377.1303 | 1241007.7337
48 | 2626403.4999 | 1241046.7029 | 2626405.2005 | 1241043.3972
49 | 2626385.9814 | 1240990.7342 | 2626377.1303 | 1241007.7337
50 | 2626385.9814 | 1240990.7342 | 2626132.7797 | 1240853.5053
51 | 2626385.9814 | 1240990.7342 | 2626405.7551 | 1240998.858
52 | 2626433.0802 | 1240994.7792 | 2626424.4468 | 1241006.5372
53 | 2626424.4468 | 1241006.5372 | 2626405.7551 | 1240998.858
54 | 2626433.0802 | 1240994.7792 | 2626446.7507 | 1240999.6208 | 2626457.4847 | 1241003.2286
55 | 2626446.4206 | 1241149.8173 | 2626471.6653 | 1241164.0668
56 | 2626446.4206 | 1241149.8173 | 2626440.7016 | 1241146.5892
57 | 2626421.5928 | 1241135.8033 | 2626440.7016 | 1241146.5892
58 | 2626421.5928 | 1241135.8033 | 2626416.7047 | 1241133.0441
59 | 2626415.6665 | 1241132.4581 | 2626416.7047 | 1241133.0441
60 | 2626415.6665 | 1241132.4581 | 2626411.8162 | 1241130.2848
61 | 2626621.2966 | 1241076.0923 | 2626596.697 | 1241123.0008 | 2626589.8978 | 1241131.9983
62 | 2626621.2966 | 1241076.0923 | 2626604.287 | 1241065.6985 | 2626589.6889 | 1241056.7828
63 | 2626483.5041 | 1241233.2987 | 2626446.201 | 1241233.5995 | 2626439.2016 | 1241233.3016 | 2626433.6036 | 1241232.3983 | 2626428.8038 | 1241230.498 | 2626423.5983 | 1241228.0066 | 2626412.7227 | 1241221.4066
64 | 2626483.5041 | 1241233.2987 | 2626479.2042 | 1241229.4994 | 2626426.7759 | 1241197.9723
65 | 2626396.2881 | 1241211.4329 | 2626412.7227 | 1241221.4066
66 | 2626426.7759 | 1241197.9723 | 2626411.1445 | 1241188.5725
67 | 2626381.5886 | 1241202.5122 | 2626396.2881 | 1241211.4329
68 | 2626384.6776 | 1241172.9579 | 2626367.9693 | 1241163.5626
69 | 2626390.2918 | 1241176.1149 | 2626384.6776 | 1241172.9579
70 | 2626381.5886 | 1241202.5122 | 2626361.5778 | 1241190.3683

## bus_geodata
| x | y | coords
0 | 2626511.2397 | 1241069.1051
1 | 2626524.9531 | 1241059.1492
2 | 2626502.7814 | 1241086.0582
3 | 2626468.9446 | 1241072.5537
4 | 2626504.0426 | 1241086.5847
5 | 2626528.9841 | 1241077.5129
6 | 2626521.0585 | 1241093.6889
7 | 2626463.6505 | 1241070.4407
8 | 2626531.3332 | 1241099.4068
9 | 2626449.8893 | 1241096.218
10 | 2626346.8203 | 1241117.5156
11 | 2626345.2575 | 1241116.703
12 | 2626361.5998 | 1241125.1999
13 | 2626325.1071 | 1241106.2263
14 | 2626347.4037 | 1241151.9984
15 | 2626370.7027 | 1241108.0961
16 | 2626345.3016 | 1241068.1562
17 | 2626342.6946 | 1241160.3272
18 | 2626358.1949 | 1241158.0664
19 | 2626392.5161 | 1241119.3926
20 | 2626383.4284 | 1241084.2748
21 | 2626341.3608 | 1241178.0992
22 | 2626323.3844 | 1241150.327
23 | 2626360.5543 | 1241159.3931
24 | 2626396.265 | 1241121.5069
25 | 2626437.1115 | 1241089.2842
26 | 2626423.5296 | 1241081.914
27 | 2626462.1087 | 1241102.8478
28 | 2626411.9184 | 1241092.836
29 | 2626427.4239 | 1241075.2524
30 | 2626465.0535 | 1241104.4455
31 | 2626403.9114 | 1241107.5017
32 | 2626434.7899 | 1241059.1386
33 | 2626427.2165 | 1241056.1286
34 | 2626473.4782 | 1240814.6238
35 | 2626495.7117 | 1240830.1207
36 | 2626519.8007 | 1240846.9053
37 | 2626446.1033 | 1240976.1113
38 | 2626441.5986 | 1240983.3988
39 | 2626388.3301 | 1241034.6353
40 | 2626390.9174 | 1241035.9791
41 | 2626365.9466 | 1241023.0102
42 | 2626405.2005 | 1241043.3972
43 | 2626377.1303 | 1241007.7337
44 | 2626403.4999 | 1241046.7029
45 | 2626385.9814 | 1240990.7342
46 | 2626424.4468 | 1241006.5372
47 | 2626433.0802 | 1240994.7792
48 | 2626405.7551 | 1240998.858
49 | 2626132.7797 | 1240853.5053
50 | 2626446.4206 | 1241149.8173
51 | 2626471.6653 | 1241164.0668
52 | 2626440.7016 | 1241146.5892
53 | 2626421.5928 | 1241135.8033
54 | 2626416.7047 | 1241133.0441
55 | 2626415.6665 | 1241132.4581
56 | 2626589.8978 | 1241131.9983
57 | 2626621.2966 | 1241076.0923
58 | 2626483.5041 | 1241233.2987
59 | 2626412.7227 | 1241221.4066
60 | 2626426.7759 | 1241197.9723
61 | 2626589.6889 | 1241056.7828
62 | 2626396.2881 | 1241211.4329
63 | 2626411.1445 | 1241188.5725
64 | 2626367.9693 | 1241163.5626
65 | 2626384.6776 | 1241172.9579
66 | 2626390.2918 | 1241176.1149
67 | 2626361.5778 | 1241190.3683
68 | 2626290.4218 | 1241133.2566
69 | 2626411.8162 | 1241130.2848
70 | 2626381.5886 | 1241202.5122
71 | 2626457.4847 | 1241003.2286
72 | 2626423.5296 | 1241081.914

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99318 | -0.047802 | 0.0070841 | 0.0017754
1 | 0.99299 | -0.049147 | 0.0058501 | 0.0014662
2 | 0.99353 | -0.045323 | 0 | 0
3 | 0.99531 | -0.032777 | 0.0033391 | 0.00083686
4 | 0.99349 | -0.045616 | 0.0055842 | 0.0013995
5 | 0.99289 | -0.049814 | 0.0070708 | 0.0017721
6 | 0.99308 | -0.048525 | 0 | 0
7 | 0.99562 | -0.030626 | 0 | 0
8 | 0.99293 | -0.049539 | 0.0063212 | 0.0015843
9 | 0.99719 | -0.019627 | 0 | 0
10 | 0.98806 | -0.083673 | 0.0041154 | 0.0010314
11 | 0.98799 | -0.084148 | 0.0047126 | 0.0011811
12 | 0.98879 | -0.078486 | 0 | 0
13 | 0.98728 | -0.08918 | 0 | 0
14 | 0.98769 | -0.08631 | 0 | 0
15 | 0.99035 | -0.067484 | 0 | 0
16 | 0.98593 | -0.098746 | 0.021648 | 0.0054256
17 | 0.98748 | -0.087815 | 0 | 0
18 | 0.98751 | -0.087561 | 0.0015759 | 0.00039496
19 | 0.99249 | -0.052398 | 0.0039749 | 0.00099621
20 | 0.99017 | -0.068775 | 0.0046953 | 0.0011768
21 | 0.98715 | -0.090151 | 0 | 0
22 | 0.9873 | -0.089042 | 0.0036302 | 0.00090982
23 | 0.98748 | -0.087791 | 0.0019607 | 0.0004914
24 | 0.99289 | -0.04959 | 0 | 0
25 | 0.99814 | -0.012939 | 0.0032066 | 0.00080366
26 | 0.99923 | -0.0053485 | 0 | 0
27 | 0.99702 | -0.020801 | 0.0032173 | 0.00080634
28 | 0.9969 | -0.021529 | 0.0028416 | 0.00071217
29 | 1 | 0 | -0.18458 | -0.046254
30 | 0.997 | -0.020976 | 0.0051938 | 0.0013017
31 | 0.99481 | -0.036134 | 0.0034027 | 0.00085279
32 | 0.99889 | -0.00774 | 0 | 0
33 | 0.99838 | -0.011291 | 0.0039384 | 0.00098705
34 | 0.98625 | -0.096647 | 0.015454 | 0.0038732
35 | 0.98685 | -0.092352 | 0 | 0
36 | 0.98751 | -0.087713 | 0 | 0
37 | 0.99083 | -0.064246 | 0.0019278 | 0.00048315
38 | 0.99104 | -0.062731 | 0 | 0
39 | 0.99565 | -0.030378 | 0.0047 | 0.0011779
40 | 0.9958 | -0.029313 | 0.0033127 | 0.00083024
41 | 0.9945 | -0.038408 | 0 | 0
42 | 0.99672 | -0.022904 | 0 | 0
43 | 0.99363 | -0.044511 | 0.0075665 | 0.0018963
44 | 0.99693 | -0.021426 | 0 | 0
45 | 0.99297 | -0.049167 | 0 | 0
46 | 0.99179 | -0.057468 | 0 | 0
47 | 0.9914 | -0.06022 | 0 | 0
48 | 0.99233 | -0.053655 | 0.0021161 | 0.00053034
49 | 0.99162 | -0.058725 | 0.0032602 | 0.00081709
50 | 0.99184 | -0.057032 | 0.0017073 | 0.00042789
51 | 0.99162 | -0.058548 | 0.0051522 | 0.0012913
52 | 0.9919 | -0.056574 | 0.0021491 | 0.00053861
53 | 0.99219 | -0.054569 | 0.0017417 | 0.0004365
54 | 0.99227 | -0.053957 | 0.0016731 | 0.00041932
55 | 0.9923 | -0.053807 | 0.0048591 | 0.0012178
56 | 0.99272 | -0.051031 | 0 | 0
57 | 0.99252 | -0.052456 | 0 | 0
58 | 0.98571 | -0.10035 | 0 | 0
59 | 0.98618 | -0.097002 | 0.0014475 | 0.00036279
60 | 0.98528 | -0.10339 | 0.0020113 | 0.00050408
61 | 0.9924 | -0.053276 | 0.0021846 | 0.00054751
62 | 0.98635 | -0.095842 | 0.0010308 | 0.00025834
63 | 0.98522 | -0.10384 | 0.0024074 | 0.00060336
64 | 0.9874 | -0.088342 | 0.0018492 | 0.00046346
65 | 0.98728 | -0.089223 | 0.0019879 | 0.00049822
66 | 0.98725 | -0.089387 | 0.0024967 | 0.00062572
67 | 0.98681 | -0.092542 | 0.0011947 | 0.00029942
68 | 0.9872 | -0.089755 | 0.0018755 | 0.00047004
69 | 0.99241 | -0.053032 | 0.0017415 | 0.00043645
70 | 0.98652 | -0.094622 | 0.0017527 | 0.00043928
71 | 0.99136 | -0.060535 | 0.0011987 | 0.00030042
72 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0058512 | 0.0014663 | -0.0058501 | -0.0014662 | 1.0893e-06 | 1.2506e-07 | 0.0087664 | 0.0087665 | 0.0087665 | 0.99318 | -0.047802 | 0.99299 | -0.049147 | 3.2469
1 | -0.012935 | -0.0032417 | 0.01294 | 0.0032432 | 4.4403e-06 | 1.4625e-06 | 0.01938 | 0.01938 | 0.01938 | 0.99318 | -0.047802 | 0.99353 | -0.045323 | 7.1778
2 | -0.034111 | -0.0085479 | 0.034171 | 0.0085703 | 5.9335e-05 | 2.2348e-05 | 0.051088 | 0.051088 | 0.051088 | 0.99353 | -0.045323 | 0.99531 | -0.032777 | 18.9216
3 | 0.021172 | 0.0053047 | -0.021171 | -0.0053044 | 8.5745e-07 | 3.1209e-07 | 0.031708 | 0.031708 | 0.031708 | 0.99353 | -0.045323 | 0.99349 | -0.045616 | 11.7438
4 | -0.03751 | -0.0094071 | 0.037521 | 0.0094113 | 1.1186e-05 | 4.2284e-06 | 0.05608 | 0.05608 | 0.05608 | 0.99531 | -0.032777 | 0.99562 | -0.030626 | 20.7704
5 | 0.015586 | 0.0039049 | -0.01558 | -0.0039027 | 6.2704e-06 | 2.173e-06 | 0.023344 | 0.023345 | 0.023345 | 0.99349 | -0.045616 | 0.99308 | -0.048525 | 8.6461
6 | -0.0070708 | -0.0017721 | 0.0070721 | 0.0017724 | 1.2622e-06 | 2.5244e-07 | 0.010597 | 0.010597 | 0.010597 | 0.99289 | -0.049814 | 0.99308 | -0.048525 | 3.9247
7 | 0.0085082 | 0.0021303 | -0.008507 | -0.00213 | 1.1924e-06 | 3.0649e-07 | 0.012748 | 0.012748 | 0.012748 | 0.99308 | -0.048525 | 0.99293 | -0.049539 | 4.7214
8 | -0.037521 | -0.0094113 | 0.037578 | 0.009433 | 5.7314e-05 | 2.1663e-05 | 0.05608 | 0.05608 | 0.05608 | 0.99562 | -0.030626 | 0.99719 | -0.019627 | 20.7704
9 | 0.0021857 | 0.00054577 | -0.0021853 | -0.00054646 | 4.4856e-07 | -6.942e-07 | 0.0032748 | 0.0032751 | 0.0032751 | 0.99293 | -0.049539 | 0.99272 | -0.051031 | 1.213
10 | 0.0084127 | 0.0021084 | -0.0084113 | -0.002108 | 1.3671e-06 | 3.4447e-07 | 0.012553 | 0.012554 | 0.012554 | 0.99719 | -0.019627 | 0.99702 | -0.020801 | 4.6495
11 | -0.045991 | -0.011541 | 0.046034 | 0.011558 | 4.2732e-05 | 1.6246e-05 | 0.068633 | 0.068633 | 0.068633 | 0.99719 | -0.019627 | 0.99814 | -0.012939 | 25.4198
12 | 0.026407 | 0.0066233 | -0.026405 | -0.0066227 | 1.7384e-06 | 6.4607e-07 | 0.03977 | 0.03977 | 0.03977 | 0.98806 | -0.083673 | 0.98799 | -0.084148 | 14.7297
13 | -0.030522 | -0.0076548 | 0.030544 | 0.007663 | 2.1964e-05 | 8.2342e-06 | 0.045968 | 0.045968 | 0.045968 | 0.98806 | -0.083673 | 0.98879 | -0.078486 | 17.0252
14 | 0.021692 | 0.0054416 | -0.021677 | -0.0054361 | 1.5128e-05 | 5.528e-06 | 0.032673 | 0.032673 | 0.032673 | 0.98799 | -0.084148 | 0.98728 | -0.08918 | 12.101
15 | 0.02527 | 0.0063348 | -0.025243 | -0.0063246 | 2.7354e-05 | 1.0132e-05 | 0.03803 | 0.03803 | 0.03803 | 0.98879 | -0.078486 | 0.98769 | -0.08631 | 14.0851
16 | -0.055814 | -0.013998 | 0.0559 | 0.01403 | 8.5258e-05 | 3.2543e-05 | 0.083997 | 0.083997 | 0.083997 | 0.98879 | -0.078486 | 0.99035 | -0.067484 | 31.1102
17 | 0.021677 | 0.0054361 | -0.021648 | -0.0054256 | 2.8706e-05 | 1.0491e-05 | 0.032673 | 0.032673 | 0.032673 | 0.98728 | -0.08918 | 0.98593 | -0.098746 | 12.101
18 | 0.01537 | 0.0038503 | -0.015366 | -0.0038492 | 3.199e-06 | 1.108e-06 | 0.023155 | 0.023155 | 0.023155 | 0.98769 | -0.08631 | 0.98748 | -0.087815 | 8.5758
19 | 0.0098735 | 0.0024743 | -0.0098718 | -0.0024738 | 1.7093e-06 | 4.9902e-07 | 0.014875 | 0.014875 | 0.014875 | 0.98769 | -0.08631 | 0.98751 | -0.087561 | 5.5093
20 | -0.060596 | -0.015207 | 0.060723 | 0.015256 | 0.00012716 | 4.8592e-05 | 0.091053 | 0.091053 | 0.091053 | 0.99035 | -0.067484 | 0.99249 | -0.052398 | 33.7235
21 | 0.0046962 | 0.0011767 | -0.0046953 | -0.0011768 | 8.3905e-07 | -2.4737e-08 | 0.007056 | 0.0070561 | 0.0070561 | 0.99035 | -0.067484 | 0.99017 | -0.068775 | 2.6134
22 | 0.0098596 | 0.0024697 | -0.0098564 | -0.0024688 | 3.1851e-06 | 9.293e-07 | 0.014857 | 0.014857 | 0.014857 | 0.98748 | -0.087815 | 0.98715 | -0.090151 | 5.5026
23 | 0.0055068 | 0.0013795 | -0.0055059 | -0.0013795 | 9.3435e-07 | 8.1224e-08 | 0.008298 | 0.008298 | 0.008298 | 0.98748 | -0.087815 | 0.9873 | -0.089042 | 3.0734
24 | 0.0082959 | 0.0020789 | -0.0082956 | -0.0020788 | 2.6393e-07 | 6.6884e-08 | 0.0125 | 0.0125 | 0.0125 | 0.98751 | -0.087561 | 0.98748 | -0.087791 | 4.6298
25 | -0.064698 | -0.016252 | 0.064723 | 0.016262 | 2.5276e-05 | 9.666e-06 | 0.097013 | 0.097013 | 0.097013 | 0.99249 | -0.052398 | 0.99289 | -0.04959 | 35.9306
26 | 0.0098564 | 0.0024688 | -0.0098531 | -0.0024678 | 3.2573e-06 | 9.5056e-07 | 0.014857 | 0.014857 | 0.014857 | 0.98715 | -0.090151 | 0.98681 | -0.092542 | 5.5026
27 | 0.0018757 | 0.00046964 | -0.0018755 | -0.00047004 | 1.851e-07 | -4.0347e-07 | 0.0028268 | 0.0028269 | 0.0028269 | 0.9873 | -0.089042 | 0.9872 | -0.089755 | 1.047
28 | 0.0063349 | 0.0015874 | -0.0063344 | -0.0015873 | 4.8371e-07 | 7.7225e-08 | 0.0095459 | 0.0095459 | 0.0095459 | 0.98748 | -0.087791 | 0.9874 | -0.088342 | 3.5355
29 | 0.01904 | 0.0047729 | -0.019031 | -0.0047697 | 9.0733e-06 | 3.2589e-06 | 0.028535 | 0.028535 | 0.028535 | 0.99289 | -0.04959 | 0.99241 | -0.053032 | 10.5686
30 | -0.083763 | -0.021034 | 0.08392 | 0.021095 | 0.00015694 | 6.0156e-05 | 0.12555 | 0.12555 | 0.12555 | 0.99289 | -0.04959 | 0.99481 | -0.036134 | 46.4992
31 | -0.04924 | -0.012361 | 0.049292 | 0.012381 | 5.1969e-05 | 1.9786e-05 | 0.073414 | 0.073414 | 0.073414 | 0.99814 | -0.012939 | 0.99923 | -0.0053485 | 27.1903
32 | 0.090547 | 0.022806 | -0.090342 | -0.022728 | 0.00020438 | 7.8371e-05 | 0.13488 | 0.13488 | 0.13488 | 0.99923 | -0.0053485 | 0.9969 | -0.021529 | 49.9551
33 | -0.13984 | -0.035187 | 0.13994 | 0.035227 | 0.00010445 | 3.9971e-05 | 0.20829 | 0.20829 | 0.20829 | 0.99923 | -0.0053485 | 1 | 0 | 38.5727
34 | 0.0051939 | 0.0013017 | -0.0051938 | -0.0013017 | 1.2562e-07 | 4.6258e-09 | 0.0077518 | 0.0077518 | 0.0077518 | 0.99702 | -0.020801 | 0.997 | -0.020976 | 2.871
35 | 0.087501 | 0.022016 | -0.087323 | -0.021947 | 0.00017794 | 6.8221e-05 | 0.13064 | 0.13064 | 0.13064 | 0.9969 | -0.021529 | 0.99481 | -0.036134 | 48.3842
36 | 0.04384 | 0.011027 | -0.043793 | -0.011009 | 4.7261e-05 | 1.7944e-05 | 0.065249 | 0.065249 | 0.065249 | 1 | 0 | 0.99889 | -0.00774 | 24.1662
37 | 0.043793 | 0.011009 | -0.043771 | -0.011001 | 2.1651e-05 | 8.2205e-06 | 0.065249 | 0.065249 | 0.065249 | 0.99889 | -0.00774 | 0.99838 | -0.011291 | 24.1662
38 | 0.039833 | 0.010014 | -0.039777 | -0.0099924 | 5.615e-05 | 2.1263e-05 | 0.059379 | 0.059379 | 0.059379 | 0.99838 | -0.011291 | 0.99693 | -0.021426 | 21.9922
39 | -0.015454 | -0.0038732 | 0.015463 | 0.0038764 | 9.1942e-06 | 3.1902e-06 | 0.023317 | 0.023317 | 0.023317 | 0.98625 | -0.096647 | 0.98685 | -0.092352 | 8.6359
40 | -0.015463 | -0.0038764 | 0.015473 | 0.0038798 | 9.9407e-06 | 3.4487e-06 | 0.023317 | 0.023317 | 0.023317 | 0.98685 | -0.092352 | 0.98751 | -0.087713 | 8.6358
41 | -0.015473 | -0.0038798 | 0.015524 | 0.0038973 | 5.046e-05 | 1.7498e-05 | 0.023317 | 0.023316 | 0.023317 | 0.98751 | -0.087713 | 0.99083 | -0.064246 | 8.6358
42 | -0.017452 | -0.0043805 | 0.017455 | 0.0043818 | 3.6728e-06 | 1.3023e-06 | 0.026211 | 0.026211 | 0.026211 | 0.99083 | -0.064246 | 0.99104 | -0.062731 | 9.7078
43 | -0.017455 | -0.0043818 | 0.017461 | 0.0043839 | 6.0884e-06 | 2.1586e-06 | 0.026211 | 0.026211 | 0.026211 | 0.99104 | -0.062731 | 0.9914 | -0.06022 | 9.7078
44 | -0.036415 | -0.0091436 | 0.03642 | 0.0091456 | 5.3896e-06 | 2.035e-06 | 0.054429 | 0.054429 | 0.054429 | 0.99565 | -0.030378 | 0.9958 | -0.029313 | 20.1589
45 | 0.031715 | 0.0079657 | -0.03168 | -0.0079524 | 3.5368e-05 | 1.3276e-05 | 0.047405 | 0.047405 | 0.047405 | 0.99565 | -0.030378 | 0.9945 | -0.038408 | 17.5573
46 | -0.039733 | -0.0099759 | 0.039768 | 0.0099893 | 3.541e-05 | 1.341e-05 | 0.059379 | 0.059379 | 0.059379 | 0.9958 | -0.029313 | 0.99672 | -0.022904 | 21.9922
47 | 0.03168 | 0.0079524 | -0.031653 | -0.0079423 | 2.6831e-05 | 1.0071e-05 | 0.047405 | 0.047405 | 0.047405 | 0.9945 | -0.038408 | 0.99363 | -0.044511 | 17.5574
48 | -0.039768 | -0.0099893 | 0.039777 | 0.0099924 | 8.1757e-06 | 3.0961e-06 | 0.059379 | 0.059379 | 0.059379 | 0.99672 | -0.022904 | 0.99693 | -0.021426 | 21.9922
49 | 0.024086 | 0.006046 | -0.024071 | -0.0060402 | 1.5563e-05 | 5.7377e-06 | 0.036074 | 0.036074 | 0.036074 | 0.99363 | -0.044511 | 0.99297 | -0.049167 | 13.3607
50 | 0.0032645 | 0.00081503 | -0.0032602 | -0.00081709 | 4.3001e-06 | -2.0665e-06 | 0.004891 | 0.0048923 | 0.0048923 | 0.99297 | -0.049167 | 0.99162 | -0.058725 | 1.812
51 | 0.020806 | 0.0052252 | -0.020793 | -0.0052205 | 1.2971e-05 | 4.7125e-06 | 0.031183 | 0.031183 | 0.031183 | 0.99297 | -0.049167 | 0.99233 | -0.053655 | 11.5492
52 | 0.018667 | 0.0046866 | -0.01866 | -0.004684 | 7.1349e-06 | 2.5562e-06 | 0.02801 | 0.02801 | 0.02801 | 0.99179 | -0.057468 | 0.9914 | -0.06022 | 10.3741
53 | -0.018667 | -0.0046866 | 0.018677 | 0.0046901 | 9.8929e-06 | 3.5441e-06 | 0.02801 | 0.02801 | 0.02801 | 0.99179 | -0.057468 | 0.99233 | -0.053655 | 10.3741
54 | 0.0011987 | 0.0003001 | -0.0011987 | -0.00030042 | 5.2165e-08 | -3.1295e-07 | 0.0017991 | 0.0017992 | 0.0017992 | 0.9914 | -0.06022 | 0.99136 | -0.060535 | 0.66637
55 | 0.0051533 | 0.0012913 | -0.0051522 | -0.0012913 | 1.0812e-06 | 4.1805e-08 | 0.0077312 | 0.0077313 | 0.0077313 | 0.99184 | -0.057032 | 0.99162 | -0.058548 | 2.8635
56 | -0.0068606 | -0.0017192 | 0.006861 | 0.0017193 | 4.3412e-07 | 8.2207e-08 | 0.010293 | 0.010293 | 0.010293 | 0.99184 | -0.057032 | 0.9919 | -0.056574 | 3.8121
57 | -0.0090101 | -0.0022579 | 0.0090126 | 0.0022586 | 2.5015e-06 | 6.788e-07 | 0.013517 | 0.013516 | 0.013517 | 0.9919 | -0.056574 | 0.99219 | -0.054569 | 5.0061
58 | -0.010754 | -0.0026951 | 0.010755 | 0.0026953 | 9.1112e-07 | 2.7793e-07 | 0.016128 | 0.016128 | 0.016128 | 0.99219 | -0.054569 | 0.99227 | -0.053957 | 5.9735
59 | -0.012428 | -0.0031147 | 0.012429 | 0.0031147 | 2.584e-07 | 8.3985e-08 | 0.018637 | 0.018637 | 0.018637 | 0.99227 | -0.053957 | 0.9923 | -0.053807 | 6.9027
60 | -0.017288 | -0.0043326 | 0.01729 | 0.0043332 | 1.8541e-06 | 6.5601e-07 | 0.025924 | 0.025924 | 0.025924 | 0.9923 | -0.053807 | 0.99241 | -0.053032 | 9.6015
61 | 0.0021853 | 0.00054646 | -0.0021848 | -0.00054713 | 4.298e-07 | -6.6466e-07 | 0.0032751 | 0.0032754 | 0.0032754 | 0.99272 | -0.051031 | 0.99252 | -0.052456 | 1.2131
62 | 0.0021848 | 0.00054713 | -0.0021846 | -0.00054751 | 2.4797e-07 | -3.8326e-07 | 0.0032754 | 0.0032756 | 0.0032756 | 0.99252 | -0.052456 | 0.9924 | -0.053276 | 1.2132
63 | -0.0044207 | -0.0011071 | 0.0044228 | 0.001107 | 2.0461e-06 | -1.5214e-07 | 0.0066732 | 0.0066729 | 0.0066732 | 0.98571 | -0.10035 | 0.98618 | -0.097002 | 2.4716
64 | 0.0044207 | 0.0011071 | -0.0044189 | -0.0011073 | 1.8595e-06 | -1.3741e-07 | 0.0066732 | 0.0066735 | 0.0066735 | 0.98571 | -0.10035 | 0.98528 | -0.10339 | 2.4717
65 | -0.0058703 | -0.0014698 | 0.0058713 | 0.0014699 | 9.4103e-07 | 1.1661e-07 | 0.008857 | 0.0088569 | 0.008857 | 0.98618 | -0.097002 | 0.98635 | -0.095842 | 3.2804
66 | 0.0024076 | 0.00060318 | -0.0024074 | -0.00060336 | 1.5047e-07 | -1.7442e-07 | 0.0036359 | 0.003636 | 0.003636 | 0.98528 | -0.10339 | 0.98522 | -0.10384 | 1.3467
67 | -0.006902 | -0.0017282 | 0.0069032 | 0.0017284 | 1.1632e-06 | 2.2787e-07 | 0.010412 | 0.010412 | 0.010412 | 0.98635 | -0.095842 | 0.98652 | -0.094622 | 3.8563
68 | 0.0044852 | 0.0011239 | -0.0044847 | -0.0011239 | 5.4647e-07 | -3.4972e-08 | 0.0067591 | 0.0067592 | 0.0067592 | 0.9874 | -0.088342 | 0.98728 | -0.089223 | 2.5034
69 | 0.0024967 | 0.00062566 | -0.0024967 | -0.00062572 | 5.6913e-08 | -6.0473e-08 | 0.003763 | 0.003763 | 0.003763 | 0.98728 | -0.089223 | 0.98725 | -0.089387 | 1.3937
70 | 0.0086584 | 0.0021684 | -0.008656 | -0.0021677 | 2.4896e-06 | 6.5859e-07 | 0.013056 | 0.013056 | 0.013056 | 0.98681 | -0.092542 | 0.98652 | -0.094622 | 4.8354

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.18643 | 0.046716

## res_load
| p_mw | q_mvar
0 | 0.0070841 | 0.0017754
1 | 0.0058501 | 0.0014662
2 | 0.0033391 | 0.00083686
3 | 0.0055842 | 0.0013995
4 | 0.0070708 | 0.0017721
5 | 0.0063212 | 0.0015843
6 | 0.0041154 | 0.0010314
7 | 0.0047126 | 0.0011811
8 | 0.021648 | 0.0054256
9 | 0.0015759 | 0.00039496
10 | 0.0039749 | 0.00099621
11 | 0.0046953 | 0.0011768
12 | 0.0036302 | 0.00090982
13 | 0.0019607 | 0.0004914
14 | 0.0032066 | 0.00080366
15 | 0.0032173 | 0.00080634
16 | 0.0028416 | 0.00071217
17 | 0.0018425 | 0.00046176
18 | 0.0051938 | 0.0013017
19 | 0.0034027 | 0.00085279
20 | 0.0039384 | 0.00098705
21 | 0.015454 | 0.0038732
22 | 0.0019278 | 0.00048315
23 | 0.0047 | 0.0011779
24 | 0.0033127 | 0.00083024
25 | 0.0075665 | 0.0018963
26 | 0.0021161 | 0.00053034
27 | 0.0032602 | 0.00081709
28 | 0.0017073 | 0.00042789
29 | 0.0051522 | 0.0012913
30 | 0.0021491 | 0.00053861
31 | 0.0017417 | 0.0004365
32 | 0.0016731 | 0.00041932
33 | 0.0048591 | 0.0012178
34 | 0.0014475 | 0.00036279
35 | 0.0020113 | 0.00050408
36 | 0.0021846 | 0.00054751
37 | 0.0010308 | 0.00025834
38 | 0.0024074 | 0.00060336
39 | 0.0018492 | 0.00046346
40 | 0.0019879 | 0.00049822
41 | 0.0024967 | 0.00062572
42 | 0.0011947 | 0.00029942
43 | 0.0018755 | 0.00047004
44 | 0.0017415 | 0.00043645
45 | 0.0017527 | 0.00043928
46 | 0.0011987 | 0.00030042

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1