## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2403-3_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2403-3_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2403-3_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_2403-3_0_3_node_42 | 0.4 | n |  | TRUE
4 | bus_LV_2403-3_0_3_node_58 | 0.4 | n |  | TRUE
5 | bus_LV_2403-3_0_3_node_51 | 0.4 | n |  | TRUE
6 | bus_LV_2403-3_0_3_node_43 | 0.4 | n |  | TRUE
7 | bus_LV_2403-3_0_3_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_2403-3_0_3_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_2403-3_0_3_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_2403-3_0_3_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_2403-3_0_3_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_2403-3_0_3_node_25 | 0.4 | n |  | TRUE
13 | bus_LV_2403-3_0_3_node_54 | 0.4 | n |  | TRUE
14 | bus_LV_2403-3_0_3_node_46 | 0.4 | n |  | TRUE
15 | bus_LV_2403-3_0_3_node_56 | 0.4 | n |  | TRUE
16 | bus_LV_2403-3_0_3_node_24 | 0.4 | n |  | TRUE
17 | bus_LV_2403-3_0_3_node_50 | 0.4 | n |  | TRUE
18 | bus_LV_2403-3_0_3_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_2403-3_0_3_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_2403-3_0_3_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_2403-3_0_3_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_2403-3_0_3_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_2403-3_0_3_node_28 | 0.4 | n |  | TRUE
24 | bus_LV_2403-3_0_3_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_2403-3_0_3_node_30 | 0.4 | n |  | TRUE
26 | bus_LV_2403-3_0_3_node_29 | 0.4 | n |  | TRUE
27 | bus_LV_2403-3_0_3_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_2403-3_0_3_node_14 | 0.4 | n |  | TRUE
29 | bus_LV_2403-3_0_3_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_2403-3_0_3_node_15 | 0.4 | n |  | TRUE
31 | bus_LV_2403-3_0_3_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_2403-3_0_3_node_34 | 0.4 | n |  | TRUE
33 | bus_LV_2403-3_0_3_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_2403-3_0_3_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_2403-3_0_3_node_20 | 0.4 | n |  | TRUE
36 | bus_LV_2403-3_0_3_node_21 | 0.4 | n |  | TRUE
37 | bus_LV_2403-3_0_3_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_2403-3_0_3_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_2403-3_0_3_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_2403-3_0_3_node_45 | 0.4 | n |  | TRUE
41 | bus_LV_2403-3_0_3_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_2403-3_0_3_node_37 | 0.4 | n |  | TRUE
43 | bus_LV_2403-3_0_3_node_57 | 0.4 | n |  | TRUE
44 | bus_LV_2403-3_0_3_node_35 | 0.4 | n |  | TRUE
45 | bus_LV_2403-3_0_3_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_2403-3_0_3_node_40 | 0.4 | n |  | TRUE
47 | bus_LV_2403-3_0_3_node_39 | 0.4 | n |  | TRUE
48 | bus_LV_2403-3_0_3_node_36 | 0.4 | n |  | TRUE
49 | bus_LV_2403-3_0_3_node_38 | 0.4 | n |  | TRUE
50 | bus_LV_2403-3_0_3_node_55 | 0.4 | n |  | TRUE
51 | bus_LV_2403-3_0_3_node_53 | 0.4 | n |  | TRUE
52 | bus_LV_2403-3_0_3_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_2403-3_0_3_node_52 | 0.4 | n |  | TRUE
54 | bus_LV_2403-3_0_3_node_47 | 0.4 | n |  | TRUE
55 | bus_LV_2403-3_0_3_node_48 | 0.4 | n |  | TRUE
56 | bus_LV_2403-3_0_3_node_49 | 0.4 | n |  | TRUE
57 | bus_MV_479_0_node_13 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2403-3_0_3_load_0 | 0 | 0.016778 | 0.004205 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2403-3_0_3_load_1 | 1 | 0.043943 | 0.011013 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2403-3_0_3_load_42 | 3 | 0.0034971 | 0.00087646 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2403-3_0_3_load_58 | 4 | 0.01401 | 0.0035112 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2403-3_0_3_load_4 | 7 | 0.0041079 | 0.0010295 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2403-3_0_3_load_5 | 8 | 0.0055208 | 0.0013836 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2403-3_0_3_load_8 | 11 | 0.0020882 | 0.00052335 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2403-3_0_3_load_54 | 13 | 0.0042181 | 0.0010572 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2403-3_0_3_load_46 | 14 | 0.029181 | 0.0073133 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2403-3_0_3_load_56 | 15 | 0.0018056 | 0.00045252 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2403-3_0_3_load_50 | 17 | 0.012411 | 0.0031106 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2403-3_0_3_load_9 | 18 | 0.0015206 | 0.00038109 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2403-3_0_3_load_10 | 19 | 0.0013335 | 0.00033421 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2403-3_0_3_load_11 | 20 | 0.0013554 | 0.0003397 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2403-3_0_3_load_12 | 21 | 0.0014509 | 0.00036362 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2403-3_0_3_load_28 | 23 | 0.0017665 | 0.00044271 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2403-3_0_3_load_30 | 25 | 0.00091596 | 0.00022956 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2403-3_0_3_load_29 | 26 | 0.0012936 | 0.00032421 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2403-3_0_3_load_18 | 27 | 0.0019386 | 0.00048587 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2403-3_0_3_load_14 | 28 | 0.0023623 | 0.00059205 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2403-3_0_3_load_15 | 30 | 0.0014479 | 0.00036288 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2403-3_0_3_load_17 | 31 | 0.0013727 | 0.00034402 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2403-3_0_3_load_34 | 32 | 0.0041728 | 0.0010458 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2403-3_0_3_load_19 | 34 | 0.0018568 | 0.00046535 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2403-3_0_3_load_20 | 35 | 0.0024537 | 0.00061497 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2403-3_0_3_load_23 | 37 | 0.0029435 | 0.00073771 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2403-3_0_3_load_32 | 39 | 0.0017397 | 0.00043601 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2403-3_0_3_load_45 | 40 | 0.0017849 | 0.00044733 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2403-3_0_3_load_57 | 43 | 0.0014998 | 0.00037588 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2403-3_0_3_load_35 | 44 | 0.0043066 | 0.0010793 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2403-3_0_3_load_33 | 45 | 0.0015623 | 0.00039155 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2403-3_0_3_load_39 | 47 | 0.0012377 | 0.0003102 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2403-3_0_3_load_36 | 48 | 0.00051021 | 0.00012787 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2403-3_0_3_load_55 | 50 | 0.0065504 | 0.0016417 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2403-3_0_3_load_44 | 52 | 0.0034963 | 0.00087625 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2403-3_0_3_load_52 | 53 | 0.0038949 | 0.00097615 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2403-3_0_3_load_47 | 54 | 0.0099824 | 0.0025018 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2403-3_0_3_load_48 | 55 | 0.020759 | 0.0052027 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2403-3_0_3_load_49 | 56 | 0.0011448 | 0.00028691 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 11 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2403-3_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.027417 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2403-3_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.004793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
2 | LV_2403-3_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.029761 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
3 | LV_2403-3_0_3_line_3 | NAYY 4x150 SE | 3 | 6 | 0.0031593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_2403-3_0_3_line_4 | NAYY 4x150 SE | 4 | 5 | 0.09376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2403-3_0_3_line_5 | NAYY 4x150 SE | 5 | 56 | 0.043213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2403-3_0_3_line_6 | NAYY 4x150 SE | 6 | 52 | 0.018608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_2403-3_0_3_line_7 | NAYY 4x150 SE | 7 | 8 | 0.027745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2403-3_0_3_line_8 | NAYY 4x150 SE | 7 | 9 | 0.029607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2403-3_0_3_line_9 | NAYY 4x150 SE | 9 | 10 | 0.005066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
10 | LV_2403-3_0_3_line_10 | NAYY 4x150 SE | 9 | 11 | 0.056677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
11 | LV_2403-3_0_3_line_11 | NAYY 4x150 SE | 10 | 12 | 0.022882 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
12 | LV_2403-3_0_3_line_12 | NAYY 4x150 SE | 10 | 13 | 0.025867 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2403-3_0_3_line_13 | NAYY 4x150 SE | 11 | 14 | 0.019774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2403-3_0_3_line_14 | NAYY 4x150 SE | 12 | 15 | 0.022893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2403-3_0_3_line_15 | NAYY 4x150 SE | 12 | 16 | 0.012164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
16 | LV_2403-3_0_3_line_16 | NAYY 4x150 SE | 14 | 17 | 0.074755 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2403-3_0_3_line_17 | NAYY 4x150 SE | 15 | 43 | 0.032224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2403-3_0_3_line_18 | NAYY 4x150 SE | 16 | 33 | 0.048701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
19 | LV_2403-3_0_3_line_19 | NAYY 4x150 SE | 17 | 55 | 0.0033648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2403-3_0_3_line_20 | NAYY 4x150 SE | 18 | 19 | 0.00063579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2403-3_0_3_line_21 | NAYY 4x150 SE | 18 | 20 | 0.014724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2403-3_0_3_line_22 | NAYY 4x150 SE | 19 | 21 | 0.024774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2403-3_0_3_line_23 | NAYY 4x150 SE | 20 | 22 | 0.017103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2403-3_0_3_line_24 | NAYY 4x150 SE | 21 | 23 | 0.0002335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2403-3_0_3_line_25 | NAYY 4x150 SE | 22 | 24 | 0.010009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2403-3_0_3_line_26 | NAYY 4x150 SE | 22 | 25 | 0.023567 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2403-3_0_3_line_27 | NAYY 4x150 SE | 23 | 26 | 0.02076 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2403-3_0_3_line_28 | NAYY 4x150 SE | 24 | 27 | 0.031305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2403-3_0_3_line_29 | NAYY 4x150 SE | 24 | 28 | 0.022144 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2403-3_0_3_line_30 | NAYY 4x150 SE | 25 | 29 | 0.04809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2403-3_0_3_line_31 | NAYY 4x150 SE | 27 | 32 | 0.026031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2403-3_0_3_line_32 | NAYY 4x150 SE | 28 | 30 | 0.0052346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2403-3_0_3_line_33 | NAYY 4x150 SE | 29 | 38 | 0.003619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2403-3_0_3_line_34 | NAYY 4x150 SE | 29 | 35 | 0.022454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2403-3_0_3_line_35 | NAYY 4x150 SE | 30 | 31 | 0.032157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2403-3_0_3_line_36 | NAYY 4x150 SE | 32 | 33 | 0.015307 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2403-3_0_3_line_37 | NAYY 4x150 SE | 33 | 40 | 0.010716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
38 | LV_2403-3_0_3_line_38 | NAYY 4x150 SE | 34 | 35 | 0.015202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2403-3_0_3_line_39 | NAYY 4x150 SE | 34 | 36 | 0.040269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2403-3_0_3_line_40 | NAYY 4x150 SE | 36 | 37 | 0.022647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2403-3_0_3_line_41 | NAYY 4x150 SE | 38 | 39 | 0.03087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2403-3_0_3_line_42 | NAYY 4x150 SE | 39 | 45 | 0.02595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2403-3_0_3_line_43 | NAYY 4x150 SE | 40 | 41 | 0.0071429 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
44 | LV_2403-3_0_3_line_44 | NAYY 4x150 SE | 41 | 42 | 0.036409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
45 | LV_2403-3_0_3_line_45 | NAYY 4x150 SE | 42 | 44 | 0.026893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
46 | LV_2403-3_0_3_line_46 | NAYY 4x150 SE | 44 | 48 | 0.045705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
47 | LV_2403-3_0_3_line_47 | NAYY 4x150 SE | 45 | 46 | 0.018551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_2403-3_0_3_line_48 | NAYY 4x150 SE | 46 | 47 | 0.0060383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_2403-3_0_3_line_49 | NAYY 4x150 SE | 48 | 49 | 0.011461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
50 | LV_2403-3_0_3_line_50 | NAYY 4x150 SE | 49 | 50 | 0.0083248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
51 | LV_2403-3_0_3_line_51 | NAYY 4x150 SE | 50 | 51 | 0.032293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
52 | LV_2403-3_0_3_line_52 | NAYY 4x150 SE | 51 | 53 | 0.025819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
53 | LV_2403-3_0_3_line_53 | NAYY 4x150 SE | 52 | 53 | 0.034127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
54 | LV_2403-3_0_3_line_54 | NAYY 4x150 SE | 54 | 55 | 0.020465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_2403-3_0_3_line_55 | NAYY 4x150 SE | 54 | 56 | 0.00012148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2403-3_0_3_trafo_8 | 0.25 MVA 20/0.4 kV | 57 | 11 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2623562.1974 | 1236437.5064 | 2623562.1974 | 1236437.5064 | 2623563.101 | 1236440.5007 | 2623564.6028 | 1236443.3973 | 2623577.2001 | 1236458.8011 | 2623577.8895 | 1236459.693
1 | 2623580.8209 | 1236463.485 | 2623577.8895 | 1236459.693
2 | 2623580.8209 | 1236463.485 | 2623585.2997 | 1236469.3064 | 2623598.5374 | 1236487.3961
3 | 2623600.4032 | 1236489.9456 | 2623598.5374 | 1236487.3961
4 | 2623344.9436 | 1236459.8199 | 2623406.0177 | 1236388.6805
5 | 2623344.9436 | 1236459.8199 | 2623376.6584 | 1236489.172
6 | 2623600.4032 | 1236489.9456 | 2623609.2982 | 1236502.0995 | 2623611.3542 | 1236504.9894
7 | 2623521.1352 | 1236588.9142 | 2623530.4463 | 1236577.9565 | 2623535.4877 | 1236577.3538 | 2623541.7845 | 1236582.7429
8 | 2623501.9639 | 1236611.4758 | 2623521.1352 | 1236588.9142
9 | 2623501.9639 | 1236611.4758 | 2623505.4752 | 1236615.1364
10 | 2623501.9639 | 1236611.4758 | 2623482.2974 | 1236590.9967 | 2623462.6089 | 1236570.6899
11 | 2623505.4752 | 1236615.1364 | 2623521.3439 | 1236631.6648
12 | 2623505.4752 | 1236615.1364 | 2623522.2583 | 1236595.453
13 | 2623462.6089 | 1236570.6899 | 2623448.8443 | 1236556.4931
14 | 2623521.3439 | 1236631.6648 | 2623508.7955 | 1236647.9809 | 2623507.0992 | 1236649.5484
15 | 2623529.7831 | 1236640.4481 | 2623521.3439 | 1236631.6648
16 | 2623448.8443 | 1236556.4931 | 2623394.2368 | 1236505.441
17 | 2623483.4327 | 1236671.4175 | 2623507.0992 | 1236649.5484
18 | 2623548.6204 | 1236679.1798 | 2623547.6349 | 1236675.8405 | 2623547.921 | 1236672.3728 | 2623549.439 | 1236669.2436 | 2623551.9906 | 1236666.8744 | 2623548.3793 | 1236659.8113 | 2623529.7831 | 1236640.4481
19 | 2623391.7673 | 1236503.1554 | 2623394.2368 | 1236505.441
20 | 2623505.758 | 1236748.8242 | 2623506.2478 | 1236749.2295
21 | 2623505.758 | 1236748.8242 | 2623494.4147 | 1236739.4363
22 | 2623524.6773 | 1236765.7843 | 2623507.0085 | 1236749.8591 | 2623506.2478 | 1236749.2295
23 | 2623482.0989 | 1236727.5692 | 2623494.4147 | 1236739.4363
24 | 2623524.6773 | 1236765.7843 | 2623524.8508 | 1236765.9406
25 | 2623482.0989 | 1236727.5692 | 2623489.5174 | 1236720.8277
26 | 2623482.0989 | 1236727.5692 | 2623473.3221 | 1236735.3505 | 2623464.7698 | 1236743.5347
27 | 2623540.2965 | 1236779.8113 | 2623530.9824 | 1236771.4672 | 2623524.8508 | 1236765.9406
28 | 2623489.5174 | 1236720.8277 | 2623504.6018 | 1236707.9014 | 2623513.5086 | 1236700.722
29 | 2623489.5174 | 1236720.8277 | 2623484.2232 | 1236716.5041 | 2623472.4737 | 1236706.6904
30 | 2623430.0259 | 1236776.7834 | 2623464.7698 | 1236743.5347
31 | 2623513.5086 | 1236700.722 | 2623518.3551 | 1236696.8155 | 2623534.9839 | 1236686.0558
32 | 2623468.4561 | 1236703.3347 | 2623472.4737 | 1236706.6904
33 | 2623430.0259 | 1236776.7834 | 2623427.4586 | 1236779.3416
34 | 2623430.0259 | 1236776.7834 | 2623411.9244 | 1236763.4971
35 | 2623452.5126 | 1236678.6112 | 2623454.6773 | 1236686.0799 | 2623453.516 | 1236690.8561 | 2623468.4561 | 1236703.3347
36 | 2623548.6204 | 1236679.1798 | 2623538.661 | 1236683.6765 | 2623534.9839 | 1236686.0558
37 | 2623548.6204 | 1236679.1798 | 2623550.811 | 1236681.9902 | 2623553.8907 | 1236683.8035 | 2623557.4294 | 1236684.3401
38 | 2623411.9244 | 1236763.4971 | 2623399.6692 | 1236754.5019
39 | 2623367.2065 | 1236730.6747 | 2623399.6692 | 1236754.5019
40 | 2623367.2065 | 1236730.6747 | 2623381.3229 | 1236712.9661
41 | 2623427.4586 | 1236779.3416 | 2623447.3505 | 1236792.4391 | 2623453.0191 | 1236796.6363
42 | 2623456.7805 | 1236815.0894 | 2623463.8799 | 1236806.335 | 2623460.7708 | 1236802.3759 | 2623453.0191 | 1236796.6363
43 | 2623563.8565 | 1236681.5304 | 2623560.9129 | 1236683.5534 | 2623557.4294 | 1236684.3401
44 | 2623563.8565 | 1236681.5304 | 2623565.7207 | 1236678.8473 | 2623566.5579 | 1236675.6931 | 2623566.2758 | 1236672.4344 | 2623564.8954 | 1236669.4715 | 2623572.7779 | 1236662.1204 | 2623582.0947 | 1236653.6965
45 | 2623582.0947 | 1236653.6965 | 2623589.3854 | 1236646.8101 | 2623599.4362 | 1236633.2688
46 | 2623599.4362 | 1236633.2688 | 2623604.3932 | 1236626.5904 | 2623625.7887 | 1236595.9294
47 | 2623456.7805 | 1236815.0894 | 2623461.7776 | 1236832.9543
48 | 2623461.7776 | 1236832.9543 | 2623466.9834 | 1236836.0136
49 | 2623631.9272 | 1236586.2524 | 2623626.5591 | 1236594.8253 | 2623625.7887 | 1236595.9294
50 | 2623631.9272 | 1236586.2524 | 2623635.6645 | 1236578.8137
51 | 2623650.1619 | 1236549.958 | 2623635.6645 | 1236578.8137
52 | 2623650.1619 | 1236549.958 | 2623643.0998 | 1236545.0046 | 2623636.1994 | 1236539.2959 | 2623631.1715 | 1236532.7718
53 | 2623611.3542 | 1236504.9894 | 2623630.5013 | 1236531.9021 | 2623631.1715 | 1236532.7718
54 | 2623376.7475 | 1236489.2545 | 2623391.7673 | 1236503.1554
55 | 2623376.7475 | 1236489.2545 | 2623376.6584 | 1236489.172

## bus_geodata
| x | y | coords
0 | 2623562.1974 | 1236437.5064
1 | 2623577.8895 | 1236459.693
2 | 2623580.8209 | 1236463.485
3 | 2623598.5374 | 1236487.3961
4 | 2623406.0177 | 1236388.6805
5 | 2623344.9436 | 1236459.8199
6 | 2623600.4032 | 1236489.9456
7 | 2623521.1352 | 1236588.9142
8 | 2623541.7845 | 1236582.7429
9 | 2623501.9639 | 1236611.4758
10 | 2623505.4752 | 1236615.1364
11 | 2623462.6089 | 1236570.6899
12 | 2623521.3439 | 1236631.6648
13 | 2623522.2583 | 1236595.453
14 | 2623448.8443 | 1236556.4931
15 | 2623507.0992 | 1236649.5484
16 | 2623529.7831 | 1236640.4481
17 | 2623394.2368 | 1236505.441
18 | 2623505.758 | 1236748.8242
19 | 2623506.2478 | 1236749.2295
20 | 2623494.4147 | 1236739.4363
21 | 2623524.6773 | 1236765.7843
22 | 2623482.0989 | 1236727.5692
23 | 2623524.8508 | 1236765.9406
24 | 2623489.5174 | 1236720.8277
25 | 2623464.7698 | 1236743.5347
26 | 2623540.2965 | 1236779.8113
27 | 2623513.5086 | 1236700.722
28 | 2623472.4737 | 1236706.6904
29 | 2623430.0259 | 1236776.7834
30 | 2623468.4561 | 1236703.3347
31 | 2623452.5126 | 1236678.6112
32 | 2623534.9839 | 1236686.0558
33 | 2623548.6204 | 1236679.1798
34 | 2623399.6692 | 1236754.5019
35 | 2623411.9244 | 1236763.4971
36 | 2623367.2065 | 1236730.6747
37 | 2623381.3229 | 1236712.9661
38 | 2623427.4586 | 1236779.3416
39 | 2623453.0191 | 1236796.6363
40 | 2623557.4294 | 1236684.3401
41 | 2623563.8565 | 1236681.5304
42 | 2623582.0947 | 1236653.6965
43 | 2623483.4327 | 1236671.4175
44 | 2623599.4362 | 1236633.2688
45 | 2623456.7805 | 1236815.0894
46 | 2623461.7776 | 1236832.9543
47 | 2623466.9834 | 1236836.0136
48 | 2623625.7887 | 1236595.9294
49 | 2623631.9272 | 1236586.2524
50 | 2623635.6645 | 1236578.8137
51 | 2623650.1619 | 1236549.958
52 | 2623611.3542 | 1236504.9894
53 | 2623631.1715 | 1236532.7718
54 | 2623376.7475 | 1236489.2545
55 | 2623391.7673 | 1236503.1554
56 | 2623376.6584 | 1236489.172
57 | 2623501.9639 | 1236611.4758

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97001 | -0.21086 | 0.016778 | 0.004205
1 | 0.97069 | -0.20598 | 0.043943 | 0.011013
2 | 0.9709 | -0.20444 | 0 | 0
3 | 0.97223 | -0.19489 | 0.0034971 | 0.00087646
4 | 0.9875 | -0.08774 | 0.01401 | 0.0035112
5 | 0.9894 | -0.074318 | 0 | 0
6 | 0.97238 | -0.19381 | 0 | 0
7 | 0.99403 | -0.041212 | 0.0041079 | 0.0010295
8 | 0.99381 | -0.042759 | 0.0055208 | 0.0013836
9 | 0.99444 | -0.038332 | 0 | 0
10 | 0.99397 | -0.041533 | 0 | 0
11 | 1 | 0 | -0.22655 | -0.05704
12 | 0.99195 | -0.055535 | 0 | 0
13 | 0.99382 | -0.042635 | 0.0042181 | 0.0010572
14 | 0.99752 | -0.017314 | 0.029181 | 0.0073133
15 | 0.99185 | -0.056304 | 0.0018056 | 0.00045252
16 | 0.99091 | -0.062798 | 0 | 0
17 | 0.99124 | -0.061323 | 0.012411 | 0.0031106
18 | 0.98303 | -0.11829 | 0.0015206 | 0.00038109
19 | 0.98303 | -0.11833 | 0.0013335 | 0.00033421
20 | 0.98319 | -0.11717 | 0.0013554 | 0.0003397
21 | 0.98286 | -0.11949 | 0.0014509 | 0.00036362
22 | 0.98341 | -0.11563 | 0 | 0
23 | 0.98286 | -0.11949 | 0.0017665 | 0.00044271
24 | 0.98372 | -0.11342 | 0 | 0
25 | 0.98297 | -0.11873 | 0.00091596 | 0.00022956
26 | 0.98282 | -0.11977 | 0.0012936 | 0.00032421
27 | 0.98493 | -0.10482 | 0.0019386 | 0.00048587
28 | 0.98355 | -0.1146 | 0.0023623 | 0.00059205
29 | 0.98215 | -0.1246 | 0 | 0
30 | 0.98353 | -0.11475 | 0.0014479 | 0.00036288
31 | 0.98346 | -0.11521 | 0.0013727 | 0.00034402
32 | 0.986 | -0.097171 | 0.0041728 | 0.0010458
33 | 0.98673 | -0.092026 | 0 | 0
34 | 0.9818 | -0.12705 | 0.0018568 | 0.00046535
35 | 0.98191 | -0.12629 | 0.0024537 | 0.00061497
36 | 0.98163 | -0.12828 | 0 | 0
37 | 0.98154 | -0.12897 | 0.0029435 | 0.00073771
38 | 0.98212 | -0.12477 | 0 | 0
39 | 0.98192 | -0.12623 | 0.0017397 | 0.00043601
40 | 0.98606 | -0.096687 | 0.0017849 | 0.00044733
41 | 0.98563 | -0.099733 | 0 | 0
42 | 0.98341 | -0.1153 | 0 | 0
43 | 0.99178 | -0.056795 | 0.0014998 | 0.00037588
44 | 0.98178 | -0.12684 | 0.0043066 | 0.0010793
45 | 0.98181 | -0.12698 | 0.0015623 | 0.00039155
46 | 0.98178 | -0.12722 | 0 | 0
47 | 0.98177 | -0.12729 | 0.0012377 | 0.0003102
48 | 0.97914 | -0.14551 | 0.00051021 | 0.00012787
49 | 0.97848 | -0.15018 | 0 | 0
50 | 0.97801 | -0.15357 | 0.0065504 | 0.0016417
51 | 0.97631 | -0.16566 | 0 | 0
52 | 0.97325 | -0.18751 | 0.0034963 | 0.00087625
53 | 0.97495 | -0.17536 | 0.0038949 | 0.00097615
54 | 0.99028 | -0.068127 | 0.0099824 | 0.0025018
55 | 0.99102 | -0.062893 | 0.020759 | 0.0052027
56 | 0.99027 | -0.068146 | 0.0011448 | 0.00028691
57 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.016778 | -0.004205 | 0.016789 | 0.004209 | 1.1333e-05 | 4.0201e-06 | 0.025738 | 0.025738 | 0.025738 | 0.97001 | -0.21086 | 0.97069 | -0.20598 | 9.5325
1 | -0.060732 | -0.015222 | 0.060745 | 0.015227 | 1.2962e-05 | 4.8667e-06 | 0.0931 | 0.0931 | 0.0931 | 0.97069 | -0.20598 | 0.9709 | -0.20444 | 17.2408
2 | -0.060745 | -0.015227 | 0.060826 | 0.015257 | 8.0482e-05 | 3.0218e-05 | 0.0931 | 0.0931 | 0.0931 | 0.9709 | -0.20444 | 0.97223 | -0.19489 | 17.2408
3 | -0.064323 | -0.016134 | 0.064333 | 0.016137 | 9.5544e-06 | 3.5964e-06 | 0.098452 | 0.098452 | 0.098452 | 0.97223 | -0.19489 | 0.97238 | -0.19381 | 18.2319
4 | -0.01401 | -0.0035112 | 0.014036 | 0.00352 | 2.6073e-05 | 8.8262e-06 | 0.02111 | 0.02111 | 0.02111 | 0.9875 | -0.08774 | 0.9894 | -0.074318 | 7.8187
5 | -0.014036 | -0.00352 | 0.014048 | 0.0035241 | 1.2016e-05 | 4.0662e-06 | 0.02111 | 0.02111 | 0.02111 | 0.9894 | -0.074318 | 0.99027 | -0.068146 | 7.8185
6 | -0.064333 | -0.016137 | 0.064389 | 0.016158 | 5.6273e-05 | 2.1181e-05 | 0.098452 | 0.098452 | 0.098452 | 0.97238 | -0.19381 | 0.97325 | -0.18751 | 18.2319
7 | 0.005522 | 0.0013837 | -0.0055208 | -0.0013836 | 1.183e-06 | 9.5411e-08 | 0.0082661 | 0.0082662 | 0.0082662 | 0.99403 | -0.041212 | 0.99381 | -0.042759 | 3.0616
8 | -0.0096299 | -0.0024133 | 0.0096337 | 0.0024144 | 3.8391e-06 | 1.0926e-06 | 0.014415 | 0.014415 | 0.014415 | 0.99403 | -0.041212 | 0.99444 | -0.038332 | 5.3391
9 | 0.12725 | 0.032173 | -0.12719 | -0.032152 | 5.7362e-05 | 2.1931e-05 | 0.1905 | 0.1905 | 0.1905 | 0.99444 | -0.038332 | 0.99397 | -0.041533 | 35.2785
10 | -0.13688 | -0.034588 | 0.13762 | 0.034872 | 0.00074255 | 0.00028412 | 0.20492 | 0.20492 | 0.20492 | 0.99444 | -0.038332 | 1 | 0 | 37.948
11 | 0.12297 | 0.031094 | -0.12273 | -0.031002 | 0.0002422 | 9.2562e-05 | 0.18419 | 0.18419 | 0.18419 | 0.99397 | -0.041533 | 0.99195 | -0.055535 | 34.109
12 | 0.0042188 | 0.0010571 | -0.0042181 | -0.0010572 | 6.4382e-07 | -8.7606e-08 | 0.0063155 | 0.0063157 | 0.0063157 | 0.99397 | -0.041533 | 0.99382 | -0.042635 | 2.3391
13 | 0.088125 | 0.022168 | -0.087912 | -0.022087 | 0.00021227 | 8.1382e-05 | 0.13116 | 0.13116 | 0.13116 | 1 | 0 | 0.99752 | -0.017314 | 48.5777
14 | 0.0033058 | 0.00082786 | -0.0033054 | -0.00082802 | 3.5127e-07 | -1.6039e-07 | 0.0049587 | 0.0049589 | 0.0049589 | 0.99195 | -0.055535 | 0.99185 | -0.056304 | 1.8366
15 | 0.11942 | 0.030174 | -0.1193 | -0.030127 | 0.00012191 | 4.6576e-05 | 0.17923 | 0.17923 | 0.17923 | 0.99195 | -0.055535 | 0.99091 | -0.062798 | 33.1908
16 | 0.058732 | 0.014773 | -0.058374 | -0.014637 | 0.00035821 | 0.0001368 | 0.087631 | 0.087631 | 0.087631 | 0.99752 | -0.017314 | 0.99124 | -0.061323 | 32.4559
17 | 0.0014999 | 0.0003755 | -0.0014998 | -0.00037588 | 1.0181e-07 | -3.767e-07 | 0.0022501 | 0.0022502 | 0.0022502 | 0.99185 | -0.056304 | 0.99178 | -0.056795 | 0.83341
18 | 0.1193 | 0.030127 | -0.11881 | -0.029941 | 0.0004881 | 0.00018648 | 0.17923 | 0.17923 | 0.17923 | 0.99091 | -0.062798 | 0.98673 | -0.092026 | 33.1908
19 | 0.045962 | 0.011526 | -0.045952 | -0.011522 | 9.9963e-06 | 3.8014e-06 | 0.069 | 0.069 | 0.069 | 0.99124 | -0.061323 | 0.99102 | -0.062893 | 25.5554
20 | 0.0058453 | 0.0014645 | -0.0058452 | -0.0014645 | 3.1058e-08 | 3.8849e-09 | 0.0088478 | 0.0088478 | 0.0088478 | 0.98303 | -0.11829 | 0.98303 | -0.11833 | 3.277
21 | -0.0073659 | -0.0018456 | 0.007367 | 0.0018458 | 1.1422e-06 | 2.5259e-07 | 0.01115 | 0.011149 | 0.01115 | 0.98303 | -0.11829 | 0.98319 | -0.11717 | 4.1295
22 | 0.0045117 | 0.0011303 | -0.004511 | -0.0011303 | 7.21e-07 | -3.6717e-08 | 0.0068293 | 0.0068294 | 0.0068294 | 0.98303 | -0.11833 | 0.98286 | -0.11949 | 2.5294
23 | -0.0087224 | -0.0021855 | 0.0087243 | 0.002186 | 1.8597e-06 | 4.9834e-07 | 0.013201 | 0.013201 | 0.013201 | 0.98319 | -0.11717 | 0.98341 | -0.11563 | 4.8892
24 | 0.0030601 | 0.00076668 | -0.0030601 | -0.00076668 | 3.1273e-09 | -1.7563e-09 | 0.0046328 | 0.0046328 | 0.0046328 | 0.98286 | -0.11949 | 0.98286 | -0.11949 | 1.7159
25 | -0.021453 | -0.0053756 | 0.02146 | 0.005378 | 6.5812e-06 | 2.4042e-06 | 0.032461 | 0.032461 | 0.032461 | 0.98341 | -0.11563 | 0.98372 | -0.11342 | 12.0227
26 | 0.012729 | 0.0031896 | -0.012724 | -0.0031878 | 5.4554e-06 | 1.7993e-06 | 0.01926 | 0.019261 | 0.019261 | 0.98341 | -0.11563 | 0.98297 | -0.11873 | 7.1336
27 | 0.0012937 | 0.00032397 | -0.0012936 | -0.00032421 | 4.9689e-08 | -2.4398e-07 | 0.0019585 | 0.0019586 | 0.0019586 | 0.98286 | -0.11949 | 0.98282 | -0.11977 | 0.7254
28 | -0.026644 | -0.0066766 | 0.026676 | 0.0066884 | 3.1729e-05 | 1.1806e-05 | 0.040302 | 0.040302 | 0.040302 | 0.98372 | -0.11342 | 0.98493 | -0.10482 | 14.9268
29 | 0.0051839 | 0.0012986 | -0.005183 | -0.0012985 | 8.4958e-07 | 4.5678e-08 | 0.0078411 | 0.0078412 | 0.0078412 | 0.98372 | -0.11342 | 0.98355 | -0.1146 | 2.9042
30 | 0.011808 | 0.0029582 | -0.011798 | -0.0029551 | 9.5871e-06 | 3.0782e-06 | 0.017874 | 0.017874 | 0.017874 | 0.98297 | -0.11873 | 0.98215 | -0.1246 | 6.6201
31 | -0.028614 | -0.0071742 | 0.028645 | 0.0071856 | 3.0358e-05 | 1.1344e-05 | 0.043231 | 0.043231 | 0.043231 | 0.98493 | -0.10482 | 0.986 | -0.097171 | 16.0115
32 | 0.0028207 | 0.00070648 | -0.0028206 | -0.00070652 | 5.948e-08 | -4.3555e-08 | 0.0042673 | 0.0042673 | 0.0042673 | 0.98355 | -0.1146 | 0.98353 | -0.11475 | 1.5805
33 | 0.0045411 | 0.0011372 | -0.004541 | -0.0011372 | 1.0688e-07 | -4.688e-09 | 0.0068797 | 0.0068797 | 0.0068797 | 0.98215 | -0.1246 | 0.98212 | -0.12477 | 2.5481
34 | 0.007257 | 0.0018179 | -0.0072553 | -0.0018175 | 1.6937e-06 | 3.6734e-07 | 0.010995 | 0.010995 | 0.010995 | 0.98215 | -0.1246 | 0.98191 | -0.12629 | 4.0721
35 | 0.0013727 | 0.00034364 | -0.0013727 | -0.00034402 | 8.6547e-08 | -3.7478e-07 | 0.0020767 | 0.0020769 | 0.0020769 | 0.98353 | -0.11475 | 0.98346 | -0.11521 | 0.76921
36 | -0.032817 | -0.0082314 | 0.032841 | 0.0082402 | 2.3431e-05 | 8.8164e-06 | 0.049528 | 0.049528 | 0.049528 | 0.986 | -0.097171 | 0.98673 | -0.092026 | 18.3438
37 | 0.085971 | 0.021701 | -0.085915 | -0.021679 | 5.6247e-05 | 2.136e-05 | 0.1297 | 0.1297 | 0.1297 | 0.98673 | -0.092026 | 0.98606 | -0.096687 | 24.019
38 | -0.0048011 | -0.0012026 | 0.0048016 | 0.0012026 | 5.0222e-07 | 8.92e-10 | 0.0072762 | 0.0072761 | 0.0072762 | 0.9818 | -0.12705 | 0.98191 | -0.12629 | 2.6949
39 | 0.0029443 | 0.00073722 | -0.0029438 | -0.00073753 | 5.0032e-07 | -3.1673e-07 | 0.0044621 | 0.0044623 | 0.0044623 | 0.9818 | -0.12705 | 0.98163 | -0.12828 | 1.6527
40 | 0.0029438 | 0.00073753 | -0.0029435 | -0.00073771 | 2.8139e-07 | -1.7804e-07 | 0.0044623 | 0.0044624 | 0.0044624 | 0.98163 | -0.12828 | 0.98154 | -0.12897 | 1.6527
41 | 0.004541 | 0.0011372 | -0.0045401 | -0.0011373 | 9.1175e-07 | -3.989e-08 | 0.0068797 | 0.0068799 | 0.0068799 | 0.98212 | -0.12477 | 0.98192 | -0.12623 | 2.5481
42 | 0.0028004 | 0.00070124 | -0.0028001 | -0.00070146 | 2.916e-07 | -2.1606e-07 | 0.0042435 | 0.0042436 | 0.0042436 | 0.98192 | -0.12623 | 0.98181 | -0.12698 | 1.5717
43 | 0.08413 | 0.021232 | -0.084094 | -0.021218 | 3.595e-05 | 1.3645e-05 | 0.12701 | 0.12701 | 0.12701 | 0.98606 | -0.096687 | 0.98563 | -0.099733 | 23.5202
44 | 0.084094 | 0.021218 | -0.083911 | -0.021149 | 0.00018325 | 6.9553e-05 | 0.12701 | 0.12701 | 0.12701 | 0.98563 | -0.099733 | 0.98341 | -0.1153 | 23.5203
45 | 0.083911 | 0.021149 | -0.083776 | -0.021098 | 0.00013535 | 5.1377e-05 | 0.12701 | 0.12701 | 0.12701 | 0.98341 | -0.1153 | 0.98178 | -0.12684 | 23.5203
46 | 0.079469 | 0.020018 | -0.079262 | -0.01994 | 0.000207 | 7.8462e-05 | 0.12048 | 0.12048 | 0.12048 | 0.98178 | -0.12684 | 0.97914 | -0.14551 | 22.3116
47 | 0.0012378 | 0.00030991 | -0.0012377 | -0.00031013 | 4.0733e-08 | -2.1893e-07 | 0.0018758 | 0.0018759 | 0.0018759 | 0.98181 | -0.12698 | 0.98178 | -0.12722 | 0.69478
48 | 0.0012377 | 0.00031013 | -0.0012377 | -0.0003102 | 1.3259e-08 | -7.1257e-08 | 0.0018759 | 0.0018759 | 0.0018759 | 0.98178 | -0.12722 | 0.98177 | -0.12729 | 0.69479
49 | 0.078752 | 0.019812 | -0.078701 | -0.019792 | 5.1242e-05 | 1.942e-05 | 0.11971 | 0.11971 | 0.11971 | 0.97914 | -0.14551 | 0.97848 | -0.15018 | 22.1681
50 | 0.078701 | 0.019792 | -0.078663 | -0.019778 | 3.7219e-05 | 1.4106e-05 | 0.11971 | 0.11971 | 0.11971 | 0.97848 | -0.15018 | 0.97801 | -0.15357 | 22.1681
51 | 0.072113 | 0.018137 | -0.071992 | -0.018091 | 0.00012134 | 4.586e-05 | 0.10974 | 0.10974 | 0.10974 | 0.97801 | -0.15357 | 0.97631 | -0.16566 | 20.3225
52 | 0.071992 | 0.018091 | -0.071895 | -0.018054 | 9.7013e-05 | 3.6668e-05 | 0.10974 | 0.10974 | 0.10974 | 0.97631 | -0.16566 | 0.97495 | -0.17536 | 20.3226
53 | -0.067885 | -0.017035 | 0.068 | 0.017078 | 0.00011472 | 4.3272e-05 | 0.1038 | 0.1038 | 0.1038 | 0.97325 | -0.18751 | 0.97495 | -0.17536 | 19.2218
54 | -0.025175 | -0.0063128 | 0.025193 | 0.0063196 | 1.8276e-05 | 6.7656e-06 | 0.03783 | 0.03783 | 0.03783 | 0.99028 | -0.068127 | 0.99102 | -0.062893 | 14.0111
55 | 0.015193 | 0.003811 | -0.015193 | -0.003811 | 3.951e-08 | 1.3633e-08 | 0.02283 | 0.02283 | 0.02283 | 0.99028 | -0.068127 | 0.99027 | -0.068146 | 8.4556

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.22864 | 0.057564

## res_load
| p_mw | q_mvar
0 | 0.016778 | 0.004205
1 | 0.043943 | 0.011013
2 | 0.0034971 | 0.00087646
3 | 0.01401 | 0.0035112
4 | 0.0041079 | 0.0010295
5 | 0.0055208 | 0.0013836
6 | 0.0020882 | 0.00052335
7 | 0.0042181 | 0.0010572
8 | 0.029181 | 0.0073133
9 | 0.0018056 | 0.00045252
10 | 0.012411 | 0.0031106
11 | 0.0015206 | 0.00038109
12 | 0.0013335 | 0.00033421
13 | 0.0013554 | 0.0003397
14 | 0.0014509 | 0.00036362
15 | 0.0017665 | 0.00044271
16 | 0.00091596 | 0.00022956
17 | 0.0012936 | 0.00032421
18 | 0.0019386 | 0.00048587
19 | 0.0023623 | 0.00059205
20 | 0.0014479 | 0.00036288
21 | 0.0013727 | 0.00034402
22 | 0.0041728 | 0.0010458
23 | 0.0018568 | 0.00046535
24 | 0.0024537 | 0.00061497
25 | 0.0029435 | 0.00073771
26 | 0.0017397 | 0.00043601
27 | 0.0017849 | 0.00044733
28 | 0.0014998 | 0.00037588
29 | 0.0043066 | 0.0010793
30 | 0.0015623 | 0.00039155
31 | 0.0012377 | 0.0003102
32 | 0.00051021 | 0.00012787
33 | 0.0065504 | 0.0016417
34 | 0.0034963 | 0.00087625
35 | 0.0038949 | 0.00097615
36 | 0.0099824 | 0.0025018
37 | 0.020759 | 0.0052027
38 | 0.0011448 | 0.00028691

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1