## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2403-6_1_1_node_3 | 0.4 | n |  | TRUE
1 | bus_LV_2403-6_1_1_node_4 | 0.4 | n |  | TRUE
2 | bus_LV_2403-6_1_1_node_5 | 0.4 | n |  | TRUE
3 | bus_LV_2403-6_1_1_node_6 | 0.4 | n |  | TRUE
4 | bus_LV_2403-6_1_1_node_7 | 0.4 | n |  | TRUE
5 | bus_LV_2403-6_1_1_node_72 | 0.4 | n |  | TRUE
6 | bus_LV_2403-6_1_1_node_17 | 0.4 | n |  | TRUE
7 | bus_LV_2403-6_1_1_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_2403-6_1_1_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_2403-6_1_1_node_16 | 0.4 | n |  | TRUE
10 | bus_LV_2403-6_1_1_node_19 | 0.4 | n |  | TRUE
11 | bus_LV_2403-6_1_1_node_62 | 0.4 | n |  | TRUE
12 | bus_LV_2403-6_1_1_node_31 | 0.4 | n |  | TRUE
13 | bus_LV_2403-6_1_1_node_32 | 0.4 | n |  | TRUE
14 | bus_LV_2403-6_1_1_node_34 | 0.4 | n |  | TRUE
15 | bus_LV_2403-6_1_1_node_80 | 0.4 | n |  | TRUE
16 | bus_LV_2403-6_1_1_node_79 | 0.4 | n |  | TRUE
17 | bus_LV_2403-6_1_1_node_35 | 0.4 | n |  | TRUE
18 | bus_LV_2403-6_1_1_node_36 | 0.4 | n |  | TRUE
19 | bus_LV_2403-6_1_1_node_37 | 0.4 | n |  | TRUE
20 | bus_LV_2403-6_1_1_node_39 | 0.4 | n |  | TRUE
21 | bus_LV_2403-6_1_1_node_38 | 0.4 | n |  | TRUE
22 | bus_LV_2403-6_1_1_node_40 | 0.4 | n |  | TRUE
23 | bus_LV_2403-6_1_1_node_41 | 0.4 | n |  | TRUE
24 | bus_LV_2403-6_1_1_node_49 | 0.4 | n |  | TRUE
25 | bus_LV_2403-6_1_1_node_48 | 0.4 | n |  | TRUE
26 | bus_LV_2403-6_1_1_node_66 | 0.4 | n |  | TRUE
27 | bus_LV_2403-6_1_1_node_47 | 0.4 | n |  | TRUE
28 | bus_LV_2403-6_1_1_node_50 | 0.4 | n |  | TRUE
29 | bus_LV_2403-6_1_1_node_64 | 0.4 | n |  | TRUE
30 | bus_LV_2403-6_1_1_node_85 | 0.4 | n |  | TRUE
31 | bus_MV_479_0_node_20 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2403-6_1_1_load_3 | 0 | 0.0028286 | 0.0007089 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2403-6_1_1_load_4 | 1 | 0.0010015 | 0.000251 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2403-6_1_1_load_5 | 2 | 0.002079 | 0.00052106 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2403-6_1_1_load_7 | 4 | 0.0011219 | 0.00028118 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2403-6_1_1_load_8 | 7 | 0.0029002 | 0.00072686 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2403-6_1_1_load_9 | 8 | 0.00054743 | 0.0001372 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2403-6_1_1_load_16 | 9 | 0.0019057 | 0.00047762 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2403-6_1_1_load_19 | 10 | 0.0050729 | 0.0012714 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2403-6_1_1_load_62 | 11 | 0.0039522 | 0.00099051 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2403-6_1_1_load_31 | 12 | 0.0012766 | 0.00031995 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2403-6_1_1_load_79 | 16 | 0.0028559 | 0.00071576 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2403-6_1_1_load_35 | 17 | 0.0015055 | 0.00037733 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2403-6_1_1_load_36 | 18 | 0.0023117 | 0.00057936 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2403-6_1_1_load_37 | 19 | 0.0049901 | 0.0012506 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2403-6_1_1_load_41 | 23 | 0.045567 | 0.01142 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2403-6_1_1_load_48 | 25 | 0.0017171 | 0.00043036 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2403-6_1_1_load_47 | 27 | 0.0052643 | 0.0013194 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2403-6_1_1_load_50 | 28 | 0.0022538 | 0.00056486 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2403-6_1_1_load_64 | 29 | 0.0014939 | 0.00037441 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2403-6_1_1_load_85 | 30 | 0.0026404 | 0.00066174 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 18 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2403-6_1_1_line_0 | NAYY 4x150 SE | 0 | 1 | 0.020578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2403-6_1_1_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0027994 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2403-6_1_1_line_2 | NAYY 4x150 SE | 1 | 3 | 0.017999 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2403-6_1_1_line_3 | NAYY 4x150 SE | 2 | 4 | 0.017144 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2403-6_1_1_line_4 | NAYY 4x150 SE | 3 | 5 | 0.025199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2403-6_1_1_line_5 | NAYY 4x150 SE | 3 | 6 | 0.004918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2403-6_1_1_line_6 | NAYY 4x150 SE | 4 | 7 | 0.023007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2403-6_1_1_line_7 | NAYY 4x150 SE | 5 | 16 | 0.027097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2403-6_1_1_line_8 | NAYY 4x150 SE | 5 | 17 | 0.023542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2403-6_1_1_line_9 | NAYY 4x150 SE | 6 | 10 | 0.019172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2403-6_1_1_line_10 | NAYY 4x150 SE | 6 | 9 | 0.023413 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2403-6_1_1_line_11 | NAYY 4x150 SE | 7 | 8 | 0.008097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2403-6_1_1_line_12 | NAYY 4x150 SE | 10 | 11 | 0.044802 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2403-6_1_1_line_13 | NAYY 4x150 SE | 11 | 20 | 0.012185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2403-6_1_1_line_14 | NAYY 4x150 SE | 12 | 13 | 0.018019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2403-6_1_1_line_15 | NAYY 4x150 SE | 13 | 14 | 0.02354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2403-6_1_1_line_16 | NAYY 4x150 SE | 14 | 15 | 0.06075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2403-6_1_1_line_17 | NAYY 4x150 SE | 14 | 16 | 0.056542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2403-6_1_1_line_18 | NAYY 4x150 SE | 15 | 30 | 0.040003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2403-6_1_1_line_19 | NAYY 4x150 SE | 18 | 19 | 0.017094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2403-6_1_1_line_20 | NAYY 4x150 SE | 19 | 20 | 0.028899 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2403-6_1_1_line_21 | NAYY 4x150 SE | 20 | 24 | 0.03345 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2403-6_1_1_line_22 | NAYY 4x150 SE | 21 | 22 | 0.026452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2403-6_1_1_line_23 | NAYY 4x150 SE | 21 | 23 | 0.00099405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2403-6_1_1_line_24 | NAYY 4x150 SE | 22 | 25 | 0.034615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2403-6_1_1_line_25 | NAYY 4x150 SE | 23 | 26 | 0.069466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2403-6_1_1_line_26 | NAYY 4x150 SE | 24 | 28 | 0.039253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2403-6_1_1_line_27 | NAYY 4x150 SE | 24 | 27 | 0.034152 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2403-6_1_1_line_28 | NAYY 4x150 SE | 25 | 27 | 0.0064899 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2403-6_1_1_line_29 | NAYY 4x150 SE | 26 | 29 | 0.020213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2403-6_1_1_trafo_36 | 0.25 MVA 20/0.4 kV | 31 | 18 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2623892.3414 | 1236999.6215 | 2623877.8791 | 1236984.9821
1 | 2623892.3414 | 1236999.6215 | 2623894.3088 | 1237001.613
2 | 2623865.2295 | 1236972.1774 | 2623877.8791 | 1236984.9821
3 | 2623906.3572 | 1237013.809 | 2623894.3088 | 1237001.613
4 | 2623865.2295 | 1236972.1774 | 2623867.4008 | 1236970.2961 | 2623873.1014 | 1236963.7038 | 2623881.8439 | 1236953.2323
5 | 2623865.2295 | 1236972.1774 | 2623861.5019 | 1236975.3978
6 | 2623906.3572 | 1237013.809 | 2623918.5239 | 1237026.1247 | 2623922.6053 | 1237030.0972
7 | 2623881.8439 | 1236953.2323 | 2623899.22 | 1236932.4398
8 | 2623881.8439 | 1236953.2323 | 2623864.4437 | 1236937.3745
9 | 2623861.5019 | 1236975.3978 | 2623875.1807 | 1236988.8315
10 | 2623861.5019 | 1236975.3978 | 2623844.7501 | 1236959.0411
11 | 2623928.4077 | 1237035.7445 | 2623922.6053 | 1237030.0972
12 | 2623875.1807 | 1236988.8315 | 2623907.1461 | 1237020.2238
13 | 2623915.8199 | 1237028.7822 | 2623911.9391 | 1237024.9309 | 2623907.1461 | 1237020.2238
14 | 2623916.6627 | 1236873.7006 | 2623911.3185 | 1236880.0498 | 2623904.4888 | 1236886.9667
15 | 2623934.9344 | 1236888.6055 | 2623920.1013 | 1236876.5051 | 2623916.6627 | 1236873.7006
16 | 2623934.9344 | 1236888.6055 | 2623937.9673 | 1236890.6968 | 2623957.4247 | 1236906.1179 | 2623982.1946 | 1236926.7527
17 | 2623934.9344 | 1236888.6055 | 2623899.5492 | 1236932.0458 | 2623899.22 | 1236932.4398
18 | 2623957.7133 | 1236958.4404 | 2623982.1946 | 1236926.7527
19 | 2623895.9014 | 1237049.7197 | 2623885.5588 | 1237060.5915 | 2623885.5367 | 1237062.6795
20 | 2623915.8199 | 1237028.7822 | 2623895.9014 | 1237049.7197
21 | 2623939.313 | 1237052.6581 | 2623915.8199 | 1237028.7822
22 | 2623869.4493 | 1237095.1928 | 2623891.1159 | 1237110.4558
23 | 2623868.6105 | 1237094.6594 | 2623869.4493 | 1237095.1928
24 | 2623891.1159 | 1237110.4558 | 2623913.2847 | 1237083.8711
25 | 2623809.6019 | 1237058.6416 | 2623853.1091 | 1237087.3891 | 2623860.1072 | 1237089.2517 | 2623868.6105 | 1237094.6594
26 | 2623939.313 | 1237052.6581 | 2623967.3843 | 1237080.0953
27 | 2623939.313 | 1237052.6581 | 2623917.441 | 1237078.8868
28 | 2623917.441 | 1237078.8868 | 2623913.2847 | 1237083.8711
29 | 2623809.6019 | 1237058.6416 | 2623804.1918 | 1237055.0622 | 2623794.9003 | 1237044.9596

## bus_geodata
| x | y | coords
0 | 2623892.3414 | 1236999.6215
1 | 2623877.8791 | 1236984.9821
2 | 2623894.3088 | 1237001.613
3 | 2623865.2295 | 1236972.1774
4 | 2623906.3572 | 1237013.809
5 | 2623881.8439 | 1236953.2323
6 | 2623861.5019 | 1236975.3978
7 | 2623922.6053 | 1237030.0972
8 | 2623928.4077 | 1237035.7445
9 | 2623844.7501 | 1236959.0411
10 | 2623875.1808 | 1236988.8315
11 | 2623907.1461 | 1237020.2238
12 | 2623904.4888 | 1236886.9667
13 | 2623916.6627 | 1236873.7006
14 | 2623934.9344 | 1236888.6055
15 | 2623982.1946 | 1236926.7527
16 | 2623899.22 | 1236932.4398
17 | 2623864.4437 | 1236937.3745
18 | 2623885.5367 | 1237062.6795
19 | 2623895.9014 | 1237049.7197
20 | 2623915.8199 | 1237028.7822
21 | 2623869.4493 | 1237095.1928
22 | 2623891.1159 | 1237110.4558
23 | 2623868.6105 | 1237094.6594
24 | 2623939.313 | 1237052.6581
25 | 2623913.2847 | 1237083.8711
26 | 2623809.6019 | 1237058.6416
27 | 2623917.441 | 1237078.8868
28 | 2623967.3843 | 1237080.0953
29 | 2623794.9003 | 1237044.9596
30 | 2623957.7133 | 1236958.4404
31 | 2623869.4493 | 1237095.1928

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99073 | -0.064811 | 0.0028286 | 0.0007089
1 | 0.99101 | -0.062827 | 0.0010015 | 0.000251
2 | 0.99071 | -0.065 | 0.002079 | 0.00052106
3 | 0.99129 | -0.060909 | 0 | 0
4 | 0.99059 | -0.065797 | 0.0011219 | 0.00028118
5 | 0.99099 | -0.063035 | 0 | 0
6 | 0.99142 | -0.059971 | 0 | 0
7 | 0.99048 | -0.066605 | 0.0029002 | 0.00072686
8 | 0.99047 | -0.06665 | 0.00054743 | 0.0001372
9 | 0.99135 | -0.060424 | 0.0019057 | 0.00047762
10 | 0.99199 | -0.055943 | 0.0050729 | 0.0012714
11 | 0.99365 | -0.04425 | 0.0039522 | 0.00099051
12 | 0.99033 | -0.067709 | 0.0012766 | 0.00031995
13 | 0.99036 | -0.067475 | 0 | 0
14 | 0.9904 | -0.067169 | 0 | 0
15 | 0.99017 | -0.068805 | 0 | 0
16 | 0.99072 | -0.064906 | 0.0028559 | 0.00071576
17 | 0.99094 | -0.063396 | 0.0015055 | 0.00037733
18 | 1 | 0 | -0.092873 | -0.023213
19 | 0.99776 | -0.015568 | 0.0049901 | 0.0012506
20 | 0.99417 | -0.040589 | 0 | 0
21 | 0.98415 | -0.11119 | 0 | 0
22 | 0.98595 | -0.098383 | 0 | 0
23 | 0.98408 | -0.11167 | 0.045567 | 0.01142
24 | 0.99144 | -0.059665 | 0 | 0
25 | 0.98831 | -0.081694 | 0.0017171 | 0.00043036
26 | 0.98393 | -0.11275 | 0 | 0
27 | 0.98877 | -0.07846 | 0.0052643 | 0.0013194
28 | 0.99131 | -0.060564 | 0.0022538 | 0.00056486
29 | 0.98389 | -0.11306 | 0.0014939 | 0.00037441
30 | 0.99002 | -0.069881 | 0.0026404 | 0.00066174
31 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0094782 | -0.0023749 | 0.0094808 | 0.0023757 | 2.6022e-06 | 7.3577e-07 | 0.014235 | 0.014235 | 0.014235 | 0.99073 | -0.064811 | 0.99101 | -0.062827 | 5.2724
1 | 0.0066496 | 0.001666 | -0.0066495 | -0.001666 | 1.7424e-07 | 3.0966e-08 | 0.0099871 | 0.0099872 | 0.0099872 | 0.99073 | -0.064811 | 0.99071 | -0.065 | 3.6989
2 | -0.010482 | -0.0026267 | 0.010485 | 0.0026275 | 2.7822e-06 | 8.3812e-07 | 0.015739 | 0.015739 | 0.015739 | 0.99101 | -0.062827 | 0.99129 | -0.060909 | 5.8293
3 | 0.0045704 | 0.001145 | -0.0045699 | -0.001145 | 5.0409e-07 | -2.6845e-08 | 0.0068645 | 0.0068646 | 0.0068646 | 0.99071 | -0.065 | 0.99059 | -0.065797 | 2.5424
4 | 0.008285 | 0.0020738 | -0.0082826 | -0.0020732 | 2.4317e-06 | 6.1052e-07 | 0.012436 | 0.012436 | 0.012436 | 0.99129 | -0.060909 | 0.99099 | -0.063035 | 4.6059
5 | -0.01877 | -0.0047013 | 0.018773 | 0.0047022 | 2.4361e-06 | 8.7354e-07 | 0.028175 | 0.028175 | 0.028175 | 0.99129 | -0.060909 | 0.99142 | -0.059971 | 10.4351
6 | 0.003448 | 0.00086381 | -0.0034476 | -0.00086396 | 3.8513e-07 | -1.4803e-07 | 0.0051793 | 0.0051794 | 0.0051794 | 0.99059 | -0.065797 | 0.99048 | -0.066605 | 1.9183
7 | 0.006777 | 0.0016961 | -0.0067752 | -0.0016958 | 1.7506e-06 | 3.243e-07 | 0.010175 | 0.010175 | 0.010175 | 0.99099 | -0.063035 | 0.99072 | -0.064906 | 3.7686
8 | 0.0015056 | 0.00037705 | -0.0015055 | -0.00037733 | 7.508e-08 | -2.7442e-07 | 0.0022607 | 0.0022608 | 0.0022608 | 0.99099 | -0.063035 | 0.99094 | -0.063396 | 0.83732
9 | -0.020678 | -0.0051795 | 0.02069 | 0.0051837 | 1.1523e-05 | 4.1845e-06 | 0.031035 | 0.031035 | 0.031035 | 0.99142 | -0.059971 | 0.99199 | -0.055943 | 11.4945
10 | 0.0019059 | 0.00047737 | -0.0019057 | -0.00047762 | 1.1954e-07 | -2.5592e-07 | 0.0028604 | 0.0028605 | 0.0028605 | 0.99142 | -0.059971 | 0.99135 | -0.060424 | 1.0594
11 | 0.00054744 | 0.0001371 | -0.00054743 | -0.0001372 | 3.4172e-09 | -1.029e-07 | 0.00082239 | 0.00082242 | 0.00082242 | 0.99048 | -0.066605 | 0.99047 | -0.06665 | 0.3046
12 | -0.025763 | -0.0064551 | 0.025805 | 0.0064706 | 4.175e-05 | 1.5478e-05 | 0.038645 | 0.038644 | 0.038645 | 0.99199 | -0.055943 | 0.99365 | -0.04425 | 14.3128
13 | -0.029757 | -0.0074611 | 0.029772 | 0.0074667 | 1.51e-05 | 5.6496e-06 | 0.044563 | 0.044563 | 0.044563 | 0.99365 | -0.04425 | 0.99417 | -0.040589 | 16.5048
14 | -0.0012766 | -0.00031995 | 0.0012767 | 0.00031974 | 4.1371e-08 | -2.1595e-07 | 0.0019182 | 0.0019181 | 0.0019182 | 0.99033 | -0.067709 | 0.99036 | -0.067475 | 0.71045
15 | -0.0012767 | -0.00031974 | 0.0012767 | 0.00031946 | 5.4041e-08 | -2.8213e-07 | 0.0019181 | 0.001918 | 0.0019181 | 0.99036 | -0.067475 | 0.9904 | -0.067169 | 0.71042
16 | 0.0026414 | 0.00066082 | -0.0026408 | -0.00066137 | 5.9692e-07 | -5.5201e-07 | 0.0039681 | 0.0039683 | 0.0039683 | 0.9904 | -0.067169 | 0.99017 | -0.068805 | 1.4698
17 | -0.0039181 | -0.00098028 | 0.0039193 | 0.00098002 | 1.2223e-06 | -2.5773e-07 | 0.0058861 | 0.0058858 | 0.0058861 | 0.9904 | -0.067169 | 0.99072 | -0.064906 | 2.18
18 | 0.0026408 | 0.00066137 | -0.0026404 | -0.00066174 | 3.9311e-07 | -3.6327e-07 | 0.0039683 | 0.0039685 | 0.0039685 | 0.99017 | -0.068805 | 0.99002 | -0.069881 | 1.4698
19 | 0.092073 | 0.023213 | -0.091872 | -0.023136 | 0.00020036 | 7.6836e-05 | 0.13705 | 0.13705 | 0.13705 | 1 | 0 | 0.99776 | -0.015568 | 50.7608
20 | 0.086882 | 0.021885 | -0.086579 | -0.021769 | 0.00030294 | 0.00011614 | 0.12961 | 0.12961 | 0.12961 | 0.99776 | -0.015568 | 0.99417 | -0.040589 | 48.0046
21 | 0.056808 | 0.014302 | -0.056657 | -0.014245 | 0.00015098 | 5.7637e-05 | 0.08505 | 0.08505 | 0.08505 | 0.99417 | -0.040589 | 0.99144 | -0.059665 | 31.4999
22 | -0.047064 | -0.011795 | 0.047148 | 0.011826 | 8.3581e-05 | 3.181e-05 | 0.07116 | 0.071159 | 0.07116 | 0.98415 | -0.11119 | 0.98595 | -0.098383 | 26.3554
23 | 0.047064 | 0.011795 | -0.047061 | -0.011793 | 3.1409e-06 | 1.1954e-06 | 0.07116 | 0.07116 | 0.07116 | 0.98415 | -0.11119 | 0.98408 | -0.11167 | 26.3554
24 | -0.047148 | -0.011826 | 0.047257 | 0.011868 | 0.00010937 | 4.1624e-05 | 0.071159 | 0.071159 | 0.071159 | 0.98595 | -0.098383 | 0.98831 | -0.081694 | 26.3554
25 | 0.0014942 | 0.00037338 | -0.001494 | -0.00037418 | 2.2122e-07 | -7.9734e-07 | 0.002259 | 0.0022593 | 0.0022593 | 0.98408 | -0.11167 | 0.98393 | -0.11275 | 0.83677
26 | 0.0022541 | 0.00056446 | -0.0022538 | -0.00056486 | 2.8032e-07 | -3.9831e-07 | 0.0033829 | 0.0033831 | 0.0033831 | 0.99144 | -0.059665 | 0.99131 | -0.060564 | 1.253
27 | 0.054402 | 0.01368 | -0.05426 | -0.013626 | 0.00014213 | 5.4226e-05 | 0.081667 | 0.081667 | 0.081667 | 0.99144 | -0.059665 | 0.98877 | -0.07846 | 30.247
28 | -0.048974 | -0.012298 | 0.048996 | 0.012307 | 2.2023e-05 | 8.3873e-06 | 0.073745 | 0.073745 | 0.073745 | 0.98831 | -0.081694 | 0.98877 | -0.07846 | 27.3128
29 | 0.001494 | 0.00037418 | -0.0014939 | -0.00037441 | 6.4382e-08 | -2.3195e-07 | 0.0022593 | 0.0022594 | 0.0022594 | 0.98393 | -0.11275 | 0.98389 | -0.11306 | 0.8368

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.095184 | 0.023792

## res_load
| p_mw | q_mvar
0 | 0.0028286 | 0.0007089
1 | 0.0010015 | 0.000251
2 | 0.002079 | 0.00052106
3 | 0.0011219 | 0.00028118
4 | 0.0029002 | 0.00072686
5 | 0.00054743 | 0.0001372
6 | 0.0019057 | 0.00047762
7 | 0.0050729 | 0.0012714
8 | 0.0039522 | 0.00099051
9 | 0.0012766 | 0.00031995
10 | 0.0028559 | 0.00071576
11 | 0.0015055 | 0.00037733
12 | 0.0023117 | 0.00057936
13 | 0.0049901 | 0.0012506
14 | 0.045567 | 0.01142
15 | 0.0017171 | 0.00043036
16 | 0.0052643 | 0.0013194
17 | 0.0022538 | 0.00056486
18 | 0.0014939 | 0.00037441
19 | 0.0026404 | 0.00066174

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1