## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2404-2_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2404-2_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2404-2_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2404-2_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2404-2_0_2_node_68 | 0.4 | n |  | TRUE
5 | bus_LV_2404-2_0_2_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_2404-2_0_2_node_66 | 0.4 | n |  | TRUE
7 | bus_LV_2404-2_0_2_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_2404-2_0_2_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_2404-2_0_2_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_2404-2_0_2_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_2404-2_0_2_node_37 | 0.4 | n |  | TRUE
12 | bus_LV_2404-2_0_2_node_80 | 0.4 | n |  | TRUE
13 | bus_LV_2404-2_0_2_node_51 | 0.4 | n |  | TRUE
14 | bus_LV_2404-2_0_2_node_88 | 0.4 | n |  | TRUE
15 | bus_LV_2404-2_0_2_node_36 | 0.4 | n |  | TRUE
16 | bus_LV_2404-2_0_2_node_50 | 0.4 | n |  | TRUE
17 | bus_LV_2404-2_0_2_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_2404-2_0_2_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_2404-2_0_2_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_2404-2_0_2_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_2404-2_0_2_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_2404-2_0_2_node_62 | 0.4 | n |  | TRUE
23 | bus_LV_2404-2_0_2_node_72 | 0.4 | n |  | TRUE
24 | bus_LV_2404-2_0_2_node_30 | 0.4 | n |  | TRUE
25 | bus_LV_2404-2_0_2_node_79 | 0.4 | n |  | TRUE
26 | bus_LV_2404-2_0_2_node_54 | 0.4 | n |  | TRUE
27 | bus_LV_2404-2_0_2_node_71 | 0.4 | n |  | TRUE
28 | bus_LV_2404-2_0_2_node_31 | 0.4 | n |  | TRUE
29 | bus_LV_2404-2_0_2_node_14 | 0.4 | n |  | TRUE
30 | bus_LV_2404-2_0_2_node_15 | 0.4 | n |  | TRUE
31 | bus_LV_2404-2_0_2_node_16 | 0.4 | n |  | TRUE
32 | bus_LV_2404-2_0_2_node_17 | 0.4 | n |  | TRUE
33 | bus_LV_2404-2_0_2_node_18 | 0.4 | n |  | TRUE
34 | bus_LV_2404-2_0_2_node_39 | 0.4 | n |  | TRUE
35 | bus_LV_2404-2_0_2_node_76 | 0.4 | n |  | TRUE
36 | bus_LV_2404-2_0_2_node_40 | 0.4 | n |  | TRUE
37 | bus_LV_2404-2_0_2_node_77 | 0.4 | n |  | TRUE
38 | bus_LV_2404-2_0_2_node_42 | 0.4 | n |  | TRUE
39 | bus_LV_2404-2_0_2_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_2404-2_0_2_node_20 | 0.4 | n |  | TRUE
41 | bus_LV_2404-2_0_2_node_21 | 0.4 | n |  | TRUE
42 | bus_LV_2404-2_0_2_node_22 | 0.4 | n |  | TRUE
43 | bus_LV_2404-2_0_2_node_23 | 0.4 | n |  | TRUE
44 | bus_LV_2404-2_0_2_node_24 | 0.4 | n |  | TRUE
45 | bus_LV_2404-2_0_2_node_56 | 0.4 | n |  | TRUE
46 | bus_LV_2404-2_0_2_node_45 | 0.4 | n |  | TRUE
47 | bus_LV_2404-2_0_2_node_25 | 0.4 | n |  | TRUE
48 | bus_LV_2404-2_0_2_node_26 | 0.4 | n |  | TRUE
49 | bus_LV_2404-2_0_2_node_27 | 0.4 | n |  | TRUE
50 | bus_LV_2404-2_0_2_node_28 | 0.4 | n |  | TRUE
51 | bus_LV_2404-2_0_2_node_55 | 0.4 | n |  | TRUE
52 | bus_LV_2404-2_0_2_node_70 | 0.4 | n |  | TRUE
53 | bus_LV_2404-2_0_2_node_32 | 0.4 | n |  | TRUE
54 | bus_LV_2404-2_0_2_node_33 | 0.4 | n |  | TRUE
55 | bus_LV_2404-2_0_2_node_48 | 0.4 | n |  | TRUE
56 | bus_LV_2404-2_0_2_node_49 | 0.4 | n |  | TRUE
57 | bus_LV_2404-2_0_2_node_34 | 0.4 | n |  | TRUE
58 | bus_LV_2404-2_0_2_node_35 | 0.4 | n |  | TRUE
59 | bus_LV_2404-2_0_2_node_38 | 0.4 | n |  | TRUE
60 | bus_LV_2404-2_0_2_node_63 | 0.4 | n |  | TRUE
61 | bus_LV_2404-2_0_2_node_84 | 0.4 | n |  | TRUE
62 | bus_LV_2404-2_0_2_node_64 | 0.4 | n |  | TRUE
63 | bus_LV_2404-2_0_2_node_61 | 0.4 | n |  | TRUE
64 | bus_LV_2404-2_0_2_node_41 | 0.4 | n |  | TRUE
65 | bus_LV_2404-2_0_2_node_60 | 0.4 | n |  | TRUE
66 | bus_LV_2404-2_0_2_node_58 | 0.4 | n |  | TRUE
67 | bus_LV_2404-2_0_2_node_43 | 0.4 | n |  | TRUE
68 | bus_LV_2404-2_0_2_node_44 | 0.4 | n |  | TRUE
69 | bus_LV_2404-2_0_2_node_69 | 0.4 | n |  | TRUE
70 | bus_LV_2404-2_0_2_node_78 | 0.4 | n |  | TRUE
71 | bus_LV_2404-2_0_2_node_87 | 0.4 | n |  | TRUE
72 | bus_LV_2404-2_0_2_node_83 | 0.4 | n |  | TRUE
73 | bus_LV_2404-2_0_2_node_57 | 0.4 | n |  | TRUE
74 | bus_LV_2404-2_0_2_node_59 | 0.4 | n |  | TRUE
75 | bus_LV_2404-2_0_2_node_75 | 0.4 | n |  | TRUE
76 | bus_LV_2404-2_0_2_node_65 | 0.4 | n |  | TRUE
77 | bus_LV_2404-2_0_2_node_73 | 0.4 | n |  | TRUE
78 | bus_LV_2404-2_0_2_node_74 | 0.4 | n |  | TRUE
79 | bus_LV_2404-2_0_2_node_81 | 0.4 | n |  | TRUE
80 | bus_LV_2404-2_0_2_node_82 | 0.4 | n |  | TRUE
81 | bus_LV_2404-2_0_2_node_85 | 0.4 | n |  | TRUE
82 | bus_LV_2404-2_0_2_node_86 | 0.4 | n |  | TRUE
83 | bus_LV_2404-2_0_2_node_89 | 0.4 | n |  | TRUE
84 | bus_LV_2404-2_0_2_node_91 | 0.4 | n |  | TRUE
85 | bus_LV_2404-2_0_2_node_90 | 0.4 | n |  | TRUE
86 | bus_MV_334_0_node_115 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2404-2_0_2_load_0 | 0 | 0.0018297 | 0.00045856 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2404-2_0_2_load_1 | 1 | 0.0019163 | 0.00048026 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2404-2_0_2_load_2 | 2 | 0.001778 | 0.00044562 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2404-2_0_2_load_66 | 6 | 0.0024353 | 0.00061034 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2404-2_0_2_load_8 | 7 | 0.0013708 | 0.00034355 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2404-2_0_2_load_4 | 8 | 0.0016017 | 0.00040141 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2404-2_0_2_load_5 | 9 | 0.0021022 | 0.00052685 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2404-2_0_2_load_80 | 12 | 0.0006542 | 0.00016396 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2404-2_0_2_load_51 | 13 | 0.00091728 | 0.00022989 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2404-2_0_2_load_88 | 14 | 0.0018906 | 0.00047383 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2404-2_0_2_load_50 | 16 | 0.0011041 | 0.00027672 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2404-2_0_2_load_9 | 17 | 0.0013913 | 0.0003487 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2404-2_0_2_load_10 | 18 | 0.0024561 | 0.00061555 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2404-2_0_2_load_11 | 19 | 0.0015173 | 0.00038026 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2404-2_0_2_load_13 | 21 | 0.0014371 | 0.00036017 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2404-2_0_2_load_72 | 23 | 0.0010856 | 0.00027207 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2404-2_0_2_load_30 | 24 | 0.0017902 | 0.00044867 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2404-2_0_2_load_79 | 25 | 0.0016154 | 0.00040485 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2404-2_0_2_load_71 | 27 | 0.0018868 | 0.00047288 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2404-2_0_2_load_14 | 29 | 0.0021139 | 0.00052979 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2404-2_0_2_load_15 | 30 | 0.002575 | 0.00064537 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2404-2_0_2_load_17 | 32 | 0.0025927 | 0.0006498 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2404-2_0_2_load_39 | 34 | 0.0019979 | 0.00050072 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2404-2_0_2_load_76 | 35 | 0.0049849 | 0.0012493 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2404-2_0_2_load_40 | 36 | 0.00089484 | 0.00022427 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2404-2_0_2_load_42 | 38 | 0.0020886 | 0.00052345 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2404-2_0_2_load_29 | 39 | 0.0018592 | 0.00046595 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2404-2_0_2_load_20 | 40 | 0.0010193 | 0.00025547 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2404-2_0_2_load_21 | 41 | 0.0011584 | 0.00029033 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2404-2_0_2_load_22 | 42 | 0.0010736 | 0.00026907 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2404-2_0_2_load_23 | 43 | 0.001105 | 0.00027695 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2404-2_0_2_load_24 | 44 | 0.0027235 | 0.00068257 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2404-2_0_2_load_56 | 45 | 0.0018586 | 0.0004658 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2404-2_0_2_load_45 | 46 | 0.0014955 | 0.00037482 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2404-2_0_2_load_25 | 47 | 0.00061936 | 0.00015523 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2404-2_0_2_load_26 | 48 | 0.0050267 | 0.0012598 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2404-2_0_2_load_27 | 49 | 0.0017874 | 0.00044796 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2404-2_0_2_load_55 | 51 | 0.0031829 | 0.00079772 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2404-2_0_2_load_70 | 52 | 0.0015937 | 0.00039942 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2404-2_0_2_load_32 | 53 | 0.0013505 | 0.00033847 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2404-2_0_2_load_33 | 54 | 0.001313 | 0.00032906 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2404-2_0_2_load_48 | 55 | 0.0017084 | 0.00042817 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2404-2_0_2_load_49 | 56 | 0.00068396 | 0.00017142 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2404-2_0_2_load_34 | 57 | 0.0011017 | 0.00027612 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2404-2_0_2_load_35 | 58 | 0.0022601 | 0.00056645 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2404-2_0_2_load_38 | 59 | 0.0018018 | 0.00045156 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2404-2_0_2_load_64 | 62 | 0.0040412 | 0.0010128 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2404-2_0_2_load_61 | 63 | 0.0015807 | 0.00039617 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2404-2_0_2_load_41 | 64 | 0.0014753 | 0.00036974 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2404-2_0_2_load_60 | 65 | 0.0017245 | 0.00043219 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2404-2_0_2_load_58 | 66 | 0.00076841 | 0.00019258 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2404-2_0_2_load_43 | 67 | 0.0024395 | 0.0006114 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2404-2_0_2_load_44 | 68 | 0.0016798 | 0.000421 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2404-2_0_2_load_78 | 70 | 0.0012997 | 0.00032573 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2404-2_0_2_load_87 | 71 | 0.0015095 | 0.00037832 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2404-2_0_2_load_57 | 73 | 0.0027349 | 0.00068543 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2404-2_0_2_load_59 | 74 | 0.0012674 | 0.00031764 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2404-2_0_2_load_65 | 76 | 0.0058227 | 0.0014593 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2404-2_0_2_load_73 | 77 | 0.0024144 | 0.0006051 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2404-2_0_2_load_74 | 78 | 0.0029444 | 0.00073795 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2404-2_0_2_load_81 | 79 | 0.0014917 | 0.00037385 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2404-2_0_2_load_85 | 81 | 0.0019027 | 0.00047685 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2404-2_0_2_load_86 | 82 | 0.0014807 | 0.0003711 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2404-2_0_2_load_89 | 83 | 0.0019124 | 0.00047929 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2404-2_0_2_load_90 | 85 | 0.0018839 | 0.00047215 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 62 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2404-2_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0074801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2404-2_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.018197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2404-2_0_2_line_2 | NAYY 4x150 SE | 2 | 3 | 0.021198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2404-2_0_2_line_3 | NAYY 4x150 SE | 3 | 4 | 0.062695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2404-2_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.005678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2404-2_0_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.054377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2404-2_0_2_line_6 | NAYY 4x150 SE | 5 | 7 | 0.01853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2404-2_0_2_line_7 | NAYY 4x150 SE | 5 | 8 | 0.035781 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2404-2_0_2_line_8 | NAYY 4x150 SE | 6 | 76 | 0.032886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2404-2_0_2_line_9 | NAYY 4x150 SE | 7 | 13 | 0.0018131 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2404-2_0_2_line_10 | NAYY 4x150 SE | 8 | 9 | 0.021237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2404-2_0_2_line_11 | NAYY 4x150 SE | 9 | 10 | 0.025096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2404-2_0_2_line_12 | NAYY 4x150 SE | 10 | 11 | 0.006637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2404-2_0_2_line_13 | NAYY 4x150 SE | 10 | 12 | 0.017993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2404-2_0_2_line_14 | NAYY 4x150 SE | 11 | 14 | 0.044522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2404-2_0_2_line_15 | NAYY 4x150 SE | 11 | 15 | 0.020552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2404-2_0_2_line_16 | NAYY 4x150 SE | 13 | 16 | 0.049298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2404-2_0_2_line_17 | NAYY 4x150 SE | 14 | 61 | 0.0153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2404-2_0_2_line_18 | NAYY 4x150 SE | 15 | 59 | 0.0019186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2404-2_0_2_line_19 | NAYY 4x150 SE | 15 | 57 | 0.015247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2404-2_0_2_line_20 | NAYY 4x150 SE | 17 | 18 | 0.0092755 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2404-2_0_2_line_21 | NAYY 4x150 SE | 17 | 19 | 0.019833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2404-2_0_2_line_22 | NAYY 4x150 SE | 18 | 20 | 0.014563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2404-2_0_2_line_23 | NAYY 4x150 SE | 19 | 21 | 0.0049689 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2404-2_0_2_line_24 | NAYY 4x150 SE | 20 | 22 | 0.021993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2404-2_0_2_line_25 | NAYY 4x150 SE | 20 | 23 | 0.007319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2404-2_0_2_line_26 | NAYY 4x150 SE | 21 | 24 | 0.025378 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2404-2_0_2_line_27 | NAYY 4x150 SE | 22 | 25 | 0.056158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2404-2_0_2_line_28 | NAYY 4x150 SE | 22 | 26 | 0.007728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2404-2_0_2_line_29 | NAYY 4x150 SE | 23 | 27 | 0.027755 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2404-2_0_2_line_30 | NAYY 4x150 SE | 24 | 28 | 0.016118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2404-2_0_2_line_31 | NAYY 4x150 SE | 25 | 75 | 0.0039085 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2404-2_0_2_line_32 | NAYY 4x150 SE | 26 | 44 | 0.013487 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2404-2_0_2_line_33 | NAYY 4x150 SE | 28 | 53 | 0.022576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2404-2_0_2_line_34 | NAYY 4x150 SE | 28 | 54 | 0.020185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2404-2_0_2_line_35 | NAYY 4x150 SE | 29 | 30 | 0.027073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2404-2_0_2_line_36 | NAYY 4x150 SE | 29 | 31 | 0.056395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2404-2_0_2_line_37 | NAYY 4x150 SE | 30 | 32 | 0.01748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2404-2_0_2_line_38 | NAYY 4x150 SE | 31 | 33 | 0.001667 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2404-2_0_2_line_39 | NAYY 4x150 SE | 32 | 34 | 0.004255 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2404-2_0_2_line_40 | NAYY 4x150 SE | 33 | 35 | 0.043482 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2404-2_0_2_line_41 | NAYY 4x150 SE | 34 | 36 | 0.021362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2404-2_0_2_line_42 | NAYY 4x150 SE | 35 | 37 | 0.026225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2404-2_0_2_line_43 | NAYY 4x150 SE | 36 | 64 | 0.0012022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2404-2_0_2_line_44 | NAYY 4x150 SE | 37 | 70 | 0.022848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2404-2_0_2_line_45 | NAYY 4x150 SE | 38 | 39 | 0.020824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_2404-2_0_2_line_46 | NAYY 4x150 SE | 39 | 49 | 0.019642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_2404-2_0_2_line_47 | NAYY 4x150 SE | 40 | 41 | 0.01078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_2404-2_0_2_line_48 | NAYY 4x150 SE | 40 | 42 | 4.1357e-06 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_2404-2_0_2_line_49 | NAYY 4x150 SE | 41 | 43 | 0.0018251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_2404-2_0_2_line_50 | NAYY 4x150 SE | 42 | 44 | 0.0079216 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_2404-2_0_2_line_51 | NAYY 4x150 SE | 43 | 45 | 0.010412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_2404-2_0_2_line_52 | NAYY 4x150 SE | 45 | 46 | 0.0021717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_2404-2_0_2_line_53 | NAYY 4x150 SE | 46 | 68 | 0.01341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_2404-2_0_2_line_54 | NAYY 4x150 SE | 47 | 48 | 0.023228 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_2404-2_0_2_line_55 | NAYY 4x150 SE | 47 | 49 | 0.0057994 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_2404-2_0_2_line_56 | NAYY 4x150 SE | 48 | 50 | 0.021205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_2404-2_0_2_line_57 | NAYY 4x150 SE | 50 | 51 | 0.023195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_2404-2_0_2_line_58 | NAYY 4x150 SE | 51 | 52 | 0.018235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_2404-2_0_2_line_59 | NAYY 4x150 SE | 52 | 69 | 0.022076 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_2404-2_0_2_line_60 | NAYY 4x150 SE | 53 | 55 | 0.023884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_2404-2_0_2_line_61 | NAYY 4x150 SE | 55 | 56 | 0.032933 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_2404-2_0_2_line_62 | NAYY 4x150 SE | 56 | 69 | 0.027319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_2404-2_0_2_line_63 | NAYY 4x150 SE | 57 | 58 | 0.0074944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_2404-2_0_2_line_64 | NAYY 4x150 SE | 59 | 60 | 0.016887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_2404-2_0_2_line_65 | NAYY 4x150 SE | 60 | 62 | 0.040704 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_2404-2_0_2_line_66 | NAYY 4x150 SE | 60 | 63 | 0.022179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_2404-2_0_2_line_67 | NAYY 4x150 SE | 61 | 83 | 0.015142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_2404-2_0_2_line_68 | NAYY 4x150 SE | 61 | 80 | 0.041529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_2404-2_0_2_line_69 | NAYY 4x150 SE | 62 | 69 | 0.009265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_2404-2_0_2_line_70 | NAYY 4x150 SE | 63 | 74 | 0.0059266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_2404-2_0_2_line_71 | NAYY 4x150 SE | 64 | 65 | 0.0097753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_2404-2_0_2_line_72 | NAYY 4x150 SE | 65 | 66 | 0.010353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_2404-2_0_2_line_73 | NAYY 4x150 SE | 66 | 73 | 0.0056602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_2404-2_0_2_line_74 | NAYY 4x150 SE | 67 | 68 | 0.006215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_2404-2_0_2_line_75 | NAYY 4x150 SE | 71 | 72 | 0.012623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_2404-2_0_2_line_76 | NAYY 4x150 SE | 72 | 82 | 0.020501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_2404-2_0_2_line_77 | NAYY 4x150 SE | 72 | 79 | 0.052323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_2404-2_0_2_line_78 | NAYY 4x150 SE | 73 | 74 | 0.030871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_2404-2_0_2_line_79 | NAYY 4x150 SE | 75 | 78 | 0.029505 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_2404-2_0_2_line_80 | NAYY 4x150 SE | 77 | 78 | 0.028784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_2404-2_0_2_line_81 | NAYY 4x150 SE | 80 | 81 | 0.027853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_2404-2_0_2_line_82 | NAYY 4x150 SE | 81 | 84 | 0.038276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_2404-2_0_2_line_83 | NAYY 4x150 SE | 82 | 84 | 0.012285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_2404-2_0_2_line_84 | NAYY 4x150 SE | 84 | 85 | 0.03889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2404-2_0_2_trafo_64 | 0.25 MVA 20/0.4 kV | 86 | 62 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2627312.5804 | 1238775.2193 | 2627319.4878 | 1238778.0896
1 | 2627312.5804 | 1238775.2193 | 2627295.7763 | 1238768.2368
2 | 2627276.2006 | 1238760.1026 | 2627295.7763 | 1238768.2368
3 | 2627267.8031 | 1238821.6027 | 2627268.8029 | 1238788.2975 | 2627269.8969 | 1238778.9967 | 2627272.2037 | 1238769.1011 | 2627276.2006 | 1238760.1026
4 | 2627278.6972 | 1238754.9998 | 2627276.2006 | 1238760.1026
5 | 2627267.8031 | 1238821.6027 | 2627258.6036 | 1238820.5043 | 2627215.1716 | 1238808.3087
6 | 2627278.6972 | 1238754.9998 | 2627261.8093 | 1238747.3739
7 | 2627278.6972 | 1238754.9998 | 2627284.5992 | 1238742.897 | 2627295.6897 | 1238723.5322
8 | 2627183.5104 | 1238799.4183 | 2627215.1716 | 1238808.3087
9 | 2627260.1569 | 1238746.6277 | 2627261.8093 | 1238747.3739
10 | 2627295.6897 | 1238723.5322 | 2627298.3995 | 1238718.8008 | 2627304.8986 | 1238706.8009 | 2627305.8435 | 1238704.8838
11 | 2627316.5306 | 1238682.2056 | 2627315.4953 | 1238685.3027 | 2627305.8435 | 1238704.8838
12 | 2627318.6395 | 1238675.9113 | 2627316.5306 | 1238682.2056
13 | 2627316.5306 | 1238682.2056 | 2627299.6629 | 1238675.9435
14 | 2627318.6395 | 1238675.9113 | 2627288.2097 | 1238663.1748 | 2627280.5724 | 1238671.8183
15 | 2627323.2014 | 1238655.8975 | 2627319.9278 | 1238672.0704 | 2627318.6395 | 1238675.9113
16 | 2627215.2225 | 1238726.3494 | 2627228.203 | 1238732.1986 | 2627260.1569 | 1238746.6277
17 | 2627270.4417 | 1238683.2837 | 2627280.5724 | 1238671.8183
18 | 2627323.2014 | 1238655.8975 | 2627323.5481 | 1238654.0105
19 | 2627323.2014 | 1238655.8975 | 2627331.2014 | 1238658.0022 | 2627337.7881 | 1238660.2961
20 | 2627422.8468 | 1238527.0723 | 2627428.5021 | 1238519.7203
21 | 2627410.7545 | 1238542.7929 | 2627422.8468 | 1238527.0723
22 | 2627432.2073 | 1238506.4278 | 2627432.8983 | 1238512.4014 | 2627431.0975 | 1238515.8063 | 2627428.9035 | 1238519.1983 | 2627428.5021 | 1238519.7203
23 | 2627410.7545 | 1238542.7929 | 2627407.725 | 1238546.7314
24 | 2627413.6074 | 1238495.1239 | 2627418.6753 | 1238499.9947 | 2627424.5975 | 1238503.3019 | 2627432.2073 | 1238506.4278
25 | 2627432.2073 | 1238506.4278 | 2627439.1145 | 1238508.8479
26 | 2627407.725 | 1238546.7314 | 2627392.2522 | 1238566.8468
27 | 2627413.6074 | 1238495.1239 | 2627423.1013 | 1238486.5956 | 2627457.3215 | 1238459.9086
28 | 2627407.2487 | 1238499.5418 | 2627413.6074 | 1238495.1239
29 | 2627465.3085 | 1238518.0253 | 2627439.1145 | 1238508.8479
30 | 2627384.2518 | 1238580.7423 | 2627386.6977 | 1238575.2056 | 2627388.902 | 1238571.2021 | 2627392.2522 | 1238566.8468
31 | 2627460.4036 | 1238457.505 | 2627457.3215 | 1238459.9086
32 | 2627407.2487 | 1238499.5418 | 2627403.5985 | 1238495.6003 | 2627400.9009 | 1238493.3976 | 2627397.002 | 1238490.9003 | 2627396.9999 | 1238490.8992
33 | 2627384.2518 | 1238580.7423 | 2627363.7797 | 1238571.2248
34 | 2627384.2518 | 1238580.7423 | 2627402.594 | 1238589.1689
35 | 2627197.8664 | 1238549.8804 | 2627219.9404 | 1238565.5547
36 | 2627151.9024 | 1238517.2042 | 2627163.3994 | 1238525.4063 | 2627197.8664 | 1238549.8804
37 | 2627219.9404 | 1238565.5547 | 2627234.1927 | 1238575.6749
38 | 2627151.9024 | 1238517.2042 | 2627150.4997 | 1238516.2973
39 | 2627234.1927 | 1238575.6749 | 2627237.6621 | 1238578.1384
40 | 2627150.4997 | 1238516.2973 | 2627125.7885 | 1238552.0744
41 | 2627255.0603 | 1238590.5331 | 2627238.6019 | 1238578.8058 | 2627237.6621 | 1238578.1384
42 | 2627110.8846 | 1238573.6525 | 2627125.7885 | 1238552.0744
43 | 2627255.0603 | 1238590.5331 | 2627256.0394 | 1238591.2307
44 | 2627129.3688 | 1238587.1563 | 2627110.8846 | 1238573.6525
45 | 2627283.268 | 1238486.5907 | 2627284.5984 | 1238487.6039 | 2627298.0999 | 1238497.4053 | 2627300.1003 | 1238498.8495
46 | 2627316.1734 | 1238510.133 | 2627315.3041 | 1238509.603 | 2627308.9028 | 1238505.2042 | 2627300.1003 | 1238498.8495
47 | 2627380.2186 | 1238482.6486 | 2627389.9755 | 1238487.2327
48 | 2627389.9793 | 1238487.2345 | 2627389.9755 | 1238487.2327
49 | 2627380.2186 | 1238482.6486 | 2627378.5667 | 1238481.8725
50 | 2627396.9999 | 1238490.8992 | 2627391.5998 | 1238487.9958 | 2627389.9793 | 1238487.2345
51 | 2627378.5667 | 1238481.8725 | 2627374.7994 | 1238480.1024 | 2627369.187 | 1238477.3537
52 | 2627369.187 | 1238477.3537 | 2627367.2367 | 1238476.3985
53 | 2627355.684 | 1238469.6378 | 2627356.3971 | 1238470.2005 | 2627360.1977 | 1238472.6973 | 2627365.4038 | 1238475.5008 | 2627367.2367 | 1238476.3985
54 | 2627342.3907 | 1238522.4801 | 2627341.0013 | 1238522.0066 | 2627327.7992 | 1238516.1978 | 2627321.2024 | 1238513.199 | 2627321.1251 | 1238513.1519
55 | 2627316.1734 | 1238510.133 | 2627321.1251 | 1238513.1519
56 | 2627361.4325 | 1238531.462 | 2627357.3996 | 1238528.4971 | 2627354.4042 | 1238526.9046 | 2627349.2025 | 1238524.8016 | 2627342.3907 | 1238522.4801
57 | 2627361.4325 | 1238531.462 | 2627357.0314 | 1238536.1891 | 2627347.96 | 1238550.2538
58 | 2627347.96 | 1238550.2538 | 2627347.9585 | 1238550.2562 | 2627343.0202 | 1238559.9618 | 2627340.4472 | 1238566.8391
59 | 2627334.6844 | 1238588.0967 | 2627336.3042 | 1238579.5988 | 2627338.4026 | 1238572.3039 | 2627340.4472 | 1238566.8391
60 | 2627363.7797 | 1238571.2248 | 2627356.5227 | 1238567.8511 | 2627351.7777 | 1238583.0064
61 | 2627351.7777 | 1238583.0064 | 2627341.9377 | 1238614.4354 | 2627341.9377 | 1238614.4354
62 | 2627334.6844 | 1238588.0967 | 2627341.9377 | 1238614.4354
63 | 2627344.6009 | 1238663.4187 | 2627337.8013 | 1238660.3007 | 2627337.7881 | 1238660.2961
64 | 2627326.5992 | 1238637.4015 | 2627323.5481 | 1238654.0105
65 | 2627326.5992 | 1238637.4015 | 2627332.2042 | 1238601.1046 | 2627332.9491 | 1238597.1978
66 | 2627326.5992 | 1238637.4015 | 2627323.4026 | 1238636.7976 | 2627321.0011 | 1238635.9972 | 2627317.499 | 1238634.4023 | 2627313.4026 | 1238632.1043 | 2627307.01 | 1238627.5493
67 | 2627270.4417 | 1238683.2837 | 2627260.4111 | 1238694.6275
68 | 2627270.4417 | 1238683.2837 | 2627237.8484 | 1238657.4293
69 | 2627334.6844 | 1238588.0967 | 2627332.9491 | 1238597.1978
70 | 2627307.01 | 1238627.5493 | 2627302.1833 | 1238624.1101
71 | 2627264.0004 | 1238596.9032 | 2627256.0394 | 1238591.2307
72 | 2627264.0004 | 1238596.9032 | 2627272.4321 | 1238602.9112
73 | 2627277.0418 | 1238606.1957 | 2627272.4321 | 1238602.9112
74 | 2627350.8917 | 1238465.6846 | 2627352.5988 | 1238467.2034 | 2627355.684 | 1238469.6378
75 | 2627166.1435 | 1238691.2893 | 2627154.6625 | 1238686.0437
76 | 2627166.1435 | 1238691.2893 | 2627184.8476 | 1238699.6826
77 | 2627166.1435 | 1238691.2893 | 2627192.846 | 1238657.4012 | 2627190.2242 | 1238655.1545 | 2627193.7531 | 1238650.6448
78 | 2627277.0418 | 1238606.1957 | 2627302.1833 | 1238624.1101
79 | 2627460.4036 | 1238457.505 | 2627456.4005 | 1238453.006 | 2627453.2972 | 1238450.201 | 2627446.903 | 1238445.9021 | 2627437.1872 | 1238439.5736
80 | 2627413.0903 | 1238423.831 | 2627422.8017 | 1238430.2034 | 2627437.1872 | 1238439.5736
81 | 2627237.8484 | 1238657.4293 | 2627222.7393 | 1238676.6611 | 2627219.9117 | 1238674.7803
82 | 2627196.0558 | 1238704.7121 | 2627219.9117 | 1238674.7803
83 | 2627196.0558 | 1238704.7121 | 2627184.8476 | 1238699.6826
84 | 2627196.0558 | 1238704.7121 | 2627220.3761 | 1238715.4078 | 2627228.7398 | 1238706.3592

## bus_geodata
| x | y | coords
0 | 2627312.5804 | 1238775.2193
1 | 2627319.4878 | 1238778.0896
2 | 2627295.7763 | 1238768.2368
3 | 2627276.2006 | 1238760.1026
4 | 2627267.8031 | 1238821.6027
5 | 2627278.6972 | 1238754.9998
6 | 2627215.1716 | 1238808.3087
7 | 2627261.8093 | 1238747.3739
8 | 2627295.6897 | 1238723.5322
9 | 2627305.8435 | 1238704.8838
10 | 2627316.5306 | 1238682.2056
11 | 2627318.6395 | 1238675.9113
12 | 2627299.6629 | 1238675.9435
13 | 2627260.1569 | 1238746.6277
14 | 2627280.5724 | 1238671.8183
15 | 2627323.2014 | 1238655.8975
16 | 2627215.2225 | 1238726.3494
17 | 2627422.8468 | 1238527.0723
18 | 2627428.5021 | 1238519.7203
19 | 2627410.7545 | 1238542.7929
20 | 2627432.2073 | 1238506.4278
21 | 2627407.725 | 1238546.7314
22 | 2627413.6074 | 1238495.1239
23 | 2627439.1145 | 1238508.8479
24 | 2627392.2522 | 1238566.8468
25 | 2627457.3215 | 1238459.9086
26 | 2627407.2487 | 1238499.5418
27 | 2627465.3085 | 1238518.0253
28 | 2627384.2518 | 1238580.7423
29 | 2627197.8664 | 1238549.8804
30 | 2627219.9404 | 1238565.5547
31 | 2627151.9024 | 1238517.2042
32 | 2627234.1927 | 1238575.6749
33 | 2627150.4997 | 1238516.2973
34 | 2627237.6621 | 1238578.1384
35 | 2627125.7885 | 1238552.0744
36 | 2627255.0603 | 1238590.5331
37 | 2627110.8846 | 1238573.6525
38 | 2627283.268 | 1238486.5907
39 | 2627300.1003 | 1238498.8495
40 | 2627389.9755 | 1238487.2327
41 | 2627380.2186 | 1238482.6486
42 | 2627389.9793 | 1238487.2345
43 | 2627378.5667 | 1238481.8725
44 | 2627396.9999 | 1238490.8992
45 | 2627369.187 | 1238477.3537
46 | 2627367.2367 | 1238476.3985
47 | 2627321.1251 | 1238513.1519
48 | 2627342.3907 | 1238522.4801
49 | 2627316.1734 | 1238510.133
50 | 2627361.4325 | 1238531.462
51 | 2627347.96 | 1238550.2538
52 | 2627340.4472 | 1238566.8391
53 | 2627363.7797 | 1238571.2248
54 | 2627402.594 | 1238589.1689
55 | 2627351.7777 | 1238583.0064
56 | 2627341.9377 | 1238614.4354
57 | 2627337.7881 | 1238660.2961
58 | 2627344.6009 | 1238663.4187
59 | 2627323.5481 | 1238654.0105
60 | 2627326.5992 | 1238637.4015
61 | 2627270.4417 | 1238683.2837
62 | 2627332.9491 | 1238597.1978
63 | 2627307.01 | 1238627.5493
64 | 2627256.0394 | 1238591.2307
65 | 2627264.0004 | 1238596.9032
66 | 2627272.4321 | 1238602.9112
67 | 2627350.8917 | 1238465.6846
68 | 2627355.684 | 1238469.6378
69 | 2627334.6844 | 1238588.0967
70 | 2627129.3688 | 1238587.1563
71 | 2627154.6625 | 1238686.0437
72 | 2627166.1435 | 1238691.2893
73 | 2627277.0418 | 1238606.1957
74 | 2627302.1833 | 1238624.1101
75 | 2627460.4036 | 1238457.505
76 | 2627183.5104 | 1238799.4183
77 | 2627413.0903 | 1238423.831
78 | 2627437.1872 | 1238439.5736
79 | 2627193.7531 | 1238650.6448
80 | 2627237.8484 | 1238657.4293
81 | 2627219.9117 | 1238674.7803
82 | 2627184.8476 | 1238699.6826
83 | 2627260.4111 | 1238694.6275
84 | 2627196.0558 | 1238704.7121
85 | 2627228.7398 | 1238706.3592
86 | 2627334.6844 | 1238588.0967

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99138 | -0.060468 | 0.0018297 | 0.00045856
1 | 0.99136 | -0.060613 | 0.0019163 | 0.00048026
2 | 0.99148 | -0.059775 | 0.001778 | 0.00044562
3 | 0.99165 | -0.058586 | 0 | 0
4 | 0.9909 | -0.063852 | 0 | 0
5 | 0.99176 | -0.057791 | 0 | 0
6 | 0.99026 | -0.068422 | 0.0024353 | 0.00061034
7 | 0.99167 | -0.05843 | 0.0013708 | 0.00034355
8 | 0.99265 | -0.051551 | 0.0016017 | 0.00040141
9 | 0.99322 | -0.047508 | 0.0021022 | 0.00052685
10 | 0.99397 | -0.042203 | 0 | 0
11 | 0.99418 | -0.040757 | 0 | 0
12 | 0.99396 | -0.042322 | 0.0006542 | 0.00016396
13 | 0.99167 | -0.058467 | 0.00091728 | 0.00022989
14 | 0.99341 | -0.046201 | 0.0018906 | 0.00047383
15 | 0.99517 | -0.033776 | 0 | 0
16 | 0.99159 | -0.059021 | 0.0011041 | 0.00027672
17 | 0.99071 | -0.065026 | 0.0013913 | 0.0003487
18 | 0.99035 | -0.067571 | 0.0024561 | 0.00061555
19 | 0.99152 | -0.059308 | 0.0015173 | 0.00038026
20 | 0.98984 | -0.071208 | 0 | 0
21 | 0.99174 | -0.0578 | 0.0014371 | 0.00036017
22 | 0.98916 | -0.076038 | 0 | 0
23 | 0.98981 | -0.07143 | 0.0010856 | 0.00027207
24 | 0.99288 | -0.049741 | 0.0017902 | 0.00044867
25 | 0.98859 | -0.08004 | 0.0016154 | 0.00040485
26 | 0.98899 | -0.077186 | 0 | 0
27 | 0.98973 | -0.071963 | 0.0018868 | 0.00047288
28 | 0.99365 | -0.044341 | 0 | 0
29 | 0.99225 | -0.054363 | 0.0021139 | 0.00052979
30 | 0.99258 | -0.052054 | 0.002575 | 0.00064537
31 | 0.99174 | -0.057964 | 0 | 0
32 | 0.99285 | -0.050109 | 0.0025927 | 0.0006498
33 | 0.99172 | -0.058071 | 0 | 0
34 | 0.99293 | -0.049523 | 0.0019979 | 0.00050072
35 | 0.99133 | -0.060848 | 0.0049849 | 0.0012493
36 | 0.99341 | -0.046155 | 0.00089484 | 0.00022427
37 | 0.99128 | -0.061195 | 0 | 0
38 | 0.99723 | -0.019359 | 0.0020886 | 0.00052345
39 | 0.9973 | -0.018923 | 0.0018592 | 0.00046595
40 | 0.98858 | -0.080148 | 0.0010193 | 0.00025547
41 | 0.98842 | -0.081221 | 0.0011584 | 0.00029033
42 | 0.98858 | -0.080148 | 0.0010736 | 0.00026907
43 | 0.9884 | -0.081381 | 0.001105 | 0.00027695
44 | 0.98871 | -0.07919 | 0.0027235 | 0.00068257
45 | 0.98829 | -0.082176 | 0.0018586 | 0.0004658
46 | 0.98827 | -0.0823 | 0.0014955 | 0.00037482
47 | 0.99746 | -0.01781 | 0.00061936 | 0.00015523
48 | 0.99767 | -0.016328 | 0.0050267 | 0.0012598
49 | 0.99741 | -0.018144 | 0.0017874 | 0.00044796
50 | 0.99801 | -0.013908 | 0 | 0
51 | 0.99839 | -0.011261 | 0.0031829 | 0.00079772
52 | 0.99877 | -0.0086008 | 0.0015937 | 0.00039942
53 | 0.99477 | -0.03649 | 0.0013505 | 0.00033847
54 | 0.99361 | -0.044609 | 0.001313 | 0.00032906
55 | 0.996 | -0.027879 | 0.0017084 | 0.00042817
56 | 0.99778 | -0.015474 | 0.00068396 | 0.00017142
57 | 0.9951 | -0.034293 | 0.0011017 | 0.00027612
58 | 0.99507 | -0.034464 | 0.0022601 | 0.00056645
59 | 0.99527 | -0.03306 | 0.0018018 | 0.00045156
60 | 0.99621 | -0.026458 | 0 | 0
61 | 0.99318 | -0.047781 | 0 | 0
62 | 1 | 0 | -0.12077 | -0.030162
63 | 0.99539 | -0.032271 | 0.0015807 | 0.00039617
64 | 0.99344 | -0.045955 | 0.0014753 | 0.00036974
65 | 0.99369 | -0.04418 | 0.0017245 | 0.00043219
66 | 0.99398 | -0.042121 | 0.00076841 | 0.00019258
67 | 0.98817 | -0.08302 | 0.0024395 | 0.0006114
68 | 0.98819 | -0.082865 | 0.0016798 | 0.000421
69 | 0.99928 | -0.0050307 | 0 | 0
70 | 0.99124 | -0.061497 | 0.0012997 | 0.00032573
71 | 0.99181 | -0.057459 | 0.0015095 | 0.00037832
72 | 0.99184 | -0.057265 | 0 | 0
73 | 0.99415 | -0.040952 | 0.0027349 | 0.00068543
74 | 0.99518 | -0.033731 | 0.0012674 | 0.00031764
75 | 0.98856 | -0.080255 | 0 | 0
76 | 0.98998 | -0.070372 | 0.0058227 | 0.0014593
77 | 0.98823 | -0.082581 | 0.0024144 | 0.0006051
78 | 0.98833 | -0.081871 | 0.0029444 | 0.00073795
79 | 0.99173 | -0.058059 | 0.0014917 | 0.00037385
80 | 0.99269 | -0.051266 | 0 | 0
81 | 0.99236 | -0.053604 | 0.0019027 | 0.00047685
82 | 0.99193 | -0.05664 | 0.0014807 | 0.0003711
83 | 0.99314 | -0.048074 | 0.0019124 | 0.00047929
84 | 0.99201 | -0.05608 | 0 | 0
85 | 0.9919 | -0.056824 | 0.0018839 | 0.00047215
86 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0019163 | 0.00048018 | -0.0019163 | -0.00048026 | 3.8615e-08 | -8.1595e-08 | 0.0028763 | 0.0028763 | 0.0028763 | 0.99138 | -0.060468 | 0.99136 | -0.060613 | 1.0653
1 | -0.003746 | -0.00093874 | 0.0037463 | 0.00093864 | 3.5895e-07 | -9.66e-08 | 0.0056225 | 0.0056224 | 0.0056225 | 0.99138 | -0.060468 | 0.99148 | -0.059775 | 2.0824
2 | -0.0055244 | -0.0013843 | 0.0055253 | 0.0013843 | 9.0926e-07 | 7.6278e-08 | 0.0082909 | 0.0082908 | 0.0082909 | 0.99148 | -0.059775 | 0.99165 | -0.058586 | 3.0707
3 | 0.0082708 | 0.0020726 | -0.0082648 | -0.0020711 | 6.0259e-06 | 1.5094e-06 | 0.012411 | 0.012411 | 0.012411 | 0.99165 | -0.058586 | 0.9909 | -0.063852 | 4.5967
4 | -0.013796 | -0.003457 | 0.013798 | 0.0034575 | 1.5184e-06 | 5.1074e-07 | 0.020702 | 0.020701 | 0.020702 | 0.99165 | -0.058586 | 0.99176 | -0.057791 | 7.6672
5 | 0.0082648 | 0.0020711 | -0.0082596 | -0.0020698 | 5.2266e-06 | 1.3102e-06 | 0.012411 | 0.012411 | 0.012411 | 0.9909 | -0.063852 | 0.99026 | -0.068422 | 4.5968
6 | 0.0033926 | 0.00084942 | -0.0033923 | -0.00084954 | 2.9955e-07 | -1.2387e-07 | 0.0050899 | 0.00509 | 0.00509 | 0.99176 | -0.057791 | 0.99167 | -0.05843 | 1.8852
7 | -0.01719 | -0.0043069 | 0.017205 | 0.0043122 | 1.4852e-05 | 5.2501e-06 | 0.025791 | 0.025791 | 0.025791 | 0.99176 | -0.057791 | 0.99265 | -0.051551 | 9.5523
8 | 0.0058243 | 0.0014595 | -0.0058227 | -0.0014593 | 1.5718e-06 | 1.8159e-07 | 0.0087519 | 0.008752 | 0.008752 | 0.99026 | -0.068422 | 0.98998 | -0.070372 | 3.2415
9 | 0.0020215 | 0.00050599 | -0.0020215 | -0.00050601 | 1.0408e-08 | -1.9389e-08 | 0.0030331 | 0.0030331 | 0.0030331 | 0.99167 | -0.05843 | 0.99167 | -0.058467 | 1.1234
10 | -0.018807 | -0.0047136 | 0.018817 | 0.0047174 | 1.0532e-05 | 3.7762e-06 | 0.028192 | 0.028192 | 0.028192 | 0.99265 | -0.051551 | 0.99322 | -0.047508 | 10.4415
11 | -0.020919 | -0.0052442 | 0.020935 | 0.0052498 | 1.5383e-05 | 5.5913e-06 | 0.031341 | 0.031341 | 0.031341 | 0.99322 | -0.047508 | 0.99397 | -0.042203 | 11.6079
12 | -0.021589 | -0.0054135 | 0.021593 | 0.0054151 | 4.3263e-06 | 1.5779e-06 | 0.032321 | 0.032321 | 0.032321 | 0.99397 | -0.042203 | 0.99418 | -0.040757 | 11.9706
13 | 0.00065421 | 0.00016373 | -0.0006542 | -0.00016396 | 1.0768e-08 | -2.2907e-07 | 0.0009793 | 0.00097938 | 0.00097938 | 0.99397 | -0.042203 | 0.99396 | -0.042322 | 0.36273
14 | 0.012093 | 0.0030294 | -0.012084 | -0.0030265 | 9.1007e-06 | 2.9234e-06 | 0.018099 | 0.018099 | 0.018099 | 0.99418 | -0.040757 | 0.99341 | -0.046201 | 6.7034
15 | -0.033686 | -0.0084445 | 0.033719 | 0.0084568 | 3.2601e-05 | 1.2272e-05 | 0.05042 | 0.05042 | 0.05042 | 0.99418 | -0.040757 | 0.99517 | -0.033776 | 18.6739
16 | 0.0011042 | 0.00027611 | -0.0011041 | -0.00027672 | 8.4438e-08 | -6.035e-07 | 0.0016567 | 0.0016569 | 0.0016569 | 0.99167 | -0.058467 | 0.99159 | -0.059021 | 0.61366
17 | 0.010193 | 0.0025527 | -0.010191 | -0.002552 | 2.2254e-06 | 6.5787e-07 | 0.015267 | 0.015267 | 0.015267 | 0.99341 | -0.046201 | 0.99318 | -0.047781 | 5.6546
18 | -0.037081 | -0.0092992 | 0.037084 | 0.0093006 | 3.6806e-06 | 1.3907e-06 | 0.055447 | 0.055447 | 0.055447 | 0.99517 | -0.033776 | 0.99527 | -0.03306 | 20.5358
19 | 0.0033622 | 0.00084238 | -0.0033619 | -0.00084248 | 2.4044e-07 | -1.0561e-07 | 0.0050271 | 0.0050272 | 0.0050272 | 0.99517 | -0.033776 | 0.9951 | -0.034293 | 1.8619
20 | 0.027009 | 0.0067726 | -0.026999 | -0.006769 | 9.5252e-06 | 3.5442e-06 | 0.040567 | 0.040567 | 0.040567 | 0.99071 | -0.065026 | 0.99035 | -0.067571 | 15.025
21 | -0.0284 | -0.0071213 | 0.028423 | 0.0071297 | 2.252e-05 | 8.4058e-06 | 0.042657 | 0.042657 | 0.042657 | 0.99071 | -0.065026 | 0.99152 | -0.059308 | 15.7989
22 | 0.024543 | 0.0061535 | -0.024531 | -0.0061489 | 1.2358e-05 | 4.566e-06 | 0.036877 | 0.036877 | 0.036877 | 0.99035 | -0.067571 | 0.98984 | -0.071208 | 13.6582
23 | -0.02994 | -0.0075099 | 0.029946 | 0.0075123 | 6.2603e-06 | 2.3437e-06 | 0.044934 | 0.044934 | 0.044934 | 0.99152 | -0.059308 | 0.99174 | -0.0578 | 16.6422
24 | 0.021558 | 0.0054043 | -0.021544 | -0.0053991 | 1.4414e-05 | 5.2615e-06 | 0.032409 | 0.032409 | 0.032409 | 0.98984 | -0.071208 | 0.98916 | -0.076038 | 12.0033
25 | 0.0029726 | 0.00074458 | -0.0029725 | -0.00074464 | 9.1195e-08 | -5.9e-08 | 0.0044686 | 0.0044686 | 0.0044686 | 0.98984 | -0.071208 | 0.98981 | -0.07143 | 1.655
26 | -0.031383 | -0.0078725 | 0.031418 | 0.0078856 | 3.5116e-05 | 1.3178e-05 | 0.04709 | 0.04709 | 0.04709 | 0.99174 | -0.0578 | 0.99288 | -0.049741 | 17.4408
27 | 0.0069796 | 0.0017485 | -0.0069758 | -0.0017477 | 3.8631e-06 | 7.6535e-07 | 0.010499 | 0.0105 | 0.0105 | 0.98916 | -0.076038 | 0.98859 | -0.08004 | 3.8888
28 | 0.014564 | 0.0036506 | -0.014562 | -0.0036498 | 2.3148e-06 | 7.9112e-07 | 0.021909 | 0.021909 | 0.021909 | 0.98916 | -0.076038 | 0.98899 | -0.077186 | 8.1146
29 | 0.001887 | 0.00047258 | -0.0018868 | -0.00047288 | 1.3936e-07 | -3.0311e-07 | 0.0028366 | 0.0028368 | 0.0028368 | 0.98981 | -0.07143 | 0.98973 | -0.071963 | 1.0507
30 | -0.033209 | -0.0083343 | 0.033233 | 0.0083437 | 2.4916e-05 | 9.3745e-06 | 0.049773 | 0.049773 | 0.049773 | 0.99288 | -0.049741 | 0.99365 | -0.044341 | 18.4345
31 | 0.0053604 | 0.0013429 | -0.0053603 | -0.0013428 | 1.5876e-07 | 1.0951e-08 | 0.0080682 | 0.0080682 | 0.0080682 | 0.98859 | -0.08004 | 0.98856 | -0.080255 | 2.9882
32 | 0.014562 | 0.0036498 | -0.014558 | -0.0036484 | 4.0399e-06 | 1.3808e-06 | 0.021909 | 0.02191 | 0.02191 | 0.98899 | -0.077186 | 0.98871 | -0.07919 | 8.1146
33 | -0.034546 | -0.0086725 | 0.034584 | 0.0086867 | 3.7712e-05 | 1.4212e-05 | 0.051739 | 0.051739 | 0.051739 | 0.99365 | -0.044341 | 0.99477 | -0.03649 | 19.1627
34 | 0.001313 | 0.00032882 | -0.001313 | -0.00032906 | 4.8695e-08 | -2.4273e-07 | 0.0019662 | 0.0019663 | 0.0019663 | 0.99365 | -0.044341 | 0.99361 | -0.044609 | 0.72825
35 | -0.0084043 | -0.0021051 | 0.008407 | 0.0021058 | 2.6833e-06 | 6.8221e-07 | 0.012603 | 0.012603 | 0.012603 | 0.99225 | -0.054363 | 0.99258 | -0.052054 | 4.6678
36 | 0.0062904 | 0.0015753 | -0.0062872 | -0.0015749 | 3.1313e-06 | 4.7629e-07 | 0.0094329 | 0.0094331 | 0.0094331 | 0.99225 | -0.054363 | 0.99174 | -0.057964 | 3.4938
37 | -0.010982 | -0.0027512 | 0.010985 | 0.0027521 | 2.9563e-06 | 9.1105e-07 | 0.016463 | 0.016463 | 0.016463 | 0.99258 | -0.052054 | 0.99285 | -0.050109 | 6.0975
38 | 0.0062872 | 0.0015749 | -0.0062872 | -0.0015749 | 9.2562e-08 | 1.4091e-08 | 0.0094331 | 0.0094331 | 0.0094331 | 0.99174 | -0.057964 | 0.99172 | -0.058071 | 3.4938
39 | -0.013578 | -0.0034019 | 0.013579 | 0.0034023 | 1.0994e-06 | 3.6783e-07 | 0.020349 | 0.020349 | 0.020349 | 0.99285 | -0.050109 | 0.99293 | -0.049523 | 7.5366
40 | 0.0062872 | 0.0015749 | -0.0062847 | -0.0015745 | 2.4144e-06 | 3.678e-07 | 0.0094331 | 0.0094333 | 0.0094333 | 0.99172 | -0.058071 | 0.99133 | -0.060848 | 3.4938
41 | -0.015577 | -0.003903 | 0.015584 | 0.0039055 | 7.2633e-06 | 2.5171e-06 | 0.023343 | 0.023343 | 0.023343 | 0.99293 | -0.049523 | 0.99341 | -0.046155 | 8.6456
42 | 0.0012998 | 0.00032514 | -0.0012997 | -0.00032546 | 6.2281e-08 | -3.1414e-07 | 0.0019508 | 0.0019509 | 0.0019509 | 0.99133 | -0.060848 | 0.99128 | -0.061195 | 0.72257
43 | -0.016479 | -0.0041298 | 0.016479 | 0.0041299 | 4.5704e-07 | 1.6022e-07 | 0.024683 | 0.024683 | 0.024683 | 0.99341 | -0.046155 | 0.99344 | -0.045955 | 9.1419
44 | 0.0012997 | 0.00032546 | -0.0012997 | -0.00032573 | 5.4268e-08 | -2.7366e-07 | 0.0019509 | 0.001951 | 0.001951 | 0.99128 | -0.061195 | 0.99124 | -0.061497 | 0.72261
45 | -0.0020886 | -0.00052345 | 0.0020887 | 0.00052323 | 1.262e-07 | -2.2316e-07 | 0.0031165 | 0.0031164 | 0.0031165 | 0.99723 | -0.019359 | 0.9973 | -0.018923 | 1.1542
46 | -0.0039479 | -0.00098918 | 0.0039483 | 0.00098908 | 4.2524e-07 | -9.2768e-08 | 0.0058903 | 0.0058902 | 0.0058903 | 0.9973 | -0.018923 | 0.99741 | -0.018144 | 2.1816
47 | 0.0097398 | 0.0024408 | -0.0097383 | -0.0024404 | 1.4458e-06 | 4.1787e-07 | 0.01466 | 0.01466 | 0.01466 | 0.98858 | -0.080148 | 0.98842 | -0.081221 | 5.4298
48 | -0.010759 | -0.0026963 | 0.010759 | 0.0026963 | 6.7675e-10 | 2.0278e-10 | 0.016195 | 0.016195 | 0.016195 | 0.98858 | -0.080148 | 0.98858 | -0.080148 | 5.998
49 | 0.0085799 | 0.0021501 | -0.0085797 | -0.00215 | 1.9001e-07 | 4.9687e-08 | 0.012916 | 0.012916 | 0.012916 | 0.98842 | -0.081221 | 0.9884 | -0.081381 | 4.7839
50 | -0.011833 | -0.0029654 | 0.011834 | 0.0029659 | 1.568e-06 | 5.0151e-07 | 0.017811 | 0.017811 | 0.017811 | 0.98858 | -0.080148 | 0.98871 | -0.07919 | 6.5965
51 | 0.0074747 | 0.0018731 | -0.0074739 | -0.0018729 | 8.227e-07 | 1.8299e-07 | 0.011253 | 0.011253 | 0.011253 | 0.9884 | -0.081381 | 0.98829 | -0.082176 | 4.1678
52 | 0.0056153 | 0.0014071 | -0.0056152 | -0.0014071 | 9.6866e-08 | 9.4291e-09 | 0.0084546 | 0.0084546 | 0.0084546 | 0.98829 | -0.082176 | 0.98827 | -0.0823 | 3.1314
53 | 0.0041197 | 0.0010323 | -0.0041194 | -0.0010323 | 3.2195e-07 | -4.7982e-08 | 0.0062029 | 0.0062029 | 0.0062029 | 0.98827 | -0.0823 | 0.98819 | -0.082865 | 2.2974
54 | -0.0063553 | -0.0015923 | 0.0063566 | 0.0015925 | 1.3028e-06 | 1.9783e-07 | 0.0094808 | 0.0094807 | 0.0094808 | 0.99746 | -0.01781 | 0.99767 | -0.016328 | 3.5114
55 | 0.005736 | 0.0014371 | -0.0057357 | -0.001437 | 2.6497e-07 | 2.6217e-08 | 0.0085568 | 0.0085568 | 0.0085568 | 0.99746 | -0.01781 | 0.99741 | -0.018144 | 3.1692
56 | -0.011383 | -0.0028523 | 0.011387 | 0.0028535 | 3.8142e-06 | 1.19e-06 | 0.016978 | 0.016978 | 0.016978 | 0.99767 | -0.016328 | 0.99801 | -0.013908 | 6.2882
57 | -0.011387 | -0.0028535 | 0.011391 | 0.0028548 | 4.172e-06 | 1.3014e-06 | 0.016978 | 0.016978 | 0.016978 | 0.99801 | -0.013908 | 0.99839 | -0.011261 | 6.2881
58 | -0.014574 | -0.0036525 | 0.01458 | 0.0036544 | 5.3689e-06 | 1.8264e-06 | 0.021722 | 0.021722 | 0.021722 | 0.99839 | -0.011261 | 0.99877 | -0.0086008 | 8.0451
59 | -0.016173 | -0.0040538 | 0.016181 | 0.0040566 | 7.9984e-06 | 2.7872e-06 | 0.024096 | 0.024096 | 0.024096 | 0.99877 | -0.0086008 | 0.99928 | -0.0050307 | 8.9245
60 | -0.035935 | -0.0090252 | 0.035978 | 0.0090414 | 4.3072e-05 | 1.6256e-05 | 0.053759 | 0.053759 | 0.053759 | 0.99477 | -0.03649 | 0.996 | -0.027879 | 19.9108
61 | -0.037686 | -0.0094696 | 0.037751 | 0.0094943 | 6.5165e-05 | 2.4634e-05 | 0.056312 | 0.056311 | 0.056312 | 0.996 | -0.027879 | 0.99778 | -0.015474 | 20.8561
62 | -0.038435 | -0.0096657 | 0.038491 | 0.0096869 | 5.6032e-05 | 2.1193e-05 | 0.057331 | 0.057331 | 0.057331 | 0.99778 | -0.015474 | 0.99928 | -0.0050307 | 21.2338
63 | 0.0022602 | 0.00056637 | -0.0022601 | -0.00056645 | 5.3419e-08 | -7.6811e-08 | 0.0033798 | 0.0033798 | 0.0033798 | 0.9951 | -0.034293 | 0.99507 | -0.034464 | 1.2518
64 | -0.038886 | -0.0097521 | 0.038922 | 0.0097656 | 3.562e-05 | 1.348e-05 | 0.05814 | 0.05814 | 0.05814 | 0.99527 | -0.03306 | 0.99621 | -0.026458 | 21.5335
65 | -0.065015 | -0.016312 | 0.065254 | 0.016404 | 0.00023956 | 9.1607e-05 | 0.097117 | 0.097117 | 0.097117 | 0.99621 | -0.026458 | 1 | 0 | 35.9693
66 | 0.026093 | 0.0065466 | -0.026072 | -0.0065388 | 2.1025e-05 | 7.7981e-06 | 0.038977 | 0.038977 | 0.038977 | 0.99621 | -0.026458 | 0.99539 | -0.032271 | 14.4359
67 | 0.0019124 | 0.00047912 | -0.0019124 | -0.00047928 | 7.7573e-08 | -1.6612e-07 | 0.0028652 | 0.0028653 | 0.0028653 | 0.99318 | -0.047781 | 0.99314 | -0.048074 | 1.0612
68 | 0.0082783 | 0.0020729 | -0.0082743 | -0.0020719 | 3.986e-06 | 9.9592e-07 | 0.012402 | 0.012402 | 0.012402 | 0.99318 | -0.047781 | 0.99269 | -0.051266 | 4.5935
69 | 0.054711 | 0.013758 | -0.054673 | -0.013743 | 3.8333e-05 | 1.4622e-05 | 0.081427 | 0.081427 | 0.081427 | 1 | 0 | 0.99928 | -0.0050307 | 30.1582
70 | 0.024491 | 0.0061427 | -0.024486 | -0.0061408 | 4.9577e-06 | 1.8298e-06 | 0.036614 | 0.036614 | 0.036614 | 0.99539 | -0.032271 | 0.99518 | -0.033731 | 13.5607
71 | -0.017955 | -0.0044997 | 0.017959 | 0.0045012 | 4.4115e-06 | 1.5701e-06 | 0.026893 | 0.026893 | 0.026893 | 0.99344 | -0.045955 | 0.99369 | -0.04418 | 9.9604
72 | -0.019683 | -0.0049334 | 0.019689 | 0.0049355 | 5.6127e-06 | 2.0246e-06 | 0.029475 | 0.029475 | 0.029475 | 0.99369 | -0.04418 | 0.99398 | -0.042121 | 10.9168
73 | -0.020457 | -0.005128 | 0.020461 | 0.0051292 | 3.3127e-06 | 1.2007e-06 | 0.030626 | 0.030625 | 0.030626 | 0.99398 | -0.042121 | 0.99415 | -0.040952 | 11.3428
74 | -0.0024395 | -0.0006114 | 0.0024396 | 0.00061134 | 5.2334e-08 | -5.9492e-08 | 0.0036735 | 0.0036735 | 0.0036735 | 0.98817 | -0.08302 | 0.98819 | -0.082865 | 1.3606
75 | -0.0015095 | -0.00037832 | 0.0015095 | 0.00037817 | 4.0396e-08 | -1.4737e-07 | 0.0022647 | 0.0022646 | 0.0022647 | 0.99181 | -0.057459 | 0.99184 | -0.057265 | 0.83878
76 | -0.0030014 | -0.00075141 | 0.0030016 | 0.00075124 | 2.5934e-07 | -1.6486e-07 | 0.0045026 | 0.0045025 | 0.0045026 | 0.99184 | -0.057265 | 0.99193 | -0.05664 | 1.6676
77 | 0.0014918 | 0.00037324 | -0.0014917 | -0.00037385 | 1.6354e-07 | -6.1231e-07 | 0.0022379 | 0.0022382 | 0.0022382 | 0.99184 | -0.057265 | 0.99173 | -0.058059 | 0.82895
78 | -0.023196 | -0.0058147 | 0.023219 | 0.0058232 | 2.322e-05 | 8.5302e-06 | 0.034719 | 0.034719 | 0.034719 | 0.99415 | -0.040952 | 0.99518 | -0.033731 | 12.8589
79 | 0.0053603 | 0.0013428 | -0.0053591 | -0.0013428 | 1.1985e-06 | 8.2778e-08 | 0.0080682 | 0.0080684 | 0.0080684 | 0.98856 | -0.080255 | 0.98833 | -0.081871 | 2.9883
80 | -0.0024144 | -0.0006051 | 0.0024146 | 0.00060482 | 2.3737e-07 | -2.7753e-07 | 0.0036354 | 0.0036353 | 0.0036354 | 0.98823 | -0.082581 | 0.98833 | -0.081871 | 1.3464
81 | 0.0082743 | 0.0020719 | -0.0082717 | -0.0020712 | 2.6734e-06 | 6.6828e-07 | 0.012402 | 0.012403 | 0.012403 | 0.99269 | -0.051266 | 0.99236 | -0.053604 | 4.5935
82 | 0.006369 | 0.0015944 | -0.0063668 | -0.001594 | 2.1781e-06 | 3.434e-07 | 0.0095495 | 0.0095497 | 0.0095497 | 0.99236 | -0.053604 | 0.99201 | -0.05608 | 3.5369
83 | -0.0044824 | -0.0011223 | 0.0044827 | 0.0011223 | 3.4656e-07 | -2.5301e-08 | 0.0067237 | 0.0067237 | 0.0067237 | 0.99193 | -0.05664 | 0.99201 | -0.05608 | 2.4903
84 | 0.0018841 | 0.00047173 | -0.0018839 | -0.00047215 | 1.9382e-07 | -4.2749e-07 | 0.002826 | 0.0028262 | 0.0028262 | 0.99201 | -0.05608 | 0.9919 | -0.056824 | 1.0467

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -4.4415e-16 | -7.6913e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.564e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.12481 | 0.031175

## res_load
| p_mw | q_mvar
0 | 0.0018297 | 0.00045856
1 | 0.0019163 | 0.00048026
2 | 0.001778 | 0.00044562
3 | 0.0024353 | 0.00061034
4 | 0.0013708 | 0.00034355
5 | 0.0016017 | 0.00040141
6 | 0.0021022 | 0.00052685
7 | 0.0006542 | 0.00016396
8 | 0.00091728 | 0.00022989
9 | 0.0018906 | 0.00047383
10 | 0.0011041 | 0.00027672
11 | 0.0013913 | 0.0003487
12 | 0.0024561 | 0.00061555
13 | 0.0015173 | 0.00038026
14 | 0.0014371 | 0.00036017
15 | 0.0010856 | 0.00027207
16 | 0.0017902 | 0.00044867
17 | 0.0016154 | 0.00040485
18 | 0.0018868 | 0.00047288
19 | 0.0021139 | 0.00052979
20 | 0.002575 | 0.00064537
21 | 0.0025927 | 0.0006498
22 | 0.0019979 | 0.00050072
23 | 0.0049849 | 0.0012493
24 | 0.00089484 | 0.00022427
25 | 0.0020886 | 0.00052345
26 | 0.0018592 | 0.00046595
27 | 0.0010193 | 0.00025547
28 | 0.0011584 | 0.00029033
29 | 0.0010736 | 0.00026907
30 | 0.001105 | 0.00027695
31 | 0.0027235 | 0.00068257
32 | 0.0018586 | 0.0004658
33 | 0.0014955 | 0.00037482
34 | 0.00061936 | 0.00015523
35 | 0.0050267 | 0.0012598
36 | 0.0017874 | 0.00044796
37 | 0.0031829 | 0.00079772
38 | 0.0015937 | 0.00039942
39 | 0.0013505 | 0.00033847
40 | 0.001313 | 0.00032906
41 | 0.0017084 | 0.00042817
42 | 0.00068396 | 0.00017142
43 | 0.0011017 | 0.00027612
44 | 0.0022601 | 0.00056645
45 | 0.0018018 | 0.00045156
46 | 0.0040412 | 0.0010128
47 | 0.0015807 | 0.00039617
48 | 0.0014753 | 0.00036974
49 | 0.0017245 | 0.00043219
50 | 0.00076841 | 0.00019258
51 | 0.0024395 | 0.0006114
52 | 0.0016798 | 0.000421
53 | 0.0012997 | 0.00032573
54 | 0.0015095 | 0.00037832
55 | 0.0027349 | 0.00068543
56 | 0.0012674 | 0.00031764
57 | 0.0058227 | 0.0014593
58 | 0.0024144 | 0.0006051
59 | 0.0029444 | 0.00073795
60 | 0.0014917 | 0.00037385
61 | 0.0019027 | 0.00047685
62 | 0.0014807 | 0.0003711
63 | 0.0019124 | 0.00047929
64 | 0.0018839 | 0.00047215

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1