## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2404-4_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2404-4_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2404-4_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2404-4_0_4_node_37 | 0.4 | n |  | TRUE
4 | bus_LV_2404-4_0_4_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_2404-4_0_4_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_2404-4_0_4_node_38 | 0.4 | n |  | TRUE
7 | bus_LV_2404-4_0_4_node_39 | 0.4 | n |  | TRUE
8 | bus_LV_2404-4_0_4_node_47 | 0.4 | n |  | TRUE
9 | bus_LV_2404-4_0_4_node_27 | 0.4 | n |  | TRUE
10 | bus_LV_2404-4_0_4_node_41 | 0.4 | n |  | TRUE
11 | bus_LV_2404-4_0_4_node_45 | 0.4 | n |  | TRUE
12 | bus_LV_2404-4_0_4_node_25 | 0.4 | n |  | TRUE
13 | bus_LV_2404-4_0_4_node_5 | 0.4 | n |  | TRUE
14 | bus_LV_2404-4_0_4_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_2404-4_0_4_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_2404-4_0_4_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_2404-4_0_4_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_2404-4_0_4_node_22 | 0.4 | n |  | TRUE
19 | bus_LV_2404-4_0_4_node_69 | 0.4 | n |  | TRUE
20 | bus_LV_2404-4_0_4_node_67 | 0.4 | n |  | TRUE
21 | bus_LV_2404-4_0_4_node_21 | 0.4 | n |  | TRUE
22 | bus_LV_2404-4_0_4_node_68 | 0.4 | n |  | TRUE
23 | bus_LV_2404-4_0_4_node_10 | 0.4 | n |  | TRUE
24 | bus_LV_2404-4_0_4_node_11 | 0.4 | n |  | TRUE
25 | bus_LV_2404-4_0_4_node_12 | 0.4 | n |  | TRUE
26 | bus_LV_2404-4_0_4_node_13 | 0.4 | n |  | TRUE
27 | bus_LV_2404-4_0_4_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_2404-4_0_4_node_42 | 0.4 | n |  | TRUE
29 | bus_LV_2404-4_0_4_node_34 | 0.4 | n |  | TRUE
30 | bus_LV_2404-4_0_4_node_43 | 0.4 | n |  | TRUE
31 | bus_LV_2404-4_0_4_node_32 | 0.4 | n |  | TRUE
32 | bus_LV_2404-4_0_4_node_15 | 0.4 | n |  | TRUE
33 | bus_LV_2404-4_0_4_node_16 | 0.4 | n |  | TRUE
34 | bus_LV_2404-4_0_4_node_17 | 0.4 | n |  | TRUE
35 | bus_LV_2404-4_0_4_node_18 | 0.4 | n |  | TRUE
36 | bus_LV_2404-4_0_4_node_19 | 0.4 | n |  | TRUE
37 | bus_LV_2404-4_0_4_node_20 | 0.4 | n |  | TRUE
38 | bus_LV_2404-4_0_4_node_23 | 0.4 | n |  | TRUE
39 | bus_LV_2404-4_0_4_node_54 | 0.4 | n |  | TRUE
40 | bus_LV_2404-4_0_4_node_55 | 0.4 | n |  | TRUE
41 | bus_LV_2404-4_0_4_node_72 | 0.4 | n |  | TRUE
42 | bus_LV_2404-4_0_4_node_24 | 0.4 | n |  | TRUE
43 | bus_LV_2404-4_0_4_node_26 | 0.4 | n |  | TRUE
44 | bus_LV_2404-4_0_4_node_28 | 0.4 | n |  | TRUE
45 | bus_LV_2404-4_0_4_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_2404-4_0_4_node_30 | 0.4 | n |  | TRUE
47 | bus_LV_2404-4_0_4_node_36 | 0.4 | n |  | TRUE
48 | bus_LV_2404-4_0_4_node_53 | 0.4 | n |  | TRUE
49 | bus_LV_2404-4_0_4_node_31 | 0.4 | n |  | TRUE
50 | bus_LV_2404-4_0_4_node_33 | 0.4 | n |  | TRUE
51 | bus_LV_2404-4_0_4_node_35 | 0.4 | n |  | TRUE
52 | bus_LV_2404-4_0_4_node_71 | 0.4 | n |  | TRUE
53 | bus_LV_2404-4_0_4_node_62 | 0.4 | n |  | TRUE
54 | bus_LV_2404-4_0_4_node_64 | 0.4 | n |  | TRUE
55 | bus_LV_2404-4_0_4_node_61 | 0.4 | n |  | TRUE
56 | bus_LV_2404-4_0_4_node_44 | 0.4 | n |  | TRUE
57 | bus_LV_2404-4_0_4_node_46 | 0.4 | n |  | TRUE
58 | bus_LV_2404-4_0_4_node_48 | 0.4 | n |  | TRUE
59 | bus_LV_2404-4_0_4_node_49 | 0.4 | n |  | TRUE
60 | bus_LV_2404-4_0_4_node_50 | 0.4 | n |  | TRUE
61 | bus_LV_2404-4_0_4_node_60 | 0.4 | n |  | TRUE
62 | bus_LV_2404-4_0_4_node_51 | 0.4 | n |  | TRUE
63 | bus_LV_2404-4_0_4_node_52 | 0.4 | n |  | TRUE
64 | bus_LV_2404-4_0_4_node_63 | 0.4 | n |  | TRUE
65 | bus_LV_2404-4_0_4_node_59 | 0.4 | n |  | TRUE
66 | bus_LV_2404-4_0_4_node_56 | 0.4 | n |  | TRUE
67 | bus_LV_2404-4_0_4_node_57 | 0.4 | n |  | TRUE
68 | bus_LV_2404-4_0_4_node_70 | 0.4 | n |  | TRUE
69 | bus_LV_2404-4_0_4_node_66 | 0.4 | n |  | TRUE
70 | bus_LV_2404-4_0_4_node_73 | 0.4 | n |  | TRUE
71 | bus_LV_2404-4_0_4_node_65 | 0.4 | n |  | TRUE
72 | bus_LV_2404-4_0_4_node_58 | 0.4 | n |  | TRUE
73 | bus_MV_334_0_node_255 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2404-4_0_4_load_0 | 0 | 0.0019936 | 0.00049964 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2404-4_0_4_load_1 | 1 | 0.0032082 | 0.00080404 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2404-4_0_4_load_2 | 2 | 0.00096803 | 0.00024261 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2404-4_0_4_load_37 | 3 | 0.0010061 | 0.00025216 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2404-4_0_4_load_3 | 4 | 0.0041782 | 0.0010472 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2404-4_0_4_load_4 | 5 | 0.0017311 | 0.00043386 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2404-4_0_4_load_38 | 6 | 0.0023464 | 0.00058805 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2404-4_0_4_load_39 | 7 | 0.0015139 | 0.00037941 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2404-4_0_4_load_27 | 9 | 0.0008891 | 0.00022283 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2404-4_0_4_load_41 | 10 | 0.00236 | 0.00059148 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2404-4_0_4_load_25 | 12 | 0.0013718 | 0.00034381 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2404-4_0_4_load_5 | 13 | 0.0059585 | 0.0014933 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2404-4_0_4_load_6 | 14 | 0.0029683 | 0.00074393 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2404-4_0_4_load_7 | 15 | 0.0029683 | 0.00074393 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2404-4_0_4_load_8 | 16 | 0.0023262 | 0.000583 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2404-4_0_4_load_22 | 18 | 0.0026132 | 0.00065493 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2404-4_0_4_load_69 | 19 | 0.0050366 | 0.0012623 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2404-4_0_4_load_67 | 20 | 0.002816 | 0.00070575 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2404-4_0_4_load_68 | 22 | 0.0032678 | 0.00081899 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2404-4_0_4_load_10 | 23 | 0.0025283 | 0.00063364 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2404-4_0_4_load_11 | 24 | 0.0017559 | 0.00044007 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2404-4_0_4_load_12 | 25 | 0.0017815 | 0.00044647 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2404-4_0_4_load_13 | 26 | 0.0017572 | 0.00044041 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2404-4_0_4_load_14 | 27 | 0.001944 | 0.0004872 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2404-4_0_4_load_42 | 28 | 0.0035005 | 0.00087732 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2404-4_0_4_load_34 | 29 | 0.0019426 | 0.00048686 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2404-4_0_4_load_43 | 30 | 0.0022448 | 0.0005626 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2404-4_0_4_load_32 | 31 | 0.0019601 | 0.00049124 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2404-4_0_4_load_15 | 32 | 0.0073337 | 0.001838 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2404-4_0_4_load_18 | 35 | 0.0058966 | 0.0014778 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2404-4_0_4_load_19 | 36 | 0.002732 | 0.00068471 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2404-4_0_4_load_20 | 37 | 0.0067424 | 0.0016898 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2404-4_0_4_load_23 | 38 | 0.0026436 | 0.00066255 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2404-4_0_4_load_54 | 39 | 0.0023315 | 0.00058433 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2404-4_0_4_load_55 | 40 | 0.00234 | 0.00058646 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2404-4_0_4_load_72 | 41 | 0.0012274 | 0.00030762 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2404-4_0_4_load_24 | 42 | 0.0010314 | 0.00025849 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2404-4_0_4_load_28 | 44 | 0.0029592 | 0.00074164 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2404-4_0_4_load_29 | 45 | 0.0011896 | 0.00029815 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2404-4_0_4_load_30 | 46 | 0.00268 | 0.00067168 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2404-4_0_4_load_36 | 47 | 0.0021852 | 0.00054766 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2404-4_0_4_load_53 | 48 | 0.0026962 | 0.00067573 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2404-4_0_4_load_31 | 49 | 0.0096537 | 0.0024195 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2404-4_0_4_load_33 | 50 | 0.0081223 | 0.0020356 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2404-4_0_4_load_71 | 52 | 0.0081325 | 0.0020382 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2404-4_0_4_load_64 | 54 | 0.008129 | 0.0020373 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2404-4_0_4_load_61 | 55 | 0.0077935 | 0.0019532 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2404-4_0_4_load_44 | 56 | 0.0019553 | 0.00049006 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2404-4_0_4_load_48 | 58 | 0.0047848 | 0.0011992 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2404-4_0_4_load_49 | 59 | 0.0033685 | 0.00084421 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2404-4_0_4_load_60 | 61 | 0.0031403 | 0.00078703 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2404-4_0_4_load_63 | 64 | 0.020263 | 0.0050783 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2404-4_0_4_load_59 | 65 | 0.00097548 | 0.00024448 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2404-4_0_4_load_56 | 66 | 0.0082609 | 0.0020704 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2404-4_0_4_load_57 | 67 | 0.0038894 | 0.00097477 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2404-4_0_4_load_70 | 68 | 0.002345 | 0.00058772 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2404-4_0_4_load_66 | 69 | 0.0016051 | 0.00040229 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2404-4_0_4_load_73 | 70 | 0.0050636 | 0.0012691 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2404-4_0_4_load_65 | 71 | 0.005867 | 0.0014704 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2404-4_0_4_load_58 | 72 | 0.0058592 | 0.0014685 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 51 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2404-4_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.03041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2404-4_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.021502 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2404-4_0_4_line_2 | NAYY 4x150 SE | 0 | 3 | 0.099057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2404-4_0_4_line_3 | NAYY 4x150 SE | 1 | 4 | 0.013193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2404-4_0_4_line_4 | NAYY 4x150 SE | 2 | 5 | 0.024562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2404-4_0_4_line_5 | NAYY 4x150 SE | 3 | 6 | 0.0088672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2404-4_0_4_line_6 | NAYY 4x150 SE | 3 | 7 | 0.021367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2404-4_0_4_line_7 | NAYY 4x150 SE | 4 | 8 | 0.017927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2404-4_0_4_line_8 | NAYY 4x150 SE | 5 | 9 | 0.021547 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2404-4_0_4_line_9 | NAYY 4x150 SE | 7 | 10 | 0.017182 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2404-4_0_4_line_10 | NAYY 4x150 SE | 8 | 11 | 0.007441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2404-4_0_4_line_11 | NAYY 4x150 SE | 9 | 12 | 0.02057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2404-4_0_4_line_12 | NAYY 4x150 SE | 11 | 56 | 0.025913 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2404-4_0_4_line_13 | NAYY 4x150 SE | 12 | 42 | 0.017221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2404-4_0_4_line_14 | NAYY 4x150 SE | 13 | 14 | 0.0025716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2404-4_0_4_line_15 | NAYY 4x150 SE | 13 | 15 | 0.00043066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2404-4_0_4_line_16 | NAYY 4x150 SE | 14 | 16 | 0.020917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2404-4_0_4_line_17 | NAYY 4x150 SE | 15 | 17 | 0.006161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2404-4_0_4_line_18 | NAYY 4x150 SE | 16 | 18 | 0.033956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2404-4_0_4_line_19 | NAYY 4x150 SE | 17 | 19 | 0.017845 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2404-4_0_4_line_20 | NAYY 4x150 SE | 17 | 20 | 0.018764 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2404-4_0_4_line_21 | NAYY 4x150 SE | 18 | 21 | 0.021804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2404-4_0_4_line_22 | NAYY 4x150 SE | 20 | 22 | 0.015029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2404-4_0_4_line_23 | NAYY 4x150 SE | 21 | 38 | 0.020871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2404-4_0_4_line_24 | NAYY 4x150 SE | 22 | 65 | 0.0022139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2404-4_0_4_line_25 | NAYY 4x150 SE | 23 | 24 | 0.0036816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2404-4_0_4_line_26 | NAYY 4x150 SE | 23 | 25 | 0.00086193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2404-4_0_4_line_27 | NAYY 4x150 SE | 24 | 26 | 0.0035318 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2404-4_0_4_line_28 | NAYY 4x150 SE | 25 | 27 | 0.0061635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2404-4_0_4_line_29 | NAYY 4x150 SE | 26 | 28 | 0.0052495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2404-4_0_4_line_30 | NAYY 4x150 SE | 27 | 29 | 0.011329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2404-4_0_4_line_31 | NAYY 4x150 SE | 28 | 30 | 0.0060651 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2404-4_0_4_line_32 | NAYY 4x150 SE | 29 | 31 | 0.0060893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2404-4_0_4_line_33 | NAYY 4x150 SE | 31 | 49 | 0.029301 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2404-4_0_4_line_34 | NAYY 4x150 SE | 32 | 33 | 0.0094924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2404-4_0_4_line_35 | NAYY 4x150 SE | 32 | 34 | 0.015314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2404-4_0_4_line_36 | NAYY 4x150 SE | 33 | 35 | 0.010509 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2404-4_0_4_line_37 | NAYY 4x150 SE | 34 | 36 | 0.0098208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2404-4_0_4_line_38 | NAYY 4x150 SE | 34 | 37 | 0.028066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2404-4_0_4_line_39 | NAYY 4x150 SE | 37 | 39 | 0.01792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2404-4_0_4_line_40 | NAYY 4x150 SE | 38 | 41 | 0.010698 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2404-4_0_4_line_41 | NAYY 4x150 SE | 39 | 40 | 0.007971 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2404-4_0_4_line_42 | NAYY 4x150 SE | 40 | 68 | 0.0077711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2404-4_0_4_line_43 | NAYY 4x150 SE | 42 | 43 | 0.016584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2404-4_0_4_line_44 | NAYY 4x150 SE | 43 | 44 | 0.016493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2404-4_0_4_line_45 | NAYY 4x150 SE | 43 | 45 | 0.017769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_2404-4_0_4_line_46 | NAYY 4x150 SE | 43 | 46 | 0.02848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_2404-4_0_4_line_47 | NAYY 4x150 SE | 45 | 47 | 0.010664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_2404-4_0_4_line_48 | NAYY 4x150 SE | 46 | 48 | 0.0077624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_2404-4_0_4_line_49 | NAYY 4x150 SE | 49 | 50 | 0.017054 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_2404-4_0_4_line_50 | NAYY 4x150 SE | 50 | 51 | 0.017807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_2404-4_0_4_line_51 | NAYY 4x150 SE | 51 | 52 | 0.0047354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_2404-4_0_4_line_52 | NAYY 4x150 SE | 51 | 53 | 0.021116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
53 | LV_2404-4_0_4_line_53 | NAYY 4x150 SE | 52 | 54 | 0.017067 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_2404-4_0_4_line_54 | NAYY 4x150 SE | 53 | 55 | 0.017261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
55 | LV_2404-4_0_4_line_55 | NAYY 4x150 SE | 55 | 62 | 0.017228 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
56 | LV_2404-4_0_4_line_56 | NAYY 4x150 SE | 56 | 57 | 0.041505 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_2404-4_0_4_line_57 | NAYY 4x150 SE | 57 | 58 | 0.052319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_2404-4_0_4_line_58 | NAYY 4x150 SE | 57 | 59 | 0.027166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_2404-4_0_4_line_59 | NAYY 4x150 SE | 58 | 60 | 0.0049596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_2404-4_0_4_line_60 | NAYY 4x150 SE | 59 | 61 | 0.024251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_2404-4_0_4_line_61 | NAYY 4x150 SE | 60 | 62 | 0.012643 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
62 | LV_2404-4_0_4_line_62 | NAYY 4x150 SE | 60 | 63 | 0.005076 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_2404-4_0_4_line_63 | NAYY 4x150 SE | 62 | 64 | 0.040978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_2404-4_0_4_line_64 | NAYY 4x150 SE | 63 | 65 | 0.025704 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_2404-4_0_4_line_65 | NAYY 4x150 SE | 63 | 66 | 0.051102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_2404-4_0_4_line_66 | NAYY 4x150 SE | 66 | 67 | 0.010098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_2404-4_0_4_line_67 | NAYY 4x150 SE | 67 | 72 | 0.012462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_2404-4_0_4_line_68 | NAYY 4x150 SE | 68 | 70 | 0.024916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_2404-4_0_4_line_69 | NAYY 4x150 SE | 69 | 70 | 0.036557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_2404-4_0_4_line_70 | NAYY 4x150 SE | 69 | 71 | 0.00675 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_2404-4_0_4_line_71 | NAYY 4x150 SE | 71 | 72 | 0.015262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2404-4_0_4_trafo_35 | 0.25 MVA 20/0.4 kV | 73 | 51 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2627214.6492 | 1238911.0502 | 2627243.9989 | 1238919.0088
1 | 2627214.6492 | 1238911.0502 | 2627193.897 | 1238905.4229
2 | 2627214.6492 | 1238911.0502 | 2627241.6885 | 1238815.7545
3 | 2627243.9989 | 1238919.0088 | 2627256.732 | 1238922.4616
4 | 2627170.1907 | 1238898.9945 | 2627193.897 | 1238905.4229
5 | 2627241.6885 | 1238815.7545 | 2627250.2256 | 1238818.1517
6 | 2627241.6885 | 1238815.7545 | 2627221.1175 | 1238809.9783
7 | 2627274.3611 | 1238925.3088 | 2627263.8979 | 1238924.4047 | 2627256.732 | 1238922.4616
8 | 2627149.3948 | 1238893.3554 | 2627170.1907 | 1238898.9945
9 | 2627221.1175 | 1238809.9783 | 2627204.5757 | 1238805.3334
10 | 2627274.3611 | 1238925.3088 | 2627275.9614 | 1238932.5763
11 | 2627149.3948 | 1238893.3554 | 2627129.5415 | 1238887.9718
12 | 2627275.9614 | 1238932.5763 | 2627279.4773 | 1238958.2495
13 | 2627129.5415 | 1238887.9718 | 2627112.9206 | 1238883.4648
14 | 2627302.8033 | 1239128.7847 | 2627302.9603 | 1239131.3515
15 | 2627302.777 | 1239128.3548 | 2627302.8033 | 1239128.7847
16 | 2627304.0175 | 1239152.2389 | 2627303.8993 | 1239146.7053 | 2627302.9603 | 1239131.3515
17 | 2627302.4009 | 1239122.2053 | 2627302.777 | 1239128.3548
18 | 2627304.0175 | 1239152.2389 | 2627304.4035 | 1239170.3002 | 2627303.3486 | 1239186.1559
19 | 2627302.4009 | 1239122.2053 | 2627299.4968 | 1239122.2031 | 2627297.1012 | 1239121.803 | 2627284.9202 | 1239118.9446
20 | 2627302.4009 | 1239122.2053 | 2627302.0982 | 1239117.3009 | 2627299.9857 | 1239103.6123
21 | 2627304.8207 | 1239207.9035 | 2627304.0599 | 1239197.3601 | 2627303.2987 | 1239186.9056 | 2627303.3486 | 1239186.1559
22 | 2627299.9857 | 1239103.6123 | 2627297.6935 | 1239088.7595
23 | 2627304.8207 | 1239207.9035 | 2627321.2317 | 1239211.2254 | 2627325.2135 | 1239212.311
24 | 2627297.3558 | 1239086.5715 | 2627297.6935 | 1239088.7595
25 | 2627167.315 | 1239135.3875 | 2627169.9339 | 1239132.7999
26 | 2627170.547 | 1239132.194 | 2627169.9339 | 1239132.7999
27 | 2627167.315 | 1239135.3875 | 2627164.8027 | 1239137.8698
28 | 2627174.9314 | 1239127.862 | 2627170.547 | 1239132.194
29 | 2627161.0686 | 1239141.5594 | 2627164.8027 | 1239137.8698
30 | 2627174.9314 | 1239127.862 | 2627182.9903 | 1239119.8993
31 | 2627161.0686 | 1239141.5594 | 2627161.0686 | 1239141.5594 | 2627159.01 | 1239147.2644
32 | 2627187.3219 | 1239115.6194 | 2627182.9903 | 1239119.8993
33 | 2627187.3219 | 1239115.6194 | 2627187.4459 | 1239115.4969 | 2627201.4468 | 1239108.4342 | 2627208.2591 | 1239096.8423
34 | 2627212.2205 | 1239214.9392 | 2627221.6897 | 1239214.2763
35 | 2627236.9661 | 1239213.2069 | 2627221.6897 | 1239214.2763
36 | 2627212.2205 | 1239214.9392 | 2627201.7433 | 1239214.1214
37 | 2627236.9661 | 1239213.2069 | 2627246.7062 | 1239211.9503
38 | 2627236.9661 | 1239213.2069 | 2627239.0039 | 1239200.9085 | 2627242.9598 | 1239185.8188
39 | 2627242.9598 | 1239185.8188 | 2627246.5935 | 1239171.9584 | 2627246.6099 | 1239168.3674 | 2627246.6099 | 1239168.3674
40 | 2627325.2135 | 1239212.311 | 2627335.5347 | 1239215.1248
41 | 2627246.6099 | 1239168.3674 | 2627243.0183 | 1239166.5498 | 2627239.1976 | 1239165.5647
42 | 2627239.1976 | 1239165.5647 | 2627231.6726 | 1239163.6245
43 | 2627097.0986 | 1238878.5028 | 2627110.9266 | 1238882.9241 | 2627112.9206 | 1238883.4648
44 | 2627097.0986 | 1238878.5028 | 2627091.3989 | 1238876.1976 | 2627083.4019 | 1238871.8029 | 2627082.3914 | 1238871.1191
45 | 2627097.0986 | 1238878.5028 | 2627104.8083 | 1238862.4934
46 | 2627097.0986 | 1238878.5028 | 2627087.7699 | 1238894.159 | 2627081.6 | 1238902.3512
47 | 2627109.4354 | 1238852.8854 | 2627104.8083 | 1238862.4934
48 | 2627076.9301 | 1238908.5518 | 2627081.6 | 1238902.3512
49 | 2627216.8999 | 1239082.1388 | 2627208.2591 | 1239096.8423
50 | 2627225.9219 | 1239066.7867 | 2627216.8999 | 1239082.1388
51 | 2627225.9219 | 1239066.7867 | 2627228.3206 | 1239062.7037
52 | 2627225.9219 | 1239066.7867 | 2627237.3831 | 1239067.7175 | 2627246.7719 | 1239065.3702
53 | 2627236.9657 | 1239047.9878 | 2627228.3206 | 1239062.7037
54 | 2627246.7719 | 1239065.3702 | 2627263.5174 | 1239061.1847
55 | 2627280.2308 | 1239057.0072 | 2627263.5174 | 1239061.1847
56 | 2627285.1087 | 1238999.3712 | 2627279.4773 | 1238958.2495
57 | 2627285.1087 | 1238999.3712 | 2627292.2072 | 1239051.2065
58 | 2627285.1087 | 1238999.3712 | 2627258.7909 | 1238992.6362
59 | 2627292.8801 | 1239056.1202 | 2627292.2072 | 1239051.2065
60 | 2627235.2966 | 1238986.6238 | 2627258.7909 | 1238992.6362
61 | 2627292.8801 | 1239056.1202 | 2627280.2308 | 1239057.0072
62 | 2627292.8801 | 1239056.1202 | 2627293.568 | 1239061.1487
63 | 2627280.2308 | 1239057.0072 | 2627276.9071 | 1239051.1994 | 2627272.399 | 1239017.2108
64 | 2627293.568 | 1239061.1487 | 2627294.629 | 1239068.9029 | 2627297.3558 | 1239086.5715
65 | 2627293.568 | 1239061.1487 | 2627282.0974 | 1239063.9201 | 2627256.1686 | 1239093.4548
66 | 2627256.1686 | 1239093.4548 | 2627253.5647 | 1239096.4208 | 2627249.2311 | 1239100.7862
67 | 2627240.4514 | 1239109.6303 | 2627249.2311 | 1239100.7862
68 | 2627207.5453 | 1239157.4039 | 2627231.6726 | 1239163.6245
69 | 2627224.9433 | 1239125.2522 | 2627207.5453 | 1239157.4039
70 | 2627224.9433 | 1239125.2522 | 2627229.6988 | 1239120.4619
71 | 2627240.4514 | 1239109.6303 | 2627229.6988 | 1239120.4619

## bus_geodata
| x | y | coords
0 | 2627214.6492 | 1238911.0502
1 | 2627243.9989 | 1238919.0088
2 | 2627193.897 | 1238905.4229
3 | 2627241.6885 | 1238815.7546
4 | 2627256.732 | 1238922.4616
5 | 2627170.1907 | 1238898.9945
6 | 2627250.2256 | 1238818.1517
7 | 2627221.1175 | 1238809.9783
8 | 2627274.3611 | 1238925.3088
9 | 2627149.3948 | 1238893.3554
10 | 2627204.5757 | 1238805.3334
11 | 2627275.9614 | 1238932.5763
12 | 2627129.5415 | 1238887.9718
13 | 2627302.8033 | 1239128.7847
14 | 2627302.9603 | 1239131.3515
15 | 2627302.777 | 1239128.3548
16 | 2627304.0175 | 1239152.2389
17 | 2627302.4009 | 1239122.2053
18 | 2627303.3486 | 1239186.1559
19 | 2627284.9202 | 1239118.9446
20 | 2627299.9857 | 1239103.6123
21 | 2627304.8207 | 1239207.9035
22 | 2627297.6935 | 1239088.7595
23 | 2627169.9339 | 1239132.7998
24 | 2627167.315 | 1239135.3875
25 | 2627170.547 | 1239132.194
26 | 2627164.8027 | 1239137.8698
27 | 2627174.9314 | 1239127.862
28 | 2627161.0686 | 1239141.5594
29 | 2627182.9903 | 1239119.8993
30 | 2627159.01 | 1239147.2644
31 | 2627187.3219 | 1239115.6194
32 | 2627221.6897 | 1239214.2763
33 | 2627212.2205 | 1239214.9392
34 | 2627236.9661 | 1239213.2069
35 | 2627201.7433 | 1239214.1214
36 | 2627246.7062 | 1239211.9503
37 | 2627242.9598 | 1239185.8188
38 | 2627325.2135 | 1239212.311
39 | 2627246.6099 | 1239168.3674
40 | 2627239.1976 | 1239165.5647
41 | 2627335.5347 | 1239215.1248
42 | 2627112.9206 | 1238883.4648
43 | 2627097.0986 | 1238878.5028
44 | 2627082.3914 | 1238871.1191
45 | 2627104.8083 | 1238862.4934
46 | 2627081.6 | 1238902.3512
47 | 2627109.4354 | 1238852.8854
48 | 2627076.9301 | 1238908.5518
49 | 2627208.2591 | 1239096.8423
50 | 2627216.8999 | 1239082.1388
51 | 2627225.9219 | 1239066.7867
52 | 2627228.3206 | 1239062.7037
53 | 2627246.7719 | 1239065.3702
54 | 2627236.9657 | 1239047.9878
55 | 2627263.5174 | 1239061.1847
56 | 2627279.4773 | 1238958.2495
57 | 2627285.1087 | 1238999.3712
58 | 2627292.2072 | 1239051.2065
59 | 2627258.7909 | 1238992.6362
60 | 2627292.8801 | 1239056.1202
61 | 2627235.2966 | 1238986.6238
62 | 2627280.2308 | 1239057.0072
63 | 2627293.568 | 1239061.1487
64 | 2627272.399 | 1239017.2108
65 | 2627297.3558 | 1239086.5715
66 | 2627256.1686 | 1239093.4548
67 | 2627249.2311 | 1239100.7862
68 | 2627231.6726 | 1239163.6245
69 | 2627224.9433 | 1239125.2522
70 | 2627207.5453 | 1239157.4039
71 | 2627229.6988 | 1239120.4619
72 | 2627240.4514 | 1239109.6303
73 | 2627246.7719 | 1239065.3702

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98192 | -0.12683 | 0.0019936 | 0.00049964
1 | 0.98311 | -0.11835 | 0.0032082 | 0.00080404
2 | 0.98137 | -0.13077 | 0.00096803 | 0.00024261
3 | 0.98088 | -0.13425 | 0.0010061 | 0.00025216
4 | 0.98369 | -0.11424 | 0.0041782 | 0.0010472
5 | 0.98077 | -0.13504 | 0.0017311 | 0.00043386
6 | 0.98085 | -0.13447 | 0.0023464 | 0.00058805
7 | 0.98076 | -0.13511 | 0.0015139 | 0.00037941
8 | 0.98459 | -0.1079 | 0 | 0
9 | 0.9803 | -0.1384 | 0.0008891 | 0.00022283
10 | 0.9807 | -0.13553 | 0.00236 | 0.00059148
11 | 0.98496 | -0.10527 | 0 | 0
12 | 0.97988 | -0.14141 | 0.0013718 | 0.00034381
13 | 0.98851 | -0.080266 | 0.0059585 | 0.0014933
14 | 0.98847 | -0.080576 | 0.0029683 | 0.00074393
15 | 0.98852 | -0.080188 | 0.0029683 | 0.00074393
16 | 0.9882 | -0.082461 | 0.0023262 | 0.000583
17 | 0.98871 | -0.078885 | 0 | 0
18 | 0.98789 | -0.084714 | 0.0026132 | 0.00065493
19 | 0.98858 | -0.079803 | 0.0050366 | 0.0012623
20 | 0.9894 | -0.073954 | 0.002816 | 0.00070575
21 | 0.98776 | -0.085578 | 0 | 0
22 | 0.99002 | -0.069579 | 0.0032678 | 0.00081899
23 | 0.997 | -0.021054 | 0.0025283 | 0.00063364
24 | 0.99695 | -0.021397 | 0.0017559 | 0.00044007
25 | 0.99701 | -0.020952 | 0.0017815 | 0.00044647
26 | 0.99691 | -0.021663 | 0.0017572 | 0.00044041
27 | 0.99713 | -0.020113 | 0.001944 | 0.0004872
28 | 0.99687 | -0.021966 | 0.0035005 | 0.00087732
29 | 0.99738 | -0.018349 | 0.0019426 | 0.00048686
30 | 0.99685 | -0.022102 | 0.0022448 | 0.0005626
31 | 0.99753 | -0.017282 | 0.0019601 | 0.00049124
32 | 0.97888 | -0.14853 | 0.0073337 | 0.001838
33 | 0.9788 | -0.14911 | 0 | 0
34 | 0.97917 | -0.14642 | 0 | 0
35 | 0.9787 | -0.14976 | 0.0058966 | 0.0014778
36 | 0.97913 | -0.1467 | 0.002732 | 0.00068471
37 | 0.97982 | -0.14176 | 0.0067424 | 0.0016898
38 | 0.98765 | -0.086405 | 0.0026436 | 0.00066255
39 | 0.98042 | -0.13753 | 0.0023315 | 0.00058433
40 | 0.98071 | -0.13546 | 0.00234 | 0.00058646
41 | 0.98763 | -0.08654 | 0.0012274 | 0.00030762
42 | 0.97956 | -0.1437 | 0.0010314 | 0.00025849
43 | 0.97928 | -0.14572 | 0 | 0
44 | 0.97921 | -0.14623 | 0.0029592 | 0.00074164
45 | 0.97919 | -0.14634 | 0.0011896 | 0.00029815
46 | 0.97905 | -0.14731 | 0.00268 | 0.00067168
47 | 0.97915 | -0.14659 | 0.0021852 | 0.00054766
48 | 0.97902 | -0.14753 | 0.0026962 | 0.00067573
49 | 0.99835 | -0.011579 | 0.0096537 | 0.0024195
50 | 0.99905 | -0.0066175 | 0.0081223 | 0.0020356
51 | 1 | 0 | -0.22542 | -0.05661
52 | 0.99989 | -0.00076871 | 0.0081325 | 0.0020382
53 | 0.99742 | -0.017832 | 0 | 0
54 | 0.99969 | -0.0021541 | 0.008129 | 0.0020373
55 | 0.99532 | -0.032477 | 0.0077935 | 0.0019532
56 | 0.98625 | -0.096123 | 0.0019553 | 0.00049006
57 | 0.98844 | -0.080696 | 0 | 0
58 | 0.99168 | -0.057882 | 0.0047848 | 0.0011992
59 | 0.98818 | -0.082503 | 0.0033685 | 0.00084421
60 | 0.99202 | -0.055487 | 0 | 0
61 | 0.98807 | -0.083282 | 0.0031403 | 0.00078703
62 | 0.99331 | -0.046477 | 0 | 0
63 | 0.99134 | -0.060283 | 0 | 0
64 | 0.99212 | -0.054886 | 0.020263 | 0.0050783
65 | 0.99013 | -0.068861 | 0.00097548 | 0.00024448
66 | 0.98687 | -0.091713 | 0.0082609 | 0.0020704
67 | 0.98611 | -0.097101 | 0.0038894 | 0.00097477
68 | 0.98102 | -0.13325 | 0.002345 | 0.00058772
69 | 0.98394 | -0.11244 | 0.0016051 | 0.00040229
70 | 0.98209 | -0.12557 | 0.0050636 | 0.0012691
71 | 0.9843 | -0.1099 | 0.005867 | 0.0014704
72 | 0.98524 | -0.10326 | 0.0058592 | 0.0014685
73 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.026971 | -0.0067619 | 0.027003 | 0.0067737 | 3.1701e-05 | 1.1808e-05 | 0.040874 | 0.040873 | 0.040874 | 0.98192 | -0.12683 | 0.98311 | -0.11835 | 15.1384
1 | 0.017743 | 0.0044499 | -0.017734 | -0.0044465 | 9.7012e-06 | 3.4594e-06 | 0.026889 | 0.02689 | 0.02689 | 0.98192 | -0.12683 | 0.98137 | -0.13077 | 9.9591
2 | 0.0072345 | 0.0018124 | -0.0072271 | -0.0018108 | 7.4292e-06 | 1.6057e-06 | 0.010963 | 0.010963 | 0.010963 | 0.98192 | -0.12683 | 0.98088 | -0.13425 | 4.0605
3 | -0.030211 | -0.0075778 | 0.030228 | 0.0075842 | 1.7215e-05 | 6.4539e-06 | 0.045729 | 0.045729 | 0.045729 | 0.98311 | -0.11835 | 0.98369 | -0.11424 | 16.9367
4 | 0.016766 | 0.0042038 | -0.016756 | -0.0042003 | 9.9053e-06 | 3.4996e-06 | 0.025422 | 0.025422 | 0.025422 | 0.98137 | -0.13077 | 0.98077 | -0.13504 | 9.4155
5 | 0.0023464 | 0.00058797 | -0.0023464 | -0.00058805 | 7.0108e-08 | -8.4958e-08 | 0.0035595 | 0.0035596 | 0.0035596 | 0.98088 | -0.13425 | 0.98085 | -0.13447 | 1.3184
6 | 0.0038745 | 0.00097063 | -0.003874 | -0.00097073 | 4.6059e-07 | -9.2515e-08 | 0.0058775 | 0.0058776 | 0.0058776 | 0.98088 | -0.13425 | 0.98076 | -0.13511 | 2.1769
7 | -0.034407 | -0.0086314 | 0.034437 | 0.0086428 | 3.0305e-05 | 1.1428e-05 | 0.052049 | 0.052049 | 0.052049 | 0.98369 | -0.11424 | 0.98459 | -0.1079 | 19.2776
8 | 0.015025 | 0.0037665 | -0.015018 | -0.0037641 | 6.9866e-06 | 2.4154e-06 | 0.022795 | 0.022796 | 0.022796 | 0.98077 | -0.13504 | 0.9803 | -0.1384 | 8.4428
9 | 0.0023602 | 0.00059131 | -0.00236 | -0.00059148 | 1.3747e-07 | -1.6394e-07 | 0.0035808 | 0.0035808 | 0.0035808 | 0.98076 | -0.13511 | 0.9807 | -0.13553 | 1.3262
10 | -0.034437 | -0.0086428 | 0.03445 | 0.0086476 | 1.2579e-05 | 4.7434e-06 | 0.052049 | 0.052049 | 0.052049 | 0.98459 | -0.1079 | 0.98496 | -0.10527 | 19.2775
11 | 0.014128 | 0.0035412 | -0.014123 | -0.0035392 | 5.9036e-06 | 2.0114e-06 | 0.021446 | 0.021446 | 0.021446 | 0.9803 | -0.1384 | 0.97988 | -0.14141 | 7.943
12 | -0.03445 | -0.0086476 | 0.034493 | 0.0086641 | 4.3806e-05 | 1.6518e-05 | 0.052049 | 0.052049 | 0.052049 | 0.98496 | -0.10527 | 0.98625 | -0.096123 | 19.2775
13 | 0.012751 | 0.0031954 | -0.012747 | -0.0031941 | 4.0289e-06 | 1.3327e-06 | 0.019363 | 0.019363 | 0.019363 | 0.97988 | -0.14141 | 0.97956 | -0.1437 | 7.1715
14 | 0.011785 | 0.0029528 | -0.011784 | -0.0029527 | 5.0496e-07 | 1.6125e-07 | 0.017739 | 0.017739 | 0.017739 | 0.98851 | -0.080266 | 0.98847 | -0.080576 | 6.57
15 | -0.017743 | -0.0044462 | 0.017743 | 0.0044462 | 1.917e-07 | 6.8209e-08 | 0.026708 | 0.026708 | 0.026708 | 0.98851 | -0.080266 | 0.98852 | -0.080188 | 9.892
16 | 0.0088157 | 0.0022087 | -0.0088134 | -0.0022081 | 2.2987e-06 | 6.1606e-07 | 0.013271 | 0.013271 | 0.013271 | 0.98847 | -0.080576 | 0.9882 | -0.082461 | 4.9151
17 | -0.020712 | -0.0051902 | 0.020715 | 0.0051915 | 3.7367e-06 | 1.3582e-06 | 0.031177 | 0.031177 | 0.031177 | 0.98852 | -0.080188 | 0.98871 | -0.078885 | 11.5469
18 | 0.0064872 | 0.0016251 | -0.0064852 | -0.0016248 | 2.0217e-06 | 3.427e-07 | 0.009768 | 0.0097682 | 0.0097682 | 0.9882 | -0.082461 | 0.98789 | -0.084714 | 3.6178
19 | 0.0050373 | 0.0012623 | -0.0050366 | -0.0012623 | 6.3998e-07 | 1.7323e-08 | 0.0075811 | 0.0075812 | 0.0075812 | 0.98871 | -0.078885 | 0.98858 | -0.079803 | 2.8079
20 | -0.025753 | -0.0064538 | 0.02577 | 0.0064604 | 1.7589e-05 | 6.5241e-06 | 0.038758 | 0.038758 | 0.038758 | 0.98871 | -0.078885 | 0.9894 | -0.073954 | 14.3547
21 | 0.003872 | 0.00096985 | -0.0038715 | -0.00096995 | 4.6277e-07 | -1.0114e-07 | 0.005832 | 0.0058321 | 0.0058321 | 0.98789 | -0.084714 | 0.98776 | -0.085578 | 2.16
22 | -0.028586 | -0.0071661 | 0.028603 | 0.0071726 | 1.7334e-05 | 6.4737e-06 | 0.042993 | 0.042993 | 0.042993 | 0.9894 | -0.073954 | 0.99002 | -0.069579 | 15.9232
23 | 0.0038715 | 0.00096995 | -0.0038711 | -0.00097004 | 4.4298e-07 | -9.6745e-08 | 0.0058321 | 0.0058322 | 0.0058322 | 0.98776 | -0.085578 | 0.98765 | -0.086405 | 2.1601
24 | -0.031871 | -0.0079916 | 0.031874 | 0.0079928 | 3.1702e-06 | 1.1908e-06 | 0.047904 | 0.047904 | 0.047904 | 0.99002 | -0.069579 | 0.99013 | -0.068861 | 17.7423
25 | 0.0092595 | 0.0023205 | -0.0092591 | -0.0023204 | 4.3876e-07 | 1.2074e-07 | 0.01382 | 0.01382 | 0.01382 | 0.997 | -0.021054 | 0.99695 | -0.021397 | 5.1184
26 | -0.011788 | -0.0029542 | 0.011788 | 0.0029542 | 1.6647e-07 | 5.2788e-08 | 0.017593 | 0.017593 | 0.017593 | 0.997 | -0.021054 | 0.99701 | -0.020952 | 6.516
27 | 0.0075031 | 0.0018803 | -0.0075029 | -0.0018803 | 2.764e-07 | 6.0257e-08 | 0.011199 | 0.011199 | 0.011199 | 0.99695 | -0.021397 | 0.99691 | -0.021663 | 4.1478
28 | -0.013569 | -0.0034007 | 0.013571 | 0.0034012 | 1.5774e-06 | 5.2631e-07 | 0.020252 | 0.020252 | 0.020252 | 0.99701 | -0.020952 | 0.99713 | -0.020113 | 7.5007
29 | 0.0057456 | 0.0014399 | -0.0057454 | -0.0014399 | 2.4092e-07 | 2.4221e-08 | 0.008576 | 0.0085761 | 0.0085761 | 0.99691 | -0.021663 | 0.99687 | -0.021966 | 3.1763
30 | -0.015515 | -0.0038884 | 0.015519 | 0.0038897 | 3.7896e-06 | 1.3097e-06 | 0.023153 | 0.023153 | 0.023153 | 0.99713 | -0.020113 | 0.99738 | -0.018349 | 8.5751
31 | 0.0022448 | 0.00056254 | -0.0022448 | -0.0005626 | 4.2494e-08 | -6.2726e-08 | 0.0033508 | 0.0033509 | 0.0033509 | 0.99687 | -0.021966 | 0.99685 | -0.022102 | 1.2411
32 | -0.017461 | -0.0043766 | 0.017464 | 0.0043775 | 2.5787e-06 | 9.1234e-07 | 0.026051 | 0.026051 | 0.026051 | 0.99738 | -0.018349 | 0.99753 | -0.017282 | 9.6485
33 | -0.019424 | -0.0048688 | 0.019439 | 0.0048743 | 1.535e-05 | 5.5211e-06 | 0.028975 | 0.028975 | 0.028975 | 0.99753 | -0.017282 | 0.99835 | -0.011579 | 10.7314
34 | 0.0058976 | 0.001478 | -0.0058972 | -0.0014779 | 4.7607e-07 | 6.3787e-08 | 0.0089651 | 0.0089652 | 0.0089652 | 0.97888 | -0.14853 | 0.9788 | -0.14911 | 3.3204
35 | -0.013231 | -0.003316 | 0.013235 | 0.0033173 | 3.8657e-06 | 1.2943e-06 | 0.020113 | 0.020113 | 0.020113 | 0.97888 | -0.14853 | 0.97917 | -0.14642 | 7.4494
36 | 0.0058972 | 0.0014779 | -0.0058966 | -0.0014778 | 5.2706e-07 | 7.0644e-08 | 0.0089652 | 0.0089652 | 0.0089652 | 0.9788 | -0.14911 | 0.9787 | -0.14976 | 3.3204
37 | 0.0027321 | 0.00068463 | -0.002732 | -0.00068471 | 1.0564e-07 | -8.2895e-08 | 0.0041519 | 0.004152 | 0.004152 | 0.97917 | -0.14642 | 0.97913 | -0.1467 | 1.5378
38 | -0.015967 | -0.0040019 | 0.015978 | 0.0040055 | 1.0312e-05 | 3.6127e-06 | 0.024265 | 0.024265 | 0.024265 | 0.97917 | -0.14642 | 0.97982 | -0.14176 | 8.9871
39 | -0.02272 | -0.0056953 | 0.022733 | 0.0057002 | 1.3313e-05 | 4.8944e-06 | 0.034504 | 0.034504 | 0.034504 | 0.97982 | -0.14176 | 0.98042 | -0.13753 | 12.7794
40 | 0.0012274 | 0.00030749 | -0.0012274 | -0.00030762 | 2.2829e-08 | -1.2812e-07 | 0.0018493 | 0.0018493 | 0.0018493 | 0.98765 | -0.086405 | 0.98763 | -0.08654 | 0.68493
41 | -0.025065 | -0.0062845 | 0.025072 | 0.0062872 | 7.1986e-06 | 2.6681e-06 | 0.038043 | 0.038043 | 0.038043 | 0.98042 | -0.13753 | 0.98071 | -0.13546 | 14.09
42 | -0.027412 | -0.0068737 | 0.02742 | 0.0068768 | 8.3891e-06 | 3.1285e-06 | 0.041593 | 0.041593 | 0.041593 | 0.98071 | -0.13546 | 0.98102 | -0.13325 | 15.405
43 | 0.011715 | 0.0029356 | -0.011712 | -0.0029345 | 3.2774e-06 | 1.0518e-06 | 0.017796 | 0.017796 | 0.017796 | 0.97956 | -0.1437 | 0.97928 | -0.14572 | 6.5912
44 | 0.0029594 | 0.00074151 | -0.0029592 | -0.00074164 | 2.0811e-07 | -1.2745e-07 | 0.0044967 | 0.0044968 | 0.0044968 | 0.97928 | -0.14572 | 0.97921 | -0.14623 | 1.6655
45 | 0.0033752 | 0.00084559 | -0.0033749 | -0.0008457 | 2.9163e-07 | -1.1137e-07 | 0.0051285 | 0.0051286 | 0.0051286 | 0.97928 | -0.14572 | 0.97919 | -0.14634 | 1.8995
46 | 0.0053775 | 0.0013474 | -0.0053763 | -0.0013473 | 1.1866e-06 | 9.8137e-08 | 0.008171 | 0.0081712 | 0.0081712 | 0.97928 | -0.14572 | 0.97905 | -0.14731 | 3.0264
47 | 0.0021852 | 0.00054755 | -0.0021852 | -0.00054766 | 7.3381e-08 | -1.0591e-07 | 0.0033207 | 0.0033208 | 0.0033208 | 0.97919 | -0.14634 | 0.97915 | -0.14659 | 1.2299
48 | 0.0026963 | 0.00067567 | -0.0026962 | -0.00067573 | 8.1341e-08 | -6.6327e-08 | 0.0040979 | 0.004098 | 0.004098 | 0.97905 | -0.14731 | 0.97902 | -0.14753 | 1.5178
49 | -0.029093 | -0.0072937 | 0.029113 | 0.0073012 | 2.0011e-05 | 7.4734e-06 | 0.043363 | 0.043363 | 0.043363 | 0.99835 | -0.011579 | 0.99905 | -0.0066175 | 16.0606
50 | -0.037235 | -0.0093369 | 0.03727 | 0.0093498 | 3.4178e-05 | 1.2912e-05 | 0.055461 | 0.055461 | 0.055461 | 0.99905 | -0.0066175 | 1 | 0 | 20.5411
51 | 0.016265 | 0.0040765 | -0.016263 | -0.0040759 | 1.7308e-06 | 6.0359e-07 | 0.024202 | 0.024202 | 0.024202 | 1 | 0 | 0.99989 | -0.00076871 | 8.9638
52 | 0.17108 | 0.043184 | -0.17066 | -0.04302 | 0.00042734 | 0.00016381 | 0.25468 | 0.25468 | 0.25468 | 1 | 0 | 0.99742 | -0.017832 | 47.1637
53 | 0.0081306 | 0.0020377 | -0.008129 | -0.0020373 | 1.5592e-06 | 3.7588e-07 | 0.0121 | 0.0121 | 0.0121 | 0.99989 | -0.00076871 | 0.99969 | -0.0021541 | 4.4814
54 | 0.17066 | 0.04302 | -0.17031 | -0.042886 | 0.00034931 | 0.0001339 | 0.25468 | 0.25468 | 0.25468 | 0.99742 | -0.017832 | 0.99532 | -0.032477 | 47.1637
55 | 0.16251 | 0.040933 | -0.1622 | -0.040811 | 0.00031747 | 0.00012166 | 0.24303 | 0.24303 | 0.24303 | 0.99532 | -0.032477 | 0.99331 | -0.046477 | 45.0061
56 | -0.036449 | -0.0091541 | 0.036527 | 0.0091837 | 7.8344e-05 | 2.9601e-05 | 0.054999 | 0.054999 | 0.054999 | 0.98625 | -0.096123 | 0.98844 | -0.080696 | 20.3701
57 | -0.043038 | -0.010815 | 0.043175 | 0.010867 | 0.00013709 | 5.2053e-05 | 0.0648 | 0.0648 | 0.0648 | 0.98844 | -0.080696 | 0.99168 | -0.057882 | 24.0002
58 | 0.0065107 | 0.0016313 | -0.0065091 | -0.0016311 | 1.6285e-06 | 2.7822e-07 | 0.0098013 | 0.0098014 | 0.0098014 | 0.98844 | -0.080696 | 0.98818 | -0.082503 | 3.6301
59 | -0.04796 | -0.012066 | 0.047976 | 0.012072 | 1.6034e-05 | 6.103e-06 | 0.07198 | 0.07198 | 0.07198 | 0.99168 | -0.057882 | 0.99202 | -0.055487 | 26.6591
60 | 0.0031406 | 0.00078685 | -0.0031403 | -0.00078703 | 3.3845e-07 | -1.8048e-07 | 0.0047291 | 0.0047292 | 0.0047292 | 0.98818 | -0.082503 | 0.98807 | -0.083282 | 1.7516
61 | -0.14173 | -0.035656 | 0.14191 | 0.035724 | 0.00017836 | 6.8274e-05 | 0.21264 | 0.21264 | 0.21264 | 0.99202 | -0.055487 | 0.99331 | -0.046477 | 39.3783
62 | 0.093756 | 0.023584 | -0.093694 | -0.02356 | 6.2671e-05 | 2.4039e-05 | 0.14066 | 0.14066 | 0.14066 | 0.99202 | -0.055487 | 0.99134 | -0.060283 | 52.0974
63 | 0.020286 | 0.0050869 | -0.020263 | -0.0050783 | 2.3616e-05 | 8.5534e-06 | 0.03039 | 0.030391 | 0.030391 | 0.99331 | -0.046477 | 0.99212 | -0.054886 | 11.2558
64 | 0.032889 | 0.008252 | -0.03285 | -0.0082373 | 3.9095e-05 | 1.4705e-05 | 0.04937 | 0.04937 | 0.04937 | 0.99134 | -0.060283 | 0.99013 | -0.068861 | 18.2853
65 | 0.060805 | 0.015308 | -0.060539 | -0.015206 | 0.00026576 | 0.00010156 | 0.091293 | 0.091293 | 0.091293 | 0.99134 | -0.060283 | 0.98687 | -0.091713 | 33.8123
66 | 0.052278 | 0.013136 | -0.052239 | -0.013121 | 3.9164e-05 | 1.4934e-05 | 0.078837 | 0.078837 | 0.078837 | 0.98687 | -0.091713 | 0.98611 | -0.097101 | 29.199
67 | 0.048349 | 0.012146 | -0.048308 | -0.01213 | 4.1404e-05 | 1.5766e-05 | 0.072968 | 0.072968 | 0.072968 | 0.98611 | -0.097101 | 0.98524 | -0.10326 | 27.0253
68 | -0.029766 | -0.0074645 | 0.029797 | 0.0074764 | 3.1695e-05 | 1.1875e-05 | 0.04515 | 0.04515 | 0.04515 | 0.98102 | -0.13325 | 0.98209 | -0.12557 | 16.7223
69 | 0.034924 | 0.0087695 | -0.034861 | -0.0087455 | 6.3649e-05 | 2.4017e-05 | 0.052822 | 0.052822 | 0.052822 | 0.98394 | -0.11244 | 0.98209 | -0.12557 | 19.5638
70 | -0.03653 | -0.0091718 | 0.036542 | 0.0091766 | 1.2857e-05 | 4.8593e-06 | 0.05525 | 0.05525 | 0.05525 | 0.98394 | -0.11244 | 0.9843 | -0.1099 | 20.4628
71 | -0.04241 | -0.010647 | 0.042449 | 0.010662 | 3.9155e-05 | 1.4865e-05 | 0.064119 | 0.064119 | 0.064119 | 0.9843 | -0.1099 | 0.98524 | -0.10326 | 23.7478

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.22542 | 0.05661

## res_load
| p_mw | q_mvar
0 | 0.0019936 | 0.00049964
1 | 0.0032082 | 0.00080404
2 | 0.00096803 | 0.00024261
3 | 0.0010061 | 0.00025216
4 | 0.0041782 | 0.0010472
5 | 0.0017311 | 0.00043386
6 | 0.0023464 | 0.00058805
7 | 0.0015139 | 0.00037941
8 | 0.0008891 | 0.00022283
9 | 0.00236 | 0.00059148
10 | 0.0013718 | 0.00034381
11 | 0.0059585 | 0.0014933
12 | 0.0029683 | 0.00074393
13 | 0.0029683 | 0.00074393
14 | 0.0023262 | 0.000583
15 | 0.0026132 | 0.00065493
16 | 0.0050366 | 0.0012623
17 | 0.002816 | 0.00070575
18 | 0.0032678 | 0.00081899
19 | 0.0025283 | 0.00063364
20 | 0.0017559 | 0.00044007
21 | 0.0017815 | 0.00044647
22 | 0.0017572 | 0.00044041
23 | 0.001944 | 0.0004872
24 | 0.0035005 | 0.00087732
25 | 0.0019426 | 0.00048686
26 | 0.0022448 | 0.0005626
27 | 0.0019601 | 0.00049124
28 | 0.0073337 | 0.001838
29 | 0.0058966 | 0.0014778
30 | 0.002732 | 0.00068471
31 | 0.0067424 | 0.0016898
32 | 0.0026436 | 0.00066255
33 | 0.0023315 | 0.00058433
34 | 0.00234 | 0.00058646
35 | 0.0012274 | 0.00030762
36 | 0.0010314 | 0.00025849
37 | 0.0029592 | 0.00074164
38 | 0.0011896 | 0.00029815
39 | 0.00268 | 0.00067168
40 | 0.0021852 | 0.00054766
41 | 0.0026962 | 0.00067573
42 | 0.0096537 | 0.0024195
43 | 0.0081223 | 0.0020356
44 | 0.0081325 | 0.0020382
45 | 0.008129 | 0.0020373
46 | 0.0077935 | 0.0019532
47 | 0.0019553 | 0.00049006
48 | 0.0047848 | 0.0011992
49 | 0.0033685 | 0.00084421
50 | 0.0031403 | 0.00078703
51 | 0.020263 | 0.0050783
52 | 0.00097548 | 0.00024448
53 | 0.0082609 | 0.0020704
54 | 0.0038894 | 0.00097477
55 | 0.002345 | 0.00058772
56 | 0.0016051 | 0.00040229
57 | 0.0050636 | 0.0012691
58 | 0.005867 | 0.0014704
59 | 0.0058592 | 0.0014685

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1