## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2404-5_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2404-5_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2404-5_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2404-5_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2404-5_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2404-5_0_4_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_2404-5_0_4_node_61 | 0.4 | n |  | TRUE
7 | bus_LV_2404-5_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_2404-5_0_4_node_34 | 0.4 | n |  | TRUE
9 | bus_LV_2404-5_0_4_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_2404-5_0_4_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_2404-5_0_4_node_65 | 0.4 | n |  | TRUE
12 | bus_LV_2404-5_0_4_node_63 | 0.4 | n |  | TRUE
13 | bus_LV_2404-5_0_4_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_2404-5_0_4_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_2404-5_0_4_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_2404-5_0_4_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_2404-5_0_4_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_2404-5_0_4_node_47 | 0.4 | n |  | TRUE
19 | bus_LV_2404-5_0_4_node_56 | 0.4 | n |  | TRUE
20 | bus_LV_2404-5_0_4_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_2404-5_0_4_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_2404-5_0_4_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_2404-5_0_4_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_2404-5_0_4_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_2404-5_0_4_node_62 | 0.4 | n |  | TRUE
26 | bus_LV_2404-5_0_4_node_44 | 0.4 | n |  | TRUE
27 | bus_LV_2404-5_0_4_node_48 | 0.4 | n |  | TRUE
28 | bus_LV_2404-5_0_4_node_67 | 0.4 | n |  | TRUE
29 | bus_LV_2404-5_0_4_node_43 | 0.4 | n |  | TRUE
30 | bus_LV_2404-5_0_4_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_2404-5_0_4_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_2404-5_0_4_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_2404-5_0_4_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_2404-5_0_4_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_2404-5_0_4_node_40 | 0.4 | n |  | TRUE
36 | bus_LV_2404-5_0_4_node_58 | 0.4 | n |  | TRUE
37 | bus_LV_2404-5_0_4_node_41 | 0.4 | n |  | TRUE
38 | bus_LV_2404-5_0_4_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_2404-5_0_4_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_2404-5_0_4_node_26 | 0.4 | n |  | TRUE
41 | bus_LV_2404-5_0_4_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_2404-5_0_4_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_2404-5_0_4_node_33 | 0.4 | n |  | TRUE
44 | bus_LV_2404-5_0_4_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_2404-5_0_4_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_2404-5_0_4_node_30 | 0.4 | n |  | TRUE
47 | bus_LV_2404-5_0_4_node_31 | 0.4 | n |  | TRUE
48 | bus_LV_2404-5_0_4_node_60 | 0.4 | n |  | TRUE
49 | bus_LV_2404-5_0_4_node_59 | 0.4 | n |  | TRUE
50 | bus_LV_2404-5_0_4_node_55 | 0.4 | n |  | TRUE
51 | bus_LV_2404-5_0_4_node_52 | 0.4 | n |  | TRUE
52 | bus_LV_2404-5_0_4_node_35 | 0.4 | n |  | TRUE
53 | bus_LV_2404-5_0_4_node_36 | 0.4 | n |  | TRUE
54 | bus_LV_2404-5_0_4_node_37 | 0.4 | n |  | TRUE
55 | bus_LV_2404-5_0_4_node_38 | 0.4 | n |  | TRUE
56 | bus_LV_2404-5_0_4_node_39 | 0.4 | n |  | TRUE
57 | bus_LV_2404-5_0_4_node_42 | 0.4 | n |  | TRUE
58 | bus_LV_2404-5_0_4_node_49 | 0.4 | n |  | TRUE
59 | bus_LV_2404-5_0_4_node_54 | 0.4 | n |  | TRUE
60 | bus_LV_2404-5_0_4_node_45 | 0.4 | n |  | TRUE
61 | bus_LV_2404-5_0_4_node_46 | 0.4 | n |  | TRUE
62 | bus_LV_2404-5_0_4_node_68 | 0.4 | n |  | TRUE
63 | bus_LV_2404-5_0_4_node_69 | 0.4 | n |  | TRUE
64 | bus_LV_2404-5_0_4_node_50 | 0.4 | n |  | TRUE
65 | bus_LV_2404-5_0_4_node_51 | 0.4 | n |  | TRUE
66 | bus_LV_2404-5_0_4_node_53 | 0.4 | n |  | TRUE
67 | bus_LV_2404-5_0_4_node_66 | 0.4 | n |  | TRUE
68 | bus_LV_2404-5_0_4_node_57 | 0.4 | n |  | TRUE
69 | bus_MV_334_0_node_251 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2404-5_0_4_load_0 | 0 | 0.0011971 | 0.00030001 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2404-5_0_4_load_1 | 1 | 0.0015917 | 0.00039892 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2404-5_0_4_load_2 | 2 | 0.0033071 | 0.00082884 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2404-5_0_4_load_3 | 3 | 0.0065509 | 0.0016418 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2404-5_0_4_load_4 | 4 | 0.0033036 | 0.00082797 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2404-5_0_4_load_6 | 5 | 0.0040054 | 0.0010038 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2404-5_0_4_load_61 | 6 | 0.00369 | 0.0009248 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2404-5_0_4_load_5 | 7 | 0.0016461 | 0.00041255 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2404-5_0_4_load_7 | 9 | 0.003104 | 0.00077793 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2404-5_0_4_load_65 | 11 | 0.0071037 | 0.0017803 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2404-5_0_4_load_63 | 12 | 0.0071124 | 0.0017825 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2404-5_0_4_load_9 | 13 | 0.0068864 | 0.0017259 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2404-5_0_4_load_10 | 14 | 0.0019115 | 0.00047907 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2404-5_0_4_load_11 | 15 | 0.0094341 | 0.0023644 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2404-5_0_4_load_12 | 16 | 0.00046154 | 0.00011567 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2404-5_0_4_load_13 | 17 | 0.00040785 | 0.00010222 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2404-5_0_4_load_47 | 18 | 0.0010057 | 0.00025205 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2404-5_0_4_load_56 | 19 | 0.0012984 | 0.0003254 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2404-5_0_4_load_14 | 20 | 0.00093879 | 0.00023528 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2404-5_0_4_load_15 | 21 | 0.0011876 | 0.00029765 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2404-5_0_4_load_18 | 24 | 0.0012164 | 0.00030485 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2404-5_0_4_load_62 | 25 | 0.0022024 | 0.00055198 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2404-5_0_4_load_44 | 26 | 0.0052057 | 0.0013047 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2404-5_0_4_load_48 | 27 | 0.0025463 | 0.00063815 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2404-5_0_4_load_67 | 28 | 0.0018495 | 0.00046353 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2404-5_0_4_load_43 | 29 | 0.0014947 | 0.00037462 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2404-5_0_4_load_19 | 30 | 0.0046824 | 0.0011735 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2404-5_0_4_load_20 | 31 | 0.0031096 | 0.00077934 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2404-5_0_4_load_21 | 32 | 0.012605 | 0.003159 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2404-5_0_4_load_22 | 33 | 0.0012737 | 0.00031922 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2404-5_0_4_load_23 | 34 | 0.0099322 | 0.0024892 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2404-5_0_4_load_40 | 35 | 0.0032173 | 0.00080632 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2404-5_0_4_load_58 | 36 | 0.00074791 | 0.00018745 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2404-5_0_4_load_41 | 37 | 0.0032611 | 0.00081732 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2404-5_0_4_load_24 | 38 | 0.0018809 | 0.00047141 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2404-5_0_4_load_25 | 39 | 0.0007009 | 0.00017566 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2404-5_0_4_load_26 | 40 | 0.0013905 | 0.0003485 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2404-5_0_4_load_27 | 41 | 0.0057293 | 0.0014359 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2404-5_0_4_load_33 | 43 | 0.0050085 | 0.0012552 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2404-5_0_4_load_32 | 44 | 0.0030385 | 0.00076153 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2404-5_0_4_load_29 | 45 | 0.0015619 | 0.00039144 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2404-5_0_4_load_30 | 46 | 0.0013378 | 0.00033527 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2404-5_0_4_load_31 | 47 | 0.00073854 | 0.00018509 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2404-5_0_4_load_60 | 48 | 0.0046225 | 0.0011585 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2404-5_0_4_load_59 | 49 | 0.0054251 | 0.0013597 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2404-5_0_4_load_55 | 50 | 0.0067162 | 0.0016832 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2404-5_0_4_load_35 | 52 | 0.0023883 | 0.00059856 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2404-5_0_4_load_36 | 53 | 0.030651 | 0.0076819 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2404-5_0_4_load_37 | 54 | 0.0005449 | 0.00013657 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2404-5_0_4_load_38 | 55 | 0.001403 | 0.00035162 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2404-5_0_4_load_39 | 56 | 0.00072596 | 0.00018194 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2404-5_0_4_load_42 | 57 | 0.0031032 | 0.00077773 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2404-5_0_4_load_49 | 58 | 0.007774 | 0.0019483 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2404-5_0_4_load_54 | 59 | 0.0063148 | 0.0015826 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2404-5_0_4_load_45 | 60 | 0.0013617 | 0.00034128 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2404-5_0_4_load_46 | 61 | 0.0028568 | 0.00071597 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2404-5_0_4_load_68 | 62 | 0.0013185 | 0.00033045 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2404-5_0_4_load_69 | 63 | 0.00075666 | 0.00018964 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2404-5_0_4_load_50 | 64 | 0.0016778 | 0.0004205 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2404-5_0_4_load_51 | 65 | 0.0060611 | 0.001519 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2404-5_0_4_load_53 | 66 | 0.00071458 | 0.00017909 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2404-5_0_4_load_66 | 67 | 0.0052733 | 0.0013216 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2404-5_0_4_load_57 | 68 | 0.00032166 | 8.0617e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 51 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2404-5_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.01254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2404-5_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0066093 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2404-5_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2404-5_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0093347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2404-5_0_4_line_4 | NAYY 4x150 SE | 3 | 5 | 0.023102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2404-5_0_4_line_5 | NAYY 4x150 SE | 4 | 6 | 0.018626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2404-5_0_4_line_6 | NAYY 4x150 SE | 5 | 7 | 0.0053108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2404-5_0_4_line_7 | NAYY 4x150 SE | 6 | 8 | 0.0084731 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2404-5_0_4_line_8 | NAYY 4x150 SE | 7 | 9 | 0.011118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2404-5_0_4_line_9 | NAYY 4x150 SE | 8 | 50 | 0.044175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
10 | LV_2404-5_0_4_line_10 | NAYY 4x150 SE | 8 | 43 | 0.022038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2404-5_0_4_line_11 | NAYY 4x150 SE | 9 | 10 | 0.027312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2404-5_0_4_line_12 | NAYY 4x150 SE | 10 | 11 | 0.027607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2404-5_0_4_line_13 | NAYY 4x150 SE | 10 | 12 | 0.0036977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2404-5_0_4_line_14 | NAYY 4x150 SE | 13 | 14 | 0.014512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2404-5_0_4_line_15 | NAYY 4x150 SE | 13 | 15 | 0.0322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2404-5_0_4_line_16 | NAYY 4x150 SE | 14 | 16 | 0.022277 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2404-5_0_4_line_17 | NAYY 4x150 SE | 15 | 17 | 0.03198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2404-5_0_4_line_18 | NAYY 4x150 SE | 17 | 18 | 0.00087486 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2404-5_0_4_line_19 | NAYY 4x150 SE | 18 | 19 | 0.0043459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2404-5_0_4_line_20 | NAYY 4x150 SE | 19 | 44 | 0.042742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2404-5_0_4_line_21 | NAYY 4x150 SE | 20 | 21 | 0.061776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2404-5_0_4_line_22 | NAYY 4x150 SE | 20 | 22 | 0.015671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2404-5_0_4_line_23 | NAYY 4x150 SE | 22 | 23 | 0.021674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2404-5_0_4_line_24 | NAYY 4x150 SE | 22 | 24 | 0.015465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2404-5_0_4_line_25 | NAYY 4x150 SE | 23 | 25 | 0.0071692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2404-5_0_4_line_26 | NAYY 4x150 SE | 23 | 26 | 0.024579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2404-5_0_4_line_27 | NAYY 4x150 SE | 24 | 27 | 0.00511 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2404-5_0_4_line_28 | NAYY 4x150 SE | 25 | 28 | 0.010705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2404-5_0_4_line_29 | NAYY 4x150 SE | 26 | 29 | 0.0035491 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2404-5_0_4_line_30 | NAYY 4x150 SE | 28 | 67 | 0.022277 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2404-5_0_4_line_31 | NAYY 4x150 SE | 29 | 60 | 0.0094462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2404-5_0_4_line_32 | NAYY 4x150 SE | 30 | 31 | 0.0010031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2404-5_0_4_line_33 | NAYY 4x150 SE | 30 | 32 | 0.030114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2404-5_0_4_line_34 | NAYY 4x150 SE | 31 | 33 | 0.0050311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2404-5_0_4_line_35 | NAYY 4x150 SE | 32 | 34 | 0.011589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2404-5_0_4_line_36 | NAYY 4x150 SE | 33 | 35 | 0.016123 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2404-5_0_4_line_37 | NAYY 4x150 SE | 34 | 36 | 0.37707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2404-5_0_4_line_38 | NAYY 4x150 SE | 35 | 37 | 0.013428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2404-5_0_4_line_39 | NAYY 4x150 SE | 37 | 57 | 0.0038296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2404-5_0_4_line_40 | NAYY 4x150 SE | 38 | 39 | 0.011321 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2404-5_0_4_line_41 | NAYY 4x150 SE | 38 | 40 | 0.00096021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2404-5_0_4_line_42 | NAYY 4x150 SE | 39 | 41 | 0.013969 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2404-5_0_4_line_43 | NAYY 4x150 SE | 40 | 42 | 0.035484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2404-5_0_4_line_44 | NAYY 4x150 SE | 41 | 43 | 0.020551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2404-5_0_4_line_45 | NAYY 4x150 SE | 42 | 44 | 0.0080968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_2404-5_0_4_line_46 | NAYY 4x150 SE | 42 | 45 | 0.020666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_2404-5_0_4_line_47 | NAYY 4x150 SE | 45 | 46 | 0.021881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_2404-5_0_4_line_48 | NAYY 4x150 SE | 46 | 47 | 0.0019031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_2404-5_0_4_line_49 | NAYY 4x150 SE | 47 | 48 | 0.0034191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_2404-5_0_4_line_50 | NAYY 4x150 SE | 48 | 49 | 0.093983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_2404-5_0_4_line_51 | NAYY 4x150 SE | 49 | 55 | 0.0017336 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_2404-5_0_4_line_52 | NAYY 4x150 SE | 50 | 51 | 0.012353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
53 | LV_2404-5_0_4_line_53 | NAYY 4x150 SE | 51 | 59 | 0.026148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_2404-5_0_4_line_54 | NAYY 4x150 SE | 51 | 64 | 0.040411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_2404-5_0_4_line_55 | NAYY 4x150 SE | 52 | 53 | 0.008886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_2404-5_0_4_line_56 | NAYY 4x150 SE | 52 | 54 | 0.026603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_2404-5_0_4_line_57 | NAYY 4x150 SE | 53 | 55 | 0.01292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_2404-5_0_4_line_58 | NAYY 4x150 SE | 54 | 56 | 0.012268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_2404-5_0_4_line_59 | NAYY 4x150 SE | 57 | 58 | 0.022424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_2404-5_0_4_line_60 | NAYY 4x150 SE | 58 | 59 | 0.0023417 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_2404-5_0_4_line_61 | NAYY 4x150 SE | 60 | 61 | 0.038447 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_2404-5_0_4_line_62 | NAYY 4x150 SE | 61 | 62 | 0.037641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_2404-5_0_4_line_63 | NAYY 4x150 SE | 62 | 63 | 0.0034044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_2404-5_0_4_line_64 | NAYY 4x150 SE | 63 | 68 | 0.032302 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_2404-5_0_4_line_65 | NAYY 4x150 SE | 64 | 65 | 0.011168 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_2404-5_0_4_line_66 | NAYY 4x150 SE | 65 | 66 | 0.014525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_2404-5_0_4_line_67 | NAYY 4x150 SE | 66 | 67 | 0.00079265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2404-5_0_4_trafo_52 | 0.25 MVA 20/0.4 kV | 69 | 51 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2626448.945 | 1238849.4947 | 2626437.1925 | 1238845.1198
1 | 2626448.945 | 1238849.4947 | 2626453.2248 | 1238851.0879 | 2626455.1748 | 1238851.6958
2 | 2626437.1925 | 1238845.1198 | 2626425.6874 | 1238840.8369 | 2626419.6313 | 1238837.6939
3 | 2626464.0865 | 1238854.474 | 2626455.1748 | 1238851.6958
4 | 2626399.1263 | 1238827.0522 | 2626419.6313 | 1238837.6939
5 | 2626464.0865 | 1238854.474 | 2626473.4132 | 1238857.3816 | 2626481.8899 | 1238859.9479
6 | 2626394.4125 | 1238824.6058 | 2626399.1263 | 1238827.0522
7 | 2626489.9996 | 1238862.403 | 2626481.8899 | 1238859.9479
8 | 2626394.4125 | 1238824.6058 | 2626384.5446 | 1238819.4845
9 | 2626489.9996 | 1238862.403 | 2626502.9325 | 1238869.2093 | 2626514.1008 | 1238876.5637 | 2626526.3029 | 1238886.113 | 2626526.8518 | 1238886.5367
10 | 2626489.9996 | 1238862.403 | 2626501.5261 | 1238843.6196
11 | 2626360.3026 | 1238806.9034 | 2626384.5446 | 1238819.4845
12 | 2626360.3026 | 1238806.9034 | 2626375.1457 | 1238783.6261
13 | 2626360.3026 | 1238806.9034 | 2626357.0238 | 1238805.1939
14 | 2626626.5467 | 1238684.569 | 2626631.9007 | 1238676.498 | 2626634.4341 | 1238672.3898
15 | 2626608.136 | 1238710.9466 | 2626612.6276 | 1238705.5521 | 2626626.5467 | 1238684.569
16 | 2626646.1276 | 1238653.4282 | 2626634.4341 | 1238672.3898
17 | 2626608.136 | 1238710.9466 | 2626587.6728 | 1238735.5229
18 | 2626587.6728 | 1238735.5229 | 2626587.113 | 1238736.1952
19 | 2626587.113 | 1238736.1952 | 2626584.3322 | 1238739.535
20 | 2626556.9828 | 1238772.3816 | 2626584.3322 | 1238739.535
21 | 2626635.2869 | 1238985.9513 | 2626599.1148 | 1239036.0294
22 | 2626639.1743 | 1238970.7703 | 2626635.2869 | 1238985.9513 | 2626635.2869 | 1238985.9513
23 | 2626639.1743 | 1238970.7703 | 2626626.416 | 1238965.5655 | 2626619.5287 | 1238961.5988
24 | 2626639.1743 | 1238970.7703 | 2626653.8796 | 1238975.5581
25 | 2626619.5287 | 1238961.5988 | 2626613.3141 | 1238958.0244
26 | 2626619.5287 | 1238961.5988 | 2626605.6643 | 1238981.8947
27 | 2626658.7522 | 1238977.0964 | 2626656.9366 | 1238976.5535 | 2626653.8796 | 1238975.5581
28 | 2626604.8728 | 1238951.4801 | 2626611.5023 | 1238956.9823 | 2626613.3141 | 1238958.0244
29 | 2626603.6624 | 1238984.8253 | 2626605.6643 | 1238981.8947
30 | 2626587.7311 | 1238937.2533 | 2626604.8728 | 1238951.4801
31 | 2626603.6624 | 1238984.8253 | 2626598.3341 | 1238992.6253
32 | 2626480.9596 | 1238963.942 | 2626480.3345 | 1238964.7265
33 | 2626461.4582 | 1238988.1899 | 2626469.6005 | 1238978.1959 | 2626480.3345 | 1238964.7265
34 | 2626484.0951 | 1238960.0074 | 2626480.9596 | 1238963.942
35 | 2626461.4582 | 1238988.1899 | 2626454.138 | 1238997.1748
36 | 2626494.1431 | 1238947.3989 | 2626484.0951 | 1238960.0074
37 | 2626454.138 | 1238997.1748 | 2626266.8164 | 1239324.4219
38 | 2626494.1431 | 1238947.3989 | 2626502.5119 | 1238936.8975
39 | 2626502.5119 | 1238936.8975 | 2626504.8986 | 1238933.9026
40 | 2626521.7488 | 1238815.73 | 2626528.8719 | 1238806.9304
41 | 2626528.8719 | 1238806.9304 | 2626529.476 | 1238806.1841
42 | 2626521.7488 | 1238815.73 | 2626512.9598 | 1238826.5874
43 | 2626551.8019 | 1238778.6039 | 2626529.476 | 1238806.1841
44 | 2626501.5261 | 1238843.6196 | 2626508.9011 | 1238831.6013 | 2626512.9598 | 1238826.5874
45 | 2626551.8019 | 1238778.6039 | 2626556.9828 | 1238772.3816
46 | 2626551.8019 | 1238778.6039 | 2626558.3979 | 1238783.503 | 2626568.9582 | 1238790.0957
47 | 2626587.5194 | 1238801.6831 | 2626568.9582 | 1238790.0957
48 | 2626587.5194 | 1238801.6831 | 2626589.1338 | 1238802.6909
49 | 2626592.0341 | 1238804.5015 | 2626589.1338 | 1238802.6909
50 | 2626592.0341 | 1238804.5015 | 2626671.7596 | 1238854.2682
51 | 2626673.2302 | 1238855.1862 | 2626671.7596 | 1238854.2682
52 | 2626536.6289 | 1238894.0862 | 2626526.8518 | 1238886.5367
53 | 2626536.6289 | 1238894.0862 | 2626520.3328 | 1238914.5351
54 | 2626536.6289 | 1238894.0862 | 2626561.9513 | 1238915.8573 | 2626567.3502 | 1238920.3381
55 | 2626691.7277 | 1238866.7332 | 2626684.1898 | 1238862.0277
56 | 2626691.7277 | 1238866.7332 | 2626714.2948 | 1238880.8207
57 | 2626673.2302 | 1238855.1862 | 2626684.1898 | 1238862.0277
58 | 2626724.702 | 1238887.3173 | 2626714.2948 | 1238880.8207
59 | 2626504.8986 | 1238933.9026 | 2626518.8734 | 1238916.3664
60 | 2626520.3328 | 1238914.5351 | 2626518.8734 | 1238916.3664
61 | 2626598.3341 | 1238992.6253 | 2626576.6474 | 1239024.372
62 | 2626555.4154 | 1239055.4532 | 2626576.6474 | 1239024.372
63 | 2626553.4951 | 1239058.2643 | 2626555.4154 | 1239055.4532
64 | 2626553.4951 | 1239058.2643 | 2626562.8118 | 1239089.1936
65 | 2626567.3502 | 1238920.3381 | 2626575.9442 | 1238927.4708
66 | 2626587.1211 | 1238936.747 | 2626575.9442 | 1238927.4708
67 | 2626587.1211 | 1238936.747 | 2626587.7311 | 1238937.2533

## bus_geodata
| x | y | coords
0 | 2626448.945 | 1238849.4947
1 | 2626437.1925 | 1238845.1198
2 | 2626455.1748 | 1238851.6958
3 | 2626419.6313 | 1238837.6939
4 | 2626464.0865 | 1238854.474
5 | 2626399.1263 | 1238827.0522
6 | 2626481.8899 | 1238859.9479
7 | 2626394.4125 | 1238824.6058
8 | 2626489.9996 | 1238862.403
9 | 2626384.5446 | 1238819.4845
10 | 2626360.3026 | 1238806.9034
11 | 2626375.1457 | 1238783.6261
12 | 2626357.0238 | 1238805.1939
13 | 2626626.5467 | 1238684.569
14 | 2626634.4341 | 1238672.3898
15 | 2626608.136 | 1238710.9466
16 | 2626646.1276 | 1238653.4282
17 | 2626587.6728 | 1238735.5229
18 | 2626587.113 | 1238736.1952
19 | 2626584.3322 | 1238739.535
20 | 2626635.2869 | 1238985.9513
21 | 2626599.1148 | 1239036.0294
22 | 2626639.1743 | 1238970.7703
23 | 2626619.5287 | 1238961.5988
24 | 2626653.8796 | 1238975.5581
25 | 2626613.3141 | 1238958.0244
26 | 2626605.6643 | 1238981.8947
27 | 2626658.7522 | 1238977.0964
28 | 2626604.8728 | 1238951.4801
29 | 2626603.6624 | 1238984.8253
30 | 2626480.3345 | 1238964.7265
31 | 2626480.9596 | 1238963.942
32 | 2626461.4582 | 1238988.1899
33 | 2626484.0951 | 1238960.0074
34 | 2626454.138 | 1238997.1748
35 | 2626494.1431 | 1238947.3989
36 | 2626266.8164 | 1239324.4219
37 | 2626502.5119 | 1238936.8975
38 | 2626528.8719 | 1238806.9304
39 | 2626521.7488 | 1238815.73
40 | 2626529.476 | 1238806.1841
41 | 2626512.9598 | 1238826.5874
42 | 2626551.8019 | 1238778.6039
43 | 2626501.5261 | 1238843.6196
44 | 2626556.9828 | 1238772.3816
45 | 2626568.9582 | 1238790.0957
46 | 2626587.5194 | 1238801.6831
47 | 2626589.1338 | 1238802.6909
48 | 2626592.0341 | 1238804.5015
49 | 2626671.7596 | 1238854.2682
50 | 2626526.8518 | 1238886.5367
51 | 2626536.6289 | 1238894.0862
52 | 2626691.7277 | 1238866.7332
53 | 2626684.1898 | 1238862.0277
54 | 2626714.2948 | 1238880.8207
55 | 2626673.2302 | 1238855.1862
56 | 2626724.702 | 1238887.3173
57 | 2626504.8986 | 1238933.9026
58 | 2626518.8734 | 1238916.3664
59 | 2626520.3328 | 1238914.5351
60 | 2626598.3341 | 1238992.6253
61 | 2626576.6474 | 1239024.372
62 | 2626555.4154 | 1239055.4532
63 | 2626553.4951 | 1239058.2643
64 | 2626567.3502 | 1238920.3381
65 | 2626575.9442 | 1238927.4708
66 | 2626587.1211 | 1238936.747
67 | 2626587.7311 | 1238937.2533
68 | 2626562.8118 | 1239089.1936
69 | 2626489.9996 | 1238862.403

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99221 | -0.054149 | 0.0011971 | 0.00030001
1 | 0.99165 | -0.058108 | 0.0015917 | 0.00039892
2 | 0.99252 | -0.051984 | 0.0033071 | 0.00082884
3 | 0.99084 | -0.063838 | 0.0065509 | 0.0016418
4 | 0.993 | -0.048616 | 0.0033036 | 0.00082797
5 | 0.99007 | -0.069239 | 0.0040054 | 0.0010038
6 | 0.99404 | -0.041283 | 0.00369 | 0.0009248
7 | 0.98993 | -0.070265 | 0.0016461 | 0.00041255
8 | 0.99456 | -0.037636 | 0 | 0
9 | 0.98965 | -0.072227 | 0.003104 | 0.00077793
10 | 0.98909 | -0.076187 | 0 | 0
11 | 0.98881 | -0.078189 | 0.0071037 | 0.0017803
12 | 0.98905 | -0.076455 | 0.0071124 | 0.0017825
13 | 0.97934 | -0.1446 | 0.0068864 | 0.0017259
14 | 0.97929 | -0.14496 | 0.0019115 | 0.00047907
15 | 0.97978 | -0.1415 | 0.0094341 | 0.0023644
16 | 0.97928 | -0.14507 | 0.00046154 | 0.00011567
17 | 0.98065 | -0.13529 | 0.00040785 | 0.00010222
18 | 0.98067 | -0.13511 | 0.0010057 | 0.00025205
19 | 0.9808 | -0.13421 | 0.0012984 | 0.0003254
20 | 0.99516 | -0.033956 | 0.00093879 | 0.00023528
21 | 0.99505 | -0.034697 | 0.0011876 | 0.00029765
22 | 0.99521 | -0.033619 | 0 | 0
23 | 0.99539 | -0.032331 | 0 | 0
24 | 0.99512 | -0.034206 | 0.0012164 | 0.00030485
25 | 0.99559 | -0.030942 | 0.0022024 | 0.00055198
26 | 0.99492 | -0.035632 | 0.0052057 | 0.0013047
27 | 0.9951 | -0.034337 | 0.0025463 | 0.00063815
28 | 0.99591 | -0.028632 | 0.0018495 | 0.00046353
29 | 0.99488 | -0.035923 | 0.0014947 | 0.00037462
30 | 0.99448 | -0.038716 | 0.0046824 | 0.0011735
31 | 0.99452 | -0.038433 | 0.0031096 | 0.00077934
32 | 0.99347 | -0.045811 | 0.012605 | 0.003159
33 | 0.99474 | -0.036853 | 0.0012737 | 0.00031922
34 | 0.99329 | -0.047068 | 0.0099322 | 0.0024892
35 | 0.99549 | -0.03159 | 0.0032173 | 0.00080632
36 | 0.99289 | -0.049991 | 0.00074791 | 0.00018745
37 | 0.99617 | -0.026777 | 0.0032611 | 0.00081732
38 | 0.98635 | -0.094928 | 0.0018809 | 0.00047141
39 | 0.98762 | -0.085979 | 0.0007009 | 0.00017566
40 | 0.98624 | -0.095669 | 0.0013905 | 0.0003485
41 | 0.98921 | -0.074869 | 0.0057293 | 0.0014359
42 | 0.98242 | -0.12267 | 0 | 0
43 | 0.99172 | -0.057393 | 0.0050085 | 0.0012552
44 | 0.98213 | -0.12472 | 0.0030385 | 0.00076153
45 | 0.98092 | -0.13325 | 0.0015619 | 0.00039144
46 | 0.97939 | -0.14413 | 0.0013378 | 0.00033527
47 | 0.97926 | -0.14505 | 0.00073854 | 0.00018509
48 | 0.97903 | -0.14668 | 0.0046225 | 0.0011585
49 | 0.97337 | -0.18718 | 0.0054251 | 0.0013597
50 | 0.99876 | -0.008514 | 0.0067162 | 0.0016832
51 | 1 | 0 | -0.23442 | -0.058898
52 | 0.97258 | -0.19285 | 0.0023883 | 0.00059856
53 | 0.97263 | -0.19251 | 0.030651 | 0.0076819
54 | 0.97253 | -0.19321 | 0.0005449 | 0.00013657
55 | 0.97327 | -0.18783 | 0.001403 | 0.00035162
56 | 0.97251 | -0.1933 | 0.00072596 | 0.00018194
57 | 0.99639 | -0.02528 | 0.0031032 | 0.00077773
58 | 0.99774 | -0.015831 | 0.007774 | 0.0019483
59 | 0.9979 | -0.014663 | 0.0063148 | 0.0015826
60 | 0.99479 | -0.036554 | 0.0013617 | 0.00034128
61 | 0.9945 | -0.038595 | 0.0028568 | 0.00071597
62 | 0.99437 | -0.039508 | 0.0013185 | 0.00033045
63 | 0.99436 | -0.039545 | 0.00075666 | 0.00018964
64 | 0.99786 | -0.014962 | 0.0016778 | 0.0004205
65 | 0.9973 | -0.01892 | 0.0060611 | 0.001519
66 | 0.99669 | -0.023189 | 0.00071458 | 0.00017909
67 | 0.99666 | -0.023417 | 0.0052733 | 0.0013216
68 | 0.99435 | -0.03965 | 0.00032166 | 8.0617e-05
69 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.031189 | 0.0078252 | -0.031172 | -0.0078188 | 1.7123e-05 | 6.4238e-06 | 0.046778 | 0.046778 | 0.046778 | 0.99221 | -0.054149 | 0.99165 | -0.058108 | 17.3251
1 | -0.032386 | -0.0081252 | 0.032396 | 0.0081289 | 9.7303e-06 | 3.657e-06 | 0.048573 | 0.048573 | 0.048573 | 0.99221 | -0.054149 | 0.99252 | -0.051984 | 17.99
2 | 0.029581 | 0.0074199 | -0.029557 | -0.0074111 | 2.3484e-05 | 8.786e-06 | 0.044389 | 0.044389 | 0.044389 | 0.99165 | -0.058108 | 0.99084 | -0.063838 | 16.4405
3 | -0.035703 | -0.0089577 | 0.03572 | 0.008964 | 1.6692e-05 | 6.2991e-06 | 0.053531 | 0.053531 | 0.053531 | 0.99252 | -0.051984 | 0.993 | -0.048616 | 19.8263
4 | 0.023006 | 0.0057693 | -0.022989 | -0.005763 | 1.7209e-05 | 6.3217e-06 | 0.034551 | 0.034552 | 0.034552 | 0.99084 | -0.063838 | 0.99007 | -0.069239 | 12.7969
5 | -0.039024 | -0.009792 | 0.039063 | 0.0098071 | 3.9751e-05 | 1.5047e-05 | 0.058482 | 0.058481 | 0.058482 | 0.993 | -0.048616 | 0.99404 | -0.041283 | 21.6598
6 | 0.018984 | 0.0047591 | -0.018981 | -0.0047581 | 2.6977e-06 | 9.693e-07 | 0.028532 | 0.028532 | 0.028532 | 0.99007 | -0.069239 | 0.98993 | -0.070265 | 10.5673
7 | -0.042753 | -0.010732 | 0.042775 | 0.01074 | 2.166e-05 | 8.2209e-06 | 0.064005 | 0.064005 | 0.064005 | 0.99404 | -0.041283 | 0.99456 | -0.037636 | 23.7056
8 | 0.017335 | 0.0043456 | -0.01733 | -0.0043439 | 4.7104e-06 | 1.6688e-06 | 0.026057 | 0.026057 | 0.026057 | 0.98993 | -0.070265 | 0.98965 | -0.072227 | 9.6509
9 | -0.13277 | -0.033484 | 0.13332 | 0.033692 | 0.00054428 | 0.00020819 | 0.19872 | 0.19872 | 0.19872 | 0.99456 | -0.037636 | 0.99876 | -0.008514 | 36.8005
10 | 0.089998 | 0.022743 | -0.089749 | -0.022648 | 0.00024958 | 9.5707e-05 | 0.13472 | 0.13472 | 0.13472 | 0.99456 | -0.037636 | 0.99172 | -0.057393 | 49.8955
11 | 0.014226 | 0.003566 | -0.014218 | -0.0035633 | 7.7979e-06 | 2.6485e-06 | 0.02139 | 0.02139 | 0.02139 | 0.98965 | -0.072227 | 0.98909 | -0.076187 | 7.9224
12 | 0.0071056 | 0.0017808 | -0.0071037 | -0.0017803 | 1.9686e-06 | 4.0293e-07 | 0.01069 | 0.01069 | 0.01069 | 0.98909 | -0.076187 | 0.98881 | -0.078189 | 3.9593
13 | 0.0071127 | 0.0017826 | -0.0071124 | -0.0017825 | 2.6419e-07 | 5.4157e-08 | 0.010701 | 0.010701 | 0.010701 | 0.98909 | -0.076187 | 0.98905 | -0.076455 | 3.9632
14 | 0.0023732 | 0.00059433 | -0.0023731 | -0.00059447 | 1.1773e-07 | -1.3731e-07 | 0.0036057 | 0.0036057 | 0.0036057 | 0.97934 | -0.1446 | 0.97929 | -0.14496 | 1.3355
15 | -0.0092596 | -0.0023202 | 0.0092636 | 0.0023214 | 3.977e-06 | 1.1243e-06 | 0.014069 | 0.014069 | 0.014069 | 0.97934 | -0.1446 | 0.97978 | -0.1415 | 5.2107
16 | 0.00046154 | 0.00011539 | -0.00046154 | -0.00011567 | 6.836e-09 | -2.7765e-07 | 0.0007012 | 0.0007013 | 0.0007013 | 0.97929 | -0.14496 | 0.97928 | -0.14507 | 0.25974
17 | -0.018698 | -0.0046858 | 0.018714 | 0.0046915 | 1.6092e-05 | 5.7859e-06 | 0.028397 | 0.028397 | 0.028397 | 0.97978 | -0.1415 | 0.98065 | -0.13529 | 10.5173
18 | -0.019122 | -0.0047938 | 0.019122 | 0.0047939 | 4.596e-07 | 1.6573e-07 | 0.029015 | 0.029015 | 0.029015 | 0.98065 | -0.13529 | 0.98067 | -0.13511 | 10.7464
19 | -0.020128 | -0.005046 | 0.02013 | 0.0050469 | 2.5295e-06 | 9.1806e-07 | 0.030541 | 0.030541 | 0.030541 | 0.98067 | -0.13511 | 0.9808 | -0.13421 | 11.3116
20 | -0.021429 | -0.0053723 | 0.021457 | 0.0053826 | 2.8191e-05 | 1.0302e-05 | 0.032511 | 0.032511 | 0.032511 | 0.9808 | -0.13421 | 0.98213 | -0.12472 | 12.0412
21 | 0.0011878 | 0.00029689 | -0.0011876 | -0.00029765 | 1.2157e-07 | -7.5578e-07 | 0.0017757 | 0.001776 | 0.001776 | 0.99516 | -0.033956 | 0.99505 | -0.034697 | 0.65778
22 | -0.0021265 | -0.00053218 | 0.0021266 | 0.00053201 | 9.8848e-08 | -1.6559e-07 | 0.0031794 | 0.0031794 | 0.0031794 | 0.99516 | -0.033956 | 0.99521 | -0.033619 | 1.1776
23 | -0.0058896 | -0.0014749 | 0.0058907 | 0.001475 | 1.0487e-06 | 1.2166e-07 | 0.0088057 | 0.0088056 | 0.0088057 | 0.99521 | -0.033619 | 0.99539 | -0.032331 | 3.2614
24 | 0.003763 | 0.00094288 | -0.0037627 | -0.00094296 | 3.0548e-07 | -8.344e-08 | 0.0056263 | 0.0056264 | 0.0056264 | 0.99521 | -0.033619 | 0.99512 | -0.034206 | 2.0838
25 | -0.019215 | -0.0048137 | 0.019219 | 0.004815 | 3.6911e-06 | 1.3264e-06 | 0.028724 | 0.028724 | 0.028724 | 0.99539 | -0.032331 | 0.99559 | -0.030942 | 10.6386
26 | 0.013324 | 0.0033387 | -0.013318 | -0.0033367 | 6.0852e-06 | 2.0211e-06 | 0.019919 | 0.019919 | 0.019919 | 0.99539 | -0.032331 | 0.99492 | -0.035632 | 7.3773
27 | 0.0025463 | 0.00063811 | -0.0025463 | -0.00063815 | 4.6226e-08 | -4.8606e-08 | 0.0038075 | 0.0038075 | 0.0038075 | 0.99512 | -0.034206 | 0.9951 | -0.034337 | 1.4102
28 | -0.021421 | -0.005367 | 0.021428 | 0.0053695 | 6.8473e-06 | 2.4943e-06 | 0.032016 | 0.032016 | 0.032016 | 0.99559 | -0.030942 | 0.99591 | -0.028632 | 11.8578
29 | 0.0081127 | 0.002032 | -0.0081124 | -0.0020319 | 3.2602e-07 | 7.9306e-08 | 0.012133 | 0.012133 | 0.012133 | 0.99492 | -0.035632 | 0.99488 | -0.035923 | 4.4937
30 | -0.023278 | -0.005833 | 0.023294 | 0.0058392 | 1.6814e-05 | 6.1769e-06 | 0.034779 | 0.034779 | 0.034779 | 0.99591 | -0.028632 | 0.99666 | -0.023417 | 12.8812
31 | 0.0066177 | 0.0016573 | -0.0066171 | -0.0016572 | 5.7742e-07 | 9.9435e-08 | 0.0098975 | 0.0098975 | 0.0098975 | 0.99488 | -0.035923 | 0.99479 | -0.036554 | 3.6657
32 | -0.027992 | -0.0070134 | 0.027993 | 0.0070138 | 1.0981e-06 | 4.0931e-07 | 0.041883 | 0.041883 | 0.041883 | 0.99448 | -0.038716 | 0.99452 | -0.038433 | 15.5124
33 | 0.02331 | 0.0058399 | -0.023287 | -0.0058315 | 2.2858e-05 | 8.4013e-06 | 0.034877 | 0.034877 | 0.034877 | 0.99448 | -0.038716 | 0.99347 | -0.045811 | 12.9176
34 | -0.031103 | -0.0077932 | 0.03111 | 0.0077957 | 6.7988e-06 | 2.5496e-06 | 0.046536 | 0.046536 | 0.046536 | 0.99452 | -0.038433 | 0.99474 | -0.036853 | 17.2356
35 | 0.010682 | 0.0026725 | -0.01068 | -0.0026719 | 1.8509e-06 | 5.6185e-07 | 0.015998 | 0.015998 | 0.015998 | 0.99347 | -0.045811 | 0.99329 | -0.047068 | 5.9253
36 | -0.032383 | -0.008115 | 0.032407 | 0.0081238 | 2.3608e-05 | 8.8704e-06 | 0.048441 | 0.048441 | 0.048441 | 0.99474 | -0.036853 | 0.99549 | -0.03159 | 17.9412
37 | 0.00074821 | 0.00018268 | -0.00074791 | -0.00018745 | 2.9516e-07 | -4.7652e-06 | 0.0011192 | 0.0011209 | 0.0011209 | 0.99329 | -0.047068 | 0.99289 | -0.049991 | 0.41514
38 | -0.035624 | -0.0089301 | 0.035648 | 0.0089391 | 2.376e-05 | 8.9637e-06 | 0.05325 | 0.05325 | 0.05325 | 0.99549 | -0.03159 | 0.99617 | -0.026777 | 19.7223
39 | -0.038909 | -0.0097564 | 0.038917 | 0.0097595 | 8.0726e-06 | 3.055e-06 | 0.058122 | 0.058121 | 0.058122 | 0.99617 | -0.026777 | 0.99639 | -0.02528 | 21.5265
40 | -0.077882 | -0.019617 | 0.07798 | 0.019654 | 9.7582e-05 | 3.7387e-05 | 0.11753 | 0.11753 | 0.11753 | 0.98635 | -0.094928 | 0.98762 | -0.085979 | 43.5293
41 | 0.076001 | 0.019146 | -0.075994 | -0.019143 | 7.8816e-06 | 3.0191e-06 | 0.11469 | 0.11469 | 0.11469 | 0.98635 | -0.094928 | 0.98624 | -0.095669 | 42.4783
42 | -0.078681 | -0.01983 | 0.078803 | 0.019877 | 0.00012258 | 4.6966e-05 | 0.11858 | 0.11858 | 0.11858 | 0.98762 | -0.085979 | 0.98921 | -0.074869 | 43.9204
43 | 0.074603 | 0.018794 | -0.074322 | -0.018687 | 0.0002807 | 0.00010751 | 0.11259 | 0.11259 | 0.11259 | 0.98624 | -0.095669 | 0.98242 | -0.12267 | 41.7013
44 | -0.084533 | -0.021313 | 0.08474 | 0.021392 | 0.0002075 | 7.9544e-05 | 0.1272 | 0.1272 | 0.1272 | 0.98921 | -0.074869 | 0.99172 | -0.057393 | 47.1123
45 | 0.024502 | 0.0061467 | -0.024495 | -0.0061441 | 6.9596e-06 | 2.5743e-06 | 0.037115 | 0.037115 | 0.037115 | 0.98242 | -0.12267 | 0.98213 | -0.12472 | 13.7462
46 | 0.04982 | 0.01254 | -0.049746 | -0.012512 | 7.3466e-05 | 2.7995e-05 | 0.075479 | 0.075479 | 0.075479 | 0.98242 | -0.12267 | 0.98092 | -0.13325 | 27.9552
47 | 0.048185 | 0.01212 | -0.048112 | -0.012093 | 7.298e-05 | 2.7794e-05 | 0.07311 | 0.07311 | 0.07311 | 0.98092 | -0.13325 | 0.97939 | -0.14413 | 27.0777
48 | 0.046774 | 0.011757 | -0.046768 | -0.011755 | 5.9994e-06 | 2.2835e-06 | 0.071077 | 0.071077 | 0.071077 | 0.97939 | -0.14413 | 0.97926 | -0.14505 | 26.325
49 | 0.046029 | 0.01157 | -0.046019 | -0.011566 | 1.0441e-05 | 3.9727e-06 | 0.069955 | 0.069955 | 0.069955 | 0.97926 | -0.14505 | 0.97903 | -0.14668 | 25.9093
50 | 0.041396 | 0.010408 | -0.041164 | -0.010319 | 0.00023225 | 8.815e-05 | 0.06293 | 0.06293 | 0.06293 | 0.97903 | -0.14668 | 0.97337 | -0.18718 | 23.3074
51 | 0.035739 | 0.0089597 | -0.035736 | -0.0089585 | 3.2293e-06 | 1.2205e-06 | 0.054636 | 0.054636 | 0.054636 | 0.97337 | -0.18718 | 0.97327 | -0.18783 | 20.2357
52 | -0.14003 | -0.035375 | 0.1402 | 0.035439 | 0.00016791 | 6.4257e-05 | 0.20873 | 0.20873 | 0.20873 | 0.99876 | -0.008514 | 1 | 0 | 38.6535
53 | 0.056287 | 0.014136 | -0.056172 | -0.014092 | 0.00011449 | 4.3691e-05 | 0.083766 | 0.083766 | 0.083766 | 1 | 0 | 0.9979 | -0.014663 | 31.0245
54 | 0.037136 | 0.0093227 | -0.037059 | -0.0092936 | 7.7015e-05 | 2.9092e-05 | 0.055264 | 0.055264 | 0.055264 | 1 | 0 | 0.99786 | -0.014962 | 20.4683
55 | -0.0036592 | -0.00091662 | 0.0036594 | 0.00091657 | 1.7378e-07 | -4.3438e-08 | 0.0055983 | 0.0055983 | 0.0055983 | 0.97258 | -0.19285 | 0.97263 | -0.19251 | 2.0735
56 | 0.0012709 | 0.00031805 | -0.0012709 | -0.00031836 | 6.276e-08 | -3.0598e-07 | 0.0019443 | 0.0019444 | 0.0019444 | 0.97258 | -0.19285 | 0.97253 | -0.19321 | 0.72016
57 | -0.034311 | -0.0085985 | 0.034333 | 0.0086069 | 2.2213e-05 | 8.3832e-06 | 0.052492 | 0.052491 | 0.052492 | 0.97263 | -0.19251 | 0.97327 | -0.18783 | 19.4413
58 | 0.00072597 | 0.00018179 | -0.00072596 | -0.00018194 | 9.4449e-09 | -1.486e-07 | 0.0011107 | 0.0011108 | 0.0011108 | 0.97253 | -0.19321 | 0.97251 | -0.1933 | 0.4114
59 | -0.04202 | -0.010537 | 0.042076 | 0.010558 | 5.5106e-05 | 2.0902e-05 | 0.062756 | 0.062756 | 0.062756 | 0.99639 | -0.02528 | 0.99774 | -0.015831 | 23.2429
60 | -0.04985 | -0.012506 | 0.049858 | 0.01251 | 8.0774e-06 | 3.0761e-06 | 0.07435 | 0.07435 | 0.07435 | 0.99774 | -0.015831 | 0.9979 | -0.014663 | 27.537
61 | 0.0052554 | 0.0013159 | -0.0052539 | -0.0013158 | 1.4824e-06 | 7.1156e-08 | 0.0078607 | 0.0078608 | 0.0078608 | 0.99479 | -0.036554 | 0.9945 | -0.038595 | 2.9114
62 | 0.0023971 | 0.00059987 | -0.0023968 | -0.00060024 | 3.0212e-07 | -3.7214e-07 | 0.0035864 | 0.0035866 | 0.0035866 | 0.9945 | -0.038595 | 0.99437 | -0.039508 | 1.3284
63 | 0.0010783 | 0.0002698 | -0.0010783 | -0.00026984 | 5.5306e-09 | -4.2034e-08 | 0.0016135 | 0.0016135 | 0.0016135 | 0.99437 | -0.039508 | 0.99436 | -0.039545 | 0.5976
64 | 0.00032167 | 8.0199e-05 | -0.00032166 | -8.0617e-05 | 4.669e-09 | -4.1722e-07 | 0.00048121 | 0.00048136 | 0.00048136 | 0.99436 | -0.039545 | 0.99435 | -0.03965 | 0.17828
65 | 0.035381 | 0.0088731 | -0.035362 | -0.0088658 | 1.9401e-05 | 7.3161e-06 | 0.052763 | 0.052763 | 0.052763 | 0.99786 | -0.014962 | 0.9973 | -0.01892 | 19.5417
66 | 0.029301 | 0.0073467 | -0.029283 | -0.0073402 | 1.7324e-05 | 6.4736e-06 | 0.043719 | 0.043719 | 0.043719 | 0.9973 | -0.01892 | 0.99669 | -0.023189 | 16.1923
67 | 0.028569 | 0.0071611 | -0.028568 | -0.0071608 | 8.9981e-07 | 3.3575e-07 | 0.042652 | 0.042652 | 0.042652 | 0.99669 | -0.023189 | 0.99666 | -0.023417 | 15.7972

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.23442 | 0.058898

## res_load
| p_mw | q_mvar
0 | 0.0011971 | 0.00030001
1 | 0.0015917 | 0.00039892
2 | 0.0033071 | 0.00082884
3 | 0.0065509 | 0.0016418
4 | 0.0033036 | 0.00082797
5 | 0.0040054 | 0.0010038
6 | 0.00369 | 0.0009248
7 | 0.0016461 | 0.00041255
8 | 0.003104 | 0.00077793
9 | 0.0071037 | 0.0017803
10 | 0.0071124 | 0.0017825
11 | 0.0068864 | 0.0017259
12 | 0.0019115 | 0.00047907
13 | 0.0094341 | 0.0023644
14 | 0.00046154 | 0.00011567
15 | 0.00040785 | 0.00010222
16 | 0.0010057 | 0.00025205
17 | 0.0012984 | 0.0003254
18 | 0.00093879 | 0.00023528
19 | 0.0011876 | 0.00029765
20 | 0.0012164 | 0.00030485
21 | 0.0022024 | 0.00055198
22 | 0.0052057 | 0.0013047
23 | 0.0025463 | 0.00063815
24 | 0.0018495 | 0.00046353
25 | 0.0014947 | 0.00037462
26 | 0.0046824 | 0.0011735
27 | 0.0031096 | 0.00077934
28 | 0.012605 | 0.003159
29 | 0.0012737 | 0.00031922
30 | 0.0099322 | 0.0024892
31 | 0.0032173 | 0.00080632
32 | 0.00074791 | 0.00018745
33 | 0.0032611 | 0.00081732
34 | 0.0018809 | 0.00047141
35 | 0.0007009 | 0.00017566
36 | 0.0013905 | 0.0003485
37 | 0.0057293 | 0.0014359
38 | 0.0050085 | 0.0012552
39 | 0.0030385 | 0.00076153
40 | 0.0015619 | 0.00039144
41 | 0.0013378 | 0.00033527
42 | 0.00073854 | 0.00018509
43 | 0.0046225 | 0.0011585
44 | 0.0054251 | 0.0013597
45 | 0.0067162 | 0.0016832
46 | 0.0023883 | 0.00059856
47 | 0.030651 | 0.0076819
48 | 0.0005449 | 0.00013657
49 | 0.001403 | 0.00035162
50 | 0.00072596 | 0.00018194
51 | 0.0031032 | 0.00077773
52 | 0.007774 | 0.0019483
53 | 0.0063148 | 0.0015826
54 | 0.0013617 | 0.00034128
55 | 0.0028568 | 0.00071597
56 | 0.0013185 | 0.00033045
57 | 0.00075666 | 0.00018964
58 | 0.0016778 | 0.0004205
59 | 0.0060611 | 0.001519
60 | 0.00071458 | 0.00017909
61 | 0.0052733 | 0.0013216
62 | 0.00032166 | 8.0617e-05

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1