## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2404-7_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2404-7_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2404-7_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2404-7_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2404-7_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2404-7_0_3_node_61 | 0.4 | n |  | TRUE
6 | bus_LV_2404-7_0_3_node_26 | 0.4 | n |  | TRUE
7 | bus_LV_2404-7_0_3_node_62 | 0.4 | n |  | TRUE
8 | bus_LV_2404-7_0_3_node_67 | 0.4 | n |  | TRUE
9 | bus_LV_2404-7_0_3_node_25 | 0.4 | n |  | TRUE
10 | bus_LV_2404-7_0_3_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_2404-7_0_3_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_2404-7_0_3_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_2404-7_0_3_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_2404-7_0_3_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_2404-7_0_3_node_53 | 0.4 | n |  | TRUE
16 | bus_LV_2404-7_0_3_node_27 | 0.4 | n |  | TRUE
17 | bus_LV_2404-7_0_3_node_59 | 0.4 | n |  | TRUE
18 | bus_LV_2404-7_0_3_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_2404-7_0_3_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_2404-7_0_3_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_2404-7_0_3_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_2404-7_0_3_node_30 | 0.4 | n |  | TRUE
23 | bus_LV_2404-7_0_3_node_28 | 0.4 | n |  | TRUE
24 | bus_LV_2404-7_0_3_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_2404-7_0_3_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_2404-7_0_3_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_2404-7_0_3_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_2404-7_0_3_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_2404-7_0_3_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_2404-7_0_3_node_38 | 0.4 | n |  | TRUE
31 | bus_LV_2404-7_0_3_node_35 | 0.4 | n |  | TRUE
32 | bus_LV_2404-7_0_3_node_34 | 0.4 | n |  | TRUE
33 | bus_LV_2404-7_0_3_node_47 | 0.4 | n |  | TRUE
34 | bus_LV_2404-7_0_3_node_69 | 0.4 | n |  | TRUE
35 | bus_LV_2404-7_0_3_node_36 | 0.4 | n |  | TRUE
36 | bus_LV_2404-7_0_3_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_2404-7_0_3_node_49 | 0.4 | n |  | TRUE
38 | bus_LV_2404-7_0_3_node_45 | 0.4 | n |  | TRUE
39 | bus_LV_2404-7_0_3_node_20 | 0.4 | n |  | TRUE
40 | bus_LV_2404-7_0_3_node_21 | 0.4 | n |  | TRUE
41 | bus_LV_2404-7_0_3_node_22 | 0.4 | n |  | TRUE
42 | bus_LV_2404-7_0_3_node_23 | 0.4 | n |  | TRUE
43 | bus_LV_2404-7_0_3_node_64 | 0.4 | n |  | TRUE
44 | bus_LV_2404-7_0_3_node_24 | 0.4 | n |  | TRUE
45 | bus_LV_2404-7_0_3_node_56 | 0.4 | n |  | TRUE
46 | bus_LV_2404-7_0_3_node_29 | 0.4 | n |  | TRUE
47 | bus_LV_2404-7_0_3_node_54 | 0.4 | n |  | TRUE
48 | bus_LV_2404-7_0_3_node_60 | 0.4 | n |  | TRUE
49 | bus_LV_2404-7_0_3_node_55 | 0.4 | n |  | TRUE
50 | bus_LV_2404-7_0_3_node_31 | 0.4 | n |  | TRUE
51 | bus_LV_2404-7_0_3_node_32 | 0.4 | n |  | TRUE
52 | bus_LV_2404-7_0_3_node_37 | 0.4 | n |  | TRUE
53 | bus_LV_2404-7_0_3_node_40 | 0.4 | n |  | TRUE
54 | bus_LV_2404-7_0_3_node_39 | 0.4 | n |  | TRUE
55 | bus_LV_2404-7_0_3_node_41 | 0.4 | n |  | TRUE
56 | bus_LV_2404-7_0_3_node_42 | 0.4 | n |  | TRUE
57 | bus_LV_2404-7_0_3_node_43 | 0.4 | n |  | TRUE
58 | bus_LV_2404-7_0_3_node_57 | 0.4 | n |  | TRUE
59 | bus_LV_2404-7_0_3_node_63 | 0.4 | n |  | TRUE
60 | bus_LV_2404-7_0_3_node_58 | 0.4 | n |  | TRUE
61 | bus_LV_2404-7_0_3_node_44 | 0.4 | n |  | TRUE
62 | bus_LV_2404-7_0_3_node_46 | 0.4 | n |  | TRUE
63 | bus_LV_2404-7_0_3_node_48 | 0.4 | n |  | TRUE
64 | bus_LV_2404-7_0_3_node_51 | 0.4 | n |  | TRUE
65 | bus_LV_2404-7_0_3_node_50 | 0.4 | n |  | TRUE
66 | bus_LV_2404-7_0_3_node_66 | 0.4 | n |  | TRUE
67 | bus_LV_2404-7_0_3_node_70 | 0.4 | n |  | TRUE
68 | bus_MV_334_0_node_129 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2404-7_0_3_load_0 | 0 | 0.0085737 | 0.0021488 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2404-7_0_3_load_1 | 1 | 0.0011483 | 0.00028778 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2404-7_0_3_load_2 | 2 | 0.0026801 | 0.0006717 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2404-7_0_3_load_3 | 3 | 0.00056563 | 0.00014176 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2404-7_0_3_load_4 | 4 | 0.006748 | 0.0016912 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2404-7_0_3_load_61 | 5 | 0.0050326 | 0.0012613 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2404-7_0_3_load_62 | 7 | 0.0017052 | 0.00042737 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2404-7_0_3_load_67 | 8 | 0.011771 | 0.00295 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2404-7_0_3_load_5 | 10 | 0.0019332 | 0.0004845 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2404-7_0_3_load_6 | 11 | 0.011708 | 0.0029342 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2404-7_0_3_load_7 | 12 | 0.0077845 | 0.001951 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2404-7_0_3_load_8 | 13 | 0.0016162 | 0.00040507 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2404-7_0_3_load_9 | 14 | 0.002667 | 0.00066842 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2404-7_0_3_load_53 | 15 | 0.001613 | 0.00040425 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2404-7_0_3_load_27 | 16 | 0.0036304 | 0.00090988 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2404-7_0_3_load_59 | 17 | 0.0098622 | 0.0024717 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2404-7_0_3_load_10 | 18 | 0.0026919 | 0.00067465 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2404-7_0_3_load_11 | 19 | 0.0024528 | 0.00061473 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2404-7_0_3_load_12 | 20 | 0.0005896 | 0.00014777 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2404-7_0_3_load_13 | 21 | 0.0020817 | 0.00052173 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2404-7_0_3_load_30 | 22 | 0.0032955 | 0.00082593 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2404-7_0_3_load_14 | 24 | 0.0042491 | 0.0010649 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2404-7_0_3_load_18 | 28 | 0.025519 | 0.0063957 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2404-7_0_3_load_19 | 29 | 0.0023301 | 0.00058398 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2404-7_0_3_load_38 | 30 | 0.0071009 | 0.0017796 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2404-7_0_3_load_35 | 31 | 0.014257 | 0.0035731 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2404-7_0_3_load_34 | 32 | 0.004379 | 0.0010975 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2404-7_0_3_load_69 | 34 | 0.0063849 | 0.0016002 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2404-7_0_3_load_36 | 35 | 0.0015488 | 0.00038817 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2404-7_0_3_load_33 | 36 | 0.0037326 | 0.00093547 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2404-7_0_3_load_49 | 37 | 0.0020498 | 0.00051373 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2404-7_0_3_load_45 | 38 | 0.00043879 | 0.00010997 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2404-7_0_3_load_20 | 39 | 0.00035287 | 8.8438e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2404-7_0_3_load_21 | 40 | 0.002698 | 0.00067617 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2404-7_0_3_load_23 | 42 | 0.00079678 | 0.00019969 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2404-7_0_3_load_64 | 43 | 0.0030746 | 0.00077056 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2404-7_0_3_load_24 | 44 | 0.0026883 | 0.00067375 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2404-7_0_3_load_56 | 45 | 0.0046118 | 0.0011558 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2404-7_0_3_load_54 | 47 | 0.0010916 | 0.00027357 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2404-7_0_3_load_60 | 48 | 0.0012991 | 0.0003256 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2404-7_0_3_load_55 | 49 | 0.0013103 | 0.00032839 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2404-7_0_3_load_31 | 50 | 0.015625 | 0.0039159 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2404-7_0_3_load_32 | 51 | 0.0069 | 0.0017293 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2404-7_0_3_load_37 | 52 | 0.0023144 | 0.00058003 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2404-7_0_3_load_40 | 53 | 0.0012273 | 0.00030759 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2404-7_0_3_load_39 | 54 | 0.0014087 | 0.00035305 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2404-7_0_3_load_42 | 56 | 0.00067813 | 0.00016996 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2404-7_0_3_load_43 | 57 | 0.0020269 | 0.00050799 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2404-7_0_3_load_57 | 58 | 0.00060211 | 0.0001509 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2404-7_0_3_load_63 | 59 | 0.0061896 | 0.0015513 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2404-7_0_3_load_58 | 60 | 0.0059437 | 0.0014896 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2404-7_0_3_load_44 | 61 | 0.0035919 | 0.00090022 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2404-7_0_3_load_46 | 62 | 0.0016895 | 0.00042342 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2404-7_0_3_load_48 | 63 | 0.00060913 | 0.00015266 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2404-7_0_3_load_51 | 64 | 0.00075496 | 0.00018921 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2404-7_0_3_load_50 | 65 | 0.001181 | 0.00029598 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2404-7_0_3_load_66 | 66 | 0.005413 | 0.0013566 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2404-7_0_3_load_70 | 67 | 0.0027706 | 0.00069437 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 35 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2404-7_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.00060837 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2404-7_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.022261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2404-7_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0010329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2404-7_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0015223 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2404-7_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.0079558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2404-7_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.032274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2404-7_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.0078588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2404-7_0_3_line_7 | NAYY 4x150 SE | 6 | 8 | 0.096163 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2404-7_0_3_line_8 | NAYY 4x150 SE | 6 | 9 | 0.007795 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2404-7_0_3_line_9 | NAYY 4x150 SE | 7 | 66 | 0.022721 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2404-7_0_3_line_10 | NAYY 4x150 SE | 9 | 45 | 0.026051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2404-7_0_3_line_11 | NAYY 4x150 SE | 9 | 41 | 0.012119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2404-7_0_3_line_12 | NAYY 4x150 SE | 10 | 11 | 0.0035108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2404-7_0_3_line_13 | NAYY 4x150 SE | 10 | 12 | 0.013459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2404-7_0_3_line_14 | NAYY 4x150 SE | 11 | 13 | 0.013504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2404-7_0_3_line_15 | NAYY 4x150 SE | 12 | 14 | 0.0039398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2404-7_0_3_line_16 | NAYY 4x150 SE | 13 | 15 | 0.028412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2404-7_0_3_line_17 | NAYY 4x150 SE | 14 | 16 | 0.016079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2404-7_0_3_line_18 | NAYY 4x150 SE | 16 | 17 | 0.0032872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2404-7_0_3_line_19 | NAYY 4x150 SE | 17 | 48 | 0.021817 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2404-7_0_3_line_20 | NAYY 4x150 SE | 18 | 19 | 0.020005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2404-7_0_3_line_21 | NAYY 4x150 SE | 18 | 20 | 0.020756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2404-7_0_3_line_22 | NAYY 4x150 SE | 19 | 21 | 0.01172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2404-7_0_3_line_23 | NAYY 4x150 SE | 21 | 22 | 0.002117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2404-7_0_3_line_24 | NAYY 4x150 SE | 22 | 23 | 0.01474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2404-7_0_3_line_25 | NAYY 4x150 SE | 23 | 46 | 0.015417 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2404-7_0_3_line_26 | NAYY 4x150 SE | 23 | 44 | 0.032537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2404-7_0_3_line_27 | NAYY 4x150 SE | 24 | 25 | 0.017292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2404-7_0_3_line_28 | NAYY 4x150 SE | 24 | 26 | 0.016992 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2404-7_0_3_line_29 | NAYY 4x150 SE | 25 | 27 | 0.002749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2404-7_0_3_line_30 | NAYY 4x150 SE | 25 | 28 | 0.021739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2404-7_0_3_line_31 | NAYY 4x150 SE | 26 | 29 | 0.022364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2404-7_0_3_line_32 | NAYY 4x150 SE | 27 | 30 | 0.013382 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2404-7_0_3_line_33 | NAYY 4x150 SE | 27 | 31 | 0.013844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2404-7_0_3_line_34 | NAYY 4x150 SE | 28 | 32 | 0.044929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2404-7_0_3_line_35 | NAYY 4x150 SE | 29 | 33 | 0.013089 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2404-7_0_3_line_36 | NAYY 4x150 SE | 30 | 34 | 0.02118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2404-7_0_3_line_37 | NAYY 4x150 SE | 31 | 35 | 0.040538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2404-7_0_3_line_38 | NAYY 4x150 SE | 32 | 36 | 0.0028812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2404-7_0_3_line_39 | NAYY 4x150 SE | 33 | 37 | 0.035414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2404-7_0_3_line_40 | NAYY 4x150 SE | 33 | 38 | 0.020207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2404-7_0_3_line_41 | NAYY 4x150 SE | 35 | 52 | 0.013757 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
42 | LV_2404-7_0_3_line_42 | NAYY 4x150 SE | 36 | 51 | 0.030794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2404-7_0_3_line_43 | NAYY 4x150 SE | 37 | 65 | 0.031278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2404-7_0_3_line_44 | NAYY 4x150 SE | 38 | 61 | 0.0073755 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2404-7_0_3_line_45 | NAYY 4x150 SE | 39 | 40 | 0.012963 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_2404-7_0_3_line_46 | NAYY 4x150 SE | 39 | 41 | 0.017607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_2404-7_0_3_line_47 | NAYY 4x150 SE | 40 | 42 | 0.0064217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_2404-7_0_3_line_48 | NAYY 4x150 SE | 42 | 43 | 0.006124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_2404-7_0_3_line_49 | NAYY 4x150 SE | 45 | 47 | 0.016437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_2404-7_0_3_line_50 | NAYY 4x150 SE | 46 | 49 | 0.011552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_2404-7_0_3_line_51 | NAYY 4x150 SE | 47 | 49 | 0.015589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_2404-7_0_3_line_52 | NAYY 4x150 SE | 48 | 59 | 0.0054391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_2404-7_0_3_line_53 | NAYY 4x150 SE | 50 | 51 | 0.01287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_2404-7_0_3_line_54 | NAYY 4x150 SE | 52 | 53 | 0.0012261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
55 | LV_2404-7_0_3_line_55 | NAYY 4x150 SE | 53 | 54 | 0.0043484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
56 | LV_2404-7_0_3_line_56 | NAYY 4x150 SE | 54 | 55 | 0.01765 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
57 | LV_2404-7_0_3_line_57 | NAYY 4x150 SE | 55 | 56 | 0.019436 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_2404-7_0_3_line_58 | NAYY 4x150 SE | 55 | 57 | 0.0025523 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_2404-7_0_3_line_59 | NAYY 4x150 SE | 56 | 58 | 0.0080187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_2404-7_0_3_line_60 | NAYY 4x150 SE | 57 | 59 | 0.016869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_2404-7_0_3_line_61 | NAYY 4x150 SE | 58 | 60 | 0.022004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_2404-7_0_3_line_62 | NAYY 4x150 SE | 60 | 66 | 0.0080917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_2404-7_0_3_line_63 | NAYY 4x150 SE | 61 | 62 | 0.024196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_2404-7_0_3_line_64 | NAYY 4x150 SE | 62 | 63 | 0.0072477 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_2404-7_0_3_line_65 | NAYY 4x150 SE | 63 | 64 | 0.012792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_2404-7_0_3_line_66 | NAYY 4x150 SE | 66 | 67 | 0.057818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2404-7_0_3_trafo_36 | 0.25 MVA 20/0.4 kV | 68 | 35 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2626872.6128 | 1239088.6846 | 2626872.0923 | 1239088.3697
1 | 2626872.6128 | 1239088.6846 | 2626891.6591 | 1239100.2079
2 | 2626871.2085 | 1239087.835 | 2626872.0923 | 1239088.3697
3 | 2626892.9616 | 1239100.9959 | 2626891.6591 | 1239100.2079
4 | 2626871.2085 | 1239087.835 | 2626864.4016 | 1239083.7168
5 | 2626920.5727 | 1239117.7068 | 2626908.8069 | 1239110.5825 | 2626892.9616 | 1239100.9959
6 | 2626864.4016 | 1239083.7168 | 2626857.6777 | 1239079.6487
7 | 2626920.5727 | 1239117.7068 | 2626977.8467 | 1239040.4602
8 | 2626926.8439 | 1239122.3603 | 2626920.5727 | 1239117.7068
9 | 2626838.2376 | 1239067.8873 | 2626857.6777 | 1239079.6487
10 | 2626926.8439 | 1239122.3603 | 2626943.7894 | 1239134.6781 | 2626947.7729 | 1239137.8656
11 | 2626926.8439 | 1239122.3603 | 2626923.5004 | 1239127.5373 | 2626923.602 | 1239133.4971
12 | 2626716.4481 | 1238997.0523 | 2626713.2901 | 1238995.5185
13 | 2626716.4481 | 1238997.0523 | 2626728.5552 | 1239002.9324
14 | 2626713.2901 | 1238995.5185 | 2626709.4305 | 1238993.6441 | 2626700.8589 | 1238990.2663
15 | 2626732.0992 | 1239004.6536 | 2626728.5552 | 1239002.9324
16 | 2626700.8589 | 1238990.2663 | 2626692.6778 | 1238987.0425 | 2626673.83 | 1238981.5987
17 | 2626746.3639 | 1239012.0409 | 2626742.7031 | 1239009.8037 | 2626732.0992 | 1239004.6536
18 | 2626746.3639 | 1239012.0409 | 2626749.1688 | 1239013.7551
19 | 2626767.7843 | 1239025.132 | 2626749.1688 | 1239013.7551
20 | 2626941.5009 | 1239214.8098 | 2626954.1313 | 1239199.2964
21 | 2626928.3965 | 1239230.9054 | 2626941.5009 | 1239214.8098
22 | 2626961.5595 | 1239190.2305 | 2626956.898 | 1239195.8981 | 2626954.1313 | 1239199.2964
23 | 2626961.5595 | 1239190.2305 | 2626962.9042 | 1239188.5955
24 | 2626972.2671 | 1239177.2116 | 2626962.9042 | 1239188.5955
25 | 2626981.7983 | 1239165.0917 | 2626979.3581 | 1239167.8601 | 2626976.0698 | 1239172.5259 | 2626972.2671 | 1239177.2116
26 | 2626972.2671 | 1239177.2116 | 2626965.9999 | 1239171.6909 | 2626956.7997 | 1239164.2 | 2626946.9792 | 1239156.759
27 | 2626844.4971 | 1238962.0989 | 2626854.3345 | 1238947.8773
28 | 2626864.0011 | 1238933.9026 | 2626854.3345 | 1238947.8773
29 | 2626844.4971 | 1238962.0989 | 2626842.9968 | 1238964.4047
30 | 2626844.4971 | 1238962.0989 | 2626826.0565 | 1238950.5874
31 | 2626864.0011 | 1238933.9026 | 2626876.6796 | 1238915.4794
32 | 2626842.9968 | 1238964.4047 | 2626854.421 | 1238971.3741
33 | 2626842.9968 | 1238964.4047 | 2626834.7308 | 1238975.5095
34 | 2626826.0565 | 1238950.5874 | 2626787.9438 | 1238926.7957
35 | 2626884.0997 | 1238904.6973 | 2626876.6796 | 1238915.4794
36 | 2626872.5021 | 1238982.4047 | 2626854.421 | 1238971.3741
37 | 2626834.7308 | 1238975.5095 | 2626810.5258 | 1239008.0275
38 | 2626785.4997 | 1238925.27 | 2626787.9438 | 1238926.7957
39 | 2626884.0997 | 1238904.6973 | 2626904.0088 | 1238875.4095
40 | 2626884.0997 | 1238904.6973 | 2626877.3982 | 1238896.4619 | 2626874.97 | 1238888.1902 | 2626874.8581 | 1238887.2275
41 | 2626802.5054 | 1239019.2044 | 2626809.7981 | 1239009.0051 | 2626810.5258 | 1239008.0275
42 | 2626759.378 | 1238908.9636 | 2626785.4997 | 1238925.27
43 | 2626904.0088 | 1238875.4095 | 2626921.593 | 1238849.5419
44 | 2626874.0066 | 1238879.9013 | 2626874.8581 | 1238887.2275
45 | 2626900.607 | 1239149.3309 | 2626908.343 | 1239138.9294
46 | 2626923.602 | 1239133.4971 | 2626916.4498 | 1239132.9866 | 2626911.1764 | 1239135.1197 | 2626908.343 | 1239138.9294
47 | 2626900.607 | 1239149.3309 | 2626896.7747 | 1239154.4837
48 | 2626893.12 | 1239159.3977 | 2626896.7747 | 1239154.4837
49 | 2626960.6068 | 1239148.1349 | 2626947.7729 | 1239137.8656
50 | 2626981.7983 | 1239165.0917 | 2626972.7786 | 1239157.8744
51 | 2626960.6068 | 1239148.1349 | 2626972.7786 | 1239157.8744
52 | 2626767.7843 | 1239025.132 | 2626772.4253 | 1239027.9683
53 | 2626759.378 | 1238908.9636 | 2626748.4603 | 1238902.1483
54 | 2626801.7923 | 1239020.2017 | 2626802.5054 | 1239019.2044
55 | 2626799.2631 | 1239023.7389 | 2626801.7923 | 1239020.2017
56 | 2626788.9973 | 1239038.0963 | 2626799.2631 | 1239023.7389
57 | 2626788.9973 | 1239038.0963 | 2626805.6271 | 1239048.1575
58 | 2626788.9973 | 1239038.0963 | 2626786.8195 | 1239036.7653
59 | 2626805.6271 | 1239048.1575 | 2626812.4879 | 1239052.3084
60 | 2626772.4253 | 1239027.9683 | 2626786.8195 | 1239036.7653
61 | 2626831.3144 | 1239063.6986 | 2626812.4879 | 1239052.3084
62 | 2626838.2376 | 1239067.8873 | 2626831.3144 | 1239063.6986
63 | 2626874.0066 | 1238879.9013 | 2626871.2133 | 1238855.8673
64 | 2626870.3766 | 1238848.668 | 2626871.2133 | 1238855.8673
65 | 2626870.3766 | 1238848.668 | 2626868.8998 | 1238835.9614
66 | 2626838.2376 | 1239067.8873 | 2626816.4682 | 1239121.4501

## bus_geodata
| x | y | coords
0 | 2626872.6128 | 1239088.6846
1 | 2626872.0923 | 1239088.3697
2 | 2626891.6591 | 1239100.2079
3 | 2626871.2085 | 1239087.835
4 | 2626892.9616 | 1239100.9959
5 | 2626864.4016 | 1239083.7168
6 | 2626920.5727 | 1239117.7068
7 | 2626857.6777 | 1239079.6487
8 | 2626977.8467 | 1239040.4602
9 | 2626926.8439 | 1239122.3603
10 | 2626716.4481 | 1238997.0523
11 | 2626713.2901 | 1238995.5186
12 | 2626728.5552 | 1239002.9324
13 | 2626700.8589 | 1238990.2663
14 | 2626732.0992 | 1239004.6536
15 | 2626673.83 | 1238981.5987
16 | 2626746.3639 | 1239012.0409
17 | 2626749.1688 | 1239013.7551
18 | 2626941.5009 | 1239214.8098
19 | 2626954.1313 | 1239199.2964
20 | 2626928.3965 | 1239230.9054
21 | 2626961.5595 | 1239190.2305
22 | 2626962.9042 | 1239188.5955
23 | 2626972.2671 | 1239177.2116
24 | 2626854.3345 | 1238947.8773
25 | 2626844.4971 | 1238962.0989
26 | 2626864.0011 | 1238933.9026
27 | 2626842.9968 | 1238964.4047
28 | 2626826.0565 | 1238950.5874
29 | 2626876.6796 | 1238915.4794
30 | 2626854.421 | 1238971.3741
31 | 2626834.7308 | 1238975.5095
32 | 2626787.9438 | 1238926.7957
33 | 2626884.0997 | 1238904.6973
34 | 2626872.5021 | 1238982.4047
35 | 2626810.5258 | 1239008.0275
36 | 2626785.4997 | 1238925.27
37 | 2626904.0088 | 1238875.4095
38 | 2626874.8581 | 1238887.2275
39 | 2626908.343 | 1239138.9294
40 | 2626900.607 | 1239149.3309
41 | 2626923.602 | 1239133.4971
42 | 2626896.7747 | 1239154.4837
43 | 2626893.12 | 1239159.3977
44 | 2626946.9792 | 1239156.759
45 | 2626947.7729 | 1239137.8656
46 | 2626981.7983 | 1239165.0917
47 | 2626960.6068 | 1239148.1349
48 | 2626767.7843 | 1239025.132
49 | 2626972.7786 | 1239157.8744
50 | 2626748.4603 | 1238902.1483
51 | 2626759.378 | 1238908.9636
52 | 2626802.5054 | 1239019.2044
53 | 2626801.7923 | 1239020.2017
54 | 2626799.2631 | 1239023.7389
55 | 2626788.9973 | 1239038.0963
56 | 2626805.6271 | 1239048.1575
57 | 2626786.8195 | 1239036.7653
58 | 2626812.4879 | 1239052.3084
59 | 2626772.4253 | 1239027.9683
60 | 2626831.3144 | 1239063.6986
61 | 2626874.0066 | 1238879.9013
62 | 2626871.2133 | 1238855.8673
63 | 2626870.3766 | 1238848.668
64 | 2626868.8998 | 1238835.9614
65 | 2626921.593 | 1238849.5419
66 | 2626838.2376 | 1239067.8873
67 | 2626816.4682 | 1239121.4501
68 | 2626788.9973 | 1239038.0963

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98605 | -0.097578 | 0.0085737 | 0.0021488
1 | 0.9861 | -0.097218 | 0.0011483 | 0.00028778
2 | 0.98447 | -0.10879 | 0.0026801 | 0.0006717
3 | 0.98619 | -0.096596 | 0.00056563 | 0.00014176
4 | 0.98437 | -0.10951 | 0.006748 | 0.0016912
5 | 0.98687 | -0.091761 | 0.0050326 | 0.0012613
6 | 0.98251 | -0.12268 | 0 | 0
7 | 0.98761 | -0.086587 | 0.0017052 | 0.00042737
8 | 0.98087 | -0.13441 | 0.011771 | 0.00295
9 | 0.9822 | -0.12492 | 0 | 0
10 | 0.99223 | -0.054356 | 0.0019332 | 0.0004845
11 | 0.99215 | -0.054888 | 0.011708 | 0.0029342
12 | 0.99255 | -0.052054 | 0.0077845 | 0.001951
13 | 0.99209 | -0.05533 | 0.0016162 | 0.00040507
14 | 0.99269 | -0.05107 | 0.002667 | 0.00066842
15 | 0.99202 | -0.055795 | 0.001613 | 0.00040425
16 | 0.99332 | -0.046623 | 0.0036304 | 0.00090988
17 | 0.99347 | -0.045593 | 0.0098622 | 0.0024717
18 | 0.97968 | -0.14287 | 0.0026919 | 0.00067465
19 | 0.97978 | -0.14219 | 0.0024528 | 0.00061473
20 | 0.97967 | -0.143 | 0.0005896 | 0.00014777
21 | 0.97988 | -0.14149 | 0.0020817 | 0.00052173
22 | 0.9799 | -0.14131 | 0.0032955 | 0.00082593
23 | 0.98014 | -0.13961 | 0 | 0
24 | 0.99168 | -0.058162 | 0.0042491 | 0.0010649
25 | 0.9921 | -0.055195 | 0 | 0
26 | 0.99137 | -0.060346 | 0 | 0
27 | 0.99239 | -0.053159 | 0 | 0
28 | 0.99034 | -0.067597 | 0.025519 | 0.0063957
29 | 0.99097 | -0.063223 | 0.0023301 | 0.00058398
30 | 0.99213 | -0.054988 | 0.0071009 | 0.0017796
31 | 0.99412 | -0.041035 | 0.014257 | 0.0035731
32 | 0.98836 | -0.081635 | 0.004379 | 0.0010975
33 | 0.99077 | -0.064597 | 0 | 0
34 | 0.99194 | -0.05636 | 0.0063849 | 0.0016002
35 | 1 | 0 | -0.24081 | -0.060482
36 | 0.98825 | -0.082408 | 0.0037326 | 0.00093547
37 | 0.99061 | -0.065762 | 0.0020498 | 0.00051373
38 | 0.99057 | -0.066054 | 0.00043879 | 0.00010997
39 | 0.9819 | -0.12705 | 0.00035287 | 8.8438e-05
40 | 0.98178 | -0.12793 | 0.002698 | 0.00067617
41 | 0.98208 | -0.12579 | 0 | 0
42 | 0.98174 | -0.12819 | 0.00079678 | 0.00019969
43 | 0.98171 | -0.12838 | 0.0030746 | 0.00077056
44 | 0.98001 | -0.14052 | 0.0026883 | 0.00067375
45 | 0.98141 | -0.13054 | 0.0046118 | 0.0011558
46 | 0.98045 | -0.1374 | 0 | 0
47 | 0.98102 | -0.1333 | 0.0010916 | 0.00027357
48 | 0.99475 | -0.036599 | 0.0012991 | 0.0003256
49 | 0.98068 | -0.13574 | 0.0013103 | 0.00032839
50 | 0.98696 | -0.091564 | 0.015625 | 0.0039159
51 | 0.98725 | -0.089505 | 0.0069 | 0.0017293
52 | 0.99864 | -0.0093984 | 0.0023144 | 0.00058003
53 | 0.99852 | -0.010223 | 0.0012273 | 0.00030759
54 | 0.99811 | -0.013123 | 0.0014087 | 0.00035305
55 | 0.99643 | -0.024792 | 0 | 0
56 | 0.99414 | -0.040736 | 0.00067813 | 0.00016996
57 | 0.99625 | -0.026083 | 0.0020269 | 0.00050799
58 | 0.9932 | -0.04728 | 0.00060211 | 0.0001509
59 | 0.99508 | -0.034289 | 0.0061896 | 0.0015513
60 | 0.99065 | -0.065166 | 0.0059437 | 0.0014896
61 | 0.9905 | -0.066553 | 0.0035919 | 0.00090022
62 | 0.99039 | -0.067305 | 0.0016895 | 0.00042342
63 | 0.99038 | -0.067406 | 0.00060913 | 0.00015266
64 | 0.99036 | -0.067505 | 0.00075496 | 0.00018921
65 | 0.99056 | -0.066138 | 0.001181 | 0.00029598
66 | 0.98978 | -0.071276 | 0.005413 | 0.0013566
67 | 0.98955 | -0.07291 | 0.0027706 | 0.00069437
68 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.057732 | -0.014494 | 0.057734 | 0.014495 | 2.8819e-06 | 1.1007e-06 | 0.08713 | 0.08713 | 0.08713 | 0.98605 | -0.097578 | 0.9861 | -0.097218 | 32.2702
1 | 0.049158 | 0.012345 | -0.049081 | -0.012316 | 7.646e-05 | 2.9124e-05 | 0.074191 | 0.074191 | 0.074191 | 0.98605 | -0.097578 | 0.98447 | -0.10879 | 27.4783
2 | -0.058883 | -0.014783 | 0.058888 | 0.014785 | 5.0896e-06 | 1.9444e-06 | 0.088862 | 0.088862 | 0.088862 | 0.9861 | -0.097218 | 0.98619 | -0.096596 | 32.912
3 | 0.046401 | 0.011644 | -0.046397 | -0.011642 | 4.6734e-06 | 1.7781e-06 | 0.07014 | 0.07014 | 0.07014 | 0.98447 | -0.10879 | 0.98437 | -0.10951 | 25.9779
4 | -0.059453 | -0.014926 | 0.059493 | 0.014942 | 3.9958e-05 | 1.5267e-05 | 0.089716 | 0.089716 | 0.089716 | 0.98619 | -0.096596 | 0.98687 | -0.091761 | 33.228
5 | 0.039649 | 0.0099511 | -0.039576 | -0.0099237 | 7.2356e-05 | 2.742e-05 | 0.05994 | 0.05994 | 0.05994 | 0.98437 | -0.10951 | 0.98251 | -0.12268 | 22.2
6 | -0.064526 | -0.016203 | 0.064572 | 0.016221 | 4.643e-05 | 1.7757e-05 | 0.097304 | 0.097304 | 0.097304 | 0.98687 | -0.091761 | 0.98761 | -0.086587 | 36.0385
7 | 0.01179 | 0.0029562 | -0.011771 | -0.00295 | 1.9133e-05 | 6.143e-06 | 0.017856 | 0.017857 | 0.017857 | 0.98251 | -0.12268 | 0.98087 | -0.13441 | 6.6136
8 | 0.027786 | 0.0069676 | -0.027778 | -0.0069643 | 8.6145e-06 | 3.2146e-06 | 0.042084 | 0.042084 | 0.042084 | 0.98251 | -0.12268 | 0.9822 | -0.12492 | 15.5866
9 | -0.066278 | -0.016648 | 0.066419 | 0.016702 | 0.00014142 | 5.4101e-05 | 0.099873 | 0.099873 | 0.099873 | 0.98761 | -0.086587 | 0.98978 | -0.071276 | 36.99
10 | 0.020852 | 0.005229 | -0.020836 | -0.0052231 | 1.6225e-05 | 5.9108e-06 | 0.031592 | 0.031592 | 0.031592 | 0.9822 | -0.12492 | 0.98141 | -0.13054 | 11.7009
11 | 0.0069253 | 0.0017353 | -0.0069244 | -0.0017352 | 8.3241e-07 | 1.6679e-07 | 0.010492 | 0.010492 | 0.010492 | 0.9822 | -0.12492 | 0.98208 | -0.12579 | 3.8858
12 | 0.014938 | 0.0037435 | -0.014937 | -0.0037431 | 1.0995e-06 | 3.7753e-07 | 0.022403 | 0.022403 | 0.022403 | 0.99223 | -0.054356 | 0.99215 | -0.054888 | 8.2972
13 | -0.016872 | -0.004228 | 0.016877 | 0.0042299 | 5.3766e-06 | 1.894e-06 | 0.025302 | 0.025302 | 0.025302 | 0.99223 | -0.054356 | 0.99255 | -0.052054 | 9.371
14 | 0.0032295 | 0.00080889 | -0.0032293 | -0.00080899 | 1.9767e-07 | -9.8351e-08 | 0.0048434 | 0.0048435 | 0.0048435 | 0.99215 | -0.054888 | 0.99209 | -0.05533 | 1.7939
15 | -0.024661 | -0.0061809 | 0.024665 | 0.0061821 | 3.3605e-06 | 1.2416e-06 | 0.036972 | 0.036972 | 0.036972 | 0.99255 | -0.052054 | 0.99269 | -0.05107 | 13.6933
16 | 0.0016131 | 0.00040392 | -0.001613 | -0.00040425 | 1.0377e-07 | -3.2693e-07 | 0.0024193 | 0.0024194 | 0.0024194 | 0.99209 | -0.05533 | 0.99202 | -0.055795 | 0.89608
17 | -0.027332 | -0.0068505 | 0.027349 | 0.0068568 | 1.6841e-05 | 6.2692e-06 | 0.04097 | 0.04097 | 0.04097 | 0.99269 | -0.05107 | 0.99332 | -0.046623 | 15.174
18 | -0.030979 | -0.0077667 | 0.030983 | 0.0077683 | 4.4178e-06 | 1.6566e-06 | 0.046408 | 0.046408 | 0.046408 | 0.99332 | -0.046623 | 0.99347 | -0.045593 | 17.1882
19 | -0.040846 | -0.01024 | 0.040897 | 0.010259 | 5.0955e-05 | 1.9315e-05 | 0.06118 | 0.06118 | 0.06118 | 0.99347 | -0.045593 | 0.99475 | -0.036599 | 22.6591
20 | -0.0032815 | -0.00082216 | 0.0032818 | 0.00082203 | 3.1009e-07 | -1.3265e-07 | 0.0049841 | 0.004984 | 0.0049841 | 0.97968 | -0.14287 | 0.97978 | -0.14219 | 1.846
21 | 0.00058961 | 0.00014751 | -0.0005896 | -0.00014777 | 1.0386e-08 | -2.5735e-07 | 0.00089545 | 0.00089555 | 0.00089555 | 0.97968 | -0.14287 | 0.97967 | -0.143 | 0.33168
22 | -0.0057346 | -0.0014368 | 0.0057352 | 0.0014368 | 5.5473e-07 | 6.5734e-08 | 0.0087092 | 0.0087091 | 0.0087092 | 0.97978 | -0.14219 | 0.97988 | -0.14149 | 3.2256
23 | -0.0078169 | -0.0019586 | 0.0078171 | 0.0019586 | 1.8613e-07 | 4.4923e-08 | 0.01187 | 0.01187 | 0.01187 | 0.97988 | -0.14149 | 0.9799 | -0.14131 | 4.3964
24 | -0.011113 | -0.0027845 | 0.011115 | 0.0027854 | 2.619e-06 | 8.216e-07 | 0.016875 | 0.016875 | 0.016875 | 0.9799 | -0.14131 | 0.98014 | -0.13961 | 6.2499
25 | -0.013804 | -0.0034588 | 0.013808 | 0.0034603 | 4.2249e-06 | 1.4306e-06 | 0.020956 | 0.020956 | 0.020956 | 0.98014 | -0.13961 | 0.98045 | -0.1374 | 7.7616
26 | 0.0026886 | 0.00067347 | -0.0026883 | -0.00067375 | 3.3827e-07 | -2.7992e-07 | 0.0040817 | 0.0040818 | 0.0040818 | 0.98014 | -0.13961 | 0.98001 | -0.14052 | 1.5118
27 | -0.016908 | -0.0042369 | 0.016915 | 0.0042393 | 6.9451e-06 | 2.448e-06 | 0.02537 | 0.02537 | 0.02537 | 0.99168 | -0.058162 | 0.9921 | -0.055195 | 9.3963
28 | 0.012659 | 0.003172 | -0.012655 | -0.0031707 | 3.8254e-06 | 1.2522e-06 | 0.018994 | 0.018994 | 0.018994 | 0.99168 | -0.058162 | 0.99137 | -0.060346 | 7.0349
29 | -0.073256 | -0.018383 | 0.073277 | 0.018391 | 2.0712e-05 | 7.9305e-06 | 0.10988 | 0.10988 | 0.10988 | 0.9921 | -0.055195 | 0.99239 | -0.053159 | 40.6971
30 | 0.056341 | 0.014144 | -0.056244 | -0.014107 | 9.6886e-05 | 3.6983e-05 | 0.084512 | 0.084512 | 0.084512 | 0.9921 | -0.055195 | 0.99034 | -0.067597 | 31.3009
31 | 0.012655 | 0.0031707 | -0.01265 | -0.0031691 | 5.0349e-06 | 1.6482e-06 | 0.018994 | 0.018994 | 0.018994 | 0.99137 | -0.060346 | 0.99097 | -0.063223 | 7.035
32 | 0.01349 | 0.0033812 | -0.013487 | -0.00338 | 3.4168e-06 | 1.1413e-06 | 0.020228 | 0.020228 | 0.020228 | 0.99239 | -0.053159 | 0.99213 | -0.054988 | 7.4918
33 | -0.086767 | -0.021772 | 0.086913 | 0.021828 | 0.00014624 | 5.6065e-05 | 0.13011 | 0.13011 | 0.13011 | 0.99239 | -0.053159 | 0.99412 | -0.041035 | 48.1889
34 | 0.030725 | 0.0077113 | -0.030666 | -0.0076889 | 5.9761e-05 | 2.2408e-05 | 0.046169 | 0.04617 | 0.04617 | 0.99034 | -0.067597 | 0.98836 | -0.081635 | 17.0998
35 | 0.01032 | 0.0025851 | -0.010318 | -0.0025845 | 1.9611e-06 | 5.8567e-07 | 0.015496 | 0.015496 | 0.015496 | 0.99097 | -0.063223 | 0.99077 | -0.064597 | 5.7391
36 | 0.0063861 | 0.0016004 | -0.0063849 | -0.0016002 | 1.2125e-06 | 1.9287e-07 | 0.009578 | 0.009578 | 0.009578 | 0.99213 | -0.054988 | 0.99194 | -0.05636 | 3.5474
37 | -0.10117 | -0.025402 | 0.10175 | 0.025624 | 0.0005802 | 0.00022263 | 0.15145 | 0.15145 | 0.15145 | 0.99412 | -0.041035 | 1 | 0 | 56.0926
38 | 0.026287 | 0.0065914 | -0.026284 | -0.0065903 | 2.8161e-06 | 1.0462e-06 | 0.039577 | 0.039577 | 0.039577 | 0.98836 | -0.081635 | 0.98825 | -0.082408 | 14.6581
39 | 0.0032314 | 0.00080908 | -0.0032309 | -0.00080934 | 5.2044e-07 | -2.5583e-07 | 0.0048529 | 0.004853 | 0.004853 | 0.99077 | -0.064597 | 0.99061 | -0.065762 | 1.7974
40 | 0.0070865 | 0.0017754 | -0.0070851 | -0.0017751 | 1.4283e-06 | 2.8915e-07 | 0.010643 | 0.010643 | 0.010643 | 0.99077 | -0.064597 | 0.99057 | -0.066054 | 3.9418
41 | 0.13826 | 0.034857 | -0.13808 | -0.034788 | 0.0001818 | 6.9562e-05 | 0.2058 | 0.2058 | 0.2058 | 1 | 0 | 0.99864 | -0.0093984 | 38.112
42 | 0.022551 | 0.0056549 | -0.022529 | -0.0056467 | 2.2156e-05 | 8.1275e-06 | 0.033957 | 0.033957 | 0.033957 | 0.98825 | -0.082408 | 0.98725 | -0.089505 | 12.5766
43 | 0.001181 | 0.0002956 | -0.001181 | -0.00029598 | 6.1424e-08 | -3.7903e-07 | 0.0017739 | 0.0017741 | 0.0017741 | 0.99061 | -0.065762 | 0.99056 | -0.066138 | 0.65706
44 | 0.0066463 | 0.0016652 | -0.0066458 | -0.0016651 | 4.5874e-07 | 8.15e-08 | 0.0099838 | 0.0099838 | 0.0099838 | 0.99057 | -0.066054 | 0.9905 | -0.066553 | 3.6977
45 | 0.0065704 | 0.0016465 | -0.0065696 | -0.0016464 | 8.0194e-07 | 1.445e-07 | 0.009957 | 0.009957 | 0.009957 | 0.9819 | -0.12705 | 0.98178 | -0.12793 | 3.6878
46 | -0.0069232 | -0.0017349 | 0.0069244 | 0.0017352 | 1.2093e-06 | 2.4239e-07 | 0.010492 | 0.010492 | 0.010492 | 0.9819 | -0.12705 | 0.98208 | -0.12579 | 3.8858
47 | 0.0038716 | 0.00097018 | -0.0038714 | -0.00097021 | 1.3797e-07 | -2.8136e-08 | 0.0058679 | 0.0058679 | 0.0058679 | 0.98178 | -0.12793 | 0.98174 | -0.12819 | 2.1733
48 | 0.0030747 | 0.00077052 | -0.0030746 | -0.00077056 | 8.2992e-08 | -4.5513e-08 | 0.0046602 | 0.0046603 | 0.0046603 | 0.98174 | -0.12819 | 0.98171 | -0.12838 | 1.726
49 | 0.016224 | 0.0040672 | -0.016218 | -0.0040651 | 6.2068e-06 | 2.1796e-06 | 0.0246 | 0.0246 | 0.0246 | 0.98141 | -0.13054 | 0.98102 | -0.1333 | 9.1111
50 | -0.013808 | -0.0034603 | 0.013811 | 0.0034613 | 3.1656e-06 | 1.0718e-06 | 0.020956 | 0.020956 | 0.020956 | 0.98045 | -0.1374 | 0.98068 | -0.13574 | 7.7616
51 | 0.015127 | 0.0037915 | -0.015122 | -0.0037897 | 5.1209e-06 | 1.7728e-06 | 0.022944 | 0.022944 | 0.022944 | 0.98102 | -0.1333 | 0.98068 | -0.13574 | 8.4979
52 | -0.042196 | -0.010585 | 0.042209 | 0.01059 | 1.3523e-05 | 5.1306e-06 | 0.063123 | 0.063123 | 0.063123 | 0.99475 | -0.036599 | 0.99508 | -0.034289 | 23.3788
53 | -0.015625 | -0.0039159 | 0.015629 | 0.0039174 | 4.4567e-06 | 1.5496e-06 | 0.023557 | 0.023557 | 0.023557 | 0.98696 | -0.091564 | 0.98725 | -0.089505 | 8.7248
54 | 0.13576 | 0.034208 | -0.13575 | -0.034202 | 1.5664e-05 | 5.9925e-06 | 0.20236 | 0.20236 | 0.20236 | 0.99864 | -0.0093984 | 0.99852 | -0.010223 | 37.4734
55 | 0.13452 | 0.033894 | -0.13447 | -0.033873 | 5.4555e-05 | 2.0869e-05 | 0.20053 | 0.20053 | 0.20053 | 0.99852 | -0.010223 | 0.99811 | -0.013123 | 37.1347
56 | 0.13306 | 0.03352 | -0.13284 | -0.033437 | 0.00021682 | 8.2932e-05 | 0.19843 | 0.19843 | 0.19843 | 0.99811 | -0.013123 | 0.99643 | -0.024792 | 36.7458
57 | 0.08235 | 0.020763 | -0.082167 | -0.020693 | 0.00018355 | 7.0345e-05 | 0.12302 | 0.12302 | 0.12302 | 0.99643 | -0.024792 | 0.99414 | -0.040736 | 45.5635
58 | 0.05049 | 0.012674 | -0.050481 | -0.01267 | 9.056e-06 | 3.4498e-06 | 0.075406 | 0.075406 | 0.075406 | 0.99643 | -0.024792 | 0.99625 | -0.026083 | 27.9282
59 | 0.081488 | 0.020523 | -0.081414 | -0.020495 | 7.4482e-05 | 2.8543e-05 | 0.12201 | 0.12201 | 0.12201 | 0.99414 | -0.040736 | 0.9932 | -0.04728 | 45.1876
60 | 0.048454 | 0.012162 | -0.048399 | -0.012141 | 5.5145e-05 | 2.099e-05 | 0.072379 | 0.072379 | 0.072379 | 0.99625 | -0.026083 | 0.99508 | -0.034289 | 26.8069
61 | 0.080812 | 0.020344 | -0.08061 | -0.020267 | 0.00020138 | 7.7168e-05 | 0.1211 | 0.1211 | 0.1211 | 0.9932 | -0.04728 | 0.99065 | -0.065166 | 44.8535
62 | 0.074667 | 0.018777 | -0.074603 | -0.018753 | 6.3537e-05 | 2.4333e-05 | 0.11218 | 0.11218 | 0.11218 | 0.99065 | -0.065166 | 0.98978 | -0.071276 | 41.547
63 | 0.0030539 | 0.00076486 | -0.0030536 | -0.00076505 | 3.1778e-07 | -1.8917e-07 | 0.0045877 | 0.0045878 | 0.0045878 | 0.9905 | -0.066553 | 0.99039 | -0.067305 | 1.6992
64 | 0.0013641 | 0.00034163 | -0.0013641 | -0.00034171 | 1.8996e-08 | -8.5958e-08 | 0.0020494 | 0.0020495 | 0.0020495 | 0.99039 | -0.067305 | 0.99038 | -0.067406 | 0.75906
65 | 0.00075497 | 0.00018905 | -0.00075496 | -0.00018921 | 1.027e-08 | -1.6066e-07 | 0.0011343 | 0.0011343 | 0.0011343 | 0.99038 | -0.067406 | 0.99036 | -0.067505 | 0.42012
66 | 0.0027712 | 0.00069387 | -0.0027706 | -0.00069437 | 6.2618e-07 | -5.0209e-07 | 0.0041659 | 0.0041662 | 0.0041662 | 0.98978 | -0.071276 | 0.98955 | -0.07291 | 1.543

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.24236 | 0.06087

## res_load
| p_mw | q_mvar
0 | 0.0085737 | 0.0021488
1 | 0.0011483 | 0.00028778
2 | 0.0026801 | 0.0006717
3 | 0.00056563 | 0.00014176
4 | 0.006748 | 0.0016912
5 | 0.0050326 | 0.0012613
6 | 0.0017052 | 0.00042737
7 | 0.011771 | 0.00295
8 | 0.0019332 | 0.0004845
9 | 0.011708 | 0.0029342
10 | 0.0077845 | 0.001951
11 | 0.0016162 | 0.00040507
12 | 0.002667 | 0.00066842
13 | 0.001613 | 0.00040425
14 | 0.0036304 | 0.00090988
15 | 0.0098622 | 0.0024717
16 | 0.0026919 | 0.00067465
17 | 0.0024528 | 0.00061473
18 | 0.0005896 | 0.00014777
19 | 0.0020817 | 0.00052173
20 | 0.0032955 | 0.00082593
21 | 0.0042491 | 0.0010649
22 | 0.025519 | 0.0063957
23 | 0.0023301 | 0.00058398
24 | 0.0071009 | 0.0017796
25 | 0.014257 | 0.0035731
26 | 0.004379 | 0.0010975
27 | 0.0063849 | 0.0016002
28 | 0.0015488 | 0.00038817
29 | 0.0037326 | 0.00093547
30 | 0.0020498 | 0.00051373
31 | 0.00043879 | 0.00010997
32 | 0.00035287 | 8.8438e-05
33 | 0.002698 | 0.00067617
34 | 0.00079678 | 0.00019969
35 | 0.0030746 | 0.00077056
36 | 0.0026883 | 0.00067375
37 | 0.0046118 | 0.0011558
38 | 0.0010916 | 0.00027357
39 | 0.0012991 | 0.0003256
40 | 0.0013103 | 0.00032839
41 | 0.015625 | 0.0039159
42 | 0.0069 | 0.0017293
43 | 0.0023144 | 0.00058003
44 | 0.0012273 | 0.00030759
45 | 0.0014087 | 0.00035305
46 | 0.00067813 | 0.00016996
47 | 0.0020269 | 0.00050799
48 | 0.00060211 | 0.0001509
49 | 0.0061896 | 0.0015513
50 | 0.0059437 | 0.0014896
51 | 0.0035919 | 0.00090022
52 | 0.0016895 | 0.00042342
53 | 0.00060913 | 0.00015266
54 | 0.00075496 | 0.00018921
55 | 0.001181 | 0.00029598
56 | 0.005413 | 0.0013566
57 | 0.0027706 | 0.00069437

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1