## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2406-1_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2406-1_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2406-1_0_2_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_2406-1_0_2_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_2406-1_0_2_node_2 | 0.4 | n |  | TRUE
5 | bus_LV_2406-1_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2406-1_0_2_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_2406-1_0_2_node_13 | 0.4 | n |  | TRUE
8 | bus_LV_2406-1_0_2_node_29 | 0.4 | n |  | TRUE
9 | bus_LV_2406-1_0_2_node_55 | 0.4 | n |  | TRUE
10 | bus_LV_2406-1_0_2_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_2406-1_0_2_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_2406-1_0_2_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_2406-1_0_2_node_27 | 0.4 | n |  | TRUE
14 | bus_LV_2406-1_0_2_node_56 | 0.4 | n |  | TRUE
15 | bus_LV_2406-1_0_2_node_24 | 0.4 | n |  | TRUE
16 | bus_LV_2406-1_0_2_node_20 | 0.4 | n |  | TRUE
17 | bus_LV_2406-1_0_2_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_2406-1_0_2_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_2406-1_0_2_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_2406-1_0_2_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_2406-1_0_2_node_23 | 0.4 | n |  | TRUE
22 | bus_LV_2406-1_0_2_node_26 | 0.4 | n |  | TRUE
23 | bus_LV_2406-1_0_2_node_28 | 0.4 | n |  | TRUE
24 | bus_LV_2406-1_0_2_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_2406-1_0_2_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_2406-1_0_2_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_2406-1_0_2_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_2406-1_0_2_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_2406-1_0_2_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_2406-1_0_2_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_2406-1_0_2_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_2406-1_0_2_node_52 | 0.4 | n |  | TRUE
33 | bus_LV_2406-1_0_2_node_46 | 0.4 | n |  | TRUE
34 | bus_LV_2406-1_0_2_node_51 | 0.4 | n |  | TRUE
35 | bus_LV_2406-1_0_2_node_50 | 0.4 | n |  | TRUE
36 | bus_LV_2406-1_0_2_node_45 | 0.4 | n |  | TRUE
37 | bus_LV_2406-1_0_2_node_49 | 0.4 | n |  | TRUE
38 | bus_LV_2406-1_0_2_node_44 | 0.4 | n |  | TRUE
39 | bus_LV_2406-1_0_2_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_2406-1_0_2_node_42 | 0.4 | n |  | TRUE
41 | bus_LV_2406-1_0_2_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_2406-1_0_2_node_31 | 0.4 | n |  | TRUE
43 | bus_LV_2406-1_0_2_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_2406-1_0_2_node_34 | 0.4 | n |  | TRUE
45 | bus_LV_2406-1_0_2_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_2406-1_0_2_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_2406-1_0_2_node_37 | 0.4 | n |  | TRUE
48 | bus_LV_2406-1_0_2_node_38 | 0.4 | n |  | TRUE
49 | bus_LV_2406-1_0_2_node_39 | 0.4 | n |  | TRUE
50 | bus_LV_2406-1_0_2_node_40 | 0.4 | n |  | TRUE
51 | bus_LV_2406-1_0_2_node_53 | 0.4 | n |  | TRUE
52 | bus_LV_2406-1_0_2_node_54 | 0.4 | n |  | TRUE
53 | bus_LV_2406-1_0_2_node_47 | 0.4 | n |  | TRUE
54 | bus_LV_2406-1_0_2_node_58 | 0.4 | n |  | TRUE
55 | bus_LV_2406-1_0_2_node_48 | 0.4 | n |  | TRUE
56 | bus_LV_2406-1_0_2_node_41 | 0.4 | n |  | TRUE
57 | bus_LV_2406-1_0_2_node_43 | 0.4 | n |  | TRUE
58 | bus_LV_2406-1_0_2_node_57 | 0.4 | n |  | TRUE
59 | bus_MV_334_0_node_158 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2406-1_0_2_load_0 | 0 | 0.015998 | 0.0040096 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2406-1_0_2_load_5 | 5 | 0.0024588 | 0.00061622 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2406-1_0_2_load_6 | 6 | 0.0066055 | 0.0016555 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2406-1_0_2_load_13 | 7 | 0.012928 | 0.00324 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2406-1_0_2_load_55 | 9 | 0.0038545 | 0.00096604 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2406-1_0_2_load_7 | 10 | 0.0053708 | 0.0013461 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2406-1_0_2_load_8 | 11 | 0.0068952 | 0.0017281 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2406-1_0_2_load_11 | 12 | 0.003132 | 0.00078497 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2406-1_0_2_load_27 | 13 | 0.004657 | 0.0011672 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2406-1_0_2_load_56 | 14 | 0.00086213 | 0.00021607 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2406-1_0_2_load_24 | 15 | 0.0056177 | 0.0014079 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2406-1_0_2_load_9 | 17 | 0.0063017 | 0.0015794 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2406-1_0_2_load_10 | 18 | 0.008541 | 0.0021406 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2406-1_0_2_load_12 | 19 | 0.0094803 | 0.002376 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2406-1_0_2_load_23 | 21 | 0.0018928 | 0.00047439 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2406-1_0_2_load_26 | 22 | 0.0025443 | 0.00063766 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2406-1_0_2_load_28 | 23 | 0.0024876 | 0.00062346 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2406-1_0_2_load_15 | 24 | 0.0024561 | 0.00061556 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2406-1_0_2_load_16 | 25 | 0.0041971 | 0.0010519 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2406-1_0_2_load_19 | 28 | 0.00123 | 0.00030828 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2406-1_0_2_load_22 | 30 | 0.0011026 | 0.00027635 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2406-1_0_2_load_52 | 32 | 0.0026041 | 0.00065264 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2406-1_0_2_load_51 | 34 | 0.0034811 | 0.00087245 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2406-1_0_2_load_50 | 35 | 0.0015928 | 0.00039919 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2406-1_0_2_load_45 | 36 | 0.0030362 | 0.00076095 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2406-1_0_2_load_49 | 37 | 0.0014722 | 0.00036898 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2406-1_0_2_load_33 | 39 | 0.0050515 | 0.001266 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2406-1_0_2_load_42 | 40 | 0.0012794 | 0.00032065 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2406-1_0_2_load_30 | 41 | 0.013525 | 0.0033898 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2406-1_0_2_load_34 | 44 | 0.0013118 | 0.00032877 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2406-1_0_2_load_35 | 45 | 0.0019433 | 0.00048703 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2406-1_0_2_load_36 | 46 | 0.0016989 | 0.00042579 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2406-1_0_2_load_37 | 47 | 0.00073157 | 0.00018335 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2406-1_0_2_load_38 | 48 | 0.00088708 | 0.00022232 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2406-1_0_2_load_40 | 50 | 0.00172 | 0.00043108 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2406-1_0_2_load_53 | 51 | 0.0022232 | 0.00055719 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2406-1_0_2_load_47 | 53 | 0.0019913 | 0.00049906 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2406-1_0_2_load_58 | 54 | 0.0012753 | 0.00031961 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2406-1_0_2_load_48 | 55 | 0.0013325 | 0.00033395 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2406-1_0_2_load_41 | 56 | 0.0018909 | 0.00047392 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2406-1_0_2_load_57 | 58 | 0.0038707 | 0.00097009 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 21 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2406-1_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.01534 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2406-1_0_2_line_1 | NAYY 4x150 SE | 1 | 2 | 0.032504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2406-1_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.040405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2406-1_0_2_line_3 | NAYY 4x150 SE | 2 | 7 | 0.0229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2406-1_0_2_line_4 | NAYY 4x150 SE | 2 | 8 | 0.001918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2406-1_0_2_line_5 | NAYY 4x150 SE | 3 | 9 | 0.065219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2406-1_0_2_line_6 | NAYY 4x150 SE | 4 | 5 | 0.005638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2406-1_0_2_line_7 | NAYY 4x150 SE | 4 | 6 | 0.011785 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2406-1_0_2_line_8 | NAYY 4x150 SE | 5 | 10 | 0.0050259 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2406-1_0_2_line_9 | NAYY 4x150 SE | 6 | 11 | 0.016906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2406-1_0_2_line_10 | NAYY 4x150 SE | 7 | 12 | 0.024071 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2406-1_0_2_line_11 | NAYY 4x150 SE | 8 | 11 | 0.013953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2406-1_0_2_line_12 | NAYY 4x150 SE | 8 | 13 | 0.0081235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
13 | LV_2406-1_0_2_line_13 | NAYY 4x150 SE | 9 | 14 | 0.0057003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2406-1_0_2_line_14 | NAYY 4x150 SE | 10 | 15 | 0.037289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2406-1_0_2_line_15 | NAYY 4x150 SE | 12 | 17 | 0.011726 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2406-1_0_2_line_16 | NAYY 4x150 SE | 13 | 20 | 0.016394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_2406-1_0_2_line_17 | NAYY 4x150 SE | 14 | 58 | 0.035026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2406-1_0_2_line_18 | NAYY 4x150 SE | 15 | 16 | 0.0086394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2406-1_0_2_line_19 | NAYY 4x150 SE | 16 | 31 | 0.026346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2406-1_0_2_line_20 | NAYY 4x150 SE | 16 | 26 | 0.022341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2406-1_0_2_line_21 | NAYY 4x150 SE | 17 | 18 | 0.015013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2406-1_0_2_line_22 | NAYY 4x150 SE | 18 | 19 | 6.0334e-06 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2406-1_0_2_line_23 | NAYY 4x150 SE | 20 | 21 | 0.026005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
24 | LV_2406-1_0_2_line_24 | NAYY 4x150 SE | 22 | 23 | 0.00040066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2406-1_0_2_line_25 | NAYY 4x150 SE | 23 | 38 | 0.019777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2406-1_0_2_line_26 | NAYY 4x150 SE | 24 | 25 | 0.0024099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2406-1_0_2_line_27 | NAYY 4x150 SE | 24 | 26 | 0.034154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2406-1_0_2_line_28 | NAYY 4x150 SE | 25 | 27 | 0.027224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2406-1_0_2_line_29 | NAYY 4x150 SE | 26 | 28 | 0.022939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2406-1_0_2_line_30 | NAYY 4x150 SE | 27 | 29 | 0.007326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2406-1_0_2_line_31 | NAYY 4x150 SE | 27 | 30 | 0.035521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2406-1_0_2_line_32 | NAYY 4x150 SE | 29 | 32 | 0.04024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2406-1_0_2_line_33 | NAYY 4x150 SE | 30 | 33 | 0.017249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2406-1_0_2_line_34 | NAYY 4x150 SE | 31 | 34 | 0.020846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2406-1_0_2_line_35 | NAYY 4x150 SE | 31 | 35 | 2.465e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2406-1_0_2_line_36 | NAYY 4x150 SE | 33 | 36 | 0.0044046 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2406-1_0_2_line_37 | NAYY 4x150 SE | 35 | 37 | 0.012822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2406-1_0_2_line_38 | NAYY 4x150 SE | 36 | 57 | 0.017159 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2406-1_0_2_line_39 | NAYY 4x150 SE | 37 | 55 | 0.00038384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2406-1_0_2_line_40 | NAYY 4x150 SE | 38 | 39 | 0.0088501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2406-1_0_2_line_41 | NAYY 4x150 SE | 38 | 40 | 0.010593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2406-1_0_2_line_42 | NAYY 4x150 SE | 39 | 43 | 0.045581 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2406-1_0_2_line_43 | NAYY 4x150 SE | 40 | 56 | 0.035624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2406-1_0_2_line_44 | NAYY 4x150 SE | 41 | 42 | 0.039903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2406-1_0_2_line_45 | NAYY 4x150 SE | 42 | 43 | 0.025257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_2406-1_0_2_line_46 | NAYY 4x150 SE | 44 | 45 | 0.034571 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_2406-1_0_2_line_47 | NAYY 4x150 SE | 44 | 46 | 0.03948 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_2406-1_0_2_line_48 | NAYY 4x150 SE | 45 | 47 | 0.013314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_2406-1_0_2_line_49 | NAYY 4x150 SE | 46 | 48 | 0.010596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_2406-1_0_2_line_50 | NAYY 4x150 SE | 47 | 49 | 0.007825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_2406-1_0_2_line_51 | NAYY 4x150 SE | 48 | 50 | 0.0025536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_2406-1_0_2_line_52 | NAYY 4x150 SE | 49 | 51 | 0.052229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_2406-1_0_2_line_53 | NAYY 4x150 SE | 49 | 52 | 0.006182 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_2406-1_0_2_line_54 | NAYY 4x150 SE | 50 | 53 | 0.021772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_2406-1_0_2_line_55 | NAYY 4x150 SE | 52 | 54 | 0.048307 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_2406-1_0_2_line_56 | NAYY 4x150 SE | 53 | 55 | 0.010388 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_2406-1_0_2_line_57 | NAYY 4x150 SE | 56 | 57 | 0.0069414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2406-1_0_2_trafo_23 | 0.25 MVA 20/0.4 kV | 59 | 21 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2624728.3581 | 1240076.6147 | 2624716.9132 | 1240066.4006
1 | 2624728.3581 | 1240076.6147 | 2624729.2162 | 1240072.1044 | 2624734.7365 | 1240044.7435
2 | 2624721.1832 | 1240116.3654 | 2624721.7016 | 1240111.698 | 2624728.3581 | 1240076.6147
3 | 2624734.7365 | 1240044.7435 | 2624755.144 | 1240055.1323
4 | 2624734.994 | 1240042.8434 | 2624734.7365 | 1240044.7435
5 | 2624721.1832 | 1240116.3654 | 2624683.8039 | 1240089.649 | 2624666.2306 | 1240081.7341
6 | 2624695.3985 | 1240027.1023 | 2624690.4472 | 1240024.4056
7 | 2624695.3985 | 1240027.1023 | 2624703.7976 | 1240031.2064 | 2624706.0809 | 1240032.0582
8 | 2624686.0335 | 1240022.0016 | 2624690.4472 | 1240024.4056
9 | 2624706.0809 | 1240032.0582 | 2624721.9209 | 1240037.9668
10 | 2624755.144 | 1240055.1323 | 2624771.3782 | 1240063.3965 | 2624774.2575 | 1240058.2992
11 | 2624734.994 | 1240042.8434 | 2624721.9209 | 1240037.9668
12 | 2624734.994 | 1240042.8434 | 2624737.6019 | 1240035.1499
13 | 2624666.2306 | 1240081.7341 | 2624665.0181 | 1240081.188 | 2624660.6476 | 1240081.1699
14 | 2624653.4691 | 1240003.8425 | 2624665.0992 | 1240010.5996 | 2624686.0335 | 1240022.0016
15 | 2624780.0244 | 1240048.0896 | 2624774.2575 | 1240058.2992
16 | 2624744.1624 | 1240020.145 | 2624738.8065 | 1240031.5966 | 2624737.6019 | 1240035.1499
17 | 2624639.0451 | 1240097.3572 | 2624648.3857 | 1240102.3213 | 2624660.6476 | 1240081.1699
18 | 2624645.999 | 1239999.5024 | 2624653.4691 | 1240003.8425
19 | 2624623.8725 | 1239985.124 | 2624635.0997 | 1239992.8975 | 2624637.3852 | 1239994.2857 | 2624645.1618 | 1239998.9986 | 2624645.999 | 1239999.5024
20 | 2624645.999 | 1239999.5024 | 2624650.5035 | 1239989.1034 | 2624653.9004 | 1239979.6004 | 2624654.1007 | 1239978.7007
21 | 2624780.0244 | 1240048.0896 | 2624780.0244 | 1240048.0896 | 2624767.9945 | 1240039.1083
22 | 2624767.9897 | 1240039.1047 | 2624767.9945 | 1240039.1083
23 | 2624744.1624 | 1240020.145 | 2624723.6522 | 1240011.7545 | 2624720.2077 | 1240010.0451
24 | 2624763.8818 | 1239986.8535 | 2624763.6777 | 1239987.1982
25 | 2624773.9609 | 1239969.8374 | 2624763.8818 | 1239986.8535
26 | 2624659.087 | 1239944.9974 | 2624659.2622 | 1239942.5938
27 | 2624654.1007 | 1239978.7007 | 2624656.2982 | 1239970.3045 | 2624657.603 | 1239962.0047 | 2624658.5985 | 1239951.7024 | 2624659.087 | 1239944.9974
28 | 2624659.6035 | 1239915.406 | 2624660.0007 | 1239919.8993 | 2624659.9974 | 1239928.0044 | 2624659.4003 | 1239940.6988 | 2624659.2622 | 1239942.5938
29 | 2624654.1007 | 1239978.7007 | 2624662.8981 | 1239981.6056 | 2624675.1475 | 1239987.6843
30 | 2624659.0969 | 1239908.0993 | 2624659.2024 | 1239910.0009 | 2624659.6035 | 1239915.406
31 | 2624659.6035 | 1239915.406 | 2624661.804 | 1239915.404 | 2624663.3684 | 1239915.6217 | 2624669.5956 | 1239916.5037 | 2624692.9732 | 1239926.5676
32 | 2624659.0969 | 1239908.0993 | 2624641.9408 | 1239929.5862 | 2624634.8996 | 1239937.1617 | 2624634.2089 | 1239939.4617
33 | 2624708.8167 | 1239933.3881 | 2624692.9732 | 1239926.5676
34 | 2624623.8725 | 1239985.124 | 2624613.1238 | 1240002.985
35 | 2624623.8725 | 1239985.124 | 2624623.8522 | 1239985.1099
36 | 2624708.8167 | 1239933.3881 | 2624712.8015 | 1239935.2646
37 | 2624623.8522 | 1239985.1099 | 2624613.312 | 1239977.808
38 | 2624728.3257 | 1239942.5749 | 2624712.8015 | 1239935.2646
39 | 2624613.312 | 1239977.808 | 2624612.9965 | 1239977.5894
40 | 2624773.9609 | 1239969.8374 | 2624778.6632 | 1239962.34
41 | 2624773.9609 | 1239969.8374 | 2624764.8673 | 1239964.4049
42 | 2624802.8879 | 1239923.729 | 2624797.879 | 1239931.702 | 2624778.6632 | 1239962.34
43 | 2624764.8673 | 1239964.4049 | 2624734.2847 | 1239946.1348
44 | 2624825.3049 | 1239935.4855 | 2624832.9041 | 1239939.1973 | 2624861.1691 | 1239952.9791
45 | 2624802.8879 | 1239923.729 | 2624814.3484 | 1239929.9363 | 2624825.3049 | 1239935.4855
46 | 2624507.5727 | 1239922.0657 | 2624511.8001 | 1239924.601 | 2624524.0996 | 1239932.8013 | 2624531.9007 | 1239937.1028 | 2624537.142 | 1239939.9209
47 | 2624572.4697 | 1239957.5326 | 2624558.8011 | 1239951.0003 | 2624543.7993 | 1239943.5003 | 2624537.142 | 1239939.9209
48 | 2624507.5727 | 1239922.0657 | 2624504.8001 | 1239920.4029 | 2624502.6998 | 1239918.1039 | 2624500.4042 | 1239915.5039 | 2624498.6017 | 1239912.5057 | 2624498.6017 | 1239912.5057
49 | 2624572.4697 | 1239957.5326 | 2624576.8004 | 1239959.6022 | 2624582.0944 | 1239961.9624
50 | 2624496.3792 | 1239905.003 | 2624498.6017 | 1239912.5057
51 | 2624584.4268 | 1239963.0022 | 2624582.0944 | 1239961.9624
52 | 2624546.9954 | 1239918.4534 | 2624496.3792 | 1239905.003
53 | 2624494.8991 | 1239899.0042 | 2624495.7005 | 1239902.6987 | 2624496.3792 | 1239905.003
54 | 2624584.4268 | 1239963.0022 | 2624591.6017 | 1239966.2008 | 2624602.1006 | 1239970.9028 | 2624604.2158 | 1239972.0642
55 | 2624494.8991 | 1239899.0042 | 2624501.3586 | 1239894.906 | 2624504.8226 | 1239891.0735 | 2624508.4774 | 1239890.4881 | 2624512.9276 | 1239893.2304 | 2624519.2897 | 1239899.9386 | 2624523.4295 | 1239904.6031 | 2624528.8996 | 1239905.7374 | 2624534.2822 | 1239904.2365
56 | 2624612.9965 | 1239977.5894 | 2624608.0986 | 1239974.1963 | 2624604.2158 | 1239972.0642
57 | 2624728.3257 | 1239942.5749 | 2624734.2847 | 1239946.1348

## bus_geodata
| x | y | coords
0 | 2624716.9132 | 1240066.4006
1 | 2624728.3581 | 1240076.6147
2 | 2624734.7365 | 1240044.7435
3 | 2624721.1832 | 1240116.3654
4 | 2624695.3985 | 1240027.1023
5 | 2624690.4472 | 1240024.4056
6 | 2624706.0809 | 1240032.0582
7 | 2624755.144 | 1240055.1323
8 | 2624734.994 | 1240042.8434
9 | 2624666.2306 | 1240081.7341
10 | 2624686.0335 | 1240022.0016
11 | 2624721.9209 | 1240037.9668
12 | 2624774.2575 | 1240058.2992
13 | 2624737.6019 | 1240035.1499
14 | 2624660.6476 | 1240081.1699
15 | 2624653.4691 | 1240003.8425
16 | 2624645.999 | 1239999.5024
17 | 2624780.0244 | 1240048.0896
18 | 2624767.9945 | 1240039.1083
19 | 2624767.9897 | 1240039.1047
20 | 2624744.1624 | 1240020.145
21 | 2624720.2077 | 1240010.0451
22 | 2624763.6777 | 1239987.1982
23 | 2624763.8818 | 1239986.8535
24 | 2624659.087 | 1239944.9974
25 | 2624659.2622 | 1239942.5938
26 | 2624654.1007 | 1239978.7007
27 | 2624659.6035 | 1239915.406
28 | 2624675.1475 | 1239987.6843
29 | 2624659.0969 | 1239908.0993
30 | 2624692.9733 | 1239926.5676
31 | 2624623.8725 | 1239985.124
32 | 2624634.2089 | 1239939.4617
33 | 2624708.8167 | 1239933.3881
34 | 2624613.1238 | 1240002.985
35 | 2624623.8523 | 1239985.1099
36 | 2624712.8015 | 1239935.2646
37 | 2624613.312 | 1239977.808
38 | 2624773.9609 | 1239969.8374
39 | 2624778.6632 | 1239962.34
40 | 2624764.8673 | 1239964.4049
41 | 2624861.1691 | 1239952.9791
42 | 2624825.3049 | 1239935.4855
43 | 2624802.8879 | 1239923.729
44 | 2624537.142 | 1239939.9209
45 | 2624507.5727 | 1239922.0657
46 | 2624572.4697 | 1239957.5326
47 | 2624498.6017 | 1239912.5057
48 | 2624582.0944 | 1239961.9624
49 | 2624496.3792 | 1239905.003
50 | 2624584.4268 | 1239963.0022
51 | 2624546.9954 | 1239918.4534
52 | 2624494.8991 | 1239899.0042
53 | 2624604.2158 | 1239972.0642
54 | 2624534.2822 | 1239904.2365
55 | 2624612.9965 | 1239977.5894
56 | 2624734.2847 | 1239946.1348
57 | 2624728.3257 | 1239942.5749
58 | 2624639.0451 | 1240097.3572
59 | 2624744.1624 | 1240020.145

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99251 | -0.052152 | 0.015998 | 0.0040096
1 | 0.99287 | -0.049667 | 0 | 0
2 | 0.99401 | -0.04158 | 0 | 0
3 | 0.99237 | -0.053186 | 0 | 0
4 | 0.98901 | -0.076518 | 0 | 0
5 | 0.98838 | -0.080927 | 0.0024588 | 0.00061622
6 | 0.99032 | -0.067321 | 0.0066055 | 0.0016555
7 | 0.99269 | -0.050935 | 0.012928 | 0.00324
8 | 0.99419 | -0.040321 | 0 | 0
9 | 0.99156 | -0.058871 | 0.0038545 | 0.00096604
10 | 0.98784 | -0.084735 | 0.0053708 | 0.0013461
11 | 0.99237 | -0.053037 | 0.0068952 | 0.0017281
12 | 0.99173 | -0.057635 | 0.003132 | 0.00078497
13 | 0.9951 | -0.033966 | 0.004657 | 0.0011672
14 | 0.99152 | -0.059145 | 0.00086213 | 0.00021607
15 | 0.9841 | -0.11106 | 0.0056177 | 0.0014079
16 | 0.98331 | -0.11668 | 0 | 0
17 | 0.99132 | -0.060531 | 0.0063017 | 0.0015794
18 | 0.99094 | -0.063279 | 0.008541 | 0.0021406
19 | 0.99094 | -0.06328 | 0.0094803 | 0.002376
20 | 0.997 | -0.020794 | 0 | 0
21 | 1 | 0 | -0.16272 | -0.040873
22 | 0.97316 | -0.18898 | 0.0025443 | 0.00063766
23 | 0.97316 | -0.18897 | 0.0024876 | 0.00062346
24 | 0.97995 | -0.14049 | 0.0024561 | 0.00061556
25 | 0.97981 | -0.14144 | 0.0041971 | 0.0010519
26 | 0.98195 | -0.12625 | 0 | 0
27 | 0.97848 | -0.15095 | 0 | 0
28 | 0.98191 | -0.12654 | 0.00123 | 0.00030828
29 | 0.97845 | -0.15115 | 0 | 0
30 | 0.97687 | -0.16243 | 0.0011026 | 0.00027635
31 | 0.98248 | -0.12258 | 0 | 0
32 | 0.9783 | -0.15224 | 0.0026041 | 0.00065264
33 | 0.97611 | -0.16781 | 0 | 0
34 | 0.98237 | -0.12333 | 0.0034811 | 0.00087245
35 | 0.98248 | -0.12259 | 0.0015928 | 0.00039919
36 | 0.97592 | -0.16919 | 0.0030362 | 0.00076095
37 | 0.98217 | -0.12479 | 0.0014722 | 0.00036898
38 | 0.97331 | -0.18793 | 0 | 0
39 | 0.97307 | -0.18966 | 0.0050515 | 0.001266
40 | 0.97368 | -0.18529 | 0.0012794 | 0.00032065
41 | 0.97087 | -0.20549 | 0.013525 | 0.0033898
42 | 0.97166 | -0.19978 | 0 | 0
43 | 0.97216 | -0.19617 | 0 | 0
44 | 0.98097 | -0.13335 | 0.0013118 | 0.00032877
45 | 0.98066 | -0.13557 | 0.0019433 | 0.00048703
46 | 0.9814 | -0.13028 | 0.0016989 | 0.00042579
47 | 0.98058 | -0.13615 | 0.00073157 | 0.00018335
48 | 0.98154 | -0.12927 | 0.00088708 | 0.00022232
49 | 0.98054 | -0.13644 | 0 | 0
50 | 0.98158 | -0.129 | 0.00172 | 0.00043108
51 | 0.98037 | -0.13764 | 0.0022232 | 0.00055719
52 | 0.98053 | -0.13652 | 0 | 0
53 | 0.98195 | -0.12634 | 0.0019913 | 0.00049906
54 | 0.98044 | -0.13716 | 0.0012753 | 0.00031961
55 | 0.98216 | -0.12485 | 0.0013325 | 0.00033395
56 | 0.97498 | -0.17596 | 0.0018909 | 0.00047392
57 | 0.97525 | -0.17401 | 0 | 0
58 | 0.99133 | -0.060523 | 0.0038707 | 0.00097009
59 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.015998 | -0.0040096 | 0.016004 | 0.0040115 | 5.5069e-06 | 1.9197e-06 | 0.023986 | 0.023986 | 0.023986 | 0.99251 | -0.052152 | 0.99287 | -0.049667 | 8.8835
1 | -0.024603 | -0.0061664 | 0.024631 | 0.0061766 | 2.7576e-05 | 1.0185e-05 | 0.036873 | 0.036873 | 0.036873 | 0.99287 | -0.049667 | 0.99401 | -0.04158 | 13.6567
2 | 0.0085992 | 0.0021549 | -0.008595 | -0.0021538 | 4.1877e-06 | 1.0884e-06 | 0.012888 | 0.012888 | 0.012888 | 0.99287 | -0.049667 | 0.99237 | -0.053186 | 4.7733
3 | 0.040477 | 0.010156 | -0.040425 | -0.010136 | 5.2472e-05 | 1.9885e-05 | 0.060598 | 0.060598 | 0.060598 | 0.99401 | -0.04158 | 0.99269 | -0.050935 | 22.4437
4 | -0.065108 | -0.016333 | 0.06512 | 0.016337 | 1.1371e-05 | 4.3484e-06 | 0.097471 | 0.097471 | 0.097471 | 0.99401 | -0.04158 | 0.99419 | -0.040321 | 36.1003
5 | 0.008595 | 0.0021538 | -0.0085883 | -0.002152 | 6.7597e-06 | 1.7579e-06 | 0.012888 | 0.012888 | 0.012888 | 0.99237 | -0.053186 | 0.99156 | -0.058871 | 4.7734
6 | 0.077308 | 0.019472 | -0.077261 | -0.019454 | 4.7625e-05 | 1.8245e-05 | 0.11635 | 0.11635 | 0.11635 | 0.98901 | -0.076518 | 0.98838 | -0.080927 | 43.0921
7 | -0.077308 | -0.019472 | 0.077408 | 0.01951 | 9.9551e-05 | 3.8137e-05 | 0.11635 | 0.11635 | 0.11635 | 0.98901 | -0.076518 | 0.99032 | -0.067321 | 43.0921
8 | 0.074802 | 0.018837 | -0.074762 | -0.018822 | 3.9796e-05 | 1.5242e-05 | 0.11265 | 0.11265 | 0.11265 | 0.98838 | -0.080927 | 0.98784 | -0.084735 | 41.7211
9 | -0.084013 | -0.021165 | 0.084181 | 0.02123 | 0.00016821 | 6.4479e-05 | 0.12627 | 0.12627 | 0.12627 | 0.99032 | -0.067321 | 0.99237 | -0.053037 | 46.7681
10 | 0.027497 | 0.0068964 | -0.027472 | -0.0068869 | 2.552e-05 | 9.5046e-06 | 0.04122 | 0.04122 | 0.04122 | 0.99269 | -0.050935 | 0.99173 | -0.057635 | 15.2665
11 | 0.091239 | 0.02302 | -0.091077 | -0.022958 | 0.00016249 | 6.2317e-05 | 0.13661 | 0.13661 | 0.13661 | 0.99419 | -0.040321 | 0.99237 | -0.053037 | 50.5973
12 | -0.15636 | -0.039358 | 0.1565 | 0.039411 | 0.00013888 | 5.3204e-05 | 0.23408 | 0.23408 | 0.23408 | 0.99419 | -0.040321 | 0.9951 | -0.033966 | 43.3488
13 | 0.0047337 | 0.001186 | -0.0047336 | -0.001186 | 1.7949e-07 | -4.4882e-09 | 0.0071037 | 0.0071037 | 0.0071037 | 0.99156 | -0.058871 | 0.99152 | -0.059145 | 2.631
14 | 0.069391 | 0.017476 | -0.069137 | -0.017379 | 0.00025437 | 9.7359e-05 | 0.10456 | 0.10456 | 0.10456 | 0.98784 | -0.084735 | 0.9841 | -0.11106 | 38.7248
15 | 0.02434 | 0.006102 | -0.02433 | -0.0060984 | 9.7587e-06 | 3.6021e-06 | 0.03652 | 0.03652 | 0.03652 | 0.99173 | -0.057635 | 0.99132 | -0.060531 | 13.526
16 | -0.16115 | -0.040578 | 0.16145 | 0.040692 | 0.0002972 | 0.00011388 | 0.24105 | 0.24105 | 0.24105 | 0.9951 | -0.033966 | 0.997 | -0.020794 | 44.6384
17 | 0.0038714 | 0.00096992 | -0.0038707 | -0.00097009 | 7.3778e-07 | -1.6792e-07 | 0.0058099 | 0.00581 | 0.00581 | 0.99152 | -0.059145 | 0.99133 | -0.060523 | 2.1519
18 | 0.063519 | 0.015971 | -0.063469 | -0.015952 | 4.9748e-05 | 1.9024e-05 | 0.096063 | 0.096063 | 0.096063 | 0.9841 | -0.11106 | 0.98331 | -0.11668 | 35.5788
19 | 0.021699 | 0.0054396 | -0.021681 | -0.0054331 | 1.7727e-05 | 6.4842e-06 | 0.032837 | 0.032837 | 0.032837 | 0.98331 | -0.11668 | 0.98248 | -0.12258 | 12.162
20 | 0.04177 | 0.010512 | -0.041714 | -0.010491 | 5.5728e-05 | 2.1151e-05 | 0.063225 | 0.063226 | 0.063226 | 0.98331 | -0.11668 | 0.98195 | -0.12625 | 23.4169
21 | 0.018028 | 0.004519 | -0.018021 | -0.0045166 | 6.8602e-06 | 2.4451e-06 | 0.027061 | 0.027061 | 0.027061 | 0.99132 | -0.060531 | 0.99094 | -0.063279 | 10.0227
22 | 0.0094803 | 0.002376 | -0.0094803 | -0.002376 | 7.6291e-10 | 2.2856e-10 | 0.014236 | 0.014236 | 0.014236 | 0.99094 | -0.063279 | 0.99094 | -0.06328 | 5.2725
23 | -0.16145 | -0.040692 | 0.16192 | 0.040873 | 0.00047144 | 0.00018064 | 0.24105 | 0.24105 | 0.24105 | 0.997 | -0.020794 | 1 | 0 | 44.6384
24 | -0.0025443 | -0.00063766 | 0.0025443 | 0.00063766 | 3.7841e-09 | -3.5228e-09 | 0.0038904 | 0.0038904 | 0.0038904 | 0.97316 | -0.18898 | 0.97316 | -0.18897 | 1.4409
25 | -0.0050319 | -0.0012611 | 0.0050327 | 0.0012611 | 7.3056e-07 | 3.5225e-08 | 0.0076941 | 0.007694 | 0.0076941 | 0.97316 | -0.18897 | 0.97331 | -0.18793 | 2.8497
26 | 0.037948 | 0.009537 | -0.037943 | -0.0095352 | 4.9948e-06 | 1.8907e-06 | 0.057632 | 0.057632 | 0.057632 | 0.97995 | -0.14049 | 0.97981 | -0.14144 | 21.3453
27 | -0.040404 | -0.010153 | 0.040484 | 0.010183 | 8.0245e-05 | 3.0432e-05 | 0.061362 | 0.061362 | 0.061362 | 0.97995 | -0.14049 | 0.98195 | -0.12625 | 22.7266
28 | 0.033746 | 0.0084833 | -0.033701 | -0.0084664 | 4.4635e-05 | 1.6825e-05 | 0.051258 | 0.051258 | 0.051258 | 0.97981 | -0.14144 | 0.97848 | -0.15095 | 18.9846
29 | 0.0012301 | 0.00030801 | -0.00123 | -0.00030828 | 4.9734e-08 | -2.7104e-07 | 0.0018639 | 0.001864 | 0.001864 | 0.98195 | -0.12625 | 0.98191 | -0.12654 | 0.69038
30 | 0.0026045 | 0.00065223 | -0.0026045 | -0.00065229 | 7.1712e-08 | -6.4435e-08 | 0.0039607 | 0.0039607 | 0.0039607 | 0.97848 | -0.15095 | 0.97845 | -0.15115 | 1.4669
31 | 0.031097 | 0.0078142 | -0.031047 | -0.0077956 | 4.9585e-05 | 1.8626e-05 | 0.047298 | 0.047298 | 0.047298 | 0.97848 | -0.15095 | 0.97687 | -0.16243 | 17.5177
32 | 0.0026045 | 0.00065229 | -0.0026041 | -0.00065264 | 3.9391e-07 | -3.5382e-07 | 0.0039607 | 0.0039609 | 0.0039609 | 0.97845 | -0.15115 | 0.9783 | -0.15224 | 1.467
33 | 0.029945 | 0.0075192 | -0.029922 | -0.0075108 | 2.2399e-05 | 8.3993e-06 | 0.045618 | 0.045618 | 0.045618 | 0.97687 | -0.16243 | 0.97611 | -0.16781 | 16.8957
34 | 0.0034815 | 0.00087233 | -0.0034811 | -0.00087245 | 3.6166e-07 | -1.2486e-07 | 0.0052728 | 0.0052729 | 0.0052729 | 0.98248 | -0.12258 | 0.98237 | -0.12333 | 1.9529
35 | 0.0182 | 0.0045608 | -0.0182 | -0.0045608 | 1.1686e-08 | 4.1804e-09 | 0.027565 | 0.027565 | 0.027565 | 0.98248 | -0.12258 | 0.98248 | -0.12259 | 10.2091
36 | 0.029922 | 0.0075108 | -0.029916 | -0.0075087 | 5.7196e-06 | 2.1448e-06 | 0.045618 | 0.045618 | 0.045618 | 0.97611 | -0.16781 | 0.97592 | -0.16919 | 16.8957
37 | 0.016607 | 0.0041616 | -0.016602 | -0.0041598 | 5.0619e-06 | 1.7845e-06 | 0.025152 | 0.025152 | 0.025152 | 0.98248 | -0.12259 | 0.98217 | -0.12479 | 9.3157
38 | 0.02688 | 0.0067478 | -0.026862 | -0.006741 | 1.7989e-05 | 6.7048e-06 | 0.040989 | 0.040989 | 0.040989 | 0.97592 | -0.16919 | 0.97525 | -0.17401 | 15.1811
39 | 0.01513 | 0.0037908 | -0.01513 | -0.0037908 | 1.2585e-07 | 4.3545e-08 | 0.022922 | 0.022922 | 0.022922 | 0.98217 | -0.12479 | 0.98216 | -0.12485 | 8.4896
40 | 0.018611 | 0.0046675 | -0.018607 | -0.0046658 | 4.4712e-06 | 1.6097e-06 | 0.028454 | 0.028454 | 0.028454 | 0.97331 | -0.18793 | 0.97307 | -0.18966 | 10.5386
41 | -0.023644 | -0.0059286 | 0.023652 | 0.0059318 | 8.6369e-06 | 3.1902e-06 | 0.036148 | 0.036148 | 0.036148 | 0.97331 | -0.18793 | 0.97368 | -0.18529 | 13.3882
42 | 0.013555 | 0.0033998 | -0.013543 | -0.0033957 | 1.2222e-05 | 4.1351e-06 | 0.020729 | 0.02073 | 0.02073 | 0.97307 | -0.18966 | 0.97216 | -0.19617 | 7.6776
43 | -0.024932 | -0.0062524 | 0.024964 | 0.0062644 | 3.2274e-05 | 1.1969e-05 | 0.038103 | 0.038103 | 0.038103 | 0.97368 | -0.18529 | 0.97498 | -0.17596 | 14.1123
44 | -0.013525 | -0.0033898 | 0.013536 | 0.0033934 | 1.07e-05 | 3.6215e-06 | 0.02073 | 0.02073 | 0.02073 | 0.97087 | -0.20549 | 0.97166 | -0.19978 | 7.6777
45 | -0.013536 | -0.0033934 | 0.013543 | 0.0033957 | 6.7725e-06 | 2.2918e-06 | 0.02073 | 0.02073 | 0.02073 | 0.97166 | -0.19978 | 0.97216 | -0.19617 | 7.6777
46 | 0.0061762 | 0.0015462 | -0.0061743 | -0.0015459 | 1.8932e-06 | 2.9184e-07 | 0.009368 | 0.0093681 | 0.0093681 | 0.98097 | -0.13335 | 0.98066 | -0.13557 | 3.4697
47 | -0.007488 | -0.001875 | 0.0074912 | 0.0018757 | 3.1779e-06 | 7.2364e-07 | 0.011358 | 0.011358 | 0.011358 | 0.98097 | -0.13335 | 0.9814 | -0.13028 | 4.2066
48 | 0.004231 | 0.0010589 | -0.0042307 | -0.001059 | 3.4236e-07 | -3.6284e-08 | 0.0064195 | 0.0064195 | 0.0064195 | 0.98066 | -0.13557 | 0.98058 | -0.13615 | 2.3776
49 | -0.0091901 | -0.0023015 | 0.0091914 | 0.0023019 | 1.2837e-06 | 3.5981e-07 | 0.013934 | 0.013934 | 0.013934 | 0.9814 | -0.13028 | 0.98154 | -0.12927 | 5.1606
50 | 0.0034991 | 0.00087561 | -0.003499 | -0.00087565 | 1.3765e-07 | -4.5765e-08 | 0.0053094 | 0.0053094 | 0.0053094 | 0.98058 | -0.13615 | 0.98054 | -0.13644 | 1.9665
51 | -0.010078 | -0.0025242 | 0.010079 | 0.0025243 | 3.7196e-07 | 1.1078e-07 | 0.015278 | 0.015278 | 0.015278 | 0.98154 | -0.12927 | 0.98158 | -0.129 | 5.6587
52 | 0.0022236 | 0.00055668 | -0.0022232 | -0.00055719 | 3.7108e-07 | -5.1596e-07 | 0.0033742 | 0.0033744 | 0.0033744 | 0.98054 | -0.13644 | 0.98037 | -0.13764 | 1.2498
53 | 0.0012754 | 0.00031897 | -0.0012754 | -0.00031905 | 1.4447e-08 | -7.242e-08 | 0.0019352 | 0.0019353 | 0.0019353 | 0.98054 | -0.13644 | 0.98053 | -0.13652 | 0.71677
54 | -0.011799 | -0.0029554 | 0.011803 | 0.0029568 | 4.3462e-06 | 1.3963e-06 | 0.017886 | 0.017886 | 0.017886 | 0.98158 | -0.129 | 0.98195 | -0.12634 | 6.6244
55 | 0.0012754 | 0.00031905 | -0.0012753 | -0.00031961 | 1.1291e-07 | -5.6583e-07 | 0.0019353 | 0.0019355 | 0.0019355 | 0.98053 | -0.13652 | 0.98044 | -0.13716 | 0.71685
56 | -0.013795 | -0.0034559 | 0.013797 | 0.0034568 | 2.8324e-06 | 9.5793e-07 | 0.020903 | 0.020903 | 0.020903 | 0.98195 | -0.12634 | 0.98216 | -0.12485 | 7.7419
57 | -0.026855 | -0.0067383 | 0.026862 | 0.006741 | 7.2772e-06 | 2.7123e-06 | 0.040989 | 0.040989 | 0.040989 | 0.97498 | -0.17596 | 0.97525 | -0.17401 | 15.1811

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.16462 | 0.041347

## res_load
| p_mw | q_mvar
0 | 0.015998 | 0.0040096
1 | 0.0024588 | 0.00061622
2 | 0.0066055 | 0.0016555
3 | 0.012928 | 0.00324
4 | 0.0038545 | 0.00096604
5 | 0.0053708 | 0.0013461
6 | 0.0068952 | 0.0017281
7 | 0.003132 | 0.00078497
8 | 0.004657 | 0.0011672
9 | 0.00086213 | 0.00021607
10 | 0.0056177 | 0.0014079
11 | 0.0063017 | 0.0015794
12 | 0.008541 | 0.0021406
13 | 0.0094803 | 0.002376
14 | 0.0018928 | 0.00047439
15 | 0.0025443 | 0.00063766
16 | 0.0024876 | 0.00062346
17 | 0.0024561 | 0.00061556
18 | 0.0041971 | 0.0010519
19 | 0.00123 | 0.00030828
20 | 0.0011026 | 0.00027635
21 | 0.0026041 | 0.00065264
22 | 0.0034811 | 0.00087245
23 | 0.0015928 | 0.00039919
24 | 0.0030362 | 0.00076095
25 | 0.0014722 | 0.00036898
26 | 0.0050515 | 0.001266
27 | 0.0012794 | 0.00032065
28 | 0.013525 | 0.0033898
29 | 0.0013118 | 0.00032877
30 | 0.0019433 | 0.00048703
31 | 0.0016989 | 0.00042579
32 | 0.00073157 | 0.00018335
33 | 0.00088708 | 0.00022232
34 | 0.00172 | 0.00043108
35 | 0.0022232 | 0.00055719
36 | 0.0019913 | 0.00049906
37 | 0.0012753 | 0.00031961
38 | 0.0013325 | 0.00033395
39 | 0.0018909 | 0.00047392
40 | 0.0038707 | 0.00097009

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1