## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2406-4_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2406-4_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2406-4_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2406-4_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2406-4_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2406-4_0_2_node_36 | 0.4 | n |  | TRUE
6 | bus_LV_2406-4_0_2_node_26 | 0.4 | n |  | TRUE
7 | bus_LV_2406-4_0_2_node_55 | 0.4 | n |  | TRUE
8 | bus_LV_2406-4_0_2_node_34 | 0.4 | n |  | TRUE
9 | bus_LV_2406-4_0_2_node_35 | 0.4 | n |  | TRUE
10 | bus_LV_2406-4_0_2_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_2406-4_0_2_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_2406-4_0_2_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_2406-4_0_2_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_2406-4_0_2_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_2406-4_0_2_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_2406-4_0_2_node_21 | 0.4 | n |  | TRUE
17 | bus_LV_2406-4_0_2_node_18 | 0.4 | n |  | TRUE
18 | bus_LV_2406-4_0_2_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_2406-4_0_2_node_25 | 0.4 | n |  | TRUE
20 | bus_LV_2406-4_0_2_node_22 | 0.4 | n |  | TRUE
21 | bus_LV_2406-4_0_2_node_56 | 0.4 | n |  | TRUE
22 | bus_LV_2406-4_0_2_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_2406-4_0_2_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_2406-4_0_2_node_31 | 0.4 | n |  | TRUE
25 | bus_LV_2406-4_0_2_node_23 | 0.4 | n |  | TRUE
26 | bus_LV_2406-4_0_2_node_33 | 0.4 | n |  | TRUE
27 | bus_LV_2406-4_0_2_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_2406-4_0_2_node_51 | 0.4 | n |  | TRUE
29 | bus_LV_2406-4_0_2_node_13 | 0.4 | n |  | TRUE
30 | bus_LV_2406-4_0_2_node_14 | 0.4 | n |  | TRUE
31 | bus_LV_2406-4_0_2_node_15 | 0.4 | n |  | TRUE
32 | bus_LV_2406-4_0_2_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_2406-4_0_2_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_2406-4_0_2_node_54 | 0.4 | n |  | TRUE
35 | bus_LV_2406-4_0_2_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_2406-4_0_2_node_28 | 0.4 | n |  | TRUE
37 | bus_LV_2406-4_0_2_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_2406-4_0_2_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_2406-4_0_2_node_59 | 0.4 | n |  | TRUE
40 | bus_LV_2406-4_0_2_node_60 | 0.4 | n |  | TRUE
41 | bus_LV_2406-4_0_2_node_50 | 0.4 | n |  | TRUE
42 | bus_LV_2406-4_0_2_node_37 | 0.4 | n |  | TRUE
43 | bus_LV_2406-4_0_2_node_45 | 0.4 | n |  | TRUE
44 | bus_LV_2406-4_0_2_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_2406-4_0_2_node_61 | 0.4 | n |  | TRUE
46 | bus_LV_2406-4_0_2_node_57 | 0.4 | n |  | TRUE
47 | bus_LV_2406-4_0_2_node_47 | 0.4 | n |  | TRUE
48 | bus_LV_2406-4_0_2_node_44 | 0.4 | n |  | TRUE
49 | bus_LV_2406-4_0_2_node_62 | 0.4 | n |  | TRUE
50 | bus_LV_2406-4_0_2_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_2406-4_0_2_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_2406-4_0_2_node_41 | 0.4 | n |  | TRUE
53 | bus_LV_2406-4_0_2_node_42 | 0.4 | n |  | TRUE
54 | bus_LV_2406-4_0_2_node_43 | 0.4 | n |  | TRUE
55 | bus_LV_2406-4_0_2_node_46 | 0.4 | n |  | TRUE
56 | bus_LV_2406-4_0_2_node_49 | 0.4 | n |  | TRUE
57 | bus_LV_2406-4_0_2_node_53 | 0.4 | n |  | TRUE
58 | bus_LV_2406-4_0_2_node_52 | 0.4 | n |  | TRUE
59 | bus_LV_2406-4_0_2_node_48 | 0.4 | n |  | TRUE
60 | bus_LV_2406-4_0_2_node_63 | 0.4 | n |  | TRUE
61 | bus_LV_2406-4_0_2_node_58 | 0.4 | n |  | TRUE
62 | bus_MV_334_0_node_277 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2406-4_0_2_load_0 | 0 | 0.0023732 | 0.00059478 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2406-4_0_2_load_1 | 1 | 0.0027741 | 0.00069526 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2406-4_0_2_load_2 | 2 | 0.0051388 | 0.0012879 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2406-4_0_2_load_4 | 4 | 0.0018777 | 0.00047059 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2406-4_0_2_load_36 | 5 | 0.0030008 | 0.00075208 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2406-4_0_2_load_26 | 6 | 0.00093912 | 0.00023537 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2406-4_0_2_load_34 | 8 | 0.0031234 | 0.0007828 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2406-4_0_2_load_5 | 10 | 0.0061247 | 0.001535 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2406-4_0_2_load_6 | 11 | 0.0041843 | 0.0010487 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2406-4_0_2_load_9 | 14 | 0.0029704 | 0.00074446 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2406-4_0_2_load_21 | 16 | 0.0058577 | 0.0014681 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2406-4_0_2_load_18 | 17 | 0.0089161 | 0.0022346 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2406-4_0_2_load_11 | 18 | 0.0068057 | 0.0017057 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2406-4_0_2_load_25 | 19 | 0.0045163 | 0.0011319 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2406-4_0_2_load_22 | 20 | 0.0013839 | 0.00034685 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2406-4_0_2_load_19 | 22 | 0.00075602 | 0.00018948 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2406-4_0_2_load_31 | 24 | 0.0041305 | 0.0010352 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2406-4_0_2_load_23 | 25 | 0.0023134 | 0.0005798 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2406-4_0_2_load_33 | 26 | 0.0023466 | 0.00058812 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2406-4_0_2_load_17 | 27 | 0.0010848 | 0.00027187 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2406-4_0_2_load_51 | 28 | 0.0033926 | 0.00085027 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2406-4_0_2_load_13 | 29 | 0.0012463 | 0.00031236 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2406-4_0_2_load_15 | 31 | 0.0011094 | 0.00027803 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2406-4_0_2_load_20 | 32 | 0.0055787 | 0.0013981 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2406-4_0_2_load_24 | 33 | 0.0013854 | 0.00034722 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2406-4_0_2_load_54 | 34 | 0.0048213 | 0.0012083 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2406-4_0_2_load_29 | 35 | 0.0067967 | 0.0017034 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2406-4_0_2_load_28 | 36 | 0.0059543 | 0.0014923 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2406-4_0_2_load_30 | 37 | 0.0091699 | 0.0022982 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2406-4_0_2_load_32 | 38 | 0.00073589 | 0.00018443 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2406-4_0_2_load_59 | 39 | 0.0043022 | 0.0010782 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2406-4_0_2_load_60 | 40 | 0.0072029 | 0.0018052 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2406-4_0_2_load_37 | 42 | 0.0021748 | 0.00054505 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2406-4_0_2_load_38 | 44 | 0.0072399 | 0.0018145 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2406-4_0_2_load_57 | 46 | 0.0013702 | 0.0003434 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2406-4_0_2_load_47 | 47 | 0.012282 | 0.0030781 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2406-4_0_2_load_44 | 48 | 0.0024447 | 0.0006127 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2406-4_0_2_load_39 | 50 | 0.0031693 | 0.00079431 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2406-4_0_2_load_40 | 51 | 0.002748 | 0.00068871 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2406-4_0_2_load_41 | 52 | 0.0031641 | 0.00079301 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2406-4_0_2_load_43 | 54 | 0.0031537 | 0.00079038 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2406-4_0_2_load_49 | 56 | 0.0019603 | 0.00049129 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2406-4_0_2_load_52 | 58 | 0.00204 | 0.00051127 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2406-4_0_2_load_48 | 59 | 0.0031598 | 0.00079191 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2406-4_0_2_load_63 | 60 | 0.0097291 | 0.0024383 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2406-4_0_2_load_58 | 61 | 0.007996 | 0.002004 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 40 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2406-4_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.026364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2406-4_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.031372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2406-4_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.010324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2406-4_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.046626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2406-4_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.023349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2406-4_0_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.018995 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2406-4_0_2_line_6 | NAYY 4x150 SE | 5 | 7 | 0.0022414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2406-4_0_2_line_7 | NAYY 4x150 SE | 7 | 46 | 0.024536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2406-4_0_2_line_8 | NAYY 4x150 SE | 7 | 34 | 0.029647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2406-4_0_2_line_9 | NAYY 4x150 SE | 8 | 9 | 0.012146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2406-4_0_2_line_10 | NAYY 4x150 SE | 9 | 42 | 0.013279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2406-4_0_2_line_11 | NAYY 4x150 SE | 10 | 11 | 0.049748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2406-4_0_2_line_12 | NAYY 4x150 SE | 10 | 12 | 0.020544 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2406-4_0_2_line_13 | NAYY 4x150 SE | 11 | 13 | 0.01319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2406-4_0_2_line_14 | NAYY 4x150 SE | 12 | 14 | 0.026395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_2406-4_0_2_line_15 | NAYY 4x150 SE | 12 | 15 | 0.032359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
16 | LV_2406-4_0_2_line_16 | NAYY 4x150 SE | 13 | 16 | 0.057968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2406-4_0_2_line_17 | NAYY 4x150 SE | 13 | 17 | 0.058809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2406-4_0_2_line_18 | NAYY 4x150 SE | 14 | 18 | 0.0016226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
19 | LV_2406-4_0_2_line_19 | NAYY 4x150 SE | 15 | 19 | 0.019764 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
20 | LV_2406-4_0_2_line_20 | NAYY 4x150 SE | 15 | 20 | 0.034246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2406-4_0_2_line_21 | NAYY 4x150 SE | 16 | 21 | 0.032603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2406-4_0_2_line_22 | NAYY 4x150 SE | 17 | 22 | 0.026616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2406-4_0_2_line_23 | NAYY 4x150 SE | 18 | 23 | 0.017022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
24 | LV_2406-4_0_2_line_24 | NAYY 4x150 SE | 19 | 24 | 0.00067785 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
25 | LV_2406-4_0_2_line_25 | NAYY 4x150 SE | 20 | 25 | 0.00057713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2406-4_0_2_line_26 | NAYY 4x150 SE | 21 | 31 | 0.055669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2406-4_0_2_line_27 | NAYY 4x150 SE | 22 | 32 | 0.011238 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2406-4_0_2_line_28 | NAYY 4x150 SE | 23 | 26 | 0.045243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
29 | LV_2406-4_0_2_line_29 | NAYY 4x150 SE | 23 | 27 | 0.0035016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2406-4_0_2_line_30 | NAYY 4x150 SE | 24 | 35 | 0.020146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
31 | LV_2406-4_0_2_line_31 | NAYY 4x150 SE | 25 | 33 | 0.027012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2406-4_0_2_line_32 | NAYY 4x150 SE | 26 | 28 | 0.019984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
33 | LV_2406-4_0_2_line_33 | NAYY 4x150 SE | 28 | 41 | 0.036161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
34 | LV_2406-4_0_2_line_34 | NAYY 4x150 SE | 29 | 30 | 0.019582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2406-4_0_2_line_35 | NAYY 4x150 SE | 30 | 31 | 0.035592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2406-4_0_2_line_36 | NAYY 4x150 SE | 33 | 34 | 0.0010524 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2406-4_0_2_line_37 | NAYY 4x150 SE | 35 | 36 | 0.0065659 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
38 | LV_2406-4_0_2_line_38 | NAYY 4x150 SE | 36 | 37 | 0.013052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
39 | LV_2406-4_0_2_line_39 | NAYY 4x150 SE | 37 | 38 | 0.0054503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
40 | LV_2406-4_0_2_line_40 | NAYY 4x150 SE | 38 | 39 | 0.017045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
41 | LV_2406-4_0_2_line_41 | NAYY 4x150 SE | 39 | 40 | 0.001432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
42 | LV_2406-4_0_2_line_42 | NAYY 4x150 SE | 41 | 59 | 0.032742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
43 | LV_2406-4_0_2_line_43 | NAYY 4x150 SE | 42 | 43 | 0.015717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2406-4_0_2_line_44 | NAYY 4x150 SE | 43 | 47 | 0.025955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2406-4_0_2_line_45 | NAYY 4x150 SE | 43 | 48 | 0.0046593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_2406-4_0_2_line_46 | NAYY 4x150 SE | 44 | 45 | 0.028873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_2406-4_0_2_line_47 | NAYY 4x150 SE | 45 | 49 | 0.014637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_2406-4_0_2_line_48 | NAYY 4x150 SE | 46 | 61 | 0.062533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_2406-4_0_2_line_49 | NAYY 4x150 SE | 47 | 49 | 0.003401 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_2406-4_0_2_line_50 | NAYY 4x150 SE | 49 | 60 | 0.018842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_2406-4_0_2_line_51 | NAYY 4x150 SE | 50 | 51 | 0.032846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
52 | LV_2406-4_0_2_line_52 | NAYY 4x150 SE | 50 | 52 | 0.030237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
53 | LV_2406-4_0_2_line_53 | NAYY 4x150 SE | 51 | 53 | 0.021124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
54 | LV_2406-4_0_2_line_54 | NAYY 4x150 SE | 52 | 54 | 0.034433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
55 | LV_2406-4_0_2_line_55 | NAYY 4x150 SE | 53 | 55 | 0.025559 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_2406-4_0_2_line_56 | NAYY 4x150 SE | 54 | 56 | 0.024244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
57 | LV_2406-4_0_2_line_57 | NAYY 4x150 SE | 55 | 57 | 0.004432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_2406-4_0_2_line_58 | NAYY 4x150 SE | 55 | 58 | 0.016289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_2406-4_0_2_line_59 | NAYY 4x150 SE | 56 | 59 | 0.0090213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
60 | LV_2406-4_0_2_line_60 | NAYY 4x150 SE | 57 | 60 | 0.020952 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2406-4_0_2_trafo_60 | 0.25 MVA 20/0.4 kV | 62 | 40 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2624931.0533 | 1239564.8426 | 2624916.8549 | 1239587.057
1 | 2624931.0533 | 1239564.8426 | 2624940.3322 | 1239550.325 | 2624947.8342 | 1239538.336
2 | 2624911.2918 | 1239595.754 | 2624915.5697 | 1239589.0678 | 2624916.8549 | 1239587.057
3 | 2624947.8342 | 1239538.336 | 2624950.9833 | 1239533.3034 | 2624961.2418 | 1239516.1246 | 2624971.2979 | 1239498.054
4 | 2624911.2918 | 1239595.754 | 2624899.4914 | 1239615.9019
5 | 2624980.5343 | 1239481.4562 | 2624971.2979 | 1239498.054
6 | 2624898.3586 | 1239617.836 | 2624899.4914 | 1239615.9019
7 | 2624898.3586 | 1239617.836 | 2624877.2981 | 1239605.2474
8 | 2624898.3586 | 1239617.836 | 2624887.8857 | 1239635.7256 | 2624883.7382 | 1239643.6202
9 | 2624958.86 | 1239634.9446 | 2624949.302 | 1239627.45
10 | 2624958.86 | 1239634.9446 | 2624969.3119 | 1239643.135
11 | 2624778.305 | 1239693.0953 | 2624789.504 | 1239700.4999 | 2624797.7477 | 1239705.7042 | 2624798.6754 | 1239706.2862 | 2624801.5565 | 1239708.1105 | 2624804.3999 | 1239709.9012 | 2624821.03 | 1239718.4704
12 | 2624839.2919 | 1239727.8803 | 2624821.03 | 1239718.4704
13 | 2624767.3024 | 1239685.8205 | 2624778.305 | 1239693.0953
14 | 2624839.2919 | 1239727.8803 | 2624826.1317 | 1239750.7606
15 | 2624854.4901 | 1239699.2925 | 2624839.2919 | 1239727.8803
16 | 2624767.3024 | 1239685.8205 | 2624719.3312 | 1239653.2776
17 | 2624767.3024 | 1239685.8205 | 2624795.3884 | 1239634.1519
18 | 2624826.1317 | 1239750.7606 | 2624825.3227 | 1239752.1672
19 | 2624854.4901 | 1239699.2925 | 2624868.202 | 1239707.8996 | 2624871.1711 | 1239709.8906
20 | 2624854.4901 | 1239699.2925 | 2624870.4174 | 1239668.9757
21 | 2624691.7978 | 1239635.8976 | 2624700.2038 | 1239640.3019 | 2624719.3312 | 1239653.2776
22 | 2624808.0996 | 1239610.7678 | 2624795.3884 | 1239634.1519
23 | 2624816.836 | 1239766.9222 | 2624825.3227 | 1239752.1672
24 | 2624871.734 | 1239710.2681 | 2624871.1711 | 1239709.8906
25 | 2624870.6858 | 1239668.4648 | 2624870.4174 | 1239668.9757
26 | 2624691.7978 | 1239635.8976 | 2624665.4589 | 1239684.9418
27 | 2624813.4669 | 1239600.8939 | 2624808.0996 | 1239610.7678
28 | 2624816.836 | 1239766.9222 | 2624854.2601 | 1239792.3465
29 | 2624816.836 | 1239766.9222 | 2624814.9993 | 1239769.9034
30 | 2624871.734 | 1239710.2681 | 2624886.1042 | 1239719.9042 | 2624888.8845 | 1239720.5051 | 2624888.8845 | 1239720.5051
31 | 2624883.2487 | 1239644.5519 | 2624870.6858 | 1239668.4648
32 | 2624870.7905 | 1239803.5766 | 2624854.2601 | 1239792.3465
33 | 2624900.702 | 1239823.8972 | 2624870.7905 | 1239803.5766
34 | 2624647.1997 | 1239715.2958 | 2624658.2644 | 1239729.5617 | 2624659.2995 | 1239730.6864
35 | 2624647.1997 | 1239715.2958 | 2624652.0009 | 1239710.0012 | 2624665.4589 | 1239684.9418
36 | 2624883.2487 | 1239644.5519 | 2624883.7382 | 1239643.6202
37 | 2624888.8845 | 1239720.5051 | 2624891.2502 | 1239718.9919 | 2624893.6087 | 1239716.0666
38 | 2624901.8011 | 1239705.9056 | 2624901.8011 | 1239705.9056 | 2624893.6087 | 1239716.0666
39 | 2624902.806 | 1239700.5487 | 2624901.8011 | 1239705.9056
40 | 2624910.9997 | 1239685.84 | 2624903.41 | 1239697.3292 | 2624902.806 | 1239700.5487
41 | 2624911.789 | 1239684.6452 | 2624910.9997 | 1239685.84
42 | 2624900.702 | 1239823.8972 | 2624919.6041 | 1239797.5042 | 2624919.7697 | 1239797.2807
43 | 2624981.6832 | 1239652.8294 | 2624969.3119 | 1239643.135
44 | 2624981.6832 | 1239652.8294 | 2624997.0554 | 1239631.9168
45 | 2624981.6832 | 1239652.8294 | 2624985.3498 | 1239655.7043
46 | 2625007.7478 | 1239617.3722 | 2624984.6044 | 1239600.1086
47 | 2624999.0697 | 1239629.1765 | 2625007.7478 | 1239617.3722
48 | 2624877.2981 | 1239605.2474 | 2624861.5697 | 1239595.8461 | 2624857.6317 | 1239593.5838 | 2624855.9195 | 1239592.5204 | 2624863.9935 | 1239578.6344 | 2624844.754 | 1239568.8398
49 | 2624999.0697 | 1239629.1765 | 2624997.0554 | 1239631.9168
50 | 2624999.0697 | 1239629.1765 | 2625014.0815 | 1239640.5629
51 | 2624979.6512 | 1239719.8092 | 2625000.4511 | 1239694.3879
52 | 2624979.6512 | 1239719.8092 | 2624966.3987 | 1239736.0063 | 2624960.6264 | 1239743.3103
53 | 2625013.4604 | 1239677.7452 | 2625000.6037 | 1239694.2015 | 2625000.4511 | 1239694.3879
54 | 2624939.576 | 1239770.5539 | 2624946.7996 | 1239760.8063 | 2624960.6264 | 1239743.3103
55 | 2625013.4604 | 1239677.7452 | 2625028.2189 | 1239656.8497
56 | 2624939.576 | 1239770.5539 | 2624925.141 | 1239790.0327
57 | 2625030.775 | 1239653.2249 | 2625028.2189 | 1239656.8497
58 | 2625028.2189 | 1239656.8497 | 2625014.9642 | 1239647.3817
59 | 2624919.7697 | 1239797.2807 | 2624925.141 | 1239790.0327
60 | 2625030.775 | 1239653.2249 | 2625014.0815 | 1239640.5629

## bus_geodata
| x | y | coords
0 | 2624931.0533 | 1239564.8426
1 | 2624916.8549 | 1239587.057
2 | 2624947.8342 | 1239538.336
3 | 2624911.2918 | 1239595.754
4 | 2624971.2979 | 1239498.054
5 | 2624899.4914 | 1239615.9019
6 | 2624980.5343 | 1239481.4562
7 | 2624898.3586 | 1239617.836
8 | 2624949.302 | 1239627.45
9 | 2624958.86 | 1239634.9446
10 | 2624821.03 | 1239718.4704
11 | 2624778.305 | 1239693.0953
12 | 2624839.2919 | 1239727.8803
13 | 2624767.3024 | 1239685.8205
14 | 2624826.1317 | 1239750.7606
15 | 2624854.4901 | 1239699.2925
16 | 2624719.3312 | 1239653.2776
17 | 2624795.3884 | 1239634.1519
18 | 2624825.3227 | 1239752.1672
19 | 2624871.1711 | 1239709.8906
20 | 2624870.4174 | 1239668.9757
21 | 2624691.7978 | 1239635.8976
22 | 2624808.0996 | 1239610.7678
23 | 2624816.836 | 1239766.9222
24 | 2624871.734 | 1239710.2681
25 | 2624870.6858 | 1239668.4647
26 | 2624854.2601 | 1239792.3465
27 | 2624814.9993 | 1239769.9034
28 | 2624870.7905 | 1239803.5766
29 | 2624659.2995 | 1239730.6864
30 | 2624647.1997 | 1239715.2958
31 | 2624665.4589 | 1239684.9418
32 | 2624813.4669 | 1239600.8939
33 | 2624883.2487 | 1239644.5519
34 | 2624883.7382 | 1239643.6202
35 | 2624888.8845 | 1239720.5051
36 | 2624893.6087 | 1239716.0666
37 | 2624901.8011 | 1239705.9056
38 | 2624902.806 | 1239700.5487
39 | 2624910.9997 | 1239685.84
40 | 2624911.789 | 1239684.6452
41 | 2624900.702 | 1239823.8972
42 | 2624969.3119 | 1239643.135
43 | 2624981.6832 | 1239652.8294
44 | 2624984.6044 | 1239600.1086
45 | 2625007.7478 | 1239617.3722
46 | 2624877.2981 | 1239605.2474
47 | 2624997.0554 | 1239631.9168
48 | 2624985.3498 | 1239655.7043
49 | 2624999.0697 | 1239629.1765
50 | 2624979.6512 | 1239719.8092
51 | 2625000.4511 | 1239694.3879
52 | 2624960.6264 | 1239743.3103
53 | 2625013.4604 | 1239677.7452
54 | 2624939.576 | 1239770.5539
55 | 2625028.2189 | 1239656.8497
56 | 2624925.141 | 1239790.0327
57 | 2625030.775 | 1239653.2249
58 | 2625014.9642 | 1239647.3817
59 | 2624919.7697 | 1239797.2807
60 | 2625014.0815 | 1239640.5629
61 | 2624844.754 | 1239568.8398
62 | 2624854.4901 | 1239699.2925

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98513 | -0.10402 | 0.0023732 | 0.00059478
1 | 0.98552 | -0.10122 | 0.0027741 | 0.00069526
2 | 0.98477 | -0.10659 | 0.0051388 | 0.0012879
3 | 0.98572 | -0.099827 | 0 | 0
4 | 0.98457 | -0.10794 | 0.0018777 | 0.00047059
5 | 0.98616 | -0.096682 | 0.0030008 | 0.00075208
6 | 0.98455 | -0.10813 | 0.00093912 | 0.00023537
7 | 0.98621 | -0.096312 | 0 | 0
8 | 0.97048 | -0.20806 | 0.0031234 | 0.0007828
9 | 0.97054 | -0.20766 | 0 | 0
10 | 0.98685 | -0.091673 | 0.0061247 | 0.001535
11 | 0.98485 | -0.10581 | 0.0041843 | 0.0010487
12 | 0.98785 | -0.084562 | 0 | 0
13 | 0.9844 | -0.109 | 0 | 0
14 | 0.98644 | -0.094439 | 0.0029704 | 0.00074446
15 | 0.99037 | -0.066921 | 0 | 0
16 | 0.98371 | -0.11392 | 0.0058577 | 0.0014681
17 | 0.9831 | -0.11826 | 0.0089161 | 0.0022346
18 | 0.98636 | -0.095022 | 0.0068057 | 0.0017057
19 | 0.99241 | -0.052642 | 0.0045163 | 0.0011319
20 | 0.98862 | -0.07928 | 0.0013839 | 0.00034685
21 | 0.9836 | -0.11472 | 0 | 0
22 | 0.98286 | -0.12 | 0.00075602 | 0.00018948
23 | 0.98557 | -0.10055 | 0 | 0
24 | 0.99248 | -0.052138 | 0.0041305 | 0.0010352
25 | 0.98859 | -0.079481 | 0.0023134 | 0.0005798
26 | 0.98352 | -0.11504 | 0.0023466 | 0.00058812
27 | 0.98557 | -0.10059 | 0.0010848 | 0.00027187
28 | 0.98264 | -0.12121 | 0.0033926 | 0.00085027
29 | 0.98331 | -0.11679 | 0.0012463 | 0.00031236
30 | 0.98335 | -0.11653 | 0 | 0
31 | 0.98341 | -0.11607 | 0.0011094 | 0.00027803
32 | 0.98277 | -0.12065 | 0.0055787 | 0.0013981
33 | 0.98735 | -0.088237 | 0.0013854 | 0.00034722
34 | 0.9873 | -0.088564 | 0.0048213 | 0.0012083
35 | 0.99469 | -0.036766 | 0.0067967 | 0.0017034
36 | 0.99544 | -0.031546 | 0.0059543 | 0.0014923
37 | 0.99699 | -0.020803 | 0.0091699 | 0.0022982
38 | 0.99767 | -0.016076 | 0.00073589 | 0.00018443
39 | 0.99982 | -0.0012716 | 0.0043022 | 0.0010782
40 | 1 | 0 | -0.18146 | -0.045647
41 | 0.98115 | -0.13178 | 0 | 0
42 | 0.9706 | -0.20722 | 0.0021748 | 0.00054505
43 | 0.97072 | -0.20634 | 0 | 0
44 | 0.97065 | -0.20682 | 0.0072399 | 0.0018145
45 | 0.97096 | -0.20461 | 0 | 0
46 | 0.98588 | -0.098672 | 0.0013702 | 0.0003434
47 | 0.97101 | -0.20421 | 0.012282 | 0.0030781
48 | 0.9707 | -0.20646 | 0.0024447 | 0.0006127
49 | 0.97111 | -0.20349 | 0 | 0
50 | 0.97632 | -0.16611 | 0.0031693 | 0.00079431
51 | 0.97532 | -0.17331 | 0.002748 | 0.00068871
52 | 0.97732 | -0.159 | 0.0031641 | 0.00079301
53 | 0.97471 | -0.17764 | 0 | 0
54 | 0.97853 | -0.15035 | 0.0031537 | 0.00079038
55 | 0.97325 | -0.18814 | 0 | 0
56 | 0.97944 | -0.14387 | 0.0019603 | 0.00049129
57 | 0.97301 | -0.18987 | 0 | 0
58 | 0.9732 | -0.18849 | 0.00204 | 0.00051127
59 | 0.9798 | -0.14137 | 0.0031598 | 0.00079191
60 | 0.97187 | -0.19805 | 0.0097291 | 0.0024383
61 | 0.98516 | -0.10381 | 0.007996 | 0.002004
62 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.010332 | -0.0025887 | 0.010336 | 0.0025899 | 4.0068e-06 | 1.2053e-06 | 0.015606 | 0.015606 | 0.015606 | 0.98513 | -0.10402 | 0.98552 | -0.10122 | 5.7801
1 | 0.007959 | 0.0019939 | -0.0079562 | -0.0019932 | 2.8292e-06 | 6.8888e-07 | 0.012022 | 0.012022 | 0.012022 | 0.98513 | -0.10402 | 0.98477 | -0.10659 | 4.4525
2 | -0.01311 | -0.0032852 | 0.013113 | 0.003286 | 2.5243e-06 | 8.3931e-07 | 0.019795 | 0.019795 | 0.019795 | 0.98552 | -0.10122 | 0.98572 | -0.099827 | 7.3314
3 | 0.0028174 | 0.00070534 | -0.0028168 | -0.00070573 | 5.2724e-07 | -3.903e-07 | 0.0042569 | 0.0042571 | 0.0042571 | 0.98477 | -0.10659 | 0.98457 | -0.10794 | 1.5767
4 | -0.013113 | -0.003286 | 0.013119 | 0.0032879 | 5.709e-06 | 1.898e-06 | 0.019795 | 0.019795 | 0.019795 | 0.98572 | -0.099827 | 0.98616 | -0.096682 | 7.3314
5 | 0.00093915 | 0.00023513 | -0.00093912 | -0.00023537 | 2.3877e-08 | -2.3238e-07 | 0.0014193 | 0.0014194 | 0.0014194 | 0.98457 | -0.10794 | 0.98455 | -0.10813 | 0.52569
6 | -0.016119 | -0.00404 | 0.01612 | 0.0040403 | 8.2741e-07 | 2.8964e-07 | 0.024323 | 0.024323 | 0.024323 | 0.98616 | -0.096682 | 0.98621 | -0.096312 | 9.0084
7 | 0.0093749 | 0.0023496 | -0.0093719 | -0.0023488 | 3.0634e-06 | 8.6526e-07 | 0.014145 | 0.014145 | 0.014145 | 0.98621 | -0.096312 | 0.98588 | -0.098672 | 5.239
8 | -0.025495 | -0.0063899 | 0.025523 | 0.0064001 | 2.7376e-05 | 1.015e-05 | 0.038468 | 0.038468 | 0.038468 | 0.98621 | -0.096312 | 0.9873 | -0.088564 | 14.2473
9 | -0.0031234 | -0.0007828 | 0.0031236 | 0.00078271 | 1.7382e-07 | -8.3231e-08 | 0.004789 | 0.004789 | 0.004789 | 0.97048 | -0.20806 | 0.97054 | -0.20766 | 1.7737
10 | -0.0031236 | -0.00078271 | 0.0031238 | 0.00078262 | 1.9003e-07 | -9.1015e-08 | 0.004789 | 0.0047889 | 0.004789 | 0.97054 | -0.20766 | 0.9706 | -0.20722 | 1.7737
11 | 0.027741 | 0.0069604 | -0.027687 | -0.0069401 | 5.4323e-05 | 2.0259e-05 | 0.041832 | 0.041832 | 0.041832 | 0.98685 | -0.091673 | 0.98485 | -0.10581 | 15.4935
12 | -0.033866 | -0.0084954 | 0.033899 | 0.008508 | 3.3431e-05 | 1.2595e-05 | 0.051067 | 0.051067 | 0.051067 | 0.98685 | -0.091673 | 0.98785 | -0.084562 | 18.9138
13 | 0.023502 | 0.0058915 | -0.023492 | -0.0058876 | 1.0379e-05 | 3.8241e-06 | 0.03551 | 0.03551 | 0.03551 | 0.98485 | -0.10581 | 0.9844 | -0.109 | 13.152
14 | 0.073856 | 0.018615 | -0.073754 | -0.018577 | 0.000102 | 3.8554e-05 | 0.11129 | 0.11129 | 0.11129 | 0.98785 | -0.084562 | 0.98644 | -0.094439 | 20.609
15 | -0.10776 | -0.027123 | 0.10802 | 0.027225 | 0.00026612 | 0.00010152 | 0.16236 | 0.16236 | 0.16236 | 0.98785 | -0.084562 | 0.99037 | -0.066921 | 30.0659
16 | 0.0082198 | 0.0020584 | -0.0082142 | -0.002057 | 5.5838e-06 | 1.4112e-06 | 0.012424 | 0.012425 | 0.012425 | 0.9844 | -0.109 | 0.98371 | -0.11392 | 4.6017
17 | 0.015272 | 0.0038293 | -0.015253 | -0.0038225 | 1.9558e-05 | 6.7758e-06 | 0.023086 | 0.023086 | 0.023086 | 0.9844 | -0.109 | 0.9831 | -0.11826 | 8.5505
18 | 0.070784 | 0.017832 | -0.070778 | -0.01783 | 5.7753e-06 | 2.1798e-06 | 0.10681 | 0.10681 | 0.10681 | 0.98644 | -0.094439 | 0.98636 | -0.095022 | 19.7793
19 | -0.14355 | -0.036146 | 0.14384 | 0.036255 | 0.00028702 | 0.00010988 | 0.21574 | 0.21574 | 0.21574 | 0.99037 | -0.066921 | 0.99241 | -0.052642 | 39.9523
20 | 0.035528 | 0.0089206 | -0.035468 | -0.0088976 | 6.0907e-05 | 2.2986e-05 | 0.053387 | 0.053387 | 0.053387 | 0.99037 | -0.066921 | 0.98862 | -0.07928 | 19.773
21 | 0.0023565 | 0.00058889 | -0.0023562 | -0.0005892 | 2.5842e-07 | -3.1447e-07 | 0.003564 | 0.0035641 | 0.0035641 | 0.98371 | -0.11392 | 0.9836 | -0.11472 | 1.32
22 | 0.0063367 | 0.0015879 | -0.0063352 | -0.0015877 | 1.5278e-06 | 2.5022e-07 | 0.0095911 | 0.0095912 | 0.0095912 | 0.9831 | -0.11826 | 0.98286 | -0.12 | 3.5523
23 | 0.063972 | 0.016125 | -0.063923 | -0.016106 | 4.9497e-05 | 1.8603e-05 | 0.096541 | 0.096541 | 0.096541 | 0.98636 | -0.095022 | 0.98557 | -0.10055 | 17.878
24 | -0.14835 | -0.037387 | 0.14836 | 0.037391 | 1.0471e-05 | 4.0099e-06 | 0.22251 | 0.22251 | 0.22251 | 0.99241 | -0.052642 | 0.99248 | -0.052138 | 41.2063
25 | 0.034084 | 0.0085508 | -0.034083 | -0.0085504 | 9.479e-07 | 3.5718e-07 | 0.051304 | 0.051304 | 0.051304 | 0.98862 | -0.07928 | 0.98859 | -0.079481 | 19.0015
26 | 0.0023562 | 0.0005892 | -0.0023558 | -0.00058974 | 4.413e-07 | -5.3672e-07 | 0.0035641 | 0.0035644 | 0.0035644 | 0.9836 | -0.11472 | 0.98341 | -0.11607 | 1.3201
27 | 0.0055792 | 0.0013982 | -0.0055787 | -0.0013981 | 5.0033e-07 | 5.002e-08 | 0.0084466 | 0.0084467 | 0.0084467 | 0.98286 | -0.12 | 0.98277 | -0.12065 | 3.1284
28 | 0.062838 | 0.015834 | -0.062711 | -0.015786 | 0.00012714 | 4.7748e-05 | 0.094903 | 0.094904 | 0.094904 | 0.98557 | -0.10055 | 0.98352 | -0.11504 | 17.5748
29 | 0.0010848 | 0.00027182 | -0.0010848 | -0.00027187 | 5.8608e-09 | -4.2369e-08 | 0.0016378 | 0.0016378 | 0.0016378 | 0.98557 | -0.10055 | 0.98557 | -0.10059 | 0.60658
30 | -0.15249 | -0.038427 | 0.15282 | 0.038552 | 0.00032878 | 0.00012593 | 0.22871 | 0.22871 | 0.22871 | 0.99248 | -0.052138 | 0.99469 | -0.036766 | 42.3531
31 | 0.031769 | 0.0079706 | -0.031731 | -0.0079561 | 3.8548e-05 | 1.448e-05 | 0.047822 | 0.047822 | 0.047822 | 0.98859 | -0.079481 | 0.98735 | -0.088237 | 17.7118
32 | 0.060364 | 0.015198 | -0.060312 | -0.015179 | 5.2035e-05 | 1.9507e-05 | 0.091353 | 0.091353 | 0.091353 | 0.98352 | -0.11504 | 0.98264 | -0.12121 | 16.9173
33 | 0.05692 | 0.014328 | -0.056836 | -0.014297 | 8.3864e-05 | 3.134e-05 | 0.086216 | 0.086216 | 0.086216 | 0.98264 | -0.12121 | 0.98115 | -0.13178 | 15.966
34 | -0.0012463 | -0.00031236 | 0.0012464 | 0.00031213 | 4.3463e-08 | -2.317e-07 | 0.001886 | 0.0018859 | 0.001886 | 0.98331 | -0.11679 | 0.98335 | -0.11653 | 0.69853
35 | -0.0012464 | -0.00031213 | 0.0012464 | 0.0003117 | 7.8986e-08 | -4.2117e-07 | 0.0018859 | 0.0018858 | 0.0018859 | 0.98335 | -0.11653 | 0.98341 | -0.11607 | 0.69849
36 | 0.030345 | 0.0076089 | -0.030344 | -0.0076084 | 1.3735e-06 | 5.1483e-07 | 0.045734 | 0.045734 | 0.045734 | 0.98735 | -0.088237 | 0.9873 | -0.088564 | 16.9385
37 | -0.15962 | -0.040256 | 0.15974 | 0.040301 | 0.00011689 | 4.4788e-05 | 0.23887 | 0.23887 | 0.23887 | 0.99469 | -0.036766 | 0.99544 | -0.031546 | 44.2359
38 | -0.16569 | -0.041793 | 0.16594 | 0.041889 | 0.00025001 | 9.5817e-05 | 0.24777 | 0.24777 | 0.24777 | 0.99544 | -0.031546 | 0.99699 | -0.020803 | 45.8842
39 | -0.17511 | -0.044187 | 0.17523 | 0.044232 | 0.00011625 | 4.4569e-05 | 0.26146 | 0.26146 | 0.26146 | 0.99699 | -0.020803 | 0.99767 | -0.016076 | 48.4186
40 | -0.17596 | -0.044416 | 0.17633 | 0.044556 | 0.00036662 | 0.00014056 | 0.26256 | 0.26256 | 0.26256 | 0.99767 | -0.016076 | 0.99982 | -0.0012716 | 48.6219
41 | -0.18063 | -0.045635 | 0.18066 | 0.045647 | 3.2319e-05 | 1.2393e-05 | 0.26896 | 0.26896 | 0.26896 | 0.99982 | -0.0012716 | 1 | 0 | 49.8076
42 | 0.056836 | 0.014297 | -0.05676 | -0.014269 | 7.5934e-05 | 2.8379e-05 | 0.086216 | 0.086217 | 0.086217 | 0.98115 | -0.13178 | 0.9798 | -0.14137 | 15.966
43 | -0.0052985 | -0.0013277 | 0.0052992 | 0.0013277 | 6.4714e-07 | 5.4623e-08 | 0.0081231 | 0.008123 | 0.0081231 | 0.9706 | -0.20722 | 0.97072 | -0.20634 | 3.0085
44 | -0.0077439 | -0.0019404 | 0.0077462 | 0.0019409 | 2.2821e-06 | 5.5678e-07 | 0.011871 | 0.01187 | 0.011871 | 0.97072 | -0.20634 | 0.97101 | -0.20421 | 4.3965
45 | 0.0024447 | 0.00061266 | -0.0024447 | -0.0006127 | 4.0832e-08 | -4.1894e-08 | 0.0037475 | 0.0037475 | 0.0037475 | 0.97072 | -0.20634 | 0.9707 | -0.20646 | 1.388
46 | -0.0072399 | -0.0018145 | 0.0072421 | 0.001815 | 2.2193e-06 | 4.966e-07 | 0.011099 | 0.011099 | 0.011099 | 0.97065 | -0.20682 | 0.97096 | -0.20461 | 4.1107
47 | -0.0072421 | -0.001815 | 0.0072432 | 0.0018152 | 1.1251e-06 | 2.5165e-07 | 0.011099 | 0.011099 | 0.011099 | 0.97096 | -0.20461 | 0.97111 | -0.20349 | 4.1106
48 | 0.0080017 | 0.0020054 | -0.007996 | -0.002004 | 5.6916e-06 | 1.3923e-06 | 0.012077 | 0.012077 | 0.012077 | 0.98588 | -0.098672 | 0.98516 | -0.10381 | 4.4731
49 | -0.020028 | -0.0050191 | 0.02003 | 0.0050198 | 1.9991e-06 | 7.2681e-07 | 0.030692 | 0.030692 | 0.030692 | 0.97101 | -0.20421 | 0.97111 | -0.20349 | 11.3672
50 | -0.027273 | -0.006835 | 0.027294 | 0.0068427 | 2.0533e-05 | 7.6639e-06 | 0.04179 | 0.04179 | 0.04179 | 0.97111 | -0.20349 | 0.97187 | -0.19805 | 15.4778
51 | 0.041985 | 0.010546 | -0.041943 | -0.01053 | 4.1972e-05 | 1.5323e-05 | 0.063997 | 0.063997 | 0.063997 | 0.97632 | -0.16611 | 0.97532 | -0.17331 | 11.8514
52 | -0.045154 | -0.01134 | 0.045199 | 0.011356 | 4.4691e-05 | 1.6432e-05 | 0.068828 | 0.068827 | 0.068828 | 0.97632 | -0.16611 | 0.97732 | -0.159 | 12.7458
53 | 0.039195 | 0.0098416 | -0.039171 | -0.009833 | 2.3573e-05 | 8.5394e-06 | 0.059805 | 0.059805 | 0.059805 | 0.97532 | -0.17331 | 0.97471 | -0.17764 | 11.075
54 | -0.048363 | -0.012149 | 0.048421 | 0.012171 | 5.8265e-05 | 2.1545e-05 | 0.073645 | 0.073644 | 0.073645 | 0.97732 | -0.159 | 0.97853 | -0.15035 | 13.6379
55 | 0.039171 | 0.009833 | -0.039114 | -0.0098114 | 5.7043e-05 | 2.1622e-05 | 0.059805 | 0.059805 | 0.059805 | 0.97471 | -0.17764 | 0.97325 | -0.18814 | 22.1501
56 | -0.051575 | -0.012961 | 0.051621 | 0.012979 | 4.6542e-05 | 1.7291e-05 | 0.07844 | 0.07844 | 0.07844 | 0.97853 | -0.15035 | 0.97944 | -0.14387 | 14.526
57 | 0.037074 | 0.0093003 | -0.037065 | -0.0092969 | 8.8866e-06 | 3.3629e-06 | 0.056686 | 0.056686 | 0.056686 | 0.97325 | -0.18814 | 0.97301 | -0.18987 | 20.9948
58 | 0.0020401 | 0.00051111 | -0.00204 | -0.00051127 | 9.8888e-08 | -1.6437e-07 | 0.0031191 | 0.0031192 | 0.0031192 | 0.97325 | -0.18814 | 0.9732 | -0.18849 | 1.1552
59 | -0.053581 | -0.01347 | 0.0536 | 0.013477 | 1.8658e-05 | 6.949e-06 | 0.081418 | 0.081418 | 0.081418 | 0.97944 | -0.14387 | 0.9798 | -0.14137 | 15.0774
60 | 0.037065 | 0.0092969 | -0.037023 | -0.009281 | 4.2012e-05 | 1.5898e-05 | 0.056686 | 0.056686 | 0.056686 | 0.97301 | -0.18987 | 0.97187 | -0.19805 | 20.9949

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.18867 | 0.047452

## res_load
| p_mw | q_mvar
0 | 0.0023732 | 0.00059478
1 | 0.0027741 | 0.00069526
2 | 0.0051388 | 0.0012879
3 | 0.0018777 | 0.00047059
4 | 0.0030008 | 0.00075208
5 | 0.00093912 | 0.00023537
6 | 0.0031234 | 0.0007828
7 | 0.0061247 | 0.001535
8 | 0.0041843 | 0.0010487
9 | 0.0029704 | 0.00074446
10 | 0.0058577 | 0.0014681
11 | 0.0089161 | 0.0022346
12 | 0.0068057 | 0.0017057
13 | 0.0045163 | 0.0011319
14 | 0.0013839 | 0.00034685
15 | 0.00075602 | 0.00018948
16 | 0.0041305 | 0.0010352
17 | 0.0023134 | 0.0005798
18 | 0.0023466 | 0.00058812
19 | 0.0010848 | 0.00027187
20 | 0.0033926 | 0.00085027
21 | 0.0012463 | 0.00031236
22 | 0.0011094 | 0.00027803
23 | 0.0055787 | 0.0013981
24 | 0.0013854 | 0.00034722
25 | 0.0048213 | 0.0012083
26 | 0.0067967 | 0.0017034
27 | 0.0059543 | 0.0014923
28 | 0.0091699 | 0.0022982
29 | 0.00073589 | 0.00018443
30 | 0.0043022 | 0.0010782
31 | 0.0072029 | 0.0018052
32 | 0.0021748 | 0.00054505
33 | 0.0072399 | 0.0018145
34 | 0.0013702 | 0.0003434
35 | 0.012282 | 0.0030781
36 | 0.0024447 | 0.0006127
37 | 0.0031693 | 0.00079431
38 | 0.002748 | 0.00068871
39 | 0.0031641 | 0.00079301
40 | 0.0031537 | 0.00079038
41 | 0.0019603 | 0.00049129
42 | 0.00204 | 0.00051127
43 | 0.0031598 | 0.00079191
44 | 0.0097291 | 0.0024383
45 | 0.007996 | 0.002004

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1