## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2406-5_1_2_node_30 | 0.4 | n |  | TRUE
1 | bus_LV_2406-5_1_2_node_32 | 0.4 | n |  | TRUE
2 | bus_LV_2406-5_1_2_node_29 | 0.4 | n |  | TRUE
3 | bus_LV_2406-5_1_2_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_2406-5_1_2_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_2406-5_1_2_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_2406-5_1_2_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_2406-5_1_2_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_2406-5_1_2_node_13 | 0.4 | n |  | TRUE
9 | bus_LV_2406-5_1_2_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_2406-5_1_2_node_43 | 0.4 | n |  | TRUE
11 | bus_LV_2406-5_1_2_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_2406-5_1_2_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_2406-5_1_2_node_51 | 0.4 | n |  | TRUE
14 | bus_LV_2406-5_1_2_node_52 | 0.4 | n |  | TRUE
15 | bus_LV_2406-5_1_2_node_44 | 0.4 | n |  | TRUE
16 | bus_LV_2406-5_1_2_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_2406-5_1_2_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_2406-5_1_2_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_2406-5_1_2_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_2406-5_1_2_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_2406-5_1_2_node_62 | 0.4 | n |  | TRUE
22 | bus_LV_2406-5_1_2_node_71 | 0.4 | n |  | TRUE
23 | bus_LV_2406-5_1_2_node_63 | 0.4 | n |  | TRUE
24 | bus_LV_2406-5_1_2_node_45 | 0.4 | n |  | TRUE
25 | bus_LV_2406-5_1_2_node_60 | 0.4 | n |  | TRUE
26 | bus_LV_2406-5_1_2_node_34 | 0.4 | n |  | TRUE
27 | bus_LV_2406-5_1_2_node_96 | 0.4 | n |  | TRUE
28 | bus_LV_2406-5_1_2_node_95 | 0.4 | n |  | TRUE
29 | bus_LV_2406-5_1_2_node_31 | 0.4 | n |  | TRUE
30 | bus_LV_2406-5_1_2_node_33 | 0.4 | n |  | TRUE
31 | bus_LV_2406-5_1_2_node_35 | 0.4 | n |  | TRUE
32 | bus_LV_2406-5_1_2_node_41 | 0.4 | n |  | TRUE
33 | bus_LV_2406-5_1_2_node_101 | 0.4 | n |  | TRUE
34 | bus_LV_2406-5_1_2_node_88 | 0.4 | n |  | TRUE
35 | bus_LV_2406-5_1_2_node_87 | 0.4 | n |  | TRUE
36 | bus_LV_2406-5_1_2_node_42 | 0.4 | n |  | TRUE
37 | bus_LV_2406-5_1_2_node_36 | 0.4 | n |  | TRUE
38 | bus_LV_2406-5_1_2_node_37 | 0.4 | n |  | TRUE
39 | bus_LV_2406-5_1_2_node_38 | 0.4 | n |  | TRUE
40 | bus_LV_2406-5_1_2_node_39 | 0.4 | n |  | TRUE
41 | bus_LV_2406-5_1_2_node_40 | 0.4 | n |  | TRUE
42 | bus_LV_2406-5_1_2_node_69 | 0.4 | n |  | TRUE
43 | bus_LV_2406-5_1_2_node_48 | 0.4 | n |  | TRUE
44 | bus_LV_2406-5_1_2_node_50 | 0.4 | n |  | TRUE
45 | bus_LV_2406-5_1_2_node_46 | 0.4 | n |  | TRUE
46 | bus_LV_2406-5_1_2_node_47 | 0.4 | n |  | TRUE
47 | bus_LV_2406-5_1_2_node_91 | 0.4 | n |  | TRUE
48 | bus_LV_2406-5_1_2_node_107 | 0.4 | n |  | TRUE
49 | bus_LV_2406-5_1_2_node_53 | 0.4 | n |  | TRUE
50 | bus_LV_2406-5_1_2_node_90 | 0.4 | n |  | TRUE
51 | bus_LV_2406-5_1_2_node_89 | 0.4 | n |  | TRUE
52 | bus_LV_2406-5_1_2_node_80 | 0.4 | n |  | TRUE
53 | bus_LV_2406-5_1_2_node_81 | 0.4 | n |  | TRUE
54 | bus_LV_2406-5_1_2_node_82 | 0.4 | n |  | TRUE
55 | bus_LV_2406-5_1_2_node_83 | 0.4 | n |  | TRUE
56 | bus_LV_2406-5_1_2_node_84 | 0.4 | n |  | TRUE
57 | bus_LV_2406-5_1_2_node_105 | 0.4 | n |  | TRUE
58 | bus_LV_2406-5_1_2_node_103 | 0.4 | n |  | TRUE
59 | bus_LV_2406-5_1_2_node_104 | 0.4 | n |  | TRUE
60 | bus_LV_2406-5_1_2_node_106 | 0.4 | n |  | TRUE
61 | bus_MV_334_0_node_167 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2406-5_1_2_load_32 | 1 | 0.0042606 | 0.0010678 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2406-5_1_2_load_29 | 2 | 0.00096139 | 0.00024095 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2406-5_1_2_load_5 | 3 | 0.0010763 | 0.00026975 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2406-5_1_2_load_6 | 4 | 0.0010769 | 0.0002699 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2406-5_1_2_load_7 | 5 | 0.0014268 | 0.00035759 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2406-5_1_2_load_9 | 7 | 0.00057944 | 0.00014522 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2406-5_1_2_load_13 | 8 | 0.0010742 | 0.00026921 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2406-5_1_2_load_10 | 9 | 0.0018016 | 0.00045152 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2406-5_1_2_load_43 | 10 | 0.0017597 | 0.00044103 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2406-5_1_2_load_11 | 11 | 0.0013553 | 0.00033968 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2406-5_1_2_load_12 | 12 | 0.0014531 | 0.00036419 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2406-5_1_2_load_51 | 13 | 0.0011728 | 0.00029392 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2406-5_1_2_load_52 | 14 | 0.001936 | 0.00048521 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2406-5_1_2_load_44 | 15 | 0.0013621 | 0.00034138 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2406-5_1_2_load_14 | 16 | 0.0063141 | 0.0015825 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2406-5_1_2_load_15 | 17 | 0.00087173 | 0.00021848 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2406-5_1_2_load_16 | 18 | 0.0013613 | 0.00034116 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2406-5_1_2_load_17 | 19 | 0.00065298 | 0.00016365 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2406-5_1_2_load_18 | 20 | 0.001856 | 0.00046517 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2406-5_1_2_load_71 | 22 | 0.0018571 | 0.00046544 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2406-5_1_2_load_63 | 23 | 0.0015394 | 0.0003858 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2406-5_1_2_load_45 | 24 | 0.0016904 | 0.00042364 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2406-5_1_2_load_60 | 25 | 0.0026046 | 0.00065277 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2406-5_1_2_load_34 | 26 | 0.00097784 | 0.00024507 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2406-5_1_2_load_96 | 27 | 0.0012033 | 0.00030158 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2406-5_1_2_load_33 | 30 | 0.0012081 | 0.00030278 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2406-5_1_2_load_35 | 31 | 0.0010252 | 0.00025693 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2406-5_1_2_load_41 | 32 | 0.010509 | 0.0026339 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2406-5_1_2_load_101 | 33 | 0.0011582 | 0.00029027 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2406-5_1_2_load_88 | 34 | 0.0012584 | 0.00031539 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2406-5_1_2_load_42 | 36 | 0.0023348 | 0.00058515 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2406-5_1_2_load_36 | 37 | 0.0024977 | 0.00062599 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2406-5_1_2_load_37 | 38 | 0.0035521 | 0.00089023 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2406-5_1_2_load_39 | 40 | 0.0028912 | 0.00072459 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2406-5_1_2_load_40 | 41 | 0.0047625 | 0.0011936 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2406-5_1_2_load_69 | 42 | 0.0048382 | 0.0012126 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2406-5_1_2_load_50 | 44 | 0.0018461 | 0.00046267 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2406-5_1_2_load_46 | 45 | 0.0040134 | 0.0010059 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2406-5_1_2_load_47 | 46 | 0.0031128 | 0.00078013 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2406-5_1_2_load_107 | 48 | 0.0018733 | 0.00046948 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2406-5_1_2_load_90 | 50 | 0.0046723 | 0.001171 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2406-5_1_2_load_89 | 51 | 0.0015299 | 0.00038344 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2406-5_1_2_load_80 | 52 | 0.00070737 | 0.00017728 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2406-5_1_2_load_81 | 53 | 0.0012431 | 0.00031156 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2406-5_1_2_load_82 | 54 | 0.0009694 | 0.00024295 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2406-5_1_2_load_83 | 55 | 0.00088047 | 0.00022067 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2406-5_1_2_load_84 | 56 | 0.00062355 | 0.00015628 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2406-5_1_2_load_105 | 57 | 0.0024943 | 0.00062514 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2406-5_1_2_load_103 | 58 | 0.002207 | 0.00055311 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2406-5_1_2_load_106 | 60 | 0.014541 | 0.0036443 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 57 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2406-5_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.024361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2406-5_1_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.035295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2406-5_1_2_line_2 | NAYY 4x150 SE | 2 | 29 | 0.02839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2406-5_1_2_line_3 | NAYY 4x150 SE | 3 | 4 | 0.00027359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2406-5_1_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.020723 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2406-5_1_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.033759 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2406-5_1_2_line_6 | NAYY 4x150 SE | 5 | 7 | 0.021443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2406-5_1_2_line_7 | NAYY 4x150 SE | 6 | 8 | 0.020056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2406-5_1_2_line_8 | NAYY 4x150 SE | 6 | 9 | 0.017494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2406-5_1_2_line_9 | NAYY 4x150 SE | 8 | 10 | 0.011439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2406-5_1_2_line_10 | NAYY 4x150 SE | 9 | 11 | 0.0010824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2406-5_1_2_line_11 | NAYY 4x150 SE | 10 | 15 | 0.0045006 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2406-5_1_2_line_12 | NAYY 4x150 SE | 11 | 12 | 0.017718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2406-5_1_2_line_13 | NAYY 4x150 SE | 12 | 13 | 0.0074005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2406-5_1_2_line_14 | NAYY 4x150 SE | 13 | 14 | 0.017499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2406-5_1_2_line_15 | NAYY 4x150 SE | 14 | 49 | 0.017356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2406-5_1_2_line_16 | NAYY 4x150 SE | 16 | 17 | 0.007069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2406-5_1_2_line_17 | NAYY 4x150 SE | 16 | 18 | 0.0104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2406-5_1_2_line_18 | NAYY 4x150 SE | 17 | 19 | 0.0029734 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2406-5_1_2_line_19 | NAYY 4x150 SE | 18 | 20 | 0.018905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2406-5_1_2_line_20 | NAYY 4x150 SE | 19 | 21 | 0.027264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2406-5_1_2_line_21 | NAYY 4x150 SE | 20 | 22 | 0.00013335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2406-5_1_2_line_22 | NAYY 4x150 SE | 21 | 23 | 0.021562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2406-5_1_2_line_23 | NAYY 4x150 SE | 21 | 24 | 0.014634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2406-5_1_2_line_24 | NAYY 4x150 SE | 21 | 25 | 0.020216 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2406-5_1_2_line_25 | NAYY 4x150 SE | 22 | 26 | 0.049341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2406-5_1_2_line_26 | NAYY 4x150 SE | 23 | 35 | 0.041756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2406-5_1_2_line_27 | NAYY 4x150 SE | 26 | 29 | 0.017437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2406-5_1_2_line_28 | NAYY 4x150 SE | 27 | 28 | 0.035137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2406-5_1_2_line_29 | NAYY 4x150 SE | 28 | 56 | 0.053703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2406-5_1_2_line_30 | NAYY 4x150 SE | 29 | 30 | 0.029737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2406-5_1_2_line_31 | NAYY 4x150 SE | 29 | 31 | 0.016675 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2406-5_1_2_line_32 | NAYY 4x150 SE | 30 | 32 | 0.024188 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2406-5_1_2_line_33 | NAYY 4x150 SE | 31 | 33 | 0.01365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2406-5_1_2_line_34 | NAYY 4x150 SE | 32 | 36 | 0.0080252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2406-5_1_2_line_35 | NAYY 4x150 SE | 34 | 35 | 0.031222 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2406-5_1_2_line_36 | NAYY 4x150 SE | 36 | 43 | 0.040486 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2406-5_1_2_line_37 | NAYY 4x150 SE | 37 | 38 | 0.0047814 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2406-5_1_2_line_38 | NAYY 4x150 SE | 37 | 39 | 0.0006065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2406-5_1_2_line_39 | NAYY 4x150 SE | 38 | 40 | 0.019774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2406-5_1_2_line_40 | NAYY 4x150 SE | 39 | 41 | 0.021264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2406-5_1_2_line_41 | NAYY 4x150 SE | 40 | 42 | 0.076524 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2406-5_1_2_line_42 | NAYY 4x150 SE | 41 | 43 | 0.031626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2406-5_1_2_line_43 | NAYY 4x150 SE | 43 | 44 | 0.014286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2406-5_1_2_line_44 | NAYY 4x150 SE | 43 | 45 | 0.020732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2406-5_1_2_line_45 | NAYY 4x150 SE | 44 | 47 | 0.031027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_2406-5_1_2_line_46 | NAYY 4x150 SE | 45 | 46 | 0.029308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_2406-5_1_2_line_47 | NAYY 4x150 SE | 47 | 48 | 0.018223 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_2406-5_1_2_line_48 | NAYY 4x150 SE | 47 | 49 | 0.011038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_2406-5_1_2_line_49 | NAYY 4x150 SE | 48 | 57 | 0.02336 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_2406-5_1_2_line_50 | NAYY 4x150 SE | 49 | 50 | 0.017251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_2406-5_1_2_line_51 | NAYY 4x150 SE | 50 | 51 | 0.0064209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_2406-5_1_2_line_52 | NAYY 4x150 SE | 51 | 55 | 0.027258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_2406-5_1_2_line_53 | NAYY 4x150 SE | 52 | 53 | 0.01448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_2406-5_1_2_line_54 | NAYY 4x150 SE | 52 | 54 | 0.0017937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_2406-5_1_2_line_55 | NAYY 4x150 SE | 53 | 55 | 0.0055012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_2406-5_1_2_line_56 | NAYY 4x150 SE | 54 | 56 | 0.002922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_2406-5_1_2_line_57 | NAYY 4x150 SE | 57 | 59 | 0.0040601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_2406-5_1_2_line_58 | NAYY 4x150 SE | 58 | 59 | 0.018939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_2406-5_1_2_line_59 | NAYY 4x150 SE | 59 | 60 | 0.011888 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2406-5_1_2_trafo_105 | 0.25 MVA 20/0.4 kV | 61 | 57 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2624928.8335 | 1239995.0001 | 2624947.2533 | 1240010.9435
1 | 2624928.8335 | 1239995.0001 | 2624933.5627 | 1239990.6394 | 2624943.6449 | 1239982.8546 | 2624955.8997 | 1239972.3748
2 | 2624974.9917 | 1239951.433 | 2624960.0371 | 1239968.8368 | 2624955.8997 | 1239972.3748
3 | 2625166.9228 | 1239936.1168 | 2625167.1073 | 1239935.9148
4 | 2625167.1073 | 1239935.9148 | 2625175.8024 | 1239926.397 | 2625181.0756 | 1239920.607
5 | 2625144.1534 | 1239961.0405 | 2625166.9228 | 1239936.1168
6 | 2625181.0756 | 1239920.607 | 2625195.514 | 1239904.7538
7 | 2625144.1534 | 1239961.0405 | 2625137.3075 | 1239968.7831 | 2625130.8655 | 1239976.0629
8 | 2625144.1534 | 1239961.0405 | 2625131.0594 | 1239949.4387
9 | 2625123.2848 | 1239984.6296 | 2625130.8655 | 1239976.0629
10 | 2625131.0594 | 1239949.4387 | 2625130.2492 | 1239948.7209
11 | 2625123.2848 | 1239984.6296 | 2625120.3023 | 1239988
12 | 2625130.2492 | 1239948.7209 | 2625116.988 | 1239936.971
13 | 2625111.449 | 1239932.0632 | 2625116.988 | 1239936.971
14 | 2625111.449 | 1239932.0632 | 2625098.3519 | 1239920.4587
15 | 2625085.3611 | 1239908.9485 | 2625098.3519 | 1239920.4587
16 | 2625048.9461 | 1240012.8589 | 2625054.3136 | 1240017.459
17 | 2625048.9461 | 1240012.8589 | 2625041.0496 | 1240006.0914
18 | 2625054.3136 | 1240017.459 | 2625056.5714 | 1240019.394
19 | 2625026.695 | 1239993.789 | 2625041.0496 | 1240006.0914
20 | 2625075.7032 | 1240038.4002 | 2625073.0921 | 1240033.5528 | 2625056.5714 | 1240019.394
21 | 2625026.695 | 1239993.789 | 2625026.5938 | 1239993.7023
22 | 2625075.7032 | 1240038.4002 | 2625061.7732 | 1240054.8578
23 | 2625075.7032 | 1240038.4002 | 2625085.4008 | 1240027.4412
24 | 2625075.7032 | 1240038.4002 | 2625090.2102 | 1240052.4803
25 | 2625026.5938 | 1239993.7023 | 2624989.1289 | 1239961.5937
26 | 2625034.4337 | 1240086.4009 | 2625039.5828 | 1240081.0748 | 2625061.7732 | 1240054.8578
27 | 2624974.9917 | 1239951.433 | 2624985.1717 | 1239958.2023 | 2624989.1289 | 1239961.5937
28 | 2625173.2984 | 1239814.116 | 2625200.1891 | 1239836.7322
29 | 2625173.2984 | 1239814.116 | 2625136.7831 | 1239853.4945
30 | 2624974.9917 | 1239951.433 | 2624994.3009 | 1239928.8185
31 | 2624974.9917 | 1239951.433 | 2624961.1932 | 1239942.0704
32 | 2624994.3009 | 1239928.8185 | 2625010.0074 | 1239910.4233
33 | 2624949.8976 | 1239934.406 | 2624961.1932 | 1239942.0704
34 | 2625010.0074 | 1239910.4233 | 2625015.2185 | 1239904.3202
35 | 2625034.4337 | 1240086.4009 | 2625028.5193 | 1240081.284 | 2625010.8257 | 1240065.9691
36 | 2625041.508 | 1239873.5304 | 2625015.2185 | 1239904.3202
37 | 2624995.1898 | 1239838.2847 | 2624999.0623 | 1239841.0892
38 | 2624999.0623 | 1239841.0892 | 2624999.5535 | 1239841.445
39 | 2624995.1898 | 1239838.2847 | 2624979.1744 | 1239826.6861
40 | 2624999.5535 | 1239841.445 | 2625016.681 | 1239854.0463
41 | 2624979.1744 | 1239826.6861 | 2624902.8716 | 1239820.8679
42 | 2625041.508 | 1239873.5304 | 2625037.3669 | 1239869.2659 | 2625016.681 | 1239854.0463
43 | 2625041.508 | 1239873.5304 | 2625052.6227 | 1239882.505
44 | 2625041.508 | 1239873.5304 | 2625054.8518 | 1239857.6631
45 | 2625076.7624 | 1239901.9968 | 2625052.6227 | 1239882.505
46 | 2625054.8518 | 1239857.6631 | 2625073.7153 | 1239835.2322
47 | 2625076.7624 | 1239901.9968 | 2625064.6922 | 1239915.6486
48 | 2625076.7624 | 1239901.9968 | 2625085.3611 | 1239908.9485
49 | 2625064.6922 | 1239915.6486 | 2625049.2191 | 1239933.1492
50 | 2625085.3611 | 1239908.9485 | 2625097.0908 | 1239896.2991
51 | 2625097.0908 | 1239896.2991 | 2625101.4567 | 1239891.5908
52 | 2625101.4567 | 1239891.5908 | 2625119.9903 | 1239871.604
53 | 2625133.5767 | 1239856.9523 | 2625123.7309 | 1239867.5701
54 | 2625133.5767 | 1239856.9523 | 2625134.7963 | 1239855.6371
55 | 2625123.7309 | 1239867.5701 | 2625119.9903 | 1239871.604
56 | 2625136.7831 | 1239853.4945 | 2625134.7963 | 1239855.6371
57 | 2625046.5298 | 1239936.1909 | 2625049.2191 | 1239933.1492
58 | 2625046.5298 | 1239936.1909 | 2625033.9853 | 1239950.3799
59 | 2625055.5865 | 1239943.9228 | 2625046.5298 | 1239936.1909

## bus_geodata
| x | y | coords
0 | 2624928.8335 | 1239995.0001
1 | 2624947.2533 | 1240010.9435
2 | 2624955.8997 | 1239972.3748
3 | 2625167.1073 | 1239935.9148
4 | 2625166.9228 | 1239936.1167
5 | 2625181.0756 | 1239920.607
6 | 2625144.1534 | 1239961.0405
7 | 2625195.514 | 1239904.7538
8 | 2625130.8655 | 1239976.0629
9 | 2625131.0594 | 1239949.4387
10 | 2625123.2848 | 1239984.6296
11 | 2625130.2492 | 1239948.7209
12 | 2625116.988 | 1239936.971
13 | 2625111.449 | 1239932.0632
14 | 2625098.3519 | 1239920.4587
15 | 2625120.3023 | 1239988
16 | 2625048.9461 | 1240012.8589
17 | 2625054.3136 | 1240017.459
18 | 2625041.0496 | 1240006.0914
19 | 2625056.5714 | 1240019.394
20 | 2625026.695 | 1239993.789
21 | 2625075.7032 | 1240038.4002
22 | 2625026.5938 | 1239993.7023
23 | 2625061.7732 | 1240054.8578
24 | 2625085.4008 | 1240027.4412
25 | 2625090.2102 | 1240052.4803
26 | 2624989.1289 | 1239961.5937
27 | 2625200.1891 | 1239836.7322
28 | 2625173.2984 | 1239814.116
29 | 2624974.9917 | 1239951.433
30 | 2624994.3009 | 1239928.8185
31 | 2624961.1932 | 1239942.0704
32 | 2625010.0074 | 1239910.4233
33 | 2624949.8976 | 1239934.406
34 | 2625010.8257 | 1240065.9691
35 | 2625034.4337 | 1240086.4009
36 | 2625015.2185 | 1239904.3202
37 | 2624999.0623 | 1239841.0892
38 | 2624995.1898 | 1239838.2847
39 | 2624999.5535 | 1239841.445
40 | 2624979.1744 | 1239826.6861
41 | 2625016.681 | 1239854.0463
42 | 2624902.8716 | 1239820.8679
43 | 2625041.508 | 1239873.5304
44 | 2625052.6227 | 1239882.505
45 | 2625054.8518 | 1239857.6631
46 | 2625073.7153 | 1239835.2322
47 | 2625076.7624 | 1239901.9968
48 | 2625064.6922 | 1239915.6486
49 | 2625085.3611 | 1239908.9485
50 | 2625097.0908 | 1239896.2991
51 | 2625101.4567 | 1239891.5908
52 | 2625133.5767 | 1239856.9523
53 | 2625123.7309 | 1239867.5701
54 | 2625134.7963 | 1239855.6371
55 | 2625119.9903 | 1239871.604
56 | 2625136.7831 | 1239853.4945
57 | 2625049.2191 | 1239933.1492
58 | 2625033.9853 | 1239950.3799
59 | 2625046.5298 | 1239936.1909
60 | 2625055.5865 | 1239943.9228
61 | 2625046.5298 | 1239936.1909

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98387 | -0.11328 | 0 | 0
1 | 0.98372 | -0.11435 | 0.0042606 | 0.0010678
2 | 0.98408 | -0.11173 | 0.00096139 | 0.00024095
3 | 0.99201 | -0.055857 | 0.0010763 | 0.00026975
4 | 0.99201 | -0.055848 | 0.0010769 | 0.0002699
5 | 0.99195 | -0.056279 | 0.0014268 | 0.00035759
6 | 0.99221 | -0.054422 | 0 | 0
7 | 0.99193 | -0.056405 | 0.00057944 | 0.00014522
8 | 0.99209 | -0.055276 | 0.0010742 | 0.00026921
9 | 0.99242 | -0.052939 | 0.0018016 | 0.00045152
10 | 0.99204 | -0.055638 | 0.0017597 | 0.00044103
11 | 0.99244 | -0.052827 | 0.0013553 | 0.00033968
12 | 0.99273 | -0.050759 | 0.0014531 | 0.00036419
13 | 0.99287 | -0.049786 | 0.0011728 | 0.00029392
14 | 0.99322 | -0.047279 | 0.001936 | 0.00048521
15 | 0.99203 | -0.055701 | 0.0013621 | 0.00034138
16 | 0.98166 | -0.129 | 0.0063141 | 0.0015825
17 | 0.98157 | -0.12964 | 0.00087173 | 0.00021848
18 | 0.98188 | -0.12739 | 0.0013613 | 0.00034116
19 | 0.98154 | -0.12988 | 0.00065298 | 0.00016365
20 | 0.98233 | -0.1242 | 0.001856 | 0.00046517
21 | 0.98125 | -0.13188 | 0 | 0
22 | 0.98233 | -0.12418 | 0.0018571 | 0.00046544
23 | 0.98117 | -0.13251 | 0.0015394 | 0.0003858
24 | 0.98122 | -0.13214 | 0.0016904 | 0.00042364
25 | 0.98118 | -0.13243 | 0.0026046 | 0.00065277
26 | 0.98377 | -0.11397 | 0.00097784 | 0.00024507
27 | 0.99276 | -0.050513 | 0.0012033 | 0.00030158
28 | 0.99283 | -0.050085 | 0 | 0
29 | 0.9843 | -0.1102 | 0 | 0
30 | 0.98552 | -0.1015 | 0.0012081 | 0.00030278
31 | 0.98425 | -0.11057 | 0.0010252 | 0.00025693
32 | 0.98656 | -0.094143 | 0.010509 | 0.0026339
33 | 0.98422 | -0.11074 | 0.0011582 | 0.00029027
34 | 0.98103 | -0.13347 | 0.0012584 | 0.00031539
35 | 0.98109 | -0.13306 | 0 | 0
36 | 0.98703 | -0.090841 | 0.0023348 | 0.00058515
37 | 0.98824 | -0.082331 | 0.0024977 | 0.00062599
38 | 0.98816 | -0.082883 | 0.0035521 | 0.00089023
39 | 0.98825 | -0.082246 | 0 | 0
40 | 0.98794 | -0.084447 | 0.0028912 | 0.00072459
41 | 0.98867 | -0.079251 | 0.0047625 | 0.0011936
42 | 0.9874 | -0.088238 | 0.0048382 | 0.0012126
43 | 0.98952 | -0.073264 | 0 | 0
44 | 0.99093 | -0.063351 | 0.0018461 | 0.00046267
45 | 0.98931 | -0.074771 | 0.0040134 | 0.0010059
46 | 0.98917 | -0.075702 | 0.0031128 | 0.00078013
47 | 0.99406 | -0.041339 | 0 | 0
48 | 0.99664 | -0.023355 | 0.0018733 | 0.00046948
49 | 0.99362 | -0.044455 | 0 | 0
50 | 0.99333 | -0.046521 | 0.0046723 | 0.001171
51 | 0.99326 | -0.046987 | 0.0015299 | 0.00038344
52 | 0.99293 | -0.049322 | 0.00070737 | 0.00017728
53 | 0.99301 | -0.048807 | 0.0012431 | 0.00031156
54 | 0.99293 | -0.049373 | 0.0009694 | 0.00024295
55 | 0.99304 | -0.048542 | 0.00088047 | 0.00022067
56 | 0.99292 | -0.049427 | 0.00062355 | 0.00015628
57 | 1 | 0 | -0.11848 | -0.02964
58 | 0.99984 | -0.0010963 | 0.002207 | 0.00055311
59 | 0.9999 | -0.00067883 | 0 | 0
60 | 0.99966 | -0.0024049 | 0.014541 | 0.0036443
61 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0042612 | 0.0010677 | -0.0042606 | -0.0010678 | 6.3139e-07 | -6.6486e-08 | 0.0064447 | 0.0064448 | 0.0064448 | 0.98387 | -0.11328 | 0.98372 | -0.11435 | 2.387
1 | -0.0042612 | -0.0010677 | 0.0042621 | 0.0010676 | 9.1473e-07 | -9.651e-08 | 0.0064447 | 0.0064445 | 0.0064447 | 0.98387 | -0.11328 | 0.98408 | -0.11173 | 2.3869
2 | -0.0052235 | -0.0013086 | 0.0052246 | 0.0013087 | 1.1051e-06 | 6.4263e-08 | 0.0078982 | 0.0078981 | 0.0078982 | 0.98408 | -0.11173 | 0.9843 | -0.1102 | 2.9253
3 | -0.0030827 | -0.00077206 | 0.0030827 | 0.00077206 | 3.6502e-09 | -2.1284e-09 | 0.0046238 | 0.0046238 | 0.0046238 | 0.99201 | -0.055857 | 0.99201 | -0.055848 | 1.7125
4 | 0.0020063 | 0.00050231 | -0.0020062 | -0.00050253 | 1.1711e-07 | -2.2248e-07 | 0.0030093 | 0.0030094 | 0.0030094 | 0.99201 | -0.055857 | 0.99195 | -0.056279 | 1.1146
5 | -0.0041596 | -0.001042 | 0.0041604 | 0.0010418 | 8.2e-07 | -1.2054e-07 | 0.0062392 | 0.006239 | 0.0062392 | 0.99201 | -0.055848 | 0.99221 | -0.054422 | 2.3108
6 | 0.00057945 | 0.00014495 | -0.00057944 | -0.00014522 | 1.0108e-08 | -2.7291e-07 | 0.00086913 | 0.00086923 | 0.00086923 | 0.99195 | -0.056279 | 0.99193 | -0.056405 | 0.32194
7 | 0.0041967 | 0.0010514 | -0.0041962 | -0.0010515 | 4.9571e-07 | -6.8346e-08 | 0.0062936 | 0.0062937 | 0.0062937 | 0.99221 | -0.054422 | 0.99209 | -0.055276 | 2.331
8 | -0.0083571 | -0.0020932 | 0.0083588 | 0.0020937 | 1.7146e-06 | 4.3347e-07 | 0.012533 | 0.012533 | 0.012533 | 0.99221 | -0.054422 | 0.99242 | -0.052939 | 4.6417
9 | 0.003122 | 0.00078226 | -0.0031218 | -0.00078235 | 1.5651e-07 | -8.7504e-08 | 0.0046826 | 0.0046826 | 0.0046826 | 0.99209 | -0.055276 | 0.99204 | -0.055638 | 1.7343
10 | -0.01016 | -0.0025452 | 0.010161 | 0.0025452 | 1.5674e-07 | 4.63e-08 | 0.015234 | 0.015234 | 0.015234 | 0.99242 | -0.052939 | 0.99244 | -0.052827 | 5.6422
11 | 0.0013621 | 0.00034133 | -0.0013621 | -0.00034138 | 1.1723e-08 | -5.3598e-08 | 0.0020431 | 0.0020431 | 0.0020431 | 0.99204 | -0.055638 | 0.99203 | -0.055701 | 0.75672
12 | -0.011516 | -0.0028849 | 0.011519 | 0.002886 | 3.2959e-06 | 1.0386e-06 | 0.017266 | 0.017266 | 0.017266 | 0.99244 | -0.052827 | 0.99273 | -0.050759 | 6.3948
13 | -0.012972 | -0.0032501 | 0.012974 | 0.0032507 | 1.7459e-06 | 5.758e-07 | 0.019444 | 0.019444 | 0.019444 | 0.99273 | -0.050759 | 0.99287 | -0.049786 | 7.2015
14 | -0.014147 | -0.0035446 | 0.014152 | 0.0035463 | 4.9082e-06 | 1.6614e-06 | 0.021202 | 0.021201 | 0.021202 | 0.99287 | -0.049786 | 0.99322 | -0.047279 | 7.8524
15 | -0.016088 | -0.0040315 | 0.016094 | 0.0040337 | 6.2914e-06 | 2.195e-06 | 0.024102 | 0.024102 | 0.024102 | 0.99322 | -0.047279 | 0.99362 | -0.044455 | 8.9266
16 | 0.0086211 | 0.002159 | -0.0086203 | -0.0021588 | 7.5323e-07 | 2.0034e-07 | 0.013067 | 0.013067 | 0.013067 | 0.98166 | -0.129 | 0.98157 | -0.12964 | 4.8398
17 | -0.014935 | -0.0037415 | 0.014938 | 0.0037426 | 3.3258e-06 | 1.1477e-06 | 0.022638 | 0.022638 | 0.022638 | 0.98166 | -0.129 | 0.98188 | -0.12739 | 8.3846
18 | 0.0077486 | 0.0019404 | -0.0077483 | -0.0019403 | 2.5599e-07 | 6.0874e-08 | 0.011746 | 0.011746 | 0.011746 | 0.98157 | -0.12964 | 0.98154 | -0.12988 | 4.3504
19 | -0.0163 | -0.0040838 | 0.016307 | 0.0040863 | 7.1978e-06 | 2.5292e-06 | 0.024701 | 0.024701 | 0.024701 | 0.98188 | -0.12739 | 0.98233 | -0.1242 | 9.1486
20 | 0.0070954 | 0.0017766 | -0.0070934 | -0.0017762 | 1.9683e-06 | 4.1253e-07 | 0.010756 | 0.010756 | 0.010756 | 0.98154 | -0.12988 | 0.98125 | -0.13188 | 3.9838
21 | -0.018163 | -0.0045515 | 0.018163 | 0.0045515 | 6.2988e-08 | 2.2538e-08 | 0.027513 | 0.027513 | 0.027513 | 0.98233 | -0.1242 | 0.98233 | -0.12418 | 10.1899
22 | 0.0027982 | 0.00070015 | -0.002798 | -0.00070033 | 2.4221e-07 | -1.7918e-07 | 0.0042429 | 0.004243 | 0.004243 | 0.98125 | -0.13188 | 0.98117 | -0.13251 | 1.5715
23 | 0.0016904 | 0.00042348 | -0.0016904 | -0.00042364 | 6.0002e-08 | -1.6177e-07 | 0.0025634 | 0.0025634 | 0.0025634 | 0.98125 | -0.13188 | 0.98122 | -0.13214 | 0.94942
24 | 0.0026048 | 0.00065259 | -0.0026046 | -0.00065277 | 1.9682e-07 | -1.7965e-07 | 0.0039499 | 0.00395 | 0.00395 | 0.98125 | -0.13188 | 0.98118 | -0.13243 | 1.463
25 | -0.02002 | -0.005017 | 0.020048 | 0.0050272 | 2.8315e-05 | 1.0265e-05 | 0.030326 | 0.030326 | 0.030326 | 0.98233 | -0.12418 | 0.98377 | -0.11397 | 11.2318
26 | 0.0012586 | 0.00031453 | -0.0012585 | -0.00031502 | 9.4905e-08 | -4.9082e-07 | 0.0019084 | 0.0019086 | 0.0019086 | 0.98117 | -0.13251 | 0.98109 | -0.13306 | 0.70689
27 | -0.021026 | -0.0052723 | 0.021037 | 0.0052763 | 1.1006e-05 | 4.0116e-06 | 0.031805 | 0.031805 | 0.031805 | 0.98377 | -0.11397 | 0.9843 | -0.1102 | 11.7795
28 | -0.0012033 | -0.00030158 | 0.0012034 | 0.00030115 | 7.1317e-08 | -4.2692e-07 | 0.0018036 | 0.0018034 | 0.0018036 | 0.99276 | -0.050513 | 0.99283 | -0.050085 | 0.668
29 | -0.0012034 | -0.00030115 | 0.0012035 | 0.0003005 | 1.0898e-07 | -6.5263e-07 | 0.0018034 | 0.0018032 | 0.0018034 | 0.99283 | -0.050085 | 0.99292 | -0.049427 | 0.66794
30 | -0.028445 | -0.0071318 | 0.02848 | 0.0071446 | 3.4315e-05 | 1.282e-05 | 0.043004 | 0.043003 | 0.043004 | 0.9843 | -0.1102 | 0.98552 | -0.1015 | 15.9272
31 | 0.0021835 | 0.00054687 | -0.0021834 | -0.00054704 | 1.1337e-07 | -1.6833e-07 | 0.0033008 | 0.0033009 | 0.0033009 | 0.9843 | -0.1102 | 0.98425 | -0.11057 | 1.2225
32 | -0.029688 | -0.0074474 | 0.029718 | 0.0074588 | 3.033e-05 | 1.1357e-05 | 0.044827 | 0.044827 | 0.044827 | 0.98552 | -0.1015 | 0.98656 | -0.094143 | 16.6028
33 | 0.0011582 | 0.00029011 | -0.0011582 | -0.00029027 | 2.6117e-08 | -1.6344e-07 | 0.001751 | 0.0017511 | 0.0017511 | 0.98425 | -0.11057 | 0.98422 | -0.11074 | 0.64854
34 | -0.040228 | -0.010093 | 0.040246 | 0.0101 | 1.8438e-05 | 6.989e-06 | 0.060679 | 0.060678 | 0.060679 | 0.98656 | -0.094143 | 0.98703 | -0.090841 | 22.4735
35 | -0.0012584 | -0.00031539 | 0.0012585 | 0.00031502 | 7.0975e-08 | -3.6694e-07 | 0.0019087 | 0.0019086 | 0.0019087 | 0.98103 | -0.13347 | 0.98109 | -0.13306 | 0.70694
36 | -0.042581 | -0.010685 | 0.042685 | 0.010724 | 0.00010412 | 3.9528e-05 | 0.064198 | 0.064198 | 0.064198 | 0.98703 | -0.090841 | 0.98952 | -0.073264 | 23.7772
37 | 0.011286 | 0.002828 | -0.011286 | -0.0028278 | 8.6167e-07 | 2.7016e-07 | 0.016994 | 0.016994 | 0.016994 | 0.98824 | -0.082331 | 0.98816 | -0.082883 | 6.2941
38 | -0.013784 | -0.003454 | 0.013784 | 0.0034541 | 1.6303e-07 | 5.4932e-08 | 0.020755 | 0.020755 | 0.020755 | 0.98824 | -0.082331 | 0.98825 | -0.082246 | 7.6871
39 | 0.0077336 | 0.0019375 | -0.0077319 | -0.0019372 | 1.6734e-06 | 3.9034e-07 | 0.011645 | 0.011645 | 0.011645 | 0.98816 | -0.082883 | 0.98794 | -0.084447 | 4.3131
40 | -0.013784 | -0.0034541 | 0.01379 | 0.003456 | 5.7157e-06 | 1.9258e-06 | 0.020755 | 0.020755 | 0.020755 | 0.98825 | -0.082246 | 0.98867 | -0.079251 | 7.6871
41 | 0.0048407 | 0.0012126 | -0.0048382 | -0.0012126 | 2.5384e-06 | -3.05e-09 | 0.0072908 | 0.0072911 | 0.0072911 | 0.98794 | -0.084447 | 0.9874 | -0.088238 | 2.7004
42 | -0.018553 | -0.0046496 | 0.018568 | 0.0046551 | 1.5387e-05 | 5.5121e-06 | 0.027923 | 0.027923 | 0.027923 | 0.98867 | -0.079251 | 0.98952 | -0.073264 | 10.3418
43 | -0.068381 | -0.017166 | 0.068475 | 0.017202 | 9.4277e-05 | 3.6077e-05 | 0.10284 | 0.10284 | 0.10284 | 0.98952 | -0.073264 | 0.99093 | -0.063351 | 38.0888
44 | 0.0071281 | 0.0017861 | -0.0071266 | -0.0017858 | 1.4864e-06 | 3.0543e-07 | 0.010719 | 0.010719 | 0.010719 | 0.98952 | -0.073264 | 0.98931 | -0.074771 | 3.97
45 | -0.070321 | -0.017664 | 0.070537 | 0.017747 | 0.00021595 | 8.2655e-05 | 0.10561 | 0.10561 | 0.10561 | 0.99093 | -0.063351 | 0.99406 | -0.041339 | 39.1155
46 | 0.0031132 | 0.00077991 | -0.0031128 | -0.00078013 | 4.0098e-07 | -2.2205e-07 | 0.0046824 | 0.0046825 | 0.0046825 | 0.98931 | -0.074771 | 0.98917 | -0.075702 | 1.7343
47 | -0.098479 | -0.02475 | 0.098726 | 0.024845 | 0.00024718 | 9.4831e-05 | 0.14744 | 0.14744 | 0.14744 | 0.99406 | -0.041339 | 0.99664 | -0.023355 | 54.6063
48 | 0.027941 | 0.007003 | -0.027929 | -0.0069985 | 1.2049e-05 | 4.4912e-06 | 0.041825 | 0.041825 | 0.041825 | 0.99406 | -0.041339 | 0.99362 | -0.044455 | 15.4909
49 | -0.1006 | -0.025314 | 0.10093 | 0.025441 | 0.000329 | 0.00012623 | 0.15023 | 0.15023 | 0.15023 | 0.99664 | -0.023355 | 1 | 0 | 55.6422
50 | 0.011835 | 0.0029648 | -0.011832 | -0.0029637 | 3.3814e-06 | 1.0772e-06 | 0.017724 | 0.017724 | 0.017724 | 0.99362 | -0.044455 | 0.99333 | -0.046521 | 6.5643
51 | 0.0071595 | 0.0017927 | -0.007159 | -0.0017926 | 4.6082e-07 | 9.4125e-08 | 0.010724 | 0.010724 | 0.010724 | 0.99333 | -0.046521 | 0.99326 | -0.046987 | 3.972
52 | 0.0056291 | 0.0014092 | -0.0056279 | -0.0014091 | 1.2094e-06 | 1.1245e-07 | 0.0084324 | 0.0084326 | 0.0084326 | 0.99326 | -0.046987 | 0.99304 | -0.048542 | 3.1232
53 | -0.0035038 | -0.00087697 | 0.0035041 | 0.00087687 | 2.4909e-07 | -9.1506e-08 | 0.0052505 | 0.0052504 | 0.0052505 | 0.99293 | -0.049322 | 0.99301 | -0.048807 | 1.9446
54 | 0.0027965 | 0.00069968 | -0.0027965 | -0.0006997 | 1.9653e-08 | -1.5641e-08 | 0.0041904 | 0.0041904 | 0.0041904 | 0.99293 | -0.049322 | 0.99293 | -0.049373 | 1.552
55 | -0.0047472 | -0.0011884 | 0.0047474 | 0.0011884 | 1.7369e-07 | -4.3645e-09 | 0.0071132 | 0.0071132 | 0.0071132 | 0.99301 | -0.048807 | 0.99304 | -0.048542 | 2.6345
56 | 0.0018271 | 0.00045674 | -0.001827 | -0.00045678 | 1.3665e-08 | -3.2537e-08 | 0.0027377 | 0.0027377 | 0.0027377 | 0.99293 | -0.049373 | 0.99292 | -0.049427 | 1.0139
57 | 0.016753 | 0.004199 | -0.016752 | -0.0041984 | 1.5744e-06 | 5.523e-07 | 0.024929 | 0.024929 | 0.024929 | 1 | 0 | 0.9999 | -0.00067883 | 9.233
58 | -0.002207 | -0.00055311 | 0.0022071 | 0.00055291 | 1.2749e-07 | -1.9937e-07 | 0.0032845 | 0.0032844 | 0.0032845 | 0.99984 | -0.0010963 | 0.9999 | -0.00067883 | 1.2165
59 | 0.014544 | 0.0036455 | -0.014541 | -0.0036443 | 3.4753e-06 | 1.1808e-06 | 0.021645 | 0.021645 | 0.021645 | 0.9999 | -0.00067883 | 0.99966 | -0.0024049 | 8.0165

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.12098 | 0.030265

## res_load
| p_mw | q_mvar
0 | 0.0042606 | 0.0010678
1 | 0.00096139 | 0.00024095
2 | 0.0010763 | 0.00026975
3 | 0.0010769 | 0.0002699
4 | 0.0014268 | 0.00035759
5 | 0.00057944 | 0.00014522
6 | 0.0010742 | 0.00026921
7 | 0.0018016 | 0.00045152
8 | 0.0017597 | 0.00044103
9 | 0.0013553 | 0.00033968
10 | 0.0014531 | 0.00036419
11 | 0.0011728 | 0.00029392
12 | 0.001936 | 0.00048521
13 | 0.0013621 | 0.00034138
14 | 0.0063141 | 0.0015825
15 | 0.00087173 | 0.00021848
16 | 0.0013613 | 0.00034116
17 | 0.00065298 | 0.00016365
18 | 0.001856 | 0.00046517
19 | 0.0018571 | 0.00046544
20 | 0.0015394 | 0.0003858
21 | 0.0016904 | 0.00042364
22 | 0.0026046 | 0.00065277
23 | 0.00097784 | 0.00024507
24 | 0.0012033 | 0.00030158
25 | 0.0012081 | 0.00030278
26 | 0.0010252 | 0.00025693
27 | 0.010509 | 0.0026339
28 | 0.0011582 | 0.00029027
29 | 0.0012584 | 0.00031539
30 | 0.0023348 | 0.00058515
31 | 0.0024977 | 0.00062599
32 | 0.0035521 | 0.00089023
33 | 0.0028912 | 0.00072459
34 | 0.0047625 | 0.0011936
35 | 0.0048382 | 0.0012126
36 | 0.0018461 | 0.00046267
37 | 0.0040134 | 0.0010059
38 | 0.0031128 | 0.00078013
39 | 0.0018733 | 0.00046948
40 | 0.0046723 | 0.001171
41 | 0.0015299 | 0.00038344
42 | 0.00070737 | 0.00017728
43 | 0.0012431 | 0.00031156
44 | 0.0009694 | 0.00024295
45 | 0.00088047 | 0.00022067
46 | 0.00062355 | 0.00015628
47 | 0.0024943 | 0.00062514
48 | 0.002207 | 0.00055311
49 | 0.014541 | 0.0036443

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1