## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2406-8_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2406-8_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2406-8_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2406-8_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2406-8_0_3_node_59 | 0.4 | n |  | TRUE
5 | bus_LV_2406-8_0_3_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_2406-8_0_3_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_2406-8_0_3_node_34 | 0.4 | n |  | TRUE
8 | bus_LV_2406-8_0_3_node_30 | 0.4 | n |  | TRUE
9 | bus_LV_2406-8_0_3_node_32 | 0.4 | n |  | TRUE
10 | bus_LV_2406-8_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_2406-8_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_2406-8_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_2406-8_0_3_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_2406-8_0_3_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_2406-8_0_3_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_2406-8_0_3_node_52 | 0.4 | n |  | TRUE
17 | bus_LV_2406-8_0_3_node_33 | 0.4 | n |  | TRUE
18 | bus_LV_2406-8_0_3_node_51 | 0.4 | n |  | TRUE
19 | bus_LV_2406-8_0_3_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_2406-8_0_3_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_2406-8_0_3_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_2406-8_0_3_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_2406-8_0_3_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_2406-8_0_3_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_2406-8_0_3_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_2406-8_0_3_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_2406-8_0_3_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_2406-8_0_3_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_2406-8_0_3_node_46 | 0.4 | n |  | TRUE
30 | bus_LV_2406-8_0_3_node_49 | 0.4 | n |  | TRUE
31 | bus_LV_2406-8_0_3_node_44 | 0.4 | n |  | TRUE
32 | bus_LV_2406-8_0_3_node_63 | 0.4 | n |  | TRUE
33 | bus_LV_2406-8_0_3_node_61 | 0.4 | n |  | TRUE
34 | bus_LV_2406-8_0_3_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_2406-8_0_3_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_2406-8_0_3_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_2406-8_0_3_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_2406-8_0_3_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_2406-8_0_3_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_2406-8_0_3_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_2406-8_0_3_node_36 | 0.4 | n |  | TRUE
42 | bus_LV_2406-8_0_3_node_37 | 0.4 | n |  | TRUE
43 | bus_LV_2406-8_0_3_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_2406-8_0_3_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_2406-8_0_3_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_2406-8_0_3_node_41 | 0.4 | n |  | TRUE
47 | bus_LV_2406-8_0_3_node_58 | 0.4 | n |  | TRUE
48 | bus_LV_2406-8_0_3_node_65 | 0.4 | n |  | TRUE
49 | bus_LV_2406-8_0_3_node_57 | 0.4 | n |  | TRUE
50 | bus_LV_2406-8_0_3_node_64 | 0.4 | n |  | TRUE
51 | bus_LV_2406-8_0_3_node_42 | 0.4 | n |  | TRUE
52 | bus_LV_2406-8_0_3_node_43 | 0.4 | n |  | TRUE
53 | bus_LV_2406-8_0_3_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_2406-8_0_3_node_47 | 0.4 | n |  | TRUE
55 | bus_LV_2406-8_0_3_node_48 | 0.4 | n |  | TRUE
56 | bus_LV_2406-8_0_3_node_66 | 0.4 | n |  | TRUE
57 | bus_LV_2406-8_0_3_node_62 | 0.4 | n |  | TRUE
58 | bus_LV_2406-8_0_3_node_60 | 0.4 | n |  | TRUE
59 | bus_LV_2406-8_0_3_node_50 | 0.4 | n |  | TRUE
60 | bus_LV_2406-8_0_3_node_53 | 0.4 | n |  | TRUE
61 | bus_LV_2406-8_0_3_node_54 | 0.4 | n |  | TRUE
62 | bus_LV_2406-8_0_3_node_55 | 0.4 | n |  | TRUE
63 | bus_LV_2406-8_0_3_node_56 | 0.4 | n |  | TRUE
64 | bus_LV_2406-8_0_3_node_67 | 0.4 | n |  | TRUE
65 | bus_LV_2406-8_0_3_node_68 | 0.4 | n |  | TRUE
66 | bus_MV_334_0_node_176 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2406-8_0_3_load_0 | 0 | 0.0024351 | 0.0006103 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2406-8_0_3_load_2 | 2 | 0.0018697 | 0.0004686 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2406-8_0_3_load_59 | 4 | 0.0012133 | 0.00030409 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2406-8_0_3_load_4 | 5 | 0.002185 | 0.00054762 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2406-8_0_3_load_5 | 6 | 0.0018838 | 0.00047212 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2406-8_0_3_load_30 | 8 | 0.0014914 | 0.00037377 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2406-8_0_3_load_32 | 9 | 0.00097436 | 0.0002442 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2406-8_0_3_load_6 | 10 | 0.0012597 | 0.00031571 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2406-8_0_3_load_7 | 11 | 0.0019769 | 0.00049545 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2406-8_0_3_load_8 | 12 | 0.0016179 | 0.00040548 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2406-8_0_3_load_10 | 14 | 0.0007337 | 0.00018388 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2406-8_0_3_load_11 | 15 | 0.016624 | 0.0041664 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2406-8_0_3_load_52 | 16 | 0.0025135 | 0.00062994 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2406-8_0_3_load_33 | 17 | 0.0012918 | 0.00032375 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2406-8_0_3_load_12 | 19 | 0.0021672 | 0.00054316 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2406-8_0_3_load_13 | 20 | 0.0016924 | 0.00042416 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2406-8_0_3_load_14 | 21 | 0.0026064 | 0.00065321 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2406-8_0_3_load_15 | 22 | 0.00090002 | 0.00022557 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2406-8_0_3_load_16 | 23 | 0.0073987 | 0.0018543 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2406-8_0_3_load_17 | 24 | 0.003556 | 0.00089123 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2406-8_0_3_load_21 | 25 | 0.0090441 | 0.0022667 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2406-8_0_3_load_23 | 27 | 0.0051504 | 0.0012908 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2406-8_0_3_load_24 | 28 | 0.0025449 | 0.00063781 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2406-8_0_3_load_63 | 32 | 0.00183 | 0.00045864 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2406-8_0_3_load_25 | 34 | 0.00096567 | 0.00024202 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2406-8_0_3_load_26 | 35 | 0.0009191 | 0.00023035 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2406-8_0_3_load_27 | 36 | 0.0013695 | 0.00034323 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2406-8_0_3_load_28 | 37 | 0.00099112 | 0.0002484 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2406-8_0_3_load_29 | 38 | 0.0046029 | 0.0011536 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2406-8_0_3_load_31 | 39 | 0.0011943 | 0.00029932 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2406-8_0_3_load_35 | 40 | 0.0012735 | 0.00031917 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2406-8_0_3_load_36 | 41 | 0.001738 | 0.00043559 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2406-8_0_3_load_38 | 43 | 0.0021199 | 0.00053129 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2406-8_0_3_load_39 | 44 | 0.0025271 | 0.00063335 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2406-8_0_3_load_40 | 45 | 0.0021607 | 0.00054151 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2406-8_0_3_load_58 | 47 | 0.0017226 | 0.00043173 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2406-8_0_3_load_65 | 48 | 0.0012328 | 0.00030897 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2406-8_0_3_load_64 | 50 | 0.0039089 | 0.00097967 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2406-8_0_3_load_42 | 51 | 0.0042095 | 0.001055 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2406-8_0_3_load_43 | 52 | 0.0091719 | 0.0022987 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2406-8_0_3_load_45 | 53 | 0.0088021 | 0.002206 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2406-8_0_3_load_47 | 54 | 0.005658 | 0.001418 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2406-8_0_3_load_48 | 55 | 0.0038005 | 0.00095249 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2406-8_0_3_load_66 | 56 | 0.0011151 | 0.00027948 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2406-8_0_3_load_62 | 57 | 0.0014588 | 0.00036561 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2406-8_0_3_load_60 | 58 | 0.0017099 | 0.00042854 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2406-8_0_3_load_50 | 59 | 0.0019198 | 0.00048114 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2406-8_0_3_load_53 | 60 | 0.0024034 | 0.00060235 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2406-8_0_3_load_55 | 62 | 0.0031538 | 0.00079041 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2406-8_0_3_load_56 | 63 | 0.0021501 | 0.00053887 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2406-8_0_3_load_67 | 64 | 0.0027481 | 0.00068874 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2406-8_0_3_load_68 | 65 | 0.0031291 | 0.00078422 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 54 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2406-8_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.023757 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2406-8_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.021217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2406-8_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.042675 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2406-8_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2406-8_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.034445 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2406-8_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.0090017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2406-8_0_3_line_6 | NAYY 4x150 SE | 6 | 7 | 0.026666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2406-8_0_3_line_7 | NAYY 4x150 SE | 7 | 8 | 0.042253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2406-8_0_3_line_8 | NAYY 4x150 SE | 7 | 9 | 0.036786 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2406-8_0_3_line_9 | NAYY 4x150 SE | 8 | 37 | 0.016218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2406-8_0_3_line_10 | NAYY 4x150 SE | 9 | 17 | 0.034628 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2406-8_0_3_line_11 | NAYY 4x150 SE | 10 | 11 | 0.026778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2406-8_0_3_line_12 | NAYY 4x150 SE | 10 | 12 | 0.039104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2406-8_0_3_line_13 | NAYY 4x150 SE | 11 | 13 | 0.033284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2406-8_0_3_line_14 | NAYY 4x150 SE | 13 | 14 | 0.0084853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2406-8_0_3_line_15 | NAYY 4x150 SE | 13 | 15 | 0.020011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2406-8_0_3_line_16 | NAYY 4x150 SE | 14 | 16 | 0.029534 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2406-8_0_3_line_17 | NAYY 4x150 SE | 15 | 17 | 0.039595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2406-8_0_3_line_18 | NAYY 4x150 SE | 16 | 18 | 0.016498 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2406-8_0_3_line_19 | NAYY 4x150 SE | 18 | 60 | 0.017736 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2406-8_0_3_line_20 | NAYY 4x150 SE | 18 | 59 | 0.061543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2406-8_0_3_line_21 | NAYY 4x150 SE | 19 | 20 | 0.0041001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2406-8_0_3_line_22 | NAYY 4x150 SE | 19 | 21 | 0.018779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2406-8_0_3_line_23 | NAYY 4x150 SE | 20 | 22 | 0.023579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2406-8_0_3_line_24 | NAYY 4x150 SE | 21 | 23 | 0.019583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2406-8_0_3_line_25 | NAYY 4x150 SE | 23 | 24 | 0.0255 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2406-8_0_3_line_26 | NAYY 4x150 SE | 24 | 25 | 0.026947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2406-8_0_3_line_27 | NAYY 4x150 SE | 25 | 26 | 0.0042257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2406-8_0_3_line_28 | NAYY 4x150 SE | 26 | 27 | 0.018039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2406-8_0_3_line_29 | NAYY 4x150 SE | 26 | 28 | 0.020974 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2406-8_0_3_line_30 | NAYY 4x150 SE | 27 | 29 | 0.0048042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2406-8_0_3_line_31 | NAYY 4x150 SE | 28 | 30 | 0.019805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2406-8_0_3_line_32 | NAYY 4x150 SE | 29 | 31 | 0.032562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2406-8_0_3_line_33 | NAYY 4x150 SE | 30 | 32 | 0.0091281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2406-8_0_3_line_34 | NAYY 4x150 SE | 30 | 33 | 0.002946 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2406-8_0_3_line_35 | NAYY 4x150 SE | 31 | 51 | 0.010431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2406-8_0_3_line_36 | NAYY 4x150 SE | 32 | 56 | 0.010831 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2406-8_0_3_line_37 | NAYY 4x150 SE | 33 | 57 | 0.0076691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2406-8_0_3_line_38 | NAYY 4x150 SE | 33 | 58 | 0.036403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2406-8_0_3_line_39 | NAYY 4x150 SE | 34 | 35 | 0.013893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2406-8_0_3_line_40 | NAYY 4x150 SE | 34 | 36 | 0.033071 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2406-8_0_3_line_41 | NAYY 4x150 SE | 35 | 37 | 0.01541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2406-8_0_3_line_42 | NAYY 4x150 SE | 36 | 38 | 0.01408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2406-8_0_3_line_43 | NAYY 4x150 SE | 38 | 39 | 0.017112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2406-8_0_3_line_44 | NAYY 4x150 SE | 40 | 41 | 0.024497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2406-8_0_3_line_45 | NAYY 4x150 SE | 40 | 42 | 0.015746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_2406-8_0_3_line_46 | NAYY 4x150 SE | 41 | 43 | 0.022213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_2406-8_0_3_line_47 | NAYY 4x150 SE | 42 | 44 | 0.011202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_2406-8_0_3_line_48 | NAYY 4x150 SE | 43 | 45 | 0.021532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_2406-8_0_3_line_49 | NAYY 4x150 SE | 44 | 46 | 0.0069965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_2406-8_0_3_line_50 | NAYY 4x150 SE | 46 | 47 | 0.015451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
51 | LV_2406-8_0_3_line_51 | NAYY 4x150 SE | 46 | 48 | 0.026703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
52 | LV_2406-8_0_3_line_52 | NAYY 4x150 SE | 47 | 49 | 0.013489 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
53 | LV_2406-8_0_3_line_53 | NAYY 4x150 SE | 48 | 50 | 0.019184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
54 | LV_2406-8_0_3_line_54 | NAYY 4x150 SE | 49 | 63 | 0.023552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
55 | LV_2406-8_0_3_line_55 | NAYY 4x150 SE | 50 | 55 | 0.015007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
56 | LV_2406-8_0_3_line_56 | NAYY 4x150 SE | 51 | 52 | 0.018871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_2406-8_0_3_line_57 | NAYY 4x150 SE | 52 | 53 | 0.0059916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_2406-8_0_3_line_58 | NAYY 4x150 SE | 53 | 54 | 0.019864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_2406-8_0_3_line_59 | NAYY 4x150 SE | 54 | 55 | 0.020598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
60 | LV_2406-8_0_3_line_60 | NAYY 4x150 SE | 56 | 64 | 0.015588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_2406-8_0_3_line_61 | NAYY 4x150 SE | 60 | 61 | 0.063775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_2406-8_0_3_line_62 | NAYY 4x150 SE | 61 | 62 | 0.037429 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_2406-8_0_3_line_63 | NAYY 4x150 SE | 62 | 63 | 0.053214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
64 | LV_2406-8_0_3_line_64 | NAYY 4x150 SE | 64 | 65 | 0.033078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2406-8_0_3_trafo_47 | 0.25 MVA 20/0.4 kV | 66 | 54 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2624526.485 | 1240340.7561 | 2624522.6539 | 1240338.3166 | 2624510.1992 | 1240333.1398 | 2624505.0375 | 1240330.6584
1 | 2624485.915 | 1240321.4658 | 2624505.0375 | 1240330.6584
2 | 2624526.485 | 1240340.7561 | 2624552.1021 | 1240342.6963 | 2624560.2475 | 1240344.0641 | 2624568.8052 | 1240346.312
3 | 2624485.915 | 1240321.4658 | 2624447.1584 | 1240305.023
4 | 2624568.8052 | 1240346.312 | 2624558.8571 | 1240340.2115 | 2624538.4122 | 1240330.1744
5 | 2624568.8052 | 1240346.312 | 2624577.4968 | 1240348.6543
6 | 2624603.4317 | 1240354.5936 | 2624593.1017 | 1240353.1055 | 2624585.1042 | 1240350.7043 | 2624577.4968 | 1240348.6543
7 | 2624603.4317 | 1240354.5936 | 2624602.3079 | 1240357.5797 | 2624602.6223 | 1240362.0061 | 2624605.4969 | 1240365.3423 | 2624610.2592 | 1240367.4633 | 2624623.3631 | 1240367.4064 | 2624629.9064 | 1240368.5453 | 2624634.5429 | 1240371.0345
8 | 2624603.4317 | 1240354.5936 | 2624607.715 | 1240353.733 | 2624615.0569 | 1240353.7412 | 2624629.6412 | 1240355.8918 | 2624639.8449 | 1240357.524
9 | 2624646.3625 | 1240382.029 | 2624636.3343 | 1240371.9963 | 2624634.5429 | 1240371.0345
10 | 2624639.8449 | 1240357.524 | 2624650.9045 | 1240359.2931 | 2624664.6561 | 1240361.6738 | 2624674.0985 | 1240362.413
11 | 2624679.0616 | 1240347.762 | 2624694.9797 | 1240351.849 | 2624704.729 | 1240355.3059
12 | 2624679.0616 | 1240347.762 | 2624669.7595 | 1240345.3736 | 2624653.1569 | 1240339.4455 | 2624641.455 | 1240337.4511
13 | 2624733.0036 | 1240370.4297 | 2624730.7245 | 1240365.7395 | 2624723.5343 | 1240361.9739 | 2624704.729 | 1240355.3059
14 | 2624733.0036 | 1240370.4297 | 2624741.0492 | 1240373.1258
15 | 2624733.0036 | 1240370.4297 | 2624721.0625 | 1240367.2448 | 2624713.5132 | 1240365.994
16 | 2624768.6201 | 1240383.6397 | 2624755.5123 | 1240377.9725 | 2624741.0492 | 1240373.1258
17 | 2624713.5132 | 1240365.994 | 2624707.847 | 1240365.0552 | 2624674.0985 | 1240362.413
18 | 2624783.763 | 1240390.1867 | 2624768.6201 | 1240383.6397
19 | 2624783.763 | 1240390.1867 | 2624794.4747 | 1240394.434 | 2624800.1222 | 1240397.0228
20 | 2624783.763 | 1240390.1867 | 2624781.0708 | 1240395.7345 | 2624778.5996 | 1240406.2976 | 2624776.694 | 1240433.5623 | 2624774.7992 | 1240443.7053 | 2624772.9347 | 1240450.3264
21 | 2624559.3433 | 1240265.5401 | 2624556.804 | 1240266.1009 | 2624555.3528 | 1240266.4784
22 | 2624559.3433 | 1240265.5401 | 2624565.4016 | 1240264.2019 | 2624570.3012 | 1240262.3988 | 2624574.1041 | 1240260.7023 | 2624576.8029 | 1240259.0013
23 | 2624555.3528 | 1240266.4784 | 2624534.5876 | 1240271.8796 | 2624532.5325 | 1240272.4135
24 | 2624576.8029 | 1240259.0013 | 2624576.8029 | 1240259.0013 | 2624578.2987 | 1240257.5065 | 2624581.4003 | 1240253.5057 | 2624589.1924 | 1240243.8525
25 | 2624589.1924 | 1240243.8525 | 2624590.6043 | 1240242.1033 | 2624599.6039 | 1240232.6012 | 2624606.764 | 1240225.3869
26 | 2624624.9687 | 1240205.5379 | 2624620.701 | 1240210.4968 | 2624614.0991 | 1240217.9964 | 2624606.764 | 1240225.3869
27 | 2624627.9024 | 1240202.4993 | 2624625.6017 | 1240204.8024 | 2624624.9687 | 1240205.5379
28 | 2624627.9024 | 1240202.4993 | 2624628.6992 | 1240201.8022 | 2624631.4571 | 1240200.4794 | 2624633.9043 | 1240199.2999 | 2624637.4993 | 1240198.5032 | 2624643.4755 | 1240193.9346
29 | 2624627.9024 | 1240202.4993 | 2624616.3038 | 1240193.201 | 2624611.591 | 1240189.3156
30 | 2624647.2922 | 1240191.0169 | 2624643.4755 | 1240193.9346
31 | 2624592.8375 | 1240186.6221 | 2624600.2038 | 1240186.2968 | 2624603.0027 | 1240185.9971 | 2624605.4002 | 1240185.8958 | 2624607.304 | 1240186.3039 | 2624608.9037 | 1240187.0999 | 2624611.591 | 1240189.3156
32 | 2624647.2922 | 1240191.0169 | 2624670.2965 | 1240214.1267
33 | 2624592.8375 | 1240186.6221 | 2624589.5944 | 1240188.2764 | 2624584.4443 | 1240190.1707
34 | 2624592.8375 | 1240186.6221 | 2624590.6985 | 1240184.5897
35 | 2624670.2965 | 1240214.1267 | 2624674.1132 | 1240223.834
36 | 2624584.4443 | 1240190.1707 | 2624574.2788 | 1240193.9097
37 | 2624590.6985 | 1240184.5897 | 2624592.8839 | 1240177.2386
38 | 2624590.6985 | 1240184.5897 | 2624588.4039 | 1240183.6019 | 2624586.3983 | 1240182.2038 | 2624584.9019 | 1240180.1964 | 2624584.0002 | 1240177.0017 | 2624578.9195 | 1240156.7236 | 2624576.9485 | 1240152.4222
39 | 2624657.2563 | 1240392.9276 | 2624658.3294 | 1240394.0012 | 2624666.1939 | 1240403.5559
40 | 2624679.8578 | 1240433.2707 | 2624678.4028 | 1240427.172 | 2624674.3355 | 1240416.0926 | 2624669.4864 | 1240407.556 | 2624666.1939 | 1240403.5559
41 | 2624646.3625 | 1240382.029 | 2624657.2563 | 1240392.9276
42 | 2624679.8578 | 1240433.2707 | 2624681.2864 | 1240439.2582 | 2624683.1247 | 1240446.9663
43 | 2624688.6627 | 1240463.123 | 2624684.2962 | 1240451.8786 | 2624683.1247 | 1240446.9663
44 | 2624811.2375 | 1240335.1806 | 2624790.9669 | 1240321.4252
45 | 2624776.8956 | 1240314.4327 | 2624788.5328 | 1240319.7734 | 2624790.9669 | 1240321.4252
46 | 2624829.6183 | 1240347.6535 | 2624811.2375 | 1240335.1806
47 | 2624776.8956 | 1240314.4327 | 2624766.22 | 1240311.0395
48 | 2624829.6183 | 1240347.6535 | 2624847.4357 | 1240359.7442
49 | 2624759.5552 | 1240311.3475 | 2624763.3561 | 1240310.1292 | 2624766.22 | 1240311.0395
50 | 2624759.5552 | 1240311.3475 | 2624771.6462 | 1240320.9666
51 | 2624759.5552 | 1240311.3475 | 2624742.4038 | 1240299.2018 | 2624737.5514 | 1240296.2365
52 | 2624782.2018 | 1240329.3642 | 2624771.6462 | 1240320.9666
53 | 2624721.1823 | 1240286.2334 | 2624737.5514 | 1240296.2365
54 | 2624782.2018 | 1240329.3642 | 2624799.5698 | 1240345.2715
55 | 2624708.8541 | 1240277.6959 | 2624717.1978 | 1240283.7985 | 2624721.1823 | 1240286.2334
56 | 2624681.1347 | 1240241.3466 | 2624680.2183 | 1240239.3615 | 2624674.1132 | 1240223.834
57 | 2624681.1347 | 1240241.3466 | 2624683.646 | 1240246.7865
58 | 2624683.646 | 1240246.7865 | 2624686.4458 | 1240252.8514 | 2624693.815 | 1240263.7842
59 | 2624708.8541 | 1240277.6959 | 2624704.096 | 1240274.2158 | 2624695.3361 | 1240266.041 | 2624693.815 | 1240263.7842
60 | 2624574.2788 | 1240193.9097 | 2624569.2382 | 1240195.7637 | 2624561.6583 | 1240202.6145
61 | 2624851.4973 | 1240418.8984 | 2624843.586 | 1240424.8914 | 2624839.8166 | 1240425.8207 | 2624834.6413 | 1240424.854 | 2624831.5076 | 1240422.0281 | 2624818.5348 | 1240408.8323 | 2624806.6401 | 1240400.0105 | 2624800.1222 | 1240397.0228
62 | 2624851.4973 | 1240418.8984 | 2624844.5 | 1240405.2051 | 2624836.3983 | 1240393.3971 | 2624832.3029 | 1240386.8391
63 | 2624832.3029 | 1240386.8391 | 2624818.8977 | 1240365.3731 | 2624805.0178 | 1240350.2613 | 2624799.5698 | 1240345.2715
64 | 2624561.6583 | 1240202.6145 | 2624537.1183 | 1240224.7938

## bus_geodata
| x | y | coords
0 | 2624505.0375 | 1240330.6584
1 | 2624526.485 | 1240340.7561
2 | 2624485.915 | 1240321.4658
3 | 2624568.8052 | 1240346.312
4 | 2624447.1584 | 1240305.023
5 | 2624538.4122 | 1240330.1744
6 | 2624577.4968 | 1240348.6543
7 | 2624603.4317 | 1240354.5936
8 | 2624634.5429 | 1240371.0345
9 | 2624639.8449 | 1240357.524
10 | 2624679.0616 | 1240347.762
11 | 2624704.729 | 1240355.3059
12 | 2624641.455 | 1240337.4511
13 | 2624733.0036 | 1240370.4297
14 | 2624741.0492 | 1240373.1258
15 | 2624713.5132 | 1240365.994
16 | 2624768.6201 | 1240383.6397
17 | 2624674.0985 | 1240362.413
18 | 2624783.763 | 1240390.1867
19 | 2624559.3433 | 1240265.5401
20 | 2624555.3528 | 1240266.4784
21 | 2624576.8029 | 1240259.0013
22 | 2624532.5325 | 1240272.4135
23 | 2624589.1923 | 1240243.8525
24 | 2624606.764 | 1240225.3869
25 | 2624624.9687 | 1240205.5379
26 | 2624627.9024 | 1240202.4993
27 | 2624643.4755 | 1240193.9346
28 | 2624611.591 | 1240189.3156
29 | 2624647.2922 | 1240191.0169
30 | 2624592.8375 | 1240186.6221
31 | 2624670.2965 | 1240214.1267
32 | 2624584.4443 | 1240190.1707
33 | 2624590.6985 | 1240184.5897
34 | 2624666.1939 | 1240403.5559
35 | 2624657.2563 | 1240392.9276
36 | 2624679.8578 | 1240433.2707
37 | 2624646.3625 | 1240382.029
38 | 2624683.1247 | 1240446.9663
39 | 2624688.6627 | 1240463.123
40 | 2624790.9669 | 1240321.4252
41 | 2624811.2375 | 1240335.1806
42 | 2624776.8956 | 1240314.4327
43 | 2624829.6183 | 1240347.6535
44 | 2624766.22 | 1240311.0395
45 | 2624847.4357 | 1240359.7442
46 | 2624759.5552 | 1240311.3475
47 | 2624771.6462 | 1240320.9666
48 | 2624737.5514 | 1240296.2365
49 | 2624782.2018 | 1240329.3642
50 | 2624721.1823 | 1240286.2334
51 | 2624674.1132 | 1240223.834
52 | 2624681.1347 | 1240241.3466
53 | 2624683.646 | 1240246.7865
54 | 2624693.815 | 1240263.7842
55 | 2624708.8541 | 1240277.6959
56 | 2624574.2788 | 1240193.9097
57 | 2624592.8839 | 1240177.2386
58 | 2624576.9485 | 1240152.4222
59 | 2624772.9347 | 1240450.3264
60 | 2624800.1222 | 1240397.0228
61 | 2624851.4973 | 1240418.8984
62 | 2624832.3029 | 1240386.8391
63 | 2624799.5698 | 1240345.2715
64 | 2624561.6583 | 1240202.6145
65 | 2624537.1183 | 1240224.7938
66 | 2624670.2965 | 1240214.1267

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97277 | -0.1916 | 0.0024351 | 0.0006103
1 | 0.97297 | -0.19022 | 0 | 0
2 | 0.97268 | -0.19229 | 0.0018697 | 0.0004686
3 | 0.97331 | -0.18773 | 0 | 0
4 | 0.9726 | -0.19283 | 0.0012133 | 0.00030409
5 | 0.9732 | -0.18852 | 0.002185 | 0.00054762
6 | 0.97341 | -0.187 | 0.0018838 | 0.00047212
7 | 0.97379 | -0.1843 | 0 | 0
8 | 0.97307 | -0.18944 | 0.0014914 | 0.00037377
9 | 0.97493 | -0.17612 | 0.00097436 | 0.0002442
10 | 0.97823 | -0.15251 | 0.0012597 | 0.00031571
11 | 0.97834 | -0.1517 | 0.0019769 | 0.00049545
12 | 0.97813 | -0.15317 | 0.0016179 | 0.00040548
13 | 0.97857 | -0.15001 | 0 | 0
14 | 0.97913 | -0.14604 | 0.0007337 | 0.00018388
15 | 0.9774 | -0.15838 | 0.016624 | 0.0041664
16 | 0.9811 | -0.13204 | 0.0025135 | 0.00062994
17 | 0.97605 | -0.16808 | 0.0012918 | 0.00032375
18 | 0.98226 | -0.1238 | 0 | 0
19 | 0.99004 | -0.069891 | 0.0021672 | 0.00054316
20 | 0.99002 | -0.069999 | 0.0016924 | 0.00042416
21 | 0.99017 | -0.06898 | 0.0026064 | 0.00065321
22 | 0.98999 | -0.070216 | 0.00090002 | 0.00022557
23 | 0.99037 | -0.067511 | 0.0073987 | 0.0018543
24 | 0.99092 | -0.06368 | 0.003556 | 0.00089123
25 | 0.99163 | -0.058663 | 0.0090441 | 0.0022667
26 | 0.99179 | -0.057489 | 0 | 0
27 | 0.99288 | -0.049824 | 0.0051504 | 0.0012908
28 | 0.99135 | -0.060587 | 0.0025449 | 0.00063781
29 | 0.99321 | -0.047535 | 0 | 0
30 | 0.99101 | -0.063002 | 0 | 0
31 | 0.99541 | -0.032058 | 0 | 0
32 | 0.9909 | -0.063821 | 0.00183 | 0.00045864
33 | 0.991 | -0.063097 | 0 | 0
34 | 0.97246 | -0.19383 | 0.00096567 | 0.00024202
35 | 0.97263 | -0.19263 | 0.0009191 | 0.00023035
36 | 0.97212 | -0.19633 | 0.0013695 | 0.00034323
37 | 0.97283 | -0.19116 | 0.00099112 | 0.0002484
38 | 0.972 | -0.19719 | 0.0046029 | 0.0011536
39 | 0.97197 | -0.19741 | 0.0011943 | 0.00029932
40 | 0.99531 | -0.032445 | 0.0012735 | 0.00031917
41 | 0.9951 | -0.033932 | 0.001738 | 0.00043559
42 | 0.99548 | -0.031287 | 0 | 0
43 | 0.99496 | -0.034891 | 0.0021199 | 0.00053129
44 | 0.99559 | -0.030463 | 0.0025271 | 0.00063335
45 | 0.9949 | -0.03536 | 0.0021607 | 0.00054151
46 | 0.99569 | -0.029771 | 0 | 0
47 | 0.99502 | -0.034406 | 0.0017226 | 0.00043173
48 | 0.99704 | -0.020457 | 0.0012328 | 0.00030897
49 | 0.99445 | -0.03834 | 0 | 0
50 | 0.99802 | -0.013662 | 0.0039089 | 0.00097967
51 | 0.99612 | -0.027115 | 0.0042095 | 0.001055
52 | 0.99751 | -0.017393 | 0.0091719 | 0.0022987
53 | 0.99803 | -0.01376 | 0.0088021 | 0.002206
54 | 1 | 0 | -0.15008 | -0.037636
55 | 0.99883 | -0.0080624 | 0.0038005 | 0.00095249
56 | 0.99079 | -0.064591 | 0.0011151 | 0.00027948
57 | 0.99098 | -0.063211 | 0.0014588 | 0.00036561
58 | 0.99091 | -0.06373 | 0.0017099 | 0.00042854
59 | 0.98209 | -0.12503 | 0.0019198 | 0.00048114
60 | 0.98355 | -0.11463 | 0.0024034 | 0.00060235
61 | 0.98844 | -0.08025 | 0 | 0
62 | 0.9913 | -0.06023 | 0.0031538 | 0.00079041
63 | 0.99346 | -0.045219 | 0.0021501 | 0.00053887
64 | 0.99066 | -0.065523 | 0.0027481 | 0.00068874
65 | 0.99051 | -0.066577 | 0.0031291 | 0.00078422
66 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0055186 | -0.0013824 | 0.0055196 | 0.0013825 | 1.0563e-06 | 1.1128e-07 | 0.0084413 | 0.0084412 | 0.0084413 | 0.97277 | -0.1916 | 0.97297 | -0.19022 | 3.1264
1 | 0.0030834 | 0.00077205 | -0.0030831 | -0.0007722 | 2.9451e-07 | -1.5011e-07 | 0.0047164 | 0.0047165 | 0.0047165 | 0.97277 | -0.1916 | 0.97268 | -0.19229 | 1.7468
2 | -0.0055196 | -0.0013825 | 0.0055215 | 0.0013827 | 1.8974e-06 | 1.9957e-07 | 0.0084412 | 0.008441 | 0.0084412 | 0.97297 | -0.19022 | 0.97331 | -0.18773 | 3.1264
3 | 0.0012134 | 0.0003036 | -0.0012133 | -0.00030409 | 9.0516e-08 | -4.877e-07 | 0.0018561 | 0.0018563 | 0.0018563 | 0.97268 | -0.19229 | 0.9726 | -0.19283 | 0.68752
4 | 0.0021853 | 0.00054728 | -0.002185 | -0.00054762 | 2.3989e-07 | -3.3578e-07 | 0.0033407 | 0.0033409 | 0.0033409 | 0.97331 | -0.18773 | 0.9732 | -0.18852 | 1.2374
5 | -0.0077068 | -0.0019299 | 0.0077076 | 0.0019301 | 7.797e-07 | 1.88e-07 | 0.011782 | 0.011782 | 0.011782 | 0.97331 | -0.18773 | 0.97341 | -0.187 | 4.3636
6 | -0.0095914 | -0.0024023 | 0.009595 | 0.0024033 | 3.5767e-06 | 1.044e-06 | 0.014661 | 0.014661 | 0.014661 | 0.97341 | -0.187 | 0.97379 | -0.1843 | 5.4301
7 | 0.011551 | 0.0028953 | -0.011543 | -0.0028927 | 8.2145e-06 | 2.6342e-06 | 0.017651 | 0.017651 | 0.017651 | 0.97379 | -0.1843 | 0.97307 | -0.18944 | 6.5374
8 | -0.021146 | -0.0052986 | 0.02117 | 0.0053074 | 2.3966e-05 | 8.7596e-06 | 0.032312 | 0.032312 | 0.032312 | 0.97379 | -0.1843 | 0.97493 | -0.17612 | 11.9675
9 | 0.010051 | 0.0025189 | -0.010049 | -0.0025182 | 2.3909e-06 | 7.1817e-07 | 0.01537 | 0.015371 | 0.015371 | 0.97307 | -0.18944 | 0.97283 | -0.19116 | 5.6928
10 | -0.022144 | -0.0055516 | 0.022169 | 0.0055607 | 2.4684e-05 | 9.0616e-06 | 0.033799 | 0.033799 | 0.033799 | 0.97493 | -0.17612 | 0.97605 | -0.16808 | 12.5182
11 | -0.0028777 | -0.00072076 | 0.0028781 | 0.00072055 | 3.2016e-07 | -2.1308e-07 | 0.0043773 | 0.0043771 | 0.0043773 | 0.97823 | -0.15251 | 0.97834 | -0.1517 | 1.6212
12 | 0.001618 | 0.00040505 | -0.0016179 | -0.00040548 | 1.4781e-07 | -4.3402e-07 | 0.0024611 | 0.0024613 | 0.0024613 | 0.97823 | -0.15251 | 0.97813 | -0.15317 | 0.91158
13 | -0.0048549 | -0.001216 | 0.0048561 | 0.001216 | 1.1323e-06 | 1.747e-08 | 0.0073839 | 0.0073837 | 0.0073839 | 0.97834 | -0.1517 | 0.97857 | -0.15001 | 2.7348
14 | -0.045019 | -0.011296 | 0.045044 | 0.011306 | 2.4816e-05 | 9.438e-06 | 0.068461 | 0.068461 | 0.068461 | 0.97857 | -0.15001 | 0.97913 | -0.14604 | 25.3558
15 | 0.040163 | 0.01008 | -0.040116 | -0.010062 | 4.658e-05 | 1.7664e-05 | 0.061077 | 0.061077 | 0.061077 | 0.97857 | -0.15001 | 0.9774 | -0.15838 | 22.6211
16 | -0.045778 | -0.011489 | 0.045867 | 0.011523 | 8.9212e-05 | 3.394e-05 | 0.069576 | 0.069576 | 0.069576 | 0.97913 | -0.14604 | 0.9811 | -0.13204 | 25.7688
17 | 0.023492 | 0.0058961 | -0.023461 | -0.0058844 | 3.161e-05 | 1.1662e-05 | 0.035768 | 0.035768 | 0.035768 | 0.9774 | -0.15838 | 0.97605 | -0.16808 | 13.2475
18 | -0.04838 | -0.012153 | 0.048436 | 0.012174 | 5.5444e-05 | 2.1116e-05 | 0.073388 | 0.073388 | 0.073388 | 0.9811 | -0.13204 | 0.98226 | -0.1238 | 27.1806
19 | -0.050356 | -0.012655 | 0.05042 | 0.01268 | 6.4422e-05 | 2.4553e-05 | 0.076296 | 0.076296 | 0.076296 | 0.98226 | -0.1238 | 0.98355 | -0.11463 | 28.2578
20 | 0.0019201 | 0.00048048 | -0.0019198 | -0.00048114 | 3.2489e-07 | -6.5391e-07 | 0.0029085 | 0.0029087 | 0.0029087 | 0.98226 | -0.1238 | 0.98209 | -0.12503 | 1.0773
21 | 0.0025925 | 0.0006494 | -0.0025925 | -0.00064944 | 3.8842e-08 | -3.7783e-08 | 0.0038964 | 0.0038964 | 0.0038964 | 0.99004 | -0.069891 | 0.99002 | -0.069999 | 1.4431
22 | -0.0047598 | -0.0011926 | 0.0047604 | 0.0011925 | 5.9969e-07 | -1.087e-08 | 0.0071537 | 0.0071536 | 0.0071537 | 0.99004 | -0.069891 | 0.99017 | -0.06898 | 2.6495
23 | 0.00090005 | 0.00022527 | -0.00090002 | -0.00022557 | 2.6924e-08 | -2.9284e-07 | 0.0013527 | 0.0013528 | 0.0013528 | 0.99002 | -0.069999 | 0.98999 | -0.070216 | 0.50103
24 | -0.0073667 | -0.0018458 | 0.0073682 | 0.0018461 | 1.4976e-06 | 3.2405e-07 | 0.01107 | 0.01107 | 0.01107 | 0.99017 | -0.06898 | 0.99037 | -0.067511 | 4.1002
25 | -0.014767 | -0.0037004 | 0.014775 | 0.003703 | 7.8326e-06 | 2.6842e-06 | 0.022187 | 0.022187 | 0.022187 | 0.99037 | -0.067511 | 0.99092 | -0.06368 | 8.2173
26 | -0.018331 | -0.0045943 | 0.018343 | 0.0045988 | 1.2741e-05 | 4.5529e-06 | 0.027527 | 0.027526 | 0.027527 | 0.99092 | -0.06368 | 0.99163 | -0.058663 | 10.195
27 | -0.027388 | -0.0068655 | 0.027392 | 0.0068671 | 4.4536e-06 | 1.6584e-06 | 0.041098 | 0.041098 | 0.041098 | 0.99163 | -0.058663 | 0.99179 | -0.057489 | 15.2214
28 | -0.041941 | -0.010513 | 0.041986 | 0.01053 | 4.4571e-05 | 1.691e-05 | 0.062926 | 0.062926 | 0.062926 | 0.99179 | -0.057489 | 0.99288 | -0.049824 | 23.3061
29 | 0.014549 | 0.0036462 | -0.014543 | -0.0036441 | 6.2361e-06 | 2.128e-06 | 0.021829 | 0.021829 | 0.021829 | 0.99179 | -0.057489 | 0.99135 | -0.060587 | 8.0847
30 | -0.047136 | -0.011821 | 0.047151 | 0.011827 | 1.4961e-05 | 5.6922e-06 | 0.070645 | 0.070645 | 0.070645 | 0.99288 | -0.049824 | 0.99321 | -0.047535 | 26.1649
31 | 0.011998 | 0.0030062 | -0.011994 | -0.003005 | 4.008e-06 | 1.2863e-06 | 0.018009 | 0.018009 | 0.018009 | 0.99135 | -0.060587 | 0.99101 | -0.063002 | 6.67
32 | -0.047151 | -0.011827 | 0.047253 | 0.011865 | 0.00010141 | 3.858e-05 | 0.070645 | 0.070645 | 0.070645 | 0.99321 | -0.047535 | 0.99541 | -0.032058 | 26.1649
33 | 0.0088252 | 0.0022113 | -0.0088242 | -0.0022111 | 1.0002e-06 | 2.6708e-07 | 0.013251 | 0.013251 | 0.013251 | 0.99101 | -0.063002 | 0.9909 | -0.063821 | 4.9078
34 | 0.0031689 | 0.00079363 | -0.0031689 | -0.00079366 | 4.1616e-08 | -2.1951e-08 | 0.004758 | 0.004758 | 0.004758 | 0.99101 | -0.063002 | 0.991 | -0.063097 | 1.7622
35 | -0.047253 | -0.011865 | 0.047285 | 0.011878 | 3.2483e-05 | 1.2358e-05 | 0.070645 | 0.070645 | 0.070645 | 0.99541 | -0.032058 | 0.99612 | -0.027115 | 26.1648
36 | 0.0069942 | 0.0017524 | -0.0069935 | -0.0017523 | 7.4558e-07 | 1.4725e-07 | 0.010503 | 0.010503 | 0.010503 | 0.9909 | -0.063821 | 0.99079 | -0.064591 | 3.89
37 | 0.0014588 | 0.00036552 | -0.0014588 | -0.00036561 | 2.2962e-08 | -8.9977e-08 | 0.0021904 | 0.0021905 | 0.0021905 | 0.991 | -0.063097 | 0.99098 | -0.063211 | 0.81129
38 | 0.0017101 | 0.00042813 | -0.0017099 | -0.00042854 | 1.4976e-07 | -4.1138e-07 | 0.0025675 | 0.0025677 | 0.0025677 | 0.991 | -0.063097 | 0.99091 | -0.06373 | 0.95101
39 | -0.0081356 | -0.0020386 | 0.008137 | 0.002039 | 1.3434e-06 | 3.4431e-07 | 0.012449 | 0.012449 | 0.012449 | 0.97246 | -0.19383 | 0.97263 | -0.19263 | 4.6106
40 | 0.0071699 | 0.0017966 | -0.0071675 | -0.001796 | 2.4838e-06 | 5.4517e-07 | 0.010971 | 0.010971 | 0.010971 | 0.97246 | -0.19383 | 0.97212 | -0.19633 | 4.0634
41 | -0.009056 | -0.0022693 | 0.0090579 | 0.0022698 | 1.8457e-06 | 5.186e-07 | 0.013855 | 0.013855 | 0.013855 | 0.97263 | -0.19263 | 0.97283 | -0.19116 | 5.1313
42 | 0.005798 | 0.0014528 | -0.0057973 | -0.0014527 | 6.92e-07 | 9.1614e-08 | 0.0088748 | 0.0088749 | 0.0088749 | 0.97212 | -0.19633 | 0.972 | -0.19719 | 3.287
43 | 0.0011943 | 0.00029912 | -0.0011943 | -0.00029932 | 3.5695e-08 | -1.9837e-07 | 0.0018283 | 0.0018284 | 0.0018284 | 0.972 | -0.19719 | 0.97197 | -0.19741 | 0.67717
44 | 0.0060205 | 0.0015083 | -0.0060193 | -0.0015081 | 1.2384e-06 | 1.5798e-07 | 0.0090006 | 0.0090007 | 0.0090007 | 0.99531 | -0.032445 | 0.9951 | -0.033932 | 3.3336
45 | -0.007294 | -0.0018274 | 0.0072952 | 0.0018277 | 1.1683e-06 | 2.4468e-07 | 0.010905 | 0.010904 | 0.010905 | 0.99531 | -0.032445 | 0.99548 | -0.031287 | 4.0387
46 | 0.0042812 | 0.0010725 | -0.0042807 | -0.0010726 | 5.6807e-07 | -7.0046e-08 | 0.0064018 | 0.0064019 | 0.0064019 | 0.9951 | -0.033932 | 0.99496 | -0.034891 | 2.3711
47 | -0.0072952 | -0.0018277 | 0.007296 | 0.0018278 | 8.3115e-07 | 1.7402e-07 | 0.010904 | 0.010904 | 0.010904 | 0.99548 | -0.031287 | 0.99559 | -0.030463 | 4.0387
48 | 0.0021608 | 0.00054128 | -0.0021607 | -0.00054151 | 1.4031e-07 | -2.2567e-07 | 0.0032315 | 0.0032316 | 0.0032316 | 0.99496 | -0.034891 | 0.9949 | -0.03536 | 1.1969
49 | -0.0098231 | -0.0024612 | 0.0098241 | 0.0024615 | 9.4102e-07 | 2.7094e-07 | 0.014681 | 0.014681 | 0.014681 | 0.99559 | -0.030463 | 0.99569 | -0.029771 | 5.4376
50 | 0.060501 | 0.015289 | -0.060462 | -0.015275 | 3.9448e-05 | 1.4771e-05 | 0.090461 | 0.090461 | 0.090461 | 0.99569 | -0.029771 | 0.99502 | -0.034406 | 16.7521
51 | -0.070326 | -0.017751 | 0.070418 | 0.017786 | 9.2103e-05 | 3.4729e-05 | 0.10514 | 0.10514 | 0.10514 | 0.99569 | -0.029771 | 0.99704 | -0.020457 | 19.4709
52 | 0.058739 | 0.014843 | -0.058707 | -0.014831 | 3.2505e-05 | 1.2152e-05 | 0.087885 | 0.087885 | 0.087885 | 0.99502 | -0.034406 | 0.99445 | -0.03834 | 16.2751
53 | -0.07165 | -0.018094 | 0.071719 | 0.01812 | 6.8503e-05 | 2.5846e-05 | 0.10698 | 0.10698 | 0.10698 | 0.99704 | -0.020457 | 0.99802 | -0.013662 | 19.8115
54 | 0.058707 | 0.014831 | -0.05865 | -0.014809 | 5.6756e-05 | 2.1219e-05 | 0.087885 | 0.087886 | 0.087886 | 0.99445 | -0.03834 | 0.99346 | -0.045219 | 16.2751
55 | -0.075628 | -0.0191 | 0.075687 | 0.019123 | 5.9586e-05 | 2.2525e-05 | 0.11281 | 0.11281 | 0.11281 | 0.99802 | -0.013662 | 0.99883 | -0.0080624 | 20.8908
56 | -0.051495 | -0.012933 | 0.051564 | 0.012959 | 6.9696e-05 | 2.656e-05 | 0.076933 | 0.076933 | 0.076933 | 0.99612 | -0.027115 | 0.99751 | -0.017393 | 28.4938
57 | -0.060736 | -0.015258 | 0.060767 | 0.01527 | 3.0699e-05 | 1.1729e-05 | 0.090615 | 0.090615 | 0.090615 | 0.99751 | -0.017393 | 0.99803 | -0.01376 | 33.5612
58 | -0.069569 | -0.017476 | 0.069702 | 0.017527 | 0.0001334 | 5.1046e-05 | 0.10374 | 0.10374 | 0.10374 | 0.99803 | -0.01376 | 1 | 0 | 38.4218
59 | 0.079578 | 0.020109 | -0.079488 | -0.020075 | 9.0202e-05 | 3.4153e-05 | 0.11847 | 0.11847 | 0.11847 | 1 | 0 | 0.99883 | -0.0080624 | 21.9392
60 | 0.0058784 | 0.0014728 | -0.0058776 | -0.0014727 | 7.581e-07 | 9.0851e-08 | 0.0088283 | 0.0088283 | 0.0088283 | 0.99079 | -0.064591 | 0.99066 | -0.065523 | 3.2698
61 | -0.052824 | -0.013282 | 0.053078 | 0.013379 | 0.00025426 | 9.6979e-05 | 0.079932 | 0.079932 | 0.079932 | 0.98355 | -0.11463 | 0.98844 | -0.08025 | 29.6045
62 | -0.053078 | -0.013379 | 0.053227 | 0.013436 | 0.00014922 | 5.6912e-05 | 0.079932 | 0.079932 | 0.079932 | 0.98844 | -0.08025 | 0.9913 | -0.06023 | 29.6044
63 | -0.056381 | -0.014226 | 0.0565 | 0.014271 | 0.00011901 | 4.4399e-05 | 0.084666 | 0.084665 | 0.084666 | 0.9913 | -0.06023 | 0.99346 | -0.045219 | 15.6788
64 | 0.0031295 | 0.00078397 | -0.0031291 | -0.00078422 | 4.5607e-07 | -2.5041e-07 | 0.0047006 | 0.0047007 | 0.0047007 | 0.99066 | -0.065523 | 0.99051 | -0.066577 | 1.741

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.15574 | 0.039054

## res_load
| p_mw | q_mvar
0 | 0.0024351 | 0.0006103
1 | 0.0018697 | 0.0004686
2 | 0.0012133 | 0.00030409
3 | 0.002185 | 0.00054762
4 | 0.0018838 | 0.00047212
5 | 0.0014914 | 0.00037377
6 | 0.00097436 | 0.0002442
7 | 0.0012597 | 0.00031571
8 | 0.0019769 | 0.00049545
9 | 0.0016179 | 0.00040548
10 | 0.0007337 | 0.00018388
11 | 0.016624 | 0.0041664
12 | 0.0025135 | 0.00062994
13 | 0.0012918 | 0.00032375
14 | 0.0021672 | 0.00054316
15 | 0.0016924 | 0.00042416
16 | 0.0026064 | 0.00065321
17 | 0.00090002 | 0.00022557
18 | 0.0073987 | 0.0018543
19 | 0.003556 | 0.00089123
20 | 0.0090441 | 0.0022667
21 | 0.0051504 | 0.0012908
22 | 0.0025449 | 0.00063781
23 | 0.00183 | 0.00045864
24 | 0.00096567 | 0.00024202
25 | 0.0009191 | 0.00023035
26 | 0.0013695 | 0.00034323
27 | 0.00099112 | 0.0002484
28 | 0.0046029 | 0.0011536
29 | 0.0011943 | 0.00029932
30 | 0.0012735 | 0.00031917
31 | 0.001738 | 0.00043559
32 | 0.0021199 | 0.00053129
33 | 0.0025271 | 0.00063335
34 | 0.0021607 | 0.00054151
35 | 0.0017226 | 0.00043173
36 | 0.0012328 | 0.00030897
37 | 0.0039089 | 0.00097967
38 | 0.0042095 | 0.001055
39 | 0.0091719 | 0.0022987
40 | 0.0088021 | 0.002206
41 | 0.005658 | 0.001418
42 | 0.0038005 | 0.00095249
43 | 0.0011151 | 0.00027948
44 | 0.0014588 | 0.00036561
45 | 0.0017099 | 0.00042854
46 | 0.0019198 | 0.00048114
47 | 0.0024034 | 0.00060235
48 | 0.0031538 | 0.00079041
49 | 0.0021501 | 0.00053887
50 | 0.0027481 | 0.00068874
51 | 0.0031291 | 0.00078422

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1