## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2456-1_1_2_node_7 | 0.4 | n |  | TRUE
1 | bus_LV_2456-1_1_2_node_76 | 0.4 | n |  | TRUE
2 | bus_LV_2456-1_1_2_node_74 | 0.4 | n |  | TRUE
3 | bus_LV_2456-1_1_2_node_8 | 0.4 | n |  | TRUE
4 | bus_LV_2456-1_1_2_node_87 | 0.4 | n |  | TRUE
5 | bus_LV_2456-1_1_2_node_69 | 0.4 | n |  | TRUE
6 | bus_LV_2456-1_1_2_node_18 | 0.4 | n |  | TRUE
7 | bus_LV_2456-1_1_2_node_19 | 0.4 | n |  | TRUE
8 | bus_LV_2456-1_1_2_node_20 | 0.4 | n |  | TRUE
9 | bus_LV_2456-1_1_2_node_21 | 0.4 | n |  | TRUE
10 | bus_LV_2456-1_1_2_node_22 | 0.4 | n |  | TRUE
11 | bus_LV_2456-1_1_2_node_90 | 0.4 | n |  | TRUE
12 | bus_LV_2456-1_1_2_node_28 | 0.4 | n |  | TRUE
13 | bus_LV_2456-1_1_2_node_29 | 0.4 | n |  | TRUE
14 | bus_LV_2456-1_1_2_node_30 | 0.4 | n |  | TRUE
15 | bus_LV_2456-1_1_2_node_31 | 0.4 | n |  | TRUE
16 | bus_LV_2456-1_1_2_node_32 | 0.4 | n |  | TRUE
17 | bus_LV_2456-1_1_2_node_52 | 0.4 | n |  | TRUE
18 | bus_LV_2456-1_1_2_node_108 | 0.4 | n |  | TRUE
19 | bus_LV_2456-1_1_2_node_54 | 0.4 | n |  | TRUE
20 | bus_LV_2456-1_1_2_node_37 | 0.4 | n |  | TRUE
21 | bus_LV_2456-1_1_2_node_38 | 0.4 | n |  | TRUE
22 | bus_LV_2456-1_1_2_node_39 | 0.4 | n |  | TRUE
23 | bus_LV_2456-1_1_2_node_40 | 0.4 | n |  | TRUE
24 | bus_LV_2456-1_1_2_node_41 | 0.4 | n |  | TRUE
25 | bus_LV_2456-1_1_2_node_95 | 0.4 | n |  | TRUE
26 | bus_LV_2456-1_1_2_node_51 | 0.4 | n |  | TRUE
27 | bus_LV_2456-1_1_2_node_68 | 0.4 | n |  | TRUE
28 | bus_LV_2456-1_1_2_node_42 | 0.4 | n |  | TRUE
29 | bus_LV_2456-1_1_2_node_43 | 0.4 | n |  | TRUE
30 | bus_LV_2456-1_1_2_node_44 | 0.4 | n |  | TRUE
31 | bus_LV_2456-1_1_2_node_45 | 0.4 | n |  | TRUE
32 | bus_LV_2456-1_1_2_node_46 | 0.4 | n |  | TRUE
33 | bus_LV_2456-1_1_2_node_49 | 0.4 | n |  | TRUE
34 | bus_LV_2456-1_1_2_node_47 | 0.4 | n |  | TRUE
35 | bus_LV_2456-1_1_2_node_48 | 0.4 | n |  | TRUE
36 | bus_LV_2456-1_1_2_node_50 | 0.4 | n |  | TRUE
37 | bus_LV_2456-1_1_2_node_53 | 0.4 | n |  | TRUE
38 | bus_LV_2456-1_1_2_node_89 | 0.4 | n |  | TRUE
39 | bus_LV_2456-1_1_2_node_55 | 0.4 | n |  | TRUE
40 | bus_LV_2456-1_1_2_node_120 | 0.4 | n |  | TRUE
41 | bus_LV_2456-1_1_2_node_112 | 0.4 | n |  | TRUE
42 | bus_LV_2456-1_1_2_node_75 | 0.4 | n |  | TRUE
43 | bus_LV_2456-1_1_2_node_114 | 0.4 | n |  | TRUE
44 | bus_LV_2456-1_1_2_node_83 | 0.4 | n |  | TRUE
45 | bus_LV_2456-1_1_2_node_84 | 0.4 | n |  | TRUE
46 | bus_LV_2456-1_1_2_node_85 | 0.4 | n |  | TRUE
47 | bus_LV_2456-1_1_2_node_86 | 0.4 | n |  | TRUE
48 | bus_LV_2456-1_1_2_node_98 | 0.4 | n |  | TRUE
49 | bus_LV_2456-1_1_2_node_88 | 0.4 | n |  | TRUE
50 | bus_LV_2456-1_1_2_node_111 | 0.4 | n |  | TRUE
51 | bus_LV_2456-1_1_2_node_113 | 0.4 | n |  | TRUE
52 | bus_LV_2456-1_1_2_node_117 | 0.4 | n |  | TRUE
53 | bus_LV_2456-1_1_2_node_118 | 0.4 | n |  | TRUE
54 | bus_LV_2456-1_1_2_node_119 | 0.4 | n |  | TRUE
55 | bus_MV_387_2_node_161 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2456-1_1_2_load_76 | 1 | 0.0013609 | 0.00034107 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2456-1_1_2_load_74 | 2 | 0.0014513 | 0.00036372 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2456-1_1_2_load_69 | 5 | 0.0032371 | 0.00081129 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2456-1_1_2_load_18 | 6 | 0.00065588 | 0.00016438 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2456-1_1_2_load_19 | 7 | 0.0011048 | 0.00027688 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2456-1_1_2_load_20 | 8 | 0.0002052 | 5.1429e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2456-1_1_2_load_21 | 9 | 0.0031209 | 0.00078218 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2456-1_1_2_load_22 | 10 | 0.00057612 | 0.00014439 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2456-1_1_2_load_90 | 11 | 0.0016107 | 0.00040369 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2456-1_1_2_load_28 | 12 | 0.0011205 | 0.00028082 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2456-1_1_2_load_29 | 13 | 0.00037077 | 9.2924e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2456-1_1_2_load_30 | 14 | 0.00064599 | 0.0001619 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2456-1_1_2_load_31 | 15 | 0.0016328 | 0.00040922 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2456-1_1_2_load_52 | 17 | 0.0010181 | 0.00025516 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2456-1_1_2_load_108 | 18 | 0.0022115 | 0.00055426 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2456-1_1_2_load_37 | 20 | 0.0020234 | 0.00050712 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2456-1_1_2_load_38 | 21 | 0.00058 | 0.00014536 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2456-1_1_2_load_39 | 22 | 0.0015414 | 0.0003863 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2456-1_1_2_load_40 | 23 | 0.0011068 | 0.00027738 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2456-1_1_2_load_95 | 25 | 0.00048719 | 0.0001221 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2456-1_1_2_load_51 | 26 | 0.0018125 | 0.00045427 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2456-1_1_2_load_68 | 27 | 0.0034861 | 0.0008737 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2456-1_1_2_load_42 | 28 | 0.0018402 | 0.00046119 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2456-1_1_2_load_43 | 29 | 0.0018692 | 0.00046846 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2456-1_1_2_load_44 | 30 | 0.0016856 | 0.00042244 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2456-1_1_2_load_45 | 31 | 0.0020758 | 0.00052023 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2456-1_1_2_load_46 | 32 | 0.0016172 | 0.0004053 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2456-1_1_2_load_49 | 33 | 0.0014753 | 0.00036975 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2456-1_1_2_load_47 | 34 | 0.0017367 | 0.00043525 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2456-1_1_2_load_48 | 35 | 0.00054342 | 0.00013619 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2456-1_1_2_load_50 | 36 | 0.0016723 | 0.00041911 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2456-1_1_2_load_53 | 37 | 0.00084437 | 0.00021162 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2456-1_1_2_load_89 | 38 | 0.00024174 | 6.0585e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2456-1_1_2_load_120 | 40 | 0.0015203 | 0.00038102 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2456-1_1_2_load_112 | 41 | 0.0023784 | 0.00059608 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2456-1_1_2_load_75 | 42 | 0.00097536 | 0.00024445 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2456-1_1_2_load_114 | 43 | 0.0018178 | 0.00045558 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2456-1_1_2_load_83 | 44 | 0.0018361 | 0.00046016 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2456-1_1_2_load_84 | 45 | 0.0023231 | 0.00058221 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2456-1_1_2_load_85 | 46 | 0.0011998 | 0.00030071 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2456-1_1_2_load_86 | 47 | 0.00055661 | 0.0001395 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2456-1_1_2_load_98 | 48 | 0.0012293 | 0.0003081 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2456-1_1_2_load_88 | 49 | 0.0015588 | 0.00039067 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2456-1_1_2_load_113 | 51 | 0.0060448 | 0.001515 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2456-1_1_2_load_117 | 52 | 0.0026847 | 0.00067284 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2456-1_1_2_load_118 | 53 | 0.0027374 | 0.00068605 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2456-1_1_2_load_119 | 54 | 0.001355 | 0.0003396 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 29 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2456-1_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.042171 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2456-1_1_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.018676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2456-1_1_2_line_2 | NAYY 4x150 SE | 1 | 43 | 0.0029051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2456-1_1_2_line_3 | NAYY 4x150 SE | 2 | 42 | 0.00027836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2456-1_1_2_line_4 | NAYY 4x150 SE | 3 | 4 | 0.093627 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2456-1_1_2_line_5 | NAYY 4x150 SE | 3 | 5 | 0.070476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2456-1_1_2_line_6 | NAYY 4x150 SE | 4 | 48 | 0.020318 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2456-1_1_2_line_7 | NAYY 4x150 SE | 4 | 46 | 0.018786 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2456-1_1_2_line_8 | NAYY 4x150 SE | 5 | 27 | 0.020143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2456-1_1_2_line_9 | NAYY 4x150 SE | 6 | 7 | 0.00072618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2456-1_1_2_line_10 | NAYY 4x150 SE | 6 | 8 | 0.013032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2456-1_1_2_line_11 | NAYY 4x150 SE | 7 | 9 | 0.061087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2456-1_1_2_line_12 | NAYY 4x150 SE | 8 | 10 | 0.0014619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2456-1_1_2_line_13 | NAYY 4x150 SE | 10 | 11 | 0.0052508 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2456-1_1_2_line_14 | NAYY 4x150 SE | 11 | 49 | 0.018851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2456-1_1_2_line_15 | NAYY 4x150 SE | 12 | 13 | 0.0055337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2456-1_1_2_line_16 | NAYY 4x150 SE | 12 | 14 | 0.015398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2456-1_1_2_line_17 | NAYY 4x150 SE | 13 | 15 | 0.011047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2456-1_1_2_line_18 | NAYY 4x150 SE | 14 | 16 | 0.0021418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2456-1_1_2_line_19 | NAYY 4x150 SE | 15 | 17 | 0.0092776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2456-1_1_2_line_20 | NAYY 4x150 SE | 16 | 18 | 0.049432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2456-1_1_2_line_21 | NAYY 4x150 SE | 16 | 19 | 0.066243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2456-1_1_2_line_22 | NAYY 4x150 SE | 17 | 37 | 0.00051555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2456-1_1_2_line_23 | NAYY 4x150 SE | 19 | 39 | 0.009808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2456-1_1_2_line_24 | NAYY 4x150 SE | 19 | 36 | 0.024471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2456-1_1_2_line_25 | NAYY 4x150 SE | 20 | 21 | 0.014375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2456-1_1_2_line_26 | NAYY 4x150 SE | 20 | 22 | 0.055988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2456-1_1_2_line_27 | NAYY 4x150 SE | 21 | 23 | 0.0027427 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2456-1_1_2_line_28 | NAYY 4x150 SE | 22 | 24 | 0.023775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2456-1_1_2_line_29 | NAYY 4x150 SE | 23 | 25 | 0.017901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2456-1_1_2_line_30 | NAYY 4x150 SE | 24 | 26 | 0.01636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2456-1_1_2_line_31 | NAYY 4x150 SE | 24 | 27 | 0.038663 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2456-1_1_2_line_32 | NAYY 4x150 SE | 25 | 43 | 0.023049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2456-1_1_2_line_33 | NAYY 4x150 SE | 26 | 33 | 0.02778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2456-1_1_2_line_34 | NAYY 4x150 SE | 28 | 29 | 0.007399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2456-1_1_2_line_35 | NAYY 4x150 SE | 28 | 30 | 0.017641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2456-1_1_2_line_36 | NAYY 4x150 SE | 29 | 31 | 0.024849 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2456-1_1_2_line_37 | NAYY 4x150 SE | 31 | 32 | 0.0040241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2456-1_1_2_line_38 | NAYY 4x150 SE | 32 | 33 | 0.01638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2456-1_1_2_line_39 | NAYY 4x150 SE | 33 | 34 | 0.030306 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2456-1_1_2_line_40 | NAYY 4x150 SE | 34 | 35 | 0.036075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2456-1_1_2_line_41 | NAYY 4x150 SE | 35 | 36 | 0.0021105 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2456-1_1_2_line_42 | NAYY 4x150 SE | 37 | 38 | 0.015669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2456-1_1_2_line_43 | NAYY 4x150 SE | 38 | 49 | 0.013903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2456-1_1_2_line_44 | NAYY 4x150 SE | 39 | 40 | 0.021482 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2456-1_1_2_line_45 | NAYY 4x150 SE | 39 | 41 | 0.017791 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_2456-1_1_2_line_46 | NAYY 4x150 SE | 40 | 54 | 0.017611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_2456-1_1_2_line_47 | NAYY 4x150 SE | 41 | 50 | 0.069292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_2456-1_1_2_line_48 | NAYY 4x150 SE | 44 | 45 | 0.010694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_2456-1_1_2_line_49 | NAYY 4x150 SE | 44 | 46 | 0.043527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_2456-1_1_2_line_50 | NAYY 4x150 SE | 45 | 47 | 0.023074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_2456-1_1_2_line_51 | NAYY 4x150 SE | 50 | 51 | 0.021328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_2456-1_1_2_line_52 | NAYY 4x150 SE | 52 | 53 | 0.0093622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_2456-1_1_2_line_53 | NAYY 4x150 SE | 52 | 54 | 0.015759 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2456-1_1_2_trafo_43 | 0.25 MVA 20/0.4 kV | 55 | 29 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2600094.5996 | 1218735.2027 | 2600114.2015 | 1218703.2958 | 2600116.8237 | 1218699.3659
1 | 2600094.5996 | 1218735.2027 | 2600112.53 | 1218740.428
2 | 2600118.4362 | 1218696.9494 | 2600116.8237 | 1218699.3659
3 | 2600112.7973 | 1218740.5059 | 2600112.53 | 1218740.428
4 | 2600273.3597 | 1218715.228 | 2600284 | 1218690.3031 | 2600293.1984 | 1218668.402 | 2600295.202 | 1218664.8 | 2600299.8011 | 1218657.2959 | 2600306.1001 | 1218648.002 | 2600316.2015 | 1218632.3046
5 | 2600316.2015 | 1218632.3046 | 2600306.7991 | 1218628.402 | 2600251.0726 | 1218605.3783
6 | 2600273.3597 | 1218715.228 | 2600267.0986 | 1218729.9028 | 2600265.3261 | 1218733.8901
7 | 2600273.3597 | 1218715.228 | 2600280.7204 | 1218725.6676 | 2600285.1901 | 1218729.6888
8 | 2600232.4563 | 1218597.6869 | 2600251.0726 | 1218605.3783
9 | 2600049.8443 | 1218655.7921 | 2600049.9971 | 1218655.0822
10 | 2600049.9971 | 1218655.0822 | 2600052.7392 | 1218642.3415
11 | 2600036.9913 | 1218715.5112 | 2600049.8443 | 1218655.7921
12 | 2600053.0468 | 1218640.9123 | 2600052.7392 | 1218642.3415
13 | 2600054.1516 | 1218635.779 | 2600053.0468 | 1218640.9123
14 | 2600058.1179 | 1218617.3504 | 2600054.1516 | 1218635.779
15 | 2600072.6539 | 1218563.4044 | 2600071.6918 | 1218568.8538
16 | 2600073.3629 | 1218548.0916 | 2600073.5941 | 1218558.0795 | 2600072.6539 | 1218563.4044
17 | 2600069.2138 | 1218579.6166 | 2600071.4389 | 1218570.2864 | 2600071.6918 | 1218568.8538
18 | 2600073.3133 | 1218545.9504 | 2600073.3629 | 1218548.0916
19 | 2600069.2138 | 1218579.6166 | 2600068.9042 | 1218580.9147 | 2600066.4034 | 1218588.4539
20 | 2600073.3133 | 1218545.9504 | 2600072.7973 | 1218537.301 | 2600069.1014 | 1218503.5039 | 2600068.3125 | 1218496.7814
21 | 2600073.3133 | 1218545.9504 | 2600077.6011 | 1218544.3161 | 2600079.597 | 1218539.2021 | 2600080.5987 | 1218530.1969 | 2600078.6028 | 1218514.6992 | 2600077.9806 | 1218503.2371 | 2600080.2041 | 1218498.301 | 2600084.0973 | 1218494.9991 | 2600089.8042 | 1218494.1987 | 2600093.4014 | 1218495.2993
22 | 2600066.2411 | 1218588.9432 | 2600066.4034 | 1218588.4539
23 | 2600093.4014 | 1218495.2993 | 2600100.3985 | 1218488.4065
24 | 2600093.4014 | 1218495.2993 | 2600098.099 | 1218499.8019 | 2600107.559 | 1218515.073
25 | 2600145.2639 | 1218662.5105 | 2600153.1186 | 1218650.4716
26 | 2600183.7122 | 1218603.581 | 2600153.1186 | 1218650.4716
27 | 2600145.2639 | 1218662.5105 | 2600143.7652 | 1218664.8075
28 | 2600196.4963 | 1218583.5397 | 2600193.582 | 1218588.4536 | 2600183.7122 | 1218603.581
29 | 2600143.7652 | 1218664.8075 | 2600142.4016 | 1218666.8975 | 2600132.6698 | 1218678.8399
30 | 2600196.4963 | 1218583.5397 | 2600183.074 | 1218574.1858
31 | 2600196.4963 | 1218583.5397 | 2600204.4038 | 1218586.0969 | 2600232.4563 | 1218597.6869
32 | 2600118.4362 | 1218696.9494 | 2600120.8037 | 1218693.4013 | 2600132.6698 | 1218678.8399
33 | 2600160.2824 | 1218558.3025 | 2600183.074 | 1218574.1858
34 | 2600130.78 | 1218601.9129 | 2600134.9258 | 1218595.7845
35 | 2600120.8954 | 1218616.5241 | 2600130.78 | 1218601.9129
36 | 2600148.8496 | 1218575.2024 | 2600134.9258 | 1218595.7845
37 | 2600151.1044 | 1218571.8694 | 2600148.8496 | 1218575.2024
38 | 2600160.2824 | 1218558.3025 | 2600151.1044 | 1218571.8694
39 | 2600160.2824 | 1218558.3025 | 2600135.7552 | 1218540.502
40 | 2600135.7552 | 1218540.502 | 2600129.8131 | 1218536.1895 | 2600118.0503 | 1218526.9842 | 2600108.6704 | 1218516.8672
41 | 2600107.559 | 1218515.073 | 2600108.6704 | 1218516.8672 | 2600108.6704 | 1218516.8672
42 | 2600061.5177 | 1218603.8824 | 2600064.5785 | 1218593.9555 | 2600066.2411 | 1218588.9432
43 | 2600058.1179 | 1218617.3504 | 2600059.8583 | 1218609.2642 | 2600061.5177 | 1218603.8824
44 | 2600100.3985 | 1218488.4065 | 2600107.8586 | 1218484.2709 | 2600115.3717 | 1218476.9779 | 2600116.8044 | 1218474.9513
45 | 2600100.3985 | 1218488.4065 | 2600095.6023 | 1218477.9005 | 2600092.8291 | 1218472.3086
46 | 2600116.8044 | 1218474.9513 | 2600126.9702 | 1218460.5712
47 | 2600059.319 | 1218414.9757 | 2600065.8001 | 1218419.5005 | 2600069.8982 | 1218422.4022 | 2600074.2999 | 1218426.4045 | 2600079.2025 | 1218432.0966 | 2600081.7979 | 1218435.4985 | 2600083.9001 | 1218440.4013 | 2600085.4027 | 1218445.004 | 2600088.0968 | 1218456.5995 | 2600089.4021 | 1218464.1037 | 2600090.199 | 1218467.0054 | 2600092.8291 | 1218472.3086
48 | 2600301.2633 | 1218766.5481 | 2600299.7965 | 1218775.8747 | 2600298.6339 | 1218776.3421
49 | 2600301.2633 | 1218766.5481 | 2600303.1743 | 1218754.3959 | 2600296.6866 | 1218740.0319 | 2600285.1901 | 1218729.6888
50 | 2600298.6339 | 1218776.3421 | 2600282.4031 | 1218782.8669 | 2600276.8582 | 1218783.4958
51 | 2600059.319 | 1218414.9757 | 2600051.5781 | 1218411.5516 | 2600040.7388 | 1218404.6245
52 | 2600136.0675 | 1218447.7027 | 2600141.4719 | 1218440.0579
53 | 2600136.0675 | 1218447.7027 | 2600126.9702 | 1218460.5712

## bus_geodata
| x | y | coords
0 | 2600094.5996 | 1218735.2027
1 | 2600116.8237 | 1218699.3659
2 | 2600112.53 | 1218740.428
3 | 2600316.2015 | 1218632.3046
4 | 2600273.3597 | 1218715.228
5 | 2600251.0726 | 1218605.3783
6 | 2600049.9971 | 1218655.0822
7 | 2600049.8443 | 1218655.7921
8 | 2600052.7392 | 1218642.3415
9 | 2600036.9913 | 1218715.5112
10 | 2600053.0468 | 1218640.9123
11 | 2600054.1516 | 1218635.779
12 | 2600072.6539 | 1218563.4044
13 | 2600071.6918 | 1218568.8538
14 | 2600073.3629 | 1218548.0916
15 | 2600069.2138 | 1218579.6166
16 | 2600073.3133 | 1218545.9504
17 | 2600066.4034 | 1218588.4539
18 | 2600068.3125 | 1218496.7814
19 | 2600093.4014 | 1218495.2993
20 | 2600153.1186 | 1218650.4716
21 | 2600145.2639 | 1218662.5105
22 | 2600183.7122 | 1218603.581
23 | 2600143.7652 | 1218664.8075
24 | 2600196.4963 | 1218583.5397
25 | 2600132.6698 | 1218678.8399
26 | 2600183.074 | 1218574.1858
27 | 2600232.4563 | 1218597.6869
28 | 2600130.78 | 1218601.9129
29 | 2600134.9258 | 1218595.7845
30 | 2600120.8954 | 1218616.5241
31 | 2600148.8496 | 1218575.2024
32 | 2600151.1044 | 1218571.8694
33 | 2600160.2824 | 1218558.3025
34 | 2600135.7552 | 1218540.502
35 | 2600108.6704 | 1218516.8672
36 | 2600107.559 | 1218515.073
37 | 2600066.2411 | 1218588.9432
38 | 2600061.5177 | 1218603.8824
39 | 2600100.3985 | 1218488.4065
40 | 2600116.8044 | 1218474.9513
41 | 2600092.8291 | 1218472.3086
42 | 2600112.7973 | 1218740.5059
43 | 2600118.4362 | 1218696.9494
44 | 2600301.2633 | 1218766.5481
45 | 2600298.6339 | 1218776.3421
46 | 2600285.1901 | 1218729.6888
47 | 2600276.8582 | 1218783.4958
48 | 2600265.3261 | 1218733.8901
49 | 2600058.1179 | 1218617.3504
50 | 2600059.319 | 1218414.9757
51 | 2600040.7388 | 1218404.6245
52 | 2600136.0675 | 1218447.7027
53 | 2600141.4719 | 1218440.0579
54 | 2600126.9702 | 1218460.5712
55 | 2600120.8954 | 1218616.5241

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99202 | -0.055973 | 0 | 0
1 | 0.99216 | -0.054933 | 0.0013609 | 0.00034107
2 | 0.99195 | -0.056432 | 0.0014513 | 0.00036372
3 | 0.99209 | -0.055451 | 0 | 0
4 | 0.99113 | -0.062256 | 0 | 0
5 | 0.99281 | -0.050332 | 0.0032371 | 0.00081129
6 | 0.9876 | -0.087117 | 0.00065588 | 0.00016438
7 | 0.9876 | -0.087149 | 0.0011048 | 0.00027688
8 | 0.98769 | -0.086466 | 0.0002052 | 5.1429e-05
9 | 0.98732 | -0.089102 | 0.0031209 | 0.00078218
10 | 0.9877 | -0.086389 | 0.00057612 | 0.00014439
11 | 0.98775 | -0.086085 | 0.0016107 | 0.00040369
12 | 0.98878 | -0.078727 | 0.0011205 | 0.00028082
13 | 0.98868 | -0.079459 | 0.00037077 | 9.2924e-05
14 | 0.9891 | -0.076516 | 0.00064599 | 0.0001619
15 | 0.98848 | -0.080879 | 0.0016328 | 0.00040922
16 | 0.98914 | -0.076194 | 0 | 0
17 | 0.98833 | -0.081917 | 0.0010181 | 0.00025516
18 | 0.98898 | -0.07731 | 0.0022115 | 0.00055426
19 | 0.99076 | -0.064764 | 0 | 0
20 | 0.99271 | -0.051069 | 0.0020234 | 0.00050712
21 | 0.99255 | -0.052203 | 0.00058 | 0.00014536
22 | 0.9935 | -0.045507 | 0.0015414 | 0.0003863
23 | 0.99252 | -0.052403 | 0.0011068 | 0.00027738
24 | 0.99389 | -0.042776 | 0 | 0
25 | 0.99236 | -0.05351 | 0.00048719 | 0.0001221
26 | 0.99448 | -0.038603 | 0.0018125 | 0.00045427
27 | 0.99312 | -0.04821 | 0.0034861 | 0.0008737
28 | 0.99996 | -0.00026052 | 0.0018402 | 0.00046119
29 | 1 | 0 | -0.07472 | -0.018592
30 | 0.99992 | -0.00055746 | 0.0016856 | 0.00042244
31 | 0.99751 | -0.017378 | 0.0020758 | 0.00052023
32 | 0.99711 | -0.020117 | 0.0016172 | 0.0004053
33 | 0.99556 | -0.031019 | 0.0014753 | 0.00036975
34 | 0.99392 | -0.042526 | 0.0017367 | 0.00043525
35 | 0.99205 | -0.055636 | 0.00054342 | 0.00013619
36 | 0.99194 | -0.056393 | 0.0016723 | 0.00041911
37 | 0.98833 | -0.081969 | 0.00084437 | 0.00021162
38 | 0.98812 | -0.083424 | 0.00024174 | 6.0585e-05
39 | 0.99052 | -0.066433 | 0 | 0
40 | 0.99027 | -0.068248 | 0.0015203 | 0.00038102
41 | 0.99031 | -0.06796 | 0.0023784 | 0.00059608
42 | 0.99195 | -0.056435 | 0.00097536 | 0.00024445
43 | 0.99218 | -0.054821 | 0.0018178 | 0.00045558
44 | 0.99067 | -0.065476 | 0.0018361 | 0.00046016
45 | 0.99063 | -0.06579 | 0.0023231 | 0.00058221
46 | 0.99097 | -0.063387 | 0.0011998 | 0.00030071
47 | 0.99061 | -0.06592 | 0.00055661 | 0.0001395
48 | 0.99109 | -0.06251 | 0.0012293 | 0.0003081
49 | 0.98794 | -0.084681 | 0.0015588 | 0.00039067
50 | 0.9897 | -0.072229 | 0 | 0
51 | 0.98952 | -0.073543 | 0.0060448 | 0.001515
52 | 0.98997 | -0.070334 | 0.0026847 | 0.00067284
53 | 0.98993 | -0.070595 | 0.0027374 | 0.00068605
54 | 0.99009 | -0.069464 | 0.001355 | 0.0003396
55 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0024268 | -0.00060798 | 0.0024271 | 0.00060757 | 3.4866e-07 | -4.1044e-07 | 0.0036401 | 0.0036399 | 0.0036401 | 0.99202 | -0.055973 | 0.99216 | -0.054933 | 1.3482
1 | 0.0024268 | 0.00060798 | -0.0024266 | -0.00060816 | 1.5442e-07 | -1.8171e-07 | 0.0036401 | 0.0036402 | 0.0036402 | 0.99202 | -0.055973 | 0.99195 | -0.056432 | 1.3482
2 | -0.003788 | -0.00094864 | 0.0037881 | 0.00094863 | 5.8503e-08 | -1.5017e-08 | 0.0056809 | 0.0056809 | 0.0056809 | 0.99216 | -0.054933 | 0.99218 | -0.054821 | 2.104
3 | 0.00097536 | 0.00024444 | -0.00097536 | -0.00024445 | 3.7191e-10 | -3.4503e-09 | 0.0014631 | 0.0014631 | 0.0014631 | 0.99195 | -0.056432 | 0.99195 | -0.056435 | 0.5419
4 | 0.0071541 | 0.0017915 | -0.0071474 | -0.0017901 | 6.7264e-06 | 1.3793e-06 | 0.01073 | 0.01073 | 0.01073 | 0.99209 | -0.055451 | 0.99113 | -0.062256 | 3.9742
5 | -0.0071541 | -0.0017915 | 0.0071592 | 0.0017925 | 5.0628e-06 | 1.0366e-06 | 0.01073 | 0.010729 | 0.01073 | 0.99209 | -0.055451 | 0.99281 | -0.050332 | 3.974
6 | 0.0012294 | 0.00030786 | -0.0012293 | -0.0003081 | 4.319e-08 | -2.4523e-07 | 0.0018456 | 0.0018457 | 0.0018457 | 0.99113 | -0.062256 | 0.99109 | -0.06251 | 0.6836
7 | 0.005918 | 0.0014823 | -0.0059171 | -0.0014822 | 9.2533e-07 | 1.1383e-07 | 0.0088846 | 0.0088847 | 0.0088847 | 0.99113 | -0.062256 | 0.99097 | -0.063387 | 3.2906
8 | -0.010396 | -0.0026038 | 0.010399 | 0.0026047 | 3.0514e-06 | 9.1305e-07 | 0.015581 | 0.015581 | 0.015581 | 0.99281 | -0.050332 | 0.99312 | -0.04821 | 5.7708
9 | 0.0042266 | 0.0010586 | -0.0042265 | -0.0010586 | 1.8375e-08 | -2.2249e-09 | 0.0063679 | 0.0063679 | 0.0063679 | 0.9876 | -0.087117 | 0.9876 | -0.087149 | 2.3585
10 | -0.0048824 | -0.001223 | 0.0048829 | 0.001223 | 4.4005e-07 | 2.4723e-09 | 0.0073561 | 0.007356 | 0.0073561 | 0.9876 | -0.087117 | 0.98769 | -0.086466 | 2.7245
11 | 0.0031218 | 0.00078171 | -0.0031209 | -0.00078217 | 8.4327e-07 | -4.571e-07 | 0.0047033 | 0.0047036 | 0.0047036 | 0.9876 | -0.087149 | 0.98732 | -0.089102 | 1.7421
12 | -0.0050881 | -0.0012744 | 0.0050881 | 0.0012744 | 5.36e-08 | 1.9046e-09 | 0.0076652 | 0.0076652 | 0.0076652 | 0.98769 | -0.086466 | 0.9877 | -0.086389 | 2.839
13 | -0.0056643 | -0.0014188 | 0.0056645 | 0.0014188 | 2.3858e-07 | 2.4554e-08 | 0.0085331 | 0.0085331 | 0.0085331 | 0.9877 | -0.086389 | 0.98775 | -0.086085 | 3.1604
14 | -0.0072752 | -0.0018225 | 0.0072766 | 0.0018228 | 1.4129e-06 | 3.0208e-07 | 0.01096 | 0.01096 | 0.01096 | 0.98775 | -0.086085 | 0.98794 | -0.084681 | 4.0591
15 | 0.012952 | 0.0032456 | -0.012951 | -0.0032452 | 1.3118e-06 | 4.3358e-07 | 0.019491 | 0.019491 | 0.019491 | 0.98878 | -0.078727 | 0.98868 | -0.079459 | 7.219
16 | -0.014072 | -0.0035265 | 0.014077 | 0.0035279 | 4.3092e-06 | 1.4598e-06 | 0.021177 | 0.021177 | 0.021177 | 0.98878 | -0.078727 | 0.9891 | -0.076516 | 7.8435
17 | 0.01258 | 0.0031523 | -0.012577 | -0.0031515 | 2.471e-06 | 8.0874e-07 | 0.018933 | 0.018933 | 0.018933 | 0.98868 | -0.079459 | 0.98848 | -0.080879 | 7.0123
18 | -0.014723 | -0.0036898 | 0.014723 | 0.00369 | 6.5567e-07 | 2.2469e-07 | 0.022149 | 0.022149 | 0.022149 | 0.9891 | -0.076516 | 0.98914 | -0.076194 | 8.2034
19 | 0.010945 | 0.0027423 | -0.010943 | -0.0027418 | 1.5714e-06 | 4.8548e-07 | 0.016475 | 0.016475 | 0.016475 | 0.98848 | -0.080879 | 0.98833 | -0.081917 | 6.102
20 | 0.0022119 | 0.00055376 | -0.0022115 | -0.00055426 | 3.415e-07 | -5.0306e-07 | 0.0033272 | 0.0033275 | 0.0033275 | 0.98914 | -0.076194 | 0.98898 | -0.07731 | 1.2324
21 | -0.016935 | -0.0042438 | 0.016962 | 0.0042533 | 2.6829e-05 | 9.467e-06 | 0.025476 | 0.025476 | 0.025476 | 0.98914 | -0.076194 | 0.99076 | -0.064764 | 9.4357
22 | 0.009925 | 0.0024866 | -0.0099249 | -0.0024866 | 7.183e-08 | 2.102e-08 | 0.014943 | 0.014943 | 0.014943 | 0.98833 | -0.081917 | 0.98833 | -0.081969 | 5.5343
23 | 0.016735 | 0.0041937 | -0.016731 | -0.0041923 | 3.8662e-06 | 1.3607e-06 | 0.025134 | 0.025134 | 0.025134 | 0.99076 | -0.064764 | 0.99052 | -0.066433 | 9.3088
24 | -0.033697 | -0.008447 | 0.033736 | 0.0084617 | 3.9111e-05 | 1.4727e-05 | 0.05061 | 0.05061 | 0.05061 | 0.99076 | -0.064764 | 0.99194 | -0.056393 | 18.7444
25 | 0.0077832 | 0.0019496 | -0.007782 | -0.0019493 | 1.2208e-06 | 2.8372e-07 | 0.011666 | 0.011666 | 0.011666 | 0.99271 | -0.051069 | 0.99255 | -0.052203 | 4.3208
26 | -0.0098066 | -0.0024567 | 0.0098141 | 0.0024589 | 7.5485e-06 | 2.1788e-06 | 0.014699 | 0.014699 | 0.014699 | 0.99271 | -0.051069 | 0.9935 | -0.045507 | 5.4441
27 | 0.007202 | 0.001804 | -0.0072018 | -0.0018039 | 1.995e-07 | 4.1285e-08 | 0.010797 | 0.010797 | 0.010797 | 0.99255 | -0.052203 | 0.99252 | -0.052403 | 3.9988
28 | -0.011355 | -0.0028452 | 0.01136 | 0.0028465 | 4.2913e-06 | 1.3425e-06 | 0.017007 | 0.017007 | 0.017007 | 0.9935 | -0.045507 | 0.99389 | -0.042776 | 6.2991
29 | 0.006095 | 0.0015265 | -0.0060941 | -0.0015264 | 9.3264e-07 | 1.274e-07 | 0.0091374 | 0.0091375 | 0.0091375 | 0.99252 | -0.052403 | 0.99236 | -0.05351 | 3.3843
30 | -0.025256 | -0.0063285 | 0.02527 | 0.0063339 | 1.4596e-05 | 5.4015e-06 | 0.037812 | 0.037812 | 0.037812 | 0.99389 | -0.042776 | 0.99448 | -0.038603 | 14.0043
31 | 0.013896 | 0.003482 | -0.013885 | -0.0034784 | 1.0442e-05 | 3.5155e-06 | 0.020804 | 0.020804 | 0.020804 | 0.99389 | -0.042776 | 0.99312 | -0.04821 | 7.7053
32 | 0.0056069 | 0.0014043 | -0.0056059 | -0.0014042 | 1.0166e-06 | 9.3248e-08 | 0.008407 | 0.0084071 | 0.0084071 | 0.99236 | -0.05351 | 0.99218 | -0.054821 | 3.1137
33 | -0.027083 | -0.0067882 | 0.027111 | 0.0067988 | 2.8466e-05 | 1.0588e-05 | 0.040524 | 0.040523 | 0.040524 | 0.99448 | -0.038603 | 0.99556 | -0.031019 | 15.0087
34 | -0.0035258 | -0.00088342 | 0.0035259 | 0.00088338 | 1.2709e-07 | -4.8186e-08 | 0.0052465 | 0.0052465 | 0.0052465 | 0.99996 | -0.00026052 | 1 | 0 | 1.9432
35 | 0.0016856 | 0.00042224 | -0.0016856 | -0.00042244 | 6.9256e-08 | -2.0477e-07 | 0.0025083 | 0.0025083 | 0.0025083 | 0.99996 | -0.00026052 | 0.99992 | -0.00055746 | 0.92902
36 | 0.070394 | 0.017709 | -0.070224 | -0.017644 | 0.00017021 | 6.514e-05 | 0.10477 | 0.10477 | 0.10477 | 1 | 0 | 0.99751 | -0.017378 | 38.8043
37 | 0.068148 | 0.017124 | -0.068123 | -0.017114 | 2.5958e-05 | 9.9315e-06 | 0.10168 | 0.10168 | 0.10168 | 0.99751 | -0.017378 | 0.99711 | -0.020117 | 37.6574
38 | 0.066505 | 0.016708 | -0.066405 | -0.01667 | 0.00010071 | 3.852e-05 | 0.099262 | 0.099262 | 0.099262 | 0.99711 | -0.020117 | 0.99556 | -0.031019 | 36.7636
39 | 0.037818 | 0.0095012 | -0.037758 | -0.0094784 | 6.0439e-05 | 2.2853e-05 | 0.056533 | 0.056533 | 0.056533 | 0.99556 | -0.031019 | 0.99392 | -0.042526 | 20.9383
40 | 0.036021 | 0.0090431 | -0.035956 | -0.0090184 | 6.548e-05 | 2.4718e-05 | 0.053933 | 0.053934 | 0.053934 | 0.99392 | -0.042526 | 0.99205 | -0.055636 | 19.9754
41 | 0.035412 | 0.0088822 | -0.035408 | -0.0088808 | 3.7159e-06 | 1.402e-06 | 0.053118 | 0.053118 | 0.053118 | 0.99205 | -0.055636 | 0.99194 | -0.056393 | 19.6735
42 | 0.0090805 | 0.002275 | -0.0090787 | -0.0022745 | 1.8274e-06 | 5.0211e-07 | 0.013671 | 0.013671 | 0.013671 | 0.98833 | -0.081969 | 0.98812 | -0.083424 | 5.0635
43 | 0.008837 | 0.0022139 | -0.0088354 | -0.0022135 | 1.5363e-06 | 4.1283e-07 | 0.013307 | 0.013307 | 0.013307 | 0.98812 | -0.083424 | 0.98794 | -0.084681 | 4.9287
44 | 0.0083013 | 0.0020802 | -0.0082992 | -0.0020797 | 2.0847e-06 | 5.2536e-07 | 0.012471 | 0.012471 | 0.012471 | 0.99052 | -0.066433 | 0.99027 | -0.068248 | 4.6188
45 | 0.0084296 | 0.0021121 | -0.0084279 | -0.0021117 | 1.7802e-06 | 4.5575e-07 | 0.012663 | 0.012663 | 0.012663 | 0.99052 | -0.066433 | 0.99031 | -0.06796 | 4.6901
46 | 0.006779 | 0.0016987 | -0.0067778 | -0.0016985 | 1.1402e-06 | 2.1202e-07 | 0.010186 | 0.010186 | 0.010186 | 0.99027 | -0.068248 | 0.99009 | -0.069464 | 3.7727
47 | 0.0060495 | 0.0015156 | -0.0060459 | -0.0015151 | 3.5726e-06 | 4.8308e-07 | 0.0090897 | 0.00909 | 0.00909 | 0.99031 | -0.06796 | 0.9897 | -0.072229 | 3.3667
48 | 0.0028798 | 0.00072133 | -0.0028797 | -0.00072142 | 1.2485e-07 | -8.967e-08 | 0.0043254 | 0.0043254 | 0.0043254 | 0.99067 | -0.065476 | 0.99063 | -0.06579 | 1.602
49 | -0.0047159 | -0.0011815 | 0.0047172 | 0.0011815 | 1.3627e-06 | -3.6502e-08 | 0.0070832 | 0.007083 | 0.0070832 | 0.99067 | -0.065476 | 0.99097 | -0.063387 | 2.6234
50 | 0.00055662 | 0.00013921 | -0.00055661 | -0.0001395 | 1.0064e-08 | -2.9319e-07 | 0.000836 | 0.0008361 | 0.0008361 | 0.99063 | -0.06579 | 0.99061 | -0.06592 | 0.30967
51 | 0.0060459 | 0.0015151 | -0.0060448 | -0.001515 | 1.0997e-06 | 1.4893e-07 | 0.00909 | 0.0090901 | 0.0090901 | 0.9897 | -0.072229 | 0.98952 | -0.073543 | 3.3667
52 | 0.0027375 | 0.00068596 | -0.0027374 | -0.00068604 | 9.8906e-08 | -8.2329e-08 | 0.0041146 | 0.0041147 | 0.0041147 | 0.98997 | -0.070334 | 0.98993 | -0.070595 | 1.5239
53 | -0.0054221 | -0.0013588 | 0.0054228 | 0.0013588 | 6.5317e-07 | 4.8569e-08 | 0.0081499 | 0.0081498 | 0.0081499 | 0.98997 | -0.070334 | 0.99009 | -0.069464 | 3.0185

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -4.4415e-16 | -7.6913e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.564e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.07659 | 0.019061

## res_load
| p_mw | q_mvar
0 | 0.0013609 | 0.00034107
1 | 0.0014513 | 0.00036372
2 | 0.0032371 | 0.00081129
3 | 0.00065588 | 0.00016438
4 | 0.0011048 | 0.00027688
5 | 0.0002052 | 5.1429e-05
6 | 0.0031209 | 0.00078218
7 | 0.00057612 | 0.00014439
8 | 0.0016107 | 0.00040369
9 | 0.0011205 | 0.00028082
10 | 0.00037077 | 9.2924e-05
11 | 0.00064599 | 0.0001619
12 | 0.0016328 | 0.00040922
13 | 0.0010181 | 0.00025516
14 | 0.0022115 | 0.00055426
15 | 0.0020234 | 0.00050712
16 | 0.00058 | 0.00014536
17 | 0.0015414 | 0.0003863
18 | 0.0011068 | 0.00027738
19 | 0.00048719 | 0.0001221
20 | 0.0018125 | 0.00045427
21 | 0.0034861 | 0.0008737
22 | 0.0018402 | 0.00046119
23 | 0.0018692 | 0.00046846
24 | 0.0016856 | 0.00042244
25 | 0.0020758 | 0.00052023
26 | 0.0016172 | 0.0004053
27 | 0.0014753 | 0.00036975
28 | 0.0017367 | 0.00043525
29 | 0.00054342 | 0.00013619
30 | 0.0016723 | 0.00041911
31 | 0.00084437 | 0.00021162
32 | 0.00024174 | 6.0585e-05
33 | 0.0015203 | 0.00038102
34 | 0.0023784 | 0.00059608
35 | 0.00097536 | 0.00024445
36 | 0.0018178 | 0.00045558
37 | 0.0018361 | 0.00046016
38 | 0.0023231 | 0.00058221
39 | 0.0011998 | 0.00030071
40 | 0.00055661 | 0.0001395
41 | 0.0012293 | 0.0003081
42 | 0.0015588 | 0.00039067
43 | 0.0060448 | 0.001515
44 | 0.0026847 | 0.00067284
45 | 0.0027374 | 0.00068605
46 | 0.001355 | 0.0003396

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1