## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2514-1_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2514-1_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2514-1_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2514-1_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2514-1_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2514-1_0_3_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_2514-1_0_3_node_25 | 0.4 | n |  | TRUE
7 | bus_LV_2514-1_0_3_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_2514-1_0_3_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_2514-1_0_3_node_44 | 0.4 | n |  | TRUE
10 | bus_LV_2514-1_0_3_node_66 | 0.4 | n |  | TRUE
11 | bus_LV_2514-1_0_3_node_26 | 0.4 | n |  | TRUE
12 | bus_LV_2514-1_0_3_node_27 | 0.4 | n |  | TRUE
13 | bus_LV_2514-1_0_3_node_53 | 0.4 | n |  | TRUE
14 | bus_LV_2514-1_0_3_node_22 | 0.4 | n |  | TRUE
15 | bus_LV_2514-1_0_3_node_45 | 0.4 | n |  | TRUE
16 | bus_LV_2514-1_0_3_node_41 | 0.4 | n |  | TRUE
17 | bus_LV_2514-1_0_3_node_72 | 0.4 | n |  | TRUE
18 | bus_LV_2514-1_0_3_node_64 | 0.4 | n |  | TRUE
19 | bus_LV_2514-1_0_3_node_8 | 0.4 | n |  | TRUE
20 | bus_LV_2514-1_0_3_node_9 | 0.4 | n |  | TRUE
21 | bus_LV_2514-1_0_3_node_10 | 0.4 | n |  | TRUE
22 | bus_LV_2514-1_0_3_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_2514-1_0_3_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_2514-1_0_3_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_2514-1_0_3_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_2514-1_0_3_node_71 | 0.4 | n |  | TRUE
27 | bus_LV_2514-1_0_3_node_37 | 0.4 | n |  | TRUE
28 | bus_LV_2514-1_0_3_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_2514-1_0_3_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_2514-1_0_3_node_52 | 0.4 | n |  | TRUE
31 | bus_LV_2514-1_0_3_node_16 | 0.4 | n |  | TRUE
32 | bus_LV_2514-1_0_3_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_2514-1_0_3_node_51 | 0.4 | n |  | TRUE
34 | bus_LV_2514-1_0_3_node_15 | 0.4 | n |  | TRUE
35 | bus_LV_2514-1_0_3_node_18 | 0.4 | n |  | TRUE
36 | bus_LV_2514-1_0_3_node_19 | 0.4 | n |  | TRUE
37 | bus_LV_2514-1_0_3_node_21 | 0.4 | n |  | TRUE
38 | bus_LV_2514-1_0_3_node_65 | 0.4 | n |  | TRUE
39 | bus_LV_2514-1_0_3_node_63 | 0.4 | n |  | TRUE
40 | bus_LV_2514-1_0_3_node_82 | 0.4 | n |  | TRUE
41 | bus_LV_2514-1_0_3_node_83 | 0.4 | n |  | TRUE
42 | bus_LV_2514-1_0_3_node_81 | 0.4 | n |  | TRUE
43 | bus_LV_2514-1_0_3_node_80 | 0.4 | n |  | TRUE
44 | bus_LV_2514-1_0_3_node_29 | 0.4 | n |  | TRUE
45 | bus_LV_2514-1_0_3_node_43 | 0.4 | n |  | TRUE
46 | bus_LV_2514-1_0_3_node_40 | 0.4 | n |  | TRUE
47 | bus_LV_2514-1_0_3_node_30 | 0.4 | n |  | TRUE
48 | bus_LV_2514-1_0_3_node_31 | 0.4 | n |  | TRUE
49 | bus_LV_2514-1_0_3_node_32 | 0.4 | n |  | TRUE
50 | bus_LV_2514-1_0_3_node_33 | 0.4 | n |  | TRUE
51 | bus_LV_2514-1_0_3_node_34 | 0.4 | n |  | TRUE
52 | bus_LV_2514-1_0_3_node_36 | 0.4 | n |  | TRUE
53 | bus_LV_2514-1_0_3_node_46 | 0.4 | n |  | TRUE
54 | bus_LV_2514-1_0_3_node_35 | 0.4 | n |  | TRUE
55 | bus_LV_2514-1_0_3_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_2514-1_0_3_node_38 | 0.4 | n |  | TRUE
57 | bus_LV_2514-1_0_3_node_39 | 0.4 | n |  | TRUE
58 | bus_LV_2514-1_0_3_node_42 | 0.4 | n |  | TRUE
59 | bus_LV_2514-1_0_3_node_48 | 0.4 | n |  | TRUE
60 | bus_LV_2514-1_0_3_node_49 | 0.4 | n |  | TRUE
61 | bus_LV_2514-1_0_3_node_50 | 0.4 | n |  | TRUE
62 | bus_LV_2514-1_0_3_node_54 | 0.4 | n |  | TRUE
63 | bus_LV_2514-1_0_3_node_55 | 0.4 | n |  | TRUE
64 | bus_LV_2514-1_0_3_node_57 | 0.4 | n |  | TRUE
65 | bus_LV_2514-1_0_3_node_70 | 0.4 | n |  | TRUE
66 | bus_LV_2514-1_0_3_node_67 | 0.4 | n |  | TRUE
67 | bus_LV_2514-1_0_3_node_62 | 0.4 | n |  | TRUE
68 | bus_LV_2514-1_0_3_node_68 | 0.4 | n |  | TRUE
69 | bus_LV_2514-1_0_3_node_58 | 0.4 | n |  | TRUE
70 | bus_LV_2514-1_0_3_node_59 | 0.4 | n |  | TRUE
71 | bus_LV_2514-1_0_3_node_60 | 0.4 | n |  | TRUE
72 | bus_LV_2514-1_0_3_node_87 | 0.4 | n |  | TRUE
73 | bus_LV_2514-1_0_3_node_61 | 0.4 | n |  | TRUE
74 | bus_LV_2514-1_0_3_node_86 | 0.4 | n |  | TRUE
75 | bus_LV_2514-1_0_3_node_84 | 0.4 | n |  | TRUE
76 | bus_LV_2514-1_0_3_node_85 | 0.4 | n |  | TRUE
77 | bus_LV_2514-1_0_3_node_69 | 0.4 | n |  | TRUE
78 | bus_LV_2514-1_0_3_node_76 | 0.4 | n |  | TRUE
79 | bus_LV_2514-1_0_3_node_74 | 0.4 | n |  | TRUE
80 | bus_LV_2514-1_0_3_node_73 | 0.4 | n |  | TRUE
81 | bus_LV_2514-1_0_3_node_75 | 0.4 | n |  | TRUE
82 | bus_LV_2514-1_0_3_node_77 | 0.4 | n |  | TRUE
83 | bus_LV_2514-1_0_3_node_78 | 0.4 | n |  | TRUE
84 | bus_LV_2514-1_0_3_node_79 | 0.4 | n |  | TRUE
85 | bus_MV_184_1_node_282 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2514-1_0_3_load_0 | 0 | 0.0025898 | 0.00064906 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2514-1_0_3_load_1 | 1 | 0.0024899 | 0.00062403 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2514-1_0_3_load_3 | 3 | 0.0041217 | 0.001033 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2514-1_0_3_load_4 | 4 | 0.0021871 | 0.00054814 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2514-1_0_3_load_6 | 5 | 0.0027064 | 0.00067829 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2514-1_0_3_load_25 | 6 | 0.0056066 | 0.0014052 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2514-1_0_3_load_7 | 7 | 0.0031944 | 0.00080058 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2514-1_0_3_load_5 | 8 | 0.0021753 | 0.00054519 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2514-1_0_3_load_26 | 11 | 0.0018214 | 0.00045649 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2514-1_0_3_load_27 | 12 | 0.0025898 | 0.00064906 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2514-1_0_3_load_53 | 13 | 0.0019381 | 0.00048574 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2514-1_0_3_load_22 | 14 | 0.0023119 | 0.00057942 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2514-1_0_3_load_45 | 15 | 0.0024377 | 0.00061095 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2514-1_0_3_load_41 | 16 | 0.0073547 | 0.0018433 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2514-1_0_3_load_72 | 17 | 0.0017026 | 0.00042671 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2514-1_0_3_load_64 | 18 | 0.0023414 | 0.0005868 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2514-1_0_3_load_8 | 19 | 0.0027694 | 0.00069408 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2514-1_0_3_load_9 | 20 | 0.0027365 | 0.00068583 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2514-1_0_3_load_11 | 22 | 0.0024908 | 0.00062424 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2514-1_0_3_load_13 | 24 | 0.0021281 | 0.00053335 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2514-1_0_3_load_14 | 25 | 0.0020201 | 0.00050629 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2514-1_0_3_load_71 | 26 | 0.0027706 | 0.00069439 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2514-1_0_3_load_37 | 27 | 0.0036936 | 0.00092571 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2514-1_0_3_load_17 | 28 | 0.0033245 | 0.00083321 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2514-1_0_3_load_23 | 29 | 0.0021175 | 0.0005307 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2514-1_0_3_load_52 | 30 | 0.0014459 | 0.00036236 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2514-1_0_3_load_16 | 31 | 0.0025725 | 0.00064473 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2514-1_0_3_load_24 | 32 | 0.0024786 | 0.00062121 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2514-1_0_3_load_51 | 33 | 0.00222 | 0.00055638 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2514-1_0_3_load_15 | 34 | 0.0033541 | 0.00084063 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2514-1_0_3_load_18 | 35 | 0.0031037 | 0.00077786 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2514-1_0_3_load_19 | 36 | 0.0016996 | 0.00042596 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2514-1_0_3_load_21 | 37 | 0.002186 | 0.00054787 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2514-1_0_3_load_65 | 38 | 0.0040386 | 0.0010122 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2514-1_0_3_load_63 | 39 | 0.0021454 | 0.00053768 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2514-1_0_3_load_82 | 40 | 0.0026048 | 0.00065282 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2514-1_0_3_load_83 | 41 | 0.0035169 | 0.00088142 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2514-1_0_3_load_81 | 42 | 0.0017346 | 0.00043474 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2514-1_0_3_load_80 | 43 | 0.0013301 | 0.00033335 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2514-1_0_3_load_29 | 44 | 0.0040281 | 0.0010095 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2514-1_0_3_load_43 | 45 | 0.00022647 | 5.6759e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2514-1_0_3_load_30 | 47 | 0.00031785 | 7.966e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2514-1_0_3_load_31 | 48 | 0.0014692 | 0.00036821 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2514-1_0_3_load_32 | 49 | 0.0014215 | 0.00035627 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2514-1_0_3_load_34 | 51 | 0.00026313 | 6.5946e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2514-1_0_3_load_36 | 52 | 0.00098512 | 0.0002469 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2514-1_0_3_load_46 | 53 | 0.0015701 | 0.0003935 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2514-1_0_3_load_35 | 54 | 0.00029368 | 7.3604e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2514-1_0_3_load_38 | 56 | 0.0024374 | 0.00061087 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2514-1_0_3_load_39 | 57 | 0.0016295 | 0.0004084 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2514-1_0_3_load_42 | 58 | 0.0002975 | 7.4559e-05 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2514-1_0_3_load_48 | 59 | 0.006062 | 0.0015193 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2514-1_0_3_load_49 | 60 | 0.0030883 | 0.00077401 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2514-1_0_3_load_50 | 61 | 0.0016457 | 0.00041246 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2514-1_0_3_load_54 | 62 | 0.0013407 | 0.00033601 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2514-1_0_3_load_55 | 63 | 0.0023747 | 0.00059516 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2514-1_0_3_load_70 | 65 | 0.0013253 | 0.00033214 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2514-1_0_3_load_67 | 66 | 0.0019546 | 0.00048987 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2514-1_0_3_load_62 | 67 | 0.001326 | 0.00033232 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2514-1_0_3_load_68 | 68 | 0.0020658 | 0.00051774 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2514-1_0_3_load_58 | 69 | 0.0015646 | 0.00039213 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2514-1_0_3_load_59 | 70 | 0.003499 | 0.00087693 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2514-1_0_3_load_60 | 71 | 0.0029089 | 0.00072904 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2514-1_0_3_load_87 | 72 | 0.0024612 | 0.00061683 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2514-1_0_3_load_61 | 73 | 0.0015642 | 0.00039203 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2514-1_0_3_load_86 | 74 | 0.0026503 | 0.00066422 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2514-1_0_3_load_84 | 75 | 0.0022917 | 0.00057434 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2514-1_0_3_load_85 | 76 | 0.0023344 | 0.00058504 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2514-1_0_3_load_69 | 77 | 0.0019465 | 0.00048783 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2514-1_0_3_load_76 | 78 | 0.0023195 | 0.00058133 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_2514-1_0_3_load_74 | 79 | 0.0019877 | 0.00049817 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_2514-1_0_3_load_73 | 80 | 0.0018553 | 0.00046499 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_2514-1_0_3_load_75 | 81 | 0.0014643 | 0.000367 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_2514-1_0_3_load_77 | 82 | 0.0021597 | 0.00054128 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_2514-1_0_3_load_78 | 83 | 0.0013275 | 0.00033271 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_2514-1_0_3_load_79 | 84 | 0.0020488 | 0.00051349 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 7 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2514-1_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.00021533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2514-1_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.016292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2514-1_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.018151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2514-1_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.017761 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
4 | LV_2514-1_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.020082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
5 | LV_2514-1_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.052659 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2514-1_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.013435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
7 | LV_2514-1_0_3_line_7 | NAYY 4x150 SE | 5 | 10 | 0.029439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
8 | LV_2514-1_0_3_line_8 | NAYY 4x150 SE | 6 | 11 | 0.031037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2514-1_0_3_line_9 | NAYY 4x150 SE | 8 | 9 | 0.013343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2514-1_0_3_line_10 | NAYY 4x150 SE | 9 | 15 | 0.017944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2514-1_0_3_line_11 | NAYY 4x150 SE | 9 | 16 | 0.013786 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2514-1_0_3_line_12 | NAYY 4x150 SE | 10 | 17 | 0.0042253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
13 | LV_2514-1_0_3_line_13 | NAYY 4x150 SE | 10 | 18 | 0.011468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2514-1_0_3_line_14 | NAYY 4x150 SE | 11 | 12 | 0.017806 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2514-1_0_3_line_15 | NAYY 4x150 SE | 12 | 13 | 0.0082455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2514-1_0_3_line_16 | NAYY 4x150 SE | 13 | 14 | 0.024085 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2514-1_0_3_line_17 | NAYY 4x150 SE | 15 | 60 | 0.0017265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2514-1_0_3_line_18 | NAYY 4x150 SE | 16 | 57 | 0.020216 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2514-1_0_3_line_19 | NAYY 4x150 SE | 17 | 73 | 0.017577 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
20 | LV_2514-1_0_3_line_20 | NAYY 4x150 SE | 18 | 39 | 0.0059157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2514-1_0_3_line_21 | NAYY 4x150 SE | 19 | 20 | 0.016905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2514-1_0_3_line_22 | NAYY 4x150 SE | 19 | 21 | 0.013549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2514-1_0_3_line_23 | NAYY 4x150 SE | 20 | 22 | 0.0074562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2514-1_0_3_line_24 | NAYY 4x150 SE | 21 | 23 | 0.034652 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2514-1_0_3_line_25 | NAYY 4x150 SE | 21 | 24 | 0.032347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
26 | LV_2514-1_0_3_line_26 | NAYY 4x150 SE | 21 | 25 | 0.015605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2514-1_0_3_line_27 | NAYY 4x150 SE | 22 | 26 | 0.021677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2514-1_0_3_line_28 | NAYY 4x150 SE | 23 | 27 | 0.036362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2514-1_0_3_line_29 | NAYY 4x150 SE | 23 | 28 | 0.013872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2514-1_0_3_line_30 | NAYY 4x150 SE | 24 | 29 | 0.015783 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
31 | LV_2514-1_0_3_line_31 | NAYY 4x150 SE | 25 | 30 | 0.014284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2514-1_0_3_line_32 | NAYY 4x150 SE | 28 | 31 | 0.020293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2514-1_0_3_line_33 | NAYY 4x150 SE | 29 | 32 | 0.0032294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
34 | LV_2514-1_0_3_line_34 | NAYY 4x150 SE | 30 | 33 | 0.021593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2514-1_0_3_line_35 | NAYY 4x150 SE | 31 | 34 | 0.021063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2514-1_0_3_line_36 | NAYY 4x150 SE | 32 | 42 | 0.016524 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
37 | LV_2514-1_0_3_line_37 | NAYY 4x150 SE | 33 | 59 | 0.011619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2514-1_0_3_line_38 | NAYY 4x150 SE | 35 | 36 | 0.011951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2514-1_0_3_line_39 | NAYY 4x150 SE | 36 | 37 | 0.026501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2514-1_0_3_line_40 | NAYY 4x150 SE | 37 | 40 | 0.0013832 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2514-1_0_3_line_41 | NAYY 4x150 SE | 38 | 39 | 0.010707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2514-1_0_3_line_42 | NAYY 4x150 SE | 40 | 41 | 0.014074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2514-1_0_3_line_43 | NAYY 4x150 SE | 41 | 76 | 0.0085271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2514-1_0_3_line_44 | NAYY 4x150 SE | 42 | 43 | 0.0017166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
45 | LV_2514-1_0_3_line_45 | NAYY 4x150 SE | 43 | 84 | 0.0092061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
46 | LV_2514-1_0_3_line_46 | NAYY 4x150 SE | 44 | 45 | 0.027746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_2514-1_0_3_line_47 | NAYY 4x150 SE | 45 | 46 | 0.013375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_2514-1_0_3_line_48 | NAYY 4x150 SE | 46 | 58 | 0.0072083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_2514-1_0_3_line_49 | NAYY 4x150 SE | 46 | 56 | 0.018981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_2514-1_0_3_line_50 | NAYY 4x150 SE | 47 | 48 | 0.0073794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_2514-1_0_3_line_51 | NAYY 4x150 SE | 47 | 49 | 0.025763 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_2514-1_0_3_line_52 | NAYY 4x150 SE | 48 | 50 | 0.031995 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_2514-1_0_3_line_53 | NAYY 4x150 SE | 49 | 51 | 0.00025521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_2514-1_0_3_line_54 | NAYY 4x150 SE | 50 | 52 | 0.048845 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_2514-1_0_3_line_55 | NAYY 4x150 SE | 51 | 53 | 0.034154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_2514-1_0_3_line_56 | NAYY 4x150 SE | 52 | 54 | 0.011091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_2514-1_0_3_line_57 | NAYY 4x150 SE | 53 | 55 | 0.027681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_2514-1_0_3_line_58 | NAYY 4x150 SE | 55 | 59 | 0.011362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_2514-1_0_3_line_59 | NAYY 4x150 SE | 55 | 58 | 0.021268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_2514-1_0_3_line_60 | NAYY 4x150 SE | 56 | 57 | 0.014556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_2514-1_0_3_line_61 | NAYY 4x150 SE | 60 | 61 | 0.014267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_2514-1_0_3_line_62 | NAYY 4x150 SE | 62 | 63 | 0.006766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_2514-1_0_3_line_63 | NAYY 4x150 SE | 63 | 64 | 0.0057403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_2514-1_0_3_line_64 | NAYY 4x150 SE | 64 | 65 | 0.029907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
65 | LV_2514-1_0_3_line_65 | NAYY 4x150 SE | 64 | 66 | 0.016074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
66 | LV_2514-1_0_3_line_66 | NAYY 4x150 SE | 65 | 67 | 0.0033734 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
67 | LV_2514-1_0_3_line_67 | NAYY 4x150 SE | 66 | 68 | 0.020638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
68 | LV_2514-1_0_3_line_68 | NAYY 4x150 SE | 67 | 71 | 0.0052672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
69 | LV_2514-1_0_3_line_69 | NAYY 4x150 SE | 68 | 77 | 0.014945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
70 | LV_2514-1_0_3_line_70 | NAYY 4x150 SE | 69 | 70 | 0.0042351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
71 | LV_2514-1_0_3_line_71 | NAYY 4x150 SE | 69 | 71 | 0.023168 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
72 | LV_2514-1_0_3_line_72 | NAYY 4x150 SE | 69 | 72 | 0.048383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_2514-1_0_3_line_73 | NAYY 4x150 SE | 70 | 73 | 0.015356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
74 | LV_2514-1_0_3_line_74 | NAYY 4x150 SE | 72 | 74 | 0.015974 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_2514-1_0_3_line_75 | NAYY 4x150 SE | 74 | 75 | 0.018036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_2514-1_0_3_line_76 | NAYY 4x150 SE | 75 | 76 | 0.0092635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_2514-1_0_3_line_77 | NAYY 4x150 SE | 77 | 78 | 0.0084309 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
78 | LV_2514-1_0_3_line_78 | NAYY 4x150 SE | 78 | 79 | 0.017598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
79 | LV_2514-1_0_3_line_79 | NAYY 4x150 SE | 79 | 80 | 0.0026948 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
80 | LV_2514-1_0_3_line_80 | NAYY 4x150 SE | 80 | 81 | 0.023239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
81 | LV_2514-1_0_3_line_81 | NAYY 4x150 SE | 81 | 82 | 0.003378 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
82 | LV_2514-1_0_3_line_82 | NAYY 4x150 SE | 82 | 83 | 0.018235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
83 | LV_2514-1_0_3_line_83 | NAYY 4x150 SE | 83 | 84 | 0.013262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2514-1_0_3_trafo_7 | 0.25 MVA 20/0.4 kV | 85 | 7 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2616973.8092 | 1226766.2102 | 2616973.6658 | 1226766.3709
1 | 2616962.8189 | 1226778.5277 | 2616973.6658 | 1226766.3709
2 | 2616985.8932 | 1226752.6669 | 2616973.8092 | 1226766.2102
3 | 2616962.8189 | 1226778.5277 | 2616950.8945 | 1226791.6912
4 | 2616962.8189 | 1226778.5277 | 2616975.7051 | 1226793.9305
5 | 2616985.8932 | 1226752.6669 | 2616998.8883 | 1226701.6369
6 | 2616941.8744 | 1226801.6486 | 2616950.8945 | 1226791.6912
7 | 2616993.181 | 1226817.5148 | 2616987.5165 | 1226808.0487 | 2616975.7051 | 1226793.9305
8 | 2617025.4425 | 1226717.7044 | 2617023.4419 | 1226716.508 | 2616999.4062 | 1226701.9642 | 2616998.8883 | 1226701.6369
9 | 2616926.0215 | 1226745.1035 | 2616935.8985 | 1226754.075
10 | 2616926.0215 | 1226745.1035 | 2616913.9026 | 1226758.3367
11 | 2616926.0215 | 1226745.1035 | 2616916.6218 | 1226735.0195
12 | 2616993.181 | 1226817.5148 | 2616994.0667 | 1226821.6463
13 | 2616993.181 | 1226817.5148 | 2617001.3655 | 1226809.482
14 | 2617040.7244 | 1226726.8439 | 2617025.4425 | 1226717.7044
15 | 2617047.8009 | 1226731.0761 | 2617040.7244 | 1226726.8439
16 | 2617068.4715 | 1226743.4384 | 2617047.8009 | 1226731.0761
17 | 2616912.7366 | 1226759.61 | 2616913.9026 | 1226758.3367
18 | 2616916.6218 | 1226735.0195 | 2616902.8375 | 1226720.2317
19 | 2616994.0667 | 1226821.6463 | 2616994.7741 | 1226824.946 | 2616992.38 | 1226838.9456
20 | 2617005.5874 | 1226805.3383 | 2617001.3655 | 1226809.482
21 | 2616808.7393 | 1226786.726 | 2616799.81 | 1226801.0801
22 | 2616815.8962 | 1226775.2212 | 2616808.7393 | 1226786.726
23 | 2616795.2883 | 1226807.0089 | 2616799.81 | 1226801.0801 | 2616799.81 | 1226801.0801
24 | 2616815.8962 | 1226775.2212 | 2616810.7895 | 1226769.3923 | 2616788.4831 | 1226754.2428
25 | 2616815.8962 | 1226775.2212 | 2616824.7744 | 1226784.6407 | 2616839.3866 | 1226797.4061
26 | 2616815.8962 | 1226775.2212 | 2616818.6291 | 1226768.1915 | 2616822.9857 | 1226761.4069
27 | 2616795.2883 | 1226807.0089 | 2616782.1424 | 1226824.2454
28 | 2616788.4831 | 1226754.2428 | 2616780.863 | 1226747.4729 | 2616774.021 | 1226738.8709 | 2616767.0928 | 1226728.5675 | 2616765.6936 | 1226726.1865
29 | 2616788.4831 | 1226754.2428 | 2616779.81 | 1226765.0694
30 | 2616851.2726 | 1226807.7898 | 2616839.3866 | 1226797.4061
31 | 2616830.7039 | 1226749.3874 | 2616822.9857 | 1226761.4069
32 | 2616779.81 | 1226765.0694 | 2616767.1223 | 1226780.9075
33 | 2616853.7047 | 1226809.9145 | 2616851.2726 | 1226807.7898
34 | 2616844.0168 | 1226732.4904 | 2616835.9387 | 1226741.2354 | 2616830.7039 | 1226749.3874
35 | 2616767.1223 | 1226780.9075 | 2616753.9535 | 1226797.3462
36 | 2616853.7047 | 1226809.9145 | 2616866.1485 | 1226820.7854
37 | 2616844.0168 | 1226732.4904 | 2616851.9007 | 1226723.9557
38 | 2617099.7402 | 1226788.5047 | 2617095.7045 | 1226792.9486 | 2617091.5097 | 1226797.1662
39 | 2617091.5097 | 1226797.1662 | 2617072.8221 | 1226815.9559
40 | 2617072.8221 | 1226815.9559 | 2617071.8468 | 1226816.9366
41 | 2617013.2291 | 1226797.8381 | 2617005.5874 | 1226805.3383
42 | 2617071.8468 | 1226816.9366 | 2617061.9221 | 1226826.9155
43 | 2617055.909 | 1226832.9615 | 2617061.9221 | 1226826.9155
44 | 2616867.4413 | 1226821.9148 | 2616866.1485 | 1226820.7854
45 | 2616874.3744 | 1226827.9716 | 2616867.4413 | 1226821.9148
46 | 2616889.5899 | 1226686.4064 | 2616900.6252 | 1226675.7461 | 2616910.7087 | 1226668.5256
47 | 2616879.97 | 1226695.6995 | 2616889.5899 | 1226686.4064
48 | 2616879.97 | 1226695.6995 | 2616874.8164 | 1226700.7393
49 | 2616879.97 | 1226695.6995 | 2616892.9121 | 1226709.5837
50 | 2616854.2077 | 1226635.2606 | 2616856.0808 | 1226628.1229
51 | 2616854.2077 | 1226635.2606 | 2616847.6683 | 1226660.1797
52 | 2616856.5974 | 1226596.497 | 2616858.6338 | 1226610.7223 | 2616857.2405 | 1226623.7038 | 2616856.0808 | 1226628.1229
53 | 2616847.6683 | 1226660.1797 | 2616847.6035 | 1226660.4266
54 | 2616856.5974 | 1226596.497 | 2616824.2313 | 1226600.9306 | 2616808.1467 | 1226602.6551
55 | 2616842.7643 | 1226693.8377 | 2616842.7643 | 1226693.8377 | 2616841.7826 | 1226687.22 | 2616843.1211 | 1226677.5069 | 2616847.6035 | 1226660.4266
56 | 2616797.119 | 1226603.8374 | 2616808.1467 | 1226602.6551
57 | 2616859.6107 | 1226715.6093 | 2616846.8735 | 1226701.3427 | 2616842.7643 | 1226693.8377
58 | 2616859.6107 | 1226715.6093 | 2616851.9007 | 1226723.9557
59 | 2616859.6107 | 1226715.6093 | 2616874.8164 | 1226700.7393
60 | 2616892.9121 | 1226709.5837 | 2616902.8375 | 1226720.2317
61 | 2616903.1013 | 1226770.1311 | 2616912.7366 | 1226759.61
62 | 2616988.0799 | 1226927.3324 | 2616982.9917 | 1226922.8728
63 | 2616978.6748 | 1226919.0892 | 2616982.9917 | 1226922.8728
64 | 2616978.6748 | 1226919.0892 | 2616983.716 | 1226889.6102
65 | 2616978.6748 | 1226919.0892 | 2616966.5693 | 1226908.5138
66 | 2616983.716 | 1226889.6102 | 2616984.2846 | 1226886.2851
67 | 2616966.5693 | 1226908.5138 | 2616951.0271 | 1226894.936
68 | 2616984.2846 | 1226886.2851 | 2616985.1724 | 1226881.0933
69 | 2616951.0271 | 1226894.936 | 2616939.7721 | 1226885.1036
70 | 2616989.0776 | 1226858.2568 | 2616989.7915 | 1226854.0823
71 | 2616989.0776 | 1226858.2568 | 2616985.1724 | 1226881.0933
72 | 2616989.0776 | 1226858.2568 | 2617035.9085 | 1226870.4151
73 | 2616989.7915 | 1226854.0823 | 2616992.38 | 1226838.9456
74 | 2617040.5249 | 1226855.173 | 2617036.5799 | 1226866.323 | 2617035.9085 | 1226870.4151
75 | 2617049.5894 | 1226839.7044 | 2617042.012 | 1226850.9627 | 2617040.5527 | 1226855.0943 | 2617040.5249 | 1226855.173
76 | 2617049.5894 | 1226839.7044 | 2617050.399 | 1226838.5015 | 2617055.909 | 1226832.9615
77 | 2616933.4229 | 1226879.5568 | 2616939.7721 | 1226885.1036
78 | 2616920.1697 | 1226867.9787 | 2616933.4229 | 1226879.5568
79 | 2616918.1402 | 1226866.2058 | 2616920.1697 | 1226867.9787
80 | 2616918.1402 | 1226866.2058 | 2616900.6393 | 1226850.9169
81 | 2616900.6393 | 1226850.9169 | 2616898.0953 | 1226848.6944
82 | 2616884.3623 | 1226836.6971 | 2616898.0953 | 1226848.6944
83 | 2616884.3623 | 1226836.6971 | 2616874.3744 | 1226827.9716

## bus_geodata
| x | y | coords
0 | 2616973.6658 | 1226766.3709
1 | 2616973.8092 | 1226766.2102
2 | 2616962.8189 | 1226778.5277
3 | 2616985.8932 | 1226752.6669
4 | 2616950.8945 | 1226791.6912
5 | 2616975.7051 | 1226793.9305
6 | 2616998.8883 | 1226701.6369
7 | 2616941.8744 | 1226801.6486
8 | 2616935.8985 | 1226754.075
9 | 2616926.0215 | 1226745.1035
10 | 2616993.181 | 1226817.5148
11 | 2617025.4425 | 1226717.7044
12 | 2617040.7244 | 1226726.8439
13 | 2617047.8008 | 1226731.0761
14 | 2617068.4715 | 1226743.4384
15 | 2616913.9026 | 1226758.3367
16 | 2616916.6218 | 1226735.0195
17 | 2616994.0667 | 1226821.6463
18 | 2617001.3655 | 1226809.482
19 | 2616808.7393 | 1226786.726
20 | 2616799.81 | 1226801.0801
21 | 2616815.8962 | 1226775.2212
22 | 2616795.2883 | 1226807.0089
23 | 2616788.4831 | 1226754.2428
24 | 2616839.3866 | 1226797.4061
25 | 2616822.9857 | 1226761.4069
26 | 2616782.1424 | 1226824.2454
27 | 2616765.6936 | 1226726.1865
28 | 2616779.81 | 1226765.0694
29 | 2616851.2726 | 1226807.7898
30 | 2616830.7039 | 1226749.3874
31 | 2616767.1223 | 1226780.9075
32 | 2616853.7047 | 1226809.9145
33 | 2616844.0168 | 1226732.4904
34 | 2616753.9535 | 1226797.3462
35 | 2617099.7402 | 1226788.5047
36 | 2617091.5097 | 1226797.1662
37 | 2617072.8221 | 1226815.9559
38 | 2617013.2291 | 1226797.8381
39 | 2617005.5874 | 1226805.3383
40 | 2617071.8468 | 1226816.9366
41 | 2617061.9221 | 1226826.9155
42 | 2616866.1485 | 1226820.7854
43 | 2616867.4413 | 1226821.9148
44 | 2616910.7087 | 1226668.5256
45 | 2616889.5899 | 1226686.4064
46 | 2616879.97 | 1226695.6995
47 | 2616854.2077 | 1226635.2606
48 | 2616856.0808 | 1226628.1229
49 | 2616847.6683 | 1226660.1797
50 | 2616856.5974 | 1226596.497
51 | 2616847.6035 | 1226660.4266
52 | 2616808.1467 | 1226602.6551
53 | 2616842.7643 | 1226693.8377
54 | 2616797.119 | 1226603.8374
55 | 2616859.6107 | 1226715.6093
56 | 2616892.9121 | 1226709.5837
57 | 2616902.8375 | 1226720.2317
58 | 2616874.8164 | 1226700.7393
59 | 2616851.9007 | 1226723.9557
60 | 2616912.7366 | 1226759.61
61 | 2616903.1013 | 1226770.1311
62 | 2616988.0799 | 1226927.3324
63 | 2616982.9917 | 1226922.8728
64 | 2616978.6748 | 1226919.0892
65 | 2616983.716 | 1226889.6102
66 | 2616966.5693 | 1226908.5138
67 | 2616984.2846 | 1226886.2851
68 | 2616951.0271 | 1226894.936
69 | 2616989.0776 | 1226858.2568
70 | 2616989.7915 | 1226854.0823
71 | 2616985.1724 | 1226881.0933
72 | 2617035.9085 | 1226870.4151
73 | 2616992.38 | 1226838.9456
74 | 2617040.5249 | 1226855.173
75 | 2617049.5894 | 1226839.7044
76 | 2617055.909 | 1226832.9615
77 | 2616939.7721 | 1226885.1036
78 | 2616933.4229 | 1226879.5568
79 | 2616920.1697 | 1226867.9787
80 | 2616918.1402 | 1226866.2058
81 | 2616900.6393 | 1226850.9169
82 | 2616898.0953 | 1226848.6944
83 | 2616884.3623 | 1226836.6971
84 | 2616874.3744 | 1226827.9716
85 | 2616962.8189 | 1226778.5277

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99686 | -0.021771 | 0.0025898 | 0.00064906
1 | 0.99685 | -0.021816 | 0.0024899 | 0.00062403
2 | 0.99741 | -0.01793 | 0 | 0
3 | 0.99638 | -0.025173 | 0.0041217 | 0.001033
4 | 0.99888 | -0.0077665 | 0.0021871 | 0.00054814
5 | 0.99597 | -0.027876 | 0.0027064 | 0.00067829
6 | 0.9953 | -0.03274 | 0.0056066 | 0.0014052
7 | 1 | 0 | -0.17688 | -0.044468
8 | 0.97172 | -0.19935 | 0.0021753 | 0.00054519
9 | 0.97176 | -0.19904 | 0 | 0
10 | 0.99391 | -0.042239 | 0 | 0
11 | 0.99491 | -0.035451 | 0.0018214 | 0.00045649
12 | 0.99474 | -0.03668 | 0.0025898 | 0.00064906
13 | 0.99469 | -0.037034 | 0.0019381 | 0.00048574
14 | 0.99461 | -0.037596 | 0.0023119 | 0.00057942
15 | 0.97157 | -0.20041 | 0.0024377 | 0.00061095
16 | 0.97195 | -0.19768 | 0.0073547 | 0.0018433
17 | 0.99363 | -0.044183 | 0.0017026 | 0.00042671
18 | 0.99377 | -0.043227 | 0.0023414 | 0.0005868
19 | 0.97855 | -0.15043 | 0.0027694 | 0.00069408
20 | 0.97835 | -0.15184 | 0.0027365 | 0.00068583
21 | 0.97876 | -0.14891 | 0 | 0
22 | 0.97829 | -0.15225 | 0.0024908 | 0.00062424
23 | 0.97811 | -0.15359 | 0 | 0
24 | 0.98035 | -0.13761 | 0.0021281 | 0.00053335
25 | 0.97777 | -0.15598 | 0.0020201 | 0.00050629
26 | 0.97821 | -0.15288 | 0.0027706 | 0.00069439
27 | 0.97791 | -0.15499 | 0.0036936 | 0.00092571
28 | 0.97792 | -0.15493 | 0.0033245 | 0.00083321
29 | 0.98114 | -0.13194 | 0.0021175 | 0.0005307
30 | 0.9769 | -0.16216 | 0.0014459 | 0.00036236
31 | 0.97774 | -0.15618 | 0.0025725 | 0.00064473
32 | 0.98126 | -0.13114 | 0.0024786 | 0.00062121
33 | 0.97564 | -0.17119 | 0.00222 | 0.00055638
34 | 0.97764 | -0.15692 | 0.0033541 | 0.00084063
35 | 0.98788 | -0.084576 | 0.0031037 | 0.00077786
36 | 0.98794 | -0.084197 | 0.0016996 | 0.00042596
37 | 0.98812 | -0.082895 | 0.002186 | 0.00054787
38 | 0.99365 | -0.044034 | 0.0040386 | 0.0010122
39 | 0.99371 | -0.043596 | 0.0021454 | 0.00053768
40 | 0.98813 | -0.082796 | 0.0026048 | 0.00065282
41 | 0.98833 | -0.081415 | 0.0035169 | 0.00088142
42 | 0.98185 | -0.12692 | 0.0017346 | 0.00043474
43 | 0.98191 | -0.12648 | 0.0013301 | 0.00033335
44 | 0.97317 | -0.18892 | 0.0040281 | 0.0010095
45 | 0.97333 | -0.18774 | 0.00022647 | 5.6759e-05
46 | 0.97342 | -0.18714 | 0 | 0
47 | 0.97386 | -0.18398 | 0.00031785 | 7.966e-05
48 | 0.97383 | -0.18419 | 0.0014692 | 0.00036821
49 | 0.97398 | -0.18314 | 0.0014215 | 0.00035627
50 | 0.97377 | -0.18462 | 0 | 0
51 | 0.97398 | -0.18313 | 0.00026313 | 6.5946e-05
52 | 0.97368 | -0.18528 | 0.00098512 | 0.0002469
53 | 0.97422 | -0.18142 | 0.0015701 | 0.0003935
54 | 0.97367 | -0.18532 | 0.00029368 | 7.3604e-05
55 | 0.97447 | -0.17957 | 0 | 0
56 | 0.97284 | -0.1913 | 0.0024374 | 0.00061087
57 | 0.97245 | -0.19412 | 0.0016295 | 0.0004084
58 | 0.97368 | -0.18524 | 0.0002975 | 7.4559e-05
59 | 0.975 | -0.17579 | 0.006062 | 0.0015193
60 | 0.97156 | -0.20049 | 0.0030883 | 0.00077401
61 | 0.97153 | -0.20074 | 0.0016457 | 0.00041246
62 | 0.98812 | -0.082713 | 0.0013407 | 0.00033601
63 | 0.98813 | -0.08262 | 0.0023747 | 0.00059516
64 | 0.98816 | -0.082402 | 0 | 0
65 | 0.98961 | -0.072242 | 0.0013253 | 0.00033214
66 | 0.98741 | -0.087671 | 0.0019546 | 0.00048987
67 | 0.98978 | -0.071083 | 0.001326 | 0.00033232
68 | 0.98647 | -0.094309 | 0.0020658 | 0.00051774
69 | 0.99122 | -0.06097 | 0.0015646 | 0.00039213
70 | 0.99149 | -0.059108 | 0.003499 | 0.00087693
71 | 0.99004 | -0.06925 | 0.0029089 | 0.00072904
72 | 0.98963 | -0.072223 | 0.0024612 | 0.00061683
73 | 0.99248 | -0.052184 | 0.0015642 | 0.00039203
74 | 0.98916 | -0.075545 | 0.0026503 | 0.00066422
75 | 0.9887 | -0.078811 | 0.0022917 | 0.00057434
76 | 0.98849 | -0.080273 | 0.0023344 | 0.00058504
77 | 0.9858 | -0.099018 | 0.0019465 | 0.00048783
78 | 0.98543 | -0.10162 | 0.0023195 | 0.00058133
79 | 0.98468 | -0.10692 | 0.0019877 | 0.00049817
80 | 0.98457 | -0.10771 | 0.0018553 | 0.00046499
81 | 0.98362 | -0.11442 | 0.0014643 | 0.000367
82 | 0.98348 | -0.11538 | 0.0021597 | 0.00054128
83 | 0.98277 | -0.12042 | 0.0013275 | 0.00033271
84 | 0.98226 | -0.12403 | 0.0020488 | 0.00051349
85 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.020908 | 0.0052419 | -0.020908 | -0.0052418 | 1.3088e-07 | 4.7533e-08 | 0.03121 | 0.03121 | 0.03121 | 0.99686 | -0.021771 | 0.99685 | -0.021816 | 11.5593
1 | -0.023498 | -0.0058909 | 0.02351 | 0.0058955 | 1.2508e-05 | 4.5982e-06 | 0.035076 | 0.035076 | 0.035076 | 0.99686 | -0.021771 | 0.99741 | -0.01793 | 12.991
2 | 0.018418 | 0.0046178 | -0.018409 | -0.0046147 | 8.5612e-06 | 3.0562e-06 | 0.027493 | 0.027493 | 0.027493 | 0.99685 | -0.021816 | 0.99638 | -0.025173 | 10.1827
3 | -0.17346 | -0.043752 | 0.1737 | 0.043846 | 0.00024758 | 9.4528e-05 | 0.25888 | 0.25887 | 0.25888 | 0.99741 | -0.01793 | 0.99888 | -0.0077665 | 31.9599
4 | 0.14995 | 0.037856 | -0.14974 | -0.037776 | 0.00020922 | 7.9683e-05 | 0.2238 | 0.2238 | 0.2238 | 0.99741 | -0.01793 | 0.99597 | -0.027876 | 27.6296
5 | 0.014288 | 0.0035817 | -0.014273 | -0.0035767 | 1.4961e-05 | 5.0692e-06 | 0.021338 | 0.021338 | 0.021338 | 0.99638 | -0.025173 | 0.9953 | -0.03274 | 7.903
6 | -0.17589 | -0.044394 | 0.17608 | 0.044468 | 0.00019202 | 7.3327e-05 | 0.26213 | 0.26213 | 0.26213 | 0.99888 | -0.0077665 | 1 | 0 | 32.3621
7 | 0.14703 | 0.037098 | -0.14673 | -0.036985 | 0.00029571 | 0.00011259 | 0.21976 | 0.21976 | 0.21976 | 0.99597 | -0.027876 | 0.99391 | -0.042239 | 27.1304
8 | 0.0086661 | 0.0021715 | -0.0086628 | -0.0021707 | 3.251e-06 | 8.4717e-07 | 0.012956 | 0.012956 | 0.012956 | 0.9953 | -0.03274 | 0.99491 | -0.035451 | 4.7986
9 | -0.0021753 | -0.00054519 | 0.0021754 | 0.00054506 | 9.239e-08 | -1.2977e-07 | 0.0033311 | 0.0033311 | 0.0033311 | 0.97172 | -0.19935 | 0.97176 | -0.19904 | 1.2338
10 | 0.0071733 | 0.0017976 | -0.0071719 | -0.0017973 | 1.3509e-06 | 2.9732e-07 | 0.010984 | 0.010984 | 0.010984 | 0.97176 | -0.19904 | 0.97157 | -0.20041 | 4.0682
11 | -0.0093487 | -0.0023426 | 0.0093505 | 0.0023431 | 1.7628e-06 | 5.0717e-07 | 0.014315 | 0.014315 | 0.014315 | 0.97176 | -0.19904 | 0.97195 | -0.19768 | 5.3019
12 | 0.13821 | 0.034849 | -0.13817 | -0.034834 | 3.7655e-05 | 1.4318e-05 | 0.20699 | 0.20699 | 0.20699 | 0.99391 | -0.042239 | 0.99363 | -0.044183 | 25.5544
13 | 0.008527 | 0.0021369 | -0.0085259 | -0.0021366 | 1.1662e-06 | 2.9995e-07 | 0.012766 | 0.012766 | 0.012766 | 0.99391 | -0.042239 | 0.99377 | -0.043227 | 4.7282
14 | 0.0068414 | 0.0017142 | -0.0068402 | -0.001714 | 1.1633e-06 | 2.1622e-07 | 0.010232 | 0.010232 | 0.010232 | 0.99491 | -0.035451 | 0.99474 | -0.03668 | 3.7897
15 | 0.0042505 | 0.0010649 | -0.0042502 | -0.0010649 | 2.0799e-07 | -2.7036e-08 | 0.0063581 | 0.0063581 | 0.0063581 | 0.99474 | -0.03668 | 0.99469 | -0.037034 | 2.3549
16 | 0.0023121 | 0.00057918 | -0.0023119 | -0.00057942 | 1.798e-07 | -2.4346e-07 | 0.0034587 | 0.0034588 | 0.0034588 | 0.99469 | -0.037034 | 0.99461 | -0.037596 | 1.2811
17 | 0.0047342 | 0.0011863 | -0.0047341 | -0.0011863 | 5.6636e-08 | 4.0254e-10 | 0.0072506 | 0.0072506 | 0.0072506 | 0.97157 | -0.20041 | 0.97156 | -0.20049 | 2.6854
18 | -0.016705 | -0.0041864 | 0.016713 | 0.0041893 | 8.2509e-06 | 2.9227e-06 | 0.025575 | 0.025575 | 0.025575 | 0.97195 | -0.19768 | 0.97245 | -0.19412 | 9.4721
19 | 0.13647 | 0.034408 | -0.13631 | -0.034349 | 0.00015281 | 5.8091e-05 | 0.20444 | 0.20444 | 0.20444 | 0.99363 | -0.044183 | 0.99248 | -0.052184 | 25.2396
20 | 0.0061845 | 0.0015498 | -0.0061842 | -0.0015498 | 3.1655e-07 | 4.511e-08 | 0.0092604 | 0.0092604 | 0.0092604 | 0.99377 | -0.043227 | 0.99371 | -0.043596 | 3.4298
21 | 0.008 | 0.0020047 | -0.0079984 | -0.0020043 | 1.5611e-06 | 3.8809e-07 | 0.012165 | 0.012165 | 0.012165 | 0.97855 | -0.15043 | 0.97835 | -0.15184 | 4.5056
22 | -0.010769 | -0.0026988 | 0.010772 | 0.0026995 | 2.2674e-06 | 7.0182e-07 | 0.016376 | 0.016376 | 0.016376 | 0.97855 | -0.15043 | 0.97876 | -0.14891 | 6.0653
23 | 0.0052619 | 0.0013185 | -0.0052616 | -0.0013184 | 2.98e-07 | 2.0989e-08 | 0.008003 | 0.008003 | 0.008003 | 0.97835 | -0.15184 | 0.97829 | -0.15225 | 2.9641
24 | 0.012957 | 0.0032474 | -0.012949 | -0.0032446 | 8.3905e-06 | 2.7919e-06 | 0.019699 | 0.019699 | 0.019699 | 0.97876 | -0.14891 | 0.97811 | -0.15359 | 7.2959
25 | -0.067349 | -0.016905 | 0.067455 | 0.016944 | 0.00010583 | 3.9888e-05 | 0.1024 | 0.1024 | 0.1024 | 0.97876 | -0.14891 | 0.98035 | -0.13761 | 18.9631
26 | 0.04362 | 0.010958 | -0.043578 | -0.010941 | 4.2837e-05 | 1.628e-05 | 0.066326 | 0.066326 | 0.066326 | 0.97876 | -0.14891 | 0.97777 | -0.15598 | 24.5651
27 | 0.0027709 | 0.00069421 | -0.0027706 | -0.00069439 | 2.4027e-07 | -1.7975e-07 | 0.0042145 | 0.0042146 | 0.0042146 | 0.97829 | -0.15225 | 0.97821 | -0.15288 | 1.561
28 | 0.0036944 | 0.00092553 | -0.0036936 | -0.00092571 | 7.1671e-07 | -1.8063e-07 | 0.0056202 | 0.0056203 | 0.0056203 | 0.97811 | -0.15359 | 0.97791 | -0.15499 | 2.0816
29 | 0.0092543 | 0.0023191 | -0.0092525 | -0.0023186 | 1.7157e-06 | 4.8582e-07 | 0.014079 | 0.014079 | 0.014079 | 0.97811 | -0.15359 | 0.97792 | -0.15493 | 5.2143
30 | -0.069583 | -0.017478 | 0.069638 | 0.017499 | 5.4944e-05 | 2.0734e-05 | 0.10563 | 0.10563 | 0.10563 | 0.98035 | -0.13761 | 0.98114 | -0.13194 | 19.5612
31 | 0.041558 | 0.010435 | -0.041522 | -0.010422 | 3.566e-05 | 1.3536e-05 | 0.063251 | 0.063251 | 0.063251 | 0.97777 | -0.15598 | 0.9769 | -0.16216 | 23.4265
32 | 0.005928 | 0.0014854 | -0.005927 | -0.0014852 | 1.0303e-06 | 1.417e-07 | 0.00902 | 0.0090201 | 0.0090201 | 0.97792 | -0.15493 | 0.97774 | -0.15618 | 3.3408
33 | -0.071756 | -0.018029 | 0.071763 | 0.018032 | 7.9576e-06 | 2.9382e-06 | 0.10884 | 0.10884 | 0.10884 | 0.98114 | -0.13194 | 0.98126 | -0.13114 | 13.4372
34 | 0.040076 | 0.010059 | -0.040026 | -0.01004 | 5.0218e-05 | 1.9045e-05 | 0.061049 | 0.061049 | 0.061049 | 0.9769 | -0.16216 | 0.97564 | -0.17119 | 22.6108
35 | 0.0033545 | 0.00084049 | -0.0033541 | -0.00084063 | 3.4254e-07 | -1.3239e-07 | 0.0051051 | 0.0051052 | 0.0051052 | 0.97774 | -0.15618 | 0.97764 | -0.15692 | 1.8908
36 | -0.074242 | -0.018653 | 0.074286 | 0.01867 | 4.3576e-05 | 1.6133e-05 | 0.1126 | 0.1126 | 0.1126 | 0.98126 | -0.13114 | 0.98185 | -0.12692 | 13.9013
37 | 0.037806 | 0.0094838 | -0.037782 | -0.0094747 | 2.4107e-05 | 9.1271e-06 | 0.057663 | 0.057663 | 0.057663 | 0.97564 | -0.17119 | 0.975 | -0.17579 | 21.3568
38 | -0.0031037 | -0.00077786 | 0.0031038 | 0.00077777 | 1.6299e-07 | -9.0338e-08 | 0.004675 | 0.0046749 | 0.004675 | 0.98788 | -0.084576 | 0.98794 | -0.084197 | 1.7315
39 | -0.0048035 | -0.0012037 | 0.0048043 | 0.0012037 | 8.6555e-07 | -6.4902e-09 | 0.0072349 | 0.0072347 | 0.0072349 | 0.98794 | -0.084197 | 0.98812 | -0.082895 | 2.6796
40 | -0.0069903 | -0.0017516 | 0.0069904 | 0.0017516 | 9.5639e-08 | 1.9067e-08 | 0.010527 | 0.010527 | 0.010527 | 0.98812 | -0.082895 | 0.98813 | -0.082796 | 3.8988
41 | -0.0040386 | -0.0010122 | 0.0040388 | 0.0010121 | 2.4438e-07 | -4.471e-08 | 0.0060479 | 0.0060478 | 0.0060479 | 0.99365 | -0.044034 | 0.99371 | -0.043596 | 2.24
42 | -0.0095952 | -0.0024044 | 0.009597 | 0.0024049 | 1.8335e-06 | 5.2488e-07 | 0.014449 | 0.014449 | 0.014449 | 0.98813 | -0.082796 | 0.98833 | -0.081415 | 5.3515
43 | -0.013114 | -0.0032864 | 0.013116 | 0.0032871 | 2.0742e-06 | 6.8849e-07 | 0.019744 | 0.019744 | 0.019744 | 0.98833 | -0.081415 | 0.98849 | -0.080273 | 7.3126
44 | -0.07602 | -0.019104 | 0.076025 | 0.019106 | 4.7408e-06 | 1.7583e-06 | 0.11523 | 0.11523 | 0.11523 | 0.98185 | -0.12692 | 0.98191 | -0.12648 | 14.2258
45 | -0.077355 | -0.019439 | 0.077381 | 0.019449 | 2.6322e-05 | 9.7745e-06 | 0.11724 | 0.11724 | 0.11724 | 0.98191 | -0.12648 | 0.98226 | -0.12403 | 14.4746
46 | -0.0040281 | -0.0010095 | 0.0040287 | 0.0010094 | 6.5675e-07 | -9.2192e-08 | 0.0061591 | 0.006159 | 0.0061591 | 0.97317 | -0.18892 | 0.97333 | -0.18774 | 2.2811
47 | -0.0042552 | -0.0010662 | 0.0042556 | 0.0010662 | 3.5319e-07 | -3.0414e-08 | 0.0065052 | 0.0065051 | 0.0065052 | 0.97333 | -0.18774 | 0.97342 | -0.18714 | 2.4093
48 | -0.025055 | -0.0062817 | 0.025062 | 0.0062842 | 6.5985e-06 | 2.4483e-06 | 0.038301 | 0.038301 | 0.038301 | 0.97342 | -0.18714 | 0.97368 | -0.18524 | 14.1857
49 | 0.020799 | 0.0052155 | -0.020788 | -0.0052112 | 1.1974e-05 | 4.3697e-06 | 0.031796 | 0.031796 | 0.031796 | 0.97342 | -0.18714 | 0.97284 | -0.1913 | 11.7764
50 | 0.0027483 | 0.00068758 | -0.0027482 | -0.00068764 | 8.1181e-08 | -6.0591e-08 | 0.0041988 | 0.0041988 | 0.0041988 | 0.97386 | -0.18398 | 0.97383 | -0.18419 | 1.5551
51 | -0.0030661 | -0.00076724 | 0.0030665 | 0.00076705 | 3.5276e-07 | -1.8491e-07 | 0.0046844 | 0.0046843 | 0.0046844 | 0.97386 | -0.18398 | 0.97398 | -0.18314 | 1.735
52 | 0.001279 | 0.00031943 | -0.0012789 | -0.0003198 | 7.6228e-08 | -3.6873e-07 | 0.0019539 | 0.0019541 | 0.0019541 | 0.97383 | -0.18419 | 0.97377 | -0.18462 | 0.72373
53 | -0.004488 | -0.0011233 | 0.004488 | 0.0011233 | 7.4855e-09 | -2.9706e-10 | 0.0068561 | 0.0068561 | 0.0068561 | 0.97398 | -0.18314 | 0.97398 | -0.18313 | 2.5393
54 | 0.0012789 | 0.0003198 | -0.0012788 | -0.00032036 | 1.1639e-07 | -5.6282e-07 | 0.0019541 | 0.0019543 | 0.0019543 | 0.97377 | -0.18462 | 0.97368 | -0.18528 | 0.72381
55 | -0.0047511 | -0.0011893 | 0.0047523 | 0.0011893 | 1.1227e-06 | 6.6449e-09 | 0.0072581 | 0.007258 | 0.0072581 | 0.97398 | -0.18313 | 0.97422 | -0.18142 | 2.6882
56 | 0.00029369 | 7.3467e-05 | -0.00029368 | -7.3604e-05 | 1.394e-09 | -1.3741e-07 | 0.00044877 | 0.00044882 | 0.00044882 | 0.97368 | -0.18528 | 0.97367 | -0.18532 | 0.16623
57 | -0.0063224 | -0.0015828 | 0.006324 | 0.0015831 | 1.6105e-06 | 2.7468e-07 | 0.0096561 | 0.009656 | 0.0096561 | 0.97422 | -0.18142 | 0.97447 | -0.17957 | 3.5763
58 | -0.031703 | -0.0079492 | 0.03172 | 0.0079554 | 1.6617e-05 | 6.2496e-06 | 0.048412 | 0.048412 | 0.048412 | 0.97447 | -0.17957 | 0.975 | -0.17579 | 17.9303
59 | 0.025379 | 0.0063661 | -0.025359 | -0.0063587 | 1.9934e-05 | 7.402e-06 | 0.038756 | 0.038756 | 0.038756 | 0.97447 | -0.17957 | 0.97368 | -0.18524 | 14.354
60 | 0.01835 | 0.0046003 | -0.018343 | -0.0045977 | 7.1559e-06 | 2.5716e-06 | 0.028068 | 0.028068 | 0.028068 | 0.97284 | -0.1913 | 0.97245 | -0.19412 | 10.3956
61 | 0.0016458 | 0.00041231 | -0.0016457 | -0.00041246 | 5.6562e-08 | -1.5491e-07 | 0.0025206 | 0.0025207 | 0.0025207 | 0.97156 | -0.20049 | 0.97153 | -0.20074 | 0.93358
62 | -0.0013407 | -0.00033601 | 0.0013407 | 0.00033593 | 1.721e-08 | -8.005e-08 | 0.002019 | 0.002019 | 0.002019 | 0.98812 | -0.082713 | 0.98813 | -0.08262 | 0.74777
63 | -0.0037154 | -0.00093109 | 0.0037156 | 0.00093106 | 1.1213e-07 | -3.0407e-08 | 0.005595 | 0.005595 | 0.005595 | 0.98813 | -0.08262 | 0.98816 | -0.082402 | 2.0722
64 | -0.10074 | -0.025368 | 0.10089 | 0.025421 | 0.00014324 | 5.3941e-05 | 0.15174 | 0.15174 | 0.15174 | 0.98816 | -0.082402 | 0.98961 | -0.072242 | 18.7339
65 | 0.097027 | 0.024436 | -0.096955 | -0.02441 | 7.1415e-05 | 2.685e-05 | 0.14615 | 0.14615 | 0.14615 | 0.98816 | -0.082402 | 0.98741 | -0.087671 | 18.0432
66 | -0.10221 | -0.025754 | 0.10223 | 0.02576 | 1.6584e-05 | 6.2484e-06 | 0.15374 | 0.15374 | 0.15374 | 0.98961 | -0.072242 | 0.98978 | -0.071083 | 18.9799
67 | 0.095001 | 0.02392 | -0.094913 | -0.023887 | 8.8031e-05 | 3.3067e-05 | 0.1432 | 0.1432 | 0.1432 | 0.98741 | -0.087671 | 0.98647 | -0.094309 | 17.6796
68 | -0.10355 | -0.026092 | 0.10358 | 0.026102 | 2.657e-05 | 1.0016e-05 | 0.15573 | 0.15573 | 0.15573 | 0.98978 | -0.071083 | 0.99004 | -0.06925 | 19.226
69 | 0.092847 | 0.023369 | -0.092786 | -0.023346 | 6.1005e-05 | 2.2891e-05 | 0.14009 | 0.14009 | 0.14009 | 0.98647 | -0.094309 | 0.9858 | -0.099018 | 17.2949
70 | -0.13109 | -0.033018 | 0.13112 | 0.033031 | 3.4133e-05 | 1.2964e-05 | 0.19684 | 0.19684 | 0.19684 | 0.99122 | -0.06097 | 0.99149 | -0.059108 | 24.3018
71 | 0.10661 | 0.026878 | -0.10649 | -0.026831 | 0.00012352 | 4.6614e-05 | 0.1601 | 0.1601 | 0.1601 | 0.99122 | -0.06097 | 0.99004 | -0.06925 | 19.7657
72 | 0.02291 | 0.005748 | -0.022874 | -0.0057348 | 3.5715e-05 | 1.3114e-05 | 0.034394 | 0.034394 | 0.034394 | 0.99122 | -0.06097 | 0.98963 | -0.072223 | 12.7387
73 | -0.13462 | -0.033908 | 0.13475 | 0.033957 | 0.00013046 | 4.9581e-05 | 0.2021 | 0.2021 | 0.2021 | 0.99149 | -0.059108 | 0.99248 | -0.052184 | 24.9501
74 | 0.020413 | 0.005118 | -0.020403 | -0.0051146 | 9.3908e-06 | 3.4067e-06 | 0.030694 | 0.030694 | 0.030694 | 0.98963 | -0.072223 | 0.98916 | -0.075545 | 11.3681
75 | 0.017753 | 0.0044504 | -0.017745 | -0.0044475 | 8.0274e-06 | 2.856e-06 | 0.026707 | 0.026707 | 0.026707 | 0.98916 | -0.075545 | 0.9887 | -0.078811 | 9.8915
76 | 0.015453 | 0.0038732 | -0.01545 | -0.0038721 | 3.1268e-06 | 1.0839e-06 | 0.023258 | 0.023258 | 0.023258 | 0.9887 | -0.078811 | 0.98849 | -0.080273 | 8.6141
77 | 0.090839 | 0.022858 | -0.090806 | -0.022846 | 3.2986e-05 | 1.2365e-05 | 0.13715 | 0.13715 | 0.13715 | 0.9858 | -0.099018 | 0.98543 | -0.10162 | 16.9322
78 | 0.088487 | 0.022264 | -0.088421 | -0.02224 | 6.5382e-05 | 2.4475e-05 | 0.13365 | 0.13365 | 0.13365 | 0.98543 | -0.10162 | 0.98468 | -0.10692 | 16.4998
79 | 0.086434 | 0.021742 | -0.086424 | -0.021738 | 9.567e-06 | 3.5768e-06 | 0.13064 | 0.13064 | 0.13064 | 0.98468 | -0.10692 | 0.98457 | -0.10771 | 16.1289
80 | 0.084569 | 0.021273 | -0.08449 | -0.021244 | 7.8997e-05 | 2.9498e-05 | 0.12784 | 0.12784 | 0.12784 | 0.98457 | -0.10771 | 0.98362 | -0.11442 | 15.7828
81 | 0.083025 | 0.020877 | -0.083014 | -0.020873 | 1.1089e-05 | 4.1363e-06 | 0.12563 | 0.12563 | 0.12563 | 0.98362 | -0.11442 | 0.98348 | -0.11538 | 15.5093
82 | 0.080855 | 0.020331 | -0.080798 | -0.02031 | 5.6786e-05 | 2.1147e-05 | 0.12236 | 0.12236 | 0.12236 | 0.98348 | -0.11538 | 0.98277 | -0.12042 | 15.1059
83 | 0.07947 | 0.019978 | -0.07943 | -0.019963 | 3.9955e-05 | 1.4863e-05 | 0.12035 | 0.12035 | 0.12035 | 0.98277 | -0.12042 | 0.98226 | -0.12403 | 14.8578

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.18008 | 0.045268

## res_load
| p_mw | q_mvar
0 | 0.0025898 | 0.00064906
1 | 0.0024899 | 0.00062403
2 | 0.0041217 | 0.001033
3 | 0.0021871 | 0.00054814
4 | 0.0027064 | 0.00067829
5 | 0.0056066 | 0.0014052
6 | 0.0031944 | 0.00080058
7 | 0.0021753 | 0.00054519
8 | 0.0018214 | 0.00045649
9 | 0.0025898 | 0.00064906
10 | 0.0019381 | 0.00048574
11 | 0.0023119 | 0.00057942
12 | 0.0024377 | 0.00061095
13 | 0.0073547 | 0.0018433
14 | 0.0017026 | 0.00042671
15 | 0.0023414 | 0.0005868
16 | 0.0027694 | 0.00069408
17 | 0.0027365 | 0.00068583
18 | 0.0024908 | 0.00062424
19 | 0.0021281 | 0.00053335
20 | 0.0020201 | 0.00050629
21 | 0.0027706 | 0.00069439
22 | 0.0036936 | 0.00092571
23 | 0.0033245 | 0.00083321
24 | 0.0021175 | 0.0005307
25 | 0.0014459 | 0.00036236
26 | 0.0025725 | 0.00064473
27 | 0.0024786 | 0.00062121
28 | 0.00222 | 0.00055638
29 | 0.0033541 | 0.00084063
30 | 0.0031037 | 0.00077786
31 | 0.0016996 | 0.00042596
32 | 0.002186 | 0.00054787
33 | 0.0040386 | 0.0010122
34 | 0.0021454 | 0.00053768
35 | 0.0026048 | 0.00065282
36 | 0.0035169 | 0.00088142
37 | 0.0017346 | 0.00043474
38 | 0.0013301 | 0.00033335
39 | 0.0040281 | 0.0010095
40 | 0.00022647 | 5.6759e-05
41 | 0.00031785 | 7.966e-05
42 | 0.0014692 | 0.00036821
43 | 0.0014215 | 0.00035627
44 | 0.00026313 | 6.5946e-05
45 | 0.00098512 | 0.0002469
46 | 0.0015701 | 0.0003935
47 | 0.00029368 | 7.3604e-05
48 | 0.0024374 | 0.00061087
49 | 0.0016295 | 0.0004084
50 | 0.0002975 | 7.4559e-05
51 | 0.006062 | 0.0015193
52 | 0.0030883 | 0.00077401
53 | 0.0016457 | 0.00041246
54 | 0.0013407 | 0.00033601
55 | 0.0023747 | 0.00059516
56 | 0.0013253 | 0.00033214
57 | 0.0019546 | 0.00048987
58 | 0.001326 | 0.00033232
59 | 0.0020658 | 0.00051774
60 | 0.0015646 | 0.00039213
61 | 0.003499 | 0.00087693
62 | 0.0029089 | 0.00072904
63 | 0.0024612 | 0.00061683
64 | 0.0015642 | 0.00039203
65 | 0.0026503 | 0.00066422
66 | 0.0022917 | 0.00057434
67 | 0.0023344 | 0.00058504
68 | 0.0019465 | 0.00048783
69 | 0.0023195 | 0.00058133
70 | 0.0019877 | 0.00049817
71 | 0.0018553 | 0.00046499
72 | 0.0014643 | 0.000367
73 | 0.0021597 | 0.00054128
74 | 0.0013275 | 0.00033271
75 | 0.0020488 | 0.00051349

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1