## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2545-3_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2545-3_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2545-3_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2545-3_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2545-3_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2545-3_0_2_node_17 | 0.4 | n |  | TRUE
6 | bus_LV_2545-3_0_2_node_18 | 0.4 | n |  | TRUE
7 | bus_LV_2545-3_0_2_node_14 | 0.4 | n |  | TRUE
8 | bus_LV_2545-3_0_2_node_12 | 0.4 | n |  | TRUE
9 | bus_LV_2545-3_0_2_node_25 | 0.4 | n |  | TRUE
10 | bus_LV_2545-3_0_2_node_23 | 0.4 | n |  | TRUE
11 | bus_LV_2545-3_0_2_node_49 | 0.4 | n |  | TRUE
12 | bus_LV_2545-3_0_2_node_28 | 0.4 | n |  | TRUE
13 | bus_LV_2545-3_0_2_node_50 | 0.4 | n |  | TRUE
14 | bus_LV_2545-3_0_2_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_2545-3_0_2_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_2545-3_0_2_node_7 | 0.4 | n |  | TRUE
17 | bus_LV_2545-3_0_2_node_6 | 0.4 | n |  | TRUE
18 | bus_LV_2545-3_0_2_node_8 | 0.4 | n |  | TRUE
19 | bus_LV_2545-3_0_2_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_2545-3_0_2_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_2545-3_0_2_node_36 | 0.4 | n |  | TRUE
22 | bus_LV_2545-3_0_2_node_34 | 0.4 | n |  | TRUE
23 | bus_LV_2545-3_0_2_node_51 | 0.4 | n |  | TRUE
24 | bus_LV_2545-3_0_2_node_59 | 0.4 | n |  | TRUE
25 | bus_LV_2545-3_0_2_node_35 | 0.4 | n |  | TRUE
26 | bus_LV_2545-3_0_2_node_33 | 0.4 | n |  | TRUE
27 | bus_LV_2545-3_0_2_node_52 | 0.4 | n |  | TRUE
28 | bus_LV_2545-3_0_2_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_2545-3_0_2_node_15 | 0.4 | n |  | TRUE
30 | bus_LV_2545-3_0_2_node_53 | 0.4 | n |  | TRUE
31 | bus_LV_2545-3_0_2_node_47 | 0.4 | n |  | TRUE
32 | bus_LV_2545-3_0_2_node_32 | 0.4 | n |  | TRUE
33 | bus_LV_2545-3_0_2_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_2545-3_0_2_node_58 | 0.4 | n |  | TRUE
35 | bus_LV_2545-3_0_2_node_46 | 0.4 | n |  | TRUE
36 | bus_LV_2545-3_0_2_node_54 | 0.4 | n |  | TRUE
37 | bus_LV_2545-3_0_2_node_24 | 0.4 | n |  | TRUE
38 | bus_LV_2545-3_0_2_node_19 | 0.4 | n |  | TRUE
39 | bus_LV_2545-3_0_2_node_20 | 0.4 | n |  | TRUE
40 | bus_LV_2545-3_0_2_node_21 | 0.4 | n |  | TRUE
41 | bus_LV_2545-3_0_2_node_22 | 0.4 | n |  | TRUE
42 | bus_LV_2545-3_0_2_node_48 | 0.4 | n |  | TRUE
43 | bus_LV_2545-3_0_2_node_42 | 0.4 | n |  | TRUE
44 | bus_LV_2545-3_0_2_node_27 | 0.4 | n |  | TRUE
45 | bus_LV_2545-3_0_2_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_2545-3_0_2_node_61 | 0.4 | n |  | TRUE
47 | bus_LV_2545-3_0_2_node_45 | 0.4 | n |  | TRUE
48 | bus_LV_2545-3_0_2_node_44 | 0.4 | n |  | TRUE
49 | bus_LV_2545-3_0_2_node_56 | 0.4 | n |  | TRUE
50 | bus_LV_2545-3_0_2_node_57 | 0.4 | n |  | TRUE
51 | bus_LV_2545-3_0_2_node_55 | 0.4 | n |  | TRUE
52 | bus_LV_2545-3_0_2_node_40 | 0.4 | n |  | TRUE
53 | bus_LV_2545-3_0_2_node_60 | 0.4 | n |  | TRUE
54 | bus_LV_2545-3_0_2_node_43 | 0.4 | n |  | TRUE
55 | bus_LV_2545-3_0_2_node_38 | 0.4 | n |  | TRUE
56 | bus_LV_2545-3_0_2_node_37 | 0.4 | n |  | TRUE
57 | bus_LV_2545-3_0_2_node_39 | 0.4 | n |  | TRUE
58 | bus_MV_292_0_node_72 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2545-3_0_2_load_0 | 0 | 0.011281 | 0.0028272 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2545-3_0_2_load_1 | 1 | 0.0058387 | 0.0014633 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2545-3_0_2_load_18 | 6 | 0.0032379 | 0.00081149 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2545-3_0_2_load_12 | 8 | 0.0081468 | 0.0020418 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2545-3_0_2_load_25 | 9 | 0.0044951 | 0.0011266 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2545-3_0_2_load_23 | 10 | 0.0018964 | 0.00047527 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2545-3_0_2_load_50 | 13 | 0.0109 | 0.0027317 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2545-3_0_2_load_9 | 15 | 0.0062907 | 0.0015766 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2545-3_0_2_load_7 | 16 | 0.011345 | 0.0028433 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2545-3_0_2_load_6 | 17 | 0.004678 | 0.0011724 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2545-3_0_2_load_10 | 19 | 0.0020636 | 0.00051719 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2545-3_0_2_load_51 | 23 | 0.0031607 | 0.00079215 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2545-3_0_2_load_59 | 24 | 0.0090533 | 0.002269 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2545-3_0_2_load_33 | 26 | 0.01011 | 0.0025338 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2545-3_0_2_load_52 | 27 | 0.002245 | 0.00056266 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2545-3_0_2_load_16 | 28 | 0.0080923 | 0.0020281 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2545-3_0_2_load_53 | 30 | 0.0028657 | 0.00071821 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2545-3_0_2_load_47 | 31 | 0.0016974 | 0.00042541 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2545-3_0_2_load_32 | 32 | 0.0090857 | 0.0022771 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2545-3_0_2_load_26 | 33 | 0.0015961 | 0.00040003 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2545-3_0_2_load_58 | 34 | 0.0033513 | 0.00083992 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2545-3_0_2_load_54 | 36 | 0.0034241 | 0.00085816 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2545-3_0_2_load_24 | 37 | 0.0024993 | 0.00062638 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2545-3_0_2_load_19 | 38 | 0.0025875 | 0.00064849 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2545-3_0_2_load_20 | 39 | 0.00052633 | 0.00013191 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2545-3_0_2_load_48 | 42 | 0.0015353 | 0.00038479 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2545-3_0_2_load_42 | 43 | 0.00041314 | 0.00010354 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2545-3_0_2_load_61 | 46 | 0.010755 | 0.0026955 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2545-3_0_2_load_44 | 48 | 0.0046157 | 0.0011568 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2545-3_0_2_load_55 | 51 | 0.0005366 | 0.00013449 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2545-3_0_2_load_60 | 53 | 0.0053496 | 0.0013407 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2545-3_0_2_load_43 | 54 | 0.0074598 | 0.0018696 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2545-3_0_2_load_38 | 55 | 0.0056306 | 0.0014112 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2545-3_0_2_load_37 | 56 | 0.0065223 | 0.0016346 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2545-3_0_2_load_39 | 57 | 0.0088617 | 0.0022209 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 13 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2545-3_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.014052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
1 | LV_2545-3_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.017088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
2 | LV_2545-3_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.024401 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
3 | LV_2545-3_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.007984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_2545-3_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.018834 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2545-3_0_2_line_5 | NAYY 4x150 SE | 3 | 6 | 0.018269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2545-3_0_2_line_6 | NAYY 4x150 SE | 4 | 7 | 0.029613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_2545-3_0_2_line_7 | NAYY 4x150 SE | 4 | 8 | 0.016853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2545-3_0_2_line_8 | NAYY 4x150 SE | 5 | 9 | 0.022048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2545-3_0_2_line_9 | NAYY 4x150 SE | 5 | 10 | 0.014926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2545-3_0_2_line_10 | NAYY 4x150 SE | 6 | 11 | 0.024289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2545-3_0_2_line_11 | NAYY 4x150 SE | 7 | 12 | 0.022774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2545-3_0_2_line_12 | NAYY 4x150 SE | 7 | 13 | 0.030893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
13 | LV_2545-3_0_2_line_13 | NAYY 4x150 SE | 8 | 14 | 0.016827 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2545-3_0_2_line_14 | NAYY 4x150 SE | 9 | 35 | 0.017673 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2545-3_0_2_line_15 | NAYY 4x150 SE | 10 | 37 | 0.022631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2545-3_0_2_line_16 | NAYY 4x150 SE | 11 | 19 | 0.0014447 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2545-3_0_2_line_17 | NAYY 4x150 SE | 12 | 32 | 0.018346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2545-3_0_2_line_18 | NAYY 4x150 SE | 12 | 33 | 0.022365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2545-3_0_2_line_19 | NAYY 4x150 SE | 14 | 28 | 0.0044573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2545-3_0_2_line_20 | NAYY 4x150 SE | 15 | 16 | 0.019613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2545-3_0_2_line_21 | NAYY 4x150 SE | 16 | 17 | 0.020312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2545-3_0_2_line_22 | NAYY 4x150 SE | 17 | 18 | 0.015252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2545-3_0_2_line_23 | NAYY 4x150 SE | 18 | 19 | 0.022879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2545-3_0_2_line_24 | NAYY 4x150 SE | 18 | 20 | 0.002486 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2545-3_0_2_line_25 | NAYY 4x150 SE | 20 | 21 | 0.079385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2545-3_0_2_line_26 | NAYY 4x150 SE | 20 | 22 | 0.04675 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2545-3_0_2_line_27 | NAYY 4x150 SE | 20 | 23 | 0.012355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2545-3_0_2_line_28 | NAYY 4x150 SE | 21 | 24 | 0.1009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2545-3_0_2_line_29 | NAYY 4x150 SE | 22 | 25 | 0.031702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2545-3_0_2_line_30 | NAYY 4x150 SE | 22 | 26 | 0.013219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2545-3_0_2_line_31 | NAYY 4x150 SE | 23 | 27 | 0.026853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2545-3_0_2_line_32 | NAYY 4x150 SE | 25 | 52 | 0.051352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2545-3_0_2_line_33 | NAYY 4x150 SE | 25 | 53 | 0.018527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2545-3_0_2_line_34 | NAYY 4x150 SE | 29 | 30 | 0.0037262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2545-3_0_2_line_35 | NAYY 4x150 SE | 29 | 31 | 0.019457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2545-3_0_2_line_36 | NAYY 4x150 SE | 30 | 34 | 0.018546 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2545-3_0_2_line_37 | NAYY 4x150 SE | 31 | 35 | 0.019248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2545-3_0_2_line_38 | NAYY 4x150 SE | 32 | 36 | 0.020621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2545-3_0_2_line_39 | NAYY 4x150 SE | 33 | 44 | 0.0015155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2545-3_0_2_line_40 | NAYY 4x150 SE | 34 | 50 | 0.011792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2545-3_0_2_line_41 | NAYY 4x150 SE | 35 | 42 | 0.048093 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2545-3_0_2_line_42 | NAYY 4x150 SE | 38 | 39 | 0.015801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2545-3_0_2_line_43 | NAYY 4x150 SE | 38 | 40 | 0.030711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2545-3_0_2_line_44 | NAYY 4x150 SE | 40 | 41 | 0.044869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2545-3_0_2_line_45 | NAYY 4x150 SE | 41 | 42 | 0.0263 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_2545-3_0_2_line_46 | NAYY 4x150 SE | 41 | 43 | 0.021638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_2545-3_0_2_line_47 | NAYY 4x150 SE | 44 | 45 | 0.035635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_2545-3_0_2_line_48 | NAYY 4x150 SE | 45 | 46 | 0.007348 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_2545-3_0_2_line_49 | NAYY 4x150 SE | 45 | 47 | 0.046986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_2545-3_0_2_line_50 | NAYY 4x150 SE | 47 | 48 | 0.0087675 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_2545-3_0_2_line_51 | NAYY 4x150 SE | 49 | 50 | 0.029945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_2545-3_0_2_line_52 | NAYY 4x150 SE | 49 | 51 | 0.0084904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_2545-3_0_2_line_53 | NAYY 4x150 SE | 52 | 54 | 0.027736 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_2545-3_0_2_line_54 | NAYY 4x150 SE | 52 | 55 | 0.029079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_2545-3_0_2_line_55 | NAYY 4x150 SE | 55 | 56 | 0.036786 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_2545-3_0_2_line_56 | NAYY 4x150 SE | 56 | 57 | 0.03431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2545-3_0_2_trafo_50 | 0.25 MVA 20/0.4 kV | 58 | 13 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2611913.7327 | 1231960.2663 | 2611901.444 | 1231953.4515
1 | 2611928.6744 | 1231968.5578 | 2611915.0828 | 1231961.015 | 2611913.7327 | 1231960.2663
2 | 2611880.1015 | 1231941.6226 | 2611882.416 | 1231942.9058 | 2611898.5036 | 1231951.8209 | 2611901.444 | 1231953.4515
3 | 2611928.6744 | 1231968.5578 | 2611935.6706 | 1231972.4407
4 | 2611880.1015 | 1231941.6226 | 2611890.8466 | 1231926.1347
5 | 2611880.1015 | 1231941.6226 | 2611869.2444 | 1231956.3159
6 | 2611962.6927 | 1231984.691 | 2611954.0225 | 1231981.1604 | 2611942.9776 | 1231976.1576 | 2611936.5026 | 1231972.8982 | 2611935.6706 | 1231972.4407
7 | 2611935.6706 | 1231972.4407 | 2611944.88 | 1231958.3267
8 | 2611890.8466 | 1231926.1347 | 2611905.6672 | 1231909.8112
9 | 2611890.8466 | 1231926.1347 | 2611880.8753 | 1231915.0283
10 | 2611857.4509 | 1231977.5326 | 2611868.2727 | 1231957.631 | 2611869.2444 | 1231956.3159
11 | 2611962.6927 | 1231984.691 | 2611968.6015 | 1231987.1043 | 2611982.1679 | 1231992.0122 | 2611984.0975 | 1231992.6165
12 | 2611962.6927 | 1231984.691 | 2611955.883 | 1232001.154 | 2611949.294 | 1231998.1056 | 2611946.9598 | 1232003.4342
13 | 2611955.4873 | 1231945.3752 | 2611949.1823 | 1231951.7331 | 2611944.88 | 1231958.3267
14 | 2611916.878 | 1231896.1574 | 2611908.3989 | 1231906.8024 | 2611905.6672 | 1231909.8112
15 | 2611865.8363 | 1231898.1184 | 2611868.0979 | 1231900.7964 | 2611880.8753 | 1231915.0283
16 | 2611857.4509 | 1231977.5326 | 2611856.7601 | 1231978.8014
17 | 2611984.0975 | 1231992.6165 | 2611991.2608 | 1231975.7265
18 | 2611984.0975 | 1231992.6165 | 2611996.3713 | 1231996.4545 | 2612005.4431 | 1231999.2919
19 | 2611955.4873 | 1231945.3752 | 2611959.5202 | 1231947.2732
20 | 2611880.5316 | 1232013.4417 | 2611898.7022 | 1232020.8244
21 | 2611861.7134 | 1232005.7959 | 2611880.5316 | 1232013.4417
22 | 2611847.692 | 1231999.7933 | 2611861.0147 | 1232005.512 | 2611861.7134 | 1232005.7959
23 | 2611847.692 | 1231999.7933 | 2611855.5282 | 1231981.0642 | 2611856.7601 | 1231978.8014
24 | 2611846.8318 | 1232002.1263 | 2611847.692 | 1231999.7933
25 | 2611846.8318 | 1232002.1263 | 2611845.3386 | 1232006.7261 | 2611842.9191 | 1232016.416 | 2611841.1157 | 1232020.904 | 2611839.8924 | 1232023.0585 | 2611837.2274 | 1232026.7665 | 2611839.4112 | 1232028.9944 | 2611840.7458 | 1232031.821 | 2611841.0879 | 1232034.9235 | 2611840.3929 | 1232037.9573 | 2611838.7521 | 1232040.6112 | 2611836.3253 | 1232042.5854 | 2611862.5868 | 1232064.1059
26 | 2611846.8318 | 1232002.1263 | 2611845.3386 | 1232006.7261 | 2611842.9191 | 1232016.416 | 2611858.6514 | 1232017.3811 | 2611874.554 | 1232020.2811
27 | 2611846.8318 | 1232002.1263 | 2611843.4117 | 1232000.941 | 2611835.1661 | 1231998.0557
28 | 2611862.5868 | 1232064.1059 | 2611882.199 | 1232078.598 | 2611929.2985 | 1232111.0002 | 2611946.3592 | 1232120.1173
29 | 2611903.8702 | 1232032.5357 | 2611889.6478 | 1232026.2592 | 2611874.554 | 1232020.2811
30 | 2611874.554 | 1232020.2811 | 2611865.9007 | 1232030.2748
31 | 2611835.1661 | 1231998.0557 | 2611828.6493 | 1231995.7753 | 2611810.4938 | 1231987.5087
32 | 2611903.8702 | 1232032.5357 | 2611951.3965 | 1232052.3202
33 | 2611903.8702 | 1232032.5357 | 2611895.834 | 1232049.2293
34 | 2611951.2341 | 1231913.9811 | 2611954.5729 | 1231915.6357
35 | 2611951.2341 | 1231913.9811 | 2611933.9626 | 1231905.0225
36 | 2611971.1905 | 1231923.8708 | 2611954.5729 | 1231915.6357
37 | 2611916.878 | 1231896.1574 | 2611919.7978 | 1231897.6752 | 2611933.9626 | 1231905.0225
38 | 2612008.8697 | 1231967.6623 | 2611992.8085 | 1231972.0771 | 2611991.2608 | 1231975.7265
39 | 2612006.8895 | 1231999.7443 | 2612005.4431 | 1231999.2919
40 | 2611981.7565 | 1231929.1069 | 2611971.1905 | 1231923.8708
41 | 2611916.878 | 1231896.1574 | 2611924.8353 | 1231881.4088 | 2611938.1018 | 1231853.0212
42 | 2611934.25 | 1231765.402 | 2611947.4061 | 1231774.153
43 | 2611972.977 | 1231791.162 | 2611947.4061 | 1231774.153
44 | 2611972.977 | 1231791.162 | 2611968.0156 | 1231803.3593 | 2611951.9803 | 1231828.6758 | 2611950.9401 | 1231830.0968
45 | 2611950.9401 | 1231830.0968 | 2611941.0101 | 1231846.7981 | 2611938.1018 | 1231853.0212
46 | 2611950.9401 | 1231830.0968 | 2611945.227 | 1231820.613 | 2611940.6298 | 1231811.099
47 | 2611990.8566 | 1232031.5868 | 2612006.8895 | 1231999.7443
48 | 2611990.8566 | 1232031.5868 | 2611984.5722 | 1232027.7496
49 | 2611990.8566 | 1232031.5868 | 2611997.7555 | 1232034.847 | 2611995.612 | 1232038.9897 | 2612020.069 | 1232050.1789 | 2612023.5738 | 1232043.115
50 | 2612023.5738 | 1232043.115 | 2612027.4623 | 1232035.257
51 | 2611981.7565 | 1231929.1069 | 2611995.1445 | 1231902.3065
52 | 2611995.1445 | 1231902.3065 | 2611998.9426 | 1231894.7131
53 | 2611951.3965 | 1232052.3202 | 2611949.4352 | 1232056.2186 | 2611938.9293 | 1232077.1102
54 | 2611951.3965 | 1232052.3202 | 2611956.1474 | 1232054.3754 | 2611977.5109 | 1232065.0964
55 | 2611977.5109 | 1232065.0964 | 2611983.106 | 1232067.9042 | 2612001.905 | 1232079.9825 | 2612008.3499 | 1232085.0212
56 | 2612035.3797 | 1232106.1532 | 2612008.3499 | 1232085.0212

## bus_geodata
| x | y | coords
0 | 2611913.7327 | 1231960.2663
1 | 2611901.444 | 1231953.4515
2 | 2611928.6744 | 1231968.5578
3 | 2611880.1015 | 1231941.6226
4 | 2611935.6706 | 1231972.4407
5 | 2611890.8466 | 1231926.1347
6 | 2611869.2444 | 1231956.3159
7 | 2611962.6927 | 1231984.691
8 | 2611944.88 | 1231958.3267
9 | 2611905.6672 | 1231909.8112
10 | 2611880.8753 | 1231915.0283
11 | 2611857.4509 | 1231977.5326
12 | 2611984.0975 | 1231992.6165
13 | 2611946.9598 | 1232003.4342
14 | 2611955.4873 | 1231945.3752
15 | 2611898.7022 | 1232020.8244
16 | 2611880.5316 | 1232013.4417
17 | 2611861.7134 | 1232005.7959
18 | 2611847.692 | 1231999.7933
19 | 2611856.7601 | 1231978.8014
20 | 2611846.8318 | 1232002.1263
21 | 2611862.5868 | 1232064.1059
22 | 2611874.554 | 1232020.2811
23 | 2611835.1661 | 1231998.0557
24 | 2611946.3592 | 1232120.1173
25 | 2611903.8702 | 1232032.5357
26 | 2611865.9007 | 1232030.2748
27 | 2611810.4938 | 1231987.5087
28 | 2611959.5202 | 1231947.2732
29 | 2611951.2341 | 1231913.9811
30 | 2611954.5729 | 1231915.6357
31 | 2611933.9626 | 1231905.0225
32 | 2611991.2608 | 1231975.7265
33 | 2612005.4431 | 1231999.2919
34 | 2611971.1905 | 1231923.8708
35 | 2611916.878 | 1231896.1574
36 | 2612008.8697 | 1231967.6623
37 | 2611865.8363 | 1231898.1184
38 | 2611947.4061 | 1231774.153
39 | 2611934.25 | 1231765.402
40 | 2611972.977 | 1231791.162
41 | 2611950.9401 | 1231830.0968
42 | 2611938.1018 | 1231853.0212
43 | 2611940.6298 | 1231811.099
44 | 2612006.8895 | 1231999.7443
45 | 2611990.8566 | 1232031.5868
46 | 2611984.5722 | 1232027.7496
47 | 2612023.5738 | 1232043.115
48 | 2612027.4623 | 1232035.257
49 | 2611995.1445 | 1231902.3065
50 | 2611981.7565 | 1231929.1069
51 | 2611998.9426 | 1231894.7131
52 | 2611951.3965 | 1232052.3202
53 | 2611895.834 | 1232049.2293
54 | 2611938.9293 | 1232077.1102
55 | 2611977.5109 | 1232065.0964
56 | 2612008.3499 | 1232085.0212
57 | 2612035.3797 | 1232106.1532
58 | 2611941.5389 | 1232010.253

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99083 | -0.063691 | 0.011281 | 0.0028272
1 | 0.98966 | -0.071868 | 0.0058387 | 0.0014633
2 | 0.99239 | -0.052795 | 0 | 0
3 | 0.98773 | -0.085385 | 0 | 0
4 | 0.99312 | -0.047716 | 0 | 0
5 | 0.98712 | -0.089712 | 0 | 0
6 | 0.98543 | -0.10151 | 0.0032379 | 0.00081149
7 | 0.99617 | -0.026523 | 0 | 0
8 | 0.99272 | -0.050487 | 0.0081468 | 0.0020418
9 | 0.98654 | -0.093788 | 0.0044951 | 0.0011266
10 | 0.98702 | -0.090384 | 0.0018964 | 0.00047527
11 | 0.9825 | -0.12225 | 0 | 0
12 | 0.9952 | -0.033285 | 0 | 0
13 | 1 | 0 | -0.17486 | -0.04398
14 | 0.99253 | -0.051867 | 0 | 0
15 | 0.97843 | -0.15121 | 0.0062907 | 0.0015766
16 | 0.9786 | -0.14992 | 0.011345 | 0.0028433
17 | 0.97913 | -0.14619 | 0.004678 | 0.0011724
18 | 0.97962 | -0.14265 | 0 | 0
19 | 0.98232 | -0.12348 | 0.0020636 | 0.00051719
20 | 0.97941 | -0.14416 | 0 | 0
21 | 0.97836 | -0.15165 | 0 | 0
22 | 0.9764 | -0.1656 | 0 | 0
23 | 0.97931 | -0.14485 | 0.0031607 | 0.00079215
24 | 0.97703 | -0.1612 | 0.0090533 | 0.002269
25 | 0.97483 | -0.17685 | 0 | 0
26 | 0.97621 | -0.167 | 0.01011 | 0.0025338
27 | 0.97923 | -0.14548 | 0.002245 | 0.00056266
28 | 0.99248 | -0.052232 | 0.0080923 | 0.0020281
29 | 0.98577 | -0.099265 | 0 | 0
30 | 0.98574 | -0.099524 | 0.0028657 | 0.00071821
31 | 0.98596 | -0.097914 | 0.0016974 | 0.00042541
32 | 0.99487 | -0.035599 | 0.0090857 | 0.0022771
33 | 0.99466 | -0.037113 | 0.0015961 | 0.00040003
34 | 0.98563 | -0.10027 | 0.0033513 | 0.00083992
35 | 0.9862 | -0.096243 | 0 | 0
36 | 0.99477 | -0.036311 | 0.0034241 | 0.00085816
37 | 0.98694 | -0.090964 | 0.0024993 | 0.00062638
38 | 0.98537 | -0.10213 | 0.0025875 | 0.00064849
39 | 0.98536 | -0.10221 | 0.00052633 | 0.00013191
40 | 0.98551 | -0.10114 | 0 | 0
41 | 0.98571 | -0.099706 | 0 | 0
42 | 0.98585 | -0.09875 | 0.0015353 | 0.00038479
43 | 0.9857 | -0.099798 | 0.00041314 | 0.00010354
44 | 0.99463 | -0.037348 | 0 | 0
45 | 0.99384 | -0.042881 | 0 | 0
46 | 0.99373 | -0.04368 | 0.010755 | 0.0026955
47 | 0.99353 | -0.045075 | 0 | 0
48 | 0.99347 | -0.045484 | 0.0046157 | 0.0011568
49 | 0.9856 | -0.1005 | 0 | 0
50 | 0.98562 | -0.10033 | 0 | 0
51 | 0.98559 | -0.10054 | 0.0005366 | 0.00013449
52 | 0.97268 | -0.19225 | 0 | 0
53 | 0.97468 | -0.1779 | 0.0053496 | 0.0013407
54 | 0.97238 | -0.19444 | 0.0074598 | 0.0018696
55 | 0.97179 | -0.19871 | 0.0056306 | 0.0014112
56 | 0.97095 | -0.2047 | 0.0065223 | 0.0016346
57 | 0.97051 | -0.20792 | 0.0088617 | 0.0022209
58 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.11564 | 0.029153 | -0.1155 | -0.029102 | 0.00013231 | 5.0528e-05 | 0.17372 | 0.17372 | 0.17372 | 0.99083 | -0.063691 | 0.98966 | -0.071868 | 32.171
1 | -0.12692 | -0.03198 | 0.12711 | 0.032054 | 0.00019381 | 7.4103e-05 | 0.19066 | 0.19066 | 0.19066 | 0.99083 | -0.063691 | 0.99239 | -0.052795 | 35.3082
2 | 0.10967 | 0.027639 | -0.10946 | -0.02756 | 0.00020713 | 7.9039e-05 | 0.16494 | 0.16494 | 0.16494 | 0.98966 | -0.071868 | 0.98773 | -0.085385 | 30.5453
3 | -0.12711 | -0.032054 | 0.1272 | 0.032089 | 9.0555e-05 | 3.4622e-05 | 0.19066 | 0.19066 | 0.19066 | 0.99239 | -0.052795 | 0.99312 | -0.047716 | 35.3082
4 | 0.02244 | 0.0056238 | -0.022427 | -0.0056189 | 1.3431e-05 | 4.9249e-06 | 0.033806 | 0.033806 | 0.033806 | 0.98773 | -0.085385 | 0.98712 | -0.089712 | 12.5208
5 | 0.087018 | 0.021936 | -0.086822 | -0.021861 | 0.00019605 | 7.5171e-05 | 0.13114 | 0.13114 | 0.13114 | 0.98773 | -0.085385 | 0.98543 | -0.10151 | 48.5699
6 | -0.14345 | -0.036161 | 0.14388 | 0.036325 | 0.00042712 | 0.00016351 | 0.21501 | 0.21501 | 0.21501 | 0.99312 | -0.047716 | 0.99617 | -0.026523 | 39.8163
7 | 0.016247 | 0.0040725 | -0.016241 | -0.0040704 | 6.2322e-06 | 2.179e-06 | 0.024344 | 0.024344 | 0.024344 | 0.99312 | -0.047716 | 0.99272 | -0.050487 | 9.0163
8 | 0.01803 | 0.0045175 | -0.01802 | -0.0045138 | 1.0163e-05 | 3.6272e-06 | 0.027179 | 0.027179 | 0.027179 | 0.98712 | -0.089712 | 0.98654 | -0.093788 | 10.0664
9 | 0.0043963 | 0.0011014 | -0.0043959 | -0.0011014 | 4.0903e-07 | -3.3467e-08 | 0.0066269 | 0.006627 | 0.006627 | 0.98712 | -0.089712 | 0.98702 | -0.090384 | 2.4544
10 | 0.083584 | 0.02105 | -0.083343 | -0.020957 | 0.00024157 | 9.2604e-05 | 0.12625 | 0.12625 | 0.12625 | 0.98543 | -0.10151 | 0.9825 | -0.12225 | 46.7591
11 | 0.029533 | 0.0074068 | -0.029505 | -0.0073965 | 2.7659e-05 | 1.0342e-05 | 0.044117 | 0.044117 | 0.044117 | 0.99617 | -0.026523 | 0.9952 | -0.033285 | 16.3395
12 | -0.17341 | -0.043732 | 0.17406 | 0.04398 | 0.00064719 | 0.00024811 | 0.25912 | 0.25912 | 0.25912 | 0.99617 | -0.026523 | 1 | 0 | 47.986
13 | 0.0080942 | 0.0020286 | -0.0080927 | -0.0020282 | 1.5456e-06 | 3.7696e-07 | 0.012133 | 0.012133 | 0.012133 | 0.99272 | -0.050487 | 0.99253 | -0.051867 | 4.4936
14 | 0.013525 | 0.0033872 | -0.01352 | -0.0033857 | 4.589e-06 | 1.5394e-06 | 0.020399 | 0.020399 | 0.020399 | 0.98654 | -0.093788 | 0.9862 | -0.096243 | 7.5553
15 | 0.0024995 | 0.00062617 | -0.0024993 | -0.00062638 | 2.0052e-07 | -2.1211e-07 | 0.0037681 | 0.0037682 | 0.0037682 | 0.98702 | -0.090384 | 0.98694 | -0.090964 | 1.3956
16 | 0.083343 | 0.020957 | -0.083328 | -0.020951 | 1.4369e-05 | 5.5083e-06 | 0.12625 | 0.12625 | 0.12625 | 0.9825 | -0.12225 | 0.98232 | -0.12348 | 46.7591
17 | 0.012514 | 0.0031364 | -0.01251 | -0.0031351 | 4.008e-06 | 1.3032e-06 | 0.018711 | 0.018711 | 0.018711 | 0.9952 | -0.033285 | 0.99487 | -0.035599 | 6.93
18 | 0.016991 | 0.0042601 | -0.016982 | -0.0042569 | 9.0079e-06 | 3.1741e-06 | 0.025406 | 0.025406 | 0.025406 | 0.9952 | -0.033285 | 0.99466 | -0.037113 | 9.4096
19 | 0.0080927 | 0.0020282 | -0.0080923 | -0.0020281 | 4.0942e-07 | 9.9866e-08 | 0.012133 | 0.012133 | 0.012133 | 0.99253 | -0.051867 | 0.99248 | -0.052232 | 4.4936
20 | -0.0062907 | -0.0015766 | 0.0062918 | 0.0015768 | 1.1202e-06 | 1.8446e-07 | 0.009567 | 0.0095669 | 0.009567 | 0.97843 | -0.15121 | 0.9786 | -0.14992 | 3.5433
21 | -0.017637 | -0.00442 | 0.017646 | 0.0044233 | 9.1152e-06 | 3.2505e-06 | 0.026817 | 0.026817 | 0.026817 | 0.9786 | -0.14992 | 0.97913 | -0.14619 | 9.9323
22 | -0.022324 | -0.0055957 | 0.022335 | 0.0055997 | 1.0955e-05 | 4.0214e-06 | 0.033927 | 0.033926 | 0.033927 | 0.97913 | -0.14619 | 0.97962 | -0.14265 | 12.5654
23 | -0.081048 | -0.020351 | 0.081265 | 0.020434 | 0.00021642 | 8.295e-05 | 0.12312 | 0.12312 | 0.12312 | 0.97962 | -0.14265 | 0.98232 | -0.12348 | 45.6014
24 | 0.058714 | 0.014752 | -0.058701 | -0.014747 | 1.2342e-05 | 4.7157e-06 | 0.089197 | 0.089197 | 0.089197 | 0.97962 | -0.14265 | 0.97941 | -0.14416 | 33.0361
25 | 0.0090747 | 0.0022749 | -0.0090653 | -0.0022723 | 9.4167e-06 | 2.6239e-06 | 0.013787 | 0.013788 | 0.013788 | 0.97941 | -0.14416 | 0.97836 | -0.15165 | 5.1066
26 | 0.04422 | 0.011117 | -0.044088 | -0.011067 | 0.00013172 | 5.0076e-05 | 0.067196 | 0.067196 | 0.067196 | 0.97941 | -0.14416 | 0.9764 | -0.1656 | 24.8875
27 | 0.0054065 | 0.0013546 | -0.005406 | -0.0013546 | 5.2017e-07 | 4.4593e-08 | 0.0082139 | 0.008214 | 0.008214 | 0.97941 | -0.14416 | 0.97931 | -0.14485 | 3.0422
28 | 0.0090653 | 0.0022723 | -0.0090533 | -0.002269 | 1.1969e-05 | 3.3383e-06 | 0.013788 | 0.013788 | 0.013788 | 0.97836 | -0.15165 | 0.97703 | -0.1612 | 5.1068
29 | 0.033976 | 0.0085329 | -0.033923 | -0.0085129 | 5.3051e-05 | 2.0008e-05 | 0.051786 | 0.051786 | 0.051786 | 0.9764 | -0.1656 | 0.97483 | -0.17685 | 19.18
30 | 0.010112 | 0.0025344 | -0.01011 | -0.0025338 | 1.959e-06 | 5.8814e-07 | 0.01541 | 0.01541 | 0.01541 | 0.9764 | -0.1656 | 0.97621 | -0.167 | 5.7076
31 | 0.0022452 | 0.0005624 | -0.002245 | -0.00056266 | 1.9501e-07 | -2.6283e-07 | 0.0034114 | 0.0034115 | 0.0034115 | 0.97931 | -0.14485 | 0.97923 | -0.14548 | 1.2635
32 | 0.028573 | 0.0071721 | -0.028512 | -0.0071493 | 6.0967e-05 | 2.281e-05 | 0.043619 | 0.043619 | 0.043619 | 0.97483 | -0.17685 | 0.97268 | -0.19225 | 16.1553
33 | 0.0053503 | 0.0013408 | -0.0053496 | -0.0013407 | 7.7111e-07 | 6.5634e-08 | 0.0081669 | 0.008167 | 0.008167 | 0.97483 | -0.17685 | 0.97468 | -0.1779 | 3.0248
34 | 0.0067543 | 0.0016919 | -0.006754 | -0.0016919 | 2.4168e-07 | 4.5452e-08 | 0.010195 | 0.010195 | 0.010195 | 0.98577 | -0.099265 | 0.98574 | -0.099524 | 3.776
35 | -0.0067543 | -0.0016919 | 0.0067555 | 0.0016922 | 1.262e-06 | 2.3727e-07 | 0.010195 | 0.010195 | 0.010195 | 0.98577 | -0.099265 | 0.98596 | -0.097914 | 3.776
36 | 0.0038884 | 0.00097369 | -0.003888 | -0.00097378 | 3.9868e-07 | -8.3058e-08 | 0.0058694 | 0.0058694 | 0.0058694 | 0.98574 | -0.099524 | 0.98563 | -0.10027 | 2.1739
37 | -0.0084529 | -0.0021176 | 0.0084549 | 0.0021181 | 1.9545e-06 | 5.0621e-07 | 0.012757 | 0.012757 | 0.012757 | 0.98596 | -0.097914 | 0.9862 | -0.096243 | 4.7248
38 | 0.0034244 | 0.00085802 | -0.0034241 | -0.00085816 | 3.3755e-07 | -1.3791e-07 | 0.0051218 | 0.0051219 | 0.0051219 | 0.99487 | -0.035599 | 0.99477 | -0.036311 | 1.897
39 | 0.015386 | 0.0038569 | -0.015386 | -0.0038567 | 5.0106e-07 | 1.7304e-07 | 0.023018 | 0.023018 | 0.023018 | 0.99466 | -0.037113 | 0.99463 | -0.037348 | 8.5252
40 | 0.00053662 | 0.00013385 | -0.00053662 | -0.000134 | 4.8271e-09 | -1.4843e-07 | 0.00080992 | 0.00080997 | 0.00080997 | 0.98563 | -0.10027 | 0.98562 | -0.10033 | 0.29999
41 | 0.0050656 | 0.0012676 | -0.0050638 | -0.0012675 | 1.7528e-06 | 6.0738e-08 | 0.0076424 | 0.0076427 | 0.0076427 | 0.9862 | -0.096243 | 0.98585 | -0.09875 | 2.8306
42 | 0.00052634 | 0.00013171 | -0.00052633 | -0.00013191 | 6.2283e-09 | -1.9888e-07 | 0.00079475 | 0.00079482 | 0.00079482 | 0.98537 | -0.10213 | 0.98536 | -0.10221 | 0.29438
43 | -0.0031138 | -0.0007802 | 0.0031143 | 0.00077997 | 4.237e-07 | -2.283e-07 | 0.0047022 | 0.004702 | 0.0047022 | 0.98537 | -0.10213 | 0.98551 | -0.10114 | 1.7415
44 | -0.0031143 | -0.00077997 | 0.0031149 | 0.00077964 | 6.1899e-07 | -3.3376e-07 | 0.004702 | 0.0047018 | 0.004702 | 0.98551 | -0.10114 | 0.98571 | -0.099706 | 1.7415
45 | -0.003528 | -0.00088291 | 0.0035285 | 0.00088275 | 4.654e-07 | -1.5629e-07 | 0.0053254 | 0.0053253 | 0.0053254 | 0.98571 | -0.099706 | 0.98585 | -0.09875 | 1.9724
46 | 0.00041315 | 0.00010327 | -0.00041314 | -0.00010354 | 5.2513e-09 | -2.738e-07 | 0.00062358 | 0.00062368 | 0.00062368 | 0.98571 | -0.099706 | 0.9857 | -0.099798 | 0.23099
47 | 0.015386 | 0.0038567 | -0.015374 | -0.0038526 | 1.1782e-05 | 4.0692e-06 | 0.023018 | 0.023018 | 0.023018 | 0.99463 | -0.037348 | 0.99384 | -0.042881 | 8.5253
48 | 0.010757 | 0.0026959 | -0.010755 | -0.0026955 | 1.1893e-06 | 3.6221e-07 | 0.016105 | 0.016105 | 0.016105 | 0.99384 | -0.042881 | 0.99373 | -0.04368 | 5.9649
49 | 0.0046173 | 0.0011567 | -0.0046159 | -0.0011568 | 1.4012e-06 | -6.9725e-08 | 0.0069131 | 0.0069133 | 0.0069133 | 0.99384 | -0.042881 | 0.99353 | -0.045075 | 2.5605
50 | 0.0046159 | 0.0011568 | -0.0046157 | -0.0011568 | 2.6148e-07 | -1.2965e-08 | 0.0069133 | 0.0069133 | 0.0069133 | 0.99353 | -0.045075 | 0.99347 | -0.045484 | 2.5605
51 | -0.00053661 | -0.00013438 | 0.00053662 | 0.000134 | 1.2261e-08 | -3.7692e-07 | 0.00081011 | 0.00080997 | 0.00081011 | 0.9856 | -0.1005 | 0.98562 | -0.10033 | 0.30004
52 | 0.00053661 | 0.00013438 | -0.0005366 | -0.00013449 | 3.4771e-09 | -1.0686e-07 | 0.00081011 | 0.00081014 | 0.00081014 | 0.9856 | -0.1005 | 0.98559 | -0.10054 | 0.30005
53 | 0.0074621 | 0.0018701 | -0.0074598 | -0.0018696 | 2.2554e-06 | 5.233e-07 | 0.011416 | 0.011416 | 0.011416 | 0.97268 | -0.19225 | 0.97238 | -0.19444 | 4.228
54 | 0.02105 | 0.0052792 | -0.021031 | -0.0052723 | 1.8818e-05 | 6.8772e-06 | 0.032204 | 0.032204 | 0.032204 | 0.97268 | -0.19225 | 0.97179 | -0.19871 | 11.9274
55 | 0.015401 | 0.0038611 | -0.015388 | -0.0038567 | 1.2765e-05 | 4.4544e-06 | 0.023582 | 0.023582 | 0.023582 | 0.97179 | -0.19871 | 0.97095 | -0.2047 | 8.7342
56 | 0.0088656 | 0.002222 | -0.0088617 | -0.0022209 | 3.9523e-06 | 1.0959e-06 | 0.013587 | 0.013587 | 0.013587 | 0.97095 | -0.2047 | 0.97051 | -0.20792 | 5.0322

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.18576 | 0.046712

## res_load
| p_mw | q_mvar
0 | 0.011281 | 0.0028272
1 | 0.0058387 | 0.0014633
2 | 0.0032379 | 0.00081149
3 | 0.0081468 | 0.0020418
4 | 0.0044951 | 0.0011266
5 | 0.0018964 | 0.00047527
6 | 0.0109 | 0.0027317
7 | 0.0062907 | 0.0015766
8 | 0.011345 | 0.0028433
9 | 0.004678 | 0.0011724
10 | 0.0020636 | 0.00051719
11 | 0.0031607 | 0.00079215
12 | 0.0090533 | 0.002269
13 | 0.01011 | 0.0025338
14 | 0.002245 | 0.00056266
15 | 0.0080923 | 0.0020281
16 | 0.0028657 | 0.00071821
17 | 0.0016974 | 0.00042541
18 | 0.0090857 | 0.0022771
19 | 0.0015961 | 0.00040003
20 | 0.0033513 | 0.00083992
21 | 0.0034241 | 0.00085816
22 | 0.0024993 | 0.00062638
23 | 0.0025875 | 0.00064849
24 | 0.00052633 | 0.00013191
25 | 0.0015353 | 0.00038479
26 | 0.00041314 | 0.00010354
27 | 0.010755 | 0.0026955
28 | 0.0046157 | 0.0011568
29 | 0.0005366 | 0.00013449
30 | 0.0053496 | 0.0013407
31 | 0.0074598 | 0.0018696
32 | 0.0056306 | 0.0014112
33 | 0.0065223 | 0.0016346
34 | 0.0088617 | 0.0022209

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1