## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2575-9_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2575-9_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2575-9_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2575-9_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2575-9_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2575-9_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2575-9_0_2_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_2575-9_0_2_node_13 | 0.4 | n |  | TRUE
8 | bus_LV_2575-9_0_2_node_35 | 0.4 | n |  | TRUE
9 | bus_LV_2575-9_0_2_node_21 | 0.4 | n |  | TRUE
10 | bus_LV_2575-9_0_2_node_34 | 0.4 | n |  | TRUE
11 | bus_LV_2575-9_0_2_node_14 | 0.4 | n |  | TRUE
12 | bus_LV_2575-9_0_2_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_2575-9_0_2_node_29 | 0.4 | n |  | TRUE
14 | bus_LV_2575-9_0_2_node_20 | 0.4 | n |  | TRUE
15 | bus_LV_2575-9_0_2_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_2575-9_0_2_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_2575-9_0_2_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_2575-9_0_2_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_2575-9_0_2_node_30 | 0.4 | n |  | TRUE
20 | bus_LV_2575-9_0_2_node_31 | 0.4 | n |  | TRUE
21 | bus_LV_2575-9_0_2_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_2575-9_0_2_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_2575-9_0_2_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_2575-9_0_2_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_2575-9_0_2_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_2575-9_0_2_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_2575-9_0_2_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_2575-9_0_2_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_2575-9_0_2_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_2575-9_0_2_node_37 | 0.4 | n |  | TRUE
31 | bus_LV_2575-9_0_2_node_41 | 0.4 | n |  | TRUE
32 | bus_LV_2575-9_0_2_node_38 | 0.4 | n |  | TRUE
33 | bus_LV_2575-9_0_2_node_36 | 0.4 | n |  | TRUE
34 | bus_LV_2575-9_0_2_node_39 | 0.4 | n |  | TRUE
35 | bus_LV_2575-9_0_2_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_2575-9_0_2_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_2575-9_0_2_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_2575-9_0_2_node_42 | 0.4 | n |  | TRUE
39 | bus_LV_2575-9_0_2_node_40 | 0.4 | n |  | TRUE
40 | bus_MV_397_0_node_39 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2575-9_0_2_load_0 | 0 | 0.007089 | 0.0017767 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2575-9_0_2_load_4 | 4 | 0.0021783 | 0.00054594 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2575-9_0_2_load_5 | 5 | 0.0026818 | 0.00067211 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2575-9_0_2_load_35 | 8 | 0.0023618 | 0.00059193 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2575-9_0_2_load_21 | 9 | 0.0018342 | 0.00045969 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2575-9_0_2_load_34 | 10 | 0.002208 | 0.00055337 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2575-9_0_2_load_14 | 11 | 0.0012339 | 0.00030925 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2575-9_0_2_load_11 | 12 | 0.0026616 | 0.00066705 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2575-9_0_2_load_29 | 13 | 0.0025909 | 0.00064933 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2575-9_0_2_load_20 | 14 | 0.007108 | 0.0017814 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2575-9_0_2_load_7 | 15 | 0.00058732 | 0.0001472 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2575-9_0_2_load_8 | 16 | 0.00069178 | 0.00017338 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2575-9_0_2_load_9 | 17 | 0.00042915 | 0.00010756 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2575-9_0_2_load_10 | 18 | 0.0011472 | 0.00028752 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2575-9_0_2_load_30 | 19 | 0.0018325 | 0.00045928 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2575-9_0_2_load_31 | 20 | 0.0022265 | 0.00055801 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2575-9_0_2_load_12 | 21 | 0.0014411 | 0.00036118 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2575-9_0_2_load_15 | 22 | 0.0019912 | 0.00049905 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2575-9_0_2_load_16 | 23 | 0.0029041 | 0.00072784 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2575-9_0_2_load_17 | 24 | 0.0027784 | 0.00069633 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2575-9_0_2_load_18 | 25 | 0.0029828 | 0.00074755 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2575-9_0_2_load_19 | 26 | 0.0022366 | 0.00056054 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2575-9_0_2_load_23 | 27 | 0.0027595 | 0.00069159 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2575-9_0_2_load_22 | 28 | 0.0088875 | 0.0022274 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2575-9_0_2_load_41 | 31 | 0.0020478 | 0.00051322 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2575-9_0_2_load_38 | 32 | 0.0071346 | 0.0017881 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2575-9_0_2_load_36 | 33 | 0.00074209 | 0.00018598 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2575-9_0_2_load_39 | 34 | 0.001864 | 0.00046715 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2575-9_0_2_load_25 | 35 | 0.0027905 | 0.00069937 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2575-9_0_2_load_26 | 36 | 0.0028355 | 0.00071064 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2575-9_0_2_load_27 | 37 | 0.0062939 | 0.0015774 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2575-9_0_2_load_42 | 38 | 0.0020168 | 0.00050545 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2575-9_0_2_load_40 | 39 | 0.0017452 | 0.00043739 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 26 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2575-9_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.021586 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2575-9_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0061584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2575-9_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.007129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2575-9_0_2_line_3 | NAYY 4x150 SE | 1 | 4 | 0.030066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2575-9_0_2_line_4 | NAYY 4x150 SE | 2 | 5 | 0.020036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2575-9_0_2_line_5 | NAYY 4x150 SE | 2 | 6 | 0.0117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2575-9_0_2_line_6 | NAYY 4x150 SE | 3 | 7 | 0.013232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2575-9_0_2_line_7 | NAYY 4x150 SE | 3 | 8 | 0.0094037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2575-9_0_2_line_8 | NAYY 4x150 SE | 4 | 9 | 0.028813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2575-9_0_2_line_9 | NAYY 4x150 SE | 6 | 10 | 0.013913 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2575-9_0_2_line_10 | NAYY 4x150 SE | 7 | 11 | 0.03193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2575-9_0_2_line_11 | NAYY 4x150 SE | 7 | 12 | 0.016741 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2575-9_0_2_line_12 | NAYY 4x150 SE | 8 | 13 | 0.018859 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2575-9_0_2_line_13 | NAYY 4x150 SE | 9 | 14 | 0.0033774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2575-9_0_2_line_14 | NAYY 4x150 SE | 12 | 21 | 0.0076904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2575-9_0_2_line_15 | NAYY 4x150 SE | 13 | 37 | 0.018606 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2575-9_0_2_line_16 | NAYY 4x150 SE | 14 | 28 | 0.037471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2575-9_0_2_line_17 | NAYY 4x150 SE | 15 | 16 | 0.026671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2575-9_0_2_line_18 | NAYY 4x150 SE | 15 | 17 | 0.0061363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2575-9_0_2_line_19 | NAYY 4x150 SE | 17 | 18 | 0.026899 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2575-9_0_2_line_20 | NAYY 4x150 SE | 18 | 19 | 0.05417 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2575-9_0_2_line_21 | NAYY 4x150 SE | 19 | 20 | 0.032951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2575-9_0_2_line_22 | NAYY 4x150 SE | 20 | 38 | 0.02062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2575-9_0_2_line_23 | NAYY 4x150 SE | 22 | 23 | 0.010039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2575-9_0_2_line_24 | NAYY 4x150 SE | 22 | 24 | 0.012202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2575-9_0_2_line_25 | NAYY 4x150 SE | 23 | 25 | 0.011493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2575-9_0_2_line_26 | NAYY 4x150 SE | 24 | 26 | 0.020654 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2575-9_0_2_line_27 | NAYY 4x150 SE | 25 | 27 | 0.0056817 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2575-9_0_2_line_28 | NAYY 4x150 SE | 26 | 28 | 0.01373 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2575-9_0_2_line_29 | NAYY 4x150 SE | 27 | 29 | 0.011833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2575-9_0_2_line_30 | NAYY 4x150 SE | 29 | 30 | 0.031586 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2575-9_0_2_line_31 | NAYY 4x150 SE | 29 | 31 | 0.035862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2575-9_0_2_line_32 | NAYY 4x150 SE | 30 | 32 | 0.021704 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2575-9_0_2_line_33 | NAYY 4x150 SE | 30 | 33 | 0.022504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2575-9_0_2_line_34 | NAYY 4x150 SE | 31 | 34 | 0.0068855 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2575-9_0_2_line_35 | NAYY 4x150 SE | 34 | 39 | 0.015901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2575-9_0_2_line_36 | NAYY 4x150 SE | 35 | 36 | 0.026289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2575-9_0_2_line_37 | NAYY 4x150 SE | 35 | 37 | 0.015936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2575-9_0_2_line_38 | NAYY 4x150 SE | 38 | 39 | 0.0052683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2575-9_0_2_trafo_19 | 0.25 MVA 20/0.4 kV | 40 | 26 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2629803.6646 | 1235540.4411 | 2629816.773 | 1235557.5909
1 | 2629820.5128 | 1235562.4837 | 2629816.773 | 1235557.5909
2 | 2629803.6646 | 1235540.4411 | 2629799.1898 | 1235534.882
3 | 2629803.6646 | 1235540.4411 | 2629828.9597 | 1235524.1897
4 | 2629820.5128 | 1235562.4837 | 2629832.0857 | 1235568.0562 | 2629839.1998 | 1235569.415
5 | 2629825.5982 | 1235573.0268 | 2629820.5128 | 1235562.4837
6 | 2629790.8795 | 1235524.5673 | 2629799.1898 | 1235534.882
7 | 2629799.1898 | 1235534.882 | 2629798.3438 | 1235525.5164 | 2629798.3438 | 1235525.5164
8 | 2629853.2009 | 1235508.6153 | 2629828.9597 | 1235524.1897
9 | 2629825.5982 | 1235573.0268 | 2629814.9218 | 1235581.9486
10 | 2629790.8795 | 1235524.5673 | 2629779.1622 | 1235503.9736 | 2629773.8397 | 1235497.6887
11 | 2629790.8795 | 1235524.5673 | 2629777.7004 | 1235534.8906
12 | 2629789.0789 | 1235509.0905 | 2629792.1114 | 1235514.3004 | 2629798.3438 | 1235525.5164
13 | 2629853.2009 | 1235508.6153 | 2629856.0424 | 1235506.7898
14 | 2629777.7004 | 1235534.8906 | 2629771.6461 | 1235539.6329
15 | 2629779.5874 | 1235493.0878 | 2629780.2781 | 1235494.2065 | 2629785.5238 | 1235502.9826 | 2629789.0789 | 1235509.0905
16 | 2629849.9793 | 1235476.3021 | 2629859.5036 | 1235486.432 | 2629861.7183 | 1235491.4685 | 2629862.5971 | 1235495.7978 | 2629861.7976 | 1235501.2972 | 2629859.2984 | 1235504.6979 | 2629856.0424 | 1235506.7898
17 | 2629962.0655 | 1235522.5483 | 2629970.5752 | 1235529.3948 | 2629981.6729 | 1235540.5692
18 | 2629962.0655 | 1235522.5483 | 2629957.2846 | 1235518.7018
19 | 2629957.2846 | 1235518.7018 | 2629943.8341 | 1235507.8801 | 2629936.6214 | 1235501.4913
20 | 2629895.8111 | 1235465.8722 | 2629913.0203 | 1235480.586 | 2629936.6214 | 1235501.4913
21 | 2629895.8111 | 1235465.8722 | 2629879.7827 | 1235452.1681 | 2629870.427 | 1235444.8751
22 | 2629853.1094 | 1235433.7833 | 2629864.1789 | 1235440.0044 | 2629870.427 | 1235444.8751
23 | 2629813.2914 | 1235447.7564 | 2629806.3965 | 1235440.4597
24 | 2629822.2835 | 1235455.9693 | 2629816.7938 | 1235451.4628 | 2629813.2914 | 1235447.7564
25 | 2629800.2068 | 1235430.7998 | 2629805.6679 | 1235439.6887 | 2629806.3965 | 1235440.4597
26 | 2629822.2835 | 1235455.9693 | 2629828.8673 | 1235461.3739 | 2629838.801 | 1235468.3458
27 | 2629797.2326 | 1235425.9587 | 2629800.2068 | 1235430.7998
28 | 2629838.801 | 1235468.3458 | 2629849.6729 | 1235475.9762 | 2629849.9793 | 1235476.3021
29 | 2629792.1761 | 1235415.2727 | 2629796.3975 | 1235424.5996 | 2629797.2326 | 1235425.9587
30 | 2629766.1199 | 1235397.3089 | 2629792.1761 | 1235415.2727
31 | 2629792.1761 | 1235415.2727 | 2629804.2378 | 1235418.5129 | 2629826.9732 | 1235423.9342
32 | 2629766.1199 | 1235397.3089 | 2629755.7575 | 1235416.3797
33 | 2629766.1199 | 1235397.3089 | 2629773.2906 | 1235384.3923 | 2629775.2728 | 1235376.92
34 | 2629833.6709 | 1235425.5313 | 2629826.9732 | 1235423.9342
35 | 2629833.6709 | 1235425.5313 | 2629833.6709 | 1235425.5313 | 2629847.811 | 1235430.8055 | 2629848.5167 | 1235431.2022
36 | 2629749.6783 | 1235463.5925 | 2629761.8872 | 1235474.9137 | 2629769.0997 | 1235481.3078
37 | 2629779.5874 | 1235493.0878 | 2629776.202 | 1235487.6042 | 2629769.0997 | 1235481.3078
38 | 2629853.1094 | 1235433.7833 | 2629848.5167 | 1235431.2022

## bus_geodata
| x | y | coords
0 | 2629816.773 | 1235557.5909
1 | 2629803.6646 | 1235540.4411
2 | 2629820.5128 | 1235562.4837
3 | 2629799.1898 | 1235534.882
4 | 2629828.9597 | 1235524.1897
5 | 2629839.1998 | 1235569.415
6 | 2629825.5982 | 1235573.0268
7 | 2629790.8795 | 1235524.5673
8 | 2629798.3438 | 1235525.5164
9 | 2629853.2009 | 1235508.6153
10 | 2629814.9218 | 1235581.9486
11 | 2629773.8397 | 1235497.6887
12 | 2629777.7004 | 1235534.8906
13 | 2629789.0789 | 1235509.0905
14 | 2629856.0424 | 1235506.7898
15 | 2629962.0655 | 1235522.5483
16 | 2629981.6729 | 1235540.5692
17 | 2629957.2846 | 1235518.7018
18 | 2629936.6214 | 1235501.4913
19 | 2629895.8111 | 1235465.8722
20 | 2629870.427 | 1235444.8751
21 | 2629771.6461 | 1235539.6329
22 | 2629813.2914 | 1235447.7564
23 | 2629806.3965 | 1235440.4597
24 | 2629822.2835 | 1235455.9693
25 | 2629800.2068 | 1235430.7998
26 | 2629838.801 | 1235468.3458
27 | 2629797.2326 | 1235425.9587
28 | 2629849.9793 | 1235476.3021
29 | 2629792.1761 | 1235415.2727
30 | 2629766.1199 | 1235397.3089
31 | 2629826.9732 | 1235423.9342
32 | 2629755.7575 | 1235416.3797
33 | 2629775.2728 | 1235376.92
34 | 2629833.6709 | 1235425.5313
35 | 2629769.0997 | 1235481.3078
36 | 2629749.6783 | 1235463.5925
37 | 2629779.5874 | 1235493.0878
38 | 2629853.1094 | 1235433.7833
39 | 2629848.5167 | 1235431.2022
40 | 2629792.1761 | 1235415.2727

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99296 | -0.049336 | 0.007089 | 0.0017767
1 | 0.99333 | -0.046718 | 0 | 0
2 | 0.99292 | -0.049641 | 0 | 0
3 | 0.9931 | -0.048321 | 0 | 0
4 | 0.99481 | -0.036329 | 0.0021783 | 0.00054594
5 | 0.99284 | -0.050185 | 0.0026818 | 0.00067211
6 | 0.99288 | -0.049903 | 0 | 0
7 | 0.993 | -0.049037 | 0 | 0
8 | 0.99288 | -0.049928 | 0.0023618 | 0.00059193
9 | 0.99631 | -0.02577 | 0.0018342 | 0.00045969
10 | 0.99284 | -0.050214 | 0.002208 | 0.00055337
11 | 0.99295 | -0.049436 | 0.0012339 | 0.00030925
12 | 0.9929 | -0.049732 | 0.0026616 | 0.00066705
13 | 0.99248 | -0.052701 | 0.0025909 | 0.00064933
14 | 0.9965 | -0.024472 | 0.007108 | 0.0017814
15 | 0.99496 | -0.035384 | 0.00058732 | 0.0001472
16 | 0.99493 | -0.03557 | 0.00069178 | 0.00017338
17 | 0.99497 | -0.035304 | 0.00042915 | 0.00010756
18 | 0.99504 | -0.03484 | 0.0011472 | 0.00028752
19 | 0.99526 | -0.033277 | 0.0018325 | 0.00045928
20 | 0.99548 | -0.031716 | 0.0022265 | 0.00055801
21 | 0.99289 | -0.049844 | 0.0014411 | 0.00036118
22 | 0.99836 | -0.011458 | 0.0019912 | 0.00049905
23 | 0.99792 | -0.01459 | 0.0029041 | 0.00072784
24 | 0.99894 | -0.0074115 | 0.0027784 | 0.00069633
25 | 0.99745 | -0.017844 | 0.0029828 | 0.00074755
26 | 1 | 0 | -0.091293 | -0.022726
27 | 0.99725 | -0.019284 | 0.0027595 | 0.00069159
28 | 0.99893 | -0.0074388 | 0.0088875 | 0.0022274
29 | 0.99687 | -0.021956 | 0 | 0
30 | 0.99651 | -0.024458 | 0 | 0
31 | 0.99612 | -0.027222 | 0.0020478 | 0.00051322
32 | 0.99629 | -0.026015 | 0.0071346 | 0.0017881
33 | 0.99649 | -0.024626 | 0.00074209 | 0.00018598
34 | 0.99599 | -0.028092 | 0.001864 | 0.00046715
35 | 0.99204 | -0.055859 | 0.0027905 | 0.00069937
36 | 0.99193 | -0.056616 | 0.0028355 | 0.00071064
37 | 0.99216 | -0.05495 | 0.0062939 | 0.0015774
38 | 0.99568 | -0.030277 | 0.0020168 | 0.00050545
39 | 0.99575 | -0.029803 | 0.0017452 | 0.00043739
40 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.011979 | -0.0030017 | 0.011984 | 0.0030031 | 4.3406e-06 | 1.3902e-06 | 0.017952 | 0.017951 | 0.017952 | 0.99296 | -0.049336 | 0.99333 | -0.046718 | 6.6487
1 | 0.0048903 | 0.001225 | -0.0048901 | -0.001225 | 2.0637e-07 | -2.8238e-10 | 0.0073282 | 0.0073283 | 0.0073283 | 0.99296 | -0.049336 | 0.99292 | -0.049641 | 2.7142
2 | 0.022229 | 0.0055717 | -0.022224 | -0.0055699 | 4.9328e-06 | 1.805e-06 | 0.0333 | 0.0333 | 0.0333 | 0.99333 | -0.046718 | 0.9931 | -0.048321 | 12.3332
3 | -0.034213 | -0.0085748 | 0.034262 | 0.0085934 | 4.9279e-05 | 1.8564e-05 | 0.051251 | 0.051251 | 0.051251 | 0.99333 | -0.046718 | 0.99481 | -0.036329 | 18.9819
4 | 0.002682 | 0.00067193 | -0.0026818 | -0.00067211 | 2.0197e-07 | -1.8145e-07 | 0.0040192 | 0.0040193 | 0.0040193 | 0.99292 | -0.049641 | 0.99284 | -0.050185 | 1.4886
5 | 0.0022081 | 0.0005531 | -0.0022081 | -0.00055323 | 7.9945e-08 | -1.2058e-07 | 0.0033091 | 0.0033091 | 0.0033091 | 0.99292 | -0.049641 | 0.99288 | -0.049903 | 1.2256
6 | 0.0053376 | 0.001337 | -0.0053371 | -0.0013369 | 5.2809e-07 | 3.1919e-08 | 0.0079973 | 0.0079974 | 0.0079974 | 0.9931 | -0.048321 | 0.993 | -0.049037 | 2.962
7 | 0.016887 | 0.0042329 | -0.016883 | -0.0042316 | 3.7567e-06 | 1.3232e-06 | 0.025302 | 0.025302 | 0.025302 | 0.9931 | -0.048321 | 0.99288 | -0.049928 | 9.3712
8 | -0.03644 | -0.0091393 | 0.036494 | 0.0091595 | 5.3422e-05 | 2.0172e-05 | 0.054509 | 0.054509 | 0.054509 | 0.99481 | -0.036329 | 0.99631 | -0.02577 | 20.1886
9 | 0.0022081 | 0.00055323 | -0.002208 | -0.00055337 | 9.5073e-08 | -1.4337e-07 | 0.0033091 | 0.0033092 | 0.0033092 | 0.99288 | -0.049903 | 0.99284 | -0.050214 | 1.2256
10 | 0.001234 | 0.00030886 | -0.0012339 | -0.00030925 | 6.812e-08 | -3.8683e-07 | 0.001849 | 0.0018491 | 0.0018491 | 0.993 | -0.049037 | 0.99295 | -0.049436 | 0.68486
11 | 0.0041031 | 0.0010281 | -0.0041027 | -0.0010281 | 3.9491e-07 | -6.4657e-08 | 0.0061484 | 0.0061485 | 0.0061485 | 0.993 | -0.049037 | 0.9929 | -0.049732 | 2.2772
12 | 0.014521 | 0.0036397 | -0.014515 | -0.0036378 | 5.5737e-06 | 1.8999e-06 | 0.021763 | 0.021763 | 0.021763 | 0.99288 | -0.049928 | 0.99248 | -0.052701 | 8.0603
13 | -0.038328 | -0.0096192 | 0.038335 | 0.0096218 | 6.9071e-06 | 2.6126e-06 | 0.057249 | 0.057249 | 0.057249 | 0.99631 | -0.02577 | 0.9965 | -0.024472 | 21.2032
14 | 0.0014411 | 0.00036109 | -0.0014411 | -0.00036118 | 2.2384e-08 | -9.0856e-08 | 0.0021597 | 0.0021598 | 0.0021598 | 0.9929 | -0.049732 | 0.99289 | -0.049844 | 0.79992
15 | 0.011925 | 0.0029884 | -0.011921 | -0.0029872 | 3.7111e-06 | 1.187e-06 | 0.017878 | 0.017878 | 0.017878 | 0.99248 | -0.052701 | 0.99216 | -0.05495 | 6.6216
16 | -0.045443 | -0.011403 | 0.045551 | 0.011444 | 0.00010768 | 4.0927e-05 | 0.067863 | 0.067862 | 0.067863 | 0.9965 | -0.024472 | 0.99893 | -0.0074388 | 25.1343
17 | 0.0006918 | 0.00017304 | -0.00069178 | -0.00017338 | 1.7813e-08 | -3.3952e-07 | 0.0010345 | 0.0010346 | 0.0010346 | 0.99496 | -0.035384 | 0.99493 | -0.03557 | 0.38319
18 | -0.0012791 | -0.00032023 | 0.0012791 | 0.00032016 | 1.401e-08 | -7.4306e-08 | 0.0019129 | 0.0019128 | 0.0019129 | 0.99496 | -0.035384 | 0.99497 | -0.035304 | 0.70847
19 | -0.0017083 | -0.00042771 | 0.0017084 | 0.00042741 | 1.0954e-07 | -3.0724e-07 | 0.0025547 | 0.0025545 | 0.0025547 | 0.99497 | -0.035304 | 0.99504 | -0.03484 | 0.94617
20 | -0.0028556 | -0.00071493 | 0.0028562 | 0.00071446 | 6.1631e-07 | -4.6675e-07 | 0.0042701 | 0.0042699 | 0.0042701 | 0.99504 | -0.03484 | 0.99526 | -0.033277 | 1.5815
21 | -0.0046888 | -0.0011737 | 0.0046898 | 0.0011737 | 1.0103e-06 | -3.9726e-08 | 0.0070097 | 0.0070096 | 0.0070097 | 0.99526 | -0.033277 | 0.99548 | -0.031716 | 2.5962
22 | -0.0069163 | -0.0017317 | 0.0069176 | 0.001732 | 1.375e-06 | 2.6073e-07 | 0.010338 | 0.010338 | 0.010338 | 0.99548 | -0.031716 | 0.99568 | -0.030277 | 3.8288
23 | 0.031174 | 0.0078167 | -0.03116 | -0.0078116 | 1.3524e-05 | 5.0704e-06 | 0.046464 | 0.046464 | 0.046464 | 0.99836 | -0.011458 | 0.99792 | -0.01459 | 17.209
24 | -0.033165 | -0.0083157 | 0.033183 | 0.0083227 | 1.8605e-05 | 6.9961e-06 | 0.049432 | 0.049432 | 0.049432 | 0.99836 | -0.011458 | 0.99894 | -0.0074115 | 18.3081
25 | 0.028256 | 0.0070838 | -0.028243 | -0.007079 | 1.2732e-05 | 4.7468e-06 | 0.042134 | 0.042134 | 0.042134 | 0.99792 | -0.01459 | 0.99745 | -0.017844 | 15.6051
26 | -0.035962 | -0.009019 | 0.035999 | 0.009033 | 3.6987e-05 | 1.3955e-05 | 0.053571 | 0.053571 | 0.053571 | 0.99894 | -0.0074115 | 1 | 0 | 19.841
27 | 0.02526 | 0.0063315 | -0.025255 | -0.0063296 | 5.0348e-06 | 1.8623e-06 | 0.037684 | 0.037684 | 0.037684 | 0.99745 | -0.017844 | 0.99725 | -0.019284 | 13.9571
28 | 0.054495 | 0.013693 | -0.054438 | -0.013672 | 5.6351e-05 | 2.1493e-05 | 0.081101 | 0.081101 | 0.081101 | 1 | 0 | 0.99893 | -0.0074388 | 30.0375
29 | 0.022496 | 0.005638 | -0.022488 | -0.005635 | 8.3194e-06 | 3.0455e-06 | 0.033567 | 0.033567 | 0.033567 | 0.99725 | -0.019284 | 0.99687 | -0.021956 | 12.4321
30 | 0.007881 | 0.0019748 | -0.0078783 | -0.0019741 | 2.7276e-06 | 6.3743e-07 | 0.011764 | 0.011764 | 0.011764 | 0.99687 | -0.021956 | 0.99651 | -0.024458 | 4.357
31 | 0.014607 | 0.0036602 | -0.014596 | -0.0036566 | 1.0638e-05 | 3.6243e-06 | 0.021803 | 0.021803 | 0.021803 | 0.99687 | -0.021956 | 0.99612 | -0.027222 | 8.0752
32 | 0.0071362 | 0.0017884 | -0.0071346 | -0.0017881 | 1.5378e-06 | 3.0878e-07 | 0.010656 | 0.010656 | 0.010656 | 0.99651 | -0.024458 | 0.99629 | -0.026015 | 3.9467
33 | 0.00074211 | 0.0001857 | -0.00074209 | -0.00018598 | 1.7242e-08 | -2.8655e-07 | 0.001108 | 0.0011081 | 0.0011081 | 0.99651 | -0.024458 | 0.99649 | -0.024626 | 0.41042
34 | 0.012548 | 0.0031434 | -0.012547 | -0.0031429 | 1.5096e-06 | 4.9098e-07 | 0.018744 | 0.018744 | 0.018744 | 0.99612 | -0.027222 | 0.99599 | -0.028092 | 6.9423
35 | 0.010683 | 0.0026757 | -0.01068 | -0.002675 | 2.5273e-06 | 7.6513e-07 | 0.015959 | 0.015959 | 0.015959 | 0.99599 | -0.028092 | 0.99575 | -0.029803 | 5.9109
36 | 0.0028358 | 0.00071041 | -0.0028355 | -0.00071063 | 2.9679e-07 | -2.2523e-07 | 0.0042534 | 0.0042536 | 0.0042536 | 0.99204 | -0.055859 | 0.99193 | -0.056616 | 1.5754
37 | -0.0056263 | -0.0014098 | 0.005627 | 0.0014098 | 7.0819e-07 | 6.6603e-08 | 0.0084391 | 0.008439 | 0.0084391 | 0.99204 | -0.055859 | 0.99216 | -0.05495 | 3.1256
38 | -0.0089344 | -0.0022374 | 0.008935 | 0.0022376 | 5.8603e-07 | 1.5687e-07 | 0.013352 | 0.013352 | 0.013352 | 0.99568 | -0.030277 | 0.99575 | -0.029803 | 4.945

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -4.4415e-16 | -7.6913e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.564e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.09353 | 0.023287

## res_load
| p_mw | q_mvar
0 | 0.007089 | 0.0017767
1 | 0.0021783 | 0.00054594
2 | 0.0026818 | 0.00067211
3 | 0.0023618 | 0.00059193
4 | 0.0018342 | 0.00045969
5 | 0.002208 | 0.00055337
6 | 0.0012339 | 0.00030925
7 | 0.0026616 | 0.00066705
8 | 0.0025909 | 0.00064933
9 | 0.007108 | 0.0017814
10 | 0.00058732 | 0.0001472
11 | 0.00069178 | 0.00017338
12 | 0.00042915 | 0.00010756
13 | 0.0011472 | 0.00028752
14 | 0.0018325 | 0.00045928
15 | 0.0022265 | 0.00055801
16 | 0.0014411 | 0.00036118
17 | 0.0019912 | 0.00049905
18 | 0.0029041 | 0.00072784
19 | 0.0027784 | 0.00069633
20 | 0.0029828 | 0.00074755
21 | 0.0022366 | 0.00056054
22 | 0.0027595 | 0.00069159
23 | 0.0088875 | 0.0022274
24 | 0.0020478 | 0.00051322
25 | 0.0071346 | 0.0017881
26 | 0.00074209 | 0.00018598
27 | 0.001864 | 0.00046715
28 | 0.0027905 | 0.00069937
29 | 0.0028355 | 0.00071064
30 | 0.0062939 | 0.0015774
31 | 0.0020168 | 0.00050545
32 | 0.0017452 | 0.00043739

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1