## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2578-2_1_2_node_10 | 0.4 | n |  | TRUE
1 | bus_LV_2578-2_1_2_node_11 | 0.4 | n |  | TRUE
2 | bus_LV_2578-2_1_2_node_12 | 0.4 | n |  | TRUE
3 | bus_LV_2578-2_1_2_node_13 | 0.4 | n |  | TRUE
4 | bus_LV_2578-2_1_2_node_14 | 0.4 | n |  | TRUE
5 | bus_LV_2578-2_1_2_node_85 | 0.4 | n |  | TRUE
6 | bus_LV_2578-2_1_2_node_86 | 0.4 | n |  | TRUE
7 | bus_LV_2578-2_1_2_node_21 | 0.4 | n |  | TRUE
8 | bus_LV_2578-2_1_2_node_15 | 0.4 | n |  | TRUE
9 | bus_LV_2578-2_1_2_node_16 | 0.4 | n |  | TRUE
10 | bus_LV_2578-2_1_2_node_17 | 0.4 | n |  | TRUE
11 | bus_LV_2578-2_1_2_node_18 | 0.4 | n |  | TRUE
12 | bus_LV_2578-2_1_2_node_19 | 0.4 | n |  | TRUE
13 | bus_LV_2578-2_1_2_node_65 | 0.4 | n |  | TRUE
14 | bus_LV_2578-2_1_2_node_89 | 0.4 | n |  | TRUE
15 | bus_LV_2578-2_1_2_node_20 | 0.4 | n |  | TRUE
16 | bus_LV_2578-2_1_2_node_22 | 0.4 | n |  | TRUE
17 | bus_LV_2578-2_1_2_node_23 | 0.4 | n |  | TRUE
18 | bus_LV_2578-2_1_2_node_37 | 0.4 | n |  | TRUE
19 | bus_LV_2578-2_1_2_node_29 | 0.4 | n |  | TRUE
20 | bus_LV_2578-2_1_2_node_30 | 0.4 | n |  | TRUE
21 | bus_LV_2578-2_1_2_node_31 | 0.4 | n |  | TRUE
22 | bus_LV_2578-2_1_2_node_32 | 0.4 | n |  | TRUE
23 | bus_LV_2578-2_1_2_node_33 | 0.4 | n |  | TRUE
24 | bus_LV_2578-2_1_2_node_87 | 0.4 | n |  | TRUE
25 | bus_LV_2578-2_1_2_node_92 | 0.4 | n |  | TRUE
26 | bus_LV_2578-2_1_2_node_34 | 0.4 | n |  | TRUE
27 | bus_LV_2578-2_1_2_node_35 | 0.4 | n |  | TRUE
28 | bus_LV_2578-2_1_2_node_36 | 0.4 | n |  | TRUE
29 | bus_LV_2578-2_1_2_node_38 | 0.4 | n |  | TRUE
30 | bus_LV_2578-2_1_2_node_48 | 0.4 | n |  | TRUE
31 | bus_LV_2578-2_1_2_node_44 | 0.4 | n |  | TRUE
32 | bus_LV_2578-2_1_2_node_45 | 0.4 | n |  | TRUE
33 | bus_LV_2578-2_1_2_node_46 | 0.4 | n |  | TRUE
34 | bus_LV_2578-2_1_2_node_47 | 0.4 | n |  | TRUE
35 | bus_LV_2578-2_1_2_node_88 | 0.4 | n |  | TRUE
36 | bus_LV_2578-2_1_2_node_93 | 0.4 | n |  | TRUE
37 | bus_LV_2578-2_1_2_node_49 | 0.4 | n |  | TRUE
38 | bus_LV_2578-2_1_2_node_66 | 0.4 | n |  | TRUE
39 | bus_LV_2578-2_1_2_node_57 | 0.4 | n |  | TRUE
40 | bus_LV_2578-2_1_2_node_58 | 0.4 | n |  | TRUE
41 | bus_LV_2578-2_1_2_node_59 | 0.4 | n |  | TRUE
42 | bus_LV_2578-2_1_2_node_107 | 0.4 | n |  | TRUE
43 | bus_LV_2578-2_1_2_node_76 | 0.4 | n |  | TRUE
44 | bus_LV_2578-2_1_2_node_64 | 0.4 | n |  | TRUE
45 | bus_LV_2578-2_1_2_node_67 | 0.4 | n |  | TRUE
46 | bus_LV_2578-2_1_2_node_75 | 0.4 | n |  | TRUE
47 | bus_LV_2578-2_1_2_node_74 | 0.4 | n |  | TRUE
48 | bus_LV_2578-2_1_2_node_90 | 0.4 | n |  | TRUE
49 | bus_LV_2578-2_1_2_node_94 | 0.4 | n |  | TRUE
50 | bus_LV_2578-2_1_2_node_105 | 0.4 | n |  | TRUE
51 | bus_LV_2578-2_1_2_node_95 | 0.4 | n |  | TRUE
52 | bus_LV_2578-2_1_2_node_104 | 0.4 | n |  | TRUE
53 | bus_MV_334_0_node_205 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2578-2_1_2_load_10 | 0 | 0.00084665 | 0.00021219 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2578-2_1_2_load_11 | 1 | 0.0017559 | 0.00044006 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2578-2_1_2_load_12 | 2 | 0.0015914 | 0.00039885 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2578-2_1_2_load_14 | 4 | 0.0015962 | 0.00040004 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2578-2_1_2_load_85 | 5 | 0.0092899 | 0.0023283 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2578-2_1_2_load_86 | 6 | 0.00027522 | 6.8976e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2578-2_1_2_load_21 | 7 | 0.0017328 | 0.00043427 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2578-2_1_2_load_15 | 8 | 0.0021418 | 0.00053679 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2578-2_1_2_load_16 | 9 | 0.001822 | 0.00045664 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2578-2_1_2_load_17 | 10 | 0.0021856 | 0.00054775 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2578-2_1_2_load_18 | 11 | 0.0033809 | 0.00084734 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2578-2_1_2_load_65 | 13 | 0.0028879 | 0.00072377 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2578-2_1_2_load_89 | 14 | 0.0038798 | 0.00097237 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2578-2_1_2_load_20 | 15 | 0.0016092 | 0.0004033 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2578-2_1_2_load_22 | 16 | 0.0037949 | 0.0009511 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2578-2_1_2_load_23 | 17 | 0.0022064 | 0.00055296 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2578-2_1_2_load_29 | 19 | 0.0017799 | 0.00044609 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2578-2_1_2_load_30 | 20 | 0.001969 | 0.00049348 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2578-2_1_2_load_31 | 21 | 0.0022415 | 0.00056176 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2578-2_1_2_load_32 | 22 | 0.00066097 | 0.00016566 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2578-2_1_2_load_33 | 23 | 0.0046281 | 0.0011599 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2578-2_1_2_load_87 | 24 | 0.0014795 | 0.00037079 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2578-2_1_2_load_92 | 25 | 0.0013761 | 0.00034488 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2578-2_1_2_load_34 | 26 | 0.0018121 | 0.00045415 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2578-2_1_2_load_35 | 27 | 0.0031501 | 0.00078949 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2578-2_1_2_load_36 | 28 | 0.0017704 | 0.0004437 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2578-2_1_2_load_38 | 29 | 0.0012671 | 0.00031756 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2578-2_1_2_load_48 | 30 | 0.0013785 | 0.00034549 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2578-2_1_2_load_44 | 31 | 0.00033246 | 8.3323e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2578-2_1_2_load_45 | 32 | 0.00029782 | 7.4641e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2578-2_1_2_load_46 | 33 | 0.00027356 | 6.856e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2578-2_1_2_load_88 | 35 | 0.0083684 | 0.0020973 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2578-2_1_2_load_93 | 36 | 0.00021185 | 5.3094e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2578-2_1_2_load_49 | 37 | 0.0016951 | 0.00042483 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2578-2_1_2_load_58 | 40 | 0.0026874 | 0.00067352 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2578-2_1_2_load_59 | 41 | 0.0014976 | 0.00037534 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2578-2_1_2_load_107 | 42 | 0.002639 | 0.00066139 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2578-2_1_2_load_76 | 43 | 0.0037159 | 0.00093128 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2578-2_1_2_load_64 | 44 | 0.001667 | 0.00041778 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2578-2_1_2_load_67 | 45 | 0.0026969 | 0.00067592 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2578-2_1_2_load_75 | 46 | 0.0019127 | 0.00047937 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2578-2_1_2_load_74 | 47 | 0.0019596 | 0.00049112 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2578-2_1_2_load_90 | 48 | 0.0028859 | 0.00072328 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2578-2_1_2_load_95 | 51 | 0.00041712 | 0.00010454 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2578-2_1_2_load_104 | 52 | 0.0015267 | 0.00038264 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 30 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2578-2_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.011651 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2578-2_1_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.011862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2578-2_1_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.015702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2578-2_1_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0099083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2578-2_1_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.0091501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2578-2_1_2_line_5 | NAYY 4x150 SE | 3 | 6 | 0.019946 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2578-2_1_2_line_6 | NAYY 4x150 SE | 4 | 7 | 0.0031968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2578-2_1_2_line_7 | NAYY 4x150 SE | 5 | 35 | 0.033068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2578-2_1_2_line_8 | NAYY 4x150 SE | 6 | 24 | 0.021647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2578-2_1_2_line_9 | NAYY 4x150 SE | 7 | 15 | 0.02399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2578-2_1_2_line_10 | NAYY 4x150 SE | 8 | 9 | 0.016862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2578-2_1_2_line_11 | NAYY 4x150 SE | 8 | 10 | 0.0010224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2578-2_1_2_line_12 | NAYY 4x150 SE | 9 | 11 | 0.0085478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2578-2_1_2_line_13 | NAYY 4x150 SE | 10 | 12 | 0.015768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2578-2_1_2_line_14 | NAYY 4x150 SE | 12 | 13 | 0.0091744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2578-2_1_2_line_15 | NAYY 4x150 SE | 12 | 14 | 0.025369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2578-2_1_2_line_16 | NAYY 4x150 SE | 13 | 44 | 0.024144 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2578-2_1_2_line_17 | NAYY 4x150 SE | 14 | 48 | 0.0072027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2578-2_1_2_line_18 | NAYY 4x150 SE | 15 | 16 | 0.0034508 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2578-2_1_2_line_19 | NAYY 4x150 SE | 16 | 17 | 0.019939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2578-2_1_2_line_20 | NAYY 4x150 SE | 17 | 18 | 0.015725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2578-2_1_2_line_21 | NAYY 4x150 SE | 18 | 27 | 0.018915 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2578-2_1_2_line_22 | NAYY 4x150 SE | 19 | 20 | 0.024565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2578-2_1_2_line_23 | NAYY 4x150 SE | 19 | 21 | 0.024358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2578-2_1_2_line_24 | NAYY 4x150 SE | 20 | 22 | 0.0032846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2578-2_1_2_line_25 | NAYY 4x150 SE | 21 | 23 | 0.028939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2578-2_1_2_line_26 | NAYY 4x150 SE | 22 | 24 | 0.020347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2578-2_1_2_line_27 | NAYY 4x150 SE | 23 | 25 | 0.02008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2578-2_1_2_line_28 | NAYY 4x150 SE | 26 | 27 | 0.016547 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2578-2_1_2_line_29 | NAYY 4x150 SE | 26 | 28 | 0.027188 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2578-2_1_2_line_30 | NAYY 4x150 SE | 28 | 29 | 0.024135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2578-2_1_2_line_31 | NAYY 4x150 SE | 29 | 30 | 0.0037204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2578-2_1_2_line_32 | NAYY 4x150 SE | 30 | 37 | 0.019238 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2578-2_1_2_line_33 | NAYY 4x150 SE | 31 | 32 | 0.0044152 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2578-2_1_2_line_34 | NAYY 4x150 SE | 31 | 33 | 0.0079591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2578-2_1_2_line_35 | NAYY 4x150 SE | 32 | 34 | 0.015197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2578-2_1_2_line_36 | NAYY 4x150 SE | 34 | 35 | 0.0077893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2578-2_1_2_line_37 | NAYY 4x150 SE | 34 | 36 | 0.028795 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2578-2_1_2_line_38 | NAYY 4x150 SE | 36 | 49 | 0.034642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2578-2_1_2_line_39 | NAYY 4x150 SE | 36 | 50 | 0.13221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2578-2_1_2_line_40 | NAYY 4x150 SE | 37 | 38 | 0.004695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2578-2_1_2_line_41 | NAYY 4x150 SE | 38 | 45 | 0.017119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2578-2_1_2_line_42 | NAYY 4x150 SE | 38 | 44 | 0.020572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2578-2_1_2_line_43 | NAYY 4x150 SE | 39 | 40 | 0.0035772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2578-2_1_2_line_44 | NAYY 4x150 SE | 39 | 41 | 0.01925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2578-2_1_2_line_45 | NAYY 4x150 SE | 40 | 42 | 0.052229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_2578-2_1_2_line_46 | NAYY 4x150 SE | 40 | 43 | 0.055685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_2578-2_1_2_line_47 | NAYY 4x150 SE | 43 | 47 | 0.016656 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_2578-2_1_2_line_48 | NAYY 4x150 SE | 45 | 46 | 0.01937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_2578-2_1_2_line_49 | NAYY 4x150 SE | 46 | 47 | 0.0018277 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_2578-2_1_2_line_50 | NAYY 4x150 SE | 49 | 51 | 0.017195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_2578-2_1_2_line_51 | NAYY 4x150 SE | 50 | 52 | 0.070547 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2578-2_1_2_trafo_48 | 0.25 MVA 20/0.4 kV | 53 | 30 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2629405.5625 | 1240307.5985 | 2629397.8018 | 1240300.6017 | 2629396.9343 | 1240299.7696
1 | 2629405.5625 | 1240307.5985 | 2629414.3724 | 1240315.5412
2 | 2629385.6027 | 1240288.9007 | 2629396.9343 | 1240299.7696
3 | 2629421.7314 | 1240322.1759 | 2629414.3724 | 1240315.5412
4 | 2629385.6027 | 1240288.9007 | 2629378.979 | 1240282.5879
5 | 2629385.6027 | 1240288.9007 | 2629389.8003 | 1240284.0962 | 2629398.3072 | 1240273.5283
6 | 2629421.7314 | 1240322.1759 | 2629424.1057 | 1240324.3165
7 | 2629378.979 | 1240282.5879 | 2629355.0414 | 1240259.7741
8 | 2629411.881 | 1240256.666 | 2629398.3072 | 1240273.5283
9 | 2629441.9232 | 1240340.3803 | 2629424.1057 | 1240324.3165
10 | 2629537.4895 | 1240223.2106 | 2629550.1301 | 1240234.3704
11 | 2629537.4895 | 1240223.2106 | 2629536.723 | 1240222.5339
12 | 2629558.6646 | 1240234.8465 | 2629550.1301 | 1240234.3704
13 | 2629524.9022 | 1240212.0977 | 2629536.723 | 1240222.5339
14 | 2629524.9022 | 1240212.0977 | 2629518.831 | 1240218.9759
15 | 2629524.9022 | 1240212.0977 | 2629541.7086 | 1240193.0943
16 | 2629502.8537 | 1240237.077 | 2629518.831 | 1240218.9759
17 | 2629541.7086 | 1240193.0943 | 2629546.4802 | 1240187.699
18 | 2629441.9232 | 1240340.3803 | 2629444.4862 | 1240342.691
19 | 2629459.3316 | 1240356.0008 | 2629455.6977 | 1240352.799 | 2629444.4862 | 1240342.691
20 | 2629473.4009 | 1240361.5033 | 2629469.7035 | 1240361.4961 | 2629466.8024 | 1240361.0036 | 2629464.5007 | 1240360.1028 | 2629462.398 | 1240358.7026 | 2629459.3316 | 1240356.0008
21 | 2629473.4009 | 1240361.5033 | 2629473.1999 | 1240344.1024 | 2629473.1873 | 1240342.5897
22 | 2629426.6523 | 1240238.2204 | 2629441.9522 | 1240219.0016
23 | 2629457.1231 | 1240199.945 | 2629441.9522 | 1240219.0016
24 | 2629426.6523 | 1240238.2204 | 2629424.6066 | 1240240.7902
25 | 2629475.1472 | 1240177.3042 | 2629457.1231 | 1240199.945
26 | 2629411.881 | 1240256.666 | 2629419.7614 | 1240246.8764 | 2629424.6066 | 1240240.7902
27 | 2629475.1472 | 1240177.3042 | 2629485.0988 | 1240164.8037 | 2629487.6823 | 1240161.6177
28 | 2629473.1873 | 1240342.5897 | 2629473.0493 | 1240326.0432
29 | 2629472.8225 | 1240298.8566 | 2629473.0493 | 1240326.0432
30 | 2629473.5851 | 1240274.8074 | 2629472.9021 | 1240277.6034 | 2629472.702 | 1240284.4067 | 2629472.8225 | 1240298.8566
31 | 2629473.5851 | 1240274.8074 | 2629474.0984 | 1240272.7062 | 2629474.7508 | 1240271.2921
32 | 2629474.7508 | 1240271.2921 | 2629476.4985 | 1240267.5037 | 2629481.7007 | 1240259.9025 | 2629485.7085 | 1240255.6339
33 | 2629362.5429 | 1240239.8403 | 2629359.5848 | 1240243.118
34 | 2629367.5996 | 1240233.6991 | 2629364.2972 | 1240237.8966 | 2629362.5429 | 1240239.8403
35 | 2629349.4028 | 1240254.4001 | 2629359.5848 | 1240243.118
36 | 2629349.4028 | 1240254.4001 | 2629355.0414 | 1240259.7741
37 | 2629349.4028 | 1240254.4001 | 2629328.5665 | 1240234.5256
38 | 2629302.7031 | 1240211.4983 | 2629318.9976 | 1240225.3985 | 2629328.5665 | 1240234.5256
39 | 2629328.5665 | 1240234.5256 | 2629236.3088 | 1240329.2236
40 | 2629488.9222 | 1240252.2112 | 2629485.7085 | 1240255.6339
41 | 2629488.9222 | 1240252.2112 | 2629501.7885 | 1240263.5032
42 | 2629488.9222 | 1240252.2112 | 2629498.5991 | 1240241.8971 | 2629502.8537 | 1240237.077
43 | 2629586.5999 | 1240299.504 | 2629584.2138 | 1240302.1691
44 | 2629586.5999 | 1240299.504 | 2629602.2069 | 1240310.7728
45 | 2629584.2138 | 1240302.1691 | 2629549.3747 | 1240341.0811
46 | 2629530.2392 | 1240288.4725 | 2629584.2138 | 1240302.1691
47 | 2629530.2392 | 1240288.4725 | 2629517.7207 | 1240277.4858
48 | 2629501.7885 | 1240263.5032 | 2629516.347 | 1240276.2802
49 | 2629517.7207 | 1240277.4858 | 2629516.347 | 1240276.2802
50 | 2629302.7031 | 1240211.4983 | 2629309.1003 | 1240203.8027 | 2629313.9305 | 1240198.4801
51 | 2629236.3088 | 1240329.2236 | 2629242.1998 | 1240342.9057 | 2629251.2352 | 1240361.4174 | 2629261.1722 | 1240377.999 | 2629265.6302 | 1240384.7807 | 2629270.0562 | 1240390.9646

## bus_geodata
| x | y | coords
0 | 2629405.5625 | 1240307.5985
1 | 2629396.9343 | 1240299.7696
2 | 2629414.3724 | 1240315.5412
3 | 2629385.6027 | 1240288.9007
4 | 2629421.7314 | 1240322.1759
5 | 2629378.979 | 1240282.5879
6 | 2629398.3072 | 1240273.5283
7 | 2629424.1057 | 1240324.3165
8 | 2629537.4895 | 1240223.2106
9 | 2629550.1301 | 1240234.3704
10 | 2629536.723 | 1240222.5339
11 | 2629558.6646 | 1240234.8465
12 | 2629524.9022 | 1240212.0977
13 | 2629518.831 | 1240218.9759
14 | 2629541.7086 | 1240193.0943
15 | 2629441.9232 | 1240340.3803
16 | 2629444.4862 | 1240342.691
17 | 2629459.3316 | 1240356.0008
18 | 2629473.4009 | 1240361.5033
19 | 2629441.9522 | 1240219.0017
20 | 2629426.6523 | 1240238.2204
21 | 2629457.1231 | 1240199.945
22 | 2629424.6066 | 1240240.7902
23 | 2629475.1472 | 1240177.3042
24 | 2629411.881 | 1240256.666
25 | 2629487.6823 | 1240161.6177
26 | 2629473.0493 | 1240326.0432
27 | 2629473.1873 | 1240342.5897
28 | 2629472.8225 | 1240298.8566
29 | 2629473.5851 | 1240274.8074
30 | 2629474.7508 | 1240271.2921
31 | 2629362.5429 | 1240239.8403
32 | 2629359.5848 | 1240243.118
33 | 2629367.5996 | 1240233.6991
34 | 2629349.4028 | 1240254.4001
35 | 2629355.0414 | 1240259.7741
36 | 2629328.5665 | 1240234.5256
37 | 2629485.7085 | 1240255.6339
38 | 2629488.9222 | 1240252.2112
39 | 2629586.5999 | 1240299.504
40 | 2629584.2138 | 1240302.1691
41 | 2629602.2069 | 1240310.7728
42 | 2629549.3747 | 1240341.0811
43 | 2629530.2392 | 1240288.4725
44 | 2629502.8537 | 1240237.077
45 | 2629501.7885 | 1240263.5032
46 | 2629516.347 | 1240276.2802
47 | 2629517.7207 | 1240277.4858
48 | 2629546.4802 | 1240187.699
49 | 2629302.7031 | 1240211.4983
50 | 2629236.3088 | 1240329.2236
51 | 2629313.9305 | 1240198.4801
52 | 2629270.0562 | 1240390.9646
53 | 2629488.9222 | 1240252.2112

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98725 | -0.089278 | 0.00084665 | 0.00021219
1 | 0.98663 | -0.093688 | 0.0017559 | 0.00044006
2 | 0.9879 | -0.084692 | 0.0015914 | 0.00039885
3 | 0.98583 | -0.099356 | 0 | 0
4 | 0.98846 | -0.080705 | 0.0015962 | 0.00040004
5 | 0.98556 | -0.10131 | 0.0092899 | 0.0023283
6 | 0.98542 | -0.10231 | 0.00027522 | 6.8976e-05
7 | 0.98865 | -0.079367 | 0.0017328 | 0.00043427
8 | 0.99694 | -0.021442 | 0.0021418 | 0.00053679
9 | 0.99681 | -0.022324 | 0.001822 | 0.00045664
10 | 0.99695 | -0.021367 | 0.0021856 | 0.00054775
11 | 0.99677 | -0.022614 | 0.0033809 | 0.00084734
12 | 0.99717 | -0.019858 | 0 | 0
13 | 0.99738 | -0.018357 | 0.0028879 | 0.00072377
14 | 0.99692 | -0.021581 | 0.0038798 | 0.00097237
15 | 0.99013 | -0.068922 | 0.0016092 | 0.0004033
16 | 0.99035 | -0.067365 | 0.0037949 | 0.0009511
17 | 0.99174 | -0.057617 | 0.0022064 | 0.00055296
18 | 0.99288 | -0.049597 | 0 | 0
19 | 0.98419 | -0.11106 | 0.0017799 | 0.00044609
20 | 0.98454 | -0.10852 | 0.001969 | 0.00049348
21 | 0.98389 | -0.11313 | 0.0022415 | 0.00056176
22 | 0.9846 | -0.10811 | 0.00066097 | 0.00016566
23 | 0.98364 | -0.11492 | 0.0046281 | 0.0011599
24 | 0.98497 | -0.10546 | 0.0014795 | 0.00037079
25 | 0.9836 | -0.11521 | 0.0013761 | 0.00034488
26 | 0.99553 | -0.031051 | 0.0018121 | 0.00045415
27 | 0.99426 | -0.039973 | 0.0031501 | 0.00078949
28 | 0.9977 | -0.015947 | 0.0017704 | 0.0004437
29 | 0.99969 | -0.0021665 | 0.0012671 | 0.00031756
30 | 1 | 0 | -0.099536 | -0.024842
31 | 0.98495 | -0.10562 | 0.00033246 | 8.3323e-05
32 | 0.98496 | -0.10559 | 0.00029782 | 7.4641e-05
33 | 0.98495 | -0.10564 | 0.00027356 | 6.856e-05
34 | 0.98498 | -0.10545 | 0 | 0
35 | 0.98501 | -0.1052 | 0.0083684 | 0.0020973
36 | 0.98489 | -0.1061 | 0.00021185 | 5.3094e-05
37 | 0.99891 | -0.0076284 | 0.0016951 | 0.00042483
38 | 0.99865 | -0.0094129 | 0 | 0
39 | 0.997 | -0.021013 | 0 | 0
40 | 0.99701 | -0.020959 | 0.0026874 | 0.00067352
41 | 0.99696 | -0.021302 | 0.0014976 | 0.00037534
42 | 0.99681 | -0.022344 | 0.002639 | 0.00066139
43 | 0.99755 | -0.01714 | 0.0037159 | 0.00093128
44 | 0.99804 | -0.01371 | 0.001667 | 0.00041778
45 | 0.99824 | -0.012348 | 0.0026969 | 0.00067592
46 | 0.99784 | -0.015148 | 0.0019127 | 0.00047937
47 | 0.9978 | -0.015377 | 0.0019596 | 0.00049112
48 | 0.99689 | -0.02179 | 0.0028859 | 0.00072328
49 | 0.98487 | -0.10625 | 0 | 0
50 | 0.98459 | -0.10819 | 0 | 0
51 | 0.98485 | -0.10632 | 0.00041712 | 0.00010454
52 | 0.98444 | -0.1093 | 0.0015267 | 0.00038264
53 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.036972 | 0.0092707 | -0.036949 | -0.0092622 | 2.2578e-05 | 8.5349e-06 | 0.055727 | 0.055727 | 0.055727 | 0.98725 | -0.089278 | 0.98663 | -0.093688 | 20.6395
1 | -0.037818 | -0.0094829 | 0.037842 | 0.009492 | 2.405e-05 | 9.0984e-06 | 0.057003 | 0.057003 | 0.057003 | 0.98725 | -0.089278 | 0.9879 | -0.084692 | 21.1121
2 | 0.035193 | 0.0088221 | -0.035166 | -0.0088117 | 2.7604e-05 | 1.0416e-05 | 0.053079 | 0.053079 | 0.053079 | 0.98663 | -0.093688 | 0.98583 | -0.099356 | 19.6587
3 | -0.039434 | -0.0098909 | 0.039456 | 0.0098991 | 2.1815e-05 | 8.2634e-06 | 0.0594 | 0.0594 | 0.0594 | 0.9879 | -0.084692 | 0.98846 | -0.080705 | 21.9999
4 | 0.020731 | 0.0051927 | -0.020725 | -0.0051907 | 5.5901e-06 | 2.0334e-06 | 0.03129 | 0.03129 | 0.03129 | 0.98583 | -0.099356 | 0.98556 | -0.10131 | 11.5889
5 | 0.014435 | 0.003619 | -0.014429 | -0.003617 | 5.909e-06 | 2.0185e-06 | 0.021789 | 0.021789 | 0.021789 | 0.98583 | -0.099356 | 0.98542 | -0.10231 | 8.0699
6 | -0.041052 | -0.010299 | 0.041059 | 0.010302 | 7.6193e-06 | 2.8895e-06 | 0.061803 | 0.061803 | 0.061803 | 0.98846 | -0.080705 | 0.98865 | -0.079367 | 22.8898
7 | 0.011435 | 0.0028624 | -0.011429 | -0.0028604 | 6.1498e-06 | 1.9442e-06 | 0.017264 | 0.017264 | 0.017264 | 0.98556 | -0.10131 | 0.98501 | -0.1052 | 6.394
8 | 0.014154 | 0.003548 | -0.014148 | -0.0035459 | 6.1705e-06 | 2.0976e-06 | 0.021373 | 0.021373 | 0.021373 | 0.98542 | -0.10231 | 0.98497 | -0.10546 | 7.9161
9 | -0.042792 | -0.010736 | 0.042854 | 0.01076 | 6.2105e-05 | 2.3578e-05 | 0.064411 | 0.06441 | 0.064411 | 0.98865 | -0.079367 | 0.99013 | -0.068922 | 23.8558
10 | 0.0052037 | 0.0013039 | -0.0052031 | -0.0013039 | 6.3474e-07 | 2.4292e-08 | 0.0077669 | 0.007767 | 0.007767 | 0.99694 | -0.021442 | 0.99681 | -0.022324 | 2.8767
11 | -0.0073456 | -0.0018407 | 0.0073456 | 0.0018408 | 7.669e-08 | 1.6165e-08 | 0.010964 | 0.010964 | 0.010964 | 0.99694 | -0.021442 | 0.99695 | -0.021367 | 4.0607
12 | 0.0033811 | 0.00084728 | -0.0033809 | -0.00084734 | 1.3587e-07 | -5.9165e-08 | 0.0050471 | 0.0050472 | 0.0050472 | 0.99681 | -0.022324 | 0.99677 | -0.022614 | 1.8693
13 | -0.0095312 | -0.0023885 | 0.0095332 | 0.0023891 | 1.9913e-06 | 5.6022e-07 | 0.014226 | 0.014226 | 0.014226 | 0.99695 | -0.021367 | 0.99717 | -0.019858 | 5.2688
14 | -0.016301 | -0.004085 | 0.016304 | 0.0040861 | 3.3872e-06 | 1.1831e-06 | 0.024324 | 0.024324 | 0.024324 | 0.99717 | -0.019858 | 0.99738 | -0.018357 | 9.009
15 | 0.0067674 | 0.0016959 | -0.0067658 | -0.0016956 | 1.6144e-06 | 2.9007e-07 | 0.010099 | 0.010099 | 0.010099 | 0.99717 | -0.019858 | 0.99692 | -0.021581 | 3.7403
16 | -0.019192 | -0.0048099 | 0.019204 | 0.0048143 | 1.2352e-05 | 4.4353e-06 | 0.028633 | 0.028633 | 0.028633 | 0.99738 | -0.018357 | 0.99804 | -0.01371 | 10.6048
17 | 0.002886 | 0.00072322 | -0.0028859 | -0.00072328 | 8.34e-08 | -6.1833e-08 | 0.0043077 | 0.0043077 | 0.0043077 | 0.99692 | -0.021581 | 0.99689 | -0.02179 | 1.5954
18 | -0.044464 | -0.011163 | 0.044473 | 0.011167 | 9.6169e-06 | 3.6544e-06 | 0.066829 | 0.066829 | 0.066829 | 0.99013 | -0.068922 | 0.99035 | -0.067365 | 24.7514
19 | -0.048268 | -0.012118 | 0.048334 | 0.012143 | 6.5452e-05 | 2.4917e-05 | 0.072531 | 0.072531 | 0.072531 | 0.99035 | -0.067365 | 0.99174 | -0.057617 | 26.8632
20 | -0.05054 | -0.012696 | 0.050596 | 0.012717 | 5.6439e-05 | 2.1504e-05 | 0.075841 | 0.075841 | 0.075841 | 0.99174 | -0.057617 | 0.99288 | -0.049597 | 28.0893
21 | -0.050596 | -0.012717 | 0.050664 | 0.012743 | 6.7888e-05 | 2.5866e-05 | 0.075841 | 0.075841 | 0.075841 | 0.99288 | -0.049597 | 0.99426 | -0.039973 | 28.0893
22 | -0.010029 | -0.0025132 | 0.010033 | 0.0025142 | 3.5246e-06 | 1.0433e-06 | 0.015164 | 0.015164 | 0.015164 | 0.98419 | -0.11106 | 0.98454 | -0.10852 | 5.6162
23 | 0.0082495 | 0.0020671 | -0.0082472 | -0.0020665 | 2.3645e-06 | 5.9998e-07 | 0.012473 | 0.012473 | 0.012473 | 0.98419 | -0.11106 | 0.98389 | -0.11313 | 4.6195
24 | -0.012002 | -0.0030077 | 0.012003 | 0.0030079 | 6.744e-07 | 2.1761e-07 | 0.018139 | 0.018139 | 0.018139 | 0.98454 | -0.10852 | 0.9846 | -0.10811 | 6.7183
25 | 0.0060057 | 0.0015048 | -0.0060042 | -0.0015045 | 1.4897e-06 | 2.0554e-07 | 0.0090827 | 0.0090828 | 0.0090828 | 0.98389 | -0.11313 | 0.98364 | -0.11492 | 3.364
26 | -0.012664 | -0.0031736 | 0.012668 | 0.0031751 | 4.6503e-06 | 1.5297e-06 | 0.019138 | 0.019138 | 0.019138 | 0.9846 | -0.10811 | 0.98497 | -0.10546 | 7.0883
27 | 0.0013761 | 0.00034464 | -0.0013761 | -0.00034488 | 5.4298e-08 | -2.3399e-07 | 0.0020817 | 0.0020818 | 0.0020818 | 0.98364 | -0.11492 | 0.9836 | -0.11521 | 0.77102
28 | 0.053881 | 0.013558 | -0.053814 | -0.013533 | 6.7003e-05 | 2.5556e-05 | 0.080555 | 0.080555 | 0.080555 | 0.99553 | -0.031051 | 0.99426 | -0.039973 | 29.8353
29 | -0.055693 | -0.014012 | 0.055811 | 0.014057 | 0.00011762 | 4.4883e-05 | 0.083264 | 0.083264 | 0.083264 | 0.99553 | -0.031051 | 0.9977 | -0.015947 | 30.8384
30 | -0.057581 | -0.014501 | 0.057693 | 0.014543 | 0.00011114 | 4.2429e-05 | 0.085904 | 0.085904 | 0.085904 | 0.9977 | -0.015947 | 0.99969 | -0.0021665 | 31.8163
31 | -0.05896 | -0.014861 | 0.058978 | 0.014868 | 1.7892e-05 | 6.8327e-06 | 0.08779 | 0.08779 | 0.08779 | 0.99969 | -0.0021665 | 1 | 0 | 32.5148
32 | 0.039759 | 0.009974 | -0.039717 | -0.0099581 | 4.2023e-05 | 1.591e-05 | 0.059165 | 0.059165 | 0.059165 | 1 | 0 | 0.99891 | -0.0076284 | 21.9131
33 | -0.00060602 | -0.00015178 | 0.00060602 | 0.00015173 | 2.3091e-09 | -5.5306e-08 | 0.00091551 | 0.00091549 | 0.00091551 | 0.98495 | -0.10562 | 0.98496 | -0.10559 | 0.33908
34 | 0.00027356 | 6.8459e-05 | -0.00027356 | -6.856e-05 | 8.4819e-10 | -1.0097e-07 | 0.00041324 | 0.00041328 | 0.00041328 | 0.98495 | -0.10562 | 0.98495 | -0.10564 | 0.15307
35 | -0.00090384 | -0.00022637 | 0.00090386 | 0.00022618 | 1.7679e-08 | -1.8663e-07 | 0.0013654 | 0.0013653 | 0.0013654 | 0.98496 | -0.10559 | 0.98498 | -0.10545 | 0.50571
36 | -0.0030605 | -0.00076319 | 0.0030606 | 0.00076313 | 1.0384e-07 | -5.9208e-08 | 0.0046221 | 0.0046221 | 0.0046221 | 0.98498 | -0.10545 | 0.98501 | -0.1052 | 1.7119
37 | 0.0021566 | 0.00053701 | -0.0021564 | -0.0005373 | 1.9058e-07 | -2.9317e-07 | 0.0032568 | 0.0032569 | 0.0032569 | 0.98498 | -0.10545 | 0.98489 | -0.1061 | 1.2063
38 | 0.00041713 | 0.00010389 | -0.00041712 | -0.00010432 | 8.5814e-09 | -4.3753e-07 | 0.00062999 | 0.00063015 | 0.00063015 | 0.98489 | -0.1061 | 0.98487 | -0.10625 | 0.23339
39 | 0.0015274 | 0.00038032 | -0.001527 | -0.00038183 | 4.3912e-07 | -1.5131e-06 | 0.0023068 | 0.0023074 | 0.0023074 | 0.98489 | -0.1061 | 0.98459 | -0.10819 | 0.8546
40 | 0.038022 | 0.0095333 | -0.038012 | -0.0095297 | 9.3988e-06 | 3.5535e-06 | 0.05664 | 0.05664 | 0.05664 | 0.99891 | -0.0076284 | 0.99865 | -0.0094129 | 20.9779
41 | 0.017129 | 0.0042931 | -0.017122 | -0.0042906 | 6.9582e-06 | 2.4524e-06 | 0.025522 | 0.025522 | 0.025522 | 0.99865 | -0.0094129 | 0.99824 | -0.012348 | 9.4528
42 | 0.020884 | 0.0052366 | -0.020871 | -0.0052321 | 1.2431e-05 | 4.512e-06 | 0.031118 | 0.031118 | 0.031118 | 0.99865 | -0.0094129 | 0.99804 | -0.01371 | 11.5252
43 | -0.0014977 | -0.00037511 | 0.0014977 | 0.00037507 | 1.1152e-08 | -4.236e-08 | 0.0022352 | 0.0022352 | 0.0022352 | 0.997 | -0.021013 | 0.99701 | -0.020959 | 0.82785
44 | 0.0014977 | 0.00037511 | -0.0014976 | -0.00037534 | 6.0015e-08 | -2.2794e-07 | 0.0022352 | 0.0022353 | 0.0022353 | 0.997 | -0.021013 | 0.99696 | -0.021302 | 0.82788
45 | 0.0026395 | 0.00066091 | -0.002639 | -0.00066139 | 5.0575e-07 | -4.8647e-07 | 0.0039392 | 0.0039394 | 0.0039394 | 0.99701 | -0.020959 | 0.99681 | -0.022344 | 1.459
46 | -0.0068246 | -0.0017095 | 0.0068282 | 0.0017102 | 3.6046e-06 | 6.5979e-07 | 0.010185 | 0.010185 | 0.010185 | 0.99701 | -0.020959 | 0.99755 | -0.01714 | 3.7723
47 | -0.010544 | -0.0026414 | 0.010547 | 0.0026422 | 2.5709e-06 | 7.7131e-07 | 0.015728 | 0.015728 | 0.015728 | 0.99755 | -0.01714 | 0.9978 | -0.015377 | 5.8251
48 | 0.014425 | 0.0036147 | -0.014419 | -0.0036128 | 5.5884e-06 | 1.8963e-06 | 0.021502 | 0.021502 | 0.021502 | 0.99824 | -0.012348 | 0.99784 | -0.015148 | 7.9638
49 | 0.012507 | 0.0031335 | -0.012506 | -0.0031333 | 3.9668e-07 | 1.287e-07 | 0.01865 | 0.01865 | 0.01865 | 0.99784 | -0.015148 | 0.9978 | -0.015377 | 6.9074
50 | 0.00041712 | 0.00010432 | -0.00041712 | -0.00010454 | 4.2611e-09 | -2.1717e-07 | 0.00063015 | 0.00063023 | 0.00063023 | 0.98487 | -0.10625 | 0.98485 | -0.10632 | 0.23342
51 | 0.001527 | 0.00038183 | -0.0015267 | -0.00038264 | 2.3441e-07 | -8.0693e-07 | 0.0023074 | 0.0023077 | 0.0023077 | 0.98459 | -0.10819 | 0.98444 | -0.1093 | 0.85472

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.10092 | 0.025187

## res_load
| p_mw | q_mvar
0 | 0.00084665 | 0.00021219
1 | 0.0017559 | 0.00044006
2 | 0.0015914 | 0.00039885
3 | 0.0015962 | 0.00040004
4 | 0.0092899 | 0.0023283
5 | 0.00027522 | 6.8976e-05
6 | 0.0017328 | 0.00043427
7 | 0.0021418 | 0.00053679
8 | 0.001822 | 0.00045664
9 | 0.0021856 | 0.00054775
10 | 0.0033809 | 0.00084734
11 | 0.0028879 | 0.00072377
12 | 0.0038798 | 0.00097237
13 | 0.0016092 | 0.0004033
14 | 0.0037949 | 0.0009511
15 | 0.0022064 | 0.00055296
16 | 0.0017799 | 0.00044609
17 | 0.001969 | 0.00049348
18 | 0.0022415 | 0.00056176
19 | 0.00066097 | 0.00016566
20 | 0.0046281 | 0.0011599
21 | 0.0014795 | 0.00037079
22 | 0.0013761 | 0.00034488
23 | 0.0018121 | 0.00045415
24 | 0.0031501 | 0.00078949
25 | 0.0017704 | 0.0004437
26 | 0.0012671 | 0.00031756
27 | 0.0013785 | 0.00034549
28 | 0.00033246 | 8.3323e-05
29 | 0.00029782 | 7.4641e-05
30 | 0.00027356 | 6.856e-05
31 | 0.0083684 | 0.0020973
32 | 0.00021185 | 5.3094e-05
33 | 0.0016951 | 0.00042483
34 | 0.0026874 | 0.00067352
35 | 0.0014976 | 0.00037534
36 | 0.002639 | 0.00066139
37 | 0.0037159 | 0.00093128
38 | 0.001667 | 0.00041778
39 | 0.0026969 | 0.00067592
40 | 0.0019127 | 0.00047937
41 | 0.0019596 | 0.00049112
42 | 0.0028859 | 0.00072328
43 | 0.00041712 | 0.00010454
44 | 0.0015267 | 0.00038264

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1