## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2578-8_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2578-8_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2578-8_0_2_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_2578-8_0_2_node_37 | 0.4 | n |  | TRUE
4 | bus_LV_2578-8_0_2_node_38 | 0.4 | n |  | TRUE
5 | bus_LV_2578-8_0_2_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_2578-8_0_2_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_2578-8_0_2_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_2578-8_0_2_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_2578-8_0_2_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_2578-8_0_2_node_22 | 0.4 | n |  | TRUE
11 | bus_LV_2578-8_0_2_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_2578-8_0_2_node_43 | 0.4 | n |  | TRUE
13 | bus_LV_2578-8_0_2_node_23 | 0.4 | n |  | TRUE
14 | bus_LV_2578-8_0_2_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_2578-8_0_2_node_46 | 0.4 | n |  | TRUE
16 | bus_LV_2578-8_0_2_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_2578-8_0_2_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_2578-8_0_2_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_2578-8_0_2_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_2578-8_0_2_node_34 | 0.4 | n |  | TRUE
21 | bus_LV_2578-8_0_2_node_36 | 0.4 | n |  | TRUE
22 | bus_LV_2578-8_0_2_node_32 | 0.4 | n |  | TRUE
23 | bus_LV_2578-8_0_2_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_2578-8_0_2_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_2578-8_0_2_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_2578-8_0_2_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_2578-8_0_2_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_2578-8_0_2_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_2578-8_0_2_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_2578-8_0_2_node_31 | 0.4 | n |  | TRUE
31 | bus_LV_2578-8_0_2_node_35 | 0.4 | n |  | TRUE
32 | bus_LV_2578-8_0_2_node_44 | 0.4 | n |  | TRUE
33 | bus_LV_2578-8_0_2_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_2578-8_0_2_node_33 | 0.4 | n |  | TRUE
35 | bus_LV_2578-8_0_2_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_2578-8_0_2_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_2578-8_0_2_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_2578-8_0_2_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_2578-8_0_2_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_2578-8_0_2_node_26 | 0.4 | n |  | TRUE
41 | bus_LV_2578-8_0_2_node_41 | 0.4 | n |  | TRUE
42 | bus_LV_2578-8_0_2_node_40 | 0.4 | n |  | TRUE
43 | bus_LV_2578-8_0_2_node_39 | 0.4 | n |  | TRUE
44 | bus_LV_2578-8_0_2_node_45 | 0.4 | n |  | TRUE
45 | bus_LV_2578-8_0_2_node_42 | 0.4 | n |  | TRUE
46 | bus_MV_334_0_node_212 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2578-8_0_2_load_0 | 0 | 0.0015703 | 0.00039356 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2578-8_0_2_load_3 | 2 | 0.0018606 | 0.0004663 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2578-8_0_2_load_37 | 3 | 0.0024816 | 0.00062195 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2578-8_0_2_load_4 | 5 | 0.0022907 | 0.00057409 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2578-8_0_2_load_5 | 6 | 0.0013301 | 0.00033334 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2578-8_0_2_load_6 | 7 | 0.0028763 | 0.00072088 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2578-8_0_2_load_22 | 10 | 0.0020637 | 0.00051721 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2578-8_0_2_load_10 | 11 | 0.00079619 | 0.00019955 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2578-8_0_2_load_43 | 12 | 0.0014414 | 0.00036125 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2578-8_0_2_load_23 | 13 | 0.0039727 | 0.00099566 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2578-8_0_2_load_9 | 14 | 0.0016024 | 0.00040159 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2578-8_0_2_load_46 | 15 | 0.0024904 | 0.00062415 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2578-8_0_2_load_11 | 16 | 0.0014507 | 0.00036358 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2578-8_0_2_load_12 | 17 | 0.0045313 | 0.0011356 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2578-8_0_2_load_14 | 19 | 0.00076502 | 0.00019173 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2578-8_0_2_load_32 | 22 | 0.0013966 | 0.00035002 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2578-8_0_2_load_15 | 23 | 0.0082211 | 0.0020604 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2578-8_0_2_load_16 | 24 | 0.0036458 | 0.00091372 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2578-8_0_2_load_19 | 27 | 0.011413 | 0.0028604 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2578-8_0_2_load_20 | 28 | 0.0092084 | 0.0023078 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2578-8_0_2_load_31 | 30 | 0.0083816 | 0.0021006 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2578-8_0_2_load_35 | 31 | 0.034824 | 0.0087277 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2578-8_0_2_load_44 | 32 | 0.0023047 | 0.00057761 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2578-8_0_2_load_28 | 33 | 0.008987 | 0.0022523 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2578-8_0_2_load_33 | 34 | 0.00049277 | 0.0001235 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2578-8_0_2_load_24 | 35 | 0.0016368 | 0.00041023 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2578-8_0_2_load_29 | 37 | 0.0047314 | 0.0011858 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2578-8_0_2_load_30 | 38 | 0.015297 | 0.0038337 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2578-8_0_2_load_25 | 39 | 0.012422 | 0.0031132 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2578-8_0_2_load_26 | 40 | 0.0088754 | 0.0022244 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2578-8_0_2_load_40 | 42 | 0.019186 | 0.0048084 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2578-8_0_2_load_45 | 44 | 0.0065816 | 0.0016495 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2578-8_0_2_load_42 | 45 | 0.002089 | 0.00052354 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 33 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2578-8_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0033323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2578-8_0_2_line_1 | NAYY 4x150 SE | 1 | 2 | 0.023912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2578-8_0_2_line_2 | NAYY 4x150 SE | 2 | 3 | 0.020599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2578-8_0_2_line_3 | NAYY 4x150 SE | 3 | 4 | 0.017028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2578-8_0_2_line_4 | NAYY 4x150 SE | 4 | 43 | 0.014803 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2578-8_0_2_line_5 | NAYY 4x150 SE | 4 | 38 | 0.062193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2578-8_0_2_line_6 | NAYY 4x150 SE | 5 | 6 | 0.023402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2578-8_0_2_line_7 | NAYY 4x150 SE | 5 | 7 | 0.014475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2578-8_0_2_line_8 | NAYY 4x150 SE | 6 | 8 | 0.01242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2578-8_0_2_line_9 | NAYY 4x150 SE | 7 | 9 | 0.021724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2578-8_0_2_line_10 | NAYY 4x150 SE | 8 | 10 | 0.0046223 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2578-8_0_2_line_11 | NAYY 4x150 SE | 8 | 11 | 0.011947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2578-8_0_2_line_12 | NAYY 4x150 SE | 9 | 12 | 0.040836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2578-8_0_2_line_13 | NAYY 4x150 SE | 10 | 13 | 0.0088068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2578-8_0_2_line_14 | NAYY 4x150 SE | 11 | 14 | 0.020433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2578-8_0_2_line_15 | NAYY 4x150 SE | 12 | 15 | 0.032997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2578-8_0_2_line_16 | NAYY 4x150 SE | 13 | 35 | 0.01101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2578-8_0_2_line_17 | NAYY 4x150 SE | 14 | 16 | 0.027683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2578-8_0_2_line_18 | NAYY 4x150 SE | 17 | 18 | 0.036036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2578-8_0_2_line_19 | NAYY 4x150 SE | 18 | 19 | 0.050309 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2578-8_0_2_line_20 | NAYY 4x150 SE | 19 | 20 | 0.014641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2578-8_0_2_line_21 | NAYY 4x150 SE | 20 | 21 | 0.003808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2578-8_0_2_line_22 | NAYY 4x150 SE | 20 | 22 | 0.035051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2578-8_0_2_line_23 | NAYY 4x150 SE | 21 | 44 | 0.045338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2578-8_0_2_line_24 | NAYY 4x150 SE | 22 | 34 | 0.013853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2578-8_0_2_line_25 | NAYY 4x150 SE | 23 | 24 | 0.015689 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2578-8_0_2_line_26 | NAYY 4x150 SE | 23 | 25 | 0.025505 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2578-8_0_2_line_27 | NAYY 4x150 SE | 24 | 26 | 0.019248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2578-8_0_2_line_28 | NAYY 4x150 SE | 25 | 27 | 0.032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2578-8_0_2_line_29 | NAYY 4x150 SE | 25 | 28 | 0.0043946 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2578-8_0_2_line_30 | NAYY 4x150 SE | 26 | 29 | 0.009949 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2578-8_0_2_line_31 | NAYY 4x150 SE | 27 | 30 | 0.033377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2578-8_0_2_line_32 | NAYY 4x150 SE | 28 | 31 | 0.037419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2578-8_0_2_line_33 | NAYY 4x150 SE | 29 | 32 | 0.014237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2578-8_0_2_line_34 | NAYY 4x150 SE | 30 | 33 | 0.0024322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2578-8_0_2_line_35 | NAYY 4x150 SE | 31 | 34 | 0.013912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2578-8_0_2_line_36 | NAYY 4x150 SE | 33 | 40 | 0.023292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2578-8_0_2_line_37 | NAYY 4x150 SE | 35 | 36 | 0.015056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2578-8_0_2_line_38 | NAYY 4x150 SE | 36 | 37 | 0.043723 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2578-8_0_2_line_39 | NAYY 4x150 SE | 36 | 38 | 0.040052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2578-8_0_2_line_40 | NAYY 4x150 SE | 36 | 39 | 0.020581 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2578-8_0_2_line_41 | NAYY 4x150 SE | 37 | 41 | 0.018466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2578-8_0_2_line_42 | NAYY 4x150 SE | 39 | 40 | 0.0013668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2578-8_0_2_line_43 | NAYY 4x150 SE | 41 | 42 | 0.030467 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2578-8_0_2_line_44 | NAYY 4x150 SE | 43 | 45 | 0.015617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2578-8_0_2_trafo_28 | 0.25 MVA 20/0.4 kV | 46 | 33 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2629613.5983 | 1240495.896 | 2629611.2859 | 1240493.4966
1 | 2629613.5983 | 1240495.896 | 2629630.1012 | 1240513.2002 | 2629630.1012 | 1240513.2002
2 | 2629630.1012 | 1240513.2002 | 2629629.9006 | 1240513.9997 | 2629627.5014 | 1240517.5011 | 2629626.7015 | 1240518.6979 | 2629626.7041 | 1240519.6985 | 2629627.1981 | 1240520.7016 | 2629628.8974 | 1240522.6002 | 2629635.5612 | 1240529.2645
3 | 2629647.601 | 1240541.3052 | 2629635.5612 | 1240529.2645
4 | 2629658.208 | 1240530.9516 | 2629648.2009 | 1240540.7968 | 2629647.601 | 1240541.3052
5 | 2629647.601 | 1240541.3052 | 2629615.9037 | 1240571.9111 | 2629601.7057 | 1240583.1877
6 | 2629515.8345 | 1240555.2994 | 2629521.8974 | 1240558.2016 | 2629533.8014 | 1240563.6975 | 2629536.8291 | 1240565.5862
7 | 2629515.8345 | 1240555.2994 | 2629502.7783 | 1240549.0496
8 | 2629545.9008 | 1240573.9975 | 2629544.8038 | 1240572.6023 | 2629541.2978 | 1240569.1049 | 2629537.5024 | 1240566.0063 | 2629536.8291 | 1240565.5862
9 | 2629483.903 | 1240538.4006 | 2629486.6977 | 1240540.5046 | 2629490.3988 | 1240542.8022 | 2629496.1979 | 1240545.8996 | 2629502.7783 | 1240549.0496
10 | 2629545.9008 | 1240573.9975 | 2629548.7105 | 1240577.6678
11 | 2629545.9008 | 1240573.9975 | 2629554.3891 | 1240565.5899
12 | 2629483.903 | 1240538.4006 | 2629487.4741 | 1240533.3818 | 2629511.9618 | 1240508.8298
13 | 2629553.7888 | 1240584.8621 | 2629549.1987 | 1240578.3055 | 2629548.7105 | 1240577.6678
14 | 2629568.9079 | 1240551.2123 | 2629557.0249 | 1240562.9791 | 2629554.3891 | 1240565.5899
15 | 2629535.2639 | 1240485.4664 | 2629511.9618 | 1240508.8298
16 | 2629560.103 | 1240593.8813 | 2629553.7888 | 1240584.8621
17 | 2629568.9079 | 1240551.2123 | 2629588.5787 | 1240531.7337
18 | 2629602.1039 | 1240743.6066 | 2629596.59 | 1240725.7901 | 2629585.7679 | 1240712.1829
19 | 2629602.1039 | 1240743.6066 | 2629597.3023 | 1240743.705 | 2629592.8021 | 1240744.005 | 2629589.4043 | 1240744.5996 | 2629586.2989 | 1240745.6959 | 2629561.5027 | 1240757.2021 | 2629555.2773 | 1240760.2177
20 | 2629542.1003 | 1240766.6005 | 2629555.2773 | 1240760.2177
21 | 2629543.7997 | 1240770 | 2629542.4007 | 1240767.0023 | 2629542.1003 | 1240766.6005
22 | 2629542.1003 | 1240766.6005 | 2629540.1003 | 1240762.8326 | 2629529.3904 | 1240742.3109 | 2629525.7472 | 1240735.5993
23 | 2629543.7997 | 1240770 | 2629505.907 | 1240794.8931
24 | 2629525.7472 | 1240735.5993 | 2629519.1634 | 1240723.4704 | 2629519.1325 | 1240723.4276
25 | 2629461.6227 | 1240647.7704 | 2629470.6081 | 1240654.7861 | 2629473.596 | 1240657.8635
26 | 2629483.8786 | 1240680.4792 | 2629482.4865 | 1240673.0454 | 2629481.3377 | 1240668.3812 | 2629479.1268 | 1240664.4344 | 2629476.8668 | 1240661.2323 | 2629473.596 | 1240657.8635
27 | 2629444.2204 | 1240639.5457 | 2629461.6227 | 1240647.7704
28 | 2629483.8786 | 1240680.4792 | 2629493.5798 | 1240671.2215 | 2629507.4806 | 1240658.8785
29 | 2629483.8786 | 1240680.4792 | 2629486.9735 | 1240683.5992
30 | 2629444.2204 | 1240639.5457 | 2629450.2677 | 1240647.4584
31 | 2629532.439 | 1240636.7171 | 2629507.4806 | 1240658.8785
32 | 2629510.9836 | 1240712.152 | 2629499.4066 | 1240696.1328 | 2629486.9735 | 1240683.5992
33 | 2629450.2677 | 1240647.4584 | 2629439.6632 | 1240656.9576
34 | 2629532.439 | 1240636.7171 | 2629534.2577 | 1240635.1023
35 | 2629510.9836 | 1240712.152 | 2629519.1325 | 1240723.4276
36 | 2629551.675 | 1240619.6369 | 2629534.2577 | 1240635.1023
37 | 2629568.9005 | 1240606.0988 | 2629563.8987 | 1240599.303 | 2629560.103 | 1240593.8813
38 | 2629568.9005 | 1240606.0988 | 2629589.8033 | 1240634.0983 | 2629594.6361 | 1240641.4301
39 | 2629568.9005 | 1240606.0988 | 2629578.8449 | 1240599.6886 | 2629591.2251 | 1240591.5117 | 2629601.7057 | 1240583.1877
40 | 2629568.9005 | 1240606.0988 | 2629559.773 | 1240612.4463 | 2629552.697 | 1240618.7294
41 | 2629604.4024 | 1240657.0966 | 2629598.8985 | 1240647.8967 | 2629594.6361 | 1240641.4301
42 | 2629551.675 | 1240619.6369 | 2629552.697 | 1240618.7294
43 | 2629604.4024 | 1240657.0966 | 2629614.6782 | 1240652.4337 | 2629628.8972 | 1240660.6542 | 2629631.4066 | 1240661.7984
44 | 2629658.208 | 1240530.9516 | 2629670.1254 | 1240541.0438

## bus_geodata
| x | y | coords
0 | 2629611.2859 | 1240493.4966
1 | 2629613.5983 | 1240495.896
2 | 2629630.1012 | 1240513.2002
3 | 2629635.5612 | 1240529.2645
4 | 2629647.601 | 1240541.3052
5 | 2629515.8345 | 1240555.2994
6 | 2629536.8291 | 1240565.5862
7 | 2629502.7783 | 1240549.0495
8 | 2629545.9008 | 1240573.9975
9 | 2629483.903 | 1240538.4006
10 | 2629548.7105 | 1240577.6678
11 | 2629554.3891 | 1240565.59
12 | 2629511.9618 | 1240508.8298
13 | 2629553.7888 | 1240584.8621
14 | 2629568.9079 | 1240551.2123
15 | 2629535.2639 | 1240485.4664
16 | 2629588.5787 | 1240531.7337
17 | 2629585.7679 | 1240712.1829
18 | 2629602.1039 | 1240743.6066
19 | 2629555.2773 | 1240760.2177
20 | 2629542.1003 | 1240766.6005
21 | 2629543.7997 | 1240770
22 | 2629525.7472 | 1240735.5993
23 | 2629473.596 | 1240657.8635
24 | 2629461.6227 | 1240647.7704
25 | 2629483.8786 | 1240680.4792
26 | 2629444.2204 | 1240639.5457
27 | 2629507.4806 | 1240658.8785
28 | 2629486.9735 | 1240683.5992
29 | 2629450.2677 | 1240647.4584
30 | 2629532.439 | 1240636.7171
31 | 2629510.9836 | 1240712.152
32 | 2629439.6632 | 1240656.9576
33 | 2629534.2577 | 1240635.1023
34 | 2629519.1325 | 1240723.4276
35 | 2629560.103 | 1240593.8813
36 | 2629568.9005 | 1240606.0988
37 | 2629594.6361 | 1240641.4301
38 | 2629601.7057 | 1240583.1877
39 | 2629552.697 | 1240618.7294
40 | 2629551.675 | 1240619.6369
41 | 2629604.4024 | 1240657.0966
42 | 2629631.4066 | 1240661.7984
43 | 2629658.208 | 1240530.9516
44 | 2629505.907 | 1240794.8931
45 | 2629670.1254 | 1240541.0438
46 | 2629568.9005 | 1240606.0988

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99241 | -0.053211 | 0.0015703 | 0.00039356
1 | 0.99242 | -0.053158 | 0 | 0
2 | 0.99247 | -0.052777 | 0.0018606 | 0.0004663
3 | 0.99258 | -0.05206 | 0.0024816 | 0.00062195
4 | 0.99272 | -0.05104 | 0 | 0
5 | 0.99319 | -0.047756 | 0.0022907 | 0.00057409
6 | 0.99349 | -0.045599 | 0.0013301 | 0.00033334
7 | 0.99305 | -0.048755 | 0.0028763 | 0.00072088
8 | 0.99368 | -0.044288 | 0 | 0
9 | 0.99292 | -0.049621 | 0 | 0
10 | 0.99377 | -0.04362 | 0.0020637 | 0.00051721
11 | 0.99361 | -0.044754 | 0.00079619 | 0.00019955
12 | 0.99269 | -0.051249 | 0.0014414 | 0.00036125
13 | 0.99398 | -0.042164 | 0.0039727 | 0.00099566
14 | 0.99352 | -0.045385 | 0.0016024 | 0.00040159
15 | 0.99257 | -0.052082 | 0.0024904 | 0.00062415
16 | 0.99347 | -0.045792 | 0.0014507 | 0.00036358
17 | 0.98755 | -0.087388 | 0.0045313 | 0.0011356
18 | 0.98779 | -0.085717 | 0 | 0
19 | 0.98812 | -0.083383 | 0.00076502 | 0.00019173
20 | 0.98823 | -0.082589 | 0 | 0
21 | 0.98819 | -0.082845 | 0 | 0
22 | 0.98883 | -0.078331 | 0.0013966 | 0.00035002
23 | 0.99184 | -0.057088 | 0.0082211 | 0.0020604
24 | 0.9917 | -0.058036 | 0.0036458 | 0.00091372
25 | 0.99236 | -0.053422 | 0 | 0
26 | 0.99164 | -0.058487 | 0 | 0
27 | 0.99567 | -0.030148 | 0.011413 | 0.0028604
28 | 0.99199 | -0.055998 | 0.0092084 | 0.0023078
29 | 0.99161 | -0.05872 | 0 | 0
30 | 0.99968 | -0.0022291 | 0.0083816 | 0.0021006
31 | 0.98937 | -0.074496 | 0.034824 | 0.0087277
32 | 0.99156 | -0.059053 | 0.0023047 | 0.00057761
33 | 1 | 0 | -0.18434 | -0.046161
34 | 0.9891 | -0.076452 | 0.00049277 | 0.0001235
35 | 0.9943 | -0.039903 | 0.0016368 | 0.00041023
36 | 0.99477 | -0.036565 | 0 | 0
37 | 0.99327 | -0.04713 | 0.0047314 | 0.0011858
38 | 0.99344 | -0.045996 | 0.015297 | 0.0038337
39 | 0.99682 | -0.022227 | 0.012422 | 0.0031132
40 | 0.99698 | -0.021106 | 0.0088754 | 0.0022244
41 | 0.99276 | -0.050717 | 0 | 0
42 | 0.99192 | -0.056641 | 0.019186 | 0.0048084
43 | 0.99268 | -0.051353 | 0 | 0
44 | 0.98776 | -0.085897 | 0.0065816 | 0.0016495
45 | 0.99263 | -0.051684 | 0.002089 | 0.00052354
46 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0015703 | -0.00039356 | 0.0015703 | 0.00039352 | 1.1528e-08 | -3.8624e-08 | 0.0023545 | 0.0023545 | 0.0023545 | 0.99241 | -0.053211 | 0.99242 | -0.053158 | 0.87205
1 | -0.0015703 | -0.00039352 | 0.0015704 | 0.00039325 | 8.2716e-08 | -2.7717e-07 | 0.0023545 | 0.0023544 | 0.0023545 | 0.99242 | -0.053158 | 0.99247 | -0.052777 | 0.87205
2 | -0.003431 | -0.00085955 | 0.0034313 | 0.00085941 | 3.4012e-07 | -1.3541e-07 | 0.005144 | 0.0051439 | 0.005144 | 0.99247 | -0.052777 | 0.99258 | -0.05206 | 1.9052
3 | -0.005913 | -0.0014814 | 0.0059138 | 0.0014815 | 8.3485e-07 | 1.0098e-07 | 0.0088642 | 0.0088641 | 0.0088642 | 0.99258 | -0.05206 | 0.99272 | -0.05104 | 3.283
4 | 0.0020892 | 0.00052322 | -0.0020891 | -0.00052338 | 9.0575e-08 | -1.5654e-07 | 0.0031314 | 0.0031314 | 0.0031314 | 0.99272 | -0.05104 | 0.99268 | -0.051353 | 1.1598
5 | -0.0080029 | -0.0020047 | 0.0080085 | 0.002006 | 5.5841e-06 | 1.343e-06 | 0.011995 | 0.011995 | 0.011995 | 0.99272 | -0.05104 | 0.99344 | -0.045996 | 4.4428
6 | -0.0091014 | -0.0022799 | 0.0091041 | 0.0022807 | 2.715e-06 | 7.413e-07 | 0.013636 | 0.013635 | 0.013636 | 0.99319 | -0.047756 | 0.99349 | -0.045599 | 5.0502
7 | 0.0068107 | 0.0017058 | -0.0068098 | -0.0017057 | 9.404e-07 | 1.744e-07 | 0.010204 | 0.010204 | 0.010204 | 0.99319 | -0.047756 | 0.99305 | -0.048755 | 3.7791
8 | -0.010434 | -0.002614 | 0.010436 | 0.0026146 | 1.8927e-06 | 5.6712e-07 | 0.015628 | 0.015627 | 0.015628 | 0.99349 | -0.045599 | 0.99368 | -0.044288 | 5.788
9 | 0.0039334 | 0.00098479 | -0.003933 | -0.00098489 | 4.7087e-07 | -9.9917e-08 | 0.0058936 | 0.0058937 | 0.0058937 | 0.99305 | -0.048755 | 0.99292 | -0.049621 | 2.1829
10 | -0.014286 | -0.0035788 | 0.014287 | 0.0035792 | 1.3199e-06 | 4.4779e-07 | 0.021392 | 0.021392 | 0.021392 | 0.99368 | -0.044288 | 0.99377 | -0.04362 | 7.9231
11 | 0.0038499 | 0.00096417 | -0.0038496 | -0.00096423 | 2.4776e-07 | -5.9461e-08 | 0.0057649 | 0.0057649 | 0.0057649 | 0.99368 | -0.044288 | 0.99361 | -0.044754 | 2.1352
12 | 0.003933 | 0.00098489 | -0.0039321 | -0.00098508 | 8.8516e-07 | -1.8761e-07 | 0.0058937 | 0.0058939 | 0.0058939 | 0.99292 | -0.049621 | 0.99269 | -0.051249 | 2.1829
13 | -0.016351 | -0.0040964 | 0.016354 | 0.0040976 | 3.2939e-06 | 1.1527e-06 | 0.024482 | 0.024482 | 0.024482 | 0.99377 | -0.04362 | 0.99398 | -0.042164 | 9.0675
14 | 0.0030534 | 0.00076468 | -0.0030532 | -0.00076484 | 2.6659e-07 | -1.621e-07 | 0.0045725 | 0.0045726 | 0.0045726 | 0.99361 | -0.044754 | 0.99352 | -0.045385 | 1.6936
15 | 0.0024907 | 0.00062383 | -0.0024904 | -0.00062415 | 2.8699e-07 | -3.1617e-07 | 0.0037333 | 0.0037334 | 0.0037334 | 0.99269 | -0.051249 | 0.99257 | -0.052082 | 1.3828
16 | -0.020327 | -0.0050932 | 0.020333 | 0.0050955 | 6.3614e-06 | 2.304e-06 | 0.03043 | 0.03043 | 0.03043 | 0.99398 | -0.042164 | 0.9943 | -0.039903 | 11.2702
17 | 0.0014508 | 0.00036326 | -0.0014507 | -0.00036358 | 8.1554e-08 | -3.2711e-07 | 0.0021728 | 0.0021729 | 0.0021729 | 0.99352 | -0.045385 | 0.99347 | -0.045792 | 0.80477
18 | -0.0045313 | -0.0011356 | 0.0045323 | 0.0011356 | 1.0482e-06 | -5.8027e-08 | 0.0068276 | 0.0068274 | 0.0068276 | 0.98755 | -0.087388 | 0.98779 | -0.085717 | 2.5287
19 | -0.0045323 | -0.0011356 | 0.0045338 | 0.0011355 | 1.4633e-06 | -8.141e-08 | 0.0068274 | 0.0068272 | 0.0068274 | 0.98779 | -0.085717 | 0.98812 | -0.083383 | 2.5287
20 | -0.0052988 | -0.0013272 | 0.0052994 | 0.0013273 | 5.8169e-07 | 3.6156e-08 | 0.0079792 | 0.0079792 | 0.0079792 | 0.98812 | -0.083383 | 0.98823 | -0.082589 | 2.9553
21 | 0.0065846 | 0.00165 | -0.0065844 | -0.00165 | 2.3358e-07 | 4.1052e-08 | 0.0099147 | 0.0099147 | 0.0099147 | 0.98823 | -0.082589 | 0.98819 | -0.082845 | 3.6721
22 | -0.011884 | -0.0029773 | 0.011891 | 0.0029796 | 7.003e-06 | 2.2441e-06 | 0.017894 | 0.017894 | 0.017894 | 0.98823 | -0.082589 | 0.98883 | -0.078331 | 6.6273
23 | 0.0065844 | 0.00165 | -0.0065816 | -0.0016495 | 2.7811e-06 | 4.8906e-07 | 0.0099147 | 0.0099149 | 0.0099149 | 0.98819 | -0.082845 | 0.98776 | -0.085897 | 3.6722
24 | -0.013288 | -0.0033296 | 0.013291 | 0.0033307 | 3.4562e-06 | 1.1515e-06 | 0.019995 | 0.019995 | 0.019995 | 0.98883 | -0.078331 | 0.9891 | -0.076452 | 7.4057
25 | 0.0059516 | 0.001491 | -0.0059508 | -0.0014909 | 7.8048e-07 | 9.7729e-08 | 0.0089287 | 0.0089288 | 0.0089288 | 0.99184 | -0.057088 | 0.9917 | -0.058036 | 3.307
26 | -0.014173 | -0.0035514 | 0.01418 | 0.0035538 | 7.1951e-06 | 2.438e-06 | 0.021262 | 0.021262 | 0.021262 | 0.99184 | -0.057088 | 0.99236 | -0.053422 | 7.875
27 | 0.002305 | 0.00057717 | -0.0023049 | -0.00057737 | 1.4366e-07 | -1.9308e-07 | 0.0034584 | 0.0034585 | 0.0034585 | 0.9917 | -0.058036 | 0.99164 | -0.058487 | 1.2809
28 | -0.072145 | -0.0181 | 0.072379 | 0.01819 | 0.00023371 | 8.9473e-05 | 0.10819 | 0.10819 | 0.10819 | 0.99236 | -0.053422 | 0.99567 | -0.030148 | 40.0691
29 | 0.057965 | 0.014546 | -0.057945 | -0.014539 | 2.072e-05 | 7.9124e-06 | 0.086924 | 0.086924 | 0.086924 | 0.99236 | -0.053422 | 0.99199 | -0.055998 | 32.1941
30 | 0.0023049 | 0.00057737 | -0.0023048 | -0.00057747 | 7.4258e-08 | -9.9786e-08 | 0.0034585 | 0.0034585 | 0.0034585 | 0.99164 | -0.058487 | 0.99161 | -0.05872 | 1.2809
31 | -0.083792 | -0.02105 | 0.084119 | 0.021175 | 0.0003267 | 0.00012522 | 0.12524 | 0.12524 | 0.12524 | 0.99567 | -0.030148 | 0.99968 | -0.0022291 | 46.3863
32 | 0.048736 | 0.012231 | -0.048611 | -0.012183 | 0.00012481 | 4.7522e-05 | 0.073111 | 0.073112 | 0.073112 | 0.99199 | -0.055998 | 0.98937 | -0.074496 | 27.0784
33 | 0.0023048 | 0.00057747 | -0.0023047 | -0.00057761 | 1.0627e-07 | -1.4278e-07 | 0.0034585 | 0.0034586 | 0.0034586 | 0.99161 | -0.05872 | 0.99156 | -0.059053 | 1.281
34 | -0.0925 | -0.023276 | 0.092529 | 0.023287 | 2.8785e-05 | 1.1039e-05 | 0.13772 | 0.13772 | 0.13772 | 0.99968 | -0.0022291 | 1 | 0 | 51.007
35 | 0.013788 | 0.0034555 | -0.013784 | -0.0034542 | 3.7329e-06 | 1.2571e-06 | 0.020736 | 0.020737 | 0.020737 | 0.98937 | -0.074496 | 0.9891 | -0.076452 | 7.6802
36 | 0.091008 | 0.022874 | -0.090741 | -0.022772 | 0.00026664 | 0.00010225 | 0.13544 | 0.13544 | 0.13544 | 1 | 0 | 0.99698 | -0.021106 | 50.1646
37 | -0.02197 | -0.0055058 | 0.02198 | 0.0055095 | 1.0157e-05 | 3.711e-06 | 0.032879 | 0.032879 | 0.032879 | 0.9943 | -0.039903 | 0.99477 | -0.036565 | 12.1775
38 | 0.023977 | 0.0060162 | -0.023942 | -0.0060033 | 3.5101e-05 | 1.2934e-05 | 0.035869 | 0.035869 | 0.035869 | 0.99477 | -0.036565 | 0.99327 | -0.04713 | 13.2848
39 | 0.023336 | 0.005851 | -0.023305 | -0.0058398 | 3.0454e-05 | 1.1194e-05 | 0.034907 | 0.034907 | 0.034907 | 0.99477 | -0.036565 | 0.99344 | -0.045996 | 12.9287
40 | -0.069293 | -0.017377 | 0.069431 | 0.017429 | 0.00013798 | 5.2802e-05 | 0.10366 | 0.10365 | 0.10366 | 0.99477 | -0.036565 | 0.99682 | -0.022227 | 38.3907
41 | 0.019211 | 0.0048175 | -0.019201 | -0.004814 | 9.5445e-06 | 3.4321e-06 | 0.028781 | 0.028781 | 0.028781 | 0.99327 | -0.04713 | 0.99276 | -0.050717 | 10.6596
42 | -0.081853 | -0.020543 | 0.081866 | 0.020547 | 1.2735e-05 | 4.8804e-06 | 0.1222 | 0.1222 | 0.1222 | 0.99682 | -0.022227 | 0.99698 | -0.021106 | 45.2584
43 | 0.019201 | 0.004814 | -0.019186 | -0.0048084 | 1.5748e-05 | 5.6632e-06 | 0.028781 | 0.028781 | 0.028781 | 0.99276 | -0.050717 | 0.99192 | -0.056641 | 10.6596
44 | 0.0020891 | 0.00052338 | -0.002089 | -0.00052354 | 9.5558e-08 | -1.6513e-07 | 0.0031314 | 0.0031315 | 0.0031315 | 0.99268 | -0.051353 | 0.99263 | -0.051684 | 1.1598

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.19332 | 0.048414

## res_load
| p_mw | q_mvar
0 | 0.0015703 | 0.00039356
1 | 0.0018606 | 0.0004663
2 | 0.0024816 | 0.00062195
3 | 0.0022907 | 0.00057409
4 | 0.0013301 | 0.00033334
5 | 0.0028763 | 0.00072088
6 | 0.0020637 | 0.00051721
7 | 0.00079619 | 0.00019955
8 | 0.0014414 | 0.00036125
9 | 0.0039727 | 0.00099566
10 | 0.0016024 | 0.00040159
11 | 0.0024904 | 0.00062415
12 | 0.0014507 | 0.00036358
13 | 0.0045313 | 0.0011356
14 | 0.00076502 | 0.00019173
15 | 0.0013966 | 0.00035002
16 | 0.0082211 | 0.0020604
17 | 0.0036458 | 0.00091372
18 | 0.011413 | 0.0028604
19 | 0.0092084 | 0.0023078
20 | 0.0083816 | 0.0021006
21 | 0.034824 | 0.0087277
22 | 0.0023047 | 0.00057761
23 | 0.008987 | 0.0022523
24 | 0.00049277 | 0.0001235
25 | 0.0016368 | 0.00041023
26 | 0.0047314 | 0.0011858
27 | 0.015297 | 0.0038337
28 | 0.012422 | 0.0031132
29 | 0.0088754 | 0.0022244
30 | 0.019186 | 0.0048084
31 | 0.0065816 | 0.0016495
32 | 0.002089 | 0.00052354

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1