## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_292-8_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_292-8_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_292-8_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_292-8_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_292-8_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_292-8_0_3_node_8 | 0.4 | n |  | TRUE
6 | bus_LV_292-8_0_3_node_10 | 0.4 | n |  | TRUE
7 | bus_LV_292-8_0_3_node_148 | 0.4 | n |  | TRUE
8 | bus_LV_292-8_0_3_node_14 | 0.4 | n |  | TRUE
9 | bus_LV_292-8_0_3_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_292-8_0_3_node_11 | 0.4 | n |  | TRUE
11 | bus_LV_292-8_0_3_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_292-8_0_3_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_292-8_0_3_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_292-8_0_3_node_22 | 0.4 | n |  | TRUE
15 | bus_LV_292-8_0_3_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_292-8_0_3_node_23 | 0.4 | n |  | TRUE
17 | bus_LV_292-8_0_3_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_292-8_0_3_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_292-8_0_3_node_41 | 0.4 | n |  | TRUE
20 | bus_LV_292-8_0_3_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_292-8_0_3_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_292-8_0_3_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_292-8_0_3_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_292-8_0_3_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_292-8_0_3_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_292-8_0_3_node_27 | 0.4 | n |  | TRUE
27 | bus_LV_292-8_0_3_node_30 | 0.4 | n |  | TRUE
28 | bus_LV_292-8_0_3_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_292-8_0_3_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_292-8_0_3_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_292-8_0_3_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_292-8_0_3_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_292-8_0_3_node_32 | 0.4 | n |  | TRUE
34 | bus_LV_292-8_0_3_node_131 | 0.4 | n |  | TRUE
35 | bus_LV_292-8_0_3_node_34 | 0.4 | n |  | TRUE
36 | bus_LV_292-8_0_3_node_35 | 0.4 | n |  | TRUE
37 | bus_LV_292-8_0_3_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_292-8_0_3_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_292-8_0_3_node_36 | 0.4 | n |  | TRUE
40 | bus_LV_292-8_0_3_node_37 | 0.4 | n |  | TRUE
41 | bus_LV_292-8_0_3_node_38 | 0.4 | n |  | TRUE
42 | bus_LV_292-8_0_3_node_39 | 0.4 | n |  | TRUE
43 | bus_LV_292-8_0_3_node_44 | 0.4 | n |  | TRUE
44 | bus_LV_292-8_0_3_node_40 | 0.4 | n |  | TRUE
45 | bus_LV_292-8_0_3_node_45 | 0.4 | n |  | TRUE
46 | bus_LV_292-8_0_3_node_42 | 0.4 | n |  | TRUE
47 | bus_LV_292-8_0_3_node_43 | 0.4 | n |  | TRUE
48 | bus_LV_292-8_0_3_node_50 | 0.4 | n |  | TRUE
49 | bus_LV_292-8_0_3_node_141 | 0.4 | n |  | TRUE
50 | bus_LV_292-8_0_3_node_142 | 0.4 | n |  | TRUE
51 | bus_LV_292-8_0_3_node_46 | 0.4 | n |  | TRUE
52 | bus_LV_292-8_0_3_node_47 | 0.4 | n |  | TRUE
53 | bus_LV_292-8_0_3_node_48 | 0.4 | n |  | TRUE
54 | bus_LV_292-8_0_3_node_49 | 0.4 | n |  | TRUE
55 | bus_LV_292-8_0_3_node_55 | 0.4 | n |  | TRUE
56 | bus_LV_292-8_0_3_node_62 | 0.4 | n |  | TRUE
57 | bus_LV_292-8_0_3_node_53 | 0.4 | n |  | TRUE
58 | bus_LV_292-8_0_3_node_60 | 0.4 | n |  | TRUE
59 | bus_LV_292-8_0_3_node_51 | 0.4 | n |  | TRUE
60 | bus_LV_292-8_0_3_node_52 | 0.4 | n |  | TRUE
61 | bus_LV_292-8_0_3_node_54 | 0.4 | n |  | TRUE
62 | bus_LV_292-8_0_3_node_56 | 0.4 | n |  | TRUE
63 | bus_LV_292-8_0_3_node_57 | 0.4 | n |  | TRUE
64 | bus_LV_292-8_0_3_node_58 | 0.4 | n |  | TRUE
65 | bus_LV_292-8_0_3_node_59 | 0.4 | n |  | TRUE
66 | bus_LV_292-8_0_3_node_140 | 0.4 | n |  | TRUE
67 | bus_LV_292-8_0_3_node_75 | 0.4 | n |  | TRUE
68 | bus_LV_292-8_0_3_node_61 | 0.4 | n |  | TRUE
69 | bus_LV_292-8_0_3_node_63 | 0.4 | n |  | TRUE
70 | bus_LV_292-8_0_3_node_64 | 0.4 | n |  | TRUE
71 | bus_LV_292-8_0_3_node_65 | 0.4 | n |  | TRUE
72 | bus_LV_292-8_0_3_node_66 | 0.4 | n |  | TRUE
73 | bus_LV_292-8_0_3_node_67 | 0.4 | n |  | TRUE
74 | bus_LV_292-8_0_3_node_68 | 0.4 | n |  | TRUE
75 | bus_LV_292-8_0_3_node_69 | 0.4 | n |  | TRUE
76 | bus_LV_292-8_0_3_node_70 | 0.4 | n |  | TRUE
77 | bus_LV_292-8_0_3_node_82 | 0.4 | n |  | TRUE
78 | bus_LV_292-8_0_3_node_83 | 0.4 | n |  | TRUE
79 | bus_LV_292-8_0_3_node_71 | 0.4 | n |  | TRUE
80 | bus_LV_292-8_0_3_node_72 | 0.4 | n |  | TRUE
81 | bus_LV_292-8_0_3_node_73 | 0.4 | n |  | TRUE
82 | bus_LV_292-8_0_3_node_74 | 0.4 | n |  | TRUE
83 | bus_LV_292-8_0_3_node_78 | 0.4 | n |  | TRUE
84 | bus_LV_292-8_0_3_node_76 | 0.4 | n |  | TRUE
85 | bus_LV_292-8_0_3_node_77 | 0.4 | n |  | TRUE
86 | bus_LV_292-8_0_3_node_79 | 0.4 | n |  | TRUE
87 | bus_LV_292-8_0_3_node_81 | 0.4 | n |  | TRUE
88 | bus_LV_292-8_0_3_node_146 | 0.4 | n |  | TRUE
89 | bus_LV_292-8_0_3_node_144 | 0.4 | n |  | TRUE
90 | bus_LV_292-8_0_3_node_85 | 0.4 | n |  | TRUE
91 | bus_LV_292-8_0_3_node_84 | 0.4 | n |  | TRUE
92 | bus_LV_292-8_0_3_node_86 | 0.4 | n |  | TRUE
93 | bus_LV_292-8_0_3_node_87 | 0.4 | n |  | TRUE
94 | bus_LV_292-8_0_3_node_88 | 0.4 | n |  | TRUE
95 | bus_LV_292-8_0_3_node_89 | 0.4 | n |  | TRUE
96 | bus_LV_292-8_0_3_node_92 | 0.4 | n |  | TRUE
97 | bus_LV_292-8_0_3_node_90 | 0.4 | n |  | TRUE
98 | bus_LV_292-8_0_3_node_91 | 0.4 | n |  | TRUE
99 | bus_LV_292-8_0_3_node_93 | 0.4 | n |  | TRUE
100 | bus_LV_292-8_0_3_node_94 | 0.4 | n |  | TRUE
101 | bus_LV_292-8_0_3_node_95 | 0.4 | n |  | TRUE
102 | bus_LV_292-8_0_3_node_96 | 0.4 | n |  | TRUE
103 | bus_LV_292-8_0_3_node_97 | 0.4 | n |  | TRUE
104 | bus_LV_292-8_0_3_node_105 | 0.4 | n |  | TRUE
105 | bus_LV_292-8_0_3_node_108 | 0.4 | n |  | TRUE
106 | bus_LV_292-8_0_3_node_106 | 0.4 | n |  | TRUE
107 | bus_LV_292-8_0_3_node_109 | 0.4 | n |  | TRUE
108 | bus_LV_292-8_0_3_node_98 | 0.4 | n |  | TRUE
109 | bus_LV_292-8_0_3_node_99 | 0.4 | n |  | TRUE
110 | bus_LV_292-8_0_3_node_100 | 0.4 | n |  | TRUE
111 | bus_LV_292-8_0_3_node_101 | 0.4 | n |  | TRUE
112 | bus_LV_292-8_0_3_node_102 | 0.4 | n |  | TRUE
113 | bus_LV_292-8_0_3_node_103 | 0.4 | n |  | TRUE
114 | bus_LV_292-8_0_3_node_104 | 0.4 | n |  | TRUE
115 | bus_LV_292-8_0_3_node_127 | 0.4 | n |  | TRUE
116 | bus_LV_292-8_0_3_node_136 | 0.4 | n |  | TRUE
117 | bus_LV_292-8_0_3_node_107 | 0.4 | n |  | TRUE
118 | bus_LV_292-8_0_3_node_137 | 0.4 | n |  | TRUE
119 | bus_LV_292-8_0_3_node_110 | 0.4 | n |  | TRUE
120 | bus_LV_292-8_0_3_node_111 | 0.4 | n |  | TRUE
121 | bus_LV_292-8_0_3_node_145 | 0.4 | n |  | TRUE
122 | bus_LV_292-8_0_3_node_147 | 0.4 | n |  | TRUE
123 | bus_LV_292-8_0_3_node_143 | 0.4 | n |  | TRUE
124 | bus_LV_292-8_0_3_node_114 | 0.4 | n |  | TRUE
125 | bus_LV_292-8_0_3_node_116 | 0.4 | n |  | TRUE
126 | bus_LV_292-8_0_3_node_112 | 0.4 | n |  | TRUE
127 | bus_LV_292-8_0_3_node_113 | 0.4 | n |  | TRUE
128 | bus_LV_292-8_0_3_node_115 | 0.4 | n |  | TRUE
129 | bus_LV_292-8_0_3_node_121 | 0.4 | n |  | TRUE
130 | bus_LV_292-8_0_3_node_119 | 0.4 | n |  | TRUE
131 | bus_LV_292-8_0_3_node_123 | 0.4 | n |  | TRUE
132 | bus_LV_292-8_0_3_node_117 | 0.4 | n |  | TRUE
133 | bus_LV_292-8_0_3_node_118 | 0.4 | n |  | TRUE
134 | bus_LV_292-8_0_3_node_120 | 0.4 | n |  | TRUE
135 | bus_LV_292-8_0_3_node_122 | 0.4 | n |  | TRUE
136 | bus_LV_292-8_0_3_node_126 | 0.4 | n |  | TRUE
137 | bus_LV_292-8_0_3_node_124 | 0.4 | n |  | TRUE
138 | bus_LV_292-8_0_3_node_138 | 0.4 | n |  | TRUE
139 | bus_LV_292-8_0_3_node_125 | 0.4 | n |  | TRUE
140 | bus_LV_292-8_0_3_node_128 | 0.4 | n |  | TRUE
141 | bus_LV_292-8_0_3_node_129 | 0.4 | n |  | TRUE
142 | bus_LV_292-8_0_3_node_130 | 0.4 | n |  | TRUE
143 | bus_LV_292-8_0_3_node_132 | 0.4 | n |  | TRUE
144 | bus_LV_292-8_0_3_node_133 | 0.4 | n |  | TRUE
145 | bus_LV_292-8_0_3_node_134 | 0.4 | n |  | TRUE
146 | bus_LV_292-8_0_3_node_135 | 0.4 | n |  | TRUE
147 | bus_MV_368_2_node_129 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_292-8_0_3_load_0 | 0 | 0.0027571 | 0.000691 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_292-8_0_3_load_1 | 1 | 0.0011547 | 0.00028939 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_292-8_0_3_load_10 | 6 | 0.00069665 | 0.0001746 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_292-8_0_3_load_148 | 7 | 0.00020718 | 5.1923e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_292-8_0_3_load_14 | 8 | 0.00060584 | 0.00015184 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_292-8_0_3_load_6 | 9 | 0.0004986 | 0.00012496 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_292-8_0_3_load_11 | 10 | 0.00074935 | 0.00018781 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_292-8_0_3_load_5 | 11 | 0.00076821 | 0.00019253 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_292-8_0_3_load_22 | 14 | 0.0013649 | 0.00034209 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_292-8_0_3_load_15 | 15 | 0.00030764 | 7.7101e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_292-8_0_3_load_23 | 16 | 0.0012964 | 0.0003249 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_292-8_0_3_load_12 | 17 | 0.00077799 | 0.00019498 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_292-8_0_3_load_13 | 18 | 0.00098465 | 0.00024678 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_292-8_0_3_load_41 | 19 | 0.0023545 | 0.00059009 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_292-8_0_3_load_16 | 20 | 0.00030793 | 7.7175e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_292-8_0_3_load_17 | 21 | 0.00063315 | 0.00015868 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_292-8_0_3_load_18 | 22 | 0.0015548 | 0.00038966 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_292-8_0_3_load_19 | 23 | 0.0016809 | 0.00042127 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_292-8_0_3_load_20 | 24 | 0.0016948 | 0.00042475 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_292-8_0_3_load_21 | 25 | 0.00089517 | 0.00022435 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_292-8_0_3_load_30 | 27 | 0.00068056 | 0.00017057 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_292-8_0_3_load_24 | 28 | 0.0013211 | 0.0003311 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_292-8_0_3_load_25 | 29 | 0.00082086 | 0.00020573 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_292-8_0_3_load_28 | 31 | 0.00040235 | 0.00010084 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_292-8_0_3_load_32 | 33 | 0.00017751 | 4.4487e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_292-8_0_3_load_131 | 34 | 0.00036395 | 9.1214e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_292-8_0_3_load_35 | 36 | 0.0060486 | 0.0015159 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_292-8_0_3_load_33 | 37 | 0.00048625 | 0.00012187 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_292-8_0_3_load_38 | 41 | 0.0011446 | 0.00028685 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_292-8_0_3_load_39 | 42 | 0.0036947 | 0.00092599 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_292-8_0_3_load_44 | 43 | 0.0017302 | 0.00043364 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_292-8_0_3_load_45 | 45 | 0.0017822 | 0.00044665 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_292-8_0_3_load_42 | 46 | 0.0043075 | 0.0010796 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_292-8_0_3_load_43 | 47 | 0.0059435 | 0.0014896 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_292-8_0_3_load_50 | 48 | 0.00044833 | 0.00011236 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_292-8_0_3_load_141 | 49 | 0.003889 | 0.00097469 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_292-8_0_3_load_142 | 50 | 0.0012501 | 0.00031331 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_292-8_0_3_load_46 | 51 | 0.00067231 | 0.0001685 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_292-8_0_3_load_47 | 52 | 0.00056867 | 0.00014252 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_292-8_0_3_load_55 | 55 | 0.00084734 | 0.00021236 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_292-8_0_3_load_62 | 56 | 0.00050626 | 0.00012688 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_292-8_0_3_load_60 | 58 | 0.0013113 | 0.00032864 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_292-8_0_3_load_51 | 59 | 0.0017612 | 0.0004414 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_292-8_0_3_load_52 | 60 | 0.00036723 | 9.2036e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_292-8_0_3_load_54 | 61 | 0.0017381 | 0.00043561 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_292-8_0_3_load_56 | 62 | 0.0020293 | 0.00050858 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_292-8_0_3_load_58 | 64 | 0.0018006 | 0.00045126 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_292-8_0_3_load_59 | 65 | 0.0019287 | 0.00048338 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_292-8_0_3_load_140 | 66 | 0.0013388 | 0.00033553 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_292-8_0_3_load_75 | 67 | 0.0019586 | 0.00049088 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_292-8_0_3_load_61 | 68 | 0.00044519 | 0.00011157 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_292-8_0_3_load_63 | 69 | 0.001997 | 0.0005005 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_292-8_0_3_load_64 | 70 | 0.0013438 | 0.00033679 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_292-8_0_3_load_65 | 71 | 0.0012854 | 0.00032216 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_292-8_0_3_load_66 | 72 | 0.0011815 | 0.00029611 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_292-8_0_3_load_67 | 73 | 0.0025819 | 0.00064708 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_292-8_0_3_load_68 | 74 | 0.004585 | 0.0011491 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_292-8_0_3_load_69 | 75 | 0.0014115 | 0.00035376 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_292-8_0_3_load_70 | 76 | 0.0036856 | 0.0009237 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_292-8_0_3_load_82 | 77 | 0.0029796 | 0.00074675 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_292-8_0_3_load_83 | 78 | 0.00045148 | 0.00011315 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_292-8_0_3_load_71 | 79 | 0.0018868 | 0.00047288 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_292-8_0_3_load_72 | 80 | 0.00089535 | 0.0002244 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_292-8_0_3_load_73 | 81 | 0.0019325 | 0.00048432 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_292-8_0_3_load_74 | 82 | 0.0017224 | 0.00043169 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_292-8_0_3_load_78 | 83 | 0.0018104 | 0.00045374 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_292-8_0_3_load_76 | 84 | 0.0012938 | 0.00032425 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_292-8_0_3_load_77 | 85 | 0.00088893 | 0.00022279 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_292-8_0_3_load_79 | 86 | 0.0037661 | 0.00094387 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_292-8_0_3_load_81 | 87 | 0.00031299 | 7.8444e-05 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_292-8_0_3_load_146 | 88 | 0.0015346 | 0.0003846 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_292-8_0_3_load_144 | 89 | 0.0011895 | 0.00029812 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_292-8_0_3_load_85 | 90 | 0.002059 | 0.00051604 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_292-8_0_3_load_84 | 91 | 0.0022256 | 0.00055779 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_292-8_0_3_load_86 | 92 | 0.00067068 | 0.00016809 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_292-8_0_3_load_87 | 93 | 0.0016099 | 0.00040347 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_292-8_0_3_load_88 | 94 | 0.00087584 | 0.00021951 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_292-8_0_3_load_89 | 95 | 0.0064437 | 0.001615 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_292-8_0_3_load_92 | 96 | 0.0020561 | 0.0005153 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_292-8_0_3_load_90 | 97 | 0.0033178 | 0.00083151 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_292-8_0_3_load_91 | 98 | 0.0033062 | 0.00082861 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_292-8_0_3_load_93 | 99 | 0.0010992 | 0.00027548 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_292-8_0_3_load_94 | 100 | 0.003142 | 0.00078745 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_292-8_0_3_load_96 | 102 | 0.0010955 | 0.00027456 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_292-8_0_3_load_97 | 103 | 0.00057889 | 0.00014508 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_292-8_0_3_load_105 | 104 | 0.0005017 | 0.00012574 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_292-8_0_3_load_108 | 105 | 0.0026138 | 0.00065509 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_292-8_0_3_load_106 | 106 | 0.0019379 | 0.00048569 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_292-8_0_3_load_109 | 107 | 0.00060138 | 0.00015072 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_292-8_0_3_load_98 | 108 | 0.00034298 | 8.5959e-05 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_292-8_0_3_load_99 | 109 | 0.00048358 | 0.0001212 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_292-8_0_3_load_101 | 111 | 0.0013234 | 0.00033168 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_292-8_0_3_load_102 | 112 | 0.00084723 | 0.00021234 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_292-8_0_3_load_103 | 113 | 0.00028294 | 7.091e-05 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_292-8_0_3_load_127 | 115 | 0.0014959 | 0.0003749 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_292-8_0_3_load_136 | 116 | 0.00054212 | 0.00013587 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_292-8_0_3_load_107 | 117 | 0.00039365 | 9.8658e-05 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_292-8_0_3_load_137 | 118 | 0.0001974 | 4.9472e-05 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_292-8_0_3_load_110 | 119 | 0.00043218 | 0.00010831 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_292-8_0_3_load_111 | 120 | 0.00098857 | 0.00024776 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_292-8_0_3_load_147 | 122 | 0.0018856 | 0.00047257 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_292-8_0_3_load_143 | 123 | 0.0010214 | 0.00025599 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_292-8_0_3_load_116 | 125 | 0.00055874 | 0.00014003 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_292-8_0_3_load_112 | 126 | 0.0011621 | 0.00029125 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_292-8_0_3_load_113 | 127 | 0.0015332 | 0.00038425 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_292-8_0_3_load_115 | 128 | 0.0025444 | 0.0006377 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_292-8_0_3_load_121 | 129 | 0.0015339 | 0.00038443 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_292-8_0_3_load_119 | 130 | 0.0010339 | 0.00025912 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_292-8_0_3_load_123 | 131 | 0.0013393 | 0.00033567 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_292-8_0_3_load_117 | 132 | 0.00062709 | 0.00015716 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_292-8_0_3_load_118 | 133 | 0.00083031 | 0.00020809 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_292-8_0_3_load_120 | 134 | 0.00053531 | 0.00013416 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_292-8_0_3_load_122 | 135 | 0.00058865 | 0.00014753 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_292-8_0_3_load_124 | 137 | 0.0013862 | 0.00034742 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_292-8_0_3_load_138 | 138 | 0.00068688 | 0.00017215 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_292-8_0_3_load_125 | 139 | 0.0017713 | 0.00044394 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_292-8_0_3_load_128 | 140 | 0.0022194 | 0.00055624 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_292-8_0_3_load_129 | 141 | 0.0011026 | 0.00027634 | 0 | 0 |  | 1 | TRUE | wye
118 | LV_292-8_0_3_load_130 | 142 | 0.00080711 | 0.00020228 | 0 | 0 |  | 1 | TRUE | wye
119 | LV_292-8_0_3_load_133 | 144 | 0.00048263 | 0.00012096 | 0 | 0 |  | 1 | TRUE | wye
120 | LV_292-8_0_3_load_134 | 145 | 0.00019511 | 4.8898e-05 | 0 | 0 |  | 1 | TRUE | wye
121 | LV_292-8_0_3_load_135 | 146 | 0.00051844 | 0.00012993 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 74 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_292-8_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.050569 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_292-8_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.089431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_292-8_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0034198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_292-8_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_292-8_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.043054 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_292-8_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.0068347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_292-8_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.16351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_292-8_0_3_line_7 | NAYY 4x150 SE | 5 | 8 | 0.011692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_292-8_0_3_line_8 | NAYY 4x150 SE | 5 | 9 | 0.036256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_292-8_0_3_line_9 | NAYY 4x150 SE | 6 | 10 | 0.015173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_292-8_0_3_line_10 | NAYY 4x150 SE | 8 | 15 | 0.017461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_292-8_0_3_line_11 | NAYY 4x150 SE | 9 | 11 | 0.0056077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_292-8_0_3_line_12 | NAYY 4x150 SE | 10 | 17 | 0.029381 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_292-8_0_3_line_13 | NAYY 4x150 SE | 11 | 12 | 0.0079324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_292-8_0_3_line_14 | NAYY 4x150 SE | 12 | 13 | 0.029287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_292-8_0_3_line_15 | NAYY 4x150 SE | 13 | 14 | 0.077126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_292-8_0_3_line_16 | NAYY 4x150 SE | 14 | 16 | 0.016984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_292-8_0_3_line_17 | NAYY 4x150 SE | 15 | 20 | 0.019214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_292-8_0_3_line_18 | NAYY 4x150 SE | 16 | 28 | 0.024104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_292-8_0_3_line_19 | NAYY 4x150 SE | 17 | 18 | 0.020206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_292-8_0_3_line_20 | NAYY 4x150 SE | 18 | 19 | 0.062686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_292-8_0_3_line_21 | NAYY 4x150 SE | 20 | 21 | 0.0025617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_292-8_0_3_line_22 | NAYY 4x150 SE | 21 | 22 | 0.023152 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_292-8_0_3_line_23 | NAYY 4x150 SE | 22 | 23 | 0.0032643 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_292-8_0_3_line_24 | NAYY 4x150 SE | 23 | 24 | 0.031713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_292-8_0_3_line_25 | NAYY 4x150 SE | 25 | 26 | 0.011192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_292-8_0_3_line_26 | NAYY 4x150 SE | 26 | 27 | 0.010102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_292-8_0_3_line_27 | NAYY 4x150 SE | 27 | 38 | 0.010577 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_292-8_0_3_line_28 | NAYY 4x150 SE | 28 | 29 | 0.076308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_292-8_0_3_line_29 | NAYY 4x150 SE | 29 | 30 | 0.027922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_292-8_0_3_line_30 | NAYY 4x150 SE | 30 | 31 | 0.059312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_292-8_0_3_line_31 | NAYY 4x150 SE | 30 | 32 | 0.020126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_292-8_0_3_line_32 | NAYY 4x150 SE | 31 | 33 | 0.0017812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_292-8_0_3_line_33 | NAYY 4x150 SE | 32 | 34 | 0.11836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_292-8_0_3_line_34 | NAYY 4x150 SE | 33 | 38 | 0.012752 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_292-8_0_3_line_35 | NAYY 4x150 SE | 35 | 36 | 0.074726 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_292-8_0_3_line_36 | NAYY 4x150 SE | 35 | 37 | 0.0053538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_292-8_0_3_line_37 | NAYY 4x150 SE | 36 | 39 | 0.017955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_292-8_0_3_line_38 | NAYY 4x150 SE | 37 | 38 | 0.012905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_292-8_0_3_line_39 | NAYY 4x150 SE | 39 | 40 | 0.031078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_292-8_0_3_line_40 | NAYY 4x150 SE | 39 | 41 | 0.025138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_292-8_0_3_line_41 | NAYY 4x150 SE | 40 | 42 | 0.01543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_292-8_0_3_line_42 | NAYY 4x150 SE | 41 | 43 | 0.00034029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_292-8_0_3_line_43 | NAYY 4x150 SE | 42 | 44 | 0.0058194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_292-8_0_3_line_44 | NAYY 4x150 SE | 43 | 45 | 0.032971 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_292-8_0_3_line_45 | NAYY 4x150 SE | 44 | 46 | 0.0019832 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_292-8_0_3_line_46 | NAYY 4x150 SE | 44 | 47 | 0.051324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_292-8_0_3_line_47 | NAYY 4x150 SE | 45 | 51 | 0.0080881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_292-8_0_3_line_48 | NAYY 4x150 SE | 46 | 48 | 0.034576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_292-8_0_3_line_49 | NAYY 4x150 SE | 47 | 49 | 0.033198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_292-8_0_3_line_50 | NAYY 4x150 SE | 49 | 50 | 0.020087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_292-8_0_3_line_51 | NAYY 4x150 SE | 51 | 52 | 0.007577 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_292-8_0_3_line_52 | NAYY 4x150 SE | 52 | 53 | 0.025863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
53 | LV_292-8_0_3_line_53 | NAYY 4x150 SE | 53 | 54 | 0.01403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
54 | LV_292-8_0_3_line_54 | NAYY 4x150 SE | 54 | 55 | 0.017796 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_292-8_0_3_line_55 | NAYY 4x150 SE | 54 | 56 | 0.0092603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
56 | LV_292-8_0_3_line_56 | NAYY 4x150 SE | 55 | 57 | 0.0069048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_292-8_0_3_line_57 | NAYY 4x150 SE | 56 | 58 | 0.0082321 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
58 | LV_292-8_0_3_line_58 | NAYY 4x150 SE | 57 | 61 | 0.0059359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_292-8_0_3_line_59 | NAYY 4x150 SE | 57 | 59 | 0.015136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_292-8_0_3_line_60 | NAYY 4x150 SE | 58 | 68 | 0.010516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
61 | LV_292-8_0_3_line_61 | NAYY 4x150 SE | 59 | 60 | 0.02347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_292-8_0_3_line_62 | NAYY 4x150 SE | 61 | 62 | 0.015864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_292-8_0_3_line_63 | NAYY 4x150 SE | 62 | 63 | 0.01659 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_292-8_0_3_line_64 | NAYY 4x150 SE | 63 | 64 | 0.014694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_292-8_0_3_line_65 | NAYY 4x150 SE | 63 | 65 | 0.027269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_292-8_0_3_line_66 | NAYY 4x150 SE | 64 | 66 | 0.004514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_292-8_0_3_line_67 | NAYY 4x150 SE | 66 | 67 | 0.010584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_292-8_0_3_line_68 | NAYY 4x150 SE | 67 | 81 | 0.0064912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_292-8_0_3_line_69 | NAYY 4x150 SE | 68 | 69 | 0.0020585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
70 | LV_292-8_0_3_line_70 | NAYY 4x150 SE | 69 | 70 | 0.013493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
71 | LV_292-8_0_3_line_71 | NAYY 4x150 SE | 70 | 71 | 0.010571 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
72 | LV_292-8_0_3_line_72 | NAYY 4x150 SE | 71 | 72 | 0.004208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
73 | LV_292-8_0_3_line_73 | NAYY 4x150 SE | 72 | 73 | 0.0037712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
74 | LV_292-8_0_3_line_74 | NAYY 4x150 SE | 73 | 74 | 0.02049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
75 | LV_292-8_0_3_line_75 | NAYY 4x150 SE | 74 | 75 | 0.020478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_292-8_0_3_line_76 | NAYY 4x150 SE | 75 | 76 | 0.0078293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_292-8_0_3_line_77 | NAYY 4x150 SE | 76 | 77 | 0.020051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_292-8_0_3_line_78 | NAYY 4x150 SE | 77 | 78 | 0.0064252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_292-8_0_3_line_79 | NAYY 4x150 SE | 78 | 90 | 0.00078759 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_292-8_0_3_line_80 | NAYY 4x150 SE | 79 | 80 | 0.0017144 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_292-8_0_3_line_81 | NAYY 4x150 SE | 79 | 81 | 0.012664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_292-8_0_3_line_82 | NAYY 4x150 SE | 80 | 82 | 0.005161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_292-8_0_3_line_83 | NAYY 4x150 SE | 82 | 83 | 0.00063393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_292-8_0_3_line_84 | NAYY 4x150 SE | 83 | 84 | 0.052597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_292-8_0_3_line_85 | NAYY 4x150 SE | 84 | 85 | 0.021764 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_292-8_0_3_line_86 | NAYY 4x150 SE | 85 | 86 | 0.025409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_292-8_0_3_line_87 | NAYY 4x150 SE | 87 | 88 | 0.0092576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_292-8_0_3_line_88 | NAYY 4x150 SE | 88 | 89 | 0.0021531 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_292-8_0_3_line_89 | NAYY 4x150 SE | 89 | 123 | 0.019553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_292-8_0_3_line_90 | NAYY 4x150 SE | 90 | 91 | 0.0036394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_292-8_0_3_line_91 | NAYY 4x150 SE | 91 | 92 | 0.024365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_292-8_0_3_line_92 | NAYY 4x150 SE | 92 | 93 | 0.010965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_292-8_0_3_line_93 | NAYY 4x150 SE | 93 | 94 | 0.0059657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_292-8_0_3_line_94 | NAYY 4x150 SE | 94 | 95 | 0.0076064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_292-8_0_3_line_95 | NAYY 4x150 SE | 95 | 96 | 0.0091172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_292-8_0_3_line_96 | NAYY 4x150 SE | 96 | 97 | 0.0028877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_292-8_0_3_line_97 | NAYY 4x150 SE | 97 | 98 | 0.018358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_292-8_0_3_line_98 | NAYY 4x150 SE | 98 | 99 | 0.0015676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_292-8_0_3_line_99 | NAYY 4x150 SE | 99 | 100 | 0.0067362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_292-8_0_3_line_100 | NAYY 4x150 SE | 100 | 101 | 0.026507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_292-8_0_3_line_101 | NAYY 4x150 SE | 101 | 102 | 0.0031961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_292-8_0_3_line_102 | NAYY 4x150 SE | 101 | 103 | 0.055454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_292-8_0_3_line_103 | NAYY 4x150 SE | 102 | 104 | 0.014009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_292-8_0_3_line_104 | NAYY 4x150 SE | 103 | 105 | 0.052626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
105 | LV_292-8_0_3_line_105 | NAYY 4x150 SE | 104 | 106 | 0.0029781 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
106 | LV_292-8_0_3_line_106 | NAYY 4x150 SE | 105 | 107 | 0.0042677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
107 | LV_292-8_0_3_line_107 | NAYY 4x150 SE | 106 | 114 | 0.020979 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
108 | LV_292-8_0_3_line_108 | NAYY 4x150 SE | 107 | 121 | 0.019075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
109 | LV_292-8_0_3_line_109 | NAYY 4x150 SE | 108 | 109 | 0.027475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
110 | LV_292-8_0_3_line_110 | NAYY 4x150 SE | 108 | 110 | 0.0081361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
111 | LV_292-8_0_3_line_111 | NAYY 4x150 SE | 109 | 111 | 0.018714 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
112 | LV_292-8_0_3_line_112 | NAYY 4x150 SE | 110 | 112 | 0.016487 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
113 | LV_292-8_0_3_line_113 | NAYY 4x150 SE | 110 | 113 | 0.011382 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
114 | LV_292-8_0_3_line_114 | NAYY 4x150 SE | 111 | 114 | 0.017281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
115 | LV_292-8_0_3_line_115 | NAYY 4x150 SE | 112 | 115 | 0.082647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
116 | LV_292-8_0_3_line_116 | NAYY 4x150 SE | 113 | 116 | 0.016529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
117 | LV_292-8_0_3_line_117 | NAYY 4x150 SE | 114 | 117 | 0.040531 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
118 | LV_292-8_0_3_line_118 | NAYY 4x150 SE | 116 | 118 | 0.0048025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
119 | LV_292-8_0_3_line_119 | NAYY 4x150 SE | 117 | 119 | 0.011099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
120 | LV_292-8_0_3_line_120 | NAYY 4x150 SE | 118 | 146 | 0.014346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
121 | LV_292-8_0_3_line_121 | NAYY 4x150 SE | 119 | 120 | 0.0025823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
122 | LV_292-8_0_3_line_122 | NAYY 4x150 SE | 120 | 124 | 0.015584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
123 | LV_292-8_0_3_line_123 | NAYY 4x150 SE | 121 | 122 | 0.028447 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
124 | LV_292-8_0_3_line_124 | NAYY 4x150 SE | 121 | 123 | 0.01349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
125 | LV_292-8_0_3_line_125 | NAYY 4x150 SE | 124 | 125 | 0.012735 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
126 | LV_292-8_0_3_line_126 | NAYY 4x150 SE | 124 | 126 | 0.016552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
127 | LV_292-8_0_3_line_127 | NAYY 4x150 SE | 125 | 130 | 0.00077266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
128 | LV_292-8_0_3_line_128 | NAYY 4x150 SE | 126 | 127 | 0.019183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
129 | LV_292-8_0_3_line_129 | NAYY 4x150 SE | 127 | 128 | 0.01215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
130 | LV_292-8_0_3_line_130 | NAYY 4x150 SE | 128 | 129 | 0.023315 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
131 | LV_292-8_0_3_line_131 | NAYY 4x150 SE | 129 | 131 | 1.1478e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
132 | LV_292-8_0_3_line_132 | NAYY 4x150 SE | 130 | 132 | 0.00050507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
133 | LV_292-8_0_3_line_133 | NAYY 4x150 SE | 131 | 137 | 0.04016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
134 | LV_292-8_0_3_line_134 | NAYY 4x150 SE | 132 | 133 | 0.018708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
135 | LV_292-8_0_3_line_135 | NAYY 4x150 SE | 133 | 134 | 0.0012728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
136 | LV_292-8_0_3_line_136 | NAYY 4x150 SE | 134 | 135 | 0.017896 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
137 | LV_292-8_0_3_line_137 | NAYY 4x150 SE | 135 | 136 | 0.016807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
138 | LV_292-8_0_3_line_138 | NAYY 4x150 SE | 136 | 138 | 0.045552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
139 | LV_292-8_0_3_line_139 | NAYY 4x150 SE | 137 | 139 | 0.020869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
140 | LV_292-8_0_3_line_140 | NAYY 4x150 SE | 140 | 141 | 0.052597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
141 | LV_292-8_0_3_line_141 | NAYY 4x150 SE | 141 | 142 | 0.057715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
142 | LV_292-8_0_3_line_142 | NAYY 4x150 SE | 142 | 143 | 0.0037831 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
143 | LV_292-8_0_3_line_143 | NAYY 4x150 SE | 143 | 144 | 0.024887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
144 | LV_292-8_0_3_line_144 | NAYY 4x150 SE | 144 | 145 | 0.052853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
145 | LV_292-8_0_3_line_145 | NAYY 4x150 SE | 145 | 146 | 0.006746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_292-8_0_3_trafo_68 | 0.25 MVA 20/0.4 kV | 147 | 74 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2699876.6316 | 1276404.2699 | 2699875.2807 | 1276454.8211
1 | 2699878.7155 | 1276314.8635 | 2699877.4068 | 1276375.2606 | 2699876.6316 | 1276404.2699
2 | 2699875.1893 | 1276458.2397 | 2699875.2807 | 1276454.8211
3 | 2699878.7155 | 1276314.8635 | 2699875.8198 | 1276298.0888 | 2699876.2659 | 1276280.6256 | 2699898.1631 | 1276246.5332 | 2699904.9447 | 1276226.0747 | 2699907.7988 | 1276222.6756
4 | 2699918.3272 | 1276456.2348 | 2699875.1893 | 1276458.2397
5 | 2699875.1893 | 1276458.2397 | 2699875.1574 | 1276465.0743
6 | 2699907.7988 | 1276222.6756 | 2700038.2526 | 1276124.095
7 | 2699918.3272 | 1276456.2348 | 2699924.4814 | 1276458.1518 | 2699928.485 | 1276461.5426
8 | 2699918.3272 | 1276456.2348 | 2699926.9878 | 1276444.2155 | 2699946.495 | 1276435.3169
9 | 2699875.1574 | 1276465.0743 | 2699875.1207 | 1276472.9402 | 2699875.4686 | 1276480.2394
10 | 2699928.485 | 1276461.5426 | 2699934.5305 | 1276466.6627 | 2699936.8093 | 1276475.9256
11 | 2699951.5969 | 1276432.9895 | 2699946.495 | 1276435.3169
12 | 2699876.8671 | 1276509.5874 | 2699875.4686 | 1276480.2394
13 | 2699958.8139 | 1276429.6974 | 2699951.5969 | 1276432.9895
14 | 2699958.8139 | 1276429.6974 | 2699965.2678 | 1276431.2302 | 2699969.9038 | 1276437.125 | 2699974.6204 | 1276451.5619
15 | 2699974.6204 | 1276451.5619 | 2699995.3439 | 1276525.8519
16 | 2699995.3439 | 1276525.8519 | 2699999.9074 | 1276542.2113
17 | 2699936.8093 | 1276475.9256 | 2699941.3993 | 1276494.5828
18 | 2699999.9074 | 1276542.2113 | 2700006.3841 | 1276565.429
19 | 2699877.8289 | 1276529.7709 | 2699876.8671 | 1276509.5874
20 | 2699878.6234 | 1276592.3416 | 2699879.2205 | 1276589.4777 | 2699879.7626 | 1276570.348 | 2699877.8289 | 1276529.7709
21 | 2699942.0113 | 1276497.0703 | 2699941.3993 | 1276494.5828
22 | 2699947.5422 | 1276519.5521 | 2699942.0113 | 1276497.0703
23 | 2699947.5422 | 1276519.5521 | 2699948.322 | 1276522.7219
24 | 2699948.322 | 1276522.7219 | 2699955.8981 | 1276553.5168
25 | 2699978.1928 | 1276696.1688 | 2699977.6254 | 1276684.9913
26 | 2699978.1928 | 1276696.1688 | 2699983.5141 | 1276697.9828 | 2699986.3569 | 1276701.4451
27 | 2699984.939 | 1276711.4743 | 2699987.1637 | 1276706.6188 | 2699986.3569 | 1276701.4451
28 | 2700006.3841 | 1276565.429 | 2700024.5008 | 1276630.374 | 2700025.845 | 1276639.1547
29 | 2700030.0701 | 1276666.7557 | 2700025.845 | 1276639.1547
30 | 2700030.0701 | 1276666.7557 | 2700020.4157 | 1276699.2537 | 2700012.2648 | 1276707.823 | 2699999.4474 | 1276712.3208 | 2699999.4474 | 1276712.3208
31 | 2700041.633 | 1276650.2596 | 2700030.0701 | 1276666.7557
32 | 2699997.6692 | 1276712.2171 | 2699999.4474 | 1276712.3208
33 | 2700041.633 | 1276650.2596 | 2700045.5629 | 1276647.6906 | 2700055.6623 | 1276636.819 | 2700114.06 | 1276579.3928 | 2700126.5088 | 1276567.9283
34 | 2699984.939 | 1276711.4743 | 2699997.6692 | 1276712.2171
35 | 2699969.5034 | 1276709.0106 | 2699942.3278 | 1276693.6035 | 2699914.1105 | 1276683.3279 | 2699900.7012 | 1276682.1955
36 | 2699969.5034 | 1276709.0106 | 2699972.9519 | 1276713.1059
37 | 2699882.8095 | 1276680.6846 | 2699900.7012 | 1276682.1955
38 | 2699984.939 | 1276711.4743 | 2699979.2648 | 1276714.5141 | 2699972.9519 | 1276713.1059
39 | 2699882.8095 | 1276680.6846 | 2699876.3889 | 1276675.4269 | 2699855.2636 | 1276666.7062
40 | 2699882.8095 | 1276680.6846 | 2699879.1999 | 1276700.2961 | 2699880.8615 | 1276705.2201
41 | 2699855.2636 | 1276666.7062 | 2699850.235 | 1276681.2937
42 | 2699880.8615 | 1276705.2201 | 2699880.9703 | 1276705.5426
43 | 2699848.3385 | 1276686.7954 | 2699850.235 | 1276681.2937
44 | 2699880.9703 | 1276705.5426 | 2699891.5121 | 1276736.7831
45 | 2699848.3385 | 1276686.7954 | 2699848.5052 | 1276688.7716
46 | 2699848.3385 | 1276686.7954 | 2699836.0381 | 1276638.1227 | 2699835.6911 | 1276637.0564
47 | 2699894.0981 | 1276744.4467 | 2699891.5121 | 1276736.7831
48 | 2699848.5052 | 1276688.7716 | 2699849.1398 | 1276696.295 | 2699851.3668 | 1276713.0473 | 2699855.1897 | 1276722.4239
49 | 2699835.6911 | 1276637.0564 | 2699825.4186 | 1276605.4874
50 | 2699819.2031 | 1276586.3866 | 2699825.4186 | 1276605.4874
51 | 2699894.0981 | 1276744.4467 | 2699894.7533 | 1276746.3884 | 2699892.0295 | 1276751.1984
52 | 2699875.0299 | 1276769.408 | 2699884.773 | 1276764.0126 | 2699892.0295 | 1276751.1984
53 | 2699881.0314 | 1276782.0984 | 2699875.0299 | 1276769.408
54 | 2699881.0314 | 1276782.0984 | 2699866.5058 | 1276792.3803
55 | 2699881.0314 | 1276782.0984 | 2699887.5204 | 1276788.7049
56 | 2699860.87 | 1276796.3696 | 2699866.5058 | 1276792.3803
57 | 2699893.2889 | 1276794.5778 | 2699887.5204 | 1276788.7049
58 | 2699860.87 | 1276796.3696 | 2699856.4757 | 1276800.3601
59 | 2699860.87 | 1276796.3696 | 2699849.7527 | 1276786.0982
60 | 2699893.2889 | 1276794.5778 | 2699896.5269 | 1276797.8744 | 2699901.4583 | 1276801.1044
61 | 2699849.7527 | 1276786.0982 | 2699838.2599 | 1276775.4799 | 2699831.1508 | 1276772.2142
62 | 2699856.4757 | 1276800.3601 | 2699844.7314 | 1276811.0249
63 | 2699830.6731 | 1276819.5678 | 2699840.8532 | 1276814.5467 | 2699844.7314 | 1276811.0249
64 | 2699830.6731 | 1276819.5678 | 2699836.6679 | 1276832.9829
65 | 2699830.6731 | 1276819.5678 | 2699803.6999 | 1276823.5749
66 | 2699838.5095 | 1276837.1042 | 2699836.6679 | 1276832.9829
67 | 2699838.5095 | 1276837.1042 | 2699842.8277 | 1276846.7675
68 | 2699842.8277 | 1276846.7675 | 2699845.476 | 1276852.6939
69 | 2699901.4583 | 1276801.1044 | 2699903.1803 | 1276802.2323
70 | 2699903.1803 | 1276802.2323 | 2699914.4675 | 1276809.6253
71 | 2699914.4675 | 1276809.6253 | 2699923.3108 | 1276815.4176
72 | 2699926.831 | 1276817.7232 | 2699923.3108 | 1276815.4176
73 | 2699929.9857 | 1276819.7896 | 2699926.831 | 1276817.7232
74 | 2699929.9857 | 1276819.7896 | 2699930.3751 | 1276820.0446 | 2699947.4879 | 1276830.4436
75 | 2699947.4879 | 1276830.4436 | 2699962.3602 | 1276839.4811 | 2699965.3758 | 1276840.0856
76 | 2699973.0524 | 1276841.6244 | 2699965.3758 | 1276840.0856
77 | 2699973.0524 | 1276841.6244 | 2699986.662 | 1276844.3526 | 2699992.812 | 1276843.854
78 | 2699992.812 | 1276843.854 | 2699999.2161 | 1276843.3348
79 | 2700000.0012 | 1276843.2712 | 2699999.2161 | 1276843.3348
80 | 2699850.6428 | 1276864.2561 | 2699851.3423 | 1276865.8214
81 | 2699850.6428 | 1276864.2561 | 2699845.476 | 1276852.6939
82 | 2699853.4452 | 1276870.5345 | 2699851.7192 | 1276866.6649 | 2699851.3423 | 1276865.8214
83 | 2699853.7035 | 1276871.1135 | 2699853.4452 | 1276870.5345
84 | 2699895.0729 | 1276903.5943 | 2699853.7035 | 1276871.1135 | 2699853.7035 | 1276871.1135
85 | 2699895.0729 | 1276903.5943 | 2699905.9634 | 1276912.1449 | 2699912.7763 | 1276916.1795
86 | 2699912.7763 | 1276916.1795 | 2699931.1917 | 1276927.0851 | 2699934.6053 | 1276929.1838
87 | 2700014.8459 | 1277016.4384 | 2700006.2254 | 1277013.0635
88 | 2700014.8459 | 1277016.4384 | 2700016.8508 | 1277017.2234
89 | 2700035.0581 | 1277024.3516 | 2700016.8508 | 1277017.2234
90 | 2700003.6287 | 1276842.9771 | 2700000.0012 | 1276843.2712
91 | 2700003.6287 | 1276842.9771 | 2700007.4218 | 1276842.6696 | 2700027.813 | 1276845.2972
92 | 2700038.0149 | 1276848.7818 | 2700032.7655 | 1276845.9354 | 2700027.813 | 1276845.2972
93 | 2700038.0149 | 1276848.7818 | 2700043.2593 | 1276851.6254
94 | 2700043.2593 | 1276851.6254 | 2700049.9459 | 1276855.2511
95 | 2700049.9459 | 1276855.2511 | 2700050.3805 | 1276855.4868 | 2700055.4693 | 1276862.4479
96 | 2700057.1735 | 1276864.7791 | 2700055.4693 | 1276862.4479
97 | 2700057.1735 | 1276864.7791 | 2700068.0072 | 1276879.5991
98 | 2700068.0072 | 1276879.5991 | 2700068.9324 | 1276880.8646
99 | 2700072.9077 | 1276886.3027 | 2700068.9324 | 1276880.8646
100 | 2700088.5511 | 1276907.7019 | 2700072.9077 | 1276886.3027
101 | 2700088.5511 | 1276907.7019 | 2700091.011 | 1276909.7424
102 | 2700088.5511 | 1276907.7019 | 2700074.036 | 1276925.4378 | 2700066.1859 | 1276946.8567 | 2700065.602 | 1276956.5622
103 | 2700101.793 | 1276918.6864 | 2700091.011 | 1276909.7424
104 | 2700056.6526 | 1277007.7453 | 2700063.5053 | 1276991.4168 | 2700065.602 | 1276956.5622
105 | 2700101.793 | 1276918.6864 | 2700104.0851 | 1276920.5878
106 | 2700056.6526 | 1277007.7453 | 2700055.0011 | 1277011.6804
107 | 2700123.4397 | 1276927.3998 | 2700116.3456 | 1276926.423 | 2700111.6284 | 1276925.3421 | 2700107.1781 | 1276923.1535 | 2700104.0851 | 1276920.5878
108 | 2700047.6194 | 1277029.2694 | 2700055.0011 | 1277011.6804
109 | 2700138.1833 | 1276866.6283 | 2700136.5666 | 1276884.752 | 2700135.7454 | 1276893.9952
110 | 2700138.9062 | 1276858.5244 | 2700138.1833 | 1276866.6283
111 | 2700135.7454 | 1276893.9952 | 2700135.2841 | 1276899.1873 | 2700134.755 | 1276902.0141 | 2700133.0419 | 1276908.1682 | 2700131.3733 | 1276912.0636
112 | 2700138.9062 | 1276858.5244 | 2700155.3327 | 1276859.9418
113 | 2700138.9062 | 1276858.5244 | 2700139.8167 | 1276849.1761 | 2700140.2273 | 1276847.2289
114 | 2700123.4397 | 1276927.3998 | 2700127.1997 | 1276919.7792 | 2700130.5686 | 1276913.9424 | 2700131.3733 | 1276912.0636
115 | 2700237.7419 | 1276866.1975 | 2700171.4812 | 1276861.3353 | 2700155.3327 | 1276859.9418
116 | 2700143.6374 | 1276831.0556 | 2700140.2273 | 1276847.2289
117 | 2700123.4397 | 1276927.3998 | 2700124.5184 | 1276932.0444 | 2700126.9216 | 1276936.1554 | 2700130.9345 | 1276940.1937 | 2700151.652 | 1276954.7294
118 | 2700144.6283 | 1276826.3565 | 2700143.6374 | 1276831.0556
119 | 2700151.652 | 1276954.7294 | 2700158.6785 | 1276959.6593 | 2700160.8721 | 1276960.8911
120 | 2700144.6283 | 1276826.3565 | 2700147.5881 | 1276812.3192
121 | 2700160.8721 | 1276960.8911 | 2700163.1237 | 1276962.1554
122 | 2700176.7117 | 1276969.7854 | 2700163.1237 | 1276962.1554
123 | 2700047.6194 | 1277029.2694 | 2700045.9687 | 1277033.5229 | 2700037.3291 | 1277055.7902
124 | 2700047.6194 | 1277029.2694 | 2700035.0581 | 1277024.3516
125 | 2700176.7117 | 1276969.7854 | 2700188.8434 | 1276973.6602
126 | 2700176.7117 | 1276969.7854 | 2700171.029 | 1276985.331
127 | 2700189.5794 | 1276973.8952 | 2700188.8434 | 1276973.6602
128 | 2700171.029 | 1276985.331 | 2700166.3771 | 1276998.0568 | 2700166.5124 | 1277003.6889
129 | 2700166.5124 | 1277003.6889 | 2700166.8041 | 1277015.8352 | 2700166.8041 | 1277015.8352
130 | 2700178.5559 | 1277035.8105 | 2700173.1272 | 1277029.0096 | 2700166.8041 | 1277015.8352
131 | 2700178.5559 | 1277035.8105 | 2700178.5631 | 1277035.8195
132 | 2700190.0606 | 1276974.0489 | 2700189.5794 | 1276973.8952
133 | 2700178.5631 | 1277035.8195 | 2700183.1072 | 1277041.5121 | 2700187.2017 | 1277057.5512 | 2700186.2626 | 1277073.8465
134 | 2700190.0606 | 1276974.0489 | 2700207.8814 | 1276979.7407
135 | 2700207.8814 | 1276979.7407 | 2700209.0939 | 1276980.128
136 | 2700226.1878 | 1276985.4231 | 2700219.923 | 1276983.5867 | 2700209.0939 | 1276980.128
137 | 2700242.3161 | 1276990.1506 | 2700226.1878 | 1276985.4231
138 | 2700242.3161 | 1276990.1506 | 2700285.9028 | 1277003.3865
139 | 2700186.2626 | 1277073.8465 | 2700185.1337 | 1277093.4363 | 2700184.9621 | 1277094.6708
140 | 2700254.165 | 1276646.8979 | 2700240.2472 | 1276671.9378 | 2700226.6994 | 1276691.6869
141 | 2700226.6994 | 1276691.6869 | 2700200.5821 | 1276729.759 | 2700191.8978 | 1276737.3679
142 | 2700189.0524 | 1276739.8609 | 2700191.8978 | 1276737.3679
143 | 2700189.0524 | 1276739.8609 | 2700177.7284 | 1276752.4575 | 2700173.317 | 1276759.0696
144 | 2700149.5981 | 1276805.8969 | 2700158.9697 | 1276780.5747 | 2700173.317 | 1276759.0696
145 | 2700149.5981 | 1276805.8969 | 2700148.0738 | 1276810.0154 | 2700147.5881 | 1276812.3192

## bus_geodata
| x | y | coords
0 | 2699876.6316 | 1276404.2699
1 | 2699875.2807 | 1276454.8211
2 | 2699878.7155 | 1276314.8635
3 | 2699875.1893 | 1276458.2397
4 | 2699907.7988 | 1276222.6756
5 | 2699918.3272 | 1276456.2348
6 | 2699875.1574 | 1276465.0743
7 | 2700038.2526 | 1276124.095
8 | 2699928.485 | 1276461.5426
9 | 2699946.495 | 1276435.3169
10 | 2699875.4686 | 1276480.2394
11 | 2699951.5969 | 1276432.9895
12 | 2699958.8139 | 1276429.6974
13 | 2699974.6204 | 1276451.5619
14 | 2699995.3439 | 1276525.8519
15 | 2699936.8093 | 1276475.9256
16 | 2699999.9074 | 1276542.2113
17 | 2699876.8671 | 1276509.5874
18 | 2699877.8289 | 1276529.7709
19 | 2699878.6234 | 1276592.3416
20 | 2699941.3993 | 1276494.5828
21 | 2699942.0113 | 1276497.0703
22 | 2699947.5422 | 1276519.5521
23 | 2699948.322 | 1276522.7219
24 | 2699955.8981 | 1276553.5168
25 | 2699977.6254 | 1276684.9913
26 | 2699978.1928 | 1276696.1688
27 | 2699986.3569 | 1276701.4451
28 | 2700006.3841 | 1276565.429
29 | 2700025.845 | 1276639.1547
30 | 2700030.0701 | 1276666.7557
31 | 2699999.4474 | 1276712.3208
32 | 2700041.633 | 1276650.2596
33 | 2699997.6692 | 1276712.2171
34 | 2700126.5088 | 1276567.9283
35 | 2699969.5034 | 1276709.0106
36 | 2699900.7012 | 1276682.1955
37 | 2699972.9519 | 1276713.1059
38 | 2699984.939 | 1276711.4743
39 | 2699882.8095 | 1276680.6846
40 | 2699855.2636 | 1276666.7062
41 | 2699880.8615 | 1276705.2201
42 | 2699850.235 | 1276681.2937
43 | 2699880.9703 | 1276705.5426
44 | 2699848.3385 | 1276686.7954
45 | 2699891.5121 | 1276736.7831
46 | 2699848.5052 | 1276688.7716
47 | 2699835.6911 | 1276637.0564
48 | 2699855.1897 | 1276722.4239
49 | 2699825.4186 | 1276605.4874
50 | 2699819.2031 | 1276586.3866
51 | 2699894.0981 | 1276744.4467
52 | 2699892.0295 | 1276751.1984
53 | 2699875.0299 | 1276769.408
54 | 2699881.0314 | 1276782.0984
55 | 2699866.5058 | 1276792.3803
56 | 2699887.5204 | 1276788.7049
57 | 2699860.87 | 1276796.3696
58 | 2699893.2889 | 1276794.5778
59 | 2699849.7527 | 1276786.0982
60 | 2699831.1508 | 1276772.2142
61 | 2699856.4757 | 1276800.3601
62 | 2699844.7314 | 1276811.0249
63 | 2699830.6731 | 1276819.5678
64 | 2699836.6679 | 1276832.9829
65 | 2699803.6999 | 1276823.5749
66 | 2699838.5095 | 1276837.1042
67 | 2699842.8277 | 1276846.7675
68 | 2699901.4583 | 1276801.1044
69 | 2699903.1803 | 1276802.2323
70 | 2699914.4675 | 1276809.6253
71 | 2699923.3108 | 1276815.4176
72 | 2699926.831 | 1276817.7232
73 | 2699929.9857 | 1276819.7896
74 | 2699947.4879 | 1276830.4436
75 | 2699965.3758 | 1276840.0856
76 | 2699973.0524 | 1276841.6244
77 | 2699992.812 | 1276843.854
78 | 2699999.2161 | 1276843.3348
79 | 2699850.6428 | 1276864.2561
80 | 2699851.3423 | 1276865.8214
81 | 2699845.476 | 1276852.6939
82 | 2699853.4452 | 1276870.5345
83 | 2699853.7035 | 1276871.1135
84 | 2699895.0729 | 1276903.5943
85 | 2699912.7763 | 1276916.1795
86 | 2699934.6053 | 1276929.1838
87 | 2700006.2254 | 1277013.0635
88 | 2700014.8459 | 1277016.4384
89 | 2700016.8508 | 1277017.2234
90 | 2700000.0012 | 1276843.2712
91 | 2700003.6287 | 1276842.9771
92 | 2700027.813 | 1276845.2972
93 | 2700038.0149 | 1276848.7818
94 | 2700043.2593 | 1276851.6254
95 | 2700049.9459 | 1276855.2511
96 | 2700055.4693 | 1276862.4479
97 | 2700057.1735 | 1276864.7791
98 | 2700068.0072 | 1276879.5991
99 | 2700068.9324 | 1276880.8646
100 | 2700072.9077 | 1276886.3027
101 | 2700088.5511 | 1276907.7019
102 | 2700091.011 | 1276909.7424
103 | 2700065.602 | 1276956.5622
104 | 2700101.793 | 1276918.6864
105 | 2700056.6526 | 1277007.7453
106 | 2700104.0851 | 1276920.5878
107 | 2700055.0011 | 1277011.6804
108 | 2700138.1833 | 1276866.6283
109 | 2700135.7454 | 1276893.9952
110 | 2700138.9062 | 1276858.5244
111 | 2700131.3733 | 1276912.0636
112 | 2700155.3327 | 1276859.9418
113 | 2700140.2273 | 1276847.2289
114 | 2700123.4397 | 1276927.3998
115 | 2700237.7419 | 1276866.1975
116 | 2700143.6374 | 1276831.0556
117 | 2700151.652 | 1276954.7294
118 | 2700144.6283 | 1276826.3565
119 | 2700160.8721 | 1276960.8911
120 | 2700163.1237 | 1276962.1554
121 | 2700047.6194 | 1277029.2694
122 | 2700037.3291 | 1277055.7902
123 | 2700035.0581 | 1277024.3516
124 | 2700176.7117 | 1276969.7854
125 | 2700188.8434 | 1276973.6602
126 | 2700171.029 | 1276985.331
127 | 2700166.5124 | 1277003.6889
128 | 2700166.8041 | 1277015.8352
129 | 2700178.5559 | 1277035.8105
130 | 2700189.5794 | 1276973.8952
131 | 2700178.5631 | 1277035.8195
132 | 2700190.0606 | 1276974.0489
133 | 2700207.8814 | 1276979.7407
134 | 2700209.0939 | 1276980.128
135 | 2700226.1878 | 1276985.4231
136 | 2700242.3161 | 1276990.1506
137 | 2700186.2626 | 1277073.8465
138 | 2700285.9028 | 1277003.3865
139 | 2700184.9621 | 1277094.6708
140 | 2700254.165 | 1276646.8979
141 | 2700226.6994 | 1276691.6869
142 | 2700191.8978 | 1276737.3679
143 | 2700189.0524 | 1276739.8609
144 | 2700173.317 | 1276759.0696
145 | 2700149.5981 | 1276805.8969
146 | 2700147.5881 | 1276812.3192
147 | 2699881.0314 | 1276782.0984

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1