## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2962-1_1_2_node_9 | 0.4 | n |  | TRUE
1 | bus_LV_2962-1_1_2_node_78 | 0.4 | n |  | TRUE
2 | bus_LV_2962-1_1_2_node_12 | 0.4 | n |  | TRUE
3 | bus_LV_2962-1_1_2_node_7 | 0.4 | n |  | TRUE
4 | bus_LV_2962-1_1_2_node_13 | 0.4 | n |  | TRUE
5 | bus_LV_2962-1_1_2_node_33 | 0.4 | n |  | TRUE
6 | bus_LV_2962-1_1_2_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_2962-1_1_2_node_15 | 0.4 | n |  | TRUE
8 | bus_LV_2962-1_1_2_node_46 | 0.4 | n |  | TRUE
9 | bus_LV_2962-1_1_2_node_18 | 0.4 | n |  | TRUE
10 | bus_LV_2962-1_1_2_node_44 | 0.4 | n |  | TRUE
11 | bus_LV_2962-1_1_2_node_17 | 0.4 | n |  | TRUE
12 | bus_LV_2962-1_1_2_node_49 | 0.4 | n |  | TRUE
13 | bus_LV_2962-1_1_2_node_47 | 0.4 | n |  | TRUE
14 | bus_LV_2962-1_1_2_node_48 | 0.4 | n |  | TRUE
15 | bus_LV_2962-1_1_2_node_58 | 0.4 | n |  | TRUE
16 | bus_LV_2962-1_1_2_node_19 | 0.4 | n |  | TRUE
17 | bus_LV_2962-1_1_2_node_45 | 0.4 | n |  | TRUE
18 | bus_LV_2962-1_1_2_node_43 | 0.4 | n |  | TRUE
19 | bus_LV_2962-1_1_2_node_4 | 0.4 | n |  | TRUE
20 | bus_LV_2962-1_1_2_node_5 | 0.4 | n |  | TRUE
21 | bus_LV_2962-1_1_2_node_8 | 0.4 | n |  | TRUE
22 | bus_LV_2962-1_1_2_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_2962-1_1_2_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_2962-1_1_2_node_42 | 0.4 | n |  | TRUE
25 | bus_LV_2962-1_1_2_node_41 | 0.4 | n |  | TRUE
26 | bus_LV_2962-1_1_2_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_2962-1_1_2_node_32 | 0.4 | n |  | TRUE
28 | bus_LV_2962-1_1_2_node_77 | 0.4 | n |  | TRUE
29 | bus_LV_2962-1_1_2_node_72 | 0.4 | n |  | TRUE
30 | bus_LV_2962-1_1_2_node_52 | 0.4 | n |  | TRUE
31 | bus_LV_2962-1_1_2_node_50 | 0.4 | n |  | TRUE
32 | bus_LV_2962-1_1_2_node_76 | 0.4 | n |  | TRUE
33 | bus_LV_2962-1_1_2_node_75 | 0.4 | n |  | TRUE
34 | bus_LV_2962-1_1_2_node_38 | 0.4 | n |  | TRUE
35 | bus_LV_2962-1_1_2_node_59 | 0.4 | n |  | TRUE
36 | bus_LV_2962-1_1_2_node_54 | 0.4 | n |  | TRUE
37 | bus_LV_2962-1_1_2_node_56 | 0.4 | n |  | TRUE
38 | bus_LV_2962-1_1_2_node_23 | 0.4 | n |  | TRUE
39 | bus_LV_2962-1_1_2_node_24 | 0.4 | n |  | TRUE
40 | bus_LV_2962-1_1_2_node_25 | 0.4 | n |  | TRUE
41 | bus_LV_2962-1_1_2_node_26 | 0.4 | n |  | TRUE
42 | bus_LV_2962-1_1_2_node_27 | 0.4 | n |  | TRUE
43 | bus_LV_2962-1_1_2_node_28 | 0.4 | n |  | TRUE
44 | bus_LV_2962-1_1_2_node_29 | 0.4 | n |  | TRUE
45 | bus_LV_2962-1_1_2_node_30 | 0.4 | n |  | TRUE
46 | bus_LV_2962-1_1_2_node_31 | 0.4 | n |  | TRUE
47 | bus_LV_2962-1_1_2_node_34 | 0.4 | n |  | TRUE
48 | bus_LV_2962-1_1_2_node_35 | 0.4 | n |  | TRUE
49 | bus_LV_2962-1_1_2_node_36 | 0.4 | n |  | TRUE
50 | bus_LV_2962-1_1_2_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_2962-1_1_2_node_37 | 0.4 | n |  | TRUE
52 | bus_LV_2962-1_1_2_node_40 | 0.4 | n |  | TRUE
53 | bus_LV_2962-1_1_2_node_53 | 0.4 | n |  | TRUE
54 | bus_LV_2962-1_1_2_node_57 | 0.4 | n |  | TRUE
55 | bus_LV_2962-1_1_2_node_51 | 0.4 | n |  | TRUE
56 | bus_LV_2962-1_1_2_node_55 | 0.4 | n |  | TRUE
57 | bus_LV_2962-1_1_2_node_60 | 0.4 | n |  | TRUE
58 | bus_LV_2962-1_1_2_node_61 | 0.4 | n |  | TRUE
59 | bus_LV_2962-1_1_2_node_62 | 0.4 | n |  | TRUE
60 | bus_LV_2962-1_1_2_node_63 | 0.4 | n |  | TRUE
61 | bus_LV_2962-1_1_2_node_64 | 0.4 | n |  | TRUE
62 | bus_LV_2962-1_1_2_node_65 | 0.4 | n |  | TRUE
63 | bus_LV_2962-1_1_2_node_66 | 0.4 | n |  | TRUE
64 | bus_LV_2962-1_1_2_node_67 | 0.4 | n |  | TRUE
65 | bus_LV_2962-1_1_2_node_69 | 0.4 | n |  | TRUE
66 | bus_LV_2962-1_1_2_node_70 | 0.4 | n |  | TRUE
67 | bus_LV_2962-1_1_2_node_73 | 0.4 | n |  | TRUE
68 | bus_LV_2962-1_1_2_node_68 | 0.4 | n |  | TRUE
69 | bus_LV_2962-1_1_2_node_71 | 0.4 | n |  | TRUE
70 | bus_LV_2962-1_1_2_node_74 | 0.4 | n |  | TRUE
71 | bus_MV_402_1_node_14 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2962-1_1_2_load_78 | 1 | 0.001189 | 0.000298 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2962-1_1_2_load_7 | 3 | 0.005319 | 0.0013331 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2962-1_1_2_load_33 | 5 | 0.0014142 | 0.00035444 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2962-1_1_2_load_44 | 10 | 0.0016069 | 0.00040272 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2962-1_1_2_load_49 | 12 | 0.00099363 | 0.00024903 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2962-1_1_2_load_47 | 13 | 0.0018495 | 0.00046353 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2962-1_1_2_load_58 | 15 | 0.0019674 | 0.00049309 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2962-1_1_2_load_43 | 18 | 0.0052223 | 0.0013088 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2962-1_1_2_load_4 | 19 | 0.0016133 | 0.00040433 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2962-1_1_2_load_5 | 20 | 0.0015197 | 0.00038086 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2962-1_1_2_load_8 | 21 | 0.0029403 | 0.00073691 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2962-1_1_2_load_20 | 22 | 0.00079098 | 0.00019824 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2962-1_1_2_load_21 | 23 | 0.001979 | 0.00049598 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2962-1_1_2_load_42 | 24 | 0.0027306 | 0.00068436 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2962-1_1_2_load_41 | 25 | 0.0020579 | 0.00051577 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2962-1_1_2_load_22 | 26 | 0.0016702 | 0.00041859 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2962-1_1_2_load_77 | 28 | 0.0017626 | 0.00044174 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2962-1_1_2_load_72 | 29 | 0.0078521 | 0.0019679 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2962-1_1_2_load_52 | 30 | 0.0036205 | 0.00090737 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2962-1_1_2_load_50 | 31 | 0.0032596 | 0.00081693 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2962-1_1_2_load_76 | 32 | 0.0033034 | 0.0008279 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2962-1_1_2_load_75 | 33 | 0.0032883 | 0.00082413 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2962-1_1_2_load_38 | 34 | 0.0030116 | 0.00075478 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2962-1_1_2_load_59 | 35 | 0.00079248 | 0.00019861 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2962-1_1_2_load_54 | 36 | 0.0013613 | 0.00034117 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2962-1_1_2_load_56 | 37 | 0.0012016 | 0.00030115 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2962-1_1_2_load_23 | 38 | 0.0013379 | 0.00033532 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2962-1_1_2_load_24 | 39 | 0.0027364 | 0.0006858 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2962-1_1_2_load_25 | 40 | 0.00087327 | 0.00021886 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2962-1_1_2_load_26 | 41 | 0.0043982 | 0.0011023 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2962-1_1_2_load_27 | 42 | 0.0025728 | 0.00064481 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2962-1_1_2_load_28 | 43 | 0.0011607 | 0.0002909 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2962-1_1_2_load_29 | 44 | 0.001388 | 0.00034787 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2962-1_1_2_load_30 | 45 | 0.00081719 | 0.00020481 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2962-1_1_2_load_31 | 46 | 0.0010974 | 0.00027502 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2962-1_1_2_load_34 | 47 | 0.0015396 | 0.00038585 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2962-1_1_2_load_35 | 48 | 0.0018007 | 0.0004513 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2962-1_1_2_load_39 | 50 | 0.0018896 | 0.00047358 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2962-1_1_2_load_37 | 51 | 0.0017648 | 0.0004423 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2962-1_1_2_load_40 | 52 | 0.0013883 | 0.00034793 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2962-1_1_2_load_53 | 53 | 0.0013086 | 0.00032798 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2962-1_1_2_load_57 | 54 | 0.0026949 | 0.00067541 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2962-1_1_2_load_51 | 55 | 0.0061098 | 0.0015313 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2962-1_1_2_load_55 | 56 | 0.0037289 | 0.00093456 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2962-1_1_2_load_60 | 57 | 0.0024188 | 0.00060622 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2962-1_1_2_load_61 | 58 | 0.0018299 | 0.00045861 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2962-1_1_2_load_62 | 59 | 0.0016939 | 0.00042453 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2962-1_1_2_load_63 | 60 | 0.0015887 | 0.00039816 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2962-1_1_2_load_65 | 62 | 0.00074208 | 0.00018598 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2962-1_1_2_load_66 | 63 | 0.0012683 | 0.00031786 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2962-1_1_2_load_67 | 64 | 0.0011342 | 0.00028426 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2962-1_1_2_load_69 | 65 | 0.0020969 | 0.00052554 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2962-1_1_2_load_70 | 66 | 0.0011243 | 0.00028176 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2962-1_1_2_load_73 | 67 | 0.0014863 | 0.00037249 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2962-1_1_2_load_68 | 68 | 0.0017804 | 0.00044622 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2962-1_1_2_load_71 | 69 | 0.00095837 | 0.00024019 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2962-1_1_2_load_74 | 70 | 0.0033057 | 0.00082848 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 15 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2962-1_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.070597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2962-1_1_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.14834 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2962-1_1_2_line_2 | NAYY 4x150 SE | 2 | 3 | 0.049183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2962-1_1_2_line_3 | NAYY 4x150 SE | 3 | 6 | 0.032264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2962-1_1_2_line_4 | NAYY 4x150 SE | 4 | 5 | 0.029238 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2962-1_1_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.022169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2962-1_1_2_line_6 | NAYY 4x150 SE | 5 | 27 | 0.017496 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2962-1_1_2_line_7 | NAYY 4x150 SE | 6 | 21 | 0.061388 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2962-1_1_2_line_8 | NAYY 4x150 SE | 6 | 19 | 0.019016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2962-1_1_2_line_9 | NAYY 4x150 SE | 7 | 8 | 0.036567 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2962-1_1_2_line_10 | NAYY 4x150 SE | 7 | 9 | 0.050464 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2962-1_1_2_line_11 | NAYY 4x150 SE | 7 | 10 | 0.041789 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2962-1_1_2_line_12 | NAYY 4x150 SE | 8 | 30 | 0.023406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2962-1_1_2_line_13 | NAYY 4x150 SE | 8 | 31 | 0.0046224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2962-1_1_2_line_14 | NAYY 4x150 SE | 9 | 14 | 0.019249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2962-1_1_2_line_15 | NAYY 4x150 SE | 9 | 15 | 0.042689 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2962-1_1_2_line_16 | NAYY 4x150 SE | 10 | 18 | 0.03014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2962-1_1_2_line_17 | NAYY 4x150 SE | 11 | 12 | 0.057039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2962-1_1_2_line_18 | NAYY 4x150 SE | 11 | 13 | 0.017693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2962-1_1_2_line_19 | NAYY 4x150 SE | 12 | 34 | 0.012607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2962-1_1_2_line_20 | NAYY 4x150 SE | 13 | 14 | 0.032244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2962-1_1_2_line_21 | NAYY 4x150 SE | 15 | 35 | 0.031338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2962-1_1_2_line_22 | NAYY 4x150 SE | 16 | 17 | 0.034214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2962-1_1_2_line_23 | NAYY 4x150 SE | 16 | 18 | 0.070263 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2962-1_1_2_line_24 | NAYY 4x150 SE | 17 | 36 | 0.017157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2962-1_1_2_line_25 | NAYY 4x150 SE | 17 | 37 | 0.017569 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2962-1_1_2_line_26 | NAYY 4x150 SE | 19 | 20 | 0.040578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2962-1_1_2_line_27 | NAYY 4x150 SE | 21 | 22 | 0.049878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2962-1_1_2_line_28 | NAYY 4x150 SE | 22 | 23 | 0.032378 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2962-1_1_2_line_29 | NAYY 4x150 SE | 23 | 26 | 0.028194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2962-1_1_2_line_30 | NAYY 4x150 SE | 24 | 25 | 0.038746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2962-1_1_2_line_31 | NAYY 4x150 SE | 25 | 52 | 0.020856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2962-1_1_2_line_32 | NAYY 4x150 SE | 27 | 47 | 0.025664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2962-1_1_2_line_33 | NAYY 4x150 SE | 27 | 48 | 0.017763 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2962-1_1_2_line_34 | NAYY 4x150 SE | 27 | 46 | 0.037694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2962-1_1_2_line_35 | NAYY 4x150 SE | 28 | 29 | 0.022082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2962-1_1_2_line_36 | NAYY 4x150 SE | 29 | 69 | 0.031811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2962-1_1_2_line_37 | NAYY 4x150 SE | 31 | 55 | 0.032542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2962-1_1_2_line_38 | NAYY 4x150 SE | 32 | 33 | 0.0021538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2962-1_1_2_line_39 | NAYY 4x150 SE | 33 | 70 | 0.025812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2962-1_1_2_line_40 | NAYY 4x150 SE | 34 | 49 | 0.018323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2962-1_1_2_line_41 | NAYY 4x150 SE | 35 | 57 | 0.0031153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2962-1_1_2_line_42 | NAYY 4x150 SE | 36 | 53 | 0.0063457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2962-1_1_2_line_43 | NAYY 4x150 SE | 37 | 54 | 0.0094874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2962-1_1_2_line_44 | NAYY 4x150 SE | 38 | 39 | 0.024094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2962-1_1_2_line_45 | NAYY 4x150 SE | 38 | 40 | 0.0171 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_2962-1_1_2_line_46 | NAYY 4x150 SE | 39 | 41 | 0.013815 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_2962-1_1_2_line_47 | NAYY 4x150 SE | 41 | 42 | 0.018028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_2962-1_1_2_line_48 | NAYY 4x150 SE | 42 | 43 | 0.025595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_2962-1_1_2_line_49 | NAYY 4x150 SE | 43 | 44 | 0.0057667 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_2962-1_1_2_line_50 | NAYY 4x150 SE | 44 | 45 | 0.017856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_2962-1_1_2_line_51 | NAYY 4x150 SE | 45 | 46 | 0.0011726 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_2962-1_1_2_line_52 | NAYY 4x150 SE | 47 | 49 | 0.0067685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_2962-1_1_2_line_53 | NAYY 4x150 SE | 48 | 50 | 0.0058285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_2962-1_1_2_line_54 | NAYY 4x150 SE | 49 | 51 | 0.028547 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_2962-1_1_2_line_55 | NAYY 4x150 SE | 51 | 52 | 0.025739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_2962-1_1_2_line_56 | NAYY 4x150 SE | 53 | 56 | 0.010616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_2962-1_1_2_line_57 | NAYY 4x150 SE | 57 | 58 | 0.021072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_2962-1_1_2_line_58 | NAYY 4x150 SE | 58 | 59 | 0.13057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_2962-1_1_2_line_59 | NAYY 4x150 SE | 59 | 60 | 0.022582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_2962-1_1_2_line_60 | NAYY 4x150 SE | 60 | 61 | 0.062361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_2962-1_1_2_line_61 | NAYY 4x150 SE | 61 | 62 | 0.010215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_2962-1_1_2_line_62 | NAYY 4x150 SE | 61 | 63 | 0.01353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_2962-1_1_2_line_63 | NAYY 4x150 SE | 61 | 64 | 0.022378 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_2962-1_1_2_line_64 | NAYY 4x150 SE | 62 | 65 | 0.018717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_2962-1_1_2_line_65 | NAYY 4x150 SE | 63 | 66 | 0.018097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_2962-1_1_2_line_66 | NAYY 4x150 SE | 64 | 67 | 0.023831 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_2962-1_1_2_line_67 | NAYY 4x150 SE | 65 | 68 | 0.02823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_2962-1_1_2_line_68 | NAYY 4x150 SE | 66 | 69 | 0.021906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_2962-1_1_2_line_69 | NAYY 4x150 SE | 67 | 70 | 0.0011885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2962-1_1_2_trafo_58 | 0.25 MVA 20/0.4 kV | 71 | 15 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2704653.0878 | 1281447.3365 | 2704620.9849 | 1281481.1973 | 2704619.9051 | 1281482.3681 | 2704616.8791 | 1281482.3143 | 2704610.8401 | 1281480.6279 | 2704606.0836 | 1281481.5888 | 2704603.9268 | 1281484.1862 | 2704601.8867 | 1281488.6763
1 | 2704601.8867 | 1281488.6763 | 2704600.3452 | 1281496.8119 | 2704599.4862 | 1281505.4266 | 2704600.0795 | 1281523.1976 | 2704599.9685 | 1281557.7935 | 2704613.007 | 1281549.7843 | 2704628.2119 | 1281547.0961 | 2704675.3528 | 1281546.1319 | 2704676.4125 | 1281546.5178
2 | 2704676.4125 | 1281546.5178 | 2704677.4295 | 1281545.079 | 2704707.7626 | 1281508.6277
3 | 2704729.1749 | 1281484.5321 | 2704720.8389 | 1281492.9138 | 2704707.7626 | 1281508.6277
4 | 2704719.8402 | 1281500.9255 | 2704745.1867 | 1281515.5005
5 | 2704719.8402 | 1281500.9255 | 2704731.9691 | 1281487.4844 | 2704729.1749 | 1281484.5321
6 | 2704760.3535 | 1281524.2218 | 2704745.1867 | 1281515.5005
7 | 2704729.1749 | 1281484.5321 | 2704772.4764 | 1281441.0177
8 | 2704729.1749 | 1281484.5321 | 2704716.1112 | 1281470.7132
9 | 2704916.0636 | 1281612.8149 | 2704914.16 | 1281597.4004 | 2704912.341 | 1281591.1513 | 2704901.8704 | 1281581.0447
10 | 2704909.2032 | 1281531.1635 | 2704906.3613 | 1281543.9689 | 2704903.8628 | 1281564.9101 | 2704901.8704 | 1281581.0447
11 | 2704901.8704 | 1281581.0447 | 2704899.7855 | 1281596.4771 | 2704894.714 | 1281609.6433 | 2704889.3513 | 1281620.4977
12 | 2704916.0636 | 1281612.8149 | 2704937.2432 | 1281622.7783
13 | 2704916.0636 | 1281612.8149 | 2704916.1077 | 1281617.4371
14 | 2704897.0322 | 1281546.1049 | 2704909.2032 | 1281531.1635
15 | 2704909.2032 | 1281531.1635 | 2704930.8934 | 1281510.1638 | 2704937.3438 | 1281499.4579
16 | 2704875.7987 | 1281647.419 | 2704886.3535 | 1281626.5654 | 2704889.3513 | 1281620.4977
17 | 2704864.7479 | 1281584.1983 | 2704815.2815 | 1281555.7992
18 | 2704864.7479 | 1281584.1983 | 2704872.3116 | 1281575.3249 | 2704876.253 | 1281570.757
19 | 2704815.2815 | 1281555.7992 | 2704807.7141 | 1281551.4547 | 2704804.3805 | 1281549.467
20 | 2704897.0322 | 1281546.1049 | 2704888.7467 | 1281556.2778 | 2704876.253 | 1281570.757
21 | 2704937.3438 | 1281499.4579 | 2704952.0543 | 1281475.0421 | 2704953.4504 | 1281472.5767
22 | 2704846.3688 | 1281711.2084 | 2704876.7054 | 1281727.2069
23 | 2704846.3688 | 1281711.2084 | 2704869.2272 | 1281660.4024 | 2704875.7987 | 1281647.419
24 | 2704876.7054 | 1281727.2069 | 2704869.6721 | 1281742.8563
25 | 2704876.7054 | 1281727.2069 | 2704881.9325 | 1281716.2566 | 2704882.543 | 1281710.856
26 | 2704716.1112 | 1281470.7132 | 2704712.6754 | 1281467.0789 | 2704706.6831 | 1281464.8816 | 2704692.6914 | 1281469.871 | 2704689.4665 | 1281474.251 | 2704683.7078 | 1281481.0374
27 | 2704809.5674 | 1281407.6697 | 2704772.4764 | 1281441.0177 | 2704772.4764 | 1281441.0177
28 | 2704809.5674 | 1281407.6697 | 2704833.6447 | 1281386.0222
29 | 2704854.6106 | 1281367.172 | 2704833.6447 | 1281386.0222
30 | 2704745.8148 | 1281601.8246 | 2704737.3042 | 1281614.0934 | 2704724.7182 | 1281634.3098
31 | 2704757.7018 | 1281584.6883 | 2704745.8148 | 1281601.8246
32 | 2704760.3535 | 1281524.2218 | 2704782.7394 | 1281536.7731
33 | 2704760.3535 | 1281524.2218 | 2704748.9735 | 1281533.1388 | 2704746.8501 | 1281535.6716
34 | 2704760.3535 | 1281524.2218 | 2704786.4625 | 1281497.0348
35 | 2705112.3032 | 1281199.1821 | 2705128.9699 | 1281184.6969
36 | 2705088.2932 | 1281220.0493 | 2705112.3032 | 1281199.1821
37 | 2704913.7638 | 1281649.5849 | 2704916.3362 | 1281641.3677 | 2704916.1077 | 1281617.4371
38 | 2705124.7084 | 1281238.0514 | 2705126.7492 | 1281237.3629
39 | 2705124.7084 | 1281238.0514 | 2705100.2508 | 1281246.303
40 | 2704788.6432 | 1281540.0832 | 2704804.3805 | 1281549.467
41 | 2704953.4504 | 1281472.5767 | 2704954.9855 | 1281469.8659
42 | 2704865.8803 | 1281747.9186 | 2704869.3619 | 1281743.5466 | 2704869.6721 | 1281742.8563
43 | 2704883.6086 | 1281701.4286 | 2704882.543 | 1281710.856
44 | 2704843.4221 | 1281437.7232 | 2704860.1111 | 1281420.3452
45 | 2704871.9553 | 1281408.0119 | 2704860.1111 | 1281420.3452
46 | 2704843.4221 | 1281437.7232 | 2704833.8528 | 1281447.6877
47 | 2704821.3658 | 1281460.6903 | 2704833.8528 | 1281447.6877
48 | 2704821.3658 | 1281460.6903 | 2704803.6371 | 1281479.151
49 | 2704803.6371 | 1281479.151 | 2704799.6428 | 1281483.3102
50 | 2704787.2747 | 1281496.189 | 2704799.6428 | 1281483.3102
51 | 2704787.2747 | 1281496.189 | 2704786.4625 | 1281497.0348
52 | 2704788.6432 | 1281540.0832 | 2704782.7394 | 1281536.7731
53 | 2704743.1057 | 1281540.1382 | 2704746.8501 | 1281535.6716
54 | 2704788.6432 | 1281540.0832 | 2704772.3721 | 1281563.5397
55 | 2704757.7018 | 1281584.6883 | 2704772.3721 | 1281563.5397
56 | 2704859.2671 | 1281756.2229 | 2704865.8803 | 1281747.9186
57 | 2704965.3689 | 1281451.5303 | 2704954.9855 | 1281469.8659
58 | 2704965.3689 | 1281451.5303 | 2704968.6579 | 1281445.7223 | 2704984.796 | 1281416.4053 | 2704997.2644 | 1281391.1268 | 2704999.6687 | 1281372.9643 | 2705000.3911 | 1281353.504 | 2705005.0492 | 1281337.0054 | 2705008.6671 | 1281330.659
59 | 2705008.6671 | 1281330.659 | 2705018.9129 | 1281312.6859 | 2705020.2221 | 1281311.318
60 | 2705055.3398 | 1281261.4553 | 2705048.6865 | 1281281.5771 | 2705020.2221 | 1281311.318
61 | 2705055.3398 | 1281261.4553 | 2705045.8129 | 1281265.1416
62 | 2705055.3398 | 1281261.4553 | 2705060.7637 | 1281251.3094 | 2705061.8046 | 1281249.5715
63 | 2705055.3398 | 1281261.4553 | 2705076.5437 | 1281254.3014
64 | 2705028.3576 | 1281271.8958 | 2705045.8129 | 1281265.1416
65 | 2705061.8046 | 1281249.5715 | 2705068.1649 | 1281238.9523 | 2705072.2445 | 1281234.945
66 | 2705076.5437 | 1281254.3014 | 2705099.1247 | 1281246.6829
67 | 2705003.286 | 1281284.6546 | 2705017.7264 | 1281276.0095 | 2705028.3576 | 1281271.8958
68 | 2705072.2445 | 1281234.945 | 2705080.6192 | 1281226.7188 | 2705088.2932 | 1281220.0493
69 | 2705099.1247 | 1281246.6829 | 2705100.2508 | 1281246.303

## bus_geodata
| x | y | coords
0 | 2704601.8867 | 1281488.6763
1 | 2704653.0878 | 1281447.3365
2 | 2704676.4125 | 1281546.5178
3 | 2704707.7626 | 1281508.6277
4 | 2704719.8402 | 1281500.9255
5 | 2704745.1867 | 1281515.5005
6 | 2704729.1749 | 1281484.5321
7 | 2704901.8704 | 1281581.0447
8 | 2704916.0636 | 1281612.8149
9 | 2704909.2032 | 1281531.1635
10 | 2704889.3513 | 1281620.4977
11 | 2704864.7479 | 1281584.1983
12 | 2704815.2815 | 1281555.7992
13 | 2704876.253 | 1281570.757
14 | 2704897.0322 | 1281546.1049
15 | 2704937.3438 | 1281499.4579
16 | 2704846.3688 | 1281711.2084
17 | 2704876.7054 | 1281727.2069
18 | 2704875.7987 | 1281647.419
19 | 2704716.1112 | 1281470.7132
20 | 2704683.7078 | 1281481.0374
21 | 2704772.4764 | 1281441.0177
22 | 2704809.5674 | 1281407.6697
23 | 2704833.6447 | 1281386.0222
24 | 2704724.7182 | 1281634.3098
25 | 2704745.8148 | 1281601.8246
26 | 2704854.6106 | 1281367.172
27 | 2704760.3535 | 1281524.2218
28 | 2705128.9699 | 1281184.6969
29 | 2705112.3032 | 1281199.1821
30 | 2704937.2432 | 1281622.7783
31 | 2704916.1077 | 1281617.4371
32 | 2705126.7492 | 1281237.3629
33 | 2705124.7084 | 1281238.0514
34 | 2704804.3805 | 1281549.467
35 | 2704953.4504 | 1281472.5767
36 | 2704869.6721 | 1281742.8563
37 | 2704882.543 | 1281710.856
38 | 2704860.1111 | 1281420.3452
39 | 2704843.4221 | 1281437.7232
40 | 2704871.9553 | 1281408.0119
41 | 2704833.8528 | 1281447.6877
42 | 2704821.3658 | 1281460.6903
43 | 2704803.6371 | 1281479.151
44 | 2704799.6428 | 1281483.3102
45 | 2704787.2747 | 1281496.189
46 | 2704786.4625 | 1281497.0348
47 | 2704782.7394 | 1281536.7731
48 | 2704746.8501 | 1281535.6716
49 | 2704788.6432 | 1281540.0832
50 | 2704743.1057 | 1281540.1382
51 | 2704772.3721 | 1281563.5397
52 | 2704757.7018 | 1281584.6883
53 | 2704865.8803 | 1281747.9186
54 | 2704883.6086 | 1281701.4286
55 | 2704913.7638 | 1281649.5849
56 | 2704859.2671 | 1281756.2229
57 | 2704954.9855 | 1281469.8659
58 | 2704965.3689 | 1281451.5303
59 | 2705008.6671 | 1281330.659
60 | 2705020.2221 | 1281311.318
61 | 2705055.3398 | 1281261.4553
62 | 2705045.8129 | 1281265.1416
63 | 2705061.8046 | 1281249.5715
64 | 2705076.5437 | 1281254.3014
65 | 2705028.3576 | 1281271.8958
66 | 2705072.2445 | 1281234.945
67 | 2705099.1247 | 1281246.6829
68 | 2705003.286 | 1281284.6546
69 | 2705088.2932 | 1281220.0493
70 | 2705100.2508 | 1281246.303
71 | 2704909.2032 | 1281531.1635

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1