## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2963-10_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2963-10_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2963-10_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2963-10_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2963-10_0_3_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_2963-10_0_3_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_2963-10_0_3_node_49 | 0.4 | n |  | TRUE
7 | bus_LV_2963-10_0_3_node_18 | 0.4 | n |  | TRUE
8 | bus_LV_2963-10_0_3_node_20 | 0.4 | n |  | TRUE
9 | bus_LV_2963-10_0_3_node_48 | 0.4 | n |  | TRUE
10 | bus_LV_2963-10_0_3_node_16 | 0.4 | n |  | TRUE
11 | bus_LV_2963-10_0_3_node_19 | 0.4 | n |  | TRUE
12 | bus_LV_2963-10_0_3_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_2963-10_0_3_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_2963-10_0_3_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_2963-10_0_3_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_2963-10_0_3_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_2963-10_0_3_node_102 | 0.4 | n |  | TRUE
18 | bus_LV_2963-10_0_3_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_2963-10_0_3_node_101 | 0.4 | n |  | TRUE
20 | bus_LV_2963-10_0_3_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_2963-10_0_3_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_2963-10_0_3_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_2963-10_0_3_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_2963-10_0_3_node_27 | 0.4 | n |  | TRUE
25 | bus_LV_2963-10_0_3_node_26 | 0.4 | n |  | TRUE
26 | bus_LV_2963-10_0_3_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_2963-10_0_3_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_2963-10_0_3_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_2963-10_0_3_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_2963-10_0_3_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_2963-10_0_3_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_2963-10_0_3_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_2963-10_0_3_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_2963-10_0_3_node_33 | 0.4 | n |  | TRUE
35 | bus_LV_2963-10_0_3_node_34 | 0.4 | n |  | TRUE
36 | bus_LV_2963-10_0_3_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_2963-10_0_3_node_35 | 0.4 | n |  | TRUE
38 | bus_LV_2963-10_0_3_node_36 | 0.4 | n |  | TRUE
39 | bus_LV_2963-10_0_3_node_37 | 0.4 | n |  | TRUE
40 | bus_LV_2963-10_0_3_node_83 | 0.4 | n |  | TRUE
41 | bus_LV_2963-10_0_3_node_81 | 0.4 | n |  | TRUE
42 | bus_LV_2963-10_0_3_node_82 | 0.4 | n |  | TRUE
43 | bus_LV_2963-10_0_3_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_2963-10_0_3_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_2963-10_0_3_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_2963-10_0_3_node_41 | 0.4 | n |  | TRUE
47 | bus_LV_2963-10_0_3_node_42 | 0.4 | n |  | TRUE
48 | bus_LV_2963-10_0_3_node_43 | 0.4 | n |  | TRUE
49 | bus_LV_2963-10_0_3_node_44 | 0.4 | n |  | TRUE
50 | bus_LV_2963-10_0_3_node_61 | 0.4 | n |  | TRUE
51 | bus_LV_2963-10_0_3_node_45 | 0.4 | n |  | TRUE
52 | bus_LV_2963-10_0_3_node_86 | 0.4 | n |  | TRUE
53 | bus_LV_2963-10_0_3_node_62 | 0.4 | n |  | TRUE
54 | bus_LV_2963-10_0_3_node_59 | 0.4 | n |  | TRUE
55 | bus_LV_2963-10_0_3_node_46 | 0.4 | n |  | TRUE
56 | bus_LV_2963-10_0_3_node_47 | 0.4 | n |  | TRUE
57 | bus_LV_2963-10_0_3_node_50 | 0.4 | n |  | TRUE
58 | bus_LV_2963-10_0_3_node_51 | 0.4 | n |  | TRUE
59 | bus_LV_2963-10_0_3_node_52 | 0.4 | n |  | TRUE
60 | bus_LV_2963-10_0_3_node_53 | 0.4 | n |  | TRUE
61 | bus_LV_2963-10_0_3_node_60 | 0.4 | n |  | TRUE
62 | bus_LV_2963-10_0_3_node_54 | 0.4 | n |  | TRUE
63 | bus_LV_2963-10_0_3_node_55 | 0.4 | n |  | TRUE
64 | bus_LV_2963-10_0_3_node_56 | 0.4 | n |  | TRUE
65 | bus_LV_2963-10_0_3_node_57 | 0.4 | n |  | TRUE
66 | bus_LV_2963-10_0_3_node_100 | 0.4 | n |  | TRUE
67 | bus_LV_2963-10_0_3_node_99 | 0.4 | n |  | TRUE
68 | bus_LV_2963-10_0_3_node_63 | 0.4 | n |  | TRUE
69 | bus_LV_2963-10_0_3_node_64 | 0.4 | n |  | TRUE
70 | bus_LV_2963-10_0_3_node_65 | 0.4 | n |  | TRUE
71 | bus_LV_2963-10_0_3_node_66 | 0.4 | n |  | TRUE
72 | bus_LV_2963-10_0_3_node_67 | 0.4 | n |  | TRUE
73 | bus_LV_2963-10_0_3_node_68 | 0.4 | n |  | TRUE
74 | bus_LV_2963-10_0_3_node_74 | 0.4 | n |  | TRUE
75 | bus_LV_2963-10_0_3_node_69 | 0.4 | n |  | TRUE
76 | bus_LV_2963-10_0_3_node_79 | 0.4 | n |  | TRUE
77 | bus_LV_2963-10_0_3_node_70 | 0.4 | n |  | TRUE
78 | bus_LV_2963-10_0_3_node_71 | 0.4 | n |  | TRUE
79 | bus_LV_2963-10_0_3_node_72 | 0.4 | n |  | TRUE
80 | bus_LV_2963-10_0_3_node_73 | 0.4 | n |  | TRUE
81 | bus_LV_2963-10_0_3_node_94 | 0.4 | n |  | TRUE
82 | bus_LV_2963-10_0_3_node_90 | 0.4 | n |  | TRUE
83 | bus_LV_2963-10_0_3_node_95 | 0.4 | n |  | TRUE
84 | bus_LV_2963-10_0_3_node_76 | 0.4 | n |  | TRUE
85 | bus_LV_2963-10_0_3_node_97 | 0.4 | n |  | TRUE
86 | bus_LV_2963-10_0_3_node_92 | 0.4 | n |  | TRUE
87 | bus_LV_2963-10_0_3_node_89 | 0.4 | n |  | TRUE
88 | bus_LV_2963-10_0_3_node_96 | 0.4 | n |  | TRUE
89 | bus_LV_2963-10_0_3_node_75 | 0.4 | n |  | TRUE
90 | bus_LV_2963-10_0_3_node_80 | 0.4 | n |  | TRUE
91 | bus_LV_2963-10_0_3_node_77 | 0.4 | n |  | TRUE
92 | bus_LV_2963-10_0_3_node_78 | 0.4 | n |  | TRUE
93 | bus_LV_2963-10_0_3_node_84 | 0.4 | n |  | TRUE
94 | bus_LV_2963-10_0_3_node_85 | 0.4 | n |  | TRUE
95 | bus_LV_2963-10_0_3_node_88 | 0.4 | n |  | TRUE
96 | bus_LV_2963-10_0_3_node_91 | 0.4 | n |  | TRUE
97 | bus_LV_2963-10_0_3_node_93 | 0.4 | n |  | TRUE
98 | bus_LV_2963-10_0_3_node_98 | 0.4 | n |  | TRUE
99 | bus_MV_402_0_node_20 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2963-10_0_3_load_0 | 0 | 0.0015991 | 0.00040078 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2963-10_0_3_load_3 | 3 | 0.0012129 | 0.00030397 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2963-10_0_3_load_49 | 6 | 0.002664 | 0.00066767 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2963-10_0_3_load_18 | 7 | 0.0042139 | 0.0010561 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2963-10_0_3_load_20 | 8 | 0.0035815 | 0.00089761 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2963-10_0_3_load_48 | 9 | 0.0033971 | 0.00085138 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2963-10_0_3_load_19 | 11 | 0.0017856 | 0.0004475 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2963-10_0_3_load_7 | 12 | 0.0025071 | 0.00062835 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2963-10_0_3_load_8 | 13 | 0.0030382 | 0.00076145 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2963-10_0_3_load_9 | 14 | 0.0013616 | 0.00034125 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2963-10_0_3_load_10 | 15 | 0.0042723 | 0.0010707 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2963-10_0_3_load_11 | 16 | 0.0013507 | 0.00033851 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2963-10_0_3_load_12 | 18 | 0.0013462 | 0.00033738 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2963-10_0_3_load_101 | 19 | 0.0016881 | 0.00042308 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2963-10_0_3_load_13 | 20 | 0.0011121 | 0.00027871 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2963-10_0_3_load_14 | 21 | 0.0019802 | 0.00049629 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2963-10_0_3_load_15 | 22 | 0.0019344 | 0.00048481 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2963-10_0_3_load_17 | 23 | 0.002244 | 0.00056241 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2963-10_0_3_load_27 | 24 | 0.00087005 | 0.00021805 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2963-10_0_3_load_26 | 25 | 0.0027722 | 0.00069478 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2963-10_0_3_load_21 | 26 | 0.0042106 | 0.0010553 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2963-10_0_3_load_22 | 27 | 0.0021085 | 0.00052844 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2963-10_0_3_load_23 | 28 | 0.0030776 | 0.00077132 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2963-10_0_3_load_24 | 29 | 0.0012752 | 0.0003196 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2963-10_0_3_load_25 | 30 | 0.0040889 | 0.0010248 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2963-10_0_3_load_28 | 31 | 0.003334 | 0.00083557 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2963-10_0_3_load_29 | 32 | 0.0030481 | 0.00076392 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2963-10_0_3_load_30 | 33 | 0.0019971 | 0.00050053 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2963-10_0_3_load_34 | 35 | 0.0040218 | 0.0010079 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2963-10_0_3_load_31 | 36 | 0.016832 | 0.0042185 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2963-10_0_3_load_35 | 37 | 0.0019733 | 0.00049457 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2963-10_0_3_load_36 | 38 | 0.010703 | 0.0026825 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2963-10_0_3_load_83 | 40 | 0.0012602 | 0.00031582 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2963-10_0_3_load_81 | 41 | 0.0078324 | 0.001963 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2963-10_0_3_load_82 | 42 | 0.0043333 | 0.001086 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2963-10_0_3_load_38 | 43 | 0.0025376 | 0.00063597 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2963-10_0_3_load_39 | 44 | 0.0012097 | 0.00030318 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2963-10_0_3_load_40 | 45 | 0.001901 | 0.00047643 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2963-10_0_3_load_42 | 47 | 0.0042229 | 0.0010584 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2963-10_0_3_load_43 | 48 | 0.0023982 | 0.00060104 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2963-10_0_3_load_44 | 49 | 0.0030346 | 0.00076055 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2963-10_0_3_load_45 | 51 | 0.0026224 | 0.00065725 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2963-10_0_3_load_86 | 52 | 0.0034253 | 0.00085847 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2963-10_0_3_load_62 | 53 | 0.0012701 | 0.00031832 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2963-10_0_3_load_59 | 54 | 0.0020708 | 0.00051899 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2963-10_0_3_load_46 | 55 | 0.0035515 | 0.00089008 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2963-10_0_3_load_47 | 56 | 0.0023664 | 0.00059307 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2963-10_0_3_load_50 | 57 | 0.00077195 | 0.00019347 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2963-10_0_3_load_51 | 58 | 0.0012146 | 0.0003044 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2963-10_0_3_load_52 | 59 | 0.0028338 | 0.00071023 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2963-10_0_3_load_53 | 60 | 0.00045342 | 0.00011364 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2963-10_0_3_load_60 | 61 | 0.0031351 | 0.00078574 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2963-10_0_3_load_54 | 62 | 0.00083101 | 0.00020827 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2963-10_0_3_load_56 | 64 | 0.0016471 | 0.00041279 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2963-10_0_3_load_57 | 65 | 0.00063119 | 0.00015819 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2963-10_0_3_load_100 | 66 | 0.00079703 | 0.00019975 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2963-10_0_3_load_63 | 68 | 0.00079699 | 0.00019974 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2963-10_0_3_load_64 | 69 | 0.0038635 | 0.00096829 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2963-10_0_3_load_65 | 70 | 0.0020147 | 0.00050492 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2963-10_0_3_load_66 | 71 | 0.00098817 | 0.00024766 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2963-10_0_3_load_67 | 72 | 0.0004868 | 0.000122 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2963-10_0_3_load_68 | 73 | 0.0008488 | 0.00021273 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2963-10_0_3_load_74 | 74 | 0.0011948 | 0.00029944 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2963-10_0_3_load_69 | 75 | 0.0010538 | 0.00026411 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2963-10_0_3_load_79 | 76 | 0.0011955 | 0.00029962 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2963-10_0_3_load_72 | 79 | 0.001223 | 0.00030651 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2963-10_0_3_load_73 | 80 | 0.00074053 | 0.00018559 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2963-10_0_3_load_90 | 82 | 0.0015105 | 0.00037857 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2963-10_0_3_load_95 | 83 | 0.0015869 | 0.00039772 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2963-10_0_3_load_76 | 84 | 0.001242 | 0.00031128 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_2963-10_0_3_load_97 | 85 | 0.00062918 | 0.00015769 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_2963-10_0_3_load_89 | 87 | 0.00048451 | 0.00012143 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_2963-10_0_3_load_96 | 88 | 0.00079262 | 0.00019865 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_2963-10_0_3_load_75 | 89 | 0.00034381 | 8.6166e-05 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_2963-10_0_3_load_80 | 90 | 0.00046971 | 0.00011772 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_2963-10_0_3_load_77 | 91 | 0.0012184 | 0.00030537 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_2963-10_0_3_load_78 | 92 | 0.00076597 | 0.00019197 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_2963-10_0_3_load_84 | 93 | 0.00056564 | 0.00014176 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_2963-10_0_3_load_85 | 94 | 0.0012091 | 0.00030303 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_2963-10_0_3_load_88 | 95 | 0.0014659 | 0.00036738 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_2963-10_0_3_load_91 | 96 | 0.00096301 | 0.00024135 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_2963-10_0_3_load_93 | 97 | 0.0011851 | 0.00029701 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_2963-10_0_3_load_98 | 98 | 0.0016846 | 0.00042221 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 32 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2963-10_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.017532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2963-10_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0027937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2963-10_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0064382 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2963-10_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.02002 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_2963-10_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.023714 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
5 | LV_2963-10_0_3_line_5 | NAYY 4x150 SE | 4 | 7 | 0.013018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
6 | LV_2963-10_0_3_line_6 | NAYY 4x150 SE | 4 | 8 | 0.018717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2963-10_0_3_line_7 | NAYY 4x150 SE | 5 | 6 | 0.0056607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_2963-10_0_3_line_8 | NAYY 4x150 SE | 6 | 9 | 0.041319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_2963-10_0_3_line_9 | NAYY 4x150 SE | 7 | 10 | 0.021206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
10 | LV_2963-10_0_3_line_10 | NAYY 4x150 SE | 8 | 11 | 0.020988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2963-10_0_3_line_11 | NAYY 4x150 SE | 9 | 56 | 0.015395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
12 | LV_2963-10_0_3_line_12 | NAYY 4x150 SE | 10 | 23 | 0.0044296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
13 | LV_2963-10_0_3_line_13 | NAYY 4x150 SE | 10 | 22 | 0.015598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2963-10_0_3_line_14 | NAYY 4x150 SE | 11 | 26 | 0.00044664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2963-10_0_3_line_15 | NAYY 4x150 SE | 12 | 13 | 0.013682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2963-10_0_3_line_16 | NAYY 4x150 SE | 12 | 14 | 0.0035176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2963-10_0_3_line_17 | NAYY 4x150 SE | 13 | 15 | 0.0066804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2963-10_0_3_line_18 | NAYY 4x150 SE | 14 | 16 | 0.011283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2963-10_0_3_line_19 | NAYY 4x150 SE | 15 | 17 | 0.049457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2963-10_0_3_line_20 | NAYY 4x150 SE | 16 | 18 | 0.0018902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2963-10_0_3_line_21 | NAYY 4x150 SE | 17 | 19 | 0.062339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2963-10_0_3_line_22 | NAYY 4x150 SE | 18 | 20 | 0.014297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2963-10_0_3_line_23 | NAYY 4x150 SE | 20 | 21 | 0.0021838 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2963-10_0_3_line_24 | NAYY 4x150 SE | 21 | 22 | 0.018414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2963-10_0_3_line_25 | NAYY 4x150 SE | 23 | 24 | 0.012823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
26 | LV_2963-10_0_3_line_26 | NAYY 4x150 SE | 24 | 25 | 0.0069634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_2963-10_0_3_line_27 | NAYY 4x150 SE | 25 | 29 | 0.0088011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
28 | LV_2963-10_0_3_line_28 | NAYY 4x150 SE | 27 | 28 | 0.00085526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
29 | LV_2963-10_0_3_line_29 | NAYY 4x150 SE | 27 | 29 | 0.010937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
30 | LV_2963-10_0_3_line_30 | NAYY 4x150 SE | 28 | 30 | 0.010991 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
31 | LV_2963-10_0_3_line_31 | NAYY 4x150 SE | 30 | 31 | 0.0042572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
32 | LV_2963-10_0_3_line_32 | NAYY 4x150 SE | 31 | 32 | 0.0083126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
33 | LV_2963-10_0_3_line_33 | NAYY 4x150 SE | 32 | 33 | 0.015124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2963-10_0_3_line_34 | NAYY 4x150 SE | 33 | 34 | 0.0084291 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2963-10_0_3_line_35 | NAYY 4x150 SE | 34 | 35 | 0.017268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2963-10_0_3_line_36 | NAYY 4x150 SE | 34 | 36 | 0.040925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2963-10_0_3_line_37 | NAYY 4x150 SE | 35 | 37 | 0.0028191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2963-10_0_3_line_38 | NAYY 4x150 SE | 37 | 38 | 0.019348 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2963-10_0_3_line_39 | NAYY 4x150 SE | 38 | 39 | 0.053685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2963-10_0_3_line_40 | NAYY 4x150 SE | 39 | 40 | 0.0082395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2963-10_0_3_line_41 | NAYY 4x150 SE | 39 | 41 | 0.067132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2963-10_0_3_line_42 | NAYY 4x150 SE | 41 | 42 | 0.0081596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2963-10_0_3_line_43 | NAYY 4x150 SE | 43 | 44 | 0.018538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2963-10_0_3_line_44 | NAYY 4x150 SE | 43 | 45 | 0.0036822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2963-10_0_3_line_45 | NAYY 4x150 SE | 44 | 46 | 0.0060452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_2963-10_0_3_line_46 | NAYY 4x150 SE | 45 | 47 | 0.031107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_2963-10_0_3_line_47 | NAYY 4x150 SE | 46 | 48 | 0.010572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_2963-10_0_3_line_48 | NAYY 4x150 SE | 46 | 49 | 0.017272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_2963-10_0_3_line_49 | NAYY 4x150 SE | 47 | 50 | 0.0078267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_2963-10_0_3_line_50 | NAYY 4x150 SE | 48 | 51 | 0.0038488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_2963-10_0_3_line_51 | NAYY 4x150 SE | 49 | 52 | 0.0067342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_2963-10_0_3_line_52 | NAYY 4x150 SE | 50 | 53 | 0.017447 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_2963-10_0_3_line_53 | NAYY 4x150 SE | 50 | 54 | 0.016374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_2963-10_0_3_line_54 | NAYY 4x150 SE | 51 | 55 | 0.01537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_2963-10_0_3_line_55 | NAYY 4x150 SE | 53 | 68 | 0.0075074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_2963-10_0_3_line_56 | NAYY 4x150 SE | 54 | 61 | 0.0031877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_2963-10_0_3_line_57 | NAYY 4x150 SE | 55 | 56 | 0.0049165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_2963-10_0_3_line_58 | NAYY 4x150 SE | 57 | 58 | 0.0051784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_2963-10_0_3_line_59 | NAYY 4x150 SE | 57 | 59 | 0.0088974 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_2963-10_0_3_line_60 | NAYY 4x150 SE | 58 | 60 | 0.010471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_2963-10_0_3_line_61 | NAYY 4x150 SE | 60 | 61 | 0.016616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_2963-10_0_3_line_62 | NAYY 4x150 SE | 62 | 63 | 0.041312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_2963-10_0_3_line_63 | NAYY 4x150 SE | 62 | 64 | 0.0069759 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_2963-10_0_3_line_64 | NAYY 4x150 SE | 63 | 65 | 0.073694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_2963-10_0_3_line_65 | NAYY 4x150 SE | 65 | 66 | 0.037273 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_2963-10_0_3_line_66 | NAYY 4x150 SE | 66 | 67 | 0.041848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_2963-10_0_3_line_67 | NAYY 4x150 SE | 67 | 92 | 0.015804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_2963-10_0_3_line_68 | NAYY 4x150 SE | 68 | 69 | 0.0008078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_2963-10_0_3_line_69 | NAYY 4x150 SE | 69 | 70 | 0.01471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_2963-10_0_3_line_70 | NAYY 4x150 SE | 70 | 71 | 0.011422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_2963-10_0_3_line_71 | NAYY 4x150 SE | 71 | 72 | 0.0109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_2963-10_0_3_line_72 | NAYY 4x150 SE | 72 | 73 | 0.0059242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_2963-10_0_3_line_73 | NAYY 4x150 SE | 73 | 74 | 0.015406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_2963-10_0_3_line_74 | NAYY 4x150 SE | 73 | 75 | 0.018564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_2963-10_0_3_line_75 | NAYY 4x150 SE | 74 | 76 | 0.0058655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_2963-10_0_3_line_76 | NAYY 4x150 SE | 75 | 77 | 0.034942 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_2963-10_0_3_line_77 | NAYY 4x150 SE | 76 | 90 | 0.018463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_2963-10_0_3_line_78 | NAYY 4x150 SE | 77 | 78 | 0.015577 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_2963-10_0_3_line_79 | NAYY 4x150 SE | 77 | 79 | 0.026685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_2963-10_0_3_line_80 | NAYY 4x150 SE | 77 | 80 | 0.014248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_2963-10_0_3_line_81 | NAYY 4x150 SE | 78 | 81 | 0.038659 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_2963-10_0_3_line_82 | NAYY 4x150 SE | 78 | 82 | 0.03212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_2963-10_0_3_line_83 | NAYY 4x150 SE | 79 | 83 | 0.02884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_2963-10_0_3_line_84 | NAYY 4x150 SE | 80 | 84 | 0.0060073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_2963-10_0_3_line_85 | NAYY 4x150 SE | 81 | 85 | 0.017247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_2963-10_0_3_line_86 | NAYY 4x150 SE | 81 | 86 | 0.008372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_2963-10_0_3_line_87 | NAYY 4x150 SE | 82 | 87 | 0.039392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_2963-10_0_3_line_88 | NAYY 4x150 SE | 83 | 88 | 0.030465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_2963-10_0_3_line_89 | NAYY 4x150 SE | 84 | 89 | 0.016767 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_2963-10_0_3_line_90 | NAYY 4x150 SE | 85 | 98 | 0.022529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_2963-10_0_3_line_91 | NAYY 4x150 SE | 86 | 96 | 0.029142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_2963-10_0_3_line_92 | NAYY 4x150 SE | 87 | 95 | 0.015346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_2963-10_0_3_line_93 | NAYY 4x150 SE | 89 | 91 | 0.0087135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_2963-10_0_3_line_94 | NAYY 4x150 SE | 90 | 93 | 0.0029261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_2963-10_0_3_line_95 | NAYY 4x150 SE | 91 | 92 | 0.031061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_2963-10_0_3_line_96 | NAYY 4x150 SE | 93 | 94 | 0.0012729 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_2963-10_0_3_line_97 | NAYY 4x150 SE | 96 | 97 | 0.00054503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2963-10_0_3_trafo_29 | 0.25 MVA 20/0.4 kV | 99 | 32 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2702894.5419 | 1285049.4959 | 2702885.1603 | 1285064.3061
1 | 2702883.6653 | 1285066.6661 | 2702885.1603 | 1285064.3061
2 | 2702894.5419 | 1285049.4959 | 2702895.7566 | 1285043.1733
3 | 2702883.6653 | 1285066.6661 | 2702870.106 | 1285081.4317
4 | 2702898.2888 | 1285077.776 | 2702897.956 | 1285068.4728 | 2702883.6653 | 1285066.6661
5 | 2702870.106 | 1285081.4317 | 2702861.6418 | 1285091.3219
6 | 2702870.106 | 1285081.4317 | 2702853.9934 | 1285071.9078
7 | 2702898.2888 | 1285077.776 | 2702898.4915 | 1285083.4331
8 | 2702897.2587 | 1285124.6629 | 2702899.1465 | 1285101.7127 | 2702898.4915 | 1285083.4331
9 | 2702847.8532 | 1285107.4336 | 2702861.6418 | 1285091.3219
10 | 2702842.4559 | 1285055.074 | 2702849.8453 | 1285069.456 | 2702853.9934 | 1285071.9078
11 | 2702897.2587 | 1285124.6629 | 2702895.9966 | 1285140.0057
12 | 2702847.8532 | 1285107.4336 | 2702844.89 | 1285110.7261
13 | 2702847.8532 | 1285107.4336 | 2702836.9148 | 1285096.3138
14 | 2702842.4559 | 1285055.074 | 2702842.2518 | 1285054.6767
15 | 2702791.1899 | 1285073.6645 | 2702778.563 | 1285068.3961
16 | 2702791.1899 | 1285073.6645 | 2702794.4363 | 1285075.019
17 | 2702772.3977 | 1285065.8237 | 2702778.563 | 1285068.3961
18 | 2702804.8492 | 1285079.3636 | 2702794.4363 | 1285075.019
19 | 2702772.3977 | 1285065.8237 | 2702744.4808 | 1285024.9998
20 | 2702806.5936 | 1285080.0915 | 2702804.8492 | 1285079.3636
21 | 2702744.4808 | 1285024.9998 | 2702711.9617 | 1285047.0084 | 2702690.8309 | 1285056.2717
22 | 2702806.5936 | 1285080.0915 | 2702819.7886 | 1285085.5969
23 | 2702821.804 | 1285086.4378 | 2702819.7886 | 1285085.5969
24 | 2702836.9148 | 1285096.3138 | 2702830.9562 | 1285090.2564 | 2702821.804 | 1285086.4378
25 | 2702836.3121 | 1285120.2569 | 2702844.89 | 1285110.7261
26 | 2702831.6538 | 1285125.4328 | 2702836.3121 | 1285120.2569
27 | 2702831.6538 | 1285125.4328 | 2702825.7662 | 1285131.9745
28 | 2702816.98 | 1285139.8136 | 2702817.6331 | 1285139.2614
29 | 2702817.6331 | 1285139.2614 | 2702824.2226 | 1285133.6895 | 2702825.7662 | 1285131.9745
30 | 2702816.98 | 1285139.8136 | 2702808.5876 | 1285146.9101
31 | 2702805.3368 | 1285149.6589 | 2702808.5876 | 1285146.9101
32 | 2702805.3368 | 1285149.6589 | 2702798.9892 | 1285155.0262
33 | 2702787.6972 | 1285165.0548 | 2702789.4428 | 1285163.0984 | 2702798.9892 | 1285155.0262
34 | 2702782.0853 | 1285171.3442 | 2702787.6972 | 1285165.0548
35 | 2702782.0853 | 1285171.3442 | 2702770.581 | 1285184.2221
36 | 2702782.0853 | 1285171.3442 | 2702741.9211 | 1285163.4885
37 | 2702768.7029 | 1285186.3245 | 2702768.7029 | 1285186.3245 | 2702770.581 | 1285184.2221
38 | 2702768.7029 | 1285186.3245 | 2702759.505 | 1285203.3466
39 | 2702733.9837 | 1285250.5775 | 2702759.505 | 1285203.3466
40 | 2702733.9837 | 1285250.5775 | 2702730.4494 | 1285258.0205
41 | 2702733.9837 | 1285250.5775 | 2702735.5137 | 1285253.2288 | 2702744.5578 | 1285257.5794 | 2702768.3367 | 1285260.619 | 2702777.0432 | 1285253.7758 | 2702783.8523 | 1285236.0505
42 | 2702786.7783 | 1285228.4336 | 2702783.8523 | 1285236.0505
43 | 2702886.8819 | 1285198.3665 | 2702891.6095 | 1285180.4419
44 | 2702886.8819 | 1285198.3665 | 2702885.9429 | 1285201.9269
45 | 2702893.1512 | 1285174.5966 | 2702891.6095 | 1285180.4419
46 | 2702875.8732 | 1285231.3309 | 2702883.9627 | 1285209.4346 | 2702885.9429 | 1285201.9269
47 | 2702893.1512 | 1285174.5966 | 2702894.0179 | 1285164.06
48 | 2702893.1512 | 1285174.5966 | 2702909.9704 | 1285178.5246
49 | 2702873.1608 | 1285238.6726 | 2702875.8732 | 1285231.3309
50 | 2702894.0179 | 1285164.06 | 2702894.3335 | 1285160.2242
51 | 2702909.9704 | 1285178.5246 | 2702916.5281 | 1285180.0561
52 | 2702873.1608 | 1285238.6726 | 2702869.3554 | 1285248.9711 | 2702866.9554 | 1285254.9772
53 | 2702873.1608 | 1285238.6726 | 2702888.8713 | 1285243.2864
54 | 2702895.5935 | 1285144.9056 | 2702894.3335 | 1285160.2242
55 | 2702864.1698 | 1285261.9486 | 2702866.9554 | 1285254.9772
56 | 2702888.8713 | 1285243.2864 | 2702891.9298 | 1285244.1846
57 | 2702895.5935 | 1285144.9056 | 2702895.9966 | 1285140.0057
58 | 2702922.888 | 1285253.2764 | 2702917.9194 | 1285251.8172
59 | 2702931.4249 | 1285255.7834 | 2702922.888 | 1285253.2764
60 | 2702907.8729 | 1285248.8668 | 2702917.9194 | 1285251.8172
61 | 2702891.9298 | 1285244.1846 | 2702907.8729 | 1285248.8668
62 | 2702985.0818 | 1285238.8834 | 2702945.3351 | 1285227.6175
63 | 2702938.6236 | 1285225.7151 | 2702945.3351 | 1285227.6175
64 | 2702985.0818 | 1285238.8834 | 2702967.8364 | 1285291.4521 | 2702961.5788 | 1285308.7225
65 | 2702948.8814 | 1285343.7659 | 2702961.5788 | 1285308.7225
66 | 2702934.6255 | 1285383.1109 | 2702948.8814 | 1285343.7659
67 | 2702934.6255 | 1285383.1109 | 2702927.5195 | 1285382.9867 | 2702919.2432 | 1285380.3135
68 | 2702863.87 | 1285262.6987 | 2702864.1698 | 1285261.9486
69 | 2702858.4119 | 1285276.3583 | 2702863.87 | 1285262.6987
70 | 2702858.4119 | 1285276.3583 | 2702857.6519 | 1285278.2601 | 2702855.0582 | 1285287.2677
71 | 2702855.0582 | 1285287.2677 | 2702852.0421 | 1285297.7416
72 | 2702850.6357 | 1285303.494 | 2702851.5149 | 1285299.5724 | 2702852.0421 | 1285297.7416
73 | 2702850.6357 | 1285303.494 | 2702835.5184 | 1285300.5234
74 | 2702850.6357 | 1285303.494 | 2702848.6334 | 1285312.4116 | 2702848.1087 | 1285321.821
75 | 2702835.5184 | 1285300.5234 | 2702829.763 | 1285299.3925
76 | 2702846.1632 | 1285356.7088 | 2702848.1087 | 1285321.821
77 | 2702811.6462 | 1285295.8325 | 2702829.763 | 1285299.3925
78 | 2702846.1632 | 1285356.7088 | 2702831.3142 | 1285361.5541
79 | 2702846.1632 | 1285356.7088 | 2702844.4426 | 1285383.3387
80 | 2702846.1632 | 1285356.7088 | 2702859.7217 | 1285361.0882
81 | 2702831.3142 | 1285361.5541 | 2702793.3185 | 1285353.8286
82 | 2702831.3142 | 1285361.5541 | 2702815.9734 | 1285380.3813 | 2702810.2588 | 1285385.7407
83 | 2702842.5831 | 1285412.1185 | 2702844.4426 | 1285383.3387
84 | 2702865.4382 | 1285362.9346 | 2702859.7217 | 1285361.0882
85 | 2702793.3185 | 1285353.8286 | 2702795.7355 | 1285336.7517
86 | 2702785.0332 | 1285352.4606 | 2702793.3185 | 1285353.8286
87 | 2702780.5093 | 1285411.4358 | 2702789.7916 | 1285404.9358 | 2702810.2588 | 1285385.7407
88 | 2702842.5831 | 1285412.1185 | 2702840.6188 | 1285442.5204
89 | 2702881.3939 | 1285368.0883 | 2702865.4382 | 1285362.9346
90 | 2702798.8926 | 1285314.4455 | 2702795.7355 | 1285336.7517
91 | 2702785.0332 | 1285352.4606 | 2702781.3307 | 1285368.4883 | 2702768.6914 | 1285367.3293
92 | 2702767.9388 | 1285420.2383 | 2702780.5093 | 1285411.4358
93 | 2702881.3939 | 1285368.0883 | 2702889.6856 | 1285370.7664
94 | 2702808.775 | 1285295.2683 | 2702811.6462 | 1285295.8325
95 | 2702889.6856 | 1285370.7664 | 2702919.2432 | 1285380.3135
96 | 2702807.526 | 1285295.0229 | 2702808.775 | 1285295.2683
97 | 2702768.1487 | 1285367.2796 | 2702768.6914 | 1285367.3293

## bus_geodata
| x | y | coords
0 | 2702885.1603 | 1285064.3061
1 | 2702894.5419 | 1285049.4959
2 | 2702883.6653 | 1285066.6661
3 | 2702895.7566 | 1285043.1733
4 | 2702870.106 | 1285081.4317
5 | 2702898.2888 | 1285077.776
6 | 2702898.4915 | 1285083.4331
7 | 2702861.6418 | 1285091.3219
8 | 2702853.9934 | 1285071.9078
9 | 2702897.2587 | 1285124.6629
10 | 2702847.8532 | 1285107.4336
11 | 2702842.4559 | 1285055.074
12 | 2702791.1899 | 1285073.6645
13 | 2702778.563 | 1285068.3961
14 | 2702794.4363 | 1285075.019
15 | 2702772.3977 | 1285065.8237
16 | 2702804.8491 | 1285079.3636
17 | 2702744.4808 | 1285024.9998
18 | 2702806.5936 | 1285080.0915
19 | 2702690.8309 | 1285056.2717
20 | 2702819.7886 | 1285085.5969
21 | 2702821.804 | 1285086.4378
22 | 2702836.9148 | 1285096.3138
23 | 2702844.89 | 1285110.7261
24 | 2702836.3121 | 1285120.2569
25 | 2702831.6538 | 1285125.4328
26 | 2702842.2518 | 1285054.6767
27 | 2702817.6331 | 1285139.2614
28 | 2702816.98 | 1285139.8136
29 | 2702825.7662 | 1285131.9745
30 | 2702808.5876 | 1285146.9101
31 | 2702805.3368 | 1285149.6589
32 | 2702798.9892 | 1285155.0262
33 | 2702787.6972 | 1285165.0548
34 | 2702782.0853 | 1285171.3442
35 | 2702770.581 | 1285184.2221
36 | 2702741.9211 | 1285163.4885
37 | 2702768.7029 | 1285186.3245
38 | 2702759.505 | 1285203.3466
39 | 2702733.9837 | 1285250.5775
40 | 2702730.4494 | 1285258.0205
41 | 2702783.8523 | 1285236.0505
42 | 2702786.7783 | 1285228.4336
43 | 2702886.8819 | 1285198.3665
44 | 2702891.6095 | 1285180.4419
45 | 2702885.9429 | 1285201.9269
46 | 2702893.1512 | 1285174.5966
47 | 2702875.8732 | 1285231.3309
48 | 2702894.0179 | 1285164.06
49 | 2702909.9704 | 1285178.5246
50 | 2702873.1608 | 1285238.6726
51 | 2702894.3335 | 1285160.2242
52 | 2702916.5281 | 1285180.0561
53 | 2702866.9554 | 1285254.9772
54 | 2702888.8713 | 1285243.2864
55 | 2702895.5935 | 1285144.9056
56 | 2702895.9966 | 1285140.0057
57 | 2702922.888 | 1285253.2764
58 | 2702917.9194 | 1285251.8172
59 | 2702931.4249 | 1285255.7834
60 | 2702907.8729 | 1285248.8668
61 | 2702891.9298 | 1285244.1846
62 | 2702945.3351 | 1285227.6175
63 | 2702985.0818 | 1285238.8833
64 | 2702938.6236 | 1285225.7151
65 | 2702961.5788 | 1285308.7225
66 | 2702948.8814 | 1285343.7659
67 | 2702934.6255 | 1285383.1109
68 | 2702864.1698 | 1285261.9486
69 | 2702863.87 | 1285262.6987
70 | 2702858.4119 | 1285276.3583
71 | 2702855.0582 | 1285287.2677
72 | 2702852.0421 | 1285297.7416
73 | 2702850.6357 | 1285303.494
74 | 2702835.5184 | 1285300.5234
75 | 2702848.1087 | 1285321.8211
76 | 2702829.763 | 1285299.3925
77 | 2702846.1632 | 1285356.7088
78 | 2702831.3142 | 1285361.5541
79 | 2702844.4426 | 1285383.3387
80 | 2702859.7217 | 1285361.0882
81 | 2702793.3185 | 1285353.8286
82 | 2702810.2588 | 1285385.7407
83 | 2702842.5831 | 1285412.1185
84 | 2702865.4382 | 1285362.9346
85 | 2702795.7355 | 1285336.7517
86 | 2702785.0332 | 1285352.4606
87 | 2702780.5093 | 1285411.4358
88 | 2702840.6188 | 1285442.5204
89 | 2702881.3939 | 1285368.0883
90 | 2702811.6462 | 1285295.8325
91 | 2702889.6856 | 1285370.7664
92 | 2702919.2432 | 1285380.3135
93 | 2702808.775 | 1285295.2683
94 | 2702807.526 | 1285295.0229
95 | 2702767.9388 | 1285420.2383
96 | 2702768.6914 | 1285367.3293
97 | 2702768.1487 | 1285367.2796
98 | 2702798.8926 | 1285314.4455
99 | 2702782.0853 | 1285171.3442

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1