## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2963-4_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2963-4_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2963-4_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2963-4_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2963-4_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2963-4_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2963-4_0_3_node_92 | 0.4 | n |  | TRUE
7 | bus_LV_2963-4_0_3_node_52 | 0.4 | n |  | TRUE
8 | bus_LV_2963-4_0_3_node_91 | 0.4 | n |  | TRUE
9 | bus_LV_2963-4_0_3_node_84 | 0.4 | n |  | TRUE
10 | bus_LV_2963-4_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_2963-4_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_2963-4_0_3_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_2963-4_0_3_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_2963-4_0_3_node_100 | 0.4 | n |  | TRUE
15 | bus_LV_2963-4_0_3_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_2963-4_0_3_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_2963-4_0_3_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_2963-4_0_3_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_2963-4_0_3_node_18 | 0.4 | n |  | TRUE
20 | bus_LV_2963-4_0_3_node_99 | 0.4 | n |  | TRUE
21 | bus_LV_2963-4_0_3_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_2963-4_0_3_node_24 | 0.4 | n |  | TRUE
23 | bus_LV_2963-4_0_3_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_2963-4_0_3_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_2963-4_0_3_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_2963-4_0_3_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_2963-4_0_3_node_27 | 0.4 | n |  | TRUE
28 | bus_LV_2963-4_0_3_node_28 | 0.4 | n |  | TRUE
29 | bus_LV_2963-4_0_3_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_2963-4_0_3_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_2963-4_0_3_node_26 | 0.4 | n |  | TRUE
32 | bus_LV_2963-4_0_3_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_2963-4_0_3_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_2963-4_0_3_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_2963-4_0_3_node_98 | 0.4 | n |  | TRUE
36 | bus_LV_2963-4_0_3_node_55 | 0.4 | n |  | TRUE
37 | bus_LV_2963-4_0_3_node_97 | 0.4 | n |  | TRUE
38 | bus_LV_2963-4_0_3_node_96 | 0.4 | n |  | TRUE
39 | bus_LV_2963-4_0_3_node_54 | 0.4 | n |  | TRUE
40 | bus_LV_2963-4_0_3_node_59 | 0.4 | n |  | TRUE
41 | bus_LV_2963-4_0_3_node_56 | 0.4 | n |  | TRUE
42 | bus_LV_2963-4_0_3_node_67 | 0.4 | n |  | TRUE
43 | bus_LV_2963-4_0_3_node_57 | 0.4 | n |  | TRUE
44 | bus_LV_2963-4_0_3_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_2963-4_0_3_node_31 | 0.4 | n |  | TRUE
46 | bus_LV_2963-4_0_3_node_32 | 0.4 | n |  | TRUE
47 | bus_LV_2963-4_0_3_node_33 | 0.4 | n |  | TRUE
48 | bus_LV_2963-4_0_3_node_34 | 0.4 | n |  | TRUE
49 | bus_LV_2963-4_0_3_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_2963-4_0_3_node_36 | 0.4 | n |  | TRUE
51 | bus_LV_2963-4_0_3_node_38 | 0.4 | n |  | TRUE
52 | bus_LV_2963-4_0_3_node_39 | 0.4 | n |  | TRUE
53 | bus_LV_2963-4_0_3_node_40 | 0.4 | n |  | TRUE
54 | bus_LV_2963-4_0_3_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_2963-4_0_3_node_94 | 0.4 | n |  | TRUE
56 | bus_LV_2963-4_0_3_node_47 | 0.4 | n |  | TRUE
57 | bus_LV_2963-4_0_3_node_95 | 0.4 | n |  | TRUE
58 | bus_LV_2963-4_0_3_node_41 | 0.4 | n |  | TRUE
59 | bus_LV_2963-4_0_3_node_42 | 0.4 | n |  | TRUE
60 | bus_LV_2963-4_0_3_node_43 | 0.4 | n |  | TRUE
61 | bus_LV_2963-4_0_3_node_44 | 0.4 | n |  | TRUE
62 | bus_LV_2963-4_0_3_node_45 | 0.4 | n |  | TRUE
63 | bus_LV_2963-4_0_3_node_53 | 0.4 | n |  | TRUE
64 | bus_LV_2963-4_0_3_node_49 | 0.4 | n |  | TRUE
65 | bus_LV_2963-4_0_3_node_65 | 0.4 | n |  | TRUE
66 | bus_LV_2963-4_0_3_node_48 | 0.4 | n |  | TRUE
67 | bus_LV_2963-4_0_3_node_50 | 0.4 | n |  | TRUE
68 | bus_LV_2963-4_0_3_node_51 | 0.4 | n |  | TRUE
69 | bus_LV_2963-4_0_3_node_89 | 0.4 | n |  | TRUE
70 | bus_LV_2963-4_0_3_node_86 | 0.4 | n |  | TRUE
71 | bus_LV_2963-4_0_3_node_85 | 0.4 | n |  | TRUE
72 | bus_LV_2963-4_0_3_node_87 | 0.4 | n |  | TRUE
73 | bus_LV_2963-4_0_3_node_64 | 0.4 | n |  | TRUE
74 | bus_LV_2963-4_0_3_node_58 | 0.4 | n |  | TRUE
75 | bus_LV_2963-4_0_3_node_60 | 0.4 | n |  | TRUE
76 | bus_LV_2963-4_0_3_node_61 | 0.4 | n |  | TRUE
77 | bus_LV_2963-4_0_3_node_68 | 0.4 | n |  | TRUE
78 | bus_LV_2963-4_0_3_node_63 | 0.4 | n |  | TRUE
79 | bus_LV_2963-4_0_3_node_62 | 0.4 | n |  | TRUE
80 | bus_LV_2963-4_0_3_node_69 | 0.4 | n |  | TRUE
81 | bus_LV_2963-4_0_3_node_70 | 0.4 | n |  | TRUE
82 | bus_LV_2963-4_0_3_node_66 | 0.4 | n |  | TRUE
83 | bus_LV_2963-4_0_3_node_78 | 0.4 | n |  | TRUE
84 | bus_LV_2963-4_0_3_node_79 | 0.4 | n |  | TRUE
85 | bus_LV_2963-4_0_3_node_76 | 0.4 | n |  | TRUE
86 | bus_LV_2963-4_0_3_node_75 | 0.4 | n |  | TRUE
87 | bus_LV_2963-4_0_3_node_71 | 0.4 | n |  | TRUE
88 | bus_LV_2963-4_0_3_node_72 | 0.4 | n |  | TRUE
89 | bus_LV_2963-4_0_3_node_73 | 0.4 | n |  | TRUE
90 | bus_LV_2963-4_0_3_node_74 | 0.4 | n |  | TRUE
91 | bus_LV_2963-4_0_3_node_77 | 0.4 | n |  | TRUE
92 | bus_LV_2963-4_0_3_node_80 | 0.4 | n |  | TRUE
93 | bus_LV_2963-4_0_3_node_81 | 0.4 | n |  | TRUE
94 | bus_LV_2963-4_0_3_node_82 | 0.4 | n |  | TRUE
95 | bus_LV_2963-4_0_3_node_83 | 0.4 | n |  | TRUE
96 | bus_LV_2963-4_0_3_node_93 | 0.4 | n |  | TRUE
97 | bus_LV_2963-4_0_3_node_90 | 0.4 | n |  | TRUE
98 | bus_LV_2963-4_0_3_node_88 | 0.4 | n |  | TRUE
99 | bus_MV_402_0_node_35 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2963-4_0_3_load_0 | 0 | 0.00095005 | 0.0002381 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2963-4_0_3_load_1 | 1 | 0.00073574 | 0.00018439 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2963-4_0_3_load_3 | 3 | 0.00023298 | 5.8391e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2963-4_0_3_load_5 | 5 | 0.00084331 | 0.00021135 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2963-4_0_3_load_92 | 6 | 0.00070171 | 0.00017586 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2963-4_0_3_load_52 | 7 | 0.00031765 | 7.9609e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2963-4_0_3_load_91 | 8 | 0.00040565 | 0.00010167 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2963-4_0_3_load_84 | 9 | 0.00042704 | 0.00010703 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2963-4_0_3_load_6 | 10 | 0.010095 | 0.0025299 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2963-4_0_3_load_100 | 14 | 0.0031165 | 0.00078106 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2963-4_0_3_load_14 | 15 | 0.0017526 | 0.00043924 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2963-4_0_3_load_10 | 16 | 0.0017997 | 0.00045104 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2963-4_0_3_load_11 | 17 | 0.001501 | 0.00037618 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2963-4_0_3_load_13 | 18 | 0.001501 | 0.00037618 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2963-4_0_3_load_18 | 19 | 0.0018271 | 0.00045791 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2963-4_0_3_load_16 | 21 | 0.0019774 | 0.00049559 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2963-4_0_3_load_15 | 23 | 0.0046975 | 0.0011773 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2963-4_0_3_load_20 | 26 | 0.0025328 | 0.00063479 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2963-4_0_3_load_27 | 27 | 0.0023049 | 0.00057767 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2963-4_0_3_load_21 | 30 | 0.0076177 | 0.0019092 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2963-4_0_3_load_98 | 35 | 0.0025463 | 0.00063816 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2963-4_0_3_load_55 | 36 | 0.00148 | 0.00037092 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2963-4_0_3_load_96 | 38 | 0.009241 | 0.002316 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2963-4_0_3_load_54 | 39 | 0.00076993 | 0.00019296 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2963-4_0_3_load_59 | 40 | 0.0017461 | 0.00043762 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2963-4_0_3_load_56 | 41 | 0.0022464 | 0.000563 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2963-4_0_3_load_67 | 42 | 0.0016619 | 0.00041651 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2963-4_0_3_load_57 | 43 | 0.00089494 | 0.00022429 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2963-4_0_3_load_30 | 44 | 0.0028941 | 0.00072532 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2963-4_0_3_load_31 | 45 | 0.0037893 | 0.00094968 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2963-4_0_3_load_33 | 47 | 0.0017082 | 0.00042812 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2963-4_0_3_load_34 | 48 | 0.00076765 | 0.00019239 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2963-4_0_3_load_37 | 49 | 0.00056112 | 0.00014063 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2963-4_0_3_load_36 | 50 | 0.0038779 | 0.00097189 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2963-4_0_3_load_39 | 52 | 0.0037629 | 0.00094307 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2963-4_0_3_load_40 | 53 | 0.00055662 | 0.0001395 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2963-4_0_3_load_46 | 54 | 0.00083745 | 0.00020989 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2963-4_0_3_load_47 | 56 | 0.00047421 | 0.00011885 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2963-4_0_3_load_95 | 57 | 0.00087962 | 0.00022045 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2963-4_0_3_load_41 | 58 | 0.001105 | 0.00027694 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2963-4_0_3_load_42 | 59 | 0.0013816 | 0.00034627 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2963-4_0_3_load_43 | 60 | 0.0018476 | 0.00046305 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2963-4_0_3_load_45 | 62 | 0.0020005 | 0.00050137 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2963-4_0_3_load_53 | 63 | 0.0023794 | 0.00059634 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2963-4_0_3_load_48 | 66 | 0.0060899 | 0.0015263 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2963-4_0_3_load_50 | 67 | 0.00043363 | 0.00010868 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2963-4_0_3_load_86 | 70 | 0.00044457 | 0.00011142 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2963-4_0_3_load_85 | 71 | 0.0016302 | 0.00040857 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2963-4_0_3_load_87 | 72 | 0.0081949 | 0.0020538 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2963-4_0_3_load_58 | 74 | 0.0045168 | 0.001132 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2963-4_0_3_load_61 | 76 | 0.0051309 | 0.0012859 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2963-4_0_3_load_68 | 77 | 0.0052601 | 0.0013183 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2963-4_0_3_load_63 | 78 | 0.0093433 | 0.0023417 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2963-4_0_3_load_62 | 79 | 0.0029965 | 0.00075098 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2963-4_0_3_load_66 | 82 | 0.0025565 | 0.00064071 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2963-4_0_3_load_78 | 83 | 0.0044239 | 0.0011087 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2963-4_0_3_load_79 | 84 | 0.0037284 | 0.00093441 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2963-4_0_3_load_76 | 85 | 0.0024427 | 0.00061219 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2963-4_0_3_load_71 | 87 | 0.003819 | 0.00095713 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2963-4_0_3_load_72 | 88 | 0.0023498 | 0.00058891 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2963-4_0_3_load_74 | 90 | 0.0017025 | 0.0004267 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2963-4_0_3_load_77 | 91 | 0.002546 | 0.00063808 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2963-4_0_3_load_81 | 93 | 0.0022878 | 0.00057339 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2963-4_0_3_load_90 | 97 | 0.0016745 | 0.00041966 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2963-4_0_3_load_88 | 98 | 0.00017206 | 4.3123e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 78 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2963-4_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.029049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2963-4_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.051183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2963-4_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0061784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2963-4_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.050683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2963-4_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.022407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2963-4_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.057116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2963-4_0_3_line_6 | NAYY 4x150 SE | 6 | 7 | 0.047208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2963-4_0_3_line_7 | NAYY 4x150 SE | 7 | 67 | 0.020943 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2963-4_0_3_line_8 | NAYY 4x150 SE | 8 | 9 | 0.030684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2963-4_0_3_line_9 | NAYY 4x150 SE | 9 | 94 | 0.018358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2963-4_0_3_line_10 | NAYY 4x150 SE | 10 | 11 | 0.022616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2963-4_0_3_line_11 | NAYY 4x150 SE | 11 | 12 | 0.013671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2963-4_0_3_line_12 | NAYY 4x150 SE | 12 | 13 | 0.019033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2963-4_0_3_line_13 | NAYY 4x150 SE | 12 | 14 | 0.016804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2963-4_0_3_line_14 | NAYY 4x150 SE | 13 | 15 | 0.013638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2963-4_0_3_line_15 | NAYY 4x150 SE | 13 | 16 | 0.01471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2963-4_0_3_line_16 | NAYY 4x150 SE | 15 | 20 | 0.0028302 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2963-4_0_3_line_17 | NAYY 4x150 SE | 16 | 17 | 0.0026337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2963-4_0_3_line_18 | NAYY 4x150 SE | 17 | 18 | 0.0039685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2963-4_0_3_line_19 | NAYY 4x150 SE | 18 | 19 | 0.010787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2963-4_0_3_line_20 | NAYY 4x150 SE | 19 | 21 | 0.0019741 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2963-4_0_3_line_21 | NAYY 4x150 SE | 20 | 22 | 0.024871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2963-4_0_3_line_22 | NAYY 4x150 SE | 21 | 23 | 0.007652 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2963-4_0_3_line_23 | NAYY 4x150 SE | 22 | 35 | 0.011988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2963-4_0_3_line_24 | NAYY 4x150 SE | 22 | 29 | 0.01302 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2963-4_0_3_line_25 | NAYY 4x150 SE | 24 | 25 | 0.017541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
26 | LV_2963-4_0_3_line_26 | NAYY 4x150 SE | 24 | 26 | 0.017407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
27 | LV_2963-4_0_3_line_27 | NAYY 4x150 SE | 25 | 27 | 0.0082811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
28 | LV_2963-4_0_3_line_28 | NAYY 4x150 SE | 26 | 28 | 0.0067553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
29 | LV_2963-4_0_3_line_29 | NAYY 4x150 SE | 27 | 31 | 0.0058566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
30 | LV_2963-4_0_3_line_30 | NAYY 4x150 SE | 28 | 32 | 0.003786 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
31 | LV_2963-4_0_3_line_31 | NAYY 4x150 SE | 29 | 30 | 0.026913 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2963-4_0_3_line_32 | NAYY 4x150 SE | 30 | 33 | 0.024269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2963-4_0_3_line_33 | NAYY 4x150 SE | 31 | 33 | 0.021242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
34 | LV_2963-4_0_3_line_34 | NAYY 4x150 SE | 32 | 40 | 0.024688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2963-4_0_3_line_35 | NAYY 4x150 SE | 32 | 41 | 0.016721 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
36 | LV_2963-4_0_3_line_36 | NAYY 4x150 SE | 33 | 34 | 0.004554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
37 | LV_2963-4_0_3_line_37 | NAYY 4x150 SE | 34 | 36 | 0.0017517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
38 | LV_2963-4_0_3_line_38 | NAYY 4x150 SE | 35 | 37 | 0.0072689 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2963-4_0_3_line_39 | NAYY 4x150 SE | 36 | 39 | 0.014885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
40 | LV_2963-4_0_3_line_40 | NAYY 4x150 SE | 37 | 38 | 0.036803 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2963-4_0_3_line_41 | NAYY 4x150 SE | 39 | 47 | 0.00038274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
42 | LV_2963-4_0_3_line_42 | NAYY 4x150 SE | 40 | 42 | 0.028866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2963-4_0_3_line_43 | NAYY 4x150 SE | 41 | 43 | 0.0035614 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
44 | LV_2963-4_0_3_line_44 | NAYY 4x150 SE | 42 | 77 | 0.013261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2963-4_0_3_line_45 | NAYY 4x150 SE | 43 | 74 | 0.015629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
46 | LV_2963-4_0_3_line_46 | NAYY 4x150 SE | 44 | 45 | 0.023912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
47 | LV_2963-4_0_3_line_47 | NAYY 4x150 SE | 44 | 46 | 0.012019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
48 | LV_2963-4_0_3_line_48 | NAYY 4x150 SE | 45 | 47 | 0.036048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
49 | LV_2963-4_0_3_line_49 | NAYY 4x150 SE | 46 | 48 | 0.019813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
50 | LV_2963-4_0_3_line_50 | NAYY 4x150 SE | 48 | 49 | 0.018992 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
51 | LV_2963-4_0_3_line_51 | NAYY 4x150 SE | 49 | 50 | 0.01367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
52 | LV_2963-4_0_3_line_52 | NAYY 4x150 SE | 50 | 51 | 0.011329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_2963-4_0_3_line_53 | NAYY 4x150 SE | 51 | 52 | 0.014184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_2963-4_0_3_line_54 | NAYY 4x150 SE | 51 | 53 | 0.016811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_2963-4_0_3_line_55 | NAYY 4x150 SE | 52 | 54 | 0.015395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_2963-4_0_3_line_56 | NAYY 4x150 SE | 53 | 55 | 0.017949 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_2963-4_0_3_line_57 | NAYY 4x150 SE | 54 | 56 | 0.030724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_2963-4_0_3_line_58 | NAYY 4x150 SE | 55 | 57 | 0.016279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_2963-4_0_3_line_59 | NAYY 4x150 SE | 56 | 67 | 0.015455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_2963-4_0_3_line_60 | NAYY 4x150 SE | 58 | 59 | 0.034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_2963-4_0_3_line_61 | NAYY 4x150 SE | 58 | 60 | 0.013941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_2963-4_0_3_line_62 | NAYY 4x150 SE | 59 | 61 | 0.01875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_2963-4_0_3_line_63 | NAYY 4x150 SE | 60 | 62 | 0.0028962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_2963-4_0_3_line_64 | NAYY 4x150 SE | 61 | 63 | 0.0065084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_2963-4_0_3_line_65 | NAYY 4x150 SE | 61 | 64 | 0.007991 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_2963-4_0_3_line_66 | NAYY 4x150 SE | 63 | 65 | 0.018581 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_2963-4_0_3_line_67 | NAYY 4x150 SE | 64 | 66 | 0.012021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_2963-4_0_3_line_68 | NAYY 4x150 SE | 65 | 71 | 0.013694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_2963-4_0_3_line_69 | NAYY 4x150 SE | 65 | 73 | 0.033536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_2963-4_0_3_line_70 | NAYY 4x150 SE | 66 | 67 | 0.027389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_2963-4_0_3_line_71 | NAYY 4x150 SE | 68 | 69 | 0.024448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_2963-4_0_3_line_72 | NAYY 4x150 SE | 68 | 70 | 0.0095688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_2963-4_0_3_line_73 | NAYY 4x150 SE | 69 | 71 | 0.0074187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_2963-4_0_3_line_74 | NAYY 4x150 SE | 70 | 72 | 0.0092187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_2963-4_0_3_line_75 | NAYY 4x150 SE | 72 | 98 | 0.009328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_2963-4_0_3_line_76 | NAYY 4x150 SE | 73 | 82 | 0.021217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_2963-4_0_3_line_77 | NAYY 4x150 SE | 74 | 75 | 0.037317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
78 | LV_2963-4_0_3_line_78 | NAYY 4x150 SE | 75 | 76 | 0.001551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
79 | LV_2963-4_0_3_line_79 | NAYY 4x150 SE | 76 | 78 | 0.02689 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
80 | LV_2963-4_0_3_line_80 | NAYY 4x150 SE | 77 | 80 | 0.012228 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_2963-4_0_3_line_81 | NAYY 4x150 SE | 79 | 80 | 0.018327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_2963-4_0_3_line_82 | NAYY 4x150 SE | 80 | 81 | 0.010604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_2963-4_0_3_line_83 | NAYY 4x150 SE | 81 | 85 | 0.042853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_2963-4_0_3_line_84 | NAYY 4x150 SE | 82 | 83 | 0.039124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_2963-4_0_3_line_85 | NAYY 4x150 SE | 83 | 84 | 0.034648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_2963-4_0_3_line_86 | NAYY 4x150 SE | 84 | 92 | 0.023306 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_2963-4_0_3_line_87 | NAYY 4x150 SE | 85 | 86 | 0.019226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_2963-4_0_3_line_88 | NAYY 4x150 SE | 86 | 89 | 0.026352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_2963-4_0_3_line_89 | NAYY 4x150 SE | 87 | 88 | 0.040194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_2963-4_0_3_line_90 | NAYY 4x150 SE | 87 | 89 | 0.025528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_2963-4_0_3_line_91 | NAYY 4x150 SE | 88 | 90 | 0.0019406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_2963-4_0_3_line_92 | NAYY 4x150 SE | 90 | 91 | 0.018033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_2963-4_0_3_line_93 | NAYY 4x150 SE | 92 | 93 | 0.015797 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_2963-4_0_3_line_94 | NAYY 4x150 SE | 93 | 94 | 0.029321 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_2963-4_0_3_line_95 | NAYY 4x150 SE | 94 | 95 | 0.033018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_2963-4_0_3_line_96 | NAYY 4x150 SE | 95 | 96 | 0.014149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_2963-4_0_3_line_97 | NAYY 4x150 SE | 96 | 97 | 0.002435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2963-4_0_3_trafo_63 | 0.25 MVA 20/0.4 kV | 99 | 78 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2703214.1325 | 1285394.558 | 2703215.4962 | 1285396.1805 | 2703235.9912 | 1285413.6488
1 | 2703183.3264 | 1285353.7339 | 2703202.1953 | 1285380.3553 | 2703214.1325 | 1285394.558
2 | 2703235.9912 | 1285413.6488 | 2703240.6934 | 1285417.6566
3 | 2703169.5746 | 1285304.9486 | 2703174.0257 | 1285322.5093 | 2703183.3264 | 1285353.7339
4 | 2703257.7467 | 1285432.1915 | 2703240.6934 | 1285417.6566
5 | 2703169.5746 | 1285304.9486 | 2703135.6882 | 1285276.0291 | 2703124.76 | 1285269.8247
6 | 2703124.76 | 1285269.8247 | 2703100.0134 | 1285255.7752 | 2703083.118 | 1285247.641
7 | 2703064.2478 | 1285238.5561 | 2703083.118 | 1285247.641
8 | 2703180.7274 | 1285212.6695 | 2703178.0383 | 1285243.2357
9 | 2703182.3362 | 1285194.3824 | 2703180.7274 | 1285212.6695
10 | 2702906.1384 | 1285003.1674 | 2702926.0121 | 1285008.5193 | 2702928.0428 | 1285008.6422
11 | 2702898.5273 | 1285014.3113 | 2702902.0136 | 1285011.1137 | 2702906.1384 | 1285003.1674
12 | 2702897.6545 | 1285033.3245 | 2702898.5273 | 1285014.3113
13 | 2702898.5273 | 1285014.3113 | 2702894.1921 | 1285014.5358 | 2702882.5548 | 1285010.0753
14 | 2702897.6545 | 1285033.3245 | 2702896.7054 | 1285038.2346 | 2702895.0759 | 1285046.7166
15 | 2702897.6545 | 1285033.3245 | 2702910.4322 | 1285040.6127
16 | 2702894.5419 | 1285049.4959 | 2702895.0759 | 1285046.7166
17 | 2702910.4322 | 1285040.6127 | 2702912.7199 | 1285041.9176 | 2702912.7199 | 1285041.9176
18 | 2702916.6423 | 1285042.5202 | 2702912.7199 | 1285041.9176
19 | 2702916.6423 | 1285042.5202 | 2702927.3039 | 1285044.158
20 | 2702929.2551 | 1285044.4578 | 2702927.3039 | 1285044.158
21 | 2702894.5419 | 1285049.4959 | 2702897.2853 | 1285064.7577 | 2702901.174 | 1285065.5931 | 2702905.7481 | 1285066.2958 | 2702906.4883 | 1285066.4644
22 | 2702936.8183 | 1285045.6196 | 2702929.2551 | 1285044.4578
23 | 2702906.4883 | 1285066.4644 | 2702905.5288 | 1285078.4141
24 | 2702906.4883 | 1285066.4644 | 2702919.2373 | 1285069.2897
25 | 2702956.9342 | 1285055.569 | 2702955.2992 | 1285061.0677 | 2702952.9426 | 1285072.637
26 | 2702956.9342 | 1285055.569 | 2702968.4385 | 1285056.6043 | 2702974.0311 | 1285054.8671
27 | 2702952.9426 | 1285072.637 | 2702958.8521 | 1285075.0981 | 2702960.6518 | 1285075.6402
28 | 2702980.1436 | 1285057.7432 | 2702974.0311 | 1285054.8671
29 | 2702966.2594 | 1285077.3295 | 2702960.6518 | 1285075.6402
30 | 2702980.1436 | 1285057.7432 | 2702982.1886 | 1285054.5538
31 | 2702919.2373 | 1285069.2897 | 2702920.1234 | 1285073.5646 | 2702919.9418 | 1285076.6531 | 2702921.9811 | 1285079.369 | 2702933.0345 | 1285083.4324 | 2702936.7078 | 1285085.6309
32 | 2702957.2604 | 1285096.5787 | 2702953.8793 | 1285091.6151 | 2702939.4083 | 1285087.2472 | 2702936.7078 | 1285085.6309
33 | 2702957.2604 | 1285096.5787 | 2702962.6581 | 1285084.5287 | 2702966.2594 | 1285077.3295
34 | 2702982.1886 | 1285054.5538 | 2702995.0099 | 1285033.4557
35 | 2702982.1886 | 1285054.5538 | 2702998.8286 | 1285056.1985
36 | 2702957.2604 | 1285096.5787 | 2702959.8509 | 1285097.3914 | 2702960.5945 | 1285099.0837
37 | 2702960.5945 | 1285099.0837 | 2702960.1059 | 1285100.7659
38 | 2702898.2888 | 1285077.776 | 2702904.7574 | 1285078.3117 | 2702905.5288 | 1285078.4141
39 | 2702955.9539 | 1285115.0606 | 2702960.1059 | 1285100.7659
40 | 2702898.2888 | 1285077.776 | 2702899.1465 | 1285101.7127 | 2702898.093 | 1285114.5199
41 | 2702955.9539 | 1285115.0606 | 2702955.8472 | 1285115.4281
42 | 2702995.0099 | 1285033.4557 | 2703005.1126 | 1285016.8313 | 2703012.3637 | 1285010.8303 | 2703012.3637 | 1285010.8303
43 | 2702998.8286 | 1285056.1985 | 2703002.3727 | 1285056.5488
44 | 2703025.6198 | 1285010.4711 | 2703023.3436 | 1285010.522 | 2703012.3637 | 1285010.8303
45 | 2703002.3727 | 1285056.5488 | 2703017.926 | 1285058.0861
46 | 2702939.1227 | 1285173.0083 | 2702945.7925 | 1285150.0452
47 | 2702935.7704 | 1285184.55 | 2702939.1227 | 1285173.0083
48 | 2702955.8472 | 1285115.4281 | 2702945.7925 | 1285150.0452
49 | 2702935.7704 | 1285184.55 | 2702954.446 | 1285191.1653
50 | 2702954.446 | 1285191.1653 | 2702972.3482 | 1285197.5066
51 | 2702985.2338 | 1285202.0709 | 2702972.3482 | 1285197.5066
52 | 2702995.9131 | 1285205.8537 | 2702985.2338 | 1285202.0709
53 | 2702995.9131 | 1285205.8537 | 2703008.7072 | 1285211.9765
54 | 2702995.9131 | 1285205.8537 | 2702990.6747 | 1285221.8279
55 | 2703008.7072 | 1285211.9765 | 2703022.5936 | 1285218.622
56 | 2702985.0818 | 1285238.8834 | 2702990.6747 | 1285221.8279
57 | 2703050.3072 | 1285231.8846 | 2703022.5936 | 1285218.622
58 | 2702985.0818 | 1285238.8834 | 2702969.4194 | 1285234.444
59 | 2703064.2478 | 1285238.5561 | 2703050.3072 | 1285231.8846
60 | 2703016.5373 | 1285176.4207 | 2703016.5373 | 1285176.4207 | 2703042.3229 | 1285185.3353 | 2703048.8563 | 1285186.8927
61 | 2703016.5373 | 1285176.4207 | 2703020.0055 | 1285162.9176
62 | 2703067.0953 | 1285191.2405 | 2703048.8563 | 1285186.8927
63 | 2703020.7259 | 1285160.1124 | 2703020.0055 | 1285162.9176
64 | 2703067.0953 | 1285191.2405 | 2703067.1041 | 1285184.7321
65 | 2703067.0953 | 1285191.2405 | 2703066.6178 | 1285199.2172
66 | 2703067.1292 | 1285166.1516 | 2703067.1041 | 1285184.7321
67 | 2703066.6178 | 1285199.2172 | 2703065.8949 | 1285211.2169
68 | 2703067.1292 | 1285166.1516 | 2703080.7114 | 1285167.897
69 | 2703066.5077 | 1285132.6213 | 2703067.1292 | 1285166.1516
70 | 2703064.2478 | 1285238.5561 | 2703065.8949 | 1285211.2169
71 | 2703088.0696 | 1285168.8426 | 2703093.4856 | 1285178.0457 | 2703093.9878 | 1285189.2314 | 2703092.7992 | 1285191.5238
72 | 2703092.7992 | 1285191.5238 | 2703097.8659 | 1285191.9573 | 2703102.1517 | 1285193.2745
73 | 2703088.0696 | 1285168.8426 | 2703080.7114 | 1285167.897
74 | 2703102.1517 | 1285193.2745 | 2703104.1971 | 1285193.9031 | 2703108.4299 | 1285196.5129 | 2703109.8503 | 1285198.068
75 | 2703109.8503 | 1285198.068 | 2703116.1411 | 1285204.9555
76 | 2703066.5077 | 1285132.6213 | 2703087.5116 | 1285135.6222
77 | 2703055.0624 | 1285061.7566 | 2703017.926 | 1285058.0861
78 | 2703055.0624 | 1285061.7566 | 2703055.5095 | 1285063.2418
79 | 2703062.9684 | 1285089.0642 | 2703062.2911 | 1285085.7716 | 2703055.5095 | 1285063.2418
80 | 2703037.8443 | 1285010.1975 | 2703025.6198 | 1285010.4711
81 | 2703037.8443 | 1285010.1975 | 2703042.7765 | 1285011.0289 | 2703045.1805 | 1285024.1352
82 | 2703037.8443 | 1285010.1975 | 2703048.456 | 1285009.4824
83 | 2703048.456 | 1285009.4824 | 2703082.0245 | 1285006.9338 | 2703090.6063 | 1285003.6535
84 | 2703087.5116 | 1285135.6222 | 2703126.2421 | 1285141.1558
85 | 2703126.2421 | 1285141.1558 | 2703160.5417 | 1285146.0563
86 | 2703183.6134 | 1285149.3526 | 2703160.5417 | 1285146.0563
87 | 2703108.565 | 1284996.7889 | 2703090.6063 | 1285003.6535
88 | 2703125.1597 | 1285017.0533 | 2703115.0774 | 1285007.2569 | 2703108.565 | 1284996.7889
89 | 2703116.4606 | 1285040.034 | 2703118.7839 | 1285080.1609
90 | 2703125.1597 | 1285017.0533 | 2703116.0126 | 1285032.296 | 2703116.4606 | 1285040.034
91 | 2703118.7839 | 1285080.1609 | 2703118.8961 | 1285082.0983
92 | 2703119.9384 | 1285100.1008 | 2703118.8961 | 1285082.0983
93 | 2703183.6134 | 1285149.3526 | 2703184.2989 | 1285161.6314 | 2703184.1725 | 1285165.1283
94 | 2703182.3362 | 1285194.3824 | 2703183.6577 | 1285179.3697 | 2703184.1725 | 1285165.1283
95 | 2703182.3362 | 1285194.3824 | 2703149.4084 | 1285190.836
96 | 2703149.4084 | 1285190.836 | 2703149.281 | 1285176.6876
97 | 2703149.281 | 1285176.6876 | 2703146.8657 | 1285176.378

## bus_geodata
| x | y | coords
0 | 2703214.1325 | 1285394.558
1 | 2703235.9912 | 1285413.6488
2 | 2703183.3264 | 1285353.7339
3 | 2703240.6934 | 1285417.6566
4 | 2703169.5746 | 1285304.9486
5 | 2703257.7467 | 1285432.1915
6 | 2703124.76 | 1285269.8247
7 | 2703083.118 | 1285247.641
8 | 2703178.0383 | 1285243.2357
9 | 2703180.7274 | 1285212.6695
10 | 2702928.0428 | 1285008.6422
11 | 2702906.1384 | 1285003.1674
12 | 2702898.5273 | 1285014.3113
13 | 2702897.6545 | 1285033.3245
14 | 2702882.5548 | 1285010.0753
15 | 2702895.0759 | 1285046.7166
16 | 2702910.4322 | 1285040.6127
17 | 2702912.7199 | 1285041.9176
18 | 2702916.6423 | 1285042.5202
19 | 2702927.3039 | 1285044.158
20 | 2702894.5419 | 1285049.4959
21 | 2702929.2551 | 1285044.4578
22 | 2702906.4883 | 1285066.4644
23 | 2702936.8183 | 1285045.6196
24 | 2702956.9342 | 1285055.569
25 | 2702952.9426 | 1285072.637
26 | 2702974.0311 | 1285054.8671
27 | 2702960.6518 | 1285075.6402
28 | 2702980.1436 | 1285057.7432
29 | 2702919.2373 | 1285069.2897
30 | 2702936.7078 | 1285085.6309
31 | 2702966.2594 | 1285077.3295
32 | 2702982.1886 | 1285054.5538
33 | 2702957.2604 | 1285096.5787
34 | 2702960.5945 | 1285099.0837
35 | 2702905.5288 | 1285078.4141
36 | 2702960.1059 | 1285100.7659
37 | 2702898.2888 | 1285077.776
38 | 2702898.093 | 1285114.5199
39 | 2702955.9539 | 1285115.0606
40 | 2702995.0099 | 1285033.4557
41 | 2702998.8286 | 1285056.1985
42 | 2703012.3637 | 1285010.8303
43 | 2703002.3727 | 1285056.5488
44 | 2702939.1227 | 1285173.0083
45 | 2702945.7925 | 1285150.0452
46 | 2702935.7704 | 1285184.55
47 | 2702955.8472 | 1285115.4281
48 | 2702954.446 | 1285191.1653
49 | 2702972.3482 | 1285197.5066
50 | 2702985.2338 | 1285202.0709
51 | 2702995.9131 | 1285205.8537
52 | 2703008.7072 | 1285211.9765
53 | 2702990.6747 | 1285221.8279
54 | 2703022.5936 | 1285218.622
55 | 2702985.0818 | 1285238.8833
56 | 2703050.3072 | 1285231.8846
57 | 2702969.4194 | 1285234.444
58 | 2703016.5373 | 1285176.4207
59 | 2703048.8563 | 1285186.8927
60 | 2703020.0055 | 1285162.9176
61 | 2703067.0953 | 1285191.2405
62 | 2703020.7259 | 1285160.1124
63 | 2703067.1041 | 1285184.7321
64 | 2703066.6178 | 1285199.2172
65 | 2703067.1292 | 1285166.1516
66 | 2703065.8949 | 1285211.2169
67 | 2703064.2478 | 1285238.5561
68 | 2703092.7992 | 1285191.5238
69 | 2703088.0696 | 1285168.8426
70 | 2703102.1517 | 1285193.2745
71 | 2703080.7114 | 1285167.897
72 | 2703109.8503 | 1285198.068
73 | 2703066.5077 | 1285132.6213
74 | 2703017.926 | 1285058.0861
75 | 2703055.0624 | 1285061.7566
76 | 2703055.5095 | 1285063.2418
77 | 2703025.6198 | 1285010.4711
78 | 2703062.9684 | 1285089.0642
79 | 2703045.1805 | 1285024.1352
80 | 2703037.8443 | 1285010.1975
81 | 2703048.456 | 1285009.4824
82 | 2703087.5116 | 1285135.6222
83 | 2703126.2421 | 1285141.1558
84 | 2703160.5417 | 1285146.0563
85 | 2703090.6063 | 1285003.6535
86 | 2703108.565 | 1284996.7889
87 | 2703116.4606 | 1285040.034
88 | 2703118.7839 | 1285080.1609
89 | 2703125.1597 | 1285017.0533
90 | 2703118.8961 | 1285082.0983
91 | 2703119.9384 | 1285100.1008
92 | 2703183.6134 | 1285149.3526
93 | 2703184.1725 | 1285165.1283
94 | 2703182.3362 | 1285194.3824
95 | 2703149.4084 | 1285190.836
96 | 2703149.281 | 1285176.6876
97 | 2703146.8657 | 1285176.378
98 | 2703116.1411 | 1285204.9555
99 | 2703055.0624 | 1285061.7566

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1