## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2963-6_0_1_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2963-6_0_1_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2963-6_0_1_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2963-6_0_1_node_23 | 0.4 | n |  | TRUE
4 | bus_LV_2963-6_0_1_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_2963-6_0_1_node_24 | 0.4 | n |  | TRUE
6 | bus_LV_2963-6_0_1_node_79 | 0.4 | n |  | TRUE
7 | bus_LV_2963-6_0_1_node_15 | 0.4 | n |  | TRUE
8 | bus_LV_2963-6_0_1_node_14 | 0.4 | n |  | TRUE
9 | bus_LV_2963-6_0_1_node_25 | 0.4 | n |  | TRUE
10 | bus_LV_2963-6_0_1_node_4 | 0.4 | n |  | TRUE
11 | bus_LV_2963-6_0_1_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_2963-6_0_1_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_2963-6_0_1_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_2963-6_0_1_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_2963-6_0_1_node_51 | 0.4 | n |  | TRUE
16 | bus_LV_2963-6_0_1_node_61 | 0.4 | n |  | TRUE
17 | bus_LV_2963-6_0_1_node_54 | 0.4 | n |  | TRUE
18 | bus_LV_2963-6_0_1_node_85 | 0.4 | n |  | TRUE
19 | bus_LV_2963-6_0_1_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_2963-6_0_1_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_2963-6_0_1_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_2963-6_0_1_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_2963-6_0_1_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_2963-6_0_1_node_28 | 0.4 | n |  | TRUE
25 | bus_LV_2963-6_0_1_node_29 | 0.4 | n |  | TRUE
26 | bus_LV_2963-6_0_1_node_60 | 0.4 | n |  | TRUE
27 | bus_LV_2963-6_0_1_node_62 | 0.4 | n |  | TRUE
28 | bus_LV_2963-6_0_1_node_63 | 0.4 | n |  | TRUE
29 | bus_LV_2963-6_0_1_node_75 | 0.4 | n |  | TRUE
30 | bus_LV_2963-6_0_1_node_59 | 0.4 | n |  | TRUE
31 | bus_LV_2963-6_0_1_node_83 | 0.4 | n |  | TRUE
32 | bus_LV_2963-6_0_1_node_16 | 0.4 | n |  | TRUE
33 | bus_LV_2963-6_0_1_node_18 | 0.4 | n |  | TRUE
34 | bus_LV_2963-6_0_1_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_2963-6_0_1_node_20 | 0.4 | n |  | TRUE
36 | bus_LV_2963-6_0_1_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_2963-6_0_1_node_21 | 0.4 | n |  | TRUE
38 | bus_LV_2963-6_0_1_node_80 | 0.4 | n |  | TRUE
39 | bus_LV_2963-6_0_1_node_71 | 0.4 | n |  | TRUE
40 | bus_LV_2963-6_0_1_node_81 | 0.4 | n |  | TRUE
41 | bus_LV_2963-6_0_1_node_72 | 0.4 | n |  | TRUE
42 | bus_LV_2963-6_0_1_node_43 | 0.4 | n |  | TRUE
43 | bus_LV_2963-6_0_1_node_26 | 0.4 | n |  | TRUE
44 | bus_LV_2963-6_0_1_node_27 | 0.4 | n |  | TRUE
45 | bus_LV_2963-6_0_1_node_78 | 0.4 | n |  | TRUE
46 | bus_LV_2963-6_0_1_node_45 | 0.4 | n |  | TRUE
47 | bus_LV_2963-6_0_1_node_42 | 0.4 | n |  | TRUE
48 | bus_LV_2963-6_0_1_node_64 | 0.4 | n |  | TRUE
49 | bus_LV_2963-6_0_1_node_65 | 0.4 | n |  | TRUE
50 | bus_LV_2963-6_0_1_node_76 | 0.4 | n |  | TRUE
51 | bus_LV_2963-6_0_1_node_30 | 0.4 | n |  | TRUE
52 | bus_LV_2963-6_0_1_node_31 | 0.4 | n |  | TRUE
53 | bus_LV_2963-6_0_1_node_32 | 0.4 | n |  | TRUE
54 | bus_LV_2963-6_0_1_node_33 | 0.4 | n |  | TRUE
55 | bus_LV_2963-6_0_1_node_34 | 0.4 | n |  | TRUE
56 | bus_LV_2963-6_0_1_node_35 | 0.4 | n |  | TRUE
57 | bus_LV_2963-6_0_1_node_38 | 0.4 | n |  | TRUE
58 | bus_LV_2963-6_0_1_node_36 | 0.4 | n |  | TRUE
59 | bus_LV_2963-6_0_1_node_37 | 0.4 | n |  | TRUE
60 | bus_LV_2963-6_0_1_node_39 | 0.4 | n |  | TRUE
61 | bus_LV_2963-6_0_1_node_68 | 0.4 | n |  | TRUE
62 | bus_LV_2963-6_0_1_node_49 | 0.4 | n |  | TRUE
63 | bus_LV_2963-6_0_1_node_66 | 0.4 | n |  | TRUE
64 | bus_LV_2963-6_0_1_node_40 | 0.4 | n |  | TRUE
65 | bus_LV_2963-6_0_1_node_41 | 0.4 | n |  | TRUE
66 | bus_LV_2963-6_0_1_node_44 | 0.4 | n |  | TRUE
67 | bus_LV_2963-6_0_1_node_74 | 0.4 | n |  | TRUE
68 | bus_LV_2963-6_0_1_node_77 | 0.4 | n |  | TRUE
69 | bus_LV_2963-6_0_1_node_73 | 0.4 | n |  | TRUE
70 | bus_LV_2963-6_0_1_node_46 | 0.4 | n |  | TRUE
71 | bus_LV_2963-6_0_1_node_47 | 0.4 | n |  | TRUE
72 | bus_LV_2963-6_0_1_node_48 | 0.4 | n |  | TRUE
73 | bus_LV_2963-6_0_1_node_50 | 0.4 | n |  | TRUE
74 | bus_LV_2963-6_0_1_node_52 | 0.4 | n |  | TRUE
75 | bus_LV_2963-6_0_1_node_53 | 0.4 | n |  | TRUE
76 | bus_LV_2963-6_0_1_node_55 | 0.4 | n |  | TRUE
77 | bus_LV_2963-6_0_1_node_57 | 0.4 | n |  | TRUE
78 | bus_LV_2963-6_0_1_node_58 | 0.4 | n |  | TRUE
79 | bus_LV_2963-6_0_1_node_67 | 0.4 | n |  | TRUE
80 | bus_LV_2963-6_0_1_node_69 | 0.4 | n |  | TRUE
81 | bus_LV_2963-6_0_1_node_84 | 0.4 | n |  | TRUE
82 | bus_MV_402_0_node_37 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2963-6_0_1_load_0 | 0 | 0.00064123 | 0.00016071 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2963-6_0_1_load_1 | 1 | 0.00075466 | 0.00018914 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2963-6_0_1_load_2 | 2 | 0.000393 | 9.8495e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2963-6_0_1_load_23 | 3 | 0.00083199 | 0.00020852 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2963-6_0_1_load_3 | 4 | 0.0011514 | 0.00028858 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2963-6_0_1_load_24 | 5 | 0.00081876 | 0.0002052 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2963-6_0_1_load_79 | 6 | 0.00085424 | 0.00021409 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2963-6_0_1_load_15 | 7 | 0.0012951 | 0.00032459 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2963-6_0_1_load_14 | 8 | 0.0013064 | 0.00032741 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2963-6_0_1_load_25 | 9 | 0.00082628 | 0.00020708 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2963-6_0_1_load_4 | 10 | 0.00078215 | 0.00019603 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2963-6_0_1_load_5 | 11 | 0.0013161 | 0.00032986 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2963-6_0_1_load_6 | 12 | 0.0011928 | 0.00029893 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2963-6_0_1_load_7 | 13 | 0.0038389 | 0.00096211 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2963-6_0_1_load_51 | 15 | 0.0013921 | 0.00034889 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2963-6_0_1_load_61 | 16 | 0.00091974 | 0.00023051 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2963-6_0_1_load_54 | 17 | 0.002781 | 0.00069697 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2963-6_0_1_load_85 | 18 | 0.00077146 | 0.00019335 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2963-6_0_1_load_9 | 19 | 0.0010208 | 0.00025584 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2963-6_0_1_load_10 | 20 | 0.00087109 | 0.00021831 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2963-6_0_1_load_11 | 21 | 0.001742 | 0.00043659 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2963-6_0_1_load_28 | 24 | 0.0030624 | 0.00076751 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2963-6_0_1_load_29 | 25 | 0.0049127 | 0.0012312 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2963-6_0_1_load_60 | 26 | 0.0014237 | 0.00035682 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2963-6_0_1_load_62 | 27 | 0.0022738 | 0.00056987 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2963-6_0_1_load_75 | 29 | 0.00050394 | 0.0001263 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2963-6_0_1_load_83 | 31 | 0.0022742 | 0.00056997 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2963-6_0_1_load_16 | 32 | 0.00082404 | 0.00020652 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2963-6_0_1_load_18 | 33 | 0.0009343 | 0.00023416 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2963-6_0_1_load_19 | 34 | 0.00048151 | 0.00012068 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2963-6_0_1_load_22 | 36 | 0.00060033 | 0.00015046 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2963-6_0_1_load_21 | 37 | 0.0010055 | 0.00025199 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2963-6_0_1_load_80 | 38 | 0.0004705 | 0.00011792 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2963-6_0_1_load_81 | 40 | 0.00060028 | 0.00015044 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2963-6_0_1_load_72 | 41 | 0.0006006 | 0.00015052 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2963-6_0_1_load_43 | 42 | 0.0011605 | 0.00029086 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2963-6_0_1_load_78 | 45 | 0.00078681 | 0.00019719 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2963-6_0_1_load_45 | 46 | 0.0015891 | 0.00039826 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2963-6_0_1_load_64 | 48 | 0.0006886 | 0.00017258 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2963-6_0_1_load_65 | 49 | 0.001711 | 0.00042881 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2963-6_0_1_load_76 | 50 | 0.0013787 | 0.00034553 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2963-6_0_1_load_30 | 51 | 0.0021526 | 0.00053948 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2963-6_0_1_load_31 | 52 | 0.0018534 | 0.0004645 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2963-6_0_1_load_33 | 54 | 0.0011329 | 0.00028393 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2963-6_0_1_load_34 | 55 | 0.0020253 | 0.00050759 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2963-6_0_1_load_35 | 56 | 0.0034647 | 0.00086834 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2963-6_0_1_load_38 | 57 | 0.001037 | 0.00025989 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2963-6_0_1_load_36 | 58 | 0.0016024 | 0.00040161 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2963-6_0_1_load_37 | 59 | 0.0038818 | 0.00097286 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2963-6_0_1_load_49 | 62 | 0.00099313 | 0.0002489 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2963-6_0_1_load_66 | 63 | 0.0011025 | 0.00027632 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2963-6_0_1_load_40 | 64 | 0.0042655 | 0.001069 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2963-6_0_1_load_41 | 65 | 0.002188 | 0.00054836 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2963-6_0_1_load_77 | 68 | 0.0017647 | 0.00044227 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2963-6_0_1_load_73 | 69 | 0.00069765 | 0.00017485 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2963-6_0_1_load_46 | 70 | 0.00091288 | 0.00022879 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2963-6_0_1_load_47 | 71 | 0.0012289 | 0.00030798 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2963-6_0_1_load_48 | 72 | 0.00057897 | 0.0001451 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2963-6_0_1_load_50 | 73 | 0.00057293 | 0.00014359 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2963-6_0_1_load_52 | 74 | 0.0013483 | 0.00033791 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2963-6_0_1_load_53 | 75 | 0.0010103 | 0.0002532 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2963-6_0_1_load_55 | 76 | 0.0010293 | 0.00025797 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2963-6_0_1_load_57 | 77 | 0.0011498 | 0.00028816 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2963-6_0_1_load_58 | 78 | 0.00075057 | 0.00018811 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2963-6_0_1_load_69 | 80 | 0.00085338 | 0.00021388 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2963-6_0_1_load_84 | 81 | 0.00060033 | 0.00015046 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 69 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2963-6_0_1_line_0 | NAYY 4x150 SE | 0 | 1 | 0.021842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2963-6_0_1_line_1 | NAYY 4x150 SE | 0 | 2 | 0.020807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2963-6_0_1_line_2 | NAYY 4x150 SE | 0 | 3 | 0.050612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2963-6_0_1_line_3 | NAYY 4x150 SE | 2 | 4 | 0.011114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2963-6_0_1_line_4 | NAYY 4x150 SE | 3 | 5 | 0.025978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2963-6_0_1_line_5 | NAYY 4x150 SE | 3 | 6 | 0.056609 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2963-6_0_1_line_6 | NAYY 4x150 SE | 4 | 7 | 0.0062763 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2963-6_0_1_line_7 | NAYY 4x150 SE | 5 | 9 | 0.030591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2963-6_0_1_line_8 | NAYY 4x150 SE | 6 | 43 | 0.063979 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2963-6_0_1_line_9 | NAYY 4x150 SE | 7 | 8 | 0.021343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2963-6_0_1_line_10 | NAYY 4x150 SE | 8 | 32 | 0.0095993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2963-6_0_1_line_11 | NAYY 4x150 SE | 10 | 11 | 0.030045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2963-6_0_1_line_12 | NAYY 4x150 SE | 10 | 12 | 0.00063357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2963-6_0_1_line_13 | NAYY 4x150 SE | 11 | 13 | 0.027614 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2963-6_0_1_line_14 | NAYY 4x150 SE | 12 | 14 | 0.022044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2963-6_0_1_line_15 | NAYY 4x150 SE | 13 | 15 | 0.0051237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2963-6_0_1_line_16 | NAYY 4x150 SE | 14 | 16 | 0.024064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2963-6_0_1_line_17 | NAYY 4x150 SE | 15 | 17 | 0.020594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2963-6_0_1_line_18 | NAYY 4x150 SE | 16 | 18 | 0.02477 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2963-6_0_1_line_19 | NAYY 4x150 SE | 17 | 76 | 0.0087567 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2963-6_0_1_line_20 | NAYY 4x150 SE | 18 | 67 | 0.037043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2963-6_0_1_line_21 | NAYY 4x150 SE | 19 | 20 | 0.016696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2963-6_0_1_line_22 | NAYY 4x150 SE | 19 | 21 | 0.021853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2963-6_0_1_line_23 | NAYY 4x150 SE | 20 | 22 | 0.020266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2963-6_0_1_line_24 | NAYY 4x150 SE | 21 | 23 | 0.0046542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2963-6_0_1_line_25 | NAYY 4x150 SE | 22 | 24 | 0.014394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2963-6_0_1_line_26 | NAYY 4x150 SE | 22 | 25 | 0.021608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2963-6_0_1_line_27 | NAYY 4x150 SE | 23 | 26 | 0.023579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2963-6_0_1_line_28 | NAYY 4x150 SE | 23 | 27 | 0.036252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2963-6_0_1_line_29 | NAYY 4x150 SE | 24 | 28 | 0.0094577 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2963-6_0_1_line_30 | NAYY 4x150 SE | 25 | 29 | 0.032633 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2963-6_0_1_line_31 | NAYY 4x150 SE | 26 | 30 | 0.019629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2963-6_0_1_line_32 | NAYY 4x150 SE | 27 | 31 | 0.00048604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2963-6_0_1_line_33 | NAYY 4x150 SE | 28 | 48 | 0.025223 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2963-6_0_1_line_34 | NAYY 4x150 SE | 28 | 49 | 0.027961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2963-6_0_1_line_35 | NAYY 4x150 SE | 29 | 50 | 0.0050169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2963-6_0_1_line_36 | NAYY 4x150 SE | 30 | 77 | 0.019457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2963-6_0_1_line_37 | NAYY 4x150 SE | 33 | 34 | 0.011728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2963-6_0_1_line_38 | NAYY 4x150 SE | 33 | 35 | 0.013143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2963-6_0_1_line_39 | NAYY 4x150 SE | 35 | 36 | 0.015337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2963-6_0_1_line_40 | NAYY 4x150 SE | 36 | 39 | 0.0078344 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2963-6_0_1_line_41 | NAYY 4x150 SE | 37 | 38 | 0.0057059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2963-6_0_1_line_42 | NAYY 4x150 SE | 38 | 40 | 0.022344 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2963-6_0_1_line_43 | NAYY 4x150 SE | 39 | 41 | 0.012272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2963-6_0_1_line_44 | NAYY 4x150 SE | 39 | 42 | 0.015526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2963-6_0_1_line_45 | NAYY 4x150 SE | 40 | 81 | 0.0068564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_2963-6_0_1_line_46 | NAYY 4x150 SE | 41 | 81 | 0.010536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_2963-6_0_1_line_47 | NAYY 4x150 SE | 42 | 65 | 0.022575 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_2963-6_0_1_line_48 | NAYY 4x150 SE | 43 | 44 | 0.024828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_2963-6_0_1_line_49 | NAYY 4x150 SE | 44 | 45 | 0.038525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_2963-6_0_1_line_50 | NAYY 4x150 SE | 44 | 46 | 0.061506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_2963-6_0_1_line_51 | NAYY 4x150 SE | 46 | 47 | 0.039431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_2963-6_0_1_line_52 | NAYY 4x150 SE | 47 | 66 | 0.017351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_2963-6_0_1_line_53 | NAYY 4x150 SE | 47 | 64 | 0.015355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_2963-6_0_1_line_54 | NAYY 4x150 SE | 48 | 54 | 0.027115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_2963-6_0_1_line_55 | NAYY 4x150 SE | 50 | 68 | 0.018931 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_2963-6_0_1_line_56 | NAYY 4x150 SE | 51 | 52 | 0.0089191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_2963-6_0_1_line_57 | NAYY 4x150 SE | 51 | 53 | 0.022206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_2963-6_0_1_line_58 | NAYY 4x150 SE | 52 | 54 | 0.0028693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_2963-6_0_1_line_59 | NAYY 4x150 SE | 53 | 55 | 0.0016294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_2963-6_0_1_line_60 | NAYY 4x150 SE | 53 | 56 | 0.024409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_2963-6_0_1_line_61 | NAYY 4x150 SE | 55 | 57 | 0.011909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_2963-6_0_1_line_62 | NAYY 4x150 SE | 57 | 58 | 0.025252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_2963-6_0_1_line_63 | NAYY 4x150 SE | 58 | 59 | 0.016005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_2963-6_0_1_line_64 | NAYY 4x150 SE | 59 | 60 | 0.042735 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_2963-6_0_1_line_65 | NAYY 4x150 SE | 60 | 61 | 0.002431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_2963-6_0_1_line_66 | NAYY 4x150 SE | 61 | 62 | 0.014631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_2963-6_0_1_line_67 | NAYY 4x150 SE | 61 | 63 | 0.044786 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_2963-6_0_1_line_68 | NAYY 4x150 SE | 62 | 71 | 0.023179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_2963-6_0_1_line_69 | NAYY 4x150 SE | 63 | 79 | 0.025573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_2963-6_0_1_line_70 | NAYY 4x150 SE | 64 | 65 | 0.038526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_2963-6_0_1_line_71 | NAYY 4x150 SE | 66 | 67 | 0.019528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_2963-6_0_1_line_72 | NAYY 4x150 SE | 66 | 68 | 0.022345 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_2963-6_0_1_line_73 | NAYY 4x150 SE | 67 | 69 | 0.018495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_2963-6_0_1_line_74 | NAYY 4x150 SE | 70 | 71 | 0.000804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_2963-6_0_1_line_75 | NAYY 4x150 SE | 70 | 72 | 0.020682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_2963-6_0_1_line_76 | NAYY 4x150 SE | 72 | 73 | 0.0061324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_2963-6_0_1_line_77 | NAYY 4x150 SE | 73 | 74 | 0.00415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_2963-6_0_1_line_78 | NAYY 4x150 SE | 74 | 75 | 0.013276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_2963-6_0_1_line_79 | NAYY 4x150 SE | 77 | 78 | 0.034811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_2963-6_0_1_line_80 | NAYY 4x150 SE | 79 | 80 | 0.043488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2963-6_0_1_trafo_73 | 0.25 MVA 20/0.4 kV | 82 | 69 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2702628.1041 | 1284673.9071 | 2702617.7063 | 1284693.1154
1 | 2702628.1041 | 1284673.9071 | 2702638.0093 | 1284655.6088
2 | 2702586.0761 | 1284645.7068 | 2702628.1041 | 1284673.9071
3 | 2702643.0848 | 1284645.7244 | 2702640.4903 | 1284651.0256 | 2702638.0093 | 1284655.6088
4 | 2702595.6709 | 1284621.5656 | 2702586.0761 | 1284645.7068
5 | 2702586.0761 | 1284645.7068 | 2702537.7948 | 1284675.2622
6 | 2702643.0848 | 1284645.7244 | 2702645.8437 | 1284640.087
7 | 2702606.9697 | 1284593.1372 | 2702595.6709 | 1284621.5656
8 | 2702537.7948 | 1284675.2622 | 2702549.3169 | 1284738.1952
9 | 2702656.5247 | 1284621.6266 | 2702648.0565 | 1284635.5656 | 2702645.8437 | 1284640.087
10 | 2702661.5087 | 1284613.4226 | 2702656.5247 | 1284621.6266
11 | 2702665.2288 | 1284727.7873 | 2702666.4662 | 1284722.8099 | 2702675.3017 | 1284701.2887 | 2702676.2545 | 1284699.9391
12 | 2702665.2288 | 1284727.7873 | 2702665.0759 | 1284728.4021
13 | 2702676.2545 | 1284699.9391 | 2702692.1815 | 1284677.3806
14 | 2702659.7575 | 1284749.7953 | 2702665.0759 | 1284728.4021
15 | 2702692.1815 | 1284677.3806 | 2702695.1367 | 1284673.195
16 | 2702659.7575 | 1284749.7953 | 2702653.961 | 1284773.1512
17 | 2702707.0148 | 1284656.3712 | 2702695.1367 | 1284673.195
18 | 2702647.9947 | 1284797.1915 | 2702653.961 | 1284773.1512
19 | 2702707.0148 | 1284656.3712 | 2702712.0653 | 1284649.2177
20 | 2702639.072 | 1284833.144 | 2702647.9947 | 1284797.1915
21 | 2702656.3451 | 1284928.9351 | 2702672.9 | 1284931.1012
22 | 2702634.6068 | 1284926.7312 | 2702650.2372 | 1284928.1359 | 2702656.3451 | 1284928.9351
23 | 2702692.9947 | 1284933.7304 | 2702672.9 | 1284931.1012
24 | 2702629.9712 | 1284926.3146 | 2702634.6068 | 1284926.7312
25 | 2702692.9947 | 1284933.7304 | 2702704.3249 | 1284942.6075
26 | 2702692.9947 | 1284933.7304 | 2702680.3852 | 1284916.1832
27 | 2702629.9712 | 1284926.3146 | 2702616.0909 | 1284925.0607 | 2702606.4507 | 1284925.2737
28 | 2702629.9712 | 1284926.3146 | 2702627.9763 | 1284962.5117
29 | 2702711.8977 | 1284948.2731 | 2702704.7395 | 1284942.9324 | 2702704.3249 | 1284942.6075
30 | 2702680.3852 | 1284916.1832 | 2702661.3423 | 1284889.6831
31 | 2702586.8266 | 1284925.7073 | 2702606.4507 | 1284925.2737
32 | 2702627.9496 | 1284962.997 | 2702627.9763 | 1284962.5117
33 | 2702711.8977 | 1284948.2731 | 2702719.9184 | 1284924.3598
34 | 2702711.8977 | 1284948.2731 | 2702736.0232 | 1284962.4082
35 | 2702658.4147 | 1284885.609 | 2702661.3423 | 1284889.6831
36 | 2702586.8266 | 1284925.7073 | 2702586.3219 | 1284945.1581
37 | 2702587.3803 | 1284903.2922 | 2702575.7014 | 1284902.2255
38 | 2702562.6124 | 1284901.03 | 2702575.7014 | 1284902.2255
39 | 2702562.6124 | 1284901.03 | 2702568.819 | 1284887.0049
40 | 2702571.9895 | 1284879.8407 | 2702568.819 | 1284887.0049
41 | 2702611.8012 | 1284898.2918 | 2702612.5159 | 1284892.6308
42 | 2702612.5159 | 1284892.6308 | 2702613.3742 | 1284885.8333 | 2702611.0486 | 1284880.5769 | 2702601.3964 | 1284879.2349
43 | 2702571.9895 | 1284879.8407 | 2702584.162 | 1284878.2804
44 | 2702571.9895 | 1284879.8407 | 2702576.2671 | 1284864.9156
45 | 2702601.3964 | 1284879.2349 | 2702594.6053 | 1284878.2908
46 | 2702594.6053 | 1284878.2908 | 2702589.5567 | 1284877.5889 | 2702584.162 | 1284878.2804
47 | 2702576.2671 | 1284864.9156 | 2702579.7662 | 1284852.7069 | 2702580.291 | 1284842.846
48 | 2702549.3169 | 1284738.1952 | 2702558.7354 | 1284761.18
49 | 2702558.7354 | 1284761.18 | 2702549.0917 | 1284756.2966 | 2702524.3622 | 1284743.7829
50 | 2702596.3581 | 1284809.8374 | 2702558.7354 | 1284761.18
51 | 2702622.7151 | 1284839.1646 | 2702596.3581 | 1284809.8374
52 | 2702622.7151 | 1284839.1646 | 2702634.3278 | 1284852.0897
53 | 2702622.7151 | 1284839.1646 | 2702607.8329 | 1284835.3831
54 | 2702719.9184 | 1284924.3598 | 2702728.541 | 1284898.6518
55 | 2702647.3675 | 1284870.2357 | 2702658.4147 | 1284885.609
56 | 2702729.4534 | 1284895.9315 | 2702732.2897 | 1284887.4754
57 | 2702739.3512 | 1284866.4217 | 2702732.2897 | 1284887.4754
58 | 2702729.4534 | 1284895.9315 | 2702728.541 | 1284898.6518
59 | 2702739.3512 | 1284866.4217 | 2702739.9224 | 1284864.8957
60 | 2702739.3512 | 1284866.4217 | 2702716.1846 | 1284858.7339
61 | 2702739.9224 | 1284864.8957 | 2702744.097 | 1284853.7421
62 | 2702744.097 | 1284853.7421 | 2702752.9488 | 1284830.0923
63 | 2702758.5592 | 1284815.103 | 2702752.9488 | 1284830.0923
64 | 2702773.5395 | 1284775.0793 | 2702758.5592 | 1284815.103
65 | 2702774.2183 | 1284772.7446 | 2702773.5395 | 1284775.0793
66 | 2702774.2183 | 1284772.7446 | 2702760.3826 | 1284767.9863
67 | 2702774.2183 | 1284772.7446 | 2702784.2374 | 1284738.0545 | 2702784.3665 | 1284729.3772
68 | 2702760.3826 | 1284767.9863 | 2702738.4632 | 1284760.4479
69 | 2702780.3522 | 1284704.3227 | 2702784.4962 | 1284720.6543 | 2702784.3665 | 1284729.3772
70 | 2702607.8329 | 1284835.3831 | 2702586.1095 | 1284829.8633 | 2702580.8264 | 1284832.7851 | 2702580.291 | 1284842.846
71 | 2702639.072 | 1284833.144 | 2702634.3278 | 1284852.0897
72 | 2702634.3278 | 1284852.0897 | 2702647.3675 | 1284870.2357
73 | 2702639.072 | 1284833.144 | 2702656.626 | 1284838.9693
74 | 2702737.7029 | 1284760.1864 | 2702738.4632 | 1284760.4479
75 | 2702737.7029 | 1284760.1864 | 2702718.1449 | 1284753.4602
76 | 2702712.3459 | 1284751.4658 | 2702718.1449 | 1284753.4602
77 | 2702708.4215 | 1284750.1162 | 2702712.3459 | 1284751.4658
78 | 2702695.8673 | 1284745.7986 | 2702708.4215 | 1284750.1162
79 | 2702586.3219 | 1284945.1581 | 2702585.6836 | 1284969.7607 | 2702575.4897 | 1284969.402
80 | 2702741.9404 | 1284724.9272 | 2702780.3522 | 1284704.3227

## bus_geodata
| x | y | coords
0 | 2702628.1041 | 1284673.9071
1 | 2702617.7063 | 1284693.1154
2 | 2702638.0093 | 1284655.6088
3 | 2702586.0761 | 1284645.7068
4 | 2702643.0848 | 1284645.7244
5 | 2702595.6709 | 1284621.5656
6 | 2702537.7948 | 1284675.2622
7 | 2702645.8437 | 1284640.087
8 | 2702656.5247 | 1284621.6266
9 | 2702606.9697 | 1284593.1372
10 | 2702665.2288 | 1284727.7873
11 | 2702676.2545 | 1284699.9391
12 | 2702665.0759 | 1284728.4021
13 | 2702692.1815 | 1284677.3806
14 | 2702659.7575 | 1284749.7953
15 | 2702695.1367 | 1284673.195
16 | 2702653.961 | 1284773.1512
17 | 2702707.0148 | 1284656.3712
18 | 2702647.9947 | 1284797.1915
19 | 2702656.3451 | 1284928.9351
20 | 2702672.9 | 1284931.1012
21 | 2702634.6068 | 1284926.7312
22 | 2702692.9947 | 1284933.7304
23 | 2702629.9712 | 1284926.3146
24 | 2702704.3249 | 1284942.6075
25 | 2702680.3852 | 1284916.1832
26 | 2702606.4507 | 1284925.2737
27 | 2702627.9763 | 1284962.5117
28 | 2702711.8977 | 1284948.2731
29 | 2702661.3423 | 1284889.6831
30 | 2702586.8266 | 1284925.7073
31 | 2702627.9496 | 1284962.997
32 | 2702661.5087 | 1284613.4226
33 | 2702575.7014 | 1284902.2255
34 | 2702587.3803 | 1284903.2922
35 | 2702562.6124 | 1284901.03
36 | 2702568.819 | 1284887.0049
37 | 2702611.8011 | 1284898.2918
38 | 2702612.5159 | 1284892.6308
39 | 2702571.9895 | 1284879.8407
40 | 2702601.3964 | 1284879.2349
41 | 2702584.162 | 1284878.2804
42 | 2702576.2671 | 1284864.9156
43 | 2702549.3169 | 1284738.1952
44 | 2702558.7354 | 1284761.18
45 | 2702524.3622 | 1284743.7829
46 | 2702596.3581 | 1284809.8374
47 | 2702622.7151 | 1284839.1646
48 | 2702719.9184 | 1284924.3598
49 | 2702736.0232 | 1284962.4082
50 | 2702658.4147 | 1284885.609
51 | 2702732.2897 | 1284887.4754
52 | 2702729.4534 | 1284895.9315
53 | 2702739.3512 | 1284866.4217
54 | 2702728.541 | 1284898.6518
55 | 2702739.9224 | 1284864.8957
56 | 2702716.1846 | 1284858.7339
57 | 2702744.097 | 1284853.7421
58 | 2702752.9488 | 1284830.0923
59 | 2702758.5591 | 1284815.103
60 | 2702773.5395 | 1284775.0793
61 | 2702774.2183 | 1284772.7446
62 | 2702760.3826 | 1284767.9863
63 | 2702784.3665 | 1284729.3772
64 | 2702607.8329 | 1284835.3831
65 | 2702580.291 | 1284842.846
66 | 2702634.3278 | 1284852.0897
67 | 2702639.072 | 1284833.144
68 | 2702647.3675 | 1284870.2357
69 | 2702656.626 | 1284838.9693
70 | 2702737.7029 | 1284760.1864
71 | 2702738.4632 | 1284760.4479
72 | 2702718.1449 | 1284753.4602
73 | 2702712.3459 | 1284751.4658
74 | 2702708.4215 | 1284750.1162
75 | 2702695.8673 | 1284745.7986
76 | 2702712.0653 | 1284649.2177
77 | 2702586.3219 | 1284945.1581
78 | 2702575.4897 | 1284969.402
79 | 2702780.3522 | 1284704.3227
80 | 2702741.9404 | 1284724.9272
81 | 2702594.6053 | 1284878.2908
82 | 2702639.072 | 1284833.144

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1