## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2964-13_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2964-13_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2964-13_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2964-13_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2964-13_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2964-13_0_4_node_52 | 0.4 | n |  | TRUE
6 | bus_LV_2964-13_0_4_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_2964-13_0_4_node_22 | 0.4 | n |  | TRUE
8 | bus_LV_2964-13_0_4_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_2964-13_0_4_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_2964-13_0_4_node_35 | 0.4 | n |  | TRUE
11 | bus_LV_2964-13_0_4_node_83 | 0.4 | n |  | TRUE
12 | bus_LV_2964-13_0_4_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_2964-13_0_4_node_15 | 0.4 | n |  | TRUE
14 | bus_LV_2964-13_0_4_node_30 | 0.4 | n |  | TRUE
15 | bus_LV_2964-13_0_4_node_28 | 0.4 | n |  | TRUE
16 | bus_LV_2964-13_0_4_node_24 | 0.4 | n |  | TRUE
17 | bus_LV_2964-13_0_4_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_2964-13_0_4_node_40 | 0.4 | n |  | TRUE
19 | bus_LV_2964-13_0_4_node_38 | 0.4 | n |  | TRUE
20 | bus_LV_2964-13_0_4_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_2964-13_0_4_node_82 | 0.4 | n |  | TRUE
22 | bus_LV_2964-13_0_4_node_48 | 0.4 | n |  | TRUE
23 | bus_LV_2964-13_0_4_node_11 | 0.4 | n |  | TRUE
24 | bus_LV_2964-13_0_4_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_2964-13_0_4_node_60 | 0.4 | n |  | TRUE
26 | bus_LV_2964-13_0_4_node_33 | 0.4 | n |  | TRUE
27 | bus_LV_2964-13_0_4_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_2964-13_0_4_node_46 | 0.4 | n |  | TRUE
29 | bus_LV_2964-13_0_4_node_88 | 0.4 | n |  | TRUE
30 | bus_LV_2964-13_0_4_node_84 | 0.4 | n |  | TRUE
31 | bus_LV_2964-13_0_4_node_61 | 0.4 | n |  | TRUE
32 | bus_LV_2964-13_0_4_node_16 | 0.4 | n |  | TRUE
33 | bus_LV_2964-13_0_4_node_59 | 0.4 | n |  | TRUE
34 | bus_LV_2964-13_0_4_node_93 | 0.4 | n |  | TRUE
35 | bus_LV_2964-13_0_4_node_20 | 0.4 | n |  | TRUE
36 | bus_LV_2964-13_0_4_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_2964-13_0_4_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_2964-13_0_4_node_53 | 0.4 | n |  | TRUE
39 | bus_LV_2964-13_0_4_node_21 | 0.4 | n |  | TRUE
40 | bus_LV_2964-13_0_4_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_2964-13_0_4_node_86 | 0.4 | n |  | TRUE
42 | bus_LV_2964-13_0_4_node_25 | 0.4 | n |  | TRUE
43 | bus_LV_2964-13_0_4_node_51 | 0.4 | n |  | TRUE
44 | bus_LV_2964-13_0_4_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_2964-13_0_4_node_41 | 0.4 | n |  | TRUE
46 | bus_LV_2964-13_0_4_node_42 | 0.4 | n |  | TRUE
47 | bus_LV_2964-13_0_4_node_23 | 0.4 | n |  | TRUE
48 | bus_LV_2964-13_0_4_node_44 | 0.4 | n |  | TRUE
49 | bus_LV_2964-13_0_4_node_87 | 0.4 | n |  | TRUE
50 | bus_LV_2964-13_0_4_node_91 | 0.4 | n |  | TRUE
51 | bus_LV_2964-13_0_4_node_57 | 0.4 | n |  | TRUE
52 | bus_LV_2964-13_0_4_node_36 | 0.4 | n |  | TRUE
53 | bus_LV_2964-13_0_4_node_37 | 0.4 | n |  | TRUE
54 | bus_LV_2964-13_0_4_node_26 | 0.4 | n |  | TRUE
55 | bus_LV_2964-13_0_4_node_27 | 0.4 | n |  | TRUE
56 | bus_LV_2964-13_0_4_node_65 | 0.4 | n |  | TRUE
57 | bus_LV_2964-13_0_4_node_79 | 0.4 | n |  | TRUE
58 | bus_LV_2964-13_0_4_node_63 | 0.4 | n |  | TRUE
59 | bus_LV_2964-13_0_4_node_78 | 0.4 | n |  | TRUE
60 | bus_LV_2964-13_0_4_node_49 | 0.4 | n |  | TRUE
61 | bus_LV_2964-13_0_4_node_50 | 0.4 | n |  | TRUE
62 | bus_LV_2964-13_0_4_node_43 | 0.4 | n |  | TRUE
63 | bus_LV_2964-13_0_4_node_47 | 0.4 | n |  | TRUE
64 | bus_LV_2964-13_0_4_node_45 | 0.4 | n |  | TRUE
65 | bus_LV_2964-13_0_4_node_85 | 0.4 | n |  | TRUE
66 | bus_LV_2964-13_0_4_node_90 | 0.4 | n |  | TRUE
67 | bus_LV_2964-13_0_4_node_54 | 0.4 | n |  | TRUE
68 | bus_LV_2964-13_0_4_node_55 | 0.4 | n |  | TRUE
69 | bus_LV_2964-13_0_4_node_56 | 0.4 | n |  | TRUE
70 | bus_LV_2964-13_0_4_node_58 | 0.4 | n |  | TRUE
71 | bus_LV_2964-13_0_4_node_89 | 0.4 | n |  | TRUE
72 | bus_LV_2964-13_0_4_node_62 | 0.4 | n |  | TRUE
73 | bus_LV_2964-13_0_4_node_64 | 0.4 | n |  | TRUE
74 | bus_LV_2964-13_0_4_node_66 | 0.4 | n |  | TRUE
75 | bus_LV_2964-13_0_4_node_68 | 0.4 | n |  | TRUE
76 | bus_LV_2964-13_0_4_node_69 | 0.4 | n |  | TRUE
77 | bus_LV_2964-13_0_4_node_67 | 0.4 | n |  | TRUE
78 | bus_LV_2964-13_0_4_node_70 | 0.4 | n |  | TRUE
79 | bus_LV_2964-13_0_4_node_71 | 0.4 | n |  | TRUE
80 | bus_LV_2964-13_0_4_node_72 | 0.4 | n |  | TRUE
81 | bus_LV_2964-13_0_4_node_73 | 0.4 | n |  | TRUE
82 | bus_LV_2964-13_0_4_node_74 | 0.4 | n |  | TRUE
83 | bus_LV_2964-13_0_4_node_75 | 0.4 | n |  | TRUE
84 | bus_LV_2964-13_0_4_node_76 | 0.4 | n |  | TRUE
85 | bus_LV_2964-13_0_4_node_77 | 0.4 | n |  | TRUE
86 | bus_LV_2964-13_0_4_node_81 | 0.4 | n |  | TRUE
87 | bus_LV_2964-13_0_4_node_80 | 0.4 | n |  | TRUE
88 | bus_MV_402_1_node_55 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2964-13_0_4_load_0 | 0 | 0.0082892 | 0.0020775 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2964-13_0_4_load_1 | 1 | 0.002917 | 0.00073106 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2964-13_0_4_load_3 | 3 | 0.0023789 | 0.00059622 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2964-13_0_4_load_52 | 5 | 0.0030961 | 0.00077595 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2964-13_0_4_load_22 | 7 | 0.0042038 | 0.0010536 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2964-13_0_4_load_35 | 10 | 0.0060291 | 0.001511 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2964-13_0_4_load_83 | 11 | 0.0084687 | 0.0021225 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2964-13_0_4_load_30 | 14 | 0.0028635 | 0.00071766 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2964-13_0_4_load_28 | 15 | 0.003819 | 0.00095713 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2964-13_0_4_load_24 | 16 | 0.0051348 | 0.0012869 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2964-13_0_4_load_40 | 18 | 0.00087783 | 0.00022001 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2964-13_0_4_load_38 | 19 | 0.0096169 | 0.0024102 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2964-13_0_4_load_48 | 22 | 0.0051892 | 0.0013005 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2964-13_0_4_load_60 | 25 | 0.003251 | 0.00081477 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2964-13_0_4_load_33 | 26 | 0.010144 | 0.0025424 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2964-13_0_4_load_88 | 29 | 0.0065143 | 0.0016326 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2964-13_0_4_load_84 | 30 | 0.0014722 | 0.00036897 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2964-13_0_4_load_61 | 31 | 0.0067256 | 0.0016856 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2964-13_0_4_load_59 | 33 | 0.0032771 | 0.00082132 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2964-13_0_4_load_93 | 34 | 0.0041147 | 0.0010312 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2964-13_0_4_load_31 | 37 | 0.008934 | 0.0022391 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2964-13_0_4_load_53 | 38 | 0.002467 | 0.00061828 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2964-13_0_4_load_21 | 39 | 0.0086272 | 0.0021622 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2964-13_0_4_load_34 | 40 | 0.0062907 | 0.0015766 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2964-13_0_4_load_86 | 41 | 0.0014632 | 0.00036672 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2964-13_0_4_load_51 | 43 | 0.00084502 | 0.00021178 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2964-13_0_4_load_41 | 45 | 0.0016645 | 0.00041717 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2964-13_0_4_load_42 | 46 | 0.00096972 | 0.00024303 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2964-13_0_4_load_23 | 47 | 0.0018526 | 0.00046431 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2964-13_0_4_load_44 | 48 | 0.0027363 | 0.00068579 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2964-13_0_4_load_87 | 49 | 0.0037775 | 0.00094673 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2964-13_0_4_load_91 | 50 | 0.0023878 | 0.00059844 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2964-13_0_4_load_57 | 51 | 0.0032855 | 0.00082341 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2964-13_0_4_load_36 | 52 | 0.012321 | 0.0030879 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2964-13_0_4_load_27 | 55 | 0.005058 | 0.0012677 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2964-13_0_4_load_65 | 56 | 0.0026031 | 0.0006524 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2964-13_0_4_load_79 | 57 | 0.0043412 | 0.001088 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2964-13_0_4_load_63 | 58 | 0.0038366 | 0.00096155 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2964-13_0_4_load_78 | 59 | 0.0015464 | 0.00038758 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2964-13_0_4_load_49 | 60 | 0.00086818 | 0.00021759 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2964-13_0_4_load_50 | 61 | 0.00084492 | 0.00021176 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2964-13_0_4_load_43 | 62 | 0.0074682 | 0.0018717 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2964-13_0_4_load_47 | 63 | 0.00091183 | 0.00022853 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2964-13_0_4_load_45 | 64 | 0.0019663 | 0.0004928 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2964-13_0_4_load_85 | 65 | 0.0029266 | 0.00073348 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2964-13_0_4_load_90 | 66 | 0.0033636 | 0.00084299 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2964-13_0_4_load_54 | 67 | 0.00128 | 0.00032081 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2964-13_0_4_load_55 | 68 | 0.0017876 | 0.00044802 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2964-13_0_4_load_56 | 69 | 0.0022856 | 0.00057282 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2964-13_0_4_load_58 | 70 | 0.0020556 | 0.00051518 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2964-13_0_4_load_89 | 71 | 0.0023503 | 0.00058903 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2964-13_0_4_load_62 | 72 | 0.0055733 | 0.0013968 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2964-13_0_4_load_64 | 73 | 0.0074062 | 0.0018562 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2964-13_0_4_load_69 | 76 | 0.0034581 | 0.00086667 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2964-13_0_4_load_67 | 77 | 0.0050929 | 0.0012764 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2964-13_0_4_load_70 | 78 | 0.0023786 | 0.00059615 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2964-13_0_4_load_71 | 79 | 0.0015834 | 0.00039683 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2964-13_0_4_load_73 | 81 | 0.0017149 | 0.0004298 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2964-13_0_4_load_74 | 82 | 0.00138 | 0.00034587 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2964-13_0_4_load_75 | 83 | 0.0017687 | 0.00044328 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2964-13_0_4_load_76 | 84 | 0.0015279 | 0.00038292 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2964-13_0_4_load_77 | 85 | 0.0021636 | 0.00054225 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2964-13_0_4_load_80 | 87 | 0.0041781 | 0.0010471 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 31 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2964-13_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.011117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2964-13_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.011289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2964-13_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0078043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2964-13_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.015035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2964-13_0_4_line_4 | NAYY 4x150 SE | 3 | 5 | 0.0080036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2964-13_0_4_line_5 | NAYY 4x150 SE | 4 | 6 | 0.019437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2964-13_0_4_line_6 | NAYY 4x150 SE | 4 | 7 | 0.007608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2964-13_0_4_line_7 | NAYY 4x150 SE | 5 | 38 | 2.7884e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2964-13_0_4_line_8 | NAYY 4x150 SE | 6 | 15 | 0.0090368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_2964-13_0_4_line_9 | NAYY 4x150 SE | 6 | 16 | 0.024547 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2964-13_0_4_line_10 | NAYY 4x150 SE | 7 | 39 | 0.0086661 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2964-13_0_4_line_11 | NAYY 4x150 SE | 8 | 9 | 0.010692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2964-13_0_4_line_12 | NAYY 4x150 SE | 8 | 10 | 0.011975 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2964-13_0_4_line_13 | NAYY 4x150 SE | 8 | 11 | 0.019914 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2964-13_0_4_line_14 | NAYY 4x150 SE | 9 | 26 | 0.020371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2964-13_0_4_line_15 | NAYY 4x150 SE | 9 | 23 | 0.071431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2964-13_0_4_line_16 | NAYY 4x150 SE | 10 | 40 | 0.014843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2964-13_0_4_line_17 | NAYY 4x150 SE | 11 | 21 | 0.020949 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2964-13_0_4_line_18 | NAYY 4x150 SE | 12 | 13 | 0.0080194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2964-13_0_4_line_19 | NAYY 4x150 SE | 12 | 14 | 0.023541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2964-13_0_4_line_20 | NAYY 4x150 SE | 13 | 30 | 0.0081356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
21 | LV_2964-13_0_4_line_21 | NAYY 4x150 SE | 13 | 31 | 0.01747 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
22 | LV_2964-13_0_4_line_22 | NAYY 4x150 SE | 15 | 41 | 0.022335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
23 | LV_2964-13_0_4_line_23 | NAYY 4x150 SE | 16 | 42 | 0.0047483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2964-13_0_4_line_24 | NAYY 4x150 SE | 17 | 18 | 0.011007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2964-13_0_4_line_25 | NAYY 4x150 SE | 17 | 19 | 0.062986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2964-13_0_4_line_26 | NAYY 4x150 SE | 18 | 43 | 0.0041208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2964-13_0_4_line_27 | NAYY 4x150 SE | 19 | 44 | 0.036478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2964-13_0_4_line_28 | NAYY 4x150 SE | 20 | 21 | 0.005742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2964-13_0_4_line_29 | NAYY 4x150 SE | 20 | 22 | 0.01666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2964-13_0_4_line_30 | NAYY 4x150 SE | 22 | 28 | 0.013945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2964-13_0_4_line_31 | NAYY 4x150 SE | 23 | 24 | 0.024634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2964-13_0_4_line_32 | NAYY 4x150 SE | 23 | 25 | 0.015055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2964-13_0_4_line_33 | NAYY 4x150 SE | 24 | 34 | 0.093855 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2964-13_0_4_line_34 | NAYY 4x150 SE | 25 | 32 | 0.02321 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
35 | LV_2964-13_0_4_line_35 | NAYY 4x150 SE | 27 | 28 | 0.017906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2964-13_0_4_line_36 | NAYY 4x150 SE | 27 | 29 | 0.016894 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2964-13_0_4_line_37 | NAYY 4x150 SE | 28 | 48 | 0.0090823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2964-13_0_4_line_38 | NAYY 4x150 SE | 30 | 49 | 0.0099997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
39 | LV_2964-13_0_4_line_39 | NAYY 4x150 SE | 31 | 32 | 0.12359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
40 | LV_2964-13_0_4_line_40 | NAYY 4x150 SE | 32 | 33 | 0.017855 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2964-13_0_4_line_41 | NAYY 4x150 SE | 35 | 36 | 0.005047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2964-13_0_4_line_42 | NAYY 4x150 SE | 35 | 37 | 0.0089567 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2964-13_0_4_line_43 | NAYY 4x150 SE | 36 | 52 | 0.020805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2964-13_0_4_line_44 | NAYY 4x150 SE | 36 | 53 | 0.073596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2964-13_0_4_line_45 | NAYY 4x150 SE | 36 | 40 | 0.016775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_2964-13_0_4_line_46 | NAYY 4x150 SE | 38 | 65 | 0.0081772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_2964-13_0_4_line_47 | NAYY 4x150 SE | 39 | 47 | 0.012925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_2964-13_0_4_line_48 | NAYY 4x150 SE | 41 | 49 | 0.009214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
49 | LV_2964-13_0_4_line_49 | NAYY 4x150 SE | 42 | 54 | 0.004064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_2964-13_0_4_line_50 | NAYY 4x150 SE | 42 | 55 | 0.010139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_2964-13_0_4_line_51 | NAYY 4x150 SE | 43 | 61 | 0.0029704 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_2964-13_0_4_line_52 | NAYY 4x150 SE | 44 | 53 | 0.020371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_2964-13_0_4_line_53 | NAYY 4x150 SE | 45 | 46 | 0.030161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_2964-13_0_4_line_54 | NAYY 4x150 SE | 46 | 62 | 0.015936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_2964-13_0_4_line_55 | NAYY 4x150 SE | 48 | 64 | 0.022213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_2964-13_0_4_line_56 | NAYY 4x150 SE | 50 | 51 | 0.012548 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_2964-13_0_4_line_57 | NAYY 4x150 SE | 51 | 68 | 0.012291 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_2964-13_0_4_line_58 | NAYY 4x150 SE | 54 | 56 | 0.007076 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_2964-13_0_4_line_59 | NAYY 4x150 SE | 54 | 57 | 0.014508 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_2964-13_0_4_line_60 | NAYY 4x150 SE | 56 | 58 | 0.0080728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_2964-13_0_4_line_61 | NAYY 4x150 SE | 57 | 59 | 0.011586 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_2964-13_0_4_line_62 | NAYY 4x150 SE | 58 | 72 | 0.0044724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_2964-13_0_4_line_63 | NAYY 4x150 SE | 59 | 87 | 0.0035097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_2964-13_0_4_line_64 | NAYY 4x150 SE | 60 | 61 | 0.0036009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_2964-13_0_4_line_65 | NAYY 4x150 SE | 62 | 63 | 0.0067806 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_2964-13_0_4_line_66 | NAYY 4x150 SE | 63 | 64 | 0.010086 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_2964-13_0_4_line_67 | NAYY 4x150 SE | 65 | 66 | 0.0012961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_2964-13_0_4_line_68 | NAYY 4x150 SE | 66 | 71 | 0.0089449 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_2964-13_0_4_line_69 | NAYY 4x150 SE | 67 | 68 | 0.0020415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_2964-13_0_4_line_70 | NAYY 4x150 SE | 67 | 69 | 0.0069434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_2964-13_0_4_line_71 | NAYY 4x150 SE | 69 | 70 | 0.0069723 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_2964-13_0_4_line_72 | NAYY 4x150 SE | 70 | 71 | 0.0071498 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_2964-13_0_4_line_73 | NAYY 4x150 SE | 72 | 73 | 0.0086817 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_2964-13_0_4_line_74 | NAYY 4x150 SE | 73 | 74 | 0.0021644 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_2964-13_0_4_line_75 | NAYY 4x150 SE | 74 | 75 | 0.019768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_2964-13_0_4_line_76 | NAYY 4x150 SE | 75 | 76 | 0.01601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_2964-13_0_4_line_77 | NAYY 4x150 SE | 75 | 77 | 0.0073577 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_2964-13_0_4_line_78 | NAYY 4x150 SE | 78 | 79 | 0.015187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_2964-13_0_4_line_79 | NAYY 4x150 SE | 78 | 80 | 0.0093364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_2964-13_0_4_line_80 | NAYY 4x150 SE | 79 | 81 | 0.03457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_2964-13_0_4_line_81 | NAYY 4x150 SE | 80 | 82 | 0.0041284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_2964-13_0_4_line_82 | NAYY 4x150 SE | 80 | 83 | 0.0083999 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_2964-13_0_4_line_83 | NAYY 4x150 SE | 81 | 84 | 0.0013339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_2964-13_0_4_line_84 | NAYY 4x150 SE | 82 | 85 | 0.033929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_2964-13_0_4_line_85 | NAYY 4x150 SE | 83 | 86 | 0.00083128 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_2964-13_0_4_line_86 | NAYY 4x150 SE | 86 | 87 | 0.013814 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2964-13_0_4_trafo_61 | 0.25 MVA 20/0.4 kV | 88 | 31 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2706675.7048 | 1279505.4062 | 2706684.7873 | 1279498.9955
1 | 2706666.392 | 1279511.7858 | 2706671.1605 | 1279508.6136 | 2706675.7048 | 1279505.4062
2 | 2706691.1633 | 1279494.4952 | 2706684.7873 | 1279498.9955
3 | 2706658.5688 | 1279498.9995 | 2706661.806 | 1279503.2174 | 2706666.392 | 1279511.7858
4 | 2706691.1633 | 1279494.4952 | 2706697.7022 | 1279489.8799
5 | 2706651.1073 | 1279503.5909 | 2706654.9996 | 1279501.5038 | 2706657.847 | 1279505.6702 | 2706661.806 | 1279503.2174 | 2706658.5688 | 1279498.9995
6 | 2706658.5688 | 1279498.9995 | 2706659.6135 | 1279497.7394 | 2706660.9388 | 1279495.9173 | 2706662.5803 | 1279492.5812
7 | 2706697.7249 | 1279489.8638 | 2706697.7022 | 1279489.8799
8 | 2706651.1073 | 1279503.5909 | 2706649.7887 | 1279501.7209 | 2706646.1181 | 1279496.0578
9 | 2706651.1073 | 1279503.5909 | 2706649.3349 | 1279504.7933 | 2706642.1845 | 1279509.2124 | 2706637.5173 | 1279506.7925 | 2706629.7985 | 1279510.8977
10 | 2706666.4062 | 1279484.8053 | 2706662.5803 | 1279492.5812
11 | 2706443.8466 | 1279387.7537 | 2706448.8479 | 1279385.8311 | 2706452.8047 | 1279382.2549
12 | 2706452.8047 | 1279382.2549 | 2706444.7364 | 1279373.406
13 | 2706452.8047 | 1279382.2549 | 2706467.5687 | 1279368.8909
14 | 2706443.8466 | 1279387.7537 | 2706424.824 | 1279395.0433
15 | 2706443.8466 | 1279387.7537 | 2706447.9099 | 1279392.4201 | 2706457.6045 | 1279403.5495 | 2706466.0846 | 1279413.278 | 2706468.4014 | 1279416.4672 | 2706470.3407 | 1279420.9951 | 2706471.1165 | 1279425.4687 | 2706470.9548 | 1279429.0134 | 2706469.7327 | 1279432.1942 | 2706468.2613 | 1279434.2028 | 2706467.5724 | 1279434.9021 | 2706471.0278 | 1279440.3583 | 2706474.891 | 1279446.5336
16 | 2706444.7364 | 1279373.406 | 2706434.7357 | 1279362.4375
17 | 2706483.0999 | 1279354.8326 | 2706467.5687 | 1279368.8909
18 | 2706619.8937 | 1279453.8596 | 2706623.4703 | 1279451.7779 | 2706626.8048 | 1279449.7919
19 | 2706626.8048 | 1279449.7919 | 2706638.3815 | 1279470.2892
20 | 2706619.8937 | 1279453.8596 | 2706624.171 | 1279460.78
21 | 2706619.8937 | 1279453.8596 | 2706610.6928 | 1279439.0083
22 | 2706646.1181 | 1279496.0578 | 2706643.0346 | 1279491.3005 | 2706634.2726 | 1279477.124
23 | 2706625.6062 | 1279513.1273 | 2706629.7985 | 1279510.8977
24 | 2706543.8541 | 1279244.8529 | 2706538.5328 | 1279254.4877
25 | 2706543.8541 | 1279244.8529 | 2706540.3837 | 1279243.1331 | 2706533.4465 | 1279234.5001 | 2706496.1489 | 1279264.7741
26 | 2706538.5328 | 1279254.4877 | 2706538.5328 | 1279254.4877 | 2706536.2467 | 1279257.9162 | 2706536.2467 | 1279257.9162
27 | 2706467.8263 | 1279287.7632 | 2706496.1489 | 1279264.7741
28 | 2706483.0999 | 1279354.8326 | 2706486.9269 | 1279350.5422
29 | 2706486.9269 | 1279350.5422 | 2706499.7983 | 1279339.9656
30 | 2706509.9729 | 1279330.5292 | 2706507.665 | 1279333.5014 | 2706499.7983 | 1279339.9656
31 | 2706452.8911 | 1279457.7466 | 2706474.891 | 1279446.5336
32 | 2706474.891 | 1279446.5336 | 2706478.734 | 1279444.6791 | 2706488.6704 | 1279440.4775
33 | 2706511.4773 | 1279501.299 | 2706487.1652 | 1279513.2375 | 2706482.0815 | 1279511.8222 | 2706475.5773 | 1279503.3638 | 2706452.8911 | 1279457.7466
34 | 2706508.7003 | 1279428.7947 | 2706490.9166 | 1279439.5277 | 2706488.6704 | 1279440.4775
35 | 2706509.9729 | 1279330.5292 | 2706514.4498 | 1279333.5128 | 2706522.107 | 1279343.46
36 | 2706522.107 | 1279343.46 | 2706535.701 | 1279333.4288
37 | 2706509.9729 | 1279330.5292 | 2706515.0577 | 1279323.993 | 2706515.7222 | 1279323.5455
38 | 2706629.4284 | 1279469.2862 | 2706624.171 | 1279460.78
39 | 2706508.7003 | 1279428.7947 | 2706518.5127 | 1279424.6682 | 2706529.3126 | 1279422.0275 | 2706564.5869 | 1279406.3951 | 2706570.2768 | 1279405.0411 | 2706575.7047 | 1279404.4609 | 2706582.1999 | 1279405.1122 | 2706588.2094 | 1279407.6898 | 2706592.2504 | 1279410.6766 | 2706596.0281 | 1279415.3379 | 2706610.6928 | 1279439.0083
40 | 2706508.7003 | 1279428.7947 | 2706510.6606 | 1279431.3324 | 2706513.758 | 1279437.4716 | 2706519.137 | 1279443.0816
41 | 2706423.4593 | 1279350.0185 | 2706419.6499 | 1279353.3417
42 | 2706419.6499 | 1279353.3417 | 2706412.7285 | 1279359.0265
43 | 2706423.4593 | 1279350.0185 | 2706420.4622 | 1279346.6392 | 2706424.2495 | 1279343.2934 | 2706424.6277 | 1279338.9963 | 2706420.2411 | 1279333.6432
44 | 2706423.4593 | 1279350.0185 | 2706442.6683 | 1279334.4289 | 2706446.4583 | 1279331.3501 | 2706458.9565 | 1279321.2221 | 2706475.6873 | 1279307.6452 | 2706480.6134 | 1279303.6527
45 | 2706423.4593 | 1279350.0185 | 2706429.6696 | 1279356.8812 | 2706434.7357 | 1279362.4375
46 | 2706697.7249 | 1279489.8638 | 2706704.4056 | 1279485.1484
47 | 2706666.4062 | 1279484.8053 | 2706667.1325 | 1279483.3291 | 2706676.2384 | 1279476.6714
48 | 2706629.4284 | 1279469.2862 | 2706634.2726 | 1279477.124
49 | 2706621.981 | 1279514.9857 | 2706625.6062 | 1279513.1273
50 | 2706625.6062 | 1279513.1273 | 2706620.4823 | 1279504.3789
51 | 2706536.2467 | 1279257.9162 | 2706534.181 | 1279260.0507
52 | 2706467.8263 | 1279287.7632 | 2706480.6134 | 1279303.6527
53 | 2706560.7802 | 1279291.9877 | 2706585.0183 | 1279274.0377
54 | 2706547.8272 | 1279301.2707 | 2706559.9269 | 1279292.6196 | 2706560.7802 | 1279291.9877
55 | 2706534.1071 | 1279311.0802 | 2706532.0278 | 1279312.5669 | 2706515.7222 | 1279323.5455
56 | 2706752.9874 | 1279453.1746 | 2706742.2287 | 1279459.6331
57 | 2706731.8257 | 1279466.1693 | 2706735.1075 | 1279463.908 | 2706742.2287 | 1279459.6331
58 | 2706621.981 | 1279514.9857 | 2706625.0961 | 1279521.3391
59 | 2706621.981 | 1279514.9857 | 2706608.7879 | 1279521.0204
60 | 2706625.0961 | 1279521.3391 | 2706628.6501 | 1279528.5875
61 | 2706598.2521 | 1279525.8396 | 2706608.7879 | 1279521.0204
62 | 2706630.619 | 1279532.6032 | 2706628.6501 | 1279528.5875
63 | 2706598.2521 | 1279525.8396 | 2706595.9033 | 1279526.914 | 2706595.071 | 1279527.322
64 | 2706531.5268 | 1279262.4743 | 2706532.9465 | 1279261.3263 | 2706534.181 | 1279260.0507
65 | 2706547.8272 | 1279301.2707 | 2706542.3114 | 1279305.2144
66 | 2706534.1071 | 1279311.0802 | 2706542.3114 | 1279305.2144
67 | 2706705.4646 | 1279484.401 | 2706704.4056 | 1279485.1484
68 | 2706712.7984 | 1279479.2801 | 2706709.4892 | 1279481.5603 | 2706705.4646 | 1279484.401
69 | 2706730.1447 | 1279467.3276 | 2706731.8257 | 1279466.1693
70 | 2706730.1447 | 1279467.3276 | 2706724.4271 | 1279471.2673
71 | 2706718.6859 | 1279475.2233 | 2706724.4271 | 1279471.2673
72 | 2706712.7984 | 1279479.2801 | 2706718.6859 | 1279475.2233
73 | 2706630.619 | 1279532.6032 | 2706634.4409 | 1279540.3983
74 | 2706635.3938 | 1279542.3417 | 2706634.4409 | 1279540.3983
75 | 2706635.3938 | 1279542.3417 | 2706617.5291 | 1279550.9154
76 | 2706617.5291 | 1279550.9154 | 2706603.1305 | 1279557.9145
77 | 2706617.5291 | 1279550.9154 | 2706614.4626 | 1279544.2271
78 | 2706564.7315 | 1279537.8426 | 2706550.0736 | 1279541.8178
79 | 2706573.7424 | 1279535.3989 | 2706564.7315 | 1279537.8426
80 | 2706550.0736 | 1279541.8178 | 2706545.1783 | 1279543.1454 | 2706542.6274 | 1279546.6803 | 2706542.9678 | 1279551.1238 | 2706545.3187 | 1279564.0557 | 2706544.5157 | 1279567.7445 | 2706542.2434 | 1279570.7446
81 | 2706573.7424 | 1279535.3989 | 2706569.6175 | 1279535.2282
82 | 2706573.7424 | 1279535.3989 | 2706577.5105 | 1279535.189 | 2706581.8816 | 1279533.6749
83 | 2706541.438 | 1279571.8079 | 2706542.2434 | 1279570.7446
84 | 2706569.6175 | 1279535.2282 | 2706561.8122 | 1279534.9051 | 2706536.5164 | 1279541.4038
85 | 2706581.8816 | 1279533.6749 | 2706582.6671 | 1279533.4028
86 | 2706582.6671 | 1279533.4028 | 2706595.071 | 1279527.322

## bus_geodata
| x | y | coords
0 | 2706675.7048 | 1279505.4062
1 | 2706684.7873 | 1279498.9955
2 | 2706666.392 | 1279511.7858
3 | 2706691.1633 | 1279494.4952
4 | 2706658.5688 | 1279498.9995
5 | 2706697.7022 | 1279489.8799
6 | 2706651.1073 | 1279503.5909
7 | 2706662.5803 | 1279492.5812
8 | 2706452.8047 | 1279382.2549
9 | 2706443.8466 | 1279387.7537
10 | 2706444.7364 | 1279373.406
11 | 2706467.5687 | 1279368.8909
12 | 2706626.8048 | 1279449.7919
13 | 2706619.8937 | 1279453.8596
14 | 2706638.3815 | 1279470.2892
15 | 2706646.1181 | 1279496.0578
16 | 2706629.7985 | 1279510.8977
17 | 2706543.8541 | 1279244.8529
18 | 2706538.5328 | 1279254.4877
19 | 2706496.1489 | 1279264.7741
20 | 2706486.9269 | 1279350.5422
21 | 2706483.0999 | 1279354.8326
22 | 2706499.7983 | 1279339.9656
23 | 2706474.891 | 1279446.5336
24 | 2706452.8911 | 1279457.7466
25 | 2706488.6704 | 1279440.4775
26 | 2706424.824 | 1279395.0433
27 | 2706522.107 | 1279343.46
28 | 2706509.9729 | 1279330.5292
29 | 2706535.701 | 1279333.4288
30 | 2706624.171 | 1279460.78
31 | 2706610.6928 | 1279439.0083
32 | 2706508.7003 | 1279428.7947
33 | 2706519.137 | 1279443.0816
34 | 2706511.4773 | 1279501.299
35 | 2706419.6499 | 1279353.3417
36 | 2706423.4593 | 1279350.0185
37 | 2706412.7285 | 1279359.0265
38 | 2706697.7249 | 1279489.8638
39 | 2706666.4062 | 1279484.8053
40 | 2706434.7357 | 1279362.4375
41 | 2706634.2726 | 1279477.124
42 | 2706625.6062 | 1279513.1273
43 | 2706536.2467 | 1279257.9162
44 | 2706467.8263 | 1279287.7632
45 | 2706585.0183 | 1279274.0377
46 | 2706560.7802 | 1279291.9877
47 | 2706676.2384 | 1279476.6714
48 | 2706515.7222 | 1279323.5455
49 | 2706629.4284 | 1279469.2862
50 | 2706752.9874 | 1279453.1746
51 | 2706742.2287 | 1279459.6331
52 | 2706420.2411 | 1279333.6432
53 | 2706480.6134 | 1279303.6527
54 | 2706621.981 | 1279514.9857
55 | 2706620.4823 | 1279504.3789
56 | 2706625.0961 | 1279521.3391
57 | 2706608.7879 | 1279521.0204
58 | 2706628.6501 | 1279528.5875
59 | 2706598.2521 | 1279525.8396
60 | 2706531.5268 | 1279262.4743
61 | 2706534.181 | 1279260.0507
62 | 2706547.8272 | 1279301.2707
63 | 2706542.3114 | 1279305.2144
64 | 2706534.1071 | 1279311.0802
65 | 2706704.4056 | 1279485.1484
66 | 2706705.4646 | 1279484.401
67 | 2706730.1447 | 1279467.3276
68 | 2706731.8257 | 1279466.1693
69 | 2706724.4271 | 1279471.2673
70 | 2706718.6859 | 1279475.2233
71 | 2706712.7984 | 1279479.2801
72 | 2706630.619 | 1279532.6032
73 | 2706634.4409 | 1279540.3983
74 | 2706635.3938 | 1279542.3417
75 | 2706617.5291 | 1279550.9154
76 | 2706603.1305 | 1279557.9145
77 | 2706614.4626 | 1279544.2271
78 | 2706564.7315 | 1279537.8426
79 | 2706550.0736 | 1279541.8178
80 | 2706573.7424 | 1279535.3989
81 | 2706542.2434 | 1279570.7446
82 | 2706569.6175 | 1279535.2282
83 | 2706581.8816 | 1279533.6749
84 | 2706541.438 | 1279571.8079
85 | 2706536.5164 | 1279541.4038
86 | 2706582.6671 | 1279533.4028
87 | 2706595.071 | 1279527.322
88 | 2706619.8937 | 1279453.8596

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1