## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_303-16_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_303-16_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_303-16_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_303-16_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_303-16_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_303-16_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_303-16_0_4_node_45 | 0.4 | n |  | TRUE
7 | bus_LV_303-16_0_4_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_303-16_0_4_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_303-16_0_4_node_47 | 0.4 | n |  | TRUE
10 | bus_LV_303-16_0_4_node_46 | 0.4 | n |  | TRUE
11 | bus_LV_303-16_0_4_node_43 | 0.4 | n |  | TRUE
12 | bus_LV_303-16_0_4_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_303-16_0_4_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_303-16_0_4_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_303-16_0_4_node_23 | 0.4 | n |  | TRUE
16 | bus_LV_303-16_0_4_node_38 | 0.4 | n |  | TRUE
17 | bus_LV_303-16_0_4_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_303-16_0_4_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_303-16_0_4_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_303-16_0_4_node_19 | 0.4 | n |  | TRUE
21 | bus_LV_303-16_0_4_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_303-16_0_4_node_67 | 0.4 | n |  | TRUE
23 | bus_LV_303-16_0_4_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_303-16_0_4_node_25 | 0.4 | n |  | TRUE
25 | bus_LV_303-16_0_4_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_303-16_0_4_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_303-16_0_4_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_303-16_0_4_node_69 | 0.4 | n |  | TRUE
29 | bus_LV_303-16_0_4_node_36 | 0.4 | n |  | TRUE
30 | bus_LV_303-16_0_4_node_68 | 0.4 | n |  | TRUE
31 | bus_LV_303-16_0_4_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_303-16_0_4_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_303-16_0_4_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_303-16_0_4_node_54 | 0.4 | n |  | TRUE
35 | bus_LV_303-16_0_4_node_55 | 0.4 | n |  | TRUE
36 | bus_LV_303-16_0_4_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_303-16_0_4_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_303-16_0_4_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_303-16_0_4_node_91 | 0.4 | n |  | TRUE
40 | bus_LV_303-16_0_4_node_88 | 0.4 | n |  | TRUE
41 | bus_LV_303-16_0_4_node_89 | 0.4 | n |  | TRUE
42 | bus_LV_303-16_0_4_node_30 | 0.4 | n |  | TRUE
43 | bus_LV_303-16_0_4_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_303-16_0_4_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_303-16_0_4_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_303-16_0_4_node_39 | 0.4 | n |  | TRUE
47 | bus_LV_303-16_0_4_node_34 | 0.4 | n |  | TRUE
48 | bus_LV_303-16_0_4_node_35 | 0.4 | n |  | TRUE
49 | bus_LV_303-16_0_4_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_303-16_0_4_node_44 | 0.4 | n |  | TRUE
51 | bus_LV_303-16_0_4_node_41 | 0.4 | n |  | TRUE
52 | bus_LV_303-16_0_4_node_42 | 0.4 | n |  | TRUE
53 | bus_LV_303-16_0_4_node_48 | 0.4 | n |  | TRUE
54 | bus_LV_303-16_0_4_node_49 | 0.4 | n |  | TRUE
55 | bus_LV_303-16_0_4_node_50 | 0.4 | n |  | TRUE
56 | bus_LV_303-16_0_4_node_51 | 0.4 | n |  | TRUE
57 | bus_LV_303-16_0_4_node_52 | 0.4 | n |  | TRUE
58 | bus_LV_303-16_0_4_node_53 | 0.4 | n |  | TRUE
59 | bus_LV_303-16_0_4_node_73 | 0.4 | n |  | TRUE
60 | bus_LV_303-16_0_4_node_56 | 0.4 | n |  | TRUE
61 | bus_LV_303-16_0_4_node_58 | 0.4 | n |  | TRUE
62 | bus_LV_303-16_0_4_node_72 | 0.4 | n |  | TRUE
63 | bus_LV_303-16_0_4_node_57 | 0.4 | n |  | TRUE
64 | bus_LV_303-16_0_4_node_59 | 0.4 | n |  | TRUE
65 | bus_LV_303-16_0_4_node_60 | 0.4 | n |  | TRUE
66 | bus_LV_303-16_0_4_node_61 | 0.4 | n |  | TRUE
67 | bus_LV_303-16_0_4_node_74 | 0.4 | n |  | TRUE
68 | bus_LV_303-16_0_4_node_96 | 0.4 | n |  | TRUE
69 | bus_LV_303-16_0_4_node_75 | 0.4 | n |  | TRUE
70 | bus_LV_303-16_0_4_node_97 | 0.4 | n |  | TRUE
71 | bus_LV_303-16_0_4_node_85 | 0.4 | n |  | TRUE
72 | bus_LV_303-16_0_4_node_94 | 0.4 | n |  | TRUE
73 | bus_LV_303-16_0_4_node_62 | 0.4 | n |  | TRUE
74 | bus_LV_303-16_0_4_node_63 | 0.4 | n |  | TRUE
75 | bus_LV_303-16_0_4_node_64 | 0.4 | n |  | TRUE
76 | bus_LV_303-16_0_4_node_65 | 0.4 | n |  | TRUE
77 | bus_LV_303-16_0_4_node_66 | 0.4 | n |  | TRUE
78 | bus_LV_303-16_0_4_node_103 | 0.4 | n |  | TRUE
79 | bus_LV_303-16_0_4_node_71 | 0.4 | n |  | TRUE
80 | bus_LV_303-16_0_4_node_102 | 0.4 | n |  | TRUE
81 | bus_LV_303-16_0_4_node_70 | 0.4 | n |  | TRUE
82 | bus_LV_303-16_0_4_node_76 | 0.4 | n |  | TRUE
83 | bus_LV_303-16_0_4_node_86 | 0.4 | n |  | TRUE
84 | bus_LV_303-16_0_4_node_87 | 0.4 | n |  | TRUE
85 | bus_LV_303-16_0_4_node_77 | 0.4 | n |  | TRUE
86 | bus_LV_303-16_0_4_node_78 | 0.4 | n |  | TRUE
87 | bus_LV_303-16_0_4_node_79 | 0.4 | n |  | TRUE
88 | bus_LV_303-16_0_4_node_80 | 0.4 | n |  | TRUE
89 | bus_LV_303-16_0_4_node_81 | 0.4 | n |  | TRUE
90 | bus_LV_303-16_0_4_node_82 | 0.4 | n |  | TRUE
91 | bus_LV_303-16_0_4_node_100 | 0.4 | n |  | TRUE
92 | bus_LV_303-16_0_4_node_101 | 0.4 | n |  | TRUE
93 | bus_LV_303-16_0_4_node_93 | 0.4 | n |  | TRUE
94 | bus_LV_303-16_0_4_node_90 | 0.4 | n |  | TRUE
95 | bus_LV_303-16_0_4_node_83 | 0.4 | n |  | TRUE
96 | bus_LV_303-16_0_4_node_84 | 0.4 | n |  | TRUE
97 | bus_LV_303-16_0_4_node_110 | 0.4 | n |  | TRUE
98 | bus_LV_303-16_0_4_node_109 | 0.4 | n |  | TRUE
99 | bus_LV_303-16_0_4_node_92 | 0.4 | n |  | TRUE
100 | bus_LV_303-16_0_4_node_98 | 0.4 | n |  | TRUE
101 | bus_LV_303-16_0_4_node_99 | 0.4 | n |  | TRUE
102 | bus_LV_303-16_0_4_node_104 | 0.4 | n |  | TRUE
103 | bus_LV_303-16_0_4_node_105 | 0.4 | n |  | TRUE
104 | bus_LV_303-16_0_4_node_106 | 0.4 | n |  | TRUE
105 | bus_LV_303-16_0_4_node_107 | 0.4 | n |  | TRUE
106 | bus_LV_303-16_0_4_node_108 | 0.4 | n |  | TRUE
107 | bus_MV_385_1_node_81 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_303-16_0_4_load_0 | 0 | 0.0026822 | 0.00067222 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_303-16_0_4_load_1 | 1 | 0.0021453 | 0.00053766 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_303-16_0_4_load_3 | 3 | 0.0022149 | 0.00055512 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_303-16_0_4_load_5 | 5 | 0.003867 | 0.00096916 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_303-16_0_4_load_45 | 6 | 0.002781 | 0.00069699 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_303-16_0_4_load_9 | 7 | 0.0053148 | 0.001332 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_303-16_0_4_load_6 | 8 | 0.0010948 | 0.00027438 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_303-16_0_4_load_47 | 9 | 0.0013965 | 0.00035 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_303-16_0_4_load_43 | 11 | 0.0019314 | 0.00048406 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_303-16_0_4_load_7 | 12 | 0.0016692 | 0.00041835 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_303-16_0_4_load_8 | 13 | 0.0015619 | 0.00039144 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_303-16_0_4_load_13 | 14 | 0.00067741 | 0.00016978 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_303-16_0_4_load_10 | 17 | 0.0035468 | 0.00088891 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_303-16_0_4_load_19 | 20 | 0.0019931 | 0.00049951 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_303-16_0_4_load_17 | 21 | 0.002804 | 0.00070275 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_303-16_0_4_load_67 | 22 | 0.0034956 | 0.00087608 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_303-16_0_4_load_25 | 24 | 0.0006719 | 0.00016839 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_303-16_0_4_load_14 | 26 | 0.010139 | 0.002541 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_303-16_0_4_load_69 | 28 | 0.00045653 | 0.00011442 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_303-16_0_4_load_68 | 30 | 0.0012385 | 0.0003104 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_303-16_0_4_load_20 | 31 | 0.0022121 | 0.00055441 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_303-16_0_4_load_21 | 32 | 0.00063493 | 0.00015913 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_303-16_0_4_load_24 | 33 | 0.001232 | 0.00030877 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_303-16_0_4_load_54 | 34 | 0.0011678 | 0.00029268 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_303-16_0_4_load_55 | 35 | 0.0017551 | 0.00043988 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_303-16_0_4_load_26 | 36 | 0.0050733 | 0.0012715 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_303-16_0_4_load_29 | 38 | 0.0016681 | 0.00041806 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_303-16_0_4_load_91 | 39 | 0.0019822 | 0.00049679 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_303-16_0_4_load_89 | 41 | 0.0019386 | 0.00048585 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_303-16_0_4_load_30 | 42 | 0.0020911 | 0.00052409 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_303-16_0_4_load_31 | 43 | 0.0023611 | 0.00059174 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_303-16_0_4_load_33 | 44 | 0.0023603 | 0.00059154 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_303-16_0_4_load_40 | 45 | 0.0043779 | 0.0010972 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_303-16_0_4_load_39 | 46 | 0.0014798 | 0.00037087 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_303-16_0_4_load_34 | 47 | 0.00097618 | 0.00024465 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_303-16_0_4_load_35 | 48 | 0.0021184 | 0.00053092 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_303-16_0_4_load_37 | 49 | 0.0028739 | 0.00072028 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_303-16_0_4_load_44 | 50 | 0.012842 | 0.0032186 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_303-16_0_4_load_41 | 51 | 0.0022731 | 0.0005697 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_303-16_0_4_load_42 | 52 | 0.0013599 | 0.00034081 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_303-16_0_4_load_48 | 53 | 0.0017628 | 0.0004418 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_303-16_0_4_load_49 | 54 | 0.004513 | 0.0011311 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_303-16_0_4_load_51 | 56 | 0.0083266 | 0.0020868 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_303-16_0_4_load_52 | 57 | 0.0019748 | 0.00049494 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_303-16_0_4_load_53 | 58 | 0.0042125 | 0.0010558 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_303-16_0_4_load_73 | 59 | 0.0026712 | 0.00066946 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_303-16_0_4_load_56 | 60 | 0.0023727 | 0.00059465 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_303-16_0_4_load_58 | 61 | 0.0012627 | 0.00031647 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_303-16_0_4_load_72 | 62 | 0.0033049 | 0.00082829 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_303-16_0_4_load_57 | 63 | 0.0023666 | 0.00059314 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_303-16_0_4_load_60 | 65 | 0.0017627 | 0.00044178 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_303-16_0_4_load_61 | 66 | 0.0017631 | 0.00044189 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_303-16_0_4_load_74 | 67 | 0.0019689 | 0.00049345 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_303-16_0_4_load_75 | 69 | 0.0023059 | 0.00057792 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_303-16_0_4_load_97 | 70 | 0.0012652 | 0.00031708 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_303-16_0_4_load_94 | 72 | 0.0028153 | 0.00070559 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_303-16_0_4_load_62 | 73 | 0.0034207 | 0.0008573 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_303-16_0_4_load_63 | 74 | 0.0015467 | 0.00038763 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_303-16_0_4_load_64 | 75 | 0.0022206 | 0.00055653 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_303-16_0_4_load_65 | 76 | 0.0020102 | 0.00050381 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_303-16_0_4_load_66 | 77 | 0.0015467 | 0.00038763 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_303-16_0_4_load_103 | 78 | 0.0014007 | 0.00035105 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_303-16_0_4_load_71 | 79 | 0.0030337 | 0.00076032 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_303-16_0_4_load_102 | 80 | 0.0017744 | 0.0004447 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_303-16_0_4_load_70 | 81 | 0.0035561 | 0.00089125 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_303-16_0_4_load_76 | 82 | 0.0016 | 0.00040099 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_303-16_0_4_load_86 | 83 | 0.0009063 | 0.00022714 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_303-16_0_4_load_87 | 84 | 0.0010608 | 0.00026586 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_303-16_0_4_load_77 | 85 | 0.0016959 | 0.00042503 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_303-16_0_4_load_78 | 86 | 0.00080687 | 0.00020222 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_303-16_0_4_load_79 | 87 | 0.0027143 | 0.00068027 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_303-16_0_4_load_82 | 90 | 0.0027891 | 0.00069902 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_303-16_0_4_load_100 | 91 | 0.0014348 | 0.00035961 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_303-16_0_4_load_101 | 92 | 0.0016775 | 0.00042043 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_303-16_0_4_load_93 | 93 | 0.0026237 | 0.00065757 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_303-16_0_4_load_83 | 95 | 0.0033105 | 0.00082969 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_303-16_0_4_load_84 | 96 | 0.0011787 | 0.00029541 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_303-16_0_4_load_110 | 97 | 0.0019327 | 0.00048438 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_303-16_0_4_load_109 | 98 | 0.0011506 | 0.00028836 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_303-16_0_4_load_92 | 99 | 0.0026506 | 0.00066431 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_303-16_0_4_load_98 | 100 | 0.0020232 | 0.00050706 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_303-16_0_4_load_99 | 101 | 0.0023318 | 0.00058442 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_303-16_0_4_load_104 | 102 | 0.0018585 | 0.00046579 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_303-16_0_4_load_105 | 103 | 0.0027948 | 0.00070045 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_303-16_0_4_load_106 | 104 | 0.001362 | 0.00034136 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_303-16_0_4_load_107 | 105 | 0.0020601 | 0.00051631 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_303-16_0_4_load_108 | 106 | 0.0013166 | 0.00032998 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 60 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_303-16_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.021336 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_303-16_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.016001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_303-16_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.050266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_303-16_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.040483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_303-16_0_4_line_4 | NAYY 4x150 SE | 2 | 5 | 0.013645 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_303-16_0_4_line_5 | NAYY 4x150 SE | 3 | 6 | 0.032602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_303-16_0_4_line_6 | NAYY 4x150 SE | 4 | 7 | 0.014572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_303-16_0_4_line_7 | NAYY 4x150 SE | 4 | 8 | 0.024957 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_303-16_0_4_line_8 | NAYY 4x150 SE | 5 | 9 | 0.00052164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_303-16_0_4_line_9 | NAYY 4x150 SE | 6 | 10 | 0.018875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_303-16_0_4_line_10 | NAYY 4x150 SE | 7 | 11 | 0.033972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_303-16_0_4_line_11 | NAYY 4x150 SE | 8 | 12 | 0.016775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_303-16_0_4_line_12 | NAYY 4x150 SE | 10 | 52 | 0.041792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_303-16_0_4_line_13 | NAYY 4x150 SE | 11 | 16 | 0.050224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_303-16_0_4_line_14 | NAYY 4x150 SE | 12 | 13 | 0.025684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_303-16_0_4_line_15 | NAYY 4x150 SE | 13 | 14 | 0.021669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
16 | LV_303-16_0_4_line_16 | NAYY 4x150 SE | 14 | 15 | 0.033758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_303-16_0_4_line_17 | NAYY 4x150 SE | 15 | 24 | 0.040605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
18 | LV_303-16_0_4_line_18 | NAYY 4x150 SE | 15 | 25 | 0.012109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_303-16_0_4_line_19 | NAYY 4x150 SE | 16 | 29 | 0.088719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_303-16_0_4_line_20 | NAYY 4x150 SE | 16 | 27 | 0.022187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_303-16_0_4_line_21 | NAYY 4x150 SE | 17 | 18 | 0.01496 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_303-16_0_4_line_22 | NAYY 4x150 SE | 18 | 19 | 0.017858 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_303-16_0_4_line_23 | NAYY 4x150 SE | 19 | 20 | 0.014705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_303-16_0_4_line_24 | NAYY 4x150 SE | 19 | 21 | 0.0088024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_303-16_0_4_line_25 | NAYY 4x150 SE | 20 | 22 | 0.020408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_303-16_0_4_line_26 | NAYY 4x150 SE | 21 | 23 | 0.025757 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_303-16_0_4_line_27 | NAYY 4x150 SE | 23 | 27 | 0.068932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_303-16_0_4_line_28 | NAYY 4x150 SE | 23 | 26 | 0.037348 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_303-16_0_4_line_29 | NAYY 4x150 SE | 24 | 34 | 0.0039304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
30 | LV_303-16_0_4_line_30 | NAYY 4x150 SE | 25 | 33 | 0.011991 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_303-16_0_4_line_31 | NAYY 4x150 SE | 25 | 31 | 0.0092486 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_303-16_0_4_line_32 | NAYY 4x150 SE | 27 | 28 | 0.048802 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_303-16_0_4_line_33 | NAYY 4x150 SE | 28 | 30 | 0.037392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_303-16_0_4_line_34 | NAYY 4x150 SE | 29 | 47 | 0.036515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_303-16_0_4_line_35 | NAYY 4x150 SE | 30 | 81 | 0.055478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_303-16_0_4_line_36 | NAYY 4x150 SE | 31 | 32 | 0.0052297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_303-16_0_4_line_37 | NAYY 4x150 SE | 34 | 35 | 0.026161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
38 | LV_303-16_0_4_line_38 | NAYY 4x150 SE | 35 | 60 | 0.02367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
39 | LV_303-16_0_4_line_39 | NAYY 4x150 SE | 36 | 37 | 0.040517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_303-16_0_4_line_40 | NAYY 4x150 SE | 37 | 38 | 0.062828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_303-16_0_4_line_41 | NAYY 4x150 SE | 38 | 40 | 0.01652 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_303-16_0_4_line_42 | NAYY 4x150 SE | 39 | 40 | 0.036074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_303-16_0_4_line_43 | NAYY 4x150 SE | 39 | 41 | 0.029061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_303-16_0_4_line_44 | NAYY 4x150 SE | 41 | 94 | 0.050962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_303-16_0_4_line_45 | NAYY 4x150 SE | 42 | 43 | 0.012966 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_303-16_0_4_line_46 | NAYY 4x150 SE | 43 | 44 | 0.0059715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_303-16_0_4_line_47 | NAYY 4x150 SE | 44 | 45 | 0.020038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_303-16_0_4_line_48 | NAYY 4x150 SE | 45 | 46 | 0.0068413 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_303-16_0_4_line_49 | NAYY 4x150 SE | 46 | 51 | 0.014017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_303-16_0_4_line_50 | NAYY 4x150 SE | 47 | 48 | 0.012088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_303-16_0_4_line_51 | NAYY 4x150 SE | 48 | 49 | 0.014525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_303-16_0_4_line_52 | NAYY 4x150 SE | 49 | 50 | 0.018772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_303-16_0_4_line_53 | NAYY 4x150 SE | 51 | 52 | 0.0054373 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_303-16_0_4_line_54 | NAYY 4x150 SE | 53 | 54 | 0.010248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_303-16_0_4_line_55 | NAYY 4x150 SE | 53 | 55 | 0.027727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_303-16_0_4_line_56 | NAYY 4x150 SE | 54 | 56 | 0.030724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_303-16_0_4_line_57 | NAYY 4x150 SE | 55 | 57 | 0.0063765 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
58 | LV_303-16_0_4_line_58 | NAYY 4x150 SE | 55 | 58 | 0.033783 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_303-16_0_4_line_59 | NAYY 4x150 SE | 56 | 59 | 0.010407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_303-16_0_4_line_60 | NAYY 4x150 SE | 57 | 60 | 0.027888 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
61 | LV_303-16_0_4_line_61 | NAYY 4x150 SE | 58 | 61 | 0.012495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_303-16_0_4_line_62 | NAYY 4x150 SE | 59 | 62 | 0.005976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_303-16_0_4_line_63 | NAYY 4x150 SE | 61 | 63 | 0.02849 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_303-16_0_4_line_64 | NAYY 4x150 SE | 62 | 79 | 0.0069275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_303-16_0_4_line_65 | NAYY 4x150 SE | 63 | 64 | 0.043927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_303-16_0_4_line_66 | NAYY 4x150 SE | 64 | 65 | 0.015781 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_303-16_0_4_line_67 | NAYY 4x150 SE | 64 | 66 | 0.04387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_303-16_0_4_line_68 | NAYY 4x150 SE | 65 | 67 | 0.011343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_303-16_0_4_line_69 | NAYY 4x150 SE | 66 | 68 | 0.016705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_303-16_0_4_line_70 | NAYY 4x150 SE | 67 | 69 | 0.021755 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_303-16_0_4_line_71 | NAYY 4x150 SE | 68 | 70 | 0.072161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_303-16_0_4_line_72 | NAYY 4x150 SE | 68 | 71 | 0.005585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_303-16_0_4_line_73 | NAYY 4x150 SE | 68 | 72 | 0.094972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_303-16_0_4_line_74 | NAYY 4x150 SE | 69 | 82 | 0.0046557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_303-16_0_4_line_75 | NAYY 4x150 SE | 71 | 96 | 0.018563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_303-16_0_4_line_76 | NAYY 4x150 SE | 73 | 74 | 0.0085989 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_303-16_0_4_line_77 | NAYY 4x150 SE | 73 | 75 | 0.0034864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_303-16_0_4_line_78 | NAYY 4x150 SE | 74 | 76 | 0.0065622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_303-16_0_4_line_79 | NAYY 4x150 SE | 75 | 77 | 0.0048268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_303-16_0_4_line_80 | NAYY 4x150 SE | 76 | 78 | 0.017318 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_303-16_0_4_line_81 | NAYY 4x150 SE | 77 | 79 | 0.01903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_303-16_0_4_line_82 | NAYY 4x150 SE | 78 | 80 | 0.00094427 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_303-16_0_4_line_83 | NAYY 4x150 SE | 80 | 92 | 0.016415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_303-16_0_4_line_84 | NAYY 4x150 SE | 82 | 83 | 0.0077506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_303-16_0_4_line_85 | NAYY 4x150 SE | 83 | 84 | 0.018016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_303-16_0_4_line_86 | NAYY 4x150 SE | 84 | 97 | 0.0057934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_303-16_0_4_line_87 | NAYY 4x150 SE | 85 | 86 | 0.01185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_303-16_0_4_line_88 | NAYY 4x150 SE | 86 | 87 | 0.012994 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_303-16_0_4_line_89 | NAYY 4x150 SE | 87 | 88 | 0.022865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_303-16_0_4_line_90 | NAYY 4x150 SE | 88 | 89 | 0.03297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_303-16_0_4_line_91 | NAYY 4x150 SE | 88 | 90 | 0.056902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_303-16_0_4_line_92 | NAYY 4x150 SE | 89 | 91 | 0.0056718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_303-16_0_4_line_93 | NAYY 4x150 SE | 91 | 92 | 0.0071345 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_303-16_0_4_line_94 | NAYY 4x150 SE | 93 | 94 | 0.017355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_303-16_0_4_line_95 | NAYY 4x150 SE | 94 | 99 | 0.009602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_303-16_0_4_line_96 | NAYY 4x150 SE | 95 | 96 | 0.028729 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_303-16_0_4_line_97 | NAYY 4x150 SE | 97 | 98 | 0.0012253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_303-16_0_4_line_98 | NAYY 4x150 SE | 98 | 106 | 0.019548 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_303-16_0_4_line_99 | NAYY 4x150 SE | 99 | 100 | 0.039794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_303-16_0_4_line_100 | NAYY 4x150 SE | 100 | 101 | 0.010139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_303-16_0_4_line_101 | NAYY 4x150 SE | 101 | 102 | 0.018875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_303-16_0_4_line_102 | NAYY 4x150 SE | 102 | 103 | 0.0024805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_303-16_0_4_line_103 | NAYY 4x150 SE | 103 | 104 | 0.02367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_303-16_0_4_line_104 | NAYY 4x150 SE | 104 | 105 | 0.0031306 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
105 | LV_303-16_0_4_line_105 | NAYY 4x150 SE | 105 | 106 | 0.0037982 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_303-16_0_4_trafo_56 | 0.25 MVA 20/0.4 kV | 107 | 60 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2592589.8774 | 1213153.3386 | 2592604.9483 | 1213154.497 | 2592610.4976 | 1213157.308
1 | 2592573.9239 | 1213152.1124 | 2592589.8774 | 1213153.3386
2 | 2592643.8353 | 1213194.5383 | 2592642.771 | 1213193.5049 | 2592628.774 | 1213176.9353 | 2592620.6266 | 1213167.0844 | 2592613.9246 | 1213159.0439 | 2592610.4976 | 1213157.308
3 | 2592573.9239 | 1213152.1124 | 2592563.0127 | 1213113.1266
4 | 2592573.9239 | 1213152.1124 | 2592572.4331 | 1213165.6756
5 | 2592643.8353 | 1213194.5383 | 2592659.6616 | 1213209.9042 | 2592668.47 | 1213215.6985
6 | 2592563.0127 | 1213113.1266 | 2592556.8789 | 1213104.0514 | 2592554.0212 | 1213101.8312
7 | 2592563.0127 | 1213113.1266 | 2592583.4419 | 1213104.118 | 2592585.9045 | 1213103.1955
8 | 2592572.3761 | 1213166.1942 | 2592572.4331 | 1213165.6756
9 | 2592684.2388 | 1213226.0716 | 2592668.47 | 1213215.6985
10 | 2592525.2765 | 1213084.2845 | 2592530.384 | 1213085.708 | 2592542.4782 | 1213092.8633 | 2592554.0212 | 1213101.8312
11 | 2592585.9045 | 1213103.1955 | 2592601.6138 | 1213097.3104
12 | 2592684.2388 | 1213226.0716 | 2592692.0866 | 1213208.8078 | 2592700.9544 | 1213187.7719
13 | 2592476.5043 | 1213072.3356 | 2592511.9194 | 1213080.5618 | 2592525.2765 | 1213084.2845
14 | 2592624.7103 | 1213086.375 | 2592615.808 | 1213091.9929 | 2592601.6138 | 1213097.3104
15 | 2592624.7103 | 1213086.375 | 2592626.5933 | 1213085.1867 | 2592635.2883 | 1213077.2491 | 2592639.7676 | 1213071.0242
16 | 2592659.485 | 1213043.6224 | 2592639.7676 | 1213071.0242
17 | 2592659.485 | 1213043.6224 | 2592677.2528 | 1213019.8092 | 2592683.5501 | 1213010.9203
18 | 2592659.485 | 1213043.6224 | 2592648.0026 | 1213039.6789
19 | 2592501.0599 | 1212987.0788 | 2592476.5043 | 1213072.3356
20 | 2592454.5399 | 1213068.7839 | 2592476.5043 | 1213072.3356
21 | 2592368.9041 | 1213092.9186 | 2592354.8451 | 1213087.8043
22 | 2592368.9041 | 1213092.9186 | 2592375.8635 | 1213076.467
23 | 2592375.8635 | 1213076.467 | 2592384.3215 | 1213088.4959
24 | 2592375.8635 | 1213076.467 | 2592379.4071 | 1213068.4094
25 | 2592396.0601 | 1213105.1904 | 2592384.3215 | 1213088.4959
26 | 2592389.7764 | 1213044.8314 | 2592379.4071 | 1213068.4094
27 | 2592454.5399 | 1213068.7839 | 2592420.9518 | 1213057.8541 | 2592389.7764 | 1213044.8314
28 | 2592389.7764 | 1213044.8314 | 2592368.005 | 1213032.0301 | 2592357.0374 | 1213026.938
29 | 2592685.8221 | 1213007.7131 | 2592683.5501 | 1213010.9203
30 | 2592653.0409 | 1213029.2446 | 2592648.3621 | 1213035.5428 | 2592648.0026 | 1213039.6789
31 | 2592648.0026 | 1213039.6789 | 2592641.8876 | 1213039.4753 | 2592639.0475 | 1213038.1593
32 | 2592454.5399 | 1213068.7839 | 2592444.5717 | 1213108.4522 | 2592441.6514 | 1213115.7931
33 | 2592420.8591 | 1213145.2801 | 2592425.8507 | 1213140.294 | 2592434.1382 | 1213134.6802 | 2592441.6514 | 1213115.7931
34 | 2592501.0599 | 1212987.0788 | 2592536.1703 | 1212997.1074
35 | 2592423.2571 | 1213184.9779 | 2592409.3956 | 1213179.715 | 2592405.3185 | 1213175.2511 | 2592406.5323 | 1213168.1344 | 2592413.6371 | 1213152.4943 | 2592420.8591 | 1213145.2801
36 | 2592634.3024 | 1213035.9606 | 2592639.0475 | 1213038.1593
37 | 2592685.8221 | 1213007.7131 | 2592700.9449 | 1212986.3665
38 | 2592700.9449 | 1212986.3665 | 2592714.6276 | 1212967.0524
39 | 2593064.1063 | 1212784.5433 | 2593099.777 | 1212765.3277
40 | 2593064.1063 | 1212784.5433 | 2593039.6856 | 1212798.6578 | 2593027.6135 | 1212810.1451 | 2593022.3856 | 1212815.1208 | 2593017.6981 | 1212824.7848
41 | 2593010.4885 | 1212839.6486 | 2593017.6981 | 1212824.7848
42 | 2592975.5655 | 1212830.6072 | 2593010.4885 | 1212839.6486
43 | 2592975.5655 | 1212830.6072 | 2592973.7413 | 1212836.0902 | 2592970.4779 | 1212838.54 | 2592965.7888 | 1212836.7112 | 2592953.0403 | 1212830.5277
44 | 2592907.1876 | 1212808.2877 | 2592953.0403 | 1212830.5277
45 | 2592756.5556 | 1213166.6417 | 2592743.6464 | 1213165.4309
46 | 2592743.6464 | 1213165.4309 | 2592743.6464 | 1213165.4309 | 2592737.7163 | 1213166.1325
47 | 2592717.8168 | 1213168.4867 | 2592737.7163 | 1213166.1325
48 | 2592711.9819 | 1213172.0584 | 2592717.8168 | 1213168.4867 | 2592717.8168 | 1213168.4867
49 | 2592711.9819 | 1213172.0584 | 2592709.9914 | 1213173.2768 | 2592703.5257 | 1213183.0082
50 | 2592536.1703 | 1212997.1074 | 2592539.2286 | 1212997.981 | 2592545.1486 | 1213000.0858 | 2592546.4125 | 1213002.3855 | 2592546.4125 | 1213002.3855
51 | 2592549.8479 | 1213016.2204 | 2592548.9477 | 1213012.9882 | 2592546.0442 | 1213005.5322 | 2592546.4125 | 1213002.3855
52 | 2592554.8843 | 1213034.3038 | 2592549.8479 | 1213016.2204
53 | 2592703.5257 | 1213183.0082 | 2592701.9852 | 1213185.3268 | 2592700.9544 | 1213187.7719
54 | 2592755.4767 | 1212921.0911 | 2592763.9092 | 1212915.2674
55 | 2592734.4348 | 1212939.0933 | 2592751.0747 | 1212924.1312 | 2592755.4767 | 1212921.0911
56 | 2592763.9092 | 1212915.2674 | 2592767.6203 | 1212912.7045 | 2592792.2598 | 1212903.7569
57 | 2592734.4348 | 1212939.0933 | 2592730.7488 | 1212944.2964
58 | 2592734.4348 | 1212939.0933 | 2592730.5363 | 1212905.5359
59 | 2592802.0419 | 1212900.2046 | 2592792.2598 | 1212903.7569
60 | 2592730.7488 | 1212944.2964 | 2592714.6276 | 1212967.0524
61 | 2592730.5363 | 1212905.5359 | 2592729.6671 | 1212898.054 | 2592727.4716 | 1212893.6035
62 | 2592802.0419 | 1212900.2046 | 2592805.2804 | 1212899.0285 | 2592807.6806 | 1212898.2267
63 | 2592714.868 | 1212868.053 | 2592720.4755 | 1212879.4216 | 2592727.4716 | 1212893.6035
64 | 2592814.2512 | 1212896.0317 | 2592807.6806 | 1212898.2267
65 | 2592695.4364 | 1212828.6575 | 2592714.868 | 1212868.053
66 | 2592695.4364 | 1212828.6575 | 2592710.6165 | 1212824.345
67 | 2592695.4364 | 1212828.6575 | 2592687.9476 | 1212798.9279 | 2592687.9983 | 1212785.7161
68 | 2592721.5281 | 1212821.2452 | 2592710.6165 | 1212824.345
69 | 2592688.0624 | 1212769.011 | 2592687.9983 | 1212785.7161
70 | 2592721.5281 | 1212821.2452 | 2592728.2559 | 1212819.3339 | 2592742.8037 | 1212816.8317
71 | 2592688.0624 | 1212769.011 | 2592685.6419 | 1212765.0896 | 2592684.7024 | 1212760.8884 | 2592685.4817 | 1212733.8723 | 2592687.4727 | 1212697.7163
72 | 2592688.0624 | 1212769.011 | 2592693.5456 | 1212767.8702
73 | 2592688.0624 | 1212769.011 | 2592693.3009 | 1212723.7125 | 2592701.2729 | 1212683.5024 | 2592705.4031 | 1212676.2117
74 | 2592747.392 | 1212816.0425 | 2592742.8037 | 1212816.8317
75 | 2592693.5456 | 1212767.8702 | 2592711.7195 | 1212764.088
76 | 2592840.1852 | 1212887.368 | 2592848.341 | 1212884.6434
77 | 2592840.1852 | 1212887.368 | 2592836.8784 | 1212888.4727
78 | 2592848.341 | 1212884.6434 | 2592854.5651 | 1212882.5641
79 | 2592832.3003 | 1212890.0021 | 2592836.8784 | 1212888.4727
80 | 2592870.9904 | 1212877.077 | 2592854.5651 | 1212882.5641
81 | 2592814.2512 | 1212896.0317 | 2592832.3003 | 1212890.0021
82 | 2592870.9904 | 1212877.077 | 2592871.886 | 1212876.7778
83 | 2592887.4555 | 1212871.5766 | 2592871.886 | 1212876.7778
84 | 2592747.392 | 1212816.0425 | 2592755.0305 | 1212814.7286
85 | 2592772.7855 | 1212811.6747 | 2592755.0305 | 1212814.7286
86 | 2592778.4951 | 1212810.6926 | 2592772.7855 | 1212811.6747
87 | 2592935.7913 | 1212905.8375 | 2592924.0782 | 1212904.0439
88 | 2592911.2339 | 1212902.0771 | 2592924.0782 | 1212904.0439
89 | 2592888.6325 | 1212898.6161 | 2592911.2339 | 1212902.0771
90 | 2592888.6325 | 1212898.6161 | 2592899.6019 | 1212867.5188
91 | 2592888.6325 | 1212898.6161 | 2592866.5403 | 1212951.0547
92 | 2592899.6019 | 1212867.5188 | 2592894.2224 | 1212869.316
93 | 2592894.2224 | 1212869.316 | 2592887.4555 | 1212871.5766
94 | 2592907.1876 | 1212808.2877 | 2592908.4227 | 1212825.5991
95 | 2592907.1876 | 1212808.2877 | 2592898.4194 | 1212804.3741
96 | 2592739.8976 | 1212758.4924 | 2592717.5134 | 1212762.8823 | 2592711.7195 | 1212764.088
97 | 2592778.4951 | 1212810.6926 | 2592779.7027 | 1212810.4849
98 | 2592798.9298 | 1212806.9637 | 2592789.0587 | 1212808.8757 | 2592779.7027 | 1212810.4849
99 | 2592898.4194 | 1212804.3741 | 2592883.2161 | 1212797.5884 | 2592860.0739 | 1212797.2375
100 | 2592860.0739 | 1212797.2375 | 2592849.9361 | 1212797.0839
101 | 2592849.9361 | 1212797.0839 | 2592849.9361 | 1212797.0839 | 2592831.4051 | 1212800.6733
102 | 2592831.4051 | 1212800.6733 | 2592828.9699 | 1212801.145
103 | 2592828.9699 | 1212801.145 | 2592805.7322 | 1212805.6461
104 | 2592802.6587 | 1212806.2414 | 2592805.7322 | 1212805.6461
105 | 2592802.6587 | 1212806.2414 | 2592798.9298 | 1212806.9637

## bus_geodata
| x | y | coords
0 | 2592589.8774 | 1213153.3386
1 | 2592610.4976 | 1213157.308
2 | 2592573.9239 | 1213152.1124
3 | 2592643.8353 | 1213194.5383
4 | 2592563.0127 | 1213113.1266
5 | 2592572.4331 | 1213165.6756
6 | 2592668.47 | 1213215.6985
7 | 2592554.0212 | 1213101.8312
8 | 2592585.9045 | 1213103.1955
9 | 2592572.3761 | 1213166.1942
10 | 2592684.2388 | 1213226.0716
11 | 2592525.2765 | 1213084.2845
12 | 2592601.6138 | 1213097.3104
13 | 2592624.7103 | 1213086.375
14 | 2592639.7676 | 1213071.0242
15 | 2592659.485 | 1213043.6224
16 | 2592476.5043 | 1213072.3356
17 | 2592354.8451 | 1213087.8043
18 | 2592368.9041 | 1213092.9186
19 | 2592375.8635 | 1213076.467
20 | 2592384.3215 | 1213088.4959
21 | 2592379.4071 | 1213068.4094
22 | 2592396.0601 | 1213105.1904
23 | 2592389.7764 | 1213044.8314
24 | 2592683.5501 | 1213010.9203
25 | 2592648.0026 | 1213039.6789
26 | 2592357.0374 | 1213026.938
27 | 2592454.5399 | 1213068.7839
28 | 2592441.6514 | 1213115.7931
29 | 2592501.0599 | 1212987.0788
30 | 2592420.8591 | 1213145.2801
31 | 2592639.0475 | 1213038.1593
32 | 2592634.3024 | 1213035.9606
33 | 2592653.0409 | 1213029.2446
34 | 2592685.8222 | 1213007.7131
35 | 2592700.9449 | 1212986.3665
36 | 2593099.777 | 1212765.3276
37 | 2593064.1063 | 1212784.5433
38 | 2593017.6981 | 1212824.7848
39 | 2592975.5655 | 1212830.6072
40 | 2593010.4885 | 1212839.6486
41 | 2592953.0403 | 1212830.5278
42 | 2592756.5556 | 1213166.6417
43 | 2592743.6464 | 1213165.4309
44 | 2592737.7163 | 1213166.1325
45 | 2592717.8168 | 1213168.4867
46 | 2592711.9819 | 1213172.0584
47 | 2592536.1703 | 1212997.1074
48 | 2592546.4124 | 1213002.3855
49 | 2592549.8479 | 1213016.2204
50 | 2592554.8843 | 1213034.3038
51 | 2592703.5257 | 1213183.0082
52 | 2592700.9544 | 1213187.7719
53 | 2592755.4767 | 1212921.0911
54 | 2592763.9092 | 1212915.2674
55 | 2592734.4348 | 1212939.0933
56 | 2592792.2598 | 1212903.7569
57 | 2592730.7488 | 1212944.2964
58 | 2592730.5363 | 1212905.5359
59 | 2592802.0419 | 1212900.2046
60 | 2592714.6276 | 1212967.0524
61 | 2592727.4716 | 1212893.6035
62 | 2592807.6806 | 1212898.2267
63 | 2592714.868 | 1212868.053
64 | 2592695.4364 | 1212828.6575
65 | 2592710.6165 | 1212824.345
66 | 2592687.9983 | 1212785.7161
67 | 2592721.5281 | 1212821.2452
68 | 2592688.0624 | 1212769.011
69 | 2592742.8037 | 1212816.8317
70 | 2592687.4727 | 1212697.7163
71 | 2592693.5456 | 1212767.8702
72 | 2592705.4031 | 1212676.2117
73 | 2592840.1852 | 1212887.368
74 | 2592848.341 | 1212884.6434
75 | 2592836.8784 | 1212888.4727
76 | 2592854.5651 | 1212882.5641
77 | 2592832.3003 | 1212890.0021
78 | 2592870.9904 | 1212877.077
79 | 2592814.2512 | 1212896.0317
80 | 2592871.886 | 1212876.7778
81 | 2592423.2571 | 1213184.9779
82 | 2592747.392 | 1212816.0425
83 | 2592755.0305 | 1212814.7286
84 | 2592772.7855 | 1212811.6747
85 | 2592935.7913 | 1212905.8375
86 | 2592924.0782 | 1212904.0439
87 | 2592911.2339 | 1212902.0771
88 | 2592888.6325 | 1212898.6161
89 | 2592899.6019 | 1212867.5188
90 | 2592866.5403 | 1212951.0547
91 | 2592894.2224 | 1212869.316
92 | 2592887.4555 | 1212871.5766
93 | 2592908.4227 | 1212825.5991
94 | 2592907.1876 | 1212808.2877
95 | 2592739.8976 | 1212758.4924
96 | 2592711.7195 | 1212764.088
97 | 2592778.4951 | 1212810.6926
98 | 2592779.7027 | 1212810.4849
99 | 2592898.4194 | 1212804.3741
100 | 2592860.0739 | 1212797.2375
101 | 2592849.9361 | 1212797.0839
102 | 2592831.4051 | 1212800.6733
103 | 2592828.9699 | 1212801.145
104 | 2592805.7322 | 1212805.6461
105 | 2592802.6587 | 1212806.2414
106 | 2592798.9298 | 1212806.9637
107 | 2592734.4348 | 1212939.0933

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1