## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_303-7_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_303-7_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_303-7_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_303-7_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_303-7_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_303-7_0_4_node_74 | 0.4 | n |  | TRUE
6 | bus_LV_303-7_0_4_node_73 | 0.4 | n |  | TRUE
7 | bus_LV_303-7_0_4_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_303-7_0_4_node_22 | 0.4 | n |  | TRUE
9 | bus_LV_303-7_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_303-7_0_4_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_303-7_0_4_node_72 | 0.4 | n |  | TRUE
12 | bus_LV_303-7_0_4_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_303-7_0_4_node_21 | 0.4 | n |  | TRUE
14 | bus_LV_303-7_0_4_node_69 | 0.4 | n |  | TRUE
15 | bus_LV_303-7_0_4_node_68 | 0.4 | n |  | TRUE
16 | bus_LV_303-7_0_4_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_303-7_0_4_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_303-7_0_4_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_303-7_0_4_node_67 | 0.4 | n |  | TRUE
20 | bus_LV_303-7_0_4_node_60 | 0.4 | n |  | TRUE
21 | bus_LV_303-7_0_4_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_303-7_0_4_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_303-7_0_4_node_41 | 0.4 | n |  | TRUE
24 | bus_LV_303-7_0_4_node_42 | 0.4 | n |  | TRUE
25 | bus_LV_303-7_0_4_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_303-7_0_4_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_303-7_0_4_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_303-7_0_4_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_303-7_0_4_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_303-7_0_4_node_27 | 0.4 | n |  | TRUE
31 | bus_LV_303-7_0_4_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_303-7_0_4_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_303-7_0_4_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_303-7_0_4_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_303-7_0_4_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_303-7_0_4_node_49 | 0.4 | n |  | TRUE
37 | bus_LV_303-7_0_4_node_57 | 0.4 | n |  | TRUE
38 | bus_LV_303-7_0_4_node_50 | 0.4 | n |  | TRUE
39 | bus_LV_303-7_0_4_node_59 | 0.4 | n |  | TRUE
40 | bus_LV_303-7_0_4_node_37 | 0.4 | n |  | TRUE
41 | bus_LV_303-7_0_4_node_55 | 0.4 | n |  | TRUE
42 | bus_LV_303-7_0_4_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_303-7_0_4_node_30 | 0.4 | n |  | TRUE
44 | bus_LV_303-7_0_4_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_303-7_0_4_node_53 | 0.4 | n |  | TRUE
46 | bus_LV_303-7_0_4_node_51 | 0.4 | n |  | TRUE
47 | bus_LV_303-7_0_4_node_33 | 0.4 | n |  | TRUE
48 | bus_LV_303-7_0_4_node_34 | 0.4 | n |  | TRUE
49 | bus_LV_303-7_0_4_node_35 | 0.4 | n |  | TRUE
50 | bus_LV_303-7_0_4_node_36 | 0.4 | n |  | TRUE
51 | bus_LV_303-7_0_4_node_47 | 0.4 | n |  | TRUE
52 | bus_LV_303-7_0_4_node_38 | 0.4 | n |  | TRUE
53 | bus_LV_303-7_0_4_node_39 | 0.4 | n |  | TRUE
54 | bus_LV_303-7_0_4_node_40 | 0.4 | n |  | TRUE
55 | bus_LV_303-7_0_4_node_64 | 0.4 | n |  | TRUE
56 | bus_LV_303-7_0_4_node_54 | 0.4 | n |  | TRUE
57 | bus_LV_303-7_0_4_node_65 | 0.4 | n |  | TRUE
58 | bus_LV_303-7_0_4_node_44 | 0.4 | n |  | TRUE
59 | bus_LV_303-7_0_4_node_70 | 0.4 | n |  | TRUE
60 | bus_LV_303-7_0_4_node_46 | 0.4 | n |  | TRUE
61 | bus_LV_303-7_0_4_node_43 | 0.4 | n |  | TRUE
62 | bus_LV_303-7_0_4_node_45 | 0.4 | n |  | TRUE
63 | bus_LV_303-7_0_4_node_58 | 0.4 | n |  | TRUE
64 | bus_LV_303-7_0_4_node_56 | 0.4 | n |  | TRUE
65 | bus_LV_303-7_0_4_node_71 | 0.4 | n |  | TRUE
66 | bus_LV_303-7_0_4_node_52 | 0.4 | n |  | TRUE
67 | bus_LV_303-7_0_4_node_66 | 0.4 | n |  | TRUE
68 | bus_LV_303-7_0_4_node_61 | 0.4 | n |  | TRUE
69 | bus_LV_303-7_0_4_node_62 | 0.4 | n |  | TRUE
70 | bus_LV_303-7_0_4_node_63 | 0.4 | n |  | TRUE
71 | bus_MV_385_1_node_219 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_303-7_0_4_load_0 | 0 | 0.0021929 | 0.0005496 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_303-7_0_4_load_1 | 1 | 0.0015648 | 0.00039219 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_303-7_0_4_load_2 | 2 | 0.0021373 | 0.00053565 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_303-7_0_4_load_3 | 3 | 0.0010693 | 0.00026798 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_303-7_0_4_load_4 | 4 | 0.0017128 | 0.00042928 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_303-7_0_4_load_74 | 5 | 0.008098 | 0.0020296 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_303-7_0_4_load_8 | 7 | 0.0017381 | 0.00043561 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_303-7_0_4_load_22 | 8 | 0.0014616 | 0.00036632 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_303-7_0_4_load_6 | 9 | 0.013044 | 0.0032691 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_303-7_0_4_load_5 | 10 | 0.0031527 | 0.00079013 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_303-7_0_4_load_9 | 12 | 0.0016279 | 0.00040799 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_303-7_0_4_load_21 | 13 | 0.0023695 | 0.00059384 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_303-7_0_4_load_69 | 14 | 0.0040192 | 0.0010073 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_303-7_0_4_load_68 | 15 | 0.0041532 | 0.0010409 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_303-7_0_4_load_10 | 16 | 0.0019398 | 0.00048616 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_303-7_0_4_load_11 | 17 | 0.0037872 | 0.00094915 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_303-7_0_4_load_13 | 18 | 0.0013751 | 0.00034464 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_303-7_0_4_load_67 | 19 | 0.004653 | 0.0011662 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_303-7_0_4_load_60 | 20 | 0.0021311 | 0.00053411 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_303-7_0_4_load_14 | 21 | 0.0016708 | 0.00041874 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_303-7_0_4_load_15 | 22 | 0.0019482 | 0.00048826 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_303-7_0_4_load_41 | 23 | 0.0012241 | 0.00030678 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_303-7_0_4_load_16 | 25 | 0.0018715 | 0.00046903 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_303-7_0_4_load_17 | 26 | 0.0018539 | 0.00046463 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_303-7_0_4_load_18 | 27 | 0.0019132 | 0.0004795 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_303-7_0_4_load_19 | 28 | 0.0018825 | 0.00047179 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_303-7_0_4_load_20 | 29 | 0.0013839 | 0.00034683 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_303-7_0_4_load_27 | 30 | 0.0019517 | 0.00048913 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_303-7_0_4_load_23 | 32 | 0.0037199 | 0.00093228 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_303-7_0_4_load_24 | 33 | 0.0038924 | 0.00097553 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_303-7_0_4_load_26 | 34 | 0.0028662 | 0.00071833 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_303-7_0_4_load_28 | 35 | 0.0025128 | 0.00062977 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_303-7_0_4_load_49 | 36 | 0.0030901 | 0.00077445 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_303-7_0_4_load_59 | 39 | 0.0023651 | 0.00059274 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_303-7_0_4_load_37 | 40 | 0.0023858 | 0.00059795 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_303-7_0_4_load_55 | 41 | 0.00442 | 0.0011078 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_303-7_0_4_load_29 | 42 | 0.0016816 | 0.00042146 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_303-7_0_4_load_30 | 43 | 0.0058012 | 0.0014539 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_303-7_0_4_load_32 | 44 | 0.0033169 | 0.00083129 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_303-7_0_4_load_53 | 45 | 0.0055003 | 0.0013785 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_303-7_0_4_load_51 | 46 | 0.0018082 | 0.00045317 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_303-7_0_4_load_33 | 47 | 0.0030342 | 0.00076044 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_303-7_0_4_load_35 | 49 | 0.001596 | 0.0004 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_303-7_0_4_load_36 | 50 | 0.0046425 | 0.0011635 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_303-7_0_4_load_47 | 51 | 0.0034535 | 0.00086553 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_303-7_0_4_load_38 | 52 | 0.0029622 | 0.00074239 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_303-7_0_4_load_39 | 53 | 0.0041968 | 0.0010518 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_303-7_0_4_load_64 | 55 | 0.0051084 | 0.0012803 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_303-7_0_4_load_70 | 59 | 0.0032811 | 0.00082231 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_303-7_0_4_load_43 | 61 | 0.0036815 | 0.00092266 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_303-7_0_4_load_45 | 62 | 0.0039532 | 0.00099075 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_303-7_0_4_load_58 | 63 | 0.0049971 | 0.0012524 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_303-7_0_4_load_56 | 64 | 0.0037882 | 0.00094941 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_303-7_0_4_load_71 | 65 | 0.0016262 | 0.00040755 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_303-7_0_4_load_52 | 66 | 0.0023512 | 0.00058926 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_303-7_0_4_load_66 | 67 | 0.0024125 | 0.00060463 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_303-7_0_4_load_61 | 68 | 0.0026655 | 0.00066803 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_303-7_0_4_load_62 | 69 | 0.0028223 | 0.00070734 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_303-7_0_4_load_63 | 70 | 0.0021567 | 0.00054053 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 37 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_303-7_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.017954 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_303-7_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.012584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_303-7_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.00029455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_303-7_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.022337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_303-7_0_4_line_4 | NAYY 4x150 SE | 3 | 7 | 0.0073274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_303-7_0_4_line_5 | NAYY 4x150 SE | 4 | 8 | 0.0065799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_303-7_0_4_line_6 | NAYY 4x150 SE | 5 | 6 | 0.023732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_303-7_0_4_line_7 | NAYY 4x150 SE | 6 | 11 | 0.015721 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_303-7_0_4_line_8 | NAYY 4x150 SE | 7 | 12 | 0.007676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_303-7_0_4_line_9 | NAYY 4x150 SE | 8 | 13 | 0.0021372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_303-7_0_4_line_10 | NAYY 4x150 SE | 9 | 10 | 0.02279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_303-7_0_4_line_11 | NAYY 4x150 SE | 10 | 14 | 0.06359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_303-7_0_4_line_12 | NAYY 4x150 SE | 11 | 38 | 0.063102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_303-7_0_4_line_13 | NAYY 4x150 SE | 11 | 65 | 0.013491 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_303-7_0_4_line_14 | NAYY 4x150 SE | 13 | 29 | 0.0037347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_303-7_0_4_line_15 | NAYY 4x150 SE | 14 | 15 | 0.02381 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_303-7_0_4_line_16 | NAYY 4x150 SE | 15 | 70 | 0.0097319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_303-7_0_4_line_17 | NAYY 4x150 SE | 16 | 17 | 0.012393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_303-7_0_4_line_18 | NAYY 4x150 SE | 17 | 18 | 0.02485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_303-7_0_4_line_19 | NAYY 4x150 SE | 18 | 19 | 0.19673 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_303-7_0_4_line_20 | NAYY 4x150 SE | 19 | 20 | 0.013101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_303-7_0_4_line_21 | NAYY 4x150 SE | 20 | 60 | 0.018929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_303-7_0_4_line_22 | NAYY 4x150 SE | 21 | 22 | 0.0021456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_303-7_0_4_line_23 | NAYY 4x150 SE | 22 | 23 | 0.026358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_303-7_0_4_line_24 | NAYY 4x150 SE | 23 | 24 | 0.015353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_303-7_0_4_line_25 | NAYY 4x150 SE | 24 | 57 | 0.005254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_303-7_0_4_line_26 | NAYY 4x150 SE | 24 | 58 | 0.046924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_303-7_0_4_line_27 | NAYY 4x150 SE | 25 | 26 | 0.0055555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_303-7_0_4_line_28 | NAYY 4x150 SE | 25 | 27 | 0.00035437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_303-7_0_4_line_29 | NAYY 4x150 SE | 26 | 28 | 0.022872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_303-7_0_4_line_30 | NAYY 4x150 SE | 27 | 29 | 0.0057995 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_303-7_0_4_line_31 | NAYY 4x150 SE | 28 | 30 | 0.0094776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_303-7_0_4_line_32 | NAYY 4x150 SE | 30 | 31 | 0.0095343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_303-7_0_4_line_33 | NAYY 4x150 SE | 31 | 35 | 0.039766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_303-7_0_4_line_34 | NAYY 4x150 SE | 31 | 32 | 0.016399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_303-7_0_4_line_35 | NAYY 4x150 SE | 32 | 33 | 0.0062688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_303-7_0_4_line_36 | NAYY 4x150 SE | 33 | 34 | 0.013908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_303-7_0_4_line_37 | NAYY 4x150 SE | 34 | 36 | 0.0060294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_303-7_0_4_line_38 | NAYY 4x150 SE | 35 | 37 | 0.029962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_303-7_0_4_line_39 | NAYY 4x150 SE | 36 | 38 | 0.030204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_303-7_0_4_line_40 | NAYY 4x150 SE | 37 | 39 | 0.034776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_303-7_0_4_line_41 | NAYY 4x150 SE | 37 | 40 | 0.020214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_303-7_0_4_line_42 | NAYY 4x150 SE | 37 | 41 | 0.014127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_303-7_0_4_line_43 | NAYY 4x150 SE | 39 | 68 | 0.002613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_303-7_0_4_line_44 | NAYY 4x150 SE | 40 | 48 | 0.011316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_303-7_0_4_line_45 | NAYY 4x150 SE | 41 | 64 | 0.03081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_303-7_0_4_line_46 | NAYY 4x150 SE | 42 | 43 | 0.016546 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_303-7_0_4_line_47 | NAYY 4x150 SE | 43 | 44 | 0.014632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_303-7_0_4_line_48 | NAYY 4x150 SE | 44 | 45 | 0.04211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_303-7_0_4_line_49 | NAYY 4x150 SE | 45 | 46 | 0.0019758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_303-7_0_4_line_50 | NAYY 4x150 SE | 46 | 66 | 0.023765 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_303-7_0_4_line_51 | NAYY 4x150 SE | 47 | 48 | 0.018235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_303-7_0_4_line_52 | NAYY 4x150 SE | 47 | 49 | 0.019824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_303-7_0_4_line_53 | NAYY 4x150 SE | 48 | 50 | 0.016589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_303-7_0_4_line_54 | NAYY 4x150 SE | 50 | 51 | 0.0011186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_303-7_0_4_line_55 | NAYY 4x150 SE | 52 | 53 | 0.037873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_303-7_0_4_line_56 | NAYY 4x150 SE | 53 | 54 | 0.056035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_303-7_0_4_line_57 | NAYY 4x150 SE | 54 | 55 | 0.014655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_303-7_0_4_line_58 | NAYY 4x150 SE | 55 | 56 | 0.025303 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_303-7_0_4_line_59 | NAYY 4x150 SE | 56 | 67 | 0.02962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_303-7_0_4_line_60 | NAYY 4x150 SE | 56 | 57 | 0.019995 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_303-7_0_4_line_61 | NAYY 4x150 SE | 56 | 66 | 0.013612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_303-7_0_4_line_62 | NAYY 4x150 SE | 57 | 59 | 0.022145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_303-7_0_4_line_63 | NAYY 4x150 SE | 58 | 60 | 0.00758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_303-7_0_4_line_64 | NAYY 4x150 SE | 58 | 61 | 0.059424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_303-7_0_4_line_65 | NAYY 4x150 SE | 60 | 63 | 0.030342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_303-7_0_4_line_66 | NAYY 4x150 SE | 61 | 62 | 0.017759 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_303-7_0_4_line_67 | NAYY 4x150 SE | 63 | 64 | 0.0086519 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_303-7_0_4_line_68 | NAYY 4x150 SE | 68 | 69 | 0.015245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_303-7_0_4_line_69 | NAYY 4x150 SE | 69 | 70 | 0.017081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_303-7_0_4_trafo_57 | 0.25 MVA 20/0.4 kV | 71 | 37 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2593548.5938 | 1212812.6701 | 2593555.5419 | 1212812.757 | 2593566.5458 | 1212812.5914
1 | 2593548.5938 | 1212812.6701 | 2593536.0109 | 1212812.5129
2 | 2593566.8403 | 1212812.587 | 2593566.5458 | 1212812.5914
3 | 2593513.6754 | 1212812.2338 | 2593536.0109 | 1212812.5129
4 | 2593566.8403 | 1212812.587 | 2593574.1669 | 1212812.4768
5 | 2593513.6754 | 1212812.2338 | 2593507.096 | 1212812.1516
6 | 2593546.3421 | 1212902.2615 | 2593531.2664 | 1212883.9011
7 | 2593517.9596 | 1212892.3316 | 2593531.2664 | 1212883.9011
8 | 2593574.1669 | 1212812.4768 | 2593581.842 | 1212812.3614
9 | 2593507.096 | 1212812.1516 | 2593504.959 | 1212812.1249
10 | 2593517.1114 | 1212737.7607 | 2593519.109 | 1212735.765 | 2593528.8697 | 1212735.1539 | 2593538.901 | 1212736.9234
11 | 2593469.5002 | 1212779.9132 | 2593517.1114 | 1212737.7607
12 | 2593455.4563 | 1212883.6625 | 2593517.9596 | 1212892.3316
13 | 2593516.5994 | 1212905.7517 | 2593517.9596 | 1212892.3316
14 | 2593504.959 | 1212812.1249 | 2593501.2245 | 1212812.0782
15 | 2593445.7173 | 1212778.7862 | 2593469.5002 | 1212779.9132
16 | 2593435.9964 | 1212778.3256 | 2593445.7173 | 1212778.7862
17 | 2593228.1231 | 1213047.6992 | 2593225.169 | 1213040.7328 | 2593223.1843 | 1213036.3337
18 | 2593223.1843 | 1213036.3337 | 2593217.2032 | 1213023.0765 | 2593214.667 | 1213013.0877
19 | 2593292.1864 | 1212832.2728 | 2593214.667 | 1213013.0877
20 | 2593292.1864 | 1212832.2728 | 2593293.0912 | 1212819.2031
21 | 2593294.3985 | 1212800.3191 | 2593293.0912 | 1212819.2031
22 | 2593223.1746 | 1212812.5185 | 2593221.6767 | 1212814.0546
23 | 2593223.1746 | 1212812.5185 | 2593223.1746 | 1212812.5185 | 2593239.5853 | 1212791.8923
24 | 2593246.8587 | 1212778.4278 | 2593241.2353 | 1212789.8184 | 2593239.5853 | 1212791.8923
25 | 2593246.8587 | 1212778.4278 | 2593245.1438 | 1212773.4603
26 | 2593246.8587 | 1212778.4278 | 2593260.4177 | 1212791.3862 | 2593273.9927 | 1212798.3857 | 2593286.8318 | 1212799.5829
27 | 2593489.516 | 1212811.9319 | 2593495.0711 | 1212812.0013
28 | 2593495.4255 | 1212812.0057 | 2593495.0711 | 1212812.0013
29 | 2593489.516 | 1212811.9319 | 2593466.6459 | 1212811.6461
30 | 2593495.4255 | 1212812.0057 | 2593501.2245 | 1212812.0782
31 | 2593457.169 | 1212811.5277 | 2593466.6459 | 1212811.6461
32 | 2593447.6354 | 1212811.4085 | 2593457.169 | 1212811.5277
33 | 2593447.6354 | 1212811.4085 | 2593441.4063 | 1212811.2598 | 2593407.9452 | 1212809.0368
34 | 2593447.6354 | 1212811.4085 | 2593447.2061 | 1212821.5591 | 2593448.0278 | 1212827.7445
35 | 2593448.8534 | 1212833.9587 | 2593448.0278 | 1212827.7445
36 | 2593450.6848 | 1212847.7452 | 2593448.8534 | 1212833.9587
37 | 2593450.6848 | 1212847.7452 | 2593451.4788 | 1212853.722
38 | 2593378.0487 | 1212807.0505 | 2593407.9452 | 1212809.0368
39 | 2593455.4563 | 1212883.6625 | 2593451.4788 | 1212853.722
40 | 2593378.0487 | 1212807.0505 | 2593402.828 | 1212782.6504
41 | 2593378.0487 | 1212807.0505 | 2593376.5373 | 1212827.2084
42 | 2593378.0487 | 1212807.0505 | 2593363.9536 | 1212806.104
43 | 2593404.6899 | 1212780.8171 | 2593404.6899 | 1212780.8171 | 2593402.828 | 1212782.6504
44 | 2593375.6913 | 1212838.493 | 2593376.5373 | 1212827.2084
45 | 2593363.9536 | 1212806.104 | 2593333.2131 | 1212804.0397
46 | 2593138.2755 | 1212749.3907 | 2593153.8975 | 1212743.9397
47 | 2593167.7127 | 1212739.1192 | 2593153.8975 | 1212743.9397
48 | 2593202.4631 | 1212762.9035 | 2593167.7127 | 1212739.1192
49 | 2593202.4631 | 1212762.9035 | 2593204.4389 | 1212762.9092
50 | 2593204.4389 | 1212762.9092 | 2593216.129 | 1212762.9433 | 2593227.4613 | 1212758.7757
51 | 2593375.6913 | 1212838.493 | 2593357.4574 | 1212838.7
52 | 2593337.6346 | 1212838.925 | 2593357.4574 | 1212838.7
53 | 2593375.6913 | 1212838.493 | 2593377.0333 | 1212855.0281
54 | 2593377.0333 | 1212855.0281 | 2593377.1238 | 1212856.143
55 | 2593309.9398 | 1212674.3574 | 2593276.1671 | 1212691.4982
56 | 2593226.8321 | 1212716.6051 | 2593234.5413 | 1212709.0031 | 2593263.6911 | 1212697.8301 | 2593276.1671 | 1212691.4982
57 | 2593226.8321 | 1212716.6051 | 2593233.3573 | 1212729.7271
58 | 2593240.2371 | 1212754.0773 | 2593233.3573 | 1212729.7271
59 | 2593240.2371 | 1212754.0773 | 2593268.8663 | 1212746.1735
60 | 2593240.2371 | 1212754.0773 | 2593245.1438 | 1212773.4603
61 | 2593240.2371 | 1212754.0773 | 2593227.4613 | 1212758.7757
62 | 2593267.2665 | 1212775.425 | 2593245.1438 | 1212773.4603
63 | 2593286.8318 | 1212799.5829 | 2593294.3985 | 1212800.3191
64 | 2593286.8318 | 1212799.5829 | 2593313.5772 | 1212778.574 | 2593323.2746 | 1212775.7837 | 2593338.4086 | 1212773.3824
65 | 2593294.3985 | 1212800.3191 | 2593324.5966 | 1212803.2663
66 | 2593355.948 | 1212770.5995 | 2593338.4086 | 1212773.3824
67 | 2593324.5966 | 1212803.2663 | 2593330.9938 | 1212803.8907 | 2593333.2131 | 1212804.0397
68 | 2593404.6899 | 1212780.8171 | 2593411.0059 | 1212777.1413 | 2593418.9341 | 1212777.517
69 | 2593435.9964 | 1212778.3256 | 2593418.9341 | 1212777.517

## bus_geodata
| x | y | coords
0 | 2593548.5938 | 1212812.6701
1 | 2593566.5458 | 1212812.5914
2 | 2593536.0109 | 1212812.5129
3 | 2593566.8403 | 1212812.587
4 | 2593513.6754 | 1212812.2338
5 | 2593546.3421 | 1212902.2615
6 | 2593531.2664 | 1212883.9011
7 | 2593574.1669 | 1212812.4768
8 | 2593507.096 | 1212812.1516
9 | 2593538.901 | 1212736.9234
10 | 2593517.1114 | 1212737.7607
11 | 2593517.9596 | 1212892.3316
12 | 2593581.842 | 1212812.3614
13 | 2593504.959 | 1212812.1249
14 | 2593469.5002 | 1212779.9132
15 | 2593445.7173 | 1212778.7862
16 | 2593228.1231 | 1213047.6992
17 | 2593223.1843 | 1213036.3337
18 | 2593214.667 | 1213013.0877
19 | 2593292.1864 | 1212832.2728
20 | 2593293.0912 | 1212819.2031
21 | 2593221.6767 | 1212814.0546
22 | 2593223.1746 | 1212812.5185
23 | 2593239.5853 | 1212791.8923
24 | 2593246.8587 | 1212778.4278
25 | 2593495.0711 | 1212812.0013
26 | 2593489.516 | 1212811.9319
27 | 2593495.4255 | 1212812.0057
28 | 2593466.6459 | 1212811.6461
29 | 2593501.2245 | 1212812.0782
30 | 2593457.169 | 1212811.5277
31 | 2593447.6354 | 1212811.4085
32 | 2593448.0278 | 1212827.7445
33 | 2593448.8534 | 1212833.9587
34 | 2593450.6848 | 1212847.7452
35 | 2593407.9452 | 1212809.0368
36 | 2593451.4788 | 1212853.722
37 | 2593378.0487 | 1212807.0505
38 | 2593455.4563 | 1212883.6625
39 | 2593402.828 | 1212782.6504
40 | 2593376.5373 | 1212827.2084
41 | 2593363.9536 | 1212806.104
42 | 2593138.2755 | 1212749.3907
43 | 2593153.8975 | 1212743.9397
44 | 2593167.7127 | 1212739.1192
45 | 2593202.4631 | 1212762.9035
46 | 2593204.4389 | 1212762.9092
47 | 2593357.4574 | 1212838.7
48 | 2593375.6913 | 1212838.493
49 | 2593337.6346 | 1212838.925
50 | 2593377.0333 | 1212855.0281
51 | 2593377.1238 | 1212856.143
52 | 2593309.9398 | 1212674.3574
53 | 2593276.1671 | 1212691.4982
54 | 2593226.8321 | 1212716.6051
55 | 2593233.3573 | 1212729.7271
56 | 2593240.2372 | 1212754.0773
57 | 2593245.1438 | 1212773.4603
58 | 2593286.8318 | 1212799.5829
59 | 2593267.2665 | 1212775.425
60 | 2593294.3985 | 1212800.3191
61 | 2593338.4086 | 1212773.3824
62 | 2593355.948 | 1212770.5995
63 | 2593324.5966 | 1212803.2663
64 | 2593333.2131 | 1212804.0397
65 | 2593516.5994 | 1212905.7517
66 | 2593227.4613 | 1212758.7757
67 | 2593268.8663 | 1212746.1735
68 | 2593404.6899 | 1212780.8171
69 | 2593418.9341 | 1212777.517
70 | 2593435.9964 | 1212778.3256
71 | 2593375.6913 | 1212838.493

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1