## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_303-8_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_303-8_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_303-8_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_303-8_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_303-8_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_303-8_0_2_node_8 | 0.4 | n |  | TRUE
6 | bus_LV_303-8_0_2_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_303-8_0_2_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_303-8_0_2_node_39 | 0.4 | n |  | TRUE
9 | bus_LV_303-8_0_2_node_28 | 0.4 | n |  | TRUE
10 | bus_LV_303-8_0_2_node_20 | 0.4 | n |  | TRUE
11 | bus_LV_303-8_0_2_node_45 | 0.4 | n |  | TRUE
12 | bus_LV_303-8_0_2_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_303-8_0_2_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_303-8_0_2_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_303-8_0_2_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_303-8_0_2_node_64 | 0.4 | n |  | TRUE
17 | bus_LV_303-8_0_2_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_303-8_0_2_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_303-8_0_2_node_65 | 0.4 | n |  | TRUE
20 | bus_LV_303-8_0_2_node_23 | 0.4 | n |  | TRUE
21 | bus_LV_303-8_0_2_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_303-8_0_2_node_47 | 0.4 | n |  | TRUE
23 | bus_LV_303-8_0_2_node_80 | 0.4 | n |  | TRUE
24 | bus_LV_303-8_0_2_node_22 | 0.4 | n |  | TRUE
25 | bus_LV_303-8_0_2_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_303-8_0_2_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_303-8_0_2_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_303-8_0_2_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_303-8_0_2_node_107 | 0.4 | n |  | TRUE
30 | bus_LV_303-8_0_2_node_27 | 0.4 | n |  | TRUE
31 | bus_LV_303-8_0_2_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_303-8_0_2_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_303-8_0_2_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_303-8_0_2_node_30 | 0.4 | n |  | TRUE
35 | bus_LV_303-8_0_2_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_303-8_0_2_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_303-8_0_2_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_303-8_0_2_node_48 | 0.4 | n |  | TRUE
39 | bus_LV_303-8_0_2_node_36 | 0.4 | n |  | TRUE
40 | bus_LV_303-8_0_2_node_49 | 0.4 | n |  | TRUE
41 | bus_LV_303-8_0_2_node_38 | 0.4 | n |  | TRUE
42 | bus_LV_303-8_0_2_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_303-8_0_2_node_35 | 0.4 | n |  | TRUE
44 | bus_LV_303-8_0_2_node_37 | 0.4 | n |  | TRUE
45 | bus_LV_303-8_0_2_node_78 | 0.4 | n |  | TRUE
46 | bus_LV_303-8_0_2_node_76 | 0.4 | n |  | TRUE
47 | bus_LV_303-8_0_2_node_63 | 0.4 | n |  | TRUE
48 | bus_LV_303-8_0_2_node_42 | 0.4 | n |  | TRUE
49 | bus_LV_303-8_0_2_node_40 | 0.4 | n |  | TRUE
50 | bus_LV_303-8_0_2_node_41 | 0.4 | n |  | TRUE
51 | bus_LV_303-8_0_2_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_303-8_0_2_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_303-8_0_2_node_97 | 0.4 | n |  | TRUE
54 | bus_LV_303-8_0_2_node_53 | 0.4 | n |  | TRUE
55 | bus_LV_303-8_0_2_node_98 | 0.4 | n |  | TRUE
56 | bus_LV_303-8_0_2_node_54 | 0.4 | n |  | TRUE
57 | bus_LV_303-8_0_2_node_55 | 0.4 | n |  | TRUE
58 | bus_LV_303-8_0_2_node_62 | 0.4 | n |  | TRUE
59 | bus_LV_303-8_0_2_node_88 | 0.4 | n |  | TRUE
60 | bus_LV_303-8_0_2_node_85 | 0.4 | n |  | TRUE
61 | bus_LV_303-8_0_2_node_86 | 0.4 | n |  | TRUE
62 | bus_LV_303-8_0_2_node_82 | 0.4 | n |  | TRUE
63 | bus_LV_303-8_0_2_node_50 | 0.4 | n |  | TRUE
64 | bus_LV_303-8_0_2_node_51 | 0.4 | n |  | TRUE
65 | bus_LV_303-8_0_2_node_52 | 0.4 | n |  | TRUE
66 | bus_LV_303-8_0_2_node_56 | 0.4 | n |  | TRUE
67 | bus_LV_303-8_0_2_node_57 | 0.4 | n |  | TRUE
68 | bus_LV_303-8_0_2_node_91 | 0.4 | n |  | TRUE
69 | bus_LV_303-8_0_2_node_92 | 0.4 | n |  | TRUE
70 | bus_LV_303-8_0_2_node_93 | 0.4 | n |  | TRUE
71 | bus_LV_303-8_0_2_node_61 | 0.4 | n |  | TRUE
72 | bus_LV_303-8_0_2_node_58 | 0.4 | n |  | TRUE
73 | bus_LV_303-8_0_2_node_59 | 0.4 | n |  | TRUE
74 | bus_LV_303-8_0_2_node_60 | 0.4 | n |  | TRUE
75 | bus_LV_303-8_0_2_node_66 | 0.4 | n |  | TRUE
76 | bus_LV_303-8_0_2_node_69 | 0.4 | n |  | TRUE
77 | bus_LV_303-8_0_2_node_67 | 0.4 | n |  | TRUE
78 | bus_LV_303-8_0_2_node_68 | 0.4 | n |  | TRUE
79 | bus_LV_303-8_0_2_node_70 | 0.4 | n |  | TRUE
80 | bus_LV_303-8_0_2_node_71 | 0.4 | n |  | TRUE
81 | bus_LV_303-8_0_2_node_72 | 0.4 | n |  | TRUE
82 | bus_LV_303-8_0_2_node_75 | 0.4 | n |  | TRUE
83 | bus_LV_303-8_0_2_node_74 | 0.4 | n |  | TRUE
84 | bus_LV_303-8_0_2_node_73 | 0.4 | n |  | TRUE
85 | bus_LV_303-8_0_2_node_77 | 0.4 | n |  | TRUE
86 | bus_LV_303-8_0_2_node_90 | 0.4 | n |  | TRUE
87 | bus_LV_303-8_0_2_node_105 | 0.4 | n |  | TRUE
88 | bus_LV_303-8_0_2_node_89 | 0.4 | n |  | TRUE
89 | bus_LV_303-8_0_2_node_106 | 0.4 | n |  | TRUE
90 | bus_LV_303-8_0_2_node_79 | 0.4 | n |  | TRUE
91 | bus_LV_303-8_0_2_node_81 | 0.4 | n |  | TRUE
92 | bus_LV_303-8_0_2_node_83 | 0.4 | n |  | TRUE
93 | bus_LV_303-8_0_2_node_84 | 0.4 | n |  | TRUE
94 | bus_LV_303-8_0_2_node_104 | 0.4 | n |  | TRUE
95 | bus_LV_303-8_0_2_node_103 | 0.4 | n |  | TRUE
96 | bus_LV_303-8_0_2_node_87 | 0.4 | n |  | TRUE
97 | bus_LV_303-8_0_2_node_102 | 0.4 | n |  | TRUE
98 | bus_LV_303-8_0_2_node_94 | 0.4 | n |  | TRUE
99 | bus_LV_303-8_0_2_node_95 | 0.4 | n |  | TRUE
100 | bus_LV_303-8_0_2_node_96 | 0.4 | n |  | TRUE
101 | bus_LV_303-8_0_2_node_100 | 0.4 | n |  | TRUE
102 | bus_LV_303-8_0_2_node_99 | 0.4 | n |  | TRUE
103 | bus_LV_303-8_0_2_node_101 | 0.4 | n |  | TRUE
104 | bus_MV_385_1_node_104 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_303-8_0_2_load_0 | 0 | 0.0031916 | 0.00079989 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_303-8_0_2_load_1 | 1 | 0.0015322 | 0.000384 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_303-8_0_2_load_3 | 3 | 0.002565 | 0.00064284 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_303-8_0_2_load_8 | 5 | 0.0011446 | 0.00028687 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_303-8_0_2_load_7 | 6 | 0.0015058 | 0.00037739 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_303-8_0_2_load_5 | 7 | 0.00078174 | 0.00019592 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_303-8_0_2_load_39 | 8 | 0.00074202 | 0.00018597 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_303-8_0_2_load_28 | 9 | 0.0059138 | 0.0014821 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_303-8_0_2_load_9 | 12 | 0.0044535 | 0.0011162 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_303-8_0_2_load_64 | 16 | 0.0095179 | 0.0023854 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_303-8_0_2_load_16 | 17 | 0.0037886 | 0.00094951 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_303-8_0_2_load_13 | 18 | 0.0033892 | 0.00084942 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_303-8_0_2_load_65 | 19 | 0.0027492 | 0.00068901 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_303-8_0_2_load_23 | 20 | 0.0019884 | 0.00049833 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_303-8_0_2_load_14 | 21 | 0.005505 | 0.0013797 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_303-8_0_2_load_47 | 22 | 0.0073616 | 0.001845 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_303-8_0_2_load_22 | 24 | 0.0023419 | 0.00058694 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_303-8_0_2_load_17 | 25 | 0.0049684 | 0.0012452 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_303-8_0_2_load_18 | 26 | 0.006443 | 0.0016148 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_303-8_0_2_load_19 | 27 | 0.0043528 | 0.0010909 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_303-8_0_2_load_21 | 28 | 0.0033343 | 0.00083566 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_303-8_0_2_load_107 | 29 | 0.0014533 | 0.00036422 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_303-8_0_2_load_27 | 30 | 0.004246 | 0.0010641 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_303-8_0_2_load_25 | 31 | 0.0036067 | 0.00090392 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_303-8_0_2_load_24 | 32 | 0.0013633 | 0.00034168 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_303-8_0_2_load_29 | 33 | 0.0017954 | 0.00044998 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_303-8_0_2_load_30 | 34 | 0.00087487 | 0.00021926 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_303-8_0_2_load_31 | 35 | 0.0010682 | 0.00026771 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_303-8_0_2_load_32 | 36 | 0.00098949 | 0.00024799 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_303-8_0_2_load_33 | 37 | 0.00094636 | 0.00023718 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_303-8_0_2_load_48 | 38 | 0.00079771 | 0.00019992 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_303-8_0_2_load_49 | 40 | 0.0011016 | 0.00027608 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_303-8_0_2_load_38 | 41 | 0.0052446 | 0.0013144 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_303-8_0_2_load_34 | 42 | 0.00068262 | 0.00017108 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_303-8_0_2_load_35 | 43 | 0.0006457 | 0.00016183 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_303-8_0_2_load_37 | 44 | 0.00064573 | 0.00016184 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_303-8_0_2_load_78 | 45 | 0.00026244 | 6.5773e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_303-8_0_2_load_63 | 47 | 0.0049375 | 0.0012374 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_303-8_0_2_load_40 | 49 | 0.00085157 | 0.00021342 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_303-8_0_2_load_41 | 50 | 0.00080096 | 0.00020074 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_303-8_0_2_load_43 | 51 | 0.00091728 | 0.00022989 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_303-8_0_2_load_44 | 52 | 0.0047431 | 0.0011887 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_303-8_0_2_load_97 | 53 | 0.00074141 | 0.00018582 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_303-8_0_2_load_54 | 56 | 0.0016686 | 0.00041818 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_303-8_0_2_load_55 | 57 | 0.0014885 | 0.00037306 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_303-8_0_2_load_62 | 58 | 0.0058822 | 0.0014742 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_303-8_0_2_load_88 | 59 | 0.0010483 | 0.00026273 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_303-8_0_2_load_85 | 60 | 0.0033083 | 0.00082913 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_303-8_0_2_load_86 | 61 | 0.0024146 | 0.00060515 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_303-8_0_2_load_82 | 62 | 0.00078613 | 0.00019702 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_303-8_0_2_load_51 | 64 | 0.00212 | 0.00053131 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_303-8_0_2_load_52 | 65 | 0.0011476 | 0.00028761 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_303-8_0_2_load_57 | 67 | 0.001444 | 0.00036191 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_303-8_0_2_load_92 | 69 | 0.00043221 | 0.00010832 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_303-8_0_2_load_93 | 70 | 0.00066085 | 0.00016562 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_303-8_0_2_load_61 | 71 | 0.001608 | 0.00040299 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_303-8_0_2_load_58 | 72 | 0.0013528 | 0.00033904 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_303-8_0_2_load_59 | 73 | 0.0060846 | 0.0015249 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_303-8_0_2_load_60 | 74 | 0.0048283 | 0.0012101 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_303-8_0_2_load_66 | 75 | 0.0015955 | 0.00039987 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_303-8_0_2_load_67 | 77 | 0.0045393 | 0.0011377 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_303-8_0_2_load_70 | 79 | 0.00067249 | 0.00016854 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_303-8_0_2_load_71 | 80 | 0.0020751 | 0.00052007 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_303-8_0_2_load_72 | 81 | 0.0016234 | 0.00040686 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_303-8_0_2_load_75 | 82 | 0.0020183 | 0.00050583 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_303-8_0_2_load_74 | 83 | 0.0010775 | 0.00027004 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_303-8_0_2_load_73 | 84 | 0.0007677 | 0.0001924 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_303-8_0_2_load_90 | 86 | 0.0012921 | 0.00032383 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_303-8_0_2_load_105 | 87 | 0.00075123 | 0.00018827 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_303-8_0_2_load_106 | 89 | 0.000661 | 0.00016566 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_303-8_0_2_load_79 | 90 | 0.00020652 | 5.176e-05 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_303-8_0_2_load_84 | 93 | 0.00042185 | 0.00010573 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_303-8_0_2_load_104 | 94 | 0.00015159 | 3.7992e-05 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_303-8_0_2_load_103 | 95 | 0.00082208 | 0.00020603 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_303-8_0_2_load_102 | 97 | 0.00067242 | 0.00016853 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_303-8_0_2_load_94 | 98 | 0.0010529 | 0.00026389 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_303-8_0_2_load_95 | 99 | 0.00078156 | 0.00019588 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_303-8_0_2_load_96 | 100 | 0.00063568 | 0.00015932 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_303-8_0_2_load_100 | 101 | 0.00062393 | 0.00015637 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_303-8_0_2_load_99 | 102 | 0.000834 | 0.00020902 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_303-8_0_2_load_101 | 103 | 0.00088602 | 0.00022206 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 59 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_303-8_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0051268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
1 | LV_303-8_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.015524 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
2 | LV_303-8_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.020514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
3 | LV_303-8_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_303-8_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.024922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
5 | LV_303-8_0_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.026048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
6 | LV_303-8_0_2_line_6 | NAYY 4x150 SE | 4 | 7 | 0.011703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_303-8_0_2_line_7 | NAYY 4x150 SE | 5 | 8 | 0.029134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_303-8_0_2_line_8 | NAYY 4x150 SE | 6 | 9 | 0.026161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_303-8_0_2_line_9 | NAYY 4x150 SE | 8 | 11 | 0.030403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
10 | LV_303-8_0_2_line_10 | NAYY 4x150 SE | 9 | 10 | 0.022477 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
11 | LV_303-8_0_2_line_11 | NAYY 4x150 SE | 10 | 30 | 0.0029666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
12 | LV_303-8_0_2_line_12 | NAYY 4x150 SE | 10 | 26 | 0.013567 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_303-8_0_2_line_13 | NAYY 4x150 SE | 11 | 47 | 0.014601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_303-8_0_2_line_14 | NAYY 4x150 SE | 11 | 48 | 0.010513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_303-8_0_2_line_15 | NAYY 4x150 SE | 12 | 13 | 0.068636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_303-8_0_2_line_16 | NAYY 4x150 SE | 13 | 14 | 0.065641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_303-8_0_2_line_17 | NAYY 4x150 SE | 13 | 15 | 0.011239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
18 | LV_303-8_0_2_line_18 | NAYY 4x150 SE | 14 | 16 | 0.045678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
19 | LV_303-8_0_2_line_19 | NAYY 4x150 SE | 15 | 17 | 0.021199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
20 | LV_303-8_0_2_line_20 | NAYY 4x150 SE | 15 | 18 | 0.011192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_303-8_0_2_line_21 | NAYY 4x150 SE | 16 | 19 | 0.032763 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_303-8_0_2_line_22 | NAYY 4x150 SE | 17 | 20 | 0.01383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
23 | LV_303-8_0_2_line_23 | NAYY 4x150 SE | 18 | 21 | 0.017625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_303-8_0_2_line_24 | NAYY 4x150 SE | 19 | 75 | 0.016957 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_303-8_0_2_line_25 | NAYY 4x150 SE | 20 | 24 | 0.0095444 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
26 | LV_303-8_0_2_line_26 | NAYY 4x150 SE | 22 | 23 | 0.015595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_303-8_0_2_line_27 | NAYY 4x150 SE | 23 | 62 | 0.016572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_303-8_0_2_line_28 | NAYY 4x150 SE | 24 | 32 | 0.01096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
29 | LV_303-8_0_2_line_29 | NAYY 4x150 SE | 25 | 26 | 0.0084712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_303-8_0_2_line_30 | NAYY 4x150 SE | 25 | 27 | 0.023447 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_303-8_0_2_line_31 | NAYY 4x150 SE | 27 | 28 | 0.0018367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_303-8_0_2_line_32 | NAYY 4x150 SE | 27 | 29 | 0.029044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_303-8_0_2_line_33 | NAYY 4x150 SE | 30 | 31 | 0.015179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
34 | LV_303-8_0_2_line_34 | NAYY 4x150 SE | 31 | 32 | 0.018944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
35 | LV_303-8_0_2_line_35 | NAYY 4x150 SE | 33 | 34 | 0.0057786 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_303-8_0_2_line_36 | NAYY 4x150 SE | 33 | 35 | 0.00024599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_303-8_0_2_line_37 | NAYY 4x150 SE | 34 | 36 | 0.016088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_303-8_0_2_line_38 | NAYY 4x150 SE | 35 | 37 | 0.0027045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_303-8_0_2_line_39 | NAYY 4x150 SE | 36 | 38 | 0.0084168 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_303-8_0_2_line_40 | NAYY 4x150 SE | 37 | 39 | 0.025158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_303-8_0_2_line_41 | NAYY 4x150 SE | 38 | 40 | 0.00090357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_303-8_0_2_line_42 | NAYY 4x150 SE | 39 | 41 | 0.013178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_303-8_0_2_line_43 | NAYY 4x150 SE | 40 | 63 | 0.021761 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_303-8_0_2_line_44 | NAYY 4x150 SE | 42 | 43 | 0.02785 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_303-8_0_2_line_45 | NAYY 4x150 SE | 43 | 44 | 0.028818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_303-8_0_2_line_46 | NAYY 4x150 SE | 44 | 45 | 0.021929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_303-8_0_2_line_47 | NAYY 4x150 SE | 45 | 46 | 0.021775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_303-8_0_2_line_48 | NAYY 4x150 SE | 46 | 85 | 0.036861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_303-8_0_2_line_49 | NAYY 4x150 SE | 47 | 58 | 0.020978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_303-8_0_2_line_50 | NAYY 4x150 SE | 48 | 52 | 0.016388 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_303-8_0_2_line_51 | NAYY 4x150 SE | 48 | 49 | 0.01825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
52 | LV_303-8_0_2_line_52 | NAYY 4x150 SE | 49 | 50 | 0.0020513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
53 | LV_303-8_0_2_line_53 | NAYY 4x150 SE | 50 | 51 | 0.022151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
54 | LV_303-8_0_2_line_54 | NAYY 4x150 SE | 51 | 53 | 0.0072267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
55 | LV_303-8_0_2_line_55 | NAYY 4x150 SE | 52 | 54 | 0.018902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_303-8_0_2_line_56 | NAYY 4x150 SE | 53 | 55 | 0.0035634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
57 | LV_303-8_0_2_line_57 | NAYY 4x150 SE | 54 | 56 | 0.012596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_303-8_0_2_line_58 | NAYY 4x150 SE | 54 | 57 | 0.01248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_303-8_0_2_line_59 | NAYY 4x150 SE | 55 | 97 | 0.011422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_303-8_0_2_line_60 | NAYY 4x150 SE | 55 | 59 | 0.0085874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
61 | LV_303-8_0_2_line_61 | NAYY 4x150 SE | 57 | 66 | 0.013226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_303-8_0_2_line_62 | NAYY 4x150 SE | 58 | 74 | 0.00033464 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_303-8_0_2_line_63 | NAYY 4x150 SE | 60 | 61 | 0.011936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_303-8_0_2_line_64 | NAYY 4x150 SE | 61 | 96 | 0.029212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_303-8_0_2_line_65 | NAYY 4x150 SE | 62 | 88 | 0.021146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_303-8_0_2_line_66 | NAYY 4x150 SE | 63 | 64 | 0.0045355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_303-8_0_2_line_67 | NAYY 4x150 SE | 63 | 65 | 0.020383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_303-8_0_2_line_68 | NAYY 4x150 SE | 64 | 66 | 0.019991 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_303-8_0_2_line_69 | NAYY 4x150 SE | 66 | 67 | 0.035099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_303-8_0_2_line_70 | NAYY 4x150 SE | 67 | 71 | 0.017121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_303-8_0_2_line_71 | NAYY 4x150 SE | 68 | 69 | 0.0082032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_303-8_0_2_line_72 | NAYY 4x150 SE | 68 | 70 | 0.013172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_303-8_0_2_line_73 | NAYY 4x150 SE | 69 | 98 | 0.01319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_303-8_0_2_line_74 | NAYY 4x150 SE | 70 | 94 | 0.013855 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_303-8_0_2_line_75 | NAYY 4x150 SE | 72 | 73 | 0.0025708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_303-8_0_2_line_76 | NAYY 4x150 SE | 73 | 74 | 0.020471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_303-8_0_2_line_77 | NAYY 4x150 SE | 75 | 76 | 0.021083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_303-8_0_2_line_78 | NAYY 4x150 SE | 76 | 77 | 0.0097144 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_303-8_0_2_line_79 | NAYY 4x150 SE | 77 | 78 | 0.026681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_303-8_0_2_line_80 | NAYY 4x150 SE | 78 | 79 | 0.01583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_303-8_0_2_line_81 | NAYY 4x150 SE | 78 | 80 | 0.033146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_303-8_0_2_line_82 | NAYY 4x150 SE | 79 | 81 | 0.033158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_303-8_0_2_line_83 | NAYY 4x150 SE | 80 | 82 | 0.013571 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_303-8_0_2_line_84 | NAYY 4x150 SE | 82 | 83 | 0.0042246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_303-8_0_2_line_85 | NAYY 4x150 SE | 83 | 84 | 0.0316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_303-8_0_2_line_86 | NAYY 4x150 SE | 85 | 86 | 0.015995 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_303-8_0_2_line_87 | NAYY 4x150 SE | 85 | 87 | 0.0141 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_303-8_0_2_line_88 | NAYY 4x150 SE | 86 | 88 | 0.029904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_303-8_0_2_line_89 | NAYY 4x150 SE | 87 | 89 | 0.01312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_303-8_0_2_line_90 | NAYY 4x150 SE | 88 | 93 | 0.016029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_303-8_0_2_line_91 | NAYY 4x150 SE | 90 | 91 | 0.008483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_303-8_0_2_line_92 | NAYY 4x150 SE | 91 | 92 | 0.012511 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_303-8_0_2_line_93 | NAYY 4x150 SE | 91 | 93 | 0.0095127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_303-8_0_2_line_94 | NAYY 4x150 SE | 92 | 94 | 0.01973 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_303-8_0_2_line_95 | NAYY 4x150 SE | 92 | 95 | 0.020709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_303-8_0_2_line_96 | NAYY 4x150 SE | 95 | 96 | 0.017135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_303-8_0_2_line_97 | NAYY 4x150 SE | 97 | 103 | 0.0062123 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_303-8_0_2_line_98 | NAYY 4x150 SE | 98 | 99 | 0.02418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_303-8_0_2_line_99 | NAYY 4x150 SE | 99 | 100 | 0.00053985 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_303-8_0_2_line_100 | NAYY 4x150 SE | 100 | 101 | 0.009295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_303-8_0_2_line_101 | NAYY 4x150 SE | 101 | 102 | 0.0073824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_303-8_0_2_line_102 | NAYY 4x150 SE | 102 | 103 | 0.0078937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_303-8_0_2_trafo_88 | 0.25 MVA 20/0.4 kV | 104 | 59 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2594257.6769 | 1212871.8366 | 2594262.6723 | 1212872.99
1 | 2594242.4439 | 1212869.4437 | 2594242.6794 | 1212869.399 | 2594245.2011 | 1212869.2075 | 2594248.7795 | 1212869.7821 | 2594257.6769 | 1212871.8366
2 | 2594282.6981 | 1212877.419 | 2594279.2243 | 1212876.8119 | 2594262.6723 | 1212872.99
3 | 2594236.6577 | 1212871.5617 | 2594240.0971 | 1212869.8796 | 2594242.4439 | 1212869.4437
4 | 2594282.6981 | 1212877.419 | 2594307.2479 | 1212881.7095
5 | 2594236.6577 | 1212871.5617 | 2594238.8258 | 1212874.7502 | 2594240.6445 | 1212878.0725 | 2594242.7537 | 1212883.2845 | 2594246.7306 | 1212895.4324
6 | 2594236.6577 | 1212871.5617 | 2594233.7452 | 1212868.3294 | 2594230.248 | 1212865.3311 | 2594227.9947 | 1212863.7626
7 | 2594307.2479 | 1212881.7095 | 2594335.947 | 1212886.725
8 | 2594246.7306 | 1212895.4324 | 2594247.7746 | 1212898.6215 | 2594254.9421 | 1212920.2715
9 | 2594365.896 | 1212891.959 | 2594335.947 | 1212886.725
10 | 2594262.0062 | 1212941.6094 | 2594254.9421 | 1212920.2715
11 | 2594262.0062 | 1212941.6094 | 2594262.9178 | 1212944.4324
12 | 2594262.0062 | 1212941.6094 | 2594253.1874 | 1212941.9071 | 2594248.472 | 1212941.3919
13 | 2594365.896 | 1212891.959 | 2594368.1612 | 1212877.535
14 | 2594365.896 | 1212891.959 | 2594376.2288 | 1212894.0503
15 | 2594300.3866 | 1213032.9565 | 2594295.528 | 1213035.8629 | 2594292.5665 | 1213036.7662 | 2594289.4829 | 1213037.1472 | 2594286.1402 | 1213036.7058 | 2594280.4717 | 1213034.6879 | 2594237.0882 | 1213015.6367
16 | 2594300.3866 | 1213032.9565 | 2594302.3754 | 1213031.4871 | 2594304.4403 | 1213030.2622 | 2594339.0805 | 1213080.1901
17 | 2594300.3866 | 1213032.9565 | 2594302.3754 | 1213031.4871 | 2594304.4403 | 1213030.2622 | 2594301.0169 | 1213024.8959
18 | 2594339.0805 | 1213080.1901 | 2594341.5143 | 1213083.4117 | 2594365.0557 | 1213117.7589
19 | 2594301.0169 | 1213024.8959 | 2594288.8085 | 1213007.5647
20 | 2594301.0169 | 1213024.8959 | 2594308.3459 | 1213023.6992 | 2594312.1066 | 1213023.9045
21 | 2594365.0557 | 1213117.7589 | 2594383.5783 | 1213144.7836
22 | 2594282.0472 | 1212995.5034 | 2594283.6497 | 1212998.6091 | 2594288.8085 | 1213007.5647
23 | 2594329.4776 | 1213026.8544 | 2594312.9493 | 1213023.9505 | 2594312.1066 | 1213023.9045
24 | 2594391.3126 | 1213159.8743 | 2594383.5783 | 1213144.7836 | 2594383.5783 | 1213144.7836
25 | 2594282.0472 | 1212995.5034 | 2594278.9998 | 1212989.5975 | 2594277.8157 | 1212986.9517
26 | 2594395.417 | 1213037.8124 | 2594380.2037 | 1213034.384
27 | 2594395.417 | 1213037.8124 | 2594411.5833 | 1213041.4555
28 | 2594273.6832 | 1212976.8099 | 2594275.2848 | 1212981.2964 | 2594277.8157 | 1212986.9517
29 | 2594240.1329 | 1212939.9377 | 2594246.2286 | 1212941.1468 | 2594248.472 | 1212941.3919
30 | 2594217.766 | 1212932.9211 | 2594239.2009 | 1212939.7529 | 2594240.1329 | 1212939.9377
31 | 2594217.766 | 1212932.9211 | 2594216.0161 | 1212932.3633
32 | 2594217.766 | 1212932.9211 | 2594210.1515 | 1212960.9488
33 | 2594267.5823 | 1212958.8772 | 2594262.9178 | 1212944.4324
34 | 2594267.5823 | 1212958.8772 | 2594270.4329 | 1212967.7047 | 2594273.6832 | 1212976.8099
35 | 2594512.2197 | 1212920.1152 | 2594506.5412 | 1212919.0442
36 | 2594512.4614 | 1212920.1608 | 2594512.2197 | 1212920.1152
37 | 2594506.5412 | 1212919.0442 | 2594490.7318 | 1212916.0624
38 | 2594512.4614 | 1212920.1608 | 2594515.1191 | 1212920.662
39 | 2594482.4608 | 1212914.5025 | 2594490.7318 | 1212916.0624
40 | 2594539.8411 | 1212925.3247 | 2594515.1191 | 1212920.662
41 | 2594482.4608 | 1212914.5025 | 2594481.5729 | 1212914.335
42 | 2594539.8411 | 1212925.3247 | 2594552.7797 | 1212927.8235
43 | 2594460.1893 | 1212910.3019 | 2594481.5729 | 1212914.335
44 | 2594533.6019 | 1212965.6437 | 2594531.5202 | 1212979.0959 | 2594529.1981 | 1212993.1431
45 | 2594529.1981 | 1212993.1431 | 2594528.8312 | 1212995.363 | 2594522.8991 | 1213021.2601
46 | 2594518.0029 | 1213042.6352 | 2594522.8991 | 1213021.2601
47 | 2594513.141 | 1213063.8604 | 2594518.0029 | 1213042.6352
48 | 2594513.141 | 1213063.8604 | 2594477.1359 | 1213055.5006
49 | 2594371.4158 | 1212856.8113 | 2594368.1612 | 1212877.535
50 | 2594376.2288 | 1212894.0503 | 2594392.3027 | 1212897.2409
51 | 2594376.2288 | 1212894.0503 | 2594372.8867 | 1212911.9918
52 | 2594372.8867 | 1212911.9918 | 2594372.511 | 1212914.0084
53 | 2594368.0773 | 1212935.6759 | 2594368.8302 | 1212933.7685 | 2594372.511 | 1212914.0084
54 | 2594368.0773 | 1212935.6759 | 2594367.5571 | 1212936.9937 | 2594364.7439 | 1212942.077 | 2594364.7439 | 1212942.077
55 | 2594410.8434 | 1212900.9211 | 2594392.3027 | 1212897.2409
56 | 2594363.5849 | 1212945.4467 | 2594364.7439 | 1212942.077
57 | 2594410.8434 | 1212900.9211 | 2594408.1737 | 1212913.2306
58 | 2594410.8434 | 1212900.9211 | 2594423.0783 | 1212903.3815
59 | 2594363.5849 | 1212945.4467 | 2594374.7733 | 1212947.7436
60 | 2594363.5849 | 1212945.4467 | 2594361.7933 | 1212953.8451
61 | 2594436.0446 | 1212905.989 | 2594423.0783 | 1212903.3815
62 | 2594371.4158 | 1212856.8113 | 2594371.4677 | 1212856.4807
63 | 2594366.7374 | 1213001.0637 | 2594369.5934 | 1213000.9831 | 2594378.462 | 1213002.9264
64 | 2594402.9395 | 1213000.5733 | 2594401.8655 | 1213005.4215 | 2594397.9325 | 1213007.1929 | 2594378.462 | 1213002.9264
65 | 2594432.2122 | 1213046.1043 | 2594411.5833 | 1213041.4555
66 | 2594460.1893 | 1212910.3019 | 2594455.7244 | 1212909.5044
67 | 2594460.1893 | 1212910.3019 | 2594456.3704 | 1212930.3241
68 | 2594436.0446 | 1212905.989 | 2594455.7244 | 1212909.5044
69 | 2594436.0446 | 1212905.989 | 2594442.7822 | 1212871.5427
70 | 2594446.0687 | 1212854.7397 | 2594442.7822 | 1212871.5427
71 | 2594450.0984 | 1212963.2077 | 2594442.0627 | 1212961.558
72 | 2594450.0984 | 1212963.2077 | 2594447.2173 | 1212976.0608
73 | 2594442.0627 | 1212961.558 | 2594429.1425 | 1212958.9055
74 | 2594444.187 | 1212989.58 | 2594447.2173 | 1212976.0608
75 | 2594375.0425 | 1212833.7179 | 2594374.6437 | 1212836.2576
76 | 2594371.4677 | 1212856.4807 | 2594374.6437 | 1212836.2576
77 | 2594401.2479 | 1213178.4633 | 2594397.497 | 1213171.941 | 2594391.3126 | 1213159.8743
78 | 2594401.2479 | 1213178.4633 | 2594405.9409 | 1213185.1515 | 2594406.9247 | 1213186.3415
79 | 2594425.4965 | 1213205.411 | 2594420.7377 | 1213201.4132 | 2594416.2293 | 1213197.104 | 2594410.8914 | 1213191.1391 | 2594406.9247 | 1213186.3415
80 | 2594425.4965 | 1213205.411 | 2594431.7138 | 1213209.6741 | 2594436.8441 | 1213212.9378 | 2594438.7961 | 1213213.9761
81 | 2594425.4965 | 1213205.411 | 2594446.5748 | 1213179.8304
82 | 2594438.7961 | 1213213.9761 | 2594442.331 | 1213215.8564 | 2594448.0303 | 1213218.5414 | 2594468.8914 | 1213227.8754
83 | 2594446.5748 | 1213179.8304 | 2594453.3941 | 1213171.5545 | 2594455.2362 | 1213169.3829
84 | 2594457.969 | 1213166.1613 | 2594455.2362 | 1213169.3829
85 | 2594478.353 | 1213142.0147 | 2594472.3171 | 1213149.2464 | 2594457.969 | 1213166.1613
86 | 2594477.1359 | 1213055.5006 | 2594461.5134 | 1213052.0699
87 | 2594477.1359 | 1213055.5006 | 2594477.1029 | 1213052.7324 | 2594477.8596 | 1213049.641 | 2594479.3765 | 1213047.1827 | 2594482.0241 | 1213043.5893 | 2594482.3141 | 1213042.847
88 | 2594432.2122 | 1213046.1043 | 2594451.1752 | 1213049.7996 | 2594461.5134 | 1213052.0699
89 | 2594482.7102 | 1213029.9699 | 2594483.5349 | 1213034.6384 | 2594483.4775 | 1213038.1627 | 2594483.032 | 1213041.0091 | 2594482.3141 | 1213042.847
90 | 2594432.2122 | 1213046.1043 | 2594435.4388 | 1213030.4034
91 | 2594437.3537 | 1213021.0855 | 2594429.0836 | 1213019.1967
92 | 2594437.3537 | 1213021.0855 | 2594439.8716 | 1213008.8318
93 | 2594437.3537 | 1213021.0855 | 2594435.4388 | 1213030.4034
94 | 2594439.8716 | 1213008.8318 | 2594444.187 | 1212989.58
95 | 2594439.8716 | 1213008.8318 | 2594419.6615 | 1213004.3125
96 | 2594402.9395 | 1213000.5733 | 2594419.6615 | 1213004.3125
97 | 2594380.8587 | 1212948.993 | 2594374.7733 | 1212947.7436
98 | 2594429.1425 | 1212958.9055 | 2594405.4566 | 1212954.0429
99 | 2594405.4566 | 1212954.0429 | 2594404.9278 | 1212953.9343
100 | 2594404.9278 | 1212953.9343 | 2594395.8227 | 1212952.065
101 | 2594388.5911 | 1212950.5804 | 2594395.8227 | 1212952.065
102 | 2594388.5911 | 1212950.5804 | 2594380.8587 | 1212948.993

## bus_geodata
| x | y | coords
0 | 2594257.6769 | 1212871.8366
1 | 2594262.6723 | 1212872.99
2 | 2594242.4439 | 1212869.4437
3 | 2594282.6981 | 1212877.419
4 | 2594236.6577 | 1212871.5617
5 | 2594307.2479 | 1212881.7095
6 | 2594246.7306 | 1212895.4324
7 | 2594227.9947 | 1212863.7626
8 | 2594335.947 | 1212886.725
9 | 2594254.9421 | 1212920.2715
10 | 2594262.0062 | 1212941.6094
11 | 2594365.896 | 1212891.959
12 | 2594237.0882 | 1213015.6367
13 | 2594300.3866 | 1213032.9565
14 | 2594339.0805 | 1213080.1901
15 | 2594301.0169 | 1213024.8959
16 | 2594365.0557 | 1213117.7589
17 | 2594288.8085 | 1213007.5647
18 | 2594312.1066 | 1213023.9045
19 | 2594383.5783 | 1213144.7836
20 | 2594282.0472 | 1212995.5034
21 | 2594329.4776 | 1213026.8544
22 | 2594380.2037 | 1213034.384
23 | 2594395.417 | 1213037.8124
24 | 2594277.8157 | 1212986.9517
25 | 2594240.1329 | 1212939.9377
26 | 2594248.472 | 1212941.3919
27 | 2594217.766 | 1212932.9211
28 | 2594216.0161 | 1212932.3633
29 | 2594210.1515 | 1212960.9488
30 | 2594262.9178 | 1212944.4324
31 | 2594267.5823 | 1212958.8772
32 | 2594273.6832 | 1212976.8099
33 | 2594512.2197 | 1212920.1152
34 | 2594506.5412 | 1212919.0442
35 | 2594512.4614 | 1212920.1608
36 | 2594490.7318 | 1212916.0624
37 | 2594515.1191 | 1212920.662
38 | 2594482.4608 | 1212914.5025
39 | 2594539.8411 | 1212925.3247
40 | 2594481.5729 | 1212914.335
41 | 2594552.7797 | 1212927.8235
42 | 2594533.6019 | 1212965.6437
43 | 2594529.1981 | 1212993.1431
44 | 2594522.8991 | 1213021.2601
45 | 2594518.0029 | 1213042.6352
46 | 2594513.141 | 1213063.8604
47 | 2594368.1612 | 1212877.535
48 | 2594376.2288 | 1212894.0503
49 | 2594372.8867 | 1212911.9918
50 | 2594372.5111 | 1212914.0084
51 | 2594368.0773 | 1212935.6759
52 | 2594392.3027 | 1212897.2409
53 | 2594364.7439 | 1212942.077
54 | 2594410.8434 | 1212900.9211
55 | 2594363.5849 | 1212945.4467
56 | 2594408.1737 | 1212913.2306
57 | 2594423.0783 | 1212903.3815
58 | 2594371.4158 | 1212856.8113
59 | 2594361.7933 | 1212953.8451
60 | 2594366.7374 | 1213001.0637
61 | 2594378.462 | 1213002.9264
62 | 2594411.5833 | 1213041.4555
63 | 2594460.1893 | 1212910.3019
64 | 2594455.7244 | 1212909.5044
65 | 2594456.3704 | 1212930.3241
66 | 2594436.0446 | 1212905.989
67 | 2594442.7822 | 1212871.5427
68 | 2594450.0984 | 1212963.2077
69 | 2594442.0627 | 1212961.558
70 | 2594447.2173 | 1212976.0608
71 | 2594446.0687 | 1212854.7397
72 | 2594375.0425 | 1212833.7179
73 | 2594374.6437 | 1212836.2576
74 | 2594371.4677 | 1212856.4807
75 | 2594391.3126 | 1213159.8743
76 | 2594401.2479 | 1213178.4633
77 | 2594406.9247 | 1213186.3415
78 | 2594425.4965 | 1213205.411
79 | 2594438.7961 | 1213213.9761
80 | 2594446.5748 | 1213179.8304
81 | 2594468.8914 | 1213227.8754
82 | 2594455.2362 | 1213169.3829
83 | 2594457.969 | 1213166.1613
84 | 2594478.353 | 1213142.0147
85 | 2594477.1359 | 1213055.5006
86 | 2594461.5134 | 1213052.0699
87 | 2594482.3141 | 1213042.847
88 | 2594432.2122 | 1213046.1043
89 | 2594482.7102 | 1213029.9699
90 | 2594429.0836 | 1213019.1967
91 | 2594437.3537 | 1213021.0855
92 | 2594439.8716 | 1213008.8318
93 | 2594435.4388 | 1213030.4034
94 | 2594444.187 | 1212989.58
95 | 2594419.6615 | 1213004.3125
96 | 2594402.9395 | 1213000.5733
97 | 2594374.7733 | 1212947.7436
98 | 2594429.1425 | 1212958.9055
99 | 2594405.4566 | 1212954.0429
100 | 2594404.9278 | 1212953.9343
101 | 2594395.8227 | 1212952.065
102 | 2594388.5911 | 1212950.5804
103 | 2594380.8587 | 1212948.993
104 | 2594363.5849 | 1212945.4467

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1