## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_304-7_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_304-7_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_304-7_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_304-7_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_304-7_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_304-7_0_2_node_31 | 0.4 | n |  | TRUE
6 | bus_LV_304-7_0_2_node_32 | 0.4 | n |  | TRUE
7 | bus_LV_304-7_0_2_node_28 | 0.4 | n |  | TRUE
8 | bus_LV_304-7_0_2_node_62 | 0.4 | n |  | TRUE
9 | bus_LV_304-7_0_2_node_57 | 0.4 | n |  | TRUE
10 | bus_LV_304-7_0_2_node_33 | 0.4 | n |  | TRUE
11 | bus_LV_304-7_0_2_node_29 | 0.4 | n |  | TRUE
12 | bus_LV_304-7_0_2_node_5 | 0.4 | n |  | TRUE
13 | bus_LV_304-7_0_2_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_304-7_0_2_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_304-7_0_2_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_304-7_0_2_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_304-7_0_2_node_18 | 0.4 | n |  | TRUE
18 | bus_LV_304-7_0_2_node_56 | 0.4 | n |  | TRUE
19 | bus_LV_304-7_0_2_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_304-7_0_2_node_51 | 0.4 | n |  | TRUE
21 | bus_LV_304-7_0_2_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_304-7_0_2_node_9 | 0.4 | n |  | TRUE
23 | bus_LV_304-7_0_2_node_10 | 0.4 | n |  | TRUE
24 | bus_LV_304-7_0_2_node_11 | 0.4 | n |  | TRUE
25 | bus_LV_304-7_0_2_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_304-7_0_2_node_12 | 0.4 | n |  | TRUE
27 | bus_LV_304-7_0_2_node_13 | 0.4 | n |  | TRUE
28 | bus_LV_304-7_0_2_node_41 | 0.4 | n |  | TRUE
29 | bus_LV_304-7_0_2_node_42 | 0.4 | n |  | TRUE
30 | bus_LV_304-7_0_2_node_50 | 0.4 | n |  | TRUE
31 | bus_LV_304-7_0_2_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_304-7_0_2_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_304-7_0_2_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_304-7_0_2_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_304-7_0_2_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_304-7_0_2_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_304-7_0_2_node_49 | 0.4 | n |  | TRUE
38 | bus_LV_304-7_0_2_node_55 | 0.4 | n |  | TRUE
39 | bus_LV_304-7_0_2_node_40 | 0.4 | n |  | TRUE
40 | bus_LV_304-7_0_2_node_25 | 0.4 | n |  | TRUE
41 | bus_LV_304-7_0_2_node_26 | 0.4 | n |  | TRUE
42 | bus_LV_304-7_0_2_node_27 | 0.4 | n |  | TRUE
43 | bus_LV_304-7_0_2_node_59 | 0.4 | n |  | TRUE
44 | bus_LV_304-7_0_2_node_58 | 0.4 | n |  | TRUE
45 | bus_LV_304-7_0_2_node_30 | 0.4 | n |  | TRUE
46 | bus_LV_304-7_0_2_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_304-7_0_2_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_304-7_0_2_node_47 | 0.4 | n |  | TRUE
49 | bus_LV_304-7_0_2_node_48 | 0.4 | n |  | TRUE
50 | bus_LV_304-7_0_2_node_36 | 0.4 | n |  | TRUE
51 | bus_LV_304-7_0_2_node_37 | 0.4 | n |  | TRUE
52 | bus_LV_304-7_0_2_node_38 | 0.4 | n |  | TRUE
53 | bus_LV_304-7_0_2_node_39 | 0.4 | n |  | TRUE
54 | bus_LV_304-7_0_2_node_54 | 0.4 | n |  | TRUE
55 | bus_LV_304-7_0_2_node_60 | 0.4 | n |  | TRUE
56 | bus_LV_304-7_0_2_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_304-7_0_2_node_44 | 0.4 | n |  | TRUE
58 | bus_LV_304-7_0_2_node_45 | 0.4 | n |  | TRUE
59 | bus_LV_304-7_0_2_node_46 | 0.4 | n |  | TRUE
60 | bus_LV_304-7_0_2_node_53 | 0.4 | n |  | TRUE
61 | bus_LV_304-7_0_2_node_52 | 0.4 | n |  | TRUE
62 | bus_MV_403_1_node_163 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_304-7_0_2_load_0 | 0 | 0.0008119 | 0.00020348 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_304-7_0_2_load_1 | 1 | 0.003726 | 0.00093382 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_304-7_0_2_load_32 | 6 | 0.001886 | 0.00047268 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_304-7_0_2_load_28 | 7 | 0.0043897 | 0.0011002 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_304-7_0_2_load_62 | 8 | 0.0020967 | 0.00052547 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_304-7_0_2_load_57 | 9 | 0.0035266 | 0.00088385 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_304-7_0_2_load_33 | 10 | 0.0018915 | 0.00047406 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_304-7_0_2_load_29 | 11 | 0.0026515 | 0.00066453 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_304-7_0_2_load_5 | 12 | 0.0082803 | 0.0020752 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_304-7_0_2_load_7 | 14 | 0.0029767 | 0.00074603 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_304-7_0_2_load_15 | 16 | 0.0060521 | 0.0015168 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_304-7_0_2_load_56 | 18 | 0.0078581 | 0.0019694 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_304-7_0_2_load_51 | 20 | 0.0028677 | 0.00071871 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_304-7_0_2_load_9 | 22 | 0.001749 | 0.00043834 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_304-7_0_2_load_10 | 23 | 0.0023902 | 0.00059905 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_304-7_0_2_load_11 | 24 | 0.0060302 | 0.0015113 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_304-7_0_2_load_17 | 25 | 0.0012541 | 0.0003143 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_304-7_0_2_load_12 | 26 | 0.0017474 | 0.00043793 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_304-7_0_2_load_13 | 27 | 0.0025453 | 0.00063792 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_304-7_0_2_load_41 | 28 | 0.0022986 | 0.00057607 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_304-7_0_2_load_42 | 29 | 0.0070619 | 0.0017699 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_304-7_0_2_load_50 | 30 | 0.0014815 | 0.00037129 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_304-7_0_2_load_19 | 31 | 0.0029255 | 0.0007332 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_304-7_0_2_load_20 | 32 | 0.0028045 | 0.00070288 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_304-7_0_2_load_22 | 34 | 0.0039121 | 0.00098046 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_304-7_0_2_load_24 | 36 | 0.0020701 | 0.00051883 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_304-7_0_2_load_49 | 37 | 0.0032009 | 0.00080223 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_304-7_0_2_load_55 | 38 | 0.0032679 | 0.00081902 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_304-7_0_2_load_25 | 40 | 0.00062936 | 0.00015773 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_304-7_0_2_load_26 | 41 | 0.00057705 | 0.00014462 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_304-7_0_2_load_27 | 42 | 0.00053886 | 0.00013505 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_304-7_0_2_load_59 | 43 | 0.00081055 | 0.00020314 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_304-7_0_2_load_30 | 45 | 0.0092801 | 0.0023258 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_304-7_0_2_load_34 | 46 | 0.0018972 | 0.00047548 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_304-7_0_2_load_35 | 47 | 0.0018913 | 0.00047401 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_304-7_0_2_load_47 | 48 | 0.001052 | 0.00026366 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_304-7_0_2_load_48 | 49 | 0.00075848 | 0.00019009 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_304-7_0_2_load_36 | 50 | 0.00075149 | 0.00018834 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_304-7_0_2_load_37 | 51 | 0.0027616 | 0.00069213 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_304-7_0_2_load_38 | 52 | 0.00048821 | 0.00012236 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_304-7_0_2_load_39 | 53 | 0.00035752 | 8.9603e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_304-7_0_2_load_54 | 54 | 0.0051405 | 0.0012883 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_304-7_0_2_load_60 | 55 | 0.0032134 | 0.00080536 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_304-7_0_2_load_43 | 56 | 0.0049355 | 0.001237 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_304-7_0_2_load_44 | 57 | 0.0026767 | 0.00067084 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_304-7_0_2_load_45 | 58 | 0.0028378 | 0.00071123 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_304-7_0_2_load_53 | 60 | 0.0028793 | 0.00072162 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_304-7_0_2_load_52 | 61 | 0.0028915 | 0.00072469 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 45 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_304-7_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.035908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_304-7_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.059387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_304-7_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.03083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_304-7_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.018003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_304-7_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.005613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
5 | LV_304-7_0_2_line_5 | NAYY 4x150 SE | 3 | 6 | 0.039613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_304-7_0_2_line_6 | NAYY 4x150 SE | 3 | 7 | 0.016421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_304-7_0_2_line_7 | NAYY 4x150 SE | 4 | 8 | 0.042764 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_304-7_0_2_line_8 | NAYY 4x150 SE | 5 | 9 | 0.03934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_304-7_0_2_line_9 | NAYY 4x150 SE | 6 | 10 | 4.8591e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_304-7_0_2_line_10 | NAYY 4x150 SE | 7 | 11 | 0.020025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
11 | LV_304-7_0_2_line_11 | NAYY 4x150 SE | 9 | 18 | 0.0090074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
12 | LV_304-7_0_2_line_12 | NAYY 4x150 SE | 10 | 46 | 0.029952 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_304-7_0_2_line_13 | NAYY 4x150 SE | 11 | 45 | 0.012632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
14 | LV_304-7_0_2_line_14 | NAYY 4x150 SE | 12 | 13 | 0.031908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_304-7_0_2_line_15 | NAYY 4x150 SE | 13 | 14 | 0.054745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_304-7_0_2_line_16 | NAYY 4x150 SE | 13 | 15 | 0.010753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_304-7_0_2_line_17 | NAYY 4x150 SE | 14 | 16 | 0.00064805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_304-7_0_2_line_18 | NAYY 4x150 SE | 15 | 17 | 0.018076 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
19 | LV_304-7_0_2_line_19 | NAYY 4x150 SE | 15 | 18 | 0.042258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
20 | LV_304-7_0_2_line_20 | NAYY 4x150 SE | 16 | 19 | 0.014938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_304-7_0_2_line_21 | NAYY 4x150 SE | 17 | 20 | 0.043119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
22 | LV_304-7_0_2_line_22 | NAYY 4x150 SE | 17 | 21 | 0.037119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_304-7_0_2_line_23 | NAYY 4x150 SE | 19 | 27 | 0.058497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_304-7_0_2_line_24 | NAYY 4x150 SE | 20 | 30 | 0.010584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
25 | LV_304-7_0_2_line_25 | NAYY 4x150 SE | 21 | 25 | 0.016061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_304-7_0_2_line_26 | NAYY 4x150 SE | 21 | 24 | 0.0017681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_304-7_0_2_line_27 | NAYY 4x150 SE | 22 | 23 | 0.022669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_304-7_0_2_line_28 | NAYY 4x150 SE | 23 | 24 | 0.01236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_304-7_0_2_line_29 | NAYY 4x150 SE | 25 | 28 | 0.0087761 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_304-7_0_2_line_30 | NAYY 4x150 SE | 26 | 27 | 0.0051942 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_304-7_0_2_line_31 | NAYY 4x150 SE | 28 | 29 | 0.016127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_304-7_0_2_line_32 | NAYY 4x150 SE | 30 | 37 | 0.020807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
33 | LV_304-7_0_2_line_33 | NAYY 4x150 SE | 31 | 32 | 0.019035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_304-7_0_2_line_34 | NAYY 4x150 SE | 31 | 33 | 0.013408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_304-7_0_2_line_35 | NAYY 4x150 SE | 32 | 34 | 0.0026715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_304-7_0_2_line_36 | NAYY 4x150 SE | 33 | 35 | 0.043545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
37 | LV_304-7_0_2_line_37 | NAYY 4x150 SE | 33 | 36 | 0.020738 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_304-7_0_2_line_38 | NAYY 4x150 SE | 35 | 37 | 0.016221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
39 | LV_304-7_0_2_line_39 | NAYY 4x150 SE | 36 | 38 | 0.054628 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_304-7_0_2_line_40 | NAYY 4x150 SE | 38 | 39 | 0.046444 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_304-7_0_2_line_41 | NAYY 4x150 SE | 39 | 44 | 0.0375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_304-7_0_2_line_42 | NAYY 4x150 SE | 39 | 52 | 0.046882 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_304-7_0_2_line_43 | NAYY 4x150 SE | 40 | 41 | 0.015311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_304-7_0_2_line_44 | NAYY 4x150 SE | 41 | 42 | 0.00058533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_304-7_0_2_line_45 | NAYY 4x150 SE | 42 | 43 | 0.028253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_304-7_0_2_line_46 | NAYY 4x150 SE | 43 | 44 | 0.016305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_304-7_0_2_line_47 | NAYY 4x150 SE | 46 | 47 | 0.00017385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_304-7_0_2_line_48 | NAYY 4x150 SE | 47 | 48 | 0.028793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_304-7_0_2_line_49 | NAYY 4x150 SE | 48 | 49 | 0.038179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_304-7_0_2_line_50 | NAYY 4x150 SE | 50 | 51 | 0.02156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_304-7_0_2_line_51 | NAYY 4x150 SE | 50 | 52 | 0.01827 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_304-7_0_2_line_52 | NAYY 4x150 SE | 51 | 53 | 0.0052401 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_304-7_0_2_line_53 | NAYY 4x150 SE | 53 | 54 | 0.015933 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_304-7_0_2_line_54 | NAYY 4x150 SE | 54 | 55 | 0.0050937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_304-7_0_2_line_55 | NAYY 4x150 SE | 55 | 60 | 0.014535 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_304-7_0_2_line_56 | NAYY 4x150 SE | 56 | 57 | 0.016632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_304-7_0_2_line_57 | NAYY 4x150 SE | 56 | 58 | 0.0021667 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_304-7_0_2_line_58 | NAYY 4x150 SE | 57 | 59 | 0.018424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_304-7_0_2_line_59 | NAYY 4x150 SE | 59 | 60 | 0.018036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_304-7_0_2_line_60 | NAYY 4x150 SE | 59 | 61 | 0.0035432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_304-7_0_2_trafo_30 | 0.25 MVA 20/0.4 kV | 62 | 45 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2584697.694 | 1208140.2997 | 2584697.694 | 1208140.2997 | 2584695.6745 | 1208141.3499 | 2584687.3174 | 1208143.4615 | 2584684.8951 | 1208144.5462 | 2584681.9588 | 1208146.7994 | 2584668.7615 | 1208159.9865
1 | 2584744.6052 | 1208103.9033 | 2584700.4945 | 1208138.4804 | 2584697.694 | 1208140.2997
2 | 2584646.1716 | 1208180.7218 | 2584649.8234 | 1208178.8335 | 2584652.2424 | 1208176.4926 | 2584668.7615 | 1208159.9865
3 | 2584744.6052 | 1208103.9033 | 2584752.9859 | 1208119.8461
4 | 2584641.5639 | 1208177.4986 | 2584646.1716 | 1208180.7218
5 | 2584646.1716 | 1208180.7218 | 2584676.33 | 1208206.4059
6 | 2584646.1716 | 1208180.7218 | 2584644.1028 | 1208183.2952 | 2584635.8594 | 1208193.5014
7 | 2584772.8947 | 1208157.7159 | 2584752.9859 | 1208119.8461
8 | 2584641.5639 | 1208177.4986 | 2584626.9567 | 1208167.4197 | 2584616.929 | 1208161.4202 | 2584608.9602 | 1208157.8277 | 2584607.8521 | 1208157.4621
9 | 2584676.3669 | 1208206.4374 | 2584676.33 | 1208206.4059
10 | 2584635.8594 | 1208193.5014 | 2584630.2277 | 1208200.474 | 2584621.9381 | 1208207.7981
11 | 2584599.1529 | 1208155.2049 | 2584603.4438 | 1208156.0077 | 2584607.8521 | 1208157.4621
12 | 2584676.3669 | 1208206.4374 | 2584692.0606 | 1208219.8027 | 2584698.9559 | 1208226.0997
13 | 2584612.4717 | 1208216.162 | 2584621.9381 | 1208207.7981
14 | 2584557.6234 | 1208149.512 | 2584558.0686 | 1208136.5703 | 2584559.7865 | 1208118.9339 | 2584559.9459 | 1208117.7054
15 | 2584557.6234 | 1208149.512 | 2584553.6963 | 1208147.8435 | 2584550.7347 | 1208146.217 | 2584543.3562 | 1208141.6337 | 2584539.541 | 1208139.1311 | 2584528.4579 | 1208133.6903 | 2584526.1203 | 1208132.2734 | 2584524.2678 | 1208130.3216 | 2584519.3048 | 1208122.0633 | 2584515.2634 | 1208117.043
16 | 2584557.735 | 1208160.2621 | 2584557.6234 | 1208149.512
17 | 2584514.8571 | 1208116.5382 | 2584515.2634 | 1208117.043
18 | 2584557.735 | 1208160.2621 | 2584560.0319 | 1208178.1883
19 | 2584557.735 | 1208160.2621 | 2584562.7183 | 1208158.8039 | 2584575.1462 | 1208155.214 | 2584582.5484 | 1208154.2943 | 2584591.344 | 1208154.2381 | 2584596.8799 | 1208154.7796 | 2584599.1529 | 1208155.2049
20 | 2584503.8545 | 1208106.5617 | 2584509.2699 | 1208110.4608 | 2584513.0354 | 1208114.2753 | 2584514.8571 | 1208116.5382
21 | 2584560.0319 | 1208178.1883 | 2584560.6701 | 1208183.8898 | 2584561.0685 | 1208187.991 | 2584560.9641 | 1208191.6933 | 2584560.5453 | 1208194.3626 | 2584559.6144 | 1208198.8897 | 2584558.0602 | 1208203.4296 | 2584556.5643 | 1208207.0021 | 2584555.2261 | 1208209.8405 | 2584553.796 | 1208212.4235 | 2584551.4934 | 1208215.6868 | 2584549.3143 | 1208218.3971
22 | 2584560.0319 | 1208178.1883 | 2584556.0408 | 1208178.2209 | 2584536.5499 | 1208178.6608 | 2584527.1063 | 1208178.0517 | 2584522.9078 | 1208177.24
23 | 2584503.8545 | 1208106.5617 | 2584499.6511 | 1208103.9268 | 2584497.4211 | 1208102.9654 | 2584494.6454 | 1208102.6502 | 2584485.9037 | 1208103.0066 | 2584483.1048 | 1208102.5248 | 2584480.8448 | 1208101.7302 | 2584465.4663 | 1208093.3658 | 2584463.8915 | 1208092.9586 | 2584462.9649 | 1208093.2946 | 2584461.9258 | 1208094.1978 | 2584455.388 | 1208105.2421
24 | 2584549.3143 | 1208218.3971 | 2584548.1972 | 1208219.7866 | 2584544.6042 | 1208223.8204 | 2584542.2258 | 1208226.249
25 | 2584522.9078 | 1208177.24 | 2584514.6546 | 1208191.018
26 | 2584522.9078 | 1208177.24 | 2584521.2368 | 1208176.662
27 | 2584509.7241 | 1208172.1954 | 2584489.0128 | 1208162.9798
28 | 2584509.7241 | 1208172.1954 | 2584514.6139 | 1208174.3711 | 2584521.2368 | 1208176.662
29 | 2584514.6546 | 1208191.018 | 2584510.1448 | 1208198.5466
30 | 2584452.7421 | 1208109.7119 | 2584455.388 | 1208105.2421
31 | 2584501.8578 | 1208212.381 | 2584510.1448 | 1208198.5466
32 | 2584526.8851 | 1208240.2741 | 2584530.3554 | 1208237.4873 | 2584536.3397 | 1208232.2021 | 2584540.5327 | 1208227.9777 | 2584542.2258 | 1208226.249
33 | 2584567.9929 | 1208248.0255 | 2584557.216 | 1208263.7165
34 | 2584549.6251 | 1208274.7688 | 2584557.216 | 1208263.7165
35 | 2584569.5053 | 1208245.8233 | 2584567.9929 | 1208248.0255
36 | 2584513.8074 | 1208249.8595 | 2584549.6251 | 1208274.7688
37 | 2584549.6251 | 1208274.7688 | 2584565.9827 | 1208287.5156
38 | 2584513.8074 | 1208249.8595 | 2584523.1333 | 1208243.2871 | 2584526.8851 | 1208240.2741
39 | 2584565.9827 | 1208287.5156 | 2584571.4798 | 1208291.7992 | 2584608.5452 | 1208321.758
40 | 2584644.6661 | 1208350.9533 | 2584608.5452 | 1208321.758
41 | 2584673.1001 | 1208375.4934 | 2584644.6661 | 1208350.9533
42 | 2584644.6661 | 1208350.9533 | 2584683.857 | 1208325.2242
43 | 2584716.2459 | 1208334.0622 | 2584712.7994 | 1208334.8907 | 2584710.6585 | 1208336.008 | 2584704.2136 | 1208342.7835
44 | 2584704.2136 | 1208342.7835 | 2584703.8102 | 1208343.2076
45 | 2584703.8102 | 1208343.2076 | 2584684.3379 | 1208363.679
46 | 2584673.1001 | 1208375.4934 | 2584684.3379 | 1208363.679
47 | 2584699.0843 | 1208226.2169 | 2584698.9559 | 1208226.0997
48 | 2584720.3458 | 1208245.6333 | 2584699.0843 | 1208226.2169
49 | 2584720.3458 | 1208245.6333 | 2584733.1404 | 1208257.3176 | 2584744.9621 | 1208269.3161 | 2584747.4637 | 1208272.4473
50 | 2584690.6428 | 1208311.9851 | 2584675.5313 | 1208296.6075
51 | 2584690.6428 | 1208311.9851 | 2584691.3348 | 1208312.6893 | 2584692.4878 | 1208314.6652 | 2584692.8889 | 1208316.9099 | 2584692.3845 | 1208318.8011 | 2584690.8915 | 1208320.606 | 2584683.857 | 1208325.2242
52 | 2584675.5313 | 1208296.6075 | 2584671.8585 | 1208292.87
53 | 2584661.9945 | 1208280.4113 | 2584662.6934 | 1208281.5571 | 2584665.2345 | 1208285.2526 | 2584667.294 | 1208287.9377 | 2584670.3359 | 1208291.3206 | 2584671.8585 | 1208292.87
54 | 2584661.9945 | 1208280.4113 | 2584659.3419 | 1208276.0627 | 2584659.3419 | 1208276.0627
55 | 2584649.7153 | 1208265.1971 | 2584654.6368 | 1208270.4273 | 2584657.6939 | 1208273.7769 | 2584659.3419 | 1208276.0627
56 | 2584612.7839 | 1208277.0655 | 2584624.4418 | 1208265.2026
57 | 2584611.2653 | 1208278.6108 | 2584612.7839 | 1208277.0655
58 | 2584637.3553 | 1208252.0619 | 2584624.4418 | 1208265.2026
59 | 2584637.3553 | 1208252.0619 | 2584649.7153 | 1208265.1971
60 | 2584637.3553 | 1208252.0619 | 2584635.4528 | 1208249.0727

## bus_geodata
| x | y | coords
0 | 2584697.694 | 1208140.2997
1 | 2584668.7615 | 1208159.9865
2 | 2584744.6052 | 1208103.9033
3 | 2584646.1716 | 1208180.7218
4 | 2584752.9859 | 1208119.8461
5 | 2584641.5639 | 1208177.4986
6 | 2584676.33 | 1208206.4059
7 | 2584635.8594 | 1208193.5014
8 | 2584772.8947 | 1208157.7159
9 | 2584607.8521 | 1208157.4621
10 | 2584676.3669 | 1208206.4374
11 | 2584621.9381 | 1208207.7981
12 | 2584559.9459 | 1208117.7054
13 | 2584557.6234 | 1208149.512
14 | 2584515.2634 | 1208117.043
15 | 2584557.735 | 1208160.2621
16 | 2584514.8571 | 1208116.5382
17 | 2584560.0319 | 1208178.1883
18 | 2584599.1529 | 1208155.2049
19 | 2584503.8545 | 1208106.5617
20 | 2584549.3143 | 1208218.3971
21 | 2584522.9078 | 1208177.24
22 | 2584489.0128 | 1208162.9798
23 | 2584509.7241 | 1208172.1954
24 | 2584521.2368 | 1208176.662
25 | 2584514.6546 | 1208191.018
26 | 2584452.7421 | 1208109.7119
27 | 2584455.388 | 1208105.2421
28 | 2584510.1448 | 1208198.5466
29 | 2584501.8578 | 1208212.381
30 | 2584542.2258 | 1208226.249
31 | 2584557.216 | 1208263.7165
32 | 2584567.9929 | 1208248.0255
33 | 2584549.6251 | 1208274.7688
34 | 2584569.5053 | 1208245.8233
35 | 2584513.8074 | 1208249.8595
36 | 2584565.9827 | 1208287.5156
37 | 2584526.8851 | 1208240.2741
38 | 2584608.5452 | 1208321.758
39 | 2584644.6661 | 1208350.9533
40 | 2584716.2459 | 1208334.0622
41 | 2584704.2136 | 1208342.7835
42 | 2584703.8102 | 1208343.2076
43 | 2584684.3379 | 1208363.679
44 | 2584673.1001 | 1208375.4934
45 | 2584612.4717 | 1208216.162
46 | 2584698.9559 | 1208226.0997
47 | 2584699.0843 | 1208226.2169
48 | 2584720.3458 | 1208245.6333
49 | 2584747.4637 | 1208272.4473
50 | 2584690.6428 | 1208311.9851
51 | 2584675.5313 | 1208296.6075
52 | 2584683.857 | 1208325.2242
53 | 2584671.8585 | 1208292.87
54 | 2584661.9945 | 1208280.4113
55 | 2584659.3419 | 1208276.0627
56 | 2584612.7839 | 1208277.0655
57 | 2584624.4418 | 1208265.2026
58 | 2584611.2653 | 1208278.6108
59 | 2584637.3553 | 1208252.0619
60 | 2584649.7153 | 1208265.1971
61 | 2584635.4528 | 1208249.0727
62 | 2584646.1716 | 1208180.7218

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1