## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_321-1_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_321-1_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_321-1_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_321-1_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_321-1_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_321-1_0_4_node_8 | 0.4 | n |  | TRUE
6 | bus_LV_321-1_0_4_node_42 | 0.4 | n |  | TRUE
7 | bus_LV_321-1_0_4_node_40 | 0.4 | n |  | TRUE
8 | bus_LV_321-1_0_4_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_321-1_0_4_node_58 | 0.4 | n |  | TRUE
10 | bus_LV_321-1_0_4_node_55 | 0.4 | n |  | TRUE
11 | bus_LV_321-1_0_4_node_32 | 0.4 | n |  | TRUE
12 | bus_LV_321-1_0_4_node_30 | 0.4 | n |  | TRUE
13 | bus_LV_321-1_0_4_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_321-1_0_4_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_321-1_0_4_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_321-1_0_4_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_321-1_0_4_node_21 | 0.4 | n |  | TRUE
18 | bus_LV_321-1_0_4_node_98 | 0.4 | n |  | TRUE
19 | bus_LV_321-1_0_4_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_321-1_0_4_node_41 | 0.4 | n |  | TRUE
21 | bus_LV_321-1_0_4_node_64 | 0.4 | n |  | TRUE
22 | bus_LV_321-1_0_4_node_31 | 0.4 | n |  | TRUE
23 | bus_LV_321-1_0_4_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_321-1_0_4_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_321-1_0_4_node_11 | 0.4 | n |  | TRUE
26 | bus_LV_321-1_0_4_node_97 | 0.4 | n |  | TRUE
27 | bus_LV_321-1_0_4_node_69 | 0.4 | n |  | TRUE
28 | bus_LV_321-1_0_4_node_74 | 0.4 | n |  | TRUE
29 | bus_LV_321-1_0_4_node_67 | 0.4 | n |  | TRUE
30 | bus_LV_321-1_0_4_node_71 | 0.4 | n |  | TRUE
31 | bus_LV_321-1_0_4_node_72 | 0.4 | n |  | TRUE
32 | bus_LV_321-1_0_4_node_73 | 0.4 | n |  | TRUE
33 | bus_LV_321-1_0_4_node_77 | 0.4 | n |  | TRUE
34 | bus_LV_321-1_0_4_node_76 | 0.4 | n |  | TRUE
35 | bus_LV_321-1_0_4_node_75 | 0.4 | n |  | TRUE
36 | bus_LV_321-1_0_4_node_12 | 0.4 | n |  | TRUE
37 | bus_LV_321-1_0_4_node_66 | 0.4 | n |  | TRUE
38 | bus_LV_321-1_0_4_node_96 | 0.4 | n |  | TRUE
39 | bus_LV_321-1_0_4_node_95 | 0.4 | n |  | TRUE
40 | bus_LV_321-1_0_4_node_18 | 0.4 | n |  | TRUE
41 | bus_LV_321-1_0_4_node_19 | 0.4 | n |  | TRUE
42 | bus_LV_321-1_0_4_node_68 | 0.4 | n |  | TRUE
43 | bus_LV_321-1_0_4_node_70 | 0.4 | n |  | TRUE
44 | bus_LV_321-1_0_4_node_86 | 0.4 | n |  | TRUE
45 | bus_LV_321-1_0_4_node_88 | 0.4 | n |  | TRUE
46 | bus_LV_321-1_0_4_node_79 | 0.4 | n |  | TRUE
47 | bus_LV_321-1_0_4_node_81 | 0.4 | n |  | TRUE
48 | bus_LV_321-1_0_4_node_82 | 0.4 | n |  | TRUE
49 | bus_LV_321-1_0_4_node_78 | 0.4 | n |  | TRUE
50 | bus_LV_321-1_0_4_node_83 | 0.4 | n |  | TRUE
51 | bus_LV_321-1_0_4_node_84 | 0.4 | n |  | TRUE
52 | bus_LV_321-1_0_4_node_85 | 0.4 | n |  | TRUE
53 | bus_LV_321-1_0_4_node_87 | 0.4 | n |  | TRUE
54 | bus_LV_321-1_0_4_node_92 | 0.4 | n |  | TRUE
55 | bus_LV_321-1_0_4_node_93 | 0.4 | n |  | TRUE
56 | bus_LV_321-1_0_4_node_94 | 0.4 | n |  | TRUE
57 | bus_LV_321-1_0_4_node_80 | 0.4 | n |  | TRUE
58 | bus_LV_321-1_0_4_node_89 | 0.4 | n |  | TRUE
59 | bus_LV_321-1_0_4_node_90 | 0.4 | n |  | TRUE
60 | bus_LV_321-1_0_4_node_14 | 0.4 | n |  | TRUE
61 | bus_LV_321-1_0_4_node_16 | 0.4 | n |  | TRUE
62 | bus_LV_321-1_0_4_node_17 | 0.4 | n |  | TRUE
63 | bus_LV_321-1_0_4_node_22 | 0.4 | n |  | TRUE
64 | bus_LV_321-1_0_4_node_23 | 0.4 | n |  | TRUE
65 | bus_LV_321-1_0_4_node_24 | 0.4 | n |  | TRUE
66 | bus_LV_321-1_0_4_node_65 | 0.4 | n |  | TRUE
67 | bus_LV_321-1_0_4_node_45 | 0.4 | n |  | TRUE
68 | bus_LV_321-1_0_4_node_48 | 0.4 | n |  | TRUE
69 | bus_LV_321-1_0_4_node_36 | 0.4 | n |  | TRUE
70 | bus_LV_321-1_0_4_node_25 | 0.4 | n |  | TRUE
71 | bus_LV_321-1_0_4_node_26 | 0.4 | n |  | TRUE
72 | bus_LV_321-1_0_4_node_27 | 0.4 | n |  | TRUE
73 | bus_LV_321-1_0_4_node_29 | 0.4 | n |  | TRUE
74 | bus_LV_321-1_0_4_node_28 | 0.4 | n |  | TRUE
75 | bus_LV_321-1_0_4_node_33 | 0.4 | n |  | TRUE
76 | bus_LV_321-1_0_4_node_34 | 0.4 | n |  | TRUE
77 | bus_LV_321-1_0_4_node_43 | 0.4 | n |  | TRUE
78 | bus_LV_321-1_0_4_node_35 | 0.4 | n |  | TRUE
79 | bus_LV_321-1_0_4_node_44 | 0.4 | n |  | TRUE
80 | bus_LV_321-1_0_4_node_37 | 0.4 | n |  | TRUE
81 | bus_LV_321-1_0_4_node_38 | 0.4 | n |  | TRUE
82 | bus_LV_321-1_0_4_node_39 | 0.4 | n |  | TRUE
83 | bus_LV_321-1_0_4_node_46 | 0.4 | n |  | TRUE
84 | bus_LV_321-1_0_4_node_47 | 0.4 | n |  | TRUE
85 | bus_LV_321-1_0_4_node_49 | 0.4 | n |  | TRUE
86 | bus_LV_321-1_0_4_node_50 | 0.4 | n |  | TRUE
87 | bus_LV_321-1_0_4_node_51 | 0.4 | n |  | TRUE
88 | bus_LV_321-1_0_4_node_52 | 0.4 | n |  | TRUE
89 | bus_LV_321-1_0_4_node_53 | 0.4 | n |  | TRUE
90 | bus_LV_321-1_0_4_node_54 | 0.4 | n |  | TRUE
91 | bus_LV_321-1_0_4_node_62 | 0.4 | n |  | TRUE
92 | bus_LV_321-1_0_4_node_60 | 0.4 | n |  | TRUE
93 | bus_LV_321-1_0_4_node_56 | 0.4 | n |  | TRUE
94 | bus_LV_321-1_0_4_node_57 | 0.4 | n |  | TRUE
95 | bus_LV_321-1_0_4_node_59 | 0.4 | n |  | TRUE
96 | bus_LV_321-1_0_4_node_63 | 0.4 | n |  | TRUE
97 | bus_LV_321-1_0_4_node_61 | 0.4 | n |  | TRUE
98 | bus_MV_481_0_node_40 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_321-1_0_4_load_0 | 0 | 0.004881 | 0.0012233 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_321-1_0_4_load_42 | 6 | 0.0029918 | 0.00074982 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_321-1_0_4_load_40 | 7 | 0.0045087 | 0.00113 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_321-1_0_4_load_58 | 9 | 0.0011843 | 0.00029681 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_321-1_0_4_load_55 | 10 | 0.0019212 | 0.0004815 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_321-1_0_4_load_32 | 11 | 0.0043596 | 0.0010926 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_321-1_0_4_load_30 | 12 | 0.0023719 | 0.00059444 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_321-1_0_4_load_6 | 13 | 0.0029966 | 0.00075101 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_321-1_0_4_load_21 | 17 | 0.0042172 | 0.0010569 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_321-1_0_4_load_98 | 18 | 0.0053259 | 0.0013348 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_321-1_0_4_load_10 | 19 | 0.0022797 | 0.00057134 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_321-1_0_4_load_41 | 20 | 0.0047026 | 0.0011786 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_321-1_0_4_load_64 | 21 | 0.0023086 | 0.00057858 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_321-1_0_4_load_31 | 22 | 0.0025398 | 0.00063654 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_321-1_0_4_load_13 | 23 | 0.0010371 | 0.00025991 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_321-1_0_4_load_20 | 24 | 0.0045213 | 0.0011332 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_321-1_0_4_load_11 | 25 | 0.00061953 | 0.00015527 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_321-1_0_4_load_97 | 26 | 0.003887 | 0.00097418 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_321-1_0_4_load_69 | 27 | 0.0060141 | 0.0015073 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_321-1_0_4_load_74 | 28 | 0.0020254 | 0.0005076 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_321-1_0_4_load_67 | 29 | 0.004242 | 0.0010632 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_321-1_0_4_load_71 | 30 | 0.0047359 | 0.0011869 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_321-1_0_4_load_72 | 31 | 0.00087393 | 0.00021903 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_321-1_0_4_load_75 | 35 | 0.0019236 | 0.00048211 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_321-1_0_4_load_66 | 37 | 0.0029139 | 0.00073029 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_321-1_0_4_load_96 | 38 | 0.0040484 | 0.0010146 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_321-1_0_4_load_95 | 39 | 0.0077905 | 0.0019525 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_321-1_0_4_load_18 | 40 | 0.0016077 | 0.00040293 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_321-1_0_4_load_19 | 41 | 0.0014034 | 0.00035174 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_321-1_0_4_load_88 | 45 | 0.0012261 | 0.00030729 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_321-1_0_4_load_78 | 49 | 0.0024336 | 0.00060992 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_321-1_0_4_load_83 | 50 | 0.0062913 | 0.0015767 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_321-1_0_4_load_84 | 51 | 0.0019308 | 0.00048391 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_321-1_0_4_load_87 | 53 | 0.00098781 | 0.00024757 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_321-1_0_4_load_92 | 54 | 0.0076281 | 0.0019118 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_321-1_0_4_load_93 | 55 | 0.0076529 | 0.001918 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_321-1_0_4_load_94 | 56 | 0.0078086 | 0.001957 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_321-1_0_4_load_80 | 57 | 0.002592 | 0.00064963 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_321-1_0_4_load_89 | 58 | 0.00093042 | 0.00023319 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_321-1_0_4_load_90 | 59 | 0.0010593 | 0.00026549 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_321-1_0_4_load_14 | 60 | 0.00079605 | 0.00019951 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_321-1_0_4_load_16 | 61 | 0.0014389 | 0.00036062 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_321-1_0_4_load_17 | 62 | 0.002037 | 0.00051053 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_321-1_0_4_load_22 | 63 | 0.00091174 | 0.0002285 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_321-1_0_4_load_23 | 64 | 0.0029556 | 0.00074075 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_321-1_0_4_load_65 | 66 | 0.0066295 | 0.0016615 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_321-1_0_4_load_45 | 67 | 0.002066 | 0.00051779 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_321-1_0_4_load_48 | 68 | 0.0066273 | 0.001661 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_321-1_0_4_load_25 | 70 | 0.00093726 | 0.0002349 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_321-1_0_4_load_26 | 71 | 0.0028063 | 0.00070333 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_321-1_0_4_load_27 | 72 | 0.0016852 | 0.00042236 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_321-1_0_4_load_28 | 74 | 0.0024485 | 0.00061366 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_321-1_0_4_load_34 | 76 | 0.0021278 | 0.00053327 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_321-1_0_4_load_43 | 77 | 0.0016967 | 0.00042523 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_321-1_0_4_load_35 | 78 | 0.0042468 | 0.0010644 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_321-1_0_4_load_37 | 80 | 0.0022642 | 0.00056746 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_321-1_0_4_load_38 | 81 | 0.0061141 | 0.0015323 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_321-1_0_4_load_39 | 82 | 0.0028946 | 0.00072546 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_321-1_0_4_load_46 | 83 | 0.0014781 | 0.00037045 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_321-1_0_4_load_47 | 84 | 0.0034136 | 0.00085554 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_321-1_0_4_load_49 | 85 | 0.00087566 | 0.00021946 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_321-1_0_4_load_50 | 86 | 0.0014981 | 0.00037546 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_321-1_0_4_load_51 | 87 | 0.0015653 | 0.00039231 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_321-1_0_4_load_52 | 88 | 0.0024907 | 0.00062423 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_321-1_0_4_load_53 | 89 | 0.00089905 | 0.00022532 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_321-1_0_4_load_54 | 90 | 0.0023785 | 0.0005961 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_321-1_0_4_load_60 | 92 | 0.0015039 | 0.00037692 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_321-1_0_4_load_56 | 93 | 0.0021201 | 0.00053136 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_321-1_0_4_load_59 | 95 | 0.0027191 | 0.00068147 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_321-1_0_4_load_63 | 96 | 0.00092536 | 0.00023192 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_321-1_0_4_load_61 | 97 | 0.0020615 | 0.00051666 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 25 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_321-1_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.13644 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
1 | LV_321-1_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.016626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
2 | LV_321-1_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.010258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_321-1_0_4_line_3 | NAYY 4x150 SE | 1 | 4 | 0.013635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
4 | LV_321-1_0_4_line_4 | NAYY 4x150 SE | 2 | 5 | 0.077273 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
5 | LV_321-1_0_4_line_5 | NAYY 4x150 SE | 3 | 6 | 0.0071754 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_321-1_0_4_line_6 | NAYY 4x150 SE | 3 | 7 | 0.031255 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_321-1_0_4_line_7 | NAYY 4x150 SE | 4 | 11 | 0.0043574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_321-1_0_4_line_8 | NAYY 4x150 SE | 4 | 12 | 0.037182 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
9 | LV_321-1_0_4_line_9 | NAYY 4x150 SE | 4 | 8 | 0.015917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_321-1_0_4_line_10 | NAYY 4x150 SE | 5 | 18 | 0.03913 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_321-1_0_4_line_11 | NAYY 4x150 SE | 5 | 15 | 0.12221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
12 | LV_321-1_0_4_line_12 | NAYY 4x150 SE | 6 | 13 | 0.015836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_321-1_0_4_line_13 | NAYY 4x150 SE | 7 | 20 | 0.00103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_321-1_0_4_line_14 | NAYY 4x150 SE | 8 | 9 | 0.021431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_321-1_0_4_line_15 | NAYY 4x150 SE | 8 | 10 | 0.041795 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_321-1_0_4_line_16 | NAYY 4x150 SE | 9 | 21 | 0.010782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_321-1_0_4_line_17 | NAYY 4x150 SE | 12 | 22 | 0.017477 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
18 | LV_321-1_0_4_line_18 | NAYY 4x150 SE | 14 | 15 | 0.069886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_321-1_0_4_line_19 | NAYY 4x150 SE | 14 | 16 | 0.012786 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_321-1_0_4_line_20 | NAYY 4x150 SE | 14 | 17 | 0.027454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_321-1_0_4_line_21 | NAYY 4x150 SE | 15 | 19 | 0.02435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
22 | LV_321-1_0_4_line_22 | NAYY 4x150 SE | 16 | 23 | 0.015047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_321-1_0_4_line_23 | NAYY 4x150 SE | 17 | 24 | 0.010784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_321-1_0_4_line_24 | NAYY 4x150 SE | 19 | 25 | 0.0049177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
25 | LV_321-1_0_4_line_25 | NAYY 4x150 SE | 19 | 26 | 0.43814 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
26 | LV_321-1_0_4_line_26 | NAYY 4x150 SE | 20 | 82 | 0.021229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_321-1_0_4_line_27 | NAYY 4x150 SE | 21 | 91 | 0.026181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_321-1_0_4_line_28 | NAYY 4x150 SE | 22 | 75 | 0.070338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
29 | LV_321-1_0_4_line_29 | NAYY 4x150 SE | 22 | 73 | 0.0149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_321-1_0_4_line_30 | NAYY 4x150 SE | 23 | 60 | 0.00048282 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_321-1_0_4_line_31 | NAYY 4x150 SE | 25 | 36 | 0.16407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_321-1_0_4_line_32 | NAYY 4x150 SE | 26 | 33 | 0.068435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
33 | LV_321-1_0_4_line_33 | NAYY 4x150 SE | 26 | 38 | 0.00013662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_321-1_0_4_line_34 | NAYY 4x150 SE | 27 | 28 | 0.016791 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
35 | LV_321-1_0_4_line_35 | NAYY 4x150 SE | 27 | 29 | 0.047044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
36 | LV_321-1_0_4_line_36 | NAYY 4x150 SE | 28 | 35 | 0.01803 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
37 | LV_321-1_0_4_line_37 | NAYY 4x150 SE | 29 | 37 | 0.013611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_321-1_0_4_line_38 | NAYY 4x150 SE | 30 | 31 | 0.015679 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_321-1_0_4_line_39 | NAYY 4x150 SE | 31 | 32 | 0.070478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_321-1_0_4_line_40 | NAYY 4x150 SE | 32 | 33 | 0.058473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
41 | LV_321-1_0_4_line_41 | NAYY 4x150 SE | 32 | 34 | 0.071561 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
42 | LV_321-1_0_4_line_42 | NAYY 4x150 SE | 34 | 35 | 0.029602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
43 | LV_321-1_0_4_line_43 | NAYY 4x150 SE | 36 | 40 | 0.052087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_321-1_0_4_line_44 | NAYY 4x150 SE | 36 | 41 | 0.0023713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_321-1_0_4_line_45 | NAYY 4x150 SE | 37 | 42 | 0.10251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_321-1_0_4_line_46 | NAYY 4x150 SE | 38 | 39 | 0.033722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_321-1_0_4_line_47 | NAYY 4x150 SE | 39 | 55 | 8.0367e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_321-1_0_4_line_48 | NAYY 4x150 SE | 42 | 43 | 0.096742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_321-1_0_4_line_49 | NAYY 4x150 SE | 43 | 44 | 0.01703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_321-1_0_4_line_50 | NAYY 4x150 SE | 43 | 45 | 0.017892 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_321-1_0_4_line_51 | NAYY 4x150 SE | 44 | 53 | 0.018517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_321-1_0_4_line_52 | NAYY 4x150 SE | 44 | 47 | 0.034932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_321-1_0_4_line_53 | NAYY 4x150 SE | 46 | 47 | 0.011008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_321-1_0_4_line_54 | NAYY 4x150 SE | 46 | 48 | 0.037651 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_321-1_0_4_line_55 | NAYY 4x150 SE | 46 | 49 | 0.022194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_321-1_0_4_line_56 | NAYY 4x150 SE | 47 | 50 | 0.025392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_321-1_0_4_line_57 | NAYY 4x150 SE | 48 | 58 | 0.021493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_321-1_0_4_line_58 | NAYY 4x150 SE | 49 | 57 | 0.011481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_321-1_0_4_line_59 | NAYY 4x150 SE | 51 | 52 | 0.0080698 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_321-1_0_4_line_60 | NAYY 4x150 SE | 52 | 53 | 0.018291 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_321-1_0_4_line_61 | NAYY 4x150 SE | 54 | 55 | 0.032922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_321-1_0_4_line_62 | NAYY 4x150 SE | 54 | 56 | 5.4905e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_321-1_0_4_line_63 | NAYY 4x150 SE | 58 | 59 | 0.002261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_321-1_0_4_line_64 | NAYY 4x150 SE | 60 | 61 | 0.02868 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_321-1_0_4_line_65 | NAYY 4x150 SE | 61 | 62 | 0.0057322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_321-1_0_4_line_66 | NAYY 4x150 SE | 63 | 64 | 0.032675 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_321-1_0_4_line_67 | NAYY 4x150 SE | 64 | 65 | 0.025755 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_321-1_0_4_line_68 | NAYY 4x150 SE | 65 | 66 | 0.037798 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_321-1_0_4_line_69 | NAYY 4x150 SE | 65 | 67 | 0.046834 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
70 | LV_321-1_0_4_line_70 | NAYY 4x150 SE | 66 | 68 | 0.031862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_321-1_0_4_line_71 | NAYY 4x150 SE | 67 | 69 | 0.02016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
72 | LV_321-1_0_4_line_72 | NAYY 4x150 SE | 68 | 74 | 0.035008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_321-1_0_4_line_73 | NAYY 4x150 SE | 69 | 77 | 0.018089 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_321-1_0_4_line_74 | NAYY 4x150 SE | 69 | 75 | 0.013179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
75 | LV_321-1_0_4_line_75 | NAYY 4x150 SE | 70 | 71 | 0.062297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_321-1_0_4_line_76 | NAYY 4x150 SE | 70 | 72 | 0.012045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_321-1_0_4_line_77 | NAYY 4x150 SE | 72 | 73 | 0.014726 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_321-1_0_4_line_78 | NAYY 4x150 SE | 75 | 76 | 0.036418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_321-1_0_4_line_79 | NAYY 4x150 SE | 76 | 78 | 0.0027468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_321-1_0_4_line_80 | NAYY 4x150 SE | 77 | 79 | 0.020085 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_321-1_0_4_line_81 | NAYY 4x150 SE | 79 | 83 | 0.0037552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_321-1_0_4_line_82 | NAYY 4x150 SE | 79 | 84 | 0.071777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_321-1_0_4_line_83 | NAYY 4x150 SE | 80 | 81 | 0.020648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_321-1_0_4_line_84 | NAYY 4x150 SE | 81 | 82 | 0.027853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_321-1_0_4_line_85 | NAYY 4x150 SE | 83 | 85 | 0.017036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_321-1_0_4_line_86 | NAYY 4x150 SE | 86 | 87 | 0.011952 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_321-1_0_4_line_87 | NAYY 4x150 SE | 86 | 88 | 0.017332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_321-1_0_4_line_88 | NAYY 4x150 SE | 87 | 89 | 0.0086906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_321-1_0_4_line_89 | NAYY 4x150 SE | 88 | 90 | 0.00016033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_321-1_0_4_line_90 | NAYY 4x150 SE | 90 | 91 | 0.016239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_321-1_0_4_line_91 | NAYY 4x150 SE | 91 | 92 | 0.032748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_321-1_0_4_line_92 | NAYY 4x150 SE | 92 | 97 | 0.019703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_321-1_0_4_line_93 | NAYY 4x150 SE | 93 | 94 | 0.036574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_321-1_0_4_line_94 | NAYY 4x150 SE | 94 | 95 | 0.029267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_321-1_0_4_line_95 | NAYY 4x150 SE | 95 | 96 | 0.013506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_321-1_0_4_line_96 | NAYY 4x150 SE | 96 | 97 | 0.025337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_321-1_0_4_trafo_11 | 0.25 MVA 20/0.4 kV | 98 | 25 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20
0 | 2624492.8243 | 1232906.2156 | 2624503.9677 | 1232888.0059 | 2624553.4684 | 1232804.67 | 2624559.3244 | 1232794.5991 | 2624562.5154 | 1232790.0428 | 2624563.1323 | 1232789.3165
1 | 2624574.274 | 1232776.9834 | 2624567.6812 | 1232783.9604 | 2624563.1323 | 1232789.3165
2 | 2624492.8243 | 1232906.2156 | 2624499.9482 | 1232913.6161
3 | 2624485.0862 | 1232917.4351 | 2624488.0656 | 1232912.7667 | 2624492.8243 | 1232906.2156
4 | 2624574.274 | 1232776.9834 | 2624577.6945 | 1232773.6732 | 2624586.4372 | 1232766.7718 | 2624595.4804 | 1232760.4163 | 2624606.0678 | 1232754.1451 | 2624611.9982 | 1232759.0615 | 2624628.8988 | 1232773.1733 | 2624623.5728 | 1232779.5329
5 | 2624499.9482 | 1232913.6161 | 2624503.8341 | 1232907.5839
6 | 2624499.9482 | 1232913.6161 | 2624524.0366 | 1232933.5315
7 | 2624485.0862 | 1232917.4351 | 2624489.1988 | 1232918.8751
8 | 2624485.0862 | 1232917.4351 | 2624481.1273 | 1232922.8332 | 2624474.9879 | 1232930.0791 | 2624469.3221 | 1232936.304 | 2624460.8022 | 1232944.374 | 2624460.159 | 1232944.9116
9 | 2624485.0862 | 1232917.4351 | 2624479.6726 | 1232913.8884 | 2624475.6506 | 1232910.6699 | 2624476.9016 | 1232906.5392
10 | 2624623.5728 | 1232779.5329 | 2624612.4673 | 1232792.1169 | 2624597.6422 | 1232808.8993
11 | 2624623.5728 | 1232779.5329 | 2624628.8988 | 1232773.1733 | 2624632.4212 | 1232769.0409 | 2624644.0154 | 1232757.315 | 2624652.1101 | 1232749.6883 | 2624649.872 | 1232743.4975 | 2624645.0848 | 1232734.9169 | 2624641.4123 | 1232727.7307 | 2624638.1271 | 1232720.2681 | 2624622.9463 | 1232707.6977 | 2624635.5142 | 1232682.0785
12 | 2624505.1663 | 1232894.8079 | 2624504.1004 | 1232896.2337 | 2624499.8701 | 1232903.1538 | 2624503.8341 | 1232907.5839
13 | 2624524.0366 | 1232933.5315 | 2624524.8304 | 1232934.1878
14 | 2624476.9016 | 1232906.5392 | 2624459.5848 | 1232893.9128
15 | 2624476.9016 | 1232906.5392 | 2624477.7135 | 1232902.429 | 2624448.3594 | 1232878.9245
16 | 2624459.5848 | 1232893.9128 | 2624450.8724 | 1232887.5602
17 | 2624446.2813 | 1232955.51 | 2624453.9195 | 1232950.127 | 2624460.159 | 1232944.9116
18 | 2624635.5142 | 1232682.0785 | 2624622.9463 | 1232707.6977 | 2624612.517 | 1232721.4741 | 2624593.3176 | 1232735.9925
19 | 2624583.2157 | 1232743.8667 | 2624591.0999 | 1232737.6733 | 2624593.3176 | 1232735.9925
20 | 2624593.3176 | 1232735.9925 | 2624583.9498 | 1232725.592 | 2624580.185 | 1232718.75 | 2624578.6434 | 1232713.3174
21 | 2624635.5142 | 1232682.0785 | 2624614.303 | 1232670.1204
22 | 2624583.2157 | 1232743.8667 | 2624575.88 | 1232740.0564 | 2624569.3476 | 1232738.2394
23 | 2624578.6434 | 1232713.3174 | 2624577.797 | 1232710.335 | 2624578.0729 | 1232702.6564
24 | 2624614.303 | 1232670.1204 | 2624610.0191 | 1232667.7053
25 | 2624614.303 | 1232670.1204 | 2624834.5715 | 1232291.3755
26 | 2624524.8304 | 1232934.1878 | 2624541.1915 | 1232947.7145
27 | 2624429.718 | 1232872.1357 | 2624450.8724 | 1232887.5602
28 | 2624385.0284 | 1232990.2246 | 2624400.5404 | 1232982.917 | 2624416.6878 | 1232973.8888 | 2624438.8869 | 1232960.505 | 2624446.2813 | 1232955.51
29 | 2624446.2813 | 1232955.51 | 2624453.2462 | 1232964.7554 | 2624455.7506 | 1232966.967
30 | 2624568.8825 | 1232738.11 | 2624569.3476 | 1232738.2394
31 | 2624461.274 | 1232602.9011 | 2624479.2231 | 1232610.7796 | 2624511.2794 | 1232634.6482 | 2624536.4339 | 1232646.7035 | 2624544.194 | 1232648.5922 | 2624571.1061 | 1232656.6859 | 2624607.9592 | 1232666.544 | 2624610.0191 | 1232667.7053
32 | 2624893.1664 | 1232326.6998 | 2624852.4174 | 1232302.9263 | 2624834.5715 | 1232291.3755
33 | 2624834.5715 | 1232291.3755 | 2624834.4568 | 1232291.3013
34 | 2624891.8407 | 1232247.8 | 2624908.1923 | 1232251.614
35 | 2624891.8407 | 1232247.8 | 2624867.6779 | 1232242.1641 | 2624862.6463 | 1232234.0826 | 2624866.0549 | 1232221.8351
36 | 2624908.1923 | 1232251.614 | 2624912.6699 | 1232252.6584 | 2624925.1043 | 1232247.577
37 | 2624869.7043 | 1232208.7226 | 2624866.0549 | 1232221.8351
38 | 2624859.8765 | 1232280.2771 | 2624874.2984 | 1232286.428
39 | 2624933.3816 | 1232316.9509 | 2624910.3349 | 1232304.0466 | 2624908.9151 | 1232297.748 | 2624903.4325 | 1232294.3229 | 2624895.9689 | 1232295.6704 | 2624874.2984 | 1232286.428
40 | 2624893.1664 | 1232326.6998 | 2624918.8997 | 1232341.7054 | 2624922.2162 | 1232336.227 | 2624929.3911 | 1232324.2609 | 2624933.3816 | 1232316.9509
41 | 2624933.3816 | 1232316.9509 | 2624936.9197 | 1232309.1832 | 2624949.3108 | 1232268.4658 | 2624954.0205 | 1232248.5512
42 | 2624954.0205 | 1232248.5512 | 2624930.7667 | 1232245.263 | 2624925.1043 | 1232247.577
43 | 2624461.274 | 1232602.9011 | 2624441.8329 | 1232632.0168 | 2624437.0814 | 1232634.9324 | 2624432.024 | 1232634.9117 | 2624428.315 | 1232640.2553
44 | 2624461.274 | 1232602.9011 | 2624459.1021 | 1232601.9492
45 | 2624892.8242 | 1232109.7441 | 2624894.5017 | 1232119.6238 | 2624869.7043 | 1232208.7226
46 | 2624806.1471 | 1232272.9778 | 2624834.4568 | 1232291.3013
47 | 2624806.1471 | 1232272.9778 | 2624806.0797 | 1232272.9341
48 | 2624892.8242 | 1232109.7441 | 2624880.4477 | 1232114.3841 | 2624864.6399 | 1232122.9344 | 2624847.4725 | 1232136.1819 | 2624838.566 | 1232140.3251 | 2624804.9276 | 1232146.9112
49 | 2624804.9276 | 1232146.9112 | 2624795.0407 | 1232148.2931 | 2624788.1138 | 1232149.8318
50 | 2624804.9276 | 1232146.9112 | 2624802.4971 | 1232129.1849
51 | 2624788.1138 | 1232149.8318 | 2624786.6327 | 1232131.3737
52 | 2624753.7997 | 1232156.8823 | 2624788.1138 | 1232149.8318
53 | 2624753.7997 | 1232156.8823 | 2624743.2539 | 1232160.1405
54 | 2624743.2539 | 1232160.1405 | 2624706.2501 | 1232167.6471
55 | 2624743.2539 | 1232160.1405 | 2624741.14 | 1232138.0471
56 | 2624753.7997 | 1232156.8823 | 2624751.1533 | 1232131.6288
57 | 2624706.2501 | 1232167.6471 | 2624702.659 | 1232146.4566
58 | 2624740.0465 | 1232126.6179 | 2624741.14 | 1232138.0471
59 | 2624785.1697 | 1232113.1417 | 2624777.1661 | 1232112.1099
60 | 2624785.1697 | 1232113.1417 | 2624786.6327 | 1232131.3737
61 | 2624778.4415 | 1232255.0453 | 2624806.0797 | 1232272.9341
62 | 2624778.4415 | 1232255.0453 | 2624778.3954 | 1232255.0154
63 | 2624702.2813 | 1232144.2275 | 2624702.659 | 1232146.4566
64 | 2624568.8825 | 1232738.11 | 2624563.9921 | 1232736.7498 | 2624551.1459 | 1232734.4954 | 2624543.0358 | 1232734.8733 | 2624540.7654 | 1232735.7742
65 | 2624535.4373 | 1232737.8883 | 2624540.7654 | 1232735.7742
66 | 2624251.0952 | 1233006.001 | 2624255.7485 | 1233007.8297 | 2624266.9464 | 1233011.2997 | 2624273.6701 | 1233012.9169 | 2624278.4894 | 1233013.7149 | 2624282.621 | 1233014.1276
67 | 2624308.2974 | 1233013.1027 | 2624304.4494 | 1233013.6095 | 2624299.7082 | 1233014.1127 | 2624294.6952 | 1233014.4036 | 2624288.7672 | 1233014.4572 | 2624283.3629 | 1233014.2017 | 2624282.621 | 1233014.1276
68 | 2624308.2974 | 1233013.1027 | 2624309.0059 | 1233017.575 | 2624309.878 | 1233022.7817 | 2624310.6543 | 1233025.4754 | 2624312.0592 | 1233028.1272 | 2624315.5004 | 1233032.6551 | 2624319.097 | 1233036.2276 | 2624323.5415 | 1233039.8034 | 2624328.1588 | 1233043.1887
69 | 2624308.2974 | 1233013.1027 | 2624321.4961 | 1233010.4883 | 2624332.758 | 1233007.5436 | 2624351.9578 | 1233001.8408 | 2624353.5877 | 1233001.3261
70 | 2624353.8543 | 1233062.0277 | 2624328.1588 | 1233043.1887
71 | 2624372.8115 | 1232995.2554 | 2624353.5877 | 1233001.3261
72 | 2624382.453 | 1233082.2 | 2624372.2785 | 1233075.5356 | 2624353.8543 | 1233062.0277
73 | 2624372.8115 | 1232995.2554 | 2624370.4986 | 1232988.8198 | 2624366.6132 | 1232978.2613
74 | 2624372.8115 | 1232995.2554 | 2624385.0284 | 1232990.2246
75 | 2624443.8079 | 1232990.9255 | 2624430.5141 | 1233017.5943 | 2624415.4361 | 1233046.383
76 | 2624443.8079 | 1232990.9255 | 2624449.1812 | 1232980.146
77 | 2624455.7506 | 1232966.967 | 2624449.1812 | 1232980.146
78 | 2624385.0284 | 1232990.2246 | 2624415.7574 | 1233009.7698
79 | 2624415.7574 | 1233009.7698 | 2624418.0751 | 1233011.2439
80 | 2624350.487 | 1232969.037 | 2624354.5604 | 1232968.9314 | 2624356.9736 | 1232969.3971 | 2624359.5965 | 1232970.3862 | 2624362.3747 | 1232972.2987 | 2624364.5832 | 1232974.687 | 2624366.3356 | 1232977.507 | 2624366.6132 | 1232978.2613
81 | 2624350.487 | 1232969.037 | 2624346.9704 | 1232970.3545
82 | 2624350.487 | 1232969.037 | 2624350.429 | 1232964.6897 | 2624350.6048 | 1232962.4335 | 2624351.1061 | 1232960.1897 | 2624358.2128 | 1232945.9212 | 2624359.9153 | 1232944.2827 | 2624361.4702 | 1232943.5775 | 2624363.5304 | 1232943.3414 | 2624365.6406 | 1232943.8503 | 2624368.5483 | 1232945.5632 | 2624373.9588 | 1232948.0313 | 2624375.9398 | 1232948.6509 | 2624378.6261 | 1232948.951 | 2624380.73 | 1232949.1486 | 2624382.0839 | 1232949.4543 | 2624383.8381 | 1232949.9952 | 2624385.8634 | 1232950.8707 | 2624396.9148 | 1232956.864 | 2624398.2045 | 1232958.0478 | 2624398.8579 | 1232959.3402 | 2624399.1192 | 1232960.5097
83 | 2624579.9519 | 1232976.8617 | 2624563.3973 | 1232964.5205
84 | 2624541.1915 | 1232947.7145 | 2624544.2903 | 1232950.2765 | 2624563.3973 | 1232964.5205
85 | 2624330.479 | 1232974.2318 | 2624332.1375 | 1232974.1429 | 2624339.069 | 1232973.0928 | 2624343.1776 | 1232971.7755 | 2624346.9704 | 1232970.3545
86 | 2624414.2043 | 1232902.0885 | 2624408.7075 | 1232912.7013
87 | 2624414.2043 | 1232902.0885 | 2624422.1756 | 1232886.698
88 | 2624404.7106 | 1232920.4182 | 2624408.7075 | 1232912.7013
89 | 2624422.1756 | 1232886.698 | 2624422.2494 | 1232886.5556
90 | 2624429.718 | 1232872.1357 | 2624422.2494 | 1232886.5556
91 | 2624429.718 | 1232872.1357 | 2624416.9927 | 1232862.611 | 2624403.8144 | 1232852.1064
92 | 2624403.8144 | 1232852.1064 | 2624397.8557 | 1232847.3566 | 2624388.6351 | 1232839.7921 | 2624388.5164 | 1232839.6905
93 | 2624349.749 | 1232784.8106 | 2624353.3161 | 1232784.525 | 2624358.1761 | 1232786.5127 | 2624362.7434 | 1232789.7 | 2624374.5893 | 1232799.5878 | 2624380.2503 | 1232803.2557
94 | 2624349.749 | 1232784.8106 | 2624352.1765 | 1232787.3443 | 2624355.5278 | 1232791.6939 | 2624357.3103 | 1232794.5808 | 2624358.7671 | 1232797.4996 | 2624360.0024 | 1232800.8956 | 2624363.5776 | 1232809.7045 | 2624363.815 | 1232810.1347
95 | 2624370.6904 | 1232821.7521 | 2624367.26 | 1232816.3792 | 2624363.815 | 1232810.1347
96 | 2624370.6904 | 1232821.7521 | 2624370.6904 | 1232821.7521 | 2624374.8721 | 1232826.6499 | 2624382.1318 | 1232834.2287 | 2624388.5164 | 1232839.6905

## bus_geodata
| x | y | coords
0 | 2624563.1323 | 1232789.3165
1 | 2624492.8243 | 1232906.2156
2 | 2624574.274 | 1232776.9834
3 | 2624499.9482 | 1232913.6161
4 | 2624485.0862 | 1232917.4351
5 | 2624623.5728 | 1232779.5329
6 | 2624503.8341 | 1232907.5839
7 | 2624524.0366 | 1232933.5315
8 | 2624476.9016 | 1232906.5392
9 | 2624459.5848 | 1232893.9128
10 | 2624448.3594 | 1232878.9245
11 | 2624489.1988 | 1232918.8751
12 | 2624460.159 | 1232944.9116
13 | 2624505.1663 | 1232894.8079
14 | 2624593.3176 | 1232735.9925
15 | 2624635.5142 | 1232682.0785
16 | 2624583.2157 | 1232743.8667
17 | 2624578.6434 | 1232713.3174
18 | 2624597.6422 | 1232808.8993
19 | 2624614.303 | 1232670.1204
20 | 2624524.8304 | 1232934.1878
21 | 2624450.8724 | 1232887.5602
22 | 2624446.2813 | 1232955.51
23 | 2624569.3476 | 1232738.2394
24 | 2624578.0729 | 1232702.6564
25 | 2624610.0191 | 1232667.7053
26 | 2624834.5715 | 1232291.3755
27 | 2624891.8407 | 1232247.8
28 | 2624908.1923 | 1232251.614
29 | 2624866.0549 | 1232221.8351
30 | 2624859.8765 | 1232280.2771
31 | 2624874.2984 | 1232286.428
32 | 2624933.3816 | 1232316.9509
33 | 2624893.1664 | 1232326.6998
34 | 2624954.0205 | 1232248.5512
35 | 2624925.1043 | 1232247.577
36 | 2624461.274 | 1232602.9011
37 | 2624869.7043 | 1232208.7226
38 | 2624834.4568 | 1232291.3013
39 | 2624806.1471 | 1232272.9778
40 | 2624428.315 | 1232640.2553
41 | 2624459.1021 | 1232601.9492
42 | 2624892.8242 | 1232109.7441
43 | 2624804.9276 | 1232146.9112
44 | 2624788.1138 | 1232149.8318
45 | 2624802.4971 | 1232129.1849
46 | 2624743.2539 | 1232160.1405
47 | 2624753.7997 | 1232156.8823
48 | 2624706.2501 | 1232167.6471
49 | 2624741.14 | 1232138.0471
50 | 2624751.1533 | 1232131.6288
51 | 2624777.1661 | 1232112.1099
52 | 2624785.1697 | 1232113.1417
53 | 2624786.6327 | 1232131.3737
54 | 2624778.4415 | 1232255.0453
55 | 2624806.0797 | 1232272.9341
56 | 2624778.3954 | 1232255.0154
57 | 2624740.0465 | 1232126.6179
58 | 2624702.659 | 1232146.4566
59 | 2624702.2813 | 1232144.2275
60 | 2624568.8825 | 1232738.11
61 | 2624540.7654 | 1232735.7742
62 | 2624535.4373 | 1232737.8883
63 | 2624251.0952 | 1233006.001
64 | 2624282.621 | 1233014.1276
65 | 2624308.2974 | 1233013.1027
66 | 2624328.1588 | 1233043.1887
67 | 2624353.5877 | 1233001.3261
68 | 2624353.8543 | 1233062.0277
69 | 2624372.8115 | 1232995.2554
70 | 2624443.8079 | 1232990.9255
71 | 2624415.4361 | 1233046.383
72 | 2624449.1812 | 1232980.146
73 | 2624455.7506 | 1232966.967
74 | 2624382.453 | 1233082.2
75 | 2624385.0284 | 1232990.2246
76 | 2624415.7574 | 1233009.7698
77 | 2624366.6132 | 1232978.2613
78 | 2624418.0751 | 1233011.2439
79 | 2624350.487 | 1232969.037
80 | 2624579.9519 | 1232976.8617
81 | 2624563.3973 | 1232964.5205
82 | 2624541.1915 | 1232947.7145
83 | 2624346.9704 | 1232970.3545
84 | 2624399.1192 | 1232960.5097
85 | 2624330.479 | 1232974.2318
86 | 2624414.2043 | 1232902.0885
87 | 2624408.7075 | 1232912.7013
88 | 2624422.1756 | 1232886.698
89 | 2624404.7106 | 1232920.4182
90 | 2624422.2494 | 1232886.5556
91 | 2624429.718 | 1232872.1357
92 | 2624403.8144 | 1232852.1064
93 | 2624380.2503 | 1232803.2557
94 | 2624349.749 | 1232784.8106
95 | 2624363.815 | 1232810.1347
96 | 2624370.6904 | 1232821.7521
97 | 2624388.5164 | 1232839.6905
98 | 2624635.5142 | 1232682.0785

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1