## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_321-4_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_321-4_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_321-4_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_321-4_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_321-4_0_5_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_321-4_0_5_node_25 | 0.4 | n |  | TRUE
6 | bus_LV_321-4_0_5_node_82 | 0.4 | n |  | TRUE
7 | bus_LV_321-4_0_5_node_26 | 0.4 | n |  | TRUE
8 | bus_LV_321-4_0_5_node_24 | 0.4 | n |  | TRUE
9 | bus_LV_321-4_0_5_node_33 | 0.4 | n |  | TRUE
10 | bus_LV_321-4_0_5_node_22 | 0.4 | n |  | TRUE
11 | bus_LV_321-4_0_5_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_321-4_0_5_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_321-4_0_5_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_321-4_0_5_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_321-4_0_5_node_17 | 0.4 | n |  | TRUE
16 | bus_LV_321-4_0_5_node_23 | 0.4 | n |  | TRUE
17 | bus_LV_321-4_0_5_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_321-4_0_5_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_321-4_0_5_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_321-4_0_5_node_64 | 0.4 | n |  | TRUE
21 | bus_LV_321-4_0_5_node_78 | 0.4 | n |  | TRUE
22 | bus_LV_321-4_0_5_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_321-4_0_5_node_77 | 0.4 | n |  | TRUE
24 | bus_LV_321-4_0_5_node_75 | 0.4 | n |  | TRUE
25 | bus_LV_321-4_0_5_node_76 | 0.4 | n |  | TRUE
26 | bus_LV_321-4_0_5_node_81 | 0.4 | n |  | TRUE
27 | bus_LV_321-4_0_5_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_321-4_0_5_node_62 | 0.4 | n |  | TRUE
29 | bus_LV_321-4_0_5_node_42 | 0.4 | n |  | TRUE
30 | bus_LV_321-4_0_5_node_54 | 0.4 | n |  | TRUE
31 | bus_LV_321-4_0_5_node_43 | 0.4 | n |  | TRUE
32 | bus_LV_321-4_0_5_node_53 | 0.4 | n |  | TRUE
33 | bus_LV_321-4_0_5_node_61 | 0.4 | n |  | TRUE
34 | bus_LV_321-4_0_5_node_60 | 0.4 | n |  | TRUE
35 | bus_LV_321-4_0_5_node_65 | 0.4 | n |  | TRUE
36 | bus_LV_321-4_0_5_node_63 | 0.4 | n |  | TRUE
37 | bus_LV_321-4_0_5_node_74 | 0.4 | n |  | TRUE
38 | bus_LV_321-4_0_5_node_67 | 0.4 | n |  | TRUE
39 | bus_LV_321-4_0_5_node_66 | 0.4 | n |  | TRUE
40 | bus_LV_321-4_0_5_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_321-4_0_5_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_321-4_0_5_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_321-4_0_5_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_321-4_0_5_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_321-4_0_5_node_31 | 0.4 | n |  | TRUE
46 | bus_LV_321-4_0_5_node_32 | 0.4 | n |  | TRUE
47 | bus_LV_321-4_0_5_node_49 | 0.4 | n |  | TRUE
48 | bus_LV_321-4_0_5_node_58 | 0.4 | n |  | TRUE
49 | bus_LV_321-4_0_5_node_52 | 0.4 | n |  | TRUE
50 | bus_LV_321-4_0_5_node_50 | 0.4 | n |  | TRUE
51 | bus_LV_321-4_0_5_node_48 | 0.4 | n |  | TRUE
52 | bus_LV_321-4_0_5_node_59 | 0.4 | n |  | TRUE
53 | bus_LV_321-4_0_5_node_51 | 0.4 | n |  | TRUE
54 | bus_LV_321-4_0_5_node_37 | 0.4 | n |  | TRUE
55 | bus_LV_321-4_0_5_node_35 | 0.4 | n |  | TRUE
56 | bus_LV_321-4_0_5_node_36 | 0.4 | n |  | TRUE
57 | bus_LV_321-4_0_5_node_38 | 0.4 | n |  | TRUE
58 | bus_LV_321-4_0_5_node_39 | 0.4 | n |  | TRUE
59 | bus_LV_321-4_0_5_node_40 | 0.4 | n |  | TRUE
60 | bus_LV_321-4_0_5_node_41 | 0.4 | n |  | TRUE
61 | bus_LV_321-4_0_5_node_47 | 0.4 | n |  | TRUE
62 | bus_LV_321-4_0_5_node_45 | 0.4 | n |  | TRUE
63 | bus_LV_321-4_0_5_node_44 | 0.4 | n |  | TRUE
64 | bus_LV_321-4_0_5_node_46 | 0.4 | n |  | TRUE
65 | bus_LV_321-4_0_5_node_55 | 0.4 | n |  | TRUE
66 | bus_LV_321-4_0_5_node_56 | 0.4 | n |  | TRUE
67 | bus_LV_321-4_0_5_node_57 | 0.4 | n |  | TRUE
68 | bus_LV_321-4_0_5_node_68 | 0.4 | n |  | TRUE
69 | bus_LV_321-4_0_5_node_69 | 0.4 | n |  | TRUE
70 | bus_LV_321-4_0_5_node_70 | 0.4 | n |  | TRUE
71 | bus_LV_321-4_0_5_node_71 | 0.4 | n |  | TRUE
72 | bus_LV_321-4_0_5_node_72 | 0.4 | n |  | TRUE
73 | bus_LV_321-4_0_5_node_73 | 0.4 | n |  | TRUE
74 | bus_MV_481_0_node_167 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_321-4_0_5_load_0 | 0 | 0.0060361 | 0.0015128 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_321-4_0_5_load_1 | 1 | 0.0024018 | 0.00060194 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_321-4_0_5_load_82 | 6 | 0.051364 | 0.012873 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_321-4_0_5_load_24 | 8 | 0.0010366 | 0.00025981 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_321-4_0_5_load_33 | 9 | 0.000828 | 0.00020752 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_321-4_0_5_load_22 | 10 | 0.010802 | 0.0027073 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_321-4_0_5_load_6 | 12 | 0.0086144 | 0.002159 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_321-4_0_5_load_10 | 17 | 0.0056219 | 0.001409 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_321-4_0_5_load_78 | 21 | 0.008584 | 0.0021513 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_321-4_0_5_load_77 | 23 | 0.0038914 | 0.00097528 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_321-4_0_5_load_75 | 24 | 0.0010947 | 0.00027436 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_321-4_0_5_load_76 | 25 | 0.0041292 | 0.0010349 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_321-4_0_5_load_81 | 26 | 0.0023687 | 0.00059366 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_321-4_0_5_load_62 | 28 | 0.004732 | 0.0011859 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_321-4_0_5_load_43 | 31 | 0.00060407 | 0.0001514 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_321-4_0_5_load_53 | 32 | 0.00037108 | 9.3001e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_321-4_0_5_load_61 | 33 | 0.003173 | 0.00079522 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_321-4_0_5_load_60 | 34 | 0.0037133 | 0.00093063 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_321-4_0_5_load_65 | 35 | 0.00078894 | 0.00019773 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_321-4_0_5_load_63 | 36 | 0.012284 | 0.0030787 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_321-4_0_5_load_74 | 37 | 0.0018015 | 0.0004515 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_321-4_0_5_load_67 | 38 | 0.0018108 | 0.00045382 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_321-4_0_5_load_66 | 39 | 0.00039304 | 9.8505e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_321-4_0_5_load_34 | 40 | 0.00072391 | 0.00018143 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_321-4_0_5_load_27 | 41 | 0.00077449 | 0.00019411 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_321-4_0_5_load_28 | 42 | 0.0026466 | 0.0006633 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_321-4_0_5_load_30 | 44 | 0.00096742 | 0.00024246 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_321-4_0_5_load_32 | 46 | 0.0013625 | 0.00034148 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_321-4_0_5_load_49 | 47 | 0.00056997 | 0.00014285 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_321-4_0_5_load_58 | 48 | 0.0010562 | 0.0002647 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_321-4_0_5_load_52 | 49 | 0.0013381 | 0.00033536 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_321-4_0_5_load_50 | 50 | 0.00084956 | 0.00021292 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_321-4_0_5_load_48 | 51 | 0.0010185 | 0.00025526 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_321-4_0_5_load_59 | 52 | 0.0013508 | 0.00033854 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_321-4_0_5_load_51 | 53 | 0.0050282 | 0.0012602 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_321-4_0_5_load_37 | 54 | 0.00084319 | 0.00021132 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_321-4_0_5_load_35 | 55 | 0.0018198 | 0.0004561 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_321-4_0_5_load_36 | 56 | 0.00087913 | 0.00022033 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_321-4_0_5_load_38 | 57 | 0.0034587 | 0.00086684 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_321-4_0_5_load_39 | 58 | 0.00062673 | 0.00015707 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_321-4_0_5_load_41 | 60 | 0.0013145 | 0.00032945 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_321-4_0_5_load_47 | 61 | 0.00038252 | 9.5868e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_321-4_0_5_load_45 | 62 | 0.00094763 | 0.0002375 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_321-4_0_5_load_44 | 63 | 0.00088589 | 0.00022202 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_321-4_0_5_load_46 | 64 | 0.0031086 | 0.0007791 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_321-4_0_5_load_55 | 65 | 0.0039224 | 0.00098306 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_321-4_0_5_load_56 | 66 | 0.0039585 | 0.00099211 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_321-4_0_5_load_57 | 67 | 0.0032192 | 0.00080681 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_321-4_0_5_load_68 | 68 | 0.00041929 | 0.00010508 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_321-4_0_5_load_69 | 69 | 0.00078958 | 0.00019789 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_321-4_0_5_load_70 | 70 | 0.0016581 | 0.00041555 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_321-4_0_5_load_71 | 71 | 0.0018021 | 0.00045165 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_321-4_0_5_load_72 | 72 | 0.0016055 | 0.00040237 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_321-4_0_5_load_73 | 73 | 0.0011473 | 0.00028754 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 14 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_321-4_0_5_line_0 | NAYY 4x150 SE | 0 | 1 | 0.011544 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_321-4_0_5_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0029086 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_321-4_0_5_line_2 | NAYY 4x150 SE | 1 | 3 | 0.019775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_321-4_0_5_line_3 | NAYY 4x150 SE | 2 | 4 | 0.04019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_321-4_0_5_line_4 | NAYY 4x150 SE | 3 | 5 | 0.017184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_321-4_0_5_line_5 | NAYY 4x150 SE | 4 | 6 | 0.011574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_321-4_0_5_line_6 | NAYY 4x150 SE | 5 | 7 | 0.019012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_321-4_0_5_line_7 | NAYY 4x150 SE | 5 | 8 | 0.0053519 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_321-4_0_5_line_8 | NAYY 4x150 SE | 7 | 9 | 0.014476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_321-4_0_5_line_9 | NAYY 4x150 SE | 8 | 16 | 0.012991 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
10 | LV_321-4_0_5_line_10 | NAYY 4x150 SE | 9 | 40 | 0.0015483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
11 | LV_321-4_0_5_line_11 | NAYY 4x150 SE | 10 | 11 | 0.027988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_321-4_0_5_line_12 | NAYY 4x150 SE | 11 | 16 | 0.040003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
13 | LV_321-4_0_5_line_13 | NAYY 4x150 SE | 11 | 13 | 0.055598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
14 | LV_321-4_0_5_line_14 | NAYY 4x150 SE | 12 | 13 | 0.046021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_321-4_0_5_line_15 | NAYY 4x150 SE | 12 | 14 | 0.045302 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
16 | LV_321-4_0_5_line_16 | NAYY 4x150 SE | 14 | 15 | 0.47521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_321-4_0_5_line_17 | NAYY 4x150 SE | 15 | 26 | 0.11028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_321-4_0_5_line_18 | NAYY 4x150 SE | 15 | 27 | 0.036301 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
19 | LV_321-4_0_5_line_19 | NAYY 4x150 SE | 16 | 17 | 0.0088111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_321-4_0_5_line_20 | NAYY 4x150 SE | 18 | 19 | 0.059901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_321-4_0_5_line_21 | NAYY 4x150 SE | 18 | 20 | 0.020734 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_321-4_0_5_line_22 | NAYY 4x150 SE | 18 | 21 | 0.052287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_321-4_0_5_line_23 | NAYY 4x150 SE | 19 | 22 | 0.092608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_321-4_0_5_line_24 | NAYY 4x150 SE | 19 | 23 | 0.02551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_321-4_0_5_line_25 | NAYY 4x150 SE | 20 | 35 | 0.021382 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_321-4_0_5_line_26 | NAYY 4x150 SE | 20 | 36 | 0.09238 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_321-4_0_5_line_27 | NAYY 4x150 SE | 22 | 24 | 0.021678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_321-4_0_5_line_28 | NAYY 4x150 SE | 22 | 25 | 0.021105 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_321-4_0_5_line_29 | NAYY 4x150 SE | 24 | 37 | 0.0015819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_321-4_0_5_line_30 | NAYY 4x150 SE | 25 | 27 | 0.057429 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_321-4_0_5_line_31 | NAYY 4x150 SE | 28 | 29 | 0.038406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_321-4_0_5_line_32 | NAYY 4x150 SE | 29 | 34 | 0.016962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_321-4_0_5_line_33 | NAYY 4x150 SE | 29 | 59 | 0.01648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_321-4_0_5_line_34 | NAYY 4x150 SE | 30 | 31 | 0.024394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_321-4_0_5_line_35 | NAYY 4x150 SE | 30 | 32 | 0.017273 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_321-4_0_5_line_36 | NAYY 4x150 SE | 31 | 59 | 0.025353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_321-4_0_5_line_37 | NAYY 4x150 SE | 33 | 34 | 0.0059569 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_321-4_0_5_line_38 | NAYY 4x150 SE | 35 | 39 | 0.021839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_321-4_0_5_line_39 | NAYY 4x150 SE | 37 | 73 | 0.0088277 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_321-4_0_5_line_40 | NAYY 4x150 SE | 38 | 39 | 0.015517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_321-4_0_5_line_41 | NAYY 4x150 SE | 40 | 55 | 0.0037042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
42 | LV_321-4_0_5_line_42 | NAYY 4x150 SE | 41 | 42 | 0.021847 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_321-4_0_5_line_43 | NAYY 4x150 SE | 41 | 43 | 0.016285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_321-4_0_5_line_44 | NAYY 4x150 SE | 42 | 44 | 0.0049751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_321-4_0_5_line_45 | NAYY 4x150 SE | 43 | 45 | 0.005597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_321-4_0_5_line_46 | NAYY 4x150 SE | 43 | 46 | 0.013992 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_321-4_0_5_line_47 | NAYY 4x150 SE | 44 | 47 | 0.0097264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_321-4_0_5_line_48 | NAYY 4x150 SE | 45 | 48 | 0.024925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_321-4_0_5_line_49 | NAYY 4x150 SE | 45 | 49 | 0.016156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_321-4_0_5_line_50 | NAYY 4x150 SE | 46 | 50 | 0.0048248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_321-4_0_5_line_51 | NAYY 4x150 SE | 47 | 51 | 0.0093666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_321-4_0_5_line_52 | NAYY 4x150 SE | 48 | 52 | 0.023038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_321-4_0_5_line_53 | NAYY 4x150 SE | 49 | 53 | 0.018819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_321-4_0_5_line_54 | NAYY 4x150 SE | 50 | 54 | 0.007462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_321-4_0_5_line_55 | NAYY 4x150 SE | 51 | 64 | 0.0046769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_321-4_0_5_line_56 | NAYY 4x150 SE | 52 | 67 | 0.002202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_321-4_0_5_line_57 | NAYY 4x150 SE | 54 | 56 | 0.0093096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
58 | LV_321-4_0_5_line_58 | NAYY 4x150 SE | 55 | 56 | 0.0019165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
59 | LV_321-4_0_5_line_59 | NAYY 4x150 SE | 57 | 58 | 0.013497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_321-4_0_5_line_60 | NAYY 4x150 SE | 57 | 59 | 0.015981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_321-4_0_5_line_61 | NAYY 4x150 SE | 58 | 60 | 0.016892 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_321-4_0_5_line_62 | NAYY 4x150 SE | 60 | 61 | 0.01748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_321-4_0_5_line_63 | NAYY 4x150 SE | 61 | 62 | 0.017617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_321-4_0_5_line_64 | NAYY 4x150 SE | 62 | 63 | 0.018594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_321-4_0_5_line_65 | NAYY 4x150 SE | 63 | 64 | 0.016059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_321-4_0_5_line_66 | NAYY 4x150 SE | 65 | 66 | 0.0079576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_321-4_0_5_line_67 | NAYY 4x150 SE | 66 | 67 | 0.027252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_321-4_0_5_line_68 | NAYY 4x150 SE | 68 | 69 | 0.013833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_321-4_0_5_line_69 | NAYY 4x150 SE | 68 | 70 | 0.0079959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_321-4_0_5_line_70 | NAYY 4x150 SE | 70 | 71 | 0.020085 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_321-4_0_5_line_71 | NAYY 4x150 SE | 71 | 72 | 0.011701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_321-4_0_5_line_72 | NAYY 4x150 SE | 72 | 73 | 0.015854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_321-4_0_5_trafo_8 | 0.25 MVA 20/0.4 kV | 74 | 14 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16
0 | 2625016.3081 | 1231736.2131 | 2625006.7537 | 1231729.7349
1 | 2625018.7155 | 1231737.8454 | 2625016.3081 | 1231736.2131
2 | 2624988.7263 | 1231722.3323 | 2625000.0877 | 1231725.215 | 2625006.7537 | 1231729.7349
3 | 2625053.8915 | 1231755.1481 | 2625041.7518 | 1231746.4807 | 2625031.4411 | 1231745.8481 | 2625018.7155 | 1231737.8454
4 | 2624988.7263 | 1231722.3323 | 2624974.1426 | 1231713.1767
5 | 2625045.8299 | 1231763.4749 | 2625053.8915 | 1231755.1481
6 | 2624970.0375 | 1231731.4706 | 2624970.5621 | 1231721.9226 | 2624974.1426 | 1231713.1767
7 | 2624974.1426 | 1231713.1767 | 2624970.2342 | 1231709.5207
8 | 2624970.0375 | 1231731.4706 | 2624965.6365 | 1231737.2334 | 2624961.5498 | 1231743.1911
9 | 2624960.7468 | 1231700.6463 | 2624970.2342 | 1231709.5207
10 | 2624960.6739 | 1231744.4679 | 2624961.5498 | 1231743.1911
11 | 2624988.077 | 1231671.3653 | 2625008.4454 | 1231690.56
12 | 2624988.077 | 1231671.3653 | 2624969.2432 | 1231691.543 | 2624960.7468 | 1231700.6463
13 | 2624988.077 | 1231671.3653 | 2624947.5584 | 1231633.1723
14 | 2624947.5584 | 1231633.1723 | 2624937.0078 | 1231617.4519 | 2624936.2637 | 1231601.6503 | 2624943.2069 | 1231592.774
15 | 2624972.5811 | 1231561.9116 | 2624962.9941 | 1231572.8114 | 2624955.2652 | 1231573.9909 | 2624945.8879 | 1231583.6686 | 2624943.2069 | 1231592.774
16 | 2624972.5811 | 1231561.9116 | 2624980.7057 | 1231553.0403 | 2624969.4107 | 1231543.2759 | 2624977.2861 | 1231534.2368 | 2625006.0869 | 1231501.1709 | 2625001.3109 | 1231497.0261 | 2624944.6546 | 1231447.8476 | 2624918.2249 | 1231422.8219 | 2624901.2094 | 1231406.463 | 2624923.9738 | 1231384.5338 | 2624944.7543 | 1231368.0107 | 2624994.4406 | 1231340.5579 | 2625010.0384 | 1231321.2116 | 2625045.989 | 1231298.9936 | 2625064.3338 | 1231321.5733 | 2625086.5961 | 1231307.5807 | 2625091.5482 | 1231320.2871
17 | 2625091.5482 | 1231320.2871 | 2625139.8563 | 1231289.472 | 2625110.137 | 1231245.42
18 | 2625091.5482 | 1231320.2871 | 2625086.5961 | 1231307.5807 | 2625075.2438 | 1231287.9655
19 | 2624960.7468 | 1231700.6463 | 2624959.6682 | 1231699.63 | 2624955.0207 | 1231693.9628
20 | 2625059.9916 | 1231120.7444 | 2625103.7878 | 1231161.7425
21 | 2625059.9916 | 1231120.7444 | 2625044.1599 | 1231107.303
22 | 2625059.9916 | 1231120.7444 | 2625099.2217 | 1231086.1767
23 | 2625085.797 | 1231224.0378 | 2625119.7146 | 1231201.0557 | 2625128.1066 | 1231195.3765 | 2625103.7878 | 1231161.7425
24 | 2625103.7878 | 1231161.7425 | 2625123.8035 | 1231145.927
25 | 2625044.1599 | 1231107.303 | 2625029.2286 | 1231113.8442 | 2625025.7457 | 1231115.4861 | 2625024.6317 | 1231116.008
26 | 2625044.1599 | 1231107.303 | 2625015.4169 | 1231066.602 | 2624988.7519 | 1231033.4395
27 | 2625085.797 | 1231224.0378 | 2625072.7546 | 1231206.7219
28 | 2625085.797 | 1231224.0378 | 2625069.0372 | 1231236.8639
29 | 2625071.8029 | 1231205.4584 | 2625072.7546 | 1231206.7219
30 | 2625075.2438 | 1231287.9655 | 2625063.335 | 1231267.3918 | 2625060.0896 | 1231255.8156 | 2625060.4151 | 1231254.027 | 2625061.9119 | 1231245.6726 | 2625069.0372 | 1231236.8639
31 | 2625099.7034 | 1231837.7912 | 2625099.6329 | 1231832.9546 | 2625099.126 | 1231799.3899
32 | 2625099.7034 | 1231837.7912 | 2625116.6053 | 1231839.2157
33 | 2625100.2776 | 1231854.2592 | 2625099.7034 | 1231837.7912
34 | 2625103.3167 | 1231903.9133 | 2625102.8138 | 1231895.6617 | 2625101.8277 | 1231879.5644
35 | 2625103.3167 | 1231903.9133 | 2625086.0483 | 1231904.325
36 | 2625100.2776 | 1231854.2592 | 2625101.8277 | 1231879.5644
37 | 2625116.6053 | 1231839.2157 | 2625122.5412 | 1231839.7159
38 | 2625024.6317 | 1231116.008 | 2625017.2775 | 1231119.453 | 2625009.2418 | 1231123.2327 | 2625005.0254 | 1231125.6035
39 | 2625071.8029 | 1231205.4584 | 2625066.4919 | 1231198.407
40 | 2625005.0254 | 1231125.6035 | 2624991.5002 | 1231133.2084
41 | 2624960.6739 | 1231744.4679 | 2624958.5786 | 1231747.5225
42 | 2624967.8353 | 1231795.7081 | 2624956.8444 | 1231791.6185 | 2624948.4899 | 1231785.9078
43 | 2624935.0459 | 1231776.7182 | 2624948.4899 | 1231785.9078
44 | 2624967.8353 | 1231795.7081 | 2624972.4982 | 1231797.443
45 | 2624935.0459 | 1231776.7182 | 2624930.4098 | 1231773.5635
46 | 2624935.0459 | 1231776.7182 | 2624943.8734 | 1231765.8619
47 | 2624972.4982 | 1231797.443 | 2624981.614 | 1231800.8348
48 | 2624930.4098 | 1231773.5635 | 2624916.4161 | 1231764.5662 | 2624909.4428 | 1231760.0856
49 | 2624930.4098 | 1231773.5635 | 2624921.425 | 1231786.9913
50 | 2624946.9173 | 1231762.1185 | 2624943.8734 | 1231765.8619
51 | 2624990.3834 | 1231804.1237 | 2624990.0269 | 1231803.9651 | 2624981.614 | 1231800.8348
52 | 2624890.0617 | 1231747.6303 | 2624894.9762 | 1231750.7904 | 2624909.4428 | 1231760.0856
53 | 2624910.9595 | 1231802.6322 | 2624921.425 | 1231786.9913
54 | 2624946.9173 | 1231762.1185 | 2624951.625 | 1231756.3289
55 | 2624990.3834 | 1231804.1237 | 2624994.6566 | 1231806.0244
56 | 2624888.2095 | 1231746.4393 | 2624890.0617 | 1231747.6303
57 | 2624957.4945 | 1231749.1029 | 2624957.4616 | 1231749.1509 | 2624951.625 | 1231756.3289
58 | 2624957.4945 | 1231749.1029 | 2624958.5786 | 1231747.5225
59 | 2625073.363 | 1231842.2359 | 2625085.6862 | 1231847.7409
60 | 2625100.2776 | 1231854.2592 | 2625085.6862 | 1231847.7409
61 | 2625073.363 | 1231842.2359 | 2625067.8165 | 1231839.7581 | 2625058.0313 | 1231835.1477
62 | 2625058.0313 | 1231835.1477 | 2625042.2183 | 1231827.6971
63 | 2625026.2819 | 1231820.1884 | 2625042.2183 | 1231827.6971
64 | 2625009.3298 | 1231812.5507 | 2625022.5793 | 1231818.4439 | 2625026.2819 | 1231820.1884
65 | 2625009.3298 | 1231812.5507 | 2624994.6566 | 1231806.0244
66 | 2624858.5928 | 1231727.3987 | 2624865.287 | 1231731.7013
67 | 2624865.287 | 1231731.7013 | 2624871.8823 | 1231735.9405 | 2624888.2095 | 1231746.4393
68 | 2625033.019 | 1231153.9662 | 2625024.6968 | 1231142.9171
69 | 2625033.019 | 1231153.9662 | 2625037.8296 | 1231160.3531
70 | 2625049.9135 | 1231176.3966 | 2625037.8296 | 1231160.3531
71 | 2625049.9135 | 1231176.3966 | 2625056.9532 | 1231185.7429
72 | 2625066.4919 | 1231198.407 | 2625056.9532 | 1231185.7429

## bus_geodata
| x | y | coords
0 | 2625016.3081 | 1231736.2131
1 | 2625006.7537 | 1231729.7349
2 | 2625018.7155 | 1231737.8454
3 | 2624988.7263 | 1231722.3323
4 | 2625053.8915 | 1231755.1481
5 | 2624974.1426 | 1231713.1767
6 | 2625045.8299 | 1231763.4749
7 | 2624970.0375 | 1231731.4706
8 | 2624970.2342 | 1231709.5207
9 | 2624961.5498 | 1231743.1911
10 | 2625008.4454 | 1231690.56
11 | 2624988.077 | 1231671.3653
12 | 2624943.2069 | 1231592.774
13 | 2624947.5584 | 1231633.1723
14 | 2624972.5811 | 1231561.9116
15 | 2625091.5482 | 1231320.2871
16 | 2624960.7468 | 1231700.6463
17 | 2624955.0207 | 1231693.9628
18 | 2625059.9916 | 1231120.7444
19 | 2625103.7878 | 1231161.7425
20 | 2625044.1599 | 1231107.303
21 | 2625099.2217 | 1231086.1767
22 | 2625085.797 | 1231224.0378
23 | 2625123.8035 | 1231145.927
24 | 2625072.7546 | 1231206.7219
25 | 2625069.0372 | 1231236.8639
26 | 2625110.137 | 1231245.42
27 | 2625075.2438 | 1231287.9655
28 | 2625099.126 | 1231799.3899
29 | 2625099.7034 | 1231837.7912
30 | 2625103.3167 | 1231903.9133
31 | 2625101.8277 | 1231879.5644
32 | 2625086.0484 | 1231904.325
33 | 2625122.5412 | 1231839.7159
34 | 2625116.6053 | 1231839.2157
35 | 2625024.6317 | 1231116.008
36 | 2624988.7519 | 1231033.4395
37 | 2625071.8029 | 1231205.4584
38 | 2624991.5002 | 1231133.2084
39 | 2625005.0254 | 1231125.6035
40 | 2624960.6739 | 1231744.4679
41 | 2624948.4899 | 1231785.9078
42 | 2624967.8353 | 1231795.7081
43 | 2624935.0459 | 1231776.7182
44 | 2624972.4982 | 1231797.443
45 | 2624930.4098 | 1231773.5635
46 | 2624943.8734 | 1231765.8619
47 | 2624981.614 | 1231800.8348
48 | 2624909.4428 | 1231760.0856
49 | 2624921.425 | 1231786.9913
50 | 2624946.9173 | 1231762.1185
51 | 2624990.3834 | 1231804.1237
52 | 2624890.0617 | 1231747.6303
53 | 2624910.9595 | 1231802.6322
54 | 2624951.625 | 1231756.3289
55 | 2624958.5786 | 1231747.5225
56 | 2624957.4945 | 1231749.1029
57 | 2625085.6862 | 1231847.7409
58 | 2625073.363 | 1231842.2359
59 | 2625100.2776 | 1231854.2592
60 | 2625058.0313 | 1231835.1477
61 | 2625042.2183 | 1231827.6971
62 | 2625026.2819 | 1231820.1884
63 | 2625009.3298 | 1231812.5507
64 | 2624994.6566 | 1231806.0244
65 | 2624858.5928 | 1231727.3987
66 | 2624865.287 | 1231731.7013
67 | 2624888.2095 | 1231746.4393
68 | 2625033.019 | 1231153.9662
69 | 2625024.6968 | 1231142.9171
70 | 2625037.8296 | 1231160.3531
71 | 2625049.9135 | 1231176.3966
72 | 2625056.9532 | 1231185.7429
73 | 2625066.4919 | 1231198.407
74 | 2624981.464 | 1231565.4399

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1