## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_321-7_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_321-7_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_321-7_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_321-7_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_321-7_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_321-7_0_3_node_31 | 0.4 | n |  | TRUE
6 | bus_LV_321-7_0_3_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_321-7_0_3_node_32 | 0.4 | n |  | TRUE
8 | bus_LV_321-7_0_3_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_321-7_0_3_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_321-7_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_321-7_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_321-7_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_321-7_0_3_node_22 | 0.4 | n |  | TRUE
14 | bus_LV_321-7_0_3_node_41 | 0.4 | n |  | TRUE
15 | bus_LV_321-7_0_3_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_321-7_0_3_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_321-7_0_3_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_321-7_0_3_node_23 | 0.4 | n |  | TRUE
19 | bus_LV_321-7_0_3_node_29 | 0.4 | n |  | TRUE
20 | bus_LV_321-7_0_3_node_24 | 0.4 | n |  | TRUE
21 | bus_LV_321-7_0_3_node_63 | 0.4 | n |  | TRUE
22 | bus_LV_321-7_0_3_node_27 | 0.4 | n |  | TRUE
23 | bus_LV_321-7_0_3_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_321-7_0_3_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_321-7_0_3_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_321-7_0_3_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_321-7_0_3_node_40 | 0.4 | n |  | TRUE
28 | bus_LV_321-7_0_3_node_48 | 0.4 | n |  | TRUE
29 | bus_LV_321-7_0_3_node_39 | 0.4 | n |  | TRUE
30 | bus_LV_321-7_0_3_node_47 | 0.4 | n |  | TRUE
31 | bus_LV_321-7_0_3_node_43 | 0.4 | n |  | TRUE
32 | bus_LV_321-7_0_3_node_33 | 0.4 | n |  | TRUE
33 | bus_LV_321-7_0_3_node_35 | 0.4 | n |  | TRUE
34 | bus_LV_321-7_0_3_node_36 | 0.4 | n |  | TRUE
35 | bus_LV_321-7_0_3_node_42 | 0.4 | n |  | TRUE
36 | bus_LV_321-7_0_3_node_44 | 0.4 | n |  | TRUE
37 | bus_LV_321-7_0_3_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_321-7_0_3_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_321-7_0_3_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_321-7_0_3_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_321-7_0_3_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_321-7_0_3_node_57 | 0.4 | n |  | TRUE
43 | bus_LV_321-7_0_3_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_321-7_0_3_node_62 | 0.4 | n |  | TRUE
45 | bus_LV_321-7_0_3_node_58 | 0.4 | n |  | TRUE
46 | bus_LV_321-7_0_3_node_37 | 0.4 | n |  | TRUE
47 | bus_LV_321-7_0_3_node_64 | 0.4 | n |  | TRUE
48 | bus_LV_321-7_0_3_node_65 | 0.4 | n |  | TRUE
49 | bus_LV_321-7_0_3_node_45 | 0.4 | n |  | TRUE
50 | bus_LV_321-7_0_3_node_46 | 0.4 | n |  | TRUE
51 | bus_LV_321-7_0_3_node_49 | 0.4 | n |  | TRUE
52 | bus_LV_321-7_0_3_node_56 | 0.4 | n |  | TRUE
53 | bus_LV_321-7_0_3_node_50 | 0.4 | n |  | TRUE
54 | bus_LV_321-7_0_3_node_51 | 0.4 | n |  | TRUE
55 | bus_LV_321-7_0_3_node_52 | 0.4 | n |  | TRUE
56 | bus_LV_321-7_0_3_node_53 | 0.4 | n |  | TRUE
57 | bus_LV_321-7_0_3_node_55 | 0.4 | n |  | TRUE
58 | bus_LV_321-7_0_3_node_82 | 0.4 | n |  | TRUE
59 | bus_LV_321-7_0_3_node_92 | 0.4 | n |  | TRUE
60 | bus_LV_321-7_0_3_node_59 | 0.4 | n |  | TRUE
61 | bus_LV_321-7_0_3_node_91 | 0.4 | n |  | TRUE
62 | bus_LV_321-7_0_3_node_60 | 0.4 | n |  | TRUE
63 | bus_LV_321-7_0_3_node_61 | 0.4 | n |  | TRUE
64 | bus_LV_321-7_0_3_node_74 | 0.4 | n |  | TRUE
65 | bus_LV_321-7_0_3_node_72 | 0.4 | n |  | TRUE
66 | bus_LV_321-7_0_3_node_86 | 0.4 | n |  | TRUE
67 | bus_LV_321-7_0_3_node_73 | 0.4 | n |  | TRUE
68 | bus_LV_321-7_0_3_node_71 | 0.4 | n |  | TRUE
69 | bus_LV_321-7_0_3_node_66 | 0.4 | n |  | TRUE
70 | bus_LV_321-7_0_3_node_67 | 0.4 | n |  | TRUE
71 | bus_LV_321-7_0_3_node_68 | 0.4 | n |  | TRUE
72 | bus_LV_321-7_0_3_node_69 | 0.4 | n |  | TRUE
73 | bus_LV_321-7_0_3_node_70 | 0.4 | n |  | TRUE
74 | bus_LV_321-7_0_3_node_90 | 0.4 | n |  | TRUE
75 | bus_LV_321-7_0_3_node_89 | 0.4 | n |  | TRUE
76 | bus_LV_321-7_0_3_node_84 | 0.4 | n |  | TRUE
77 | bus_LV_321-7_0_3_node_85 | 0.4 | n |  | TRUE
78 | bus_LV_321-7_0_3_node_87 | 0.4 | n |  | TRUE
79 | bus_LV_321-7_0_3_node_88 | 0.4 | n |  | TRUE
80 | bus_LV_321-7_0_3_node_76 | 0.4 | n |  | TRUE
81 | bus_LV_321-7_0_3_node_77 | 0.4 | n |  | TRUE
82 | bus_LV_321-7_0_3_node_78 | 0.4 | n |  | TRUE
83 | bus_LV_321-7_0_3_node_99 | 0.4 | n |  | TRUE
84 | bus_LV_321-7_0_3_node_100 | 0.4 | n |  | TRUE
85 | bus_LV_321-7_0_3_node_79 | 0.4 | n |  | TRUE
86 | bus_LV_321-7_0_3_node_80 | 0.4 | n |  | TRUE
87 | bus_LV_321-7_0_3_node_81 | 0.4 | n |  | TRUE
88 | bus_LV_321-7_0_3_node_93 | 0.4 | n |  | TRUE
89 | bus_LV_321-7_0_3_node_98 | 0.4 | n |  | TRUE
90 | bus_LV_321-7_0_3_node_96 | 0.4 | n |  | TRUE
91 | bus_LV_321-7_0_3_node_94 | 0.4 | n |  | TRUE
92 | bus_LV_321-7_0_3_node_95 | 0.4 | n |  | TRUE
93 | bus_LV_321-7_0_3_node_97 | 0.4 | n |  | TRUE
94 | bus_MV_481_0_node_69 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_321-7_0_3_load_0 | 0 | 0.00050661 | 0.00012697 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_321-7_0_3_load_1 | 1 | 0.0006705 | 0.00016804 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_321-7_0_3_load_3 | 3 | 0.00062587 | 0.00015686 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_321-7_0_3_load_31 | 5 | 0.00074447 | 0.00018658 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_321-7_0_3_load_11 | 6 | 0.0020773 | 0.00052061 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_321-7_0_3_load_32 | 7 | 0.00020031 | 5.0202e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_321-7_0_3_load_10 | 8 | 0.0019149 | 0.00047992 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_321-7_0_3_load_5 | 9 | 0.00064065 | 0.00016056 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_321-7_0_3_load_6 | 10 | 0.0023947 | 0.00060018 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_321-7_0_3_load_7 | 11 | 0.0024004 | 0.0006016 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_321-7_0_3_load_8 | 12 | 0.0056518 | 0.0014165 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_321-7_0_3_load_41 | 14 | 0.00055903 | 0.00014011 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_321-7_0_3_load_13 | 16 | 0.0020641 | 0.00051731 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_321-7_0_3_load_14 | 17 | 0.0016961 | 0.00042507 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_321-7_0_3_load_23 | 18 | 0.0026872 | 0.00067348 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_321-7_0_3_load_24 | 20 | 0.0034207 | 0.00085731 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_321-7_0_3_load_63 | 21 | 0.0018764 | 0.00047028 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_321-7_0_3_load_27 | 22 | 0.0026978 | 0.00067613 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_321-7_0_3_load_15 | 23 | 0.0024631 | 0.00061731 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_321-7_0_3_load_18 | 25 | 0.0033685 | 0.00084423 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_321-7_0_3_load_19 | 26 | 0.0034953 | 0.000876 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_321-7_0_3_load_40 | 27 | 0.0028315 | 0.00070965 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_321-7_0_3_load_48 | 28 | 0.0047925 | 0.0012011 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_321-7_0_3_load_39 | 29 | 0.0074725 | 0.0018728 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_321-7_0_3_load_43 | 31 | 0.00063657 | 0.00015954 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_321-7_0_3_load_33 | 32 | 0.00092813 | 0.00023261 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_321-7_0_3_load_36 | 34 | 0.002631 | 0.00065939 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_321-7_0_3_load_42 | 35 | 0.0014948 | 0.00037464 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_321-7_0_3_load_44 | 36 | 0.00050915 | 0.0001276 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_321-7_0_3_load_25 | 37 | 0.0070301 | 0.0017619 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_321-7_0_3_load_26 | 38 | 0.00095582 | 0.00023955 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_321-7_0_3_load_30 | 40 | 0.001118 | 0.00028021 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_321-7_0_3_load_34 | 41 | 0.03058 | 0.007664 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_321-7_0_3_load_57 | 42 | 0.0077325 | 0.001938 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_321-7_0_3_load_38 | 43 | 0.0010315 | 0.00025851 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_321-7_0_3_load_62 | 44 | 0.0018726 | 0.00046932 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_321-7_0_3_load_37 | 46 | 0.00075055 | 0.0001881 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_321-7_0_3_load_64 | 47 | 0.0056103 | 0.0014061 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_321-7_0_3_load_45 | 49 | 0.0012205 | 0.00030588 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_321-7_0_3_load_49 | 51 | 0.044801 | 0.011228 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_321-7_0_3_load_50 | 53 | 0.0053836 | 0.0013493 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_321-7_0_3_load_82 | 58 | 0.00090906 | 0.00022783 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_321-7_0_3_load_92 | 59 | 0.0011443 | 0.00028679 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_321-7_0_3_load_59 | 60 | 0.0016185 | 0.00040563 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_321-7_0_3_load_91 | 61 | 0.001882 | 0.00047167 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_321-7_0_3_load_60 | 62 | 0.00059905 | 0.00015013 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_321-7_0_3_load_61 | 63 | 0.00057274 | 0.00014354 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_321-7_0_3_load_74 | 64 | 0.0013444 | 0.00033694 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_321-7_0_3_load_73 | 67 | 0.0010806 | 0.00027083 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_321-7_0_3_load_71 | 68 | 0.0053983 | 0.0013529 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_321-7_0_3_load_66 | 69 | 0.0042955 | 0.0010766 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_321-7_0_3_load_67 | 70 | 0.0048954 | 0.0012269 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_321-7_0_3_load_69 | 72 | 0.0010487 | 0.00026283 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_321-7_0_3_load_70 | 73 | 0.0010715 | 0.00026854 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_321-7_0_3_load_90 | 74 | 0.0010716 | 0.00026858 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_321-7_0_3_load_89 | 75 | 0.0010494 | 0.00026301 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_321-7_0_3_load_84 | 76 | 0.0010495 | 0.00026302 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_321-7_0_3_load_85 | 77 | 0.0010721 | 0.0002687 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_321-7_0_3_load_88 | 79 | 0.0026866 | 0.00067331 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_321-7_0_3_load_76 | 80 | 0.0017048 | 0.00042726 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_321-7_0_3_load_99 | 83 | 0.0021825 | 0.00054698 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_321-7_0_3_load_100 | 84 | 0.0021857 | 0.00054779 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_321-7_0_3_load_79 | 85 | 0.00072342 | 0.00018131 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_321-7_0_3_load_80 | 86 | 0.0026876 | 0.00067358 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_321-7_0_3_load_81 | 87 | 0.00067374 | 0.00016886 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_321-7_0_3_load_93 | 88 | 0.0041686 | 0.0010448 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_321-7_0_3_load_98 | 89 | 0.0044658 | 0.0011192 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_321-7_0_3_load_94 | 91 | 0.0019044 | 0.0004773 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_321-7_0_3_load_95 | 92 | 0.0018689 | 0.00046838 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_321-7_0_3_load_97 | 93 | 0.00066369 | 0.00016634 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 62 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_321-7_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0010603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_321-7_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.038957 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_321-7_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.02688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_321-7_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.041063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_321-7_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.00079641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_321-7_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.045224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_321-7_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.013944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_321-7_0_3_line_7 | NAYY 4x150 SE | 6 | 8 | 0.0060317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_321-7_0_3_line_8 | NAYY 4x150 SE | 7 | 33 | 0.014139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_321-7_0_3_line_9 | NAYY 4x150 SE | 8 | 15 | 0.020775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_321-7_0_3_line_10 | NAYY 4x150 SE | 9 | 10 | 0.013477 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_321-7_0_3_line_11 | NAYY 4x150 SE | 9 | 11 | 0.0048163 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_321-7_0_3_line_12 | NAYY 4x150 SE | 10 | 12 | 0.0050847 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_321-7_0_3_line_13 | NAYY 4x150 SE | 12 | 13 | 0.009882 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_321-7_0_3_line_14 | NAYY 4x150 SE | 13 | 14 | 0.013756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_321-7_0_3_line_15 | NAYY 4x150 SE | 14 | 34 | 0.0008399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_321-7_0_3_line_16 | NAYY 4x150 SE | 15 | 16 | 0.023999 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_321-7_0_3_line_17 | NAYY 4x150 SE | 15 | 17 | 0.01642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_321-7_0_3_line_18 | NAYY 4x150 SE | 16 | 18 | 0.012193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_321-7_0_3_line_19 | NAYY 4x150 SE | 17 | 19 | 0.017244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
20 | LV_321-7_0_3_line_20 | NAYY 4x150 SE | 18 | 20 | 0.00019357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_321-7_0_3_line_21 | NAYY 4x150 SE | 19 | 21 | 0.019895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
22 | LV_321-7_0_3_line_22 | NAYY 4x150 SE | 19 | 22 | 0.004042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
23 | LV_321-7_0_3_line_23 | NAYY 4x150 SE | 20 | 35 | 0.030576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_321-7_0_3_line_24 | NAYY 4x150 SE | 21 | 44 | 0.015983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
25 | LV_321-7_0_3_line_25 | NAYY 4x150 SE | 22 | 40 | 0.072773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_321-7_0_3_line_26 | NAYY 4x150 SE | 22 | 37 | 0.030363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
27 | LV_321-7_0_3_line_27 | NAYY 4x150 SE | 23 | 24 | 0.019038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_321-7_0_3_line_28 | NAYY 4x150 SE | 24 | 25 | 0.036051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_321-7_0_3_line_29 | NAYY 4x150 SE | 24 | 26 | 0.064418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_321-7_0_3_line_30 | NAYY 4x150 SE | 25 | 27 | 0.019255 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_321-7_0_3_line_31 | NAYY 4x150 SE | 26 | 28 | 0.0041073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_321-7_0_3_line_32 | NAYY 4x150 SE | 27 | 29 | 0.0050339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
33 | LV_321-7_0_3_line_33 | NAYY 4x150 SE | 28 | 30 | 0.075611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_321-7_0_3_line_34 | NAYY 4x150 SE | 29 | 46 | 0.025527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
35 | LV_321-7_0_3_line_35 | NAYY 4x150 SE | 30 | 51 | 0.028264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_321-7_0_3_line_36 | NAYY 4x150 SE | 30 | 50 | 0.058286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_321-7_0_3_line_37 | NAYY 4x150 SE | 31 | 32 | 0.0065899 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_321-7_0_3_line_38 | NAYY 4x150 SE | 32 | 39 | 0.020583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_321-7_0_3_line_39 | NAYY 4x150 SE | 33 | 34 | 0.0014911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_321-7_0_3_line_40 | NAYY 4x150 SE | 35 | 36 | 0.0010717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_321-7_0_3_line_41 | NAYY 4x150 SE | 36 | 47 | 0.057688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_321-7_0_3_line_42 | NAYY 4x150 SE | 37 | 38 | 0.028265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
43 | LV_321-7_0_3_line_43 | NAYY 4x150 SE | 38 | 39 | 0.019529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
44 | LV_321-7_0_3_line_44 | NAYY 4x150 SE | 39 | 41 | 0.01016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
45 | LV_321-7_0_3_line_45 | NAYY 4x150 SE | 40 | 42 | 0.043164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_321-7_0_3_line_46 | NAYY 4x150 SE | 41 | 43 | 0.015705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
47 | LV_321-7_0_3_line_47 | NAYY 4x150 SE | 42 | 45 | 0.048292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_321-7_0_3_line_48 | NAYY 4x150 SE | 43 | 46 | 0.00018651 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
49 | LV_321-7_0_3_line_49 | NAYY 4x150 SE | 44 | 63 | 0.0073313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
50 | LV_321-7_0_3_line_50 | NAYY 4x150 SE | 45 | 52 | 0.054247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_321-7_0_3_line_51 | NAYY 4x150 SE | 47 | 48 | 0.038163 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_321-7_0_3_line_52 | NAYY 4x150 SE | 48 | 64 | 0.019107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_321-7_0_3_line_53 | NAYY 4x150 SE | 48 | 65 | 0.020362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_321-7_0_3_line_54 | NAYY 4x150 SE | 49 | 50 | 0.10815 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_321-7_0_3_line_55 | NAYY 4x150 SE | 52 | 60 | 0.035598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_321-7_0_3_line_56 | NAYY 4x150 SE | 53 | 54 | 0.0050981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_321-7_0_3_line_57 | NAYY 4x150 SE | 53 | 55 | 0.017604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_321-7_0_3_line_58 | NAYY 4x150 SE | 54 | 56 | 0.010676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_321-7_0_3_line_59 | NAYY 4x150 SE | 55 | 57 | 0.018847 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_321-7_0_3_line_60 | NAYY 4x150 SE | 56 | 58 | 0.021225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_321-7_0_3_line_61 | NAYY 4x150 SE | 57 | 59 | 0.010794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_321-7_0_3_line_62 | NAYY 4x150 SE | 59 | 61 | 0.014682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_321-7_0_3_line_63 | NAYY 4x150 SE | 61 | 73 | 0.013911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_321-7_0_3_line_64 | NAYY 4x150 SE | 62 | 63 | 0.0073928 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
65 | LV_321-7_0_3_line_65 | NAYY 4x150 SE | 64 | 66 | 0.057191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_321-7_0_3_line_66 | NAYY 4x150 SE | 65 | 67 | 0.0067203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_321-7_0_3_line_67 | NAYY 4x150 SE | 65 | 68 | 0.032838 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_321-7_0_3_line_68 | NAYY 4x150 SE | 66 | 78 | 0.013634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_321-7_0_3_line_69 | NAYY 4x150 SE | 66 | 79 | 0.013903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_321-7_0_3_line_70 | NAYY 4x150 SE | 67 | 76 | 0.016072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_321-7_0_3_line_71 | NAYY 4x150 SE | 69 | 70 | 0.0012202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_321-7_0_3_line_72 | NAYY 4x150 SE | 70 | 71 | 0.031669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_321-7_0_3_line_73 | NAYY 4x150 SE | 71 | 72 | 0.0035856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_321-7_0_3_line_74 | NAYY 4x150 SE | 71 | 73 | 0.0021012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_321-7_0_3_line_75 | NAYY 4x150 SE | 72 | 74 | 0.015969 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_321-7_0_3_line_76 | NAYY 4x150 SE | 74 | 75 | 0.0059959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_321-7_0_3_line_77 | NAYY 4x150 SE | 75 | 77 | 0.015805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_321-7_0_3_line_78 | NAYY 4x150 SE | 76 | 77 | 0.005996 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_321-7_0_3_line_79 | NAYY 4x150 SE | 78 | 90 | 0.022649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_321-7_0_3_line_80 | NAYY 4x150 SE | 78 | 83 | 0.026241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_321-7_0_3_line_81 | NAYY 4x150 SE | 79 | 88 | 0.0051774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_321-7_0_3_line_82 | NAYY 4x150 SE | 80 | 81 | 0.012241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_321-7_0_3_line_83 | NAYY 4x150 SE | 81 | 82 | 0.067113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_321-7_0_3_line_84 | NAYY 4x150 SE | 82 | 83 | 0.029061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_321-7_0_3_line_85 | NAYY 4x150 SE | 83 | 84 | 0.007455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_321-7_0_3_line_86 | NAYY 4x150 SE | 85 | 86 | 0.022159 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_321-7_0_3_line_87 | NAYY 4x150 SE | 86 | 87 | 0.0025721 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_321-7_0_3_line_88 | NAYY 4x150 SE | 87 | 88 | 0.023788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_321-7_0_3_line_89 | NAYY 4x150 SE | 89 | 90 | 0.027793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_321-7_0_3_line_90 | NAYY 4x150 SE | 90 | 91 | 0.015883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_321-7_0_3_line_91 | NAYY 4x150 SE | 91 | 92 | 1.5667e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_321-7_0_3_line_92 | NAYY 4x150 SE | 92 | 93 | 0.0091256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_321-7_0_3_trafo_60 | 0.25 MVA 20/0.4 kV | 94 | 62 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2625061.1416 | 1231548.9652 | 2625060.3409 | 1231548.2702
1 | 2625090.5602 | 1231574.5038 | 2625061.1416 | 1231548.9652
2 | 2625060.3409 | 1231548.2702 | 2625040.0425 | 1231530.6489
3 | 2625090.5602 | 1231574.5038 | 2625110.8634 | 1231592.1223 | 2625122.2089 | 1231600.6309
4 | 2625040.0425 | 1231530.6489 | 2625039.4411 | 1231530.1268
5 | 2625122.2089 | 1231600.6309 | 2625128.8612 | 1231585.3941 | 2625135.5288 | 1231570.1352 | 2625138.1133 | 1231564.2092 | 2625141.5394 | 1231559.9304
6 | 2625028.9111 | 1231520.9857 | 2625039.4411 | 1231530.1268
7 | 2625141.5394 | 1231559.9304 | 2625145.3094 | 1231555.2221
8 | 2625018.2344 | 1231511.7171 | 2625028.9111 | 1231520.9857
9 | 2625159.2601 | 1231539.8503 | 2625149.1592 | 1231550.4141 | 2625145.3094 | 1231555.2221
10 | 2624984.6063 | 1231482.5262 | 2624994.7839 | 1231491.3605
11 | 2624984.6063 | 1231482.5262 | 2624980.969 | 1231479.3691
12 | 2624994.7839 | 1231491.3605 | 2624998.6238 | 1231494.6936
13 | 2625006.0869 | 1231501.1709 | 2625001.3109 | 1231497.0261 | 2624998.6238 | 1231494.6936
14 | 2625006.0869 | 1231501.1709 | 2625016.4743 | 1231510.189
15 | 2625016.4743 | 1231510.189 | 2625017.1085 | 1231510.7396
16 | 2625159.2601 | 1231539.8503 | 2625143.8603 | 1231521.4442
17 | 2625159.2601 | 1231539.8503 | 2625169.8038 | 1231552.438
18 | 2625136.0359 | 1231512.0924 | 2625143.8603 | 1231521.4442
19 | 2625180.8765 | 1231565.6573 | 2625169.8038 | 1231552.438
20 | 2625136.0359 | 1231512.0924 | 2625135.9117 | 1231511.9439
21 | 2625180.8765 | 1231565.6573 | 2625194.8488 | 1231551.4951
22 | 2625183.4759 | 1231568.7591 | 2625180.8765 | 1231565.6573
23 | 2625135.9117 | 1231511.9439 | 2625133.673 | 1231509.2682 | 2625118.2472 | 1231487.0026
24 | 2625206.0738 | 1231540.1175 | 2625194.8488 | 1231551.4951
25 | 2625183.4759 | 1231568.7591 | 2625233.6155 | 1231516.0153
26 | 2625183.4759 | 1231568.7591 | 2625202.7479 | 1231592.222
27 | 2625305.3655 | 1231714.1194 | 2625294.2966 | 1231729.6092
28 | 2625305.3655 | 1231714.1194 | 2625298.7434 | 1231707.9097 | 2625279.0615 | 1231689.4657
29 | 2625305.3655 | 1231714.1194 | 2625316.6847 | 1231698.4135 | 2625343.0338 | 1231661.8627
30 | 2625266.9729 | 1231674.5305 | 2625276.5163 | 1231687.0805 | 2625279.0615 | 1231689.4657
31 | 2625345.4356 | 1231658.5309 | 2625343.0338 | 1231661.8627
32 | 2625266.9729 | 1231674.5305 | 2625263.9258 | 1231670.5235
33 | 2625389.6514 | 1231597.1959 | 2625345.4356 | 1231658.5309
34 | 2625248.2188 | 1231650.4025 | 2625259.1966 | 1231664.3043 | 2625263.9258 | 1231670.5235
35 | 2625389.6514 | 1231597.1959 | 2625384.454 | 1231592.5042 | 2625379.5355 | 1231584.5451 | 2625375.3379 | 1231573.4031
36 | 2625389.6514 | 1231597.1959 | 2625399.5867 | 1231582.9407 | 2625408.8013 | 1231570.7726 | 2625412.7546 | 1231574.2026 | 2625417.2836 | 1231577.6018 | 2625422.135 | 1231581.7472 | 2625425.8968 | 1231589.2234
37 | 2625216.6116 | 1231643.5438 | 2625211.6611 | 1231647.8935
38 | 2625232.0741 | 1231629.9574 | 2625216.6116 | 1231643.5438
39 | 2625018.2344 | 1231511.7171 | 2625017.1085 | 1231510.7396
40 | 2625118.2472 | 1231487.0026 | 2625117.6369 | 1231486.1217
41 | 2625117.6369 | 1231486.1217 | 2625110.8143 | 1231476.274 | 2625101.6442 | 1231460.0366 | 2625095.6926 | 1231440.1661 | 2625095.6376 | 1231433.8491
42 | 2625202.7479 | 1231592.222 | 2625207.4027 | 1231597.8891 | 2625220.166 | 1231614.479
43 | 2625232.0741 | 1231629.9574 | 2625220.166 | 1231614.479
44 | 2625232.0741 | 1231629.9574 | 2625238.3704 | 1231637.9308
45 | 2625233.6155 | 1231516.0153 | 2625263.3549 | 1231484.7312
46 | 2625248.1032 | 1231650.2561 | 2625238.3704 | 1231637.9308
47 | 2625300.8965 | 1231456.0437 | 2625284.383 | 1231462.6109 | 2625263.3549 | 1231484.7312
48 | 2625248.2188 | 1231650.4025 | 2625248.1032 | 1231650.2561
49 | 2625211.2227 | 1231534.8987 | 2625206.0738 | 1231540.1175
50 | 2625300.8965 | 1231456.0437 | 2625296.8351 | 1231449.4891 | 2625300.9116 | 1231429.3164 | 2625292.0486 | 1231417.5383 | 2625283.7623 | 1231425.0966
51 | 2625098.3254 | 1231395.8392 | 2625095.5293 | 1231421.4208 | 2625095.6376 | 1231433.8491
52 | 2625098.3254 | 1231395.8392 | 2625098.1597 | 1231376.7332
53 | 2625098.3254 | 1231395.8392 | 2625116.7114 | 1231386.978
54 | 2625425.8968 | 1231589.2234 | 2625424.3653 | 1231602.0691 | 2625421.0292 | 1231636.7648 | 2625418.2869 | 1231661.8461 | 2625414.2482 | 1231680.2067 | 2625407.9746 | 1231695.278
55 | 2625283.7623 | 1231425.0966 | 2625273.4739 | 1231433.358 | 2625257.8059 | 1231449.3709
56 | 2625201.7939 | 1231294.9704 | 2625204.7968 | 1231299.0903
57 | 2625215.0744 | 1231313.3822 | 2625207.8172 | 1231303.2342 | 2625204.7968 | 1231299.0903
58 | 2625192.8408 | 1231300.8249 | 2625201.7939 | 1231294.9704
59 | 2625208.7277 | 1231326.063 | 2625205.0068 | 1231321.3333 | 2625215.0744 | 1231313.3822
60 | 2625192.8408 | 1231300.8249 | 2625190.0616 | 1231297.2332 | 2625180.2665 | 1231283.7281
61 | 2625208.7277 | 1231326.063 | 2625199.4579 | 1231331.5938
62 | 2625199.4579 | 1231331.5938 | 2625198.5313 | 1231335.8369 | 2625189.6606 | 1231341.1473
63 | 2625177.7252 | 1231348.2925 | 2625189.6606 | 1231341.1473
64 | 2625216.4148 | 1231529.636 | 2625211.2227 | 1231534.8987
65 | 2625091.5482 | 1231320.2871 | 2625097.9024 | 1231347.0745 | 2625098.1597 | 1231376.7332
66 | 2625116.7114 | 1231386.978 | 2625122.3843 | 1231383.375
67 | 2625116.7114 | 1231386.978 | 2625128.7757 | 1231404.6952 | 2625130.1584 | 1231412.5947 | 2625131.4236 | 1231415.733
68 | 2625091.5482 | 1231320.2871 | 2625086.5961 | 1231307.5807
69 | 2625091.5482 | 1231320.2871 | 2625103.2697 | 1231312.8101
70 | 2625122.3843 | 1231383.375 | 2625135.9515 | 1231374.7582
71 | 2625195.553 | 1231375.7599 | 2625194.8247 | 1231374.7809
72 | 2625175.9223 | 1231349.3718 | 2625194.8247 | 1231374.7809
73 | 2625175.9223 | 1231349.3718 | 2625172.8956 | 1231351.2941
74 | 2625175.9223 | 1231349.3718 | 2625177.7252 | 1231348.2925
75 | 2625159.4155 | 1231359.8556 | 2625172.8956 | 1231351.2941
76 | 2625159.4155 | 1231359.8556 | 2625154.3541 | 1231363.0702
77 | 2625141.0129 | 1231371.5435 | 2625154.3541 | 1231363.0702
78 | 2625141.0129 | 1231371.5435 | 2625135.9515 | 1231374.7582
79 | 2625086.5961 | 1231307.5807 | 2625075.2438 | 1231287.9655
80 | 2625086.5961 | 1231307.5807 | 2625064.3338 | 1231321.5733
81 | 2625103.2697 | 1231312.8101 | 2625107.6347 | 1231310.0257
82 | 2624994.4406 | 1231340.5579 | 2624983.7262 | 1231346.4778
83 | 2624994.4406 | 1231340.5579 | 2625010.0384 | 1231321.2116 | 2625045.989 | 1231298.9936
84 | 2625045.989 | 1231298.9936 | 2625064.3338 | 1231321.5733
85 | 2625058.0089 | 1231325.5491 | 2625064.3338 | 1231321.5733
86 | 2625134.0958 | 1231280.9333 | 2625139.8563 | 1231289.472 | 2625129.8583 | 1231295.8496
87 | 2625129.8583 | 1231295.8496 | 2625127.6898 | 1231297.2329
88 | 2625127.6898 | 1231297.2329 | 2625107.6347 | 1231310.0257
89 | 2625075.2438 | 1231287.9655 | 2625063.335 | 1231267.3918 | 2625062.2496 | 1231263.5201
90 | 2625075.2438 | 1231287.9655 | 2625088.0399 | 1231278.5566
91 | 2625088.0399 | 1231278.5566 | 2625088.0525 | 1231278.5473
92 | 2625095.4045 | 1231273.1414 | 2625088.0525 | 1231278.5473

## bus_geodata
| x | y | coords
0 | 2625061.1416 | 1231548.9652
1 | 2625060.3409 | 1231548.2702
2 | 2625090.5602 | 1231574.5039
3 | 2625040.0425 | 1231530.6489
4 | 2625122.2089 | 1231600.6309
5 | 2625039.4411 | 1231530.1268
6 | 2625141.5394 | 1231559.9304
7 | 2625028.9111 | 1231520.9857
8 | 2625145.3094 | 1231555.2221
9 | 2624984.6063 | 1231482.5262
10 | 2624994.7839 | 1231491.3605
11 | 2624980.969 | 1231479.3691
12 | 2624998.6238 | 1231494.6936
13 | 2625006.0869 | 1231501.1709
14 | 2625016.4743 | 1231510.189
15 | 2625159.2601 | 1231539.8503
16 | 2625143.8603 | 1231521.4442
17 | 2625169.8038 | 1231552.438
18 | 2625136.0359 | 1231512.0924
19 | 2625180.8765 | 1231565.6573
20 | 2625135.9117 | 1231511.9439
21 | 2625194.8488 | 1231551.4951
22 | 2625183.4759 | 1231568.7591
23 | 2625294.2966 | 1231729.6092
24 | 2625305.3655 | 1231714.1194
25 | 2625279.0615 | 1231689.4657
26 | 2625343.0338 | 1231661.8627
27 | 2625266.9729 | 1231674.5305
28 | 2625345.4356 | 1231658.5309
29 | 2625263.9258 | 1231670.5235
30 | 2625389.6514 | 1231597.1959
31 | 2625211.6611 | 1231647.8935
32 | 2625216.6116 | 1231643.5438
33 | 2625018.2344 | 1231511.7171
34 | 2625017.1085 | 1231510.7396
35 | 2625118.2472 | 1231487.0026
36 | 2625117.6369 | 1231486.1217
37 | 2625202.7479 | 1231592.222
38 | 2625220.166 | 1231614.479
39 | 2625232.0741 | 1231629.9574
40 | 2625233.6155 | 1231516.0153
41 | 2625238.3704 | 1231637.9308
42 | 2625263.3549 | 1231484.7312
43 | 2625248.1032 | 1231650.2561
44 | 2625206.0738 | 1231540.1175
45 | 2625300.8965 | 1231456.0437
46 | 2625248.2188 | 1231650.4025
47 | 2625095.6376 | 1231433.8491
48 | 2625098.3254 | 1231395.8392
49 | 2625407.9746 | 1231695.278
50 | 2625425.8968 | 1231589.2234
51 | 2625375.3379 | 1231573.4031
52 | 2625283.7623 | 1231425.0966
53 | 2625204.7968 | 1231299.0903
54 | 2625201.7939 | 1231294.9704
55 | 2625215.0744 | 1231313.3822
56 | 2625192.8408 | 1231300.8249
57 | 2625208.7277 | 1231326.063
58 | 2625180.2665 | 1231283.7281
59 | 2625199.4579 | 1231331.5938
60 | 2625257.8059 | 1231449.3709
61 | 2625189.6606 | 1231341.1473
62 | 2625216.4148 | 1231529.636
63 | 2625211.2227 | 1231534.8987
64 | 2625098.1597 | 1231376.7332
65 | 2625116.7114 | 1231386.978
66 | 2625091.5482 | 1231320.2871
67 | 2625122.3843 | 1231383.375
68 | 2625131.4236 | 1231415.733
69 | 2625195.553 | 1231375.7599
70 | 2625194.8247 | 1231374.7809
71 | 2625175.9223 | 1231349.3718
72 | 2625172.8956 | 1231351.2941
73 | 2625177.7252 | 1231348.2925
74 | 2625159.4155 | 1231359.8556
75 | 2625154.3541 | 1231363.0702
76 | 2625135.9515 | 1231374.7582
77 | 2625141.0129 | 1231371.5435
78 | 2625086.5961 | 1231307.5807
79 | 2625103.2697 | 1231312.8101
80 | 2624983.7262 | 1231346.4778
81 | 2624994.4406 | 1231340.5579
82 | 2625045.989 | 1231298.9936
83 | 2625064.3338 | 1231321.5733
84 | 2625058.0089 | 1231325.5491
85 | 2625134.0958 | 1231280.9333
86 | 2625129.8583 | 1231295.8496
87 | 2625127.6898 | 1231297.2329
88 | 2625107.6347 | 1231310.0257
89 | 2625062.2496 | 1231263.5201
90 | 2625075.2438 | 1231287.9655
91 | 2625088.0399 | 1231278.5566
92 | 2625088.0525 | 1231278.5473
93 | 2625095.4045 | 1231273.1414
94 | 2625219.8832 | 1231526.1205

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1